## Changes summary
Data category 06: Operating expenditure
Changes from December 2023 Consultation workbooks
Data requirements
Sheet name | Table | Change | Rationale
Definitions | Distribution business & Standard control | Added term "Debt raising expenditure" | This term and definition was omitted from the previous version
Distribution Business | Guaranteed service levels - payments | Assurance standard for estimated financial data added (ASRE 2405) | Estimated data can be provided where actual data cannot be provided and where justification is provided in the BoP
Distribution Business | Opex Category | Assurance standard for estimated financial data added (ASRE 2405) | Estimated data can be provided where actual data cannot be provided and where justification is provided in the BoP
Standard Control | Non-network - Information & Communications Technology | Recurrent expenditure and Non-recurrent expenditure line items have been shaded to light green to indicate data entry can occur at this level or by business specified category | The business may choose not to disaggregate recurrent and non-recurrent expenditure in business specified categories, therefore the sum is also an input cell for the business to enter a value into when not using the business specified disaggregations.
Standard Control | Opex by purpose | Network overheads and Corporate overheads line items now allow data input for both indirect and direct expenditure | Reporting of overheads in this table must be collectively exhaustive and mutually exclusive.
Standard Control | Opex Category | Table line items updated to link to those items in the same table on the Distribution Business tab | Opex categories reported for the Distribution Business apply to the further disaggregated services of Distribution Business.
Alternative control | Meter replacement | New disaggregation for meter replacement has been added. Electricity distributor can report at the meter replacement (total) level or by whole meter replacement and component / software replacement level. | The disaggregation has been provided to assist data reporting and is optional.
Validation Rules | Alterative Control - Metering activities | Validation rule updated to allow NULL valid for Meter Replacement (component / software) | Data requirement for the new disaggregation added to 'Meter Replacement' sub-table is not mandatory.
Alternative Control | Opex by purpose | Network overheads and Corporate overheads line items now allow data input for both indirect and direct expenditure | Reporting of overheads in this table must be collectively exhaustive and mutually exclusive.
Alternative Control | Opex Category | Table line items updated to link to those items in the same table on the Distribution Business tab | Opex categories reported for the Distribution Business apply to the further disaggregated services of Distribution Business.
Other Services | Opex Category | Table line items updated to link to those items in the same table on the Distribution Business tab | Opex categories reported for the Distribution Business apply to the further disaggregated services of Distribution Business.
Validation Rules | Alterative Control - Fee-based services | Validation rule for $ change from NULL invalid to NULL valid | This is to allow for services to be reported under either a business specified category of fee based or quoted services or to be recorded against the pre-defined categories of "Energisation", "De-energisation" & "Re-energisation" or any combination of the two categories.

## Introduction
AER Network information requirements review
Project Overview
The network information requirements review project is being undertaken to streamline regulated electricity networks' annual reporting obligations, and facilitate improvements in the AER’s information management maturity. The project will allow for consolidation of existing information requests, ongoing integration of new information requirements, and clearer documentation of our underlying data structure. In sum, this project will help improve data quality and deliver efficiencies to both the AER and the regulated businesses.
Data category 06: Operating expenditure
Data on operating expenditures is collected from regulated Network Service Providers (NSPs) to reveal the costs of operating and maintaining the network. Operating expenditure (opex) excludes all capital costs and capital construction costs.
Opex is a key input required for NSPs to deliver services and the data is requested to enable economic benchmarking of the networks. Opex is also one of the building blocks used by the AER when making and monitoring regulatory decisions, including revenue determination, for an NSP.
This workbook defines the data requirements related to operating expenditure. Requirements are set out in tables on each worksheet, and are defined by multiple elements of the workbook including: - worksheet name - table and sub-table names - column headings and - row descriptors. The workbook also includes validation rules for input cells (shaded green), cross checks where disaggregated data must equal the same total and definitions of the terms used.
Concepts
Expenditure classifications
Total expenditure = Direct expenditure + Indirect expenditure
Service classifications
Audited Statutory Accounts + Regulatory adjustments = Distribution Business
Where:
Distribution Business = Direct Control Services + Other Distribution Services
Where:
Direct Control Services = Standard Control Services + Alternative Control Services
Other Distribution Services = Negotiated Services + Unregulated Services
Where:
Standard Control Services (SCS) = SCS excluding those provided using dual function assets + SCS provided using dual function assets
Alternative Control Services = Public Lighting Services + Metering Services + Fee-based Services + Quoted Services
Where:
Public Lighting Services = Energy efficient + Non-energy efficient
Metering Services = Smart meters + Legacy meters

## Definitions
Data category 06: Operating expenditure
Definitions have been provided for each column descriptor as well as each row descriptor of the data tabs in this workbook. To find the full meaning of a data element, please consider all relevant column, row and table heading definitions provided in the table below.
Compounding Definitions
Where you are seeking to discern the meaning of a row or column descriptor with multiple terms, you may need to look up the terms individually below and consider the definitions together to discern the full meaning of the row or column descriptor.
Term | Definition
Distribution business
Audited Statutory Accounts | The audited set of accounts prepared in accordance with Australian Securities and Investments Commission (ASIC) requirements, or if relevant, prepared in accordance with the Corporations Act (2001). This definition encompasses audited statutory trial balance if the service provider or network service provider is not required to submit General or Special Purpose Financial Statements as a statutory reporting requirement for the regulatory year under Corporations Act 2001.
Distribution Business | Audited Statutory Accounts plus Regulatory Adjustments.
Operating expenditure | Expenditure relating to operating and maintaining the network or pipeline (excluding all capital expenditure and capital construction expenditure).
Debt raising expenditure | The transaction costs incurred each time debt is raised or refinanced as well as the costs for maintaining the debt facility.
Regulatory adjustments (NSP) | The adjustments made to audited statutory accounts to arrive at the accounts for the Network Service Provider. The adjustments must include: (a) non-distribution services; (b) negotiated transmission services; (c) non regulated transmission services; (d) and any other adjustments.
Related party margin | The profit a Related Party gains above its total actual costs under a Related Party Contract with a network service provider or pipeline service provider. This profit may include margins, management fees or incentive payments.
Guaranteed service levels - payments | Voluntary or mandated payments made by DNSPs to a customer when the customer received service at a level worse than the prescribed GSL service level. DNSPs must make GSL payments in accordance with the relevant jurisdictional energy regulation.
Demand Management Incentive Scheme (DMIS) | The AER’s Demand Management Incentive Scheme (DMIS), developed by the AER in 2017 and amended from time to time.
Demand Management Innovation Allowance Mechanism (DMIAM) | The AER's Demand Management Innovation Allowance Mechanism (DMIAM), as developed by the AER in 2017 and amended from time to time.
Projects submitted for approval | Projects submitted to the AER for approval under either the DMIS or the DMIAM.
Standard control
Service classifications
Standard Control Services | As defined in the National Electricity Rules. For clarity, Standard Control Services are intended to capture services available only through DNSP’s network typically provided to all customers or a broad class of customers recovered through general network tariffs.
Dual function assets | As defined in the NER, ch10.
Direct expenditure | Operating or capital expenditure directly attributable to a work activity, project or work order. Consists of in-house costs of direct labour, direct materials and other attributable costs. Excludes any allocated overhead.
Indirect expenditure | Operating or capital expenditure that is not directly attributable to a work activity, project or work order.
Opex by category
Operating expenditure | Expenditure relating to operating and maintaining the network or pipeline (excluding all capital expenditure and capital construction expenditure).
Debt raising expenditure | The transaction costs incurred each time debt is raised or refinanced as well as the costs for maintaining the debt facility.
Related party margin | The profit a Related Party gains above its total actual costs under a Related Party Contract with a network service provider or pipeline service provider. This profit may include margins, management fees or incentive payments.
Opex by purpose
Vegetation management | Activities that: are primarily directed at removing, altering, or managing vegetation to maintain safe or regulated clearances from distribution or transmission assets; and are not emergency or fault related activities; and are not initiated by a request from a distribution or transmission customer, excluding customers that are network service providers; and are not activities for which expenditure could be attributed to the AER expenditure category 'Augmentation, replacement, or non-routine maintenance activities triggered by a changed regulatory obligation or requirement'; and are not activities for which expenditure could be attributed to the AER expenditure category 'Augmentation, replacement, or non-routine maintenance activities triggered by a changed internal standard'. Includes tree cutting, undergrowth control, root management, waste disposal, use of herbicide and growth retardants, and encouragement of low-growth vegetation to prevent the establishment of high-growth vegetation. Also includes: pre-cutting/trimming inspections; and inspections of vegetation to ensure that activities have been undertaken appropriately; and liaison with affected residents and landowners including the issue of trim/cut notices, and follow up calls on notices; and operational support such as any temporary generation used during the activity. Does not include: such items as "beautification" works, lawnmowing e.g. from natures strips, or office gardens, interior plant and aesthetic vegetation works; and any work done in proximity to non-network assets.
Maintenance | Operational repairs and maintenance of the distribution system including high voltage and low voltage assets, and including testing, investigation, validation and correction costs not involving capital expenditure. This also includes location of underground cables and covering of low voltage mains for safety reasons. Includes the maintenance of public lighting, as well as scheduled maintenance, meter investigations, special readings and photovoltaic (PV) installations. For AMI services, includes the maintenance of meters and time switches.
Emergency response | Activities to restore a failed component to an operational state including the work incurred where supply has been interrupted or assets damaged or rendered unsafe by a breakdown, making immediate operations and/or repairs necessary. Also includes activities primarily directed at maintaining network functionality and for which immediate rectification is necessary. These activities are primarily due to network failure caused by weather events, vandalism, traffic accidents or other physical interference by non-related entities.
Non-network expenditure | Includes ICT, Property, Fleet and other expenditure not directly related to the provision of network services.
Export Services | Export services are services provided by distribution networks to accept and distribute energy generated within its network either behind the meter or front of meter.
Network overheads | The provision of network, control and management services that cannot be directly identified with specific operational activity (such as routine maintenance, vegetation management, etc.). Network Overheads may include the following: (a) management (not directly related to any of the functions listed below) (b) network planning (i.e. system planning) (c) network control and operational switching personnel (d) quality and standards functions including standards & manuals, asset strategy (other than network planning), compliance, quality of supply, reliability, and network records (e.g. geographical information systems (GIS)) (e) project governance and related functions including supervision, procurement, works management, logistics and stores (f) training, OH&S functions, training, network billing and customer service & call centre (g) advertising/marketing (h) demand side management expenditure/ non-network alternatives (i) levies.
Corporate overheads | The provision of corporate support and management services by the corporate office that cannot be directly identified with specific operational activity. Corporate overhead costs may include those for executive management, legal and secretariat, human resources, finance, regulatory and other corporate head office activities or departments, insurance/self-insurance, debt/equity raising costs, non-network IT support.
Vegetation management
Contractor liaison | Day-to-day liaison with and management of the contractors involved in undertaking vegetation management work on behalf of NSP. This includes but is not limited to the management of work invoices, assigning work to contractors and the review of audits. This excludes actual audit work undertaken.
Ground clearance | The trimming or removal of low-lying vegetation (e.g. shrubs, saplings). This includes work surrounding the use of herbicides, chemical treatment and wash-downs.
Hazard tree | A tree that is reasonably considered to be unhealthy, unstable, or in a condition where it is reasonably likely for trees, limbs or branches to contact electricity assets.
Other vegetation management expenditure | Vegetation management expenditure not included in the other categories of vegetation management.
Tree | For the purposes of calculating the average number of trees per maintenance span a tree is a perennial plant (of any species including shrubs) that is: equal to or greater in height than 3 metres (measured from the ground) in the relevant reporting period; and of a species which could grow to a height such that it may impinge on the vegetation clearance space of power lines.
Tree replacement program | The management, purchase, planting and maintenance of vegetation that are incurred as a result of replacing vegetation within, or directly associated with, the business’ vegetation management practices.
Tree trimming (excluding hazard trees) | The activity of cutting back trees or other vegetation to remove dead or living parts so as to prevent parts of the tree or vegetation from growing into, falling onto, or blowing onto electricity assets.
Vegetation audit | Auditing of vegetation management activities (e.g. tree trimming, tree removal, herbicide application, etc.) following vegetation maintenance works in order to confirm the quality and/or extent of the vegetation management activities undertaken.
Vegetation corridor clearance | A tract of land along which vegetation is maintained in order to form a passageway along the route of a power line or lines (e.g. a shared corridor) that is free of vegetation encroachment into the asset clearance space. This does not include portions of the corridor where no managed vegetation exists (e.g. grassland or heathland) or where vegetation is not managed (e.g. deep gullies/valleys were no vegetation management is undertaken). For clarity, the form of tenure, or lack of tenure, over the corridor are not relevant to the existence of a vegetation corridor.
Vegetation inspection | Inspections only for the purpose of identifying of trees or other vegetation that require trimming or removal. This includes vegetation scoping works, the use of LiDAR, aerial and other forms of inspection.
Vegetation management | Activities that: are primarily directed at removing, altering, or managing vegetation to maintain safe or regulated clearances from distribution or transmission assets; and are not emergency or fault related activities; and are not initiated by a request from a distribution or transmission customer, excluding customers that are network service providers; and are not activities for which expenditure could be attributed to the AER expenditure category 'Augmentation, replacement, or non-routine maintenance activities triggered by a changed regulatory obligation or requirement'; and are not activities for which expenditure could be attributed to the AER expenditure category 'Augmentation, replacement, or non-routine maintenance activities triggered by a changed internal standard'. Includes tree cutting, undergrowth control, root management, waste disposal, use of herbicide and growth retardants, and encouragement of low-growth vegetation to prevent the establishment of high-growth vegetation. Also includes: pre-cutting/trimming inspections; and inspections of vegetation to ensure that activities have been undertaken appropriately; and liaison with affected residents and landowners including the issue of trim/cut notices, and follow up calls on notices; and operational support such as any temporary generation used during the activity. Does not include: such items as "beautification" works, lawnmowing e.g. from natures strips, or office gardens, interior plant and aesthetic vegetation works; and any work done in proximity to non-network assets.
Maintenance
Distribution substation | A substation on a distribution network that transforms voltage of levels at or below 33 kV but above 1 kV to levels below 1 kV. As a guide, assets included within a distribution substation include all equipment permanently installed within the distribution substation boundary. Where applicable (such as indoor and outdoor substations), this includes any enclosures, structures, civil works, poles and associated hardware, cabling and other assets that are located permanently within the distribution substation boundary, but excludes any incoming or outgoing lines or cables. For the avoidance of doubt this does not include any building, structure, equipment, cabling, etc. located within the substation boundary that is the property or responsibility of third parties. Where applicable (such as for pole mounted substations), this also includes any poles, pole hardware, pole structures, links, surge diverters, fuses or protective devices, cabling and other assets forming part of the substation or its supports, but excluding incoming or outgoing overhead mains, cables and associated cable terminations (cables in this context includes all power, communications and control cables).
Distribution substation equipment & property maintenance | Maintenance of distribution substations, equipment to convert HV distribution to LV, current transformers, voltage transformers, voltage regulators and associated secondary protection and communication equipment. Equipment maintenance – includes all direct costs (labour, material, contract, motor vehicle); maintenance of distribution switchgear; inspecting, testing and maintaining distribution substations primary and secondary equipment, apparatus and hardware; transformers, earthing, surge diverters, isolators, protection and communication directly associated with the substation; inspecting, testing and maintaining substations and protective apparatus, equipment and hardware; earthing, surge diverters, EDOs and isolators directly associated with the substation; maintenance of site including buildings, fences and cleaning; carrying out replacement of HV fuses not occasioned by fault or emergency work (minor value of replacement, e.g. <$500). Property maintenance – includes all direct costs (labour, material, contract, motor vehicle); maintenance of site including buildings, fences and cleaning; weed control. Excludes upgrades and replacements of equipment which should be capex. Physical measure: Number of projects completed by distribution substation; Number of substations and voltage regulators maintained by zone substation; Number of distribution substation properties maintained.
Ground clearance - access tracks | Maintenance activities that help make access tracks usable.
Maintenance | Operational repairs and maintenance of the distribution system including high voltage and low voltage assets, and including testing, investigation, validation and correction costs not involving capital expenditure. This also includes location of underground cables and covering of low voltage mains for safety reasons. Includes the maintenance of public lighting, as well as scheduled maintenance, meter investigations, special readings and photovoltaic (PV) installations. For AMI services, includes the maintenance of meters and time switches.
Major road | Road on which the visual requirements of motorists are dominant (e.g. traffic routes). Typically the responsibility of a state or territory road authority.
Minor road | Road on which the visual requirements of pedestrians are dominant (e.g. local roads and lighting that is applicable to areas other than roads outdoor public areas, e.g. outdoor shopping). Typically the responsibility of a local Government authority.
Network underground cable maintenance | Inspection, testing and maintenance of underground HV distribution and LV cable installations and terminations. Includes all direct costs (labour, material, contract, motor vehicle); power, supervisory and protection cable maintenance and ancillaries such as conduits, tunnels, manholes, cover slabs, sumps and terminations; cable location inquiries; cable maintenance for all voltages; total lengths of distribution feeder cables emanating from a zone substation. Excludes underground service cable maintenance (see Pole Top, Overhead Line and Services Maintenance); all cables and major replacements inside a zone substation except feeder cables; cable repairs made as part of an emergency or fault restoration and repair of damage caused by other parties. Physical measure: Length of cables maintained by zone substation; Number of joints.
Non-routine maintenance | Activities predominantly directed at managing asset condition or rectifying defects (excluding emergency call-outs). The timing of these activities depends on asset condition and decisions on when to maintain or replace the asset, which may vary over time and across NSPs. Activities to maintain asset condition and/or to maintain the capacity of the distribution system to distribute electricity, and where the activities are not routine in nature. The non-routine activities may be undertaken in a discriminate manner for individual assets. Excludes routine asset maintenance activities. Excludes activities that are designed to increase or improve the capacity of the distribution system to distribute electricity, except where the increase or improvement is incidental to the maintenance of the distribution system. Excludes asset removal, asset replacement, new asset installation, vegetation management, and emergency response. May include: (a) activities to inspect, survey, audit, test, repair, alter, or reconfigure assets (b) functional and intrusive testing of assets, including spares and equipment. Includes load monitoring and switching activities attributable to non-routine asset maintenance.
Other non-routine maintenance | Non-routine maintenance activities or expenditure not defined in another maintenance category.
Other routine maintenance | Routine maintenance activities and expenditure not defined in another maintenance category.
Overhead asset inspection | All inspection of network overhead assets. Includes all direct costs (labour, material, contract, motor vehicle); thermal survey programs. Physical measure: Route km line patrolled by zone substation.
Pole inspection and treatment (all poles) | All inspection, testing and treatment of sub transmission and/or distribution poles. Includes all direct costs (labour, material, contract, motor vehicle); inspection of network assets including poles, conductors and cross-arms; pole preserving chemical treatments. Includes inspection of vegetation where inspections of both vegetation and poles occur simultaneously. Excludes customers HV lines; LV overhead private electric lines. Excludes inspection of vegetation where inspection is for vegetation only (this is captured under Vegetation Management). Physical measure: Number of poles inspected by zone substation.
Pole top, overhead line & service line maintenance | Maintenance of network overhead lines and pole tops, sub transmission & distribution: conveying electricity between zone substations, from zone substations to distribution substations and low voltage lines. Includes Stobie poles for South Australian NSPs. Includes services maintenance (pre-arranged maintenance of DNSP’s services providing supply to customers' premises). Includes: Pole tops and overhead lines maintenance – all direct costs (labour, material, contract, motor vehicle); insulation washing; bird covers and spreaders; maintenance of all pole and conductor hardware and surge diverters not on substation poles. One pole top job will include all the maintenance activity carried out in one work session. Services maintenance – all direct costs (labour, material, contract, motor vehicle); removing, inspecting, testing and re-installation of overhead or underground services and associated equipment; service maintenance including attending to customer complaints not covered by Emergency Response category. Physical measure: Pole tops and overhead lines – Number of pole tops maintained by zone substation; Services – Number of customer premises maintained.
Public lighting assets | Include luminaires, brackets, lamps and dedicated public lighting poles (not poles that deliver network services).
Public lighting services | The installation, operation, repair, replacement and maintenance of public lighting assets whether owned by the NSP or by another party. This also includes alteration and relocation of existing public lighting assets.
Protection system | Has the meaning prescribed in the National Electricity Rules. A system, which includes equipment, used to protect a Registered Participant's facilities from damage due to an electrical or mechanical fault or due to certain conditions of the power system.
Routine maintenance | Recurrent/programmed activities undertaken to maintain assets, performed regardless of the condition of the asset. Costs of activities predominantly directed at discovering information on asset condition, and often undertaken at intervals that can be predicted. Activities to maintain asset condition and/or to maintain the capacity of the distribution system to distribute electricity, and where the activities are: (a) routine in nature; (b) indiscriminately carried out for a pre-defined set of assets; (c) scheduled to occur at pre-defined intervals. May include activities to inspect, survey, audit, test, repair, alter, or reconfigure assets. A pre-defined interval may be based on the number of times the asset has operated, or any other measure, if the future timing of the maintenance based on the measure can be predicted with a reasonable level of certainty. Excludes activities that are designed to increase or improve the capacity of the distribution system to distribute electricity, except where the increase or improvement is incidental to the maintenance of the distribution system. Excludes asset removal, asset replacement, new asset installation, vegetation management, and emergency response. May include: (a) functional and intrusive testing of assets, including spares and equipment; (b) helicopter, vehicle, and foot patrols, including negotiation of landowner access; (c) asset surveys; (d) environmental testing; (e) painting of network assets; (f) re-conductoring lines (g) indoor and outdoor maintenance of substations including lawn mowing, weed control, fencing. Includes load monitoring and switching activities attributable to routine asset maintenance.
SCADA and network control | Supervisory control and data acquisition (SCADA) and network control hardware, software and associated ICT systems. Excludes Protection Systems.
Service lines | Includes assets that provide a physical link and associated assets between the distribution network and a customer’s premises. It excludes any pole mounted assets and meters that are included in any other asset group.
Sub-transmission asset maintenance - for DNSPs with dual function assets | Assets that distribute electricity at voltage levels between the transmission system and the HV section of the network. The connection boundaries are the outgoing terminals at the transmission terminal station to the incoming terminals of the HV circuit breakers at the zone substations.
Zone substation | A substation on a distribution network that transforms any voltage above 33 kV to levels at or below 33 kV but above 1 kV. As a guide, assets included within a zone substation include all equipment, buildings, structures, civil works and other assets that are located permanently within the substation boundary fence; but excluding the landing spans of incoming or outgoing overhead lines, and excluding incoming or outgoing cables and associated cable terminations (cables includes all power, communications and control cables).
Zone substation equipment maintenance | Maintenance of zone substations, equipment to convert sub transmission voltage to distribution voltage, current transformers, voltage transformers and associated secondary protection and communication equipment. Includes maintenance of sub transmission switchgear; inspecting, testing and maintaining zone substations primary and secondary equipment, apparatus and hardware; transformers, earthing, surge diverters, isolators, protection and communication directly associated with the substation. Includes maintenance of distribution equipment within the zone substation. Excludes upgrades and replacements which should be capex; Zone Substation Property Maintenance. Physical measure: Number of zone substation assets, e.g. number of transformers.
Zone substation property maintenance | Maintenance of site including buildings, fences and cleaning and weed control. Excludes Zone Substation Equipment Maintenance and Zone Substation Transformer Maintenance. Physical measure: Number of zone substation properties maintained.
Non-network
Buildings and property expenditure | Expenditure directly attributable to non-network buildings and property assets including: the replacement, installation, operation and maintenance of non-network buildings, fittings and fixtures. It includes expenditure related to real chattels (e.g. interests in land such as a lease) but excludes expenditure related personal chattels (e.g. furniture) that should be reported under 'Other non-network expenditure'.
Car | Cars are motor vehicles other than those that comply with the definition of Light commercial vehicle, Heavy commercial vehicle, Elevated work platform (LCV), or Elevated work platform (HCV).
Device | Hardware devices that access services made available by a server. May include desktop computers, laptops, tablets and thin client interfaces and handheld end user computing devices including smart phones, tablets and laptops.
Elevated work platform (HCV) | Motor Vehicles that have permanently attached elevating work platforms that would be HCVs but for the exclusion of elevated work platforms from the definition of HCV.
Elevated work platform (LCV) | (LCV) are Motor Vehicles that have permanently attached elevating work platforms that are not Elevated work platforms (HCV).
Heavy Commercial Vehicle | Heavy commercial vehicles (HCVs) are Motor Vehicles that are registered for use on public roads excluding Elevated Work Platform (HCV)s that: have a gross vehicle mass greater than 4.5 tonnes; or are articulated Vehicles; or are buses with a gross vehicle mass exceeding 4.5 tonnes.
ICT expenditure | Non-network expenditure directly attributable to ICT assets including replacement, installation, operation, maintenance, licensing, and leasing but excluding all expenditures associated with SCADA and Network Control assets that exist beyond gateway devices (routers, bridges etc.) at corporate offices.
ICT non-recurrent expenditure | As defined in the AER’s Guidance Note released as part of the AER’s 2019 ICT expenditure review (as amended from time to time). In the event, the AER’s Guidance Note is not released or is withdrawn this term is defined as any ICT expenditure that is not ‘recurrent ICT capex’ (as this term is defined in this notice).
ICT recurrent expenditure | As defined in the AER’s Guidance Note released as part of the AER’s 2019 ICT expenditure review (as amended from time to time). In the event, the AER’s Guidance Note is not released or is withdrawn this term is defined as ICT expenditure that is related to maintaining existing services, functionalities, capability and/or market benefits, and occurs at least once every five years.
Light commercial vehicle | Motor Vehicles that are registered for use on public roads excluding elevated work platforms that: are rigid trucks or load carrying vans or utilities having a gross vehicle mass greater than 1.5 tonnes but not exceeding 4.5 tonnes; or have cab-chassis construction, and a gross vehicle mass greater than 1.5 tonnes but not exceeding 4.5 tonnes; or are buses with a gross vehicle mass not exceeding 4.5 tonnes.
Motor vehicle | Any motor vehicle registered for use on public roads excluding motor vehicles not generally moved large distances on public roads under their own power (e.g. excluding tractors, forklifts, backhoes, bobcats and any other road registered mobile plant).
Non-network expenditure | Includes ICT, Property, Fleet and other expenditure not directly related to the provision of network services.
Labour / non-labour split
In-house labour | Employees of the NSP.
Labour expenditure | The costs of: Labour hire; and Ordinary time earnings; and Other earnings, on-costs and taxes; and Superannuation. Excludes expenditure required under contracts other than labour hire contracts, irrespective of whether or not the contract includes a labour component.
Labour expenditure outsourced to related parties | Employees of related parties providing services to the NSP.
Labour expenditure outsourced to unrelated parties | Employees of unrelated parties providing services to the NSP.
Non-labour expenditure | Expenditure other than labour expenditure.
Related party | Any entity other than the pipeline service provider that at any time during the regulatory year or the previous, current or forthcoming access arrangement period or regulatory control period: (i) had, has or is expected to have control or significant influence over the pipeline service provider or network service provider; (ii) was, is or is expected to be subject to control or significant influence from the pipeline service provider or network service provider; (iii) was, is or is expected to be controlled by the same entity that controlled, controls or is expect to control the pipeline service provider or network service provider —referred to as a situation in which entities are subject to common control; (iv) was, is or is expected to be controlled by the same entity that significantly influenced, influences or is expected to influence the pipeline service provider or network service provider; or (v) was, is or is expected to be significantly influenced by the same entity that controlled, controls or is expected to control the pipeline service provider or network service provider; but excludes any other entity that would otherwise be related solely due to normal dealings of: (a) financial institutions; (b) authorised trustee corporations as prescribed in Schedule 9 of the Corporations Act 2001 (Cth); (c) fund managers; (d) trade unions; (e) statutory authorities; (f) government departments; (g) local governments; or where any of the entities identified in sub paragraphs (a) to (e) have novated or assigned a contract or arrangement to or from another entity (where that contract or arrangement relates to the provision of reference services by the pipeline service provider or core regulated services by the network service provider), the entity to whom that contract or arrangement has been novated or assigned.
Economic benchmarking categories
Cost allocation approach (CAM) | This is the cost allocation methodology in effect for the Regulatory Years where an AER approved cost allocation methodology is in effect. Otherwise this is the approach applied by NSP to allocate costs in compliance with NSP's Annual Reporting Requirements.
Network services | Services provided over the shared network used to service all network users connected to it. Such services may include the construction, maintenance, operation, planning and design of the shared network. Network Services are delivered through the provision and operation of apparatus, equipment, plant and/or buildings (excluding connection assets) used to convey, and control the conveyance of, electricity to customers. Network Services also include the provision of emergency response and administrative support for other Network Services. Network Services are a subset of Standard Control Services that excludes Connection Services, Metering services, Fee Based and Quoted Services and Public Lighting Services. The Opex and capex of connection assets that become part of the shared network are part of Network Services. This only applies to the Opex and capex for connection assets subsequent to their installation and excludes Opex and capex associated with the provision of Connection Services. For the avoidance of doubt, Network Services includes the construction, maintenance, operation, planning and design of Dual Function Assets where these assets are part of the shared network.
Metering services | Metering Services include: Meter purchase; Meter testing; Meter investigation; Scheduled meter reading; Special meter reading; New meter installation; Meter replacement; Meter maintenance; Other (all activities not captured by the defined meter service categories including those activities relating to type 7 meters).
Public lighting services | The installation, operation, repair, replacement and maintenance of public lighting assets whether owned by the NSP or by another party. This also includes alteration and relocation of existing public lighting assets.
Connection services (distribution) | As defined in the AER's Connection charge guidelines for electricity retail customers, April 2023, a Connection Service—means either or both of the following: (a) a service relating to a new connection for premises; (b) a service relating to a connection alteration for premises.
Easement Levy | Easement land tax levied by a statement government on easements required for electricity networks.
Transmission connection point planning expenditure | Costs associated with provision of information to assist TNSPs with required planning activities.
Input expenditure categories
Direct Material Expenditure | Materials are the raw materials, standard parts, specialised parts and sub-assemblies required to assemble or manufacture a network/non-network asset or to provide a network/non-network service. Direct materials expenditures are attributable to a specific asset or service, cost centre, or work order, and exclude materials provided under external-party contracts. Includes: (a) the cost of scrap (b) normally anticipated defective units that occur in the ordinary course of the production process (c) routine quality assurance samples that are tested to destruction (d) the net invoice price paid to vendors to deliver the material quantity to the production facility or to a point of free delivery.
Direct Labour Expenditure | Labour expenditure attributable to a specific asset or service, cost centre, work activity, project or work order.
Contract expenditure | Expenditure relating to a legally binding contract.
Labour expenditure | The costs of: Labour hire; and Ordinary time earnings; and Other earnings, on-costs and taxes; and Superannuation. Excludes expenditure required under contracts other than labour hire contracts, irrespective of whether or not the contract includes a labour component.
Non-labour expenditure | Expenditure other than labour expenditure.
Vegetation management | Activities that: are primarily directed at removing, altering, or managing vegetation to maintain safe or regulated clearances from distribution or transmission assets; and are not emergency or fault related activities; and are not initiated by a request from a distribution or transmission customer, excluding customers that are network service providers; and are not activities for which expenditure could be attributed to the AER expenditure category 'Augmentation, replacement, or non-routine maintenance activities triggered by a changed regulatory obligation or requirement'; and are not activities for which expenditure could be attributed to the AER expenditure category 'Augmentation, replacement, or non-routine maintenance activities triggered by a changed internal standard'. Includes tree cutting, undergrowth control, root management, waste disposal, use of herbicide and growth retardants, and encouragement of low-growth vegetation to prevent the establishment of high-growth vegetation. Also includes: pre-cutting/trimming inspections; and inspections of vegetation to ensure that activities have been undertaken appropriately; and liaison with affected residents and landowners including the issue of trim/cut notices, and follow up calls on notices; and operational support such as any temporary generation used during the activity. Does not include: such items as "beautification" works, lawnmowing e.g. from natures strips, or office gardens, interior plant and aesthetic vegetation works; and any work done in proximity to non-network assets.
Routine maintenance | Recurrent/programmed activities undertaken to maintain assets, performed regardless of the condition of the asset. Costs of activities predominantly directed at discovering information on asset condition, and often undertaken at intervals that can be predicted. Activities to maintain asset condition and/or to maintain the capacity of the distribution system to distribute electricity, and where the activities are: (a) routine in nature; (b) indiscriminately carried out for a pre-defined set of assets; (c) scheduled to occur at pre-defined intervals. May include activities to inspect, survey, audit, test, repair, alter, or reconfigure assets. A pre-defined interval may be based on the number of times the asset has operated, or any other measure, if the future timing of the maintenance based on the measure can be predicted with a reasonable level of certainty. Excludes activities that are designed to increase or improve the capacity of the distribution system to distribute electricity, except where the increase or improvement is incidental to the maintenance of the distribution system. Excludes asset removal, asset replacement, new asset installation, vegetation management, and emergency response. May include: (a) functional and intrusive testing of assets, including spares and equipment; (b) helicopter, vehicle, and foot patrols, including negotiation of landowner access; (c) asset surveys; (d) environmental testing; (e) painting of network assets; (f) re-conductoring lines (g) indoor and outdoor maintenance of substations including lawn mowing, weed control, fencing. Includes load monitoring and switching activities attributable to routine asset maintenance.
Non-routine maintenance | Activities predominantly directed at managing asset condition or rectifying defects (excluding emergency call-outs). The timing of these activities depends on asset condition and decisions on when to maintain or replace the asset, which may vary over time and across NSPs. Activities to maintain asset condition and/or to maintain the capacity of the distribution system to distribute electricity, and where the activities are not routine in nature. The non-routine activities may be undertaken in a discriminate manner for individual assets. Excludes routine asset maintenance activities. Excludes activities that are designed to increase or improve the capacity of the distribution system to distribute electricity, except where the increase or improvement is incidental to the maintenance of the distribution system. Excludes asset removal, asset replacement, new asset installation, vegetation management, and emergency response. May include: (a) activities to inspect, survey, audit, test, repair, alter, or reconfigure assets (b) functional and intrusive testing of assets, including spares and equipment. Includes load monitoring and switching activities attributable to non-routine asset maintenance.
Emergency response | Activities to restore a failed component to an operational state including the work incurred where supply has been interrupted or assets damaged or rendered unsafe by a breakdown, making immediate operations and/or repairs necessary. Also includes activities primarily directed at maintaining network functionality and for which immediate rectification is necessary. These activities are primarily due to network failure caused by weather events, vandalism, traffic accidents or other physical interference by non-related entities.
ICT expenditure | Non-network expenditure directly attributable to ICT assets including replacement, installation, operation, maintenance, licensing, and leasing but excluding all expenditures associated with SCADA and Network Control assets that exist beyond gateway devices (routers, bridges etc.) at corporate offices.
Motor vehicle | Any motor vehicle registered for use on public roads excluding motor vehicles not generally moved large distances on public roads under their own power (e.g. excluding tractors, forklifts, backhoes, bobcats and any other road registered mobile plant).
Buildings and property expenditure | Expenditure directly attributable to non-network buildings and property assets including: the replacement, installation, operation and maintenance of non-network buildings, fittings and fixtures. It includes expenditure related to real chattels (e.g. interests in land such as a lease) but excludes expenditure related personal chattels (e.g. furniture) that should be reported under 'Other non-network expenditure'.
Export Services | Export services are services provided by distribution networks to accept and distribute energy generated within its network either behind the meter or front of meter.
Network overheads | The provision of network, control and management services that cannot be directly identified with specific operational activity (such as routine maintenance, vegetation management, etc.). Network Overheads may include the following: (a) management (not directly related to any of the functions listed below) (b) network planning (i.e. system planning) (c) network control and operational switching personnel (d) quality and standards functions including standards & manuals, asset strategy (other than network planning), compliance, quality of supply, reliability, and network records (e.g. geographical information systems (GIS)) (e) project governance and related functions including supervision, procurement, works management, logistics and stores (f) training, OH&S functions, training, network billing and customer service & call centre (g) advertising/marketing (h) demand side management expenditure/ non-network alternatives (i) levies.
Corporate overheads | The provision of corporate support and management services by the corporate office that cannot be directly identified with specific operational activity. Corporate overhead costs may include those for executive management, legal and secretariat, human resources, finance, regulatory and other corporate head office activities or departments, insurance/self-insurance, debt/equity raising costs, non-network IT support.
Alternative control
Alternative Control Services | A distribution service that is a direct control service but not a standard control service (as defined in the NER). By way of context, Alternative Control Services are intended to capture distribution services provided at the request of, or for the benefit of, specific customers with regulatory oversight of prices.
Public lighting services | The installation, operation, repair, replacement and maintenance of public lighting assets whether owned by the NSP or by another party. This also includes alteration and relocation of existing public lighting assets.
Energy efficient public lighting | Public lighting services provided using energy efficient lamps (such as fluorescent lamps; CFL lamps and LED lamps).
Non-energy efficient public lighting | Public lighting that does not use energy efficient lamps.
Metering services | Metering Services include: Meter purchase; Meter testing; Meter investigation; Scheduled meter reading; Special meter reading; New meter installation; Meter replacement; Meter maintenance; Other (all activities not captured by the defined meter service categories including those activities relating to type 7 meters).
Meter replacement (total) | The replacement cost of a meter and associated equipment at a site with existing metering infrastructure. This activity should be estimated as the replacement of a meter with its modern equivalent, where the meter has reached the end of its economic life. Replacement is a non-demand driven activity where the existing asset cannot be efficiently maintained to meet its service performance requirement.
Meter replacement (whole meter) | The replacement cost of a meter and associated equipment at a site with existing metering infrastructure. This activity should be estimated as the replacement of a meter with its modern equivalent, where the meter has reached the end of its economic life. Replacement is a non-demand driven activity where the existing asset cannot be efficiently maintained to meet its service performance requirement.
Meter replacement (component) | The replacement cost of any component of a meter and associated equipment at a site with existing metering infrastructure (includes all replacements other than whole meter replacements).
Smart meter | Also known as advanced meter. These meters record customer usages and demand in real time and can be remotely read in discrete time intervals.
Legacy meter | Meter that is not a smart meter.
Fee based services | Fee-based services are provided for the benefit of individual customers rather than uniformly supplied to all network customers. Some services of this type are homogenous in nature and scope. This means that these services are provided on a fixed fee basis. These services may, in some jurisdictions, be classified as ancillary network services charged on a fixed fee basis.
Quoted Services | Services for which costs are recovered through quoted prices as the nature and scope of these services are specific to individual customers’ needs and vary from customer to customer. These services may, in some jurisdictions, be classified as ancillary network services charged on a quoted basis.
Direct expenditure | Operating or capital expenditure directly attributable to a work activity, project or work order. Consists of in-house costs of direct labour, direct materials and other attributable costs. Excludes any allocated overhead.
Indirect expenditure | Operating or capital expenditure that is not directly attributable to a work activity, project or work order.
Opex category
Operating expenditure | Expenditure relating to operating and maintaining the network or pipeline (excluding all capital expenditure and capital construction expenditure).
Related party margin | The profit a Related Party gains above its total actual costs under a Related Party Contract with a network service provider or pipeline service provider. This profit may include margins, management fees or incentive payments.
Opex by purpose
Operating Expenditure | Expenditure relating to operating and maintaining the network or pipeline (excluding all capital expenditure and capital construction expenditure).
Network overheads | The provision of network, control and management services that cannot be directly identified with specific operational activity (such as routine maintenance, vegetation management, etc.). Network Overheads may include the following: (a) management (not directly related to any of the functions listed below) (b) network planning (i.e. system planning) (c) network control and operational switching personnel (d) quality and standards functions including standards & manuals, asset strategy (other than network planning), compliance, quality of supply, reliability, and network records (e.g. geographical information systems (GIS)) (e) project governance and related functions including supervision, procurement, works management, logistics and stores (f) training, OH&S functions, training, network billing and customer service & call centre (g) advertising/marketing (h) demand side management expenditure/ non-network alternatives (i) levies.
Corporate overheads | The provision of corporate support and management services by the corporate office that cannot be directly identified with specific operational activity. Corporate overhead costs may include those for executive management, legal and secretariat, human resources, finance, regulatory and other corporate head office activities or departments, insurance/self-insurance, debt/equity raising costs, non-network IT support.
Economic benchmarking categories
Cost allocation approach (CAM) | This is the cost allocation methodology in effect for the Regulatory Years where an AER approved cost allocation methodology is in effect. Otherwise this is the approach applied by NSP to allocate costs in compliance with NSP's Annual Reporting Requirements.
Metering activities
Meter | A meter is a device complying with Australian Standards which measures and records the production or consumption of electrical energy. Meter types 1-7 must be consistent with the requirements in Schedule 7.4 of NER.
Meter investigation | The cost to investigate a metering request at a given supply point i.e. Interval data analysis; meter malfunction; wiring transposition (polarity) investigation; contestable metering investigation and meter tampering or bypass.
Meter maintenance | The cost to repair a meter currently deployed in the field. Meter maintenance costs should include the expenditure related to operational repairs of the meter unit, not including capex.
Meter purchase | The direct material cost of purchasing the meter unit for installation or replacement. This includes the cost of delivery to DNSP’s store, including testing of equipment and inclusion of spare parts.
Meter replacement (whole meter) | The replacement cost of a meter and associated equipment at a site with existing metering infrastructure. This activity should be estimated as the replacement of a meter with its modern equivalent, where the meter has reached the end of its economic life. Replacement is a non-demand driven activity where the existing asset cannot be efficiently maintained to meet its service performance requirement.
Meter replacement (component) | The replacement cost of any component of a meter and associated equipment at a site with existing metering infrastructure (includes all replacements other than whole meter replacements).
Meter testing | Routine testing, for the purposes of complying with AEMO’s metrology procedure, including the ongoing and regular maintenance testing, compliance testing and in-service testing of metering installation components initiated by the responsible person or Metering Provider to fulfil their obligations in accordance with S7.3 of the Rules.
Meter type 1-3 | High voltage meter.
Meter type 4 | Remotely read interval meter with communications functionality. It must meet the minimum services specification for type 4 meters set out in schedule 7.5 of the NER.
Meter type 5 | Manually read interval meter that records interval energy data, which is not a remotely read interval meter.
Meter type 6 | Manually read accumulation meter.
Meter type 7 | A connection point for an unmetered customer.
Metering services | Metering Services include: Meter purchase; Meter testing; Meter investigation; Scheduled meter reading; Special meter reading; New meter installation; Meter replacement; Meter maintenance; Other (all activities not captured by the defined meter service categories including those activities relating to type 7 meters).
New meter installation | Has the meaning of metering installation as prescribed in the National Electricity Rules and should also include the expenditure associated with deploying refurbished meters in new meter installations.
Other metering services | Metering services which are not already included in the following meter services: Meter purchase; Meter testing; Meter investigation; Scheduled meter reading; Special meter reading; New meter installation; Meter replacement; Meter maintenance. Meter data services, which apply to meter types 4–7 should be reported in the meter associated works category. This is not intended to capture general support or audit functions but should reflect any metering service activities not captured in other categories.
Remote meter reading | The use of remotely read interval metering infrastructure to perform meter reading and special meter reading.
Remote meter re-configuration | A change to the software in the meter that enables changes to parameters for a specific meter function. Examples of meter reconfigurations may include: (a) changing the switching times for controlled loads (b) changes associated with the installation of embedded generation and/or the premium feed-in tariff.
Special meter reading | An actual meter reading performed to support an out of cycle customer billing or consumption request.
Scheduled meter reading | An actual meter reading performed according to a predefined schedule.
Fee-based and Quoted
De-energisation | The opening of a connection in order to prevent the flow of energy to the premises.
Energisation | The closing of a connection in order to allow the flow of energy to the premises.
Fee based services | Fee-based services are provided for the benefit of individual customers rather than uniformly supplied to all network customers. Some services of this type are homogenous in nature and scope. This means that these services are provided on a fixed fee basis. These services may, in some jurisdictions, be classified as ancillary network services charged on a fixed fee basis.
Other fee based services | Fee based services not included in energisation, Re-energisation or de-energisation services.
Quoted services | Services for which costs are recovered through quoted prices as the nature and scope of these services are specific to individual customers’ needs and vary from customer to customer. These services may, in some jurisdictions, be classified as ancillary network services charged on a quoted basis.
Re-energisation | The energisation of a premises after their de-energisation. Does not include alterations or new installation of meters or services.
Other services
Operating expenditure | Expenditure relating to operating and maintaining the network or pipeline (excluding all capital expenditure and capital construction expenditure).
Related party margin | The profit a Related Party gains above its total actual costs under a Related Party Contract with a network service provider or pipeline service provider. This profit may include margins, management fees or incentive payments.
Negotiated distribution services | As defined in the NER, Chapter 10.
Large projects
Large project | A large project is any project that has commenced, where the expected expenditure on the project exceeds a threshold value. The expected expenditure threshold values are: (a) For DNSPs: a project with expected total expenditure over the life of the project that exceeds either $30 million or 5% of the value of the annual revenue requirement for the first year of the relevant regulatory control period, whichever is the larger amount. (b) For TNSPs: a project with expected total expenditure over the life of the project that exceeds either $30 million or 5% of the value of the maximum allowed revenue for the first year of the relevant regulatory control period, whichever is the larger amount.
Export services
Complaint management | Systems and processes for recording, analysing, responding to and resolving complaints. Examples of complaints management include but not limited to: complaint processing, analysis, transformer tapping.
Overvoltage | The network voltage reaching a point where a customer's generating unit should reduce its real power output in response to increased voltage. This is typically expected to occur when network voltage exceeds 253V.
Other export services opex | Export service operating expenditure not related to overvoltage complaint management.
Export services | Export services are services provided by distribution networks to accept and distribute energy generated within its network either behind the meter or front of meter.

## Validations
Data category 06: Operating expenditure
Data validation is a process to improve data quality by checking the accuracy and quality of source data before using, importing or otherwise processing the data. Data validation rules provide the first level of data cleansing in the data quality process. They decrease the likelihood of errors at the point of data entry. Data validation rules cannot, however, guarantee data entry is correct, only that it has passed a pre-specified set of rules.
Validation Rules
Worksheet | Tables | input cells | Rules applying
Distribution business | Opex category | Business specified | Text
Categories specified must align with the categories in the PTRM applying for the relevant year
|  | $ | Number (no text)
NULL invalid
| Guaranteed Service level - Payments | Business specified GSL categories | Free text
must align with business specified GSL category from data category 6 - operational expenditure
must align with previous years submission where relevant
|  | Business specified GSL parameters | Free text
must align with business specified GSL category from data category 6 - operational expenditure
must align with previous years submission where relevant
|  | $ | ≥0
NULL invalid
| Demand Management | DMIS projects submitted for approval (business specified) | Text Projects listed must align with the DMIS report, and projects listed in the capex workbook
|  | DMIAM projects submitted for approval (business specified) | Text Projects listed must align with the DMIAM report
|  | $ | Number (no text)
≥0
NULL valid if no project listed in the row descriptor, else NULL invalid
Standard control | Opex category | $ | Number (no text)
≥0
NULL invalid
| Opex by purpose | $ | Number (no text)
≥0
NULL invalid
| Vegetation management | $ | Number (no text)
≥0
NULL invalid
| Maintenance | $ | Number (no text)
≥0
NULL invalid
| Emergency response | $ | Number (no text)
≥0
NULL invalid
| Non-network | $ | Number (no text)
≥0
NULL invalid
|  | Business specified | Categories specified must align with the categories used in the previous relevant year, or an explanation for new categories provided
| Labour / non-labour expenditure split | $ | Number (no text)
≥0
NULL invalid
| Economic benchmarking categories | $ | Number (no text)
≥0
NULL invalid
| Input expenditure category | $ | Number (no text)
≥0
NULL invalid
Alternative control | Opex category | Public lighting - Total ($) | Number
≥0
NULL invalid
|  | Public lighting - energy efficient ($) | Number
≥0
NULL valid if service classification not relevant
|  | Public lighting - Non-energy efficient ($) | Number
≥0
NULL valid if service classification not relevant
|  | Metering services - Total ($) | Number
≥0
NULL invalid
|  | Metering services - Legacy meter ($) | Number
≥0
NULL valid if service classification not relevant
|  | Metering services - Smart meter ($) | Number
≥0
NULL valid if service classification not relevant
|  | Fee based services ($) | Number
≥0
NULL invalid
|  | Quoted services ($) | Number
≥0
NULL invalid
| Opex by purpose | Public lighting - Total ($) | Number
≥0
NULL invalid (Other ACS expenditure, NULL Valid)
|  | Public lighting - energy efficient ($) | Number
≥0
NULL invalid (Other ACS expenditure, NULL Valid)
|  | Public lighting - Non-energy efficient ($) | Number
≥0
NULL invalid (Other ACS expenditure, NULL Valid)
|  | Metering services - Total ($) | Number
≥0
NULL invalid (Other ACS expenditure, NULL Valid)
|  | Metering services - Legacy meter ($) | Number
≥0
NULL invalid (Other ACS expenditure, NULL Valid)
|  | Metering services - Smart meter ($) | Number
≥0
NULL invalid (Other ACS expenditure, NULL Valid)
|  | Fee based services ($) | Number
≥0
NULL invalid (Other ACS expenditure, NULL Valid)
|  | Quoted services ($) | Number
≥0
NULL invalid (Other ACS expenditure, NULL Valid)
| Metering activities | Metering services - Total ($) | Number
≥0
NULL valid if service classification not relevant
|  | Metering services - Legacy meter ($) | Number
≥0
NULL valid if service classification not relevant
|  | Metering services - Smart meter ($) | Number
≥0
NULL valid if service classification not relevant
|  | Meter replacement (whole meter & component / software breakdown) ($) | Number
≥0
NULL valid if data provided at Meter replacement level
|  | Meter replacement ($) | Number
≥0
NULL valid if meter replacement data provided by breakdown by whole meter & component /software level
| Fee based services | Energisation, De-Energisation & Re-Energisation ($) | Number (no text)
≥0
NULL valid (where the services are reported under a business specified category of fee based or quoted services)
|  | business specified ($) | Number (no text)
≥0
NULL valid (where the services are reported under a pre-defined category of fee based or quoted services i.e. Energisation, de-energisation, re-energisation)
|  | business specified | Free text <business specified fee-based service type>
Categories specified must be consistent with AER final decision in the previous year (unless services is new)
| Quoted services | $ | Number (no text)
≥0
NULL invalid
|  | business specified | Free text <business specified quoted service type>
Categories specified must be consistent with AER final decision in the previous year (unless services is new)
Other services | Opex category | $ | Number (no text)
≥0
NULL valid
Large projects | Large project expenditure | business specified | Text
|  | $ | Number
≥0
NULL invalid
Export services | Opex for provision of export services | $ | Number
≥0
NULL valid

## Checks and Totals
Data category 06: Operating expenditure
Totals and Data Hierarchies
Worksheet | Table | Sub table | Reference |  | Worksheet | Table | Sub table | Reference | Check
Standard control | Opex category |  | Total Operating expenditure | = | Standard control | Opex by purpose |  | Total | TRUE
Standard control | Opex by purpose |  | Vegetation management (direct expenditure) | = | Standard control | Vegetation management |  | Total vegetation management (direct expenditure) | TRUE
Standard control | Opex by purpose |  | Maintenance (direct expenditure) | = | Standard control | Maintenance |  | Total maintenance (direct expenditure) | TRUE
Standard control | Opex by purpose |  | Emergency response (direct expenditure) | = | Standard control | Emergency response |  | Total emergency response opex (direct expenditure) | TRUE
Standard control | Opex by purpose |  | Non-network opex (direct expenditure) | = | Standard control | Non-network opex |  | Total non-network expenditure (direct expenditure) | TRUE
Standard control | Opex by purpose |  | Export services (direct expenditure) | = | Export services | Opex for provision of export services |  | Total of table | TRUE
Alternative control | Operating expenditure |  | Total Operating expenditure | = | Alternative control | Opex by purpose |  | Operating Expenditure | TRUE

## Distribution Business
Data category 06: Operating expenditure
Distribution business
|  | SERVICE CLASSIFICATIONS |  |  |  | Actual | Estimated
| Units | Audited Statutory Accounts | Regulatory Adjustments | Distribution Business | Current RIN reference | Assurance standard - Financial data
Opex category
Debt raising expenditure | $ |  |  | 0 | AR8.4.1 | ASA805 | ASRE2405
<business specified> | $ |  |  | 0 | AR8.4.1 | ASA805 | ASRE2405
<business specified> | $ |  |  | 0 | AR8.4.1 | ASA805 | ASRE2405
<additional rows allowed>
RELATED PARTY MARGINS
Debt raising expenditure | $ |  |  | 0 | AR8.4.2 | ASA805 | ASRE2405
<business specified> | $ |  |  | 0 | AR8.4.2 | ASA805 | ASRE2405
<business specified> | $ |  |  | 0 | AR8.4.2 | ASA805 | ASRE2405
<additional rows allowed>
Guaranteed service levels - payments
<Business specified GSL category 1> |  |  |  |  | AR6.9.1
<Business specified GSL parameter 1.1> | $ |  |  |  | AR6.9.1 | ASA805 | ASRE2405
<Business specified GSL parameter 1.2> | $ |  |  |  | AR6.9.1 | ASA805 | ASRE2405
<Business specified GSL parameter 1.3> | $ |  |  |  | AR6.9.1 | ASA805 | ASRE2405
<additional rows allowed>
<Business specified GSL category 2> |  |  |  |  | AR6.9.1
<Business specified GSL parameter 2.1> | $ |  |  |  | AR6.9.1 | ASA805 | ASRE2405
<Business specified GSL parameter 2.2> | $ |  |  |  | AR6.9.1 | ASA805 | ASRE2405
<Business specified GSL parameter 2.3> | $ |  |  |  | AR6.9.1 | ASA805 | ASRE2405
<additional rows allowed>
<Business specified GSL category 3> |  |  |  |  | AR6.9.1
<Business specified GSL parameter 3.1> | $ |  |  |  | AR6.9.1 | ASA805 | ASRE2405
<Business specified GSL parameter 3.2> | $ |  |  |  | AR6.9.1 | ASA805 | ASRE2405
<Business specified GSL parameter 3.3> | $ |  |  |  | AR6.9.1 | ASA805 | ASRE2405
<additional rows allowed>
<additional business specified GSL categories (and corresponding GSL Parameters) allowed>
Demand management
DMIS - PROJECTS SUBMITTED FOR APPROVAL
<business specified> | $ |  |  |  | AR7.11.1 | ASA805 | ASRE2405
<business specified> | $ |  |  |  | AR7.11.1 | ASA805 | ASRE2405
<business specified> | $ |  |  |  | AR7.11.1 | ASA805 | ASRE2405
<additional rows allowed>
DMIS - projects submitted for approval |  |  |  | 0
DMIAM - PROJECTS SUBMITTED FOR APPROVAL
<business specified> | $ |  |  |  | AR7.11.2 | ASA805 | ASRE2405
<business specified> | $ |  |  |  | AR7.11.2 | ASA805 | ASRE2405
<business specified> | $ |  |  |  | AR7.11.2 | ASA805 | ASRE2405
<additional rows allowed>
DMIAM - projects submitted for approval |  |  |  | 0

## Standard control
Data category 06: Operating expenditure
Standard Control
|  | SERVICE CLASSIFICATIONS | [9 empty] | Actual | Estimated
|  | Standard Control Services |  |  | Standard Control excluding Dual Function Assets |  |  | Dual Function Assets |  |  | Current RIN reference | Assurance standard - Financial data
| Units | Total | Direct | Indirect | Total | Direct | Indirect | Total | Direct | Indirect
Opex category
OPERATING EXPENDITURE
Debt raising expenditure | $ | [9 empty] | AR8.4.1 | ASA805 | ASRE2405
<business specified> | $ | [9 empty] | AR8.4.1 | ASA805 | ASRE2405
<business specified> | $ | [9 empty] | AR8.4.1 | ASA805 | ASRE2405
<additional rows allowed>
Operating expenditure |  | 0
RELATED PARTY MARGINS
Debt raising expenditure | $ | [9 empty] | AR8.4.2 | ASA805 | ASRE2405
<business specified> | $ | [9 empty] | AR8.4.2 | ASA805 | ASRE2405
<business specified> | $ | [9 empty] | AR8.4.2 | ASA805 | ASRE2405
<additional rows allowed>
Opex by purpose
Vegetation management | $ | 0 | 0 | [7 empty] | CA2.1.2 | ASA805 | ASRE2405
Maintenance | $ | 0 | 0 | [7 empty] | CA2.1.2 | ASA805 | ASRE2405
Emergency response | $ | 0 | 0 | [7 empty] | CA2.1.2 | ASA805 | ASRE2405
Non-network | $ | 0 | 0 | [7 empty] | CA2.1.2 | ASA805 | ASRE2405
Export services | $ | 0 | 0 | [7 empty] | New
Network overheads | $ | 0 | 0 | 0 | [6 empty] | CA2.1, CA2.10A, AR(New CA)2.10 | ASA805 | ASRE2405
Corporate overheads | $ | 0 | 0 | 0 | [6 empty] | CA2.1, CA2.10A, AR(New CA)2.10 | ASA805 | ASRE2405
Vegetation management
Tree trimming (excluding hazard trees) | $ | [9 empty] | CA2.7.2 | ASRE2405 | ASRE2405
Hazard tree cutting | $ | [9 empty] | CA2.7.2 | ASRE2405 | ASRE2405
Ground clearance | $ | [9 empty] | CA2.7.2 | ASRE2405 | ASRE2405
Vegetation corridor clearance | $ | [9 empty] | CA2.7.2 | ASRE2405 | ASRE2405
Vegetation inspection | $ | [9 empty] | CA2.7.2 | ASRE2405 | ASRE2405
Vegetation audit | $ | [9 empty] | CA2.7.2 | ASRE2405 | ASRE2405
Contractor liaison expenditure | $ | [9 empty] | CA2.7.2 | ASRE2405 | ASRE2405
Tree replacement program expenditure | $ | [9 empty] | CA2.7.2 | ASRE2405 | ASRE2405
Other vegetation management expenditure | $ | [9 empty] | CA2.7.2 | ASRE2405 | ASRE2405
Total vegetation management | $ |  | 0
Maintenance
ROUTINE MAINTENANCE
Pole tops and overhead lines | $ | [9 empty] | CA2.8.2
Service lines | $ | [9 empty] | CA2.8.2
Pole inspection and treatment (all poles) | $ | [9 empty] | CA2.8.2
Overhead asset inspection - all overhead assets | $ | [9 empty] | CA2.8.2
Network underground cable maintenance | $ | [9 empty] | CA2.8.2
Distribution substation equipment & property maintenance | $ | [9 empty] | CA2.8.2
Zone substation equipment maintenance | $ | [9 empty] | CA2.8.2
Zone substation property maintenance | $ | [9 empty] | CA2.8.2
Public lighting maintenance | $ |  | 0 | [7 empty] | CA2.8.2
Minor roads | $ | [9 empty] | CA2.8.2
Major roads | $ | [9 empty] | CA2.8.2
SCADA and network control maintenance | $ | [9 empty] | CA2.8.2
Protection systems maintenance | $ | [9 empty] | CA2.8.2
Subtransmission asset maintenance - for DNSPs with dual function assets | $ | [9 empty] | CA2.8.2
Ground clearance - access tracks | $ | [9 empty] | CA2.8.2
Other routine maintenance | $ | [9 empty] | CA2.8.2
Total routine maintenance | $ |  | 0
NON-ROUTINE MAINTENANCE
Pole tops and overhead lines | $ | [9 empty] | CA2.8.2
Service lines | $ | [9 empty] | CA2.8.2
Pole inspection and treatment (all poles) | $ | [9 empty] | CA2.8.2
Overhead asset inspection | $ | [9 empty] | CA2.8.2
Network underground cable maintenance | $ | [9 empty] | CA2.8.2
Distribution substation equipment & property maintenance | $ | [9 empty] | CA2.8.2
Zone substation equipment maintenance | $ | [9 empty] | CA2.8.2
Zone substation property maintenance | $ | [9 empty] | CA2.8.2
Public lighting maintenance | $ |  | 0 | [7 empty] | CA2.8.2
Minor roads | $ | [9 empty] | CA2.8.2
Major roads | $ | [9 empty] | CA2.8.2
SCADA & network control maintenance | $ | [9 empty] | CA2.8.2
Protection systems maintenance | $ | [9 empty] | CA2.8.2
Subtransmission asset maintenance - for DNSPs with dual function assets | $ | [9 empty] | CA2.8.2
Ground clearance - access tracks | $ | [9 empty] | CA2.8.2
Other non-routine maintenance | $ | [9 empty] | CA2.8.2
Total non-routine maintenance | $ |  | 0
Total maintenance | $ |  | 0
Emergency response
Total emergency response opex | $ | [9 empty] | CA2.9A | ASA805 | ASRE2405
Non-network
INFORMATION & COMMUNICATIONS TECHNOLOGY
Device expenditure | $ | [9 empty] | CA2.6.1 | ASA805 | ASRE2405
Recurrent expenditure | $ |  | 0 | [7 empty] | CA2.6.1 | ASA805 | ASRE2405
<business specified> | $ | [9 empty] | NEW | ASA805 | ASRE2405
<business specified> | $ | [9 empty] | NEW | ASA805 | ASRE2405
<business specified> | $ | [9 empty] | NEW | ASA805 | ASRE2405
<additional rows allowed>
Non-recurrent expenditure | $ |  | 0 | [7 empty] | CA2.6.1 | ASA805 | ASRE2405
<business specified> | $ | [9 empty] | NEW | ASA805 | ASRE2405
<business specified> | $ | [9 empty] | NEW | ASA805 | ASRE2405
<business specified> | $ | [9 empty] | NEW | ASA805 | ASRE2405
<additional rows allowed>
Total ICT expenditure | $ |  | 0
MOTOR VEHICLES
Car | $ | [9 empty] | CA2.6.1 | ASA805 | ASRE2405
Light commercial vehicle | $ | [9 empty] | CA2.6.1 | ASA805 | ASRE2405
Elevated work platform (LCV) | $ | [9 empty] | CA2.6.1 | ASA805 | ASRE2405
Elevated work platform (HCV) | $ | [9 empty] | CA2.6.1 | ASA805 | ASRE2405
Heavy commercial vehicle | $ | [9 empty] | CA2.6.1 | ASA805 | ASRE2405
Total Motor vehicle expenditure | $ |  | 0
BUILDINGS AND PROPERTY EXPENDITURE
Buildings and Property expenditure | $ | [9 empty] | CA2.6.1 | ASA805 | ASRE2405
OTHER NON-NETWORK EXPENDITURE
Other non-network expenditure | $ | [9 empty] | CA2.6.1 | ASA805 | ASRE2405
Total non-network expenditure | $ |  | 0
Labour / non-labour expenditure split
In-house labour expenditure | $ | [9 empty] | AR(New CA)2.11.3 | ASA805 | ASRE2405
Labour expenditure outsourced to related parties | $ | [9 empty] | AR(New CA)2.11.3 | ASA805 | ASRE2405
Labour expenditure outsourced to unrelated parties | $ | [9 empty] | AR(New CA)2.11.3 | ASA805 | ASRE2405
Non-labour expenditure | $ | [9 empty] | AR(New CA)2.11.3 | ASA805 | ASRE2405
Economic benchmarking categories
CURRENT OPEX CATEGORIES AND COST ALLOCATION APPROACH
Debt raising expenditure | $ | 0 | [8 empty] | EB 3.2.1
<business specified> | $ | 0 | [8 empty] | EB 3.2.1
<business specified> | $ | 0 | [8 empty] | EB 3.2.1
<additional rows allowed>
CURRENT COST ALLOCATION APPROACH
Opex for network services | $ | [9 empty] | EB 3.2.2 | ASA805 | ASRE2405
Opex for metering services | $ | [9 empty] | EB 3.2.2 | ASA805 | ASRE2405
Opex for connection services | $ | [9 empty] | EB 3.2.2 | ASA805 | ASRE2405
Opex for public lighting services | $ | [9 empty] | EB 3.2.2 | ASA805 | ASRE2405
Opex for amounts payable for easement levy or similar direct charges on DNSP | $ | [9 empty] | EB 3.2.2 | ASA805 | ASRE2405
Opex for transmission connection point planning | $ | [9 empty] | EB 3.2.2 | ASA805 | ASRE2405
Total | $ | 0
Input expenditure category
VEGETATION MANAGEMENT
Direct Material Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Direct Labour Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Contract Expenditure - labour | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Contract Expenditure - non labour | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Other Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
ROUTINE MAINTENANCE
Direct Material Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Direct Labour Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Contract Expenditure - labour | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Contract Expenditure - non labour | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Other Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
NON-ROUTINE MAINTENANCE
Direct Material Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Direct Labour Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Contract Expenditure - labour | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Contract Expenditure - non labour | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Other Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
EMERGENCY RESPONSE OPEX
Direct Material Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Direct Labour Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Contract Expenditure - labour | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Contract Expenditure - non labour | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Other Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
NON-NETWORK EXPENDITURES
ICT
Direct Material Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Direct Labour Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Contract Expenditure - labour | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Contract Expenditure - non labour | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Other Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
MOTOR VEHICLES
Direct Material Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Direct Labour Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Contract Expenditure - labour | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Contract Expenditure - non labour | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Other Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
BUILDINGS AND PROPERTY
Direct Material Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Direct Labour Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Contract Expenditure - labour | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Contract Expenditure - non labour | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Other Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
OTHER NON NETWORK
Direct Material Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Direct Labour Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Contract Expenditure - labour | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Contract Expenditure - non labour | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Other Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
EXPORT SERVICES
Direct Material Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Direct Labour Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Contract Expenditure - labour | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Contract Expenditure - non labour | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Other Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
OVERHEADS EXPENDITURES
NETWORK OVERHEADS
Direct Material Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Direct Labour Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Contract Expenditure - labour | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Contract Expenditure - non labour | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Other Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
CORPORATE OVERHEADS
Direct Material Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Direct Labour Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Contract Expenditure - labour | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Contract Expenditure - non labour | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405
Other Expenditure | $ | [9 empty] | NEW - replaces CA 2.12 | ASRE2405 | ASRE2405

## Alternative control
Data category 06: Operating expenditure
Alternative control
SERVICE CLASSIFICATIONS
Alternative Control Services
|  | Total | Direct | [7 empty] | Indirect
|  |  | Public Lighting |  |  | Metering |  |  | Fee based services | Quoted services |  |  | Actual | Estimated
| Units |  | Total | Energy Efficient | Non-energy efficient | Total | Smart | Legacy |  |  |  | Current RIN reference | Assurance standard - Financial data
Opex category
OPERATING EXPENDITURE
<business specified> | $ | 0 | 0 |  |  | 0 | [5 empty] | AR8.4.1 | ASA805 | ASRE2405
<business specified> | $ | 0 | 0 |  |  | 0 | [5 empty] | AR8.4.1 | ASA805 | ASRE2405
<additional rows allowed>
RELATED PARTY MARGINS
<business specified> | $ | 0 | 0 |  |  | 0 | [5 empty] | AR8.4.2 | ASA805 | ASRE2405
<business specified> | $ | 0 | 0 |  |  | 0 | [5 empty] | AR8.4.2 | ASA805 | ASRE2405
<additional rows allowed>
Opex by purpose
ALTERNATIVE CONTROL SERVICES OPEX
Operating Expenditure | $ | 0 | 0 |  |  | 0 | [5 empty] | CA2.1.4 | ASA805 | ASRE2405
Network overheads | $ | 0 | 0 |  |  | 0 | [5 empty] | CA2.1, CA2.10A, AR(New CA)2.10 | ASA805 | ASRE2405
Corporate overheads | $ | 0 | 0 |  |  | 0 | [5 empty] | CA2.1, CA2.10A, AR(New CA)2.10 | ASA805
Other ACS expenditure | $ | 0 | 0 |  |  | 0 | [5 empty] | NEW | ASA805 | ASRE2405
Economic benchmarking categories
CURRENT OPEX CATEGORIES AND COST ALLOCATION APPROACH
<business specified> | $ | 0 | [9 empty] | EB 3.2.1
<business specified> | $ | 0 | [9 empty] | EB 3.2.1
<additional rows allowed>
Metering activities
METER PURCHASE
Meter Type 1-3 | $ |  |  |  |  | 0 | [5 empty] | NEW | ASA805 | ASRE2405
Meter Type 4 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
Meter Type 5 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
Meter Type 6 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
METER TESTING | [11 empty] | CA4.2.2
Meter Type 1-3 | $ |  |  |  |  | 0 | [5 empty] | NEW | ASA805 | ASRE2405
Meter Type 4 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
Meter Type 5 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
Meter Type 6 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
METER INVESTIGATION | [11 empty] | CA4.2.2
Meter Type 1-3 | $ |  |  |  |  | 0 | [5 empty] | NEW | ASA805 | ASRE2405
Meter Type 4 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
Meter Type 5 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
Meter Type 6 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
SCHEDULED METER READING | [11 empty] | CA4.2.2
Meter Type 1-3 | $ |  |  |  |  | 0 | [5 empty] | NEW | ASA805 | ASRE2405
Meter Type 4 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
Meter Type 5 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
Meter Type 6 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
SPECIAL METER READING | [11 empty] | CA4.2.2
Meter Type 1-3 | $ |  |  |  |  | 0 | [5 empty] | NEW | ASA805 | ASRE2405
Meter Type 4 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
Meter Type 5 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
Meter Type 6 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
NEW METER INSTALLATION | [11 empty] | CA4.2.2
Meter Type 1-3 | $ |  |  |  |  | 0 | [5 empty] | NEW | ASA805 | ASRE2405
Meter Type 4 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
Meter Type 5 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
Meter Type 6 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
METER REPLACEMENT | [11 empty] | CA4.2.2
Meter Type 1-3 | $ |  |  |  |  | 0 | 0 | 0 |  |  |  | NEW | ASA805 | ASRE2405
Meter Type 4 | $ |  |  |  |  | 0 | 0 | 0 |  |  |  | CA4.2.2 | ASA805 | ASRE2405
Meter Type 5 | $ |  |  |  |  | 0 | 0 | 0 |  |  |  | CA4.2.2 | ASA805 | ASRE2405
Meter Type 6 | $ |  |  |  |  | 0 | 0 | 0 |  |  |  | CA4.2.2 | ASA805 | ASRE2405
Whole meter replacement
Meter Type 1-3 | $ |  |  |  |  | 0 | [5 empty] | NEW | ASA805 | ASRE2405
Meter Type 4 | $ |  |  |  |  | 0 | [5 empty] | NEW | ASA805 | ASRE2405
Meter Type 5 | $ |  |  |  |  | 0 | [5 empty] | NEW | ASA805 | ASRE2405
Meter Type 6 | $ |  |  |  |  | 0 | [5 empty] | NEW | ASA805 | ASRE2405
Component / software replacement
Meter Type 1-3 | $ |  |  |  |  | 0 | [5 empty] | NEW | ASA805 | ASRE2405
Meter Type 4 | $ |  |  |  |  | 0 | [5 empty] | NEW | ASA805 | ASRE2405
Meter Type 5 | $ |  |  |  |  | 0 | [5 empty] | NEW | ASA805 | ASRE2405
Meter Type 6 | $ |  |  |  |  | 0 | [5 empty] | NEW | ASA805 | ASRE2405
METER MAINTENANCE | [11 empty] | CA4.2.2
Meter Type 1-3 | $ |  |  |  |  | 0 | [5 empty] | NEW | ASA805 | ASRE2405
Meter Type 4 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
Meter Type 5 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
Meter Type 6 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
REMOTE METER READING | [11 empty] | CA4.2.2
Meter Type 4 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
REMOTE METER RE-CONFIGURATION | [11 empty] | CA4.2.2
Meter Type 4 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
OTHER METERING SERVICES | [11 empty] | CA4.2.2
Meter Type 4 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
Meter Type 5 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
Meter Type 6 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
Meter Type 7 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
IT INFRASTRUCTURE OPEX
Meter Type 4 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
COMMUNICATIONS INFRASTRUCTURE OPEX
Meter Type 4 | $ |  |  |  |  | 0 | [5 empty] | CA4.2.2 | ASA805 | ASRE2405
Fee based services
Energisation | $ | [10 empty] | CA4.3.1 | ASA805 | ASRE2405
De-energisation | $ | [10 empty] | CA4.3.1 | ASA805 | ASRE2405
Re-energisation | $ | [10 empty] | CA4.3.1 | ASA805 | ASRE2405
Other | [11 empty] | CA4.3.1
<business specified> | $ | [10 empty] | CA4.3.1 | ASA805 | ASRE2405
<business specified> | $ | [10 empty] | CA4.3.1 | ASA805 | ASRE2405
<business specified> | $ | [10 empty] | CA4.3.1 | ASA805 | ASRE2405
<additional rows allowed> | $ | [10 empty] | CA4.3.1 | ASA805 | ASRE2405
Quoted services
<business specified> | $ | [10 empty] | CA 4.4.1 | ASA805 | ASRE2405
<business specified> | $ | [10 empty] | CA 4.4.1 | ASA805 | ASRE2405
<business specified> | $ | [10 empty] | CA 4.4.1 | ASA805 | ASRE2405
<additional rows allowed>

## Other services
Data category 06: Operating expenditure
Other services
|  | SERVICE CLASSIFICATIONS |  | Actual | Estimated
Opex category | Units | Negotiated services | Current RIN reference | Assurance standard - Financial data
OPERATING EXPENDITURE
<business specified> | $ |  | AR8.4.1 | ASA805 | ASRE2405
<business specified> | $ |  | AR8.4.1 | ASA805 | ASRE2405
<additional rows allowed>
RELATED PARTY MARGINS
<business specified> | $ |  | AR8.4.2 | ASA805 | ASRE2405
<business specified> | $ |  | AR8.4.2 | ASA805 | ASRE2405
<additional rows allowed>

## Large Projects
Data category 06: Operating expenditure
Large projects
|  | SERVICE CLASSIFICATIONS |  |  |  | Actual | Estimated
| Units | Total Standard Control Services |  |  | Current RIN reference | Assurance standard - Financial data
Large project expenditure |  | Total | Direct | Indirect
Project name/ID
<business specified> | $ |  |  |  | NEW | ASA 805 | ASRE2405
<business specified> | $ |  |  |  | NEW | ASA 805 | ASRE2405
<business specified> | $ |  |  |  | NEW | ASA 805 | ASRE2405
<business specified> | $ |  |  |  | NEW | ASA 805 | ASRE2405
<business specified> | $ |  |  |  | NEW | ASA 805 | ASRE2405
<additional rows allowed>

## Export Services
Data category 06: Operating expenditure
Export Services
|  | SERVICE CLASSIFICATIONS |  | Actual | Estimated
| Units | Total Standard Control Services | Current RIN reference | Assurance standard - Financial data
Opex for provision of export services
Overvoltage complaint management | $ |  | Export Services information request 2.1 | ASRE2405 | ASRE2405
Other export services opex | $ |  | Export Services information request 2.1 | ASRE2405 | ASRE2405