## Instructions
Gas Distribution Pipeline Service Provider
Annual Reporting Statement
This template is to be used by Multinet Gas Distribution Partnership to fulfil its reporting obligations to the AER.
INSTRUCTIONS
GENERAL | Complete the Business & other details worksheet before entering data or values in any other worksheets. The Business & other details worksheet is linked to other worksheets within the workbook and automatically generates certain column headings and conditional formatting.
CONFIDENTIAL INFORMATION | Please use the macro at the top of each worksheet to identify confidential information in the confidential workbook.
-Do this by selecting the cell or cells that contain confidential information and then run the Mark selection as CONFIDENTIAL macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as confidential. -To reverse this, select the cell or cells and run the Return selection to NON-CONFIDENTIAL macro.
RESPONSES | Please return two (2) files to the AER: 1. A confidential version which must contain a complete set of all responses with confidential information marked using the Mark selection CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 2. A public version with confidential information either removed completely or aggregated in some form together with writtten consent to disclose the public version of the response. Use the drop down box on the Business and other details worksheet to identify the file as either confidential ('consolidated') or public.
AMENDMENTS | If an NSP wishes to correct data previously submitted to the AER it should resubmit that data using the original completed submission as the starting point. Please make any necessary changes to the data. Data that is not being amended should be left unchanged. NSPs must identify the reason for the amendments in the Amendment Reason box on the Business and other details worksheet. NSPs may provide further details regarding any amendments in the Amendments worksheet. .
NSP may use Amended Data macro to highlight cells that contain amended data. NB: if data is also CONFIDENTIAL, re-apply the Confidentiality macro after applying the Amended macro
Please resubmit two (2) files - a confidential version and a public version of the amended submission to the AER
UNITS OF MEASURE | All amounts are to be unrounded and reported on a one for one basis: that is 1000 is to be entered as '1000'. Applicable units of measure may be identified in the table column headings or row descriptors.
INPUT / NON-INPUT CELLS
Yellow = Input cell (mandatory)
Darker yellow = input cell (mandatory)
Orange = input cell (if data available)
Grey = Not applicable/No inputs required
PLEASE DO NOT ENTER TEXT (such as NA) into cells that are to contain numeric data.

## CONTENTS
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2024-25
CONTENTS
| TEMPLATE DATED | APRIL 2023
| SUBMISSION | Business & other details
| EXPENDITURE | E1. Expenditure Summary
E11. Labour
E21. ARS
| NETWORK | N1. Demand
N2. Network characteristcs
| SERVICE | S1.1. Customer numbers - by customer type
S1.2. Customer numbers - by tariff
S10. Supply quality
S11. Network reliability
S14. Network integrity
| FINANCIAL | F1. Income
F2. Capex
F3. Revenue
F4. Opex
F6. Related party transactions
F7. Provisions
F9. Pass throughs
F10. Assets
| ADMIN | Additional disclosures

## Business & other details
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2024-25
BUSINESS & OTHER DETAILS
INSTRUCTIONS
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings and conditional formatting to distinguish business specific input and non-input cells.
SUBMISSION PARTICULARS INPUT SHEET
ENTITY DETAILS
Business Name
| Short name |  |  | Multinet Gas
| ACN/ABN |  |  | 53634214009
| Business Address | [8 empty] | Postal Address
| Address 1 |  |  | Level 17 181 Williams Street |  |  |  |  | Address 1 | 0
| Address 2 | [7 empty] | Address 2
| Suburb |  |  | MELBOURNE |  |  |  |  | Suburb | 0
| State |  |  | Vic |  | Post code | 3000 |  | State | 0 | Post code | 3000
`
Contact Names
| Name | [7 empty] | Name
| Phone | [7 empty] | Phone
| Email | [7 empty] | Email
REGULATORY CONTROL PERIODS
|  | ANNUAL RINS | For period | 2024-25 | 2023 is the six month transitional period from 1 January 2023 to 30 June 2023
SUBMISSION DETAILS
|  |  | RIN type | Annual Reporting
|  |  | Source | Reporting
|  | THIS FILE | Data Quality | Consolidated
|  |  | Confidentiality Status | Public
Amended RIN Amendment Reason
|  |  | Submission Date | 2025-11-28
Contents
Instructions

## E1. Expenditure Summary
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2024-25
E1. EXPENDITURE SUMMARY
E1.1 - CAPEX
E1.1.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2024-25
Connections | 24789746.1162
Mains replacement | 75133968.68
Mains augmentation | 1080267.6
Telemetry | 366403.2
Meter replacement | 3270285.6938
ICT | 19230375.05
Capitalised network overheads | 5970339.85
Capitalised corporate overheads | 0
Other capex | 3903186.43
Capital contributions included in the above | 2046769.13
Total (less capital contributions) | 131697803.49
E1.1.2 - NON-REFERENCE SERVICES
Capital contributions included in the above
Total (less capital contributions) | 0
E1.2 - OPEX
E1.2.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2024-25
repairs and maintenance | 30962522.1392
marketing and retail incentives | 304818
debt raising | 2267431.7
equity raising
unaccounted for gas | -1501999.66
jurisdictional charges | 7857606.57
GSL payments | 108460
other opex | 36600543.42
Total | 76599382.1692
E1.2.2 - NON-REFERENCE SERVICES
repairs and maintenance | 2399745.5985
Total | 2399745.5985
E1.3 - CAPCONS
E1.3.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2024-25
Connections | 1819522.39
Mains replacement | 227246.74
Mains augmentation
Telemetry
Meter replacement
ICT
Capitalised network overheads
Capitalised corporate overheads
Other capex
Total | 2046769.13
E1.3.2 - NON-REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2024-25
Total | 0
E1.4 - CAPITALISED OVERHEADS
E1.4.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2024-25
Connections | 1948326.2864
Mains replacement | 3410302.35
Mains augmentation | 82845.68
Telemetry | 23481.72
Meter replacement | 270030.4536
ICT | 0
Other capex | 235353.36
capital contributions included in the above | 0
Total (less capital contributions) | 5970339.85
E1.4.2 - NON-REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2024-25
Capital contributions included in the above
Total (less capital contributions) | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## E11. Labour
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2024-25
E11. LABOUR
Tables E11.1 and E11.2 omitted.
E11.3 - LABOUR / NON-LABOUR EXPENDITURE SPLIT
EXPENDITURE
$0's, nominal
2024-25
E11.3.1 - OPEX
In-house labour expenditure | 12342015.51
Labour expenditure outsourced to related parties | 439074.8
Labour expenditure outsourced to unrelated parties | 7225632.59
Non-labour expenditure | 58992404.9077
Total | 78999127.8077
E11.3.2 - CAPEX
In-house labour expenditure | 5037305.88
Labour expenditure outsourced to related parties | 933033.97
Labour expenditure outsourced to unrelated parties | 5165354.01
Non-labour expenditure | 120562109.63
Total | 131697803.49
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## E21. ARS
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2024-25
E21. ANCILLARY REFERENCE SERVICES
E21.1 - VOLUMES
VOLUMES
0's, number of services provided
Description | 2024-25
Reconnection | 5144
Meter and Gas Installation Test | 223
Disconnection | 5295
Special Meter Reading | 205200
Meter Removal | 97
Meter Reinstallation
Service Abolishment - Residential | 4241
Total | 220200
E21.2 omitted
E21.3 - EXPENDITURE
EXPENDITURE
$0's, nominal
2024-25
Reconnection | 522038.98
Meter and Gas Installation Test | 82397.96
Disconnection | 174488.44
Special Meter Reading | 1398919.16
Meter Removal | 53311.15
Meter Reinstallation
Service Abolishment - Residential | 1038744
Total | 3269899.69
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## N1. Demand
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2024-25
N1. DEMAND
N1.1 - DEMAND - BY CUSTOMER TYPE
VOLUMES
GJ
2024-25
Residential | 28092500.7667
Commercial | 5380630.5409
Industrial | 9579228.88
Total | 43052360.1876
N1.2 - DEMAND - BY TARIFF
VOLUMES
GJ
Tariff | 2024-25
Tariff V Res | 27716683.7469
Tariff V Bus | 5275330.3298
Tariff D | 8980706.1
Tariff L | 63354.65
Yarra Res | 211697.6506
Yarra Bus | 29735.068
South Gipps Res | 164119.3692
South Gipps Bus | 75565.1431
South Gipps D | 535168.13
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## N2. Network characteristcs
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2024-25
N2. NETWORK CHARACTERISTICS
N2.1 - NETWORK LENGTH - BY PRESSURE AND ASSET TYPE
VOLUMES
KM
2024-25
N2.1.1 - LOW PRESSURE
Cast Iron | 628.8
PVC | 337.5
Polyamide
High density polyethylene (80) | 4.52
High density polyethylene (100) | 4.62
High density polyethylene (250) | 0
High density polyethylene (575) | 1.14
Medium density polyethylene | 10.3
Other polyethylene | 0
Unprotected steel | 64.9
Protected steel | 51.5
Other | 0.6
N2.1.2 - MEDIUM PRESSURE
Cast Iron | 0.223
PVC | 0
Polyamide | 0
High density polyethylene (80) | 6
High density polyethylene (100) | 8.3
High density polyethylene (250) | 0
High density polyethylene (575) | 199
Medium density polyethylene | 25.7
Other polyethylene | 0
Unprotected steel | 51
Protected steel | 448.8
Other | 0
N2.1.3 - HIGH PRESSURE
Cast Iron | 0
PVC | 0
Polyamide | 0
High density polyethylene (80) | 823.3
High density polyethylene (100) | 1356.7
High density polyethylene (250) | 0
High density polyethylene (575) | 1848.4
Medium density polyethylene | 1326.8
Other polyethylene | 0
Unprotected steel | 79.4
Protected steel | 2651
Other
N2.1.4 - TRANSMISSION
Protected steel | 163.1
Other | 0
TOTAL | 10091.603
N2.2 - CITY GATES/REGULATORS
VOLUMES
0's, number of assets
2024-25
City Gate | 7
Field Regulator | 93
District Regulator | 53
Total | 153
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S1.1. Customer numbers
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2024-25
S1. CUSTOMER NUMBERS
S1.1 - CUSTOMER NUMBERS - BY CUSTOMER TYPE
VOLUMES
0's, number of customers
2024-25
A. RESIDENTIAL
Customer numbers as at the begining of the period | 706670
Customer numbers as at the end of the period | 706864
Total customer connections | 10783
Total customer disconnections | 10589
B. COMMERCIAL
Customer numbers as at the begining of the period | 16374
Customer numbers as at the end of the period | 16296
Total customer connections | 356
Total customer disconnections | 434
C. INDUSTRIAL
Customer numbers as at the begining of the period | 279
Customer numbers as at the end of the period | 276
Total customer connections | 3
Total customer disconnections | 6
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S1.2. Customer numbers
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2024-25
S1. CUSTOMER NUMBERS
S1.2 - CUSTOMER NUMBERS - BY TARIFF
S1.2.1 - CUSTOMER NUMBERS AS AT the begining of the period
VOLUMES
0's, number of customers
2024-25
Tariff V Res | 693717
Tariff V Bus | 16167
Tariff D | 263
Tariff L | 12
Yarra Res | 5803
Yarra Bus | 83
South Gipps Res | 7150
South Gipps Bus | 124
South Gipps D | 4
Total | 723323
S1.2.2 - CUSTOMER NUMBERS AS AT the end of the period
VOLUMES
0's, number of customers
2024-25
Tariff V Res | 693820
Tariff V Bus | 16086
Tariff D | 260
Tariff L | 12
Yarra Res | 5810
Yarra Bus | 87
South Gipps Res | 7234
South Gipps Bus | 123
South Gipps D | 4
Total | 723436
S1.2.3 - TOTAL CUSTOMER CONNECTIONS
VOLUMES
0's, number of customers
2024-25
Tariff V Res | 10621
Tariff V Bus | 351
Tariff D | 3
Tariff L | 0
Yarra Res | 36
Yarra Bus | 5
South Gipps Res | 126
South Gipps Bus | 0
South Gipps D
Total | 11142
S1.2.4 - TOTAL CUSTOMER DISCONNECTIONS
VOLUMES
0's, number of customers
2024-25
Tariff V Res | 10518
Tariff V Bus | 432
Tariff D | 6
Tariff L | 0
Yarra Res | 29
Yarra Bus | 1
South Gipps Res | 42
South Gipps Bus | 1
South Gipps D
Total | 11029
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S10. Supply quality
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2024-25
S10. SUPPLY QUALITY
S10.1 - PRESSURE FAULTS
VOLUMES
0's, number of events
2024-25
Poor Pressure events - mains | 8
Poor Pressure events - services | 472
Poor Pressure event - meters | 900
Pressure events impacting 5+ customers
Pressure events with >12 hr resolution
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S11. Network reliability
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2024-25
S11. NETWORK RELIABILITY
S11.1 - NETWORK OUTAGES
S11.1.1 - PLANNED
VOLUMES
0's, number of events
2024-25
Count of outage events | 7723
Outages affecting 5+ customers
Outages with >12 hr supply interuption
S11.1.2 - UNPLANNED
VOLUMES
0's, number of events
2024-25
Count of outage events | 3377
Outages affecting 5+ customers | 25
Outages with >12 hr supply interuption | 256
S11.2 - LEAKS - BY ASSET TYPE AND CAUSE OF LEAK
S11.2.1 - LOW PRESSURE
VOLUMES
Number per KM
2024-25
Cast Iron
Broken pipe - cracked | 0
Broken pipe - full break | 0.054054
Corrosion | 0.060413
Joint leak | 0.61844
3rd party damage | 0.0063593
Identified water in main | 0.011129
Other | 0.0015898
PVC
Broken pipe - cracked | 0
Broken pipe - full break | 0.023669
Corrosion | 0.017751
Joint leak | 0.18047
3rd party damage | 0.011834
Identified water in main | 0.076923
Other | 0
Polyamide
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (80)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (100)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0.2
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (250)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (575)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 1
3rd party damage | 0
Identified water in main | 0
Other | 0
Medium density polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0.2
Corrosion | 0
Joint leak | 0.4
3rd party damage | 0
Identified water in main | 0
Other | 0
Other polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Unprotected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.092308
Joint leak | 0.13846
3rd party damage | 0.015385
Identified water in main | 0.015385
Other | 0.015385
Protected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.076923
Joint leak | 0.25
3rd party damage | 0
Identified water in main | 0
Other | 0
S11.2.2 - MEDIUM PRESSURE
VOLUMES
Number per KM
2024-25
Cast Iron
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
PVC
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Polyamide
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (80)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (100)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0.125
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (250)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (575)
Broken pipe - cracked | 0
Broken pipe - full break | 0.01005
Corrosion | 0.015075
Joint leak | 0.025126
3rd party damage | 0.01005
Identified water in main | 0
Other | 0.015075
Medium density polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.038462
Joint leak | 0.038462
3rd party damage | 0
Identified water in main | 0
Other | 0
Other polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Unprotected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0.019608
Corrosion | 0.058824
Joint leak | 0.078431
3rd party damage | 0
Identified water in main | 0
Other | 0
Protected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0.0066815
Corrosion | 0.022272
Joint leak | 0.040089
3rd party damage | 0.0022272
Identified water in main | 0
Other | 0
S11.2.3 - HIGH PRESSURE
VOLUMES
Number per KM
2024-25
Cast Iron
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
PVC
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Polyamide
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (80)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.0024301
Joint leak | 0.0072904
3rd party damage | 0.0024301
Identified water in main | 0
Other | 0
High density polyethylene (100)
Broken pipe - cracked | 0
Broken pipe - full break | 0.0022108
Corrosion | 0.0014738
Joint leak | 0.023581
3rd party damage | 0.0036846
Identified water in main | 0.00073692
Other | 0
High density polyethylene (250)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (575)
Broken pipe - cracked | 0
Broken pipe - full break | 0.0081169
Corrosion | 0.0021645
Joint leak | 0.0081169
3rd party damage | 0.004329
Identified water in main | 0
Other | 0.0021645
Medium density polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0.0015072
Corrosion | 0.0022607
Joint leak | 0.0075358
3rd party damage | 0.0037679
Identified water in main | 0
Other | 0
Other polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Unprotected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0.012658
Protected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0.00037722
Corrosion | 0.023765
Joint leak | 0.008676
3rd party damage | 0.0026405
Identified water in main | 0
Other | 0
S11.3 - UNACCOUNTED FOR GAS - TRANSMISSION AND DISTRIBUTION
VOLUMES
TJ
Place of loss | 2024-25
Transmission and Distribution | 2747
Total | 2747
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S14. Network integrity
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2024-25
S14. NETWORK INTEGRITY
S14.1 - LOSS OF CONTAINMENT
VOLUMES
0's
| Units | 2024-25
S14.1.1 - MAINS
Number of Leaks - publicly reported | number of leaks | 352
Number of Leaks - found through survey | number of leaks | 410
Repaired Leaks | number of leaks | 762
Length of network subject to survey | km | 1114.3
S14.1.2 - SERVICES
Number of Leaks - publicly reported | number of leaks | 3326
Number of Leaks - found through survey | number of leaks
Repaired Leaks | number of leaks | 3326
Number of services surveyed | number of services
S14.1.3 - METERS
Number of Leaks - publicly reported | number of leaks | 6904
Number of Leaks - found through survey | number of leaks
Repaired Leaks | number of leaks | 6904
Number of meters surveyed | number of meters
S14.2 - INSTANCES OF DAMAGE
VOLUMES
0's
| Units | 2024-25
Mains | number of instances | 36
Services | number of instances | 1071
Meters | number of instances | 1008
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F1. Income
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2024-25
F1. INCOME
F1.1 - AUDITED STATUTORY ACCOUNTS
$0's, nominal
2024-25
F1.1.1 - REVENUE
Distribution revenue | 237072096.1
Capital contributions | 13213066.22
Profit from sale of fixed assets | 35058
Other revenue | 1158440.37
Total revenue | 251478660.69
F1.1.2 - EXPENDITURE
Operating expenditure | 65145141.88
Depreciation | 60359667.48
Net finance expenses | 55257521.9
Loss from sale of fixed assets | 27882.5
Impairment losses
Other expenses
Total expenditure | 180790213.76
F1.1.3 - PROFIT
Profit before tax | 70688446.93
Income tax expenses (/ benefit) | 21510438.66
Profit after tax | 49178008.27
F1.2 - ADJUSTMENTS
$0's, nominal
2024-25
F1.2.1 - REVENUE
Distribution revenue | 8979108.7158
Capital contributions | 13213066.22
Profit from sale of fixed assets | 0
Other Revenue | 1158440.37
Total revenue | 23350615.3058
F1.2.2 - EXPENDITURE
Operating expenditure | -13853985.3877
Depreciation | -28402825.5025
Net finance expenses | 2519911.39
Loss from sale of fixed assets
Impairment losses
Other expenses
Total expenditure | -39736899.5002
F1.2.3 - PROFIT
Profit before tax | 63087514.8059
Income tax expenses (/ benefit) | 18971249.9418
Profit after tax | 44116264.8642
F1.3 - DISTRIBUTION BUSINESS
$0's, nominal
2024-25
F1.3.1 - REVENUE
Distribution revenue | 228092987.3842
Capital contributions | 0
Profit from sale of fixed assets | 35058
Other Revenue | 0
Total revenue | 228128045.3842
F1.3.2 - EXPENDITURE
Operating expenditure | 78999127.2677
Depreciation | 88762492.9825
Net finance expenses | 52737610.51
Loss from sale of fixed assets | 27882.5
Impairment losses | 0
Other expenses | 0
Total expenditure | 220527113.2602
F1.3.3 - PROFIT
Profit before tax | 7600932.1241
Income tax expenses (/ benefit) | 2539188.7182
Profit after tax | 5061743.4058
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F2. Capex
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2024-25
F2. CAPITAL EXPENDITURE
F2.4 - CAPEX BY ASSET CLASS
F2.4.2 - ACTUAL - AS INCURRED
EXPENDITURE
$0's, nominal
Asset Class | 2024-25
Cathodic Protection | 716501.65
Transmission and Distribution | 81415767.43
Meters | 5150097.88
IT | 19230375.05
Other | 2132811.28
SCADA | 389884.92
Services | 24249884.6
Supply Regulators/Valve Stations | 459249.81
Buildings
Total | 133744572.62
F2.4.3 - MOVEMENT IN PROVISIONS ALLOCATED TO AS-INCURRED CAPEX
EXPENDITURE
$0's, nominal
Asset Class | 2024-25
Cathodic Protection | 636.8784
Transmission and Distribution | 83796.4272
Meters | 5446.3174
IT | 9582.217
Other | 3129.2003
SCADA | 906.4558
Services | 30400.9338
Supply Regulators/Valve Stations | 2200.9101
Buildings
Total | 136099.34
F2.5 - CAPITAL CONTRIBUTIONS BY ASSET CLASS
F2.5.1 - ACTUAL - AS INCURRED
EXPENDITURE
$0's, nominal
Asset Class | 2024-25
Cathodic Protection
Transmission and Distribution | 227246.74
Meters | 87175.1795
IT
Other
SCADA
Services | 1732347.2105
Supply Regulators/Valve Stations
Buildings
Total | 2046769.13
F2.6 - DISPOSALS BY ASSET CLASS
F2.6.2 - ACTUAL
EXPENDITURE
$0's, nominal
Asset Class | 2024-25
Cathodic Protection
Transmission and Distribution
Meters
IT
Other | 49900
SCADA
Services
Supply Regulators/Valve Stations
Buildings
Total | 49900
F2.7 - IMMEDIATE EXPENSING CAPITAL EXPENDITURE
ACTUAL - AS INCURRED
EXPENDITURE
$0's, nominal
Asset Class | 2024-25
Cathodic Protection
Transmission and Distribution
Meters
IT
Other
SCADA
Services
Supply Regulators/Valve Stations
Buildings
Total | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F3. Revenue
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2024-25
F3. REVENUE
F3.1 - REFERENCE SERVICES
F3.1.1 - REVENUE - BY TARIFF
REVENUE
$0's, nominal
Tariff | 2024-25
Tariff V Res | 202755362.4245
Tariff V Bus | 10953657.9084
Tariff D | 2012950.4
Tariff L | 37028.81
Yarra Res | 2205263.1496
Yarra Bus | 162497.2145
South Gipps Res | 2193965.658
South Gipps Bus | 418200.4238
South Gipps D | 76348.3
Total | 220815274.2888
F3.2 - ANCILLARY REFERENCE SERVICES
REVENUE
$0's, nominal
Service Name | 2024-25
Reconnection | 261810.12
Meter and Gas Installation Test | 37546.55
Disconnection | 322311.48
Special Meter Reading | 1596964.17
Meter Removal | 6287.52
Meter Reinstallation | 0
Service Abolishment - Residential | 969888.28
Total | 3194808.12
F3.3 - REBATEABLE SERVICES
REVENUE
$0's, nominal
Service Name | 2024-25
Total | 0
F3.4 - NON-REFERENCE SERVICES
REVENUE
$0's, nominal
Service Name | 2024-25
Tariff D/L and complex V connections | 1837872.42
Service Visit - Long/Short | 650876.14
Alter Meter Position | 299707.09
After Hours Connection/Reconnections Tariff V | 1336
Service Connection - Standard (New 1 January 2025) | 1246842
Other Non- reference services | 46271.33
Total | 4082904.98
F3.5 - TOTAL REVENUE
2024-25
Total | 228092987.3888
F3.6 - REWARDS AND PENALTIES FROM INCENTIVE SCHEMES
Scheme | 2024-25
Opex Efficiency Carryover Mechanism | -462163.5004
Capital Expenditure Sharing Scheme | 22567.6145
Total | -439595.886
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F4. Opex
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2024-25
F4. OPERATING EXPENDITURE
F4.1 - OPEX - BY PURPOSE
F4.1.1 - AUDITED STATUTORY ACCOUNTS
EXPENDITURE
$0's, nominal
Description | 2024-25
repairs and maintenance | 27292887.55
marketing and retail incentives | 304818
debt raising | 0
equity raising | 0
unaccounted for gas | -1501999.66
jurisdictional charges | 6459016.87
GSL payments | 108460
other opex | 32481959.62
Total | 65145142.38
F4.1.2 - ADJUSTMENTS
EXPENDITURE
$0's, nominal
Description | 2024-25
repairs and maintenance | -6069380.1877
marketing and retail incentives | 0
debt raising | -2267431.7
equity raising | 0
unaccounted for gas | 0
jurisdictional charges | -1398589.7
GSL payments | 0
other opex | -4118583.8
Total | -13853985.3877
F4.1.3 - DISTRIBUTION BUSINESS
EXPENDITURE
$0's, nominal
Description | 2024-25
repairs and maintenance | 33362267.7377
marketing and retail incentives | 304818
debt raising | 2267431.7
equity raising | 0
unaccounted for gas | -1501999.66
jurisdictional charges | 7857606.57
GSL payments | 108460
other opex | 36600543.42
Total | 78999127.7677
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F6. Related party transactions
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2024-25
F6. RELATED PARTY TRANSACTIONS
F6.1 - Multinet Gas PAYMENTS GREATER THAN $1,000,000 MADE TO RELATED PARTY
| $0's, nominal | Nature of the relationship eg. percentage ownership by/of related party of/by Gas Distributor | Services Provided | Description of how this transaction amount was determined | Description of how this amount is reflected in the Regulatory Templates, including the asset class or cost category | Where the related party expenditure has been allocated to different asset classes or cost categories, the description of the basis of allocation and the quantum of the allocator
Name of related party | 2024-25
F6.1.1 - EXPENDITURE
AGI Services Pty Limited | 4072182.834 | Same parent Entity - Australian Gas Infrastructure Holdings Pty Limited | IT Services Recharge | Based on the payment of tax invoice 90100308, 90100351,90100473 made to the related party | Reported in E1.2 - OPEX - E1.2.1 REFERENCE SERVICES - Other Opex | Direct
AGI Services Pty Limited | 7905563.65 | Same parent Entity - Australian Gas Infrastructure Holdings Pty Limited | IT Capex Recharge | Based on the payment of tax invoice 90100308, 90100351,90100473 made to the related party | Reported in E1.1 - CAPEX - E1.1.1 REFERENCE SERVICES - ICT Also reported in F2.4 CAPEX BY ASSET CLASS - F2.4.2 - ACTUAL AS INCURRED - IT | Direct
AGI Finance Pty Ltd | 6733682.1 | Same parent Entity - Australian Gas Infrastructure Holdings Pty Limited | Financing costs recharge | Based on the payment of tax invoice 90100429, 90100227 made to the related party | Reported in E1.2 - OPEX - E1.2.1 REFERENCE SERVICES - Debt Raising Costs | Direct
AGI Finance Pty Ltd | 60894382.57 | Same parent Entity - Australian Gas Infrastructure Holdings Pty Limited | External Financing Activities | Intercompany Interest charges are calculated based on the terms of an Intercompany Loan Agreement with AGIF (and other AGIH entities). (Refer Regulatory Accouting Principles and Policies Document - Background section ). The payment is made via a bank tranfer from MGN to AGIF | Reported in F1 Income- Net finance expenses | Direct
F6.1.2 - CORRESPONDING EXPENSES INCURRED BY RELATED PARTY
AGI Services Pty Limited | 4072182.834 | Refer above. | Refer above. | Refer above.
AGI Services Pty Limited | 7905563.65 | Refer above. | Refer above. | Refer above.
AGI Finance Pty Ltd | 6733682.1 | Refer above. | Refer above. | Refer above.
AGI Finance Pty Ltd | 60894382.57 | Refer above. | Refer above. | Refer above.
F6.2 - Multinet Gas PAYMENTS GREATER THAN $1,000,000 RECEIVED FROM RELATED PARTY
| $0's, nominal | Nature of the relationship eg. percentage ownership by/of related party of/by Gas Distributor | Services Provided | Description of how this transaction amount was determined | Description of how this amount is reflected in the Regulatory Templates, including the asset class or cost category | Where the related party expenditure has been allocated to different asset classes or cost categories, the description of the basis of allocation and the quantum of the allocator
2024-25
F6.2.1 - REVENUE
F6.2.2 - CORRESPONDING EXPENSES INCURRED BY Multinet Gas
F6.3 - RELATED PARTY MARGIN EXPENDITURE - BY CATEGORY
F6.3.1 - CAPEX
EXPENDITURE
$0's, nominal
Capex category | 2024-25
Connections
Mains replacement
Mains augmentation
Telemetry
Meter replacement
ICT
Capitalised network overheads
Capitalised corporate overheads
Other capex
Total | 0
F6.3.2 - OPEX
EXPENDITURE
$0's, nominal
Opex category | 2024-25
repairs and maintenance
marketing and retail incentives
debt raising
equity raising
unaccounted for gas
jurisdictional charges
GSL payments
other opex
Total | 0
F6.4 - PER CENTAGE OF CAPEX OUTSOURCED TO RELATED PARTY
PER CENTAGE %
Capex category | 2024-25
Connections
Mains replacement
Mains augmentation
Telemetry
Meter replacement
ICT | 41.11%
Capitalised network overheads
Capitalised corporate overheads
Other capex
F6.5 - PER CENTAGE OF OPEX OUTSOURCED TO RELATED PARTY
PER CENTAGE %
Capex category | 2024-25
Total | 13.65%
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F7. Provisions
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2024-25
F7. PROVISIONS
F7 - PROVISIONS
VALUES $0's, nominal
2024-25
Provision name
Environmental Provision (GL 41120)
Opening balance (the carrying amount at the beginning of the period) | 0
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component | 0
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 0
Provision name
Unaccounted for gas provision (GL 32200)
Opening balance (the carrying amount at the beginning of the period) | 2399980.99
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | -580042.17
Capex component
Other component
Unused amounts reversed during the period
Opex component | -1501999.66
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 317939.16
Provision name
Property Lease Break Provision (GL 32100)
Opening balance (the carrying amount at the beginning of the period) | 535160
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 535160
Provision name
Provision long service leave (32010)
Opening balance (the carrying amount at the beginning of the period) | 2364506.77
Additional provisions made in the period, including increases to existing provisions
Opex component | 159282.49
Capex component | 152823.69
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | -1353.44
Capex component | -16724.35
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 2658535.16
Provision name
Provision annual leave (MG 32000)
Opening balance (the carrying amount at the beginning of the period) | 1230180.38
Additional provisions made in the period, including increases to existing provisions
Opex component | -175522.5
Capex component | 277578.69
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | -108889.45
Capex component | -15656.89
Other component
Unused amounts reversed during the period
Opex component | -1207690.23
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 0
Provision name
Provision for WorkCover (32040)
Opening balance (the carrying amount at the beginning of the period) | 136909.02
Additional provisions made in the period, including increases to existing provisions
Opex component | 23917.14
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | -103359.49
Capex component
Other component
Unused amounts reversed during the period
Opex component | -57466.67
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 0
Provision name
Employee Costs Provision (GL 31010)
Opening balance (the carrying amount at the beginning of the period) | 1275417.66
Additional provisions made in the period, including increases to existing provisions
Opex component | 781890.76
Capex component | 475843.84
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | -972642.68
Capex component | -734639.58
Other component
Unused amounts reversed during the period
Opex component | -825870
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 0
Provision name
Payroll Tax (GL30305)
Opening balance (the carrying amount at the beginning of the period) | 130794.72
Additional provisions made in the period, including increases to existing provisions
Opex component | 571651.84
Capex component | 335855.22
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | -554084.5044
Capex component | -334006.8156
Other component
Unused amounts reversed during the period
Opex component | -150210.46
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 0
Provision name
Provision for Purchased Leave (32005)
Opening balance (the carrying amount at the beginning of the period) | 3869.04
Additional provisions made in the period, including increases to existing provisions
Opex component | 6009.03
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | -9137.95
Capex component
Other component
Unused amounts reversed during the period
Opex component | -740.12
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 0
Provision name
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F9. Pass throughs
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2024-25
F9. PASS THROUGHS
F9.1 - PASS THROUGH EVENT EXPENDITURE
EXPENDITURE
$0's, nominal
Description of passthrough event | 2024-25
Total | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F10. Assets
ANNUAL REPORTING
Multinet Gas Distribution Partnership
2024-25
F10. ASSETS
F10.1 - CAPITAL BASE VALUES
VALUES
$0's, nominal
2024-25
FOR TOTAL ASSET BASE
Opening value | 1555404215.9484
Inflation addition | 63024788.5667
Straight line depreciation | 88762492.9825
Actual additions (recognised in RAB) | 136047173.4761
Disposals | 49900
Closing value | 1665663785.0088
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY