## Draft Decision
Table 7.1 Draft decision — Service Component caps, floors and target for 2027–32
Parameter | Preferred Distribution | Floor | Target | Cap | Weighting MAR (%)
Unplanned outage circuit event rate (percentage)
Lines event rate – fault | Uniform | 21.68% | 11.32% | 1.14% | 0.2
Transformer event rate – fault | Pearson5 | 24.63% | 11.01% | 4.35% | 0.2
Reactive plant event rate – fault | Uniform | 26.76% | 13.17% | 1.41% | 0.1
Lines event rate – forced | Pearson6 | 29.38% | 8.237% | 0.57% | 0.1
Transformer event rate – forced | Weibull | 14.12% | 9.282% | 4.47% | 0.1
Reactive plant event rate – forced | LogLogistic | 15.17% | 9.235% | 2.93% | 0.05
Loss of supply event frequency (number of events)
Failure of protection system (> x system) | Geomet | 3 | 0.8 | 0 | 0.15
Failure of protection system (> y system) | Poisson | 1 | 0.2 | 0 | 0.15
Loss of supply event frequency (number of events)
Average Outage Duration | Expon | 188.16 | 62.81 | 3.22 | 0.2
Proper operation of equipment (number of events):
Failure of protection system | Geomet | 29 | 9.2 | 0 | 0
Material failure of SCADA | Poisson | 5 | 2 | 0 | 0
Incorrect operational isolation of primary or secondary equipment | Geomet | 7 | 2 | 0 | 0
Note on F2: Table 3-1 - STPIS version 6

## Input
AUSNET SERVICES - SERVICE COMPONENT
AER's input data and target calculations:
7.9.1 - Historical performance and proposed floor, caps and targets for the service component of the STPIS
Parameter | Performance Actuals by compliance year |  |  |  |  | Distribution | Floor (95th Percentile) | Target = Average of performance | Cap (5th Percentile)
| 2020 | 2021 | 2022 | 2023 | 2024
Unplanned outage circuit event rate (percentage):
Lines event rate – fault | 17.6% | 18.25% | 6.349% | 5.303% | 9.091% | Uniform | 21.68% | 11.32% | 1.14%
Transformer event rate – fault | 15.62% | 19.84% | 7.143% | 4.8% | 7.634% | Pearson5 | 24.63% | 11.01% | 4.35%
Reactive plant event rate – fault | 22.54% | 21.43% | 4.167% | 12.33% | 5.405% | Uniform | 26.76% | 13.17% | 1.41%
Lines event rate – forced | 7.2% | 25.4% | 5.556% | 2.273% | 0.7576% | Pearson6 | 29.38% | 8.237% | 0.57%
Transformer event rate – forced | 11.72% | 13.49% | 8.73% | 5.6% | 6.87% | Weibull | 14.12% | 9.282% | 4.47%
Reactive plant event rate – forced | 19.72% | 10% | 5.556% | 6.849% | 4.054% | LogLogistic | 15.17% | 9.235% | 2.93%
Loss of supply event frequency (number of events)
Failure of protection system (> x system) | 3 | 0 | 0 | 0 | 1 | Geomet | 3 | 0.8 | 0
Failure of protection system (> y system) | 1 | 0 | 0 | 0 | 0 | Poisson | 1 | 0.2 | 0
Average outage duration (minutes)
Average Outage Duration | 57.6 | 37 | 2 | 47.95 | 169.5 | Expon | 188.16 | 62.81 | 3.22
Proper operation of equipment (number of events):
Failure of protection system | 23 | 16 | 6 | 1 | 0 | Geomet | 29 | 9.2 | 0
Material failure of SCADA | 0 | 3 | 2 | 1 | 4 | Poisson | 5 | 2 | 0
Incorrect operational isolation of primary or secondary equipment | 6 | 3 | 0 | 1 | 0 | Geomet | 7 | 2 | 0
Source: TNSP submissions for STPIS annual compliance reporting

## @risk Results
AusNet - distributions selected based on mechanical selection of lowest K-S distance statistic, 2020-2024 underlying input data. Calendar year data
| Distribution | KS Distance Statistic | Mean of sample | Mean of fitted distribution | SD of fitted distribution | Cap at 1SD | Cap at 2SD | Collar at 1SD | Collar at 2SD | 5th percentile of fitted distribution | 50th percentile of fitted distribution | 95th percentile of fitted distribution
Lines event rate - fault | Uniform | 0.2324 | 0.1132 | 0.1141 | 0.0659 | 0.18 | 0.2459 | 0.0482 | -0.0177 | 0.0114 | 0.1141 | 0.2168
Transformer event rate - fault | Pearson5 | 0.2428 | 0.1101 | 0.1122 | 0.0793 | 0.1915 | 0.2708 | 0.0329 | -0.0464 | 0.0435 | 0.0917 | 0.2463
Reactive plant event rate – fault | Uniform | 0.2081 | 0.1317 | 0.1409 | 0.0813 | 0.2222 | 0.3035 | 0.0596 | -0.0217 | 0.0141 | 0.1409 | 0.2676
Lines event rate - forced | Pearson6 | 0.1612 | 0.0824 | 0.0899 | 0.2246 | 0.3145 | 0.5391 | -0.1347 | -0.3593 | 0.0057 | 0.0468 | 0.2938
Transformer event rate - forced | Weibull | 0.1906 | 0.0928 | 0.0932 | 0.0292 | 0.1224 | 0.1516 | 0.064 | 0.0348 | 0.0447 | 0.0933 | 0.1412
Reactive plant event rate - forced | LogLogistic | 0.1713 | 0.0924 | 0.0894 | 0.0674 | 0.1568 | 0.2242 | 0.022 | -0.0454 | 0.0293 | 0.0751 | 0.1517
Average outage duration | Expon | 0.2452 | 62.81 | 62.81 | 62.81 | 125.62 | 188.43 | 0 | -62.81 | 3.22 | 43.54 | 188.16
Distributions fitted setting: lower limit with fixed bound of zero; unsure upper limit; no change to default "suppress questionable fits" setting
While @Risk allows beta general to be a candidate distribution, we have not included it as a candidate distribution as it uses 4 parameters and we only have 5 data points.
Where a candidate distribution has been estimated to have an infinite standard deviation we have ruled it out of consideration.
AusNet - distributions selected based on mechanical selection of lowest AIC, 2020-2024 underlying input data.
| Distribution | AIC | Mean of sample | Mean of fitted distribution | SD of fitted distribution | Cap at 1SD | Cap at 2SD | Collar at 1SD | Collar at 2SD | 5th percentile of fitted distribution | 50th percentile of fitted distribution | 95th percentile of fitted distribution
Number of events > (x) system minutes | Geomet | 15.6986 | 0.8 | 0.8 | 1.2 | 2 | 3.2 | -0.4 | -1.6 | 0 | 0 | 3
Number of events > (y) system minutes | Poisson | 8.5522 | 0.2 | 0.2 | 0.4472 | 0.6472 | 1.0944 | -0.2472 | -0.6944 | 0 | 0 | 1
Failure of protection system | Geomet | 36.0502 | 9.2 | 9.2 | 9.687 | 18.887 | 28.574 | -0.487 | -10.174 | 0 | 6 | 29
Material failure of SCADA | Poisson | 20.7963 | 2 | 2 | 1.4142 | 3.4142 | 4.8284 | 0.5858 | -0.8284 | 0 | 2 | 5
Incorrect operational isolation of primary or secondary equipment | Geomet | 22.4288 | 2 | 2 | 2.45 | 4.45 | 6.9 | -0.45 | -2.9 | 0 | 1 | 7