## Issues and Responses
Project title: Annual Information Orders 2026-28
Issues raised in submissions to the Draft Order
Issue Number | Raised by | Document Reference (draft Order) | Specific reference (draft Order) | Issue raised | AER response
1 | Energy Queensland | Data Workbook | Table 3.6.8 | AIO Template 3.6.8 Network feeder reliability combines maximum demand, feeder length and customer numbers into a single template. Template design combines non-homogeneous datasets and is titled as a reliability report despite not reporting reliability outcomes. Combines datasets from different systems with different feeder definitions, creating data gaps, reconciliation risk and high manual effort without proportional regulatory value. Split AIO Template 3.6.8 into three templates: Maximum demand, Line length, and Distribution customers by feeder, consistent with the February 2023 consultation. | We have amended the instructions to clarify the requirements of Table 3.6.8. The AER recognises EQL's unique reporting structures and agrees with EQL on its proposed methodology to populate Table 3.6.8 by first populating Feeder ID, Feeder service area description and Feeder classification from the dataset that reports Feeder ID consistent with feeder information reported in Table 6.3.1. EQL should then report customer numbers, length of high voltage lines and maximum demand against those feeder IDs listed. In the instance where an instruction relates to a scenario that is not relevant to EQL, for example instructions detailing how to treat feeders that are not in service for the full reporting period, Energy Queensland may ignore these instructions. These instructions have been included to accommodate common scenarios facing electricity distributors but will not necessarily apply to all electricity distributors in all reporting years.
2 | Energy Queensland | Instructions | Table 6.2.5 | Unclear rounding requirements. Lack of rounding guidance may result in inconsistent reporting and audit interpretation. Clarify rounding requirements for SAIDI MED Threshold values. | We have amended the instructions to clarify rounding: The electricity distributor must report the MED threshold as an unrounded number.
3 | Energy Queensland | Audit Requirement | Table 6.2.5 | Five years of daily system SAIDI are required, but only two years of audited AIO data will exist by FY2027. Permit use of manually validated daily system SAIDI for FY2022–FY2024 and AIO data from FY2025 onwards. The current drafting excludes assurance for SAIDI data from years prior to the AIO period. However, the T-MED calculation includes historical SAIDI data covering five historical years, some of which may fall within the current AIO period but have already been audited, submitted to the AER and used in formal S-factor determinations. As drafted, there is a risk that auditors may be required to re-audit historical data that has already been assured, creating duplication of effort without improving assurance outcomes. | The AER agrees with Energy Queensland that historical SAIDI data used to calculate the T-MED, where previously audited and submitted to the AER, is NOT required to be re-audited by EQL's auditors, as part of the assurance required for the MED threshold. AER has not amended the Orders as this outcome is covered under section 6.4.1 Exemptions to audit or review requirements, which states 'The general requirement to audit or review does not apply to information that has previously been audited according to the standards set out in sections 6.6, 6.7 and 6.8 and submitted to the AER.'
4 | Energy Queensland | Data Workbook | Table 8.4.1 | In section [workbook Table] 8.4, we have identified a typographical error, where “Other ASC” should be amended to “Other ACS”. | We have amended the heading in Table 8.4.1
5 | Energy Queensland | Glossary | Asset Replacement Repex | use of the term “modern equivalent” in asset replacement and repex definitions risks mischaracterising efficient like-for-like replacement practices. We recommend amending or qualifying these definitions to allow for like-for-like replacement where appropriate. | We have amended these definitions to include like-for-like replacement in the AER Networks Glossary.
6 | Energy Queensland | Glossary | Non-residential embedded generation | The proposed definition of non-residential embedded generation is limited to generators with contractual arrangements. This may unintentionally exclude generators that inject energy into the distribution network without a contract. This has potential implications for Energy reporting, Loss calculations, and Economic AIO tables. Further alignment is required between this new definition and the broader embedded generator definition already included in the glossary. | We have amended the definition so as not to exclude non-residential embedded generation without any contractual arrangements
7 | Energy Queensland | Glossary | Total installed capacity for first step transformation | Definition of total installed capacity for first step transformation Incorrect voltage examples Current wording inaccurately describes transmission-to-distribution transformation steps. Amend to accurately reference 132/110 kV to 66/33 kV. This correction should be applied consistently across the glossary and Appendix A - Instructions. | We have amended this definition in the AER Networks Glossary. The example used for first step transformation is now from 132/110 kV to 66/33 kV. The AER notes this is not the only example of first step transformation.
8 | Energy Queensland |  |  | Clear guidance on the expected scope of the Basis of Preparation, together with a proportionate application of data security and confidentiality requirements, would further support efficient and consistent implementation. | We have undertaken a compliance review with the receipt of the first year of data received under the AIO (2024-25 data). We have also had requests for Basis of Preparation and Supporting Information to be made public on our website. We think sharing this information will help not only stakeholders who are seeking contextual information about the data but also allow NSPs to view how other NSPs provide this information as we move towards best practice on issues like: Providing explanations for differences, or validation flags; and Confidential information.
9 | Ausgrid | Data Workbook | Worksheet 2.2 Repex Checks and Totals | The new checks and totals titled ‘Overhead conductors length - by voltage - by feeder’ and ‘Overhead conductors length - by voltage - by material type’ compare the sum of overhead conductors in table 2.2.1.1 with the sum of overhead conductions in table 2.2.2.2. This comparison will result in a variance for Ausgrid as ‘other’ (cell F71) is reported in table 2.2.1.1, but not in table 2.2.2.2. Historically, Ausgrid has reported overhead conductors for streetlighting reconfiguration as ‘other’ in table 2.2.1.1. These conductors have not been reported in table 2.2.2.2 to align with the data being reported in table ‘3.5.1 Network Capacities’. Therefore, Ausgrid recommends that the sum formula in E247 and E248 exclude F71. | The AER is looking to understand variances that arise between different data tables, rather than remove them from the checks and totals. Therefore Ausgrid should record explain any difference (for example, relating to inclusion of 'overhead conductors for streetlighting reconfiguration' with the ‘other’ in table 2.2.1.1') in the 'Explanation for variance >1' field against this check.
10 | Ausgrid | Data workbook Instructions | Table 2.6.1 | The proposed shift from reporting ‘direct’ information and communication technology (ICT) costs to ‘total’ ICT costs in table ‘2.6.1 - Non-Network Expenditure’ will reduce the comparability and usefulness of the data for benchmarking purposes. The AER currently uses this information to assess distribution network service provider (DNSP) ICT expenditure trends and relative efficiency over time. A change in reporting basis from FY27 onwards would create a structural break in the dataset, with reported expenditure no longer being directly comparable to prior years. This may create the appearance of material increases in ICT expenditure that are driven primarily by methodology changes rather than underlying expenditure outcomes. To preserve consistency and comparability in benchmarking analysis, Ausgrid recommends that table ‘2.6.1 - Non-Network Expenditure’ continues to report direct ICT costs only. If the AER wishes to collect information on indirect ICT costs, this could instead be introduced as a separate reporting category. | The NSPs have advised the AER that previous reporting against table 2.6.1 has been either direct expenditure or total expenditure (depending on the NSP). To allow for a consistent time series for all NSPs, the Orders now give NSPs the option to report both Direct and Indirect expenditure or to report Total expenditure (and leave the Direct and Indirect expenditure breakdown NULL if the breakdown cannot be provided).
11 | Ausgrid | Data Workbook | Table 2.8.2 | This section refers to ‘Other maintenance activity’. This exact wording is not featured in table 2.8.2 in the Draft Workbook. | We have amended the workbook, to clarify the requirement is not limited to routine maintenance
12 | Ausgrid | Data Workbook | Table 3.1.2 | The AER is proposing to delete the ‘alternative control’ column from table ‘3.1.1 - Revenue Grouping by Chargeable Quantity’, however, table ‘3.1.2 - Revenue Grouping by Customer Type or Class’ retains this column. These tables contain the same data, however, are split up using different categories. It does not make sense to report ‘alternative control’ in one of the tables and not the other. Additionally, Ausgrid submits that alternative control services revenue should only be reported in table ‘8.1.1.1B - Revenue - Alternative Control Services’ as this table provides a more detailed breakdown of alternative control services revenue. Therefore, Ausgrid submits that the ‘alternative control’ column in table 3.1.2 and the check and total titled ‘Alternative Control - Total revenue (customer type or class)’ should be removed. For the above reasons, the check and total titled ‘Alternative Control Services - Total revenue’ should be removed. (between on 3.1 and 8.1) | We have amended the workbook We have amended the instructions to refer to standard control services revenues.
13 | Ausgrid | Supporting information - Requirements list | Order section 4.1.2 | Various issues relating to wording differences between the Order and the standalone requirements document. Request for all notes to be included in the standalone requirements document. | We have updated the Supporting information requirements list for all NSPs
14 | Ausgrid | Instructions | various | Various issues relating to incorrect cross-referencing in the instruction document. Request for cross-references in the document to be corrected. Various issues relating to incorrect list levels through out the instruction document. Request for list levels to be corrected. | We have amended the Instructions
15 | Ausgrid | Instructions | 2.18.1, 2.18.2 and 2.18.6 | In sections 2.18.1, 2.18.2 and 2.18.6, version 1 of the “Service Target Performance Incentive Scheme” is referred to. Ausgrid suggests that these references instead refer to the second version of the scheme. | Now that all DNSPs are reporting under version 2 of the STPIS, the Quality of Service Data (collected in the tables on worksheet 3.6), and used by the AER for economic benchmarking, should be reported by the DNSPs under STPIS version 2. We have updated the workbook and instructions.
16 | Ausgrid | Order | 4.20.4 | Section 4.20.4 should be amended as follows: “The electricity distributor must report any tax losses that have been used by the electricity distributor during the regulatory year”. | We have amended the Order
17 | Ausgrid | Order | 4.21.1(a)(ii) | Section 4.21.1(a)(ii) should be amended as follows: “the general debt that has been allocated to the electricity distributor’s core regulated services”. | We have amended the Order
18 | Ausgrid | Instructions | 2.21.17 | This section contains an incomplete sentence. The remainder of this section should be reinstated, being "curtailment. This is typically expected to occur at 253V.". | We have amended the Instructions
19 | Ausgrid | Instructions | sections 2.39.2, 2.39.3 and 2.39.5 | The references to table 8.1.1.1B in sections 2.39.2, 2.39.3 and 2.39.5 should be replaced with a reference to table 8.1.1.2A. | We have amended the Instructions
20 | Ausgrid | Glossary | Customer | It would be useful for the AER to clarify within the definition of ‘customer’ (i.e. ‘an end user of electricity’) whether large battery and storage customers are excluded. | We have changed the term 'customer' to 'Distribution customer' as defined in the NER, chapter 10. The AER considers battery and storage customers are included in this definition.
21 | Ausgrid | Glossary Instructions | Customer (benchmarking) | Section 2.16.9 of the Draft Instructions includes instructions for how to calculate ‘customer (benchmarking)’ numbers. The instructions request that metered customers include “both energised and de-energised NMIs”, however, this conflicts with the definition of ‘customer (benchmarking)’ in the Draft Glossary, which states that “Only NMIs for active customers must be counted. Hence NMIs for deactivated accounts are not to be included”. Given the inconsistency between section 2.16.9 of the Draft Instructions and the Draft Glossary, Ausgrid requests that the AER clarify whether both energised and de‑energised NMIs are intended to be treated as active customers for the purposes of ‘customer (benchmarking)’. | We have amended the instructions and Glossary to clarify how to calculate customer (benchmarking) numbers. The definition of customer (benchmarking) is as follows: Benchmarking customers include both metered and unmetered customers. Metered customers include all active National Meter Identifiers (NMIs) with each NMI counted as a separate customer. De-energised customers are to be included; however, extinct NMIs must be excluded. For unmetered customers, the customer numbers includes all connections, except public lighting, in a DNSP’s network whose energy usage for billing purposes is calculated using an assumed load profile (including bus shelters, security lighting, traffic signals where unmetered). Benchmarking customers do not include customers on unregulated stand alone power systems.
22 | Ausgrid | Glossary | Meter Type 9 - public lighting services / Meter Type 9 - other assets | The AER should consider adding in a definition for ‘Meter Type 9 - public lighting services’ and ‘Meter Type 9 - other assets’. | The AER is considering its data requirements, and will consider adding more detail on meter types in the future. We have added a new term to the glossary 'Meter type - other' and incorporated that term in the pricing tables in worksheets P1-P3. This allows for any new meter types to be incorporated in the existing reporting.
23 | Ausgrid | Glossary | Post tax revenue model | ‘Post tax revenue model’ is still used throughout the Draft Order, even though ‘Roll Forward Model’ is proposed as the new title of the term in the Draft Glossary. Ausgrid recommends that one term is consistently used. | The Post Tax revenue model and the Roll forward model are two separate models, and both terms are required in the Glossary. The change identified by the AER in the Glossary published on 25 March 2026 was to add the term Roll Forward Model, rather than the incorrectly described change: 'term changed'.
24 | Ausgrid | Glossary | Reference of terms | Some terms used in the glossary (for example ‘Related Party Contract Expenditure’, ‘Related Party Contract Margin Expenditure’, ‘RIT project’) are not referenced verbatim in the Draft Workbook, Draft Orders or Draft Instructions. The AER may wish to ensure that all defined terms are stated verbatim in the related documents. | The Glossary is integral to, and necessary to interpret, the information requirements set out in the 2026-28 Orders. It also includes terms and definitions relevant to other information requirements applying to regulated networks and pipelines, including annual information notices for gas distribution and transmission pipelines, and regulatory information notices issued to support revenue and access arrangement determinations. We have amended the glossary, as necessary to address specific issues raised.
25 | Ausgrid | Glossary |  | Defined terms mentioned in the definition of other terms are not italicised. Ausgrid recommends that the AER italicise all defined terms to prompt readers to investigate the meaning of any defined terms within a definition. For example, the definition of ‘vegetation maintenance span’ could be amended to include italicised terms; “A span within the NSP’s network that is subject to active vegetation management practices in the relevant year. Active vegetation management practices do not include inspection of vegetation maintenance spans.” in effort to prompt readers to also consider the definition of ‘vegetation management practices’. | We have italicised defined terms as listed in the AER Networks Glossary
26 | Ausgrid | Glossary | Revenue | The definition of ‘revenue’ includes the term ‘entity’. This is slightly unusual and we assume it refers to a DNSP, TNSP or Interconnector. Additionally, the definition does not indicate what is included within the term ‘ordinary activities’, i.e. whether it is limited to direct control services (standard control and alternative control services) or includes revenue from non-regulated activities. Ausgrid recommends clarification of the meaning of the terms 'entity' and ‘ordinary activities’. | We have not amended the definition of revenue. It should be interpreted by reference to Australian Accounting Standards. The breadth of services incorporated into a requirement to report revenue will assist in clarifying whether it is appropriate to include revenues from non-regulated activities.
27 | Ausgrid | Glossary | RIT project | The definition of RIT project refers to 'a project implemented that is the preferred option', which is in past tense. However, Ausgrid understands that projects reported to the AER, such as under s 4.12 of the Draft Order, may be in the process of implementation. Ausgrid suggests that the definition of RIT project should be amended to be more in line with the National Electricity Rules definitions of RIT-D and RIT-T projects,1 i.e. begin with "a project the purpose of which is to address an identified need....". | We have amended text (including the Glossary) where we have identified inconsistencies in the terms used.
28 | Ausgrid | Supporting BOP | 6.9 GSL SCHEME | A row has not been provided for ‘6.9 - GSL SCHEME’, relating to the below table. Ausgrid recommends that a new row 80 be included to provide for a basis of preparation for this table. | We have updated the Prefilled indicative basis of preparation document
29 | Ausgrid | Order Supporting BOP | Additional information | The reference to section 5.2.2 of the Draft Order in the ‘additional information’ column should be replaced with a reference to section 5.2.3. | We have amended the Order
30 | Ausgrid | Order |  | In the additional guidance provided to complete the ‘assumptions’ column, it is unclear what is meant by ‘approvals’. Ausgrid recommends that an explanation of what ‘approvals’ means is provided. | Where the NSP has made an assumption to estimate information, and where the NSP could have (validly) made an alternative assumption (which may or may not have resulted in alternative information to be estimated), an 'approval' is the decision making process the NSP uses to accept the assumption within the methodology.
31 | Ausgrid | Supporting BOP Order |  | There are slight differences between the wording and layout of appendix C and the Draft Prefilled Indicative Basis of Preparation. For example: • ‘Annual submission reference’ is stated in appendix C, but not the Draft Prefilled Indicative Basis of Preparation; • the order of the text in appendix C (i.e. title of column then section of the instructions) is different to the order of the text in the Draft Prefilled Indicative Basis of Preparation; and • there are minor wording differences in the documents, such as ‘Estimated data’ in appendix C, and ‘if Estimated data’ in the Draft Prefilled Indicative Basis of Preparation. Ausgrid recommends alignment of these tables. Additionally, the reference to section 5.2.2 of the Draft Order in the ‘additional information’ column should be replaced with a reference to section 5.2.3. | We have updated the Prefilled indicative basis of preparation document and corrected the reference in the Order.
32 | AusNet Distribution | Order | 1.3.6 Reasons for issues this Order | This section of the Notice [Order] includes the words 'and informs the next transmission determination' - Should this be 'Distribution'? | We have amended the Order
33 | AusNet Distribution | Order | 4.13 Related Party Transactions | The AER clarifies that it is seeking confirmation that the electricity distributors has access to this information, this issue we could see is related party transactions (opex/capex) with overseas Shareholders, which may too far in the corporate hierarchy and could be difficult to get contracts or other arrangement documents | We have not amended the requirement, noting the related party transactions that are the subject of this obligation are integral to the statutory and regulatory reporting frameworks, and must be correctly classified by service.
34 | AusNet Distribution | Order | 4.7 Material Differences | The Notices requires information to be in Real dollars. Could the AER reconsider this to be in Nominal dollars as it will be easier to explain. Converting to real with actual numbers could have combinations of CPI and Wage growth factors. In addition Nominal values will agree to the AIO | The AER has not amended the requirement. Comparison of forecast and actual expenditures requires both sets of data to be in the same dollar terms. Forecast data can be presented in both $nominal or $real terms, but neither of these values are equivalent to the dollars terms associated with the annual data submissions. Nominal forecast expenditure values include an assumed inflation component, which generally does not align with out-turn inflation. Annual data submissions are in $nominal - and assumed to be set at the mid point of the reporting year. AusNet can set its forecast data to the same $ terms used for its annual information that is at the mid-point of the reporting year, by adjusting forecast real capex for actual inflation consistent with the inflation approach to be applied in the roll-forward model.
35 | AusNet Distribution | Order | Statutory declaration | Could the AER please clarify this for DMIAM as we provide a Director Declaration which is different to a Statutory Declaration. | Section 6.9.3 only addresses requirements for statutory declarations. If the DMIAM applying to Ausnet allows for a Director declaration then section 6.9.3 does not apply. We note the updated DMIAM (January 2026) requires a statutory declaration to support the demand management project costs (section 2.3(3)(f)). Section 2.3(f) of the DMIAM states: “A statutory declaration signed by an officer of the distributor delegated by the chief executive officer of the distributor, certifying that the costs being claimed for each demand management project…..” On this basis, the statutory declaration does not need to be signed by the CEO themselves. It can be signed by any other NSP officer (provided the officer has been formally delegated by the CEO to perform this function). In AusNet’s case, a Director could make the statutory declaration, where this role has been delegated by its CEO.
36 | AusNet Distribution | Order | Section 5 - Basis of Preparation | Could the AER reconsider the option of excluding the 'Information Source Section 5.2.1(a)','Changes from previous BoP 5.2.1(h) and in the Assumptions columns 5.2.1 (c) - removing the reference to 'including policy references and approval' This could be onerous noting that we do provide the accounting and other relevant polices to the AER? | Information source (section 5.2.1(a)), 'Changes from previous BoP 5.2.1(h) and Assumptions 5.2.1 (c) are important supporting information for the AER's analysis. Collecting this information in the basis of preparation allows the AER and other data users to determine data reliability, accuracy and relevance. We note policy references are only required under section 5.2.1(c) when these are relied on by the NSP to make an assumption to estimate information where the NSP could have (validly) made an alternative assumption.
37 | AusNet Transmission | Data workbook Instructions | Table 8.7.1 and 8.7.2 | TAB depreciation is reportable in both tables 8.7.1 and 8.7.2 - the instructions in clauses 2.27.5 and 2.27.16 are similar. This appears to be a duplication, if so, could the TAB depreciation in table 8.7.2 be removed? | TAB depreciation is to be reported in both Table 8.7.1 and Table 8.7.2. As per section 2.27.5(b)iv, the amount reported in Table 8.7.1 must be updated for actual capital expenditure and CPI. As per section 2.27.16(b)iv, the amount reported in Table 8.7.2 must be updated for actual capital expenditure.
38 | AusNet Transmission | Data workbook Instructions | Table 8.7.1 and 8.7.2 | Similar to the above, permanent differences (disallowed interest expense and adjustments to prior year returns) is reportable in both tables 8.7.1 and 8.7.2. This appears to be a duplication, therefore could the permanent differences in table 8.7.2 be removed? | The requirement to report 'Permanent differences due to disallowed interest expense' has been removed from table 8.7.2.
39 | AusNet Transmission | Data workbook | Table 8.7.1 | Interest bearing liabilities reportable in 8.7.1 Interest expense table is the beginning of period balance per Appendix A instructions, clause 2.27.11. Suggest adding in brackets (beginning of period balance) in table 8.7.1 to distinguish this line with table 8.7.2 'Interest-bearing liabilities (end of period balance)' | We have amended the workbook
40 | AusNet Transmission | Instructions | Table 2.1.1 | As noted in AusNet Transmission's 30 April 2026 resubmission of the 2024-25 AIO, the 2.5.1 connections expenditure is excluded from 2.1.1 Expenditure Summary as the connection projects are excluded prescribed projects and have not yet rolled in the RAB (hence are not yet prescribed). AusNet has explained this in the resubmitted 2024-25 Basis of Preparation. Could we confirm if this approach remains suitable for the 2026-2028 AIO? | The AER confirms this approach for excluded prescribed services.
41 | AusNet Transmission | Data workbook Instructions | Table 3.3.2A | Our understanding is that table 3.3.2A is requesting the RAB numbers for the next batch of Group 3 assets which roll into the RAB on 1 April 2027 (next TRR period). However the following categories within table 3.3.2A do not adequately cater for this group 3 adjustment for 2026-27: Gross Capex, Disposals and Capex Timing Adjustment. Our suggestion would be to keep the Group 3 adjustment disclosure consistent the previous 3.3 EB RIN template as submitted by AusNet Transmission in the 31 March 2022 EB RIN 3.3. That is, have a separate 'End of period Adj's' row for each RAB asset category within table 3.3.2. We are happy to discuss the approach with the AER given AusNet Transmission will be required to report its Group 3 adjustment for the 2026-27 regulatory year. | We have amended Tables 3.3.1, 3.3.2 and 3.3.2A to include 'final year adjustments' and 'other asset adjustments'.
42 | AusNet Transmission | Data workbook | Worksheet 8.5 (and other Financial templates) | There may be instances where financials can have negative numbers (reversals or write-offs). If there are negative numbers reported in the financial templates which result in the data validation error (such as 8.5 Opex), is it okay to explain the negative value in the basis of preparation? | Where a negative value is flagged as invalid, an explanation must be provided. The explanation should be included in the Basis of Preparation, and the data submission workbook also allows for brief explanatory material (or references to the BoP) to be added in column A of the 'invalid' data row.
43 | AusNet Transmission | Order | 2.4 Confidentiality Claims | Para 2.4.1(b) requires that TNSPs provide a public version of any information/documents that was claimed as confidential. In the workshop the AER held with NSPs on 25 February 2026, it was mentioned that the statutory declaration and assurance reports (which are generally confidential) would not require a public document to be provided. Will this exemption be officially included in the Order? | Since the February workshop, we have confirmed that the proposed change to the Orders can not be implemented as it is inconsistent with the AER's Confidentiality Guideline. We are considering alternative pathways to address this issue, but we will not make the change in the 2026-28 Orders.
44 | AusNet Transmission | Instructions | Section 2.4.8 | Minor observation point only: We have noted the previously mentioned clauses refer to the Annual Information Order as "RIO" in the context of "RIO resubmission". Should this refer to "AIO" instead for consistency of terminology? | We have amended the text. The relevant sentence now reads: Where, as a result of the ATO's decision-making process, these values change the TNSP must report the updated values to the AER.
45 | AusNet Transmission | Order | 4.12 Related Party | The AER clarifies that it is seeking confirmation that the TNSP has access to this information, this issue we could see is related party transactions (opex/capex) with overseas Shareholders, which may too far in the corporate hierarchy and could be difficult to get contracts or other arrangement documents | We have not amended the requirement, noting the related party transactions that are the subject of this obligation are integral to the statutory and regulatory reporting frameworks, and must be correctly classified by service.
46 | AusNet Transmission | Order | 4.6 Material Differences | The Notices [Orders] requires information to be in Real dollars. Could the AER reconsider this to be in Nominal dollars as it will be easier to explain. Converting to real with actual numbers could have combinations of CPI and Wage growth factors. In addition Nominal values will agree to the AIO | The AER has not amended the requirement. Comparison of forecast and actual expenditures requires both sets of data to be in the same dollar terms. Forecast data can be presented in both $nominal or $real terms, but neither of these values are equivalent to the dollars terms associated with the annual data submissions. Nominal forecast expenditure values include an assumed inflation component, which generally does not align with out-turn inflation. Annual data submissions are in $nominal - and assumed to be set at the mid point of the reporting year - for AusNet Transmission that is 30 September. AusNet can set its forecast data to the same $ terms used for its annual information that is at the mid-point of the reporting year, by adjusting forecast real capex for actual inflation consistent with the inflation approach to be applied in the roll-forward model.
47 | AusNet Transmission | Instructions | Section 2.5 | The clause permits a null valid response where connection voltage is not applicable. However we would also have null responses to connection rating (noting the data submission workbook has removed the null error validation rule from connection rating as discussed with AER on 13 March 2026). Wondering if connection rating would be added to the null exemption in clause 2.5.8 (consistent with the validation rules in the data submission workbook) | We have amended the instructions.
48 | AusNet Transmission | Workbook Instructions | Table 7.7.1 | Clause 2.23.3 allows for three options for types of service: prescribed, negotiated and unregulated. However AusNet Transmission has a forth category: excluded prescribed. This relates to the group 3 assets which roll into the RAB at the start of the next reset period - this category is specific to AusNet Transmission. Can this category, excluded prescribed, therefore be added to the list of options under 2.23.3 and also the data submission workbook 7.7 (as it comes up as a validation error). Alternatively, can we explain this exception in the basis of preparation? | ‘Excluded prescribed’ services have been added as an option for AusNet services as these services are a listed category of transmission services that AusNet provides under its Cost Allocation Methodology.
49 | AusNet Transmission | Instructions | Section 3.6.2 | Should the null response clause as per 2.24.3 under section 7.9.4 Appendix A be added to section 3.6.2 given they both relate to STPIS/Market Component Data? Noting, the two data templates are connected hence a null response provided for template 7.9.4 would result in a null response for template 3.6.2 | We have updated the instructions.
50 | AusNet Transmission | Instructions | Section 5.3.1 | Whilst the data submission workbook validation rule permits AusNet Transmission to provide a null response for template 5.3, does a separate clause similar to clause 2.20.2 under section 5.4.1 of need to be added for section 5.3 of Appendix A Instructions. Noting AusNet Transmission has historically been exempt from providing 5.3 data as this info is maintained by AEMO | We have updated the instructions.
51 | AusNet Transmission | Instructions | section 2.24.3 | AusNet Transmission would like to note that the MIC under the STPIS Scheme Version 6 has been suspended effective from the next regulatory period (commencing April 2027 for AusNet Transmission). However as per AEMC’s draft determination published 19 Feb 2026, there is a proposed rule change for the early application of the MIC suspension to be effective from 1 January 2026 (impacting the current regulatory period, specifically 2026-27). Hence, we would like to confirm that clause 2.24.3 which states that “null is valid where the scheme does not apply” would be applicable to AusNet Transmission for 2026-27 based on the above circumstances, noting a final determination from AEMC is yet to be published. | Clause 2.24.3 which states that “null is valid where the scheme does not apply” will be applicable to AusNet Transmission for 2026-27, noting a final determination from AEMC is yet to be published.
52 | AusNet Transmission | Instructions | Section 2.27 | Would the AER consider allowing a null response for the Ownership Structure table in 8.7.1 for the sections related to NTER (2.27.2 and 2.27.3 of Appendix A) as these do not apply to AusNet Transmission as we are a private sector entity (i.e. clause 2.27.1(a)). We have historically reported a null response for these sections. | We have updated the instructions. NULL is a valid option for Ownership Structure where the TNSP is a privately owned corporate structure.
53 | Powerlink | Instructions | Section 2.16 | 2.16 Worksheet 3.6 Quality of service data, Table 3.6.2 Market Impact Component Recommend inclusion of an additional clause after 2.16.4, identical to clause 2.24.3 under Section 2.24 (Table 7.9.4): “Null is valid where the scheme does not apply to TNSP with no explanation required in the Basis of Preparation.” | We have updated the instructions.
54 | Powerlink | Glossary | System Losses | System Losses has been removed from Appendix A (2.16 Worksheet 3.6). Recommend removing this glossary entry. The definition mentions “as defined in the transmission STPIS”. This is incorrect and may cause confusion. Remove glossary entry. | We have updated the definition to remove the incorrect reference to the TNSP STPIS.
55 | Powerlink | Explanatory statement | 2.1.4 Overheads expenditure and 2.1.5 Non-network expenditure | The points noted by Energy Queensland relating to double counting of non-network overheads and non-network expenditure are also applicable to Powerlink. Powerlink recommends that the same treatment proposed for Energy Queensland be applied to Powerlink. | As per the instructions for Tables 2.1.1 and 2.1.2, the TNSP must report expenditure on a mutually exclusive and collectively exhaustive basis. Where expenditures could be reported against multiple purposes the TNSP must report the expenditure once – based on its primary purpose. If the overhead values reported in Tables 2.1.1 and 2.1.2 do not align with those reported in Table 2.10.1 and 2.10.2 due to the mutually exclusive, collectively exhaustive requirements of Tables 2.1.1 and 2.1.2, the TNSP must explain the reason for variance in the ‘checks and totals’ table at the bottom of the relevant worksheets. Table 2.6.1 has been updated to allow for reporting of non-network indirect expenditure. In the instance where expenditure reported in an expenditure sheet such as 2.6, 2.7, 2.8 etc does not match the primary purpose expenditure reported against the same category in Table 2.1.2, the NSP should explain the variance in the 'explanation for variance >1' column in the check and total section of the relevant worksheet. Explanations should be to the point for example: 'Fleet expenditure is recorded in Table 2.6 but recorded in the Corporate overheads row in table 2.1.2'
56 | SA Power Networks | Instructions | Section 3.3.4 | Whether the reference to reporting total maintenance expenditure in table 2.8.2 should reference table 2.8.2LM to differentiate between the data submission workbook and the legacy metering data submission workbook. | We have amended the instructions
57 | SA Power Networks | Glossary | Asset / Asset Class | We note the definition is the same for Asset and Asset Class. An alternate definition for Asset Class would be: An asset class is a grouping of assets that share similar characteristics such as useful life. | We have updated the glossary to amend the definition of asset class as follows: A group of assets that are relatively homogenous, sharing similar attributes (such as economic life), and are defined so that the group of individual assets do not belong to more than one asset class.
58 | SA Power Networks | Glossary | Cost Reflective Tariff | Cost reflective tariffs are now defined as a Tariff that is structured to reflect the cost of providing the distribution or transmission service. These tariffs generally vary by time of day - that is energy charges are highest in peak demand periods, and lowest at off peak times. We believe this should instead be defined similarly to a non-cost reflective tariff and should instead be defined as A tariff that is not structured to reflect the incremental cost of supplying network services. That is, the price for the use of the network does not change based on the additional (or lower) costs of using that service. | We have updated the glossary to amend the definition of cost reflective tariff as follows: A tariff that is structured to reflect the incremental cost of providing the distribution or transmission service. These tariffs generally vary by time of day - that is energy charges are highest in peak demand periods, and lowest at off peak times.
59 | SA Power Networks | Glossary | Meter | The updated Meter definition is now a device which measures and records the production or consumption of energy. This definition could now include meters that measure a customer's solar and battery production and consumption but are effectively behind the revenue meter, where these are used by the market to measure the customer's production and consumption to the network. We acknowledge the definition needs to be updated to include the existence of Type 9 metering, however need to constrain so it does not include non-revenue metering. | We have updated the glossary to amend the definition of meter as follows: A meter is a device which measures and records the production or consumption of energy, predominantly for the use of billing
60 | SA Power Networks | Glossary | Metered Customer | Definition has been updated to reference a Physical Meter, this is limiting in terms of Type 9 metering arrangements. | We have updated the glossary to amend the definition of metered customer as follows: A connection point whose energy use is measured.
61 | SA Power Networks | Glossary | Non-cost Reflective Tariff | In the previous definition for non-cost reflective tariff there were some examples, we would like to suggest that the new definition also include examples such as flat rate and block usage tariffs. | We have updated the glossary to amend the definition of non-cost reflective tariff as follows: A tariff that is not structured to reflect the incremental cost of providing distribution or transmission services. These tariffs generally do not vary by time of day
62 | SA Power Networks | Glossary | Public lighting replacement | The new definition for public lighting includes the replacement of photoelectric cells, these are a low cost items and under SA Power Networks' current Public lighting strategy these are replaced within public lighting maintenance activities. We would like to prepose that the replacement of photoelectric cells is removed from public lighting replacement. | The AER considers the current definition is appropriate. If a DNSP treats photoelectric cells as ‘Public light maintenance’ (opex) the AER requests the DNSP reports this in its Basis of Preparation. The DNSP should identify whether photoelectric cells are also included in ‘Public light replacement’ (capex). This information will help with our benchmarking assessments across DNSPs.
63 | TasNetworks | Data workbook | Table 2.1.2 | TasNetworks would like to note that non-network operating expenditure (opex) has historically also been included in the reported value for corporate overheads in table 2.1.2 standard control services opex by purpose. In the RINs, table 2.1.2 allowed networks to include a balancing item which TasNetworks used to net-off the double counted value of the non-network opex which is also considered to be a corporate overhead. In the Orders, the removal of the balancing item means that the total opex figure in table 2.1.2 is inclusive of non-network opex twice. | As per the instructions for Table 2.1.2, the electricity distributor must report expenditure against a prescribed purpose on a mutually exclusive and collectively exhaustive basis. Where expenditures could be reported against multiple purposes the electricity distributor must report the expenditure once – based on its primary purpose. Table 2.6.1 has been updated to allow for reporting of non-network indirect expenditure. In the instance where expenditure reported in an expenditure sheet such as 2.6, 2.7, 2.8 etc does not match the primary purpose expenditure reported against the same category in Table 2.1.2, the electricity distributor should explain the variance in the 'explanation for variance >1' column in the check and total section of the relevant worksheet. Explanations should be to the point for example: 'Fleet expenditure is recorded in Table 2.6.1 but recorded in the Corporate overheads row in Table 2.1.2'
64 | PWC | Data workbook | Table 2.1.1 | Why is there no "Other capex" row in table 2.1.1 to keep consistency with the OPEX table ("Other opex")? | The 'other opex' row in Table 2.1.2 was added to capture category specific forecasts for relevant electricity distributors. It was titled 'other opex' to future proof the Orders. The AER considers this need is opex specific and does not consider there is a need for an 'other capex' row. The electricity distributor should only report against the purpose ‘other opex’ where the expenditure is not already reported in one of the other expenditure categories. Balancing items are not permitted in the 'other opex' row.
65 | PWC | Data workbook | Table 2.1.2 | Can the new 'Other opex' row be used as a balancing item? | As per the instructions, the ‘other opex item’ must not be used as a ‘Balancing item.’ Where primary purpose reporting in Table 2.1.2 does not reconcile with opex items reported via different opex sheets and this is brought to the attention of the electricity distributor by Checks and Totals variance on worksheet 2.1, the electricity distributor should use the ‘Explanation for variance >1’ field to provide a high level explanation of the difference(s) in lieu of a balancing item.
66 | PWC | Data workbook | Table 2.6.1 | Why has the requirement changed from "Direct (expenditure)" to "Total (expenditure)"? | The AER has been advised by the NSPs that historical reporting against table 2.6.1 has been either direct expenditure or total expenditure (depending on the NSP). To allow for a consistent time series for all NSPs, the Order now gives NSPs the option to report both Direct and Indirect expenditure or to report Total expenditure (and leave the Direct and Indirect expenditure breakdown NULL where the breakdown cannot be provided).
67 | PWC | Data workbook | Table 7.5.1 | Why is Opex included? | The PWC RIN mirrors the DNSP Orders. Operating expenditure is included in the large project collection because some large projects (for example contingent projects) have operating expenditure associated with them, e.g. for insurance. In the case where PWC does not have operating expenditure associated with its large projects it should enter '0' in the operating expenditure rows for that large project.
68 | PWC | Data workbook | Table 8.4.1 | Other ASC column should be Other ACS (typo) | We have amended the Workbook