## 4.1.2(a) Requirements
Checklist of requirements for Transmission 4.1.2 (a): |  |  |  | TNSP's Response:
4 |  | Supporting information requirements
4.1 |  | Requirement to provide supporting information under this Order
| 4.1.1 | TNSPs must prepare and provide the AER with the information set out in sections 4, 5 and 6 of this Order.
| 4.1.2 | TNSPs must provide the following information to assist the AER in identifying the information submitted in response to the Order: | (a) a table that identifies each response to this section 4 and where it is provided in the annual information submission; | This document should be used as your response to 4.1.2(a).
|  |  | (b) a table that references each file (workbook, document or other) provided, where each file listed in the table must be given a name in the form: [TNSP name] – Annual Order – [reporting period] – [title] – [public/confidential] | Please refer to Electranet - Annual Order 2024-25 - Data submission workbook - December 2024
4.2 |  | Policies and procedures
| 4.2.1 | The TNSP must provide its policies and procedures, encompassing: | (a) regulatory accounting principles and policies, (b) capitalisation policy, and (c) policy/procedures for the allocation of overheads, in accordance with the approved cost allocation method. | Please refer to ElectraNet Regulatory Accounting Policy and Principles file.
| 4.2.2 | The TNSP must identify any changes to the policies and procedures listed at 4.2.1 that occurred in the reporting period, and describe: | (a) the reason for the change (b) the impact of the change on the information being reported. | N/A, as there are no changes to the policies and procedures listed at 4.2.1
| 4.2.3 | If the policies and procedures required at 4.2.1 have previously been submitted to the AER, and have not been amended since that submission, the TNSP must report the previous submission date, and does not have to provide the policies and procedures again. |  | Refer to ElectraNet's Regulatory Accounting Policy and Principles document.
4.3 |  | Regulatory adjustments
| 4.3.1 | For regulatory adjustments reported in the data workbooks (Workbook 06 – Operating expenditure, Workbook 09 – Revenue and financial statements) the TNSP must provide information that reconciles and explains all adjustments between the prescribed transmission services included in audited financial statements and the regulatory accounts (prescribed transmission services), set out in a regulatory adjustment reconciliation report. |  | N/A, There are no adjustments on Workbook 06 – Operating expenditure
| 4.3.2 | For each regulatory adjustment recorded in the data workbooks (Workbook 06 – Operating expenditure, Workbook 09 – Revenue and financial statements) the regulatory adjustment reconciliation report must include: | (a) a detailed explanation for the underlying reason for the regulatory adjustment. (b) methodology and assumptions used to quantify the regulatory adjustment. (c) details of relevant debits and credits associated with the regulatory adjustment. | Please refer to Electranet - Annual Order 2024-25 - Basis of Preparation
| 4.3.3 | If a TNSP has previously provided the AER with a regulatory adjustments journal in response to annual reporting obligations in place for the 2022-23 reporting year, then the regulatory adjustment reconciliation report must continue to be in the form of a regulatory adjustments journal. |  | N/A. No adjustement reconciliation report was provided.
4.4 |  | Discretionary row descriptors
| 4.4.1 | TNSPs must keep discretionary row descriptors (inputs) used to meet the information requirements in the data workbooks at Appendix A the same in each reporting period. |  | Electranet kept the same discretionary row descriptors (inputs) used in each reporting period to meet the information requirements in the data workbooks
| 4.4.2 | If a TNSP has varied the row descriptors (inputs) compared to those used when reporting in the previous reporting period or regulatory year, the TNSP must provide: | (a) an explanation of the relationship between the current row descriptors, and those used in the previous annual submission (b) an explanation of why the change was made (c) supporting material (or references to supporting material) driving the change (including for example policies, guidelines, or accounting standards). | N/A
4.5 |  | Allocation of revenues and expenditures to service segments
| 4.5.1 | For each item of revenue or expenditure reported in the data workbooks (Workbook 06 – Operating expenditure, Workbook 09 – Revenue and financial statements) that is not directly attributable and is reported on a causal allocation basis from Audited financial statements to the service segments set out in the data workbooks provide: | (a) a description of the causal basis of allocation (b) the numeric quantity of the allocator (c) an explanation of why the allocator was selected. | Workbook 09 - N/A as no allocator is used to allocate revenue into the service segments set out in the data workbooks. Workbook 06 - Please refer to Electranet - Annual Order 2024-25 - Basis of Preparation.
| 4.5.2 | For each item of revenue or expenditure reported in the data workbooks (Workbook 06 – Operating expenditure, Workbook 09 – Revenue and financial statements) that is not directly attributable and is reported on a non-causal allocation basis from Audited financial statements to the service segments set out in the data workbooks provide: | (a) a description of the non-causal basis of allocation (b) the numeric quantity of the allocator (c) an explanation of why the allocator was preferred over other possible allocators (d) an explanation why no causal basis of allocation could be established (e) documents showing any approval previously granted by the AER to use the allocator. | Workbook 09 - N/A as no allocator is used to allocate revenue into the service segments set out in the data workbooks. Workbook 06 - Please refer to Electranet - Annual Order 2024-25 - Basis of Preparation.
4.6 |  | Material differences
| 4.6.1 | Identify each difference (where the difference is equal to or greater than ± 10 per cent) between the target performance measure specified in the service target performance incentive scheme and actual performance reported in the data workbooks. |  | Please refer to the following worksheet 4.6.1 beside, which contains the following: - Market impact component - Service component - System losses - Energy not supplied
| 4.6.2 | Identify each difference (where the difference is equal to or greater than ± 10 per cent) between the AER’s forecast operating expenditure by category and actual operating expenditure reported in Workbook 06 - Operating expenditure. |  | Please refer to the following worksheet 4.6.2 to 4.6.4 beside.
| 4.6.3 | Identify each difference (where the difference is equal to or greater than ± 10 per cent) between the AER’s forecast capital expenditure by purpose and actual capital expenditure by purpose reported in Workbook 07 - Capital expenditure. |  | Please refer to the following worksheet 4.6.2 to 4.6.4 beside.
| 4.6.4 | Explain the reasons for each difference identified in the response to sections 4.6.1, 4.6.2 and 4.6.3. |  | Please refer to the following worksheet 4.6.1, and 4.6.2 to 4.6.4 beside.
4.7 |  | Service performance information (information for compliance)
| 4.7.1 | The TNSP subject to the service target performance incentive scheme (STPIS) must report the following service performance information: | (a) The primary drivers of service performance in the relevant calendar year, including reasons for any significant changes in service performance from the previous calendar year. (b) The TNSP’s proposed service standards factor (s-factor) and financial incentive calculated in accordance with the transmission determination applying in current regulatory control period and the STPIS. The TNSP must report the value of the s-factor and financial incentive both before and after any proposed exclusions. (c) A list of the current criteria for any aspect of the TNSP’s STPIS parameters defined by the TNSP and subject to change during the current regulatory control period. | Please refer to the following worksheet 4.6.1 beside.
4.8 |  | Third party benefit transactions
4.8.1 |  | When the regulatory accounts record transactions associated with any subcontracting, purchase or other arrangements, that cause the TNSP, or any related party of the TNSP, to enjoy a beneficial interest in income, or other value, the TNSP must provide: | (a) a description of the arrangement (b) its underlying purpose (c) details of the counterparty (d) details of the third parties (e) the monetary value of such transactions that arose in the regulatory accounting period (f) the basis of charge for the transaction entered into by the TNSP (g) the basis of calculation of the corresponding benefit received by a TNSP or the related party (h) a summary of the associated accounting entries that have been recorded in the prescribed services segment. | N/A, as there are no third-party benefit transactions, please refer to the section 7.7 Inf Rel Part Trans on the Data Submission Workbook.
4.9 |  | Demand management innovation allowance mechanism
| 4.9.1 | Identify each demand management innovation allowance mechanism (DMIAM) eligible project for which the TNSP seeks approval. |  | There are no DMIAN projects for the reporting period.
| 4.9.2 | For each DMIAM eligible project identified in the response to section 4.9.1: | (a) explain how it complies with project criteria detailed at section 2.2.1 of the DMIAM; (b) submit a compliance report in accordance with section 2.3 of the DMIAM. | There are no DMIAN projects for the reporting period.
| 4.9.3 | Provide an overview of developments in relation to projects or programs completed in previous years of the current regulatory control period, and of any results to date. |  | There are no DMIAN projects for the reporting period.
| 4.9.4 | Provide any other required information as specified by the DMIAM. |  | N/A
4.1 |  | Tax standard asset lives
| 4.10.1 | Identify all tax standard asset lives applied to asset classes that differ from those contained in the AER approved Post Tax Revenue Model for the reporting period. |  | No changes to the tax standard asset lives applied to asset classes that differ to the AER approved Post Tax Revenue Model
| 4.10.2 | Explain the reasons for each difference identified in section 4.10.1 including reasons for any departure from the Australian Tax Office’s most recent determination of effective life. |  | n/a
4.11 |  | Tax reporting – immediate expensing
| 4.11.1 | List and explain the types of capital expenditure (such as refurbishment capital expenditure and capitalised overheads) associated with the immediate expensing of capital expenditure as reported in the data workbooks, if any. |  | Refurbishment capital expenditure is immediately expensed for tax purposes and is detailed in Data Workbook 07 - Capital Expenditure.
| 4.11.2 | State if, in the reporting period, the TNSP has changed and/or intends to change its tax policy on immediate expensing of capital expenditure, and explain the rationale for the change and impact of the change. |  | n/a - consistent with audited financial statements
4.12 |  | Regulatory investment test expenditure
| 4.12.1 | For each project where the TNSP has incurred expenditure during the reporting period relating to a project that has undergone a RIT-T in accordance with r.5.15A, 5.16 and 5.16A (as applicable) of the NER and the AER’s RIT-T application guidelines, provide the following details: | (a) the name of the RIT-T and the date on which the RIT-T process was concluded; and (b) whether the expenditure on the project is classified as augmentation expenditure or replacement expenditure. | Please refer to the following worksheet 4.12.1 beside.
4.13 |  | Related party information
| 4.13.1 | For each related party transaction reported in Workbook 09 – Revenue and financial statements, the TNSP must confirm the contract or arrangement requires the related party to provide all relevant information to enable the TNSP to meet its reporting obligations (including allocation or attribution of costs of that related party contract) under this Order. |  | N/A, as there are no third-party benefit transactions
4.14 |  | Compliance
| 4.14.1 | Describe the process the TNSP has in place to identify a negative change event under clause 6A.7.3(f) of the NER and the materiality threshold applied to these events. |  | Refer to ElectraNet's Regulatory Accounting Policy and Principles
4.15 |  | Reconciliation of expenditure
| 4.15.1 | The TNSP must identify all non-network operating expenditures items that have been reported against more than one operating expenditure category. The TNSP must specify the relevant categories and expenditure amounts, for each non-network expenditure item allocated to multiple categories and enable reconciliation to total non-network operating expenditure reported on a mutually exclusive/collectively exhaustive basis to meet the requirement for operating expenditure by purpose. |  | Please refer to Electranet - Annual Order 2024-25 - Basis of Preparation, which addresses the "Other Opex [balancing item]" which represents non-network costs that are duplicated in directly attributable Opex categories
4.16 |  | Benchmarking asset base
| 4.16.1 | If the TNSP wishes to report benchmarking asset base values in accordance with the Optional additional approach set out in Appendix A Data workbook instructions, Section 7.1.11 Optional additional approach, it must submit the economic benchmarking asset base tables prepared using the optional additional approach as a separate data submission, and provide a basis of preparation detailing the data estimation methodology. |  | N/A
4.17 |  | Taxable income adjustments
| 4.17.1 | The TNSP must provide in its basis of preparation, the methodology used to determine the permanent differences due to disallowed interest expenditure, and specify the interest expenditures, that the TNSP has assessed to be nondeductible. |  | Please refer to Electranet - Annual Order 2024-25 - Basis of Preparation
| 4.17.2 | The TNSP must provide in its basis of preparation, details of the prior year tax adjustments, including the reasons for the change (e.g. change in legislation, court judgment or Australian Tax Office correspondence where relevant). |  | N/A
| 4.17.3 | If the TNSP has reported tax losses carried forward in Workbook 09 - Revenue and financial statements, it must provide an explanation of the factors that have resulted in the carried forward tax losses. |  | N/A
| 4.17.4 | The TNSP must report any tax losses that have been used by TNSP during the regulatory year. The TNSP must provide supporting calculations for the tax losses used. |  | N/A
4.18 |  | Interest expense
| 4.18.1 | The TNSP must provide in its basis of preparation, in relation to its interest expenditure: | (a) a description and explanation of the methodology used to allocate the interest expenditure. This methodology should provide: i. the specific debt that has been allocated to the TNSP’s core regulated services; ii. the general debt that has been allocated TNSP’s core regulated services; iii. the method used to allocate the specific debt and general debt between the regulated and unregulated assets held at the group level and also to the core regulated services; and iv. the method used to allocate related party interest to the TNSP’s core regulated services, to the extent related party debt has been included in the specific or general debt allocations; and | Please refer to Electranet - Annual Order 2024-25 - Basis of Preparation
|  |  | (b) if available or applicable to the TNSP, details of the characteristics of the portfolio of debt being allocated to the TNSP, including: i. the value of drawn debt allocated to the TNSP’s core regulated services; ii. the portfolio-weighted average term of debt instruments giving rise to interest expense reported; and iii. any additional detail in its basis of preparation, that the TNSP would consider relevant in understanding the allocated interest expenditure. | Please refer to Electranet - Annual Order 2024-25 - Basis of Preparation
4.19 |  | Large projects
| 4.19.1 | For each large project reported in Workbook 07 – Capital expenditure the TNSP must report: | (a) the date of an AER determination to incorporate the expenditure forecast for the large project into the maximum allowed revenues for the TNSP (b) whether the project is a contingent project (as defined in the NER) (c) the expenditure forecast for the reporting year; the difference between forecast and actual expenditure; and drivers of the difference. | Part (a) projects 1 to 7. the AER determination was 28 April 2023. Project Energy Connect determination was May 2021 Project Northern Transmission Stage 1a (Early Works) determination on 20 June 2025 Part (b) Project Energy Connect and Project Northern Transmission are actionable ISP, therefore a contingent project. Part (c) Please refer to FY25 RIO Analytical Review DC06 DC07 DC09

## 4.6.1 MIC
Data category 05: Service performance
Market impact component |  |  | 4.6.1 Identify each difference (where the difference is equal to or greater than ± 10 per cent) between the target performance measure specified in the service target performance incentive scheme and actual performance reported in the data workbooks.
Identify the service target performance incentive scheme (STPIS) that applied in the reporting period |  | STPIS V5
|  | 2024-25 | Current RIN reference | 2024-25 Target | Material differences | 4.6 Material differences
Market impact parameter - calendar year | Units
|  | Planned outages without exclusions |  | Planned outages without exclusions | ∆ | Parameter <10% or >10%
January | Number of dispatch intervals | 14055 | Reset 7.9.4 | 17048 | -17.56% | No unplanned outage and Less binding data from AEMO direction (excluded)
February | Number of dispatch intervals | 15024 | Reset 7.9.4 | 13526 | 11.07% | More binding data from AEMO direction (excluded)
March | Number of dispatch intervals | 12798 | Reset 7.9.4 | 15626 | -18.1% | Less binding data from AEMO direction (excluded)
April | Number of dispatch intervals | 14705 | Reset 7.9.4 | 13210 | 11.32% | More binding data from AEMO direction (excluded)
May | Number of dispatch intervals | 9413 | Reset 7.9.4 | 17305 | -45.61% | Less planned outages
June | Number of dispatch intervals | 8269 | Reset 7.9.4 | 23027 | -64.09% | Less planned outages
July | Number of dispatch intervals | 12591 | Reset 7.9.4 | 16802 | -25.06% | Less binding data from AEMO direction (excluded)
August | Number of dispatch intervals | 19254 | Reset 7.9.4 | 13677 | 40.78% | More binding data from AEMO direction (excluded)
September | Number of dispatch intervals | 25742 | Reset 7.9.4 | 27510 | -6.427% | N/A
October | Number of dispatch intervals | 27324 | Reset 7.9.4 | 23823 | 14.7% | More binding data from AEMO direction (excluded)
November | Number of dispatch intervals | 19278 | Reset 7.9.4 | 15173 | 27.05% | More binding data from AEMO direction (excluded)
December | Number of dispatch intervals | 19197 | Reset 7.9.4 | 16047 | 19.63% | More binding data from AEMO direction (excluded)
|  | Planned outages with exclusions |  | Planned outages with exclusions | ∆ | Parameter <10% or >10%
January | Number of dispatch intervals | 0 | Reset 7.9.4 | 0 | #DIV/0! | N/A
February | Number of dispatch intervals | 268 | Reset 7.9.4 | 352 | -23.86% | less planned outages
March | Number of dispatch intervals | 415 | Reset 7.9.4 | 825 | -49.7% | less planned outages
April | Number of dispatch intervals | 494 | Reset 7.9.4 | 602 | -17.94% | less planned outages
May | Number of dispatch intervals | 1063 | Reset 7.9.4 | 1807 | -41.17% | less planned outages
June | Number of dispatch intervals | 1044 | Reset 7.9.4 | 4836 | -78.41% | less planned outages on Interconntector
July | Number of dispatch intervals | 2229 | Reset 7.9.4 | 1559 | 42.98% | more planned outages on Interconntector
August | Number of dispatch intervals | 2098 | Reset 7.9.4 | 3008 | -30.25% | less planned outages
September | Number of dispatch intervals | 554 | Reset 7.9.4 | 1502 | -63.12% | less planned outages
October | Number of dispatch intervals | 64 | Reset 7.9.4 | 442 | -85.52% | less planned outages
November | Number of dispatch intervals | 110 | Reset 7.9.4 | 1203 | -90.86% | less planned outages
December | Number of dispatch intervals | 0 | Reset 7.9.4 | 562 | -100% | less planned outages
|  | Unplanned outages without exclusions |  | Unplanned outages without exclusions | ∆ | Parameter <10% or >10%
January | Number of dispatch intervals | 0 | Reset 7.9.4 |  | N/A | There was no data from pervious years (New requirement)
February | Number of dispatch intervals | 0 | Reset 7.9.4
March | Number of dispatch intervals | 704 | Reset 7.9.4
April | Number of dispatch intervals | 3 | Reset 7.9.4
May | Number of dispatch intervals | 0 | Reset 7.9.4
June | Number of dispatch intervals | 0 | Reset 7.9.4
July | Number of dispatch intervals | 0 | Reset 7.9.4
August | Number of dispatch intervals | 0 | Reset 7.9.4
September | Number of dispatch intervals | 0 | Reset 7.9.4
October | Number of dispatch intervals | 165 | Reset 7.9.4
November | Number of dispatch intervals | 41 | Reset 7.9.4
December | Number of dispatch intervals | 0 | Reset 7.9.4
|  | Unplanned outages with exclusions |  | Unplanned outages with exclusions | ∆ | Parameter <10% or >10%
January | Number of dispatch intervals | 0 | Reset 7.9.4 | 853 | -100% | No unplanned outages
February | Number of dispatch intervals | 0 | Reset 7.9.4 | 484 | -100% | No unplanned outages
March | Number of dispatch intervals | 704 | Reset 7.9.4 | 381 | 84.78% | Unplanned outage on Robertstown - Tungkillo Line
April | Number of dispatch intervals | 3 | Reset 7.9.4 | 563 | -99.47% | less unplanned outages
May | Number of dispatch intervals | 0 | Reset 7.9.4 | 54 | -100% | No unplanned outages
June | Number of dispatch intervals | 0 | Reset 7.9.4 | 250 | -100% | No unplanned outages
July | Number of dispatch intervals | 0 | Reset 7.9.4 | 369 | -100% | No unplanned outages
August | Number of dispatch intervals | 0 | Reset 7.9.4 | 280 | -100% | No unplanned outages
September | Number of dispatch intervals | 0 | Reset 7.9.4 | 223 | -100% | No unplanned outages
October | Number of dispatch intervals | 165 | Reset 7.9.4 | 46 | 258.7% | Unplanned outage on Munno Para - Blyth West Line
November | Number of dispatch intervals | 41 | Reset 7.9.4 | 0 | #DIV/0! | Unplanned outage on Tailem Bend Cap 64
December | Number of dispatch intervals | 0 | Reset 7.9.4 | 11 | -100% | No unplanned outages
Market impact component |  | Performed |  | Target | ∆ | Parameter <10% or >10%
Market Impact Parameter | Number of dispatch intervals | 9252 | EB3.6 | 8202 | 12.8% | Reference all the MIC data details in "2024 AER MIC Data Template - V7 - 2024"

## 4.6.1 SC
Data category 05: Service performance
Service component performance
Identify the service target performance incentive scheme (STPIS) that applied in the reporting period |  |  | STPIS V5
Service component performance | Units |  | 2024-25 | Current RIN reference | 2024-25 Target | Material differences | 4.6 Material differences
Unplanned outages |  |  | Number of events without exclusions |  | Number of events without exclusions | ∆ | Parameter <10% or >10%
Lines fault outages | Number of events |  | 27 | EB3.6 | 11.4185 | 136.5% | Decreased due to less faults on lines
Transformer fault outages | Number of events |  | 25 | EB3.6 | 17.6114 | 41.95% | Decreased due to less faults on transformer
Reactive plant fault outages | Number of events |  | 11 | EB3.6 | 17.9565 | -38.74% | Overall faults on the equipments happened less in year 2024 contribute to overall better performance
Lines forced outages | Number of events |  | 10 | EB3.6 | 8.3851 | 19.26% | Increase line forced outage from the maintenace/defect rectification reason
Transformer forced outages | Number of events |  | 20 | EB3.6 | 8.0589 | 148.2% | Decreased due to less planned outage with <24 hours on transformers
Reactive plant forced outages | Number of events |  | 9 | EB3.6 | 13.7223 | -34.41% | Increase reactive plant forced outage from the maintenace purpose reason
Number of assets |  |  | Number of assets |  | Number of assets | ∆
Lines | Number of lines |  | 123 | EB3.6 | 119 | 3.361% | N/A
Transformers | Number of transformers |  | 136 | EB3.6 | 136 | 0% | N/A
Reactive plants | Number of reactive plant |  | 53 | EB3.6 | 50 | 6% | N/A
Parameter 1 - Unplanned outage circuit, transformer, reactive plant event rate |  |  | Parameter 1 - Rate |  | Parameter 1 - Rate | ∆
S1. Lines event rate – fault | % |  | 0.21951 | EB3.6 | 0.095954 | 128.8% | Explained above
S2. Transformer event rate – fault | % |  | 0.18382 | EB3.6 | 0.1295 | 41.95%
S3. Reactive plant event rate – fault | % |  | 0.20755 | EB3.6 | 0.35913 | -42.21%
S4. Lines event rate – forced | % |  | 0.081301 | EB3.6 | 0.070463 | 15.38%
S5. Transformer event rate – forced | % |  | 0.14706 | EB3.6 | 0.059257 | 148.2%
S6. Reactive plant event rate – forced | % |  | 0.16981 | EB3.6 | 0.27445 | -38.13%
Parameter 2 - Loss of supply event frequency |  |  | Loss of supply |  | Loss of supply | ∆
What is the 'x' threshold applied in the reporting year under the scheme identified above | System minutes |  | 0.05 | EB3.6 | 0.05 | 0% | N/A
What is the 'y' threshold applied in the reporting year under the scheme identified above | System minutes |  | 0.2 | EB3.6 | 0.2 | 0% | N/A
S7. Loss of supply events: Number of events greater than (X) system minutes per annum | Number of events |  | 4 | EB3.6 | 2.4 | 66.67% | Due to the significant events at Hummocks and Pimba. Details at 6003, 6061
S8. Loss of supply events: Number of events greater than (Y) system minutes per annum | Number of events |  | 4 | EB3.6 | 1.2 | 233.3%
Parameter 3 - Average outage duration |  |  | Loss of supply |  | Loss of supply | ∆
S9. Average outage duration | Minutes |  | 225.2667 | EB3.6 | 263.6648 | -14.56% | Increase due to the long duration events at Hummocks and Pimba (See event 6003,6061)
Parameter 4 - Proper operation of equipment |  | Performance with exclusions | Performance without exclusions |  | Performance without exclusions | ∆
S10. Failure of protection system | Number of events | 7 | 7 | EB3.6 | 8.6 | -18.6% | Less protection failure throughout the year
S11. Material failure of SCADA | Number of events | 0 | 0 | EB3.6 | 0.4 | -100% | No SCADA failure throughout the year
S12. Incorrect operational isolation of primary or secondary equipment | Number of events | 5 | 5 | EB3.6 | 7.6 | -34.21% | Less incorrect operational islation

## 4.6.1 System losses
Data category 05: Service performance
System losses
| Units | Financial Year | Current RIN reference | 2024-25 Target | Material differences | 4.6 Material differences
System losses |  |  |  | Number of events without exclusions | ∆ | Parameter <10% or >10%
System losses | % | 3.489% | EB3.6 | 2.9% | 20.31% | A new interconnector (Bundey - Buronga 330kV Line) has been commissioned enables more energy inflow/outflow which causes the increase on the system loss.

## 4.6.1 Energy not supplied
Data category 05: Service performance
Energy not supplied
Energy not supplied | Units | Calendar Year | Current RIN reference | 2024-25 Target | ∆ | 4.6 Material differences
Parameter <10% or >10%
Total energy not supplied | MWh | 716.1734 | EB Information request |  | N/A | There was no data from pervious years (New requirement)

## 4.6.2 4.6.3 4.6.4
CA RIN 2.1 Expenditure Summary - ADDITIONAL INFORMATION
4.6.2 Identify each difference (where the difference is equal to or greater than ± 10 per cent) between the AER’s forecast operating expenditure by category and actual operating expenditure reported in Workbook 06 - Operating expenditure.
The AER do not forecast at a category level - operating expenditure (opex) is forecast at a consolidated level in the AER's opex model. Therefore, comparison and commentary for the purposes of 4.6.4 is against the consolidated opex total.
DC06 - Operating expenditure ¦ Regulatory accounts
Opex by purpose
2.1.2 - Prescribed Transmission Service Opex
DC06 - Operating Expenditure | Units | Actual | AER Forecast | Movement | Material Movement | 4.6.4 Material Differences
Vegetation management | $ | 4292258.5069 |  | 4292258.5069 | n/a
Maintenance | $ | 49194346.77 |  | 49194346.77 | n/a
Non-network | $ | 28622432.9051 |  | 28622432.9051 | n/a
Network overheads | $ | 65164248.8312 |  | 65164248.8312 | n/a
Corporate overheads | $ | 52245912.0631 |  | 52245912.0631 | n/a
Other | $ | -59280983.4872 |  | -59280983.4872 | n/a
Total per RIO | $ | 140238215.589 | 138874332.7973 | 1363882.7917 | 0.9821% | The FY25 Opex is within 1% of the AER allowance as a deliberate strategy to spend within the allowance.
4.6.3 Identify each difference (where the difference is equal to or greater than ± 10 per cent) between the AER’s forecast capital expenditure by purpose and actual capital expenditure by purpose reported in Workbook 07 - Capital expenditure.
The AER forecast has been taken from the Final Determination Capex Model. While the AER Forecast includes proposals that have been be categorised by purpose for replacement, connection, augmentation and non-network expenditure categories, there is no such forecast for capitalised network overheads or corporate overheads. Proposals are forecasts based on level 4 estimates - inclusive of network & corporate overheads.
DC07 - Capital expenditure ¦ Capex by purpose
Total gross capex - as incurred
2.1.1 - PRESCRIBED TRANSMISSION SERVICES CAPEX (as incurred)
DC07 - Capital Expenditure | Units | Actual | AER Forecast | Movement | Material Movement | 4.6.4 Material Differences
Replacement | $ | 86451218 | 74418104.7615 | 12033113.2385 | 16.17% | Includes overheads, timing differences, new priority projects for emergency replacements not included in the reset, and price increases across materials, sub-contractors and labour exceeding CPI.
Connection | $ | 0 | 0 | 0 | 0%
Augmentation | $ | 31403104 | 21955824.4072 | 9447279.5928 | 43.03% | Includes overheads, timing differences (PEC), scope factors and price increases across materials, sub-contractors and labour exceeding CPI.
Other (Non-network - ICT, fleet, property, security, etc) | $ | 52216222 | 82825607.1977 | -30609385.1977 | -36.96% | Includes overheads, timing differences as well as reprioritisation of the portfolio, to accommodate replacement & augmentation expenditure.
Capitalised Network Overheads | $ | 15083438.2037 | 0 | 15083438.2037 | n/a
Capitalised Corporate Overheads | $ | 4955406 | 0 | 4955406 | n/a
Total gross capex | $ | 190109388.2037 | 179199536.3665 | 10909851.8372 | 6.088% | ElectraNet is experiencing pressure to remain within the AER forecast as detailed above. ElectraNet is implementing strategies to manage to the overall 5 year analysis by deferring capital works into the next reset where asset risk is maintained.
=

## 4.19.1 Large projects
|  | ANNUAL INFORMATION ORDER |  |  | #25C6FF |  |  |  |  | Protected (SOCI)
|  | ElectraNet |  |  | #FFCCCC |  |  |  |  | Confidential
|  | REPORTING STATEMENT: 2024-25 |  |  | 12.5% Grey |  |  |  |  | Amended
|  | NEW DATA 7.5 - LARGE PROJECTS |  |  | #FFCCCC & 12.5% Grey |  |  |  |  | Amended Confidential
DC06 - Operating expenditure ¦ large projects
Large Projects
7.5.1 - LARGE PROJECT OPERATING EXPENDITURE
[5 empty] | 4.19a) the date of an AER determination to incorporate the expenditure forecast for the large project into the MAR | 4.19b) whether the project is a contingent project | 4.19 c
|  | PROJECT NAME/ID | Units | REGULATORY ACCOUNTS (PTS) |  |  | c.1) the expenditure forecast for the reporting year | c.2) the difference between forecast and actual expenditure | c.3)drivers of the difference
|  | <TNSP descriptor> | $ | 0
DC07 - Capital expenditure ¦ Capex by purpose
Large Projects
7.5.2 - LARGE PROJECT CAPITAL EXPENDITURE
|  |  |  | REGULATORY ACCOUNTS (PTS) | 4.19a) the date of an AER determination to incorporate the expenditure forecast for the large project into the MAR | 4.19b) whether the project is a contingent project | 4.19 c
|  | PROJECT NAME/ID | Units | Direct expenditure |  |  | c.1) the expenditure forecast for the reporting year | c.2) the difference between forecast and actual expenditure | c.3) drivers of the difference
| EC.14046 |  | $ | 8088672.94 | 2023-04-28 | - | 2640362.6079 | -5448310.3321
| EC.15239 |  | $ | 199402.13 | 2023-04-28 | - | 3623591.5669 | 3424189.4369
| EC.15233 |  | $ | 944712.56 | 2023-04-28 | - | 3764597.5529 | 2819884.9929
| EC.14031 |  | $ | 7622630.46 | 2023-04-28 | - | 0 | -7622630.46
| EC.14081 |  | $ | 831449.05 | 2023-04-28 | - | 0 | -831449.05
| EC.15568 |  | $ | 10856282.15 | 2023-04-28 | - | 479289.6408 | -10376992.5092
| EC.11645 |  | $ | 23698360.85 | 2023-04-28 | - | 19113098.041 | -4585262.809
| EC.14171 |  | $ | 30546662.42 | 2021-05-01 | Contingent | 21413284.8098 | -9133377.6102
| EC.15424 |  | $ | 5861608.69 | 2025-06-20 | Contingent | 13438432 | 7576823.31
|  |  | $ | 0
If more rows needed, insert above this row |  |  | $
$
| CHECK SUM | N/A

## 4.12.1
RIT-Ts
Name of RIT-T | Date PACR published | Augmentation or Replacement
Managing the Risk of Protection Relay Failure | 2019-04-12 | Repex
Managing the Risk of Instrument Transformer Failure | 2020-07-01 | Repex
Managing the Risk of Isolator Failure | 15/11/2019 | Repex
Managing the Risk of AC Board Failure | 14/01/2020 | Repex
Managing the Risk of Transformer Bushing Failure | 2018-11-12 | Repex
Managing the Risk of Line Conductor Failure | 2023-01-06 | Repex
Managing the Risk of South East SVC Control System Failure | 2024-04-04 | Repex
Managing the Risk of Circuit Breaker Failures 2024-2028 | 25/10/2024 | Repex
Managing the Risk of Instrument Transformer Failures 2024-2028 | 25/10/2024 | Repex
Managing the Risk of Protection Relay Failures 2024-2028 | 25/10/2024 | Repex
Managing the Risk of Isolator Failures 2024-2028 | 25/10/2024 | Repex
Managing the Risk of Line Insulation System Failures 2024-2028 | 25/10/2024 | Repex
Managing the Risk of Hummock to Ardrossan West 132 kV Line Failure | 2024-05-12 | Repex
Managing the Risk of Transformer Bushing Failures 2024-2028 | 25/10/2024 | Repex
Managing the Risk of 275 kV Current Transformer Failures 2024-2028 | 16/01/2025 | Repex
South Australia – Victoria (Heywood) Interconnector Upgrade | 2025-01-13 | Augex
SA Transmission Network Voltage Control | 2025-05-24 | Augex
SA Energy Transformation RIT-T | 13/02/2019 | Augex
Eyre Peninsula Electricity Supply Options | 18/10/2018 | Augex
Ensuring Reliable Supply for Adelaide’s Eastern Suburbs | 22/12/2022 | Repex
Spencer Gulf Emergency Bypass Preparation | RIT-T in progress | Repex
Meeting System Strength Requirements in SA | RIT-T in progress | Augex
Northern Transmission Project (NTx) | RIT-T in progress | Augex
Not published | RIT-T in progress | Augex
Eyre Peninsula Upgrade | RIT-T in progress | Augex