## Introduction
Electricity DNSP
Export services network performance data
Introduction
This workbook contains export services network performance data provided to the AER by the electricity distribution network service providers (DNSPs) regulated by the AER.
Sources
Data from 2021 to 2024 is primarily sourced from responses to information request, with data for 2025 sourced from the Annual Information Order (AIO) responses. Some data from 2021 to 2024 is also sourced from Regulatory Information Notices (RINs). Data sources are listed in each of the worksheets. The data covers the regulatory years from 2021 to 2025. It is reported on an end of year basis. Beginning in 2021, Victorian DNSPs transitioned to reporting on a financial year basis. From that point onward, year labels reflect the financial year ending 30 June (e.g. 2022 refers to the year ending 30 June 2022). All other DNSPs report on a financial year basis, and for these businesses the year label, e.g. 2023 refers to data collected for the financial year ending 30 June 2023. All financial values have been calculated to June 2025 dollars. A "-" symbol denotes where a DNSP did not submit data (e.g. due to lack of availability).
VERSION RECORD
Version | Publication date | Data range/updates
3 | July 2026 | Financial years | 2021 to 2025
2 | December 2024 | Financial years | 2021 to 2024
1 | January 2024 | Financial years | 2021 to 2023

## Contents
Electricity DNSP
Export services network performance data
Contents
1. Export customers
2. Smart meters
3. Feeder classification
4. Export capacity
5. Battery penetration
6. Export volume
7. Static export limits
8. Duration of export access
9. Export limits
10. Overvoltage
11. Inverter standards
12. Time to provide an offer
13. Expenditure

## 1. Export customers
Export service customers
Export service customers represents the number of customers that receive export services from the distribution network
Export service customer numbers
|  | Customer numbers (No.) |  |  |  |  | Export service customers (No.) |  |  |  |  | Customers using export services (%)
| Jurisdiction | 2021 | 2022 | 2023 | 2024 | 2025 | 2021 | 2022 | 2023 | 2024 | 2025 | 2021 | 2022 | 2023 | 2024 | 2025
Evoenergy | ACT | 212505 | 216948 | 221429 | 225475 | 219583.5 | 33210 | 39741 | 47538 | 53550 | 57637 | 15.63% | 18.32% | 21.47% | 23.75% | 26.25%
Ausgrid | NSW | 1774204 | 1783052 | 1792704 | 1801396 | 1803027.5 | 181815.613 | 207226.9357 | 235431 | 262919 | 279170 | 10.25% | 11.62% | 13.13% | 14.6% | 15.48%
Endeavour Energy | NSW | 1067349 | 1082918.5 | 1099873.08 | 1112797 | 1119942 | 60010 | 236293 | 262218 | 297059 | 322718 | 5.622% | 21.82% | 23.84% | 26.69% | 28.82%
Essential Energy | NSW | 935178.5 | 945392.5 | 948224.5 | 956776 | 943398.5 | 228616 | 246407 | 258455 | 292754 | 307208 | 24.45% | 26.06% | 27.26% | 30.6% | 32.56%
Energex | QLD | 1535400 | 1569750 | 1602119 | 1618370 | 1608126 | 620036 | 657184 | 687258.6892 | 695350 | 698428 | 40.38% | 41.87% | 42.9% | 42.97% | 43.43%
Ergon Energy | QLD | 767583 | 776533 | 786523 | 792127 | 790334.5 | 213958 | 231084 | 248747 | 265375 | 276741 | 27.87% | 29.76% | 31.63% | 33.5% | 35.02%
SA Power Networks | SA | 920841 | 928729 | 936660 | 945709 | 952061.5 | 290342 | 315563 | 347018 | 364012 | 392396 | 31.53% | 33.98% | 37.05% | 38.49% | 41.22%
TasNetworks | TAS | 297656 | 301063.5 | 304340 | 307118 | 309569 | 37556 | 40888 | 45024 | 47964 | 52290 | 12.62% | 13.58% | 14.79% | 15.62% | 16.89%
AusNet Services | VIC | 784245.5 | 796623.5 | 810580 | 823454.5 | 837047 | 169687 | 190147 | 208266 | 228122 | 242182 | 21.64% | 23.87% | 25.69% | 27.7% | 28.93%
CitiPower | VIC | 346855 | 348303 | 349689 | 350648 | 338877.5 | 17052 | 18956 | 21052 | 22457 | 23697 | 4.916% | 5.442% | 6.02% | 6.404% | 6.993%
Jemena | VIC | 369331.5 | 374388 | 378889 | 383818 | 389181.5 | 51157 | 57105 | 62923 | 67493 | 72840 | 13.85% | 15.25% | 16.61% | 17.58% | 18.72%
Powercor | VIC | 877935 | 902215 | 920608 | 936897 | 929138 | 178557 | 199653 | 218917 | 235176 | 249363 | 20.34% | 22.13% | 23.78% | 25.1% | 26.84%
United Energy | VIC | 705367 | 710296 | 715652 | 717973 | 718924 | 97172 | 107148 | 118804 | 129481 | 137486 | 13.78% | 15.08% | 16.6% | 18.03% | 19.12%
Power and Water Corporation | NT | 83236 | 84065 | 85906 | 86559 | 84569 | 18512 | 19167 | 18136 | 18596 | 20591 | 22.24% | 22.8% | 21.11% | 21.48% | 24.35%
All DNSPs |  | 10677686.5 | 10820277 | 10953196.58 | 11059117.5 | 11043779.5 | 2197680.613 | 2566562.9357 | 2779787.6892 | 2980308 | 3132747 | 20.58% | 23.72% | 25.38% | 26.95% | 28.37%
Source: | bar: Customer numbers (No.) 2021 to Customers using export services (%) 2021
Customer numbers sourced from Economic Benchmarking RIN responses (2021 to 2024) and AIOs (2025) Export service customer numbers sourced from DNSP responses to the AER's information requests for the Export services network performance report (2021 to 2024) and AIOs (2025). | bar: Customer numbers (No.) 2021 to Customers using export services (%) 2021

## 2. Smart meters
Export service customers with smart meters
Export service customers with smart meter represents the number of customers that receive export services from the distribution network who have a smart meter installed.
Export service customers with smart meter
|  | Export service customers with smart meter (No.) |  |  |  |  | Export service customers with smart meters (%)
DNSP | Jurisdiction | 2021 | 2022 | 2023 | 2024 | 2025 | 2021 | 2022 | 2023 | 2024 | 2025
Evoenergy | ACT | 19886 | 26296 | 33950 | 40968 | 46056 | 59.88% | 66.17% | 71.42% | 76.5% | 79.91%
Ausgrid | NSW | 90907.8065 | 103613.4678 | 182067 | 215641 | 238435 | 50% | 50% | 77.33% | 82.02% | 85.41%
Endeavour Energy | NSW | 0 | 176262 | 202172 | 258273 | 292102 | 0% | 74.59% | 77.1% | 86.94% | 90.51%
Essential Energy | NSW | 128338 | 158823 | 173136 | 213987 | 247975 | 56.14% | 64.46% | 66.99% | 73.09% | 80.72%
Energex | QLD | 187831 | 243301 | 305552.6354 | 388108 | 462869 | 30.29% | 37.02% | 44.46% | 55.81% | 66.27%
Ergon Energy | QLD | 61295 | 92678 | 126225 | 161196 | 219382 | 28.65% | 40.11% | 50.74% | 60.74% | 79.27%
SA Power Networks | SA | 141025 | 162957 | 193587 | 234386 | 271817 | 48.57% | 51.64% | 55.79% | 64.39% | 69.27%
TasNetworks | TAS | 18329 | 24733 | 33648 | 43394 | 50218 | 48.8% | 60.49% | 74.73% | 90.47% | 96.04%
AusNet Services | VIC | 169687 | 190147 | 208266 | 226744 | 240654 | 100% | 100% | 100% | 99.4% | 99.37%
CitiPower | VIC | 16919 | 18635 | 20947 | 22392 | 23620 | 99.22% | 98.31% | 99.5% | 99.71% | 99.68%
Jemena | VIC | 51157 | 57105 | 62923 | 67493 | 72840 | 100% | 100% | 100% | 100% | 100%
Powercor | VIC | 178349 | 198907 | 218690 | 234984 | 249146 | 99.88% | 99.63% | 99.9% | 99.92% | 99.91%
United Energy | VIC | 91989 | 102470 | 114903 | 129315 | 137350 | 94.67% | 95.63% | 96.72% | 99.87% | 99.9%
Power and Water Corporation | NT | 18512 | 19167 | 18136 | 18596 | 20591 | 100% | 100% | 100% | 100% | 100%
All DNSPs |  | 1174224.8065 | 1575094.4678 | 1894202.6354 | 2255477 | 2573055 | 53.43% | 61.37% | 68.14% | 75.68% | 82.13%
Source:
Customer numbers sourced from Economic Benchmarking RIN responses (2021 to 2024) and AIOs (2025) Export customers with smart meters sourced from DNSP responses to the AER's information requests for the Export services network performance report (2021 to 2024) and AIOs (2025).

## 3. Feeder classification
Export customers by feeder classification
Export service customers by feeder classification represents the proportion of export service customers on each feeder classification.
Proportion of export service customers by feeder classification - 2025
Jurisdiction | CBD | Urban | Rural | Overall
ACT | 0 | 27.87% | 18.52% | 26.16%
NSW | 0.3724% | 18.26% | 32.54% | 23.43%
Queensland | 0.6253% | 36.96% | 45.19% | 40.45%
South Australia | 5.652% | 41.18% | 42.45% | 41.3%
Tasmania | 0% | 17.9% | 15.42% | 16.83%
Victoria | 0.01442 | 19.86% | 28.45% | 22.44%
Northern Territory | 0.7452% | 8.67% | 36.61% | 24.93%
All DNSPs | 1.349% | 24.82% | 34.87% | 28.25%
Source:
Customer number on each feeder classification sourced from Economic Benchmarking RIN responses (2021 to 2024) and AIOs (2025) Export customers on each feeder classification sourced from DNSP responses to the AER's information requests for the Export services network performance report (2021 to 2024) and AIOs (2025).

## 4. Export capacity
Export capacity
Export capacity is the sum of the export capacity of export service customer's batteries and solar PV.
|  | Export capacity of export service customers with batteries only |  |  |  |  | Export capacity of export service customers with solar PV and battery |  |  |  |  | Export capacity of export service customers with solar PV only
kVA | Jurisdiction | 2021 | 2022 | 2023 | 2024 | 2025 | 2021 | 2022 | 2023 | 2024 | 2025 | 2021 | 2022 | 2023 | 2024 | 2025
Evoenergy | ACT | 0 | 0 | 2887 | 2911.67 | 9791.67 | 12237.01 | 31571.47 | 39106 | 44162.517 | 54790.277 | 198623.98 | 238612.32 | 298692 | 338952.074 | 365304.95
Ausgrid | NSW | 70.6873 | 177.4736 | 114.01 | 170.43 | 5192.67 | 53674.3392 | 66811.3826 | 105776.67 | 159401.33 | 244658.59 | 991819.0139 | 1235447.4984 | 1403220.13 | 1633928.6 | 1933458.91
Endeavour Energy | NSW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 127295.38 | 120853 | 1064699.568 | 1268420.858 | 1493267 | 1893830.19 | 2302454
Essential Energy | NSW | 328.9 | 560.9 | 8380.62 | 2671.48 | 3306 | 61502.4899 | 129550.2336 | 112278.303 | 297205.876 | 392561 | 1317634.2515 | 1505663.9863 | 1495024.7271 | 1952400.5676 | 2065151
Energex | QLD | 67.19 | 169.75 | 274 | 349 | 782 | 39399.86 | 53696.21 | 81566 | 116212 | 167422 | 2780764.63 | 3065738.18 | 3311031.78 | 3476478 | 3586068
Ergon Energy | QLD | 5 | 24.6 | 50 | 45 | 50 | 19441.07 | 24580.53 | 33653 | 42775 | 65295 | 1094564.99 | 1205892.24 | 1316804.82 | 1432188 | 1538379
SA Power Networks | SA | 25 | 3430.21 | 508 | 22984.27 | 35241 | 181461.48 | 287230.94 | 351262 | 466758.81 | 911003 | 1391169.49 | 1651186.06 | 1894326 | 2032365 | 2136757
TasNetworks | TAS | 110 | 141 | 146 | 136.825 | 157.2 | 5841 | 8353 | 12714 | 14930.143 | 20928.2 | 175514 | 203120 | 240293 | 275348.995 | 311486.26
AusNet Services | VIC | 544 | 1967 | 3633.17 | 6864.705 | 8758.835 | 9262 | 16450 | 20138.769 | 26416.669 | 29186.339 | 777472 | 883116 | 993766.648 | 1112735.112 | 1206175.492
CitiPower | VIC | 20 | 25 | 50 | 85 | 95 | 715.26 | 1577.15 | 3202.926 | 4244.24 | 5732 | 77110.352 | 90092.779 | 103610.472 | 116786.175 | 128402
Jemena | VIC | 268.63 | 373.2 | 506.189 | 622.189 | 964.189 | 2872.974 | 5308.372 | 8368.004 | 12422.228 | 16385.544 | 203610.15 | 280181.043 | 323288.767 | 357906.375 | 399559.508
Powercor | VIC | 49.2 | 107.73 | 575.659 | 648.74 | 679 | 4970.26 | 22387.974 | 34081.536 | 29384 | 39064 | 1005609.233 | 1146804.064 | 1312717.442 | 1394452 | 1506728
United Energy | VIC | 91 | 99 | 175.642 | 830 | 828 | 5998 | 10901 | 17163.971 | 26809 | 36353 | 453208 | 544029 | 630085.746 | 721673 | 831374
Power and Water Corporation | NT | 0 | 5 | 0 | 0 | 0 | 302 | 975 | 3428.3 | 5341.466 | 5968.699 | 90606.867 | 99777.467 | 91687.257 | 92982.5042 | 188167.5
All DNSPs |  | 1579.6073 | 7080.8636 | 17300.29 | 38319.309 | 65845.564 | 397677.743 | 659393.2622 | 822739.479 | 1373358.659 | 2110200.649 | 11622406.5254 | 13418081.4957 | 14907815.7891 | 16832026.5929 | 18499465.62
|  | Total capacity of export service customers |  |  |  |  | Average export capacity per export service customer
kVA | Jurisdiction | 2021 | 2022 | 2023 | 2024 | 2025 | 2021 | 2022 | 2023 | 2024 | 2025
Evoenergy | ACT | 210860.99 | 270183.79 | 340685 | 386026.261 | 429886.897 | 6.3493 | 6.7986 | 7.1666 | 7.2087 | 7.4585
Ausgrid | NSW | 1045564.0404 | 1302436.3546 | 1509110.81 | 1793500.36 | 2183310.17 | 5.7507 | 6.2851 | 6.41 | 6.8215 | 7.8207
Endeavour Energy | NSW | 1064699.568 | 1268420.858 | 1493267 | 2021125.57 | 2423307 | 17.742 | 5.368 | 5.6948 | 6.8038 | 7.5091
Essential Energy | NSW | 1379465.6413 | 1635775.12 | 1615683.6501 | 2252277.9237 | 2461018 | 6.034 | 6.6385 | 6.2513 | 7.6934 | 8.0109
Energex | QLD | 2820231.68 | 3119604.14 | 3392871.78 | 3593039 | 3754272 | 4.5485 | 4.7469 | 4.9368 | 5.1672 | 5.3753
Ergon Energy | QLD | 1114011.06 | 1230497.37 | 1350507.82 | 1475008 | 1603724 | 5.2067 | 5.3249 | 5.4292 | 5.5582 | 5.795
SA Power Networks | SA | 1572655.97 | 1941847.21 | 2246096 | 2522108.08 | 3083001 | 5.4166 | 6.1536 | 6.4726 | 6.9286 | 7.8569
TasNetworks | TAS | 181465 | 211614 | 253153 | 290415.963 | 332571.66 | 4.8319 | 5.1755 | 5.6226 | 6.0549 | 6.3601
AusNet Services | VIC | 787278 | 901533 | 1017538.587 | 1146016.486 | 1244120.666 | 4.6396 | 4.7412 | 4.8858 | 5.0237 | 5.1371
CitiPower | VIC | 77845.612 | 91694.929 | 106863.398 | 121115.415 | 134229 | 4.5652 | 4.8373 | 5.0762 | 5.3932 | 5.6644
Jemena | VIC | 206751.754 | 285862.615 | 332162.96 | 370950.792 | 416909.241 | 4.0415 | 5.0059 | 5.2789 | 5.4961 | 5.7236
Powercor | VIC | 1010628.693 | 1169299.768 | 1347374.637 | 1424484.74 | 1546471 | 5.66 | 5.8567 | 6.1547 | 6.0571 | 6.2017
United Energy | VIC | 459297 | 555029 | 647425.359 | 749312 | 868555 | 4.7266 | 5.18 | 5.4495 | 5.787 | 6.3174
Power and Water Corporation | NT | 90908.867 | 100757.467 | 95115.557 | 98323.9702 | 194136.199 | 4.9108 | 5.2568 | 5.2446 | 5.2874 | 9.4282
All DNSPs |  | 12021663.8757 | 14084555.6216 | 15747855.5581 | 18243704.5609 | 20675511.833 | 5.4702 | 5.4877 | 5.6651 | 6.1214 | 6.5998
Source:
DNSP responses to the AER's information requests for the Export services network performance report (2021 to 2024) and AIOs (2025).

## 5. Battery penetration
Battery penetration
Battery penetration is the proportion of export service customers with a battery.
|  | Export service customers with batteries only |  |  |  |  | Export service customers with both solar PV and batteries |  |  |  |  | Export service customers with solar PV only |  |  |  |  | Proportion of export service customers with a battery (%)
No | Jurisdiction | 2021 | 2022 | 2023 | 2024 | 2025 | 2021 | 2022 | 2023 | 2024 | 2025 | 2021 | 2022 | 2023 | 2024 | 2025 | 2021 | 2022 | 2023 | 2024 | 2025
Evoenergy | ACT | 0 | 0 | 11 | 13 | 12 | 1925 | 3648 | 5301 | 6290 | 7649 | 31285 | 36093 | 42225 | 47246 | 49975 | 5.796% | 9.179% | 11.17% | 11.77% | 13.29%
Ausgrid | NSW | 9.6788 | 22.7424 | 18 | 31 | 250 | 7045.066 | 8458.1157 | 11155 | 15908 | 22663 | 174760.8682 | 198746.0776 | 224153 | 246859 | 256070 | 3.88% | 4.093% | 4.746% | 6.062% | 8.208%
Endeavour Energy | NSW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16811 | 14576 | 208622 | 236293 | 262219 | 280248 | 308142 | 0% | 0% | 0% | 5.659% | 4.517%
Essential Energy | NSW | 46 | 89 | 608 | 113 | 228 | 4297 | 5705 | 7197 | 12559 | 19905 | 224207 | 240551 | 250592 | 280010 | 287006 | 1.9% | 2.351% | 3.02% | 4.329% | 6.554%
Energex | QLD | 14 | 31 | 49 | 69 | 138 | 5050 | 7040 | 11137 | 15765 | 22453 | 614499 | 649637 | 676066 | 679406 | 675586 | 0.8167% | 1.076% | 1.628% | 2.277% | 3.235%
Ergon Energy | QLD | 1 | 5 | 11 | 10 | 11 | 3436 | 4175 | 5314 | 6697 | 9554 | 210488 | 226871 | 243424 | 258637 | 267024 | 1.606% | 1.809% | 2.141% | 2.527% | 3.456%
SA Power Networks | SA | 4 | 68 | 98 | 1024 | 2785 | 18787 | 24133 | 31887 | 38325 | 56100 | 271551 | 291362 | 314872 | 324316 | 333450 | 6.472% | 7.669% | 9.217% | 10.81% | 15.01%
TasNetworks | TAS | 17 | 20 | 21 | 20 | 23 | 770 | 1037 | 1588 | 1916 | 2579 | 30823 | 34374 | 39038 | 47787 | 51349 | 2.096% | 2.585% | 3.574% | 4.036% | 4.976%
AusNet Services | VIC | 587 | 1025 | 1429 | 2155 | 2439 | 1398 | 2570 | 3123 | 4039 | 4401 | 167702 | 186552 | 203714 | 221928 | 235342 | 1.17% | 1.891% | 2.186% | 2.715% | 2.824%
CitiPower | VIC | 5 | 6 | 10 | 17 | 19 | 129 | 279 | 487 | 701 | 911 | 16918 | 18671 | 20555 | 21739 | 22767 | 0.7858% | 1.503% | 2.361% | 3.197% | 3.925%
Jemena | VIC | 59 | 73 | 97 | 116 | 164 | 381 | 642 | 1002 | 1287 | 1784 | 50702 | 56375 | 61809 | 66063 | 70880 | 0.8601% | 1.252% | 1.747% | 2.079% | 2.674%
Powercor | VIC | 18 | 45 | 122 | 127 | 135 | 1027 | 2429 | 3771 | 5004 | 6497 | 177512 | 197179 | 215024 | 230045 | 242731 | 0.5852% | 1.239% | 1.778% | 2.182% | 2.66%
United Energy | VIC | 16 | 18 | 35 | 128 | 142 | 772 | 1504 | 2512 | 3231 | 4178 | 96418 | 105670 | 116458 | 126122 | 133166 | 0.8109% | 1.42% | 2.144% | 2.594% | 3.142%
Power and Water Corporation | NT | 2 | 5 | 5 | 4 | 727 | 106 | 198 | 521 | 792 | 0 | 18404 | 18964 | 17610 | 17800 | 19871 | 0.5834% | 1.059% | 2.9% | 4.28% | 3.531%
All DNSPs |  | 778.6788 | 1407.7424 | 2514 | 3827 | 7073 | 45123.066 | 61818.1157 | 84995 | 129325 | 173250 | 2293891.8682 | 2497338.0776 | 2687759 | 2848206 | 2953359 | 2.089% | 2.463% | 3.148% | 4.468% | 5.756%
Source: | bar: Export service customers with batteries only 2021 to Export service customers with solar PV only 2021
DNSP responses to the AER's information requests for the Export services network performance report (2021 to 2024) and AIOs (2025). | bar: Export service customers with batteries only 2021 to Export service customers with solar PV only 2021

## 6. Export volume
Export volume from customers with smart meters
Export volumes from customers with smart meters is the net metered volumes of energy exported from export service customers with a smart meter.
|  | Net metered volume of energy exported |  |  |  |  | Total energy delivered |  |  |  |  | Export volume as a proportion of total energy delivered (%)
MWh | Jurisdiction | 2021 | 2022 | 2023 | 2024 | 2025 | 2021 | 2022 | 2023 | 2024 | 2025 | 2021 | 2022 | 2023 | 2024 | 2025
Evoenergy | ACT | 156093.8263 | 177029.4374 | 252597 | 334365 | 308757 | 2851000 | 2897000 | 2981000 | 2977000 | 3056322 | 5.475% | 6.111% | 8.474% | 11.23% | 10.1%
Ausgrid | NSW | 851555.4025 | 1021194 | 1250885.2222 | 1404674.6251 | 1613872 | 24456000 | 24234000 | 24566000 | 24431000 | 24302351.096 | 3.482% | 4.214% | 5.092% | 5.75% | 6.641%
Endeavour Energy | NSW | 591119.253 | 829086.5112 | 1337549 | 1612333.0397 | 1693384 | 16716870.0933 | 16711340.9362 | 16882625.6107 | 18305717.4438 | 18051879.033 | 3.536% | 4.961% | 7.923% | 8.808% | 9.381%
Essential Energy | NSW | 868460 | 990679 | 1230506.5344 | 1422818.7663 | 1375932 | 12440000 | 12452000 | 12645510 | 12697544 | 12953478.13 | 6.981% | 7.956% | 9.731% | 11.21% | 10.62%
Energex | QLD | 926248 | 1288388 | 1704550.6753 | 2120829 | 2495802 | 21206000 | 21294590 | 21715863.53 | 22364260 | 22647673.426 | 4.368% | 6.05% | 7.849% | 9.483% | 11.02%
Ergon Energy | QLD | 333057 | 531776 | 716259.1377 | 930257 | 1263440 | 13477000 | 13780000 | 13868000 | 13926400 | 14025259 | 2.471% | 3.859% | 5.165% | 6.68% | 9.008%
SA Power Networks | SA | 749805.7923 | 1399519.2513 | 1581396.2008 | 2014608.1672 | 2765197.4 | 9666184.0872 | 9774400.7556 | 9858330 | 9660790 | 9962750.58 | 7.757% | 14.32% | 16.04% | 20.85% | 27.76%
TasNetworks | TAS | 210467.2974 | 218983 | 228025.99 | 301684.7677 | 351734.085 | 4482635.5598 | 4580844.3045 | 4630502.2556 | 4565693.6538 | 4608009.1143 | 4.695% | 4.78% | 4.924% | 6.608% | 7.633%
AusNet Services | VIC | 522075 | 1261456 | 1400134.0168 | 1437942.9835 | 1634117.1892 | 7465382.5387 | 7588215.9459 | 7622741.2658 | 7599333.9385 | 7808065.7216 | 6.993% | 16.62% | 18.37% | 18.92% | 20.93%
CitiPower | VIC | 55733 | 57104 | 60311.2465 | 73772.31 | 87618 | 5124000 | 5252000 | 5420070 | 5458670 | 5575108.25 | 1.088% | 1.087% | 1.113% | 1.351% | 1.572%
Jemena | VIC | 167959.9699 | 211420.5277 | 228680.1451 | 278640.7612 | 318205.8382 | 4108524.9033 | 4256241.155 | 4373947.2182 | 4321377.8431 | 4597838.3701 | 4.088% | 4.967% | 5.228% | 6.448% | 6.921%
Powercor | VIC | 971606 | 1197035 | 1332983.429 | 1526173.09 | 1698677 | 10776000 | 10963000 | 11026270 | 11204390 | 11769037.39 | 9.016% | 10.92% | 12.09% | 13.62% | 14.43%
United Energy | VIC | 386180 | 457724 | 456897.1078 | 514362 | 679627 | 7487000 | 7592000 | 7608000 | 7507100 | 7615629 | 5.158% | 6.029% | 6.005% | 6.852% | 8.924%
Power and Water Corporation | NT | 30966.4304 | 31856.9955 | 45820 | 48525.1597 | 52190 | 1645930 | 1727690 | 1647950 | 1689960 | 1798706 | 1.881% | 1.844% | 2.78% | 2.871% | 2.902%
All DNSPs |  | 6821326.9718 | 9673251.7231 | 11826595.7055 | 14020986.6704 | 16338553.5124 | 141902527.1822 | 143103323.0972 | 144846809.8803 | 146709236.8791 | 148772107.111 | 4.807% | 6.76% | 8.165% | 9.557% | 10.98%
Source: | bar: Net metered volume of energy exported 2021 to Total energy delivered 2025
Total energy delivered sourced from Economic Benchmarking RIN responses (2021 to 2024) and AIOs (2025) Net metered volume of energy exported sourced from DNSP responses to the AER's information requests for the Export services network performance report (2021 to 2024) and AIOs (2025). | bar: Net metered volume of energy exported 2021 to Total energy delivered 2025

## 7. Static export limits
Static export limits
Static export limits is the average non-zero static export limit for export service customers during the regulatory year.
Average non-zero static export limit - residential customers
kVA | Jurisdiction | 2021 | 2022 | 2023 | 2024 | 2025
Evoenergy | ACT | 4.3 | 5 | 5.5121 | 5.5566 | 5.6977
Ausgrid | NSW | 0 | 0 | 0 | 0 | 9.8
Endeavour Energy | NSW | 5.66 | 5.77 | 5.91 | 6.53 | 7
Essential Energy | NSW | 8.9488 | 9.453 | 9.4899 | 9.307 | 5.32
Energex | QLD | 5 | 5 | 5 | 5 | 1
Ergon Energy | QLD | 5 | 5 | 5.0428 | 5 | 1
SA Power Networks | SA | 4.5587 | 4.7753 | 5.0369 | 5.9 | 6.26
TasNetworks | TAS | 6.28 | 5.97 | 6.287 | 5.5932 | 7
AusNet Services | VIC | 4 | 4 | 4.4721 | 4.6559 | 4.45
CitiPower | VIC | 5.1961 | 5.2856 | 5.3837 | 5.448 | 6
Jemena | VIC | 4.0542 | 4.2169 | 4.1603 | 4.2529 | 4.3658
Powercor | VIC | 5.194 | 5.2465 | 5.3072 | 5.3376 | 5
United Energy | VIC | 4.1996 | 4.3723 | 4.5 | 4.5601 | 5
Power and Water Corporation | NT | 5.1373 | 5.9 | 0 | 5 | 6.2281
DNSP average |  | 5.1945 | 5.3838 | 5.5085 | 5.5493 | 5.2944
Source:
DNSP responses to the AER's information requests for the Export services network performance report (2021 to 2024) and AIOs (2025).

## 8. Duration of export access
Duration of full export access against the agreed limit
Duration of full export access against the agreed limit is the duration of residential export service customers against the DNSPs agreed export limit.
Duration of full export access against the agreed export limit - Residential export service customers
DNSP | Jurisdiction | 2023 | 2024 | 2025
Evoenergy | ACT | 0 | 99.17% | 91.3%
Ausgrid | NSW | 0 | 0 | 0
Endeavour Energy | NSW | 99.86% | 99.9% | 66.72%
Essential Energy | NSW | 98.93% | 99.19% | 92.17%
Energex | QLD | 0 | 0 | 0
Ergon Energy | QLD | 0 | 0 | 0
SA Power Networks | SA | 100% | 99.33% | 99.54%
TasNetworks | TAS | 100% | 100% | 100%
AusNet Services | VIC | 89.33% | 96.33% | 79.49%
CitiPower | VIC | 98.82% | 98.82% | 96.44%
Jemena | VIC | 100% | 100% | 99.93%
Powercor | VIC | 98.02% | 99.32% | 96.54%
United Energy | VIC | 99.45% | 98.88% | 96.66%
Power and Water Corporation | NT | 100% | 100% | 0
DNSP average |  | 98.44% | 99.18% | 91.88%
Source:
DNSP responses to the AER's information requests for the Export services network performance report (2021 to 2024) and AIOs (2025).

## 9. Export limits
Export limits
Export limits includes the export service customers with static zero export limits and flexible export limits.
|  | Export customers on a static zero export limit (No.) |  |  |  |  | Export customers on a static zero export limit (%)
| Jurisdiction | 2021 | 2022 | 2023 | 2024 | 2025 | 2021 | 2022 | 2023 | 2024 | 2025
Evoenergy | ACT | 6 | 11 | 20 | 20 | 22 | 0.01807% | 0.02768% | 0.04207% | 0.03735% | 0.03817%
Ausgrid | NSW | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0% | 0%
Endeavour Energy | NSW | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0% | 0%
Essential Energy | NSW | 238 | 461 | 653 | 2728 | 3709 | 0.1041% | 0.1871% | 0.2527% | 0.9318% | 1.207%
Energex | QLD | 2816 | 2987 | 3200 | 3426 | 3711 | 0.4542% | 0.4545% | 0.4656% | 0.4927% | 0.5313%
Ergon Energy | QLD | 2936 | 3008 | 3086 | 3109 | 3075 | 1.372% | 1.302% | 1.241% | 1.172% | 1.111%
SA Power Networks | SA | 0 | 34 | 121 | 297 | 740 | 0% | 0.01077% | 0.03487% | 0.08159% | 0.1886%
TasNetworks | TAS | 0 | 0 | 1 | 1 | 4 | 0% | 0% | 0.002221% | 0.002085% | 0.00765%
AusNet Services | VIC | 956 | 1903 | 2862 | 3819 | 4602 | 0.5634% | 1.001% | 1.374% | 1.674% | 1.9%
CitiPower | VIC | 171 | 206 | 214 | 220 | 224 | 1.003% | 1.087% | 1.017% | 0.9796% | 0.9453%
Jemena | VIC | 1 | 18 | 18 | 31 | 48 | 0.001955% | 0.03152% | 0.02861% | 0.04593% | 0.0659%
Powercor | VIC | 3080 | 3883 | 4228 | 4439 | 4528 | 1.725% | 1.945% | 1.931% | 1.888% | 1.816%
United Energy | VIC | 60 | 64 | 154 | 248 | 283 | 0.06175% | 0.05973% | 0.1296% | 0.1915% | 0.2058%
Power and Water Corporation | NT | 15 | 18 | 379 | 595 | 544 | 0.08103% | 0.09391% | 2.09% | 3.2% | 2.642%
All DNSPs |  | 10279 | 12593 | 14936 | 18933 | 21490 | 0.5384% | 0.5636% | 0.7173% | 0.8913% | 0.8883%
|  | Average upper limit for export service customers with flexible export limits (kVA) |  |  | Export service customers with flexible export limits (No.)
| Jurisdiction | 2023 | 2024 | 2025 | 2023 | 2024 | 2025
Evoenergy | ACT | 0 | 0 | 0 | 0 | 0 | 0
Ausgrid | NSW | 0 | 0 | 0 | 0 | 0 | 0
Endeavour Energy | NSW | 0 | 0 | 10 | 0 | 0 | 174
Essential Energy | NSW | 0 | 0 | 12 | 0 | 0 | 56
Energex | QLD | 11.01 | 11.42 | 12 | 166 | 580 | 488
Ergon Energy | QLD | 14.74 | 10.38 | 11 | 20 | 320 | 415
SA Power Networks | SA | 6.971 | 7.6 | 8 | 412 | 2724 | 19736
TasNetworks | TAS | 0 | 0 | 0 | 0 | 0 | 0
AusNet Services | VIC | 4 | 3.7668 | 4 | 32 | 32 | 32
CitiPower | VIC | 0 | 0 | 0 | 0 | 0 | 0
Jemena | VIC | 0 | 0 | 0 | 0 | 0 | 0
Powercor | VIC | 0 | 0 | 8.5 | 0 | 0 | 99
United Energy | VIC | 0 | 0 | 0 | 0 | 0 | 0
Power and Water Corporation | NT | 0 | 0 | 0 | 0 | 0 | 0
Source:
DNSP responses to the AER's information requests for the Export services network performance report (2021 to 2024) and AIOs (2025).

## 10. Overvoltage
Overvoltage
Overvoltage is the number of export service customers measured to be experiencing overvoltage during the regulatory year
Export service customers
|  | Measured as experiencing overvoltage | With measured voltage data | Receiving overvoltage (%)
No. | Jurisdiction | 2025 | 2025 | 2025
Evoenergy | ACT | 5154 | 10002 | 51.53%
Ausgrid | NSW | 49494 | 88996 | 55.61%
Endeavour Energy | NSW | 75439 | 241109 | 31.29%
Essential Energy | NSW | 14852 | 73884 | 20.1%
Energex | QLD | 0 | 463250 | 0
Ergon Energy | QLD | 0 | 219744 | 0
SA Power Networks | SA | 9624 | 43688 | 22.03%
TasNetworks | TAS | 2598 | 95085 | 2.732%
AusNet Services | VIC | 15062 | 233398 | 6.453%
CitiPower | VIC | 1453 | 23091 | 6.292%
Jemena | VIC | 11607 | 72257 | 16.06%
Powercor | VIC | 23641 | 247084 | 9.568%
United Energy | VIC | 3424 | 136258 | 2.513%
Power and Water Corporation | NT | 474 | 12355 | 3.837%
All DNSPs |  | 212822 | 1960201 | 10.86%
All DNSP customers
|  | Customers measured as experiencing overvoltage |  |  |  | Customers with measured voltage data |  |  |  | Proportion of customers receiving overvoltage
No. | Jurisdiction | 2021 | 2022 | 2023 | 2024 | 2021 | 2022 | 2023 | 2024 | 2021 | 2022 | 2023 | 2024
Evoenergy | ACT | 186 | 286 | 356 | 552 | 1513 | 1403 | 1239 | 4518 | 12.29% | 20.38% | 28.73% | 12.22%
Ausgrid | NSW | 5917 | 9715 | 9623 | 111788 | 10972 | 19115 | 19164 | 216469 | 53.93% | 50.82% | 50.21% | 51.64%
Endeavour Energy | NSW | 0 | 14044 | 22095 | 23904 | 0 | 49835 | 48750 | 55278 | 0% | 28.18% | 45.32% | 43.24%
Essential Energy | NSW | 0 | 3607 | 2881 | 2779 | 0 | 22147 | 26186 | 66786 | 0% | 16.29% | 11% | 4.161%
Energex | QLD | 0 | 0 | 0 | 0 | 357717 | 452410 | 557907 | 557907 | 0% | 0% | 0% | 0%
Ergon Energy | QLD | 0 | 0 | 0 | 0 | 176321 | 242312 | 304779 | 304779 | 0% | 0% | 0% | 0%
SA Power Networks | SA | 4134 | 3603 | 21244 | 9869 | 10858 | 18179 | 30090 | 37534 | 38.07% | 19.82% | 70.6% | 26.29%
TasNetworks | TAS | 0 | 654 | 3631 | 1934 | 0 | 17896 | 92009 | 93670 | 0% | 3.654% | 3.946% | 2.065%
AusNet Services | VIC | 185463 | 154241 | 106778 | 92546 | 762713 | 776552 | 778875 | 814399 | 24.32% | 19.86% | 13.71% | 11.36%
CitiPower | VIC | 31306 | 4835 | 3791.9687 | 2262.211 | 312815 | 319959 | 320855 | 333579 | 10.01% | 1.511% | 1.182% | 0.6782%
Jemena | VIC | 11402 | 3167 | 1427 | 1579 | 51157 | 57105 | 62923 | 373812 | 22.29% | 5.546% | 2.268% | 0.4224%
Powercor | VIC | 108908 | 60199 | 17401.1269 | 16702.7344 | 837849 | 862532 | 877107 | 913854 | 13% | 6.979% | 1.984% | 1.828%
United Energy | VIC | 43989 | 14298 | 5173 | 7889 | 681060 | 683706 | 687682 | 705516 | 6.459% | 2.091% | 0.7522% | 1.118%
Power and Water Corporation | NT | 237 | 325 | 1067 | 1148 | 2487 | 3319 | 24281 | 38386 | 9.53% | 9.792% | 4.394% | 2.991%
All DNSPs |  | 391542 | 268974 | 195468.0956 | 272952.9454 | 3205462 | 3526470 | 3831847 | 4516487 | 12.21% | 7.627% | 5.101% | 6.043%
Source: | bar: Customers measured as experiencing overvoltage 2021 to Proportion of customers receiving overvoltage 2022
DNSP responses to the AER's information requests for the Export services network performance report (2021 to 2024) and AIOs (2025). Data for the 2025 regulatory year provides overvoltage data for export service customers. Data for the 2021 to 2024 regulatory year provides overvoltage data for all DNSP customers. | bar: Customers measured as experiencing overvoltage 2021 to Proportion of customers receiving overvoltage 2022

## 11. Inverter standards
Inverter standards and compliance
Inverter standards and compliance provides the export service customers that are required to have AS 4777.2 (2020) compliant inverters and proportion of export service customers that are non-compliant.
|  | Export service customers required to have AS 4777.2 (2020) compliant inverters |  |  |  |  | Export service customers required to have AS 4777.2 (2020) compliant inverters (%)
No. | Jurisdiction | 2021 | 2022 | 2023 | 2024 | 2025 | 2021 | 2022 | 2023 | 2024 | 2025
Evoenergy | ACT | 0 | 4692 | 13981 | 20593 | 25712 | 0 | 11.81% | 29.41% | 38.46% | 44.61%
Ausgrid | NSW | 0 | 0 | 0 | 0 | 107144 | 0 | 0% | 0% | 0% | 38.38%
Endeavour Energy | NSW | 0 | 13222 | 40084 | 75860 | 115717 | 0 | 5.596% | 15.29% | 25.54% | 35.86%
Essential Energy | NSW | 0 | 0 | 28595 | 54027 | 61349 | 0 | 0% | 11.06% | 18.45% | 19.97%
Energex | QLD | 0 | 16915 | 53627 | 89201 | 157116 | 0 | 2.574% | 7.803% | 12.83% | 22.5%
Ergon Energy | QLD | 0 | 8491 | 26258 | 45534 | 77781 | 0 | 3.674% | 10.56% | 17.16% | 28.11%
SA Power Networks | SA | 0 | 14633 | 49082 | 79181 | 99765 | 0 | 4.637% | 14.14% | 21.75% | 25.42%
TasNetworks | TAS | 0 | 1996 | 6086 | 16055 | 20949 | 0 | 4.882% | 13.52% | 33.47% | 40.06%
AusNet Services | VIC | 23 | 8790 | 16908 | 18988 | 180108 | 0.01355% | 4.623% | 8.118% | 8.324% | 74.37%
CitiPower | VIC | 0 | 1176 | 3570 | 5982 | 7532 | 0 | 6.204% | 16.96% | 26.64% | 31.78%
Jemena | VIC | 0 | 0 | 0 | 28047 | 34284 | 0 | 0% | 0% | 41.56% | 47.07%
Powercor | VIC | 0 | 10919 | 33253 | 56313 | 72162 | 0 | 5.469% | 15.19% | 23.95% | 28.94%
United Energy | VIC | 0 | 5495 | 20235 | 28109 | 41479 | 0 | 5.128% | 17.03% | 21.71% | 30.17%
Power and Water Corporation | NT | 0 | 0 | 0 | 0 | 765 | 0 | 0% | 0% | 0% | 3.715%
All DNSPs |  | 23 | 86329 | 291679 | 517890 | 1001863 | 0.001047% | 3.364% | 10.49% | 17.38% | 31.98%
Estimated export service customers required to be compliant with AS 4777.2 (2020) that are non-compliant (%)
DNSP | Jurisdiction | Export service customers required to have AS 4777.2 (2020) compliant inverters 2021: 2021; Export service customers required to have AS 4777.2 (2020) compliant inverters 2022: 2022; Export service customers required to have AS 4777.2 (2020) compliant inverters 2023: 2023; Export service customers required to have AS 4777.2 (2020) compliant inverters 2024: 2024; Export service customers required to have AS 4777.2 (2020) compliant inverters 2025: 2025
Evoenergy | ACT | Export service customers required to have AS 4777.2 (2020) compliant inverters 2021: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2022: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2023: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2024: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2025: 36%
Ausgrid | NSW | Export service customers required to have AS 4777.2 (2020) compliant inverters 2021: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2022: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2023: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2024: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2025: 28%
Endeavour Energy | NSW | Export service customers required to have AS 4777.2 (2020) compliant inverters 2021: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2022: 36%; Export service customers required to have AS 4777.2 (2020) compliant inverters 2023: 33%; Export service customers required to have AS 4777.2 (2020) compliant inverters 2024: 45.29%; Export service customers required to have AS 4777.2 (2020) compliant inverters 2025: 45%
Essential Energy | NSW | Export service customers required to have AS 4777.2 (2020) compliant inverters 2021: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2022: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2023: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2024: 50%; Export service customers required to have AS 4777.2 (2020) compliant inverters 2025: 36%
Energex | QLD | Export service customers required to have AS 4777.2 (2020) compliant inverters 2021: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2022: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2023: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2024: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2025: 75%
Ergon Energy | QLD | Export service customers required to have AS 4777.2 (2020) compliant inverters 2021: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2022: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2023: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2024: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2025: 71%
SA Power Networks | SA | Export service customers required to have AS 4777.2 (2020) compliant inverters 2021: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2022: 35%; Export service customers required to have AS 4777.2 (2020) compliant inverters 2023: 56.3%; Export service customers required to have AS 4777.2 (2020) compliant inverters 2024: 30.2%; Export service customers required to have AS 4777.2 (2020) compliant inverters 2025: 27%
TasNetworks | TAS | Export service customers required to have AS 4777.2 (2020) compliant inverters 2021: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2022: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2023: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2024: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2025: 0
AusNet Services | VIC | Export service customers required to have AS 4777.2 (2020) compliant inverters 2021: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2022: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2023: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2024: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2025: 76%
CitiPower | VIC | Export service customers required to have AS 4777.2 (2020) compliant inverters 2021: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2022: 48%; Export service customers required to have AS 4777.2 (2020) compliant inverters 2023: 27.45%; Export service customers required to have AS 4777.2 (2020) compliant inverters 2024: 26.29%; Export service customers required to have AS 4777.2 (2020) compliant inverters 2025: 23.01%
Jemena | VIC | Export service customers required to have AS 4777.2 (2020) compliant inverters 2021: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2022: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2023: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2024: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2025: 19.26%
Powercor | VIC | Export service customers required to have AS 4777.2 (2020) compliant inverters 2021: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2022: 48%; Export service customers required to have AS 4777.2 (2020) compliant inverters 2023: 30%; Export service customers required to have AS 4777.2 (2020) compliant inverters 2024: 26.23%; Export service customers required to have AS 4777.2 (2020) compliant inverters 2025: 23.31%
United Energy | VIC | Export service customers required to have AS 4777.2 (2020) compliant inverters 2021: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2022: 39%; Export service customers required to have AS 4777.2 (2020) compliant inverters 2023: 28%; Export service customers required to have AS 4777.2 (2020) compliant inverters 2024: 25.54%; Export service customers required to have AS 4777.2 (2020) compliant inverters 2025: 20.79%
Power and Water Corporation | NT | Export service customers required to have AS 4777.2 (2020) compliant inverters 2021: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2022: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2023: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2024: 0; Export service customers required to have AS 4777.2 (2020) compliant inverters 2025: 3.752%
Source:
DNSP responses to the AER's information requests for the Export services network performance report (2021 to 2024) and AIOs (2025). Ausgrid provided the Proportion of export customers required to have AS 4777.2 (2020) compliant inverters directly, without providing the Total export customers required to have AS 4777.2 (2020) compliant inverters.

## 12. Time to provide an offer
Time to provide an offer
Time to provide an offer provides the time taken by the DNSP to provide a model (or equivalent) standing offer and the time taken to make a low voltage connection offer (outside model standing offers).
|  | Model standing offer or equivalent |  |  |  |  | Low voltage connections outside model standing offers
Days | Jurisdiction | 2021 | 2022 | 2023 | 2024 | 2025 | 2021 | 2022 | 2023 | 2024 | 2025
Evoenergy | ACT | 9.4 | 3.8 | 3.3 | 2.23 | 1.5 | 12 | 11.6 | 9.9 | 9.8 | 9.2
Ausgrid | NSW | 0 | 0 | 3 | 5 | 5 | 0 | 0 | 0 | 0 | 55
Endeavour Energy | NSW | 0 | 0 | 0 | 0 | 0 | 0.722 | 0.88 | 6.58 | 7.6 | 8
Essential Energy | NSW | 0 | 2.7 | 8.01 | 5.71 | 8.71 | 0 | 0 | 0 | 0 | 0
Energex | QLD | 8.112 | 1.9 | 1 | 0 | 2 | 14 | 14 | 18 | 30 | 25
Ergon Energy | QLD | 0.64 | 0.4 | 1 | 0 | 2 | 14 | 15 | 15.5 | 31 | 29
SA Power Networks | SA | 0 | 0 | 0 | 0 | 0 | 39 | 34 | 34 | 52 | 10
TasNetworks | TAS | 7.73 | 2.61 | 3.19 | 3 | 3 | 21.13 | 29.7 | 72 | 73 | 56
AusNet Services | VIC | 1.72 | 1.82 | 1 | 1 | 1 | 36.82 | 38.26 | 28 | 15 | 20
CitiPower | VIC | 2.54 | 0.23 | 0.050045 | 0.05 | 0 | 1.51 | 3.59 | 2.18 | 0.41 | 2
Jemena | VIC | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 34
Powercor | VIC | 1.22 | 0.17 | 0.11097 | 0 | 0 | 1.69 | 1.35 | 1.0668 | 1 | 2
United Energy | VIC | 0 | 1.01 | 0.54535 | 0 | 0 | 0 | 0.14 | 3.0259 | 9 | 11
Power and Water Corporation | NT | 30.5343 | 32.2826 | 27.191 | 23.7184 | 14 | 112.3913 | 107.2333 | 99.2647 | 163.7143 | 112
Source:
DNSP responses to the AER's information requests for the Export services network performance report (2021 to 2024) and AIOs (2025).

## 13. Expenditure
Expenditure incurred to provide export services
Expenditure incurred to provide export services is the operating expenditure (opex) and capital expenditure (capex) incurred by the DNSP to provide export services.
Expenditure incurred to provide export services
$m 2025 | Jurisdiction | 2021 | 2022 | 2023 | 2024 | 2025
Evoenergy | ACT | 4322637.6566 | 4317836.7052 | 3350708.7847 | 3592411.7732 | 5959216.381
Ausgrid | NSW | 4859588.3294 | 2471452.1183 | 1328838.0475 | 6494415.9503 | 12963777.8453
Endeavour Energy | NSW | 2475605.6697 | 3056372.6819 | 4148245.2286 | 4676806.5946 | 14005788.5753
Essential Energy | NSW | 8254120.3621 | 0 | 2880039.0712 | 8382358.9146 | 16212470.1806
Energex | QLD | 11153774.1951 | 11334290.9445 | 12490709.2824 | 12366690.7857 | 15498019.0927
Ergon Energy | QLD | 4457618.8151 | 5982872.4173 | 5011949.5761 | 6280063.972 | 5986277.6081
SA Power Networks | SA | 23817008.7378 | 14552651.0194 | 27416943.6888 | 14037974.3284 | 7687281.9351
TasNetworks | TAS | 501196.3245 | 458481.4866 | 484068.2069 | 527627.0758 | 790989.3685
AusNet Services | VIC | 6091314.0091 | 7015081.1898 | 12230985.0764 | 6074845.948 | 34373875.3672
CitiPower | VIC | 2439234.7346 | 3651420.1009 | 2751012.6679 | 2649307.7577 | 1954459.4013
Jemena | VIC | 0 | 0 | 0 | 1235366.1167 | 15051315.805
Powercor | VIC | 8929130.7375 | 10453606.887 | 9380647.4127 | 14045217.2768 | 4463821.211
United Energy | VIC | 1750913.1202 | 2324960.6095 | 2801809.388 | 7544256.6595 | 7207824.1105
Power and Water Corporation | NT | 767564.1102 | 1139686.4255 | 1460719.1078 | 722126.9757 | 4180.3569
All DNSPs |  | 79819706.8019 | 66758712.5861 | 85736675.539 | 88629470.1291 | 142159297.2383
Opex incurred to provide export services
$m 2025 | Jurisdiction | 2021 | 2022 | 2023 | 2024 | 2025
Evoenergy | ACT | 2445016.5646 | 2378483.1635 | 2443884.3828 | 2402029.0511 | 3785275.5409
Ausgrid | NSW | 1205726.7 | 1274516.0158 | 1302953.5251 | 583329.7263 | 3033433.466
Endeavour Energy | NSW | 1354151.6421 | 1978155.1223 | 682527.0007 | 477859.0775 | 3241648.0871
Essential Energy | NSW | 2501339.1538 | 0 | 910119.4606 | 4308482.9569 | 9486529.9424
Energex | QLD | 4413020.4397 | 4485053.8057 | 4668696.706 | 4844282.8449 | 6299952.6415
Ergon Energy | QLD | 1749138.1158 | 1195428.8167 | 928153.2003 | 745115.3565 | 743311.8628
SA Power Networks | SA | 2028107.3591 | 2111544.4561 | 727097.2176 | 1345516.9474 | 1781317.7457
TasNetworks | TAS | 150293.3214 | 236256.7632 | 269226.8492 | 308458.9445 | 575358.6806
AusNet Services | VIC | 1736862.1502 | 1279293.0508 | 914289.393 | 912159.8361 | 1236198.4101
CitiPower | VIC | 369786.0584 | 249141.8037 | 199736.5682 | 171407.4996 | 37619.9534
Jemena | VIC | 0 | 0 | 0 | 282196.9545 | 1002753.3488
Powercor | VIC | 2673829.4703 | 1303469.1169 | 908730.5566 | 1412512.428 | 288676.366
United Energy | VIC | 1003966.3514 | 430781.9301 | 355124.7066 | 482570.168 | 45694.1657
Power and Water Corporation | NT | 767564.1102 | 1139686.4255 | 1460719.1078 | 722126.9757 | 4180.3569
DNSP Total |  | 22398801.437 | 18061810.4704 | 15771258.6745 | 18998048.767 | 31561950.5679
Capex incurred to provide export services
$m 2025 | Jurisdiction | 2021 | 2022 | 2023 | 2024 | 2025
Evoenergy | ACT | 1877621.092 | 1939353.5417 | 906824.4019 | 1190382.7221 | 2173940.8401
Ausgrid | NSW | 3653861.6294 | 1196936.1025 | 25884.5223 | 5911086.224 | 9930344.3792
Endeavour Energy | NSW | 1121454.0276 | 1078217.5596 | 3465718.2279 | 4198947.5172 | 10764140.4881
Essential Energy | NSW | 5752781.2083 | 0 | 1969919.6107 | 4073875.9577 | 6725940.2382
Energex | QLD | 6740753.7554 | 6849237.1388 | 7822012.5764 | 7522407.9408 | 9198066.4512
Ergon Energy | QLD | 2708480.6993 | 4787443.6006 | 4083796.3758 | 5534948.6155 | 5242965.7453
SA Power Networks | SA | 21788901.3787 | 12441106.5633 | 26689846.4712 | 12692457.381 | 5905964.1894
TasNetworks | TAS | 350903.0031 | 222224.7234 | 214841.3577 | 219168.1312 | 215630.6879
AusNet Services | VIC | 4354451.8589 | 5735788.139 | 11316695.6833 | 5162686.1119 | 33137676.9571
CitiPower | VIC | 2069448.6762 | 3402278.2972 | 2551276.0997 | 2477900.2581 | 1916839.4479
Jemena | VIC | 0 | 0 | 0 | 953169.1622 | 14048562.4562
Powercor | VIC | 6255301.2672 | 9150137.7702 | 8471916.8562 | 12632704.8488 | 4175144.845
United Energy | VIC | 746946.7688 | 1894178.6793 | 2446684.6814 | 7061686.4914 | 7162129.9448
Power and Water Corporation | NT | 0 | 0 | 0 | 0 | 0
All DNSPs |  | 57420905.3649 | 48696902.1157 | 69965416.8645 | 69631421.3621 | 110597346.6704
Source:
DNSP responses to the AER's information requests for the Export services network performance report (2021 to 2024) and AIOs (2025). Values have been converted to June 2025 dollars