## Introduction
Electricity TNSP
Operational performance data
Introduction
This workbook contains operational performance data for electricity transmission network service providers (TNSPs) in the National Energy Market (NEM). The charts and data are presented for a range of financial and network operational performance measures.
Interpretation
The data covers the regulatory years from 2006 to 2025. It is reported on an end of year basis. All TNSPs, except AusNet, report on a financial year basis, hence the label 2015 refers to data collected for the year ending 30 June 2015, or 31 March 2015 in AusNet's case. Exceptions to this are tables 7,8 and 9, which are reported on a calendar year basis, in line with service target performance incentive scheme (STPIS) reporting timeframes. All financial values have been converted to June 2025 dollars (or March 2025 dollars for AusNet).
Sources
Data is classified as actual, budgeted or forecast. Actual data is generally sourced from individual annual responses to regulatory information notices (RINs)/Annual Information Order (AIO), including economic benchmarking and category analysis RINs, or historical data provided at the time of regulatory determinations in roll forward models (RFMs). The RIN responses of the TNSPs are available on the AER website. Budgeted revenue is the TNSP's budgeted revenue collected from customers, which is derived from regulatory decisions. Forecast data is generally sourced from the final regulatory determinations made by the AER for each of the businesses in post tax revenue models (PTRMs), updated for decisions by the Australian Competition Tribunal where applicable, and other allowed adjustments. Detailed data sources are listed in each of the worksheets.
VERSION RECORD
Version | Publication date | Data range/updates
10 | July 2026 | Financial years | 2005-06 to 2024-25
9 | December 2025 | Financial years | 2005-06 to 2023-24
8 | August 2024 | Financial years | 2005-06 to 2022-23 | Incentive schemes included
7 | July 2023 | Financial years | 2005-06 to 2021-22
6 | July 2022 | Financial years | 2005-06 to 2020-21
5 | 2021-09-22 | Financial years | 2005-06 to 2019-20
4 | 2020-09-01 | Financial years | 2005-06 to 2018-19
3 | Jul 2019 | Financial years | 2005-06 to 2017-18 | Data as at 27 June 2019
2 | Aug 2018 | Financial years | 2005-06 to 2016-17 | Amended Opex data to remove Easement Tax for AusNet
1 | Feb 2018 | Financial years | 2005-06 to 2016-17

## Contents
Electricity TNSP
Operational performance data
Contents
Financial | Reliability | Service Delivery | Network characteristics
1. Revenue | 7. Loss of supply events | 10. Maximum demand | 12. Circuit length
2. Regulated asset base (RAB) | 8. Average outage duration | 11. Energy delivered
3. Capital expenditure (Capex) | 9. Market impact
4. Capex by driver
5. Operating expenditure (Opex)
6. Incentive schemes

## 1. Revenue
Revenue
Budgeted revenue from customers is the final revenue that TNSPs is expected to earn in the regulatory year, which is derived from regulatory decisions Actual revenue from customers is revenue received from customers by a TNSP. TNSPs earn revenues for delivering prescribed transmission services. They earn some revenues directly from customers, and other revenue from sources such as inter-regional and intra-regional settlements residues or inter-regional settlements auction proceeds. TNSPs are regulated via a revenue cap, which limits the revenues that can be earned in any year.
Budgeted revenue from Customers
$m 2025 | State | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Powerlink | QLD | 2015: 1094.6534; 2016: 1239.815; 2017: 1360.2295; 2018: 904.8806; 2019: 829.802; 2020: 823.6636; 2021: 827.3487; 2022: 854.1043; 2023: 723.1846; 2024: 674.3475; 2025: 842.9462
Transgrid | NSW | 2015: 1048.2469; 2016: 1032.7931; 2017: 929.0902; 2018: 851.1865; 2019: 679.7599; 2020: 780.7798; 2021: 810.5079; 2022: 841.8159; 2023: 996.237; 2024: 973.715; 2025: 1115.8235
AEMO/AusNet | VIC | 2015: 737.8056; 2016: 736.9129; 2017: 702.9968; 2018: 661.9628; 2019: 635.5566; 2020: 730.7035; 2021: 770.9127; 2022: 769.6377; 2023: 755.573; 2024: 738.8787; 2025: 834.8238
ElectraNet | SA | 2015: 387.7613; 2016: 372.1445; 2017: 349.3152; 2018: 335.1274; 2019: 331.1053; 2020: 331.6785; 2021: 359.1777; 2022: 364.6876; 2023: 392.8772; 2024: 414.7175; 2025: 454.4915
TasNetworks | TAS | 2015: 219.2559; 2016: 198.8615; 2017: 196.4349; 2018: 186.1803; 2019: 187.6583; 2020: 170.0651; 2021: 158.5116; 2022: 147.7341; 2023: 145.3017; 2024: 128.6724; 2025: 152.4734
TNSP Total |  | 2015: 3487.7231; 2016: 3580.527; 2017: 3538.0667; 2018: 2939.3375; 2019: 2663.8821; 2020: 2836.8904; 2021: 2926.4587; 2022: 2977.9795; 2023: 3013.1736; 2024: 2930.331; 2025: 3400.5585
Sources:
Information requests: all TNSPs
Note:
The AER has not collected budgeted revenues from customers for the years prior to 2015.
Actual revenue from customers
$m 2025 | State | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Powerlink | QLD | 797.2625 | 839.9879 | 855.4739 | 922.5493 | 979.1287 | 1054.4132 | 1163.5058 | 1182.1362 | 1216.3888 | 1262.1221 | 1278.6124 | 1333.1451 | 978.1235 | 972.6133 | 944.7121 | 932.4173 | 905.989 | 784.3961 | 820.0034 | 882.4278
Transgrid | NSW | 773.2812 | 797.2076 | 825.2412 | 875.5094 | 1008.6945 | 1071.3708 | 1141.6361 | 1198.2026 | 1184.9458 | 1126.4915 | 963.1816 | 928.8076 | 895.2204 | 924.5388 | 920.7652 | 936.0136 | 929.4334 | 999.7786 | 992.0668 | 998.2993
AEMO/AusNet | VIC | 561.7755 | 614.606 | 613.1638 | 580.4106 | 690.8193 | 683.6212 | 714.361 | 803.3557 | 697.5135 | 735.1856 | 720.5666 | 688.2289 | 656.8187 | 633.7324 | 730.7144 | 770.9127 | 769.6473 | 755.6594 | 738.8792 | 834.8238
ElectraNet | SA | 286.3519 | 293.0184 | 295.8546 | 353.1954 | 372.2694 | 395.7202 | 420.5208 | 449.1941 | 382.4061 | 400.7888 | 417.1115 | 424.5507 | 439.3305 | 382.3186 | 383.3063 | 382.8375 | 389.28 | 398.8315 | 426.3345 | 434.0742
TasNetworks | TAS | 194.8934 | 202.1288 | 206.4644 | 221.2931 | 247.8208 | 291.549 | 298.9389 | 302.6943 | 289.784 | 254.2967 | 248.3495 | 223.527 | 224.9057 | 205.7158 | 185.2417 | 171.2056 | 181.6737 | 181.2773 | 154.8289 | 162.5669
TNSP Total |  | 2613.5644 | 2746.9486 | 2796.198 | 2952.9577 | 3298.7327 | 3496.6745 | 3738.9627 | 3935.5829 | 3771.0383 | 3778.8847 | 3627.8215 | 3598.2594 | 3194.3988 | 3118.9189 | 3164.7397 | 3193.3867 | 3176.0234 | 3119.9429 | 3132.1128 | 3312.192
Sources:
Economic Benchmarking RIN / Annual Information Order (AIO) responses.

## 2. RAB
Regulatory Asset Base
Regulatory asset base (RAB) represents the value of the network assets used to provide the core services regulated by the AER, as at the end of a regulatory year. The value of the network changes each year due to capital expenditures, depreciation, and disposal of assets. In the data below we provide the closing RAB for the respective regulatory year.
Forecast RAB
$m 2025 | State | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Powerlink | QLD | 4966.5055 | 4888.0581 | 6996.1982 | 7784.9018 | 8197.6892 | 8666.8671 | 9008.5157 | 9694.8763 | 10176.04 | 10386.0597 | 10634.3668 | 10951.3304 | 8846.1897 | 8710.0274 | 8563.4472 | 8418.6061 | 8258.6006 | 8078.1082 | 7948.1037 | 7753.8465
Transgrid | NSW | 5479.4055 | 5665.6243 | 6075.6006 | 6365.3712 | 6961.8141 | 7394.5915 | 7996.5081 | 8502.8155 | 8783.8243 | 8109.1315 | 8186.4675 | 8152.8565 | 8121.1422 | 7913.3468 | 8045.9808 | 8481.2403 | 9762.6409 | 10078.569 | 11435.6748 | 14061.0198
AusNet Services* | VIC | 3319.7114 | 3302.7623 | 3282.849 | 3470.6965 | 3475.3813 | 3506.9818 | 3544.5181 | 3549.1969 | 3608.6701 | 3862.8419 | 3916.1516 | 3962.4204 | 4049.3574 | 4037.9012 | 4015.125 | 3978.0624 | 3918.1847 | 4118.2434 | 4121.3493 | 4175.1817
ElectraNet | SA | 1767.2007 | 1791.2133 | 1756.7871 | 2162.1709 | 2365.0087 | 2638.9599 | 2824.5863 | 2847.2453 | 3018.159 | 3114.535 | 3239.4537 | 3280.2618 | 3228.9744 | 3204.7097 | 3323.3742 | 3431.2567 | 3794.8924 | 4073.4811 | 4117.9502 | 4130.533
TasNetworks | TAS | 1220.3652 | 1311.7106 | 1319.12 | 1314.25 | 1617.9277 | 1785.6331 | 1857.7081 | 1930.0583 | 1996.5722 | 1875.7849 | 1890.4987 | 1885.4228 | 1870.172 | 1840.3729 | 1773.8426 | 1772.616 | 1764.7372 | 1746.488 | 1718.2792 | 1805.9908
TNSP Total |  | 16753.1883 | 16959.3686 | 19430.555 | 21097.3904 | 22617.821 | 23993.0334 | 25231.8363 | 26524.1923 | 27583.2657 | 27348.353 | 27866.9382 | 28232.2921 | 26115.8357 | 25706.3581 | 25721.7698 | 26081.7814 | 27499.0559 | 28094.8897 | 29341.3572 | 31926.572
Source: Forecast closing RAB is sourced from post tax revenue models determined as part of final regulatory decisions, as made by the AER or jurisdictional regulators, and as adjusted by the Australian Competition Tribunal. Updates to the model are also taken into account.
Actual RAB
$m 2025 | State | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Powerlink | QLD | 4863.8342 | 5924.8357 | 6736.7457 | 7593.8269 | 7989.1342 | 8316.4566 | 9011.4719 | 9364.6084 | 9498.0479 | 9378.2101 | 9202.2294 | 8958.8718 | 8822.2139 | 8681.0293 | 8521.3986 | 8361.6928 | 8230.4418 | 8115.1712 | 7995.952 | 7821.1529
Transgrid | NSW | 5227.8809 | 5370.7695 | 5663.8552 | 6392.4214 | 6745.2972 | 7022.5897 | 7261.9636 | 7676.9735 | 8081.7872 | 8095.4116 | 8082.2684 | 7966.0455 | 7922.826 | 7901.7833 | 7979.3981 | 8600.1382 | 8861.4971 | 9748.8977 | 10729.4624 | 12527.6256
AusNet Services* | VIC | 3096.9032 | 3083.2421 | 3354.3536 | 3430.7334 | 3433.5995 | 3425.587 | 3444.0775 | 3510.3333 | 3846.7082 | 3854.1714 | 3844.6019 | 4030.9221 | 3980.8345 | 3948.0436 | 3916.4734 | 3866.4237 | 4154.5077 | 4081.1181 | 4046.798 | 4025.475
ElectraNet | SA | 1664.6981 | 1709.4845 | 1986.6187 | 2105.1359 | 2197.4603 | 2454.5144 | 2615.9217 | 2829.8738 | 2906.5177 | 2939.8946 | 3024.9437 | 3090.0138 | 3183.6374 | 3248.8994 | 3315.3394 | 3416.9138 | 3691.2637 | 4107.6421 | 4140.0829 | 4119.2226
TasNetworks (T) | TAS | 1193.7227 | 1282.5102 | 1289.5874 | 1442.094 | 1573.9415 | 1668.9438 | 1783.0627 | 1827.8389 | 1875.9144 | 1840.2413 | 1799.4139 | 1788.0016 | 1778.3597 | 1777.3013 | 1766.0763 | 1751.5938 | 1735.9359 | 1731.7987 | 1707.5538 | 1762.4755
TNSP Total |  | 16047.0391 | 17370.8419 | 19031.1605 | 20964.2115 | 21939.4326 | 22888.0915 | 24116.4974 | 25209.628 | 26208.9753 | 26107.929 | 25953.4573 | 25833.8548 | 25687.8716 | 25557.057 | 25498.6858 | 25996.7622 | 26673.6462 | 27784.6278 | 28619.8492 | 30255.9516
Source: Actual closing RAB has been taken from Roll forward models developed as part of final regulatory decisions made by the AER or jurisdictional regulators, and as updated by the Australian Competition Tribunal where applicable. Where a final decision for a regulatory period is not yet available, draft decisions or regulatory proposals have been used. If no RFM is available we have calculated the RAB using inputs from the post tax revenue models and capital expenditures additions to the RAB.
Notes:
For AusNet Services, differences between actual and forecast closing RAB arise due to the treatment of augmentation capital works (Group 3 assets). These assets are included in Actual RAB data, but are not included in forecasts. The AER's Final decision* on AusNet Services' RAB explains the issue and advises: During a regulatory control period, AEMO or a distribution business may request AusNet Services to provide augmentations to the transmission network or distribution connection services. While the assets constructed due to these requests provide prescribed transmission services, the forecast capex associated with these assets sit outside of the revenue determination. This is because AusNet Services is not responsible for the planning of these capex. AusNet Services and AEMO refer to the assets that provide these services as ‘Group 3’ assets. Group 3 assets sit outside of the RAB and are governed by commercial contracts until such time as they are rolled into the RAB, usually at the next revenue reset. * AER, Final decision: AusNet Services transmission determination 2017–22, Attachment 2 – Regulatory asset base, pp. 2-6.

## 3. Capex
Capital expenditure
Capital expenditure (capex) measures the expenditure in the transmission networks that relates to the augmentation of the network, replacement of assets, new connections, improving network reliability and non-network investments (e.g. buildings). All data is reported on an as-incurred basis.
Forecast Capex
$m 2025 | State | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Powerlink | QLD | 378.3851 | 173.4074 | 1144.8163 | 1044.33 | 692.1166 | 764.0806 | 651.0606 | 941.4029 | 777.3172 | 553.5906 | 615.4955 | 696.9196 | 208.4279 | 209.2734 | 213.1831 | 221.815 | 207.4079 | 222.6768 | 245.146 | 197.2163
Transgrid | NSW | 316.9023 | 382.0637 | 603.597 | 505.4067 | 814.6692 | 694.392 | 853.7581 | 784.665 | 589.7618 | 339.5708 | 405.172 | 313.0243 | 292.3466 | 296.9898 | 453.829 | 762.8268 | 1594.7552 | 1360.5662 | 2033.2236 | 3003.6158
AusNet Services | VIC | 94.0839 | 127.5694 | 129.1905 | 183.3264 | 175.4862 | 207.671 | 219.3815 | 192.4565 | 235.202 | 201.3838 | 243.1102 | 241.826 | 229.4598 | 200.3708 | 195.3255 | 181.7917 | 136.6793 | 170.6121 | 190.6698 | 248.5945
ElectraNet | SA | 144.6867 | 126.2466 | 83.6769 | 201.508 | 276.0975 | 352.7272 | 272.2399 | 121.0817 | 286.6123 | 207.616 | 251.9415 | 180.8345 | 92.3577 | 148.8925 | 266.3391 | 258.6744 | 520.5878 | 429.2967 | 175.1282 | 190.1726
TasNetworks | TAS | 87.7918 | 144.902 | 68.4398 | 57.1118 | 240.8673 | 238.1118 | 142.1581 | 149.4527 | 149.0989 | 67.3489 | 85.7417 | 70.1889 | 59.2315 | 45.2404 | 68.5913 | 65.9149 | 61.9007 | 52.2365 | 46.3103 | 126.3231
TNSP Total |  | 1021.8499 | 954.1892 | 2029.7205 | 1991.683 | 2199.2367 | 2256.9826 | 2138.5982 | 2189.0588 | 2037.9922 | 1369.5101 | 1601.4609 | 1502.7933 | 881.8235 | 900.767 | 1197.2679 | 1491.0227 | 2521.3309 | 2235.3882 | 2690.4778 | 3765.9222
Sources:
Forecast capex has been sourced from post tax revenue models (PTRMs) determined as part of final regulatory decisions, as made by the AER or jurisdictional regulators, and as adjusted by the Australian Competition Tribunal. Updates to the models are also taken into account.
Actual Capex
$m 2025 | State | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Powerlink | QLD | 449.3641 | 399.7761 | 1047.0455 | 944.825 | 660.0694 | 609.8391 | 876.9351 | 617.0758 | 425.0151 | 208.7548 | 169.5 | 219.2948 | 185.0524 | 204.8438 | 200.6717 | 210.8658 | 230.2599 | 243.7322 | 253.2278 | 206.9374
Transgrid | NSW | 247.6612 | 347.1757 | 499.3473 | 844.615 | 594.909 | 517.4902 | 480.4449 | 663.4998 | 623.3449 | 325.8886 | 316.931 | 233.4069 | 280.6926 | 286.0265 | 400.0643 | 948.5077 | 586.5226 | 1077.4766 | 1344.1362 | 2243.8595
AusNet Services | VIC | 172.8699 | 176.5561 | 173.9649 | 139.9634 | 164.9855 | 158.6948 | 185.9049 | 236.2757 | 196.2113 | 192.7138 | 182.0621 | 168.1779 | 160.9326 | 177.9432 | 185.5623 | 170.0569 | 157.7192 | 126.6515 | 148.1046 | 185.7065
ElectraNet | SA | 114.5366 | 131.9482 | 265.7886 | 147.9469 | 173.9897 | 334.4135 | 245.5142 | 311.4653 | 177.1713 | 149.8552 | 208.9719 | 191.364 | 219.3299 | 192.2229 | 214.8321 | 253.843 | 429.7656 | 542.4031 | 202.9754 | 166.5446
TasNetworks | TAS | 118.7372 | 165.4203 | 98.6057 | 102.0336 | 198.1213 | 166.5121 | 177.4263 | 117.6393 | 103.5476 | 33.3078 | 32.1285 | 65.0603 | 65.4909 | 74.3118 | 60.8766 | 53.4579 | 67.3775 | 82.27 | 85.2449 | 84.3682
TNSP Total |  | 1103.1689 | 1220.8763 | 2084.752 | 2179.3839 | 1792.075 | 1786.9497 | 1966.2254 | 1945.9559 | 1525.2902 | 910.5202 | 909.5935 | 877.3039 | 911.4983 | 935.3481 | 1062.007 | 1636.7313 | 1471.6447 | 2072.5333 | 2033.689 | 2887.4162
Sources:
Actual capex has been taken from roll forward models developed as part of final regulatory decisions made by the AER or jurisdictional regulators, and as updated by the Australian Competition Tribunal where applicable. If no RFM data is available, Category analysis RIN responses are used.

## 4. Capex by Driver
Capital expenditure by driver
Capital expenditures (Capex) by driver shows how the TNSP's capex expenditure was split into replacements, augmentation, connections, non-network and overheads.
Capex by Driver
($m 2025) | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Augmentation | 1348.9519 | 836.7815 | 933.8835 | 676.8575 | 730.3198 | 693.8214 | 62.4643 | 145.4431 | 32.3159 | 40.0143 | 71.8147 | 230.8773 | 793.8876 | 474.4741 | 1086.935 | 1090.893 | 2034.2285
Overheads | 110.85 | 126.5056 | 115.2523 | 121.7167 | 127.021 | 106.8584 | 94.5821 | 87.9415 | 98.4727 | 94.8057 | 85.9294 | 82.4167 | 87.9566 | 101.4199 | 91.797 | 109.7879 | 124.1682
Connections | 53.6592 | 79.0537 | 85.5287 | 67.0084 | 44.6619 | 107.2887 | 71.1903 | 98.354 | 51.1965 | 24.5194 | 30.9908 | 24.1265 | 42.7258 | 58.0714 | 54.9788 | 31.0758 | 1.8326
Non-network | 128.6602 | 119.9419 | 148.005 | 132.817 | 159.7387 | 158.867 | 96.1065 | 72.8497 | 90.0573 | 142.2059 | 111.1593 | 160.5038 | 108.155 | 104.0251 | 166.0544 | 162.6391 | 169.8004
Replacement | 599.5895 | 568.8133 | 498.3094 | 716.6332 | 922.9858 | 852.5776 | 663.0778 | 551.2932 | 616.9242 | 613.1681 | 605.6372 | 492.7201 | 594.8895 | 742.2732 | 612.8918 | 544.041 | 392.8278
Powerlink
($m 2025) | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Augmentation | 586.8656 | 282.832 | 380.922 | 263.5659 | 248.7435 | 342.176 | 12.6776 | 15.1471 | 0 | 2.7375 | 0 | 10.8057 | 0 | 0 | 0 | 3.0603 | 6.7926
Overheads | 44.3627 | 35.667 | 32.6978 | 31.7339 | 31.0365 | 25.7557 | 16.4397 | 9.1914 | 15.2692 | 10.4856 | 15.2059 | 5.4493 | 6.3457 | 12.7522 | 7.8224 | 8.1586 | 42.6152
Connections | 23.0133 | 5.741 | 5.8999 | 7.9869 | 3.9013 | 6.6587 | 1.8151 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.0034655
Non-network | 37.4999 | 47.6725 | 47.8231 | 40.5568 | 44.0548 | 17.1391 | 9.9937 | 16.7431 | 22.161 | 43.5821 | 26.6128 | 30.3771 | 29.0574 | 24.2652 | 32.2797 | 42.2694 | 53.0924
Replacement | 240.1777 | 197.0689 | 101.9937 | 256.095 | 295.8108 | 323.5576 | 189.1545 | 65.7231 | 146.5638 | 78.6449 | 156.6783 | 40.2381 | 96.4012 | 177.1122 | 123.7192 | 131.3699 | 93.2917
Transgrid
($m 2025) | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Augmentation | 659.2148 | 367.2881 | 273.2767 | 234.2209 | 363.7452 | 304.4152 | 28.6273 | 68.8603 | 6.0447 | 5.558 | 21.9826 | 95.8524 | 709.4665 | 322.0586 | 760.2847 | 1030.506 | 1963.6299
Overheads | 37.0478 | 57.1342 | 41.2337 | 47.8836 | 52.3692 | 42.9408 | 42.8691 | 37.8038 | 39.4071 | 39.9587 | 31.098 | 36.1416 | 47.6318 | 54.1955 | 53.9501 | 64.7967 | 38.3387
Connections | 0 | 0 | 0 | 0 | 0 | 3.7305 | 3.1993 | 2.2839 | 0.99741 | 0.41973 | 0.96146 | 1.3679 | 2.2513 | 7.906 | 1.8028 | 2.3345 | 1.836
Non-network | 50.0474 | 32.311 | 38.0108 | 56.222 | 69.5223 | 91.9303 | 45.7138 | 26.8382 | 29.2851 | 37.147 | 35.503 | 34.9982 | 35.7435 | 45.3859 | 90.1476 | 77.46 | 55.6843
Replacement | 123.6177 | 148.5933 | 174.8383 | 165.3625 | 186.0903 | 203.7105 | 213.0456 | 177.1984 | 153.3355 | 201.1961 | 161.8414 | 186.2894 | 177.489 | 172.2477 | 194.2379 | 129.5753 | 178.8315
AusNet Services
($m 2025) | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Augmentation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Overheads | 15.5288 | 16.6283 | 17.9172 | 19.3828 | 22.1116 | 19.3003 | 17.159 | 22.6433 | 17.1007 | 12.3717 | 8.9457 | 8.735 | 7.2207 | 8.3503 | 7.85 | 9.1349 | 9.9186
Connections | 11.6516 | 34.7714 | 8.1293 | 5.2665 | 21.1241 | 77.0106 | 41.5643 | 93.1278 | 45.7939 | 23.7318 | 26.5754 | 22.1697 | 38.0838 | 49.7053 | 53.1747 | 28.7413 | 0
Non-network | 17.0442 | 13.7006 | 20.2 | 16.6588 | 22.8284 | 28.7513 | 28.3439 | 13.1033 | 10.4379 | 13.9798 | 16.3491 | 73.893 | 18.7593 | 12.6088 | 16.042 | 18.4201 | 27.3578
Replacement | 111.3251 | 135.3967 | 122.4551 | 155.0963 | 196.8453 | 150.861 | 156.8583 | 157.7137 | 145.6867 | 139.3516 | 154.6265 | 160.4398 | 143.1737 | 109.4961 | 97.2344 | 125.5936 | 147.8114
ElectraNet
($m 2025) | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Augmentation | 18.0343 | 57.5511 | 227.4647 | 110.9616 | 104.1636 | 41.4206 | 20.9735 | 61.1157 | 24.6962 | 27.6552 | 45.5238 | 122.2931 | 82.6078 | 147.9317 | 317.9222 | 47.7364 | 31.7815
Overheads | 9.1651 | 12.1336 | 17.8353 | 18.5047 | 17.9121 | 15.4512 | 14.4946 | 12.686 | 13.082 | 17.7775 | 13.6844 | 12.7709 | 13.376 | 13.8261 | 9.0435 | 15.7874 | 20.2803
Connections | 18.2839 | 29.4293 | 39.0391 | 20.61 | 16.9502 | 19.739 | 24.6084 | 2.9411 | 4.4052 | 0.36792 | 3.454 | 0.15144 | 0 | 0 | 0 | 0 | 0
Non-network | 10.6151 | 12.3918 | 10.4497 | 9.8598 | 16.032 | 14.0398 | 7.8635 | 9.2726 | 15.3036 | 35.4699 | 26.7817 | 12.9422 | 15.3063 | 14.8695 | 20.3617 | 12.9023 | 52.8455
Replacement | 92.0914 | 62.7329 | 41.6938 | 81.0058 | 152.1535 | 84.8216 | 82.0202 | 131.6793 | 134.9751 | 159.265 | 100.3887 | 74.9276 | 151.1569 | 253.7834 | 162.5201 | 104.2262 | 87.493
TasNetworks
($m 2025) | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Augmentation | 84.8371 | 129.1104 | 52.22 | 68.1091 | 13.6674 | 5.8096 | 0.18582 | 0.31998 | 1.575 | 4.0637 | 4.3083 | 1.9261 | 1.8133 | 4.4838 | 8.728 | 9.5903 | 32.0245
Overheads | 4.7456 | 4.9426 | 5.5684 | 4.2117 | 3.5916 | 3.4104 | 3.6197 | 5.6169 | 13.6136 | 14.2122 | 16.9954 | 19.3199 | 13.3824 | 12.2958 | 13.131 | 11.9104 | 13.0154
Connections | 0.71036 | 9.112 | 32.4604 | 33.145 | 2.6864 | 0.14979 | 0.0031003 | 0.0012449 | 0 | 0 | 0 | 0.43745 | 2.3907 | 0.46006 | 0.001271 | 0 | 0
Non-network | 13.4535 | 13.866 | 31.5213 | 9.5196 | 7.3012 | 7.0065 | 4.1916 | 6.8924 | 12.8697 | 12.0272 | 5.9128 | 8.2933 | 9.2884 | 6.8957 | 7.2235 | 11.5873 | 8.1782
Replacement | 32.3776 | 25.0215 | 57.3284 | 59.0735 | 92.0859 | 89.6268 | 21.9993 | 18.9788 | 36.3631 | 34.7105 | 32.1021 | 30.8253 | 26.6687 | 29.6338 | 35.1802 | 53.276 | 33.2115
Sources:
Category Analysis RIN / Annual Information Order (AIO) responses.
Notes:
The Category Analysis RIN may result in some expenditures being classified into more than one driver. (For example, some connections capex may also be reported under augmentation capex). As such the total capex by driver may not reconcile with the total capex shown on 3. Capex. Augmentation of Victorian transmission networks is carried out by AEMO, hence $0 Augmentation expenditure is reported by AusNet Services.

## 5. Opex
Operating expenditure
Operating expenditure (opex) includes network operation, maintenance and other non-capital costs incurred by the transmission businesses. Easement taxes applicable to AusNet Services have been removed.
.
Forecast Opex
$m 2025 | State | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Powerlink | QLD | 152.507 | 152.5129 | 226.2628 | 227.2663 | 244.2249 | 233.4917 | 240.4857 | 248.4178 | 257.8662 | 264.4289 | 274.3304 | 282.2827 | 249.519 | 248.432 | 247.2621 | 246.354 | 246.1963 | 244.4972 | 247.4007 | 246.4098
Transgrid | NSW | 203.6657 | 203.0189 | 202.498 | 202.1798 | 239.8225 | 231.4395 | 237.3423 | 250.7917 | 253.3242 | 226.2962 | 224.762 | 230.7771 | 222.1094 | 218.3136 | 222.2402 | 227.5385 | 238.1388 | 228.6189 | 220.1567 | 237.0748
AusNet Services | VIC | 130.0073 | 130.0073 | 130.0073 | 129.0489 | 128.034 | 128.0007 | 126.4326 | 125.7503 | 124.0456 | 112.6391 | 115.5171 | 116.4783 | 116.8647 | 117.4853 | 118.7494 | 118.9033 | 119.4957 | 120.8189 | 121.1038 | 120.1133
ElectraNet | SA | 86.9159 | 86.9159 | 86.9159 | 86.6084 | 89.3233 | 92.4135 | 96.8093 | 100.4861 | 109.114 | 113.2586 | 115.3162 | 121.5185 | 121.9932 | 112.3853 | 112.9845 | 115.0597 | 116.516 | 115.6963 | 147.706 | 151.8346
TasNetworks | TAS | 54.9757 | 52.9339 | 48.4799 | 48.3272 | 75.2573 | 76.3135 | 75.7401 | 79.3163 | 78.8379 | 58.5363 | 57.7373 | 58.0488 | 58.3509 | 57.7054 | 36.722 | 36.8472 | 37.0305 | 37.2197 | 37.4156 | 40.7953
TNSP Total |  | 628.0716 | 625.3889 | 694.164 | 693.4306 | 776.662 | 761.6588 | 776.8101 | 804.7623 | 823.1879 | 775.1591 | 787.6631 | 809.1053 | 768.8372 | 754.3216 | 737.9582 | 744.7027 | 757.3772 | 746.851 | 773.7829 | 796.2277
Sources:
Forecast capex is sourced from post tax revenue models (PTRMs) developed as part of final regulatory decisions made by the AER or jurisdictional regulators, and as adjusted by the Australian Competition Tribunal where applicable. Updates to the models are also taken into account. The forecast opex excludes efficiency carryovers, capex efficiencies items and easement tax.
Actual Opex
$m 2025 | State | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Powerlink | QLD | 199.6657 | 209.921 | 228.245 | 218.8298 | 226.7155 | 218.6127 | 226.5906 | 231.7378 | 243.999 | 278.834 | 283.5396 | 289.7661 | 235.5209 | 245.7369 | 244.6727 | 251.6496 | 241.3265 | 240.9069 | 271.5839 | 241.053
Transgrid | NSW | 203.1802 | 201.688 | 189.8197 | 190.4635 | 214.0385 | 199.6546 | 215.1535 | 198.2884 | 237.0229 | 221.8724 | 219.8506 | 217.4886 | 192.7669 | 190.3702 | 195.4609 | 201.3279 | 216.9509 | 229.6789 | 227.0027 | 251.5235
AusNet Services | VIC | 104.7745 | 101.7844 | 93.0522 | 119.9239 | 120.2658 | 110.1828 | 103.7399 | 105.7656 | 112.1656 | 111.9285 | 115.9937 | 112.1554 | 103.0763 | 107.5116 | 96.776 | 86.6716 | 97.0292 | 93.6087 | 103.3222 | 105.7613
ElectraNet | SA | 81.4035 | 86.6189 | 78.3039 | 84.0531 | 85.9121 | 93.1669 | 102.538 | 97.6379 | 99.9527 | 105.0593 | 110.8582 | 114.7892 | 116.9022 | 115.0526 | 120.91 | 119.1479 | 117.1057 | 121.1441 | 125.2426 | 141.9282
TasNetworks | TAS | 59.6196 | 61.7019 | 73.4703 | 71.5621 | 71.3952 | 67.4707 | 66.3709 | 62.3442 | 61.5343 | 45.7725 | 48.7637 | 40.9124 | 36.3735 | 38.3523 | 32.9569 | 36.7035 | 37.7733 | 37.2807 | 37.3426 | 42.7508
TNSP Total |  | 648.6434 | 661.7143 | 662.8911 | 684.8325 | 718.3271 | 689.0877 | 714.3928 | 695.7739 | 754.6746 | 763.4668 | 779.0058 | 775.1117 | 684.6398 | 697.0236 | 690.7766 | 695.5005 | 710.1856 | 722.6193 | 764.4939 | 783.0168
Sources:
Economic Benchmarking RIN / Annual Information Order (AIO) responses.

## 6. Incentive Schemes
Incentive Schemes
Incentive schemes incentivise TNSPs to outperform their revenue allowance to keep a share of profits or losses incurred. These schemes are targeted at improving efficiency, reliability and other factors to deliver better outcomes for consumers.
Incentive Schemes
$m 2025 | State | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Powerlink | QLD | 26.2061 | 23.3944 | 8.3851 | 26.8372 | 29.098 | 14.5241 | 1.3309 | 1.0913 | 0.51277 | 3.3992 | -10.18 | -6.9713
Transgrid | NSW | 7.7337 | 39.9597 | 33.7153 | 35.9714 | 35.4678 | 25.1582 | 42.3789 | 22.3781 | 24.0945 | 17.4816 | 18.828 | -8.6105
AusNet Services | VIC | 18.1357 | 31.7343 | 36.3834 | 26.7237 | 12.2649 | 7.7762 | 14.4624 | 14.5744 | 17.1284 | 27.6509 | 16.2023 | 24.1618
ElectraNet | SA | -3.0063 | -0.43874 | 7.7111 | 3.9236 | 11.7873 | 6.6842 | 6.2027 | 0.83468 | 8.6236 | 5.366 | -7.2645 | 0.53086
TasNetworks | TAS | 0.97161 | 18.272 | 15.3439 | 16.3531 | 9.2485 | 3.7696 | 25.5032 | 14.8081 | 14.9917 | 9.0386 | 3.962 | 5.1758
TNSP Total |  | 50.0408 | 112.9216 | 101.5387 | 109.8091 | 97.8665 | 57.9123 | 89.8781 | 53.6865 | 65.351 | 62.9363 | 21.5479 | 14.2866
Efficient Benefit Sharing Scheme
$m 2025 | State | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Powerlink | QLD | -0.94354 | -3.871 | 2.9493 | 0 | -1.0358 | -8.6812 | -3.8247 | 3.5777 | 0 | 5.9107 | -6.6086 | 0
Transgrid | NSW | -4.0485 | 28.4448 | 17.9682 | 20.5361 | 15.9735 | -2.6861 | 13.887 | -2.2251 | 6.1991 | -2.7125 | 15.7853 | -0.38002
AusNet Services | VIC | 6.6894 | 17.4996 | 17.011 | 16.6118 | 0.18932 | 0.18827 | 0.1873 | 0.18692 | 0.18511 | 16.5943 | 14.845 | 14.2778
ElectraNet | SA | -1.7563 | -4.6875 | -1.8382 | 0 | 5.8305 | -1.5143 | -1.3924 | -1.7994 | 0 | 0.38315 | -8.8434 | 0.7942
TasNetworks | TAS | 0 | 16.51 | 11.389 | 9.2471 | 5.5999 | 0 | 21.3483 | 10.6956 | 11.3439 | 4.4738 | 0 | 1.2167
TNSP Total |  | -0.059005 | 53.8959 | 47.4793 | 46.395 | 26.5575 | -12.6933 | 30.2055 | 10.4357 | 17.7281 | 24.6494 | 15.1783 | 15.9087
Service target performance incentive scheme
$m 2025 | State | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Powerlink | QLD | 27.1497 | 27.2653 | 5.4358 | 26.8372 | 30.1337 | 23.2053 | 5.1556 | -2.4865 | 0.51277 | -2.1874 | -3.2473 | -6.6473
Transgrid | NSW | 11.7822 | 11.5148 | 15.747 | 15.4353 | 19.4943 | 19.4809 | 20.1284 | 16.2397 | 9.5319 | 11.8306 | 9.3527 | -1.9205
AusNet Services | VIC | 11.4464 | 14.2347 | 19.3724 | 10.1119 | 12.0756 | 7.588 | 14.2751 | 14.3875 | 16.9432 | 8.4379 | -1.2245 | 7.3021
ElectraNet | SA | -1.25 | 4.2488 | 9.5494 | 3.9236 | 5.9568 | 8.1984 | 7.5951 | 2.6341 | 8.6236 | 4.9828 | 1.7098 | -0.13241
TasNetworks | TAS | 0.97161 | 1.7621 | 2.1368 | 1.3741 | 0.45761 | 3.7696 | 3.1813 | 3.1389 | 2.6743 | 3.5912 | 2.9884 | 3.1185
TNSP Total |  | 50.0998 | 59.0257 | 52.2414 | 57.6821 | 68.118 | 62.2422 | 50.3355 | 33.9138 | 38.2858 | 26.6551 | 9.5792 | 1.7204
Capital Efficient Sharing Scheme
$m 2025 | State | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Powerlink | QLD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.32406 | -0.32406 | -0.32406
Transgrid | NSW | 0 | 0 | 0 | 0 | 0 | 8.3635 | 8.3635 | 8.3635 | 8.3635 | 8.3635 | -7.3079 | -7.3079
AusNet Services | VIC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9164 | 1.9164 | 1.9164
ElectraNet | SA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.61031 | -0.61031
TasNetworks | TAS | 0 | 0 | 0 | 0 | 0 | 0 | 0.97358 | 0.97358 | 0.97358 | 0.97358 | 0.97358 | 0.6257
TNSP Total |  | 0 | 0 | 0 | 0 | 0 | 8.3635 | 9.337 | 9.337 | 9.337 | 10.9294 | -5.3523 | -5.7002
Demand Management Incentive Scheme / Demand Management Innovation Allowance
$m 2025 | State | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Powerlink | QLD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Transgrid | NSW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99787 | 0.99787
AusNet Services | VIC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7023 | 0.66545 | 0.66558
ElectraNet | SA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.47938 | 0.47938
TasNetworks | TAS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.21486
TNSP Total |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7023 | 2.1427 | 2.3577
Other
$m 2025 | State | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Powerlink | QLD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Transgrid | NSW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AusNet Services | VIC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ElectraNet | SA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TasNetworks | TAS | 0 | 0 | 1.8181 | 5.7319 | 3.191 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TNSP Total |  | 0 | 0 | 1.8181 | 5.7319 | 3.191 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sources:
Economic Benchmarking RINs / Annual Information Order (AIO) or PTRMs developed as part of final regulatory decisions made by the AER or jurisdictional regulators.
Note:
The incentive schemes for the Capital Efficient Sharing Scheme and Demand Management Incentive Scheme / Demand Management Innovation Allowance incentive schemes have determined by disclosures by the NSPs in the Basis of Preparation for the respective Economic Benchmaking RIN and reveue adjusments in the Post Tax Revenue Models for the regulatory year.

## 7. Loss of supply events
Loss of supply events
Loss of supply events measure the number of times energy is not available for set periods of times to transmission network customers. These thresholds vary for each business between 0.05 and 1.0 system minute and form part of the STPIS relevant to the TNSPs.
Loss of supply events
| State | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Powerlink | QLD | 2 | 2 | 2 | 2 | 0 | 4 | 1 | 0 | 5 | 2 | 1 | 6 | 2 | 0 | 0 | 3 | 2 | 2 | 0
Transgrid | NSW | 2 | 5 | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 2 | 1 | 1 | 3 | 1 | 0 | 1 | 1 | 5
AusNet Services | VIC | 5 | 2 | 1 | 6 | 1 | 0 | 2 | 5 | 3 | 2 | 3 | 0 | 0 | 1 | 3 | 0 | 0 | 0 | 1
ElectraNet | SA | 4 | 1 | 4 | 4 | 12 | 7 | 7 | 5 | 4 | 1 | 5 | 4 | 3 | 4 | 1 | 0 | 5 | 4 | 2
TasNetworks | TAS | 16 | 10 | 6 | 8 | 9 | 11 | 10 | 10 | 5 | 4 | 2 | 4 | 2 | 2 | 8 | 2 | 7 | 3 | 2
Total events |  | 29 | 20 | 15 | 23 | 25 | 25 | 23 | 23 | 20 | 13 | 13 | 15 | 8 | 10 | 13 | 5 | 15 | 10 | 10
Sources:
Economic Benchmarking RIN responses: 2006 to 2013, AER analysis: from 2014.

## 8. Average outage duration
Average outage duration
Average outage duration is calculated as the total duration of outages divided by the number of events for each network. This includes emergency and extreme events and outages with less than 24 hours notice to affected customers. Outages caused by third party systems, at the direction of emergency services/AEMO, planned outages or transient interruptions of less than a minute are not included in this data.
Average outage duration
Minutes | State | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Powerlink | QLD | 39.0348 | 1249.9434 | 35.2896 | 62.2762 | 16.62 | 86.7694 | 26.0867 | 5.6214 | 115.971 | 236.2287 | 30.06 | 27.4519 | 36.2382 | 15 | 36.2037 | 51.0688 | 328 | 323 | 46.28
Transgrid | NSW | 64.84 | 125.4 | 34.28 | 84.96 | 225.83 | 137.11 | 94.23 | 178.69 | 71.14 | 63.55 | 169.1775 | 35.64 | 58.2 | 69.825 | 45.1714 | 72.2381 | 94.5667 | 126 | 948.16
AusNet Services | VIC | 61.9 | 27.6 | 71.5 | 103.1 | 92.5 | 4 | 230 | 19.9 | 24 | 97.5 | 39.8333 | 19 | 24.5 | 87 | 72.3 | 47.3 | 20 | 25 | 108.73
ElectraNet | SA | 88.46 | 269.94 | 200.2 | 161.27 | 126.85 | 242.28 | 124.76 | 154.17 | 130.71 | 147 | 250.5714 | 97.4 | 463 | 192 | 205 | 199.875 | 227 | 402 | 225.27
TasNetworks | TAS | 53.8462 | 142.7619 | 112.9 | 67.1579 | 127.7692 | 90.8667 | 110.8846 | 160.9412 | 201 | 74 | 15 | 410.4545 | 45.9091 | 273 | 105 | 19 | 112 | 300 | 226.92
Sources:
Economic Benchmarking RIN responses: 2006 to 2013, AER analysis: from 2014.

## 9. Market impact
Market impact
Market impact measures the relative disruption of outages on customers. The relative disruption is determined by estimating the impact on energy price in the NEM - if an outage increases the energy price by more than $10/MWh it is counted in the market impact measure. The chart shows the percentage of dispatch intervals where a transmission outage impacted on the energy price. The data excludes outages caused by force majeure events, resulting from third party systems, required to maintain personal safety or security, and other specific exclusions.
Market impact indicator
| State | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Powerlink | QLD | 3.738% | 2.528% | 1.248% | 0.9874% | 1.483% | 0.3177% | 0.2236% | 0.09228% | 3.749% | 0.02568% | 0.03995% | 0.06944% | 0.2064% | 12.01% | 22.74% | 10.78% | 5.011% | 2.13% | 0.6345%
Transgrid | NSW | 2.588% | 3.258% | 2.814% | 2.398% | 0.742% | 0.8295% | 0.7011% | 0.5641% | 0.713% | 1.264% | 2.907% | 6.478% | 6.732% | 1.362% | 15.9% | 32.75% | 13.83% | 21.93% | 49.37%
AusNet Services | VIC | 1.153% | 2.547% | 3.142% | 1.442% | 2.092% | 3.16% | 2.481% | 1.281% | 0.8286% | 0.9218% | 6.364% | 4.276% | 0.3025% | 1.887% | 0.9199% | 3.573% | 6.045% | 1.452% | 2.625%
ElectraNet | SA | 27% | 10.4% | 5.278% | 3.538% | 2.149% | 1.686% | 5.066% | 2.784% | 0.09132% | 10.27% | 11.12% | 2.215% | 6.868% | 7.473% | 6.873% | 13.81% | 14.98% | 16.89% | 8.801%
TasNetworks | TAS | 0.2949% | 5.667% | 0.3196% | 0.9912% | 3.778% | 0.6935% | 1.338% | 1.7% | 1.547% | 0.235% | 2.725% | 2.57% | 3.928% | 1.67% | 1.326% | 1.311% | 0.9932% | 1.202% | 1.717%
Sources:
Economic Benchmarking RIN responses: 2006-13, AER analysis: from 2014.
Notes:
From 2022, the AER allowed TNSPs to expand their market impact component exclusion categories, as detailed in the “Guidance note: Transmission Service Target Performance Incentive Scheme”. This has impacted the market impact trend for TNSPs and may not be reflective of changes in a TNSP’s actual performance.
Click here to see the Guidance note.

## 10. Maximum demand
Maximum demand
Maximum demand is reported as the coincident maximum demand on each transmisison network and provides the overall demand at the point in time when demand on the network was at its highest.
Maximum demand (MW)
| State | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Powerlink | QLD | 7336.8405 | 7758.2674 | 7281.0681 | 7848.6144 | 8002.8246 | 7797.4508 | 7740.0071 | 7681.4389 | 7637.8836 | 8105.0588 | 8272.1219 | 8547.9858 | 8788.5806 | 8968.9725 | 8766.413 | 8478.9834 | 9171.1071 | 8941.3332 | 9428.8764 | 10068.6391
Transgrid | NSW | 12600 | 12400 | 13200 | 13700 | 13200 | 13700 | 11900 | 12700 | 12100 | 10900 | 11900 | 13200 | 12200 | 13000 | 13500 | 11700 | 12000 | 12400 | 12400 | 12400
AEMO | VIC | 6717.51 | 7719 | 8721.38 | 9260.43 | 8974.76 | 8812.86 | 8071.43 | 8410.82 | 9137.4 | 7714.953 | 8780.0097 | 7979.837 | 8393.988 | 8683.903 | 8947.7 | 7786.059 | 7969 | 8362 | 8601.6366 | 9200.34
ElectraNet | SA | 2716.6624 | 2707.0493 | 2939.8044 | 3128.4198 | 3055.2124 | 3169.0991 | 2807.6774 | 2913.556 | 3115.1382 | 2668.4565 | 2804.4766 | 2955.0152 | 2812.0037 | 3192.8984 | 2922.5114 | 2744.446 | 2501.1071 | 3014.8583 | 2667.5965 | 3122.7036
TasNetworks | TAS | 1949.873 | 2329.506 | 2245.082 | 2154.23 | 2267.071 | 2238.723 | 2264.047 | 2184.59 | 2132 | 2143.1572 | 2218.9 | 1963.6911 | 2184.5048 | 2147.1028 | 2047.9268 | 2040.7527 | 2117.4324 | 2139.9184 | 2127.1411 | 2156.3728
Sources:
Economic benchmarking RIN / Annual Information Order (AIO) responses, and AEMO responses to AER data request.
Notes:
AEMO 2007 - this data is an average of the reported amounts in 2006 and 2008.

## 11. Energy delivered
Energy delivered
Energy delivered is a measure of energy transported through the transmission networks over the course of a year.
Energy delivered (GWh) - excluding energy delivered to other transmission networks
Gwh (000's) | State | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Transmission total |  | 182.6315 | 186.1767 | 187.6297 | 187.1798 | 185.0937 | 181.766 | 179.2171 | 174.7996 | 170.5629 | 173.3262 | 177.0919 | 177.3724 | 177.6527 | 173.8936 | 170.2941 | 168.0267 | 167.0961 | 166.1817 | 170.0586 | 171.2555
Energy delivered (GWh) - including energy delivered to other transmission networks
Gwh | State | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Powerlink | QLD | 51045.9634 | 51964.4657 | 51187.3276 | 52191.9483 | 52848.5206 | 51917.0712 | 50878.577 | 49333.9387 | 47613.5814 | 53087.5634 | 52872.3876 | 54253.3 | 54849.858 | 53765.2942 | 53076.3689 | 51783.2639 | 51131.7613 | 51282.3907 | 52798.305 | 52760.7757
Transgrid | NSW | 81538.3666 | 83028.2574 | 82531.571 | 81126.238 | 80626.1195 | 79831.3344 | 76646.1506 | 71147.6682 | 67800 | 74400 | 72200 | 75000 | 75700 | 74400 | 72900 | 71300 | 68200 | 70000 | 71100 | 71800
AEMO | VIC | 45186.2997 | 45956.4371 | 45046.718 | 47419.179 | 48976.6362 | 48047.971 | 47529.3613 | 49056.4285 | 48503.7716 | 47967.077 | 47805.2458 | 46829.3016 | 41725 | 41479.994 | 41527.84 | 42258.7 | 44066.7 | 43304.853 | 47211.3414 | 42791.2882
ElectraNet | SA | 15241.2113 | 14809 | 14506.5464 | 14847.6296 | 15008.4583 | 15262.774 | 15069.1341 | 15061.0228 | 14648.121 | 14485.734 | 15043.1491 | 15106.1611 | 14127.7581 | 13786.7147 | 13856.5151 | 13621.769 | 13615.8571 | 13473.9018 | 12610.6594 | 13580.9777
TasNetworks | TAS | 10530.1088 | 12828.493 | 13500.337 | 13412.711 | 13030.212 | 13108.443 | 12589.843 | 12866.188 | 13359.9638 | 13109.6241 | 11654.5739 | 12426.6633 | 12434.3261 | 12884.564 | 12412.8887 | 12909.205 | 13236.6316 | 12972.703 | 13276.7759 | 13094.8236
Sources:
Economic Benchmarking RIN / Annual Information Order (AIO) responses.

## 12. Circuit length
Circuit length
The circuit length data is measured at the end of each regulatory year. It includes both overhead lines and underground cables. Circuit length is always greater than or equal to route length, for example a double circuit line that traverses 10 kms is counted as 20 km of circuit length.
Circuit length
| State | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Powerlink | QLD | 11700.8 | 11892.8 | 12428.8 | 12865.1 | 13321.1 | 13738.4 | 13702.4 | 14313.5 | 14772.5 | 14754.5 | 14755.5 | 14532.5 | 14527.5 | 14526.2 | 14528.2 | 14534.2 | 14535.2 | 14547.2 | 14551.239 | 14479.2
Transgrid | NSW | 12517.231 | 12526.494 | 12523.514 | 12523.349 | 12682.459 | 12681.863 | 12697.207 | 12893.617 | 12929.666 | 13024.7647 | 13039.195 | 13078.1134 | 13089.4947 | 13052.3752 | 13052.4513 | 13038.453 | 13074.843 | 13077.065 | 13077.509 | 13369.908
AusNet Services | VIC | 6573 | 6573 | 6573 | 6573 | 6573 | 6573 | 6573 | 6573 | 6573 | 6573.2 | 6558.8448 | 6559.9721 | 6623.72 | 6627.77 | 6731.1112 | 6734.02 | 6628.545 | 6627.5229 | 6550.583 | 6551.1528
ElectraNet | SA | 5600.539 | 5518.669 | 5518.669 | 5503.669 | 5501.669 | 5504.669 | 5526.069 | 5527.349 | 5529.4031 | 5521.349 | 5524.349 | 5519.569 | 5522.169 | 5512.669 | 5519.579 | 5515.139 | 5518.039 | 6041.739 | 6238.789 | 6242.031
TasNetworks | TAS | 3581.3 | 3622.3 | 3622.3 | 3520.3 | 3481.3 | 3493.3 | 3493.3 | 3503.19 | 3503.8 | 3563.7 | 3563.7 | 3563.7 | 3545.2 | 3545.2 | 3350.5372 | 3350.235 | 3338.083 | 3337.1811 | 3337.154 | 3319.7868
Total |  | 39972.87 | 40133.263 | 40666.283 | 40985.418 | 41559.528 | 41991.232 | 41991.976 | 42810.656 | 43308.3691 | 43437.5137 | 43441.5888 | 43253.8545 | 43308.0837 | 43264.2142 | 43181.8787 | 43172.047 | 43094.71 | 43630.708 | 43755.274 | 43962.0786
Circuit length - overhead
| State | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Powerlink | QLD | 11685 | 11877 | 12413 | 12848 | 13304 | 13717 | 13681 | 14292 | 14751 | 14733 | 14734 | 14511 | 14506 | 14506 | 14508 | 14514 | 14515 | 14527 | 14531 | 14459
Transgrid | NSW | 12469.323 | 12478.586 | 12475.606 | 12475.441 | 12634.551 | 12633.955 | 12649.299 | 12845.709 | 12878.229 | 12942.5407 | 12956.955 | 12996.5324 | 13007.8547 | 12966.9672 | 12966.7433 | 12952.745 | 12968.515 | 12970.737 | 12971.181 | 13263.58
AusNet Services | VIC | 6562 | 6562 | 6562 | 6562 | 6562 | 6562 | 6562 | 6562 | 6562 | 6562 | 6547.6448 | 6551.4297 | 6615.18 | 6619.23 | 6722.5712 | 6725.48 | 6620.005 | 6618.9805 | 6542.0407 | 6542.6104
ElectraNet | SA | 5591.75 | 5509.88 | 5509.88 | 5494.88 | 5492.88 | 5495.88 | 5498.88 | 5500.16 | 5502.2141 | 5494.16 | 5497.16 | 5492.37 | 5494.97 | 5485.47 | 5492.38 | 5487.94 | 5490.84 | 6014.54 | 6211.59 | 6214.832
TasNetworks | TAS | 3568 | 3609 | 3609 | 3507 | 3468 | 3480 | 3480 | 3480 | 3480 | 3539.9 | 3539.9 | 3539.9 | 3521.4 | 3521.4 | 3326.3732 | 3326.071 | 3312.883 | 3311.9571 | 3311.93 | 3294.5628
Total |  | 39876.073 | 40036.466 | 40569.486 | 40887.321 | 41461.431 | 41888.835 | 41871.179 | 42679.869 | 43173.4431 | 43271.6007 | 43275.6598 | 43091.2321 | 43145.4047 | 43099.0672 | 43016.0677 | 43006.236 | 42907.243 | 43443.2146 | 43567.7417 | 43774.5852
Circuit length - underground
| State | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2024
Powerlink | QLD | 15.8 | 15.8 | 15.8 | 17.1 | 17.1 | 21.4 | 21.4 | 21.5 | 21.5 | 21.5 | 21.5 | 21.5 | 21.5 | 20.2 | 20.2 | 20.2 | 20.2 | 20.2 | 20.239 | 20.2
Transgrid | NSW | 47.908 | 47.908 | 47.908 | 47.908 | 47.908 | 47.908 | 47.908 | 47.908 | 51.437 | 82.224 | 82.24 | 81.581 | 81.64 | 85.408 | 85.708 | 85.708 | 106.328 | 106.328 | 106.328 | 106.328
AusNet Services | VIC | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11.2 | 11.2 | 8.5424 | 8.54 | 8.54 | 8.54 | 8.54 | 8.54 | 8.5424 | 8.5424 | 8.5424
ElectraNet | SA | 8.789 | 8.789 | 8.789 | 8.789 | 8.789 | 8.789 | 27.189 | 27.189 | 27.189 | 27.189 | 27.189 | 27.199 | 27.199 | 27.199 | 27.199 | 27.199 | 27.199 | 27.199 | 27.199 | 27.199
TasNetworks | TAS | 13.3 | 13.3 | 13.3 | 13.3 | 13.3 | 13.3 | 13.3 | 23.19 | 23.8 | 23.8 | 23.8 | 23.8 | 23.8 | 23.8 | 24.164 | 24.164 | 25.2 | 25.224 | 25.224 | 25.224
Total |  | 96.797 | 96.797 | 96.797 | 98.097 | 98.097 | 102.397 | 120.797 | 130.787 | 134.926 | 165.913 | 165.929 | 162.6224 | 162.679 | 165.147 | 165.811 | 165.811 | 187.467 | 187.4934 | 187.5324 | 187.4934
Sources:
Economic benchmarking RIN / Annual Information Order (AIO) responses.