## _@RISKFitInformation (hidden)
Created By Version | 8.13.1
Required Version | 5.0.0
Recommended Version | 5.0.0
Modified By Version | 8.13.1
Count | 13
GUID | Name | Range | CRC | Options | Comp. Graph Serialization | PP Graph Serialization | QQ Graph Serialization | Unsued | Fixed Params | Bootstrap Options | BootstrapParamGraphSerialization | BatchFit Options | BootstrapGOFGraphSerialization | FitSelector
FIT_AFD62_509D | Dataset 1 | 5.303% | 0 | F1 0 0 -1E+300 1E+300 1 0 0 0 0 1 25 BetaGeneral Binomial Expon ExtValue Gamma Geomet IntUniform InvGauss Logistic LogLogistic Lognorm NegBin Normal Pareto Pearson5 Pearson6 Pert Poisson Triang Uniform Weibull ExtValueMin Laplace Levy Kumaraswamy 0 1 -1 1 0 1 0 0 0 | GF1_rK0qDwEAEwBpAQwjACcANQByAIYAhwCVAKMAQwFlAV8BKwD//wAAAAAAAAEEAAAAAAAAAAABHEZpdCBDb21wYXJpc29uIGZvciBEYXRhc2V0IDEBG1Jpc2tQYXJldG8oMS44MzgyLDAuMDQzODAwKQEBEAACAAEKU3RhdGlzdGljcwMBAQD/AQEBAQEAAQEBAAQAAAABAQEBAQABAQEABAAAAArCAAHWAADrAAD2AAABAQAMAQAXAQAiAQAtAQA4AQASAAVJbnB1dAAAAP8AAP8BAQACABMABlBhcmV0bwABAP/cFDwBAAACAAkAAAACTwEAAAIACQAAAAOMAQAAAgAJAAAABEwBAAACAAkAAAAFOQEAAAIACQAAAAZOAQAAAgAJAAAAByMBAAACAAkAAAAIKQEAAAIACQAAAAlgAQAAAgBLAVUBAQEDAZqZmZmZmak/AABmZmZmZmbuPwAABQABAQEAAQEBAA== |  |  |  | 0 8 | F1 FALSE 1000 .95 |  |  |  | 4 | TRUE
FIT_7FF61_39DB5 | Dataset 2 | 5.303% | 0 | F1 0 0 -1E+300 1E+300 1 0 0 0 0 1 25 BetaGeneral Binomial Expon ExtValue Gamma Geomet IntUniform InvGauss Logistic LogLogistic Lognorm NegBin Normal Pareto Pearson5 Pearson6 Pert Poisson Triang Uniform Weibull ExtValueMin Laplace Levy Kumaraswamy 0 1 -1 1 0 1 0 0 0 | GF1_rK0qDwEAEwCDAQwjACcANQCKAJ4AnwCtALsAXQF/AXkBKwD//wAAAAAAAAEEAAAAAAAAAAABHEZpdCBDb21wYXJpc29uIGZvciBEYXRhc2V0IDIBM1Jpc2tJbnZHYXVzcygwLjA0Njk2NSwwLjAxNzQxMixSaXNrU2hpZnQoMC4wMzk3ODkpKQEBEAACAAEKU3RhdGlzdGljcwMBAQD/AQEBAQEAAQEBAAQAAAABAQEBAQABAQEABAAAAAraAAHuAAAFAQAQAQAbAQAmAQAxAQA8AQBHAQBSAQASAAVJbnB1dAAAAP8AAP8BAQACABUACEludkdhdXNzAAEA/9wUPAEAAAIACQAAAAJPAQAAAgAJAAAAA4wBAAACAAkAAAAETAEAAAIACQAAAAU5AQAAAgAJAAAABk4BAAACAAkAAAAHIwEAAAIACQAAAAgpAQAAAgAJAAAACWABAAACAGUBbwEBAQMBmpmZmZmZqT8AAGZmZmZmZu4/AAAFAAEBAQABAQEA |  |  |  | 0 8 | F1 FALSE 1000 .95 |  |  |  | 1 | TRUE
FIT_1C4E7_58DE4 | Dataset 3 | 4.8% | 0 | F1 0 0 -1E+300 1E+300 1 0 0 0 0 1 25 BetaGeneral Binomial Expon ExtValue Gamma Geomet IntUniform InvGauss Logistic LogLogistic Lognorm NegBin Normal Pareto Pearson5 Pearson6 Pert Poisson Triang Uniform Weibull ExtValueMin Laplace Levy Kumaraswamy 0 1 -1 1 0 1 0 0 0 | GF1_rK0qDwEAEwCLAQwjACcANQCKAJ4AnwCtALsAZQGHAYEBKwD//wAAAAAAAAEEAAAAAAAAAAABHEZpdCBDb21wYXJpc29uIGZvciBEYXRhc2V0IDMBM1Jpc2tJbnZHYXVzcygwLjA1MTU1NywwLjAzMjQ4NixSaXNrU2hpZnQoMC4wNDEyMzkpKQEBEAACAAEKU3RhdGlzdGljcwMBAQD/AQEBAQEAAQEBAAQAAAABAQEBAQABAQEABAAAAAraAAHuAAAFAQAYAQAjAQAuAQA5AQBEAQBPAQBaAQASAAVJbnB1dAAAAP8AAP8BAQACABUACEludkdhdXNzAAEA/9wUPAEAAAIAEQAISW52R2F1c3MAAk8BAAACAAkAAAADjAEAAAIACQAAAARMAQAAAgAJAAAABTkBAAACAAkAAAAGTgEAAAIACQAAAAcjAQAAAgAJAAAACCkBAAACAAkAAAAJYAEAAAIAbQF3AQEBAwGamZmZmZmpPwAAZmZmZmZm7j8AAAUAAQEBAAEBAQA= |  |  |  | 0 8 | F1 FALSE 1000 .95 |  |  |  | 1 | TRUE
FIT_2539C_98FA7 | Dataset 4 | 12.33% | 0 | F1 0 0 -1E+300 1E+300 1 0 0 0 0 1 25 BetaGeneral Binomial Expon ExtValue Gamma Geomet IntUniform InvGauss Logistic LogLogistic Lognorm NegBin Normal Pareto Pearson5 Pearson6 Pert Poisson Triang Uniform Weibull ExtValueMin Laplace Levy Kumaraswamy 0 1 -1 1 0 1 0 0 0 | GF1_rK0qDwEAEwBzAQwjACcANQB6AI4AjwCdAKsATQFvAWkBKwD//wAAAAAAAAEEAAAAAAAAAAABHEZpdCBDb21wYXJpc29uIGZvciBEYXRhc2V0IDQBI1Jpc2tQZXJ0KDAuMDQxNjMyLDAuMDQxNjMyLDAuNDM2NzUpAQEQAAIAAQpTdGF0aXN0aWNzAwEBAP8BAQEBAQABAQEABAAAAAEBAQEBAAEBAQAEAAAACsoAAd4AAPEAAAABAAsBABYBACEBACwBADcBAEIBABIABUlucHV0AAAA/wAA/wEBAAIAEQAEUGVydAABAP/cFDwBAAACAA0ABExldnkAAk8BAAACAAkAAAADjAEAAAIACQAAAARMAQAAAgAJAAAABTkBAAACAAkAAAAGTgEAAAIACQAAAAcjAQAAAgAJAAAACCkBAAACAAkAAAAJYAEAAAIAVQFfAQEBAwGamZmZmZmpPwAAZmZmZmZm7j8AAAUAAQEBAAEBAQA= |  |  |  | 0 8 | F1 FALSE 1000 .95 |  |  |  | 1 | TRUE
FIT_5B17A_89CBF | Dataset 5 | 2.273% | 0 | F1 0 0 -1E+300 1E+300 1 0 0 0 0 1 25 BetaGeneral Binomial Expon ExtValue Gamma Geomet IntUniform InvGauss Logistic LogLogistic Lognorm NegBin Normal Pareto Pearson5 Pearson6 Pert Poisson Triang Uniform Weibull ExtValueMin Laplace Levy Kumaraswamy 0 1 -1 1 0 1 0 0 0 | GF1_rK0qDwEAEwCEAQwjACcANQCLAJ8AoACuALwAXgGAAXoBKwD//wAAAAAAAAEEAAAAAAAAAAABHEZpdCBDb21wYXJpc29uIGZvciBEYXRhc2V0IDUBNFJpc2tJbnZHYXVzcygwLjA3NTAyMCwwLjAyNTMwOCxSaXNrU2hpZnQoMC4wMDE3MDU1KSkBARAAAgABClN0YXRpc3RpY3MDAQEA/wEBAQEBAAEBAQAEAAAAAQEBAQEAAQEBAAQAAAAK2wAB7wAABgEAEQEAHAEAJwEAMgEAPQEASAEAUwEAEgAFSW5wdXQAAAD/AAD/AQEAAgAVAAhJbnZHYXVzcwABAP/cFDwBAAACAAkAAAACTwEAAAIACQAAAAOMAQAAAgAJAAAABEwBAAACAAkAAAAFOQEAAAIACQAAAAZOAQAAAgAJAAAAByMBAAACAAkAAAAIKQEAAAIACQAAAAlgAQAAAgBmAXABAQEDAZqZmZmZmak/AABmZmZmZmbuPwAABQABAQEAAQEBAA== |  |  |  | 0 8 | F1 FALSE 1000 .95 |  |  |  | 1 | TRUE
FIT_D82DF_A4C70 | Dataset 6 | 5.6% | 0 | F1 0 0 -1E+300 1E+300 1 0 0 0 0 1 25 BetaGeneral Binomial Expon ExtValue Gamma Geomet IntUniform InvGauss Logistic LogLogistic Lognorm NegBin Normal Pareto Pearson5 Pearson6 Pert Poisson Triang Uniform Weibull ExtValueMin Laplace Levy Kumaraswamy 0 1 -1 1 0 1 0 0 0 | GF1_rK0qDwEAEwCSAQwjACcANQCLAJ8AoACuALwAbAGOAYgBKwD//wAAAAAAAAEEAAAAAAAAAAABHEZpdCBDb21wYXJpc29uIGZvciBEYXRhc2V0IDYBNFJpc2tMb2dub3JtKDAuMDg0MDQxLDAuMDM3NzUxLFJpc2tTaGlmdCgtMC4wMDgyMTQwKSkBARAAAgABClN0YXRpc3RpY3MDAQEA/wEBAQEBAAEBAQAEAAAAAQEBAQEAAQEBAAQAAAAK2wAB7wAABQEAFwEAKgEANQEAQAEASwEAVgEAYQEAEgAFSW5wdXQAAAD/AAD/AQEAAgAUAAdMb2dub3JtAAEA/9wUPAEAAAIAEAAHTG9nbm9ybQACTwEAAAIAEQAISW52R2F1c3MAA4wBAAACAAkAAAAETAEAAAIACQAAAAU5AQAAAgAJAAAABk4BAAACAAkAAAAHIwEAAAIACQAAAAgpAQAAAgAJAAAACWABAAACAHQBfgEBAQMBmpmZmZmZqT8AAGZmZmZmZu4/AAAFAAEBAQABAQEA |  |  |  | 0 8 | F1 FALSE 1000 .95 |  |  |  | 1 | TRUE
FIT_B3BB9_31149 | Dataset 7 | 6.849% | 0 | F1 0 0 -1E+300 1E+300 1 0 0 0 0 1 25 BetaGeneral Binomial Expon ExtValue Gamma Geomet IntUniform InvGauss Logistic LogLogistic Lognorm NegBin Normal Pareto Pearson5 Pearson6 Pert Poisson Triang Uniform Weibull ExtValueMin Laplace Levy Kumaraswamy 0 1 -1 1 0 1 0 0 0 | GF1_rK0qDwEAEwCLAQwjACcANQCLAKAAoQCvAL0AZQGHAYEBKwD//wAAAAAAAAEEAAAAAAAAAAABHEZpdCBDb21wYXJpc29uIGZvciBEYXRhc2V0IDcBNFJpc2tJbnZHYXVzcygwLjA1NTk4NywwLjIyMDk2OCxSaXNrU2hpZnQoMC4wMDIxMzA2KSkBAREAAQABC1N0YXRzTGVnZW5kAwEBAP8BAQEBAQABAQEABAAAAAEBAQEBAAEBAQAEAAAACtwAAfAAAAcBABgBACMBAC4BADkBAEQBAE8BAFoBABIABUlucHV0AAAA/wAA/wEBAAIAFQAISW52R2F1c3MAAQD/3BQ8AQAAAgAPAAZOb3JtYWwAAk8BAAACAAkAAAADjAEAAAIACQAAAARMAQAAAgAJAAAABTkBAAACAAkAAAAGTgEAAAIACQAAAAcjAQAAAgAJAAAACCkBAAACAAkAAAAJYAEAAAIAbQF3AQEBAwGamZmZmZmpPwAAZmZmZmZm7j8AAAUAAQEBAAEBAQA= |  |  |  | 0 8 | F1 FALSE 1000 .95 |  |  |  | 1 | TRUE
FIT_BBFF_35926 | Dataset 8 | 47.85 | 0 | F1 0 0 -1E+300 1E+300 1 0 0 0 0 1 25 BetaGeneral Binomial Expon ExtValue Gamma Geomet IntUniform InvGauss Logistic LogLogistic Lognorm NegBin Normal Pareto Pearson5 Pearson6 Pert Poisson Triang Uniform Weibull ExtValueMin Laplace Levy Kumaraswamy 0 1 -1 1 0 1 0 0 0 | GF1_rK0qDwEAEwCEAQwjACcANQCEAJgAmQCnALUAXgGAAXoBKwD//wAAAAAAAAEEAAAAAAAAAAABHEZpdCBDb21wYXJpc29uIGZvciBEYXRhc2V0IDgBLVJpc2tMb2dub3JtKDkzLjM5MCw2OS45NzQsUmlza1NoaWZ0KC0yMy42NjYpKQEBEAACAAEKU3RhdGlzdGljcwMBAQD/AQEBAQEAAQEBAAQAAAABAQEBAQABAQEABAAAAArUAAHoAAD+AAARAQAcAQAnAQAyAQA9AQBIAQBTAQASAAVJbnB1dAAAAP8AAP8BAQACABQAB0xvZ25vcm0AAQD/3BQ8AQAAAgARAAhJbnZHYXVzcwACTwEAAAIACQAAAAOMAQAAAgAJAAAABEwBAAACAAkAAAAFOQEAAAIACQAAAAZOAQAAAgAJAAAAByMBAAACAAkAAAAIKQEAAAIACQAAAAlgAQAAAgBmAXABAQEDAZqZmZmZmak/AABmZmZmZmbuPwAABQABAQEAAQEBAA== |  |  |  | 0 8 | F1 FALSE 1000 .95 |  |  |  | 2 | TRUE
FIT_3E521_6A73C | Dataset 9 | 0 | 0 | F1 1 0 -1E+300 1E+300 1 0 0 0 0 1 25 BetaGeneral Binomial Expon ExtValue Gamma Geomet IntUniform InvGauss Logistic LogLogistic Lognorm NegBin Normal Pareto Pearson5 Pearson6 Pert Poisson Triang Uniform Weibull ExtValueMin Laplace Levy Kumaraswamy 0 1 -1 1 0 1 0 0 0 | GF1_rK0qDwEAEwBjAQwjACcANQBrAH8AgACOAJwAPQFfAVkBKwD//wAAAAAAAAEEAAAAAAAAAAABHEZpdCBDb21wYXJpc29uIGZvciBEYXRhc2V0IDkBFFJpc2tQb2lzc29uKDAuNjAwMDApAQEQAAIAAQpTdGF0aXN0aWNzAwEBAP8BAQEBAQABAQEABAAAAAEBAQEBAAEBAQAEAAAACrsAAc8AAOUAAPAAAPsAAAYBABEBABwBACcBADIBABIABUlucHV0AAAA/wAA/wEBAAIAFAAHUG9pc3NvbgABAP/cFDwBAAACAAkAAAACTwEAAAIACQAAAAOMAQAAAgAJAAAABEwBAAACAAkAAAAFOQEAAAIACQAAAAZOAQAAAgAJAAAAByMBAAACAAkAAAAIKQEAAAIACQAAAAlgAQAAAgBFAU8BAQEDAZqZmZmZmak/AABmZmZmZmbuPwAABQABAQEAAQEBAA== |  |  |  | 0 8 | F1 FALSE 1000 .95 |  |  |  | 4 | TRUE
FIT_3A696_9FF64 | Dataset 10 | 1 | 0 | F1 1 0 -1E+300 1E+300 1 0 0 0 0 1 25 BetaGeneral Binomial Expon ExtValue Gamma Geomet IntUniform InvGauss Logistic LogLogistic Lognorm NegBin Normal Pareto Pearson5 Pearson6 Pert Poisson Triang Uniform Weibull ExtValueMin Laplace Levy Kumaraswamy 0 1 -1 1 0 1 0 0 0 | GF1_rK0qDwEAEwBiAQwjACcANQBrAH8AgACOAJwAPAFeAVgBKwD//wAAAAAAAAEEAAAAAAAAAAABHUZpdCBDb21wYXJpc29uIGZvciBEYXRhc2V0IDEwARNSaXNrR2VvbWV0KDAuMTcyNDEpAQEQAAIAAQpTdGF0aXN0aWNzAwEBAP8BAQEBAQABAQEABAAAAAEBAQEBAAEBAQAEAAAACrsAAc8AAOQAAO8AAPoAAAUBABABABsBACYBADEBABIABUlucHV0AAAA/wAA/wEBAAIAEwAGR2VvbWV0AAEA/9wUPAEAAAIACQAAAAJPAQAAAgAJAAAAA4wBAAACAAkAAAAETAEAAAIACQAAAAU5AQAAAgAJAAAABk4BAAACAAkAAAAHIwEAAAIACQAAAAgpAQAAAgAJAAAACWABAAACAEQBTgEBAQMBmpmZmZmZqT8AAGZmZmZmZu4/AAAFAAEBAQABAQEA |  |  |  | 0 8 | F1 FALSE 1000 .95 |  |  |  | 4 | TRUE
FIT_48236_2414B | Dataset 11 | 1 | 0 | F1 1 0 -1E+300 1E+300 1 0 0 0 0 1 25 BetaGeneral Binomial Expon ExtValue Gamma Geomet IntUniform InvGauss Logistic LogLogistic Lognorm NegBin Normal Pareto Pearson5 Pearson6 Pert Poisson Triang Uniform Weibull ExtValueMin Laplace Levy Kumaraswamy 0 1 -1 1 0 1 0 0 0 | GF1_rK0qDwEAEwBeAQwjACcANQBmAHoAewCJAJcAOAFaAVQBKwD//wAAAAAAAAEEAAAAAAAAAAABHUZpdCBDb21wYXJpc29uIGZvciBEYXRhc2V0IDExAQ5SaXNrUG9pc3NvbigyKQEBEAACAAEKU3RhdGlzdGljcwMBAQD/AQEBAQEAAQEBAAQAAAABAQEBAQABAQEABAAAAAq2AAHKAADgAADrAAD2AAABAQAMAQAXAQAiAQAtAQASAAVJbnB1dAAAAP8AAP8BAQACABQAB1BvaXNzb24AAQD/3BQ8AQAAAgAJAAAAAk8BAAACAAkAAAADjAEAAAIACQAAAARMAQAAAgAJAAAABTkBAAACAAkAAAAGTgEAAAIACQAAAAcjAQAAAgAJAAAACCkBAAACAAkAAAAJYAEAAAIAQAFKAQEBAwGamZmZmZmpPwAAZmZmZmZm7j8AAAUAAQEBAAEBAQA= |  |  |  | 0 8 | F1 FALSE 1000 .95 |  |  |  | 4 | TRUE
FIT_EA1F5_578DD | Dataset 12 | 1 | 0 | F1 1 0 -1E+300 1E+300 1 0 0 0 0 1 25 BetaGeneral Binomial Expon ExtValue Gamma Geomet IntUniform InvGauss Logistic LogLogistic Lognorm NegBin Normal Pareto Pearson5 Pearson6 Pert Poisson Triang Uniform Weibull ExtValueMin Laplace Levy Kumaraswamy 0 1 -1 1 0 1 0 0 0 | GF1_rK0qDwEAEwBhAQwjACcANQBrAH8AgACOAJwAPAFdAVcBKwD//wAAAAAAAAEEAAAAAAAAAAABHUZpdCBDb21wYXJpc29uIGZvciBEYXRhc2V0IDEyARNSaXNrR2VvbWV0KDAuNDE2NjcpAQEQAAIAAQpTdGF0aXN0aWNzAwEBAP8BAQEBAQABAQEABAAAAAEBAQEBAAEBAQAEAAAACrsAAc8AAOQAAO8AAPoAAAUBABABABsBACYBADEBABIABUlucHV0AAAA/wAA/wEBAAIAEwAGR2VvbWV0AAEA/9wUPAEAAAIACQAAAAJPAQAAAgAJAAAAA4wBAAACAAkAAAAETAEAAAIACQAAAAU5AQAAAgAJAAAABk4BAAACAAkAAAAHIwEAAAIACQAAAAgpAQAAAgAJAAAACWABAAACAEQBTgEBAQMBmpmZmZmZqT8AAAAAAAAAAAhAAQUAAQEBAAEBAQA= |  |  |  | 0 8 | F1 FALSE 1000 .95 |  |  |  | 4 | TRUE
FIT_DBC5D_3FF71 | Uniform | 0.03604 | 0 | F1 0 0 -1E+300 1E+300 1 0 0 0 0 1 25 BetaGeneral Binomial Expon ExtValue Gamma Geomet IntUniform InvGauss Logistic LogLogistic Lognorm NegBin Normal Pareto Pearson5 Pearson6 Pert Poisson Triang Uniform Weibull ExtValueMin Laplace Levy Kumaraswamy 0 1 -1 1 0 1 0 0 0 | GF1_rK0qDwEAEwB/AQwjACcANQCGAJoAmwCpALcAWQF7AXUBKwD//wAAAAAAAAEEAAAAAAAAAAABGkZpdCBDb21wYXJpc29uIGZvciBVbmlmb3JtATFSaXNrUGVhcnNvbjUoMS43NjQxLDAuMTUyMDYsUmlza1NoaWZ0KC0wLjAyNzU4NCkpAQEQAAIAAQpTdGF0aXN0aWNzAwEBAP8BAQEBAQABAQEABAAAAAEBAQEBAAEBAQAEAAAACtYAAeoAAAEBAAwBABcBACIBAC0BADgBAEMBAE4BABIABUlucHV0AAAA/wAA/wEBAAIAFQAIUGVhcnNvbjUAAQD/3BQ8AQAAAgAJAAAAAk8BAAACAAkAAAADjAEAAAIACQAAAARMAQAAAgAJAAAABTkBAAACAAkAAAAGTgEAAAIACQAAAAcjAQAAAgAJAAAACCkBAAACAAkAAAAJYAEAAAIAYQFrAQEBAwGamZmZmZmpPwAAZmZmZmZm7j8AAAUAAQEBAAEBAQA= |  |  |  | 0 8 | F1 FALSE 1000 .95 |  |  |  | 1 | TRUE

## T Historical SC performance
Performance against the STPIS in 2021-25
|  | 23 | 46 | 28 | 33
|  | 2 | 0 | 0 | 2
|  | 6 | 12 | 7 | 1
Parameter | Sub-parameter | 2021 | 2022 | 2023 | 2024 | 2025 | 2021-25 average
Unplanned outage circuit event rate | Lines event rate - fault | 18.25% | 6.349% | 5.303% | 9.091% | 4.38% | 8.675%
| Transformer event rate - fault | 19.84% | 7.143% | 4.8% | 7.634% | 6.98% | 9.28%
| Reactive plant event rate - fault | 21.43% | 4.167% | 12.33% | 5.405% | 10.39% | 10.74%
| Lines event rate - forced | 25.4% | 5.556% | 2.273% | 0.7576% | 4.38% | 7.673%
| Transformer event rate - forced | 13.49% | 8.73% | 5.6% | 6.87% | 3.1% | 7.558%
| Reactive plant event rate - forced | 10% | 5.556% | 6.849% | 4.054% | 2.6% | 5.812%
Loss of supply event frequency | Number of events greater than 0.05 minutes per annum | 0 | 2 | 0 | 1 | 0 | 0.6
| Number of events greater than 0.30 minutes per annum | 0 | 0 | 0 | 0 | 0 | 0
Average outage duration | Average outage duration | 37 | 2 | 47.85 | 169.5 | 84.75 | 68.22
Proper operation of equipment | Failure of protection system | 16 | 6 | 1 | 0 | 1 | 4.8
| Material failure of SCADA | 3 | 2 | 1 | 4 | 0 | 2
| Incorrect operation isolation of primary or secondary equipment | 3 | 0 | 1 | 0 | 3 | 1.4

## T Prop SC target cap & colla
|  | 30 | 23 | #REF! | 28
|  | 0 | 2 | 0 | 0
|  | 5 | 6 | 12 | 7
Parameter | Sub-parameter | Preferred distribution | Target | Floor | Cap | Weighting
Unplanned outage curcuit event rate | Lines event rate - fault | InvGauss | 8.675% | 21.93% | 4.37% | 0.2
| Transformer event rate - fault | InvGauss | 9.28% | 21.34% | 4.792% | 0.2
| Reactive plant event rate - fault | Pert | 10.74% | 21.97% | 4.566% | 0.1
| Lines event rate - forced | InvGauss | 7.673% | 29.44% | 0.746% | 0.1
| Transformer event rate - forced | Lognorm | 7.558% | 14.7% | 2.966% | 0.1
| Reactive plant event rate - forced | Lognorm | 5.812% | 11.19% | 2.477% | 0.05
Loss of supply event frequency | Number of events greater than 0.05 minutes per annum | Poisson | 0.6 | 2 | 0 | 0.15
| Number of events greater than 0.30 minutes per annum | Poisson | 0 | 0 | 0 | 0.15
Average outage duration | Average outage duration | Lognorm | 68.22 | 200.41 | 1.26 | 0.2
Proper operation of equipment | Failure of protection system | Geomet | 4.8 | 15 | 0 | 0
| Material failure of SCADA | Poisson | 2 | 5 | 0 | 0
| Incorrect operation isolation of primary or secondary equipment | Geomet | 1.4 | 5 | 0 | 0

## Line outage - Fault
Data in current Transmission reset |  |  |  |  | Target | KS | KS | KS
Y2021 | Y2022 | Y2023 | Y2024 | Y2025 |  | Cap | Floor | Distribution
18.25% | 6.349% | 5.303% | 9.091% | 4.38% | 8.675% | 4.37% | 21.93% | InvGauss
[10 empty] | Input | InvGauss
[9 empty] | Minimum | 0.0438 | 0.03979
[9 empty] | Maximum | 0.18254 | #NAME?
[9 empty] | Mean | 0.08675 | 0.08675
[9 empty] | Mode | ≈0.04727 | 0.04551
[9 empty] | Median | 0.06349 | 0.06051
[9 empty] | Std Dev | 0.05638 | 0.07713
[9 empty] | Skewness | 1.7405 | 4.9269
[9 empty] | Kurtosis | 6.0298 | 43.458
[9 empty] | Left X | 0.0438 | 0.0438
[9 empty] | Left P | 5% | 5.3%
[9 empty] | Right X | 0.1825 | 0.1825
[9 empty] | Right P | 95% | 92.8%
[9 empty] | Dif. X | 0.13874 | 0.13874
[9 empty] | Dif. P | 90% | 87.5%
[9 empty] | 1% | 0.0438 | 0.04218
[9 empty] | 2.5% | 0.0438 | 0.04287
[9 empty] | 5% | 0.0438 | 0.0437
[9 empty] | 10% | 0.0438 | 0.0451
[9 empty] | 20% | 0.0438 | 0.04782
[9 empty] | 25% | 0.05303 | 0.04933
[9 empty] | 30% | 0.05303 | 0.051
[9 empty] | 35% | 0.05303 | 0.05288
[9 empty] | 40% | 0.05303 | 0.05504
[9 empty] | 45% | 0.06349 | 0.05755
[9 empty] | 50% | 0.06349 | 0.06051
[9 empty] | 55% | 0.06349 | 0.06407
[9 empty] | 60% | 0.06349 | 0.06841
[9 empty] | 65% | 0.09091 | 0.07382
[9 empty] | 70% | 0.09091 | 0.08075
[9 empty] | 75% | 0.09091 | 0.08993
[9 empty] | 80% | 0.09091 | 0.10267
[9 empty] | 90% | 0.18254 | 0.15304
[9 empty] | 95% | 0.18254 | 0.21926
[9 empty] | 97.5% | 0.18254 | 0.29966
[9 empty] | 99% | 0.18254 | 0.42421

## Transformer Outage - fault
Data in current Transmission reset |  |  |  |  | Target | KS | KS | KS
Y2021 | Y2022 | Y2023 | Y2024 | Y2025 |  | Cap | Floor | Distribution
19.84% | 7.143% | 4.8% | 7.634% | 6.98% | 9.28% | 4.792% | 21.34% | InvGauss
[10 empty] | Input | InvGauss
[9 empty] | Minimum | 0.048 | 0.04124
[9 empty] | Maximum | 0.19841 | #NAME?
[9 empty] | Mean | 0.0928 | 0.0928
[9 empty] | Mode | ≈0.07432 | 0.05163
[9 empty] | Median | 0.07143 | 0.07064
[9 empty] | Std Dev | 0.06004 | 0.06495
[9 empty] | Skewness | 2.0446 | 3.7793
[9 empty] | Kurtosis | 7.4134 | 26.8057
[9 empty] | Left X | 0.048 | 0.048
[9 empty] | Left P | 5% | 5.2%
[9 empty] | Right X | 0.1984 | 0.1984
[9 empty] | Right P | 95% | 94%
[9 empty] | Dif. X | 0.15041 | 0.15041
[9 empty] | Dif. P | 90% | 88.8%
[9 empty] | 1% | 0.048 | 0.04544
[9 empty] | 2.5% | 0.048 | 0.04658
[9 empty] | 5% | 0.048 | 0.04792
[9 empty] | 10% | 0.048 | 0.05009
[9 empty] | 20% | 0.048 | 0.05412
[9 empty] | 25% | 0.0698 | 0.05625
[9 empty] | 30% | 0.0698 | 0.05855
[9 empty] | 35% | 0.0698 | 0.06106
[9 empty] | 40% | 0.0698 | 0.06387
[9 empty] | 45% | 0.07143 | 0.06703
[9 empty] | 50% | 0.07143 | 0.07064
[9 empty] | 55% | 0.07143 | 0.07484
[9 empty] | 60% | 0.07143 | 0.07979
[9 empty] | 65% | 0.07634 | 0.08575
[9 empty] | 70% | 0.07634 | 0.0931
[9 empty] | 75% | 0.07634 | 0.10244
[9 empty] | 80% | 0.07634 | 0.11481
[9 empty] | 90% | 0.19841 | 0.15968
[9 empty] | 95% | 0.19841 | 0.21337
[9 empty] | 97.5% | 0.19841 | 0.27459
[9 empty] | 99% | 0.19841 | 0.36496

## Reactive plant - fault
Data in current Transmission reset |  |  |  |  | Target | KS | KS | KS
Y2021 | Y2022 | Y2023 | Y2024 | Y2025 |  | Cap | Floor | Distribution
21.43% | 4.167% | 12.33% | 5.405% | 10.39% | 10.74% | 4.566% | 21.97% | Pert
[10 empty] | Input | Pert
[9 empty] | Minimum | 0.04167 | 0.04163
[9 empty] | Maximum | 0.21429 | 0.43675
[9 empty] | Mean | 0.10744 | 0.10749
[9 empty] | Mode | ≈0.04598 | 0.04163
[9 empty] | Median | 0.1039 | 0.09278
[9 empty] | Std Dev | 0.06866 | 0.05566
[9 empty] | Skewness | 1.0132 | 1.1832
[9 empty] | Kurtosis | 3.8445 | 4.2
[9 empty] | Left X | 0.0417 | 0.0417
[9 empty] | Left P | 5% | 0%
[9 empty] | Right X | 0.2143 | 0.2143
[9 empty] | Right P | 95% | 94.3%
[9 empty] | Dif. X | 0.17262 | 0.17262
[9 empty] | Dif. P | 90% | 94.3%
[9 empty] | 1% | 0.04167 | 0.04243
[9 empty] | 2.5% | 0.04167 | 0.04363
[9 empty] | 5% | 0.04167 | 0.04566
[9 empty] | 10% | 0.04167 | 0.04987
[9 empty] | 20% | 0.04167 | 0.05888
[9 empty] | 25% | 0.05405 | 0.06372
[9 empty] | 30% | 0.05405 | 0.06884
[9 empty] | 35% | 0.05405 | 0.07425
[9 empty] | 40% | 0.05405 | 0.08001
[9 empty] | 45% | 0.1039 | 0.08616
[9 empty] | 50% | 0.1039 | 0.09278
[9 empty] | 55% | 0.1039 | 0.09995
[9 empty] | 60% | 0.1039 | 0.10779
[9 empty] | 65% | 0.12329 | 0.11646
[9 empty] | 70% | 0.12329 | 0.12619
[9 empty] | 75% | 0.12329 | 0.13731
[9 empty] | 80% | 0.12329 | 0.15038
[9 empty] | 90% | 0.21429 | 0.18745
[9 empty] | 95% | 0.21429 | 0.21972
[9 empty] | 97.5% | 0.21429 | 0.24781
[9 empty] | 99% | 0.21429 | 0.27945

## Line Outage forced
Data in current Transmission reset |  |  |  |  | Target | KS | KS | KS
Y2021 | Y2022 | Y2023 | Y2024 | Y2025 |  | Cap | Floor | Distribution
25.4% | 5.556% | 2.273% | 0.7576% | 4.38% | 7.673% | 0.746% | 29.44% | InvGauss
[10 empty] | Input | InvGauss
[9 empty] | Minimum | 0.00758 | 0.00171
[9 empty] | Maximum | 0.25397 | #NAME?
[9 empty] | Mean | 0.07673 | 0.07673
[9 empty] | Mode | ≈0.01374 | 0.01004
[9 empty] | Median | 0.0438 | 0.03311
[9 empty] | Std Dev | 0.1008 | 0.12916
[9 empty] | Skewness | 2.0481 | 5.1651
[9 empty] | Kurtosis | 7.3444 | 47.4633
[9 empty] | Left X | 0.008 | 0.008
[9 empty] | Left P | 5% | 5.3%
[9 empty] | Right X | 0.254 | 0.254
[9 empty] | Right P | 95% | 93.7%
[9 empty] | Dif. X | 0.24639 | 0.24639
[9 empty] | Dif. P | 90% | 88.4%
[9 empty] | 1% | 0.00758 | 0.00521
[9 empty] | 2.5% | 0.00758 | 0.00623
[9 empty] | 5% | 0.00758 | 0.00746
[9 empty] | 10% | 0.00758 | 0.00954
[9 empty] | 20% | 0.00758 | 0.01363
[9 empty] | 25% | 0.02273 | 0.01591
[9 empty] | 30% | 0.02273 | 0.01845
[9 empty] | 35% | 0.02273 | 0.02133
[9 empty] | 40% | 0.02273 | 0.02464
[9 empty] | 45% | 0.0438 | 0.02852
[9 empty] | 50% | 0.0438 | 0.03311
[9 empty] | 55% | 0.0438 | 0.03865
[9 empty] | 60% | 0.0438 | 0.04546
[9 empty] | 65% | 0.05556 | 0.05401
[9 empty] | 70% | 0.05556 | 0.06503
[9 empty] | 75% | 0.05556 | 0.07976
[9 empty] | 80% | 0.05556 | 0.10038
[9 empty] | 90% | 0.25397 | 0.18332
[9 empty] | 95% | 0.25397 | 0.29442
[9 empty] | 97.5% | 0.25397 | 0.4311
[9 empty] | 99% | 0.25397 | 0.64491

## Transformer Outage - forced
Data in current Transmission reset |  |  |  |  | Target | KS | KS | KS
Y2021 | Y2022 | Y2023 | Y2024 | Y2025 |  | Cap | Floor | Distribution
13.49% | 8.73% | 5.6% | 6.87% | 3.1% | 7.558% | 2.966% | 14.7% | Lognorm
[10 empty] | Input | Lognorm
[9 empty] | Minimum | 0.031 | -0.00821
[9 empty] | Maximum | 0.13492 | #NAME?
[9 empty] | Mean | 0.07558 | 0.07583
[9 empty] | Mode | ≈0.03360 | 0.05558
[9 empty] | Median | 0.0687 | 0.06845
[9 empty] | Std Dev | 0.03898 | 0.03775
[9 empty] | Skewness | 0.8025 | 1.4382
[9 empty] | Kurtosis | 3.9447 | 6.8901
[9 empty] | Left X | 0.031 | 0.031
[9 empty] | Left P | 5% | 5.9%
[9 empty] | Right X | 0.1349 | 0.1349
[9 empty] | Right P | 95% | 92.7%
[9 empty] | Dif. X | 0.10392 | 0.10392
[9 empty] | Dif. P | 90% | 86.8%
[9 empty] | 1% | 0.031 | 0.02006
[9 empty] | 2.5% | 0.031 | 0.02487
[9 empty] | 5% | 0.031 | 0.02966
[9 empty] | 10% | 0.031 | 0.03604
[9 empty] | 20% | 0.031 | 0.04523
[9 empty] | 25% | 0.056 | 0.0492
[9 empty] | 30% | 0.056 | 0.05301
[9 empty] | 35% | 0.056 | 0.05677
[9 empty] | 40% | 0.056 | 0.06056
[9 empty] | 45% | 0.0687 | 0.06443
[9 empty] | 50% | 0.0687 | 0.06845
[9 empty] | 55% | 0.0687 | 0.07269
[9 empty] | 60% | 0.0687 | 0.07724
[9 empty] | 65% | 0.0873 | 0.08222
[9 empty] | 70% | 0.0873 | 0.08777
[9 empty] | 75% | 0.0873 | 0.09415
[9 empty] | 80% | 0.0873 | 0.10176
[9 empty] | 90% | 0.13492 | 0.12458
[9 empty] | 95% | 0.13492 | 0.14697
[9 empty] | 97.5% | 0.13492 | 0.16941
[9 empty] | 99% | 0.13492 | 0.19962

## Reactive plant - forced
Data in current Transmission reset |  |  |  |  | Target | KS | KS | KS
Y2021 | Y2022 | Y2023 | Y2024 | Y2025 |  | Cap | Floor | Distribution
10% | 5.556% | 6.849% | 4.054% | 2.6% | 5.812% | 2.477% | 11.19% | Lognorm
[10 empty] | Input | Lognorm
[9 empty] | Minimum | 0.026 | 0.00045
[9 empty] | Maximum | 0.1 | #NAME?
[9 empty] | Mean | 0.058118 | 0.05839
[9 empty] | Mode | ≈0.027850 | 0.04248
[9 empty] | Median | 0.055556 | 0.05251
[9 empty] | Std Dev | 0.028323 | 0.0283
[9 empty] | Skewness | 0.6602 | 1.5821
[9 empty] | Kurtosis | 3.2514 | 7.757
[9 empty] | Left X | 0.026 | 0.026
[9 empty] | Left P | 5% | 6.2%
[9 empty] | Right X | 0.1 | 0.1
[9 empty] | Right P | 95% | 91.9%
[9 empty] | Dif. X | 0.074 | 0.074
[9 empty] | Dif. P | 90% | 85.7%
[9 empty] | 1% | 0.026 | 0.0182
[9 empty] | 2.5% | 0.026 | 0.02147
[9 empty] | 5% | 0.026 | 0.02477
[9 empty] | 10% | 0.026 | 0.02923
[9 empty] | 20% | 0.026 | 0.03572
[9 empty] | 25% | 0.040541 | 0.03855
[9 empty] | 30% | 0.040541 | 0.04129
[9 empty] | 35% | 0.040541 | 0.04401
[9 empty] | 40% | 0.040541 | 0.04675
[9 empty] | 45% | 0.055556 | 0.04957
[9 empty] | 50% | 0.055556 | 0.05251
[9 empty] | 55% | 0.055556 | 0.05562
[9 empty] | 60% | 0.055556 | 0.05898
[9 empty] | 65% | 0.068493 | 0.06267
[9 empty] | 70% | 0.068493 | 0.0668
[9 empty] | 75% | 0.068493 | 0.07157
[9 empty] | 80% | 0.068493 | 0.07729
[9 empty] | 90% | 0.1 | 0.09463
[9 empty] | 95% | 0.1 | 0.11187
[9 empty] | 97.5% | 0.1 | 0.12935
[9 empty] | 99% | 0.1 | 0.15316

## Active Outage Duration
Data in current Transmission reset |  |  |  |  | Target | KS | KS | KS
Y2021 | Y2022 | Y2023 | Y2024 | Y2025 |  | Cap | Floor | Distribution
37 | 2 | 47.85 | 169.5 | 84.75 | 68.22 | 1.26 | 200.41 | Lognorm
[10 empty] | Input | LogNorm
[9 empty] | Minimum | 2 | -23.67
[9 empty] | Maximum | 169.5 | #NAME?
[9 empty] | Mean | 68.22 | 69.72
[9 empty] | Mode | ≈6.19 | 24.2
[9 empty] | Median | 47.85 | 51.07
[9 empty] | Std Dev | 63.85 | 69.97
[9 empty] | Skewness | 1.1433 | 2.6684
[9 empty] | Kurtosis | 4.4515 | 17.8705
[9 empty] | Left X | 2 | 2
[9 empty] | Left P | 5% | 5.5%
[9 empty] | Right X | 169.5 | 169.5
[9 empty] | Right P | 95% | 92.3%
[9 empty] | Dif. X | 167.5 | 167.5
[9 empty] | Dif. P | 90% | 86.8%
[9 empty] | 1% | 2 | -7.85
[9 empty] | 2.5% | 2 | -3.47
[9 empty] | 5% | 2 | 1.26
[9 empty] | 10% | 2 | 8.1
[9 empty] | 20% | 2 | 18.95
[9 empty] | 25% | 37 | 23.98
[9 empty] | 30% | 37 | 29
[9 empty] | 35% | 37 | 34.12
[9 empty] | 40% | 37 | 39.44
[9 empty] | 45% | 47.85 | 45.06
[9 empty] | 50% | 47.85 | 51.07
[9 empty] | 55% | 47.85 | 57.61
[9 empty] | 60% | 47.85 | 64.84
[9 empty] | 65% | 84.75 | 72.99
[9 empty] | 70% | 84.75 | 82.4
[9 empty] | 75% | 84.75 | 93.57
[9 empty] | 80% | 84.75 | 107.41
[9 empty] | 90% | 169.5 | 152.15
[9 empty] | 95% | 169.5 | 200.41
[9 empty] | 97.5% | 169.5 | 252.86
[9 empty] | 99% | 169.5 | 329.48

## LOS >0.05 system minutes
Data in current Transmission reset |  |  |  |  | Target | AIC | AIC | Chosen
Y2021 | Y2022 | Y2023 | Y2024 | Y2025 |  | Cap | Floor | Preferred distribution
0 | 2 | 0 | 1 | 0 | 0.6 | 0 | 2 | Poisson
[10 empty] | Input | Poisson
[9 empty] | Minimum | 0 | 0
[9 empty] | Maximum | 2 | #NAME?
[9 empty] | Mean | 0.6 | 0.6
[9 empty] | Mode | 0 | 0
[9 empty] | Median | 0 | 0
[9 empty] | Std Dev | 0.8944 | 0.7746
[9 empty] | Skewness | 1.2578 | 1.291
[9 empty] | Kurtosis | 3.3125 | 4.6667
[9 empty] | Left X | 0 | 0
[9 empty] | Left P | 5% | 54.9%
[9 empty] | Right X | 2 | 2
[9 empty] | Right P | 95% | 97.7%
[9 empty] | Dif. X | 2 | 2
[9 empty] | Dif. P | 90% | 42.8%
[9 empty] | 1% | 0 | 0
[9 empty] | 2.5% | 0 | 0
[9 empty] | 5% | 0 | 0
[9 empty] | 10% | 0 | 0
[9 empty] | 20% | 0 | 0
[9 empty] | 25% | 0 | 0
[9 empty] | 30% | 0 | 0
[9 empty] | 35% | 0 | 0
[9 empty] | 40% | 0 | 0
[9 empty] | 45% | 0 | 0
[9 empty] | 50% | 0 | 0
[9 empty] | 55% | 0 | 1
[9 empty] | 60% | 0 | 1
[9 empty] | 65% | 1 | 1
[9 empty] | 70% | 1 | 1
[9 empty] | 75% | 1 | 1
[9 empty] | 80% | 1 | 1
[9 empty] | 90% | 2 | 2
[9 empty] | 95% | 2 | 2
[9 empty] | 97.5% | 2 | 2
[9 empty] | 99% | 2 | 3

## LOS > 0.3 system minutes
Data in current Transmission reset |  |  |  |  | Target | AIC | AIC | Chosen
Y2021 | Y2022 | Y2023 | Y2024 | Y2025 |  | Cap | Floor | Preferred distribution
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Poisson
Zero distribution: no chart available

## Failure of protection systems
Data in current Transmission reset |  |  |  |  | Target | AIC | AIC
Y2021 | Y2022 | Y2023 | Y2024 | Y2025 |  | Cap | Floor
16 | 6 | 1 | 0 | 1 | 4.8 | 0 | 15 | Geomet
[10 empty] | Input | Geomet
[9 empty] | Minimum | 0 | 0
[9 empty] | Maximum | 16 | #NAME?
[9 empty] | Mean | 4.8 | 4.8
[9 empty] | Mode | 1 | 0
[9 empty] | Median | 1 | 3
[9 empty] | Std Dev | 6.686 | 5.276
[9 empty] | Skewness | 1.654 | 2.009
[9 empty] | Kurtosis | 5.4382 | 9.0359
[9 empty] | Left X | 0 | 0
[9 empty] | Left P | 5% | 17.2%
[9 empty] | Right X | 16 | 16
[9 empty] | Right P | 95% | 96%
[9 empty] | Dif. X | 16 | 16
[9 empty] | Dif. P | 90% | 78.8%
[9 empty] | 1% | 0 | 0
[9 empty] | 2.5% | 0 | 0
[9 empty] | 5% | 0 | 0
[9 empty] | 10% | 0 | 0
[9 empty] | 20% | 0 | 1
[9 empty] | 25% | 1 | 1
[9 empty] | 30% | 1 | 1
[9 empty] | 35% | 1 | 2
[9 empty] | 40% | 1 | 2
[9 empty] | 45% | 1 | 3
[9 empty] | 50% | 1 | 3
[9 empty] | 55% | 1 | 4
[9 empty] | 60% | 1 | 4
[9 empty] | 65% | 6 | 5
[9 empty] | 70% | 6 | 6
[9 empty] | 75% | 6 | 7
[9 empty] | 80% | 6 | 8
[9 empty] | 90% | 16 | 12
[9 empty] | 95% | 16 | 15
[9 empty] | 97.5% | 16 | 19
[9 empty] | 99% | 16 | 24

## Material failure of SCADA
Data in current Transmission reset |  |  |  |  | Target | AIC | AIC
Y2021 | Y2022 | Y2023 | Y2024 | Y2025 |  | Cap | Floor
3 | 2 | 1 | 4 | 0 | 2 | 0 | 5 | Poisson
[10 empty] | Input | Poisson
[9 empty] | Minimum | 0 | 0
[9 empty] | Maximum | 4 | #NAME?
[9 empty] | Mean | 2 | 2
[9 empty] | Mode | N/A | N/A
[9 empty] | Median | 2 | 2
[9 empty] | Std Dev | 1.5811 | 1.4142
[9 empty] | Skewness | 0 | 0.7071
[9 empty] | Kurtosis | 1.8 | 3.5
[9 empty] | Left X | 0 | 0
[9 empty] | Left P | 5% | 13.5%
[9 empty] | Right X | 4 | 4
[9 empty] | Right P | 95% | 94.7%
[9 empty] | Dif. X | 4 | 4
[9 empty] | Dif. P | 90% | 81.2%
[9 empty] | 1% | 0 | 0
[9 empty] | 2.5% | 0 | 0
[9 empty] | 5% | 0 | 0
[9 empty] | 10% | 0 | 0
[9 empty] | 20% | 0 | 1
[9 empty] | 25% | 1 | 1
[9 empty] | 30% | 1 | 1
[9 empty] | 35% | 1 | 1
[9 empty] | 40% | 1 | 1
[9 empty] | 45% | 2 | 2
[9 empty] | 50% | 2 | 2
[9 empty] | 55% | 2 | 2
[9 empty] | 60% | 2 | 2
[9 empty] | 65% | 3 | 2
[9 empty] | 70% | 3 | 3
[9 empty] | 75% | 3 | 3
[9 empty] | 80% | 3 | 3
[9 empty] | 90% | 4 | 4
[9 empty] | 95% | 4 | 5
[9 empty] | 97.5% | 4 | 5
[9 empty] | 99% | 4 | 6

## Incorrect operation isolation
Data in current Transmission reset |  |  |  |  | Target | AIC | AIC
Y2021 | Y2022 | Y2023 | Y2024 | Y2025 |  | Cap | Floor
3 | 0 | 1 | 0 | 3 | 1.4 | 0 | 5 | Geomet
[10 empty] | Input | Geomet
[9 empty] | Minimum | 0 | 0
[9 empty] | Maximum | 3 | #NAME?
[9 empty] | Mean | 1.4 | 1.4
[9 empty] | Mode | N/A | 0
[9 empty] | Median | 1 | 1
[9 empty] | Std Dev | 1.5166 | 1.833
[9 empty] | Skewness | 0.3154 | 2.0731
[9 empty] | Kurtosis | -0.0813 | 9.2976
[9 empty] | Left X | 0 | 0
[9 empty] | Left P | 5% | 41.7%
[9 empty] | Right X | 3 | 3
[9 empty] | Right P | 100% | 88.4%
[9 empty] | Dif. X | 3 | 3
[9 empty] | Dif. P | 95% | 46.8%
[9 empty] | 1% | 0 | 0
[9 empty] | 2.5% | 0 | 0
[9 empty] | 5% | 0 | 0
[9 empty] | 10% | 0 | 0
[9 empty] | 20% | 0 | 0
[9 empty] | 25% | 0 | 0
[9 empty] | 30% | 0 | 0
[9 empty] | 35% | 0 | 0
[9 empty] | 40% | 0 | 0
[9 empty] | 45% | 1 | 1
[9 empty] | 50% | 1 | 1
[9 empty] | 55% | 1 | 1
[9 empty] | 60% | 1 | 1
[9 empty] | 65% | 3 | 1
[9 empty] | 70% | 3 | 2
[9 empty] | 75% | 3 | 2
[9 empty] | 80% | 3 | 2
[9 empty] | 90% | 3 | 4
[9 empty] | 95% | 3 | 5
[9 empty] | 97.5% | 3 | 6
[9 empty] | 99% | 3 | 8

## 2020-25 actual performance data
Table 1: Raw data transferand outage rate calculation
|  | 2020 | 2020 | 2021 | 2021 | 2022 | 2022 | 2023 | 2023 | 2024 | 2024 | 2025 | 2025
| Lines | 125 |  | 126 |  | 126 |  | 132 |  | 132 |  | 137
| Transformers | 128 |  | 126 |  | 126 |  | 125 |  | 131 |  | 129
| Reactive Plant | 71 |  | 70 |  | 72 |  | 73 |  | 74 |  | 77
S | Performance parameter | No. of Outages | Outage Rate | No. of Outages | Outage Rate | No. of Outages | Outage Rate | No. of Outages | Outage Rate | No. of Outages | Outage Rate | No. of Outages | Outage Rate
S1 | line outage - fault | 22 | 0.176 | 23 | 0.18254 | 8 | 0.063492 | 7 | 0.05303 | 12 | 0.090909 | 6 | 0.0438
S2 | transformer outage - fault | 20 | 0.15625 | 25 | 0.19841 | 9 | 0.071429 | 6 | 0.048 | 10 | 0.076336 | 9 | 0.0698
S3 | reactive plant - fault | 16 | 0.22535 | 15 | 0.21429 | 3 | 0.041667 | 9 | 0.12329 | 4 | 0.054054 | 8 | 0.1039
S4 | line outage - forced | 9 | 0.072 | 32 | 0.25397 | 7 | 0.055556 | 3 | 0.022727 | 1 | 0.0075758 | 6 | 0.0438
S5 | transformer outage - forced | 15 | 0.11719 | 17 | 0.13492 | 11 | 0.087302 | 7 | 0.056 | 9 | 0.068702 | 4 | 0.031
S6 | reactive plant - forced | 14 | 0.19718 | 7 | 0.1 | 4 | 0.055556 | 5 | 0.068493 | 3 | 0.040541 | 2 | 0.026
S7 | LOS >0.05 system minutes |  | 3 |  | 0 |  | 2 |  | 0 |  | 1 |  | 0
S8 | LOS >0.3 system minutes |  | 1 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
S9 | Average outage duration |  | 57.6 |  | 37 |  | 2 |  | 47.85 |  | 169.5 |  | 84.75
S10 | Failure of protection system |  | 23 |  | 16 |  | 6 |  | 1 |  | 0 |  | 1
S11 | Material failure of SCADA |  | 0 |  | 3 |  | 2 |  | 1 |  | 4 |  | 0
S12 | Incorrect operational isolation of primary or secondary equipment |  | 6 |  | 3 |  | 0 |  | 1 |  | 0 |  | 3
Table 2: STPIS SC Yearly Outage Rates Summary 2020-2024 (Calendar Years)
S | Performance parameter | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
S1 | line outage - fault | 0.176 | 0.18254 | 0.063492 | 0.05303 | 0.090909 | 0.0438
S2 | transformer outage - fault | 0.15625 | 0.19841 | 0.071429 | 0.048 | 0.076336 | 0.0698
S3 | reactive plant - fault | 0.22535 | 0.21429 | 0.041667 | 0.12329 | 0.054054 | 0.1039
S4 | line outage - forced | 0.072 | 0.25397 | 0.055556 | 0.022727 | 0.0075758 | 0.0438
S5 | transformer outage - forced | 0.11719 | 0.13492 | 0.087302 | 0.056 | 0.068702 | 0.031
S6 | reactive plant - forced | 0.19718 | 0.1 | 0.055556 | 0.068493 | 0.040541 | 0.026
S7 | LOS >0.05 system minutes | 3 | 0 | 2 | 0 | 1 | 0
S8 | LOS >0.3 system minutes | 1 | 0 | 0 | 0 | 0 | 0
S9 | Average outage duration | 57.6 | 37 | 2 | 47.85 | 169.5 | 84.75
S10 | Failure of protection system | 23 | 16 | 6 | 1 | 0 | 1
S11 | Material failure of SCADA | 0 | 3 | 2 | 1 | 4 | 0
S12 | Incorrect operational isolation of primary or secondary equipment | 6 | 3 | 0 | 1 | 0 | 3