Demand Management Incentive Scheme

Veronica Grace, Brad Smith, Janusz Worony

Initial Release

Effective date: 14 February 2011

Power Factor Correction Project

2009-2010

Contents

1. Introduction

2. Project Costs

3. Project Nature and Scope

4. Project Aims and Expectations

5. Project Business Case

5.1 Option Selection Criteria

5.2 Option 1: Power Factor Correction Equipment

5.3 Option 2: LED Replacements

5.4 Option 3: Commercial Load Curtailment

5.5 Option 4: Residential Interval Meters

5.6 Selected Option

6. Project Implementation Plan

7. Project Implementation Costs

8. Identifiable Benefits

9. Completed Projects Overview

10. Funding Sources

1. Introduction

During the fiscal year 2009-2010, ActewAGL Distribution evaluated options for demand management in accordance with the Demand management incentive scheme for the ACT and NSW 2009 distribution determinations released November 2008.  A Power Factor Correction (PFC) Project was selected as the most suitable option for this scheme and development work progressed toward this end.

2. Project Costs

The total amount spent on the PFC project during 2009-2010, as reported in Table 1, DMIA Annual Report, is $28,640.  Costs incurred are from direct labour and overhead costs associated with one engineer over fourteen weeks.  The calculation of costs is automatically tied to actual hours worked, gross earnings and established overhead rates.

3. Project Nature and Scope

The PFC Project is intended to reduce the reactive power consumption of large commercial customers whom record fifteen minute interval consumption data.  Of these customers, ActewAGL Distribution will identify customers with power factors at peak load less than 0.9 whom are on network tariffs (which include a demand component).  ActewAGL Distribution will then determine, for each identified customer, suitable power factor correction equipment which, when installed, will reduce their demand tariff.

ActewAGL Distribution will define specifications for power factor correction equipment.  The intention, at this point, is to develop wholesale contracts with multiple suppliers to reduce equipment costs.  At least a portion of the equipment and installation cost will be funded by the customer.  Financial subsidies may be provided to customers with longer payback periods; the threshold is yet to be established.

For each identified customer, ActewAGL Distribution will develop an individual communication regarding their consumption and compensation requirements.  This communication will describe the demand component of the network tariff as well as the reactive compensation required to achieve a 0.9 power factor at peak load.  The communication will also recommend the procurement and installation of appropriate power factor correction equipment and the associated cost estimates.  Additionally, ActewAGL Distribution will communicate the respective demand tariff savings and payback period associated with the installation of the recommended power factor correction equipment.

ActewAGL Distribution is also considering the implementation of a kVAr charge which would financially penalise customers with excessive kVAr consumption.  Implementation of this charge may increase the likelihood of customer participation in the PFC Project.

4. Project Aims and Expectations

The primary objective of this project is to reduce the peak apparent demand of commercial feeders within the ActewAGL Distribution network.  Preliminary modelling of the potential peak demand reduction was undertaken during the development phase of this project.  This modelling indicates feeder peak demand reduction of 4 to 6 MVA is possible if the program enrols the identified 123 customers with the largest reactive compensation requirements.

The actual demand reduction will depend upon the customer participation rate.  Including a financial subsidy for customers with longer payback periods may significantly increase the participation rate resulting in increased demand reduction.

In addition to increasing awareness of the identified customers, this program will also increase the awareness within ActewAGL Distribution.  Implementation of this program will provide ActewAGL Distribution staff with knowledge that can be transferred immediately to the evaluation of other, existing customers.  Additionally, this knowledge can be utilised during the evaluation of new customers.  In this case, ActewAGL Distribution may implement a process to estimate the uncompensated peak load power factor of new developments and enforce compliance with the 0.9 power factor requirement prior to site commission.

As a result of this program, ActewAGL Distribution will gain valuable experience and knowledge of power factor correction equipment installation in existing premises.

5. Project Business Case

5.1 Option Selection Criteria

Four demand management project options were considered.  Selection of the project was based on the following criteria:

- Estimated cost;

- Potential magnitude of the total demand reduction achieved within the $500,000 allocation; and

- Permanency and reliability of the project.

5.2 Option 1: Power Factor Correction Equipment

This project concept includes the partial subsidisation of power factor correction equipment and installation for commercial customers where a benefit is identified.

This project assumes the full enrolment of 123 customers identified with the largest reactive compensation requirements.  In this case, 4-6 MVA of feeder peak demand reduction may be possible.  This project does provide a relatively permanent and reliable solution.

5. 3 Option 2: LED Replacements

This project concept includes the subsidised replacement of halogen down lights with LED alternatives.  This project concept targets large commercial customers in an effort to maximize concentrated demand reduction.

Current costs of LED retrofit options indicate the cost of demand reduction is approximately $1750/ kW.  Utilising the full $100,000/ annum allowance and assuming a 100% subsidy, the total demand reduction attainable is limited to 57 kW/ annum.  The project does provide a relatively permanent and reliable solution.

5. 4 Option 3: Commercial Load Curtailment

This project concept includes monitoring and generation of a signal from the ActewAGL Distribution network to the Building Management System (BMS) of large commercial buildings to initiate a reduction in the load of that building for a determined period of time.

The estimated cost of the demand reduction via this project is relatively high at $260 to $540 per kVA. This cost is very difficult to estimate including the costs to enrol building owners/ managers and the ongoing costs associated with the interface.  The total demand reduction is also very difficult to predict as the project is highly dependent upon building owner/ manager participation.  As there is very minimal financial benefit and several dis-benefits to building owners/ managers, there is concern that participation rate may be low.  While a robust interface will provide sufficient reliability, the demand reduction associated with this project is deemed temporary.

5.5 Option 4: Residential Interval Meters

This project concept includes the subsidised installation of interval meters in residential premises to facilitate customer transition to a time of use (TOU) network tariff.  The transition to a TOU network tariff increases customer awareness and provides financial incentive to customers to reduce consumption during peak times.

At a cost of $150 per meter for equipment and installation, approximately 666 meters could be subsidised within this project.  The total demand reduction, however, is difficult to predict.  Because large customers with consumption > 100MWh per annum are currently required to have TOU meters installed, this project targets residential customers only.  Therefore, this project does not address the commercial peak demand which presents greater and more localised peak loads.  Additionally, the permanency and reliability of peak demand reduction associated with this project is difficult to predict.

5.6 Selected Option

The PFC Project is determined the most suitable option.  The PFC Project has the best potential cost per kVA of network demand reduction.  Therefore, the PFC Project has the highest likelihood of producing a noticeable demand reduction.  All project concepts were developed based upon cost allocation of the $100,000 allowance.  With this fixed funding, each project was considered with respect to the total potential demand reduction.  In this case, the PFC Project was deemed the most suitable option.  The PFC Project provides a permanent and reliable solution, assuming minimal ongoing equipment monitoring and maintenance by the customer.

In addition to the selection criteria, the PFC Project provides the following advantages over the other project concepts:

- The magnitude of the demand reduction is predictable.

- The likelihood of achieving a noticeable demand reduction is high.

- There is minimal impact to customer operation.

- The project can be managed with minimal administration.

6. Project Implementation Plan

Implementation of the PFC Project is simplified into the following steps:

- Identify customers suitable for the project.

- Compile detailed information on the real, reactive and apparent power consumptions of each identified customer.

- From the load profiles, estimate the required reactive compensation magnitude, associated peak apparent power demand reduction and the corresponding savings on the demand tariff associated with the network component of the customer’s bill.

- From the cumulative estimates, determine a payback period threshold, for example 2.5 years, where a financial subsidy will be offered.

- Initiate a tender process to establish wholesale contracts via multiple suppliers for PFC equipment procurement.

- Develop individual communications for all identified customers.  Inform customers of their obligations regarding compensation requirements.  Inform customers of their respective demand tariff savings and payback period associated with the installation of the recommended PFC equipment.

7. Project Implementation Costs

The project scope and delivery is based upon the fixed cost allocation of $100,000/ annum or $500,000 total.  Project costs include the following components:

- ActewAGL Distribution project management

- Equipment/ installation subsidies to customers.

Project management is estimated at $100,000.  Of this, $28,640 has been allocated to the project concept development and is submitted to the AER for the 2009-2010 financial year.

Equipment/ installation subsidies to identified customers are estimated at $400,000.  This allocation will provide financial incentive to identified customers and, in some cases, reduce the customer payback period.

8. Identifiable Benefits

Since developing the project concepts, no identifiable benefits have been achieved.  The project has not yet entered the implementation phase.

9. Completed Projects Overview

No projects have been completed under this scheme.

10. Funding Sources

Costs associated with this project are not:

- recoverable under any other jurisdictional incentive scheme;

- recoverable under any other Commonwealth or State Government scheme; or

- included in the forecast capex or forecast opex allowances or any other incentive scheme.