## Fee based
FEE BASED ALTERNATIVE CONTROL SERVICES
Date of Application - 1 January 2020
[11 empty] | CPI |  | X- Factor |  | Escalation
CPI
|  |  |  | P t-1 (2010) | [5 empty] | Pt (2011)
B2B Code | Code | AH/NH | Field officer visits | 2015 Draft Det | 2016 | 2017 | 2018 | 2019 | 2020 | $ GST Excl | 2014-09-01 | 106.4 | 2017 | -0.37% | 2017 | 101.4%
020600 | 020600 | 0 | Field officer visits—BH | 17.95 | 18.21 | 18.46 | 18.96 | 19.53 | 20.04 | 20.04 | 2015-06-01 | 107.5 | 2018 | -0.79% | 2018 | 102.7%
020600AH | 020600 | 1 | Field officer visits—AH | 322.8 | 327.65 | 332.22 | 341.31 | 351.74 | 360.98 | 360.98 | 2015-09-01 | 108 | 2019 | -0.96% | 2019 | 103.1%
020710 | 020710 | 0 | Remote Re-energisation - Any Time | 6.15 | 6.24 | 6.32 | 6.49 | 6.68 | 6.85 | 6.85 | 2016-06-01 | 108.6 | 2020 | -1.02% | 2020 | 102.6%
020720 | 020720 | 0 | Remote De-energisation - Any Time | 6.15 | 6.24 | 6.32 | 6.49 | 6.68 | 6.85 | 6.85 | 2017-06-01 | 110.7
020800 | 020800 | 0 | Remote Meter Re-configuration | 27.34 | 27.75 | 28.13 | 28.9 | 29.78 | 30.56 | 30.56 | 2018-06-01 | 113
020900 | 020900 | 0 | Remote Special Read | 1.33 | 1.35 | 1.36 | 1.39 | 1.43 | 1.46 | 1.46 | 2019-06-01 | 114.8
Routine new connections — AusNet Services responsible for metering,
customers<100amps
010107 | 010107 | 0 | Single Ø Overhead—BH | 387.12 | 392.94 | 398.42 | 409.33 | 421.84 | 432.93 | 432.93
010107AH | 010107 | 1 | Single Ø Overhead—AH | 466.83 | 473.85 | 480.46 | 493.61 | 508.7 | 522.07 | 522.07
010125 | 010125 | 0 | Install 95mm overhead service from LVABC - BH | 637.98 | 647.57 | 656.61 | 674.59 | 695.21 | 713.48 | 713.48
010125AH | 010125 | 1 | Install 95mm overhead service from LVABC - AH | 799.21 | 811.22 | 822.55 | 845.07 | 870.9 | 893.79 | 893.79
010109 | 010109 | 0 | Single Ø Underground—BH | 201.06 | 204.08 | 206.93 | 212.59 | 219.09 | 224.85 | 224.85
010109AH | 010109 | 1 | Single Ø Underground—AH | 257.19 | 261.05 | 264.69 | 271.93 | 280.24 | 287.6 | 287.6
010111 | 010111 | 0 | Multi Ø Overhead—Direct Connected Meter—BH | 413.74 | 419.96 | 425.82 | 437.48 | 450.85 | 462.7 | 462.7
010111AH | 010111 | 1 | Multi Ø Overhead—Direct Connected Meter—AH | 498.92 | 506.42 | 513.49 | 527.55 | 543.68 | 557.97 | 557.97
010112 | 010112 | 0 | Multi Ø Overhead—CT Connected Meter—BH | 555.47 | 563.82 | 571.69 | 587.34 | 605.29 | 621.2 | 621.2
010112AH | 010112 | 1 | Multi Ø Overhead—CT ConnectedMeter—AH | 669.84 | 679.91 | 689.4 | 708.28 | 729.93 | 749.12 | 749.12
010113 | 010113 | 0 | Multi Ø Underground—Direct Connected Meter—BH | 300.88 | 305.4 | 309.66 | 318.14 | 327.86 | 336.47 | 336.47
010113AH | 010113 | 1 | Multi Ø Underground—Direct Connected Meter—aH | 372.63 | 378.23 | 383.51 | 394.01 | 406.05 | 416.72 | 416.72
010114 | 010114 | 0 | Multi Ø Underground—CT Connected Meter—BH | 434.09 | 440.61 | 446.76 | 458.99 | 473.02 | 485.45 | 485.45
010114AH | 010114 | 1 | Multi Ø Underground—CT ConnectedMeter—AH | 537.6 | 545.68 | 553.3 | 568.45 | 585.83 | 601.23 | 601.23
010115 | 010115 | 0 | Temporary Overhead Supply—Coincident Disconnection (Truck visit)—BH | 325.73 | 330.62 | 335.23 | 344.41 | 354.94 | 364.27 | 364.27
010115AH | 010115 | 1 | Temporary Overhead Supply—Coincident Disconnection (Truck visit)—AH | 413.69 | 419.91 | 425.77 | 437.43 | 450.8 | 462.65 | 462.65
Routine new connections — AusNet Services not responsible for metering,
customers<100amps
010116 | 010116 | 0 | Single Ø Overhead—BH | 387.12 | 392.94 | 398.42 | 409.33 | 421.84 | 432.93 | 432.93
010116AH | 010116 | 1 | Single Ø Overhead—AH | 466.83 | 473.85 | 480.46 | 493.61 | 508.7 | 522.07 | 522.07
010126 | 010126 | 0 | Install 95mm overhead service from LVABC - BH | 637.98 | 647.57 | 656.61 | 674.59 | 695.21 | 713.48 | 713.48
010126AH | 010126 | 1 | Install 95mm overhead service from LVABC - AH | 799.21 | 811.22 | 822.55 | 845.07 | 870.9 | 893.79 | 893.79
010118 | 010118 | 0 | Single Ø Underground—BH | 201.06 | 204.08 | 206.93 | 212.59 | 219.09 | 224.85 | 224.85
010118AH | 010118 | 1 | Single Ø Underground—AH | 257.19 | 261.05 | 264.69 | 271.93 | 280.24 | 287.6 | 287.6
010120 | 010120 | 0 | Multi Ø Overhead—Direct Connected Meter—BH | 413.74 | 419.96 | 425.82 | 437.48 | 450.85 | 462.7 | 462.7
010120AH | 010120 | 1 | Multi Ø Overhead—Direct Connected Meter—AH | 498.92 | 506.42 | 513.49 | 527.55 | 543.68 | 557.97 | 557.97
010121 | 010121 | 0 | Multi Ø Overhead—CT Connected Meter—BH | 555.47 | 563.82 | 571.69 | 587.34 | 605.29 | 621.2 | 621.2
010121AH | 010121 | 1 | Multi Ø Overhead—CT ConnectedMeter—AH | 669.84 | 679.91 | 689.4 | 708.28 | 729.93 | 749.12 | 749.12
010122 | 010122 | 0 | Multi Ø Underground—Direct Connected Meter—BH | 300.88 | 305.4 | 309.66 | 318.14 | 327.86 | 336.47 | 336.47
010122AH | 010122 | 1 | Multi Ø Underground—Direct Connected Meter—AH | 372.63 | 378.23 | 383.51 | 394.01 | 406.05 | 416.72 | 416.72
010123 | 010123 | 0 | Multi Ø Underground—CT Connected Meter—BH | 434.09 | 440.61 | 446.76 | 458.99 | 473.02 | 485.45 | 485.45
010123AH | 010123 | 1 | Multi Ø Underground—CT ConnectedMeter—AH | 537.6 | 545.68 | 553.3 | 568.45 | 585.83 | 601.23 | 601.23
010124 | 010124 | 0 | Temporary Overhead Supply—Coincident Disconnection (Truck visit)—BH | 325.73 | 330.62 | 335.23 | 344.41 | 354.94 | 364.27 | 364.27
010124AH | 010124 | 1 | Temporary Overhead Supply—Coincident Disconnection (Truck visit)—AH | 413.69 | 419.91 | 425.77 | 437.43 | 450.8 | 462.65 | 462.65
Service truck visits
030000 | 030000 | 0 | Service Truck Visit—BH | 325.73 | 330.62 | 335.23 | 344.41 | 354.94 | 364.27 | 364.27
030001 | 030001 | 0 | Wasted Truck Visit—BH | 185.36 | 188.14 | 190.76 | 195.98 | 201.97 | 207.28 | 207.28
030001AH | 030001 | 1 | Wasted Truck Visit—AH | 267.98 | 272 | 275.79 | 283.34 | 292 | 299.67 | 299.67
030000AH | 030000 | 1 | Service Truck Visit—AH | 413.69 | 419.91 | 425.77 | 437.43 | 450.8 | 462.65 | 462.65
030100AH | 030100 | 1 | Truck Appointment—AH | [6 empty] | Quoted service
Meter equipment tests
060100 | 060100 | 0 | Single phase | 153.39 | 155.69 | 157.86 | 162.18 | 167.13 | 171.52 | 171.52
060200 | 060200 | 0 | Single phase (each additional meter) | 57.15 | 58 | 58.81 | 60.42 | 62.26 | 63.89 | 63.89
060300 | 060300 | 0 | Multi Phase | 181.97 | 184.7 | 187.28 | 192.4 | 198.28 | 203.49 | 203.49
060400 | 060400 | 0 | Multi Phase (each additional meter) | 85.72 | 87 | 88.21 | 90.62 | 93.39 | 95.84 | 95.84
Small Generator Installations (including PV)
100100 | 100100 | 0 | Pre Approval of PV and small generator installation < 4.6kW - BH | 0 | 0 | 0
100101 | 100101 | 0 | Pre Approval of PV and small generator installation 4.6kW to 15kW - BH | 142.87 | 145.01 | 147.03 | 151.05 | 155.66 | 159.75 | 159.75
100102 | 100102 | 0 | Pre Approval of PV and small generator installation 15kW to 30kW - BH | 189.4 | 192.24 | 194.92 | 200.25 | 206.37 | 211.79 | 211.79
100103 | 100103 | 0 | Meter Exchange for PV and small generator installation | [6 empty] | Exit Fee + Service Truck Visit
100104 | 100104 | 0 | Meter Reconfiguration for PV and small generator installation | 27.07 | 27.47 | 27.85 | 28.61 | 29.48 | 30.25 | 30.25

## Quoted
QUOTED ALTERNATIVE CONTROL SERVICES
Date of Application - 1 January 2014 | Date of Application - 1 January 2020
|  | 2015 Draft | 2015 Draft | 2016 | 2016 | 2017 | 2017 | 2018 | 2018 | 2019 | 2019 | 2020 | 2020 | Year | Labour Escalator | Labour escalator + CPI
Labour category | Service description | $/hour rate - BH | $/hour rate - AH | $/hour rate - BH | $/hour rate - AH | $/hour rate - BH | $/hour rate - AH | $/hour rate - BH | $/hour rate - AH | $/hour rate - BH | $/hour rate - AH | $/hour rate - BH | $/hour rate - AH
Labour—wages | Construction Overhead Install | 99.99 | 121.44 | 101.4936 | 123.2662 | 102.9115 | 124.9882 | 105.7302 | 128.4116 | 108.9631 | 132.338 | 111.8279 | 135.8174 | 2016 | 0% | 101.5%
Labour—wages | Construction Underground Install | 97.66 | 118.61 | 99.1286 | 120.3936 | 100.5134 | 122.0756 | 103.2665 | 125.4192 | 106.424 | 129.254 | 109.2221 | 132.6523 | 2017 | -0.37% | 101.4%
Labour—wages | Construction Substation Install | 97.66 | 118.61 | 99.1286 | 120.3936 | 100.5134 | 122.0756 | 103.2665 | 125.4192 | 106.424 | 129.254 | 109.2221 | 132.6523 | 2018 | -0.79% | 102.7%
Labour—wages | Electrical Tester Including Vehicle & Equipment | 174.6 | 196.85 | 177.2256 | 199.8102 | 179.7015 | 202.6016 | 184.6235 | 208.1508 | 190.2686 | 214.5153 | 195.2711 | 220.1552 | 2019 | -0.96% | 103.1%
Labour—wages | Planner Including Vehicle | 134.23 |  | 136.2485 | 0 | 138.1519 | 0 | 141.9359 | 0 | 146.2758 | 0 | 150.1216 | 0 | 2020 | -1.02% | 102.6%
Labour—wages | Supervisor Including Vehicle | 134.23 |  | 136.2485 | 0 | 138.1519 | 0 | 141.9359 | 0 | 146.2758 | 0 | 150.1216 | 0
Labour—design | Design | 114.61 | 139.19 | 116.3335 | 141.2831 | 117.9587 | 143.2569 | 121.1895 | 147.1806 | 124.8951 | 151.6809 | 128.1788 | 155.6688
Labour—design | Drafting | 88.07 | 106.96 | 89.3944 | 108.5684 | 90.6432 | 110.0852 | 93.1259 | 113.1004 | 95.9734 | 116.5586 | 98.4967 | 119.6231
Labour—design | Survey | 103.74 | 126 | 105.3 | 127.8947 | 106.7711 | 129.6815 | 109.6955 | 133.2334 | 113.0496 | 137.3072 | 116.0219 | 140.9173
Labour—design | Tech Officer | 103.74 | 126 | 105.3 | 127.8947 | 106.7711 | 129.6815 | 109.6955 | 133.2334 | 113.0496 | 137.3072 | 116.0219 | 140.9173
Labour—design | Line Inspector | 99.99 | 121.44 | 101.4936 | 123.2662 | 102.9115 | 124.9882 | 105.7302 | 128.4116 | 108.9631 | 132.338 | 111.8279 | 135.8174
Labour—design | Contract Supervision | 103.74 | 126 | 105.3 | 127.8947 | 106.7711 | 129.6815 | 109.6955 | 133.2334 | 113.0496 | 137.3072 | 116.0219 | 140.9173
Labour—design | Protection Engineer | 114.61 | 139.19 | 116.3335 | 141.2831 | 117.9587 | 143.2569 | 121.1895 | 147.1806 | 124.8951 | 151.6809 | 128.1788 | 155.6688
Labour—design | Maintenance Planner | 103.74 | 126 | 105.3 | 127.8947 | 106.7711 | 129.6815 | 109.6955 | 133.2334 | 113.0496 | 137.3072 | 116.0219 | 140.9173