## AER amendments
No. | Sheet | Cell | Changes
1 | Assumptions | C11:M11 | Adopted lagged CPI consistent with RFM
2 | Assumptions | B11 | Amended label to refer to lagged CPI
3 | Profile | D9 | Based on an age of 32 years which reflects the difference between 2021 and the latest installation year of 1989 (consistent with information provided by Powercor in response to IR#015).
4 | Profile | E9 | Volume is zero as capex not accepted
5 | Profile | F9 | Amended unit rate, however capex not accepted
6 | Profile | D11 | Updated to reflect the average age of these assets (provided by Powercor in response to IR#015) with a 2 year adjustment to calculate the average age at 2021 rather than 2019.
7 | Profile | E11 | Amended volume
8 | Profile | F11 | Amended unit rate
9 | Profile | E12 | Amended volume, equal to the approved forecast volume and a 25% scrapping factor applied
10 | Profile | F12 | Amended unit rate
11 | Profile | D16 | Amended formula to reference amended calculation for remaining life in 'Underground cable' worksheet.
12 | Profile | G15 | Amended formula to reference amended residual value calculation in 'Other_ACRs' worksheet.
13 | Profile | H9:L10,H11:I11,H12:L12,H13:K13,H14:J16 | Inserted formulas which reference amended residual amounts and divides by the proposed remaining life
14 | T3 surge arrestors | D8 | New label for T3 surge arrestors
15 | T3 surge arrestors | H8:H9,I9,G10 | New labels for WPD and GHP
16 | T3 surge arrestors | D10:E10 | Amended unit rates to reflect our approved contingent project tranche 3 cost model
17 | T3 surge arrestors | H10:I10 | Added separate unit rates for WPD and GHP based forecast replacement converted to $2015 for consistency with rates in cells D10:E10
18 | T3 surge arrestors | F23:G24 | Amended formulae to reference WPD and GHP unit rates
19 | Underground cable | D7 | Amended volume to reflect volume of T1-T3, WPD and GHP
20 | Underground cable | E8 | Amended to '$'000s/km' for clarity. Previously this was '$'000s'.
21 | Underground cable | C65 | Referencing GHP volume. In Powercor's updated model provided in response to IR#055, this volume had been entered in cell I65.
22 | Underground cable | E65:I65 | Amended formulas to be consistent with rest of table
23 | Underground cable | M13:Q66 | Added calculation to calculate the weighted average based on the replacement volumes (rather than the installed volumes)
24 | Other_ACRs | D5 | Amended reference year to be 2021
25 | Other_ACRs | D7 | Amended unit rate to reflect our approved contingent project tranche 3 cost model
26 | Other_ACRs | F54:G56,G57 | Added calculation to prorate residual value based on the volume of ACRs accepted for accelerated depreciation
The AER's draft decision amendments are highlighted in this shade of green unless noted.
Final Decision amendments
27 | Profile | E12 | Amended volume, equal to the approved forecast replacement volume with a 25% scrapping factor applied
28 | T3 surge arrestors | M9:N9,H10:I10,L10:N10 | Amended unit rates
The AER's final decision amendments are highlighted in this shade of orange unless noted.

## Powercor Changes
PAL Accelerated depreciation
Powercor Changes
Changes 4 June 2020
Sheet | Reference | Description
Underground cable | D7 | Corrected formula to only reference P23 on the 'REFCL_data' tab, instead of the sum of P22:P23
Underground cable | H15 | Corrected formula to be the same as cells below
Other ACRs | C13:C47 | Linked to pick up yearly totals from 'ACRs_data' tab
REFCL_data | Column O | Added an extra column (blank)
ACRs_data | Row 26 | Updated with corrected numbers for WPD
Changes 10 July 2020
Sheet | Reference | Description
Profile | B14 | Changed description to include GHP
Profile | B15 | Changed description to include WPD and GHP
Profile | H13:K16 | Updated values based on revised totals in column G
T3 surge arrestors | B24:H24 | Added GHP surge arrestors and calculations
T3 surge arrestors | D21:E21 | Set CRO surge arrestor volumes to zero
Underground cable | D65:I65 | Added GHP cable to be removed
REFCL_Data | O11:O23 | GHP column added
REFCL_Data | AQ11:AQ23 | GHP column added
REFCL_Data | AH11:AH23 | Volumes for GL set to zero
REFCL_Data | AJ11:AJ23 | Volumes for CRO set to zero
ACRs_data | C19:AH20 | GL and CRO volumes set to zero
ACRs_data | C27:AH27 | GHP ACRs added
UG_cable_data | C29:BF30 | GL and CRO volumes set to zero
ACRs_data | Column AG | Added updated volumes for 2019
ACRs_data | C32:AH35 | Added summary table showing T1 ACRs, T2 ACRs and other
T1-T3 old UG cable |  | Deleted redundant tab 'T1-T3 old UG cable'

## Profile
PAL Accelerated depreciation
Profile
Updated 10 July 2020
| Distribution standard life: VPN | 51
| REFCL cost inflator ($2015 to $2021) | 1.081
Accelerated depreciation ($ 2021)
| Description | Standard life | Remaining life | Total volume | Unit rate | Total | 2022 | 2023 | 2024 | 2025 | 2026
| PVC grey services (dog-bones) | 51 | 19 | 0 | 84196.6737 | 0 | 0 | 0 | 0 | 0 | 0
| Replacing HV ABC in the LBRA | 51 | 25.5 | 9.6 | 437035.3982 | 2097769.9115 | 419553.9823 | 419553.9823 | 419553.9823 | 419553.9823 | 419553.9823
| 3G to 5G upgrade (control boxes) | 51 | 43.7597 | 1652.4911 | 3693.1367 | 5236471.5426 | 2618235.7713 | 2618235.7713 | 0 | 0 | 0
| Solar enablement: distribution transformers | 51 | 25.5 | 88.5806 | 68021.7994 | 3012707.4891 | 602541.4978 | 602541.4978 | 602541.4978 | 602541.4978 | 602541.4978
| T3 REFCL: surge arrestors |  | 31.8618 |  |  | 5122164.9456 | 1280541.2364 | 1280541.2364 | 1280541.2364 | 1280541.2364 | 0
| WPD & GHP: surge arrestors |  | 31.8618 |  |  | 2913244.1066 | 971081.3689 | 971081.3689 | 971081.3689 | 0 | 0
| T1-T3 & WPD & GHP REFCL: ACRs |  | 42.8202 |  |  | 1195792.8986 | 398597.6329 | 398597.6329 | 398597.6329 | 0 | 0
| T1-T3 REFCL: underground cable |  | 30.8807 |  |  | 10753070.311 | 3584356.7703 | 3584356.7703 | 3584356.7703 | 0 | 0
| Total |  |  |  |  | 30331221.2049 | 9874908.2599 | 9874908.2599 | 7256672.4886 | 2302636.7165 | 1022095.4801
Depreciation removed
| Description | [5 empty] | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071 | 2072 | 2073 | 2074 | 2075 | 2076 | 2077 | 2078 | 2079 | 2080 | 2081 | 2082
| PVC grey services (dog-bones) | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Replacing HV ABC in the LBRA | [5 empty] | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 82265.4867 | 41132.7434 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 3G to 5G upgrade (control boxes) | [5 empty] | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 119664.2229 | 90909.9558 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Solar enablement: distribution transformers | [5 empty] | 118145.3917 | 118145.3917 | 118145.3917 | 118145.3917 | 118145.3917 | 118145.3917 | 118145.3917 | 118145.3917 | 118145.3917 | 118145.3917 | 118145.3917 | 118145.3917 | 118145.3917 | 118145.3917 | 118145.3917 | 118145.3917 | 118145.3917 | 118145.3917 | 118145.3917 | 118145.3917 | 118145.3917 | 118145.3917 | 118145.3917 | 118145.3917 | 118145.3917 | 59072.6959 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| T3 REFCL: surge arrestors | [5 empty] | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 160762.1026 | 138539.7646 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| WPD & GHP: surge arrestors | [5 empty] | 91433.8474 | 91433.8474 | 91433.8474 | 91433.8474 | 91433.8474 | 91433.8474 | 91433.8474 | 91433.8474 | 91433.8474 | 91433.8474 | 91433.8474 | 91433.8474 | 91433.8474 | 91433.8474 | 91433.8474 | 91433.8474 | 91433.8474 | 91433.8474 | 91433.8474 | 91433.8474 | 91433.8474 | 91433.8474 | 91433.8474 | 91433.8474 | 91433.8474 | 91433.8474 | 91433.8474 | 91433.8474 | 91433.8474 | 91433.8474 | 91433.8474 | 78794.8372 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| T1-T3 & WPD & GHP REFCL: ACRs | [5 empty] | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 27925.8903 | 22905.5055 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| T1-T3 REFCL: underground cable | [5 empty] | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 348213.0155 | 306679.846 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Depreciation removed from distribution system assets | [5 empty] | 948409.9572 | 948409.9572 | 948409.9572 | 948409.9572 | 948409.9572 | 948409.9572 | 948409.9572 | 948409.9572 | 948409.9572 | 948409.9572 | 948409.9572 | 948409.9572 | 948409.9572 | 948409.9572 | 948409.9572 | 948409.9572 | 948409.9572 | 948409.9572 | 948409.9572 | 948409.9572 | 948409.9572 | 948409.9572 | 948409.9572 | 948409.9572 | 948409.9572 | 848204.518 | 747999.0788 | 747999.0788 | 747999.0788 | 747999.0788 | 706465.9093 | 364924.715 | 147590.1133 | 147590.1133 | 147590.1133 | 147590.1133 | 147590.1133 | 147590.1133 | 147590.1133 | 147590.1133 | 147590.1133 | 147590.1133 | 142569.7285 | 90909.9558 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[22 empty] | 201179.902 | 201179.902 | 201179.902 | 201179.902 | 201179.902 | 201179.902 | 201179.902 | 201179.902 | 201179.902 | 201179.902 | 100589.951 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[22 empty] | 48823.5294 | 48823.5294 | 48823.5294 | 48823.5294 | 48823.5294 | 48823.5294 | 48823.5294 | 48823.5294 | 48823.5294 | 48823.5294 | 24411.7647 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[22 empty] | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701 | 145065.701
[22 empty] | 827225.1479 | 827225.1479 | 827225.1479 | 827225.1479 | 827225.1479 | 827225.1479 | 827225.1479 | 827225.1479 | 827225.1479 | 827225.1479 | 413612.5739 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[22 empty] | 341055.0078 | 341055.0078 | 341055.0078 | 341055.0078 | 341055.0078 | 341055.0078 | 341055.0078 | 341055.0078 | 341055.0078 | 341055.0078 | 341055.0078 | 341055.0078 | 341055.0078 | 341055.0078 | 341055.0078 | 341055.0078 | 341055.0078 | 26636.1079 | 0 | 0 | 0 | 0
[22 empty] | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581 | 311001.0581
[22 empty] | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197 | 107552.6197
[22 empty] | 344663.4347 | 344663.4347 | 344663.4347 | 344663.4347 | 344663.4347 | 344663.4347 | 344663.4347 | 344663.4347 | 344663.4347 | 344663.4347 | 77827.2272 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[22 empty] | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765 | 12536.0765
[22 empty] | 2339102.4771 | 2339102.4771 | 2339102.4771 | 2339102.4771 | 2339102.4771 | 2339102.4771 | 2339102.4771 | 2339102.4771 | 2339102.4771 | 2339102.4771 | 1533651.9799 | 917210.4631 | 917210.4631 | 917210.4631 | 917210.4631 | 917210.4631 | 917210.4631 | 602791.5632 | 576155.4553 | 576155.4553 | 576155.4553 | 576155.4553
Note on C4: AER: Not used
Note on C5: AER: Not used

## Assumptions
PAL Accelerated depreciation
Assumptions
| Distribution standard life: VPN | 51
| AMI life: VPN | 15
REFCL cost inflator ($2015 to $2021)
| Year | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
| lagged inflation |  |  |  |  | 2.308% | 1.511% | 1.023% | 1.934% | 2.078% | 1.593% | 1.22%
| Conversion to June 2021 |  |  |  |  | 1.0973 | 1.0809 | 1.07 | 1.0497 | 1.0283 | 1.0122 | 1
| REFCL conversion from 2015 to 2021 | 2012: 1.0973
Note on C6: AER: Not used

## Output
PAL Accelerated depreciation
Output
| Description | Total | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071 | 2072 | 2073 | 2074 | 2075 | 2076 | 2077 | 2078 | 2079 | 2080 | 2081 | 2082
| Remaining value accelerated | 30.3312
| Accelerated depreciation |  | 2022: 9.8749; 2023: 9.8749; 2024: 7.2567; 2025: 2.3026; 2026: 1.0221
| RAB adj to distribution system assets for accelerated depreciation assets | -30.3312
| Depreciation removed from distribution system assets |  | -0.94841 | -0.94841 | -0.94841 | -0.94841 | -0.94841 | -0.94841 | -0.94841 | -0.94841 | -0.94841 | -0.94841 | -0.94841 | -0.94841 | -0.94841 | -0.94841 | -0.94841 | -0.94841 | -0.94841 | -0.94841 | -0.94841 | -0.94841 | -0.94841 | -0.94841 | -0.94841 | -0.94841 | -0.94841 | -0.8482 | -0.748 | -0.748 | -0.748 | -0.748 | -0.70647 | -0.36492 | -0.14759 | -0.14759 | -0.14759 | -0.14759 | -0.14759 | -0.14759 | -0.14759 | -0.14759 | -0.14759 | -0.14759 | -0.14257 | -0.09091 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## T3 surge arrestors
PAL Accelerated depreciation
T3 Surge arrestors
Updated 10 July 2020
| Distribution standard life |  | 51
| Average age |  | 19.1382
| Average remaining life |  | 31.8618
|  |  | For T3 surge arrestors |  |  |  | For WPD and GHP
|  |  | 1ph Arrestor | 3ph Arrestor |  |  | 1ph Arrestor | 3ph Arrestor |  | 1ph Arrestor | 3ph Arrestor
| Surge arrestor installed cost ($2015) |  | 1382.1768 | 1582.7112 |  | Surge arrestor installed cost ($2015) | 1369.6498 | 1549.5373 | Surge arrestor installed cost (2020-21 $) | 1502.8641 | 1700.2478
|  |  | Surge arrestors to be replaced |  | Remaining value of surge arrestors removed |  | Total value of
| CPA tranche | ZSS | Surge arrestor sites (single phase) | Surge arrestor sites (three phase) | Single phase | Three phase | surge arrestors replaced
| 3 | ART | 406 | 347 | 350581.7866 | 343108.0115 | 693689.7981
| 3 | STL | 184 | 249 | 158884.3565 | 246207.1898 | 405091.5463
| 3 | TRG | 556 | 517 | 480107.0773 | 511201.2736 | 991308.3509
| 3 | KRT | 341 | 553 | 294454.1607 | 546797.4938 | 841251.6545
| 3 | HTN | 369 | 265 | 318632.215 | 262027.7321 | 580659.9471
| 3 | CRO | 0 | 0 | 0 | 0 | 0
| 3 | MBN | 148 | 1040 | 127798.2868 | 1028335.2506 | 1156133.5373
|  | WPD | 611 | 998 | 522817.9126 | 966122.705 | 1488940.6176
|  | GHP | 314 | 927 | 268682.2006 | 897390.5285 | 1166072.7291
| Total (real 2015 dollars) |  | 2929 | 4896 | 2521957.996 | 4801190.1849 | 7323148.1809

## OtherAssets
PAL Accelerated depreciation
Other distribution assets
Volumes
|  | Unit Rate | Units | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
| Dog Bones | 84620 | ea | 25.5 | 25.5 | 25.5 | 25.5 | 25.5 | 25.5 | 25.5 | 25.5
| HV ABC in LBRA | 425000 | per km | 0 | 0 | 1.92 | 1.92 | 1.92 | 1.92 | 1.92 | 1.92
| Solar enablement - Tx replacement | 66148.5657 | ea |  |  |  | 128 | 128 | 133 | 124 | 125
| 3G devices | 3591.4324 | ea |  |  |  | 1030 | 1030 | 0 | 0 | 0

## Underground cable
PAL Accelerated depreciation
Underground cable
Updated 4 June 2020
Updated 10 July 2020
| Reference year |  | 2019 | Year
| Distribution standard life |  | 51 | Age
| UG cable removed (all REFCL areas) |  | 38012 | Metres
| UG cable installed cost (real $2015) |  | 424.8996 | $'000s/km
| % of non-XLPE replaced (total population) |  | 4% | %
| % of XLPE of total pre-1989 population |  | 31.61% | %
| UG cable installed: T1, T2 and T3 sites | [7 empty] | Volumes
| Installation year | Volume | Remaining life | Remaining value ($) | XLPE pre-1989 replaced | Non-XLPE replaced | XLPE pre-1989 replacement ($) | Other replacement ($) | XLPE pre-1989 replaced vol | Non-XLPE replaced | Total | Remaining life (years) | Total Residual Value
| 1970 | 60.3742 | 2 | 1005.9997 | 19.0848 | 2.415 | 318.0045 | 40.24 | 19.0848 | 2.415 | 21.4998 | 2 | 358.2445
| 1971 | 514.3176 | 3 | 12854.9012 | 162.5799 | 20.5727 | 4063.5368 | 514.196 | 162.5799 | 20.5727 | 183.1526 | 3 | 4577.7329
| 1972 | 602 | 4 | 20061.9244 | 190.297 | 24.08 | 6341.7344 | 802.477 | 190.297 | 24.08 | 214.377 | 4 | 7144.2114
| 1973 | 59.5223 | 5 | 2479.5082 | 18.8155 | 2.3809 | 783.7923 | 99.1803 | 18.8155 | 2.3809 | 21.1964 | 5 | 882.9726
| 1974 | 214.6698 | 6 | 10730.9549 | 67.8588 | 8.5868 | 3392.1405 | 429.2382 | 67.8588 | 8.5868 | 76.4456 | 6 | 3821.3787
| 1975 | 322.5321 | 7 | 18809.9241 | 101.955 | 12.9013 | 5945.9671 | 752.397 | 101.955 | 12.9013 | 114.8562 | 7 | 6698.3641
| 1976 | 997.1604 | 8 | 66461.6497 | 315.2104 | 39.8864 | 21009.0578 | 2658.466 | 315.2104 | 39.8864 | 355.0968 | 8 | 23667.5238
| 1977 | 239.0647 | 9 | 17925.6127 | 75.5702 | 9.5626 | 5666.4292 | 717.0245 | 75.5702 | 9.5626 | 85.1328 | 9 | 6383.4537
| 1978 | 1132.6226 | 10 | 94362.9111 | 358.031 | 45.3049 | 29828.8692 | 3774.5164 | 358.031 | 45.3049 | 403.3359 | 10 | 33603.3856
| 1979 | 3175.5346 | 11 | 291021.8835 | 1003.8118 | 127.0214 | 91994.3395 | 11640.8753 | 1003.8118 | 127.0214 | 1130.8332 | 11 | 103635.2149
| 1980 | 1956.6436 | 12 | 195618.1221 | 618.5107 | 78.2657 | 61836.4493 | 7824.7249 | 618.5107 | 78.2657 | 696.7764 | 12 | 69661.1742
| 1981 | 3500.5962 | 13 | 379141.634 | 1106.5664 | 140.0238 | 119849.6958 | 15165.6654 | 1106.5664 | 140.0238 | 1246.5902 | 13 | 135015.3612
| 1982 | 1867.3395 | 14 | 217804.7875 | 590.2809 | 74.6936 | 68849.8313 | 8712.1915 | 590.2809 | 74.6936 | 664.9745 | 14 | 77562.0228
| 1983 | 1827.8305 | 15 | 228424.8142 | 577.7918 | 73.1132 | 72206.9065 | 9136.9926 | 577.7918 | 73.1132 | 650.905 | 15 | 81343.899
| 1984 | 644.6016 | 16 | 85926.5751 | 203.7637 | 25.7841 | 27162.076 | 3437.063 | 203.7637 | 25.7841 | 229.5478 | 16 | 30599.139
| 1985 | 3447.0148 | 17 | 488211.6899 | 1089.6289 | 137.8806 | 154327.6108 | 19528.4676 | 1089.6289 | 137.8806 | 1227.5095 | 17 | 173856.0784
| 1986 | 2694.829 | 18 | 404128.8199 | 851.8569 | 107.7932 | 127748.3447 | 16165.1528 | 851.8569 | 107.7932 | 959.6501 | 18 | 143913.4975
| 1987 | 5815.8208 | 19 | 920620.6696 | 1838.4274 | 232.6328 | 291015.5396 | 36824.8268 | 1838.4274 | 232.6328 | 2071.0602 | 19 | 327840.3664
| 1988 | 8026.4629 | 20 | 1337427.6642 | 2537.229 | 321.0585 | 422771.5565 | 53497.1066 | 2537.229 | 321.0585 | 2858.2875 | 20 | 476268.663
| 1989 | 2185.7695 | 21 | 382419.2601 | 690.9392 | 87.4308 | 0 | 15296.7704 | 0 | 87.4308 | 87.4308 | 21 | 15296.7704
| 1990 | 5426.0539 | 22 | 994541.4643 | 1715.2189 | 217.0422 | 0 | 39781.6586 | 0 | 217.0422 | 217.0422 | 22 | 39781.6586
| 1991 | 7051.244 | 23 | 1351169.0495 | 2228.9545 | 282.0498 | 0 | 54046.762 | 0 | 282.0498 | 282.0498 | 23 | 54046.762
| 1992 | 4820.215 | 24 | 963815.1622 | 1523.7084 | 192.8086 | 0 | 38552.6065 | 0 | 192.8086 | 192.8086 | 24 | 38552.6065
| 1993 | 8022.9368 | 25 | 1671050.1666 | 2536.1144 | 320.9175 | 0 | 66842.0067 | 0 | 320.9175 | 320.9175 | 25 | 66842.0067
| 1994 | 10368.7871 | 26 | 2246039.6202 | 3277.6563 | 414.7515 | 0 | 89841.5848 | 0 | 414.7515 | 414.7515 | 26 | 89841.5848
| 1995 | 5297.1684 | 27 | 1191581.2146 | 1674.4772 | 211.8867 | 0 | 47663.2486 | 0 | 211.8867 | 211.8867 | 27 | 47663.2486
| 1996 | 7600.6186 | 28 | 1773058.551 | 2402.6162 | 304.0247 | 0 | 70922.342 | 0 | 304.0247 | 304.0247 | 28 | 70922.342
| 1997 | 11869.8229 | 29 | 2867862.6164 | 3752.1457 | 474.7929 | 0 | 114714.5047 | 0 | 474.7929 | 474.7929 | 29 | 114714.5047
| 1998 | 19479.6003 | 30 | 4868749.1967 | 6157.6571 | 779.184 | 0 | 194749.9679 | 0 | 779.184 | 779.184 | 30 | 194749.9679
| 1999 | 28306.4376 | 31 | 7310768.2432 | 8947.8908 | 1132.2575 | 0 | 292430.7297 | 0 | 1132.2575 | 1132.2575 | 31 | 292430.7297
| 2000 | 19292.3311 | 32 | 5143405.8167 | 6098.4598 | 771.6932 | 0 | 205736.2327 | 0 | 771.6932 | 771.6932 | 32 | 205736.2327
| 2001 | 28267.0522 | 33 | 7771602.2909 | 8935.4408 | 1130.6821 | 0 | 310864.0916 | 0 | 1130.6821 | 1130.6821 | 33 | 310864.0916
| 2002 | 18054.5856 | 34 | 5114256.9975 | 5707.1986 | 722.1834 | 0 | 204570.2799 | 0 | 722.1834 | 722.1834 | 34 | 204570.2799
| 2003 | 28359.8208 | 35 | 8269659.5974 | 8964.7657 | 1134.3928 | 0 | 330786.3839 | 0 | 1134.3928 | 1134.3928 | 35 | 330786.3839
| 2004 | 26055.3221 | 36 | 7814749.363 | 8236.2952 | 1042.2129 | 0 | 312589.9745 | 0 | 1042.2129 | 1042.2129 | 36 | 312589.9745
| 2005 | 26153.8382 | 37 | 8062194.3428 | 8267.4369 | 1046.1535 | 0 | 322487.7737 | 0 | 1046.1535 | 1046.1535 | 37 | 322487.7737
| 2006 | 30927.4938 | 38 | 9791391.844 | 9776.4276 | 1237.0998 | 0 | 391655.6738 | 0 | 1237.0998 | 1237.0998 | 38 | 391655.6738
| 2007 | 26178.5092 | 39 | 8506004.8086 | 8275.2356 | 1047.1404 | 0 | 340240.1923 | 0 | 1047.1404 | 1047.1404 | 39 | 340240.1923
| 2008 | 31718.074 | 40 | 10570192.7359 | 10026.3363 | 1268.723 | 0 | 422807.7094 | 0 | 1268.723 | 1268.723 | 40 | 422807.7094
| 2009 | 25798.9066 | 41 | 8812543.2891 | 8155.2402 | 1031.9563 | 0 | 352501.7316 | 0 | 1031.9563 | 1031.9563 | 41 | 352501.7316
| 2010 | 23464.0458 | 42 | 8210475.2046 | 7417.1721 | 938.5618 | 0 | 328419.0082 | 0 | 938.5618 | 938.5618 | 42 | 328419.0082
| 2011 | 15128.7664 | 43 | 5419860.1365 | 4782.3238 | 605.1507 | 0 | 216794.4055 | 0 | 605.1507 | 605.1507 | 43 | 216794.4055
| 2012 | 20255.5764 | 44 | 7425289.4794 | 6402.9493 | 810.2231 | 0 | 297011.5792 | 0 | 810.2231 | 810.2231 | 44 | 297011.5792
| 2013 | 29407.9963 | 45 | 11025392.4108 | 9296.1023 | 1176.3199 | 0 | 441015.6964 | 0 | 1176.3199 | 1176.3199 | 45 | 441015.6964
| 2014 | 21635.9655 | 46 | 8291826.721 | 6839.3013 | 865.4386 | 0 | 331673.0688 | 0 | 865.4386 | 865.4386 | 46 | 331673.0688
| 2015 | 47964.5318 | 47 | 18781668.6386 | 15161.9712 | 1918.5813 | 0 | 751266.7455 | 0 | 1918.5813 | 1918.5813 | 47 | 751266.7455
| 2016 | 26493.2252 | 48 | 10594785.6618 | 8374.7199 | 1059.729 | 0 | 423791.4265 | 0 | 1059.729 | 1059.729 | 48 | 423791.4265
| 2017 | 43831.2855 | 49 | 17893545.1815 | 13855.4191 | 1753.2514 | 0 | 715741.8073 | 0 | 1753.2514 | 1753.2514 | 49 | 715741.8073
| 2018 | 19843.0431 | 50 | 8265980.6982 | 6272.5443 | 793.7217 | 0 | 330639.2279 | 0 | 793.7217 | 793.7217 | 50 | 330639.2279
| 2019 | 760.2873 | 51 | 323045.7412 | 240.3329 | 30.4115 | 0 | 12921.8296 | 0 | 30.4115 | 30.4115 | 51 | 12921.8296
|  | 1967 | 37.7194 | 618137.3412 | 621.7844 | 78.68 | 0 | 24725.4936 | 0 | 78.68 | 78.68 | 37.7194 | 24725.4936
| Total | 657118.2483 | 37.7194 |  |  |  | 1515111.8817 | 8284803.3157 | 11727.2701 | 26363.4099 | 38090.68 | 30.8807 | 9799915.1974
Note on P66: AER: weighted average remaining life

## Other_ACRs
PAL Accelerated depreciation
Other ACRs
Updated 4 June 2020
Updated 10 July 2020
| Reference year |  | 2021
| Distribution standard life |  | 51
| ACR installed cost (real 2015 $) |  | 58998.9599
ACRs to be replaced
| Year installed | Volumes | Remaining life (yrs) | Remaining value
| 1970 | 1 | 0 | 0
| 1985 | 1 | 15 | 17352.6353
| 1986 | 0 | 16 | 0
| 1987 | 0 | 17 | 0
| 1988 | 0 | 18 | 0
| 1989 | 0 | 19 | 0
| 1990 | 0 | 20 | 0
| 1991 | 0 | 21 | 0
| 1992 | 0 | 22 | 0
| 1993 | 1 | 23 | 26607.3741
| 1994 | 0 | 24 | 0
| 1995 | 2 | 25 | 57842.1175
| 1996 | 3 | 26 | 90233.7033
| 1997 | 1 | 27 | 31234.7435
| 1998 | 1 | 28 | 32391.5858
| 1999 | 0 | 29 | 0
| 2000 | 0 | 30 | 0
| 2001 | 1 | 31 | 35862.1129
| 2002 | 2 | 32 | 74037.9104
| 2003 | 10 | 33 | 381757.9755
| 2004 | 4 | 34 | 157330.5596
| 2005 | 6 | 35 | 242936.8935
| 2006 | 13 | 36 | 541402.2199
| 2007 | 6 | 37 | 256819.0017
| 2008 | 7 | 38 | 307720.0651
| 2009 | 13 | 39 | 586519.0715
| 2010 | 12 | 40 | 555284.3281
| 2011 | 13 | 41 | 616596.9726
| 2012 | 17 | 42 | 825985.438
| 2013 | 13 | 43 | 646674.8737
| 2014 | 7 | 44 | 356307.4438
| 2015 | 19 | 45 | 989100.2094
| 2016 | 5 | 46 | 266073.7405
| 2017 | 9 | 47 | 489344.3141
| 2018 | 46 | 48 | 2554307.9091
| 2019 | 32 | 49 | 1813928.805
| 2020 | 22 | 50 | 1272526.5851
| Total (real 2015 dollars) | 267 | 42.8202 | 13226178.589
[5 empty] | Volume of RVE, VWVE types (accepted for accelerated depreciation) | 22
[5 empty] | Total Volume of ACRs to be replaced | 267
[5 empty] | Proportion accepted for accelerated depreciation | 8.24%
1089797.4867

## REFCL_Data
PAL Accelerated depreciation
REFCL_Data
(real 2015 dollars)
Updated 10 July 2020
VOLUME SUMMARY
[6 empty] | Volumes | [6 empty] | Accel dep? |  | Volumes by ZSS |  | T1 | T1 | T1 | T1 | T1 | T1 | T2 | T2 | T2 | T2 | T2 | T2 | T3 | T3 | T3 | T3 | T3 | T3 | T3 | WPD | GHP
| Feeder works |  | T1 unit rate | T2 unit rate | T3 unit rate | WND, GSB | T1 | T2 | T3 | WPD | GHP | TOTAL | T1, T2 | T3, WPD | WND | GSB | CDN | CLC | CMN | MRO | WIN | EHK | BAN | BAS | BETS | BGO | CTN | GL | ART | CRO | HTN | KRT | MBN | STL | TRG | WPD | GHP
|  | Surge arrestor sites (single phase) | 1218.8062 | 1183.4344 | 2475.6769 |  | 3706 | 3345 | 2004 | 611 | 314 | 2615 | - | Y |  |  | 390 | 768 | 886 | 560 | 256 | 846 | 1079 | 1049 | 527 | 442 | 248 | 0 | 406 | 0 | 369 | 341 | 148 | 184 | 556 | 611 | 314
|  | Surge arrestor sites (three phase) | 1580.6526 | 1517.6562 | 2620.5666 |  | 2573 | 3435 | 2971 | 998 | 927 | 3969 | - | Y |  |  | 346 | 658 | 444 | 354 | 105 | 666 | 1104 | 857 | 712 | 316 | 446 | 0 | 347 | 0 | 265 | 553 | 1040 | 249 | 517 | 998 | 927
|  | ACRs | 52490.6255 | 50810.1059 | 58154.3624 |  | 13 | 36 | 17 | 2 | 3 | 68 | - | Y |  |  | 4 | 4 | 1 | 1 | 0 | 3 | 13 | 11 | 1 | 3 | 8 | 0 | 1 | 0 | 6 | 3 | 1 | 1 | 5 | 2 | 3
|  | ACR/gas switch control box replacement | 13333.6934 | 15034.9192 | 25692.5201 |  | 31 | 49 | 18 | 4 | 0 | 102 | - | - |  |  | 2 | 17 | 3 | 6 | 0 | 3 | 21 | 10 | 9 | 2 | 7 | 0 | 0 | 0 | 1 | 3 | 2 | 7 | 5 | 4
|  | Admittance balancing units (single phase) | 26783.2339 | 31901.8247 | 35969.0056 |  | 42 | 97 | 69 | 0 | 0 | 208 | - | - |  |  | 2 | 9 | 8 | 3 | 12 | 8 | 32 | 31 | 10 | 11 | 13 | 0 | 19 | 0 | 18 | 10 | 2 | 4 | 16
|  | Admittance balancing units (three phase) | 35652.1415 | 35016.0404 | 29984.0147 |  | 190 | 244 | 119 | 0 | 0 | 553 | - | - |  |  | 41 | 42 | 30 | 33 | 13 | 31 | 77 | 61 | 35 | 27 | 44 | 0 | 17 | 0 | 27 | 22 | 11 | 17 | 25
|  | Re-phasing | 2301.22 | 1466.9362 | 2457.8475 |  | 211 | 140 | 253 | 0 | 0 | 604 | - | - |  |  | 42 | 46 | 34 | 39 | 14 | 36 | 43 | 45 | 15 | 16 | 21 | 0 | 44 | 0 | 50 | 49 | 10 | 30 | 70
|  | Fusesavers | 13602.7098 | 13042.9481 | 16252.3033 |  | 244 | 180 | 189 | 0 | 0 | 613 | - | - |  |  | 48 | 56 | 40 | 42 | 32 | 26 | 59 | 57 | 20 | 22 | 22 | 0 | 35 | 0 | 33 | 25 | 18 | 39 | 39
|  | HV Regulators upgrade (control box) | 22519.2971 | 22570.5226 | 22211.9584 |  | 6 | 9 | 10 | 0 | 0 | 25 | - | - |  |  | 2 | 2 | 0 | 1 | 0 | 1 | 4 | 5 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 3 | 1 | 1 | 3
|  | HV Regulators upgrade (close delta) | 188495.5529 | 180946.8623 | 247619.2604 |  | 8 | 16 | 6 | 0 | 0 | 30 | Y | Y |  |  | 0 | 2 | 3 | 2 | 0 | 1 | 2 | 2 | 2 | 2 | 8 | 0 | 2 | 0 | 1 | 0 | 1 | 2 | 0
|  | Distribution switchgear (installed) | 100774.3599 | 96614 | 96614 |  | 9 | 26 | 76 | 0 | 0 | 111 | Y | Y |  |  | 0 | 4 | 2 | 0 | 0 | 3 | 9 | 6 | 5 | 6 | 0 | 0 | 8 | 0 | 12 | 9 | 30 | 9 | 8
|  | ABC replacement | 250 |  |  |  | 1362 | 0 | 0 | 0 | 0 | 1362 | - | - |  |  | 86 | 1276 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | UG cable replacement ($'000s/km) | 757.6656 | 312 | 424.8996 | 4230 | 4048 | 24084 | 7454 | 459 | 1967 | 40275 | Y | Y | 3367 | 863 | 65 | 1576 | 626 | 163 | 352 | 1266 | 10609 | 6496 | 3214 | 3524 | 241 | 0 | 1448 | 0 | 702 | 674 | 4176 | 164 | 290 | 459 | 1967

## ACRs_data
PAL Accelerated depreciation
ACR data | [33 empty] | Updated 4 June 2020
| All ACRs | [31 empty] | Updated 10 July 2020
| Install year | ZSS | 1970 | 1985 | 1987 | 1990 | 1992 | 1993 | 1995 | 1996 | 1997 | 1998 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | Total
| T1 | CDN | 2012: 1; 2013: 1; 2016: 1; 2017: 2; 2018: 4 | 9
| T1 | CLC | 1995: 1; 2003: 1; 2004: 1; 2006: 5; 2007: 1; 2008: 1; 2009: 1; 2010: 1; 2015: 4; 2018: 2 | 18
| T1 | CMN | 2008: 1; 2015: 4; 2018: 2 | 7
| 16RP | GSB | 1996: 1; 2006: 2; 2010: 1; 2011: 2; 2016: 1 | 7
| T1 | MRO | 1996: 2; 1998: 1; 2005: 2; 2008: 1; 2011: 1; 2015: 1; 2018: 1; Updated 10 July 2020 2020: 1 | 10
| T1 | WIN | [31 empty] | 2 | bar: 2012; 2017
| 16RP | WND | 2003: 1; 2004: 1; 2012: 1; 2013: 4; 2016: 1; 2017: 1 | 9
| T2 | BAN | 1990: 1; 2002: 1; 2003: 3; 2004: 1; 2007: 1; 2008: 2; 2009: 3; 2011: 3; 2014: 1; 2017: 1; 2018: 6; 2019: 6; Updated 10 July 2020 2020: 1 | 30
| T2 | BAS | 1997: 1; 2000: 1; 2002: 1; 2003: 4; 2004: 1; 2006: 1; 2008: 1; 2009: 2; 2010: 1; 2012: 2; 2014: 3; 2016: 1; 2018: 4; Updated 10 July 2020 2020: 6 | 29
| T2 | BET | 2005: 1; 2006: 1; 2008: 1; 2009: 3; 2010: 1; 2011: 1; 2012: 1; 2017: 2; 2018: 1; Updated 10 July 2020 2020: 3 | 15
| T2 | BGO | 2004: 1; 2007: 1; 2008: 2; 2009: 1; 2016: 1; 2019: 3; Updated 10 July 2020 2020: 4 | 13
| T2 | CTN | 1992: 2; 1996: 1; 2002: 1; 2006: 1; 2008: 2; 2009: 1; 2010: 2; 2015: 1; 2018: 2; 2019: 8 | 21
| T1 | EHK | 2009: 1; 2011: 2; 2015: 1; 2018: 2; 2019: 1 | 7
| T3 | ART | 1985: 1; 2007: 1; 2011: 2; 2012: 1; 2015: 1; 2016: 1; 2019: 1 | 8
|  | CRO | [31 empty] | 0
|  | GL | [31 empty] | 0
| T3 | HTN | 1993: 1; 2001: 1; 2003: 4; 2004: 1; 2009: 1; 2013: 2; 2014: 1; 2015: 3; 2017: 1 | 15
| T3 | KRT | 2009: 1; 2010: 1; 2012: 4; 2015: 1 | 7
| T3 | MBN | [31 empty] | 4 | bar: 1996; 2003; 2010 to 2011
| T3 | STL | 2003: 1; 2004: 1; 2005: 2; 2006: 2; 2011: 1; 2012: 1; 2013: 3 | 11
| T3 | TRG | 1970: 1; 1995: 1; 2005: 1; 2006: 1; 2007: 2; 2010: 4; 2012: 1; 2013: 1; 2014: 1; 2015: 1; 2017: 1; 2018: 4; 2019: 1 | 20
| 21RP | WPD | 1995: 1; 2002: 2; 2003: 1; 2005: 1; 2006: 1; 2007: 2; 2011: 1; 2012: 5; 2013: 3; 2014: 1; 2015: 1; 2017: 1; 2018: 2 | 22
| 21RP | GHP | 1997: 1; 2003: 2 | 3
| Grand Total |  | 1 | 1 | 0 | 1 | 2 | 1 | 3 | 5 | 2 | 1 | 1 | 1 | 5 | 18 | 7 | 7 | 14 | 8 | 11 | 14 | 12 | 14 | 18 | 14 | 7 | 18 | 6 | 10 | 30 | 20 | 15 | 267
T1 & T2 ACRs removed
| Install year | ZSS | 1970 | 1985 | 1987 | 1990 | 1992 | 1993 | 1995 | 1996 | 1997 | 1998 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | Total
| T1 | CDN | [31 empty] | 4 | bar: 2012 to 2013; 2016 to 2017
| T1 | CLC | [31 empty] | 4 | bar: 1995; 2003 to 2004; 2006
| T1 | CMN | [31 empty] | 1 | bar: 2008
| 16RP | GSB | [31 empty] | 0
| T1 | MRO | [31 empty] | 1 | bar: 1996
| T1 | WIN | [31 empty] | 0
| 16RP | WND | [31 empty] | 0
| T2 | BAN | 1990: 1; 2002: 1; 2003: 3; 2004: 1; 2007: 1; 2008: 2 | 9
| T2 | BAS | 1997: 1; 2000: 1; 2002: 1; 2003: 4 | 7
| T2 | BET | [31 empty] | 1 | bar: 2005
| T2 | BGO | [31 empty] | 3 | bar: 2004; 2007 to 2008
| T2 | CTN | 1992: 2; 1996: 1; 2002: 1 | 4
| T1 | EHK | [31 empty] | 3 | bar: 2009; 2011; 2015
| T3 | ART | [31 empty] | 0
|  | CRO | [31 empty] | 0
|  | GL | [31 empty] | 0
| T3 | HTN | [31 empty] | 0
| T3 | KRT | [31 empty] | 0
| T3 | MBN | [31 empty] | 0
| T3 | STL | [31 empty] | 0
| T3 | TRG | [31 empty] | 0
| 21RP | WPD | [31 empty] | 0
| 21RP | GHP | [31 empty] | 0
| Grand Total |  | 1 | 0 | 0 | 1 | 2 | 0 | 1 | 2 | 1 | 0 | 1 | 0 | 3 | 8 | 3 | 1 | 1 | 2 | 4 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 37
New ACRS installed T1 & T2
| Install year | ZSS | 1970 | 1985 | 1987 | 1990 | 1992 | 1993 | 1995 | 1996 | 1997 | 1998 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | Total
| T1 | CDN | 2018: 4 | 4
| T1 | CLC | 2015: 2; 2018: 2 | 4
| T1 | CMN | [31 empty] | 1 | bar: 2018
| 16RP | GSB | [31 empty] | 0
| T1 | MRO | [31 empty] | 1 | bar: 2018
| T1 | WIN | [31 empty] | 0
| 16RP | WND | [31 empty] | 0
| T2 | BAN | 2018: 2; 2019: 6; 2020: 1 | 9
| T2 | BAS | 2018: 1; 2020: 6 | 7
| T2 | BET | [31 empty] | 1 | bar: 2018
| T2 | BGO | 2019: 3 | 3
| T2 | CTN | 2018: 2; 2019: 2 | 4
| T1 | EHK | 2018: 2; 2019: 1 | 3
| T3 | ART | [31 empty] | 0
|  | CRO | [31 empty] | 0
|  | GL | [31 empty] | 0
| T3 | HTN | [31 empty] | 0
| T3 | KRT | [31 empty] | 0
| T3 | MBN | [31 empty] | 0
| T3 | STL | [31 empty] | 0
| T3 | TRG | [31 empty] | 0
| 21RP | WPD | [31 empty] | 0
| 21RP | GHP | [31 empty] | 0
| Grand Total |  | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 16 | 12 | 7 | 37
Total ACRs for accelerated depreciation
| Install year | ZSS | 1970 | 1985 | 1987 | 1990 | 1992 | 1993 | 1995 | 1996 | 1997 | 1998 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | Total
| T1 | CDN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 8 | 0 | 0 | 9
| T1 | CLC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 4 | 0 | 0 | 18
| T1 | CMN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 3 | 0 | 0 | 7
| 16RP | GSB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 7
| T1 | MRO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 1 | 10
| T1 | WIN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2
| 16RP | WND | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 9
| T2 | BAN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 3 | 0 | 0 | 1 | 0 | 0 | 1 | 8 | 12 | 2 | 30
| T2 | BAS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 2 | 1 | 0 | 2 | 0 | 3 | 0 | 1 | 0 | 5 | 0 | 12 | 29
| T2 | BET | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 3 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 3 | 15
| T2 | BGO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 6 | 4 | 13
| T2 | CTN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 4 | 10 | 0 | 21
| T1 | EHK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 2 | 0 | 7
| T3 | ART | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 8
|  | CRO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | GL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| T3 | HTN | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 4 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 1 | 3 | 0 | 1 | 0 | 0 | 0 | 15
| T3 | KRT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 4 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 7
| T3 | MBN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4
| T3 | STL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 2 | 2 | 0 | 0 | 0 | 0 | 1 | 1 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11
| T3 | TRG | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 2 | 0 | 0 | 4 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 4 | 1 | 0 | 20
| 21RP | WPD | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 1 | 1 | 2 | 0 | 0 | 0 | 1 | 5 | 3 | 1 | 1 | 0 | 1 | 2 | 0 | 0 | 22
| 21RP | GHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3
| Grand Total |  | 1 | 1 | 0 | 0 | 0 | 1 | 2 | 3 | 1 | 1 | 0 | 1 | 2 | 10 | 4 | 6 | 13 | 6 | 7 | 13 | 12 | 13 | 17 | 13 | 7 | 19 | 5 | 9 | 46 | 32 | 22 | 267
| Summary |  | 1970 | 1985 | 1987 | 1990 | 1992 | 1993 | 1995 | 1996 | 1997 | 1998 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 YTD | Total
|  | T1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 10 | 1 | 0 | 13
|  | T2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 11 | 7 | 24
|  | Other | 1 | 1 | 0 | 1 | 2 | 1 | 3 | 5 | 2 | 1 | 1 | 1 | 5 | 18 | 7 | 7 | 14 | 8 | 11 | 14 | 12 | 14 | 18 | 14 | 7 | 16 | 6 | 10 | 14 | 8 | 8 | 230
|  | Total | 1 | 1 | 0 | 1 | 2 | 1 | 3 | 5 | 2 | 1 | 1 | 1 | 5 | 18 | 7 | 7 | 14 | 8 | 11 | 14 | 12 | 14 | 18 | 14 | 7 | 18 | 6 | 10 | 30 | 20 | 15 | 267

## UG_cable_data
PAL Accelerated depreciation
Cable length
Updated 10 July 2020
|  |  | 1956 | 1963 | 1966 | 1968 | 1970 | 1971 | 1972 | 1973 | 1974 | 1975 | 1976 | 1977 | 1978 | 1979 | 1980 | 1981 | 1982 | 1983 | 1984 | 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 |  | Grand Total
| Tranche 1 | CDN | 1982: 254.7719; 1990: 122.2474; 1998: 397.0535; 2001: 57.5693; 2003: 102.4855; 2004: 41.0593; 2005: 107.8522; 2007: 42.7741; 2008: 89.6744; 2012: 16.076; 2015: 5.3266; 2017: 138.2517 |  | 1375.1419
| Tranche 1 | CLC |  |  |  | 43.8337 |  | 42.4338 | [6 empty] | 77.8242 |  | 47.5625 | 281.2343 | 138.3299 | 189.4682 |  | 31.1859 | 130.0194 |  | 53.733 | 296.0629 |  | 526.5493 | 692.8949 | 477.575 | 60.5036 | 80.3644 |  | 2887.176 | 5865.8245 | 7528.6561 | 82.2886 | 1794.5197 |  | 124.0297 | 3738.3655 | 932.3997 | 4157.3767 | 1913.7633 | 3.9275 | 1058.8067 | 4619.3913 | 314.8707 | 48.6328 | 333.7525 | 331.6484 | 2.7902 | 101.7164 | 5213.9524 | 892.661 |  |  | 45116.1245
| Tranche 1 | CLC ZSS | 2011: 100; 2013: 142.6697 |  | 242.6697
| Tranche 1 | CMN | 1980: 125.0728; 1983: 151.7316; 1987: 33.6638; 1991: 41.4491; 1996: 491.5575; 1997: 357.2191; 1998: 96.0942; 1999: 507.625; 2000: 1157.4945; 2001: 204.0687; 2002: 384.0313; 2003: 819.4454; 2004: 1708.7786; 2005: 954.9522; 2006: 1989.752; 2007: 1208.4842; 2008: 3373.2041; 2010: 908.1824; 2011: 167.0437; 2012: 260.6087; 2013: 853.3783; 2014: 1372.3333; 2015: 428.058; 2016: 867.7679; 2017: 2313.4362 |  | 20775.4328
| Tranche 1 | CMN ZSS | 2005: 140.3434; 2010: 390 |  | 530.3434
| Tranche 1 | EHK | 1978: 83.656; 1994: 70.9321; 1996: 98.6747; 1997: 530.0535; 1998: 608.7294; 1999: 168.2017; 2000: 181.7114; 2001: 1923.7715; 2002: 309.785; 2003: 1958.0665; 2004: 1821.1951; 2005: 928.5287; 2006: 912.5771; 2007: 2405.3925; 2008: 3382.7709; 2009: 1586.9178; 2010: 142.4772; 2011: 1161.2405; 2012: 5626.2557; 2013: 3279.2892; 2014: 2596.3737; 2015: 2478.8315; 2016: 2056.9637; 2017: 3287.4143; 2018: 1475.511 |  | 39075.3209
| Tranche 1 | GSB | 1983: 385.6515; 1985: 1738.7669; 1987: 353.1586; 1989: 33.9531; 1992: 262.2391; 1993: 1576.234; 1994: 216.4289; 1995: 36.4477; 1996: 546.2374; 1997: 731.474; 1998: 479.8947; 1999: 1641.8824; 2000: 3284.1525; 2001: 24.5178; 2002: 2302.4661; 2003: 2058.1483; 2004: 1163.3115; 2005: 955.195; 2006: 589.5939; 2007: 681.9473; 2008: 1041.7203; 2009: 1069.7219; 2010: 1960.7341; 2011: 53.3237; 2012: 1616.9935; 2013: 1514.7901; 2014: 488.9266; 2015: 1098.7392; 2016: 2323.4764; 2017: 155.2833; 2018: 396.1193 |  | 30781.5291
| Tranche 1 | MRO | 1976: 259.1567; 1986: 125.0261; 1989: 2.7727; 1990: 102.1678; 1997: 197.8663; 1998: 391.8024; 2000: 101.6385; 2001: 122.3938; 2002: 181.8737; 2003: 802.6376; 2004: 253.3703; 2005: 201.9189; 2006: 749.4267; 2007: 36.0697; 2008: 519.6644; 2010: 11.2189; 2011: 341.5826; 2012: 276.7912; 2013: 12.6573; 2014: 125.2929; 2015: 434.128; 2016: 180.3921; 2017: 15.0987 |  | 5444.9471
| Tranche 1 | WIN | 1991: 58.4322; 1998: 206.3803; 2000: 247.9878; 2002: 314.4708; 2003: 571.2457; 2004: 170.2719; 2005: 191.1814; 2006: 756.1207; 2007: 1397.7832; 2008: 581.1135; 2009: 1168.3103; 2010: 186.1337; 2011: 1096.8343; 2012: 589.219; 2014: 1686.7837; 2015: 22628.5832; 2016: 1023.3532; 2017: 940.2894; 2018: 14.8606 |  | 33829.355
| Tranche 1 | WND | 1966: 217.6869; 1979: 57.1695; 1986: 132.2315; 1988: 248.9203; 1989: 210.8624; 1990: 50.3249; 1991: 295.1338; 1992: 375.8848; 1994: 705.5107; 1995: 803.0872; 1996: 240.5096; 1999: 5015.8281; 2000: 2415.038; 2001: 5835.4262; 2003: 1469.1455; 2004: 1630.1858; 2005: 2258.932; 2006: 1626.8235; 2007: 309.6849; 2008: 527.6575; 2009: 40.4303; 2011: 87.6114; 2012: 1168.2489; 2013: 399.6617; 2014: 515.7309; 2015: 2798.7766; 2016: 786.8593; 2017: 9949.9852; 2018: 1912.5745 |  | 42085.9221
| Tranche 2 | ART | 1983: 125.7412; 1986: 512.4953; 1987: 129.6969; 1988: 326.9807; 1991: 162.839; 1994: 177.0345; 1995: 207.1224; 1997: 562.0103; 1999: 808.1514; 2004: 52.5719; 2006: 338.7558; 2007: 188.9514; 2008: 285.9464; 2009: 96.3618; 2011: 242.052; 2013: 219.6201; 2015: 460.1597; 2016: 206.7688; 2017: 21.6112; 2018: 335.2169 |  | 5460.0877
| Tranche 2 | ART ZSS | 2017: 10 |  | 10
| Tranche 2 | BAN | [7 empty] | 59.5223 | 88.7903 |  |  |  | 404.3121 | 95.6649 | 137.8606 | 77.892 | 415.5977 | 67.3412 | 313.7348 | 104.2412 |  | 1410.7376 | 3703.5266 |  | 768.245 | 960.4762 | 1189.6448 | 2246.5625 | 3411.4473 | 1285.155 | 1006.2584 | 934.0814 | 1591.7273 | 4337.4031 | 1755.3547 | 7740.383 | 3061.7261 | 1299.7032 | 1869.4474 | 2135.0863 | 5027.0151 | 3407.377 | 3667.406 | 1680.5024 | 1714.8434 | 1475.9805 | 880.9907 | 3114.4862 | 666.3672 | 1612.3969 | 3562.5097 | 1306.6298 | 1164.3095 | 709.2373 |  | 72461.9744
| Tranche 2 | BAN ZSS | 1971: 196.8382; 1980: 76; 1981: 2087.6637; 1988: 360; 1993: 215.4376; 1997: 565.2422; 2006: 53.4603; 2008: 1.4618; 2013: 4.7693 |  | 3560.8731
| Tranche 2 | BAS | 246 |  |  | 19 |  | 193 | 602 |  | 48 | 125 |  |  | 324 | 537 | 409 | 66 | 92 | 210 |  | 235 | 25 | 242 | 971 | 229 |  | 963 | 397 | 434 | 74 | 1291 | 698 | 833 | 1759 | 1430 | 145 | 699 | 393 | 3005 | 2955 | 4008 | 4389 | 3095 | 5251 | 3291 | 2359 | 2995 | 3660 | 4834 | 3568 | 4564 | 1855 | 6857.4497 | 1235 | 51.05 |  | 71661.4997
| Tranche 2 | BAS ZSS | 1980: 60; 1990: 227; 2006: 262; 2008: 6; 2009: 108; 2015: 194 |  | 857
| Tranche 2 | BETS | 1983: 222.1723; 1985: 102.4704; 1987: 401.5756; 1989: 69.4973; 1990: 436.2816; 1993: 93.7121; 1996: 332.5308; 1997: 160.5114; 1998: 539.7566; 1999: 1287.4958; 2000: 1080.0999; 2001: 1095.4042; 2002: 1275.8886; 2003: 2608.6925; 2004: 1630.9929; 2005: 904.9999; 2006: 1810.9463; 2007: 1707.4153; 2008: 1563.7549; 2009: 1444.3376; 2010: 1735.3176; 2011: 691.9629; 2012: 236.1866; 2013: 810.6934; 2014: 1936.7673; 2015: 619.422; 2016: 240.2678; 2017: 1409.4451; 2018: 801.7024 |  | 27250.3013
| Tranche 2 | BGO | [13 empty] | 206 |  | 351 |  |  | 116 | 141 | 212 | 1560 |  | 91 | 427 |  | 507 | 581 | 551 | 3 | 104 | 453 | 1941 | 1187 | 731 | 1885 | 2332 | 3131 | 2979 | 2606 | 1153 | 2844 | 1941 | 2135 | 804 | 593 | 1461 |  | 1490 | 1344 | 448 | 1233 | 737 |  |  | 38278
| Tranche 2 | BGO ZSS | 1999: 754; 2001: 86; 2003: 635; 2006: 599; 2017: 70 |  | 2144
| Tranche 2 | CTN | 1992: 260.4228; 1994: 88.7468; 1996: 207.8897; 1997: 893.3398; 1998: 459.4293; 2000: 78.2471; 2001: 1743.4447; 2003: 56.5523; 2005: 104.6638; 2009: 239.3556; 2012: 37.0063; 2013: 465.677; 2015: 44.3633; 2016: 234.0821; 2017: 117.0261 |  | 5030.2467
| Tranche 2 | CTN ZSS | 1991: 93.1216; 1993: 10; 2016: 128 |  | 231.1216
| Tranche 2 | TRG | 1982: 99.1992; 1997: 489.6034; 1998: 157.642; 1999: 40.1286; 2003: 659.1819; 2004: 290.7349; 2005: 289.3109; 2006: 115.7688; 2008: 379.6532; 2010: 1933.0347; 2011: 468.4773 |  | 4922.7349
| Tranche 3 | CRO | [55 empty] | 0
| Tranche 3 | GL | [55 empty] | 0
| Tranche 3 | HTN | 1976: 274.9793; 1983: 201.2051; 1989: 198.6584; 1990: 188.8344; 1991: 229.6517; 1992: 126.8212; 1994: 950.3269; 1996: 67.1541; 1997: 282.6127; 1998: 19.519; 1999: 718.7929; 2000: 1851.7569; 2001: 334.105; 2004: 347.3899; 2005: 255.1925; 2007: 619.1379; 2008: 471.2802; 2009: 1203.6306; 2010: 12.4553; 2011: 258.0053; 2013: 111.7303; 2015: 392.9421; 2016: 186.1359 |  | 9302.3176
| Tranche 3 | KRT | 1970: 1.3869; 1982: 394.7673; 1987: 62.6949; 1998: 437.272; 1999: 58.1997; 2000: 288.2503; 2001: 507.7329; 2002: 226.899; 2003: 453.0782; 2004: 382.1639; 2005: 375.9845; 2006: 617.5792; 2007: 158.2081; 2008: 299.0988; 2009: 1172.6027; 2010: 572.1689; 2011: 2146.6928; 2012: 540.4888; 2013: 1469.8057; 2014: 93.057; 2015: 459.4007; 2017: 535.5014; 2018: 478.2395 |  | 11731.2733
| Tranche 3 | MBN | [5 empty] | 82.0456 |  |  |  |  | 21.0569 |  | 242.8303 | 1447.3167 | 106.2289 | 636.8062 | 356.7053 | 152.4666 |  | 1094.3504 | 1317.6614 | 698.9709 | 1498.0918 | 717.2345 | 321.1308 | 853.4026 | 558.417 | 409.6614 | 1763.8569 | 66.417 | 3010.3106 | 930.3094 | 257.5404 | 688.0667 | 3029.7955 | 1022.1322 | 1057.629 | 1336.8795 | 2237.0176 | 2128.7973 | 769.9726 | 1920.646 | 2191.1783 | 518.8158 | 1385.595 | 495.2545 | 397.64 | 2883.6415 | 272.8246 | 1880.8029 | 1854.087 | 604.4148 | 279.119 |  |  | 43497.1211
| Tranche 3 | STL | 1990: 115.862; 2004: 600.3077; 2005: 32.6696; 2008: 62.319; 2009: 80.2868; 2010: 5.3082; 2011: 146.3634; 2013: 203.4102; 2017: 662.3474; 2018: 144.8117 |  | 2053.6859
|  | WPD |  |  |  |  | 58.9873 |  |  |  | 77.8795 | 197.5321 | 441.9675 | 239.0647 |  | 832.3837 | 994.9188 |  | 115.9683 | 122.0528 | 214.8669 |  | 240.3953 | 923.3224 | 864.2106 | 336.7281 | 2666.96 | 2867.1886 | 449.8904 | 1978.7542 | 2298.9996 | 1524.5747 | 797.4957 | 1062.3233 | 4270.9348 | 2135.0059 | 2862.5155 | 3191.5832 | 6214.8161 | 7269.529 | 2184.158 | 6641.8298 | 5009.3249 | 4241.8743 | 6078.243 | 8904.8262 | 4724.185 | 2293.4709 | 3439.4383 | 8753.964 | 6491.8598 | 6517.8107 | 10437.8449 | 8990.1488 | 9975.9178 |  |  | 139935.7452
|  | Grand Total | 246 | 0 | 217.6869 | 62.8337 | 60.3742 | 514.3176 | 602 | 59.5223 | 214.6698 | 322.5321 | 997.1604 | 239.0647 | 1132.6226 | 3175.5346 | 1956.6436 | 3500.5962 | 1867.3395 | 1827.8305 | 644.6016 | 3447.0148 | 2694.829 | 5815.8208 | 8026.4629 | 2185.7695 | 5426.0539 | 7051.244 | 4820.215 | 8022.9368 | 10368.7871 | 5297.1684 | 7600.6186 | 11869.8229 | 19479.6003 | 28306.4376 | 19292.3311 | 28267.0522 | 18054.5856 | 28359.8208 | 26055.3221 | 26153.8382 | 30927.4938 | 26178.5092 | 31718.074 | 25798.9066 | 23464.0458 | 15128.7664 | 20255.5764 | 29407.9963 | 21635.9655 | 47964.5318 | 26493.2252 | 43831.2855 | 19843.0431 | 760.2873 |  | 657644.769