FINAL DECISION

Energex determination 2015−16 to 2019−20

Attachment 12 − Demand management incentive scheme

October 2015

© Commonwealth of Australia 2015

This work is copyright. In addition to any use permitted under the Copyright Act 1968, all material contained within this work is provided under a Creative Commons Attributions 3.0 Australia licence, with the exception of:

the Commonwealth Coat of Arms

the ACCC and AER logos

any illustration, diagram, photograph or graphic over which the Australian Competition and Consumer Commission does not hold copyright, but which may be part of or contained within this publication. The details of the relevant licence conditions are available on the Creative Commons website, as is the full legal code for the CC BY 3.0 AU licence.

Requests and inquiries concerning reproduction and rights should be addressed to the Director, Corporate Communications,
Australian Competition and Consumer Commission, 
GPO Box 4141, Canberra ACT 2601
or publishing.unit@accc.gov.au.

Inquiries about this publication should be addressed to:

Australian Energy Regulator
GPO Box 520
Melbourne  Vic  3001

Tel: (03) 9290 1444
Fax: (03) 9290 1457

Email: AERInquiry@aer.gov.au

- Note

- This attachment forms part of the AER's final decision on Energex's 2015–20 distribution determination. It should be read with all other parts of the final decision.

- The final decision includes the following documents:

- Overview

- Attachment 1 – Annual revenue requirement

- Attachment 2 – Regulatory asset base

- Attachment 3 – Rate of return

- Attachment 4 – Value of imputation credits

- Attachment 5 – Regulatory depreciation

- Attachment 6 – Capital expenditure

- Attachment 7 – Operating expenditure

- Attachment 8 – Corporate income tax

- Attachment 9 – Efficiency benefit sharing scheme

- Attachment 10 – Capital expenditure sharing scheme

- Attachment 11 – Service target performance incentive scheme

- Attachment 12 – Demand management incentive scheme

- Attachment 13 – Classification of services

- Attachment 14 – Control mechanism

- Attachment 15 – Pass through events

- Attachment 16 – Alternative control services

- Attachment 17 – Negotiated services framework and criteria

- Attachment 18 – Connection policy

- Contents

Note	12-2

Contents	12-3

Shortened forms	12-4

12	Demand management incentive scheme	12-6

12.1	Final decision	12-7

12.2	Energex's revised proposal	12-7

12.3	AER’s assessment approach	12-7

12.4	Reasons for final decision	12-8

- Shortened forms

| Shortened form | Extended form |
| --- | --- |
| AEMC | Australian Energy Market Commission |
| AEMO | Australian Energy Market Operator |
| AER | Australian Energy Regulator |
| augex | augmentation expenditure |
| capex | capital expenditure |
| CCP | Consumer Challenge Panel |
| CESS | capital expenditure sharing scheme |
| CPI | consumer price index |
| DRP | debt risk premium |
| DMIA | demand management innovation allowance |
| DMIS | demand management incentive scheme |
| distributor | distribution network service provider |
| DUoS | distribution use of system |
| EBSS | efficiency benefit sharing scheme |
| ERP | equity risk premium |
| Expenditure Assessment Guideline | Expenditure Forecast Assessment Guideline for electricity distribution |
| F&A | framework and approach |
| MRP | market risk premium |
| NEL | national electricity law |
| NEM | national electricity market |
| NEO | national electricity objective |
| NER | national electricity rules |
| NSP | network service provider |
| opex | operating expenditure |
| PPI | partial performance indicators |
| PTRM | post-tax revenue model |
| RAB | regulatory asset base |
| RBA | Reserve Bank of Australia |
| repex | replacement expenditure |
| RFM | roll forward model |
| RIN | regulatory information notice |
| RPP | revenue and pricing principles |
| SAIDI | system average interruption duration index |
| SAIFI | system average interruption frequency index |
| SLCAPM | Sharpe-Lintner capital asset pricing model |
| STPIS | service target performance incentive scheme |
| WACC | weighted average cost of capital |

# Demand management incentive scheme

- The National Electricity Rules (NER) require us to develop and implement mechanisms to incentivise distributors to consider efficient alternatives to building more network. To meet this requirement, and motivated by the need to improve distributors' capability in the demand management area, we implemented a demand management incentive scheme (DMIS) for Energex' distribution determination for the 2010–15 regulatory control period.

- The current DMIS for Queensland distributors includes the demand management innovation allowance (DMIA).

- The DMIA is a capped allowance for distributors to investigate and conduct broad-based and/or peak demand management projects. It contains two parts:

Part A provides for an innovation allowance to be incorporated into each distributor's revenue allowance for opex each year of the regulatory control period. Distributors prepare annual reports on their expenditure under the DMIA  in the previous year, which we then assess against specific criteria.

Part B compensates distributors for any foregone revenue demonstrated to have resulted from demand management initiatives approved under Part A. During the 2010–15 regulatory control period, Queensland distributors were subject to a revenue cap form of control. As the revenue cap will continue in 2015–20 regulatory control period, Part B remains not relevant to Queensland distributors.

- Currently, only Part A of the scheme applies to Queensland distributors.

- Under the scheme, we return any underspend against the allowance to customers. Also, once we know the approved DMIA expenditure for each year of the current period, we compensate distributors for approved foregone revenue. We implement this as an adjustment to each distributor's innovation allowance in the following regulatory control period.

## Final decision

- We have determined to continue Part A of the DMIS for Energex in the 2015–20 regulatory control period (that is, the DMIA component). This is consistent with our proposed approach in our Preliminary decision.

- The current innovation allowance amount of $1 million ($2014─15) per annum will continue in the 2015–20 regulatory control period.

## Energex's revised proposal

Energex supported the proposed approach set out in the preliminary decision to continue applying Part A (the DMIA) of the DMIS at the same scale it is currently applied.

## AER’s assessment approach

- The rules require us to have regard to several factors in developing and implementing a DMIS for Energex. These are:

Benefits to consumers

the need to ensure that benefits to electricity consumers likely to result from the scheme are sufficient to warrant any reward or penalty under the scheme

the willingness of customers or end users to pay for increases in costs resulting from implementing DMIS.

Balanced incentives

the effect of a particular control mechanism (i.e. price as distinct from revenue regulation) on a distributor's incentives to adopt or implement efficient non-network alternatives

the effect of classification of services on a distributor's incentive to adopt or implement efficient embedded generator connections

the extent the distributor is able to offer efficient pricing structures

the possible interactions between DMIS and other incentive schemes.

- We had regard to these factors in considering the proposed approach to the DMIS for Energex as set out in our final F&A and preliminary decision and we have again taken these factors into account in making our final decision.

## Reasons for final decision

We have determined the current innovation allowance amount of $1 million ($2014─15) per annum (or $5 million over the period) will continue in the 2015–20 regulatory control period. Energex supported this approach in their revised proposal.

We received a submission from the Total Environment Centre (TEC) which stated they want us to do more to reflect the importance of demand management within the current framework and provide distribution businesses with guidance on how they could design and present effective demand management strategies. TEC believe the current DMIA funds are not enough to be considered a serious alternative to long term investment in load management schemes whilst also questioning the reliance on new mechanisms such as the CESS, RIT-D and tariff reform to incentivise demand management.

We acknowledge the need to reform the existing demand management incentive arrangements and the importance of demand management in deferring the need for network augmentation by alleviating network utilisation during peak usage periods. However, quite separately to incentive or innovation allowances, the revenue cap form of control removes any disincentive for distributors to reduce the quantity of electricity sold by pursuing demand management initiatives. More robust obligations to consider non-network alternatives under RIT-D requirements also provide distributors with opportunities to improve and expand their demand management programs.

We recognise the importance of appropriate demand management incentives in order to defer network augmentation. In response to submissions, we do not consider it appropriate to change the process for approval of projects in parallel to developing a new DMIS and DMIA. The AEMC's final rule determination requires us to develop a demand management incentive scheme and allowance by 1 December 2016. In response to the TEC, we consider that an additional guideline is not required. This is consistent with the AEMC's final rule determination. We will develop the scheme in accordance with the distribution consultation procedures and the scheme and allowance will be supported by a decision document and explanatory material. Individual distributors will also be consulted on the application of the scheme through the F&A process.

For these reasons, we are not making any changes to the DMIS and we have adopted the position proposed in our preliminary decision and approved DMIA allowances consistent with their current scale.

Energex proposed a small number of demand management costs as part of its total forecast operating expenditure building block. Our decision on Energex's demand management related operating expenditure building block can be found in attachment 7.

NER, cl. 6.6.3(a).

The rules have since changed the name to 'Demand Management and Embedded Generation Connection Incentive Scheme' (DMEGCIS) to explicitly cover innovation with respect to the connection of embedded generation. Our current and proposed DMIS includes embedded generation. We consider embedded generation to be one means of demand management, as it typically reduces demand for power drawn from a distribution network.

AER, Demand management incentive scheme – Energex, Ergon Energy and ETSA Utilities: 2010–15, 17 October 2008 (AER, DMIA for QLD and SA distributors, October 2008).

The DMIA excludes the costs of demand management initiatives approved in our determination for the 2011–15 regulatory control period.

AER, DMIA for QLD and SA distributors, October 2008, pp. 5─6.

AER, Preliminary decision Energex distribution determination, Attachment 12 – Demand management incentive scheme, April 2015, p. 7.

Energex, Revised Regulatory Proposal, 3 July 2015, p. 131.

NER, cl. 6.6.3(b).

AER, Final framework and Approach, April 2014, p.126.

AER, Preliminary decision Energex distribution determination 2015-16 to 2019-20, Attachment 12 – Demand management incentive scheme, April 2015, pp. 7─8.

Energex, Revised Regulatory Proposal, 3 July 2015, p. 131 (Energex, Revised Regulatory Proposal, July 2015).

TEC, Submission to the AER on the Preliminary Decisions on the QLD DBs' Regulatory Proposals 2015─20, July 2015, pp. 2─9.

AEMC, Rule Determination, National Electricity Amendment (Demand Management Incentive Scheme) Rule 2015, 20 August 2015: http://www.aemc.gov.au/getattachment/f866b41b-753b-471c-91cf-4f558ca130b2/Final-rule-determination.aspx