## Readme
AER TNSP Partial Performance Indicator Analysis
Date: September 2018
Summary
This spreadsheet contains the PPI analysis on Electricity Transmission Network Service Providers for the years up to 2017.
Data worksheets
– Physical data: this presents key operational data submitted under DNSP EBRINs.
– CPI: this contains consumer price index sourced from the Australian Bureau of Statistics. This index is used to convert nominal values into real values.
– Capex: this presents network services capex data submitted under DNSP EBRINs.
– Depreciation: this presents network services depreciation data submitted under DNSP EBRINs.
– RAB: this presents network services RAB data submitted under DNSP EBRINs.
– Opex: this presents network services opex data submitted under DNSP EBRINs.
– Asset cost and total user cost: this calculates asset cost and total user costs.
Analysis worksheets
– Data analysis: Network Size Table
– Data analysis: TNSP Analysis
– Graphical analysis: Network Characteristics Charts
– Graphical analysis: TNSP Charts

## TNSP Charts-updated
TNSP Charts
Total cost per MVA of maximum demand served ($2017), 2006 to 2017
Total cost per MWh of energy transported ($2017), 2006 to 2017 | End User Number (millions, 2017)
Total cost per end user ($2017), 2006 to 2017 | Connection density (end user per circuit km, 2013-17 average)
Total cost per km of transmission circuit length ($2017), 2006 to 2017
Total user cost
AUCC
Opex

## TNSP Analysis
TNSP Analysis
Average NSP performance 2013-2017 |  | Total user cost per MVA MD | Total user cost per MWh energy | Total user cost per entry/exit point
|  | $2017/mva | $2017/ mwh | $2017/ kV
ElectraNet |  | 71870.6159 | 17.7548 | 291.4003
Powerlink |  | 60565.3849 | 13.993 | 337.7309
AusNet Services |  | 35608.8324 | 7.1229 | 122.0913
TasNetworks |  | 60560.204 | 12.0485 | 538.9729
TransGrid |  | 36956.6182 | 8.9742 | 175.9461
Benchmarking metrics
Total user cost per MVA of maximum demand ($/MVA) |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 5 year average
ElectraNet | $ 2017/MVA | 43946.8662 | 46446.7184 | 41814.5272 | 44401.1945 | 45617.088 | 46488.0375 | 51454.4526 | 51361.4077 | 68185.9196 | 78841.2673 | 80873.2215 | 80091.2635 | 71870.6159
Powerlink | $ 2017/MVA | 43220.6303 | 42034.3399 | 46607.2913 | 47933.6055 | 49812.7659 | 52828.6819 | 56139.6264 | 55582.5224 | 59823.363 | 63265.5148 | 63252.864 | 60902.6601 | 60565.3849
AusNet Services | $ 2017/MVA | 36147.7988 | 30337.2404 | 30280.3549 | 31133.9089 | 32969.8923 | 33201.9214 | 35136.6669 | 33543.4365 | 31494.2737 | 38358.1986 | 37039.5929 | 37608.66 | 35608.8324
TasNetworks | $ 2017/MVA | 46669.0974 | 47105.6019 | 53987.2981 | 54133.3381 | 58661.349 | 61104.5285 | 62043.895 | 61815.7315 | 65840.1243 | 57969.6462 | 59443.3792 | 57732.1388 | 60560.204
TransGrid | $ 2017/MVA | 26237.9196 | 26012.264 | 26185.8418 | 27463.2264 | 30061.1765 | 28885.9601 | 31949.5667 | 33362.5817 | 37730.3383 | 39903.1302 | 37321.8963 | 36465.1443 | 36956.6182
Total user cost per MWh of energy transported ($/MWh) |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 5 year average
ElectraNet | $ 2017/MWh | 11.5778 | 13.2019 | 13.4961 | 14.0143 | 14.1176 | 14.6563 | 15.4734 | 15.8336 | 16.7547 | 18.6057 | 18.57 | 19.0099 | 17.7548
Powerlink | $ 2017/MWh | 9.3396 | 9.4944 | 10.5733 | 11.084 | 11.5439 | 12.1472 | 12.8819 | 13.1423 | 14.4643 | 14.1008 | 14.3503 | 13.9074 | 13.993
AusNet Services | $ 2017/MWh | 6.4372 | 6.2833 | 6.6022 | 6.7225 | 6.6479 | 6.6426 | 6.6035 | 6.5437 | 6.7222 | 7.3232 | 7.2821 | 7.7432 | 7.1229
TasNetworks | $ 2017/MWh | 11.8965 | 9.8798 | 10.4943 | 10.7202 | 11.8603 | 12.1091 | 12.7608 | 12.2263 | 12.3648 | 11.0764 | 12.8505 | 11.7244 | 12.0485
TransGrid | $ 2017/MWh | 5.8593 | 5.8293 | 5.9037 | 6.3325 | 7.0491 | 7.0224 | 7.5077 | 8.1647 | 9.4604 | 8.8495 | 9.3046 | 9.092 | 8.9742
Total user cost per total end user number ($/#) |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 5 year average
ElectraNet | $ 2017/kV | 224.4852 | 236.9552 | 226.0555 | 232.5241 | 236.3857 | 243.3483 | 257.7743 | 266.7726 | 274.542 | 293.1659 | 308.1414 | 314.3796 | 291.4003 | 0.051082 | 40.04% | 5.108%
Powerlink | $ 2017/kV | 259.6394 | 263.6633 | 283.1395 | 296.5662 | 307.4189 | 312.8963 | 320.7878 | 313.1968 | 328.2 | 352.1919 | 351.1249 | 343.9411 | 337.7309 |  | 32.47% | -0.3029%
AusNet Services | $ 2017/kV | 117.7508 | 115.055 | 116.8234 | 123.6058 | 124.5321 | 120.2192 | 116.4241 | 117.4439 | 117.3437 | 124.7517 | 125.9683 | 124.949 | 122.0913 |  | 6.113% | 0.9753%
TasNetworks | $ 2017/kV | 499.8004 | 496.0883 | 544.0231 | 541.6414 | 571.0952 | 575.4244 | 577.0861 | 562.07 | 588.3985 | 512.9944 | 524.9018 | 506.4999 | 538.9729 |  | 1.34% | 2.321%
TransGrid | $ 2017/kV | 142.5769 | 143.0223 | 142.5271 | 148.97 | 163.5887 | 159.7832 | 162.5943 | 162.3376 | 176.9848 | 179.1938 | 180.5577 | 180.6564 | 175.9461 |  | 26.71% | 0.7611%
|  | Opex | Depreciation | Return on assets
ElectraNet |  | 2006: 83982.6866; 2007: 91307.7787; 2008: 74920.7731
Powerlink |  | 2006: 211082.4528; 2007: 265040.4589; 2008: 243656.2704
AusNet Services |  | 2006: 88955.8139; 2007: 151440.1371; 2008: 102430.4752
TasNetworks |  | 2006: 41249.525; 2007: 60662.998; 2008: 50721.2747
TransGrid |  | 2006: 174187.148; 2007: 253915.8954; 2008: 218700.6873
Total user cost per km of transmission circuit length ($/km) |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 5 year average
ElectraNet | $ 2017/km | 31218.0415 | 33466.2242 | 31995.7905 | 34410.3484 | 35531.4831 | 36960.0047 | 39377.1717 | 40916.6816 | 42291.3024 | 45341.4213 | 47894.2433 | 50025.5418 | 43164.1641 | 53.42% | 60.25%
Powerlink | $ 2017/km | 40744.9188 | 41485.0291 | 43545.5381 | 44966.4041 | 45797.8032 | 45904.1526 | 47831.8226 | 45297.2365 | 46620.3542 | 50735.5254 | 51420.6395 | 51919.5031 | 48381.1156 | 26.2% | 27.43%
AusNet Services | $ 2017/km | 44252.8386 | 43930.7121 | 45246.7391 | 48497.6549 | 49534.5109 | 48556.8907 | 47750.1898 | 48837.4747 | 49151.7662 | 53092.5003 | 54652.0173 | 55275.7124 | 50696.7897 | 23.5% | 24.91%
TasNetworks | $ 2017/km | 34979.2658 | 34989.5932 | 39112.3912 | 40844.9207 | 44391.9796 | 45438.9737 | 45989.7952 | 44903.4729 | 47146.7755 | 40746.3252 | 42025.8703 | 40883.196 | 44162.4478 | 20.15% | 16.88%
TransGrid | $ 2017/km | 38149.8221 | 38624.3837 | 38891.3733 | 41008.3863 | 44798.5864 | 44188.1155 | 45292.8113 | 45022.9693 | 49608.0681 | 50549.9841 | 51521.1355 | 52140.4103 | 48398.9937 | 35.05% | 36.67%
Total user cost ($) |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 5 year average
ElectraNet | $, 2017 | 174837858.6511 | 184689013.951 | 176574177.0233 | 189383167.9326 | 195482458.8691 | 203452592.148 | 217600967.6445 | 226160779.2998 | 233845656.7857 | 250345811.0022 | 264584515.0861 | 276119429.4559 | 250211238.3259
Powerlink | $, 2017 | 476748145.6801 | 493373153.5583 | 541218783.8648 | 578497285.8325 | 610077115.7834 | 630649609.9582 | 655410765.4052 | 648361994.2636 | 688699182.7783 | 748577309.515 | 758737245.5404 | 754520178.5848 | 719779182.1364
AusNet Services | $, 2017 | 290873908.3228 | 288756570.7208 | 297406815.9975 | 318775085.6954 | 325590339.856 | 319164442.6116 | 313861997.4824 | 321008721.3866 | 323074558.9711 | 348987623.2114 | 358454097.0792 | 362607130.0991 | 342826426.1495
TasNetworks | $, 2017 | 125271244.7035 | 126742803.5714 | 141676814.8218 | 143786374.3218 | 154541798.6334 | 158731966.8758 | 160656151.6205 | 157305397.3181 | 165192871.9765 | 145207679.0894 | 149767593.9727 | 145695445.5261 | 152633797.5766
TransGrid | $, 2017 | 477530135.889 | 483828110.1163 | 487056657.8404 | 513562333.0756 | 568156235.3196 | 560387626.4814 | 575092200.1726 | 580508921.7429 | 641415751.846 | 658401648.524 | 671794132.6377 | 681898198.3001 | 646803730.6101

## Asset cost and Total user cost
Asset cost and total user cost
Average real WACC | 3.617%
TNSP Asset cost ($'000) | valid
Real $2017 |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017
ElectraNet | $'000 2017 | 110051.2823 | 116173.3904 | 114366.0547 | 122835.3184 | 127049.1535 | 128985.3372 | 136071.2442 | 148650.2234 | 154519.9894 | 166632.7202 | 176571.3314 | 184768.4944
Powerlink | $'000 2017 | 317853.7531 | 327339.5912 | 359906.1554 | 405256.6841 | 429502.2038 | 455929.7864 | 475259.9999 | 464410.7336 | 495070.1988 | 526416.3584 | 533646.8572 | 523939.4986
AusNet Services | $'000 2017 | 207854.5507 | 208828.6317 | 223431.7473 | 224946.671 | 229906.9068 | 231926.6904 | 232154.928 | 237176.1877 | 233896.5644 | 259808.0941 | 265670.3305 | 272801.8845
TasNetworks | $'000 2017 | 77881.5075 | 77997.9127 | 83382.14 | 87199.3607 | 97743.4652 | 104871.2394 | 107949.8992 | 107875.2507 | 116418.6754 | 108711.3286 | 110880.6834 | 113035.425
TransGrid | $'000 2017 | 316028.5488 | 324493.3642 | 336445.0866 | 362955.2552 | 397878.3562 | 401006.6461 | 404235.1761 | 423294.1668 | 453543.4255 | 481493.3334 | 496472.9515 | 508279.036
Total user cost ($) |  | 2006: valid
Real $2017 |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017
ElectraNet | $, 2017 | 174837858.6511 | 184689013.951 | 176574177.0233 | 189383167.9326 | 195482458.8691 | 203452592.148 | 217600967.6445 | 226160779.2998 | 233845656.7857 | 250345811.0022 | 264584515.0861 | 276119429.4559
Powerlink | $, 2017 | 476748145.6801 | 493373153.5583 | 541218783.8648 | 578497285.8325 | 610077115.7834 | 630649609.9582 | 655410765.4052 | 648361994.2636 | 688699182.7783 | 748577309.515 | 758737245.5404 | 754520178.5848
AusNet Services | $, 2017 | 290873908.3228 | 288756570.7208 | 297406815.9975 | 318775085.6954 | 325590339.856 | 319164442.6116 | 313861997.4824 | 321008721.3866 | 323074558.9711 | 348987623.2114 | 358454097.0792 | 362607130.0991
TasNetworks | $, 2017 | 125271244.7035 | 126742803.5714 | 141676814.8218 | 143786374.3218 | 154541798.6334 | 158731966.8758 | 160656151.6205 | 157305397.3181 | 165192871.9765 | 145207679.0894 | 149767593.9727 | 145695445.5261
TransGrid | $, 2017 | 477530135.889 | 483828110.1163 | 487056657.8404 | 513562333.0756 | 568156235.3196 | 560387626.4814 | 575092200.1726 | 580508921.7429 | 641415751.846 | 658401648.524 | 671794132.6377 | 681898198.3001

## Opex
Opex
| Real $2017 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017
Convert to real (March ending TNSP) |  | 1.3441 | 1.293 | 1.2695 | 1.2093 | 1.1951 | 1.1617 | 1.1232 | 1.1012 | 1.0779 | 1.0536 | 1.038 | 1.0247
Convert to real (Financial year TNSP) |  | 1.3377 | 1.2945 | 1.2581 | 1.2132 | 1.1888 | 1.1569 | 1.1232 | 1.099 | 1.0697 | 1.0516 | 1.0341 | 1.0191
Prescribed transmission services opex ($'000)
Nominal |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017
ElectraNet | $'000 | 48431 | 52930 | 49444.636 | 54853 | 57567 | 64370 | 72584 | 70527 | 74159.946 | 79605.8473 | 85108.199 | 89639.633
Powerlink | $'000 | 118781 | 128265 | 144112 | 142796 | 151902 | 151029 | 160384 | 167377.5967 | 181019.7817 | 211260.9937 | 217661 | 226261.149
AusNet Services | $'000 | 61764.6247 | 61817.5942 | 58269.3895 | 77590.491 | 80063.39 | 75097.619 | 72741.887 | 76129.812 | 82734.268 | 84644.9768 | 89390.2479 | 87642.229
TasNetworks | $'000 | 35426.048 | 37656.624 | 46334.126 | 46642.641 | 47779.508 | 46557.578 | 46923.14 | 44976.583 | 45598 | 34705.7178 | 37603.3997 | 32048.1914
TransGrid | $'000 | 120730 | 123090 | 119710 | 124140 | 143240 | 137770 | 152110 | 143050 | 175638 | 168228.603 | 169534.4873 | 170366.707
Real $2017 |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017
ElectraNet | $'000 2017 | 64786.5764 | 68515.6236 | 62208.1223 | 66547.8496 | 68433.3054 | 74467.2549 | 81529.7234 | 77510.5559 | 79325.6674 | 83713.0908 | 88013.1837 | 91350.9351
Powerlink | $'000 2017 | 158894.3926 | 166033.5624 | 181312.6285 | 173240.6017 | 180574.912 | 174719.8235 | 180150.7655 | 183951.2607 | 193628.984 | 222160.9511 | 225090.3884 | 230580.68
AusNet Services | $'000 2017 | 83019.3577 | 79927.939 | 73975.0687 | 93828.4147 | 95683.433 | 87237.7522 | 81707.0695 | 83832.5336 | 89177.9946 | 89179.5291 | 92783.7665 | 89805.2456
TasNetworks | $'000 2017 | 47389.7372 | 48744.8909 | 58294.6748 | 56587.0136 | 56798.3335 | 53860.7275 | 52706.2524 | 49430.1466 | 48774.1966 | 36496.3505 | 38886.9106 | 32660.0205
TransGrid | $'000 2017 | 161501.5871 | 159334.746 | 150611.5713 | 150607.0779 | 170277.8791 | 159380.9804 | 170857.024 | 157214.7549 | 187872.3263 | 176908.3152 | 175321.1811 | 173619.1623

## RAB
RAB
CPI conversion | Real $2017 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017
Convert to real (March ending TNSP) |  | 1.3441 | 1.293 | 1.2695 | 1.2093 | 1.1951 | 1.1617 | 1.1232 | 1.1012 | 1.0779 | 1.0536 | 1.038 | 1.0247
Convert to real (Financial year TNSP) |  | 1.3377 | 1.2945 | 1.2581 | 1.2132 | 1.1888 | 1.1569 | 1.1232 | 1.099 | 1.0697 | 1.0516 | 1.0341 | 1.0191
Prescribed transmission services RAB
Nominal |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017
ElectraNet | $ '000 | 1008498.0744 | 1072410.1978 | 1180457.063 | 1278429.4831 | 1294892.653 | 1331479.0051 | 1504540.6897 | 1712893.4299 | 1890087.8232 | 2013147.9936 | 2066967.4264 | 2157003.2621
Powerlink | $ '000 | 2906163.802 | 3110944.7666 | 3568307.0443 | 4186908.5814 | 4681557.1949 | 5093089.0531 | 5477581.7372 | 5819506.0639 | 6301890.3431 | 6604013.1766 | 6605068.5106 | 6644060.9068
AusNet Services | $ '000 | 1889957.733 | 1929607.6655 | 2007291.256 | 2181178.4835 | 2198049.1735 | 2232904.4265 | 2292941.9665 | 2370849.614 | 2476349.311 | 2790207.815 | 2857110.3029 | 2903023.4716
TasNetworks | $ '000 | 666396.5 | 728278.5 | 787887 | 845035 | 895293 | 1006943.5 | 1139787 | 1204832 | 1310583.1592 | 1386261.7283 | 1382762.1991 | 1371712.899
TransGrid | $ '000 | 3166374.4154 | 3313367.6046 | 3566600.1046 | 3976405.9054 | 4305989.6382 | 4559614.338 | 4853368.9664 | 5135315.1165 | 5576508.2257 | 5908508.5173 | 6033054.7897 | 6056226.9784
Real $2017 |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017
ElectraNet | $'000 2017 | 1349076.7798 | 1388189.1821 | 1485176.6191 | 1550995.0764 | 1539315.6564 | 1540338.4569 | 1689970.0532 | 1882503.4656 | 2021744.704 | 2117015.8544 | 2137518.8976 | 2198182.4153
Powerlink | $'000 2017 | 3887600.981 | 4026985.0847 | 4489418.8515 | 5079571.9911 | 5565244.5551 | 5892004.983 | 6152674.4763 | 6395751.2722 | 6740857.8956 | 6944745.5638 | 6830518.266 | 6770902.0696
AusNet Services | $'000 2017 | 2540338.8713 | 2494913.7174 | 2548327.8573 | 2637649.493 | 2626879.6626 | 2593871.3597 | 2575539.0225 | 2610729.2901 | 2669218.8247 | 2939683.2337 | 2965574.6755 | 2974670.3032
TasNetworks | $'000 2017 | 891444.4827 | 942725.4024 | 991269.7273 | 1025199.3885 | 1064287.8611 | 1164895.4216 | 1280261.7505 | 1324133.9922 | 1401873.7801 | 1457785.5511 | 1429959.8019 | 1397900.1452
TransGrid | $'000 2017 | 4235687.0163 | 4289012.7999 | 4487271.2876 | 4824189.4156 | 5118785.1372 | 5274847.9596 | 5451529.6707 | 5643812.0055 | 5964948.2071 | 6213356.5177 | 6238980.0916 | 6171845.8571

## Depreciation
Depreciation
| Real $2017 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017
Convert to real (March ending TNSP) |  | 1.3441 | 1.293 | 1.2695 | 1.2093 | 1.1951 | 1.1617 | 1.1232 | 1.1012 | 1.0779 | 1.0536 | 1.038 | 1.0247
Convert to real (Financial year TNSP) |  | 1.3377 | 1.2945 | 1.2581 | 1.2132 | 1.1888 | 1.1569 | 1.1232 | 1.099 | 1.0697 | 1.0516 | 1.0341 | 1.0191
TNSP depreciation
Nominal |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017
ElectraNet | $ '000 | -45791.8494 | -50958.5011 | -48204.8503 | -55008.8771 | -60040.1046 | -63337.1777 | -66722.8994 | -73303.0135 | -76094.4866 | -85643.0717 | -95982.6741 | -103289.9444
Powerlink | $ '000 | -132496.7462 | -140357.2663 | -156999.7298 | -182601.093 | -191974.4228 | -209895.4905 | -224992.7004 | -212080.9162 | -234896.2484 | -261726.2865 | -277132.6789 | -273813.5703
AusNet Services | $ '000 | -86280.946 | -91719.03 | -103392.598 | -107125.821 | -112873.439 | -118888.912 | -123748.051 | -129632.009 | -127428.1762 | -145677.736 | -152613.9834 | -161231.0402
TasNetworks | $ '000 | -34117 | -33914 | -37777 | -41311 | -49841 | -54231 | -54880 | -54578 | -61434.6066 | -53237.5148 | -57207.4305 | -61304.0486
TransGrid | $ '000 | -121720.6929 | -130837 | -138414 | -155347.2737 | -178956.0287 | -181714.9461 | -184338.2858 | -199415.5615 | -222310.2574 | -244163.2301 | -261875.0624 | -279708.0029
Real $2017
ElectraNet | $'000 2017 | -61256.1613 | -65963.6024 | -60648.3021 | -66736.9602 | -71373.2314 | -73272.4213 | -74946.2627 | -80561.4492 | -81394.9613 | -90061.8042 | -99258.8354 | -105261.8433
Powerlink | $'000 2017 | -177242.0674 | -181686.4844 | -197527.1573 | -221532.2784 | -228211.3765 | -242820.2733 | -252722.2617 | -233081.0854 | -251258.2963 | -275229.988 | -286592.0046 | -279040.9203
AusNet Services | $'000 2017 | -115972.3507 | -118589.4263 | -131260.5916 | -129544.817 | -134894.5897 | -138108.2594 | -138999.5643 | -142748.0178 | -137352.8707 | -153481.9004 | -158407.6624 | -165210.2341
TasNetworks | $'000 2017 | -45638.6122 | -43900.224 | -47528.6386 | -50118.6483 | -59248.9512 | -62737.8235 | -61643.7675 | -59982.2922 | -65713.9256 | -55984.2909 | -59160.0826 | -62474.3986
TransGrid | $'000 2017 | -162826.8457 | -169362.9065 | -174143.7643 | -188467.8505 | -212735.6396 | -210219.2513 | -207057.333 | -219161.6122 | -237795.6093 | -256760.7701 | -270813.6023 | -285047.883

## Capex
Capex
| Real $2017 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017
Convert to real (March ending TNSP) |  | 1.3441 | 1.293 | 1.2695 | 1.2093 | 1.1951 | 1.1617 | 1.1232 | 1.1012 | 1.0779 | 1.0536 | 1.038 | 1.0247
Convert to real (Financial year TNSP) |  | 1.3377 | 1.2945 | 1.2581 | 1.2132 | 1.1888 | 1.1569 | 1.1232 | 1.099 | 1.0697 | 1.0516 | 1.0341 | 1.0191
DNSP Network services capex | actual additions (recognised in RAB)
Nominal - Prescribed transmission services capex ($'000) |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017
ElectraNet | $'000 | 89258.1143 | 80842.9874 | 162293.4765 | 59106.0562 | 20345.6253 | 97061.1002 | 315713.0995 | 178283.8547 | 232198.0008 | 96869.7763 | 142117.4696 | 169671.8647
Powerlink | $'000 | 269318.5326 | 256570.9017 | 678189.5694 | 671491.8367 | 473251.6948 | 463875.8779 | 503875.6096 | 504179.0105 | 593347.8062 | 245700.2091 | 124656.9201 | 165717.7868
AusNet Services | $'000 | 60055.487 | 81707.709 | 109142.722 | 41643.434 | 86552.109 | 110822.418 | 124792.089 | 166090.784 | 176329.5493 | 192954.2503 | 133160.8177 | 125721.3794
TasNetworks | $'000 | 67649 | 97870 | 59619 | 82109 | 49873 | 222178 | 105301 | 87448 | 174694.628 | 31333.1593 | 24922.724 | 27737.7859
TransGrid | $'000 | 162036 | 225936 | 337001 | 549433.3027 | 240632.3406 | 370580.9067 | 377519.6261 | 386404.8128 | 599025.8573 | 299576.6267 | 262567.9138 | 139468.48
Real $2017 |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017
ElectraNet | $'000 2017 | 119401.3676 | 104647.7931 | 204187.4155 | 71707.6721 | 24186.0508 | 112286.3708 | 354623.6318 | 195937.4521 | 248372.0982 | 101867.7479 | 146968.3427 | 172911.0548
Powerlink | $'000 2017 | 360269.7793 | 332120.0702 | 853255.3392 | 814656.2218 | 562582.3434 | 536640.7215 | 565976.5113 | 554102.6184 | 634678.3309 | 258377.0492 | 128911.815 | 168881.49
AusNet Services | $'000 2017 | 80722.0635 | 105645.1462 | 138560.5791 | 50358.4569 | 103438.0748 | 128737.7519 | 140172.2763 | 182895.6472 | 190062.9085 | 203291.0851 | 138215.9968 | 128824.1923
TasNetworks | $'000 2017 | 90494.6647 | 126688.5335 | 75008.8653 | 99614.9232 | 59286.9915 | 257029.451 | 118278.979 | 96107.0667 | 186863.2424 | 32949.7857 | 25773.4074 | 28267.3254
TransGrid | $'000 2017 | 216756.9881 | 292464.4988 | 423993.4018 | 666574.3856 | 286053.9277 | 428711.245 | 424047.596 | 424666.4658 | 640751.8951 | 315033.2069 | 271530.1027 | 142131.0601

## CPI
| Index Numbers ; All groups CPI ; Australia ; | CPI
Unit | Index Numbers |  |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017
Series Type | Original | CPI (Dec) |  | 86.6 | 89.1 | 92.4 | 94.3 | 96.9 | 99.8 | 102 | 104.8 | 106.6 | 108.4 | 110 | 112.1
Data Type | INDEX | Calander year data (Real June same year) |  | 85.9 | 87.7 | 91.6 | 92.9 | 95.8 | 99.2 | 100.4 | 102.8 | 105.9 | 107.5 | 108.6 | 110.7
Frequency | Quarter | Financial year data (Real December previous year) |  | 83.8 | 86.6 | 89.1 | 92.4 | 94.3 | 96.9 | 99.8 | 102 | 104.8 | 106.6 | 108.4 | 110
Collection Month | 3 | March ending data (Real September previous year) |  | 83.4 | 86.7 | 88.3 | 92.7 | 93.8 | 96.5 | 99.8 | 101.8 | 104 | 106.4 | 108 | 109.4
Series Start | 1948-09-01 | Convert to real | 2017
Series End | 2014-03-01 |  | 12
No. Obs | 263 | Convert to real 2017 | 112.1
Series ID | A2325846C | Convert to real (Calendar year TNSP) |  | 1.305 | 1.2782 | 1.2238 | 1.2067 | 1.1701 | 1.13 | 1.1165 | 1.0905 | 1.0585 | 1.0428 | 1.0322 | 1.0126
1948-09-01 | 3.7 | Convert to real (Financial year TNSP) |  | 1.3377 | 1.2945 | 1.2581 | 1.2132 | 1.1888 | 1.1569 | 1.1232 | 1.099 | 1.0697 | 1.0516 | 1.0341 | 1.0191
1948-12-01 | 3.8 | Convert to real (March ending TNSP) |  | 1.3441 | 1.293 | 1.2695 | 1.2093 | 1.1951 | 1.1617 | 1.1232 | 1.1012 | 1.0779 | 1.0536 | 1.038 | 1.0247
1949-03-01 | 3.9 | *These are used to convert to $2017
1949-06-01 | 4
1949-09-01 | 4.1
1949-12-01 | 4.1
1950-03-01 | 4.2
1950-06-01 | 4.3
1950-09-01 | 4.4
1950-12-01 | 4.6
1951-03-01 | 4.8
1951-06-01 | 5.1
1951-09-01 | 5.3
1951-12-01 | 5.7
1952-03-01 | 5.9
1952-06-01 | 6.1
1952-09-01 | 6.2
1952-12-01 | 6.3
1953-03-01 | 6.3
1953-06-01 | 6.4
1953-09-01 | 6.5
1953-12-01 | 6.4
1954-03-01 | 6.5
1954-06-01 | 6.5
1954-09-01 | 6.5
1954-12-01 | 6.5
1955-03-01 | 6.5
1955-06-01 | 6.6
1955-09-01 | 6.6
1955-12-01 | 6.7
1956-03-01 | 6.7
1956-06-01 | 7
1956-09-01 | 7.1
1956-12-01 | 7.1
1957-03-01 | 7.1
1957-06-01 | 7.2
1957-09-01 | 7.2
1957-12-01 | 7.2
1958-03-01 | 7.2
1958-06-01 | 7.2
1958-09-01 | 7.2
1958-12-01 | 7.3
1959-03-01 | 7.3
1959-06-01 | 7.3
1959-09-01 | 7.4
1959-12-01 | 7.5
1960-03-01 | 7.5
1960-06-01 | 7.6
1960-09-01 | 7.7
1960-12-01 | 7.8
1961-03-01 | 7.8
1961-06-01 | 7.9
1961-09-01 | 7.8
1961-12-01 | 7.8
1962-03-01 | 7.8
1962-06-01 | 7.8
1962-09-01 | 7.8
1962-12-01 | 7.8
1963-03-01 | 7.8
1963-06-01 | 7.8
1963-09-01 | 7.9
1963-12-01 | 7.9
1964-03-01 | 8
1964-06-01 | 8
1964-09-01 | 8.1
1964-12-01 | 8.2
1965-03-01 | 8.2
1965-06-01 | 8.3
1965-09-01 | 8.4
1965-12-01 | 8.5
1966-03-01 | 8.6
1966-06-01 | 8.6
1966-09-01 | 8.6
1966-12-01 | 8.7
1967-03-01 | 8.8
1967-06-01 | 8.9
1967-09-01 | 9
1967-12-01 | 9
1968-03-01 | 9.1
1968-06-01 | 9.1
1968-09-01 | 9.2
1968-12-01 | 9.2
1969-03-01 | 9.4
1969-06-01 | 9.4
1969-09-01 | 9.5
1969-12-01 | 9.5
1970-03-01 | 9.6
1970-06-01 | 9.7
1970-09-01 | 9.8
1970-12-01 | 10
1971-03-01 | 10.1
1971-06-01 | 10.2
1971-09-01 | 10.5
1971-12-01 | 10.7
1972-03-01 | 10.8
1972-06-01 | 10.9
1972-09-01 | 11.1
1972-12-01 | 11.2
1973-03-01 | 11.4
1973-06-01 | 11.8
1973-09-01 | 12.2
1973-12-01 | 12.6
1974-03-01 | 13
1974-06-01 | 13.5
1974-09-01 | 14.2
1974-12-01 | 14.7
1975-03-01 | 15.3
1975-06-01 | 15.8
1975-09-01 | 15.9
1975-12-01 | 16.8
1976-03-01 | 17.3
1976-06-01 | 17.7
1976-09-01 | 18.1
1976-12-01 | 19.2
1977-03-01 | 19.6
1977-06-01 | 20.1
1977-09-01 | 20.5
1977-12-01 | 21
1978-03-01 | 21.3
1978-06-01 | 21.7
1978-09-01 | 22.1
1978-12-01 | 22.6
1979-03-01 | 23
1979-06-01 | 23.6
1979-09-01 | 24.2
1979-12-01 | 24.9
1980-03-01 | 25.4
1980-06-01 | 26.2
1980-09-01 | 26.6
1980-12-01 | 27.2
1981-03-01 | 27.8
1981-06-01 | 28.4
1981-09-01 | 29
1981-12-01 | 30.2
1982-03-01 | 30.8
1982-06-01 | 31.5
1982-09-01 | 32.6
1982-12-01 | 33.6
1983-03-01 | 34.3
1983-06-01 | 35
1983-09-01 | 35.6
1983-12-01 | 36.5
1984-03-01 | 36.3
1984-06-01 | 36.4
1984-09-01 | 36.9
1984-12-01 | 37.4
1985-03-01 | 37.9
1985-06-01 | 38.8
1985-09-01 | 39.7
1985-12-01 | 40.5
1986-03-01 | 41.4
1986-06-01 | 42.1
1986-09-01 | 43.2
1986-12-01 | 44.4
1987-03-01 | 45.3
1987-06-01 | 46
1987-09-01 | 46.8
1987-12-01 | 47.6
1988-03-01 | 48.4
1988-06-01 | 49.3
1988-09-01 | 50.2
1988-12-01 | 51.2
1989-03-01 | 51.7
1989-06-01 | 53
1989-09-01 | 54.2
1989-12-01 | 55.2
1990-03-01 | 56.2
1990-06-01 | 57.1
1990-09-01 | 57.5
1990-12-01 | 59
1991-03-01 | 58.9
1991-06-01 | 59
1991-09-01 | 59.3
1991-12-01 | 59.9
1992-03-01 | 59.9
1992-06-01 | 59.7
1992-09-01 | 59.8
1992-12-01 | 60.1
1993-03-01 | 60.6
1993-06-01 | 60.8
1993-09-01 | 61.1
1993-12-01 | 61.2
1994-03-01 | 61.5
1994-06-01 | 61.9
1994-09-01 | 62.3
1994-12-01 | 62.8
1995-03-01 | 63.8
1995-06-01 | 64.7
1995-09-01 | 65.5
1995-12-01 | 66
1996-03-01 | 66.2
1996-06-01 | 66.7
1996-09-01 | 66.9
1996-12-01 | 67
1997-03-01 | 67.1
1997-06-01 | 66.9
1997-09-01 | 66.6
1997-12-01 | 66.8
1998-03-01 | 67
1998-06-01 | 67.4
1998-09-01 | 67.5
1998-12-01 | 67.8
1999-03-01 | 67.8
1999-06-01 | 68.1
1999-09-01 | 68.7
1999-12-01 | 69.1
2000-03-01 | 69.7
2000-06-01 | 70.2
2000-09-01 | 72.9
2000-12-01 | 73.1
2001-03-01 | 73.9
2001-06-01 | 74.5
2001-09-01 | 74.7
2001-12-01 | 75.4
2002-03-01 | 76.1
2002-06-01 | 76.6
2002-09-01 | 77.1
2002-12-01 | 77.6
2003-03-01 | 78.6
2003-06-01 | 78.6
2003-09-01 | 79.1
2003-12-01 | 79.5
2004-03-01 | 80.2
2004-06-01 | 80.6
2004-09-01 | 80.9
2004-12-01 | 81.5
2005-03-01 | 82.1
2005-06-01 | 82.6
2005-09-01 | 83.4
2005-12-01 | 83.8
2006-03-01 | 84.5
2006-06-01 | 85.9
2006-09-01 | 86.7
2006-12-01 | 86.6
2007-03-01 | 86.6
2007-06-01 | 87.7
2007-09-01 | 88.3
2007-12-01 | 89.1
2008-03-01 | 90.3
2008-06-01 | 91.6
2008-09-01 | 92.7
2008-12-01 | 92.4
2009-03-01 | 92.5
2009-06-01 | 92.9
2009-09-01 | 93.8
2009-12-01 | 94.3
2010-03-01 | 95.2
2010-06-01 | 95.8
2010-09-01 | 96.5
2010-12-01 | 96.9
2011-03-01 | 98.3
2011-06-01 | 99.2
2011-09-01 | 99.8
2011-12-01 | 99.8
2012-03-01 | 99.9
2012-06-01 | 100.4
2012-09-01 | 101.8
2012-12-01 | 102
2013-03-01 | 102.4
2013-06-01 | 102.8
2013-09-01 | 104
2013-12-01 | 104.8
2014-03-01 | 105.4
2014-06-01 | 105.9
2014-09-01 | 106.4
2014-12-01 | 106.6
2015-03-01 | 106.8
2015-06-01 | 107.5
2015-09-01 | 108
2015-12-01 | 108.4
2016-03-01 | 108.2
2016-06-01 | 108.6
2016-09-01 | 109.4
2016-12-01 | 110
2017-03-01 | 110.5
2017-06-01 | 110.7
2017-09-01 | 111.4
2017-12-01 | 112.1
2018-03-01 | 112.6

## Physical data
Physical data
Total energy transported | TOPED01 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017
ElectraNet | MWh | 15101074.2582 | 13989610 | 13083325.2366 | 13513587.37 | 13846707.4147 | 13881537.2251 | 14062879.8974 | 14283594.4504 | 13957000 | 13455329.99 | 14247978.656 | 14525020.7751
Powerlink | MWh | 51045963.4443 | 51964465.6799 | 51187327.595 | 52191948.2603 | 52848520.6264 | 51917071.192 | 50878576.9768 | 49333938.6707 | 47613581.4213 | 53087563.425 | 52872387.582 | 54253300.021
AusNet Services | MWh | 45186299.6787 | 45956437.0737 | 45046718.0308 | 47419179.0467 | 48976636.2411 | 48047970.9925 | 47529361.2649 | 49056428.4802 | 48061000 | 47655016.9508 | 49224072.3753 | 46829301.6247
TasNetworks | MWh | 10530108.8 | 12828493 | 13500337 | 13412711 | 13030212 | 13108443 | 12589843 | 12866188 | 13359963.804 | 13109624.0823 | 11654573.9033 | 12426663.3237
TransGrid | MWh | 81500000 | 83000000 | 82500000 | 81100000 | 80600000 | 79800000 | 76600000 | 71100000 | 67800000.3461 | 74400000 | 72200000 | 75000000
Transmission system non-coincident summated maximum demand (MVA) | TOPSD0204 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017
ElectraNet | MVA | 3978.3919 | 3976.363 | 4222.795 | 4265.2719 | 4285.2902 | 4376.4504 | 4229.0017 | 4403.3213 | 3429.53 | 3175.3144 | 3271.5961 | 3447.5599
Powerlink | MVA | 11030.569 | 11737.3832 | 11612.3201 | 12068.7205 | 12247.4049 | 11937.6367 | 11674.6549 | 11664.8537 | 11512.2111 | 11832.312 | 11995.3026 | 12388.9528
AusNet Services | MVA | 8046.7945 | 9518.2214 | 9821.7744 | 10238.8392 | 9875.3838 | 9612.8305 | 8932.6059 | 9569.9414 | 10258.2 | 9098.1234 | 9677.5928 | 9641.586
TasNetworks | MVA | 2684.244 | 2690.61 | 2624.262 | 2656.152 | 2634.474 | 2597.712 | 2589.395 | 2544.747 | 2509 | 2504.8916 | 2519.5 | 2523.6454
TransGrid | MVA | 18200 | 18600 | 18600 | 18700 | 18900 | 19400 | 18000 | 17400 | 17000 | 16500 | 18000 | 18700
|  |  | -0.051% | 6.197% | 1.006% | 0.4693% | 2.127% | -3.369% | 4.122% | -22.11% | -7.413% | 3.032% | 5.379%
Voltage of entry/exit points (kV) |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017
ElectraNet | kV | 5875.1 | 5974.1 | 6007.1 | 6546.1 | 6953.1 | 7052.1 | 7129.1 | 7129.1 | 7195.1 | 7470.1 | 7470.1
Powerlink | kV | 12468.5 | 12694 | 13117.5 | 13898.5 | 14580.5 | 15009.5 | 15356 | 16214 | 17050 | 17160 | 17407.5
AusNet Services | kV | 7330 | 7264 | 7544 | 8336 | 8402 | 8424 | 9144 | 10210 | 10260 | 9320 | 9320
TasNetworks | kV | 5893.8 | 5882.8 | 5860.8 | 5970.8 | 5860.8 | 5893.8 | 5948.8 | 6058.8 | 6058.8 | 6058.8 | 6058.8
TransGrid | kV | 14481 | 14481 | 15108 | 15883.5 | 16348 | 16895 | 17192 | 17456 | 17621 | 17720 | 18182
AVG Last 5YRs |  | 2006: Circuit line length; 2007: Energy transported; 2008: Maximum demand
|  | km | MWh | MVA
ElectraNet |  | 2006: 5524; 2007: 14093785; 2008: 3545
Powerlink |  | 2006: 14626; 2007: 51432154; 2008: 11879
AusNet Services |  | 2006: 6568; 2007: 48165164; 2008: 9649
TasNetworks |  | 2006: 3540; 2007: 12683403; 2008: 2520; 2015: total overhead circuit kilometres
TransGrid |  | 2006: 12993; 2007: 72100000; 2008: 17520; 2015: total underground circuit kilometres
Circuit line length (km) | TPA01+TPA02 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017
ElectraNet | km | 5600.539 | 5518.669 | 5518.669 | 5503.669 | 5501.669 | 5504.669 | 5526.069 | 5527.349 | 5529.4031 | 5521.349 | 5524.349 | 5519.569
Powerlink | km | 11700.8 | 11892.8 | 12428.8 | 12865.1 | 13321.1 | 13738.4 | 13702.4 | 14313.5 | 14772.5 | 14754.5 | 14755.5 | 14532.5
AusNet Services | km | 6573 | 6573 | 6573 | 6573 | 6573 | 6573 | 6573 | 6573 | 6573 | 6573.2 | 6558.8448 | 6559.9721
TasNetworks | km | 3581.3 | 3622.3 | 3622.3 | 3520.3 | 3481.3 | 3493.3 | 3493.3 | 3503.19 | 3503.8 | 3563.7 | 3563.7 | 3563.7
TransGrid | km | 12517.231 | 12526.494 | 12523.514 | 12523.349 | 12682.459 | 12681.863 | 12697.207 | 12893.617 | 12929.666 | 13024.7647 | 13039.195 | 13078.1134
Connection density (kV/km) |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | Average(2013-2017)
ElectraNet | kv/km | 139.065 | 141.2344 | 141.5396 | 147.9862 | 150.3115 | 151.8811 | 152.7583 | 153.3766 | 154.0431 | 154.6613 | 155.4294 | 159.1247 | 155.327
Powerlink | kv/km | 156.9289 | 157.3409 | 153.7954 | 151.6235 | 148.9753 | 146.7072 | 149.1073 | 144.6287 | 142.0486 | 144.0565 | 146.4454 | 150.9546 | 145.6268
AusNet Services | kv/km | 375.8177 | 381.8237 | 387.309 | 392.3575 | 397.7651 | 403.9029 | 410.1399 | 415.8366 | 418.8702 | 425.5854 | 433.8552 | 442.386 | 427.3067
TasNetworks | kv/km | 69.9865 | 70.531 | 71.8947 | 75.4095 | 77.7313 | 78.966 | 79.6931 | 79.8895 | 80.1273 | 79.4284 | 80.0643 | 80.7171 | 80.0453
TransGrid | kv/km | 267.5736 | 270.0585 | 272.8701 | 275.2794 | 273.8488 | 276.5505 | 278.5633 | 277.3416 | 280.2956 | 282.0967 | 285.3445 | 288.6165 | 282.739
End User Number
|  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | Average(2013-2017)
ElectraNet | # | 778839 | 779426 | 781110 | 814467 | 826964 | 836055 | 844153 | 847766 | 851766.5 | 853939 | 858646.5 | 878299.5 | 858083.5
Powerlink | # | 1836193.5624 | 1871223.9767 | 1911491.9433 | 1950651.6833 | 1984514.3333 | 2015522.5 | 2043128.5 | 2070142.5 | 2098413 | 2125481.5 | 2160875.5 | 2193748 | 2129732.1
AusNet Services | # | 2470249.5155 | 2509726.8843 | 2545782.2359 | 2578966.0261 | 2614510.1594 | 2654853.9193 | 2695849.7355 | 2733294.2326 | 2753233.8908 | 2797458.1835 | 2845589 | 2902040 | 2806323.0614
TasNetworks | # | 250642.5242 | 255484.3855 | 260424.2595 | 265464.1302 | 270606.022 | 275852 | 278392 | 279868 | 280750 | 283059 | 285325 | 287651.5001 | 283330.7
TransGrid | # | 3349280.7933 | 3382886.3053 | 3417292.5368 | 3447420.2078 | 3473076.7927 | 3507175.7698 | 3536976.1884 | 3575936.3239 | 3624129 | 3674243 | 3720662.2207 | 3774559.5 | 3673906.0089

## Network characteristics chartsU
Network Characteristics Charts
| Five year average circuit length by TNSP (2013–17) | Energy transported in 2017 (GWh) | Maximum demand for 2017 (MVA)

## Network size table
Summary tables used in the annual benchmarking report
Transmission outputs (avg last 5 yrs)
| Circuit line length | Energy transported | Maximum demand
| km | GWh | MVA
ElectraNet | 5524 | 14093.785 | 3545
Powerlink | 14626 | 51432.154 | 11879
AusNet Services | 6568 | 48165.164 | 9649
TasNetworks | 3540 | 12683.403 | 2520
TransGrid | 12993 | 72100 | 17520
Transmission inputs (avg last 5 years)
| Opex | Capex | RAB | Depreciation | Asset cost
| $'000 2017 | $'000 2017 | $'000 2017 | $'000 2017 | $'000 2017
ElectraNet | 83982.6866 | 173211.3391 | 2071393.0674 | 91307.7787 | 166228.5517
Powerlink | 211082.4528 | 348990.2607 | 6736555.0134 | 265040.4589 | 508696.7293
AusNet Services | 88955.8139 | 168657.966 | 2831975.2654 | 151440.1371 | 253870.6122
TasNetworks | 41249.525 | 73992.1655 | 1402330.6541 | 60662.998 | 111384.2726
TransGrid | 174187.148 | 358822.5461 | 6046588.5358 | 253915.8954 | 472616.5827