Final

Electricity transmission network service providers

Service target performance incentive scheme

December 2012

© Commonwealth of Australia 2012

This work is copyright. Apart from any use permitted by the Copyright Act 1968, no part may be reproduced without permission of the Australian Competition and Consumer Commission. Requests and inquiries concerning reproduction and rights should be addressed to the Director, Publishing, Australian Competition and Consumer Commission, GPO Box 3131, Canberra ACT 2601.

Inquiries about these guidelines should be addressed to:

Australian Energy Regulator

GPO Box 520

Melbourne  Vic  3001

Tel: (03) 9290 1444

Fax: (03) 9290 1457

Email: AERInquiry@aer.gov.au

AER reference:   45236 - D12/137417

Amendment record

| - Version | - Date | - Pages |
| --- | --- | --- |
| - 01 | - 31 August 2007 | - 43 |
| - 02 | - 7 March 2008 | - 51 |
| - 03 | - 31 March 2011 | - 54 |
| - 04 | 20 December 2012 | - 37 |

- Contents

Contents	1

1	Nature and Authority	3

1.1	Introduction	3

1.2	Authority	3

1.3	Role of the scheme	3

1.4	AER objectives	3

1.5	Confidentiality	4

1.6	Definitions and interpretation	4

1.7	Processes for revision	4

1.8	Version history and effective date	4

2	The service target performance incentive scheme	5

2.1	General application of the scheme	5

2.2	Structure of the scheme	5

2.3	Addition, removal or variation of parameters	5

2.4	Timing of performance	6

2.5	Adjustments to maximum allowed revenue	6

3	Service component	7

3.1	Performance incentive scheme parameters and weightings	7

3.2	Values for parameters	7

3.3	Adjustments to maximum allowed revenue	8

3.4	Weighting of parameters	9

4	Market impact component	10

4.1	Performance incentive scheme	10

4.2	Values for parameter	10

4.3	Adjustments to maximum allowed revenue	10

5	Network capability component	11

5.1	Network capability incentive parameter	11

5.2	Requirements for the network capability incentive parameter	11

5.3	Network capability incentive parameter payments	13

5.4	Amendment of priority projects during the regulatory control period	15

6	Information and reporting requirements	17

6.1	Information gathering by the AER	17

6.2	Information to be requested under submission guidelines	17

6.3	Information to be requested under information guidelines or RINs	17

6.4	Annual compliance review	17

6.5	Changes to data collection	18

Glossary	19

A	Service component – performance incentive scheme parameters – standard definitions	21

B	Service component – performance incentive scheme parameters and definitions applicable to individual TNSPs	28

C	Market impact component – performance incentive scheme parameter	30

D	Adjustments to allowed revenue	32

E	Service component - calculation of rolling average performance measures	36

F	Market impact component - calculation of the performance measure and performance target	37

G	Definition of force majeure	38

- Nature and Authority

  - Introduction

- Consistent with the requirements of clause 6A.7.4 of the National Electricity Rules (NER), this publication sets out the Australian Energy Regulator’s (AER) service target performance incentive scheme.

  - Authority

- Clause 6A.7.4 of the NER requires the AER to develop, in accordance with the transmission consultation procedures, the service target performance incentive scheme.

  - Role of the scheme

- This scheme:

- defines the performance incentive scheme parameters that specify how a transmission network service provider’s (TNSP) network reliability and market impact is measured

- sets out the requirements with which the values to be attributed to the parameters must comply

- will be used by the AER to decide the service target performance financial reward or penalty component of a transmission determination, and

- provides guidance about the approach the AER will take in reviewing a TNSP’s service target performance and explain how this will affect a TNSP’s maximum allowed revenue.

- The obligation of a TNSP to comply with this scheme:

- is additional to any obligation imposed under any other law applying to a TNSP, and

- does not derogate from such an obligation.

  - AER objectives

- AER objectives for this scheme are that it:

- contributes to the achievement of the national electricity objective

- is consistent with the principles in clause 6A.7.4(b) of the NER

- promotes transparency in:

- the information provided by the TNSP to the AER, and

- the decision made by the AER

- assists in the setting of efficient capital and operating expenditure allowances in its transmission determinations by balancing the incentive to reduce actual expenditure with the need to maintain and improve reliability for customers and reduce the market impact of transmission congestion.

  - Confidentiality

The AER’s obligations regarding confidentiality and the disclosure of information provided to it by a TNSP are governed by the Competition and Consumer Act 2010, the National Electricity Law and the NER.

  - Definitions and interpretation

- In this scheme, the words and phrases presented in italics have the meaning given to them in:

- the glossary, or

- if not defined in the glossary, the NER.

- Explanations in this scheme about why certain information is required are provided for guidance only.

  - Processes for revision

The AER may amend or replace this scheme from time to time in accordance with the transmission consultation procedures.

  - Version history and effective date

A version number and an effective date of issue will identify every version of this scheme.

- The service target performance incentive scheme

  - General application of the scheme

- The parameters for each TNSP and the maximum revenue increment or decrement that a TNSP can receive for a given level of performance are prescribed in this scheme.

- In each transmission determination the AER will approve or set the values that will apply to the TNSP’s parameters for the regulatory control period.

- The maximum allowed revenue that a TNSP can earn in each regulatory year will be adjusted according to its performance against the values included in its transmission determination, as assessed by the AER in accordance with this scheme.

  - Structure of the scheme

- This scheme comprises the following three components:

- the service component

- the market impact component, and

- the network capability component.

The service component applies to each TNSP subject to the scheme except Ausgrid (formerly EnergyAustralia). The market impact component applies to each TNSP subject to the scheme except Ausgrid.  The network capability component applies to each TNSP subject to the scheme except Ausgrid, Directlink and Murraylink.

- The components set out:

- the parameters that apply to each TNSP

- the requirements with which values to be attributed to the parameters must comply, and

- the maximum revenue increment or decrement that a TNSP may receive under each component of the scheme.

  - Addition, removal or variation of parameters

- In accordance with clause 6A.7.4 of the NER and the transmission consultation procedures, the AER may amend this scheme to:

- add, remove or vary a parameter, and

- vary the definition of a parameter in Appendix A, Appendix B or Appendix C.

The parameters and definitions can vary between TNSPs.

  - Timing of performance

- TNSPs must measure their performance against the parameters and values applicable to the TNSP under this scheme on a calendar year basis within the regulatory control period. Unless stated otherwise in this scheme, the calendar year for each TNSP will run between 1 January and 31 December during a regulatory control period.

- Where a TNSP’s regulatory control period:

- commences after 1 January (the beginning of the calendar year), the TNSP must measure its performance for that calendar year from the commencement of the regulatory control period until 31 December of that year

- ceases before 31 December (the end of the calendar year), the TNSP must measure its performance for that calendar year from 1 January until the end of the regulatory control period.

  - Adjustments to maximum allowed revenue

- The maximum revenue increment or decrement that a TNSP can receive for a given level of performance against its parameters and values is set out in clauses 3.3, 4.3 and 5.3 of this scheme.

- The s-factor and financial incentive adjustment to the maximum allowed revenue for each TNSP will be calculated and approved annually by the AER in accordance with Appendix D.

- This scheme does not operate retrospectively. An adjustment to a TNSP’s maximum allowed revenue can only be made as a result of its performance in a period where parameters and values have been established under the scheme for the TNSP in advance of the relevant period.

- Service component

  - Performance incentive scheme parameters and weightings

- Appendix A contains the definitions of the following parameters:

- average circuit outage rate

- loss of supply event frequency

- average outage duration, and

- proper operation of equipment.

- Appendix B prescribes and defines the parameters applicable to individual TNSPs under this service component. Appendix B may specify that no parameters apply to a TNSP under this service component.

- If a TNSP is not referred to in Appendix B, the parameters and standard definitions in Appendix A apply to that TNSP under this service component.

  - Values for parameters

- A TNSP must submit, in its revenue proposal, proposed values for the parameters applicable to the TNSP under this service component. The AER must accept these proposed values if they comply with the requirements specified in this clause 3.2 and this scheme.

- For each parameter applying to the TNSP under this service component, the TNSP must propose the following values:

- a performance target

- a collar, and

- a cap.

- A proposed performance target may take the form of a performance deadband.

- Data used to calculate proposed values must be accurate and reliable.

- The proposed caps and collars must be calculated by reference to the proposed performance targets and using a sound methodology. Adjustments to the proposed performance targets may result in adjustments to the proposed caps and collars.

- A proposed cap and collar may result in symmetric or asymmetric incentives for the TNSP.

- Subject to clause 3.2(h) to 3.2(l) below, proposed performance targets must be equal to the TNSP’s average performance history over the most recent five years. The data used to calculate the performance target must be consistently recorded based on the parameter definitions that apply to the TNSP under this service component of the scheme.

- The AER may require a performance target to be based on a different period if it is satisfied that the use of a different period is consistent with the objectives in clause 1.4 of this scheme.

- If the performance history information described in clause 3.2(g) is not available, the AER may accept a performance target proposed by the TNSP if the AER is satisfied that the performance target is based on an appropriate benchmark or methodology.

- Where the performance history information described in clause 3.2(g) is available, the AER may approve a performance target based on an alternative methodology proposed by the TNSP if it is satisfied that:

- the methodology is reasonable

- the TNSP’s performance as measured by the relevant parameter has been consistently very high over at least every calendar year of the previous five years

- it is unlikely that the TNSP will be able to improve its performance during the next regulatory control period (or any potential improvement would be marginal), or any further improvements are likely to compromise the TNSP’s other regulatory obligations

- where applicable, the TNSP’s proposed performance targets (calculated using the proposed methodology) are not a lower threshold than the performance targets that applied to an identical parameter in the previous regulatory control period (regardless of whether those performance targets were calculated under the old Service standards guidelines or under this scheme), and

- the proposed methodology is consistent with the objectives in clause 1.4 of the scheme.

- Proposed performance targets may be subject to reasonable adjustment to allow for:

- statistical outliers

- the expected effects on the TNSP’s performance from any increases or decreases in the volume of capital works planned during the regulatory control period (compared with the volume of capital works undertaken during the period used to calculate the performance target)

- the expected material effects on the TNSP’s performance from any changes to the age and ratings of the assets comprising the TNSP’s transmission system during the TNSP’s next regulatory control period (compared to the age and ratings of the TNSP’s assets comprising the TNSP’s transmission system during the period used to calculate performance targets), and

- material changes to an applicable regulatory obligation.

- Unless a performance deadband is applied, performance targets, caps and collars for loss of supply event frequency parameters must be rounded to the nearest integer number.

- The AER may reject the proposed values where it forms the opinion that they are inconsistent with the objectives listed in clause 1.4 of this scheme.

  - Adjustments to maximum allowed revenue

- The maximum revenue increment or decrement that a TNSP may earn against its parameters and values under this service component is 1 per cent of the TNSP’s maximum allowed revenue for the relevant calendar year. That is, under this service component a TNSP will receive a financial incentive that falls within a range of plus or minus 1 per cent of the TNSP’s maximum allowed revenue.

- The maximum revenue increment or decrement that a TNSP may earn against its parameter and values under this service component will be determined by the performance measure and the weighting attributed to the parameter.

- The performance measure for the loss of supply event frequency and the proper operation of equipment parameters is the annual performance of the TNSP against the values of the parameters.

- The performance measure of the average circuit outage rate and the average outage duration parameters will be calculated on a rolling average basis as set out in Appendix E of this scheme.

  - Weighting of parameters

- Tables 1 and 2 detail the weightings for each of the service component parameters, and how the weighting is apportioned to each of the sub-parameters. Table 1 provides the weightings for all TNSPs except Murraylink and Directlink, whose weightings are provided in Table 2.

- Where there is insufficient accurate and reliable data available for determining the values of a parameter or sub-parameters applying to a TNSP under this service component, the AER may reduce the weighting for that parameter or sub-parameter to zero. The weightings for other parameters or sub-parameters will not be altered as a result.

- Table 1: 	Weightings for each parameter/sub-parameter (except Murraylink and Directlink)

| Parameter | Weighting (MAR %) |
| --- | --- |
| Average circuit outage rate: | 0.50 |
| Line outage - fault | 0.20 |
| Transformer outage – fault | 0.20 |
| Reactive plant – fault | 0.10 |
| Line outage – forced outage | 0.00 |
| Transformer outage – forced outage | 0.00 |
| Reactive plant – forced outage | 0.00 |
| Loss of supply event frequency: | 0.30 |
| > (x) system minutes | 0.15 |
| > (y) system minutes | 0.15 |
| Average outage duration: | 0.20 |
| Proper operation of equipment: | 0.00 |

- Table 2: 	Weightings for each parameter/sub-parameter for Murraylink and Directlink

| Parameter | Weighting (MAR %) |
| --- | --- |
| Average circuit outage rate: | 1.00 |
| Circuit outage - fault | 1.00 |
| Circuit outage – forced outage | 0.00 |
| Proper operation of equipment: | 0.00 |

- Market impact component

  - Performance incentive scheme

Appendix C contains the definition of the market impact parameter. The parameter is applicable to all TNSPs subject to this market impact component.

  - Values for parameter

- Each TNSP subject to this market impact component is required to submit, in its revenue proposal, data in accordance with Appendix C for the preceding two calendar years.

- Each TNSP subject to this market impact component is required to submit data annually in accordance with Appendix C for each subsequent calendar year.

- Data used to calculate the market impact component must be accurate and reliable and must be consistently recorded based on the parameter definition in Appendix C.

- The performance target for the market impact parameter is equal to the TNSP’s average performance history over the preceding three calendar years of the performance measure as calculated in accordance with Appendix F of this scheme.

  - Adjustments to maximum allowed revenue

- The maximum revenue increment that a TNSP may earn against its parameter and values under this market impact component is 2 per cent of the TNSP’s maximum allowed revenue for the relevant calendar year. That is, under the market impact component, a TNSP will receive a financial incentive which falls within a range of 0 and 2 per cent of the TNSP’s maximum allowed revenue.

- The maximum revenue increment or decrement that a TNSP may earn against a parameter under this market impact component will be determined by the performance measure, as set out in Appendix F of this scheme.

- Network capability component

  - Network capability incentive parameter

The network capability incentive parameter is applicable to all TNSPs subject to the network capability component.

  - Requirements for the network capability incentive parameter

- The network capability incentive parameter measures the improvements in the capability of transmission assets through operational expenditure and minor capital expenditure on a TNSP’s network which results in:

- improved capability of those elements of the transmission system most important to determining spot prices, or

- improved capability of the transmission system at times when Transmission Network Users place greatest value on the reliability of the transmission system.

- A TNSP must submit, in the STPIS component of its revenue proposal, a network capability incentive parameter action plan (NCIPAP):

- identifying for every transmission circuit or injection point on its network, the reason for the limit for each transmission circuit or injection point.

- proposing the priority projects to be undertaken in the regulatory control period to improve the limit of the transmission circuits and injection points listed above through operational and/or minor capital expenditure projects. This proposal must include:

- the total operational and capital cost of each priority project

- the proposed value of the priority project improvement target in the limit for each priority project

- the current value of the limit for the transmission circuits and/or injection points which the priority project improvement target is seeking to improve, and

- the ranking of the priority projects in descending order based on the likely benefit of the priority project on customers or wholesale market outcomes

in which the average total expenditure of the priority projects outlined in each regulatory year must not be greater than 1 per cent of the TNSP’s average maximum allowed revenue proposed in its revenue proposal for the regulatory control period.

- The priority project improvement target must result in a material benefit.

- Capital expenditure for a project will be considered to be minor capital expenditure if it has an estimated capital cost less than the cost threshold for the proposed transmission investment to be subject to the regulatory investment test for transmission in chapter 5 of the NER.

- A priority project may address multiple limiting elements across transmission circuits and/or injection points in the TNSP’s network.

- Where a proposed priority project is a co-ordinated project between TNSPs, in the NCIPAP each TNSP should:

- only include the capital or operational costs it will incur in undertaking the project, and

- provide a copy of a written agreement between the TNSPs committing to undertaking the project.

- The total combined capital cost of a co-ordinated project outlined in clause 5.2(f) must have an estimated capital cost less than the cost threshold for the proposed transmission investment to be subject to the regulatory investment test for transmission in chapter 5 of the NER.

- The TNSP must consult with AEMO prior to submitting the NCIPAP as to:

- whether there is potential for co-ordinated projects with other TNSPs

- whether the proposed priority project improvement targets for its projects will result in a material benefit

- which projects should be classified as priority projects based on their likely benefit to consumers or wholesale market outcomes, and

- the ranking of the priority projects.

- The TNSP must, as part of the consultation outlined in clause 5.2(h), provide AEMO with a copy of its capital expenditure program for the upcoming regulatory control period.

- If there is any disagreement between the TNSP and AEMO as to:

- whether a project should be classified as a priority project, or

- whether a priority project improvement target will result in a material benefit, or

- the ranking the priority projects,

then the TNSP will include in its NCIPAP any disagreement with AEMO and the grounds for disagreement.

- The AER must approve the TNSP’s priority project if it is consistent with the requirements in this clause 5.2 and this scheme.

- In determining if the priority project results in a material benefit, the AER may take into the account the following:

- the likely effect of the priority project improvement target on wholesale market outcomes, including inter-regional outcomes

- the likely effect of the priority project improvement target in ensuring that the transmission network can meet demand at an injection point without major network augmentation or replacement

- whether the priority project improvement target is appropriate, taking into account the forecast changes in demand at a relevant injection point

- the benefits to consumers resulting from the priority project improvement target being achieved, and

- any relevant information contained in the TNSP’s most recent annual planning report.

- The AER may amend a priority project improvement target proposed by the TNSP to ensure consistency with the objectives of the scheme where:

- the AER considers the target would result in a material benefit and the TNSP agrees to the AER’s amended improvement target; or

- the AER considers the target would result in a material benefit  and AEMO considers the improvement target can be achieved by the TNSP within the next regulatory control period.

- The AER must reject the TNSP’s proposed priority project if it is inconsistent with the requirements in this clause 5.2 and the objectives of the scheme.

- The AER may amend the ranking of the priority projects to ensure consistency with the requirements in clause 5.2 and the objectives of the scheme.

- If 1.5 per cent of the TNSP’s average maximum allowed revenue for the regulatory control period is less than 1 per cent of the TNSP’s average maximum allowed revenue proposed in its revenue proposal, then the AER must reduce the number of priority projects until the average annual cost of the priority projects is less than 1.5 per cent of the TNSP’s average maximum allowed revenue for the regulatory control period. In reducing the number of priority projects, the AER has discretion over which projects are to be removed.

Note: 	This is to ensure that the TNSP’s priority projects in the regulatory control period can be funded solely via the incentive payments provided under clause 5.3 of this scheme.

- The cost of the proposed priority projects must not be included:

- in the total forecast operating expenditure proposed by the TNSP in its revenue proposal to meet the operating expenditure objectives under clause 6A.6.6 of the NER, or

- in the total forecast capital expenditure proposed by the TNSP in its revenue proposal to meet the capital expenditure objectives under clause 6A.6.7 of the NER.

- The TNSP must in each annual STPIS compliance review report on steps it has taken towards reaching the priority project improvement target against each project in the NCIPAP approved by the AER for each year or part year of the regulatory control period. The TNSP must include in this report:

- the current value of limit of the transmission circuit and/or injection points which each priority project seeks to address

- up-to-date actual operational and capital expenditure for each priority project, and

- the expected completion date for each priority project.

  - Network capability incentive parameter payments

- As part of the financial incentive, in each regulatory year the TNSP will receive an incentive allowance under the network capability incentive parameter equal to 1.5 per cent of its maximum allowed revenue for each year except for the final year of the regulatory control period.

As part of the financial incentive, for the final year of the regulatory control period, if the TNSP achieves its priority project improvement target for each priority project, then the TNSP will receive an incentive payment equal to 1.5 per cent of its maximum allowed revenue under the network capability incentive parameter. If the TNSP does not achieve its priority project improvement target for a priority project, then clauses 5.3(b) and (c) apply.

- If the TNSP does not achieve its priority project improvement target for a priority project, then the AER may reduce the incentive payment received by the TNSP under the network capability incentive parameter, taking into account the factors in clauses 5.3(e)-(f), in the final regulatory year by:

- for a priority project ranked in the top 50 percentile of priority projects, a reduction equal to 2.5 per cent of the TNSP’s maximum allowed revenue divided by the number of priority projects ranked in the top 50 percentile of priority projects

- for a priority project ranked in the bottom 50 percentile of priority projects, a reduction equal to 1 per cent of the TNSP’s maximum allowed revenue divided by the number of priority projects ranked in the bottom 50 percentile of priority projects,

the maximum total maximum allowed revenue that can be reduced in this manner for a TNSP is 3.5 per cent. The assessment of whether a reduction applies will be made when a TNSP submits its annual STPIS compliance review following the end of the regulatory control period.

- Where the AER reduces a TNSP’s incentive payment under clause 5.3(b), the incentive payment which will apply for the final year of the regulatory control period will be equal to 1.5 per cent minus the total sum of the reduction imposed by the AER under clause 5.3(b).

Note: 	the lowest incentive payment that a TNSP can receive is a negative incentive payment of   –2.0 per cent of its maximum allowed revenue for the final year of the regulatory control period.

- A TNSP will be taken not to achieve its priority project improvement target if the target has been achieved through network augmentation or replacement of existing network assets with a capital cost greater than outlined in the TNSP’s proposal.

- In deciding whether to reduce a TNSP’s incentive payment under clause 5.3(b), the AER must take into account:

- whether, despite the priority project improvement target not being achieved, there has still been an improvement in network capability resulting in a material benefit

- whether the failure to achieve the priority project improvement target has been due to factors or events outside the control of the TNSP, and

- whether it is likely that, due to the actions undertaken by the TNSP, an improvement in the capability of the identified transmission circuit or injection point resulting in a material benefit will occur in the near future.

- For avoidance of doubt, the AER may consider the factors outlined in clause 5.2(l) in assessing whether there is a material benefit.

  - Amendment of priority projects during the regulatory control period

- At the time a TNSP submits its annual STPIS compliance report, it may also propose to remove a priority project approved by the AER in accordance with clause 5.2. The AER may remove the priority project if:

- due to changes outside the control of the TNSP, the completion of the priority project will no longer likely result in a material benefit, and

- taking into account the objectives of the scheme and the circumstances, it is reasonable to remove the priority project.

- If the TNSP proposes to remove a priority project it may also propose a replacement priority project and priority project improvement target. The AER may accept the proposed replacement if it considers that:

- the replacement priority project improvement target will likely result in a material benefit

- the priority project improvement target is consistent with the requirements of clause 5.2 and this scheme, and

- taking into account the objectives of the scheme and the circumstances, it is reasonable to accept the replacement priority project.

For avoidance of doubt, the AER may consider the factors outlined in clause 5.2(l) in assessing whether there is a material benefit.

- The AER can only accept the replacement priority project if the average total expenditure of all the TNSP’s priority projects, including the replacement priority project, in each regulatory year is not greater than 1 per cent of the TNSP’s average maximum allowed revenue proposed in its revenue proposal for the regulatory control period.

- The AER may amend the replacement priority project improvement target proposed by the TNSP to ensure consistency with the objectives of the scheme where:

- the AER considers the target would result in a material benefit and the TNSP agrees to the AER’s amended improvement target, or

- the AER considers the target would result in a material benefit and AEMO considers the improvement target can be achieved by the TNSP within the current regulatory control period.

- The TNSP must consult with AEMO prior to making any proposal to the AER under clause 5.4.

- The AER may amend the ranking of the priority projects to ensure consistency with the requirements in clause 5.2 and the objectives of the scheme.

- If there is any disagreement between the TNSP and AEMO as to:

- whether there has been a change in circumstances outside the control of the TNSP, or

- whether the completion of the priority project will no longer likely result in a material benefit, or

- whether the replacement priority project improvement target will likely result in a material benefit,

then the TNSP will include in its proposal any disagreement with AEMO and the grounds for disagreement.

- Information and reporting requirements

  - Information gathering by the AER

- The AER may make information requests of TNSPs using the information guidelines, the submission guidelines, and regulatory information notices (RINs). TNSPs must comply with requirements under the information guidelines, when submitting annual or ad hoc information to the AER during the course of a regulatory control period. TNSPs must comply with the submission guidelines when submitting revenue proposals. In addition, the AER may use its broad information gathering powers under the National Electricity Law to issue RINs requiring that TNSPs provide information, and/or prepare, maintain or keep information in certain manners and forms for the purpose of enabling the AER to determine any adjustments to TNSP revenue for each regulatory year.

  - Information to be requested under submission guidelines

A TNSP must include information on its proposed parameter values in its revenue proposal in accordance with the submission guidelines.

  - Information to be requested under information guidelines or RINs

- A TNSP must report to the AER information under this scheme in accordance with the information guidelines or a RIN, where applicable. Information obtained under the information guidelines will be used to monitor and report on TNSP performance under the STPIS. In addition, information obtained under both the information guidelines or a RIN will be used to determine adjustments to TNSP revenue for the regulatory year to which the STPIS applies.

- The report must include details of responses by TNSPs to force majeure events that have been excluded from the service component and the market impact component. For each force majeure event, TNSPs must provide information regarding the steps taken to address the outage, the length of time until the relevant equipment was restored, what additional steps could have been undertaken and the reasons why these actions were not taken.

  - Annual compliance review

- The AER will review the service performance information that a TNSP is required to provide annually under the information guidelines or a RIN, where applicable.

- In undertaking the review referred to in clause 6.4(a), the AER may assess:

- the appropriateness and accuracy of the TNSP’s data collection, reporting and recording processes and systems

- whether the performance data reported is consistent with the parameter definitions and other elements contained in Appendix A or Appendix B, Appendix C and the transmission determination, and

- whether the financial incentive proposed by the TNSP has been calculated in accordance with this scheme.

- The AER will advise the TNSP of the outcome of any review conducted under clause 6.4(a).

- The timetable for the review referred to in clause 6.4(a) will be decided on an annual basis by agreement between the AER and the relevant TNSP and will have due regard to this scheme and the TNSP’s pricing obligations under the NER.

  - Changes to data collection

- A TNSP must notify the AER in writing as soon as it becomes aware of or plans any material changes to data collection or recording methods used by the TNSP to record and report on the TNSP’s performance against the TNSP’s parameters.

- Any notice provided to the AER under clause 6.5(a) must include an assessment of whether the changes to the data collection or recording methods allow the TNSP to accurately record and report on the TNSP’s performance against one of the parameters applicable to the TNSP.

- The AER may amend this scheme as a result of the TNSP’s new data collection methods.

- Glossary

This scheme uses the following definitions.

| cap | the level of performance that results in a TNSP receiving the maximum financial reward attributed to a parameter. |
| --- | --- |
| calendar year | has the meaning set out in clause 2.4. |
| collar | the level of performance that results in a TNSP receiving the maximum financial penalty attributed to a parameter. |
| financial incentive | the dollar value of the revenue increment or decrement that the maximum allowed revenue is adjusted by in each regulatory year based on a TNSP’s performance in the preceding calendar year. |
| force majeure event | has the meaning set out in Appendix G. |
| marginal value | has the meaning set out in Appendix C. |
| market impact component | section 4 of this scheme. |
| market systems | AEMO’s systems for operating the national electricity market, and for recording and publishing data relating to the operation of the national electricity market. |
| material change | a change that can influence the outcomes that may otherwise result. |
| national electricity objective | has the meaning set out in the National Electricity Law. |
| National Electricity Rules or NER | the rules as defined in the National Electricity Law. |
| network capability component | section 5 of this scheme. |
| network outage constraint | has the meaning set out in Appendix C. |
| other elements | the unit of measure, source of data, exclusions and inclusions relating to a parameter |
| parameters | the performance incentive scheme parameters and includes the sub-parameters, where applicable. |
| performance deadbands | a performance target that is set over a range of values, within which a TNSP neither receives a financial penalty nor financial reward in the regulatory year. |
| performance target | the level of performance that results in a TNSP neither receiving a financial penalty nor financial reward in the regulatory year. |
| priority project | a project which is likely to result in a material benefit to customers or wholesale market outcomes and is identified in the TNSP’s NCIPAP under clause 5.2(b). |
| return period | the average period at which events of a specified size will occur. |
| RIN | regulatory information notice. |
| service component | section 3 of this scheme. |
| service target performance incentive scheme or scheme | the service target performance incentive scheme defined in the NER. |
| s-factor or service standards factor | the percentage revenue increment or decrement that the maximum allowed revenue is adjusted by in each regulatory year based on a TNSP’s performance in the previous calendar year. |
| TNSP | transmission network service provider as defined in the NER. |
| Weightings | the proportion of the financial incentive under the service component allocated to each of parameters applying to the TNSP under the service component. |

        - Service component – performance incentive scheme parameters – standard definitions

Parameter 1		Average circuit outage rate

Sub-parameters		lines outage rate - fault

transformers outage rate - fault

reactive plant outage rate - fault

lines outage rate – forced outage

transformer outage rate – forced outage

reactive plant outage rate – forced outage

Unit of measure	 	average circuit outage rate

Source of data		TNSP outage reports and system

Definition/formula	formula:

No. of events (defined circuits unavailable) per annum x 100%

Total no. of defined circuits

definition: the actual number of times defined transmission circuits are unavailable due to unplanned (fault/forced) outages divided by the total number of defined (lines/transformer/reactive) circuits.

forced outage means the urgent and unplanned reduction in the availability of defined circuits that occurs as a necessary consequence of the identification of the actual or imminent occurrence of an event that poses, or has the potential to pose, an immediate threat to the safety of persons, hazard to any equipment or property or a threat to power system security

outages of sub-components of a primary piece of equipment, such as static var compensator transformers, are measured as an outage of the primary equipment type, ie the static var compensator

Inclusions	‘circuits’ includes overhead lines, underground cables, power transformers, phase shifting transformers, static var compensators, capacitor banks, and any other primary transmission equipment essential for the successful operation of the transmission system (TNSP to provide lists on an annual basis).  For the avoidance of doubt, the following equipment is excluded:  individual circuit breakers and isolators, secondary systems including protection and control equipment and auxiliary transformers

‘fault outages’ to include outages from all causes including emergency events and extreme events

‘forced outages’ are outages on the prescribed network where less than 24 hours notification was given to affected customers and/or AEMO (except where AEMO reschedules the outage after notification has been provided)

Exclusions	outages on assets that are not providing prescribed transmission services

exclude from ‘fault outages’ and ‘forced outages’ any outages shown to be primarily caused or initiated by a fault or other event on a third party system —e.g. intertrip signal, generator outage, customer installation

exclude from ‘forced outages’ any planned outage that is rescheduled with less than 24 hours notice to affected customers and/or AEMO

exclude from ‘forced outages’ any outages caused by a direction from emergency services or AEMO

force majeure events

transient interruptions (less than one minute duration)

for the reactive plant sub-parameters only:

capacitor banks and reactors operating at less than 66kV

NOTE: the TNSP must provide a list to the AER each year of the events that the TNSP considers should be excluded from performance results, including reasons and how the event meets the relevant exclusion definition. The AER will exercise its discretion to reject the TNSP’s exclusion claims where insufficient justification has been provided.

Parameter 2		Loss of supply event frequency

Unit of measure	 	number of events per annum

Source of data		TNSP outage reports and system for circuit availability

Definition/formula	number of events greater than x system minutes per annum

number of events greater than y system minutes per annum

formula:

system minutes are calculated for each supply interruption by the “Load Integration Method” using the following formula:

System minute = Σ (MWh unsupplied x 60)

MW peak demand

where:

MWh unsupplied is the energy not supplied as determined by using NEM metering and substation load data. This data is used to estimate the profile of the load over the period of the interruption by reference to historical load data

period of the interruption starts when a loss of supply occurs and ends at the point at which supply restoration is offered to the customer. For supply outages resulting from an under-frequency event, the period of the interruption is capped at half an hour. This is done to include the impact of automatic under-frequency load shedding, but to exclude the impact of any market failure to respond and restore load within required timeframes

MW peak demand means the maximum amount of aggregated electricity demand recorded at entry points to the TNSP’s transmission network and interconnector connection points at any time previously

an interruption >y system minute also registers as a >x system minute event

interruptions affecting multiple connection points at exactly the same time are aggregated (i.e. system minutes are calculated by events rather than connection point interruptions)

the x system minute and y system minute thresholds are as follows:

| TNSP | x system minute | y system minute |
| --- | --- | --- |
| ElectraNet | 0.05 | 0.20 |
| Powerlink | 0.10 | 0.75 |
| SP AusNet | 0.05 | 0.30 |
| TransGrid | 0.05 | 0.25 |
| Transend | 0.10 | 1.00 |

Inclusions	all unplanned outages exceeding the specified impact (that is, x minutes and y minutes)

unplanned outages on all assets providing prescribed transmission service

unplanned outages from all causes including emergency events and extreme events

forced outages on the prescribed network where notification to affected customers and/or AEMO was less than 24 hours (except where AEMO reschedules the outage after notification has been provided).

Exclusions	outages on assets that are not providing prescribed transmission service

any unplanned outages shown to be primarily caused or initiated by a fault or other event on a third party system — e.g. intertrip signal, generator outage, customer installation

any unplanned outages caused by a direction from emergency services or AEMO

planned outages

transient interruptions (less than one minute duration)

interruptions of infrequent, occasional loads (such as pumping stations) where accurate estimate of load profiles is unreliable

force majeure events

NOTE: the TNSP must provide a list to the AER each year of the events that the TNSP considers should be excluded from performance results, including reasons and how the event meets the relevant exclusion definition. The AER will exercise its discretion to reject the TNSP’s exclusion claims where insufficient justification has been provided

Parameter 3		Average outage duration

Sub-parameter		average outage duration

Unit of measure		minutes

Source of data		TNSP outage reports and system

Definition/formula	formula:

Aggregate duration (in minutes) of all unplanned outages with a loss of supply

No. of events

definition: the cumulative summation of the outage duration time for the period, divided by the number of outage events where loss of supply occurred during the period

the start of each outage event starts when a loss of supply occurs and ends at the point at which supply restoration is offered to the customer

the impact of each event is capped at seven days

Inclusions	outages on assets that are providing prescribed transmission services

all forced and fault outages where a loss of supply occurs

fault outages includes outages from all causes including emergency events and extreme events

forced outages are outages on the prescribed network where less than 24 hours notification was given to affected customers and/or AEMO (except where AEMO reschedules the outage after notification has been provided)

Exclusions	outages on assets that are not providing prescribed transmission services

any unplanned outages shown to be primarily caused or initiated by a fault or other event on a third party system — e.g. intertrip signal, generator outage, customer installation

any unplanned outages caused by a direction from emergency services or AEMO

planned outages

transient interruptions (less than one minute duration)

force majeure events

NOTE: the TNSP must provide a list to the AER each year of the events that the TNSP considers should be excluded from performance results, including reasons and how the event meets the relevant exclusion definition. The AER will exercise its discretion to reject the TNSP’s exclusion claims where insufficient justification has been provided

Parameter 4		Proper operation of equipment

Sub-parameters	Failure of protection system

Material failure of the Supervisory Control and Data Acquisition (SCADA) system

Incorrect operational isolation of primary or secondary equipment

Unit of measure		number of events

Source of data	TNSP outage reports

TNSP compliance monitoring systems

AEMO reports

Definition/formula	Failure of protection system formula:

No. of protection system failure events per annum

where:

‘protection system failure events’ are those events where the relevant protection equipment does not operate for a fault event as designed or where the relevant equipment operates when there is no relevant fault event.

Material failure of the SCADA system formula:

No. of SCADA failures per annum

where:

‘SCADA failures’ are those events notified to the TNSP by AEMO on a monthly basis in the SCADA Minutes Lost report

Incorrect operational isolation of primary or secondary equipment formula:

No. of incorrect operational isolation events per annum

where:

‘incorrect operational isolation events’ are those events where primary or secondary equipment was not been properly isolated during scheduled or emergency maintenance, irrespective of whether an outage occurred as a result

Inclusions	‘protection equipment’ includes equipment designed to monitor or protect the function of primary equipment of the transmission system.  ‘Primary equipment’ includes overhead lines, underground cables, power transformers, phase shifting transformers, static var compensators, capacitor banks, and any other primary transmission equipment essential for the successful operation of the transmission system

The failure of one piece of protection or control equipment where there is a backup or duplicate protection or control equipment for the relevant element

Exclusions	protection equipment for those assets that are not providing prescribed transmission services

The failure of primary equipment, such as circuit breakers, to respond to signals sent by protection or control equipment

force majeure events

NOTE: the TNSP must provide a list to the AER each year of the events that the TNSP considers should be excluded from performance results, including reasons and how the event meets the relevant exclusion definition. The AER will exercise its discretion to reject the TNSP’s exclusion claims where insufficient justification has been provided.

        - Service component – performance incentive scheme parameters and definitions applicable to individual TNSPs

Part 1—Directlink

Parameter 1 	Average circuit outage rate

The standard definition applies with the following modifications:

- Replace the sub-parameters in the standard definition with the following sub-parameters:

circuit outage rate - fault

circuit outage rate – forced outage

Parameter 2 	Loss of supply event frequency

This parameter does not apply to Directlink.

Parameter 3	Average outage duration

This parameter does not apply to Directlink.

Parameter 4		Proper operation of equipment

The standard definition applies.

Part 2—Murraylink

Parameter 1 	Average circuit outage rate

The standard definition applies with the following modifications:

- Replace the sub-parameters in the standard definition with the following sub-parameters:

circuit outage rate - fault

circuit outage rate – forced outage

Parameter 2 	Loss of supply event frequency

This parameter does not apply to Murraylink.

Parameter 3	Average outage duration

This parameter does not apply to Murraylink.

Parameter 4		Proper operation of equipment

The standard definition applies.

        - Market impact component – performance incentive scheme parameter

Market impact parameter

Unit of measure: 	Number of dispatch intervals

Definition: 	The market impact parameter is the number of dispatch intervals where an outage on a TNSP’s network results in a network outage constraint with a marginal value greater than $10/MWh.

Where:

dispatch interval has the meaning set out in the NER.

network outage constraint is the change to the physical capability of the transmission network following the outage of transmission network equipment from service as identified by and recorded in the market systems.

the marginal value is published in the market systems and is an indication of the change, at the margin, in the cost of producing electricity sufficient to meet demand brought about by a particular network outage constraint.

Where there is more than one network outage constraint with a marginal value greater than $10/MWh in one dispatch interval, the market impact parameter counts the dispatch interval for each network outage constraint (that is, the same dispatch interval may be counted more than once).

To measure a TNSP’s performance against this market impact parameter, the AER will allocate each network outage constraint to the TNSP responsible for the constraint using:

- the Market Information on Planned Network Outages, which is published every month by AEMO based on information provided by the TNSPs as required under clause 3.7A of the NER, or

- the Network Outage Schedule, which is published by AEMO on its website based on information provided by the TNSPs or

- the description in the constraint set published by AEMO of why the constraint was invoked or

- where it is not clear from (1), (2) or (3), the published market management system data or other information provided by AEMO.

Where the information described in (1), (2), (3) or (4) indicates that more than one TNSP is responsible for a single network outage constraint (for example an outage affecting an interconnector), the number of dispatch intervals is apportioned equally between the TNSPs.

Exclusions

- force majeure events

- network constraints that are invoked to manage the reclassification of non-credible contingency events to credible contingency events as per sections 4.2.3A and 4.2.3B of the NER

- any unplanned outages shown to be primarily caused or initiated by a fault or other event on a third party system — e.g. intertrip signal, generator outage, customer installation

- outages on assets that are not providing prescribed transmission services

- outages for personal safety that are not related to the activity of owning or operating a transmission network

- outages that are only for the purpose of assisting with operational security, for example where a lower voltage parallel circuit is taken out of service to assist with transfers across an interconnector

- network constraints related to network support services in accordance with clause 5.6.2 of the NER

- dispatch intervals (for a network outage constraint) that are affected by:

- a manifestly incorrect input to the dispatch algorithm (as determined by AEMO under clause 3.9.2B of the NER)

- a constraint applied by AEMO that does not accurately reflect or is otherwise inconsistent with the network capability that the TNSP advised AEMO

- a scheduling error

- mandatory restrictions under clause 3.12A of the NER

- AEMO declaring the spot market suspended under clause 3.14.3 of the NER, or

- an administered price cap under clause 3.14.2 of the NER

- network constraints that are invoked to reflect a temporary network reconfiguration implemented by a TNSP to manage an outage. For the avoidance of doubt, the network reconfiguration may result in lower capability than during system normal but must be higher than what the capability of the network would have otherwise been during the outage. The TNSP must have notified the AER of such outage prior to the outage occurring for the exclusion to apply.

NOTE: the TNSP must provide a list to the AER each year of the events that the TNSP considers should be excluded from performance results, including reasons and how the event meets the relevant exclusion definition. The AER will exercise its discretion to reject the TNSP’s exclusion claims where insufficient justification has been provided.

        - Adjustments to allowed revenue

Calculating allowed revenue

The maximum allowed revenue (MAR) for each regulatory year of a regulatory control period is calculated in accordance with the NER and the TNSP’s transmission determination. The MAR includes any financial incentive adjustments resulting from the service target performance incentive scheme in the previous calendar year.

The MAR is calculated as follows:

MARt	                       = 	ARt + financial incentivect + other adjustments

where:           AR   = 	allowed revenue

ARt = 	ARt-1 *(1 +  CPI) *(1-Xt )

 CPI 	is the annual percentage change in the most recently published “Consumer Price Index All Groups, Weighted Average of Eight Capital Cities” as specified in the TNSP’s transmission determination

Xt	is the X factor specified in the TNSP’s transmission determination.

A TNSP’s financial incentive (see below) within a calendar year of a regulatory control period will impact upon the TNSP’s MAR in the immediately following financial year. As such, a six month lag exists between when a TNSP’s performance is measure, and when the financial incentive adjustment is made to the TNSP’s MAR.

The financial incentive

The financial incentive is calculated as follows:

financial incentivect	=	 (ARt−1+ARt−2)2×Sct

AR 	= 	allowed revenue (above)

S 	= 	total s-factor (below)

t 	= 	regulatory year

ct 	= 	calendar year (below)

The MAR values used to establish transmission charges each relevant financial year will be used to determine the financial incentive.

The service standards factor

The s-factor for each service component parameter is calculated by comparing a TNSP’s performance against its parameters and the values included in the TNSP’s transmission determination within a calendar year. See Appendix E for the calculation of the performance for average circuit outage rate and average outage duration parameters.

The market impact parameter s-factor is calculated by comparing the TNSP’s performance measure against its performance target. See Appendix F for the calculation of performance measure and performance target.

The network capability parameter s-factor for the first four regulatory years in the regulatory control period is 1.5. The network capability parameter s-factor for the final regulatory year in the regulatory control period is 1.5 minus the total value of any reductions made by the AER.

The maximum s-factor possible for each parameter applying to the TNSP under the service component of this scheme is the weighting of that parameter. The maximum s-factor possible for the parameter applying to a TNSP under the market impact component of this scheme is the maximum revenue increment specified in clause 4.3.

The total s-factor is the sum of the s-factors for each parameter. The total s-factor result cannot exceed the sum of the maximum revenue increment or decrement that the TNSP may earn under the service component, the market impact component and the network capability component.

Worked example

Assume that based on its performance between 1 January and 31 December 2017 a TNSP achieved an s-factor of -0.1 per cent under the service component, 0.9 per cent under the market impact component and 1.5 per cent under the network capability component. The total s-factor achieved by the TNSP is 2.30 per cent.

| Year | Total s-factor | AR |
| --- | --- | --- |
| 1 July 2016 |  | $100m |
| 1 January 2017 | 2.3% |  |
| 1 July 2017 |  | $110m |
| 1 January 2018 |  |  |

Calculating the financial incentive

The financial incentive for a total s-factor of 2.3 per cent is $2.42 million as shown

financial incentive2017 =	  (AR2017−18+AR2016−17)2×S2017

=	  (110+100)2×2.3%

=	  $2.42m

Calculating the allowed revenue

The financial incentive of $2.41 million for the 2017 calendar year would not affect the AR until the preceding financial year beginning 1 July 2018. Assuming no other adjustments were made in accordance with clauses 6A.3.1 and 6A.3.2 of the NER and the AR for the 2018–19 period is $120 million, the MAR for the 2018 regulatory year would be:

MAR2018 –19		=	AR2018–19	+	financial incentive2017

=	$120m 	+	$2.42m

=	$122.42m

Adjustments to the financial incentive formula

The financial incentive formula will be adjusted by the AER in the following circumstances.

Overlap between regulatory control periods

As noted above, a TNSP’s performance in a calendar year will not affect the MAR until the financial year commencing on 1 July in the following year. This means that a TNSP’s performance in the last year of its regulatory control period will affect its MAR in the following regulatory control period.

If, for example, a TNSP has a regulatory control period of five years, which runs between 1 July 2007 and 30 June 2012, its performance in the 2011 calendar year will affect its MAR in the first financial year of the next regulatory control period (that is, 2012–13). The TNSP’s MAR in the second financial year of the next regulatory control period (that is 2013–14) will be affected by its performance in the final six months of the last regulatory control period and the first six months of the next regulatory control period. The MAR in this financial year will be calculated by applying the following formula:

MAR 2013–14  = AR2013–14	+ financial incentive2012

Where:

financial incentive2012 = AR2011−122×S1Jan2012−30Jun2012+ AR2012−132×S1Jul2012−31Dec2012

Where performance is measured over part of a calendar year

Where a TNSP’s performance has not been measured under the scheme for a full calendar year, the AER will make a pro-rata adjustment to the AR to apply to the s-factor to calculate the financial incentive. For example this adjustment may be made where a new TNSP becomes subject to the scheme at the commencement of a financial year.

Adjustment for SP AusNet’s April to March financial year

SP AusNet’s regulatory year runs from 1 April to 31 March in the following year to correspond with the Singapore financial year. To account for this anomaly, there will a three-month lag between when SP AusNet’s performance is measured, and when the financial incentive adjustment is made to SP AusNet’s MAR. The financial incentive for SP AusNet is calculated as follows:

Financial incentivect	=	ARt−2×312+ARt−1×912×Sct

        - Service component - calculation of rolling average performance measures

The value of the performance measure (PM) for the average circuit outage rate parameter, and the average outage duration parameter is calculated based on the TNSP’s average performance over a rolling two calendar year period. Note that the PM may include performance in periods outside of the current regulatory control period.

E1. Worked example for the average circuit outage rate parameter:

PM (t) 		=  (Pt+Pt−1)2

Where:

t = year

PM = performance measure

P = No. of events (defined circuits unavailable) per annum x 100%

Total no. of defined circuits

E2. Worked example for the average outage duration parameter:

PM (t) 		=  (Pt+Pt−1)2

Where:

t = year

PM = performance measure

P = Aggregate duration (in minutes) of all unplanned outages with a loss of supply

No. of events

So for example in early 2015, a TNSP will submit its annual compliance review for 2014, (in this example t is 2014). The performance measures above will be based on 2014 and 2013 performance data.

        - Market impact component - calculation of the performance measure and performance target

The value of the performance measure (PM) for the market impact parameter is calculated based on the TNSP’s average performance over a rolling two calendar year period. Note that the PM may include performance in periods outside of the current regulatory control period.

The value of the performance target (PT) is calculated based on the TNSP’s average performance over a rolling three calendar year period as detailed below.

F1. Worked example:

PM (t) 		= (Pt+Pt−1)2

PT (t) 		= (Pt−1+Pt−2+Pt−3)3

Where:

t = year

PM = performance measure

PT = performance target

P = calendar year performance count calculated in accordance with Appendix C

So for example in early 2015, a TNSP will submit its annual compliance review for 2014, (in this example t is 2014). The performance measure will be based on 2014 and 2013 performance data and the performance target will be based on 2011, 2012 and 2013 performance data.

Market Impact Component Service Standard Factor

S-factor	 =0.02×1−minPMPT,1

Where:

PM = performance measure

PT = performance target

        - Definition of force majeure

For the purpose of applying the service target performance incentive scheme, force majeure event means any event, act or circumstance or combination of events, acts and circumstances which (despite the observance of good electricity industry practice) is beyond the reasonable control of the part affected by any such event, which may include, without limitation, the following:

- fire, lightning, explosion, flood, earthquake, storm, cyclone, action of the elements, riots, civil commotion, malicious damage, natural disaster, sabotage, act of a public enemy, act of God, war (declared or undeclared), blockage, revolution, radioactive contamination, toxic or dangerous chemical contamination or force of nature

- action or inaction by a court, government agency (including denial, refusal or failure to grant any authorisation, despite timely best endeavour to obtain same)

- strikes, lockouts, industrial and/or labour disputes and/or difficulties, work bans, blockades or picketing

- acts or omissions (other than failure to pay money) of a party other than the TNSP, which party either is connected to or uses the high voltage grid or is directly connected to or uses a system for the supply of electricity that in turn is connected to the high voltage grid

- where those acts or omissions affect the ability of the TNSP to perform its obligations under the service standard by virtue of that direct or indirect connection to or use of the high voltage grid.

In determining what force majeure events should be excluded, the AER will consider the following:

- was the event unforeseeable and its impact extraordinary, uncontrollable and not manageable?

- does the event occur frequently? If so, how did the impact of the particular event differ?

- could the TNSP, in practice, have prevented the impact (not necessarily the event itself)?

- could the TNSP have effectively reduced the impact of the event by adopting better practices?

The AER may refuse a force majeure exclusion claim if the TNSP fails to provide sufficient information to satisfy the AER that force majeure applies to an event.

The market impact component currently applies to TransGrid, Powerlink, ElectraNet and SP AusNet. It will apply to Murraylink at 1 July 2013, Transend at 1 July 2014 and Directlink at 1 July 2015.

Clause 6A.17.1(d)(4), Electricity Rules.

SP AusNet is only subject to a three month lag.