Murraylink

Transmission determination

2013–14 to 2017–18

April 2013

© Commonwealth of Australia 2013

This work is copyright. Apart from any use permitted by the Copyright Act 1968, no part may be reproduced without permission of the Australian Competition and Consumer Commission. Requests and inquiries concerning reproduction and rights should be addressed to the Director Publishing, Australian Competition and Consumer Commission, GPO Box 3131, Canberra ACT 2601.

Inquiries about these guidelines should be addressed to:

Australian Energy Regulator

GPO Box 520

Melbourne  Vic  3001

Tel: (03) 9290 1444

Fax: (03) 9290 1457

Email: AERInquiry@aer.gov.au

- Contents

Contents	3

Shortened forms	4

Summary	6

1	Revenue	8

2	Negotiating framework	13

3	Negotiated transmission service criteria	27

3.1	National Electricity Objective	27

3.2	Criteria for terms and conditions of access	27

3.3	Criteria for access charges	28

4	Pricing methodology	29

- Shortened forms

| Shortened form | Full title |
| --- | --- |
| AER | Australian Energy Regulator |
| ABS | Australian Bureau of Statistics |
| AWOTE | Average weekly ordinary time earnings |
| Capex | capital expenditure |
| CAPM | capital asset pricing model |
| CGS | Commonwealth government securities |
| CPI | consumer price index |
| DRP | debt risk premium |
| MAR | maximum allowed revenue |
| MRP | market risk premium |
| NEL | National Electricity Rules |
| NEM | National Electricity Market |
| NEO | National Electricity Objective |
| NTSC | negotiating transmission service criteria |
| Opex | operating expenditure |
| PTRM | post tax revenue model |
| RAB | regulatory asset base |
| RBA | Reserve Bank of Australia |
| STPIS | service target performance incentive scheme |
| TNSP | transmission network service provider |
| WACC | weighted average cost of capital |

Summary

Clause 6A.13.4 of the National Electricity Rules (NER) requires the Australian Energy Regulator (AER) to make a transmission determination for Murraylink. In accordance with clause 6A.2.2 of the NER, this transmission determination consists of:

a revenue determination for Murraylink in respect of the provision of prescribed transmission services

a determination relating to Murraylink’s negotiating framework

a determination that specifies the negotiated transmission service criteria that apply to Murraylink

a determination that specifies the pricing methodology that applies to Murraylink.

#### Revenue determination

In accordance with clause 6A.4.2(a) of the NER, the AER has made a revenue determination specifying the following matters applicable to Murraylink for the 2013–18 regulatory control period:

the method for calculating the total revenue cap and the amount of the estimated total revenue cap

annual building block revenue requirement for each regulatory year of the regulatory control period

the method of calculating the maximum allowed revenue (MAR) for each regulatory year of the regulatory control period

the method for indexation of the regulatory asset base (RAB)

performance incentive scheme parameter values

efficiency benefit sharing scheme parameter values

commencement and length of regulatory control period

other amounts, values and inputs used by the AER.

#### Negotiating framework

The NER requires certain transmission services (negotiated transmission services) to be provided on terms and conditions of access that are negotiated between the transmission network service provider (TNSP) and the service applicant.  Each TNSP is required to prepare a negotiating framework, which sets out the procedure to be followed during negotiations. The negotiating framework must comply, and be consistent, with:

the applicable requirements of a transmission determination applying to the provider

the minimum requirements for a negotiating framework, which are set out in clause 6A.9.5(c).

The document at part 2 of this transmission determination is the negotiating framework that the AER has determined will apply to Murraylink during the 2013–18 regulatory control period.

Murraylink may seek to amend or replace its negotiating framework only at the time of submitting its revenue proposal for the regulatory control period commencing 1 July 2018.

#### Negotiated transmission service criteria

Clause 6A.9.4 requires the AER to set out the criteria that apply to a TNSP in negotiating the provision of negotiated transmission services, specifically:

the terms and conditions of access for negotiated transmission services, including the prices that are to be charged

access charges that are negotiated by the provider during that regulatory control period.

The criteria must also be applied by a commercial arbitrator to resolve disputes about negotiated transmission services, specifically:

the terms and conditions of access for the negotiated transmission service, including the price that is to be charged for the provision of that service by the TNSP

access charges that are to be paid to, or by, the TNSP.

The AER has determined that the negotiated transmission service criteria at part 3 of this transmission determination apply to Murraylink for the 2013–18 regulatory control period.

#### Pricing methodology

The NER requires each TNSP to prepare a proposed pricing methodology. The pricing methodology must give effect to and be consistent with the pricing principles for prescribed transmission services, which are set out in rule 6A.23. It must also comply with the requirements of the AER’s pricing methodology guidelines.

The document at part 4 of this transmission determination is the pricing methodology that the AER has determined will apply to Murraylink for the 2013–18 regulatory control period.

# Revenue

Method for calculating total revenue cap

The value of Murraylink’s total revenue cap will be the sum of its maximum allowed revenues for each year of the 2013–18 regulatory control period. The AER determines an estimated total revenue cap of $67.5 million ($ nominal) for Murraylink for the 2013–18 regulatory control period.

Murraylink’s annual building block revenue requirement

The AER determines the annual building block revenue requirements for Murraylink as shown in Table 1.1.

Table 1.1	AER final determination on annual building block revenue requirements ($ million, nominal)

|  | 2013–14 | 2014–15 | 2015–16 | 2016–17 | 2017–18 | Total |
| --- | --- | --- | --- | --- | --- | --- |
| Return on capital | 8.0 | 8.1 | 8.1 | 8.2 | 8.1 | 40.5 |
| - Regulatory depreciation | 0.8 | 0.9 | 1.0 | 1.2 | 1.3 | 5.1 |
| - Operating expenditure | 3.9 | 4.0 | 4.1 | 4.3 | 4.6 | 20.8 |
| - Efficiency benefit sharing scheme (carryover amounts) | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| - Net tax allowance | 0.2 | 0.2 | 0.2 | 0.3 | 0.3 | 1.2 |
| - Annual building block revenue requirement (unsmoothed) | 12.9 | 13.2 | 13.5 | 13.9 | 14.3 | 67.7 |

Source: 	AER analysis.

Method of calculating Murraylink’s maximum allowed revenue

The AER has determined that the method of calculating Murraylink’s MAR for each year of the 
2013–18 regulatory control period will be the sum of its allowed revenue (AR) for that year and adjustments arising from the AER’s service target performance incentive scheme (STPIS) and any approved pass through amounts.

The AER determines Murraylink’s AR for 2013–14 is $13.2 million. The 2013–14 AR value may be adjusted for any service standards incentive rewards or penalties carried over from the 1 October 2003 to 30 June 2013 regulatory control period, as determined in accordance with the ACCC’s 2003 revenue cap decision for Murraylink.

- Murraylink’s AR for subsequent years of the 2013–18 regulatory control period requires an annual adjustment based on the previous year’s AR and is calculated using the CPI–X methodology:

ARt 	=	ARt-1 × (1 + ∆CPI) × (1 – Xt)

where:

AR	=	the allowed revenue

t	=	time period/financial year (for t = 2, 3, 4, 5)

∆CPI	=	the annual percentage change in the ABS consumer price index 					(CPI) all groups, weighted average of eight capital cities from March 				in year t – 2 to March in year t – 1

X	=	the smoothing factor of 1.2 per cent.

- The MAR is determined annually by adding to (or deducting from) the AR, the STPIS revenue increment or decrement, and any approved pass through amounts in accordance with clauses 6A.7.2 and 6A.7.3.

MARt	=	allowed revenue + performance incentive + pass through

=	ARt + + Pt

where:

MAR	=	the maximum allowed revenue

AR	=	the allowed revenue

S	=	the revenue increment or decrement determined in accordance with 				the service target performance incentive scheme

P	=	the pass through amount that the AER has determined in 					accordance with clauses 6A.7.2 and 6A.7.3 of the NER

t	=	time period/financial year (for t = 2, 3, 4, 5)

ct	=	time period/calendar year (for ct = 2, 3, 4, 5).

Table 1.2 sets out the timing of the annual calculation of the AR and performance incentive.

Table 1.2	Timing of the calculation of allowed revenues and the performance incentive

| t | Allowed revenue (financial year) | ct | Performance incentive (calendar year) |
| --- | --- | --- | --- |
| 2 | 1 July 2014–30 June 2015 | 2 | 1 January 2013–31 December 2013 |
| 3 | 1 July 2015–30 June 2016 | 3 | 1 January 2014–31 December 2014 |
| 4 | 1 July 2016–30 June 2017 | 4 | 1 January 2015–31 December 2015 |
| 5 | 1 July 2017–30 June 2018 | 5 | 1 January 2016–31 December 2016 |

- Based on this method, the AER’s forecast of Murraylink’s annual expected MAR for the 2013–18 regulatory control period (using a forecast CPI and without revenue increment or decrement in accordance with the STPIS and pass through amounts) is shown in Table 1.3.

Table 1.3	AER’s forecast of the annual expected maximum allowance revenue for Murraylink ($ million, nominal)

|  | 2013–14 | 2014–15 | 2015–16 | 2016–17 | 2017–18 | Total |
| --- | --- | --- | --- | --- | --- | --- |
| MAR (smoothed) | 13.2 | 13.3 | 13.5 | 13.7 | 13.8 | 67.5 |

Source: 	AER analysis.

Method for indexation of the regulatory asset base

- The AER has determined that the method for indexing Murraylink’s RAB for each year of the next regulatory control period will be the same as that used to escalate its AR for that relevant year—that is, to apply the annual percentage change in the most recently published Australian Bureau of Statistics’ (ABS) CPI all groups, weighted average of eight capital cities. For Murraylink, this will be the March quarter CPI. This method will be used to roll forward Murraylink’s RAB for the purposes of the AER’s transmission revenue determination for the regulatory control period commencing on 1 July 2018.

Performance incentive scheme parameters

The AER has determined the values for the performance targets, caps, collars and weightings for each of the parameters for the service component and market impact component of the STPIS applicable to Murraylink for the 2013–18 regulatory control period. These are shown in table 1.4 and table 1.5.

Table 1.4	Murraylink service component performance targets, caps, collars and weightings to apply for the 2013–18 regulatory control period

| - Service component parameters | Collar | Target | Cap | Weightings (per cent of MAR) |
| --- | --- | --- | --- | --- |
| Planned circuit availability (per cent) | 99.04 | 99.17 | 99.38 | 0.4 |
| Forced peak circuit availability (per cent) | 98.90 | 99.48 | 100.0 | 0.4 |
| Forced off–peak circuit availability (per cent) | 98.84 | 99.34 | 99.94 | 0.2 |

Source: 	AER analysis.

Table 1.5	Murraylink market impact component performance target, cap and weighting to apply for the 2013–18 regulatory control period

| Market impact component parameter | Collar | Target | Cap | Weighting (per cent of MAR) |
| --- | --- | --- | --- | --- |
| Market impact parameter (number of dispatch intervals) | n/a | 782.3 | 0 | 2.0 |

Efficiency benefit sharing scheme parameters

Murraylink will be subject to the efficiency benefit sharing scheme (EBSS) in the 2013–18 regulatory period. The carryover period will be five years. The AER has determined values for the EBSS parameters that are to apply to Murraylink in the 2013–18 regulatory control period, subject to adjustments required by the EBSS. These values are set out in Table 1.6.

Table 1.6	AER forecast opex for EBSS purposes ($ million, 2012–13)

|  | 2013–14 | 2014–15 | 2015–16 | 2016–17 | 2017–18 | Total |
| --- | --- | --- | --- | --- | --- | --- |
| Forecast opex for EBSS purposes | 2.7 | 2.7 | 2.7 | 2.7 | 2.9 | 13.8 |

Source: 	AER analysis.

Note: 	Forecast opex for EBSS purposes excludes forecast debt raising costs and connection charges as listed below.

The AER will not adjust the forecast opex used to calculate the EBSS carryover amounts for changes in demand over the 2013–18 regulatory control period.

- The AER will exclude the following cost categories from the EBSS for calculating EBSS carryovers:

debt raising costs

connection charges.

Commencement and length of regulatory control period

The regulatory control period will be five years, commencing on 1 July 2013 and ending on 30 June 2018.

Other amounts, values and inputs

The AER has also determined the following values that could not be determined before the submission of the revenue proposal or were required to be estimated, approved or otherwise determined by the AER but were not so estimated, approved or otherwise determined before the submission of the revenue proposal. These are shown in table 1.7.

Table 1.7	Other amounts, values and inputs (per cent)

| Parameter | Value |
| --- | --- |
| Nominal risk free rate | 3.52 |
| Inflation forecast | 2.50 |
| Debt risk premium | 3.17 |
| Effective tax rate | 25.91 |
| Cost of equity | 8.72 |
| Cost of debt | 6.69 |
| - Nominal vanilla WACC | 7.50 |

Source:	AER analysis.

# Negotiating framework

# Negotiated transmission service criteria

## National Electricity Objective

The terms and conditions of access for a negotiated transmission service, including the price that is to be charged for the provision of that service and any access charges, should promote the achievement of the national electricity objective.

## Criteria for terms and conditions of access

#### Terms and conditions of access

The terms and conditions of access for a negotiated transmission service must be fair, reasonable, and consistent with the safe and reliable operation of the power system in accordance with the NER.

The terms and conditions of access for negotiated transmission services, particularly any exclusions and limitations of liability and indemnities, must not be unreasonably onerous. Relevant considerations include the allocation of risk between the TNSP and the other party, the price for the negotiated transmission service and the cost to the TNSP of providing the negotiated service.

The terms and conditions of access for a negotiated transmission service must take into account the need for the service to be provided in a manner that does not adversely affect the safe and reliable operation of the power system in accordance with the NER.

#### Price of services

The price of a negotiated transmission service must reflect the cost that the TNSP has incurred or incurs in providing that service, and must be determined in accordance with the principles and policies set out in the Cost Allocation Methodology.

Subject to criteria 7 and 8, the price for a negotiated transmission service must be at least equal to the avoided cost of providing that service but no more than the cost of providing it on a stand alone basis.

If the negotiated transmission service is a shared transmission service that:

exceeds any network performance requirements which it is required to meet under any relevant electricity legislation; or

exceeds the network performance requirements set out in schedule 5.1a and 5.1 of the NER

- then the difference between the price for that service and the price for the shared transmission service which meets network performance requirements must reflect the TNSP’s incremental cost of providing that service (as appropriate).

For shared transmission services, the difference in price between a negotiated transmission service that does not meet or exceed network performance requirements and a service that meets those requirements should reflect the TNSP’s avoided costs. Schedule 5.1a and 5.1 of the NER or any relevant electricity legislation must be considered in determining whether any network service performance requirements have not been met or exceeded.

The price for a negotiated transmission service must be the same for all Transmission Network Users.  The exception is if there is a material difference in the costs of providing the negotiated transmission service to different Transmission Network Users or classes of Transmission Network Users.

The price for a negotiated transmission service must be subject to adjustment over time to the extent that the assets used to provide that service are subsequently used to provide services to another person. In such cases the adjustment must reflect the extent to which the costs of that asset are being recovered through charges to that other person.

The price for a negotiated transmission service must be such as to enable the TNSP to recover the efficient costs of complying with all regulatory obligations associated with the provision of the negotiated transmission service.

## Criteria for access charges

#### Access charges

Any access charges must be based on the costs reasonably incurred by the TNSP in providing transmission network user access. This includes the compensation for foregone revenue referred to in clause 5.4A(h) to (j) of the NER and the costs that are likely to be incurred by a person referred to in clause 5.4A(h).

# Pricing methodology

A TNSP must also adjust the Annual Service Revenue Requirement for under or over recovery amounts in accordance with clause 6A.23.3(c)(2)(iii).