

Draft determinations

and

Explanatory statement

F-factor amount determinations for 2013 fire start outcomes

for

Victorian electricity distribution network service providers

© Commonwealth of Australia 2014

This work is copyright. Apart from any use permitted by the Copyright Act 1968, no part may be reproduced without permission of the Australian Competition and Consumer Commission. Requests and inquiries concerning reproduction and rights should be addressed to the Director Publishing, Australian Competition and Consumer Commission, GPO Box 3131, Canberra ACT 2601.

1. Request for submissions
2. Interested parties are invited to make written submissions to the Australian Energy Regulator (AER) regarding this paper by the close of business Friday, 25 July 2014.
3. Submissions can be sent electronically to: [aerinquiry@aer.gov.au](mailto:aerinquiry@aer.gov.au)
4. Alternatively, submissions can be sent to:
5. Mr Chris Pattas
6. General Manager
7. Australian Energy Regulator
8. GPO Box 520
9. Melbourne VIC 3001
10. We prefer to publish all submissions to facilitate an informed and transparent consultation process. Submissions will be treated as public documents unless otherwise requested. Parties wishing to submit confidential information are requested to:

* clearly identify the information that is the subject of the confidentiality claim
* provide a non-confidential version of the submission in a form suitable for publication.

1. All non-confidential submissions will be placed on our website at <http://www.aer.gov.au>. For further information regarding the use and disclosure of information provided to us, see the *ACCC/AER information policy: the collection, use and disclosure of information*, October 2008 available on the AER’s website.
2. Enquires about this paper, or about lodging submissions, should be directed to our Network Operations and Development branch on (03) 9290 1470.
3. After consideration of stakeholders’ submissions, we will publish a final determination in accordance with the *f-factor scheme order 2011*.

Contents

[Request for submissions 3](#_Toc389145201)

[Contents 4](#_Toc389145202)

[Shortened forms 5](#_Toc389145203)

[1 Introduction 6](#_Toc389145204)

[1.1 Purpose of this paper 6](#_Toc389145205)

[2 Summary of this determination 7](#_Toc389145206)

[3 AER's process 8](#_Toc389145207)

[3.1 Collection of information from DNSPs - f-factor regulatory information notice (RIN) 8](#_Toc389145208)

[3.2 Public fire start reports 8](#_Toc389145209)

[4 Explanatory statement 9](#_Toc389145210)

[4.1 The f-factor scheme 9](#_Toc389145211)

[4.2 Rules for f-factor amount determinations 10](#_Toc389145212)

[4.3 The AER's basis and reasons for decision 10](#_Toc389145213)

[5 Proposed f-factor amount determinations 12](#_Toc389145214)

# Shortened forms

1. AER Australian Energy Regulator
2. DNSP Electricity Distribution Network Service Provider
3. NER National Electricity Rules
4. NEVA National Electricity (Victoria) Act 2005
5. the Order f-factor scheme order 2011

# Introduction

1. On 24 June 2010, the Victorian Parliament passed the Energy and Resources Legislation Amendment Act 2010. The Act amended the National Electricity (Victoria) Act 2005 (the NEVA) to introduce an 'f-factor scheme'. Subsequently, the Victorian Government published the f-factor scheme order 2011 (the Order) on 23 June 2011 under the NEVA. The scheme provides incentives for Distribution Network Service Providers (DNSPs) to reduce the risk of fire starts due to electricity infrastructure, and to reduce the risk of loss or damage caused by fire starts.[[1]](#footnote-1) The Order prescribes that, for the first four years of the scheme (2012-15), DNSPs will be either rewarded or penalised at the pre-determined incentive rate of $25,000 per fire for performing better or worse than their respective targets.
2. The Order requires the AER to set the fire start targets for 2012-15 on the basis of a historical average and to determine the annual reward/penalty amounts for this period, at the rate of $25,000 per fire.
3. On 22 December 2011, we made our f-factor scheme final determination. This set the fire start benchmark target for each Victorian DNSP. As required by the Order, the targets were based on the average of historical fire starts of each DNSP over the five previous calendar years—that is, the average of 2006-10.[[2]](#footnote-2)
4. The Order also requires us to publish a draft "f-factor amount determination" for consultation before determining the final reward or penalty amounts each year.[[3]](#footnote-3)

## Purpose of this paper

1. This paper sets out our draft proposal for the f-factor amount determinations for the fires caused by DNSPs’ network assets during the 2013 calendar year, as well as providing an explanatory statement as required by clause 14(2) of the Order. This paper also sets out our:

* process in making these f-factor amount determinations
* considerations and reasons for making these determinations
* draft f-factor scheme determinations for each of the five Victorian DNSPs.

1. We seek stakeholders' comments and submissions to the draft determinations. Page 3 contains the details of how to make a submission.

# Summary of this determination

1. Based on independently audited reports from DNSPs, we propose the following financial penalties/rewards, as shown on Tables 2.1 and 2.2. This is based on the incentive rate of $25,000 per fires more/less than the relevant benchmark targets. These tables also show the historical trend of the fire starts reported by the DNSPs.
2. The f-factor is an incentive scheme. DNSPs can only retain their rewards for sustained and continuous improvements. Since the next set of benchmark fire-start targets will be based on the averages of the current performance, once improvement is made, the fire-start targets will be tightened in future years.
3. We note that Jemena and Powercor reported significant increases in fire starts in 2013 from 2012, which were significantly above their benchmark targets. Both DNSPs attributed the increase to higher number of pole and pole top fires.[[4]](#footnote-4) United Energy also reported increase in fire starts in 2013 to just above the target level. SP AusNet reported a similar number of fire starts as 2012, which was about 30 per cent below the target level.

Table 2.1: F-factor pass through amount for 2013 fire start results

|  |  |  |
| --- | --- | --- |
| DNSP | Pass through amount ($) | Approximate charge ($) per customer p.a. |
| CitiPower | (65,000) | (0.21) |
| Powercor | (2,405,000) | (3.27) |
| Jemena | (855,000) | (2.77) |
| SP AusNet | 2,020,000 | 3.11 |
| United Energy | (70,000) | (0.11) |

Note: Numbers in brackets represent negative numbers, indicating penalty for exceeding the relevant fire start target.

Source: DNSPs' reported fire starts and the AER's f-factor determination

Table 2.2: Fire starts in 2013 compared with fire starts of 2012 and benchmark targets

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DNSP** | **Benchmark target** | **No of fire starts in 2012** | **2013 fire starts** | | | |
| **No of fire starts** | **Change from 2012 in fire starts** | **Change from 2012 (in %)** | **Percentage change from target** |
| CitiPower | 30.4 | 30 | **33** | 3 | 10% | 9% |
| Powercor | 401.8 | 303 | **498** | 195 | 64% | 24% |
| Jemena | 56.8 | 42 | **91** | 49 | 117% | 60% |
| SP AusNet | 256.8 | 178 | **176** | -2 | -1% | -31% |
| United Energy | 124.2 | 85 | **127** | 42 | 49% | 2% |

1. Source: AER

# AER's process

We undertook the following steps to obtain the relevant information for making the proposed f-factor amount determinations for each of the five Victorian DNSPs and to provide relevant information to the public. In summary we exercised:

* our formal information gathering powers through issuing f-factor regulatory information notices (RINs) to collect the necessary information required from the DNSPs for these determinations;
* our additional power under the Order to direct DNSPs to provide public fire start reports for publication on our website. This provides stakeholders with additional information on the fire starts.[[5]](#footnote-5)

## Collection of information from DNSPs - f-factor regulatory information notice (RIN)

1. The RIN is our formal information collection tool under the National Electricity Law. The information provided by the DNSPs under a RIN are independently audited and signed by an authorised company officer under a statutory declaration.
2. We issued a fire start reporting RIN to each DNSP in November 2012. In accordance with this RIN, the DNSPs provided their fire start information for 2013. The attached draft determinations are based on the information provided under the RINs.

## Public fire start reports

1. Clause 5(1) of the Order gives us power to request DNSPs to provide public fire start reports for publication on our website. In August 2012, we requested DNSPs to prepare fire start reports that include:

* a table of all fires––showing, in each case, the kind of fire start, date, time, geographic location of the fire and whether the fire was reported to a relevant entity as per the RIN requirement
* additional summary (aggregate) tables showing the percentage and actual number of the fire starts in the following categories to help the public in understanding the context of fire starts each year:
* Fire Hazard Rating assigned by the Country Fire Authority or Melbourne Fire Brigade under section 80 of the Electricity Safety Act 1998 (Vic)
* element of the network that caused the fire, such as equipment type, feeder classification and voltage level.

1. These reports are published on our website at <http://www.aer.gov.au/node/20258>.

# Explanatory statement

The Order requires that we publish an explanatory statement to explain the provisions of the f-factor scheme, the relevant rules requirements and our reasons for making this draft determination.

## The f-factor scheme

1. The f-factor scheme is intended to provide a financial incentive for DNSPs to reduce the number of fire starts in their distribution networks. For the first four years (2012–15), DNSPs will be either rewarded or penalised at the incentive rate of $25,000 per fire for performing better or worse than their respective fire start targets.
2. After the first period, the AER may vary the incentive rates and mechanism of the scheme, such as applying different targets for different parts of the network.
3. The following sections explain how the financial rewards and penalties arising from the f-factor scheme will be applied.
4. Revenue adjustment mechanism under the f-factor scheme
5. Clause 7(2) of the Order specifies that, based on the actual fire starts in comparison with the target number of fire starts each year (t-2), the f-factor scheme shall result in adjustments to DNSPs’ revenue for year (t)––that is two years later. Hence, the revenue adjustment will start from 2014 based on the actual outcome of 2012. The adjustment will be in the form of:



where the distribution system is made up of q parts and–

* + 1. Revenue adjustmentt,n is the adjustment to the revenue for Distribution Network Service Provider n for regulatory year t.
    2. Incentive ratet-2,n,m is the incentive rate for part m of distribution system n for regulatory year t-2, determined in accordance with clause 10 or 11 as the case may be.
    3. Target no. of firest-2,n,m is the fire start target for regulatory year t-2 for part m of distribution system n, determined in accordance with clause 8.

The targets for each DNSP for 2012-15 are the respective average of the fire starts during the five year period (2006-10).

* + 1. Number of firest-2,n,m is the number of fire starts in relation to part m of distribution system n that occurred in regulatory year t–2, determined in accordance with clause 9.

## Rules for f-factor amount determinations

1. Clause 12 of the Order requires us to make: [[6]](#footnote-6)

* an f-factor amount determination with respect to the proposed reward/penalty amounts proposed to be passed through in the regulatory years that commence on 1 January 2014 and 1 January 2015.
* an f-factor amount determination no later than 30 September in the regulatory year prior to the regulatory year in which the amount is proposed to be passed through.

1. The amount must be determined in accordance with the following formula.[[7]](#footnote-7)
2. 

Where,

(a) Pass through amountt,n is the amount for Distribution Network Service Provider n for regulatory year t which may (but does not have to) be expressed as a percentage adjustment to the revenue of the Distribution Network Service Provider;

(b) Incentive ratet-2 is $25,000;

(c) Target no. of firest-2,n is the fire start benchmark for regulatory year t-2 for distribution system n, determined in accordance with clause 8; and

(d) Number of firest-2,n is the number of fire starts in relation to distribution system n that occurred in regulatory year t–2, determined in accordance with clause 9.

## The AER's basis and reasons for decision

1. We applied the fire start information provided under the RINs as the basis for our decision because this is the best information available to us, which has been independently audited. The f-factor amount determinations are calculated using the relevant formula specified by the Order.

Consultation procedures

1. The Order requires that, the AER must follow the distribution consultation procedures set out in rule 6.16 of the NER in determining the f-factor pass through amounts and must invite written submissions from:[[8]](#footnote-8)

the relevant DNSPs,

the Minister,

the Secretary to the Department of Sustainability and Environment (DSE) [now the Department of Environment and Primary Industries],

Energy Safe Victoria (ESV),

the Country Fire Authority (CFA), and

the Metropolitan Fire and Emergency Service Board (MFB)

1. We will send specific invitations to these organisations to seek their comments on these draft determinations.

# Proposed f-factor amount determinations

1. Under clause 12 of the Order, we must make f-factor revenue adjustment determinations in relation to:

* CitiPower Pty Ltd ABN 76 064 651 056 (CitiPower)
* Jemena Electricity Networks (Vic) Ltd ABN 82 064 651 083 (Jemena)
* Powercor Australia Ltd ABN 89 064 651 109 (Powercor)
* SPI Electricity Ptd Ltd ABN 91 064 651 118 (SP AusNet)
* United Energy Ptd Limited ABN 70 064 651 029 (United Energy).

1. We have followed the method specified by the Order for calculating the pass through amounts. We first calculated the difference between the reported fire starts and the relevant targets. The incentive rate of $25,000 was then applied to these differences. The AER's calculation results are presented in Table 5.1.
2. We propose that the pass through amount for each DNSP be as shown in Table 5.1. The DNSPs’ annual allowable revenues for 2015 will be adjusted by the relevant pass-through amounts. If the amounts are confirmed in the final determinations, the adjustments will range from a $2.4 million penalty for Powercor to a $2.0 million reward for SP AusNet. As a result, there will be a small change in network tariffs for 2015.

Table . Pass through amount calculation

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| DNSP | Fire start target determined by the AER[[9]](#footnote-9) | DNSPs' reported number of fire starts for 2013[[10]](#footnote-10) | Difference between target and reported number of fire starts[[11]](#footnote-11) | Incentive rate ($) | Pass through amount ($) | Approximate charge ($) per customer p.a. |
| CitiPower | 30.4 | 33 | (2.6) | 25,000 | (65,000) | (0.21) |
| Powercor | 401.8 | 498 | (96.2) | 25,000 | (2,405,000) | (3.27) |
| Jemena | 56.8 | 91 | (34.2) | 25,000 | (855,000) | (2.77) |
| SP AusNet | 256.8 | 176 | 80.8 | 25,000 | 2,020,000 | 3.11 |
| United Energy | 124.2 | 127 | (2.8) | 25,000 | (70,000) | (0.11) |

Note: Numbers in brackets represent negative numbers, indicating penalty for exceeding the relevant fire start target.

Source: DNSPs' reported fire starts and the AER's f-factor determination

1. Energy and Resources Legislation Amendment Bill 2010, Explanatory Memorandum, p.10. [↑](#footnote-ref-1)
2. Under cl.8 of the Order [↑](#footnote-ref-2)
3. Under cl.12 of the Order [↑](#footnote-ref-3)
4. Public fire start reports by Jemena and Powercor. [↑](#footnote-ref-4)
5. The public fire start reports are based on the RIN reports with additional summary tables that can be easily produced through automated spreadsheet process. We do not consider this a material regulatory burden for the DNSPs. We also consider that these reports have significant value to the public and the publication of such reports is the intent of the Order. [↑](#footnote-ref-5)
6. Cl.12, f-factor Order [↑](#footnote-ref-6)
7. Cl.13, f-factor Order [↑](#footnote-ref-7)
8. Cl.14(2), f-factor Order [↑](#footnote-ref-8)
9. More information about the AER's December 2011 determination of the DNSPs' fire start targets is available in its final f-factor scheme determination <http://www.aer.gov.au/node/13069> [↑](#footnote-ref-9)
10. Details of these fires are available at <http://www.aer.gov.au/node/20258> [↑](#footnote-ref-10)
11. A positive result means that performance was better than the target; a negative result means performance was worse than the target [↑](#footnote-ref-11)