## Cover
Attachment 9.1.1
Incenta
Replacement of low pressure mains
SA Final Plan July 2021 – June 2026
July 2020

## DORC proposal
DORC TOTAL
#DIV/0!
|  |  |  | Replacement Cost ($000,s) |  |  |  |  | DORC Cost ($000,s)
| Adelaide & Barossa Valley |  |  | 1004805.6919 |  |  |  |  | 773483.5316
| Regional Areas |  |  | 51571.8227 |  |  |  |  | 40210.6857
| Total DORC |  |  | 1056377.5147 |  |  |  |  | 813694.2173
| Mains | Length (kms) | Weighted Average Replacement Cost ($/mtr) | Replacement Cost ($000's) | Average Age (years) | Estimated Useful Life (years) | Residual Value (years) | Residual Value | DORC Value ($000,s)
| PROTECTED STEEL | [8 empty] | 1
| Low Pressure Protected Steel | [8 empty] | 2
| Adelaide & Barossa Valley | 75.44 | 81.35 | 6137.044 | 19.23 | 130 | 5 | 3.85% | 5229.2336 | 3
| Regional Areas | 45.62 | 75.465 | 3442.7133 | 33.77 | 130 | 5 | 3.85% | 2548.4023 | 4
| Total Low Pressure Protected Steel | 121.06 | 79.1323 | 9579.7573 | 24.7092 | 130 | 5 | 3.85% | 7777.6359 | 5
6
| Medium Pressure Protected Steel | [8 empty] | 7
| Adelaide & Barossa Valley | 394.11 | 126.803 | 49974.3303 | 17 | 130 | 5 | 3.85% | 43439.2256 | 8
| Regional Areas | 67.66 | 94.845 | 6417.2127 | 19.85 | 130 | 5 | 3.85% | 5437.3537 | 9
| Total Medium Pressure Protected Steel | 461.77 | 122.1204 | 56391.543 | 17.4176 | 130 | 5 | 3.85% | 48876.5793 | 10
11
| High Pressure Protected Steel | [8 empty] | 12
| Adelaide & Barossa Valley | 973.83 | 108.251 | 105418.0713 | 22 | 130 | 5 | 3.85% | 87578.09 | 13
| Regional Areas | 75.45 | 103.765 | 7829.0693 | 21.37 | 130 | 5 | 3.85% | 6542.0907 | 14
| Total High Pressure Protected Steel | 1049.28 | 107.9284 | 113247.1406 | 21.9547 | 130 | 5 | 3.85% | 94120.1807 | 15
16
| Transmission Pressure Protected Steel | [8 empty] | 17
| Adelaide & Barossa Valley | 168.466 | 380.815 | 64154.3798 | 23 | 130 | 5 | 3.85% | 52803.9895 | 18
| Regional Areas | 4.85 | 269.845 | 1308.7483 | 31 | 60 | 3.5 | 5.83% | 632.5617 | 19
| Total Transmission Pressure Protected Steel | 173.316 | 377.7097 | 65463.128 | 23.2239 | 128.0412 | 4.958 | 3.905% | 53436.5512 | 20
21
| TOTAL PROTECTED STEEL MAINS | 1805.426 | 135.5257 | 244681.569 | 21.1008 | 130 | 4.996 | 3.855% | 204210.9471 | 22
23
| UNPROTECTED STEEL | [8 empty] | 24
| Low Pressure Unprotected Steel | [8 empty] | 25
| Adelaide & Barossa Valley | 216.42 | 81.625 | 17665.2825 | 47.23 | 65 | 32 | 49% | 11118.9908 | 26
| Regional Areas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27
| Total Low Pressure Unprotected Steel | 216.42 | 81.625 | 17665.2825 | 47.23 | 65 | 32 | 49% | 11118.9908 | 28
29
| Medium Pressure Unprotected Steel | [8 empty] | 30
| Adelaide & Barossa Valley | 20.32 | 127.2 | 2584.704 | 45 | 65 | 32 | 49% | 1672.1047 | 31
| Regional Areas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32
| Total Medium Pressure Unprotected Steel | 20.32 | 127.2 | 2584.704 | 45 | 65 | 32 | 49% | 1672.1047 | 33
34
| High Pressure Unprotected Steel | [8 empty] | 35
| Adelaide & Barossa Valley | 104.02 | 108.24 | 11259.1248 | 48.13 | 65 | 32 | 49% | 7007.2809 | 36
| Regional Areas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37
| Total High Pressure Unprotected Steel | 104.02 | 108.24 | 11259.1248 | 48.13 | 65 | 32 | 49% | 7007.2809 | 38
39
| TOTAL UNPROTECTED STEEL MAINS | 340.76 | 92.4672 | 31509.1113 | 47.3718 | 65 | 32 | 49% | 19798.3764 | 40
41
| POLYETHYLENE | [8 empty] | 42
| Low Pressure Polyethylene | [8 empty] | 43
| Adelaide & Barossa Valley | 693.31 | 103.181 | 71536.4191 | 14.78 | 70 | 5 | 7.14% | 56432.0152 | 44
| Regional Areas | 29.99 | 108.255 | 3246.5674 | 12.73 | 70 | 5 | 7.14% | 2656.156 | 45
| Total Low Pressure Polyethylene | 723.3 | 103.3914 | 74782.9866 | 14.695 | 70 | 5 | 7.14% | 59088.1712 | 46
47
| Medium Pressure Polyethylene | [8 empty] | 48
| Adelaide & Barossa Valley | 692.36 | 74.095 | 51300.4142 | 12.23 | 70 | 5 | 7.14% | 42337.499 | 49
| Regional Areas | 19.72 | 77.4 | 1526.328 | 9.26 | 70 | 5 | 7.14% | 1324.4166 | 50
| Total Medium Pressure Polyethylene | 712.08 | 74.1865 | 52826.7422 | 12.1478 | 70 | 5 | 7.14% | 43661.9156 | 51
52
| High Pressure Polyethylene | [8 empty] | 53
| Adelaide & Barossa Valley | 853.97 | 68.679 | 58649.8056 | 8.58 | 70 | 5 | 7.14% | 51461.0152 | 54
| Regional Areas | 85.23 | 67.37 | 5741.9451 | 12.01 | 70 | 5 | 7.14% | 4756.7914 | 55
| Total High Pressure Polyethylene | 939.2 | 68.5602 | 64391.7507 | 8.8913 | 70 | 5 | 7.14% | 56217.8065 | 56
57
| TOTAL POLYETHYLENE MAINS | 2374.58 | 80.857 | 192001.4795 | 11.6356 | 70 | 5 | 7.14% | 158967.8933 | 58
59
| CAST IRON DIRECT BURIAL | [8 empty] | 60
| Low Pressure Cast Iron Direct Burial | [8 empty] | 61
| Adelaide & Barossa Valley | 126.77 | 116.49 | 14767.4373 | 41.0903 | 85 | 5.1 | 6% | 8056.9602 | 62
| Regional Areas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 63
| Total Low Pressure Cast Iron Direct Burial | 126.77 | 116.49 | 14767.4373 | 41.0903 | 85 | 5.1 | 6% | 8056.9602 | 64
65
| Medium Pressure Cast Iron Direct Burial | [8 empty] | 66
| Adelaide & Barossa Valley | 24.77 | 221.5 | 5486.555 | 61.4571 | 85 | 5.1 | 6% | 1757.6525 | 67
| Regional Areas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 68
| Total Medium Pressure Cast Iron Direct Burial | 24.77 | 221.5 | 5486.555 | 61.4571 | 85 | 5.1 | 6% | 1757.6525 | 69
70
| High Pressure Cast Iron Direct Burial | [8 empty] | 71
| Adelaide & Barossa Valley | 0.35 | 216.107 | 75.6375 | 20.3545 | 85 | 5.1 | 6% | 58.6117 | 72
| Regional Areas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 73
| Total High Pressure Cast Iron Direct Burial | 0.35 | 216.107 | 75.6375 | 20.3545 | 85 | 5.1 | 6% | 58.6117 | 74
75
| TOTAL CAST IRON DIRECT BURIAL MAINS | 151.89 | 133.8444 | 20329.6298 | 44.3639 | 85 | 5.1 | 6% | 9873.2245 | 76
77
| CAST IRON INSERTION | [8 empty] | 78
| Low Pressure Cast Iron Insertion | [8 empty] | 79
| Adelaide & Barossa Valley | 2032.06 | 68.0995 | 138382.27 | 41.0903 | 85 | 41.65 | 49% | 104265.2544 | 80
| Regional Areas | 35.56 | 67.615 | 2404.3894 | 34.43 | 85 | 58.65 | 69% | 2102.4745 | 81
| Total Low Pressure Cast Iron Insertion | 2067.62 | 68.0912 | 140786.6594 | 40.9758 | 85 | 41.9424 | 49.34% | 106367.7289 | 82
83
| Medium Pressure Cast Iron Insertion | [8 empty] | 84
| Adelaide & Barossa Valley | 99.73 | 65.07 | 6489.4311 | 61.4571 | 85 | 41.65 | 49% | 4096.4998 | 85
| Regional Areas | 0.27 | 69.49 | 18.7623 | 39 | 85 | 58.65 | 69% | 16.0936 | 86
| Total Medium Pressure Cast Iron Insertion | 100 | 65.0819 | 6508.1934 | 61.3965 | 85 | 41.6959 | 49.05% | 4112.5934 | 87
88
| High Pressure Cast Iron Insertion | [8 empty] | 89
| Adelaide & Barossa Valley | 0.47 | 64.7476 | 30.4314 | 20.3545 | 85 | 41.65 | 49% | 26.7149 | 90
| Regional Areas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 91
| Total High Pressure Cast Iron Insertion | 0.47 | 64.7476 | 30.4314 | 20.3545 | 85 | 41.65 | 49% | 26.7149 | 92
93
| TOTAL CAST IRON INSERTED MAINS | 2168.09 | 67.9516 | 147325.2841 | 41.9132 | 85 | 42 | 49.33% | 110507.0372 | 94
95
[8 empty] | #DIV/0! |  | 96
| Total Mains | Length (kms) |  | Replacement Cost ($000's) |  |  |  |  | DORC Value ($000,s) | 97
98
| Adelaide & Barossa Valley | 6476.396 |  | 603911.3379 |  |  |  |  | 477341.1379 | 99
| Regional Areas | 364.35 |  | 31935.7357 |  |  |  |  | 26016.3404 | 100
| TOTAL MAINS | 6840.746 |  | 635847.0737 |  |  |  |  | 503357.4783 | 101
102
103
| Inlets | Number of Inlets | Replacement Cost Per Inlet | Replacement Cost ($000's) | Average Age (years) | Estimated Useful Life (years) | Residual Value (years) | Residual Value | DORC Value ($000,s) | 104
105
| LOW PRESSURE | [8 empty] | 106
| Domestic | [8 empty] | 107
| Steel | [8 empty] | 108
| Adelaide & Barossa Valley | 15385 | 954 | 14677.29 | 37.58 | 125 | 5 | 4% | 10264.7095 | 109 | 1
| Regional Areas | 1562 | 954 | 1490.148 | 32.65 | 125 | 5 | 4% | 1100.9213 | 110 | 2
| Cast Iron | [8 empty] | 111 | 3
| Adelaide & Barossa Valley | 113800 | 954 | 108565.2 | 39.86 | 65 | 44.2 | 68% | 87261.0332 | 112 | 4
| Regional Areas | 1257 | 954 | 1199.178 | 31.66 | 70 | 5 | 7.143% | 656.8069 | 113 | 5
| Polyethylene | [8 empty] | 114 | 6
| Adelaide & Barossa Valley | 36547 | 954 | 34865.838 | 13.753 | 70 | 5 | 7.143% | 28015.697 | 115 | 7
| Regional Areas | 1036 | 954 | 988.344 | 11.95 | 65 | 44.2 | 68% | 806.6408 | 116 | 8
| Total Low Pressure Domestic Inlets | 169587 | 954 | 161785.998 | 33.7293 | 72.1105 | 31.5443 | 48.04% | 128105.8088 | 117 | 9
[10 empty] | 118 | 10
| Commercial | [8 empty] | 119 | 11
| Steel | [8 empty] | 120 | 12
| Adelaide & Barossa Valley | 344 | 2000 | 688 | 37.8 | 125 | 5 | 4% | 479.9488 | 121 | 13
| Regional Areas | 83 | 2000 | 166 | 33 | 125 | 5 | 4% | 122.176 | 122 | 14
| Cast Iron | [8 empty] | 123 | 15
| Adelaide & Barossa Valley | 2544 | 2000 | 5088 | 39.93 | 65 | 44.2 | 68% | 4087.8088 | 124 | 16
| Regional Areas | 49 | 2000 | 98 | 36 | 70 | 5 | 7.143% | 47.6 | 125 | 17
| Polyethylene | [8 empty] | 126 | 18
| Adelaide & Barossa Valley | 817 | 2000 | 1634 | 13.78 | 70 | 5 | 7.143% | 1312.3354 | 127 | 19
| Regional Areas | 52 | 2000 | 104 | 13.4 | 65 | 44.2 | 68% | 82.56 | 128 | 20
| Total Low Pressure Commercial Inlets | 3889 | 2000 | 7778 | 33.6959 | 72.7012 | 31.1669 | 47.42% | 6132.429 | 129 | 21
[10 empty] | 130 | 22
| Industrial | [8 empty] | 131 | 23
| Steel | [8 empty] | 132 | 24
| Adelaide & Barossa Valley | 52 | 5000 | 260 | 37 | 125 | 5 | 4% | 183.04 | 133 | 25
| Regional Areas | 19 | 5000 | 95 | 31 | 125 | 5 | 4% | 71.44 | 134 | 26
| Cast Iron | [8 empty] | 135 | 27
| Adelaide & Barossa Valley | 0 | 5000 | 0 | 0 | 65 | 44.2 | 68% | 0 | 136 | 28
| Regional Areas | 0 | 5000 | 0 |  | 70 | 5 | 7.143% | 0 | 137 | 29
| Polyethylene | [8 empty] | 138 | 30
| Adelaide & Barossa Valley | 125 | 5000 | 625 | 14 | 70 | 5 | 7.143% | 500 | 139 | 31
| Regional Areas | 13 | 5000 | 65 | 12 | 65 | 44.2 | 68% | 53 | 140 | 32
| Total Low Pressure Industrial Inlets | 209 | 5000 | 1045 | 21.1435 | 88.3732 | 7.4383 | 9.861% | 807.48 | 141 | 33
[10 empty] | 142 | 34
| Medium Volume | [8 empty] | 143 | 35
| Steel | [8 empty] | 144 | 36
| Adelaide & Barossa Valley | 2 | 15000 | 30 | 35 | 125 | 5 | 4% | 21.6 | 145 | 37
| Regional Areas | 0 | 15000 | 0 | 0 | 125 | 5 | 4% | 0 | 146 | 38
| Cast Iron | [8 empty] | 147 | 39
| Adelaide & Barossa Valley | 0 | 15000 | 0 | 0 | 65 | 44.2 | 68% | 0 | 148 | 40
| Regional Areas | 0 | 15000 | 0 | 0 | 70 | 5 | 7.143% | 0 | 149 | 41
| Polyethylene | [8 empty] | 150 | 42
| Adelaide & Barossa Valley | 5 | 15000 | 75 | 15 | 70 | 5 | 7.143% | 58.9286 | 151 | 43
| Regional Areas | 0 | 15000 | 0 | 0 | 65 | 44.2 | 68% | 0 | 152 | 44
| Total Low Pressure Medium Volume Inlets | 7 | 15000 | 105 | 20.7143 | 85.7143 | 5 | 6.245% | 80.5286 | 153 | 45
[10 empty] | 154 | 46
| MIP | [8 empty] | 155 | 47
| Steel | [8 empty] | 156 | 48
| Adelaide & Barossa Valley | 0 | 30000 | 0 | 0 | 125 | 5 | 4% | 0 | 157 | 49
| Regional Areas | 0 | 30000 | 0 | 0 | 125 | 5 | 4% | 0 | 158 | 50
| Cast Iron | [8 empty] | 159 | 51
| Adelaide & Barossa Valley | 0 | 30000 | 0 | 0 | 65 | 44.2 | 68% | 0 | 160 | 52
| Regional Areas | 0 | 30000 | 0 | 0 | 70 | 5 | 7.143% | 0 | 161 | 53
| Polyethylene | [8 empty] | 162 | 54
| Adelaide & Barossa Valley | 0 | 30000 | 0 | 0 | 70 | 5 | 7.143% | 0 | 163 | 55
| Regional Areas | 0 | 30000 | 0 | 0 | 65 | 44.2 | 68% | 0 | 164 | 56
| Total Low Pressure MIP Inlets | 0 | 30000 | 0 | 0 | 0 | 0 | 0% | 0 | 165 | 57
[10 empty] | 166 | 58
| TOTAL LOW PRESSURE INLETS | 173692 | 982.8547 | 170713.998 | 33.7128 | 72.1438 | 31.5058 | 47.98% | 135126.2464 | 167 | 59
[10 empty] | 168 | 60
| MEDIUM PRESSURE | [8 empty] | 169 | 61
| Domestic | [8 empty] | 170 | 62
| Steel | [8 empty] | 171 | 63
| Adelaide & Barossa Valley | 18774 | 954 | 17910.396 | 17.27 | 125 | 5 | 4% | 15435.8957 | 172 | 64
| Regional Areas | 2967 | 954 | 2830.518 | 19.5 | 125 | 5 | 4% | 2388.9572 | 173 | 65
| Cast Iron | [8 empty] | 174 | 66
| Adelaide & Barossa Valley | 5640 | 954 | 5380.56 | 59.85 | 65 | 44.2 | 68% | 3795.1987 | 175 | 67
| Regional Areas | 11 | 954 | 10.494 | 35 | 70 | 5 | 7.143% | 5.247 | 176 | 68
| Polyethylene | [8 empty] | 177 | 69
| Adelaide & Barossa Valley | 31365 | 954 | 29922.21 | 11.208 | 70 | 5 | 7.143% | 25131.2367 | 178 | 70
| Regional Areas | 602 | 954 | 574.308 | 11.6 | 65 | 44.2 | 68% | 471.8161 | 179 | 71
| Total Medium Pressure Domestic Inlets | 59359 | 954 | 56628.486 | 18.1699 | 89.6187 | 9.1221 | 12.39% | 47228.3514 | 180 | 72
[10 empty] | 181 | 73
| Commercial | [8 empty] | 182 | 74
| Steel | [8 empty] | 183 | 75
| Adelaide & Barossa Valley | 420 | 2000 | 840 | 17.35 | 125 | 5 | 4% | 723.408 | 184 | 76
| Regional Areas | 108 | 2000 | 216 | 19.5 | 125 | 5 | 4% | 182.304 | 185 | 77
| Cast Iron | [8 empty] | 186 | 78
| Adelaide & Barossa Valley | 126 | 2000 | 252 | 59.85 | 65 | 44.2 | 68% | 177.7492 | 187 | 79
| Regional Areas | 0 | 2000 | 0 | 0 | 70 | 5 | 7.143% | 0 | 188 | 80
| Polyethylene | [8 empty] | 189 | 81
| Adelaide & Barossa Valley | 701 | 2000 | 1402 | 11.21 | 70 | 5 | 7.143% | 1177.4797 | 190 | 82
| Regional Areas | 22 | 2000 | 44 | 11.6 | 65 | 44.2 | 68% | 36.1477 | 191 | 83
| Total Medium Pressure Commercial Inlets | 1377 | 2000 | 2754 | 18.1899 | 90.5519 | 9.2132 | 12.48% | 2297.0886 | 192 | 84
[10 empty] | 193 | 85
| Industrial | [8 empty] | 194 | 86
| Steel | [8 empty] | 195 | 87
| Adelaide & Barossa Valley | 152 | 5000 | 760 | 17.6 | 125 | 5 | 4% | 652.992 | 196 | 88
| Regional Areas | 20 | 5000 | 100 | 19.5 | 125 | 5 | 4% | 84.4 | 197 | 89
| Cast Iron | [8 empty] | 198 | 90
| Adelaide & Barossa Valley | 0 | 5000 | 0 | 0 | 65 | 44.2 | 68% | 0 | 199 | 91
| Regional Areas | 0 | 5000 | 0 | 0 | 70 | 5 | 7.143% | 0 | 200 | 92
| Polyethylene | [8 empty] | 201 | 93
| Adelaide & Barossa Valley | 253 | 5000 | 1265 | 11.205 | 70 | 5 | 7.143% | 1062.5096 | 202 | 94
| Regional Areas | 4 | 5000 | 20 | 11.3 | 65 | 44.2 | 68% | 16.5231 | 203 | 95
| Total Medium Pressure Industrial Inlets | 429 | 5000 | 2145 | 13.8584 | 92.0047 | 5.3655 | 6.45% | 1816.4247 | 204 | 96
[10 empty] | 205 | 97
| Medium Volume | [8 empty] | 206 | 98
| Steel | [8 empty] | 207 | 99
| Adelaide & Barossa Valley | 17 | 15000 | 255 | 17.9 | 125 | 5 | 4% | 218.484 | 208 | 100
| Regional Areas | 3 | 15000 | 45 | 19.5 | 125 | 5 | 4% | 37.98 | 209 | 101
| Cast Iron | [8 empty] | 210 | 102
| Adelaide & Barossa Valley | 0 | 15000 | 0 | 0 | 65 | 44.2 | 68% | 0 | 211 | 103
| Regional Areas | 0 | 15000 | 0 | 0 | 70 | 5 | 7.143% | 0 | 212 | 104
| Polyethylene | [8 empty] | 213 | 105
| Adelaide & Barossa Valley | 28 | 15000 | 420 | 10.9 | 70 | 5 | 7.143% | 354.6 | 214 | 106
| Regional Areas | 1 | 15000 | 15 | 20 | 65 | 44.2 | 68% | 10.3846 | 215 | 107
| Total Medium Pressure Medium Volume Inlets | 49 | 15000 | 735 | 14.0408 | 92.3469 | 5.8 | 7.102% | 621.4486 | 216 | 108
[10 empty] | 217 | 109
| MIP | [8 empty] | 218 | 110
| Steel | [8 empty] | 219 | 111
| Adelaide & Barossa Valley | 1 | 30000 | 30 | 6.25 | 125 | 5 | 4% | 28.5 | 220 | 112
| Regional Areas | 0 | 30000 | 0 | 0 | 125 | 5 | 4% | 0 | 221 | 113
| Cast Iron | [8 empty] | 222 | 114
| Adelaide & Barossa Valley | 0 | 30000 | 0 | 0 | 65 | 44.2 | 68% | 0 | 223 | 115
| Regional Areas | 0 | 30000 | 0 | 0 | 70 | 5 | 7.143% | 0 | 224 | 116
| Polyethylene | [8 empty] | 225 | 117
| Adelaide & Barossa Valley | 2 | 30000 | 60 | 13.25 | 70 | 5 | 7.143% | 48.6429 | 226 | 118
| Regional Areas | 0 | 30000 | 0 | 0 | 65 | 44.2 | 68% | 0 | 227 | 119
| Total Medium Pressure MIP Inlets | 3 | 30000 | 90 | 10.9167 | 88.3333 | 5 | 6.095% | 77.1429 | 228 | 120
[10 empty] | 229 | 121
| TOTAL MEDIUM PRESSURE INLETS | 61217 | 1018.5485 | 62352.486 | 18.1364 | 89.6585 | 9.095 | 12.35% | 52040.4562 | 230 | 122
[10 empty] | 231 | 123
| HIGH PRESSURE | [8 empty] | 232 | 124
| Domestic | [8 empty] | 233 | 125
| Steel | [8 empty] | 234 | 126
| Adelaide & Barossa Valley | 45800 | 954 | 43693.2 | 22.952 | 125 | 5 | 4% | 35670.4294 | 235 | 127
| Regional Areas | 2403 | 954 | 2292.462 | 21.45 | 125 | 5 | 4% | 1899.0755 | 236 | 128
| Cast Iron | [8 empty] | 237 | 129
| Adelaide & Barossa Valley | 35 | 954 | 33.39 | 23.65 | 65 | 44.2 | 68% | 29.5024 | 238 | 130
| Regional Areas | 0 | 954 | 0 | 0 | 70 | 5 | 7.143% | 0 | 239 | 131
| Polyethylene | [8 empty] | 240 | 132
| Adelaide & Barossa Valley | 36287 | 954 | 34617.798 | 7.55 | 70 | 5 | 7.143% | 30884.0212 | 241 | 133
| Regional Areas | 3470 | 954 | 3310.38 | 12.42 | 65 | 44.2 | 68% | 2677.8428 | 242 | 134
| Total High Pressure Domestic Inlets | 87995 | 954 | 83947.23 | 16.1445 | 99.9294 | 6.5614 | 7.845% | 71160.8713 | 243 | 135
[10 empty] | 244 | 136
| Commercial | [8 empty] | 245 | 137
| Steel | [8 empty] | 246 | 138
| Adelaide & Barossa Valley | 1024 | 2000 | 2048 | 23 | 125 | 5 | 4% | 1671.168 | 247 | 139
| Regional Areas | 140 | 2000 | 280 | 21 | 125 | 5 | 4% | 232.96 | 248 | 140
| Cast Iron | [8 empty] | 249 | 141
| Adelaide & Barossa Valley | 1 | 2000 | 2 | 50.8 | 65 | 44.2 | 68% | 1.4998 | 250 | 142
| Regional Areas | 0 | 2000 | 0 | 0 | 70 | 5 | 7.143% | 0 | 251 | 143
| Polyethylene | [8 empty] | 252 | 144
| Adelaide & Barossa Valley | 811 | 2000 | 1622 | 7.55 | 70 | 5 | 7.143% | 1447.0557 | 253 | 145
| Regional Areas | 155 | 2000 | 310 | 11.1 | 65 | 44.2 | 68% | 257.0615 | 254 | 146
| Total High Pressure Commercial Inlets | 2131 | 2000 | 4262 | 16.1363 | 99.6762 | 7.8696 | 9.881% | 3609.7451 | 255 | 147
[10 empty] | 256 | 148
| Industrial | [8 empty] | 257 | 149
| Steel | [8 empty] | 258 | 150
| Adelaide & Barossa Valley | 331 | 5000 | 1655 | 23 | 125 | 5 | 4% | 1350.48 | 259 | 151
| Regional Areas | 24 | 5000 | 120 | 20 | 125 | 5 | 4% | 100.8 | 260 | 152
| Cast Iron | [8 empty] | 261 | 153
| Adelaide & Barossa Valley | 0 | 5000 | 0 | 0 | 65 | 44.2 | 68% | 0 | 262 | 154
| Regional Areas | 0 | 5000 | 0 | 0 | 70 | 5 | 7.143% | 0 | 263 | 155
| Polyethylene | [8 empty] | 264 | 156
| Adelaide & Barossa Valley | 262 | 5000 | 1310 | 7.55 | 70 | 5 | 7.143% | 1168.7071 | 265 | 157
| Regional Areas | 29 | 5000 | 145 | 11.5 | 65 | 44.2 | 68% | 119.3462 | 266 | 158
| Total High Pressure Industrial Inlets | 646 | 5000 | 3230 | 16.1062 | 100 | 6.7598 | 8.148% | 2739.3333 | 267 | 159
[10 empty] | 268 | 160
| Medium Volume | [8 empty] | 269 | 161
| Steel | [8 empty] | 270 | 162
| Adelaide & Barossa Valley | 34 | 15000 | 510 | 22.91 | 125 | 5 | 4% | 416.5272 | 271 | 163
| Regional Areas | 10 | 15000 | 150 | 37.5 | 125 | 5 | 4% | 105 | 272 | 164
| Cast Iron | [8 empty] | 273 | 165
| Adelaide & Barossa Valley | 0 | 15000 | 0 | 0 | 65 | 44.2 | 68% | 0 | 274 | 166
| Regional Areas | 0 | 15000 | 0 | 0 | 70 | 5 | 7.143% | 0 | 275 | 167
| Polyethylene | [8 empty] | 276 | 168
| Adelaide & Barossa Valley | 27 | 15000 | 405 | 7.55 | 70 | 5 | 7.143% | 361.3179 | 277 | 169
| Regional Areas | 15 | 15000 | 225 | 7.55 | 65 | 44.2 | 68% | 198.8654 | 278 | 170
| Total High Pressure Medium Volume Inlets | 86 | 15000 | 1290 | 17.1051 | 97.2674 | 11.8372 | 16.15% | 1081.7104 | 279 | 171
[10 empty] | 280 | 172
| MIP | [8 empty] | 281 | 173
| Steel | [8 empty] | 282 | 174
| Adelaide & Barossa Valley | 11 | 30000 | 330 | 26.5 | 125 | 5 | 4% | 260.04 | 283 | 175
| Regional Areas | 4 | 30000 | 120 | 52.75 | 125 | 5 | 4% | 69.36 | 284 | 176
| Cast Iron | [8 empty] | 285 | 177
| Adelaide & Barossa Valley | 0 | 30000 | 0 | 0 | 65 | 44.2 | 68% | 0 | 286 | 178
| Regional Areas | 0 | 30000 | 0 | 0 | 70 | 5 | 7.143% | 0 | 287 | 179
| Polyethylene | [8 empty] | 288 | 180
| Adelaide & Barossa Valley | 8 | 30000 | 240 | 4.5 | 70 | 5 | 7.143% | 224.5714 | 289 | 181
| Regional Areas | 7 | 30000 | 210 | 14 | 65 | 44.2 | 68% | 164.7692 | 290 | 182
| Total High Pressure MIP Inlets | 30 | 30000 | 900 | 21.2167 | 96.3333 | 14.1467 | 19.77% | 718.7407 | 291 | 183
[10 empty] | 292 | 184
| TOTAL HIGH PRESSURE INLETS | 90888 | 1030.1605 | 93629.23 | 16.1466 | 99.9203 | 6.601 | 7.907% | 79310.4007 | 293 | 185
[10 empty] | 294 | 186
| TRANSMISSION PRESSURE | [8 empty] | 295 | 187
| MIP | [8 empty] | 296 | 188
| Steel | [8 empty] | 297 | 189
| Adelaide & Barossa Valley | 8 | 30000 | 240 | 22.5 | 125 | 5 | 4% | 196.8 | 298 | 190
| Regional Areas | 1 | 30000 | 30 | 27.5 | 125 | 5 | 4% | 23.4 | 299 | 191
| Cast Iron | [8 empty] | 300 | 192
| Adelaide & Barossa Valley | 0 | 30000 | 0 | 0 | 65 | 44.2 | 68% | 0 | 301 | 193
| Regional Areas | 0 | 30000 | 0 | 0 | 70 | 5 | 7.143% | 0 | 302 | 194
| Polyethylene | [8 empty] | 303 | 195
| Adelaide & Barossa Valley | 0 | 30000 | 0 | 0 | 70 | 5 | 7.143% | 0 | 304 | 196
| Regional Areas | 0 | 30000 | 0 | 0 | 65 | 44.2 | 68% | 0 | 305 | 197
| Total Transmission Pressure MIP Inlets | 9 | 30000 | 270 | 23.0556 | 125 | 5 | 4% | 220.2 | 306 | 198
[10 empty] | 307 | 199
| TOTAL TRANSMISSION PRESSURE INLETS | 9 | 30000 | 270 | 23.0556 | 125 | 5 | 4% | 220.2 | 308 | 200
[10 empty] | 309 | 201
310
[8 empty] | #DIV/0! |  | 311
| Total Inlets | Number of Inlets |  | Replacement Cost ($000's) |  |  |  |  | DORC Value ($000,s) | 312
313
| Adelaide & Barossa Valley | 311739 |  | 311711.882 |  |  |  |  | 254673.918 | 314
| Regional Areas | 14067 |  | 15253.832 |  |  |  |  | 12023.3853 | 315
| TOTAL MAINS | 325806 |  | 326965.714 |  |  |  |  | 266697.3033 | 316
317
318
| Meters | Number of Meters | Replacement Cost Per Meter | Replacement Cost ($000's) | Average Age (years) | Estimated Useful Life (years) | Residual Value (years) | Residual Value | DORC Value ($000,s) | 319
320
| DOMESTIC | [8 empty] | 321
| Adelaide & Barossa Valley | 306529 | 200 | 61305.8 | 14.66 | 30 | 0 | 0% | 31347.6991 | 322
| Regional Areas | 14371 | 200 | 2874.2 | 14.66 | 30 | 0 | 0% | 1469.6743 | 323
| Total DOMESTIC METERS | 320900 | 200 | 64180 | 14.66 | 30 | 0 | 0 | 32817.3733 | 324
325
| COMMERCIAL | [8 empty] | 326
| Adelaide & Barossa Valley | 6829 | 1355 | 9253.295 | 17.1 | 25 | 0 | 0% | 2924.0412 | 327
| Regional Areas | 726 | 1355 | 983.73 | 14.63 | 25 | 0 | 0% | 408.0512 | 328
| Total COMMERCIAL METERS | 7555 | 1355 | 10237.025 | 16.8626 | 25 | 0 | 0 | 3332.0924 | 329
330
| INDUSTRIAL | [8 empty] | 331
| Adelaide & Barossa Valley | 1145 | 3685 | 4219.325 | 18.32 | 25 | 0 | 0% | 1127.4036 | 332
| Regional Areas | 45 | 3685 | 165.825 | 15.38 | 25 | 0 | 0% | 63.8095 | 333
| Total INDUSTRIAL METERS | 1190 | 3685 | 4385.15 | 18.2088 | 25 | 0 | 0 | 1191.2131 | 334
335
| MEDIUM VOLUME | [8 empty] | 336
| Adelaide & Barossa Valley | 182 | 16730 | 3044.86 | 18.79 | 25 | 0 | 0% | 756.3432 | 337
| Regional Areas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 338
| Total MEDIUM VOLUME METERS | 182 | 16730 | 3044.86 | 18.79 | 25 | 0 | 0 | 756.3432 | 339
340
| MIP | [8 empty] | 341
| Adelaide & Barossa Valley | 38 | 41325 | 1570.35 | 21.97 | 25 | 0 | 0% | 190.3264 | 342
| Regional Areas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 343
| Total MIP METERS | 38 | 41325 | 1570.35 | 21.97 | 25 | 0 | 0 | 190.3264 | 344
345
| TOTAL METERS | 329865 | 252.8834 | 83417.385 | 14.7264 | 29.8641 | 0 | 0% | 38287.3485 | 346
347
| METERS IN STOCK | [8 empty] | 348
| Domestic | 15889 | 85 | 1350.565 | 16.65 | 28 | 0 | 0% | 547.4612 | 349
| Commercial | 383 | 515 | 197.245 | 19.61 | 27 | 0 | 0% | 53.9867 | 350
| Industrial | 117 | 1725 | 201.825 | 5.41 | 27 | 0 | 0% | 161.3853 | 351
| Medium Volume | 40 | 6150 | 246 | 11.68 | 27 | 0 | 0% | 139.5822 | 352
| MIP | 27 | 17400 | 469.8 | 21.3 | 27 | 0 | 0% | 99.18 | 353
| Total METERS IN STOCK | 16456 | 149.8198 | 2465.435 | 16.6345 | 27.9655 | 0 | 0 | 1001.5953 | 354
355
[8 empty] | #DIV/0! |  | 356
| Total Meters | Number of Meters |  | Replacement Cost ($000's) |  |  |  |  | DORC Value ($000,s) | 357
358
| Adelaide & Barossa Valley | 314723 |  | 79393.63 |  |  |  |  | 36345.8136 | 359
| Regional Areas | 15142 |  | 4023.755 |  |  |  |  | 1941.5349 | 360
| Meters In Stock | 16456 |  | 2465.435 |  |  |  |  | 1001.5953 | 361
| Total Meters | 346321 |  | 85882.82 |  |  |  |  | 39288.9438 | 362
363
364
| Regulators | Optimised Quantity of Regulators | Replacement Cost Per Regulator | Replacement Cost ($000's) | Average Age (years) | Estimated Useful Life (years) | Residual Value (years) | Residual Value | DORC Value ($000,s) | 365
366
| TRANSMISSION SYSTEM | [8 empty] | 367
| Adelaide & Barossa Valley | 76 | 51447 | 3909.972 | 17 | 50 | 0 | 0% | 2580.5815 | 368
| Regional Areas | 1 | 50000 | 50 | 2 | 50 | 0 | 0% | 48 | 369
| Total TRANSMISSION SYSTEM REGULATORS | 77 | 51428.2078 | 3959.972 | 16.8052 | 50 | 0 | 0 | 2628.5815 | 370
371
| HIGH PRESSURE SYSTEM | [8 empty] | 372
| Adelaide & Barossa Valley | 111 | 13425 | 1490.175 | 32.1351 | 59.009 | 0 | 0% | 678.6553 | 373
| Regional Areas | 11 | 14500 | 159.5 | 11.5909 | 50 | 0 | 0% | 122.525 | 374
| Total HIGH PRESSURE SYSTEM REGULATORS | 122 | 13521.9262 | 1649.675 | 30.2828 | 58.1967 | 0 | 0 | 801.1803 | 375
376
| TOTAL REGULATORS | 199 | 28189.1809 | 5609.647 | 25.0678 | 55.0251 | 0 | 0 | 3429.7618 | 377
378
[8 empty] | #DIV/0! |  | 379
| Total Regulators | Optimised Quantity of Regulators |  | Replacement Cost ($000's) |  |  |  |  | DORC Value ($000,s) | 380
381
| Adelaide & Barossa Valley | 187 |  | 5400.147 |  |  |  |  | 3259.2368 | 382
| Regional Areas | 12 |  | 209.5 |  |  |  |  | 170.525 | 383
| Total Regulators | 199 |  | 5609.647 |  |  |  |  | 3429.7618 | 384
385
386
387
[8 empty] | #DIV/0! |  | 388
| Odorising Stations | Number of Odorising Stations | Average Replacement Cost Per Station | Replacement Cost ($000's) |  |  |  |  | DORC Value ($000,s) | 389
390
| South Australia | 11 | 29.4909 | 324.4 |  |  |  |  | 246 | 391
| Total Odorising Stations | 11 | 29.4909 | 324.4 |  |  |  |  | 246 | 392
393
394
395
[8 empty] | #DIV/0! |  | 396
| RDL/Telemetry | Number of Sites | Replacement Cost Per Site | Replacement Cost ($000's) | Average Age (years) | Estimated Useful Life (years) | Residual Value (years) | Residual Value | DORC Value ($000,s) | 397
| Adelaide & Barossa Valley | [8 empty] | 398
| Site Costs | 71 | 12.75 | 905.25 | 7.5 | 15 | 0 | 0% | 452.625 | 399
| Controlling System Software Allocation | - | - | 612 | 8 | 10 | 0 | 0% | 122.4 | 400
| Controlling System Hardware Allocation | - | - | 81.61 | 2 | 4 | 0 | 0% | 40.805 | 401
| Total Adelaide & Barossa Valley RDL/Telemetry | 71 |  | 1598.86 |  |  |  |  | 615.83 | 402
403
| Regional Areas | [8 empty] | 404
| Site Costs | 6 | 15 | 90 | 7.5 | 15 | 0 | 0% | 45 | 405
| Controlling System Software Allocation | - | - | 52 | 8 | 10 | 0 | 0% | 10.4 | 406
| Controlling System Hardware Allocation | - | - | 7 | 2 | 4 | 0 | 0% | 3.5 | 407
| Total Regional Areas RDL/Telemetry | 6 |  | 149 |  |  |  |  | 58.9 | 408
409
| Total RDL/Telemetry | 77 |  | 1747.86 |  |  |  |  | 674.73 | 410
411
BELOW ARE CALCULATIONS TO MAKE THE INLET SUMMARY EASIER TO ANALYSE
|  | Numbers | New life | Actual life | ORC | DORC
Steel
LP | Dom | 15385 | 125 | 37.58 | 14677.29 | 10264.7095 | 1
LP |  | 1562 | 125 | 32.65 | 1490.148 | 1100.9213 | 2
LP | Comm | 344 | 125 | 37.8 | 688 | 479.9488 | 13
LP |  | 83 | 125 | 33 | 166 | 122.176 | 14
LP | Ind | 52 | 125 | 37 | 260 | 183.04 | 25
LP |  | 19 | 125 | 31 | 95 | 71.44 | 26
LP | MV | 2 | 125 | 35 | 30 | 21.6 | 37
LP |  | 0 | 125 | 0 | 0 | 0 | 38
LP | MIP | 0 | 125 | 0 | 0 | 0 | 49
LP |  | 0 | 125 | 0 | 0 | 0 | 50
LP | Total steel | 17447 | 125 | 37.048 | 17406.438 | 12243.8357
LP | CI
LP | Dom | 113800 | 65 | 39.86 | 108565.2 | 87261.0332 | 4
LP |  | 1257 | 70 | 31.66 | 1199.178 | 656.8069 | 5
LP | Comm | 2544 | 65 | 39.93 | 5088 | 4087.8088 | 16
LP |  | 49 | 70 | 36 | 98 | 47.6 | 17
LP | Ind | 0 | 65 | 0 | 0 | 0 | 28
LP |  | 0 | 70 | 0 | 0 | 0 | 29
LP | MV | 0 | 65 | 0 | 0 | 0 | 40
LP |  | 0 | 70 | 0 | 0 | 0 | 41
LP | MIP | 0 | 65 | 0 | 0 | 0 | 52
LP |  | 0 | 70 | 0 | 0 | 0 | 53
LP | Total CI | 117650 | 70 | 39.8026 | 114950.378 | 92053.249
LP | PE
LP | Dom | 36547 | 70 | 13.753 | 34865.838 | 28015.697 | 7
LP |  | 1036 | 65 | 11.95 | 988.344 | 806.6408 | 8
LP | Comm | 817 | 70 | 13.78 | 1634 | 1312.3354 | 19
LP |  | 52 | 65 | 13.4 | 104 | 82.56 | 20
LP | Ind | 125 | 70 | 14 | 625 | 500 | 31
LP |  | 13 | 65 | 12 | 65 | 53 | 32
LP | MV | 5 | 70 | 15 | 75 | 58.9286 | 43
LP |  | 0 | 65 | 0 | 0 | 0 | 44
LP | MIP | 0 | 70 | 0 | 0 | 0 | 55
LP |  | 0 | 65 | 0 | 0 | 0 | 56
LP | Total PE | 38595 | 70 | 13.7094 | 38357.182 | 30829.1618
MP | Steel
MP | Dom | 18774 | 125 | 17.27 | 17910.396 | 15435.8957 | 64
MP |  | 2967 | 125 | 19.5 | 2830.518 | 2388.9572 | 65
MP | Comm | 420 | 125 | 17.35 | 840 | 723.408 | 76
MP |  | 108 | 125 | 19.5 | 216 | 182.304 | 77
MP | Ind | 152 | 125 | 17.6 | 760 | 652.992 | 88
MP |  | 20 | 125 | 19.5 | 100 | 84.4 | 89
MP | MV | 17 | 125 | 17.9 | 255 | 218.484 | 100
MP |  | 3 | 125 | 19.5 | 45 | 37.98 | 101
MP | MIP | 1 | 125 | 6.25 | 30 | 28.5 | 112
MP |  | 0 | 125 | 0 | 0 | 0 | 113
MP | Total steel | 22462 | 125 | 17.579 | 22986.914 | 19752.9209
MP | CI
MP | Dom | 5640 | 65 | 59.85 | 5380.56 | 3795.1987 | 67
MP |  | 11 | 70 | 35 | 10.494 | 5.247 | 68
MP | Comm | 126 | 65 | 59.85 | 252 | 177.7492 | 79
MP |  | 0 | 70 | 0 | 0 | 0 | 80
MP | Ind | 0 | 65 | 0 | 0 | 0 | 91
MP |  | 0 | 70 | 0 | 0 | 0 | 92
MP | MV | 0 | 65 | 0 | 0 | 0 | 103
MP |  | 0 | 70 | 0 | 0 | 0 | 104
MP | MIP | 0 | 65 | 0 | 0 | 0 | 115
MP |  | 0 | 70 | 0 | 0 | 0 | 116
MP | Total CI | 5777 | 70 | 59.8172 | 5643.054 | 3978.1949
MP | PE
MP | Dom | 31365 | 70 | 11.208 | 29922.21 | 25131.2367 | 70
MP |  | 602 | 65 | 11.6 | 574.308 | 471.8161 | 71
MP | Comm | 701 | 70 | 11.21 | 1402 | 1177.4797 | 82
MP |  | 22 | 65 | 11.6 | 44 | 36.1477 | 83
MP | Ind | 253 | 70 | 11.205 | 1265 | 1062.5096 | 94
MP |  | 4 | 65 | 11.3 | 20 | 16.5231 | 95
MP | MV | 28 | 70 | 10.9 | 420 | 354.6 | 106
MP |  | 1 | 65 | 20 | 15 | 10.3846 | 107
MP | MIP | 2 | 70 | 13.25 | 60 | 48.6429 | 118
MP |  | 0 | 65 | 0 | 0 | 0 | 119
MP | Total PE | 32978 | 70 | 11.2179 | 33722.518 | 28309.3404
HP | Steel
HP | Dom | 45800 | 125 | 22.952 | 43693.2 | 35670.4294 | 127
HP |  | 2403 | 125 | 21.45 | 2292.462 | 1899.0755 | 128
HP | Comm | 1024 | 125 | 23 | 2048 | 1671.168 | 139
HP |  | 140 | 125 | 21 | 280 | 232.96 | 140
HP | Ind | 331 | 125 | 23 | 1655 | 1350.48 | 151
HP |  | 24 | 125 | 20 | 120 | 100.8 | 152
HP | MV | 34 | 125 | 22.91 | 510 | 416.5272 | 163
HP |  | 10 | 125 | 37.5 | 150 | 105 | 164
HP | MIP | 11 | 125 | 26.5 | 330 | 260.04 | 175
HP |  | 4 | 125 | 52.75 | 120 | 69.36 | 176
HP | Total steel | 49781 | 125 | 22.9769 | 51198.662 | 41775.8401
HP | CI
HP | Dom | 35 | 65 | 23.65 | 33.39 | 29.5024 | 130
HP |  | 0 | 70 | 0 | 0 | 0 | 131
HP | Comm | 1 | 65 | 50.8 | 2 | 1.4998 | 142
HP |  | 0 | 70 | 0 | 0 | 0 | 143
HP | Ind | 0 | 65 | 0 | 0 | 0 | 154
HP |  | 0 | 70 | 0 | 0 | 0 | 155
HP | MV | 0 | 65 | 0 | 0 | 0 | 166
HP |  | 0 | 70 | 0 | 0 | 0 | 167
HP | MIP | 0 | 65 | 0 | 0 | 0 | 178
HP |  | 0 | 70 | 0 | 0 | 0 | 179
HP | Total CI | 36 | 70 | 24.9635 | 35.39 | 31.0022
HP | PE
HP | Dom | 36287 | 70 | 7.55 | 34617.798 | 30884.0212 | 133
HP |  | 3470 | 65 | 12.42 | 3310.38 | 2677.8428 | 134
HP | Comm | 811 | 70 | 7.55 | 1622 | 1447.0557 | 145
HP |  | 155 | 65 | 11.1 | 310 | 257.0615 | 146
HP | Ind | 262 | 70 | 7.55 | 1310 | 1168.7071 | 157
HP |  | 29 | 65 | 11.5 | 145 | 119.3462 | 158
HP | MV | 27 | 70 | 7.55 | 405 | 361.3179 | 169
HP |  | 15 | 65 | 7.55 | 225 | 198.8654 | 170
HP | MIP | 8 | 70 | 4.5 | 240 | 224.5714 | 181
HP |  | 7 | 65 | 14 | 210 | 164.7692 | 182
HP | Total PE | 41071 | 70 | 7.9447 | 42395.178 | 37503.5584
Trans | Steel
Trans | MIP | 8 | 125 | 22.5 | 240 | 196.8 | 190
Trans |  | 1 | 125 | 27.5 | 30 | 23.4 | 191
Trans | Total Steel | 9 | 125 | 23.0313 | 270 | 220.2

## ICB calcs - per asset calc
Calculation of regulatory book value of assets to write-off
Inputs from outside of this spreadsheet
Sources:
Final AAI - Effective Lives
|  |  |  | Cast Iron | 85 | [5 empty] | Final AAI, p.14, table 7 (note p.12 table 3 is consistent but omits a life for cast iron inlets)
|  |  |  | Protected Steel | 120 | [5 empty] | Final AAI, p.12 table 3 and p.14, table 7.
|  |  |  | Unprotected Steel | 60 | [5 empty] | Final AAI, p.12 table 3 and p.14, table 7.
|  |  |  | PE | 60 | [5 empty] | Final AAI, p.12 table 3 and p.14, table 7.
|  |  |  | Scale down of mains REL from 2012 | 0.92308 | [5 empty] | 2011 RFM
|  |  |  | Scale down of inlets REL from 2012 | 0.97561 | [5 empty] | 2011 RFM
|  |  |  | Fiirst year of intial AA (FY ending 30 June) | 1999
|  |  |  | First year of new lives (FY ending 30 June) | 2012
|  |  |  | First year of target AA (FY ending 30 June) | 2022
Inputs for scaling to agree with ICB and calculated scaling factors
|  |  |  | Mains Final AAI | 373.6 | 74.22% |  |  |  |  | Final AAI, p.12, table 4.
|  |  |  | Inlets + Reg Final AAI | 209.9 | 77.7% |  |  |  |  | Final AAI, p.12, table 4.
|  |  |  | Inputs for calculating the aggregate RAB for mains and inlets |  | Remaining life (end FY2011)
|  |  |  | ICB Mains at end FY 2011 ($Dec 2005) | 370.4034 | 47
|  |  |  | ICB Inlets + Regulators at end FY 2011 ($Dec 2005) | 173.1487 | 27
Calculations - aggregate ICB RAB calculations
[5 empty] | WDV @ end FY 2011 ($Dec 2005) | Additional years of depreciation | Depreciation ($Dec 2005) | WDV @ end FY21 ($Dec 2005) | WDV end FY21 ($end FY21)
|  |  |  | Mains ICB assets | 370.4034 | 10 | 78.8092 | 291.5941 | 414.1465
|  |  |  | Inlets ICB assets (regulators removed) | 170.9503 | 10 | 63.3149 | 107.6354 | 152.8728
[5 empty] | 541.3536 |  | 142.1241 | 399.2295 | 567.0193
Calculations - individual tracking allocator calculations
1. Mains / pipelines
[5 empty] | Length in ICB | Actual age | DORC proposal | ICB (i.e., estimated DORC scaled down to match Final AAI) |  | Life use for proposed DORC | Adopted life in Final AAI | REL - 30/6/1998, DORC lives | REL - 30/6/1998, AAI lives | REL - 1/7/2011 | REL - start of target AA |  | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | RAB ($1/7/1998) - total | RAB ($1/7/2021) - total | RAB - pro-rate of individual roll-forward
| 5 | PS | Main | Low | 121.06 | 24.7092 | 7777.6359 | 5772.6862 |  | 130 | 120 | 105.2908 | 95.2908 | 74.9607 | 64.9607 |  | 60.5797 | 60.5797 | 60.5797 | 60.5797 | 60.5797 | 60.5797 | 60.5797 | 60.5797 | 60.5797 | 60.5797 | 60.5797 | 60.5797 | 60.5797 | 66.5035 | 66.5035 | 66.5035 | 66.5035 | 66.5035 | 66.5035 | 66.5035 | 66.5035 | 66.5035 | 66.5035 | 4320.1151 | 7358.0835 | 8462.5621
| 10 | PS | Main | Medium | 461.77 | 17.4176 | 48876.5793 | 36276.9817 |  | 130 | 120 | 112.5824 | 102.5824 | 81.6915 | 71.6915 |  | 353.6375 | 353.6375 | 353.6375 | 353.6375 | 353.6375 | 353.6375 | 353.6375 | 353.6375 | 353.6375 | 353.6375 | 353.6375 | 353.6375 | 353.6375 | 387.7969 | 387.7969 | 387.7969 | 387.7969 | 387.7969 | 387.7969 | 387.7969 | 387.7969 | 387.7969 | 387.7969 | 27801.7256 | 47352.3072 | 54460.0831
| 15 | PS | Main | High | 1049.28 | 21.9547 | 94120.1807 | 69857.5089 |  | 130 | 120 | 108.0453 | 98.0453 | 77.5034 | 67.5034 |  | 712.5024 | 712.5024 | 712.5024 | 712.5024 | 712.5024 | 712.5024 | 712.5024 | 712.5024 | 712.5024 | 712.5024 | 712.5024 | 712.5024 | 712.5024 | 781.8368 | 781.8368 | 781.8368 | 781.8368 | 781.8368 | 781.8368 | 781.8368 | 781.8368 | 781.8368 | 781.8368 | 52776.6097 | 89889.8966 | 103382.7396
| 20 | PS | Main | Transmission | 173.316 | 23.2239 | 53436.5512 | 39661.466 |  | 128.0412 | 120 | 104.8173 | 96.7761 | 76.3318 | 66.3318 |  | 409.8269 | 409.8269 | 409.8269 | 409.8269 | 409.8269 | 409.8269 | 409.8269 | 409.8269 | 409.8269 | 409.8269 | 409.8269 | 409.8269 | 409.8269 | 449.7956 | 449.7956 | 449.7956 | 449.7956 | 449.7956 | 449.7956 | 449.7956 | 449.7956 | 449.7956 | 449.7956 | 29835.7595 | 50816.7037 | 58444.4998
| 28 | UPS | Main | Low | 216.42 | 47.23 | 11118.9908 | 8252.6935 |  | 65 | 60 | 17.77 | 12.77 | 0 | 0 |  | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | 0 | 0 | 0
| 33 | UPS | Main | Medium | 20.32 | 45 | 1672.1047 | 1241.0629 |  | 65 | 60 | 20 | 15 | 0.84615 | 0 |  | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | 0 | 0 | 0
| 38 | UPS | Main | High | 104.02 | 48.13 | 7007.2809 | 5200.9163 |  | 65 | 60 | 16.87 | 11.87 | 0 | 0 |  | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | 0 | 0 | 0
| 46 | PE | Main | Low | 723.3 | 14.695 | 59088.1712 | 43856.1891 |  | 70 | 60 | 55.305 | 45.305 | 28.82 | 18.82 |  | 968.021 | 968.021 | 968.021 | 968.021 | 968.021 | 968.021 | 968.021 | 968.021 | 968.021 | 968.021 | 968.021 | 968.021 | 968.021 | 1085.077 | 1085.077 | 1085.077 | 1085.077 | 1085.077 | 1085.077 | 1085.077 | 1085.077 | 1085.077 | 1085.077 | 20421.1468 | 34781.5971 | 40002.4579
| 51 | PE | Main | Medium | 712.08 | 12.1478 | 43661.9156 | 32406.5746 |  | 70 | 60 | 57.8522 | 47.8522 | 31.1713 | 21.1713 |  | 677.2215 | 677.2215 | 677.2215 | 677.2215 | 677.2215 | 677.2215 | 677.2215 | 677.2215 | 677.2215 | 677.2215 | 677.2215 | 677.2215 | 677.2215 | 757.193 | 757.193 | 757.193 | 757.193 | 757.193 | 757.193 | 757.193 | 757.193 | 757.193 | 757.193 | 16030.7649 | 27303.8342 | 31402.2519
| 56 | PE | Main | High | 939.2 | 8.8913 | 56217.8065 | 41725.7584 |  | 70 | 60 | 61.1087 | 51.1087 | 34.1773 | 24.1773 |  | 816.4115 | 816.4115 | 816.4115 | 816.4115 | 816.4115 | 816.4115 | 816.4115 | 816.4115 | 816.4115 | 816.4115 | 816.4115 | 816.4115 | 816.4115 | 910.3239 | 910.3239 | 910.3239 | 910.3239 | 910.3239 | 910.3239 | 910.3239 | 910.3239 | 910.3239 | 910.3239 | 22009.1701 | 37486.3416 | 43113.1956
DB | 64 | CI | Main | Low | 126.77 | 41.0903 | 8056.9602 | 5980.0052 |  | 85 | 85 | 43.9097 | 43.9097 | 27.532 | 17.532 |  | 136.1887 | 136.1887 | 136.1887 | 136.1887 | 136.1887 | 136.1887 | 136.1887 | 136.1887 | 136.1887 | 136.1887 | 136.1887 | 136.1887 | 136.1887 | 152.8965 | 152.8965 | 152.8965 | 152.8965 | 152.8965 | 152.8965 | 152.8965 | 152.8965 | 152.8965 | 152.8965 | 2680.5866 | 4565.6144 | 5250.9319
DB | 69 | CI | Main | Medium | 24.77 | 61.4571 | 1757.6525 | 1304.5579 |  | 85 | 85 | 23.5429 | 23.5429 | 8.7319 | 0 |  | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | 0 | 0 | 0
DB | 74 | CI | Main | High | 0.35 | 20.3545 | 58.6117 | 43.5025 |  | 85 | 85 | 64.6455 | 64.6455 | 46.6727 | 36.6727 |  | 0.67294 | 0.67294 | 0.67294 | 0.67294 | 0.67294 | 0.67294 | 0.67294 | 0.67294 | 0.67294 | 0.67294 | 0.67294 | 0.67294 | 0.67294 | 0.74464 | 0.74464 | 0.74464 | 0.74464 | 0.74464 | 0.74464 | 0.74464 | 0.74464 | 0.74464 | 0.74464 | 27.3079 | 46.5113 | 53.4928
Insert | 82 | CI | Main | Low | 2067.62 | 40.9758 | 106367.7289 | 78947.8357 |  | 85 | 85 | 44.0242 | 44.0242 | 27.6378 | 17.6378 |  | 1793.2808 | 1793.2808 | 1793.2808 | 1793.2808 | 1793.2808 | 1793.2808 | 1793.2808 | 1793.2808 | 1793.2808 | 1793.2808 | 1793.2808 | 1793.2808 | 1793.2808 | 2013.0132 | 2013.0132 | 2013.0132 | 2013.0132 | 2013.0132 | 2013.0132 | 2013.0132 | 2013.0132 | 2013.0132 | 2013.0132 | 35505.0531 | 60472.7277 | 69549.9327
Insert | 87 | CI | Main | Medium | 100 | 61.3965 | 4112.5934 | 3052.4328 |  | 85 | 85 | 23.6035 | 23.6035 | 8.7878 | 0 |  | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | 0 | 0 | 0
Insert | 92 | CI | Main | High | 0.47 | 20.3545 | 26.7149 | 19.8282 |  | 85 | 85 | 64.6455 | 64.6455 | 46.6727 | 36.6727 |  | 0.30672 | 0.30672 | 0.30672 | 0.30672 | 0.30672 | 0.30672 | 0.30672 | 0.30672 | 0.30672 | 0.30672 | 0.30672 | 0.30672 | 0.30672 | 0.3394 | 0.3394 | 0.3394 | 0.3394 | 0.3394 | 0.3394 | 0.3394 | 0.3394 | 0.3394 | 0.3394 | 12.4468 | 21.1996 | 24.3817
|  |  |  | Total for mains | 6840.746 |  | 503357.4783 | 373600 | [31 empty] | 211420.6862 | 360094.8168 | 414146.5291
|  |  |  | CHECK of totals | TRUE |  | TRUE | TRUE |  |  |  | REL | 66.0062
2. Inlets
[5 empty] | Number of inlets in ICB | Actual age | DORC proposal | ICB (i.e., estimated DORC scaled down to match Final AAI) |  | Life use for proposed DORC | Adopted life in Final AAI | REL - 30/6/1998, DORC lives | REL - 30/6/1998, AAI lives | REL - 1/7/2011 | REL - start of target AA |  | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | RAB ($1/7/1998) | RAB ($1/7/2021) | RAB - pro-rate of individual roll-forward
Total steel | LP | UPS | Inlet | Low | 17447 | 37.048 | 12243.8357 | 9513.9712 |  | 125 | 60 | 87.952 | 22.952 | 9.3922 | 0 |  | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | Fully dep | 0 | 0 | 0
Total steel | MP | UPS | Inlet | Medium | 22462 | 17.579 | 19752.9209 | 15348.8437 |  | 125 | 60 | 107.421 | 42.421 | 28.3863 | 18.3863 |  | 361.8219 | 361.8219 | 361.8219 | 361.8219 | 361.8219 | 361.8219 | 361.8219 | 361.8219 | 361.8219 | 361.8219 | 361.8219 | 361.8219 | 361.8219 | 375.01 | 375.01 | 375.01 | 375.01 | 375.01 | 375.01 | 375.01 | 375.01 | 375.01 | 375.01 | 6895.0596 | 11743.7667 | 11319.8453
Total steel | HP | UPS | Inlet | High | 49781 | 22.9769 | 41775.8401 | 32461.5708 |  | 125 | 60 | 102.0231 | 37.0231 | 23.1201 | 13.1201 |  | 876.7921 | 876.7921 | 876.7921 | 876.7921 | 876.7921 | 876.7921 | 876.7921 | 876.7921 | 876.7921 | 876.7921 | 876.7921 | 876.7921 | 876.7921 | 911.037 | 911.037 | 911.037 | 911.037 | 911.037 | 911.037 | 911.037 | 911.037 | 911.037 | 911.037 | 11952.9035 | 20358.3607 | 19623.4734
Total steel | Trans | UPS | Inlet | Transmision | 9 | 23.0313 | 220.2 | 171.1046 |  | 125 | 60 | 101.9687 | 36.9687 | 23.067 | 13.067 |  | 4.6284 | 4.6284 | 4.6284 | 4.6284 | 4.6284 | 4.6284 | 4.6284 | 4.6284 | 4.6284 | 4.6284 | 4.6284 | 4.6284 | 4.6284 | 4.8093 | 4.8093 | 4.8093 | 4.8093 | 4.8093 | 4.8093 | 4.8093 | 4.8093 | 4.8093 | 4.8093 | 62.8429 | 107.035 | 103.1713
Total CI | LP | CI | Inlet | Low | 117650 | 39.8026 | 92053.249 | 71529.2151 |  | 70 | 85 | 30.1974 | 45.1974 | 31.095 | 21.095 |  | 1582.596 | 1582.596 | 1582.596 | 1582.596 | 1582.596 | 1582.596 | 1582.596 | 1582.596 | 1582.596 | 1582.596 | 1582.596 | 1582.596 | 1582.596 | 1638.7019 | 1638.7019 | 1638.7019 | 1638.7019 | 1638.7019 | 1638.7019 | 1638.7019 | 1638.7019 | 1638.7019 | 1638.7019 | 34568.4486 | 58877.4893 | 56752.1551
Total CI | MP | CI | Inlet | Medium | 5777 | 59.8172 | 3978.1949 | 3091.2234 |  | 70 | 85 | 10.1828 | 25.1828 | 11.5686 | 1.5686 |  | 122.7515 | 122.7515 | 122.7515 | 122.7515 | 122.7515 | 122.7515 | 122.7515 | 122.7515 | 122.7515 | 122.7515 | 122.7515 | 122.7515 | 122.7515 | 129.2688 | 129.2688 | 129.2688 | 129.2688 | 129.2688 | 129.2688 | 129.2688 | 129.2688 | 129.2688 | 129.2688 | 202.7661 | 345.3541 | 332.8877
Total CI | HP | CI | Inlet | High | 36 | 24.9635 | 31.0022 | 24.09 |  | 70 | 85 | 45.0365 | 60.0365 | 45.5722 | 35.5722 |  | 0.40126 | 0.40126 | 0.40126 | 0.40126 | 0.40126 | 0.40126 | 0.40126 | 0.40126 | 0.40126 | 0.40126 | 0.40126 | 0.40126 | 0.40126 | 0.41415 | 0.41415 | 0.41415 | 0.41415 | 0.41415 | 0.41415 | 0.41415 | 0.41415 | 0.41415 | 0.41415 | 14.7322 | 25.0921 | 24.1863
Total CI | Trans | CI | Inlet | Transmision | 0 | 0 | 0 | 0 |  | 0 | 85 | 0 | 85 | 69.9268 | 59.9268 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total PE | LP | PE | Inlet | Low | 38595 | 13.7094 | 30829.1618 | 23955.545 |  | 70 | 60 | 56.2906 | 46.2906 | 32.1616 | 22.1616 |  | 517.5035 | 517.5035 | 517.5035 | 517.5035 | 517.5035 | 517.5035 | 517.5035 | 517.5035 | 517.5035 | 517.5035 | 517.5035 | 517.5035 | 517.5035 | 535.6706 | 535.6706 | 535.6706 | 535.6706 | 535.6706 | 535.6706 | 535.6706 | 535.6706 | 535.6706 | 535.6706 | 11871.2937 | 20219.3618 | 19489.492
Total PE | MP | PE | Inlet | Medium | 32978 | 11.2179 | 28309.3404 | 21997.5387 |  | 70 | 60 | 58.7821 | 48.7821 | 34.5923 | 24.5923 |  | 450.935 | 450.935 | 450.935 | 450.935 | 450.935 | 450.935 | 450.935 | 450.935 | 450.935 | 450.935 | 450.935 | 450.935 | 450.935 | 466.4449 | 466.4449 | 466.4449 | 466.4449 | 466.4449 | 466.4449 | 466.4449 | 466.4449 | 466.4449 | 466.4449 | 11470.9349 | 19537.4648 | 18832.2098
Total PE | HP | PE | Inlet | High | 41071 | 7.9447 | 37503.5584 | 29141.8297 |  | 70 | 60 | 62.0553 | 52.0553 | 37.7857 | 27.7857 |  | 559.8245 | 559.8245 | 559.8245 | 559.8245 | 559.8245 | 559.8245 | 559.8245 | 559.8245 | 559.8245 | 559.8245 | 559.8245 | 559.8245 | 559.8245 | 578.6353 | 578.6353 | 578.6353 | 578.6353 | 578.6353 | 578.6353 | 578.6353 | 578.6353 | 578.6353 | 578.6353 | 16077.7582 | 27383.8739 | 26395.3827
Total PE | Trans | PE | Inlet | Transmision | 0 | 0 | 0 | 0 |  | 0 | 60 | 0 | 60 | 45.5366 | 35.5366 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Total for inlets | 325806 |  | 266697.3033 | 207234.932 | [31 empty] | 93116.7398 | 158597.7984 | 152872.8037
|  |  |  | CHECK of totals | TRUE |  | TRUE | TRUE |  |  |  | REL | 43.8577
Checks of ICM mains km
Other checks - km against AAI
[5 empty] | LP | MP | HP | TP |  |  |  | Low Pressure | Medium Pressure | High Pressure | Transmission Pressure | Total | 2000: AAI, 22/2/1999, p.53.
|  |  |  | PE | 723.3 | 712.08 | 939.2 | [8 empty] | Length (km)
|  |  |  | UP | 216.42 | 20.32 | 104.02 |  |  |  |  | 3255 | 1298 | 2068 | 173 | 6795
|  |  |  | CI1 | 126.77 | 24.77 | 0.35
|  |  |  | CI2 | 2067.62 | 100 | 0.47
|  |  |  | PrS | 121.06 | 461.77 | 1049.28 | 173.316
[5 empty] | 3255.17 | 1318.94 | 2093.32 | 173.316 | 6840.746
|  |  |  | Error | 0.17 | 20.94 | 25.32 | 0.316 | 45.746
[5 empty] | 0.005223% | 1.613% | 1.224% | 0.1827% | 0.6732%

## kms replaced
Calculation of the extent of the ICB assets that are written off
1. Calculation of each of the class totals that were in the ICB
|  | Date for age range: | 2018-06-30
|  | Date for ICB: | 1998-06-30
|  |  | Age (max) | Age (min) | First used | Last used | Proportion of current assets in initial capital base |  |  | Source of age range: | AGN emails
|  | Cast Iron | 70 | 50 | 1948-06-30 | 1968-06-30 | All in the ICB
|  | Unprotected steel | 63 | 49 | 1955-06-30 | 1969-06-30 | All in the ICB
|  | Protected steel | 49 | 0 | 1969-06-30 | 2018-06-30 | Some in the ICB, some installled after
|  | Copper | 15 | 10 | 2003-06-30 | 2008-06-30 | None in the ICB
|  | HDPE 250 | 45 | 40 | 1973-06-30 | 1978-06-30 | All in the ICB
|  | HDPE 575 | 37 | 23 | 1981-06-30 | 1995-06-30 | All in the ICB
|  | PE 80 | 23 | 4 | 1995-06-30 | 2014-06-30 | Some in the ICB, some installled after
|  | PE 100 | 4 | 0 | 2014-06-30 | 2018-06-30 | None in the ICB
PE 80 included in the ICB
|  | Date of inventory | 1999-06-30
|  | PE80 pressure grade | PE80 (km) at 30 June 1999 | Pro-rating factor | Pro-rated PE80 (km) at 30 June 1998 |  |  |  |  | Source of 1999 information: | AGN email
|  | Low pressure | 20.1 | 0.75 | 15.075
|  | Medium pressure | 95.1 | 0.75 | 71.325
|  | High pressure | 112.9 | 0.75 | 84.675
|  | Total | 228.1 |  | 171.075
2. Program 1 - Replace most LP and MP CI / UPS
|  |  |  | 20 |  | 12 |  | 4
|  |  | km in ICB | km @2019 | % replaced | km @2021 | % replaced | km @2026 | % replaced
2 | Low | CI | 2194.39 | 373 | 83% | 300 | 86.33% | 0 | 100% | [5 empty] | 1
4 | Low | UPS | 216.42 | 36 | 83.37% | 32 | 85.21% | 0 | 100% | [5 empty] | 2
5 | Low | PS | 121.06 | 15 | 87.61% | 17 | 85.96% | 6 | 95.04% | [5 empty] | 3
| Low | PE | 723.3 | 203 | 71.93% | 154 | 78.71% | 0 | 100% | [5 empty] | 4
2 | Medium | CI | 124.77 | 17 | 86.37% | 7 | 94.39% | 0 | 100% | [5 empty] | 5
4 | Medium | UPS | 20.32 | 4 | 80.31% | 1 | 95.08% | 0 | 100% | [5 empty] | 6
|  | Total | 3400.26 | 648 | 80.94% | 511 | 84.97% | 6 | 99.82% | [5 empty] | 7
8
|  | 3. Program 2 - Replace poorly performing MP and HP PE | [12 empty] | 9
10
|  |  | km in ICB | km @2019 | % replaced | km @2021 | % replaced | km @2026 | % replaced | [5 empty] | 11
| Medium | PE | 712.08 | 687.325 | 3.476% | 555.525 | 21.99% | 451.125 | 36.65% | [5 empty] | 12
| High | PE | 939.2 | 849.675 | 9.532% | 687.875 | 26.76% | 490.375 | 47.79% | [5 empty] | 13
|  | Total | 1651.28 | 1537 | 6.921% | 1243.4 | 24.7% | 941.5 | 42.98% | [5 empty] | 14
4. Splitting of steel inlets into inlets associated with UPS and PS (pro-rate by km of respective mains)
| Low | PS | 121.06 | 35.87%
| Low | UPS | 216.42 | 64.13%
| Medium | PS | 461.77 | 95.79%
| Medium | UPS | 20.32 | 4.215%
5. Proportion of regulators in the initial capital base
|  | DORC inlets (value) | 266697.3033 | 98.73%
|  | DORC regulators (value) | 3429.7618 | 1.27%
|  | Total | 270127.0651
Information received from AGN - past and projected mains inventories, only re-formatted
AGN - SA Networks (excl Mildura) - km - projected 1 July 2026
|  |  | Cast Iron | Copper | UPS | Steel | PVC | Nylon | HDPE | HDPE | MDPE | HDPE | PE | Total
[6 empty] | (Protected) |  |  | PE 250 | PE 500/575 | PE 80 | PE 100 | (Unknown Class)
|  | Low | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 21 | 0 | 27
|  | Medium | 0 | 1 | 0 | 480 | 0 | 0 | 0 | 379.8 | 1387 | 657.9 | 0 | 2905.7
|  | High | 0 | 0 | 0 | 1140 | 0 | 0 | 0 | 405.7 | 1926 | 2224.8 | 0 | 5696.5
|  | Transmission | 0 | 0 | 0 | 214 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 214
|  | Total | 0 | 1 | 0 | 1840 | 0 | 0 | 0 | 786 | 3313 | 2904 | 0 | 8843
AGN - SA Networks (excl Mildura) - km - projected 1 July 2021
|  |  | Cast Iron | Copper | UPS | Steel | PVC | Nylon | HDPE | HDPE | MDPE | HDPE | PE | Total
[6 empty] | (Protected) |  |  | PE 250 | PE 500/575 | PE 80 | PE 100 | (Unknown Class)
|  | Low | 300 | 0 | 32 | 17 | 0 | 0 | 118 | 36 | 44 | 30 | 0 | 577
|  | Medium | 7 | 1 | 1 | 480 | 0 | 0 | 14 | 470.2 | 1387 | 538.5 | 0 | 2898.7
|  | High | 0 | 0 | 0 | 1140 | 0 | 0 | 0 | 603.2 | 1926 | 1134.3 | 0 | 4803.5
|  | Transmission | 0 | 0 | 0 | 214 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 214
|  | Total | 307 | 1 | 33 | 1851 | 0 | 0 | 132 | 1109.4 | 3357 | 1702.8 | 0 | 8493.2
AGN - SA Networks (excl Mildura) - km - actual 1/7/2019
|  |  | Cast Iron | Copper | UPS | Steel | PVC | Nylon | HDPE | HDPE | MDPE | HDPE | PE | Total
[6 empty] | (Protected) |  |  | PE 250 | PE 500/575 | PE 80 | PE 100 | (Unknown Class)
|  | Low | 373 | 0 | 36 | 15 | 0 | 0 | 155 | 48 | 58 | 12 | 0 | 697
|  | Medium | 17 | 1 | 4 | 480 | 0 | 0 | 125 | 491 | 1387 | 396 | 0 | 2901
|  | High | 0 | 0 | 0 | 1140 | 0 | 0 | 0 | 765 | 1926 | 711 | 0 | 4542
|  | Transmission | 0 | 0 | 0 | 214 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 214
|  | Total | 390 | 1 | 40 | 1850 | 0 | 0 | 279 | 1304 | 3372 | 1118 | 0 | 8354
Formulas:
First used = DATE(YEAR(D5)-[Age (max)],MONTH(D5),DAY(D5))
Last used = DATE(YEAR(D5)-[Age (min)],MONTH(D5),DAY(D5))

## Inflation assumptions
Calculation of the aggregate RAB for initial assets at the start of the next access arrangement period
Sources:
| Proxy price index - 1/7/1998 | 122.998 | [13 empty] | 2011 RFM
| Proxy price index - 31/12/2005 | 147.5 | [13 empty] | 2011 RFM
| Escalation factor - Dec 05 to end FY2010 | 1.1425 | [13 empty] | 2011 RFM
|  |  | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
| Inflation for 2010/11 to 2015/16 |  | 2011: 3.333%; 2012: 1.585%; 2013: 2.503%; 2014: 2.93%; 2015: 1.328%; 2016: 1.311% |  |  | 2016 RFM
| Inflation 2015/16 to 2020/21 |  | 2016: 1.311%; 2017: 1.476%; 2018: 1.909%; 2019: 1.784%; 2020: 1.84%; 2021: 2% |  |  | 2021 RFM
| RAB for mains @ 1/7/2011 ($Dec 2005) |  | 2011: 370.4034
| RAB for inlets and regulators @ 1/7/2011 ($Dec 2005) |  | 2011: 173.1487
| Remaining life for mains @1/7/2011 |  | 2011: 47
| Remaining life for inlets and regulators @ 1/7/2011 |  | 2011: 27
|  |  | end 2005 | end 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
| Inflation index - 1/7/1998 to 30/6/2021 |  | 1.1992 | 1.3701 | 1.4158 | 1.4382 | 1.4742 | 1.5174 | 1.5376 | 1.5577 | 1.5807 | 1.6109 | 1.6396 | 1.6698 | 1.7032
| Inflation index - 31/12/2005 to 30/6/2021 |  |  | 1.1425 | 1.1806 | 1.1993 | 1.2293 | 1.2654 | 1.2822 | 1.299 | 1.3181 | 1.3433 | 1.3673 | 1.3924 | 1.4203 |  | Check: | 0

## Results
Results - assets replaced
1. Replacement of low pressure and CI / UPS
[6 empty] | 1 | 3 | 5 | Replacements at end FY 19 | Replacements at end FY 21 | Replacements at end FY 26
|  |  |  | 1.1 Mains | ICB RAB | % WO - 2019 | % WO - 2021 | % WO - 2026
100% | Main | CI | Low | Cast iron - LP | 74800.8646 | 83% | 86.33% | 100% | 62086.2959 | 64574.6699 | 74800.8646 | 1
100% | Main | UPS | Low | Steel - LP | 0 | 83.37% | 85.21% | 100% | 0 | 0 | 0 | 2
100% | Main | PS | Low | Steel - LP | 8462.5621 | 87.61% | 85.96% | 95.04% | 7414.0041 | 7274.1964 | 8043.1389 | 3
100% | Main | PE | Low | PE - LP | 40002.4579 | 71.93% | 78.71% | 100% | 28775.4442 | 31485.413 | 40002.4579 | 4
100% | Main | CI | Medium | Cast iron - MP | 0 | 86.37% | 94.39% | 100% | 0 | 0 | 0 | 5
100% | Main | UPS | Medium | UPS - MP | 0 | 80.31% | 95.08% | 100% | 0 | 0 | 0 | 6
|  |  |  | Total |  |  |  |  | 98275.7442 | 103334.2793 | 122846.4614
1.2 Inlets
100% | Inlet | CI | Low | Cast iron - LP | 56752.1551 | 83% | 86.33% | 100% | 47105.4862 | 48993.4402 | 56752.1551
64.13% | Inlet | UPS | Low | Steel - LP | 0 | 83.37% | 85.21% | 100% | 0 | 0 | 0
35.87% | Inlet | UPS | Low | Steel - LP | 0 | 87.61% | 85.96% | 95.04% | 0 | 0 | 0
100% | Inlet | PE | Low | PE - LP | 19489.492 | 71.93% | 78.71% | 100% | 14019.6083 | 15339.9251 | 19489.492
100% | Inlet | CI | Medium | Cast iron - MP | 332.8877 | 86.37% | 94.39% | 100% | 287.5315 | 314.2116 | 332.8877
4.215% | Inlet | UPS | Medium | UPS - MP | 477.1293 | 80.31% | 95.08% | 100% | 383.2062 | 453.6485 | 477.1293
|  |  |  | Total |  |  |  |  | 61795.8322 | 65101.2254 | 77051.6641
|  |  |  | Grand total |  |  |  |  | 160071.5764 | 168435.5047 | 199898.1255
2. Corrective replacement of PE
2.1 Mains
100% | Main | PE | Medium | PE - MP | 31402.2519 | 3.476% | 21.99% | 36.65% | 1091.6789 | 6903.9708 | 11507.941 | 12
100% | Main | PE | High | PE - HP | 43113.1956 | 9.532% | 26.76% | 47.79% | 4109.5707 | 11536.8653 | 20602.9387 | 13
|  |  |  | Total |  |  |  |  | 5201.2497 | 18440.8361 | 32110.8797
2.2 Inlets
100% | Inlet | PE | Medium | PE - MP | 18832.2098 | 3.476% | 21.99% | 36.65% | 654.6896 | 4140.3727 | 6901.4146
100% | Inlet | PE | High | PE - HP | 26395.3827 | 9.532% | 26.76% | 47.79% | 2516.0207 | 7063.2661 | 12613.8284
|  |  |  | Total |  |  |  |  | 3170.7103 | 11203.6389 | 19515.243
|  |  |  | Grand total |  |  |  |  | 8371.96 | 29644.475 | 51626.1227
|  |  |  | Overall total |  |  |  |  | 168443.5364 | 198079.9797 | 251524.2482

## Figures for report 1
Figures for report - 1
|  |  |  | Km in ICB for asset type | Km replaced by: |  |  | Assets in opening RAB replaced by:
[5 empty] | 2019-06-30 | 2021-06-30 | 2026-06-30 | 2019-06-30 | 2021-06-30 | 2026-06-30
Low pressure and iron / steel replacement
| CI | Cast iron - LP | Cast iron (low pressure) | 2194.39 | 1821.39 | 1894.39 | 2194.39 | 109.1918 | 113.5681 | 131.553
| UPS | Steel - LP | Unprotected steel (low pressure) | 216.42 | 180.42 | 184.42 | 216.42 | 0 | 0 | 0
| PS | Steel - LP | Protected steel (low pressure) | 121.06 | 106.06 | 104.06 | 115.06 | 7.414 | 7.2742 | 8.0431
| PE | PE - LP | PE (low pressure) | 723.3 | 520.3 | 569.3 | 723.3 | 42.7951 | 46.8253 | 59.4919
| CI | Cast iron - MP | Cast iron (medium pressure) | 124.77 | 107.77 | 117.77 | 124.77 | 0.28753 | 0.31421 | 0.33289
| UPS | UPS - MP | Unprotected steel (medium pressure) | 20.32 | 16.32 | 19.32 | 20.32 | 0.38321 | 0.45365 | 0.47713
|  |  | Total | 3400.26 | 2752.26 | 2889.26 | 3394.26 | 160.0716 | 168.4355 | 199.8981
Non-performing PE replacement
|  |  | Medium pressure | 712.08 | 24.755 | 156.555 | 260.955 | 1.7464 | 11.0443 | 18.4094
|  |  | High pressure | 939.2 | 89.525 | 251.325 | 448.825 | 6.6256 | 18.6001 | 33.2168
|  |  | Total | 1651.28 | 114.28 | 407.88 | 709.78 | 8.372 | 29.6445 | 51.6261
Combined programs
|  |  | Grand total | 5051.54 | 2866.54 | 3297.14 | 4104.04 | 168.4435 | 198.08 | 251.5242

## Figures for report 2
Figures for report (2)
[18 empty] | Material type / pressure grade | Proportion replaced by:
|  | Material / pressure grade | [16 empty] | 30 June 2019 | 30 June 2021 | 30 June 2026
[7 empty] | 20 | 21 | 22 | 12 | 13 | 14 | 4 | 5 | 6 |  |  | Cast iron (low pressure) | 83% | 86.33% | 100%
|  | Main inventory (km) as at: |  | Initial capital base |  |  | 20: 30 June 2019; 12: 30 June 2021; 4: 30 June 2026 |  |  | Unprotected steel (low pressure) | 83.37% | 85.21% | 100%
|  | Material type / pressure grade |  | Low | Medium | High | Low | Medium | High | Low | Medium | High | Low | Medium | High |  |  | Protected steel (low pressure) | 87.61% | 85.96% | 95.04%
|  | Cast iron |  | 2194.39 | 124.77 |  | 373 | 17 |  | 300 | 7 |  | 0 | 0 |  |  |  | Cast iron (medium pressure) | 86.37% | 94.39% | 100%
|  | Unprotected steel |  | 216.42 | 20.32 |  | 36 | 4 |  | 32 | 1 |  | 0 | 0 |  |  |  | Unprotected steel (medium pressure) | 80.31% | 95.08% | 100%
|  | Protected steel |  | 121.06 |  |  | 20: 15; 12: 17; 4: 6 |  |  | PE - low pressure | 71.93% | 78.71% | 100%
|  | Polyethylene | HDPE 250 |  |  |  | 155 | 125 | 0 | 118 | 14 | 0 | 0 | 0 | 0 |  |  | PE - medium pressure | 3.476% | 21.99% | 36.65%
|  |  | HDPE 575 |  |  |  | 48 | 491 | 765 | 36 | 470.2 | 603.2 | 0 | 379.8 | 405.7 |  |  | PE - high pressure | 9.532% | 26.76% | 47.79%
| 1 |  | PE 80 |  |  |  | 0 | 71.325 | 84.675 | 0 | 71.325 | 84.675 | 0 | 71.325 | 84.675
| 2 |  | PE 100 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 3 |  | Total PE | 723.3 | 712.08 | 939.2 | 203 | 687.325 | 849.675 | 154 | 555.525 | 687.875 | 0 | 451.125 | 490.375
4
[45 empty] | 1 | 3 | 5
[7 empty] | 203 | 687.325 | 849.675 | 154 | 555.525 | 687.875 | 0 | 451.125 | 490.375 | [18 empty] | 13 |  |  |  | 10
[6 empty] | Check: | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [12 empty] | DORC proposal | ICB scaled according to DORC | Units (km of mains, number of inlets) | Average age of class | Total life from 1998 | Remaining life June 1998 | Depreciation to 2011 (13 years) | Individual tracking WDVs at June 2011 ($June 1998) | Remaining life at June 2011 - before adjustment | Remaining life at June 2011 - after adjustment | Depreciation to 2021 (10 years) | Individual tracking WDVs at June 2021 ($June 1998) | Individual tracking WDVs at June 2021 ($June 2021) | ICB mains and inlets capital base allocated according to "individual tracking" WDVs |  |  | Capital base value of ICB assets - apportioned by individual tracking | Proportion replaced by: |  |  | Capital base value of assets replaced by:
[18 empty] | Asset class | ICB assets at 30 June 2011 ($m Dec 2005) | Remaining lives as at 30 June 2011 | [24 empty] | 30 June 2019 | 30 June 2021 | 30 June 2026 | 30 June 2019 | 30 June 2021 | 30 June 2026
[18 empty] | Mains | 370.4034 | 47 | [6 empty] | Mains | [15 empty] | Mains
[18 empty] | Inlets and regulators | 173.1487 | 27 |  |  |  | - Low pressure | Protected steel | PS_Low_ | Protected steel - Low pressure | 7.7776 | 5.7727 | 121.06 | 24.7092 | 120 | 95.2908 | 0.78754 | 4.9852 | 82.2908 | 74.9607 | 0.66504 | 4.3201 | 7.3581 | 8.4626 |  | Protected steel - Low pressure | 8.4626 | 87.61% | 85.96% | 95.04% | 7.414 | 7.2742 | 8.0431 | 3
[18 empty] | Total mains, inlets and regulators | 543.5521 |  |  |  |  | - Medium pressure | Protected steel | PS_Medium_ | Protected steel - Medium pressure | 48.8766 | 36.277 | 461.77 | 17.4176 | 120 | 102.5824 | 4.5973 | 31.6797 | 89.5824 | 81.6915 | 3.878 | 27.8017 | 47.3523 | 54.4601 |  | Protected steel - Medium pressure | 54.4601 | n/a | n/a | n/a | n/a | n/a | n/a | b
[24 empty] | - High pressure | Protected steel | PS_High_ | Protected steel - High pressure | 94.1202 | 69.8575 | 1049.28 | 21.9547 | 120 | 98.0453 | 9.2625 | 60.595 | 85.0453 | 77.5034 | 7.8184 | 52.7766 | 89.8899 | 103.3827 |  | Protected steel - High pressure | 103.3827 | n/a | n/a | n/a | n/a | n/a | n/a | b
[24 empty] | - Transmission | Protected steel | PS_Transmission_ | Protected steel - Transmission | 53.4366 | 39.6615 | 173.316 | 23.2239 | 120 | 96.7761 | 5.3278 | 34.3337 | 83.7761 | 76.3318 | 4.498 | 29.8358 | 50.8167 | 58.4445 |  | Protected steel - Transmission | 58.4445 | n/a | n/a | n/a | n/a | n/a | n/a | b
[24 empty] | - Low pressure | Unprotected steel | UPS_Low_ | Unprotected steel - Low pressure | 11.119 | 8.2527 | 216.42 | 47.23 | 60 | 12.77 | 8.2527 | 0 | -0.23 | 0 | 0 | 0 | 0 | 0 |  | Unprotected steel - Low pressure | 0 | 83.37% | 85.21% | 100% | 0 | 0 | 0 | 2
[24 empty] | - Medium pressure | Unprotected steel | UPS_Medium_ | Unprotected steel - Medium pressure | 1.6721 | 1.2411 | 20.32 | 45 | 60 | 15 | 1.0756 | 0.16548 | 2 | 0.84615 | 0.16548 | 0 | 0 | 0 |  | Unprotected steel - Medium pressure | 0 | 80.31% | 95.08% | 100% | 0 | 0 | 0 | 6
[24 empty] | - High pressure | Unprotected steel | UPS_High_ | Unprotected steel - High pressure | 7.0073 | 5.2009 | 104.02 | 48.13 | 60 | 11.87 | 5.2009 | 0 | -1.13 | 0 | 0 | 0 | 0 | 0 |  | Unprotected steel - High pressure | 0 | n/a | n/a | n/a | n/a | n/a | n/a | b
[24 empty] | - Low pressure | PE | PE_Low_ | PE - Low pressure | 59.0882 | 43.8562 | 723.3 | 14.695 | 60 | 45.305 | 12.5843 | 31.2719 | 32.305 | 28.82 | 10.8508 | 20.4211 | 34.7816 | 40.0025 |  | PE - Low pressure | 40.0025 | 71.93% | 78.71% | 100% | 28.7754 | 31.4854 | 40.0025 | 4
[24 empty] | - Medium pressure | PE | PE_Medium_ | PE - Medium pressure | 43.6619 | 32.4066 | 712.08 | 12.1478 | 60 | 47.8522 | 8.8039 | 23.6027 | 34.8522 | 31.1713 | 7.5719 | 16.0308 | 27.3038 | 31.4023 |  | PE - Medium pressure | 31.4023 | 3.476% | 21.99% | 36.65% | 1.0917 | 6.904 | 11.5079 | 12
|  | Asset class | ICB ($m, June 1998) | [20 empty] | - High pressure | PE | PE_High_ | PE - High pressure | 56.2178 | 41.7258 | 939.2 | 8.8913 | 60 | 51.1087 | 10.6133 | 31.1124 | 38.1087 | 34.1773 | 9.1032 | 22.0092 | 37.4863 | 43.1132 |  | PE - High pressure | 43.1132 | 9.532% | 26.76% | 47.79% | 4.1096 | 11.5369 | 20.6029 | 13
|  | Mains | 373.6 | [14 empty] | Item | Inflation date basis | Mains | Comment | Inlets | Comment | - Low pressure | Cast iron - direct buried | CI_Low_DB | Cast iron - direct buried - Low pressure | 8.057 | 5.98 | 126.77 | 41.0903 | 85 | 43.9097 | 1.7705 | 4.2096 | 30.9097 | 27.532 | 1.529 | 2.6806 | 4.5656 | 5.2509 |  | Cast iron - direct buried - Low pressure | 5.2509 | 83% | 86.33% | 100% | 4.3584 | 4.5331 | 5.2509 | 1
|  | Inlets and regulators | 209.9 | [12 empty] | 1 | [1] | 2011 Capital base value for ICB assets | $Dec 2005 | 370.4034 | 2011 RFM | 170.9503 | 2011 RFM reduced by 1.3% | - Medium pressure | Cast iron - direct buried | CI_Medium_DB | Cast iron - direct buried - Medium pressure | 1.7577 | 1.3046 | 24.77 | 61.4571 | 85 | 23.5429 | 0.72036 | 0.5842 | 10.5429 | 8.7319 | 0.5842 | 0 | 0 | 0 |  | Cast iron - direct buried - Medium pressure | 0 | 86.37% | 94.39% | 100% | 0 | 0 | 0 | 5
|  | Total mains, inlets and regulators | 583.5 | [12 empty] | 2 | [2] | Depreciation from 2011 to 2021 | $Dec 2005 | 78.8092 | = [1] x 10 / 47 | 63.3149 | = [1] x 10 / 27 | - High pressure | Cast iron - direct buried | CI_High_DB | Cast iron - direct buried - High pressure | 0.058612 | 0.043503 | 0.35 | 20.3545 | 85 | 64.6455 | 0.0087482 | 0.034754 | 51.6455 | 46.6727 | 0.0074464 | 0.027308 | 0.046511 | 0.053493 |  | Cast iron - direct buried - High pressure | 0.053493 | n/a | n/a | n/a | n/a | n/a | n/a | b
[16 empty] | 3 | [3] | 2021 Capital base value for ICB assets | $Dec 2005 | 291.5941 | = [1] - [2] | 107.6354 | = [1] - [2] | - Low pressure | Cast iron - insertion | CI_Low_Insert | Cast iron - insertion - Low pressure | 106.3677 | 78.9478 | 2067.62 | 40.9758 | 85 | 44.0242 | 23.3127 | 55.6352 | 31.0242 | 27.6378 | 20.1301 | 35.5051 | 60.4727 | 69.5499 |  | Cast iron - insertion - Low pressure | 69.5499 | 83% | 86.33% | 100% | 57.7279 | 60.0416 | 69.5499 | 1
[16 empty] | 4 | [4] | 2021 Capital base value for ICB assets | $June 2021 | 414.1465 | = [3] x 1.42 | 152.8728 | = [3] x 1.42 | - Medium pressure | Cast iron - insertion | CI_Medium_Insert | Cast iron - insertion - Medium pressure | 4.1126 | 3.0524 | 100 | 61.3965 | 85 | 23.6035 | 1.6812 | 1.3713 | 10.6035 | 8.7878 | 1.3713 | 0 | 0 | 0 |  | Cast iron - insertion - Medium pressure | 0 | 86.37% | 94.39% | 100% | 0 | 0 | 0 | 5
[24 empty] | - High pressure | Cast iron - insertion | CI_High_Insert | Cast iron - insertion - High pressure | 0.026715 | 0.019828 | 0.47 | 20.3545 | 85 | 64.6455 | 0.0039874 | 0.015841 | 51.6455 | 46.6727 | 0.003394 | 0.012447 | 0.0212 | 0.024382 |  | Cast iron - insertion - High pressure | 0.024382 | n/a | n/a | n/a | n/a | n/a | n/a | b
[19 empty] | CHECK | TRUE | [5 empty] | Total | Total mains | 503.3575 | 373.6 | 6840.746 |  |  |  | 94.0032 | 279.5968 |  |  | 68.1761 | 211.4207 | 360.0948 | 414.1465 |  | Total mains | 414.1465 |  |  |  | 103.477 | 121.7751 | 154.9573
[27 empty] | Inlets | [15 empty] | Inlets | 0
[18 empty] | Approx checks for inflation | 2.5% inflation | 427.5616 |  | 157.8247 |  | - Low pressure | Steel | UPS_Low_Total steel | Steel - Low pressure | 12.2438 | 9.514 | 17447 | 37.048 | 60 | 22.952 | 5.3887 | 4.1253 | 9.952 | 9.3922 | 4.1253 | 0 | 0 | 0 |  | Steel - Low pressure | 0 | 84.89% | 85.48% | 98.22% | 0 | 0 | 0
[20 empty] | -3.138% |  | -3.138% |  | - Medium pressure | Steel | UPS_Medium_Total steel | Steel - Medium pressure | 19.7529 | 15.3488 | 22462 | 17.579 | 60 | 42.421 | 4.7037 | 10.6452 | 29.421 | 28.3863 | 3.7501 | 6.8951 | 11.7438 | 11.3198 |  | Steel - Medium pressure | 11.3198 | 3.385% | 4.008% | 4.215% | 0.38321 | 0.45365 | 0.47713
[24 empty] | - High pressure | Steel | UPS_High_Total steel | Steel - High pressure | 41.7758 | 32.4616 | 49781 | 22.9769 | 60 | 37.0231 | 11.3983 | 21.0633 | 24.0231 | 23.1201 | 9.1104 | 11.9529 | 20.3584 | 19.6235 |  | Steel - High pressure | 19.6235 | n/a | n/a | n/a | n/a | n/a | n/a
[24 empty] | - Transmission | Steel | UPS_Transmision_Total steel | Steel - Transmission | 0.2202 | 0.1711 | 9 | 23.0313 | 60 | 36.9687 | 0.060169 | 0.11094 | 23.9687 | 23.067 | 0.048093 | 0.062843 | 0.10703 | 0.10317 |  | Steel - Transmission | 0.10317 | n/a | n/a | n/a | n/a | n/a | n/a
[24 empty] | - Low pressure | Cast iron | CI_Low_Total CI | Cast iron - Low pressure | 92.0532 | 71.5292 | 117650 | 39.8026 | 85 | 45.1974 | 20.5737 | 50.9555 | 32.1974 | 31.095 | 16.387 | 34.5684 | 58.8775 | 56.7522 |  | Cast iron - Low pressure | 56.7522 | 83% | 86.33% | 100% | 47.1055 | 48.9934 | 56.7522
[24 empty] | - Medium pressure | Cast iron | CI_Medium_Total CI | Cast iron - Medium pressure | 3.9782 | 3.0912 | 5777 | 59.8172 | 85 | 25.1828 | 1.5958 | 1.4955 | 12.1828 | 11.5686 | 1.2927 | 0.20277 | 0.34535 | 0.33289 |  | Cast iron - Medium pressure | 0.33289 | 86.37% | 94.39% | 100% | 0.28753 | 0.31421 | 0.33289
[24 empty] | - High pressure | Cast iron | CI_High_Total CI | Cast iron - High pressure | 0.031002 | 0.02409 | 36 | 24.9635 | 85 | 60.0365 | 0.0052163 | 0.018874 | 47.0365 | 45.5722 | 0.0041415 | 0.014732 | 0.025092 | 0.024186 |  | Cast iron - High pressure | 0.024186 | n/a | n/a | n/a | n/a | n/a | n/a
[24 empty] | - Transmission | Cast iron | CI_Transmision_Total CI | Cast iron - Transmission | 0 | 0 | 0 | 0 | 85 | 85 | 0 | 0 | 72 | 69.9268 | 0 | 0 | 0 | 0 |  | Cast iron - Transmission | 0 | n/a | n/a | n/a | n/a | n/a | n/a
[24 empty] | - Low pressure | PE | PE_Low_Total PE | PE - Low pressure | 30.8292 | 23.9555 | 38595 | 13.7094 | 60 | 46.2906 | 6.7275 | 17.228 | 33.2906 | 32.1616 | 5.3567 | 11.8713 | 20.2194 | 19.4895 |  | PE - Low pressure | 19.4895 | 71.93% | 78.71% | 100% | 14.0196 | 15.3399 | 19.4895
[24 empty] | - Medium pressure | PE | PE_Medium_Total PE | PE - Medium pressure | 28.3093 | 21.9975 | 32978 | 11.2179 | 60 | 48.7821 | 5.8622 | 16.1354 | 35.7821 | 34.5923 | 4.6644 | 11.4709 | 19.5375 | 18.8322 |  | PE - Medium pressure | 18.8322 | 3.476% | 21.99% | 36.65% | 0.65469 | 4.1404 | 6.9014
[24 empty] | - High pressure | PE | PE_High_Total PE | PE - High pressure | 37.5036 | 29.1418 | 41071 | 7.9447 | 60 | 52.0553 | 7.2777 | 21.8641 | 39.0553 | 37.7857 | 5.7864 | 16.0778 | 27.3839 | 26.3954 |  | PE - High pressure | 26.3954 | 9.532% | 26.76% | 47.79% | 2.516 | 7.0633 | 12.6138
[24 empty] | - Transmission | PE | PE_Transmision_Total PE | PE - Transmission | 0 | 0 | 0 | 0 | 60 | 60 | 0 | 0 | 47 | 45.5366 | 0 | 0 | 0 | 0 |  | PE - Transmission | 0 | n/a | n/a | n/a | n/a | n/a | n/a
[27 empty] | Total inlets | 266.6973 | 207.2349 | 325806 |  |  |  | 63.593 | 143.6419 |  |  | 50.5252 | 93.1167 | 158.5978 | 152.8728 |  | Total inlets | 152.8728 |  |  |  | 64.9665 | 76.3049 | 96.5669
[27 empty] | Grand total - mains and inlets | 770.0548 | 580.8349 |  |  |  |  | 157.5962 | 423.2387 |  |  | 118.7013 | 304.5374 | 518.6926 | 567.0193 | 0 | Grand total - mains and inlets | 567.0193 |  |  |  | 168.4435 | 198.08 | 251.5242
[39 empty] | Check: | TRUE | TRUE | [5 empty] | Check: | TRUE | TRUE | TRUE