Revised Tariff Structure Statement

October 2016

Contents

1	Executive Summary	3

1.1	Stakeholder Engagement	3

1.2	Our approach to developing proposed tariffs	4

1.3	Proposed reforms	4

1.4	Indicative prices	6

1.5	Potential areas of future tariff reform	10

1.6	Feedback	10

2	Introduction	11

2.1	Ausgrid’s network	11

2.2	Regulatory and legal requirement for Tariff Structure Statement	11

2.3	Overview of developments in our regulatory environment	11

2.4	Demand management and the interaction with network pricing	12

2.5	Structure of this TSS	13

3	Proposed Tariff Classes	14

3.1	Rule requirement	14

3.2	Tariff classes	14

3.3	Future issues to consider	15

4	Proposed procedure for assigning or re-assigning retail customers to tariffs	16

4.1	The assignment of new retail customers	17

4.2	The re-assignement of existing retail customers	20

5	Long Run Marginal Cost	24

5.1	Our approach to estimating LRMC	24

5.2	Application of LRMC to tariffs	25

5.3	Converting LRMC to a peak energy charge	25

6	Peak periods for time of use tariffs	28

6.1	The introduction of seasonal peak periods	28

6.2	The summer peak period	30

6.3	The winter peak period	35

6.4	Summary of peak periods	37

7	Approach to Residual Cost Recovery	39

7.1	Allocating residual costs to tariff classes	40

7.2	Allocating residual costs to tariffs	41

7.3	Allocating residual costs to charging parameters	41

8	Departure from Efficient Pricing Principles	43

8.1	The strictly ‘efficient’ tariff	43

8.2	Ausgrid’s transition to efficient tariffs	44

8.3	Key reforms proposed by Ausgrid	46

9	Indicative Prices	55

9.1	Our approach to developing indicative prices	55

9.2	How to interpret indicative prices and customer bill impacts	55

9.3	Indicative prices for residential and small business customers	56

9.4	Indicative prices for low voltage TOU Capacity tariffs	58

9.5	Indicative prices for High and Sub-transmision Voltage TOU Capacity Tariffs (published only), and the new transmission-connected tariff	59

10	Customer Impacts Analysis	60

10.1	Residential Customers	60

10.2	Business Customers	62

# Executive Summary

Ausgrid is pleased to submit our revised Tariff Structure Statement (TSS), which describes our approach to setting tariffs along with our proposed tariff structures and indicative prices for the 1 July 2017 to 30 June 2019 period.

The National Electricity Rules (NER) require Ausgrid to transition towards more efficient, cost reflective tariffs, where the nature and speed of this shift is guided by the corresponding impacts on our customers. Therefore, Ausgrid proposes tariff reforms directed at striking an appropriate balance between:

improving the efficiency of our tariffs for the long term interests of customers; and

avoiding unacceptable customer bill impacts from year-to-year.

Importantly, tariffs that better reflect underlying cost drivers promote economic efficiency by encouraging our customers to make efficient consumption decisions that can reduce both their energy bill and the cost of providing the electricity network service they demand. Importantly, the regulatory framework governing the services we provide ensures that improvements in efficiency (cost savings) are ultimately passed on to customers through lower prices. It follows that tariff reform has the potential to provide significant and long-lasting benefits to our customers.

The appendices to this document constitutes an important element of our TSS and include more detail on the matters discussed in this document, along with further information required by the NER or requested by the Australian Energy Regulator (AER).

## Stakeholder Engagement

Since tariff reform has the potential to affect all of our customers, Ausgrid consulted extensively with our stakeholders throughout the process of developing this TSS.

Ausgrid commenced engaging with stakeholder in 2013/14 and continued to work closely with stakeholders up until the submission of this revised TSS. This included the release of an issues paper for comment, providing feedback to stakeholders, one-on-one interviews with stakeholders, an on-line portal for comments, social media dialogue and feedback as well as multiple presentations and workshops.

In the week after the AER’s draft decision, Ausgrid held a briefing session for stakeholders to outline the key issues and implications arising from the AER’s feedback. Ausgrid then issued and invited submissions on a short options paper that was circulated to stakeholders. After undertaking further analyses and considering stakeholder’s submissions, Ausgrid again met with stakeholders in mid-September to discuss Ausgrid’s preferred approach in the revised TSS and, importantly, to understand stakeholder views on that approach.

A key focus in this session was on what further reforms could practically be included in the revised TSS and, with these practicalities in mind, Ausgrid and stakeholders agreed on a number of key areas of focus for the next TSS.

The stakeholder feedback elicited from this process was invaluable to the development of this TSS. It enabled us to propose reforms that would provide the most benefit to customers and to identify and mitigate any potential adverse customer implications. A detailed description of our consultations process and an explanation of the feedback we received are presented in Appendix A.

Ausgrid also engaged closely with the AER throughout this process. This included submissions to the AER issues paper, attending AER workshops and forums as well as multiple meetings with the AER that continued right up to the weeks prior to submission of this revised TSS. Further, many elements of this revised TSS reflect feedback provided by the AER on Ausgrid’s initial TSS.

## Our approach to developing proposed tariffs

Consistent with the framework established by the NER, our approach to developing our proposed tariffs broadly involved:

developing an ‘efficient tariff’ directed purely at the promotion of economic efficiency;

evaluating the customer impacts arising from this ‘efficient tariff’, which we deemed unacceptable;

developing proposed reforms that strike a better balance between the promotion of economic efficiency for the long term interest of consumers and the mitigation of adverse customer bill impacts from year-to-year; and

engaging with stakeholders throughout this process.

Our assessment of customer bill impacts was a key element of this process and enabled us to ensure that our proposed reforms either delivered a cost saving to customers, or kept bill changes in line with the rate of consumer price inflation (CPI). Our assessment of customer impacts is presented in section 10.

## Proposed reforms

Following an extensive consultation process spanning multiple years as well as detailed consideration of potential tariff reform options and the associated efficiency and customer bill implications, Ausgrid developed a set of tariff reforms that are are briefly summarised in the figure below.

A detailed description of Ausgrid’s tariff structure reforms, incorporating the AER’s feedback, and the reasons they were selected is included in section 6 and section 8.3, as well as in Appendix A.

Figure 1 – Key reforms in this TSS, incorporating feedback from the AER

| Proposed Reform | Key reasons |
| --- | --- |
| Replace the declining block tariff (DBT) with a flat tariff | While a flat tariff reduces the flexibility for Ausgrid to manage the bill impact of transitioning to a usage charge that reflects long run marginal cost (LRMC), in the AER’s opinion, a flat tariff strikes a better balance between customer impact and more quickly reducing usage charges to reflect estimated long run marginal cost. Ausgrid supports the AER’s view on this matter, and so Ausgrid is comfortable with reflecting the AER’s preference for a flat tariff structure in this TSS. |
| Apply a re-balancing constraint to limit increases in fixed charges | More efficient tariffs involve higher fixed charges – a rebalancing constraint that limits increases in fixed charges provides certainty to customers and mitigates the risk of adverse bill impacts. |
| Introduce seasonal peak periods | Peak periods in the summer and winter months only will better align the application of a peak price with the timing of peak demand. Further, replacing the former peak period with a (much cheaper) shoulder period in the non-summer and non-winter months has favourable customer bill impacts. |
| Reform the winter peak period for residential customers | A 5pm to 9pm peak period for residential customers in the winter months will better target the timing of peak demand in the winter months, which is driven by residential customers. |
| Assigning new customers and reassigning some existing customers to more cost reflective tariffs | This ensures that a greater proportion of customers are assigned to more cost reflective tariffs, with the option to opt-out to transitional tariffs. |
| Introduce new transitional tariffs to mitigate customer bill impacts arising from changes to our assignment and reassignment process | Transitional tariffs enable customers to be transitioned to more efficient, cost reflective tariffs while managing the customer bill impacts from year-to-year. |
| Remove the shoulder period on weekends for small business customers | This aligns the treatment of small business customers on weekends with that of medium and large business customers. This reform has immaterial implications for price stability across the relevant customer segments. |
| Introduce a new tariff for new transmission-connected customers | This improves the cost reflectivity of tariffs by ensuring that these customers do not bear the cost of services they do not use. |

## Indicative prices

We include below indicative prices to provide stakeholders with an understanding of the potential pricing outcomes arising from application of this TSS.

The next stage in the pricing process is for Ausgrid to submit to the AER an annual pricing proposal for assessment against the requirements of the NER.

It is important to bear in mind that the prices presented below are indicative only. Ausgrid operates under a revenue cap framework, which means that if our revenue exceeds or is below the annual revenue requirement determined by the AER, adjustments will be made to future prices to reflect this excess or shortfall. However, there is considerable uncertainty as to the annual revenue requirement in the current regulatory control period due to the Australian Competition Tribunal’s (the Tribunal’s) decision to set aside the AER’s final revenue reset decision, and the AER’s application for judicial review of the Tribunal’s decision, which is underway at the time of preparing this TSS. Further, changes in expected use of our network may also lead to departures from the illustrative prices presented below.

Prior to the commencement of each year in a regulatory control period, Ausgrid is required to submit to the AER actual prices for the forthcoming year in an annual pricing proposal, which the AER assesses against the requirements of the NER. Ausgrid is required to explain any material variation in prices between that in the annual pricing proposal and the indicative prices presented in this TSS.

### How to interpret indicative prices and customer impacts

It is of fundamental importance that the customer bill impacts arising from the reforms proposed in this TSS are not inferred from inspection of the indicative prices alone.

The proposed introduction of seasonality and narrowing of the winter peak period for residential customers gives rise to a substantial reallocation of our customers’ usage from the peak period to the shoulder period. In other words, a substantial proportion of a customer’s usage that would previously have fallen in the peak period will now fall in a shoulder period, where the applicable price is approximately 80 per cent cheaper than in the peak period.

Table 1 – Ausgrid’s Indicative NUOS (Excl. GST) Prices – Residential and Small Business Customer, by Published Tariff

| Tariff Code | Tariff Name | Charging Parameter | Unit | Actual FY 2016/17 | Indicative FY 2017/18 | Indicative FY 2018/19 |
| --- | --- | --- | --- | --- | --- | --- |
| EA010 | Residential non-TOU Tariff | Fixed Charge | c/day | 33.24 | 33.91 | 34.76 |
|  |  | First Block Energy Charge / Flat Usage Charge | c/kWh | 10.97 | 10.95 | 11.20 |
|  |  | Second Block Energy Charge | c/kWh | 10.68 | - | - |
|  |  | Third Block Energy Charge | c/kWh | 10.42 | - | - |
| EA050 | Small Business non-TOU Tariff | Fixed Charge | c/day | 119.78 | 122.18 | 125.23 |
|  |  | First Block Energy Charge / Flat Usage Charge | c/kWh | 10.79 | 10.77 | 11.04 |
|  |  | Second Block Energy Charge | c/kWh | 10.48 | - | - |
| EA025 | Residential TOU Tariff | Fixed Charge | c/day | 41.45 | 42.27 | 43.33 |
|  |  | Peak Energy Charge | c/kWh | 26.47 | 26.60 | 30.69 |
|  |  | Shoulder Energy Charge | c/kWh | 5.48 | 5.48 | 6.32 |
|  |  | Off-peak Energy Charge | c/kWh | 2.79 | 2.81 | 3.24 |
| EA225 | Small Business TOU Tariff | Fixed Charge | c/day | 118.21 | 120.57 | 123.58 |
|  |  | Peak Energy Charge | c/kWh | 21.78 | 21.91 | 25.62 |
|  |  | Shoulder Energy Charge | c/kWh | 6.91 | 6.92 | 8.04 |
|  |  | Off-peak Energy Charge | c/kWh | 2.11 | 2.14 | 2.50 |
| EA030 | Controlled Load 1 | Fixed Charge | c/day | 0.14 | 0.14 | 0.14 |
|  |  | Anytime Energy Charge | c/kWh | 1.77 | 1.81 | 1.85 |
| EA040 | Controlled Load 2 | Fixed Charge | c/day | 10.04 | 10.24 | 10.50 |
|  |  | Anytime Energy Charge | c/kWh | 4.69 | 4.80 | 4.92 |
| EA332 | Residential Transitional TOU | Fixed Charge | c/day | - | - | 34.76 |
|  |  | Peak Energy Charge | c/kWh | - | - | 11.20 |
|  |  | Shoulder Energy Charge | c/kWh | - | - | 11.20 |
|  |  | Off-peak Energy Charge | c/kWh | - | - | 11.20 |
| EA333 | Business Transitional TOU | Fixed Charge | c/day | - | - | 125.23 |
|  |  | Peak Energy Charge | c/kWh | - | - | 11.04 |
|  |  | Shoulder Energy Charge | c/kWh | - | - | 11.04 |
|  |  | Off-peak Energy Charge | c/kWh | - | - | 11.04 |

Table 2 – Ausgrid’s Indicative NUOS (Excl. GST) Prices – Low Voltage TOU Capacity Tariffs

| Tariff Code | Tariff Name | Charging Parameter | Unit | Actual FY 2016/17 | Indicative FY 2017/18 | Indicative FY 2018/19 |
| --- | --- | --- | --- | --- | --- | --- |
| EA302 | LV TOU Capacity 40-160 MWh pa | Fixed Charge | c/day | 580.35 | 591.96 | 606.75 |
|  |  | Peak Energy Charge | c/kWh | 5.42 | 5.47 | 6.32 |
|  |  | Shoulder Energy Charge | c/kWh | 2.75 | 2.77 | 3.20 |
|  |  | Off-peak Energy Charge | c/kWh | 1.66 | 1.67 | 1.92 |
|  |  | Capacity Charge | c/kVA/d | 35.19 | 35.89 | 36.79 |
| EA305 | LV TOU Capacity 160-750 MWh pa | Fixed Charge | c/day | 1748.48 | 1783.45 | 1828.04 |
|  |  | Peak Energy Charge | c/kWh | 4.94 | 4.99 | 5.76 |
|  |  | Shoulder Energy Charge | c/kWh | 2.42 | 2.45 | 2.82 |
|  |  | Off-peak Energy Charge | c/kWh | 1.61 | 1.64 | 1.89 |
|  |  | Capacity Charge | c/kVA/d | 35.19 | 35.89 | 36.79 |
| EA310 | LV TOU Capacity > 750 MWh pa | Fixed Charge | c/day | 2184.66 | 2228.36 | 2284.07 |
|  |  | Peak Energy Charge | c/kWh | 4.37 | 4.41 | 5.09 |
|  |  | Shoulder Energy Charge | c/kWh | 2.17 | 2.19 | 2.48 |
|  |  | Off-peak Energy Charge | c/kWh | 1.46 | 1.48 | 1.71 |
|  |  | Capacity Charge | c/kVA/d | 35.19 | 35.89 | 36.79 |

Table 3 – Ausgrid’s Indicative NUOS (Excl. GST) Prices – HV and STV TOU Capacity Tariffs and the Transmission-Connected Tariff

| Tariff Code | Tariff Name | Charging Parameter | Unit | Actual FY 2016/17 | Indicative FY 2017/18 | Indicative FY 2018/19 |
| --- | --- | --- | --- | --- | --- | --- |
| EA370 | High Voltage TOU Capacity (system) Tariff | Fixed Charge | c/day | 4372.54 | 4459.99 | 4571.49 |
|  |  | Peak Energy Charge | c/kWh | 3.19 | 3.20 | 3.46 |
|  |  | Shoulder Energy Charge | c/kWh | 2.13 | 2.14 | 2.46 |
|  |  | Off-peak Energy Charge | c/kWh | 1.46 | 1.47 | 1.59 |
|  |  | Capacity Charge | c/kVA/d | 18.88 | 19.26 | 19.74 |
| EA380 | High Voltage TOU Capacity (sub-station) Tariff | Fixed Charge | c/day | 4372.54 | 4459.99 | 4571.49 |
|  |  | Peak Energy Charge | c/kWh | 2.80 | 2.81 | 3.04 |
|  |  | Shoulder Energy Charge | c/kWh | 1.89 | 1.90 | 2.18 |
|  |  | Off-peak Energy Charge | c/kWh | 1.30 | 1.31 | 1.42 |
|  |  | Capacity Charge | c/kVA/d | 16.20 | 16.52 | 16.93 |
| EA390 | Sub-transmission Voltage TOU Capacity (system) Tariff | Fixed Charge | c/day | 5465.67 | 5574.98 | 5714.36 |
|  |  | Peak Energy Charge | c/kWh | 2.57 | 2.58 | 2.79 |
|  |  | Shoulder Energy Charge | c/kWh | 1.87 | 1.87 | 2.16 |
|  |  | Off-peak Energy Charge | c/kWh | 1.26 | 1.27 | 1.37 |
|  |  | Capacity Charge | c/kVA/d | 6.01 | 6.13 | 6.28 |
| EA391 | Sub-transmission Voltage TOU Capacity (sub-station) Tariff | Fixed Charge | c/day | 5465.67 | 5574.98 | 5714.36 |
|  |  | Peak Energy Charge | c/kWh | 2.30 | 2.31 | 2.50 |
|  |  | Shoulder Energy Charge | c/kWh | 1.68 | 1.68 | 1.94 |
|  |  | Off-peak Energy Charge | c/kWh | 1.12 | 1.12 | 1.22 |
|  |  | Capacity Charge | c/kVA/d | 5.20 | 5.31 | 5.44 |
| EA501 | Transmission-connected Tariff | Network Access Charge | c/day | - | - | 0 |
|  |  | Peak Energy Price | c/kWh | - | - | 1.25 |
|  |  | Shoulder Energy Price | c/kWh | - | - | 1.25 |
|  |  | Off-peak Energy Price | c/kWh | - | - | 1.25 |
|  |  | Capacity Charge | c/kVA/d | - | - | 3.10 |

## Potential areas of future tariff reform

Ausgrid’s construction of the ‘efficient tariff’ and assessment of the corresponding customer bill impacts identified a clear need to transition to cost reflective tariffs, where the nature and speed of this transition will be guided by an assessment of customer impacts. Indeed, it is likely that this transition will span multiple regulatory control periods.

Our review of tariffs and engagement with stakeholders identified a range of potential tariff reforms – each with different implications for economic efficiency and customer bill impacts – that could be included as part of this first step in the transition to efficient tariffs under the new pricing rules in the NER. Bearing in mind the feedback we received from stakeholders as to price stability implications, Ausgrid selected the reforms proposed in this TSS so as to achieve the greatest possible improvement in tariff efficiency while avoiding unacceptable bill impacts.

Of course, in some circumstances Ausgrid had to exercise its discretion and best judgement by deciding that it is in the best interests of customers to delay the implementation of some potentially meritorious reforms until the next regulatory control period, ie, so as to mitigate the risk of unacceptable customer impacts. This decision reflects a risk that the implementation of reforms without proper analysis of the consequences may lead to significant price and so bill volatility for some customers. Moreover, since this TSS will apply for only two years, it is in the long term interest of our customers to delay further reforms until our next TSS, ie, so that Ausgrid has time to undertake the analysis required to ensure that reforms do not result in unacceptable customer impacts.

Ausgrid proposes to consider such reforms as part of the next TSS to be implemented from 1 July 2019, the consultation for which is due to commence before the end of the 2016 calendar year. Ausgrid and our stakeholders have identified the following matters for consideration in the next TSS:

the future of the non-TOU tariff for residential and small business customers;

the potential to implement a demand charge for residential customers;

the scope to reform the peak periods and the weekend shoulder period;

how to mitigate customer bill impacts for low-income and vulnerable householders; and

the scope to adopt tariff eligibility criteria based on the size of the electrical connection.

Ausgrid explains the basis for delaying until the next TSS further consideration of tariff eligibility criteria based on the size of electrical connection in the box in section 8.3.

Ausgrid looks forward to further consultation with stakeholders on these matters and continuing to work together in developing and implementing Ausgrid’s transition to efficient tariffs, consistent with the requirements of the NER.

## Feedback

Ausgrid’s welcomes feedback from our customers and stakeholders and is pleased to invite feedback on our TSS to:

pricing@ausgrid.com.au; or

Chief Operating Officer 
GPO Box 4009
Sydney NSW 2001.

Alternatively, customers may also like to make comments via Ausgrid’s Facebook page at www.facebook.com/Ausgrid or via twitter.com/Ausgrid.

# Introduction

## Ausgrid’s network

Ausgrid is a key element of the electricity supply chain that delivers electricity to customers’ premises. We’re often called “the poles and wires”. Once power is generated, it is transported as high-voltage electricity over long distances by TransGrid.

Ausgrid’s network then transforms it into lower voltage electricity at sub-transmission and zone substations. This electricity is again transformed at local distribution substations so it can be supplied to customers’ premises. We manage more than 200 zone substations, 30,000 distribution substations, 48,000 kilometers of power lines and 500,000 power poles. These assets, along with our depots and other properties, are known as our regulated asset base and are worth approximately $15 billion.

Our network transports electricity to more than 1.6 million customers in Sydney, the Central Coast and the Hunter Region.

## Regulatory and legal requirement for Tariff Structure Statement

On 1 December 2014, the National Electricity Rules (NER) were amended to include new distribution network pricing arrangements, which included:

new pricing objectives and principles mandating the use of cost-reflective tariffs;

more transparency about how distributors develop network tariffs;

greater consultation with consumers and retailers;

a new process with network tariffs determined as part of a 5-yearly revenue reset process; and

within-period amendments to the TSS which are only allowed due to unforeseen events.

Ausgrid is required under Section 6.8.2 of the NER to submit to the AER a TSS. This document provides stakeholders with a comprehensive understanding of our potential approach to setting our tariffs and an indication of how the structure and level of tariffs may change over the regulatory control period.

This document, along with the accompanying appendices, is Ausgrid’s revised TSS.

## Overview of developments in our regulatory environment

The AER regulates the services Ausgrid provides. The AER sets the maximum revenue that Ausgrid can derive in each year of a regulatory control period, where this amount is set equal to the efficient costs of providing the services our customers demand, as determined by the AER.

The AER’s Final decision – which has been set aside by the Tribunal and is subject to the Judicial Review – permits Ausgrid to recover $6,576.4 million ($nominal) from customers over the 2015–19 regulatory control period, which is around 33 per cent less revenue than proposed by Ausgrid, as shown in Figure 2 below.

Figure 2 – Ausgrid's past total revenue, proposed total revenue and AER total 
revenue allowance – distribution and transmission

Source: AER analysis.

Ausgrid successfully appealed to the Tribunal a number of aspects of the AER’s final determination. The Tribunal’s decision was to set aside the AER’s final decision, however, the AER subsequently applied to the Federal Court for judicial review of the Tribunal’s decision. The judicial review is still underway at the time of preparing this TSS.

It follows that, at the time of preparing this TSS, there is considerable uncertainty as to the outcome of this judicial review, and the potential form of any remade decision by the AER for the current regulatory period. Therefore, there is present uncertainty as to the target revenue requirement used by Ausgrid to set prices. For the purpose of developing indicative prices for our revised TSS, Ausgrid has escalated its forecast revenue for FY2017 by reference to the Reserve Bank of Australia’s (RBA’s) most recent forecast of consumer price inflation.

## Demand management and the interaction with network pricing

The scope for cost reflective pricing to provide efficient price signals to all customers may be limited by a range of factors, eg, the extent to which retailers pass through network price signals. Therefore, Ausgrid uses demand management as a network tool directed at reducing network costs, and so network prices.

Over the last 15 years, Ausgrid has developed a suite of demand management, or non-network, solutions to complement network pricing in managing customer demand and maintaining supply reliability, at least cost. The demand management solutions currently available include the use of embedded generation, customer power factor correction, dynamic peak rebate offers and direct load control of customer appliances, eg, hot water systems, pool pumps and air conditioners.

The load control of air conditioners in particular offers significant opportunities for reducing network costs since air conditioning load is a significant driver of peak demand. Ausgrid’s CoolSaver air conditioner demand response trial has both proven the viability of the demand response technology introduced as part of Australian Standard AS4755, and the willingness of customers to reduce their demand when faced with a modest incentive to do so. Further, changes in technology, eg, energy storage, smart meters and energy management systems, are expected to increase the number of viable, cost effective solutions available to Ausgrid.

Ausgrid’s demand management solutions are necessarily supported by network pricing structures, which encourage customers to make efficient decisions on how they use the network and provide a foundation upon which demand management programs can be introduced. Instances in which network pricing and demand management complement each other include the following, ie:

Controlled load tariffs, in conjunction with load control equipment, can be used to shift appliance usage from peak periods to off-peak periods. Ausgrid has over 500,000 customers on controlled load tariffs, which contributes to an overall system peak demand reduction of 300MW in winter and 100MW in summer. Where locational needs are identified, these tariffs offer the potential for modifications in scheduling to meet local requirements.

Time of use Capacity tariffs are mandatory for all medium to large business customers (>40 MWh pa), and account for approximately half of the electricity consumption from all Ausgrid customers. Importantly, these capacity charges provide a price signal to encourage customer investment in power factor correction, one of the lowest cost demand management solutions available, and the availability of interval data supports the use of a dynamic peak rebate offer to customers.

Time-of-use tariffs – Ausgrid first introduced TOU tariffs over ten years ago and currently have over 440,000 customers (or 26% of our 1.7 million customers) on a TOU or TOU capacity tariff. Although the lack of remote communications from Type 5 metering has hampered the introduction of more innovative tariff options to certain customer segments, the penetration of smart-meters in the coming years is expected to offer significant opportunities, eg, rebate offers such as a dynamic peak rebate or air conditioner load control may be demand management solutions that contribute towards deferring network investment.

## Structure of this TSS

The remainder of this TSS is structured as follows:

in section 3, Ausgrid sets out its tariff classes;

in section 4, Ausgrid describes its approach to assigning and reassigning customers to tariffs;

in section 5, Ausgrid explains its approach to estimating long run marginal cost;

in section 6, Ausgrid summarises the analysis underpinning the definition of the peak periods for TOU tariffs;

in section 7, Ausgrid sets out its approach to allocating residual costs;

in section 8, Ausgrid describes the key reforms presented in this TSS;

in section 9, Ausgrid presents indicative prices for the remainder of the current regulatory control period; and

in section 10, Ausgrid summarises its assessment of customer bill impacts.

Further, our TSS includes appendices that contain detailed information in support of the outcomes summarised in this document, consistent with the requirements of the NER or as requested by the AER.

# Proposed Tariff Classes

## Rule requirement

The NER defines tariff classes as representing ‘a class of customers for one or more direct control services, who are subject to a particular tariff or particular tariffs’. Further, the NER require that each tariff class must be constituted with regard to the need to group retail customers together on an economically efficient basis to the extent that this is desirable to do given the need to avoid unnecessary transaction costs.

### Purpose of tariff classes

The purpose of tariff classes under the NER arises from their role in:

implementing price limits – there are restrictions on DUOS price increases at the tariff class level, and so the degree of flexibility afforded to a DNSP to re-balance DUOS tariffs is to some extent determined by the number of tariff classes; and

avoiding economic subsidies – the revenue expected to be recovered from each tariff class must lie on or between the standalone and avoidable cost of providing the relevant services.

The diminished importance of the concept of tariff class under the recently amended distribution pricing principles is highlighted by the comments made by the AEMC in their Rule Determination, ie, the AEMC stated that:

“…it is unclear that there are efficiency benefits in having a larger number of tariff classes. A single tariff class can contain several tariffs... Each of those different tariffs can send customised network cost signals to different customers even if all of those consumers are in the same tariff class. Accordingly, rather than focusing on how tariff classes are determined, it is more important that DNSPs develop tariffs that are cost reflective and assign consumers to a tariff that sends the right pricing signals about the network costs caused by their usage.”

## Tariff classes

Ausgrid’s tariff classes are directed at promoting economic efficiency while avoiding unnecessary transaction costs on Ausgrid, retailers and retail customers. This is achieved by grouping together retail customers that impose similar costs on the network. Consistent with this approach, Ausgrid groups retail customers into the following tariff classes, ie:

Low voltage tariff class;

High voltage tariff class;

Sub-transmission voltage tariff class;

Transmission connected tariff class; and

Unmetered tariff class.

Table 4 presents the tariff class descriptions.

Table 4 – Ausgrid’s Proposed Tariff Class Descriptions

| Tariff Class | Definition | Network Tariffs |
| --- | --- | --- |
| Low Voltage | Applicable to separately metered low voltage (400V or 230V) connections, as measured at the metering point. | EA010 – Residential Non TOU EA025– Residential Time of Use EA030 – Controlled load 1 EA040 – Controlled load 2 EA050– Small Business Non TOU EA225– Small Business Time of Use EA302 – LV TOU capacity (40-160 MWh pa) EA305– LV TOU capacity (160-750 MWh pa) EA310 – LV TOU capacity (>750 MWh pa) EA325 – LV Connection (Standby - Closed) EA332 – Residential transitional TOU EA333 – Small business transitional TOU |
| High Voltage | Applicable to any connection at high voltage (11kV) level, as measured at the metering point. | EA360 – HV Connection (Standby - Closed) EA370 – HV Connection (System) EA380 – HV Connection (Substation) Individually calculated tariffs |
| Sub-transmission | Applicable to any connection at a sub-transmission voltage (132/66/33kV), as measured at the metering point. | EA390 – ST Connection EA391 – ST (Substation) Individually calculated tariffs |
| Unmetered | Applicable to any LV connection that is defined as an unmetered supply by Ausgrid in consultation with AEMO as per clause S7.2.3 (Item 5) of the NER. | EA401 – Public Lighting EA402 – Constant Unmetered EA403 – EnergyLight |
| Transmission | Applicable to any site that is connected to the electricity transmission network. | Customer Specific Prices EA501 –Transmission Tariff |

## Future issues to consider

Ausgrid notes that there may be scope to disaggregate our tariff classes in the future. This may include consideration of whether it is desirable to group customers by reference to their locations (eg. regional pricing), or even by reference to their connection characteristics or network usage patterns (eg. air conditioning). However, Ausgrid believes that in the presence of widespread excess network capacity, there is unlikely to be strong economic justification for further disaggregating tariff classes.

Nevertheless, Ausgrid will consult with stakeholders and explore these issues as part of the next TSS.

# Proposed procedure for assigning or re-assigning retail customers to tariffs

Ausgrid undertook an extensive review of its tariff assignment and reassignment procedures and identified key areas of improvement. The key reforms identified as part of this review include the following changes to the eligibility criteria for our primary default tariffs in the low voltage tariff class from 1 July 2018:

assigning no more residential and small business customers to non-TOU network tariffs, ie, non-TOU network tariffs will become closed and opt-out only;

assigning all new residential and small business customers to a TOU network tariff, with the option to opt-in to a transitional TOU tariff; and

assigning existing customers with an interval (or better) meter, that are currently assigned to a non-TOU tariff, to a transitional TOU network tariff.

Consistent with our focus on mitigating customer impacts, Ausgrid proposes to implement these changes in the final year of the regulatory control period so as to afford retailers and electricity consumers adequate time to prepare for this proposed change. In the meantime, our current procedures will continue to apply.

Ausgrid’s procedure for assigning new retail customers to a default NUOS tariff and for reassigning existing retail customers to another NUOS tariff is summarised below.

The box below contains some helpful definitions to assist customers in understanding our procedures.

The definition of a residential and business customer Ausgrid defines a ‘residential customer’ to be a customer that uses their connection to the low-voltage level of Ausgrid’s network to supply electricity for domestic purposes, except where this purpose predominantly relates to a commercial activity, ie: - a domestic purpose is defined as general household activities, such as watching television, personal computer usage, refrigeration, washing; and - a commercial activity is defined as the use of their network for commercial financial gain, such as where the customer is a caravan park operator. A ‘business customer’ is defined as a customer connected to Ausgrid’s low voltage electricity distribution network that does not satisfy the residential customer definition. The definition of new and existing customers For the purpose of the assignment and reassignment process explained in this TSS, from 1 July 2018 a ‘new customer’ is defined as a newly energised connection, ie, a connection that is energised on or after 1 July 2018. An ‘existing customer’ is defined to be a customer that exists at the time that Ausgrid undertakes the annual review and assessment for the FY2018/19 pricing proposal.

## The assignment of new retail customers

Ausgrid will assign a new retail customer (ie, a newly energised connections) to a default network use of system tariff in accordance with the following two-step process, ie:

assign the new retail customer to a tariff class in accordance with the procedure for assigning retail customers to a tariff class set out in Attachment 14 of the AER Final Decision; and

assign the new retail customer to a default NUOS tariff within their applicable tariff class in accordance with the procedure set out in this section.

These two steps are explained in more detail below.

### Procedure for assigning new retail customers to a NUOS tariff class

Consistent with the procedure set out in Attachment 14 of the AER’s Final Decision, Ausgrid’s procedure for assigning new retail customers to a tariff class is illustrated in Figure 3 below.

Figure 3 – Overview of proposed NUOS tariff class assignment procedure

Yes

No

Connected to Electricity Distribution Network?

Unmetered

Metered

Transmission-connected Tariff Class

Voltage at metering point

Unmetered Tariff Class

230V/400V

5kV, to 22kV

33kV, 66kV and 132kV

High Voltage Tariff Class

Low Voltage Tariff Class

Sub-transmission Voltage Tariff Class

### Procedure for assigning new retail customers to a default NUOS tariff

Ausgrid’s procedure for assigning new retail customers to a default NUOS tariff is directed at assigning the relevant customer to the most economically efficient NUOS tariff possible, given the absence of historical network usage information. Ausgrid proposes to achieve this by assigning new retail customers to a NUOS tariff within the applicable tariff class by reference to a range of factors, such as:

- the voltage level of supply as measured at the metering point;

- the type of metering installed, e.g. unmetered or metered;

- the nature of the network usage, e.g. residential or business; and

- the connection to Ausgrid’s electricity network, e.g. distribution or transmission connected.

A key change in Ausgrid’s procedure for assigning new customers to a tariff is that, from 1 July 2018, all new residential and small business customers will be assigned to a default TOU tariff (EA025 for residential customers and EA225 for small business customers), with the option to opt-in to a transitional TOU tariff (EA332 for residential customers and EA333 for small business customers). Transitional tariffs are discussed in more detail in section 8.3.6.

An overview of the proposed procedure for assigning new retail customers to a default NUOS tariff under the proposed tariff reform agenda is presented in Figure 4. It is important to note that Ausgrid will continue to apply the existing procedure prior to 1 July 2018, which is the date on which the last of the reforms in this TSS come into effect. Ausgrid’s existing procedures are set out in our ES7 Network Pricing Guide. This document is available to be downloaded from our website:

www.ausgrid.com.au/Common/Industry/Regulation/Network-prices/Price-lists-and-policy.aspx

Figure 4 – Overview of Ausgrid’s default NUOS tariff assignment procedure for FY 2018/19

CRNP Tariff Class

Unmetered Tariff Class

Sub-transmission Voltage Tariff Class

High Voltage Tariff Class

Low Voltage Tariff Class

Connected to Ausgrid's Electricity Distribution Network?

Transmission-Connected Tariff

No

Yes

Metered?

Nature of connection

No

Yes

Metering Voltage 33KV, 66 kV & 132kV

Metering Voltage 5KV, 11kV & 22kV

Metering Voltage

230V/400V

Constant Unmetered Tariff (EA402)

Public Lighting Tariff (EA401)

Energy Light Tariff (EA403)

Extent of network usage

High Voltage Connection Tariff (EA370)

Sub-transmission Connection Tariff (EA390)

LV TOU Capacity Tariff (EA305)

LV TOU Capacity Tariff (EA302)

<40 MWh pa

160-750 MWh pa

40-160 MWh pa

>750 MWh pa

Residential

Small Business

Nature of usage

LV TOU Capacity Tariff (EA310)

Small Business TOU Tariff (EA225)

Residential TOU Tariff (EA025)

LEGEND – TARIFF CLASS IDENTIFICATION

Transmission Connected Tariff Class

Unmetered Tariff Class

Sub-transmission Voltage Tariff Class

High Voltage Tariff Class

Low Voltage Tariff Class

## The re-assignement of existing retail customers

There are a number of circumstances where Ausgrid’s annual review and assessment may identify an existing retail customer that is no longer eligible to remain assigned to their existing NUOS tariff, eg, because:

they have changed their voltage level of supply as measured at the metering point to the extent that they are no longer eligible to remain assigned to their existing tariff class;

they are assigned to the correct tariff class, but have changed their usage of Ausgrid’s electricity network to the extent that they are no longer eligible to remain assigned to their existing network use of system tariff; or

they have changed from a basic accumulation meter to an interval (or better) meter and so are no longer eligible to remain assigned to a non-TOU tariff.

### Re-assigning existing retail customers to another NUOS tariff within their existing tariff class

Where the annual review and assessment undertaken as part of the pricing proposal for FY 2018/19 identifies that an existing customer no longer satisfies the new eligibility criteria for their existing tariff, Ausgrid proposes to re-assign these customers to an applicable transitional network tariff on the basis of the nature of their usage (residential or business), type of meter and/or the extent of their network usage.

Key changes to our procedure for reassigning existing retail customers to another network tariff include that, from 1 July 2018:

no existing customers will be reassigned to a non-TOU tariff;

existing customers with an interval (or better) meter that are on a non-TOU tariff, will be reassigned to a transitional TOU tariff, with the option to opt-in to a more cost reflective tariff.

These transitional TOU network tariffs will have the same NUOS energy charge across the peak, shoulder and off-peak periods. This will mitigate potential adverse bill impacts arising from this reassignment, while providing opportunities for customers to understand their energy use patterns. Transitional tariffs are discussed in section 8.3.6.

A summary of the reassignment procedure applying to customers in different circumstances is included at the end of this section. However, we address a few particular scenarios below so as to provide clarity to our customers.

#### Existing customer with a basic accumulation meter

At present, an existing residential or small business customer with a basic accumulation meter will have been assigned to the flat-rate tariff, ie:

EA010 for residential customers; and

EA050 for small business customers.

Since their metering technology prevents the reassignment of these customers to a more cost reflective tariff, they will remain assigned to their current tariff from 1 July 2018, unless they change their meter.

#### Existing customer with a basic accumulation meter that changes to an interval (or better) meter

An existing customer with a basic accumulation meter will have previously been assigned to a flat-rate tariff. If an existing customer with a basic accumulation meter changes their meter to a interval (or better) meter – say due to the AEMC metering rule change –  from 1 July 2018 they will be reassigned to a transitional TOU tariff, ie:

EA332 for residential customers; and

EA333 for small business customers.

These transitional TOU network tariffs will have the same NUOS energy charge across the peak, shoulder and off-peak periods. This will mitigate potential adverse bill impacts arising from this reassignment, while providing opportunities for customers to understand their energy use patterns. Transitional tariffs are discussed in section 8.3.6.

Importantly, these customers will have the option to opt-in to a more cost reflective TOU tariff, ie:

EA025 for residential customers; and

EA225 for small business customers.

#### Existing customer with an interval (or better) meter on a non-TOU tariff

Ausgrid has a number of existing residential and small business customers with interval meters that are currently assigned to non-TOU network tariffs. Since metering technology does not restrict these customers from being assigned to a TOU tariff, Ausgrid considers that these customer should begin the transition to a more cost reflective TOU tariff.

From 1 July 2018, Ausgrid will reassign existing customers with an interval (or better) meter, that are on a non-TOU tariff, to a transitional TOU tariff, ie:

EA332 for residential customers; and

EA333 for small business customers.

These customers will have the option to opt-in to a more cost reflective TOU tariff, ie,

EA025 for residential customers; and

EA225 for small business customers.

#### Existing customer with an interval (or better) meter on a TOU tariff or a TOU Capacity tariff

These customers will remain assigned to their existing TOU tariff, unless they change their voltage level of supply such that they are no longer eligible to remain assigned to their existing tariff class or they change their usage of the network such that they are no longer eligible to remain assigned to their existing tariff.

#### Summary

Table 5 on the following page describes the tariff assignment and reassignment for low voltage (230V/400V) customers.

Should a customer’s circumstances change – say due to upgrading their meter – they can determine the tariff that will apply to them from 1 July 2018, and the options available to them, by identifying the scenario (or row) with the ‘customer type’/’meter type’/’existing tariff’ combination that reflects their particular circumstances.

Table 5 – Tariff assignment and reassignment for low voltage customers from 1 July 2018 – Select appropriate scenario to identify default tariff

| Scenario | Customer type | Meter Type | Existing tariff | Tariff from 1 July 2018 | Description | Available Options |
| --- | --- | --- | --- | --- | --- | --- |
| A | Existing | Basic Meter | Non-TOU/flat tariff * | Flat Tariff* (Closed) | Fixed charge and a flat usage charge. | If meter changes to interval (or better), they will be reassigned to a transitional TOU tariff,# with the option to opt-in to the cost reflective TOU tariff - See scenario B. |
| B | Existing | Interval or better | Non-TOU/flat tariff * | Transitional TOU Tariff # | Fixed charge and a TOU usage charge, where the price for energy consumption in the peak, shoulder and off-period is the same. | These customers can opt-in to a cost reflective TOU tariff **. |
| C | Existing | Interval or better | Cost Reflective TOU Tariff ** | Cost Reflective TOU Tariff ** | Fixed charge and a TOU usage charge, where the price for energy consumption in the peak, shoulder and off-period is different. | N/A |
| D | New residential or small business | Interval or better | N/A | Cost Reflective TOU Tariff ** | Fixed charge and a TOU usage charge, where the price for energy consumption in the peak, shoulder and off-period is different. | These customers can opt-in to a Transitional TOU tariff. |
| E | New and existing 40+ MWh customers | Interval or better | Cost Reflective TOU Capacity Tariff | Cost Reflective TOU Capacity Tariff | Consistent with existing practice, Fixed charge, TOU usage charges and a capacity charge, where the price is applied to the highest maximum demand in the peak period. | These customers may opt-in to a more cost reflective Individually Calculated Tariff or, in some circumstances, a sub-station connected tariff. |

Notes:

A ‘new customer’ is a newly energised connection, ie, a customer that connects to Ausgrid's electricity network on or after 1 July 2018.

An ‘existing customer’ is a customer that exists at the time Ausgrid undertakes the annual review and assessment for the FY2018/19 pricing proposal.

* EA010 for residential customers and EA050 for small business customers.

** EA025 for residential customers and EA225 for small business customers.

# EA332 for residential customers and EA333 for small business customers.

Existing customers (and new) customers in the high voltage or sub-transmission tariff classes will continue to have an interval (or better) meter and so will be assigned to a default TOU capacity tariff in accordance with the process in Figure 4. A default TOU capacity tariff comprises a fixed charge, a TOU usage charge and a capacity charge, where the price for the capacity charge is applied to the highest maximum demand in the peak period over the previous 12 months. Further, these customers may opt-in to a more cost reflective Individually Calculated Tariff (ICT) or, in some circumstances, a sub-station connected tariff.

Finally, if they are found to satisfy the eligibility criteria, Ausgrid will re-assign customers connected to our electricity transmission network to an individually calculated site-specific network tariff as part of Ausgrid’s annual pricing process.

### Re-assigning existing retail customer to another NUOS tariff as a result of a tariff change application

Ausgrid is required under Clause 6B.A3.2(a) of Chapter 6B of the NER to review the NUOS tariff that a retail customer is assigned to in response to a request from a retailer in the following circumstances, ie:

if a shared customer informs the retailer of a change in use of electricity consumption at the customer’s premises as a result of which the retailer reasonably considers that the existing tariff applying to the customer should no longer apply; or

for any other reason, but not more than once in any 12 month period in respect to the same premise.

Ausgrid proposes to satisfy this obligation in the following manner:

maintain a document on our website that sets out the criteria applying to each published NUOS tariff – this will ensure that a retailer is sufficiently informed to accurately assess whether the retail customers is eligible to apply to be re-assigned to another NUOS tariff; and

maintain on our website a tariff change application form and explanation of the process that Ausgrid follows to assess these applications (including dispute resolution procedure).

# Long Run Marginal Cost

The NER requires each tariff to be based on the long run marginal cost of providing the relevant service to the retail customers assigned to that tariff.

LRMC is a forward looking concept and amounts to a measure of the additional cost incurred as a result of a relatively small increase in output, assuming all factors of production are able to be varied. Setting network tariffs by reference to LRMC encourages customers to use our services where the benefit they derive exceeds the cost of providing the relevant services.

Since LRMC is a forward looking concept concerned with the cost of an incremental increase in output, it does not reflect historical costs associated with the existing network. Therefore, setting prices equal to LRMC, generally, does not permit the recovery of Ausgrid’s efficient costs. In other words, if each tariff was set equal to LRMC there would be a residual amount of efficient costs to be recovered. We discuss our approach to recovering these residual costs in section 7.

A detailed description of Ausgrid’s approach to estimating LRMC is presented in Appendix A.

## Our approach to estimating LRMC

Given the conceptual nature of LRMC, there are a number of alternative approaches to its estimation. Ausgrid’s estimates of LRMC are calculated using the average incremental cost (AIC) approach.

The AIC approach estimates LRMC equal to the average change in forward looking operating and capital expenditure resulting from a change in demand. The AIC approach is commonly used by electricity network businesses such as Ausgrid because it can be estimated using pre-existing expenditure and demand forecasts.

Specifically, Ausgrid has applied the AIC approach to estimate LRMC by tariff class at a system-wide level, using an assessment period of fifteen years.

### LRMC by tariff class at a system-wide level

Ausgrid’s estimates of LRMC by tariff class at a system-level, assessed over a fifteen year horizon, are presented in the table below.

Table 6 – Ausgrid’s LRMC Estimates by Tariff Class

| Tariff Class | LRMC estimate ($/kW, FY2015/16 to FY 2029/30) |
| --- | --- |
| Low Voltage | 164 |
| High Voltage | 53 |
| Sub-transmission Voltage | 8 |
| Unmetered | 164 |

Ausgrid considers that its estimate of LRMC presented in Table 6 above is sufficiently reliable for pricing purposes.

However, it is also relevant to note that the illustrative case studies developed by NERA for the AEMC illustrate that LRMC varies considerably between locations within an electricity network, and is significantly influenced by the choice of methodology used to estimate LRMC. Therefore, it may be helpful to treat LRMC as a range of outcomes, rather than a point estimate. Since Ausgrid does not expect to face critical congestion at a localised area in the foreseeable future, it may be entirely possible that LRMC lies between the values presented in Table 6 above and zero.

Ausgrid wishes to inform stakeholders that the robust estimation of LRMC at specific locations facing critical congestion will be a key focus of its TSS for the next regulatory control period and the related stakeholder engagement process.

## Application of LRMC to tariffs

Ausgrid considers that its estimate of LRMC should be reflected only in the charging parameters that apply when demand is at peak, or near peak levels. A review of Ausgrid’s existing tariffs indicates that there are number of charging parameters that could be individually or jointly used to convey LRMC signals to customers with an interval meter, ie:

a peak energy charge – which involves applying a price per kWh to energy consumption recorded during the peak period; and

a peak maximum demand charge – which involves applying a price per KW or kVA to the highest maximum half hourly demand recorded during the peak period.

Ausgrid has sought to signal LRMC to customers by means of a peak energy charge, and has then focused on reforms to the definition of the corresponding peak period.

Against the backdrop of substantial reforms to the peak periods for Ausgrid’s TOU tariffs, Ausgrid plans to treat reforms to the capacity charge as an area of key reform in the future. These long-term reform options include the potential:

to broaden the peak period definition (ie, adopt anytime maximum demand); and/or

to increase the historical period used to calculate the capacity charge from 12 months to 24 months.

These matters are discussed in more detail in Appendix A.

## Converting LRMC to a peak energy charge

Ausgrid converts estimates of LRMC by tariff class into a peak energy charge using the below formula, ie:

Where:

is the estimate of LRMC, expressed on $/kW basis;

is the probability that the quantities in respect to charging parameter correlating with network congestion; and

is the peak hours per annum in respect to charging parameter.

### The theoretically efficient peak energy charge

The framework established by the NER requires Ausgrid to develop theoretically efficient tariffs, and then to assess the need to transition to these theoretically efficient tariffs over one or more regulatory control periods so as to account for, among other things, unacceptable customer impacts.

Ausgrid considers that a fully cost-reflective tariff may involve a localised dynamic peak energy charge. The efficient properties of such a tariff draw from the resulting application of peak prices on only the few days when peak events occur and to only customers using elements of the network that are constrained. The theoretically efficient tariff is discussed in more detail in section 8.1.

The illustrative LRMC-based peak energy charge that would arise from the implementation of a dynamic peak charging parameter is presented in Table 7 below.

Table 7 – LRMC estimates for dynamic peak charging parameter

| Tariff | LRMC | Conversion Parameters |  | Illustrative LRMC DUOS Price |
| --- | --- | --- | --- | --- |
|  | $/kW | Alpha () | No. of peak hours | c/kWh |
| Low Voltage | 164 | 1 | 72 | 227 |
| High Voltage | 53 | 1 | 72 | 73 |
| Sub-transmission Voltage | 8 | 1 | 72 | 11.6 |
| Source: Ausgrid 2015 |  |  |  |  |

However, Ausgrid has not introduced localised dynamic peak pricing in the next regulatory control period because the costs are likely to outweigh the associated economic benefits. Further, the implementation of such a tariff would impose unacceptable bill impacts on our customers, as discussed later in section 8 and in Appendix A.

### The seasonal peak energy charge

Ausgrid is applying seasonal peak energy charges and is reforming the residential winter peak period from 1 July 2018, as discussed in detail in section 6. The resulting definition of the peak periods is summarised in Table 8 below.

Table 8 – Time periods for seasonal peak charging parameter

| Season | Proposed Time Period Definition |
| --- | --- |
| Summer peak period | From 2pm to 8 pm on working weekdays during 1 November and 31 March (inclusive) |
| Winter peak period (residential) | From 5pm to 9pm on working weekdays during 1 June to 31 August (inclusive) |
| Winter peak period (business) | From 2pm to 8pm on working weekdays during 1 June to 31 August (inclusive) |

For the purpose of guiding its decisions on the peak energy charge for Ausgrid’s TOU tariffs, Ausgrid calculated the illustrative LRMC-based peak energy charge for each tariff class under the seasonal peak period definitions. These illustrative estimates are presented in Table 9 below.

Table 9 – LRMC estimates for seasonal peak charging parameter

| Tariff | LRMC | Conversion Parameters |  | Illustrative LRMC DUOS Price |
| --- | --- | --- | --- | --- |
|  | $/kW | Alpha () | No. of peak hours | c/kWh |
| Low Voltage (residential) | 164 | 1 | 879 | 18.7 |
| Low Voltage (business) | 164 | 1 | 1,005 | 16.3 |
| High Voltage | 53 | 1 | 1,005 | 5.3 |
| Sub-transmission Voltage | 8 | 1 | 1,005 | 0.8 |
| Source: Ausgrid 2015 |  |  |  |  |

Illustrative LRMC-based anytime prices for Ausgrid’s low-voltage non-TOU tariffs are presented in Appendix A.

# Peak periods for time of use tariffs

Ausgrid will implement a number of meaningful reforms to its TOU tariffs in the final year of the current regulatory control period, the effect of which will be a marked improvement in the cost reflectivity of our TOU tariffs. Specifically, Ausgrid wil be:

introducing seasonal pricing such that the peak period applies only during the summer and winter months; and

refining the period over which peak prices apply, ie, the peak period in the winter months for residential customers.

Ausgrid has carefully designed both of these reforms so as to mitigate any potential adverse customer impacts, while preserving the efficiency benefits of better aligning peak price signals with the timing of peak demand.

By way of context, it is relevant to note that Ausgrid has more than 440,000, or 26 per cent of its customer base, assigned to a TOU or TOU capacity tariff. Further, 330,000 of those customers are residential customers, and there are a further 70,000-80,000 residential customers with a TOU-capable meter.

Similarly, in FY16 Ausgrid derived approximately 30 per cent of its NUOS revenue ($649 million) from time of use energy charges alone. Moreover, the level of revenue derived from TOU tariffs is expected to increase markedly in the future as new and existing customers are assigned to TOU tariffs.

It follows that any reforms to Ausgrid’s TOU tariffs must be approached with caution since there exists a clear potential for a substantial proportion of our customers to be affected.

## The introduction of seasonal peak periods

The underlying driver of peak demand, and so congestion, on Ausgrid’s network is temperature, ie:

in summer, the highest demand generally occurs on working days when the daily average temperature exceeds approximately 33 degrees Celsius; and

in winter, the highest demand generally occurs on working days when the daily average temperature falls below around 10 Degrees Celsius

This relationship is illustrated in Figure 5.

Figure 5 – Historical Relationship – Temperature Vs Half Hourly Interval Peak Demand

Similarly, an analysis of the timing of the top 48 half hourly peak consumption intervals over recent years supports this seasonal pattern of demand.

Figure 6 – Historical Pattern of Peak Demand – highest 48 half hourly peak demands

From a purely economic perspective, it would be most efficient for LRMC-based peak prices to apply only on the few days a year when peak events occur. It is for this reason that the theoretically efficient tariff discussed in section 8.1 is dynamic in nature, ie, it applies a critical peak price only when a peak event occurs. However, Ausgrid did not propose to introduce dynamic peak pricing in this regulatory control period because the associated costs were likely to outweigh the economic benefits.

Nevertheless, a historical analysis of peak demand clearly suggests that there are efficiency benefits in restricting the application of the peak price to only the summer and winter months of the year. Therefore, from 1 July 2018 Ausgrid will introduce seasonality in its time of use tariffs such that the peak price applies only on working weekdays:

in summer, from 1 November and 31 March (inclusive); and

in winter, from 1 June to 31 August (inclusive).

Further, from 1 July 2018 Ausgrid will extend the shoulder period in the non-summer and non-winter months to cover the former-peak period in these months, ie, 2pm to 8pm. Ausgrid’s peak, shoulder and off-peak periods are presented in section 6.4.

### Implications for our customers

This is a substantial reform that represents a considerable step on the path to efficient tariffs. However, it is important to bear in mind that that this reform is not without customer impacts. Specifically, the introduction of seasonality will remove 4 months of the peak period in each year, which acts to:

increase the LRMC-based peak price by approximately 55 per cent; and

increase the level of residual costs to be recovered from fixed, off-peak and shoulder charges, ie since peak energy volumes will decrease by approximately 25 per cent to 33 per cent.

By way of example, the revenue recovered from the peak charging parameter for the residential TOU tariff in FY2019 is approximately $32 million less than that in FY2018, ie, prior to the implementation of seasonality. As explained later in section 8.3.4, Ausgrid has carefully allocated residual costs across the TOU charging parameters so as to mitigate the customer impacts associated with this reform.

By means of this careful allocation, Ausgrid is able to manage the corresponding customer impacts in the current regulatory control period. However, it is important to note that some other potential reforms – especially those that reduce the number of peak hours in a year – have the same implications and so would act to exacerbate customer impacts in the current regulatory period to levels deemed unacceptable by Ausgrid.

In some circumstances, this has contributed to Ausgrid exercising its discretion and best judgement by deciding that it is in the best interests of customers to delay the implementation of some potentially meritorious reforms until the next regulatory control period, ie, so as to mitigate the risk of unacceptable customer impacts.

## The summer peak period

The analysis underpinning Ausgrid’s definition of the peak periods is directed at identifying a period  that best aligns with the timing of peak demand that drives the forward looking cost of providing the services our customers demand, while avoiding a definition that is so broad as to blunten the peak price signal.

The forward looking costs imposed on a network by further use generally relate to a particular element of the network – eg, a particular asset that needs to be upgraded – and so it is location-specific demand that drives network costs. Ausgrid is not proposing to implement locational pricing and so, for each tariff, the same prices apply across our network.

It is therefore critically important that the definition of the peak period is informed by an analysis and deep understanding of both:

location-specific demand – because this is what drives future cost; and

system-wide demand – because prices apply on a system-wide basis.

At the system level, peak demand for our network generally occurs in the summer months between 3.30pm and 6.30pm, where Ausgrid defines the summer months to be the period 1 November and 31 March (inclusive). However, Ausgrid’s network comprises over 180 zone substations, where the aggregated demand across these substations at any one time is the system-wide demand.

Figure 7 on the next page illustrates the time of day over which demand at each summer-peaking substation was within 5 per cent (shaded in red) and 10 per cent (shaded orange) of its peak demand on its respective peak day in summer 2016. By way of further explanation of Figure 7:

the x-axis reflects the time-of-day (7am to 10pm);

the y-axis is a list of all summer-peaking substations, sorted by reference to the proportion of residential consumption, ie, substations located higher on the y-axis have a relatively higher proportion of residential load;

the thick red and yellow bar at the top reflects the timing of system-wide peak demand; and

substations above the horizontal line approximately a third of the way up the y-axis have at least 33% residential load.

The key insights to be drawn from Figure 7 are that:

there are a diverse range of demand characteristics across our network – note the horizontal dispersion of the timing of peak demand, ie, substations with relatively more residential load (those higher on the y-axis) peak relatively later in the day;

the approximate timing of system-wide peak demand does not capture well the diversity in timing of peak demand across Ausgrid’s network; and

the 2pm to 8pm period encompasses:

  - 75 per cent of the time at which demand at each substation is within 5 per cent of its respective peak demand; and

  - the timing of peak demand at a system level, ie, system-wide demand was at near-peak levels form approximately 3.30pm to 6.30pm and system peak demand was at approximately 5.30pm.

For the avoidance of doubt, Ausgrid has undertaken further analysis to confirm that the data presented in Figure 7 on the next page is illustrative of a typical year.

Figure 7 – Timing of peak demand for summer-peaking zone-substations

It is clear that there is significant diversity in the timing of peak demand across Ausgrid’s network, with corresponding implications for the definition of the peak period. Specifically, the diversity of load profiles across Ausgrid’s network means that there is a tension between defining a peak period that

is sufficiently broad so as to capture the diversity in the timing of peak demand; but

is not being so broad as to weaken the peak price signal;

Alternatively, this trade-off could be characterised as a balance between:

sending an efficient price signal to a cohort of customers at a particular location; and

sending an inefficient price signal to other customers.

Ausgrid considers that the 2pm to 8pm period strikes an appropriate balance between these factors, ie, it encapsulates 75 per cent of the period over which demand at each substation is within 5 per cent of its respective peak demand, as well as the timing of system-wide peak demand.

Ausgrid is aware that a narrower peak period may better target peak demand for some elements of our network. However, this may risk exacerbating peak demand in other elements of the network, as illustrated in the case study on the next page.

Case Study – The risks of narrowing the summer peak period This case study highlights the risk arising from too narrow a definition of the peak period in circumstances where there is considerable diversity in load profiles. The Chatswood and Jannali substations used in this case study are, respectively, representative of substations serving a mix of residential/business customers and primarily residential customers. Approximately 45 per cent of Ausgrid’s substations comprise a mixture of residential and business load and approximately 23 per cent serve primarily residential load. It follows that the inferences drawn from this case study are material in the context of Ausgrid’s network. The load profile of the Chatswood and Jannali substations on the peak summer day in 2015/16 is presented below. The Chatswood substation serves a mix of residential and business customers and, on its peak summer day in 2015/16, its load profile was above the 95 per cent level from 1.30pm to 5.30pm – which could be said to support a peak period covering the same period. However, a peak period finishing at 5.30pm may exacerbate peak demand in other elements of the network, namely at zone-substations serving primarily residential customers. The Jannali substation serves primarily residential customers (87 per cent of load is from residential customers) and, on its peak day in 2015/16, the load profile for Jannali was above the 95 per cent level from 5.45pm to 8.15pm. Therefore, a peak period finishing around 5pm – while potentially appropriate for some elements of the network – would exacerbate peak demand at substations serving primarily residential customers, ie, as these residential customers shift demand into the period after 5pm – which is the period of their actual peak demand. It is clear that, in these circumstances, the peak period must be defined so as to encapsulate the diversity in peak demand across the network. Of course, this is a second best solution that somewhat weakens the peak price signal, however, the consequences of the alternative are severe, ie, exacerbating peak demand for some elements of the network. It follows that, in these circumstances a DNSP must exercise its discretion and best judgement so as to strike a balance between: broadening the peak period to account for diversity in load across its network; and the cost and efficiency implications of a narrowly defined peak period exacerbating peak demand for some elements of its network. To summarise, this case study highlights the importance of a peak period of sufficient length to encapsulate the peaks in demand across the network. Importantly, it also lends support to the current 2pm to 8pm definition of the peak period in summer, which covers the peak demand at substations serving primarily residential customers and those serving a mix of residential and business customers (starting at approximately 2pm at the Chatswood substation and ending at approximately 8pm at the Jannali substation). The relevant load profile and key statistics for the Jannali and Chatswood substations on the peak summer day in 2015/16 are illustrated below. Zone Substation; Chatswood; Jannali. Residential - % of annual load; 45%; 87%. Business - % of annual load; 55%; 13%. Day of summer peak demand; 21 Jan 2016; 25 Feb 2016. Peak demand (MVA); 42.0; 32.7. 95% of peak load – timing (AEDST); 1:30pm to 5:30pm; 5:45pm to 8:15pm.

For the reasons set out above, Ausgrid proposes a 2pm to 8pm definition of the peak period in the summer months for both residential and business customers, consistent with the timing of the current peak period.

Ausgrid proposes to further consider potential reforms to the summer peak period as part of the next TSS.

### Customer impacts of a narrower peak period

In addition to the robust economic support for a 2pm to 8pm peak period in the summer months, as discussed above, there are customer bill impacts associated with narrowing the summer peak period.

Perhaps most importantly, a narrower definition of the summer peak period would not capture well the diversity of peak demand across our network, which would lead to inefficient price signals and the potential to exacerbate peak demand in some elements of our network.

Further, narrowing the summer peak period:

- increases the peak charge, since LRMC is spread over fewer peak hours; and

- necessitates an increase in fixed, off-peak and/or shoulder charges since less revenue is recovered from peak charges, ie, residual costs increase.

Importantly, the proposed move to seasonal pricing already has the same implications, ie, an increase in peak prices and residual costs – as discussed in section 6.1. Narrowing the summer peak period, implemented in conjunction with a move to seasonality, would give rise to unacceptable bill implications for customers

For the reasons set out above, Ausgrid proposes a 2pm to 8pm definition of the peak period in the summer months for both residential and business customers, consistent with the timing of the current peak period.

Ausgrid acknowledges that a number of stakeholders indicated a preference for a, narrower peak period, at least for residential customers. Ausgrid considers it prudent to assess the scope for reform to the summer peak period as part of consultation for the next TSS, ie, after we have managed the potential customer impacts arising from the implementation of seasonality.

## The winter peak period

In the winter months, peak demand generally occurs later in the day, as compared with the timing of peak demand in the summer months.

Figure 8 below illustrates the period over which demand at each winter-peaking substation was within 5 per cent (shaded in red) and 10 per cent (shaded orange) of its peak demand on its respective peak day in winter 2015. An explanation on how to interpret this style of analysis is included above Figure 7 in section 6.2. Ausgrid notes that the timing of peak demand at summer-peaking zone-substations on the day of their highest demand in winter, while not shown in the below figure, is consistent with that of the substations presented in Figure 8 below.

For the avoidance of doubt, Ausgrid has undertaken further analysis to confirm that the data presented in Figure 8 below is illustrative of a typical year.

Figure 8 – Timing of peak demand for winter-peaking zone-substations

Figure 8 shows that the timing of peak demand for winter-peaking substations in the winter months broadly aligns with the timing of system-level peak demand in the winter months. Specifically, peak demand at both a system level and substation level occurs between 5pm and 9pm in winter.

### The winter peak period for residential customers

Ausgrid’s peak period currently applies from 2pm to 8pm on working weekdays in every month of the year for both residential and business customers.

However, in the winter months, peak demand is driven primarily by the peak in residential demand that occurs late in the day whereas, in contrast, business customers have a much flatter load profile with a considerably more modest peak that occurs earlier in the day. Further, there is minimal uplift in demand on a peak day for businesses in winter, as compared with demand on a typical winter day.

The uplift in residential demand on a peak day in winter is considerably more significant, as compared with that on a typical winter day. By way of example, Figure 9 below illustrates the demand of residential customers on a typical winter day (dotted lines) as compared with that on a peak winter day.

Figure 9 – Peak winter demand versus demand on normal winter day, residential

Given that system-wide peak demand and substation-specific peak demand occurs between 5pm and 9pm in the winter months, and that residential demand is the key drive of this peak in demand, Ausgrid will apply a peak period of 5pm and 9pm for residential customers in the winter months from 1 July 2018.

Ausgrid will retain the existing 2-8pm peak period for all business customers in the winter months, as explained in section 6.3.2 below.

The customer bill impacts arising from the implementation of seasonality and reform of the winter peak period definition for residential customers are presented in section 8.3.4 and 10.1.

### Winter peak period for business customers

Ausgrid will consider reforming the peak period definition in the winter months for business customers as part of developing its next TSS. This will provide sufficient time to consider and assess potential reform options – along with the corresponding implications for price stability and customer impacts – without compromising near term efficiency implications since business customers are not key contributors to peak demand in winter, ie, Ausgrid demonstrated above that most winter-peaking zone substations are dominated by residential load.

Further, reforming the peak period for business customers affects not just peak prices and residual costs; there are also important interrelationships between the peak period and capacity charges (capacity charges account for approximately 20 per cent of Ausgrid’s NUOS revenue) that require careful and extensive analysis.

It is important to bear in mind that this decision is made against the backdrop of the substantial reforms proposed by Ausgrid in this TSS, the customer impacts of which Ausgrid has carefully assessed and, where appropriate, taken steps to mitigate. Ausgrid considers that a further reform of this magnitude would expose Ausgrid’s customers to an unacceptable level of risk as to price instability and adverse bill impacts.

Moreover, the proposed reforms to Ausgrid’s TOU tariffs come into effect on 1 July 2018, and Ausgrid’s next TSS will come into effect only one year later on 1 July 2019. Bearing in mind that the reform to the timing of the winter peak window was developed in the 45 business days leading up to the submission of Ausgrid’s revised TSS, it is clear that the advantages of delaying any potential reforms by a year – namely the ability to adequately consider customer implications – far outweigh any perceived cost associated with a delay of only a year.

With this in mind, Ausgrid will delay the consideration of further reforms to the peak periods for business customers until the next TSS. Consequently, Ausgrid will continue to apply a peak period definition of 2pm to 8pm for business customers in the winter months.

## Summary of peak periods

Ausgrid will implement the reforms to its TOU tariffs in the final year of the current regulatory control period so as to afford retailers and customers time to prepare for the associated changes. The existing definition of the peak periods will apply prior 1 July 2018.

Table 10 below illustrates the proposed definition of the peak period from 1 July 2018.

Table 10 – Definition of peak periods from 1 July 2018

| Season | Seasonal Peak Period Definition |
| --- | --- |
| Summer peak period | From 2pm to 8 pm on working weekdays during 1 November and 31 March (inclusive) |
| Winter peak period (residential) | From 5pm to 9pm on working weekdays during 1 June to 31 August (inclusive) |
| Winter peak period (business) | From 2pm to 8pm on working weekdays during 1 June to 31 August (inclusive) |

On this basis, the two tables below present the peak, shoulder and off-peak periods for residential and business customers respectively.

Table 11 – Ausgrid’s Peak, Shoulder and Off-peak Periods for residential customers – Current Vs Proposed

| Time Period | Existing Definition | New Seasonal Peak Period Definition from 1 July 2018 |
| --- | --- | --- |
| Peak period | From 2 pm – 8 pm on working weekdays | N/A |
| Summer peak period | N/A | From 2pm – 8pm on working weekdays during 1 November and 31 March (inclusive) |
| Winter peak period | N/A | From 5pm – 9pm on working weekdays during 1 June to 31 August (inclusive) |
| Shoulder period | From 7 am – 2 pm and 8 pm – 10pm on working weekdays From 7am to 10pm on weekends and public holidays | Note: In simple terms, the shoulder period runs from 7am to 10pm every day, except where a peak period applies during that period. In the summer months, from 7am to 2pm and from 8 pm to 10pm on working weekdays In the winter months, from 7am to 5pm and from 9pm to 10pm In the non-summer and non-winter months, from 7am to 10pm on working weekdays. From 7am to 10pm on weekends and public holidays. |
| Off-peak period | All other times | All other times |
| Source: Ausgrid 2015 |  |  |

Table 12 – Ausgrid’s Peak, Shoulder and Off-peak Periods for small, medium and large business customers – Current Vs Proposed

| Time Period | Existing Definition | New Seasonal Peak Period Definition from 1 July 2018 |
| --- | --- | --- |
| Peak period | From 2 pm – 8 pm on working weekdays | N/A |
| Summer peak period | N/A | From 2 pm – 8 pm on working weekdays during 1 November and 31 March (inclusive) |
| Winter peak period | N/A | From 2 pm – 8 pm on working weekdays during 1 June to 31 August (inclusive) |
| Shoulder period | From 7 am – 2 pm and 8 pm – 10pm on working weekdays For small business customers only, from 7am to 10pm on weekends | In the summer and winter months, from 7 am – 2 pm and 8 pm – 10pm on working weekdays In the non-summer and non-winter months, from 7am – 10 pm on working weekdays |
| Off-peak period | All other times | All other times |

# Approach to Residual Cost Recovery

A significant proportion of a DNSP’s revenue requirement is made up of the fixed capital costs of previous investments in network assets – so-called sunk costs. These sunk costs are not affected by current and future consumption decisions.

Further, since LRMC reflects forward looking costs, not historical costs, LRMC-based prices will not lead to the recovery of Ausgrid’s efficient costs. The difference between Ausgrid’s efficient costs and the revenue recovered from LRMC-based prices is referred to as residual costs.

Table 13 – Indicative Total Residual Cost ($,000) – Ausgrid – FY 2017 to FY 2019

|  | 2017 | 2018 | 2019 |
| --- | --- | --- | --- |
| Expected Revenue | 2,193,640 | 2,237,512 | 2,293,450 |
| Less revenue from LRMC component of peak charges | 508,529 | 505,410 | 343,804 |
| Total Residual Cost | 1,685,110 | 1,732,102 | 1,949,645 |

Ausgrid’s approach to the recovery of residual costs is guided by the following principles:

Economic Efficiency: residual costs should be recovered in a way that is consistent with the promotion of economic efficiency and that does not distort efficient LRMC based network price signals, as required by the NER.

Fairness: there is no single accepted interpretation of fairness, but the concept typically involves the desire for customers to contribute towards the recovery of costs in proportion to the extent that their network usage has caused these costs to be incurred.

Gradualism: Prices should change gradually to avoid shocking and inconveniencing consumers, as required under Section 6.18.5(h) of the NER.

The allocation of residual costs requires three sequential steps, ie:

- allocating total residual costs to tariff classes;

- allocating residual costs to the individual tariffs within each tariff class; and

- allocating residual costs to the charging parameters within each tariff.

Ausgrid’s approach to each of these three steps is discussed in turn below.

## Allocating residual costs to tariff classes

Ausgrid allocates total residual costs to tariff classes on the basis of the summary included in Figure 10 below.

Figure 10 – Overview of Ausgrid’s Method for Allocating Residual Cost to Tariff Class

TRANSMISSION CONNECTED

UNMETERED

LOW VOLTAGE

HIGH VOLTAGE

SUB-TRANSMISSION VOLTAGE

SUmmation of Tariff LEVEL ALLOCATION

SUmmation of Tariff LEVEL ALLOCATION

EXPECTED PROPOSED DESIGNATED PRICING PROPOSAL CHARGES

EXPECTED CCF REVENUE

EXPECTED nUOS RESIDUAL COST

EXPECTED DUOS REVENUE FROM LRMC BASED PRICES

EXPECTED RESIDUAL DUOS COST

EXPECTED DUOS REVENUE

PEAK DEMAND

Customer NUMBERS

A more detailed explanation of this approach, including a description of how Ausgrid proposes to adjust this approach where the residual cost allocation falls outside the bounds of stand-alone and avoidable costs, is included in Appendix A.

Table 14 below presents indicative residual costs by tariff class for the remainder of the current regulatory control period.

Table 14 – Indicative Total Residual Cost ($,000) – Ausgrid – FY 2017 to FY 2019

| Tariff Class | 2017 | 2018 | 2019 |
| --- | --- | --- | --- |
| Low voltage | 1,529,600 | 1,571,938 | 1,774,544 |
| High voltage | 49,374 | 52,008 | 60,504 |
| Sub-transmission voltage | 86,259 | 88,032 | 93,580 |
| Unmetered | 15,172 | 15,343 | 16,116 |
| Transmission | 4,705 | 4,783 | 4,903 |
| Total Residual Cost | 1,685,110 | 1,732,102 | 1,949,646 |

Source; Ausgrid, 2016

Importantly, the allocation of residual costs to each tariff class presented in the above table is lower than the stand alone cost and greater than the avoidable cost for each tariff class, as show in Appendix A.

## Allocating residual costs to tariffs

Ausgrid allocates residual costs to the tariffs within each tariff class by reference to a number of allocation factors, as illustrated in Figure 11 below. The use of different approaches assists in ensuring that the resulting allocation to each tariff reflects an appropriate balance between the often conflicting principles of economic efficiency, price stability and fairness.

Figure 11 – Overview of Ausgrid’s Method for Allocating Residual Cost to Tariff Level

ANNUAL CONTRIBUTION

WEIGHTED AVERAGE VOLUME FORECAST

EXPECTED DUOS REVENUE FROM LRMC BASED PRICES

EXPECTED RESIDUAL DUOS COST

EXPECTED DUOS REVENUE

EXPECTED PROPOSED DESIGNATED PRICING PROPOSAL CHARGES

EXIT CHARGE

FIXED CHARGE

NON-LOCATION CHARGE

HISTORICAL ENERGY CONSUMPTION

peak deMAnd

DEMAND CHARGE

VOLUME FORECAST ERROR

Under/OVER RECOVERY

ENERGY CONSUMPTION

Under/OVER RECOVERY

EXPECTED CCF REVENUE

VOLUME FORECAST ERROR

The allocation of residual DUOS costs to tariffs by reference to a weighted average volume forecast is an important element of Ausgrid’s TSS that plays a significant role in the promotion of price stability. This approach and the benefits of its application are explained in detail in Appendix A.

An indicative allocation of residual costs to each tariff for the remainder of the current regulatory control period is presented in Appendix A.

## Allocating residual costs to charging parameters

The promotion of the long-term interests of our customers necessitates that our approach to the recovery of residual costs strikes an appropriate balance between the objectives of economic efficiency, fairness and gradualism. The need to achieve a balanced outcome is highlighted by the design of our theoretically ‘efficient’ reference tariff. While this tariff is economically efficient in the sense that the recovery of residual costs minimises any distortion to the LRMC-based peak price signal, the resulting high fixed charge is problematic from a fairness and gradualism perspective.

It is for this reason that Ausgrid’s methodology aims to recover residual costs in a manner that minimises economic distortions, without relying predominantly on unacceptably high fixed charges to recover these costs. Ausgrid proposes to achieve this by means of a rebalancing constraint – discussed in section 8.3.2 – and by allocating residual costs to charging parameters on the basis of relative forecast volume growth/risk. Ausgrid considers relative volume growth/risk at the charging parameter level to be a reasonable proxy for the likely responsiveness of network usage to changes in the price levels.

Specifically, Ausgrid allocates relatively more residual costs to charging parameters that are forecast to have strong volume growth and/or stable volumes. Conversely, relatively less residual costs are allocated to charging parameters that are expected to have lower growth and/or less stable volumes. This approach is designed to minimise distortions to network use and avoid unacceptable fixed charge increases, along with the corresponding adverse customer impacts.

An illustrative example of the allocation of residual costs across charging parameters for the residential TOU tariff is presented in section 8.3.4.

The use of shoulder and off-peak charging parameters to recover residual costs We explain later in section 8.1 that, from a strictly economic perspective, the recovery of residual costs from only fixed charges minimises distortions to the efficient price signals arising from LRMC-based peak prices. Therefore, a key question addressed by Ausgrid in developing this TSS was the extent to which we should depart from relying on fixed charges to efficiently recover residual costs in order to satisfy the customer impact principle in the NER. While it is clear that the recovery of residual costs from non-peak energy charges will be less efficient than recovering these costs through an increase in the fixed charge, Ausgrid considers that to increase fixed charges in this manner, particularly in the short time frame covered by our proposed, TSS will result in unacceptable customer bill impacts. Therefore, so as to comply with the customer impact principle in the NER, Ausgrid will continue to recover a significant proportion of residual costs allocated to TOU tariffs from the shoulder and off-peak energy charges. An illustrative example of the allocation of residual costs across charging parameters for the residential TOU tariff is presented in section 8.3.4. Ausgrid considers that the long-term interests of our customers are best served by delaying any decision on the future level of the fixed charge until a comprehensive review of the structure of our TOU tariffs is completed as part of the next TSS process. It is likely that the most appropriate transition path to the ‘efficient’ reference tariff is likely to involve a change to the structure of our TOU tariffs in order to minimise our reliance on the fixed charge to efficiently recover our residual costs. Transitional options for the recovery of fixed charges are discussed in more detail in section 8.2. Further, the definitions of Ausgrid’s shoulder and off-peak periods are presented in section 6.4.

# Departure from Efficient Pricing Principles

Broadly, the framework established by the NER necessitates the development of a theoretically efficient tariff, and then, an assessment of whether there exists a need to transition to those ‘efficient’ tariffs over a period of one or more regulatory control periods.

Specifically, the NER requires Ausgrid to consider the impact on retail customers of changes in tariffs from one year to the next, and permits it to vary tariffs from the theoretically efficient construction having regard to:

the desirability for tariffs to comply with the pricing principles, albeit after a reasonable period of transition (which may extend over more than one regulatory control period);

the extent to which retail customers can choose the tariff to which they are assigned; and

the extent to which retail customers are able to mitigate the impact of changes in tariffs through their usage decisions.

In this regard, the AEMC explained that:

“DNSPs must manage the impact of annual changes in network prices on consumers, eg by transitioning consumers to new network prices over one or more regulatory periods.”

## The strictly ‘efficient’ tariff

Ausgrid examined empirical evidence and concluded that, from a strictly economic perspective, the theoretically efficient reference tariff that complies with paragraphs 6.18.5(e) to (g) of the NER is likely to be dynamic (ie, changes over time depending on the demand and capacity circumstances) and localised in nature.

This means that a dynamic peak price is set equal to LRMC and applied only to customers in areas facing critical network congestion. Importantly the dynamic peak price is only applied to energy consumption that is closely aligned to times when there is a very high probability of that area of the electricity network being critically congested i.e on extreme hot days in summer peaking parts of the electricity network and extreme cold winter afternoons/evenings in winter peaking parts of the electricity network.

Moreover, from a strictly economic perspective, minimising distortions to efficient price signals arising from this dynamic and localised peak price would involve recovering costs from fixed charges only.

#### The impact on customers of the strictly efficient tariff would be unacceptable

The pricing principles explicitly require us to consider the impact on customers from moving to efficient tariffs relative to the tariffs customers faced in the previous regulatory year. We must vary our efficient prices to the extent that we reasonably consider necessary.

Ausgrid carefully examined the impact on retail customers of the implementation of strictly efficient tariffs in the current regulatory control period and concluded that the resultant customer bill impacts are unacceptable. The results of this analysis are presented in Appendix A.

On the basis of this customer impact analysis Ausgrid concluded that:

recovering residual costs from fixed charges necessities a significant re-balancing of residual cost recovery from relatively larger energy users to relatively small energy users at the individual tariff level; and

setting the peak price equal to LRMC under an efficient dynamic peak period results in large bill increases for customers that are either unwilling or unable to respond to dynamic peak price signals by reducing energy consumption during dynamic peak events.

Ausgrid considers that these impacts on retail customers are contrary to the customer impact principle embodied in the NER. As such, Ausgrid will transition to more efficient tariff structures over a period of time that is sufficient to mitigate the associated customer impacts.

## Ausgrid’s transition to efficient tariffs

Bearing in mind the impacts on customers arising from the implementation of strictly efficient tariffs, there is a clear need for Ausgrid to transition to efficient tariffs and to achieve this progress in a manner that does not undermine the needs of our stakeholders. A number of our stakeholders indicated a preference for understanding the likely duration of Ausgrid’s transition to efficient tariffs. Indeed, this is a difficult question to answer with a sufficient degree of reliability.

It is important to note that the efficient pricing outcome is constantly changing and cannot be objectively determined. Our customers’ preferences and technology are changing, thereby altering the way our customers use our network, the costs imposed on our network and the most efficient means of providing the services our customers demand. In practical terms, tariff efficiency is an objective that Ausgrid may be constantly working towards, without every achieving in full, since the efficient frontier is itself always moving.

Against this backdrop, even holding constant customer preferences and technology, the likely form and speed of Ausgrid’s transition to efficient tariffs is uncertain. There stands before Ausgrid a process of learning how customers respond to changes in the structure and level of tariffs, the results of which will guide the speed and nature of transition to efficient tariffs. Similarly, customers require time to understand potential new tariff structures and how tariff reform enables them to take control of their network bills.

By way of context, Ausgrid estimates that transitioning the fixed charge for residential customers to a strictly efficient level over a period of 15 years would necessitate year-on-year increase in fixed charges of approximately 11 per cent. It is clear that the customer impacts of a transition of this speed would lead to unacceptable bill impacts for our customers. Whilst these increases in fixed charges would be somewhat offset by lower LRMC-based variable charges, there is a significant number of customers – particularly low energy users – that would be impacted by such changes.

Nevertheless, it may be helpful to stakeholders to set out, at a high level, Ausgrid’s current take on the potential form of its transition-path and the considerations that led to the selection of the proposed reforms discussed in section 8.3.

### Key elements of Ausgrid’s proposed transition

Ausgrid identified a range of potential reforms for improving the efficiency of the price signals faced by our customers, as illustrated in the following figure.

Figure 12 – Illustrative transition path – Level and Structure of Efficient Peak Price

Each of these reform options are likely to differ in terms of the resultant implications on economic welfare and customer bills, where the least and most efficient signals are likely to arise, respectively, under a flat tariff structure and a localised peak price. Of some relevance to the task at hand, the limitations of Ausgrid’s existing basic accumulation metering fleet means that there are substantial barriers to improving the efficiency of price signals faced by some customers.

The key reforms to the peak price signals arising under Ausgrid’s TOU tariffs are discussed in sections 6 and 8.3.

Another key question addressed by Ausgrid in developing this TSS was the extent to which residual costs should be recovered from fixed charges. Relevantly, the introduction of seasonality and the narrowing of the winter peak act to increase the level of residual costs.

Against this backdrop, Ausgrid proposes to apply off-peak and shoulder charging parameters for TOU tariffs to assist in the recovery of residual costs, as well as by recovering a proportion of residual costs by means of a modest mark-up to the peak price. Importantly, Ausgrid is also proposing to impose a constraint on the extent to which fixed charges can increase from year-to-year, as discussed in section 8.3.2.

An illustrative transition path for the recovery of fixed costs is presented in Figure 13.

Figure 13 – Illustrative Transition Path – Recovery of Residual Costs

The key tariff reforms to be implemented by Ausgrid in this TSS are discussed below.

## Key reforms proposed by Ausgrid

Ausgrid will be implementing a number of reforms in the current regulatory control period that are directed at transitioning to efficient tariffs without imposing on customers unacceptable bill impacts. The key proposed reforms include:

replacing the declining block tariff with a flat tariff;

voluntarily applying a re-balancing constraint to limit increases in fixed charges;

introducing seasonality into TOU tariffs;

reforming the winter peak period for residential customers;

changing the assignment and reassignment process;

introducing new transitional tariffs to prevent unacceptable customer impacts;

removing the shoulder period on weekends for small business customers; and

introducing a new tariff for transmission-connected customers.

Each of the abovementioned reforms is discussed briefly below, and further detail is provided in Appendix A. However, first, the box below sets out the basis for Ausgrid’s decision to delay until the next TSS further consideration of tariff eligibility criteria based on the size of the electrical connection.

Consideration of eligibility criteria based on size of the electrical connection Ausgrid’s initial TSS contained a proposal to introduce eligibility criteria based on the size of the electrical connection, ie: single phase (<100 Amps); three Phase (<100 Amps); three Phase (100-400 Amps); three phase (400 Amps – 1600 Amps); three Phase (>1600 Amps). These criteria were selected because they each have different impacts on the size of the network required to support such a connection. Ausgrid intended to implement all of the above eligibility criteria as a package, since the rationale for their implementation is the same and they give effect to consistent and compatible eligibility criteria across the low voltage tariff class. The AER was not satisfied that the latter of the three abovementioned criteria complied with the rules, and requested further justification from Ausgrid. However, the AER viewed favourably a single phase and three phase distinction in eligibility criteria (without any reference to current rating in Amps). Upon further reflection, Ausgrid identified that the available timeframe was not sufficient to undertake the supporting analysis requested by the AER, and so it will delay further consideration of eligibility criteria based on the size of the electrical connection until the next TSS. In the meantime, Ausgrid will continue the application of usage-based eligibility criteria. It is important to note that part-implementation of these eligibility criteria would give rise to internal inconsistency across the tariff eligibility criteria for the low voltage tariff class. For example, a customer may satisfy the three phase (<100 Amps) tariff eligibility criteria, yet their usage of the network may meet the usage-based eligibility criteria of another tariff, say, EA302. Moreover, part-implementation of these reforms may result in unecesary changes if the analysis to be undertaken as part of the next TSS indicates an alternative criteria is more appropriate. Finally, implementing these reforms necessitates a detailed audit of our customer data and working with Metering Providers to set up procedures for procuring the requisite site information. This will be a costly and time-consuming process. Therefore, the part-implementation of these criteria prior to undertaking further analysis risks duplication in costs, or even unnecessary costs if our analysis identifies alternative criteria are more appropriate. For these reasons, Ausgrid will delay further consideration of eligibility criteria based on the size of the electrical connection until the next TSS.

### Replacing the DBT with a flat tariff

The lack of interval meters for some residential and small business customers is a substantial impediment to the provision of efficient price signals to these customers. In the absence of interval meters and the corresponding ability to provide time-variant price signals, Ausgrid is restricted to implementing some form of block or flat tariff.

One approach to avoiding increases in fixed charges is to implement a block tariff where relatively more residual costs are allocated to the first block, which has inherently stable volumes. Ausgrid considers that this approach has the potential to improve the efficiency properties of the non-TOU tariff, without unacceptable increases in fixed charges.

However, a number of stakeholders noted concerns with Ausgrid’s existing declining block tariff (DBT), namely in relation to the resultant effects on low energy users and incentives to increase use of the network. The AER also indicated in its draft decision that it believed a flat tariff struck a better balance between promoting more efficient use of the network and customer impacts.

In light of this stakeholder feedback and the absence of supporting empirical evidence on price elasticity across consumption blocks, Ausgrid will replace the DBT with a flat tariff from 1 July 2017.

In the absence of this supporting empirical evidence, Ausgrid is attracted to the neutrality of a flat tariff. A flat tariff recovers residual costs from all customers in a constant proportion to their energy use, as compared with the disproportionate allocation arising under a block tariff.

### The rebalancing constraint

Ausgrid’s proposal to apply a rebalancing constraint for fixed charges in the current regulatory control period is a central component of this TSS, and one of the principal means by which Ausgrid is able to avoid adverse bill impacts and provide certainty to customers.

The NER requires Ausgrid to transition to more cost reflective tariffs, which necessitates some degree of rebalancing away from inefficient charges and towards more efficient fixed charges (or similar charging parameters).

Ausgrid is concerned that a rebalancing towards fixed charges has the potential to impose on some customers adverse bill impacts. For this reason, Ausgrid has voluntarily elected to provide certainty and comfort to customers by imposing on itself a rebalancing constraint that limits the extent to which fixed charges may increase from year-to-year during this regulatory control period.

In essence, the rebalancing constraint acts to limit the annual change in fixed charges to the greater of consumer price inflation or the annual change in network costs in that year. Ausgrid considers that, in a stable volume environment, the application of this rebalancing constraint is in the long-term interests of consumers.

Specifically, in each year of the remainder of the current regulatory control period the NUOS fixed charge component of each tariff will be limited by the changes in the NUOS revenue allocated to that tariff. Ausgrid will limit the increase in the NUOS revenue allocated to each tariff by:

the greater of  %∆CPIt  or  %∆Ptk

Where:

%∆Ptk=%∆DUOStk+  %∆TUOStk+ %∆CCFtk

%∆DUOStk	is the % change in allowed DUOS revenue allocated to tariff k in year t, including approved pass through amounts and unders and overs

%∆TUOStk	is the % change in TUOS costs allocated to tariff k in year t, including unders and overs

%∆CCFtk	is the % change in CCF costs allocated to tariff k in year t, including unders and overs

CCFtk	Ausgrid’s contribution to the NSW Government Climate Change Fund in year t including unders and overs

%∆CPIt	∆CPIt=∆CPIMar,t-2+ ∆CPIJun,t-2+∆CPISep,t-1+∆CPIDec,t-1∆CPIMar,t-3+ ∆CPIJun,t-3+∆CPISep,t-2+∆CPIDec,t-2-1

CPIt	means the all groups index number for the weighted average of eight capital cities as published by the ABS, or if the ABS does not or ceases to publish the index, then CPI will mean an index which the AER considers is the best estimate of the index.

### Seasonality in TOU tariffs

Owing to the temperature-driven nature of peak demand on Ausgrid’s network and the corresponding seasonal pattern of peak demand, Ausgrid proposes to apply a peak period in only the summer and winter months of the year. Specifically, from 1 July 2018, peak prices will apply only on working weekdays:

in summer, from 1 November and 31 March (inclusive); and

in winter, from 1 June to 31 August (inclusive).

Changes of this magnitude have the potential to cause significant bill changes in a short period of time. Therefore, Ausgrid proposes to delay the introduction of the seasonal peak period definition until the final year of the current regulatory control period so as to ensure that customers and retailers have sufficient time to prepare for this proposed change in tariff structure.

This reform is discussed in detail in section 6.1.

### Reforms to the winter peak period for residential customers

Ausgrid undertook a first-principles analysis of its peak period definitions and identified that, while the existing 2pm to 8pm peak period is clearly appropriate in the summer months, (particularly in the absence of more locational specific TOU tariffs), there exists scope to improve the definition of the winter peak period for residential customers.

As such, Ausgrid will implement a 5pm to 9pm peak period in the winter months for residential customers. This reform is discussed in detail in section 6.1.

Implications of Ausgrid’s proposed reforms to the residential TOU tariff The introduction of seasonality in the TOU tariff removes 4 months of the peak period, which acts to increase the LRMC-based peak price as well as the level of residual costs. Further, the narrowing of the peak period in winter for residential customers has the same effects. Importantly, our customers on TOU tariffs will benefit from a considerable proportion of their usage in the non-summer and non-winter months – that used to be in a peak period – now falling in to a shoulder period, for which the charging parameter is approximately 80 per cent cheaper, as compared with the peak price. Ausgrid has carefully structured the allocation of costs across the TOU charging parameters for residential customers so as: to limit any increase in fixed charges as described in section 8.3.2; to mitigate customer bill impacts; to preserve the efficient properties of the peak price signal; and to provide customers on a non-TOU tariff an incentive to move on to a TOU tariff. This was a challenging and time-consuming process involving careful analysis and the exercise of Ausgrid’s discretion. Ausgrid’s proposed allocation of residual costs across the TOU charging parameters for residential customers is presented in the figure below. The resulting indicative prices are presented in section 9. However, the bill impact of the reforms to the TOU tariff for residential customers is presented in the figure below. Ausgrid’s customer bill impact analysis shows that, even assuming no demand response, approximately 60 per cent of residential TOU customers will receive a bill reduction and, for the remaining customers, on average the bill changes will be in line with the RBA’s inflation target of 2 to 3 per cent. Further, the TOU reforms and approach to the allocation of residual costs ensures that there exists an incentive for customers on a non-TOU tariff to move onto a TOU tariff, where the strength of this incentive is increasing with consumption. This is illustrated in the figure below.

### Improving the assignment and reassignment of customers

Consistent with the description of Ausgrid’s approach for assigning and reassigning retail customers in section 4, Ausgrid will:

assign all new residential customers to a cost-reflective TOU tariff, with the option to opt-in to a transitional TOU tariff; and

assign existing customers with interval meters to a transitional TOU tariff – that is designed to ensure that their network bill will not materially change as a consequence of the implementation of this reform – with the option to opt-in to a cost reflective TOU tariff.

The assignment of all new retail customers to a TOU tariff ensures that new customers are on cost reflective tariffs, while the inclusion of the transitional flat TOU tariff in each of the abovementioned reforms ensures the equitable treatment of customers and prevents unacceptable bill impacts.

### The introduction of transitional tariffs

The implementation of transitional tariffs is a cornerstone of our approach to protecting customers from adverse bill implications. Ausgrid identified a number of reforms that would materially improve the efficiency of Ausgrid’s tariffs, but that would also result in unacceptable customer impacts.

Given this tension between cost reflectivity and customer impacts, Ausgrid will apply transitional tariffs as a means of striking a better balance between these factors, consistent with the requirements of the NER. Customers that may be assigned to transitional tariffs include:

new residential customers that opt-out of the cost-reflective TOU tariff; and

existing residential customers with an interval meter that are currently assigned to a non-TOU tariff.

The transitional tariffs have been designed so that the fixed charge aligns with the applicable non-TOU tariff and the same energy charge applies across the peak, shoulder and off-peak periods. Further, the level of the energy charge reflects the applicable non-TOU energy charge so as to ensure the customer does not experience an unacceptable bill impact. This approach affords our customers time to understand their energy use patterns, while preventing unacceptable customer bill impacts.

Further, as explained in section 4, customers assigned to a transitional tariff may opt-in to a more cost reflective TOU tariff.

### Removing the weekend shoulder period for small business customers

Ausgrid has historically applied a shoulder period on weekend days for small business customers on a TOU tariff. However, Ausgrid considers that, at present, there is limited merit in a weekend shoulder period for small business customers.

Therefore, Ausgrid proposes to remove the weekend shoulder period for small business customers and to replace it with an off-peak period from 1 July 2018. This would bring the treatment of small business customers in line with that of medium and large business customers, for whom the weekend is all off-peak.

Why Ausgrid is retaining the weekend shoulder for residential customer in this TSS Ausgrid currently has a shoulder period for residential customers that applies from 7am to 10pm on weekends and public holidays. The benefits of this shoulder period are twofold, ie: - it enables lower fixed, shoulder and off-peak charges, ie, assists in the recovery of residual costs; and - it provides a dampened price signal on rare occasions when a peak-event occurs on a weekend or public holiday. Of some relevance to the recovery of residual costs, the weekend shoulder period accounts for: - approximately 22 per cent of residential TOU usage; and - approximately 40 per cent of all shoulder volumes. Therefore, removing the weekend shoulder period, but holding constant the residual costs recovered from the shoulder charging parameter, necessitates an approximate 67 per cent increase in the shoulder charge on weekdays. This is particularly relevant in the context of the proposed TOU reforms, which have already required increases in the shoulder charge to recover the increased residual costs. Indeed, such an increase in the shoulder period would have adverse bill impacts on customers that use our network during the weekday shoulder period. For this reason alone, Ausgrid considers it appropriate to delay reforming the weekend shoulder period for residential customers until the next TSS. Ausgrid considers that frequent changes to TOU period definitions have the potential to confuse customers, and that it would be better to implement a single reform to the weekend shoulder once the requisite analysis has been undertaken. Further, since residential peak demand is primarily driven by cooling or heating loads when customers are home on extreme weather days, residential peak demand can occur on weekend days as well as weekdays. On extreme weather days that occur on weekends, the residential customer load can reach peak levels commensurate with that on working weekdays. This is illustrated in the following figure which shows the average demand profile of 240,000 residential customers on a network TOU tariff on a hot summer Tuesday and Saturday in 2011 when the temperature reached over 40 degrees. In these circumstances, the weekend shoulder period provides a dampened price signal for residential customers to shift demand out of the 7am to 10pm period. It should be noted that although weekend peaks for zone substation assets can occur on extreme weather days, it is not common or wide-spread due to the consistent decrease in load that occurs on weekends from business customers. However, some assets that are dominated by residential load or holiday homes can experience high loads on weekends. By way of example, in 2015/16 both the Branxton and Denman zone substations experienced high summer peak loads on weekends with two of their top five peak summer days occurring on a Sunday. This figure demonstrates that, when a peak event occurs on a weekend, the weekend shoulder period can provide a dampened price signal to residential customers.

### New tariff for new transmission-connected customers

Following a thorough review of tariffs, Ausgrid identified scope to improve the economic and equity outcomes for new customers connected to Ausgrid’s electricity transmission network.

At present, new transmission-connected customers are assigned to the published sub-transmission TOU capacity (EA390) tariff, which results in these customers contributing to the cost of owning, investing and maintaining our electricity distribution network. However, these customers are not using the distribution network.

Therefore, from 1 July 2018, Ausgrid proposes to assign new transmission-connected customers to a default network tariff based on a TUOS component only.

The customer impact analysis presented in Appendix A shows that new transmission-connected customers are likely to receive a lower network bill under our proposed default tariff, as compared with the sub-transmission voltage TOU capacity (EA390) tariff. On this basis, Ausgrid considers that this default tariff for transmission-connected customers satisfies the customer impact principle in the NER and that no transitional tariff arrangements are necessary in relation to this reform.

# Indicative Prices

The setting of prices under the new distribution pricing framework established by the NER is a two-stage process, ie:

Stage One – Undertake consultation on potential tariff reforms, develop a TSS document and an indicative pricing schedule for submission to the AER; and

Stage Two – Develop and submit to the AER an annual pricing proposal for assessment against the requirements of the NER.

The indicative prices in the TSS are directed at providing stakeholders with an understanding of the potential pricing outcomes arising under the pricing approach in this TSS.

Bearing in mind that the indicative prices presented in the TSS are indicative only, the prices submitted in the annual pricing proposal may differ from the indicative prices presented here. However, Ausgrid is required to explain any material variations between the indicative prices in the TSS and the prices in the annual pricing proposal.

## Our approach to developing indicative prices

At the time of preparing this TSS, there exists considerable uncertainty as to the applicable revenue requirement in the current regulatory control period, ie, due to the Tribunal’s decision to set aside the AER’s draft determination and the ongoing judicial review of the Tribunal’s decision. Therefore, for the purpose of deriving indicative prices for the remainder of the current regulatory control period, Ausgrid escalated the revenue expected to be recovered in FY17 by reference to the RBA’s inflation forecast.

The resulting revenue requirement for each year was then combined with Ausgrid’s most recent volume forecast for that year to derive indicative prices.

## How to interpret indicative prices and customer bill impacts

It is of fundamental importance that the customer bill impacts arising from the reforms proposed in this TSS are not inferred from inspection of the indicative prices alone.

The proposed introduction of seasonality and narrowing of the winter peak period for residential customers gives rise to a substantial reallocation of our customers’ usage from the peak period to the shoulder period. In other words, a substantial proportion of a customer’s usage that would previously have fallen in the peak period, will fall in a shoulder period from 1 July 2018 onwards.

Importantly, the shoulder price is 80 per cent cheaper than the peak price.

This means that, even though the peak and shoulder prices may increase by more than inflation in some years – so as to permit the recovery of residual costs – the reallocation of usage to the shoulder period will give rise to favourable bill outcomes for our customers.

By way of example, even though the annual change in the peak, shoulder and off peak price for the residential TOU tariff is in the order of 15 per cent in the FY2019 year, the reallocation of customer usage from the peak period to the (substantially cheaper) shoulder period means that:

approximately 60 per cent of residential customers on a TOU tariff will experience a bill reduction; and

the remainder will experience an annual bill change that is on average in line with inflation.

The bill impacts for these residential TOU customers are presented in sections 8.3.4 and 10.1.

The current NUOS prices for the FY2017 year and indicative NUOS prices under the TSS for the FY2018 and FY2019 years are presented in the tables below.

Specifically, the tables below present, respectively, indicative prices for residential and small business tariffs; low voltage TOU capacity tariffs; and high voltage and sub-transmission capacity tariffs. A description of the tariff structures and charging parameters is included in Appendix A.

## Indicative prices for residential and small business customers

Table 15 presents the current NUOS prices in FY 2016/17 and indicative NUOS prices for residential and small business customers over the remainder of the current regulatory control period.

Table 15 – Ausgrid’s Indicative NUOS (Excl. GST) Prices – Residential and Small Business Customer, by Published Tariff

| Tariff Code | Tariff Name | Charging Parameter | Unit | Actual FY 2016/17 | Indicative FY 2017/18 | Indicative FY 2018/19 |
| --- | --- | --- | --- | --- | --- | --- |
| EA010 | Residential non-TOU Tariff | Fixed Charge | c/day | 33.24 | 33.91 | 34.76 |
|  |  | First Block Energy Charge / Flat Usage Charge | c/kWh | 10.97 | 10.95 | 11.20 |
|  |  | Second Block Energy Charge | c/kWh | 10.68 | - | - |
|  |  | Third Block Energy Charge | c/kWh | 10.42 | - | - |
| EA050 | Small Business non-TOU Tariff | Fixed Charge | c/day | 119.78 | 122.18 | 125.23 |
|  |  | First Block Energy Charge / Flat Usage Charge | c/kWh | 10.79 | 10.77 | 11.04 |
|  |  | Second Block Energy Charge | c/kWh | 10.48 | - | - |
| EA025 | Residential TOU Tariff | Fixed Charge | c/day | 41.45 | 42.27 | 43.33 |
|  |  | Peak Energy Charge | c/kWh | 26.47 | 26.60 | 30.69 |
|  |  | Shoulder Energy Charge | c/kWh | 5.48 | 5.48 | 6.32 |
|  |  | Off-peak Energy Charge | c/kWh | 2.79 | 2.81 | 3.24 |
| EA225 | Small Business TOU Tariff | Fixed Charge | c/day | 118.21 | 120.57 | 123.58 |
|  |  | Peak Energy Charge | c/kWh | 21.78 | 21.91 | 25.62 |
|  |  | Shoulder Energy Charge | c/kWh | 6.91 | 6.92 | 8.04 |
|  |  | Off-peak Energy Charge | c/kWh | 2.11 | 2.14 | 2.50 |
| EA030 | Controlled Load 1 | Fixed Charge | c/day | 0.14 | 0.14 | 0.14 |
|  |  | Anytime Energy Charge | c/kWh | 1.77 | 1.81 | 1.85 |
| EA040 | Controlled Load 2 | Fixed Charge | c/day | 10.04 | 10.24 | 10.50 |
|  |  | Anytime Energy Charge | c/kWh | 4.69 | 4.80 | 4.92 |
| EA332 | Residential Transitional TOU tariff | Fixed Charge | c/day | - | - | 34.76 |
|  |  | Peak Energy Charge | c/kWh | - | - | 11.20 |
|  |  | Shoulder Energy Charge | c/kWh | - | - | 11.20 |
|  |  | Off-peak Energy Charge | c/kWh | - | - | 11.20 |
| EA333 | Business Transitional TOU tariff | Fixed Charge | c/day | - | - | 125.23 |
|  |  | Peak Energy Charge | c/kWh | - | - | 11.04 |
|  |  | Shoulder Energy Charge | c/kWh | - | - | 11.04 |
|  |  | Off-peak Energy Charge | c/kWh | - | - | 11.04 |

## Indicative prices for low voltage TOU Capacity tariffs

Table 16 below presents the current NUOS prices in FY 2016/17 and indicative NUOS prices for customers on low voltage TOU capacity tariffs over the remainder of the current regulatory control period.

Table 16 – Ausgrid’s Indicative NUOS (Excl. GST) Prices – LV TOU Capacity Tariffs Customer

| Tariff Code | Tariff Name | Charging Parameter | Unit | Actual FY 2016/17 | Indicative FY 2017/18 | Indicative FY 2018/19 |
| --- | --- | --- | --- | --- | --- | --- |
| EA302 | LV TOU Capacity 40-160 MWh pa | Fixed Charge | c/day | 580.35 | 591.96 | 606.75 |
|  |  | Peak Energy Charge | c/kWh | 5.42 | 5.47 | 6.32 |
|  |  | Shoulder Energy Charge | c/kWh | 2.75 | 2.77 | 3.20 |
|  |  | Off-peak Energy Charge | c/kWh | 1.66 | 1.67 | 1.92 |
|  |  | Capacity Charge | c/kVA/d | 35.19 | 35.89 | 36.79 |
| EA305 | LV TOU Capacity 160-750 MWh pa | Fixed Charge | c/day | 1748.48 | 1783.45 | 1828.04 |
|  |  | Peak Energy Charge | c/kWh | 4.94 | 4.99 | 5.76 |
|  |  | Shoulder Energy Charge | c/kWh | 2.42 | 2.45 | 2.82 |
|  |  | Off-peak Energy Charge | c/kWh | 1.61 | 1.64 | 1.89 |
|  |  | Capacity Charge | c/kVA/d | 35.19 | 35.89 | 36.79 |
| EA310 | LV TOU Capacity >750 MWh pa | Fixed Charge | c/day | 2184.66 | 2228.36 | 2284.07 |
|  |  | Peak Energy Charge | c/kWh | 4.37 | 4.41 | 5.09 |
|  |  | Shoulder Energy Charge | c/kWh | 2.17 | 2.19 | 2.48 |
|  |  | Off-peak Energy Charge | c/kWh | 1.46 | 1.48 | 1.71 |
|  |  | Capacity Charge | c/kVA/d | 35.19 | 35.89 | 36.79 |

## Indicative prices for High and Sub-transmision Voltage TOU Capacity Tariffs (published only), and the new transmission-connected tariff

Table 17 below presents the current NUOS prices in FY 2016/17 and indicative NUOS prices for customers on either our published high voltage or sub-transmission voltage TOU capacity tariffs over the remainder of the current regulatory control period.

Table 17 – Ausgrid’s Indicative NUOS (Excl. GST) Prices – HV and STV TOU Capacity Tariffs Customers

| Tariff Code | Tariff Name | Charging Parameter | Unit | Indicative FY 2016/17 | Indicative FY 2017/18 | Indicative FY 2018/19 |
| --- | --- | --- | --- | --- | --- | --- |
| EA370 | High Voltage TOU Capacity (system) Tariff | Fixed Charge | c/day | 4372.54 | 4459.99 | 4571.49 |
|  |  | Peak Energy Charge | c/kWh | 3.19 | 3.20 | 3.46 |
|  |  | Shoulder Energy Charge | c/kWh | 2.13 | 2.14 | 2.46 |
|  |  | Off-peak Energy Charge | c/kWh | 1.46 | 1.47 | 1.59 |
|  |  | Capacity Charge | c/kVA/d | 18.88 | 19.26 | 19.74 |
| EA380 | High Voltage TOU Capacity (sub-station) Tariff | Fixed Charge | c/day | 4372.54 | 4459.99 | 4571.49 |
|  |  | Peak Energy Charge | c/kWh | 2.80 | 2.81 | 3.04 |
|  |  | Shoulder Energy Charge | c/kWh | 1.89 | 1.90 | 2.18 |
|  |  | Off-peak Energy Charge | c/kWh | 1.30 | 1.31 | 1.42 |
|  |  | Capacity Charge | c/kVA/d | 16.20 | 16.52 | 16.93 |
| EA390 | Sub-transmission Voltage TOU Capacity (system) Tariff | Fixed Charge | c/day | 5465.67 | 5574.98 | 5714.36 |
|  |  | Peak Energy Charge | c/kWh | 2.57 | 2.58 | 2.79 |
|  |  | Shoulder Energy Charge | c/kWh | 1.87 | 1.87 | 2.16 |
|  |  | Off-peak Energy Charge | c/kWh | 1.26 | 1.27 | 1.37 |
|  |  | Capacity Charge | c/kVA/d | 6.01 | 6.13 | 6.28 |
| EA391 | Sub-transmission Voltage TOU Capacity (sub-station) Tariff | Fixed Charge | c/day | 5465.67 | 5574.98 | 5714.36 |
|  |  | Peak Energy Charge | c/kWh | 2.30 | 2.31 | 2.50 |
|  |  | Shoulder Energy Charge | c/kWh | 1.68 | 1.68 | 1.94 |
|  |  | Off-peak Energy Charge | c/kWh | 1.12 | 1.12 | 1.22 |
|  |  | Capacity Charge | c/kVA/d | 5.20 | 5.31 | 5.44 |
| EA501 | Transmission-connected tariff | Network Access Charge | c/day | - | - | 0 |
|  |  | Peak Energy Price | c/kWh | - | - | 1.25 |
|  |  | Shoulder Energy Price | c/kWh | - | - | 1.25 |
|  |  | Off-peak Energy Price | c/kWh | - | - | 1.25 |
|  |  | Capacity Charge | c/kVA/d | - | - | 3.10 |

# Customer Impacts Analysis

## Residential Customers

Figure 14 below illustrates that customers on a non-TOU tariff will experience a bill change broadly in line with the RBA’s inflation target of 2 to 3 per cent. Of course, the move from a DBT to a flat tariff means that the very large residential customers (of which there are very few) on the flat tariff may experience a marginally larger increase in their bill, since most of their consumption was previously in the last (and cheapest) block of the DBT. However, these customers face the largest incentive to move to a TOU tariff, as shown later in Figure 16.

Figure 14 – FY17-FY19 Customer Bill Impact – EA010 (Residential flat tariff)

Figure 15 illustrates that, even assuming no demand response, approximately 60 per cent residential TOU customers are expected to receive a bill reduction and, for the remaining customers, the bill changes will be on average in line with the RBA’s inflation target of 2 to 3 per cent. The below analysis assumes no demand response from customers and so it is conservative in nature, ie, customers could realise even greater bill reductions if they change their usage patterns in response to the TOU price signals.

Figure 15 – FY17 to FY19 Customer Bill Impact – EA025 (Residential TOU tariff)

Figure 16 below shows that almost all customers on the non-TOU flat tariff would be better off on the TOU tariff. Further, the vertical dispersion of TOU bill outcomes illustrates the potential bill savings that can be achieved by changing usage patterns. Our sample of 5,000 customers indicated that the network bill outcome for customers using around 5,000kWh a year in FY19 will range from approximately $530 to $750, where this difference in bill outcomes is attributable to different usage patterns.

Figure 16 – FY19 bill differential between residential TOU and flat tariff (EA010 v EA025)

Our analysis of customer impacts for business customers is presented on the next page.

## Business Customers

The seven figures below illustrate the indicative business customer bill impacts arising from the indicative prices presented in section 9. In particular, these figures show that business customers will either realise a reduction in their bill or an annual change in their bill that is on average in line with the rate of consumer price inflation.

Price levels may vary to those presented here due to changes in TransGrid’s transmission pricing methodology.

Tariff eligibility criteria are the criteria that a customer must meet to be assigned to the relevant tariff.

CoolSaver is an initiate in which Ausgrid installs a signal receiver in a customer’s air conditioner that allows Ausgrid to remotely activate the air conditioner’s in-built power saving modes. Customers receive an upfront and ongoing reward for joining CoolSaver, The program began in summer 2013/14, and is being promoted in selected suburbs in the Central Coast, Lake Macquarie and Maitland parts of our network. The program is ongoing and further details can be found on our website including an interim report available on our website here.

NER, Chapter 10.

AEMC 2014, Rule Determination, National Electricity Amendment (Distribution Pricing Arrangements) Rule 2014, Rule Proponents, COAG Energy Council, Independent Pricing and Regulatory Tribunal, 27 November, page 181-182.

NERA 2014, Economic Concepts for Pricing Electricity Network Services, A report for the Australian Energy Market Commission, 21 July, P.10

This definition is particularly important as it provides Ausgrid with a basis to assess an application from an existing small business customer to be re-assigned to a residential network tariff.

Due to the AEMC metering rule change due to come into effect on 1 December 2017, from 1 July 2018 all new customers will have an advanced meter installed.

Ausgrid has used the term default tariff in our TSS to mean the network tariff that is assigned by Ausgrid in respect to: new customers, ie, newly energised connections; and existing customers that have changed their metering and connection characteristics to the extent that they are no longer eligible to remain assigned to their existing network tariff (explained in more detail in section 4.2).

In circumstances where Ausgrid’s annual review and assessment identifies an existing retail customer that is no longer eligible to remain assigned to their existing tariff class, Ausgrid will re-assign the customer to another tariff class consistent with the procedure set out in Attachment 14 of the AER Final Decision.

Customers connected to our electricity distribution network with historical network usage of more than 10 MW or 40 GWh pa are permitted to apply to be assigned to an individually calculated site-specific tariff.

Note that Ausgrid proposes to identify a customer for re-assignment to a transitional network tariff in FY 2018/19 for the purpose of the FY 2018/19 pricing proposal where there is sufficient information available to Ausgrid to make this assessment.

These customers will be assigned to EA302, EA305 or EA310 depending on the extent of their network usage, as illustrated in Figure 4.

Defined as a person who is a customer of the retailer and whose premises are connected to the distributor's distribution system.

NERA 2014, Economic Concepts for Pricing Electricity Network Services. A report for the Australian Energy market Commission, July p.27

Note: To satisfy the efficiency criteria, the design of the dynamic peak tariff, such as the duration of the peak period, the criteria for triggering an event and the number of events allowed to be called each year, must be determined for each specific area of network congestion.

Due to wide-spread excess capacity and the limited penetration of interval metering in Ausgrid’s network area.

Due to wide-spread excess capacity.

That is, from 1 April to 30 May (inclusive) and 1 September to 31 October (inclusive).

Calculated equal to (1005hrs / 1560hrs) -1.

It is relevant to note that, in the absence of locational pricing, demand management tools can be used to encourage customers to act in a manner that assists in deferring or avoiding future investment by Ausgrid.

We note that the substation names on the vertical axis are not relevant to the interpretation of this figure.

Substations with more than 66 per cent residential load have been classified as primarily residential, while those substations for which residential load comprises between 33 per cent and 66 percent have been classified as mixed.

We note that the substation names on the vertical axis are not relevant to the interpretation of this figure.

For the avoidance of doubt, we note that that residential load on both summer-peaking substations (not shown in Figure 8) and winter-peaking substations (shown in Figure 8), ie, all substations, exhibit a similar profile in the winter months (above 95% load from 5pm to 9pm).

Our approach to determining expected revenue for the purpose of this TSS is explained in Appendix A, and has been communicated previously to the AER.

AEMC 2014, Rule Determination, National Electricity Amendment (Distribution Pricing Arrangements) Rule 2014, Rule Proponents, COAG Energy Council, Independent Pricing and Regulatory Tribunal, 27 November, page x.

These distinctions were single phase ≤100Amps, three phase ≤100, three phase ≤100Amps WC connection, three phase CT connection ≤400Amps, >400 amps ≤1,600Amps and >1600 amps.

Because of the potential electrical demand - in Amps - which translates into the kW / kVA demand that can be potentially drawn.

AER, Draft Decision – Tariff structure statement proposals Ausgrid Endeavour Energy Essential Energy, August 2016, p.109-110.

AER, Draft Decision – Tariff structure statement proposals Ausgrid Endeavour Energy Essential Energy, August 2016, p.107.

Including the Energy and Water Ombudsman NSW, the Public Interest Advocacy Centre, the NSW Council of Social Services, NSW Irrigators' Council and Solar citizens.

This feature of the small business TOU tariff is a legacy of a time when Ausgrid had a combined residential and small business TOU tariff. The essential structure of this tariff was maintained when Ausgrid separated this tariff into a residential TOU tariff and a small business TOU tariff.

For the avoidance of doubt, Ausgrid notes the frequency with which this occurs is not sufficient to warrant the application of a peak period for residential customers on weekends.

RBA, Statement on Monetary Policy, August 2016.

Price levels may vary to those presented here due to changes in TransGrid’s transmission pricing methodology.