## Changes summary
Changes compared to Preliminary Orders for Distribution Business - published 25 January 2023
Data requirements
Worksheet | Table | Change | Rationale
Other service measures | Repair of faulty street lights | Table removed | Not applicable to PWC
Other service measures | Export Services | Tasmanian feeder classifications removed | Not applicable to PWC
Definitions
Term | Definition | Change | Rationale
Street lights - average monthly number "out" | The total number of street lights reported by customers as not working over the year, divided by twelve. | Definition removed | Not applicable to PWC
Street lights - not repaired by "fix by" date | Number of street lights that were not repaired within the required timeframe. | Definition removed | Not applicable to PWC
Street lights - average number of days to repair | The average number of days to repair street lights that were reported as not working. | Definition removed | Not applicable to PWC
Concepts
Term | Definition | Change | Rationale
Total feeders (Tasmanian) | Urban + Critical infrastructure + High density commercial + High density rural + Low density rural | Removed | Not applicable to PWC
Tas - Urban feeder | Consistent with the requirements of the Tasmanian Electricity Code. | Removed | Not applicable to PWC
Tas - Critical infrastructure feeder | Consistent with the requirements of the Tasmanian Electricity Code. | Removed | Not applicable to PWC
Tas - High density commercial feeder | Consistent with the requirements of the Tasmanian Electricity Code. | Removed | Not applicable to PWC
Tas - High density rural feeder | Consistent with the requirements of the Tasmanian Electricity Code. | Removed | Not applicable to PWC
Tas - Low density rural feeder | Consistent with the requirements of the Tasmanian Electricity Code. | Removed | Not applicable to PWC

## Concepts
AER Network information requirements review 2022-23
Project Overview
The network information requirements review project is being undertaken to streamline regulated electricity networks' annual reporting obligations, and facilitate improvements in the AER’s information management maturity. The project will allow for consolidation of existing information requests, ongoing integration of new information requirements, and clearer documentation of our underlying data structure. In sum, this project will help improve data quality and deliver efficiencies to both the AER and the regulated businesses.
Data category 05: Service performance
Service Performance refers to the quality of services an NSP provides to its customers. It is important to consider service quality, particularly because increases in measured efficiency may otherwise be achieved at the expense of service quality in either the short-term or the longer term.
The data is used to calculate service performance scheme outcomes, and will impact on the total revenues that can be collected in each year.
Concepts
Total feeders (non Tasmanian) = CBD + Urban + Short rural + Long rural
Total feeders (Tasmanian) = Urban + Critical infrastructure + High density commercial + High density rural + Low density rural |  | N/A for PWC
Customer | An end user of electricity.
Customer (DRMG) | DRMG, section 3.2: Distribution Customer means a connection point between a distribution network and Customer that has been assigned a National Metering Identifier, including energised only connection points and active accounts but excluding unmetered connection points without a National Metering Identifier.
SAIDI | The system average interruption duration index for the purposes of the service target performance incentive scheme.
SAIFI | The system average interruption frequency index for the purposes of the service target performance incentive scheme.
Feeder | A power line, including underground cables, that is part of a distribution network.
CBD feeder | A feeder in the CBD area of State or Territory capital that has been determined by the relevant participating jurisdiction as supplying electricity to predominantly commercial, high-rise buildings, supplied by a predominantly underground distribution network containing significant interconnection and redundancy when compared to urban areas.
Urban feeder | A feeder which is not a CBD feeder and has a 3-year average maximum demand, over the 3 year average feeder route length, greater than 0.3 MVA/km.
Short rural feeder | A feeder with a total feeder route length less than 200 km, which is not a CBD feeder or urban feeder.
Long rural feeder | A feeder with a total feeder route length greater than 200 km, which is not a CBD feeder or urban feeder.
Tas - Urban feeder | Consistent with the requirements of the Tasmanian Electricity Code. | DELETE
Tas - Critical infrastructure feeder | Consistent with the requirements of the Tasmanian Electricity Code. | DELETE
Tas - High density commercial feeder | Consistent with the requirements of the Tasmanian Electricity Code. | DELETE
Tas - High density rural feeder | Consistent with the requirements of the Tasmanian Electricity Code. | DELETE
Tas - Low density rural feeder | Consistent with the requirements of the Tasmanian Electricity Code. | DELETE

## Definitions
Data category 05: Service performance
Definitions have been provided for each column descriptor as well as each row descriptor of the data tabs in this workbook. To find the full meaning of a data element, please consider all relevant column, row and table heading definitions provided in the table below.
Compounding Definitions
Where you are seeking to discern the meaning of a row or column descriptor with multiple terms, you may need to look up the terms individually below and consider the definitions together to discern the full meaning of the row or column descriptor.
Term | Definition
Interruptions
Service target performance incentive scheme (STPIS) | The AER's Service target performance incentive scheme provides networks with incentives for maintaining and improving network performance, to the extent that consumers are willing to pay for such improvements. The STPIS is intended to ensure that service levels do not reduce as result of efforts to achieve efficiency gains.
STPIS (Dx) - 2018 amendment | The AER's Service target performance incentive scheme, version 2.0, November 2018.
Interruptions to supply | Interruption to a Distribution Customer’s electricity supply at the point of supply.
Distribution customers | As defined in the DRMG.
Date of interruption | The date on which the interruption started.
Time of interruption | The time when the interruption started.
Asset ID/Feeder ID | The unique code or feeder identifier that the NSP uses internally to identify the feeder.
Feeder service area description | A description of the location of the feeder.
Feeder classification | Classification of feeder based on location on network or type of load served (network type as defined in the STPIS). Non Tasmanian feeder classifications are: CBD, Urban; Short rural and Long Rural. Tasmanian feeder classifications are consistent with the requirements of the Tasmanian Electricity Code: Critical infrastructure; Urban; High density commercial, High density rural and Low density rural.
CBD feeder | A feeder in the CBD area of State or Territory capital that has been determined by the relevant participating jurisdiction as supplying electricity to predominantly commercial, high-rise buildings, supplied by a predominantly underground distribution network containing significant interconnection and redundancy when compared to urban areas.
Urban feeder | A feeder which is not a CBD feeder and has a 3-year average maximum demand, over the 3 year average feeder route length, greater than 0.3 MVA/km.
Short rural feeder | A feeder with a total feeder route length less than 200 km, which is not a CBD feeder or urban feeder.
Long rural feeder | A feeder with a total feeder route length greater than 200 km, which is not a CBD feeder or urban feeder.
Reason for interruption | Attribution of the cause of the interruption to reasons listed: Momentary; Animal; Asset Failure; Other; Overloads; Planned; Network Business; Third Party; Unknown; Vegetation; Weather; DRMG exclusion 3.3.1; DRMG exclusion 3.3.2; DRMG exclusion 3.3.3; DRMG exclusion 3.3.4; DRMG exclusion 3.3.5; DRMG exclusion 3.3.6; DRMG exclusion 3.3.7; excl customer installation fault or request.
Detailed reason for interruption | Detailed reasons for the interruption are as follows: Animal impact; Animal nesting/burrowing; Animal other; Asset failure - HV; Asset failure - LV; Asset failure - Distribution substation; Asset failure - Zone substation; Asset failure - sub transmission; Network error; Switching and protection error; Fire; Dig in; Unauthorised access; Vehicle impact; Third party other; Blow in/Fall in - NSP responsibility; Grow in - NSP responsibility; Blow in/Fall in - Other responsible party; Grow in - Other responsible party. The responsibility for vegetation blow-in or grow-in should be assigned to the party (NSP or Other) that is responsible for management of the vegetation.
Duration of interruption | The duration of an interruption experienced by a customer.
DRMG | AER, Distribution reliability measures guideline, August 2022.
Customer base | As defined in the STPIS and DRMG.
Number of customers (DRMG) affected by interruption | The Customer Base used to calculate reliability measures, as defined in the DRMG (section 3.2).
Restoration stage | Where an interruption is restored in multiple stages; and reported on multiple rows (same date; start time; feeder id) each restoration stage should be numbered, to enable correct calculation of SAIDI and SAIFI impacts. The SAIFI impact for interruptions that are restored in multiple stages will be zero for the second and consequent stages, however a SAIDI impact will be determined for each restoration stage.
Call centre performance
Calls to fault line - average waiting time before call answered | The average time in seconds from when calls enter the system (including that time when a call may be ringing unanswered) and the caller speaks to a human operator or is connected to an interactive service that provides the information requested.
Call centre - number of overload events | The number of times that the call centre queuing system is inadequate to queue all incoming calls.
Percentage of calls abandoned | Percentage of calls abandoned = (calls abandoned/calls to call centre fault line)* 100.
Total number of calls received (call centre fault line) | Calls to the fault line, including any answered by an automated response service and terminated without being answered by an operator. Excludes missed calls where the fault line is overloaded. Call centre information must be reported as per the definitions in the STPIS, that is excluding: (a) calls to payment lines and automated interactive services (b) calls abandoned by the customer within 30 seconds of the call being queued for response by a human operator (where the time in which a telephone call is abandoned is not measured, then an estimate of the number of calls abandoned within 30 seconds will be determined by taking 20 per cent of all calls abandoned).
Excluded events | As defined in section 5.4 of the STPIS.
Other service measures
Connection services | Has the meaning prescribed in the National Electricity Rules. As defined in the AER's Connection charge guidelines for electricity retail customers, June 2012, a Connection Service—means either or both of the following: (a) a service relating to a new connection for premises; (b) a service relating to a connection alteration for premises.
Street lights - average monthly number "out" | The total number of street lights reported by customers as not working over the year, divided by twelve. | N/A for PWC
Street lights - not repaired by "fix by" date | Number of street lights that were not repaired within the required timeframe. | N/A for PWC
Street lights - average number of days to repair | The average number of days to repair street lights that were reported as not working. | N/A for PWC
Complaint | A written or verbal expression of dissatisfaction about an action, a proposed action, or a failure to act by a distributor, its employees or contractors. This includes failure by a distributor to observe its published practices or procedures.
Complaint - reliability of supply | The number of complaints relating to the reliability of supply.
Complaint - technical quality of supply | The number of complaints relating to the technical quality of supply.
Complaint - administrative process or customer service | The number of complaints relating to the administrative process or customer service of the DNSP excluding those reported under 'connection and augmentation'.
Complaint - connection or augmentation | The number of complaints about: (a) the quality and timeliness of a new connection; and (b) the cost, timeliness and quality of augmentation works.
Complaint - other | The number of complaints that are not under the categories of 'connection & augmentation', 'reliability of supply', 'quality of supply' and 'administrative process or customer service'.
Scheme administrator | The body/bodies responsible for the administration and review of service level schemes in the NSPs jurisdiction.
Specification of scheme | Documentation of service level standard applying to the NSP.
Instances where GSL not met | Number of times the applicable service levels were not met by the NSP.
Energy not supplied (planned) | Total energy not supplied (measured in MWh) minus energy not supplied - unplanned. This is to be exclusive of the effect of exclusions.
Energy not supplied (unplanned) | The estimate of energy not supplied (due to unplanned outage) to be based on average customer demand (multiplied by number of customers interrupted and the duration of the interruption). Average customer demand to be determined from (in order of preference): (a) average consumption of the customers interrupted based on their billing history; (b) feeder demand at the time of the interruption divided by the number of customers on the feeder; (c) average consumption of customers on the feeder based on their billing history; and (d) average feeder demand derived from feeder maximum demand and estimated load factor, divided by the number of customers on the feeder. This is to be exclusive of the effect of exclusions.
Fire start / unplanned vegetation events | Any fire: (a) that starts in and originates from the reporting NSP’s transmission or distribution system; or (b) started by any tree, or part of a tree, which falls or blows in or grows into contact with the reporting NSP’s transmission or distribution system; or (c) started by any person, bird, reptile or other animal coming into contact with the reporting NSP’s transmission or distribution system; or (d) started by lightning striking the reporting NSP’s transmission or distribution system; or (e) started by any other thing forming part of or coming into contact with the reporting NSP’s transmission or distribution system; or (f) otherwise started by the reporting NSP’s transmission or distribution system. The responsibility for vegetation blow-in or grow-in should be assigned to the party (NSP or Other) that is responsible for management of the vegetation.
Vegetation grow-ins | An interruption to supply caused by vegetation growing into network assets. For example a tree branch contacting overhead lines. These interruptions to supply may be the responsibility of NSP or other responsible parties such as municipal councils or private land owners. The responsibility for vegetation blow-in or grow-in should be assigned to the party (NSP or Other) that is responsible for management of the vegetation.
Vegetation blow-ins and fall-ins | An interruption to supply caused by vegetation blowing onto or falling onto network assets. For example wind born branches lodging across the phases of an overhead line, or an adjacent tree falling onto overhead lines. These interruptions to supply may be the responsibility of NSP or other responsible parties such as municipal councils or private land owners. The responsibility for vegetation blow-in or grow-in should be assigned to the party (NSP or Other) that is responsible for management of the vegetation.
Inadequately served customers | Has the meaning prescribed in the AER’s Distribution Reliability Measures Guideline.
SAIDI | The system average interruption duration index for the purposes of the service target performance incentive scheme.
SAIFI | The system average interruption frequency index for the purposes of the service target performance incentive scheme.
Threshold SAIDI value for inadequately served customers | Threshold for inadequately served customers = greater than 4 times the Network average for unplanned SAIDI on a three-year rolling average basis compared with a network average customer.
Export services
Approved capacity | The maximum amount of export capacity a distribution network agrees to accept from a customer.
Battery | A device that reserves energy.
Complaint management | Systems and processes for recording, analysing, responding to and resolving complaints. Examples of complaints management include but not limited to: complaint processing, analysis, transformer tapping.
Complaint | A written or verbal expression of dissatisfaction about an action, a proposed action, or a failure to act by a distributor, its employees or contractors. This includes failure by a distributor to observe its published practices or procedures.
Customer (export services) | Metered customers with a NMI.
Energy exported | Electricity exported from a customer's premises to a distribution network.
Export capacity | The maximum amount of electricity a customer's system is capable of exporting to the distribution network.
Export capacity request | The maximum amount of export capacity a customer requests when requesting export services from a distribution network.
Export services | Export services are services provided by distribution networks to accept and distribute energy generated within its network either behind the meter or front of meter.
Isolated network | An electricity distribution network that is not connected to another electricity network.
Network monitoring capex | Capital expenditure to acquire, maintain, or improve its fixed network monitoring assets. Examples include but not limited to: implementing transformer monitors.
Non-residential HV | Non-residential customer who is connected at higher than 415 volts.
Non-residential LV | Non-residential customer who is connected at 240 or 415 volts.
Overvoltage | A solar system reaching its upper voltage limit causing the system's inverter to shut down or the system to reduce its output.
Residential customer | A customer who purchases energy principally for personal, household or domestic use at premises.
Solar photovoltaic (PV) | A system for generating electricity that converts sunlight into electrical energy.

## Validations
Data category 05: Service performance
Data validation is a process to improve data quality by checking the accuracy and quality of source data before using, importing or otherwise processing the data. Data validation rules provide the first level of data cleansing in the data quality process. They decrease the likelihood of errors at the point of data entry. Data validation rules cannot, however, guarantee data entry is correct, only that it has passed a pre-specified set of rules.
Validation Rules
Worksheet | Tables | input cells | Rules applying | Change from Preliminary Orders
Interruptions | Interruptions to supply | Date of interruption | (DD/MM/YYYY)
NULL invalid
|  | Time of interruption | (hh:mm)
NULL invalid
|  | Asset ID | Free text - must align with data category 03 - network metrics - must align with previous years' submission where relevant
NULL invalid
|  | Description of service area | Free text - must align with data category 03 - network metrics - must align with previous years' submission where relevant
NULL invalid
|  | Feeder classification | Text Valid responses are only: CBD / Urban / Short rural / Long rural
|  |  | Tasnetworks valid responses are only: CBD / critical infrastructure / high density commercial /high density rural / low density rural | N/A for PWC
NULL invalid
|  | Reason for interruption | Text
Valid responses are: Momentary; Animal; Asset Failure; Other; Overloads; Planned; Network Business; Third Party; Unknown; Vegetation; Weather; DRMG exclusion 3.3.1; DRMG exclusion 3.3.2; DRMG exclusion 3.3.3; DRMG exclusion 3.3.4; DRMG exclusion 3.3.5; DRMG exclusion 3.3.6; DRMG exclusion 3.3.7; disconnection caused by retailer or a fault in electrical equipment owned by a Customer
NULL invalid
|  | Detailed reason for interruption | Text
Valid responses are: Animal impact; Animal nesting/burrowing; Animal other; Asset failure - HV; Asset failure - LV; Asset failure - Distribution substation; Asset failure - Zone substation; Asset failure - sub transmission; Network error; Switching and protection error; Fire; Dig in; Unauthorised access; Vehicle impact; Third party other; Blow in/Fall in - NSP responsibility; Grow in - NSP responsibility; Blow in/Fall in - Other responsible party; Grow in - Other responsible party.
NULL valid if detailed reason not known
|  | Number of customers affected by interruption | ≥0
NULL invalid
|  | Duration of interruption | (mm:ss)
NULL invalid
|  | Restoration stage | Integer
≥1
If Restoration stage <>1, then date; start time; feeder id must all match against an interruption where restoration stage =1.
NULL invalid
Call centre | Call Centre Performance | Calls to call centre fault line | Integer
≥1
NULL invalid
|  | Calls to fault line - average waiting time before call answered | mm:ss
NULL invalid
|  | Call centre - number of overload events | Integer
≥1
NULL invalid
|  | Percentage of calls abandoned | 1 = 100% ≥0 ≤1
NULL invalid
| Call Centre Daily Performance Data | Total number of calls received (Call centre fault line) | Integer
≥0
|  |  | NULL valid where data not available | Changed from NULL invalid
|  | Number of calls received (after removing excluded events) | Integer
≥0
|  |  | NULL valid where data not available | Changed from NULL invalid
|  | Number of calls answered in 30 seconds (After removing excluded events) | Integer
≥0
|  |  | NULL valid where data not available | Changed from NULL invalid
Other service measures | Other service measures | all input cells | ≥0
NULL valid
| Complaints - technical quality of supply | all input cells | 1 = 100% ≥0
≤1
NULL valid
| Guaranteed Service Level | all input cells | Free text
NULL invalid
| Instances where GSL not met | Number field | ≥0
NULL invalid
|  | Business specified GSL categories | Free text - must align with business specified GSL category from data category 6 - operational expenditure - must align with previous years' submission where relevant
|  | Business specified GSL parameters | Free text - must align with business specified GSL parameter from data category 6 - operational expenditure - must align with previous years' submission where relevant
| Energy not supplied |  | NULL invalid
≥0
| Fire starts - unplanned vegetation events |  | NULL invalid (Report '0' where applicable) | Previously NULL invalid
≥0
| Inadequately served customers |  | NULL invalid
≥0
| Top 5 feeders with most inadequately served customers | SAIDI | NULL response valid if top 5 zone substation data provided
≥0
|  | SAIFI | NULL response valid if top 5 zone substation data provided
≥0
|  | Number | NULL response valid if top 5 zone substation data provided
≥0
|  | Feeder ID - business defined feeder ID | Free text
NULL response valid if top 5 zone substation data provided
| Top 5 zone substations with most inadequately served customers | SAIDI | NULL response valid if top 5 feeder data provided
≥0
|  | SAIFI | NULL response valid if top 5 feeder data provided
≥0
|  | Number | NULL response valid if top 5 feeder data provided
≥0
|  | Substation ID - business defined substation ID | Free text
NULL response valid if top 5 feeder data provided
| Export services | Complaints relating to export services | Integer
≥0
NULL invalid
|  | Customers receiving overvoltage | Integer
≥0
NULL invalid
|  | Customers requesting export capacity | Integer
≥0
NULL invalid
|  | Export capacity requested | Number
≥0
NULL invalid
|  | Export capacity approved | Number
≥0
NULL invalid

## Checks and Totals
Data category 05: Service performance
Totals and Data Hierarchies
Worksheet | Table | Sub table | Reference | Worksheet | Table | Sub table | Reference | Check

## Interruptions
Data category 05: Service performance
Stakeholder Comments | [10 empty] | Current RIN reference | Assurance standard - Non-Financial data
Interruptions to supply
| Date of interruption | Time of interruption | Asset ID/Feeder ID | Feeder service area description | Feeder classification | Reason for interruption | Detailed reason for interruption | Number of customers (DRMG) affected by interruption | Duration of interruption | Restoration stage | NEW - table replaces CA6.3 Enables derivation of data previously collected in EB3.6; AR3.6.8; AR3.6.9; AR6.2; AR6.8.
| (DD/MM/YYYY) | (hh:mm) |  |  | Select from options listed below | Select from options listed below | Select from options listed below | Number | (mm:ss) | Number
|  |  | <Business defined ID 1> | <Business defined description> | <Business selection> | <Business selection> | <Business selection> |  |  | 1 |  | ASAE 3000
|  |  | <Business defined ID 2> | <Business defined description> | <Business selection> | <Business selection> | <Business selection> |  |  | 1 |  | ASAE 3000
|  |  | <Business defined ID 3> | <Business defined description> | <Business selection> | <Business selection> | <Business selection> |  |  | 1 |  | ASAE 3000
|  |  | <Business defined ID 4> | <Business defined description> | <Business selection> | <Business selection> | <Business selection> |  |  | 1 |  | ASAE 3000
|  |  | <Business defined ID 5> | <Business defined description> | <Business selection> | <Business selection> | <Business selection> |  |  | 1 |  | ASAE 3000
<add rows as required>
[5 empty] | Feeder classification | Reason for interruption | Detailed reason for interruption
[5 empty] | CBD | momentary
[5 empty] | Urban | animal | Animal impact
[5 empty] | Short rural | animal | Animal nesting/burrowing
[5 empty] | Long rural | animal | Animal other
|  |  |  | N/A for PWC | TAS - Critical infrastructure | asset failure | Asset failure - HV
|  |  |  | N/A for PWC | TAS - Urban | asset failure | Asset failure - LV
|  |  |  | N/A for PWC | TAS - High density commercial | asset failure | Asset failure - Distribution substation
|  |  |  | N/A for PWC | TAS - High density rural | asset failure | Asset failure - Zone substation
|  |  |  | N/A for PWC | TAS - Low density rural | asset failure | Assets failure - sub transmission
other
overloads
planned
[6 empty] | network business | Network error
[6 empty] | network business | Switching and protection error
[6 empty] | third party | Fire
[6 empty] | third party | Dig in
[6 empty] | third party | Unauthorised access
[6 empty] | third party | Vehicle impact
[6 empty] | third party | Third party other
unknown
[6 empty] | vegetation | Blow in/Fall in - NSP responsibility
[6 empty] | vegetation | Grow in - NSP responsibility
[6 empty] | vegetation | Blow in/Fall in - Other responsible party
[6 empty] | vegetation | Grow in - Other responsible party
weather
DRMG exclusion 3.3.1
DRMG exclusion 3.3.2
DRMG exclusion 3.3.3
DRMG exclusion 3.3.4
DRMG exclusion 3.3.5
DRMG exclusion 3.3.6
DRMG exclusion 3.3.7
disconnection caused by retailer or a fault in electrical equipment owned by a Customer

## Call centre
Data category 05: Service performance
Stakeholder Comments |  |  |  |  | Current RIN reference | Assurance standard - Non-Financial data
| Call centre performance |  | Units | Call Centre Performance
| Calls to call centre fault line |  | Number of calls | 0 | AR3.6.7.3
| Calls to fault line - average waiting time before call answered |  | mm:ss |  | AR3.6.7.3 | ASAE 3000
| Call centre - number of overload events |  | Number of events |  | AR3.6.7.3 | ASAE 3000
| Percentage of calls abandoned |  | % |  | AR3.6.7.3 | ASAE 3000
CALL CENTRE DAILY PERFORMANCE DATA
| Date | Total number of calls received (calls to call centre fault line) | Number of calls received (after removing excluded events) | Number of calls answered in 30 seconds (after removing excluded events)
| 2022-07-01 |  |  |  | AR6.7.1 | ASAE 3000
| 2023-07-02 |  |  |  | AR6.7.1 | ASAE 3000
| … |  |  |  | AR6.7.1 | ASAE 3000
| … |  |  |  | AR6.7.1 | ASAE 3000
| + |  |  |  | AR6.7.1 | ASAE 3000
| + |  |  |  | AR6.7.1 | ASAE 3000
| … |  |  |  | AR6.7.1 | ASAE 3000
| … |  |  |  | AR6.7.1 | ASAE 3000
| 2023-06-08 |  |  |  | AR6.7.1 | ASAE 3000
| 2021-06-29 |  |  |  | AR6.7.1 | ASAE 3000
| 2021-06-30 |  |  |  | AR6.7.1 | ASAE 3000

## Other service measures
Data category 05: Service performance
Stakeholder Comments |  | Units |  | Current RIN reference | Assurance standard - Non-Financial data
Other service measures
CONNECTION SERVICES
| Number of connections made | Number |  | AR3.6.7.1 | ASAE 3000
| Number of connections not made on or before agreed date | Number |  | AR3.6.7.1 | ASAE 3000
REPAIR OF FAULTY STREET LIGHTS (N/A for PWC)
| Street lights - average monthly number "out" |  |  | AR3.6.7.2
| Street lights - not repaired by "fix by" date |  |  | AR3.6.7.2
| Street lights - average number of days to repair |  |  | AR3.6.7.2
| Total number of street lights |  |  | AR3.6.7.2
| COMPLAINTS |  | 0
| Complaint - reliability of supply | Number |  | AR3.6.7.4 | ASAE 3000
| Complaint - technical quality of supply | Number |  | AR3.6.6.1/AR3.6.7.4 | ASAE 3000
| Complaint - administrative process or customer service | Number |  | AR3.6.7.4 | ASAE 3000
| Complaint - connection or augmentation | Number |  | AR3.6.7.4 | ASAE 3000
| Complaint - other | Number |  | AR3.6.7.4 | ASAE 3000
Complaints - technical quality of supply
PERCENTAGE OF COMPLAINTS BY CATEGORY
| Low voltage supply | % |  | AR 3.6.6.2 | ASAE 3000
| Voltage dips | % |  | AR 3.6.6.2 | ASAE 3000
| Voltage swell | % |  | AR 3.6.6.2 | ASAE 3000
| Voltage spike (impulsive transient) | % |  | AR 3.6.6.2 | ASAE 3000
| Waveform distortion | % |  | AR 3.6.6.2 | ASAE 3000
| TV or radio interference | % |  | AR 3.6.6.2 | ASAE 3000
| Solar related | % |  | AR 3.6.6.2 | ASAE 3000
| Noise from appliances | % |  | AR 3.6.6.2 | ASAE 3000
| Other | % |  | AR 3.6.6.2 | ASAE 3000
PERCENTAGE OF COMPLAINTS BY LIKELY CAUSE
| Network equipment faulty | % |  | AR 3.6.6.3 | ASAE 3000
| Network interference by NSP equipment | % |  | AR 3.6.6.3 | ASAE 3000
| Network interference by another customer | % |  | AR 3.6.6.3 | ASAE 3000
| Network limitation | % |  | AR 3.6.6.3 | ASAE 3000
| Customer internal problem | % |  | AR 3.6.6.3 | ASAE 3000
| No problem identified | % |  | AR 3.6.6.3 | ASAE 3000
| Environmental | % |  | AR 3.6.6.3 | ASAE 3000
| Other | % |  | AR 3.6.6.3 | ASAE 3000
Guaranteed service levels
GSL REQUIREMENTS
| Scheme administrator | Free text |  | NEW
| Specification of scheme | Free text |  | NEW
Instances where GSL not met
<Business specified GSL category 1>
| <Business specified GSL parameter 1.1> | Number of instances |  | AR 6.9.1 | ASAE 3000
| <Business specified GSL parameter 1.2> | Number of instances |  | AR 6.9.1 | ASAE 3000
| <Business specified GSL parameter 1.3> | Number of instances |  | AR 6.9.1 | ASAE 3000
<Business specified GSL category 2>
| <Business specified GSL parameter 2.1> | Number of instances |  | AR 6.9.1 | ASAE 3000
| <Business specified GSL parameter 2.2> | Number of instances |  | AR 6.9.1 | ASAE 3000
| <Business specified GSL parameter 2.3> | Number of instances |  | AR 6.9.1 | ASAE 3000
<Business specified GSL category 3>
| <Business specified GSL parameter 3.1> | Number of instances |  | AR 6.9.1 | ASAE 3000
| <Business specified GSL parameter 3.2> | Number of instances |  | AR 6.9.1 | ASAE 3000
| <Business specified GSL parameter 3.3> | Number of instances |  | AR 6.9.1 | ASAE 3000
<additional Business specified GSL Categories (and corresponding GSL Parameters) allowed>
Instances where GSL not met - indicative data
<Business specified GSL category 1>
| <Business specified GSL parameter 1.1> | Number of instances |  | Information request
| <Business specified GSL parameter 1.2> | Number of instances |  | Information request
| <Business specified GSL parameter 1.3> | Number of instances |  | Information request
<Business specified GSL category 2>
| <Business specified GSL parameter 2.1> | Number of instances |  | Information request
| <Business specified GSL parameter 2.2> | Number of instances |  | Information request
| <Business specified GSL parameter 2.3> | Number of instances |  | Information request
<Business specified GSL category 3>
| <Business specified GSL parameter 3.1> | Number of instances |  | Information request
| <Business specified GSL parameter 3.2> | Number of instances |  | Information request
| <Business specified GSL parameter 3.3> | Number of instances |  | Information request
<additional Business specified GSL Categories (and corresponding GSL Parameters) allowed>
Energy not supplied
| TOTAL ENERGY NOT SUPPLIED |  | 0
| Energy not supplied (planned) | GWh |  | EB 3.6.2 | ASAE 3000
| Energy not supplied (unplanned) | GWh |  | EB 3.6.2 | ASAE 3000
Fire starts - unplanned vegetation events
| Fire starts caused by vegetation grow-ins (NSP responsibility) | Number of fire starts |  | CA2.7.3 | ASAE 3000
| Fire starts caused by vegetation blow-ins and fall-ins (NSP responsibility) | Number of fire starts |  | CA2.7.3 | ASAE 3000
| Fire starts caused by vegetation grow-ins (other party responsibility) | Number of fire starts |  | CA2.7.3 | ASAE 3000
| Fire starts caused by vegetation blow-ins and fall-ins (other party responsibility) | Number of fire starts |  | CA2.7.3 | ASAE 3000
| Fire starts caused by asset failure (poles) | Number of fire starts |  | NEW | ASAE 3000
| Fire starts caused by asset failure (pole top structures) | Number of fire starts |  | NEW | ASAE 3000
| Fire starts caused by asset failure (other) | Number of fire starts |  | NEW | ASAE 3000
Inadequately served customers
SAIDI VALUES
| Threshold SAIDI value for inadequately served customers | SAIDI |  | AR 6.6.2 | ASAE 3000
| Average unplanned SAIDI of inadequately served customers | SAIDI |  | AR 6.6.2 | ASAE 3000
| Highest unplanned SAIDI of inadequately served customers | SAIDI |  | AR 6.6.2 | ASAE 3000
SAIFI VALUES
| Average unplanned SAIFI of inadequately served customers | SAIFI |  | AR 6.6.2 | ASAE 3000
| Highest unplanned SAIFI of inadequately served customers | SAIFI |  | AR 6.6.2 | ASAE 3000
Top 5 feeders with most inadequately served customers
SAIDI VALUE
| <Feeder ID 1> | SAIDI |  | AR 6.6.2 | ASAE 3000
| <Feeder ID 2> | SAIDI |  | AR 6.6.2 | ASAE 3000
| <Feeder ID 3> | SAIDI |  | AR 6.6.2 | ASAE 3000
| <Feeder ID 4> | SAIDI |  | AR 6.6.2 | ASAE 3000
| <Feeder ID 5> | SAIDI |  | AR 6.6.2 | ASAE 3000
SAIFI VALUE
| <Feeder ID 1> | SAIFI |  | AR 6.6.2 | ASAE 3000
| <Feeder ID 2> | SAIFI |  | AR 6.6.2 | ASAE 3000
| <Feeder ID 3> | SAIFI |  | AR 6.6.2 | ASAE 3000
| <Feeder ID 4> | SAIFI |  | AR 6.6.2 | ASAE 3000
| <Feeder ID 5> | SAIFI |  | AR 6.6.2 | ASAE 3000
NUMBER OF INADEQUATELY SERVED CUSTOMERS
| <Feeder ID 1> | Number of customers |  | AR 6.6.2 | ASAE 3000
| <Feeder ID 2> | Number of customers |  | AR 6.6.2 | ASAE 3000
| <Feeder ID 3> | Number of customers |  | AR 6.6.2 | ASAE 3000
| <Feeder ID 4> | Number of customers |  | AR 6.6.2 | ASAE 3000
| <Feeder ID 5> | Number of customers |  | AR 6.6.2 | ASAE 3000
Top 5 zone substations with most inadequately served customers
<NULL response valid if top 5 feeder data provided>
SAIDI VALUE
| <Substation ID 1> | SAIDI |  | AR 6.6.2 | ASAE 3000
| <Substation ID 2> | SAIDI |  | AR 6.6.2 | ASAE 3000
| <Substation ID 3> | SAIDI |  | AR 6.6.2 | ASAE 3000
| <Substation ID 4> | SAIDI |  | AR 6.6.2 | ASAE 3000
| <Substation ID 5> | SAIDI |  | AR 6.6.2 | ASAE 3000
SAIFI VALUE
| <Substation ID 1> | SAIFI |  | AR 6.6.2 | ASAE 3000
| <Substation ID 2> | SAIFI |  | AR 6.6.2 | ASAE 3000
| <Substation ID 3> | SAIFI |  | AR 6.6.2 | ASAE 3000
| <Substation ID 4> | SAIFI |  | AR 6.6.2 | ASAE 3000
| <Substation ID 5> | SAIFI |  | AR 6.6.2 | ASAE 3000
NUMBER OF INADEQUATELY SERVED CUSTOMERS
| <Substation ID 1> | Number of customers |  | AR 6.6.2 | ASAE 3000
| <Substation ID 2> | Number of customers |  | AR 6.6.2 | ASAE 3000
| <Substation ID 3> | Number of customers |  | AR 6.6.2 | ASAE 3000
| <Substation ID 4> | Number of customers |  | AR 6.6.2 | ASAE 3000
| <Substation ID 5> | Number of customers |  | AR 6.6.2 | ASAE 3000
Export Services
COMPLAINTS RELATING TO EXPORT SERVICES
Customer (export services) type
| Total complaints relating to export services | Number of complaints | 0
| Residential | Number of complaints |  | NEW
| Non residential LV | Number of complaints |  | NEW
| Non residential HV | Number of complaints |  | NEW
Feeder classification
A. Non-Tasmanian feeder categories
| CBD | Number of complaints |  | NEW
| Urban | Number of complaints |  | NEW
| Short rural | Number of complaints |  | NEW
| Long rural | Number of complaints |  | NEW
B. Tasmanian feeder categories (N/A for PWC)
| Urban |  |  | NEW
| Low density rural |  |  | NEW
| High density rural |  |  | NEW
| High density commercial |  |  | NEW
| Critical infrastructure |  |  | NEW
C. Customers on isolated networks
| Customers on isolated networks | Number of complaints |  | NEW
CUSTOMERS RECEIVING OVERVOLTAGE
Customer (export services) type
| Total customers receiving overvoltage | Number of customers | 0
| Residential | Number of customers |  | NEW
| Non residential LV | Number of customers |  | NEW
| Non residential HV | Number of customers |  | NEW
Feeder classification
A. Non-Tasmanian feeder categories
| CBD | Number of customers |  | NEW
| Urban | Number of customers |  | NEW
| Short rural | Number of customers |  | NEW
| Long rural | Number of customers |  | NEW
B. Tasmanian feeder categories (N/A for PWC)
| Urban |  |  | NEW
| Low density rural |  |  | NEW
| High density rural |  |  | NEW
| High density commercial |  |  | NEW
| Critical infrastructure |  |  | NEW
C. Customers on isolated networks
| Customers on isolated networks | Number of customers |  | NEW
CUSTOMERS REQUESTING EXPORT CAPACITY
Customer (export services) type
| Total customers requesting export capacity | Number of customers | 0
| Residential | Number of customers |  | NEW
| Non residential LV | Number of customers |  | NEW
| Non residential HV | Number of customers |  | NEW
Feeder classification
A. Non-Tasmanian feeder categories
| CBD | Number of customers |  | NEW
| Urban | Number of customers |  | NEW
| Short rural | Number of customers |  | NEW
| Long rural | Number of customers |  | NEW
B. Tasmanian feeder categories (N/A for PWC)
| Urban |  |  | NEW
| Low density rural |  |  | NEW
| High density rural |  |  | NEW
| High density commercial |  |  | NEW
| Critical infrastructure |  |  | NEW
C. Customers on isolated networks
| Customers on isolated networks | Number of customers |  | NEW
EXPORT CAPACITY REQUESTED
Customer (export services) type
| Total customers | MVA | 0
| Residential | MVA |  | NEW
| Non residential LV | MVA |  | NEW
| Non residential HV | MVA |  | NEW
Feeder classification
A. Non-Tasmanian feeder categories
| CBD | MVA |  | NEW
| Urban | MVA |  | NEW
| Short rural | MVA |  | NEW
| Long rural | MVA |  | NEW
B. Tasmanian feeder categories (N/A for PWC)
| Urban | MVA |  | NEW
| Low density rural | MVA |  | NEW
| High density rural | MVA |  | NEW
| High density commercial | MVA |  | NEW
| Critical infrastructure | MVA |  | NEW
C. Customers on isolated networks
| Customers on isolated networks | MVA |  | NEW
EXPORT SERVICE - APPROVED CAPACITY
Customer (export services) type
| Total customers | MVA | 0
| Residential | MVA |  | NEW
| Non residential LV | MVA |  | NEW
| Non residential HV | MVA |  | NEW
Feeder classification
A. Non-Tasmanian feeder categories
| CBD | MVA |  | NEW
| Urban | MVA |  | NEW
| Short rural | MVA |  | NEW
| Long rural | MVA |  | NEW
B. Tasmanian feeder categories (N/A for PWC)
| Urban | MVA |  | NEW
| Low density rural | MVA |  | NEW
| High density rural | MVA |  | NEW
| High density commercial | MVA |  | NEW
| Critical infrastructure | MVA |  | NEW
C. Customers on isolated networks
| Customers on isolated networks | MVA |  | NEW