## Changes summary
Changes from March 2022 Consultation workbooks
Data requirements
Worksheet | Table |  | Change | Rationale
STPIS outcomes | Service Component STPIS V4 |  | Table split into two tables 1) Current STPIS 2) STPIS V4 | Replicates current data reporting requirements.
Concepts and terms
No changes made
Definitions and terms
March 2022 Term | March 2022 Definition | January 2023 Term | January 2023 Definition | Change | Rationale
|  | Current STPIS | The STPIS referenced in the AER's final revenue or distribution determination that applies to a electricity distributor, TNSP or interconnector in the reporting period. | Term and definition added
|  | STPIS (Tx) V4 | AER, Final decision - Electricity transmission network service providers service target performance incentive scheme, 20 December 2012. | Term and definition added
Service performance scheme parameters | As described or defined in the transmission STPIS. | Service performance scheme parameters | As described or defined in the relevant version of the transmission STPIS. | Definition updated | Clarification
System Losses | As described or defined in the transmission STPIS. | System Losses | As described or defined in the transmission STPIS. A measure of the electrical energy lost through the transmission of energy. | Definition updated | Clarification
Service Parameter 1 – Average circuit outage rate | As described or defined in the transmission STPIS. |  |  | Definition omitted | Detail covered by definition of 'Service performance scheme parameters'
Unplanned outage circuit event - fault | As described or defined in the transmission STPIS. |  |  | Definition omitted | Detail covered by definition of 'Service performance scheme parameters'
Unplanned outage circuit event - forced | As described or defined in the transmission STPIS. |  |  | Definition omitted | Detail covered by definition of 'Service performance scheme parameters'
Unplanned outage - lines event |  |  |  | Definition omitted | Detail covered by definition of 'Service performance scheme parameters'
Unplanned outage - transformer event | As described or defined in the transmission STPIS. |  |  | Definition omitted | Detail covered by definition of 'Service performance scheme parameters'
Unplanned outage - reactive plant event | As described or defined in the transmission STPIS. |  |  | Definition omitted | Detail covered by definition of 'Service performance scheme parameters'
Service Parameter 2 – Loss of supply event frequency | As described or defined in the transmission STPIS. |  |  | Definition omitted | Detail covered by definition of 'Service performance scheme parameters'
system minute threshold ('x' and 'y') | As described or defined in the transmission STPIS. |  |  | Definition omitted | Detail covered by definition of 'Service performance scheme parameters'
Number of events greater than system minutes per annum (X) | As described or defined in the transmission STPIS. |  |  | Definition omitted | Detail covered by definition of 'Service performance scheme parameters'
Number of events greater than system minutes per annum (Y) | As described or defined in the transmission STPIS. |  |  | Definition omitted | Detail covered by definition of 'Service performance scheme parameters'
Service Parameter 3 – Average outage duration | As described or defined in the transmission STPIS. |  |  | Definition omitted | Detail covered by definition of 'Service performance scheme parameters'
Average outage duration | As described or defined in the transmission STPIS. |  |  | Definition omitted | Detail covered by definition of 'Service performance scheme parameters'
Service Parameter 4 – Proper operation of equipment – number of failure events | As described or defined in the transmission STPIS. |  |  | Definition omitted | Detail covered by definition of 'Service performance scheme parameters'
Failure of protection system | As described or defined in the transmission STPIS. |  |  | Definition omitted | Detail covered by definition of 'Service performance scheme parameters'
Material failure of Supervisory Control and Data Acquisition (SCADA) system | As described or defined in the transmission STPIS. |  |  | Definition omitted | Detail covered by definition of 'Service performance scheme parameters'
Incorrect operational isolation of primary or secondary equipment | As described or defined in the transmission STPIS. |  |  | Definition omitted | Detail covered by definition of 'Service performance scheme parameters'
Market Impact parameter - number of dispatch intervals impacted | As described or defined in the transmission STPIS. |  |  | Definition omitted | Detail covered by definition of 'Service performance scheme parameters'

## Concepts
AER Network information requirements review 2022-23
Project Overview
The network information requirements review project is being undertaken to streamline regulated electricity networks' annual reporting obligations, and facilitate improvements in the AER’s information management maturity. The project will allow for consolidation of existing information requests, ongoing integration of new information requirements, and clearer documentation of our underlying data structure. In sum, this project will help improve data quality and deliver efficiencies to both the AER and the regulated businesses.
Data category 05A: Service performance
Service Performance data is collected to measure how well the regulated transmission businesses delivers services to their customers. It is important to consider service quality, particularly because increases in measured efficiency may otherwise be achieved at the expense of service quality in either the short-term or the longer term.
The data is used to calculate service performance scheme outcomes, and will impact on the total revenues that can be collected in each year.
Concepts
Service component | Measures the network transmission service outcomes
Market impact component (MIC) | Measures the impact of transmission network constraints on the operation of the National Electricity Market

## Definitions
Data category 05A: Service performance
Definitions have been provided for each column descriptor as well as each row descriptor of the data tabs in this workbook. To find the full meaning of a data element, please consider all relevant column, row and table heading definitions provided in the table below.
Compounding Definitions
Where you are seeking to discern the meaning of a row or column descriptor with multiple terms, you may need to look up the terms individually below and consider the definitions together to discern the full meaning of the row or column descriptor.
Term | Definition
STPIS Outcomes
Current STPIS | The STPIS referenced in the AER's final revenue or distribution determination that applies to a electricity distributor, TNSP or interconnector in the reporting period.
STPIS (Tx) V4 | AER, Final decision - Electricity transmission network service providers service target performance incentive scheme, 20 December 2012.
Service performance scheme parameters | As described or defined in the relevant version of the transmission STPIS.
System losses | As described or defined in the transmission STPIS. A measure of the electrical energy lost through the transmission of energy.
MIC Monthly data
Planned outage count (DI) without exclusions | As described or defined in the transmission STPIS.
Planned outage count (DI) with exclusions | As described or defined in the transmission STPIS.
Unplanned outage count (DI) without exclusions | As described or defined in the transmission STPIS.
Unplanned outage count (DI) with exclusions | As described or defined in the transmission STPIS.

## Validations
Data category 05A: Service performance
Data validation is a process to improve data quality by checking the accuracy and quality of source data before using, importing or otherwise processing the data. Data validation rules provide the first level of data cleansing in the data quality process. They decrease the likelihood of errors at the point of data entry. Data validation rules cannot, however, guarantee data entry is correct, only that it has passed a pre-specified set of rules.
Validation Rules
Worksheet | Tables | input cells | Rules applying
STPIS outcomes |  | Identify the service target performance incentive scheme (STPIS) that applied in the reporting period | Text, NULL invalid
| Service Component - Service Parameter 1 - Average circuit outage rate | Number of defined Lines Number of defined Transformers Number of defined Reactive plant | ≥0
Number
NULL valid if a specific parameter or sub-parameter does not apply to the TNSP, in the reporting year
|  | Number of Lines fault outages Number of Lines fault outages Number of Lines forced outages Number of Transformer fault outages Number of Transformers forced outages Number of Reactive plant fault outages Number of Reactive plant forced outages | ≥0
Number
NULL valid if a specific parameter or sub-parameter does not apply to the TNSP, in the reporting year
| Service Component - Service Parameter 2 – loss of supply event frequency – number in range (x-y) specified in the stpis applying in the reporting year | What is the 'x' threshold applied in the reporting year under the service performance incentive scheme identified above | ≥0
Number
NULL valid if a specific parameter or sub-parameter does not apply to the TNSP, in the reporting year
|  | What is the 'y' threshold applied in the reporting year under the service performance incentive scheme identified above | Number
≥0
NULL valid if a specific parameter or sub-parameter does not apply to the TNSP, in the reporting year
|  | Number of events greater than system minutes per annum (X) | ≥0
Number
NULL valid if a specific parameter or sub-parameter does not apply to the TNSP, in the reporting year
|  | Number of events greater than system minutes per annum (Y) | ≥0
Number
NULL valid if a specific parameter or sub-parameter does not apply to the TNSP, in the reporting year
| Service Component - Service parameter 3 – average outage duration | Average outage duration | ≥0
Number
NULL valid if a specific parameter or sub-parameter does not apply to the TNSP, in the reporting year
| Service Component - Service parameter 4 - Proper operation of equipment - number of failure events |  | ≥0
Number
NULL valid if a specific parameter or sub-parameter does not apply to the TNSP, in the reporting year
| Market impact component | number of dispatch intervals | ≥0
Number
NULL valid if a specific parameter or sub-parameter does not apply to the TNSP, in the reporting year
| System losses |  | ≥0, ≤1
NULL invalid
1 = 100%
MIC monthly data | Market impact parameter |  | ≥0
Number
NULL valid if a specific parameter or sub-parameter does not apply to the TNSP, in the reporting year

## Checks and Totals
Data category 05A: Service performance
Totals and Data Hierarchies
Worksheet | Table | Sub table | Reference | Worksheet | Table | Sub table | Reference | Check

## STPIS outcomes
Data category 05A: Service performance
| Identify the service target performance incentive scheme (STPIS) that applied in the reporting period |  | STPIS V5
Stakeholder Comments |  | Units |  | Current RIN reference | Assurance standard - Non-Financial data
| Service Component current STPIS |  | Calendar year
SERVICE PARAMETER 1 – AVERAGE CIRCUIT OUTAGE RATE
| Number of defined lines | Number |  | EB3.6 | ASAE 3000
| Number of defined transformers | Number |  | EB3.6 | ASAE 3000
| Number of defined reactive plant | Number |  | EB3.6 | ASAE 3000
| Number of lines fault outages | Number |  | EB3.6 | ASAE 3000
| Number of lines forced outages | Number |  | EB3.6 | ASAE 3000
| Number of transformer fault outages | Number |  | EB3.6 | ASAE 3000
| Number of transformers forced outages | Number |  | EB3.6 | ASAE 3000
| Number of reactive plant fault outages | Number |  | EB3.6 | ASAE 3000
| Number of reactive plant forced outages | Number |  | EB3.6 | ASAE 3000
| Lines outage rate - fault | % | 0 | EB3.6
| Transformers outage rate - fault | % | 0 | EB3.6
| Reactive plant outage rate - fault | % | 0 | EB3.6
| Lines outage rate – forced outage | % | 0 | EB3.6
| Transformer outage rate – forced outage | % | 0 | EB3.6
| Reactive plant outage rate – forced outage | % | 0 | EB3.6
SERVICE PARAMETER 2 – LOSS OF SUPPLY EVENT FREQUENCY
NUMBER IN RANGE (X-Y) SPECIFIED IN THE STPIS APPLYING IN THE REPORTING YEAR
| What is the 'x' threshold applied in the reporting year under the scheme identified above | System minutes |  | EB3.6 | ASAE 3000
| What is the 'y' threshold applied in the reporting year under the scheme identified above | System minutes |  | EB3.6 | ASAE 3000
| Number of events greater than system minutes per annum (X) | Number |  | EB3.6 | ASAE 3000
| Number of events greater than system minutes per annum (Y) | Number |  | EB3.6 | ASAE 3000
SERVICE PARAMETER 3 – AVERAGE OUTAGE DURATION
| Average outage duration | Minutes |  | EB3.6 | ASAE 3000
SERVICE PARAMETER 4 – PROPER OPERATION OF EQUIPMENT – NUMBER OF FAILURE EVENTS
| Failure of protection system | Number |  | EB3.6 | ASAE 3000
| Material failure of Supervisory Control and Data Acquisition (SCADA) system | Number |  | EB3.6 | ASAE 3000
| Incorrect operational isolation of primary or secondary equipment | Number |  | EB3.6 | ASAE 3000
Market Impact Component
| Market Impact Parameter | Number of dispatch intervals |  | EB3.6 | ASAE 3000
System Losses
| System losses | % |  | EB3.6 | ASAE 3000
| Service Component STPIS V4 |  | Calendar year
SERVICE PARAMETER 1 – AVERAGE CIRCUIT OUTAGE RATE
| Number of defined lines | Number |  | EB3.6 | ASAE 3000
| Number of defined transformers | Number |  | EB3.6 | ASAE 3000
| Number of defined reactive plant | Number |  | EB3.6 | ASAE 3000
| Number of lines fault outages | Number |  | EB3.6 | ASAE 3000
| Number of lines forced outages | Number |  | EB3.6 | ASAE 3000
| Number of transformer fault outages | Number |  | EB3.6 | ASAE 3000
| Number of transformers forced outages | Number |  | EB3.6 | ASAE 3000
| Number of reactive plant fault outages | Number |  | EB3.6 | ASAE 3000
| Number of reactive plant forced outages | Number |  | EB3.6 | ASAE 3000
| Lines outage rate - fault | % | 0 | EB3.6
| Transformers outage rate - fault | % | 0 | EB3.6
| Reactive plant outage rate - fault | % | 0 | EB3.6
| Lines outage rate – forced outage | % | 0 | EB3.6
| Transformer outage rate – forced outage | % | 0 | EB3.6
| Reactive plant outage rate – forced outage | % | 0 | EB3.6
SERVICE PARAMETER 2 – LOSS OF SUPPLY EVENT FREQUENCY
NUMBER IN RANGE (X-Y) SPECIFIED IN THE STPIS APPLYING IN THE REPORTING YEAR
| What is the 'x' threshold applied in the reporting year under the scheme identified above | System minutes |  | EB3.6 | ASAE 3000
| What is the 'y' threshold applied in the reporting year under the scheme identified above | System minutes |  | EB3.6 | ASAE 3000
| Number of events greater than system minutes per annum (X) | Number |  | EB3.6 | ASAE 3000
| Number of events greater than system minutes per annum (Y) | Number |  | EB3.6 | ASAE 3000
SERVICE PARAMETER 3 – AVERAGE OUTAGE DURATION
| Average outage duration | Minutes |  | EB3.6 | ASAE 3000
SERVICE PARAMETER 4 – PROPER OPERATION OF EQUIPMENT – NUMBER OF FAILURE EVENTS
| Failure of protection system | Number |  | EB3.6 | ASAE 3000
| Material failure of Supervisory Control and Data Acquisition (SCADA) system | Number |  | EB3.6 | ASAE 3000
| Incorrect operational isolation of primary or secondary equipment | Number |  | EB3.6 | ASAE 3000

## MIC monthly data
Data category 05A: Service performance
Market Impact Component
| Identify the service target performance incentive scheme (STPIS) that applied in the reporting period |  | STPIS V5
Stakeholder Comments |  | Units |  | Current RIN reference | Assurance standard - Non-Financial data
| Market Impact Parameter |  | Calendar year
PLANNED OUTAGE COUNT(DI)
Without exclusions
| January | Number |  | Reset 7.9.4 | ASAE 3000
| February | Number |  | Reset 7.9.4 | ASAE 3000
| March | Number |  | Reset 7.9.4 | ASAE 3000
| April | Number |  | Reset 7.9.4 | ASAE 3000
| May | Number |  | Reset 7.9.4 | ASAE 3000
| June | Number |  | Reset 7.9.4 | ASAE 3000
| July | Number |  | Reset 7.9.4 | ASAE 3000
| August | Number |  | Reset 7.9.4 | ASAE 3000
| September | Number |  | Reset 7.9.4 | ASAE 3000
| October | Number |  | Reset 7.9.4 | ASAE 3000
| November | Number |  | Reset 7.9.4 | ASAE 3000
| December | Number |  | Reset 7.9.4 | ASAE 3000
With exclusions
| January | Number |  | Reset 7.9.4 | ASAE 3000
| February | Number |  | Reset 7.9.4 | ASAE 3000
| March | Number |  | Reset 7.9.4 | ASAE 3000
| April | Number |  | Reset 7.9.4 | ASAE 3000
| May | Number |  | Reset 7.9.4 | ASAE 3000
| June | Number |  | Reset 7.9.4 | ASAE 3000
| July | Number |  | Reset 7.9.4 | ASAE 3000
| August | Number |  | Reset 7.9.4 | ASAE 3000
| September | Number |  | Reset 7.9.4 | ASAE 3000
| October | Number |  | Reset 7.9.4 | ASAE 3000
| November | Number |  | Reset 7.9.4 | ASAE 3000
| December | Number |  | Reset 7.9.4 | ASAE 3000
UNPLANNED OUTAGE COUNT (DI)
Without exclusions
| January | Number |  | Reset 7.9.4 | ASAE 3000
| February | Number |  | Reset 7.9.4 | ASAE 3000
| March | Number |  | Reset 7.9.4 | ASAE 3000
| April | Number |  | Reset 7.9.4 | ASAE 3000
| May | Number |  | Reset 7.9.4 | ASAE 3000
| June | Number |  | Reset 7.9.4 | ASAE 3000
| July | Number |  | Reset 7.9.4 | ASAE 3000
| August | Number |  | Reset 7.9.4 | ASAE 3000
| September | Number |  | Reset 7.9.4 | ASAE 3000
| October | Number |  | Reset 7.9.4 | ASAE 3000
| November | Number |  | Reset 7.9.4 | ASAE 3000
| December | Number |  | Reset 7.9.4 | ASAE 3000
With exclusions
| January | Number |  | Reset 7.9.4 | ASAE 3000
| February | Number |  | Reset 7.9.4 | ASAE 3000
| March | Number |  | Reset 7.9.4 | ASAE 3000
| April | Number |  | Reset 7.9.4 | ASAE 3000
| May | Number |  | Reset 7.9.4 | ASAE 3000
| June | Number |  | Reset 7.9.4 | ASAE 3000
| July | Number |  | Reset 7.9.4 | ASAE 3000
| August | Number |  | Reset 7.9.4 | ASAE 3000
| September | Number |  | Reset 7.9.4 | ASAE 3000
| October | Number |  | Reset 7.9.4 | ASAE 3000
| November | Number |  | Reset 7.9.4 | ASAE 3000
| December | Number |  | Reset 7.9.4 | ASAE 3000