## Cover
STPIS Targets and Incentive Rates
2020-25
January 2019

## Reliability Targets
STPIS Target Calculations | [8 empty] | Input | Cells containing input texts/numbers intended to be changed by model users
Ergon Energy Network | [8 empty] | Link | Cells containing a link from external workbooks
[9 empty] | Output | Cells containing formulae NOT intended to be changed by model users
STPIS Target Calculations
Current Period (summary)
Approach
Actual performance has been backcasted the figures:
- Customer Duration > 3min sustained
- recasted based on new Feeder Category Defintiions
RCP 2020-25 Proposed Targets
Paramater |  | Source | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 5 Yr Actual AVERAGE Performance
SAIDI CBD | Actual or Corrected performance if Capped | Ergon Energy outage management system | 0 | 0 | 0 | 0 | 0 | 0
SAIDI URBAN | Actual or Corrected performance if Capped |  | 109.2394 | 93.0789 | 104.1026 | 109.1662 | 113.9703 | 105.9115
SAIDI SHORT RURAL | Actual or Corrected performance if Capped |  | 264.3884 | 267.8051 | 282.2962 | 284.9627 | 284.136 | 276.7177
SAIDI LONG RURAL | Actual or Corrected performance if Capped |  | 666.5064 | 892.4962 | 810.2952 | 702.7618 | 719.1009 | 758.2321
SAIFI CBD | Actual or Corrected performance if Capped |  | 0 | 0 | 0 | 0 | 0 | 0
SAIFI URBAN | Actual or Corrected performance if Capped |  | 1.3813 | 1.0038 | 1.2065 | 1.2799 | 1.3779 | 1.2499
SAIFI SHORT RURAL | Actual or Corrected performance if Capped |  | 2.668 | 2.5534 | 2.5387 | 2.7679 | 2.6827 | 2.6422
SAIFI LONG RURAL | Actual or Corrected performance if Capped |  | 5.2161 | 5.5708 | 5.661 | 5.1311 | 4.9375 | 5.3033
Calculation of New Targets
Approach
Raw s-factor | ( Incentive Rate - Actual ) * Incentive Rate
Capped s-factor | Raw s-factor / Ratio of Overall Raw s-factor to Capped s-factor
Corrected performance if Capped | If finanical year reaches CAP then - (Target - (Capped s-factor / Incentive Rate)) otherwise use Actual performance
|  |  | Capped Reached |  | Capped Reached | Capped Reached | Capped Reached
Paramater | ITEM | Source | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 5 Yr Average
SAIDI CBD | Actual performance | Ergon Energy outage management system | 0 | 0 | 0 | 0 | 0 | 0
| Target performance |  | 0 | 0 | 0 | 0 | 0
| Incentive Rate |  | 0 | 0 | 0 | 0 | 0
| Raw s-factor |  | 0 | 0 | 0 | 0 | 0
| Capped s-factor |  | 0 | 0 | 0 | 0 | 0
| Corrected performance if Capped |  | 0 | 0 | 0 | 0 | 0 | 0
SAIDI URBAN | Actual performance | Ergon Energy outage management system | 87.2135 | 93.0789 | 99.4499 | 74.3692 | 93.2036 | 89.463
| Target performance |  | 127 | 126 | 126.73 | 126.73 | 126.73
| Incentive Rate |  | 0.0218 | 0.0218 | 0.0159 | 0.0159 | 0.0159
| Raw s-factor |  | 0.86735 | 0.71768 | 0.43375 | 0.83254 | 0.53307
| Capped s-factor |  | 0.38718 | 0.85122 | 0.35978 | 0.27926 | 0.20288
| Corrected performance if Capped |  | 109.2394 | 93.0789 | 104.1026 | 109.1662 | 113.9703 | 105.9115
SAIDI SHORT RURAL | Actual performance | Ergon Energy outage management system | 241.3073 | 267.8051 | 275.1479 | 221.3724 | 230.5516 | 247.2369
| Target performance |  | 283 | 279 | 317.06 | 317.06 | 317.06
| Incentive Rate |  | 0.0189 | 0.0189 | 0.0159 | 0.0159 | 0.0159
| Raw s-factor |  | 0.78799 | 0.21158 | 0.6664 | 1.5214 | 1.3755
| Capped s-factor |  | 0.35176 | 0.25096 | 0.55274 | 0.51035 | 0.52349
| Corrected performance if Capped |  | 264.3884 | 267.8051 | 282.2962 | 284.9627 | 284.136 | 276.7177
SAIDI LONG RURAL | Actual performance | Ergon Energy outage management system | 669.6148 | 892.4962 | 824.2416 | 624.0928 | 681.0674 | 738.3025
| Target performance |  | 664 | 652 | 742.47 | 742.47 | 742.47
| Incentive Rate |  | 0.0043 | 0.0043 | 0.0034 | 0.0034 | 0.0034
| Raw s-factor |  | -0.024144 | -1.0341 | -0.27802 | 0.40248 | 0.20877
| Capped s-factor |  | -0.010778 | -1.2266 | -0.23061 | 0.13501 | 0.079455
| Corrected performance if Capped |  | 666.5064 | 892.4962 | 810.2952 | 702.7618 | 719.1009 | 758.2321
SAIFI CBD | Actual performance | Ergon Energy outage management system | 0 | 0 | 0 | 0 | 0 | 0
| Target performance |  | 0 | 0 | 0 | 0 | 0
| Incentive Rate |  | 0 | 0 | 0 | 0 | 0
| Raw s-factor |  | 0 | 0 | 0 | 0 | 0
| Capped s-factor |  | 0 | 0 | 0 | 0 | 0
| Corrected performance if Capped |  | 0 | 0 | 0 | 0 | 0 | 0
SAIFI URBAN | Actual performance | Ergon Energy outage management system | 1.0604 | 1.0038 | 1.1455 | 0.83779 | 1.1742 | 1.0443
| Target performance |  | 1.64 | 1.63 | 1.503 | 1.503 | 1.503
| Incentive Rate |  | 1.7251 | 1.7251 | 1.3823 | 1.3823 | 1.3823
| Raw s-factor |  | 0.99984 | 1.0802 | 0.49414 | 0.91952 | 0.45452
| Capped s-factor |  | 0.44633 | 1.2812 | 0.40987 | 0.30844 | 0.17298
| Corrected performance if Capped |  | 1.3813 | 1.0038 | 1.2065 | 1.2799 | 1.3779 | 1.2499
SAIFI SHORT RURAL | Actual performance | Ergon Energy outage management system | 2.3307 | 2.5534 | 2.4399 | 2.2703 | 2.1355 | 2.346
| Target performance |  | 2.94 | 2.91 | 3.019 | 3.019 | 3.019
| Incentive Rate |  | 1.9741 | 1.9741 | 1.8113 | 1.8113 | 1.8113
| Raw s-factor |  | 1.2028 | 0.70388 | 1.0489 | 1.3561 | 1.6004
| Capped s-factor |  | 0.53693 | 0.83486 | 0.86997 | 0.45488 | 0.60907
| Corrected performance if Capped |  | 2.668 | 2.5534 | 2.5387 | 2.7679 | 2.6827 | 2.6422
SAIFI LONG RURAL | Actual performance | Ergon Energy outage management system | 5.0252 | 5.5708 | 5.7254 | 4.7015 | 4.2694 | 5.0584
| Target performance |  | 5.37 | 5.29 | 5.348 | 5.348 | 5.348
| Incentive Rate |  | 0.5755 | 0.5755 | 0.5167 | 0.5167 | 0.5167
| Raw s-factor |  | 0.19844 | -0.1616 | -0.19501 | 0.33406 | 0.55734
| Capped s-factor |  | 0.088583 | -0.19168 | -0.16175 | 0.11206 | 0.21211
| Corrected performance if Capped |  | 5.2161 | 5.5708 | 5.661 | 5.1311 | 4.9375 | 5.3033
TOTAL Raw S-Factor | Sum of all Raw S-Factors |  | 4.0323 | 1.5176 | 2.1701 | 5.3661 | 4.7295
| Ratio of Reliability Overall Raw s-factor to Capped s-factor |  | 2.2402 | 0.84311 | 1.2056 | 2.9812 | 2.6275
| Reliability cap | Ergon Energy | 1.8 | 1.8 | 1.8 | 1.8 | 1.8
| Overall Raw S-Factor - CAP |  | 2.2323 | -0.2824 | 0.37012 | 3.5661 | 2.9295
tMed Calculations | Backcasted Tmeds | Ergon Energy | 8.93 | 8.75 | 8.32 | 7.35 | 7.38
END

## Reliability Incentive Rates
STPIS Incentive Rate Calculations | [8 empty] | Input | Cells containing input texts/numbers intended to be changed by model users
Ergon Energy Network | [8 empty] | Link | Cells containing a link from external workbooks
[9 empty] | Output | Cells containing formulae NOT intended to be changed by model users
STPIS Incentive Rate Calculations
Current Period (summary)
Approach
Proposed Targets for 2020-25
Wn values from Draft Scheme 2018
Paramater | Feeder Category | Source | RCP 2010-15 | RCP 2015-20 | RCP 2020-25 Proposed Incentive Rates
SAIDI | CBD | Ergon Energy | 0 | 0 | 0
| Urban |  | 0.0218 | 0.0159 | 0.016217
| Short Rural |  | 0.0189 | 0.0159 | 0.019285
| Long Rural |  | 0.0043 | 0.0034 | 0.004168
SAIFI | CBD |  | 0 | 0 | 0
| Urban |  | 1.7251 | 1.3823 | 0.91612
| Short Rural |  | 1.9741 | 1.8113 | 1.3465
| Long Rural |  | 0.5755 | 0.5167 | 0.39727
Telephone Answering |  |  | -0.04 | -0.04
Calculation of New Incentive Rates
Approach
Step | Formula | Source | irSAIDI_CBD | irSAIFI_CBD | irSAIDI_UR | irSAIFI_UR | irSAIDI_SR | irSAIFI_SR | irSAIDI_LR | irSAIFI_LR
Step 1 | VCR $/MWh |  |  |  | 39710 | 39710 | 39710 | 39710 | 39710 | 39710
Step 2 | (1 + CPI) |  |  |  | 1.0961 | 1.0961 | 1.0961 | 1.0961 | 1.0961 | 1.0961
Step 3 | (1+Wn) |  |  |  | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Step 4 | Cn |  |  |  | 4255978.5649 | 4255978.5649 | 5061103.0907 | 5061103.0907 | 1093850.7827 | 1093850.7827
Step 5 | R |  |  |  | 1303153124.1998 | 1303153124.1998 | 1303153124.1998 | 1303153124.1998 | 1303153124.1998 | 1303153124.1998
Step 6 | 365.25*24*60 |  |  |  | 525960 | 525960 | 525960 | 525960 | 525960 | 525960
Step 7 | SAIDIn / SAIFIn |  |  |  |  | 84.7384 |  | 104.732 |  | 142.9734
Step 8 | irSAIDIn and irSAIFIn |  |  |  | 0.016217 | 0.91612 | 0.019285 | 1.3465 | 0.004168 | 0.39727
| Incentive Rates (%) |  | 0 | 0 | 0.016217 | 0.91612 | 0.019285 | 1.3465 | 0.004168 | 0.39727
Measure | Details | Source | Value
WCBD | Network type weighting for the unplanned SAIDI or unplanned SAIFI. | AER's STPIS (2018) | 1.5
WUR |  |  | 1.5
WSR |  |  | 1.5
WLR |  |  | 1.5
CPI (Cumulative) | Cummulative Consumer Price Index used to adjust VCR | Ergon Energy | 1.0961
CCBD | Average annual energy consumption for network type n | Ergon Energy | N/A
CUR |  |  | 4255978.5649
CSR |  |  | 5061103.0907
CLR |  |  | 1093850.7827
R | Average of the smoothed annual revenue requirement (ARR) for the relevant regulatory control period | Ergon Energy proposed PTRM | 1303153124.1998
SAIDICBD | Average of the unplanned SAIDI targets in the regulatory control period for network type n | Ergon Energy | 0
SAIDIUR |  |  | 105.9115
SAIDISR |  |  | 276.7177
SAIDILR |  |  | 758.2321
SAIFICBD | Average of the unplanned SAIFI targets in the regulatory control period | Ergon Energy | 0
SAIFIUR |  |  | 1.2499
SAIFISR |  |  | 2.6422
SAIFILR |  |  | 5.3033
VCR (CBD) | VCR for CBD | 2014 AEMO VCR Study. Used the NEM Level Commercial VCR (Table 1) | 44720
VCR (UR,SR,LR) | VCR for urban, short rural and long rural | 2014 AEMO VCR Study. Used the Qld State Level VCR (Table 25) | 39710
minutes in a regulatory year | 365.25*24*60 |  | 525960
Item |  | Source | CPI | Cummulative CPI index
Sept 2014 |  | Ergon Energy
2014/15: Sept 14 – Dec 14 (ACT) |  |  | 0.188% | 1.0019
2015/16: Dec 14 - Dec 15 (ACT) |  |  | 1.689% | 1.0188
2016/17: Dec 15 – Dec 16 (ACT) |  |  | 1.476% | 1.0338
2017/18: Dec 16 – Dec 17 (EST) |  |  | 1.909% | 1.0536
2018/19: Dec 17 – Dec 18 (EST) |  |  | 1.75% | 1.072
2019/20: Dec 18 – Dec 19 (EST) |  |  | 2.25% | 1.0961
Presentation
|  | Network Type | 5 Year Average Energy Consumption | 5 year Average Contribution to Overall Energy Consumption
|  | CBD | N/A | N/A
|  | URBAN | 4255978.5649 | 37.57%
|  | SHORT RURAL | 5061103.0907 | 44.68%
|  | LONG RURAL | 1093850.7827 | 9.657%
ACTUAL ENERGY CONSUMPTION BY NETWORK TYPE
Network Type |  | Source | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 5 Year Average MWH Energy Consumption | 5 year Average Contribution
CBD |  | Ergon Energy | 0 | 0 | 0 | 0 | 0 | 0 | 0%
URBAN |  |  | 4876512312.957 | 4212133118.2285 | 3611191788.2837 | 4260403783 | 4319651822 | 4255978.5649 | 37.57%
SHORT RURAL |  |  | 5354724172.7989 | 4868237027.1078 | 5514457039.8221 | 4889533746 | 4678563468 | 5061103.0907 | 44.68%
LONG RURAL |  |  | 1141549027.4379 | 1039714874.432 | 1148220379.6848 | 1065605012 | 1074164620 | 1093850.7827 | 9.657%
ISOLATED |  |  | 110280433.2616 | 99694362.6985 | 88752773.1393 | 90506540 | 86319572 | 95110.7362 | 0.8397%
Unknown |  |  | 249092987.923 | 1022521742.5479 | 791100692.9676 | 747771395 | 1293638738 | 820825.1113 | 7.247%
Total |  |  | 11732158934.3785 | 11242301125.0146 | 11153722673.8975 | 11053820476 | 11452338220 | 11326868.2859 | 100%
END

## Telephone targets
STPIS Target Calculations | [8 empty] | Input | Cells containing input texts/numbers intended to be changed by model users
Ergon Energy | [8 empty] | Link | Cells containing a link from external workbooks
[9 empty] | Output | Cells containing formulae NOT intended to be changed by model users
STPIS Target Calculations
Current Period (summary)
Approach
Targets set under new Scheme
RCP 2020-25 Proposed Targets
Paramater |  | Source | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 5 Yr Actual AVERAGE Performance | RCP 2015-20 Targets | Difference | % Difference between last control period and proposed
Telephone answering | Actual or Corrected performance if Capped |  | 81.3262 | 80.5326 | 79.4857 | 80.2026 | 79.6442 | 80.2383 | 77.3 | 2.9383 | 3.801%
Calculation of New Targets
Paramater | ITEM | Source | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 5 Yr Average
SAIDI CBD | Actual performance | Ergon | 81.3262 | 80.5326 | 79.4857 | 80.2026 | 79.6442 | 80.2383
| Target performance |  | 77.3 | 77.3 | 77.3 | 77.3 | 77.3
| Incentive Rate |  | -0.04 | -0.04 | -0.04 | -0.04 | -0.04
| Raw s-factor |  | 0.16105 | 0.1293 | 0.087428 | 0.1161 | 0.093768
| Capped s-factor |  | 0.2 | 0.2 | 0.2 | 0.2 | 0.2
| Corrected performance if Capped |  | 81.3262 | 80.5326 | 79.4857 | 80.2026 | 79.6442 | 80.2383