## Instructions
Gas Distribution Pipeline Service Provider
Annual Reporting Statement
This template is to be used by AusNet Gas Services to fulfil its reporting obligations to the AER.
INSTRUCTIONS
GENERAL | Complete the Business & other details worksheet before entering data or values in any other worksheets. The Business & other details worksheet is linked to other worksheets within the workbook and automatically generates certain column headings and conditional formatting.
CONFIDENTIAL INFORMATION | Please use the macro at the top of each worksheet to identify confidential information in the confidential workbook.
-Do this by selecting the cell or cells that contain confidential information and then run the Mark selection as CONFIDENTIAL macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as confidential. -To reverse this, select the cell or cells and run the Return selection to NON-CONFIDENTIAL macro.
RESPONSES | Please return two (2) files to the AER: 1. A confidential version which must contain a complete set of all responses with confidential information marked using the Mark selection CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 2. A public version with confidential information either removed completely or aggregated in some form together with writtten consent to disclose the public version of the response. Use the drop down box on the Business and other details worksheet to identify the file as either confidential ('consolidated') or public.
AMENDMENTS | If an NSP wishes to correct data previously submitted to the AER it should resubmit that data using the original completed submission as the starting point. Please make any necessary changes to the data. Data that is not being amended should be left unchanged. NSPs must identify the reason for the amendments in the Amendment Reason box on the Business and other details worksheet. NSPs may provide further details regarding any amendments in the Amendments worksheet. .
NSP may use Amended Data macro to highlight cells that contain amended data. NB: if data is also CONFIDENTIAL, re-apply the Confidentiality macro after applying the Amended macro
Please resubmit two (2) files - a confidential version and a public version of the amended submission to the AER
UNITS OF MEASURE | All amounts are to be unrounded and reported on a one for one basis: that is 1000 is to be entered as '1000'. Applicable units of measure may be identified in the table column headings or row descriptors.
INPUT / NON-INPUT CELLS
Yellow = Input cell (mandatory)
Darker yellow = input cell (mandatory)
Orange = input cell (if data available)
Grey = Not applicable/No inputs required
PLEASE DO NOT ENTER TEXT into cells that are to contain numeric data.
NAVIGATION | Many tables in the worksheets have been "grouped" to allow for easy navigation. To ungroup or group data use the outline symbols in the left margin (for Row groupings) or above the columns (for column groupings).

## CONTENTS
ANNUAL REPORTING
AusNet Gas Services
2020
CONTENTS
| SUBMISSION | Business & other details
| EXPENDITURE | E1. Expenditure Summary
E11. Labour
E21. ARS
| NETWORK | N1. Demand
N2. Network characteristcs
| SERVICE | S1.1. Customer numbers - by customer type
S1.2. Customer numbers - by tariff
S10. Supply quality
S11. Network reliability
S14. Network integrity
| FINANCIAL | F1. Income
F2. Capex
F3. Revenue
F4. Opex
F6. Related party transactions
F7. Provisions
F9. Pass throughs
F10. Assets
| ADMIN | Additional disclosures

## Business & other details
ANNUAL REPORTING
AusNet Gas Services
2020
BUSINESS & OTHER DETAILS
INSTRUCTIONS
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings and conditional formatting to distinguish business specific input and non-input cells.
SUBMISSION PARTICULARS INPUT SHEET
ENTITY DETAILS
Business Name
| Short name |  |  | AusNet (Gas)
| ACN/ABN |  |  | 86015036
| Business Address | [9 empty] | Postal Address
| Address 1 |  |  | Level 19, HSBC Building |  |  |  |  | Address 1 |  | PO Box R41
| Address 2 |  |  | 580 George Street |  |  |  |  | Address 2
| Suburb |  |  | SYDNEY |  |  |  |  | Suburb |  | ROYAL EXCHANGE
| State |  |  | NSW |  | Post code |  |  | State |  | NSW |  | Post code
`
Contact Names
Name
Phone
Email
REGULATORY CONTROL PERIODS
|  |  | Forthcoming period | 2020-21 | #N/A |  |  | #N/A |  | #N/A |  | #N/A
|  |  |  | #N/A | #N/A |  |  | #N/A |  | #N/A |  | #N/A
|  |  |  | #N/A | #N/A |  |  | #N/A |  | #N/A |  | #N/A
|  | RESETS | Current period | #N/A | #N/A |  |  | #N/A |  | #N/A |  | #N/A
|  |  |  | #N/A | #N/A |  |  | #N/A |  | #N/A |  | #N/A
|  |  |  | #N/A | #N/A |  |  | #N/A |  | #N/A |  | #N/A
|  |  | Previous period | #N/A | #N/A |  |  | #N/A |  | #N/A |  | #N/A
|  |  |  | #N/A | #N/A |  |  | #N/A |  | #N/A |  | #N/A
|  |  |  | #N/A | #N/A |  |  | #N/A |  | #N/A |  | #N/A
|  |  | Commencing year | 2020
ANNUAL RINS
|  |  | Final year | 2020
SUBMISSION DETAILS
|  |  | RIN type | Annual Reporting
|  |  | Source | Reporting
|  | THIS FILE | Data Quality | Consolidated
|  |  | Confidentiality Status | Confidential
|  |  | Amended RIN Amendment Reason | .
|  |  | Submission Date | 30/04/2021
Contents
Instructions

## E1. Expenditure Summary
ANNUAL REPORTING
AusNet Gas Services
2020
E1. EXPENDITURE SUMMARY
E1.1 - CAPEX
E1.1.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2020
Connections | 54387498.81
Mains replacement | 19921550.27
Mains augmentation | 4083285.25
Telemetry | 312405.5
Meter replacement | 6075203.45
ICT | 5733648.04
Capitalised network overheads | 3604907.47
Capitalised corporate overheads | 0
Other capex | 6998667.3254
Capital contributions included in the above | 7721593.62
Total (less capital contributions) | 93395572.4954
E1.1.2 - NON-REFERENCE SERVICES
ARS - Other Non-Reference Services | 1006099.7
Capital contributions included in the above | 442124
Total (less capital contributions) | 563975.7
E1.2 - OPEX
E1.2.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2020
repairs and maintenance | 17293537.8
marketing and retail incentives | 196999.36
debt raising | 0
equity raising | 0
unaccounted for gas | 2252157.03
jurisdictional charges | 0
GSL payments | 14890
other opex | 35825708.1462
Total | 55583292.3362
E1.2.2 - NON-REFERENCE SERVICES
ARS - Other Non-Reference Services | 2008389.07
Total | 2008389.07
E1.3 - CAPCONS
E1.3.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2020
Connections | 5763681.0974
Mains replacement | 0
Mains augmentation | 0
Telemetry | 0
Meter replacement | 0
ICT | 0
Capitalised network overheads | 268056.4531
Capitalised corporate overheads | 0
Other capex | 1689856.0695
Total | 7721593.62
E1.3.2 - NON-REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2020
ARS - Other Non-Reference Services | 442124
Total | 442124
E1.4 - CAPITALISED OVERHEADS
E1.4.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2020
Connections | 2124267.41
Mains replacement | 765263.79
Mains augmentation | -11539.29
Telemetry | 19448.91
Meter replacement | 160092.76
ICT | 375127.92
Other capex | 172245.97
capital contributions included in the above | 268056.4531
Total (less capital contributions) | 3336851.0169
E1.4.2 - NON-REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2020
ARS - Other Non-Reference Services | 34968.41
Capital contributions included in the above | 16294.3827
Total (less capital contributions) | 18674.0273
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## E11. Labour
ANNUAL REPORTING
AusNet Gas Services
2020
E11. LABOUR
Tables E11.1 and E11.2 omitted.
E11.3 - LABOUR / NON-LABOUR EXPENDITURE SPLIT
EXPENDITURE
$0's, nominal
2020
E11.3.1 - OPEX
In-house labour expenditure | 13745090
Labour expenditure outsourced to related parties | 0
Labour expenditure outsourced to unrelated parties | 0
Non-labour expenditure | 43846592
Total | 57591682
E11.3.2 - CAPEX
In-house labour expenditure | 5128432.7422
Labour expenditure outsourced to related parties | 0
Labour expenditure outsourced to unrelated parties | 0
Non-labour expenditure | 88831115.4532
Total | 93959548.1954
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## E21. ARS
ANNUAL REPORTING
AusNet Gas Services
2020
E21. ANCILLARY REFERENCE SERVICES
E21.1 - VOLUMES
VOLUMES
0's
Description | 2020
ARS - Reconnections | 819
ARS - Disconnections | 1661
ARS - Meter and Gas Installation test | 165
ARS - Special Meter Reads | 225169
ARS - Other Non-Reference Services | 0
Total | 227814
E21.2 omitted
E21.3 - EXPENDITURE
EXPENDITURE
$0's, nominal
2020
ARS - Reconnections | 412881.64
ARS - Disconnections | 1553466.08
ARS - Meter and Gas Installation test | 87843.657
ARS - Special Meter Reads | 1408878.763
ARS - Other Non-Reference Services | 2008389.07
Total | 5471459.21
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## N1. Demand
ANNUAL REPORTING
AusNet Gas Services
2020
N1. DEMAND
N1.1 - DEMAND - BY CUSTOMER TYPE
VOLUMES
GJ
2020
Residential | 35755747.113
Commercial | 5433183.846
Industrial | 28977755.95
Total | 70166686.909
N1.2 - DEMAND - BY TARIFF
VOLUMES
GJ
Tariff | 2020
Tariff V Central Domestic | 27216894.857
Tariff V Central Non-Domestic | 3922428.253
Tariff V Adjoining Central Domestic | 76988.93
Tariff V Adjoining Central Non-Domestic | 3185.19
Tariff V West Domestic | 7791556.527
Tariff V West Non-Domestic | 1421253.38
Tariff V Adjoining West Domestic | 670306.799
Tariff V Adjoining West Non-Domestic | 86317.023
Tariff D Central | 22742747.62
Tariff D Adjoining Central | 152199.17
Tariff D West | 5265079.21
Tariff D Adjoining West | 53258.33
Tariff M Central | 478204.34
Tariff M Adjoining Central | 0
Tariff M West | 286267.28
Tariff M Adjoining West | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## N2. Network characteristcs
ANNUAL REPORTING
AusNet Gas Services
2020
N2. NETWORK CHARACTERISTICS
N2.1 - NETWORK LENGTH - BY PRESSURE AND ASSET TYPE
VOLUMES
KM
2020
N2.1.1 - LOW PRESSURE
Cast Iron | 88.18
PVC | 264.716
Polyamide | 0
High density polyethylene (80) | 5.449
High density polyethylene (100) | 1.69
High density polyethylene (250) | 0
High density polyethylene (575) | 3.73
Medium density polyethylene | 0
Other polyethylene | 0.004
Unprotected steel | 15.178
Protected steel | 8.69
Other | 26.102
N2.1.2 - MEDIUM PRESSURE
Cast Iron | 0.462
PVC | 0
Polyamide | 0
High density polyethylene (80) | 16.386
High density polyethylene (100) | 7.168
High density polyethylene (250) | 28.431
High density polyethylene (575) | 171.626
Medium density polyethylene | 0
Other polyethylene | 0
Unprotected steel | 210.456
Protected steel | 197.475
Other | 0.315
N2.1.3 - HIGH PRESSURE
Cast Iron | 0.178
PVC | 0.135
Polyamide | 0
High density polyethylene (80) | 3965.909
High density polyethylene (100) | 2046.389
High density polyethylene (250) | 0.002
High density polyethylene (575) | 2753.255
Medium density polyethylene | 0
Other polyethylene | 51.372
Unprotected steel | 0.664
Protected steel | 2292.481
Other | 0
N2.1.4 - TRANSMISSION
Protected steel | 180.8092
Other | 0
TOTAL | 12337.2523
N2.2 - CITY GATES/REGULATORS
VOLUMES
0's
2020
City Gate | 41
Field Regulator | 107
District Regulator | 44
Total | 192
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S1.1. Customer numbers
ANNUAL REPORTING
AusNet Gas Services
2020
S1. CUSTOMER NUMBERS
S1.1 - CUSTOMER NUMBERS - BY CUSTOMER TYPE
VOLUMES
0's
2020
A. RESIDENTIAL
Customer numbers as at 1 July | 719956
Customer numbers as at 30 June | 740261
Total customer connections | 22228
Total customer disconnections | 1923
B. COMMERCIAL
Customer numbers as at 1 July | 18494
Customer numbers as at 30 June | 18629
Total customer connections | 229
Total customer disconnections | 94
C. INDUSTRIAL
Customer numbers as at 1 July | 341
Customer numbers as at 30 June | 329
Total customer connections | 0
Total customer disconnections | 12
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S1.2. Customer numbers
ANNUAL REPORTING
AusNet Gas Services
2020
S1. CUSTOMER NUMBERS
S1.2 - CUSTOMER NUMBERS - BY TARIFF
S1.2.1 - CUSTOMER NUMBERS AS AT 1 JULY
VOLUMES
0's
2020
Tariff V Central Domestic | 557153
Tariff V Central Non-Domestic | 11533
Tariff V Adjoining Central Domestic | 2050
Tariff V Adjoining Central Non-Domestic | 20
Tariff V West Domestic | 149228
Tariff V West Non-Domestic | 6641
Tariff V Adjoining West Domestic | 11525
Tariff V Adjoining West Non-Domestic | 300
Tariff D Central | 228
Tariff D Adjoining Central | 1
Tariff D West | 75
Tariff D Adjoining West | 2
Tariff M Central | 27
Tariff M Adjoining Central | 0
Tariff M West | 8
Tariff M Adjoining West | 0
Total | 738791
S1.2.2 - CUSTOMER NUMBERS AS AT 30 JUNE
VOLUMES
0's
2020
Tariff V Central Domestic | 574050
Tariff V Central Non-Domestic | 11642
Tariff V Adjoining Central Domestic | 2197
Tariff V Adjoining Central Non-Domestic | 24
Tariff V West Domestic | 152073
Tariff V West Non-Domestic | 6659
Tariff V Adjoining West Domestic | 11941
Tariff V Adjoining West Non-Domestic | 304
Tariff D Central | 219
Tariff D Adjoining Central | 1
Tariff D West | 73
Tariff D Adjoining West | 2
Tariff M Central | 27
Tariff M Adjoining Central | 0
Tariff M West | 7
Tariff M Adjoining West | 0
Total | 759219
S1.2.3 - TOTAL CUSTOMER CONNECTIONS
VOLUMES
0's
2020
Tariff V Central Domestic | 18576
Tariff V Central Non-Domestic | 173
Tariff V Adjoining Central Domestic | 153
Tariff V Adjoining Central Non-Domestic | 4
Tariff V West Domestic | 3067
Tariff V West Non-Domestic | 48
Tariff V Adjoining West Domestic | 432
Tariff V Adjoining West Non-Domestic | 4
Tariff D Central | 0
Tariff D Adjoining Central | 0
Tariff D West | 0
Tariff D Adjoining West | 0
Tariff M Central | 0
Tariff M Adjoining Central | 0
Tariff M West | 0
Tariff M Adjoining West | 0
Total | 22457
S1.2.4 - TOTAL CUSTOMER DISCONNECTIONS
VOLUMES
0's
2020
Tariff V Central Domestic | 1679
Tariff V Central Non-Domestic | 64
Tariff V Adjoining Central Domestic | 6
Tariff V Adjoining Central Non-Domestic | 0
Tariff V West Domestic | 222
Tariff V West Non-Domestic | 30
Tariff V Adjoining West Domestic | 16
Tariff V Adjoining West Non-Domestic | 0
Tariff D Central | 9
Tariff D Adjoining Central | 0
Tariff D West | 2
Tariff D Adjoining West | 0
Tariff M Central | 0
Tariff M Adjoining Central | 0
Tariff M West | 1
Tariff M Adjoining West | 0
Total | 2029
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S10. Supply quality
ANNUAL REPORTING
AusNet Gas Services
2020
S10. SUPPLY QUALITY
S10.1 - PRESSURE FAULTS
VOLUMES
0's
2020
Poor Pressure events - mains | 25
Poor Pressure events - services | 25
Poor Pressure event - meters | 0
Pressure events impacting 5+ customers | 16
Pressure events with >12 hr resolution | 27
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S11. Network reliability
ANNUAL REPORTING
AusNet Gas Services
2020
S11. NETWORK RELIABILITY
S11.1 - NETWORK OUTAGES
S11.1.1 - PLANNED
VOLUMES
0's
2020
Count of outage events | 123
Outages affecting 5+ customers | 108
Outages with >12 hr supply interuption | 2
S11.1.2 - UNPLANNED
VOLUMES
0's
2020
Count of outage events | 16141
Outages affecting 5+ customers | 16
Outages with >12 hr supply interuption | 27
S11.2 - LEAKS - BY ASSET TYPE AND CAUSE OF LEAK
S11.2.1 - LOW PRESSURE
VOLUMES
Number per KM
2020
Cast Iron
Broken pipe - cracked | 0.01134
Broken pipe - full break | 0
Corrosion | 0.14743
Joint leak | 0.17011
3rd party damage | 0.56702
Identified water in main | 0
Other | 2.6423
PVC
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.026443
Joint leak | 0.0075553
3rd party damage | 0.17755
Identified water in main | 0
Other | 1.3033
Polyamide
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (80)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (100)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0.59172
Identified water in main | 0
Other | 0
High density polyethylene (250)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (575)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0.2681
Identified water in main | 0
Other | 0.2681
Medium density polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Other polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Unprotected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.26354
Joint leak | 0
3rd party damage | 0.52708
Identified water in main | 0
Other | 3.2284
Protected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.11507
Joint leak | 0.11507
3rd party damage | 0.69045
Identified water in main | 0
Other | 2.3015
S11.2.2 - MEDIUM PRESSURE
VOLUMES
Number per KM
2020
Cast Iron
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 8.658
PVC
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Polyamide
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (80)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0.24411
Identified water in main | 0
Other | 0.061028
High density polyethylene (100)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0.27902
Identified water in main | 0
Other | 0.13951
High density polyethylene (250)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.070346
Joint leak | 0
3rd party damage | 0.035173
Identified water in main | 0
Other | 1.5124
High density polyethylene (575)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.01748
Joint leak | 0
3rd party damage | 0.13401
Identified water in main | 0
Other | 0.40204
Medium density polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Other polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Unprotected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.038013
Joint leak | 0
3rd party damage | 0.076025
Identified water in main | 0
Other | 0.82202
Protected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.040511
Joint leak | 0
3rd party damage | 0.20256
Identified water in main | 0
Other | 0.40511
S11.2.3 - HIGH PRESSURE
VOLUMES
Number per KM
2020
Cast Iron
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
PVC
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Polyamide
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (80)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.0015129
Joint leak | 0.00025215
3rd party damage | 0.079175
Identified water in main | 0.00025215
Other | 0.081948
High density polyethylene (100)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.00048867
Joint leak | 0
3rd party damage | 0.11533
Identified water in main | 0.00048867
Other | 0.063527
High density polyethylene (250)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (575)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.0083537
Joint leak | 0
3rd party damage | 0.12712
Identified water in main | 0.00036321
Other | 0.22591
Medium density polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Other polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0.019466
Identified water in main | 0
Other | 0.19466
Unprotected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Protected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0.00043621
Corrosion | 0.01265
Joint leak | 0.00087242
3rd party damage | 0.1012
Identified water in main | 0.00043621
Other | 0.32192
S11.3 - UNACCOUNTED FOR GAS - TRANSMISSION AND DISTRIBUTION
VOLUMES
TJ
Place of loss | 2020
DTS Network | 1856899.1273
Non-DTS Network | 69342.7755
Total | 1926241.9027
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S14. Network integrity
ANNUAL REPORTING
AusNet Gas Services
2020
S14. NETWORK INTEGRITY
S14.1 - LOSS OF CONTAINMENT
VOLUMES
0's
| Units | 2020
S14.1.1 - MAINS
Number of Leaks - publicly reported | number | 443
Number of Leaks - found through survey | number | 406
Repaired Leaks | number | 849
Length of network subject to survey | km | 1715.4
S14.1.2 - SERVICES
Number of Leaks - publicly reported | number | 3336
Number of Leaks - found through survey | number | 153
Repaired Leaks | number | 3489
Number of services surveyed | number | 0
S14.1.3 - METERS
Number of Leaks - publicly reported | number | 4733
Number of Leaks - found through survey | number | 0
Repaired Leaks | number | 4733
Number of meters surveyed | number | 0
S14.2 - INSTANCES OF DAMAGE
VOLUMES
0's
| Units | 2020
Mains | number | 51
Services | number | 1286
Meters | number | 10
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F1. Income
ANNUAL REPORTING
AusNet Gas Services
2020
F1. INCOME
F1.1 - AUDITED STATUTORY ACCOUNTS
$0's, nominal
2020
F1.1.1 - REVENUE
Distribution revenue
Capital contributions
Profit from sale of fixed assets
Other revenue
Total revenue | 0
F1.1.2 - EXPENDITURE
Operating expenditure
Depreciation
Net finance expenses
Loss from sale of fixed assets
Impairment losses
Other expenses
Total expenditure | 0
F1.1.3 - PROFIT
Profit before tax | 0
Income tax expenses (/ benefit)
Profit after tax | 0
F1.2 - ADJUSTMENTS
$0's, nominal
2020
F1.2.1 - REVENUE
Distribution revenue
Capital contributions
Profit from sale of fixed assets
Other Revenue
Total revenue | 0
F1.2.2 - EXPENDITURE
Operating expenditure
Depreciation
Net finance expenses
Loss from sale of fixed assets
Impairment losses
Other expenses
Total expenditure | 0
F1.2.3 - PROFIT
Profit before tax | 0
Income tax expenses (/ benefit)
Profit after tax | 0
F1.3 - DISTRIBUTION BUSINESS
$0's, nominal
2020
F1.3.1 - REVENUE
Distribution revenue | 0
Capital contributions | 0
Profit from sale of fixed assets | 0
Other Revenue | 0
Total revenue | 0
F1.3.2 - EXPENDITURE
Operating expenditure | 0
Depreciation | 0
Net finance expenses | 0
Loss from sale of fixed assets | 0
Impairment losses | 0
Other expenses | 0
Total expenditure | 0
F1.3.3 - PROFIT
Profit before tax | 0
Income tax expenses (/ benefit) | 0
Profit after tax | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F2. Capex
ANNUAL REPORTING
AusNet Gas Services
2020
F2. CAPITAL EXPENDITURE
F2.4 - CAPEX BY ASSET CLASS
F2.4.2 - ACTUAL - AS INCURRED
EXPENDITURE
$0's, nominal
Asset Class | 2020
Transmission Pipelines | 3446441.48
Distribution Pipelines | 37981311.0688
Service Pipes | 37251260.1006
Cathodic Protection | 145145.2
Supply Regulators / Valve Stations | 1464453.8496
Meters | 12272475.781
SCADA and remote control | 375461.15
Other - IT | 6108775.96
Other - non IT | -285182.37
Non-approved asset class - Non- Network Leasehold Land & Buildings - CY19 | -222007.0861
Non-approved asset class - Non- Network Leasehold Land & Buildings - CY20 | 2579030.9815
Total | 101117166.1154
F2.4.3 - MOVEMENT IN PROVISIONS ALLOCATED TO AS-INCURRED CAPEX
EXPENDITURE
$0's, nominal
Asset Class | 2020
Transmission Pipelines | 656.9634
Distribution Pipelines | 7240.0281
Service Pipes | 7100.8652
Cathodic Protection | 27.6677
Supply Regulators / Valve Stations | 279.1554
Meters | 2339.3892
SCADA and remote control | 71.5707
Other - IT | 1164.4598
Other - non IT | 0
Non-approved asset class - Non- Network Leasehold Land & Buildings - CY19 | 0
Non-approved asset class - Non- Network Leasehold Land & Buildings - CY20
Total | 18880.0995
F2.5 - CAPITAL CONTRIBUTIONS BY ASSET CLASS
F2.5.1 - ACTUAL - AS INCURRED
EXPENDITURE
$0's, nominal
Asset Class | 2020
Transmission Pipelines | 0
Distribution Pipelines | 4238729.678
Service Pipes | 2596717.129
Cathodic Protection | 0
Supply Regulators / Valve Stations | 0
Meters | 886146.813
SCADA and remote control | 0
Other - IT | 0
Other - non IT | 0
Non-approved asset class - Non- Network Leasehold Land & Buildings - CY19 | 0
Non-approved asset class - Non- Network Leasehold Land & Buildings - CY20
Total | 7721593.62
F2.6 - DISPOSALS BY ASSET CLASS
F2.6.2 - ACTUAL
EXPENDITURE
$0's, nominal
Asset Class | 2020
Transmission Pipelines | 0
Distribution Pipelines | 0
Service Pipes | 0
Cathodic Protection | 0
Supply Regulators / Valve Stations | 0
Meters | 0
SCADA and remote control | 0
Other - IT | 0
Other - non IT | -600
Non-approved asset class - Non- Network Leasehold Land & Buildings - CY19 | -1837642.62
Non-approved asset class - Non- Network Leasehold Land & Buildings - CY20
Total | -1838242.62
F2.7 - IMMEDIATE EXPENSING CAPITAL EXPENDITURE
ACTUAL - AS INCURRED
EXPENDITURE
$0's, nominal
Asset Class | 2020
Transmission Pipelines
Distribution Pipelines
Service Pipes
Cathodic Protection
Supply Regulators / Valve Stations
Meters
SCADA and remote control
Other - IT
Other - non IT
Non-approved asset class - Non- Network Leasehold Land & Buildings - CY19
Non-approved asset class - Non- Network Leasehold Land & Buildings - CY20
Total | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F3. Revenue
ANNUAL REPORTING
AusNet Gas Services
2020
F3. REVENUE
F3.1 - REFERENCE SERVICES
F3.1.1 - REVENUE - BY TARIFF
REVENUE
$0's, nominal
Tariff | 2020
Tariff V Central Domestic | 161398258.2123
Tariff V Central Non-Domestic | 4484330.3618
Tariff V Adjoining Central Domestic | 695889.5079
Tariff V Adjoining Central Non-Domestic | 14742.7251
Tariff V West Domestic | 35021880.6932
Tariff V West Non-Domestic | 1649484.7792
Tariff V Adjoining West Domestic | 4715403.7892
Tariff V Adjoining West Non-Domestic | 362188.0408
Tariff D Central | 1364456
Tariff D Adjoining Central | 8409.95
Tariff D West | 440921.56
Tariff D Adjoining West | 6364.67
Tariff M Central | 151616.24
Tariff M Adjoining Central | 0
Tariff M West | 58947
Tariff M Adjoining West | 0
Total | 210372893.5295
F3.2 - ANCILLARY REFERENCE SERVICES
REVENUE
$0's, nominal
Service Name | 2020
Reconnections | 49578.07
Disconnections | 100606.08
Meter and Gas Installation test | 30438.59
Special Meter Reads | 2113275.02
Total | 2293897.76
F3.3 - REBATEABLE SERVICES
REVENUE
$0's, nominal
Service Name | 2020
Total | 0
F3.4 - NON-REFERENCE SERVICES
REVENUE
$0's, nominal
Service Name | 2020
Other Non-Reference Services | 2789103.5505
Total | 2789103.5505
F3.5 - TOTAL REVENUE
2020
Total | 215455894.84
F3.6 - REWARDS AND PENALTIES FROM INCENTIVE SCHEMES
Scheme | 2020
Efficiency carryover | 1916685.602
Total | 1916685.602
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F4. Opex
ANNUAL REPORTING
AusNet Gas Services
2020
F4. OPERATING EXPENDITURE
F4.1 - OPEX - BY PURPOSE
F4.1.1 - AUDITED STATUTORY ACCOUNTS
EXPENDITURE
$0's, nominal
Description | 2020
repairs and maintenance
marketing and retail incentives
debt raising
equity raising
unaccounted for gas
jurisdictional charges
GSL payments
other opex
Total | 0
F4.1.2 - ADJUSTMENTS
EXPENDITURE
$0's, nominal
Description | 2020
repairs and maintenance
marketing and retail incentives
debt raising
equity raising
unaccounted for gas
jurisdictional charges
GSL payments
other opex
Total | 0
F4.1.3 - DISTRIBUTION BUSINESS
EXPENDITURE
$0's, nominal
Description | 2020
repairs and maintenance | 17293537.8
marketing and retail incentives | 196999.36
debt raising | 0
equity raising | 0
unaccounted for gas | 2252157.03
jurisdictional charges | 0
GSL payments | 14890
other opex | 37834097.2162
Total | 57591681.4062
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F6. Related party transactions
ANNUAL REPORTING
AusNet Gas Services
2020
F6. RELATED PARTY TRANSACTIONS
F6.1 - AusNet (Gas) PAYMENTS GREATER THAN $1,000,000 MADE TO RELATED PARTY
| $0's, nominal | Nature of the relationship eg. percentage ownership by/of related party of/by Gas Distributor | Services Provided | Description of how this transaction amount was determined | Description of how this amount is reflected in the Regulatory Templates, including the asset class or cost category | Where the related party expenditure has been allocated to different asset classes or cost categories, the description of the basis of allocation and the quantum of the allocator
Name of related party | 2020
F6.1.1 - EXPENDITURE
F6.1.2 - CORRESPONDING EXPENSES INCURRED BY RELATED PARTY
F6.2 - AusNet (Gas) PAYMENTS GREATER THAN $1,000,000 RECEIVED FROM RELATED PARTY
| $0's, nominal | Nature of the relationship eg. percentage ownership by/of related party of/by Gas Distributor | Services Provided | Description of how this transaction amount was determined | Description of how this amount is reflected in the Regulatory Templates, including the asset class or cost category | Where the related party expenditure has been allocated to different asset classes or cost categories, the description of the basis of allocation and the quantum of the allocator
2020
F6.2.1 - REVENUE
F6.2.2 - CORRESPONDING EXPENSES INCURRED BY AusNet (Gas)
F6.3 - RELATED PARTY MARGIN EXPENDITURE - BY CATEGORY
F6.3.1 - CAPEX
EXPENDITURE
$0's, nominal
Capex category | 2020
Connections
Mains replacement
Mains augmentation
Telemetry
Meter replacement
ICT
Capitalised network overheads
Capitalised corporate overheads
Other capex
Total | 0
F6.3.2 - OPEX
EXPENDITURE
$0's, nominal
Opex category | 2020
repairs and maintenance
marketing and retail incentives
debt raising
equity raising
unaccounted for gas
jurisdictional charges
GSL payments
other opex
Total | 0
F6.4 - PER CENTAGE OF CAPEX OUTSOURCED TO RELATED PARTY
PER CENTAGE %
Capex category | 2020
Connections
Mains replacement
Mains augmentation
Telemetry
Meter replacement
ICT
Capitalised network overheads
Capitalised corporate overheads
Other capex
F6.5 - PER CENTAGE OF OPEX OUTSOURCED TO RELATED PARTY
PER CENTAGE %
Capex category | 2020
Total
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F7. Provisions
ANNUAL REPORTING
AusNet Gas Services
2020
F7. PROVISIONS
F7 - PROVISIONS
VALUES $0's, nominal
2020
Provision for Doubtful Debts
Provision for doubtful debt is an allowance that has been made for estimated unrecoverable amounts, determined by reference to past default experience of individual debtors.
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component | 0
Capex component | 0
Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | -119115.49
Capex component | 0
Other component | 0
Unused amounts reversed during the period
Opex component | 0
Capex component | 0
Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component | 0
Capex component | 0
Other component | 0
Closing balance (carrying amount at the end of the period)
Employee Entitlements
Provisions for employee entitlements are liabilities for wages and salaries, including non-monetary benefits and annual leave are recognised in respect of employees’ services up to the reporting date and are measured at the amounts expected to be paid when the liabilities are settled.
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component | 253057.9553
Capex component | 72121.4547
Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | -168832.1648
Capex component | -48117.1252
Other component | 0
Unused amounts reversed during the period
Opex component | -17979.77
Capex component | -5124.23
Other component | 2224.57
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component | 0
Capex component | 0
Other component | 0
Closing balance (carrying amount at the end of the period)
Environmental Provision
This provision is used for environmental matters such land remediation costs. The liability is determined based on the present value of the obligation as appropriate.
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component | 549463.87
Capex component | 0
Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | 0
Capex component | 0
Other component | 0
Unused amounts reversed during the period
Opex component | 0
Capex component | 0
Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component | 0
Capex component | 0
Other component | 0
Closing balance (carrying amount at the end of the period)
Miscellaneous Provision
Provision represents sundry matters including the work out provision and carbon tax pass through
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component | 215543
Capex component | 0
Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | 0
Capex component | 0
Other component | 0
Unused amounts reversed during the period
Opex component | 0
Capex component | 0
Other component | -51108.67
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component | 0
Capex component | 0
Other component | 0
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F9. Pass throughs
ANNUAL REPORTING
AusNet Gas Services
2020
F9. PASS THROUGHS
F9.1 - PASS THROUGH EVENT EXPENDITURE
EXPENDITURE
$0's, nominal
Description | 2020
<insert pass through event>
Total | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F10. Assets
ANNUAL REPORTING
AusNet Gas Services
2020
F10. ASSETS
F10.1 - CAPITAL BASE VALUES
VALUES
0's
2020
FOR TOTAL ASSET BASE
Opening value | 1675511455.6635
Inflation addition | 26689563.0106
Straight line depreciation | -74267080.0585
Actual additions (recognised in RAB) | 95578323.5222
Disposals | -1788857.9942
Closing value | 1721723404.1435
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY