## Slide 1: Demand Forecasting workshop
Highlights from AusNet Services’ EDPR proposal

## Slide 2: High level process
Extract historical customers by feeder
Forecast customer growth
Calibrate growth forecasts with Victorian Government projections
Extract historical demand data
Correlate demand and temperature
Generate spatial demand forecasts
Undertake validation process
Finalise forecasts

## Slide 3: Customer forecasts

## Slide 4: Temperature-demand correlations

## Slide 5: Energy efficiency

## Slide 6: Spatial analysis

## Slide 7: Differences with AEMO
Contribution of solar
  Time of maximum demand
  Solar uptake assumptions
Energy v. demand efficiency
  Demand efficiency (i.e. contribution of energy efficient appliances at time of maximum demand) is less than energy efficiency
Growth areas
  AEMO forecasts in growth areas much lower than VDP forecast household growth