## Summary
AusNet Services Revised Proposal
TARGETS
| 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26
SAIDI | [7 empty] | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | AVERAGE
Urban | 76.7477 | 76.7477 | 76.7477 | 76.7477 | 76.7477 |  | Energy - Urban (MWh) | 3121199.418 | 3108926.3537 | 3093489.1863 | 3076095.4304 | 3063590.2504 | 3092660.1278
Short rural | 188.097 | 188.097 | 188.097 | 188.097 | 188.097 |  | Energy - Short Rural (MWh) | 2972081.9147 | 2960395.2046 | 2945695.5588 | 2929132.8019 | 2917225.0656 | 2944906.1091
Long rural | 270.8687 | 270.8687 | 270.8687 | 270.8687 | 270.8687 |  | Energy - Long Rural (MWh) | 1271675.8233 | 1266675.3869 | 1260385.7944 | 1253299.0255 | 1248204.0178 | 1260048.0096
SAIFI
Urban | 0.82844 | 0.82844 | 0.82844 | 0.82844 | 0.82844
Short rural | 1.9773 | 1.9773 | 1.9773 | 1.9773 | 1.9773
Long rural | 2.5821 | 2.5821 | 2.5821 | 2.5821 | 2.5821
MAIFI
Urban | 2.6959 | 2.6959 | 2.6959 | 2.6959 | 2.6959
Short rural | 5.7583 | 5.7583 | 5.7583 | 5.7583 | 5.7583
Long rural | 10.5565 | 10.5565 | 10.5565 | 10.5565 | 10.5565
Source: Initial Proposal
INCENTIVE RATES
| Urban | Short rural | Long rural
ir - SAIDI | 0.024027 | 0.022879 | 0.0097894
ir - SAIFI | 1.4839 | 1.4509 | 0.68463
ir - MAIFI (% of SAIFI) | 0.11872 | 0.11608 | 0.05477
8%
Inputs
VCR | 41210 | 41210 | 41210 | Source: AER, December 2019, Table 5.22
CPI | 2.641% | 2.641% | 2.641% | Escalated to 2020-21
w_n | 1.5 | 1.5 | 1.5 | Source: STPIS 2.0, November 2018, Table 1
C_n | 3092660.1278 | 2944906.1091 | 1260048.0096 | Source: operational data
R | 621087538.6704 | 621087538.6704 | 621087538.6704 | Source: Revised Proposal PTRM
SAIDI | 76.7477 | 188.097 | 270.8687
SAIFI | 0.82844 | 1.9773 | 2.5821
MAIFI | 2.6959 | 5.7583 | 10.5565
| 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | Average
Expected Revenue (smoothed) ($m real 2020-21) | 636.5004 | 628.6989 | 620.9931 | 613.3817 | 605.8636 | 621087538.6704
Source: Revised Proposal PTRM
Comments: row 44 of PTRM

## CPI
Index Numbers ; All groups CPI ; Australia ;
Unit | Index Numbers
Series Type | Original
Data Type | INDEX
Frequency | Quarter
Collection Month | 3
Series Start | 17777
Series End | 44075
No. Obs | 289
Series ID | A2325846C |  | Comments | Source
2014-03-31 | 105.4
2014-06-30 | 105.9
2014-09-30 | 106.4
2014-12-31 | 106.6
2015-03-31 | 106.8 | 1.328% | Hardcoded | ABS index numbers; all group CPI Australia
2015-06-30 | 107.5 | 1.511% | Hardcoded | ABS index numbers; all group CPI Australia
2015-09-30 | 108 | 1.504% | Hardcoded | ABS index numbers; all group CPI Australia
2015-12-31 | 108.4 | 1.689% | Hardcoded | ABS index numbers; all group CPI Australia
2016-03-31 | 108.2 | 1.311% | Hardcoded | ABS index numbers; all group CPI Australia
2016-06-30 | 108.6 | 1.023% | Hardcoded | ABS index numbers; all group CPI Australia
2016-09-30 | 109.4 | 1.296% | Hardcoded | ABS index numbers; all group CPI Australia
2016-12-31 | 110 | 1.476% | Hardcoded | ABS index numbers; all group CPI Australia
2017-03-31 | 110.5 | 2.126% | Hardcoded | ABS index numbers; all group CPI Australia
2017-06-30 | 110.7 | 1.934% | Hardcoded | ABS index numbers; all group CPI Australia
2017-09-30 | 111.4 | 1.828% | Hardcoded | ABS index numbers; all group CPI Australia
2017-12-31 | 112.1 | 1.909% | Hardcoded | ABS index numbers; all group CPI Australia
2018-03-31 | 112.6 | 1.9% | Hardcoded | ABS index numbers; all group CPI Australia
2018-06-30 | 113 | 2.078% | Hardcoded | ABS index numbers; all group CPI Australia
2018-09-30 | 113.5 | 1.885% | Hardcoded | ABS index numbers; all group CPI Australia
2018-12-31 | 114.1 | 1.784% | Hardcoded | ABS index numbers; all group CPI Australia
2019-03-31 | 114.1 | 1.332% | Hardcoded | ABS index numbers; all group CPI Australia
2019-06-30 | 114.8 | 1.593% | Hardcoded | ABS index numbers; all group CPI Australia
2019-09-30 | 115.4 | 1.674% | Hardcoded | ABS index numbers; all group CPI Australia
2019-12-31 | 116.2 | 1.84% | Hardcoded | ABS index numbers; all group CPI Australia
2020-03-31 | 116.6 | 2.191% | Hardcoded | ABS index numbers; all group CPI Australia
2020-06-30 | 114.4 | -0.3484% | Hardcoded | ABS index numbers; all group CPI Australia
2020-09-30 | 116.2 | 0.6932% | Hardcoded | ABS index numbers; all group CPI Australia
2020-12-31 | 117.6525 | 1.25% | Based on 1.25% annual increase
2021-03-31 | 117.7422 | 0.9796% | Average
2021-06-30 | 117.832 | 0.1526% | Based on 3% annual increase
2021-09-30 | 118.3305 | 1.833% | Average
2021-12-31 | 118.829 | 1% | Based on 1% annual increase
Note on A6: Refers to series collected at quarterly and lesser frequencies only. Indicates which month in the collection period the data refers to.

## 3.4 Operational data
REGULATORY REPORTING STATEMENT
Victorian DNSP Reset
2016 to 2020
3.4 OPERATIONAL DATA
Standard control services
|  |  | Unit of measure | Standard control services
Forecast
|  |  |  | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26
TABLE 3.4.1 - ENERGY DELIVERY
ED_OPD3410_00001 | DOPED01 | Total energy delivered | GWh | 7364.9572 | 7335.9969 | 7299.5705 | 7258.5273 | 7229.0193 | 7204.096 | 7182.974
Table 3.4.1.1 Energy grouping - delivery by chargeable quantity
ED_OPD3411_00001 | DOPED0201 | Energy Delivery where time of use is not a determinant | GWh | 2139.1063 | 2091.1029 | 2049.6552 | 2015.3264 | 1988.4588 | 1966.8636 | 1947.1369
ED_OPD3411_00002 | DOPED0202 | Energy Delivery at On-peak times | GWh | 2120.2404 | 2127.3205 | 2128.2283 | 2123.3139 | 2120.2905 | 2116.8837 | 2114.1319
ED_OPD3411_00003 | DOPED0203 | Energy Delivery at Shoulder times | GWh | 469.4064 | 476.6708 | 482.4019 | 488.4466 | 494.827 | 501.1829 | 507.3571
ED_OPD3411_00004 | DOPED0204 | Energy Delivery at Off-peak times | GWh | 2340.8046 | 2345.4414 | 2343.9255 | 2336.3697 | 2330.5535 | 2324.4541 | 2319.8021
ED_OPD3411_00005 | DOPED0205 | Controlled load energy deliveries | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_OPD3411_00006 | DOPED0206 | Energy Delivery to unmetered supplies | GWh | 295.3994 | 295.4614 | 295.3596 | 295.0706 | 294.8895 | 294.7117 | 294.546
Table 3.4.1.2 Energy - received from TNSP and other DNSPs by time of receipt
ED_OPD3412_00001 | DOPED0301 | Energy into DNSP network at On-peak times | GWh
ED_OPD3412_00002 | DOPED0302 | Energy into DNSP network at Shoulder times | GWh
ED_OPD3412_00003 | DOPED0303 | Energy into DNSP network at Off-peak times | GWh
ED_OPD3412_00004 | DOPED0304 | Energy received from TNSP and other DNSPs not included in the above categories | GWh
Table 3.4.1.3 Energy - received into DNSP system from embedded generation by time of receipt
ED_OPD3413_00001 | DOPED0401 | Energy into DNSP network at On-peak times from non-residential embedded generation | GWh
ED_OPD3413_00002 | DOPED0402 | Energy into DNSP network at Shoulder times from non-residential embedded generation | GWh
ED_OPD3413_00003 | DOPED0403 | Energy into DNSP network at Off-peak times from non-residential embedded generation | GWh
ED_OPD3413_00004 | DOPED0404 | Energy received from embedded generation not included in above categories from non-residential embedded generation | GWh
ED_OPD3413_00005 | DOPED0405 | Energy into DNSP network at On-peak times from residential embedded generation | GWh
ED_OPD3413_00006 | DOPED0406 | Energy into DNSP network at Shoulder times from residential embedded generation | GWh
ED_OPD3413_00007 | DOPED0407 | Energy into DNSP network at Off-peak times from residential embedded generation | GWh
ED_OPD3413_00008 | DOPED0408 | Energy received from embedded generation not included in above categories from residential embedded generation | GWh
Table 3.4.1.4 Energy grouping - customer type or class
ED_OPD3414_00001 | DOPED0501 | Residential customers energy deliveries | GWh
ED_OPD3414_00002 | DOPED0502 | Non residential customers not on demand tariffs energy deliveries | GWh
ED_OPD3414_00003 | DOPED0503 | Non-residential low voltage demand tariff customers energy deliveries | GWh
ED_OPD3414_00004 | DOPED0504 | Non-residential high voltage demand tariff customers energy deliveries | GWh
ED_OPD3414_00005 | DOPED0505 | Other Customer Class Energy Deliveries | GWh
TABLE 3.4.2 - CUSTOMER NUMBERS
|  | Table 3.4.2.1 Distribution customer numbers by customer type or class |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
ED_OPD3421_00001 | DOPCN0101 | Residential customer numbers | number
ED_OPD3421_00002 | DOPCN0102 | Non residential customers not on demand tariff customer numbers | number
ED_OPD3421_00003 | DOPCN0103 | Low voltage demand tariff customer numbers | number
ED_OPD3421_00004 | DOPCN0104 | High voltage demand tariff customer numbers | number
ED_OPD3421_00005 | DOPCN0105 | Unmetered Customer Numbers | number
ED_OPD3421_00006 | DOPCN0106 | Other Customer Numbers | number
| DOPCN01 | Total customer numbers | number
Table 3.4.2.2 Distribution customer numbers by location on the network
ED_OPD3422_00001 | DOPCN0201 | Customers on CBD network | number | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_OPD3422_00002 | DOPCN0202 | Customers on Urban network | number | 316190.147 | 321757.2719 | 327249.8096 | 332788.3286 | 338402.4942 | 344065.1839 | 349766.8623
ED_OPD3422_00003 | DOPCN0203 | Customers on Short rural network | number | 301083.9397 | 306385.0913 | 311615.2192 | 316889.1315 | 322235.0764 | 327627.2271 | 333056.5037
ED_OPD3422_00004 | DOPCN0204 | Customers on Long rural network | number | 128825.9133 | 131094.1368 | 133331.9712 | 135588.5399 | 137875.9294 | 140183.0891 | 142506.134
| DOPCN02 | Total customer numbers | number | 746100 | 759236.5 | 772197 | 785266 | 798513.5 | 811875.5 | 825329.5
|  |  |  | 746100 | 759236.5 | 772197 | 785266 | 798513.5 | 811875.5 | 825329.5
Table 3.4.2.3 Distribution customer numbers by Aurora Feeder categories
ED_OPD3423_00001 |  | Critical Infrastructure | number
ED_OPD3423_00002 |  | High Density Commercial | number
ED_OPD3423_00003 |  | Urban | number
ED_OPD3423_00004 |  | High Density Rural | number
ED_OPD3423_00005 |  | Low Density Rural | number
ED_OPD3423_99999 |  | Total customer numbers | number
Table 3.4.2.4 Unmetered Supply
ED_OPD3424_00001 |  | Number of unmetered connections reported in customer numbers in the economic benchmarking RIN | number
ED_OPD3424_00002 |  | Unmetered connections not reported in customer numbers in the economic benchmarking RIN | number
ED_OPD3424_99999 |  | Total unmetered connections | number
TABLE 3.4.3 - SYSTEM DEMAND
Table 3.4.3.1 Annual system maximum demand characteristics at the zone substation level – MW measure
ED_OPD3431_00002 | DOPSD0102 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW
ED_OPD3431_00003 | DOPSD0103 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW
ED_OPD3431_00005 | DOPSD0105 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW
ED_OPD3431_00006 | DOPSD0106 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW
Table 3.4.3.2 Annual system maximum demand characteristics at the transmission connection point – MW measure
ED_OPD3432_00002 | DOPSD0108 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW
ED_OPD3432_00003 | DOPSD0109 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW
ED_OPD3432_00005 | DOPSD0111 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW
ED_OPD3432_00006 | DOPSD0112 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW
Table 3.4.3.3 Annual system maximum demand characteristics at the zone substation level – MVA measure
ED_OPD3433_00002 | DOPSD0202 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA
ED_OPD3433_00003 | DOPSD0203 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA
ED_OPD3433_00005 | DOPSD0205 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA
ED_OPD3433_00006 | DOPSD0206 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA
Table 3.4.3.4 Annual system maximum demand characteristics at the transmission connection point – MVA measure
ED_OPD3434_00002 | DOPSD0208 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA
ED_OPD3434_00003 | DOPSD0209 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA
ED_OPD3434_00005 | DOPSD0211 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA
ED_OPD3434_00006 | DOPSD0212 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA
Table 3.4.3.5 Power factor conversion between MVA and MW
ED_OPD3435_00001 | DOPSD0301 | Average overall network power factor conversion between MVA and MW | Factor
ED_OPD3435_00002 | DOPSD0302 | Average power factor conversion for low voltage distribution lines | Factor
ED_OPD3435_00003 | DOPSD0303 | Average power factor conversion for 3.3 kV lines | Factor
ED_OPD3435_00004 | DOPSD0304 | Average power factor conversion for 6.6 kV lines | Factor
ED_OPD3435_00005 | DOPSD0305 | Average power factor conversion for 7.6 kV lines | Factor
ED_OPD3435_00006 | DOPSD0306 | Average power factor conversion for 11 kV lines | Factor
ED_OPD3435_00007 | DOPSD0307 | Average power factor conversion for SWER lines | Factor
ED_OPD3435_00008 | DOPSD0308 | Average power factor conversion for 22 kV lines | Factor
ED_OPD3435_00009 | DOPSD0309 | Average power factor conversion for 33 kV lines | Factor
ED_OPD3435_00010 | DOPSD0310 | Average power factor conversion for 44 kV lines | Factor
ED_OPD3435_00011 | DOPSD0311 | Average power factor conversion for 66 kV lines | Factor
ED_OPD3435_00012 | DOPSD0312 | Average power factor conversion for 110 kV lines | Factor
ED_OPD3435_00013 | DOPSD0313 | Average power factor conversion for 132 kV lines | Factor
ED_OPD3435_00013 | DOPSD0314 | Average power factor conversion for 220 kV lines | Factor
Table 3.4.3.6 Demand supplied (for customers charged on this basis) – MW measure
ED_OPD3436_00001 | DOPSD0401 | Summated Chargeable Contracted Maximum Demand | MW
ED_OPD3436_00002 | DOPSD0402 | Summated Chargeable Measured Maximum Demand | MW
Table 3.4.3.7 Demand supplied (for customers charged on this basis) – MVA measure
ED_OPD3437_00001 | DOPSD0403 | Summated Chargeable Contracted Maximum Demand | MVA | 1008.2094 | 1037.8314 | 1066.0838 | 1092.4592 | 1117.6854 | 1142.0729 | Average Demand per forecast model (Cap tariff)
ED_OPD3437_00002 | DOPSD0404 | Summated Chargeable Measured Maximum Demand | MVA | 567.4674 | 584.9768 | 601.949 | 617.843 | 633.0718 | 647.8119 | Average Demand per forecast model (CPP tariff)
|  |  |  | 1575.6768 | 1622.8082 | 1668.0329 | 1710.3022 | 1750.7572 | 1789.8848