## Changes summary
Changes from March 2022 Consultation workbooks
Data requirements
Workbook | Table | Change | Rationale
Distribution Business | Proportion of total fleet expenditure allocated as regulatory expenditure (CA2.6.3) | Shifted to workbook 02 - Operational outputs | Data is not financial data
Distribution Business | Demand management (AR 7.11.1) | Table added | Consistent with historical collections
Distribution Business | Jurisdictional Scheme Payments (AR 7.10.1) | Table added | Consistent with historical collections
Standard Control | Other avoided TUOS payments (AR 7.8.1) | Data table added | Consistent with historical collections
Standard Control | Revenue rewards and penalties - incentive schemes | F-Factor row added
Alternative Control | Total revenue | Standard row descriptors used | Consistency
Alternative Control | Revenue grouping by chargeable quantity (EB 3.1.1) | non ASC row descriptors removed | Data not required
Total Expenditure | Overheads expenditure (CA 2.12 Input tables) | Tables added | Data was disaggregated in the March 2022 workbooks (into 06: opex and 07: capex) but the information is not required (and is not currently collected) at the disaggregated level.
Total Expenditure | Routine maintenance - disaggregated maintenance activities | Omitted (Total retained) | Change was made in the March 2022 workbooks. Data is now aggregated to Total ROUTINE maintenance rather than the previous 12 maintenance activities (in the CA RIN)
Total Expenditure | Non-Routine maintenance - disaggregated maintenance activities | Omitted (Total retained) | Change was made in the March 2022 workbooks. Data is now aggregated to Total Non-ROUTINE maintenance rather than the previous 12 maintenance activities (in the CA RIN)
Total Expenditure | Emergency response expenditure - disaggregated expenditure classification | Omitted (Total retained) | Change was made in the March 2022 workbooks. Data is now aggregated to Total emergency response rather than the previous 2 categories (in the CA RIN)
Negotiated Services | Income statement | Worksheet renamed to "Other Services" | Income statement now includes Unregulated services data requirements
Other Services | Unregulated services | Requirement added | Completeness of information.
Other Services | Overheads expenditure (CA 2.10) | Requirement added | Completeness of information.
Other Services | Unregulated revenue earned with shared assets (Reset RIN 7.4 Shared assets) | Table added | Reporting consistent with historical data collected under Reset RINs.
Concepts and terms
March 2022 Term | March 2022 Definition | January 2023 Term | January 2023 Definition | Change | Rationale
Adjustments | The adjustments made to audited statutory accounts to arrive at the accounts for the distribution business. The adjustments should include non-distribution services and any other adjustments. | Regulatory Adjustments (distribution business) | The adjustments made to audited statutory accounts to arrive at the accounts for the distribution business. The adjustments should include non-distribution services and any other adjustments. | Term updated | To increase clarity.
Ancillary network services | Fee based and quoted services as defined in the framework and approach for the regulatory control period covering reporting period. | Fee based services | Fee-based services are provided for the benefit of individual customers rather than uniformly supplied to all network customers. Some services of this type are homogenous in nature and scope. This means that these services are provided on a fixed fee basis. These services may, in some jurisdictions, be classified as ancillary network services charged on a fixed fee basis. | Term has been split into components - see also Quoted services | We will uncompound terms in to simpler terms where appropriate to build our Glossary.
|  | Quoted services | Services for which costs are recovered through quoted prices as the nature and scope of these services are specific to individual customers’ needs and vary from customer to customer. These services may, in some jurisdictions, be classified as ancillary network services charged on a quoted basis. | Term and definition added | We will uncompound terms in to simpler terms where appropriate to build our Glossary.
Smart meters | Also known as Advanced meters. These meters record customer usages and demand in real time and can be remotely read in 30 minute intervals. | Smart meter | Also known as advanced meter. These meters record customer usages and demand in real time and can be remotely read in discrete time intervals. | Definition updated | To increase clarity.
Connection services | As defined in the National Electricity Rules. | Connection services | Has the meaning prescribed in the National Electricity Rules. As defined in the AER's Connection charge guidelines for electricity retail customers, June 2012, a Connection Service—means either or both of the following: (a) a service relating to a new connection for premises; (b) a service relating to a connection alteration for premises. | Definition updated | To increase clarity.
Public Lighting | Public lighting services are defined as the: operation, maintenance, repair and replacement of public lighting assets; alteration and relocation of public lighting assets; and provision of new public lights. | Public Lighting Services | The installation, operation, repair, replacement and maintenance of public lighting whether owned by the NSP or by another party. This also includes alteration and relocation of existing public lighting assets. Public lighting assets include luminaires, brackets, lamps and dedicated public lighting poles (not poles that deliver network services). | Term and definition updated | Consistency between workbooks.
|  | Transmission use of system (TUOS) | As defined in the NER, Chapter 10. | Term and definition added | To increase clarity.
Definitions
March 2022 Term | March 2022 Definition | January 2023 Term | January 2023 Definition | Change | Rationale
Total revenue | Total revenue earned from the provision of standard control services, alternative control services, negotiated services, and, unclassified or unregulated services, but excludes capital contributions. | Total revenue (distribution) | Total revenue earned from the provision of standard control services, alternative control services, negotiated services, and, unclassified or unregulated services, but excludes capital contributions. | Term updated | To increase clarity.
Other Revenue | Any revenues not reported under Distribution revenue, dual function asset revenue, Tuos revenue, or jurisdictional scheme revenue. | Other revenue (distribution) | Any revenues not reported under distribution revenue, dual function asset revenue, TUOS revenue, or jurisdictional scheme revenue. | Term updated | To increase clarity.
|  | Other ACS revenue | Alternative control services revenues not reported as distribution revenue (excluding dual function asset revenues). | Term and definition added | Definition and term were not included in March 2022 version.
Operating expenditure excluding maintenance expenditure | Operating expenditure excluding any maintenance expenditure. | Operating expenditure | The costs of operating and maintaining the network (excluding all capital costs and capital construction costs). | Term has been split into components - see also maintenance expenditure | We will uncompound terms in to simpler terms where appropriate to build our Glossary.
Other expenditure | Any expenditure not reported under TUOS expenditure; Jurisdictional scheme payments; maintenance expenditure or operating expenditure. |  |  | Term and definition removed | We will uncompound terms in to simpler terms where appropriate to build our Glossary.
|  | Transmission use of system (TUOS) | As defined in the NER, Chapter 10. | Term and definition added | We will uncompound terms in to simpler terms where appropriate to build our Glossary.
Locational and non-locational | As defined in the NER | Prescribed TUOS services | As defined in the NER, Chapter 10 | Term and definition updated | Consistency with the NER
TUoS Common Service Charge | As defined in the NER | Prescribed common transmission services | As defined in the NER, Chapter 11 | Term and definition removed | Consistency with the NER
Grid equalisation | As defined in the NER | Grid equalisation | As per Victorian Government grid equalisation policy |  | To increase clarity.
TNSP connection/augmentation fees | TBC | TNSP connection/augmentation fees | Fees paid to TNSPs for connections and augmentation work. | Definition updated | To increase clarity.
|  | Embedded generator | A generator who owns, operates or controls a generating unit connected within a distribution network and not having direct access to the transmission network. | Term and definition added | Definition and term were not included in March 2022 version.
Avoided transmission costs | As defined in the NER | Avoided transmission costs | As defined in the NER, r5.3AA(h) | Definition updated | To increase clarity.
Avoided TuOS | As defined in the NER | Avoided TUOS payment | The payments made by a DNSP in accordance with clause 5.5(h) of the NER. | Term and definition updated | To increase clarity.
Cross boundary network charges | Inter-DNSP payments which are the cost of using another DNSP's distribution network |  |  | Term has been split into components - see also Cross boundary revenue; and Cross boundary expenditure | We will uncompound terms in to simpler terms where appropriate to build our Glossary.
|  | HV crossing | DNSP network connection to another NSP's network at high voltage connection. | Term and definition added | Definition and term were not included in March 2022 version.
|  | Subtransmission crossings | DNSP network connection to another NSP's network at subtransmission connection. | Term and definition added | Definition and term were not included in March 2022 version.
|  | TUOS adjustment | Adjustment to transmission charges to compensate for prior year over or under payment. | Term and definition added | Definition and term were not included in March 2022 version.
Profitability - tax data / Tax Related Information / Interest Expense (Debt and Equity) - All terms | As defined in the information request for financial performance data. | Profitability measures - All terms | see definitions worksheet. | All terms and definitions have been replaced by the terms and definitions in the Profitability measures information request | To increase clarity and consistency.
|  | Fixed customer charges | Supply availability charges independent of usage. | Term and definition added | Definition and term were not included in March 2022 version.
Revenue from On–Peak Energy Delivery charges | Revenue from metered supply charges which are not time dependent. | On–Peak Energy Delivery charges | Time of use charges for supplies at On-peak Charging Periods. | Definition updated | To increase clarity.
Revenue from Shoulder period Energy Delivery Charges | Time of use charges for supplies at On-peak Charging Periods. | Shoulder period Energy Delivery Charge | Time of use charge for supplies at Shoulder Charging Periods. | Definition updated | To increase clarity.
Revenue from unmetered supplies | Revenue from customers for which energy delivered is for uses which are “calculated” rather than “metered”. This may include supplies for the purposes of traffic controls, the energy component of street lighting, phone of public transport cubicles and other services where consumption is calculated rather than metered | Unmetered customer | A connection point whose energy use is NOT measured. | Term and definition updated | To increase clarity.
Revenue from other Sources | Revenue from sources excluding those listed in the table |  |  | Term and definition removed | Not required
Revenue grouping by customer type or class | Customer types are defined in data category 4 | Revenue grouping by customer type or class - disaggregated | see definitions worksheet. | Term has been split into components | We will uncompound terms in to simpler terms where appropriate to build our Glossary.
S-Factor True up | TBC | S-Factor True up | STPIS rewards or penalties adjustments to 'true-up' deferral of payments in prior years. | Definition added | Definition and term were not included in March 2022 version.
Other | Any other incentive scheme rewards or penalties | Other incentive schemes | Any other incentive scheme. | Term and definition updated | To increase clarity.
|  | Demand Management Incentive Scheme (DMIS) | The AER’s Demand Management Incentive Scheme encourages electricity network service providers (NSPs) to find lower-cost alternatives to investing in network capital expenditure. The DMIS will incentivise NSPs to undertake efficient expenditure on non-network options focusing on demand management. | Term and definition added | Data requirement added.
EBSS | Efficiency benefit sharing scheme | Efficiency benefit sharing scheme (EBSS) | The AER's Efficiency benefit sharing scheme incentivises electricity network service providers to pursue efficiency improvements in operating expenditure and to share efficiency gains between NSPs and network users. | Term and definition updated | To increase clarity.
CESS | Capital expenditure sharing scheme | Capital expenditure sharing scheme (CESS) | A capex efficiency scheme applied by the AER which provides financial rewards for network service providers whose capex becomes more efficient and financial penalties for those that become less efficient. Consumers benefit from improved efficiency through lower regulated prices. | Term and definition updated | To increase clarity.
STPIS | Service target performance incentive scheme | Service target performance incentive scheme (STPIS) | The AER's Service target performance incentive scheme provides networks with incentives for maintaining and improving network performance, to the extent that consumers are willing to pay for such improvements. The STPIS is intended to ensure that service levels do not reduce as result of efforts to achieve efficiency gains. | Term and definition updated | To increase clarity.
CSIS | Customer service incentive scheme | Customer service incentive scheme (CSIS) | A customer services incentive scheme applied by the AER. The scheme rewards Electricity Distribution Network Service Providers (DNSPs) for improving their customer service, or penalises them if service deteriorates. | Term and definition updated | To increase clarity.
|  | Business defined tariff category | Tariff category used to charge for public lighting services. | Term and definition added | Definition and term were not included in March 2022 version.
|  | Network overheads | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Corporate overheads | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Direct Material Expenditure | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Direct Labour Expenditure | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Contract Expenditure | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Other Expenditure (Input expenditure categories) | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Related Party Contract Expenditure | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Related Party Contract Margin Expenditure | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Vegetation maintenance / Vegetation management | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Routine Maintenance | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Non-routine Maintenance | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Emergency response | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Non-network expenditure | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | ICT expenditure | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Motor Vehicle | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Buildings and property expenditure | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Other non-network assets | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Other non-network expenditure | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Export services | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Replacement capex (repex) | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Pole | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Pole top structure | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Overhead conductor | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Underground asset (cable) | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Service lines | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Transformer | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Switchgear | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Public lighting assets | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | SCADA and network control and protection systems | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Other replacement expenditure | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Connection services | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Augmentation capex | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Subtransmission substation | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Switching station | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Zone substation | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Subtransmission line | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Distribution substation | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | HV feeder | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | LV feeder | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Other augmentation expenditure | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Public lighting services | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Public light installation | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Public light replacement | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Public light maintenance | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Metering services | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Fee based services | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Quoted services | see definitions worksheet. | Term and definition added | Moved from Workbooks 06 & 07 - disaggregation into opex and capex not required
|  | Opex component | Amounts allocated to operating expenditure. | Term and definition added | Definition and term were not included in March 2022 version.
|  | Capex component | Amounts allocated to capital expenditure. | Term and definition added | Definition and term were not included in March 2022 version.
|  | Other component (provisions) | Amounts not allocated to opex or capex. | Term and definition added | Definition and term were not included in March 2022 version.

## Concepts
AER Network information requirements review 2022-23
Project Overview
The network information requirements review project is being undertaken to streamline regulated electricity networks' annual reporting obligations, and facilitate improvements in the AER’s information management maturity. The project will allow for consolidation of existing information requests, ongoing integration of new information requirements, and clearer documentation of our underlying data structure. In sum, this project will help improve data quality and deliver efficiencies to both the AER and the regulated businesses.
Data category 09: Revenue and financial statements
This data is collected to reveal the financial performance of regulated Network Service Providers. It shows the originating statutory account amount, its translation into a regulatory accounting environment and its disaggregation between the difference categories of services provided.
Income Statements show incomes and expenditures and this data is the foundation of the expenditure information used to report on NSP performance, and is a key component for the AER when making and monitoring regulatory decisions.
Concepts
Expenditure classifications
Total expenditure = Direct expenditure + Indirect expenditure
Direct expenditure | Operating or capital expenditure directly attributable to a work activity, project or work order. Consists of in-house costs of direct labour, direct materials and other attributable costs. Excludes any allocated overhead.
Indirect expenditure | Operating or capital expenditure that is not directly attributable to a work activity, project or work order.
Service classifications
Audited Statutory Accounts + Regulatory adjustments = Distribution Business
Where:
Distribution Business = Direct Control Services + Other Distribution Services
Where:
Direct Control Services = Standard Control Services + Alternative Control Services
Other Distribution Services = Negotiated Services + Unregulated Services
Where:
Standard Control Services (SCS) = SCS excluding those provided using dual function assets + SCS provided using dual function assets
Alternative Control Services = Public Lighting Services + Metering Services + Connection Services + Fee-based Services + Quoted Services
Where:
Public Lighting Services = Energy efficient + Non-energy efficient
Metering Services = Smart meters + Legacy meters
Audited Statutory Accounts | The audited set of accounts prepared in accordance with Australian Securities and Investments Commission (ASIC) requirements.
Regulatory Adjustments (distribution business) | The adjustments made to audited statutory accounts to arrive at the accounts for the distribution business. The adjustments should include non-distribution services and any other adjustments.
Distribution Business | Audited Statutory Accounts plus Regulatory Adjustments.
Direct Control Services | A distribution service that is a direct control network service within the meaning of section 2B of NEL.
Standard Control Services | As defined in the National Electricity Rules. For clarity, Standard Control Services are intended to capture services only available through DNSP’s network typically provided to all customers or a broad class of customers recovered through general network tariffs.
Alternative Control Services | A distribution service that is a direct control service but not a standard control service (as defined in the NER). By way of context, Alternative Control Services are intended to capture distribution services provided at the request of, or for the benefit of, specific customers with regulatory oversight of prices.
Other Distribution Services | Distribution services that are not Direct Control Services.
Negotiated Services | Negotiated distribution service, as defined in section 2C of NEL.
Unregulated services | Unclassified or unregulated services must align with those unclassified or unregulated services set out in the DNSP's Revenue Determination.
Fee based services | Fee-based services are provided for the benefit of individual customers rather than uniformly supplied to all network customers. Some services of this type are homogenous in nature and scope. This means that these services are provided on a fixed fee basis. These services may, in some jurisdictions, be classified as ancillary network services charged on a fixed fee basis.
Quoted services | Services for which costs are recovered through quoted prices as the nature and scope of these services are specific to individual customers’ needs and vary from customer to customer. These services may, in some jurisdictions, be classified as ancillary network services charged on a quoted basis.
Metering services | Metering Services include: Meter purchase; Meter testing; Meter investigation; Scheduled meter reading; Special meter reading; New meter installation; Meter replacement; Meter maintenance; Other (all activities not captured by the defined meter service categories including those activities relating to type 7 meters).
Smart meter | Also known as advanced meter. These meters record customer usages and demand in real time and can be remotely read in discrete time intervals.
Legacy meter | Meter that is not a smart meter.
Connection services | Has the meaning prescribed in the National Electricity Rules. As defined in the AER's Connection charge guidelines for electricity retail customers, June 2012, a Connection Service—means either or both of the following: (a) a service relating to a new connection for premises; (b) a service relating to a connection alteration for premises.
Public lighting services | The installation, operation, repair, replacement and maintenance of public lighting whether owned by the NSP or by another party. This also includes alteration and relocation of existing public lighting assets. Public lighting assets include luminaires, brackets, lamps and dedicated public lighting poles (not poles that deliver network services).
Energy efficient public lighting | Public lighting services provided using energy efficient lamps (such as fluorescent lamps; CFL lamps and LED lamps).
Non-energy efficient public lighting | Public lighting that does not use energy efficient lamps.
Transmission use of system (TUOS) | As defined in the NER, Chapter 10.

## Definitions
Data category 09: Revenue and financial statements
Definitions have been provided for each column descriptor as well as each row descriptor of the data tabs in this workbook. To find the full meaning of a data element, please consider all relevant column, row and table heading definitions provided in the table below.
Compounding Definitions
Where you are seeking to discern the meaning of a row or column descriptor with multiple terms, you may need to look up the terms individually below and consider the definitions together to discern the full meaning of the row or column descriptor.
Term | Definition
Income statement
Income statement | An income statement or profit and loss account is one of the financial statements of a company and shows the company's revenues and expenses during a particular period. It indicates how the revenues are transformed into the net income or net profit.
Total revenue
Cross boundary revenue | Inter-DNSP revenue from another DNSP for using that DNSP’s distribution network.
Distribution revenue (excluding DFA revenues) | Revenue earned from the provision of standard control services, alternative control services, negotiated services, and, unclassified or unregulated services, but excludes capital contributions. Excludes revenue from Dual Function Assets.
Dual function asset revenue | Revenue earned from the provision of standard control services, delivered using Dual Function Assets.
Jurisdictional scheme revenue | The amounts a DNSP recovers from any person in respect of a jurisdictional scheme.
Other revenue (distribution) | Any revenues not reported under distribution revenue, dual function asset revenue, TUOS revenue, or jurisdictional scheme revenue.
Other TUOS Revenue | TUOS Revenue that is not cross boundary revenue.
Total revenue (distribution) | Total revenue earned from the provision of standard control services, alternative control services, negotiated services, and, unclassified or unregulated services, but excludes capital contributions.
TUOS revenue | Payments from customers in respect of TUOS charges.
Other ACS revenue | Alternative control services revenues not reported as distribution revenue (excluding dual function asset revenues).
Transmission use of system (TUOS) | As defined in the NER, Chapter 10.
Expenditure
Cross boundary expenditure | Inter-DNSP payments to another DNSP for using that DNSP’s distribution network.
Jurisdictional scheme payment | In respect of a jurisdictional scheme, the amounts a DNSP is required under the jurisdictional scheme obligations to: (a) pay to a person; (b) pay into a fund established under an Act of a participating jurisdiction; (c) credit against charges payable by a person; and (d) reimburse a person.
Maintenance expenditure | Those expenditures which are directly and specifically attributable to maintenance activities that are not capital expenditure.
Operating expenditure | The costs of operating and maintaining the network (excluding all capital costs and capital construction costs).
Other TUOS expenditure | TUOS payments that are not cross boundary expenditure.
TUOS expenditure | Payment to TNSPs in respect of TUOS charges.
Cross boundary
HV crossing | DNSP network connection to another NSP's network at high voltage connection.
Subtransmission crossings | DNSP network connection to another NSP's network at subtransmission connection.
TUOS adjustment | Adjustment to transmission charges to compensate for prior year over or under payment.
Grid equalisation | As per Victorian Government grid equalisation policy
Other TUOS charges | TUOS charges not included in location, non-locational, common service or grid equalisation charges.
TNSP connection/augmentation fees | Fees paid to TNSPs for connections and augmentation work.
Embedded generator | A generator who owns, operates or controls a generating unit connected within a distribution network and not having direct access to the transmission network.
Avoided transmission costs | As defined in the NER, r5.3AA(h).
Avoided TuOS payment | The payments made by a DNSP in accordance with clause 5.5(h) of the NER.
Prescribed TUOS services | As defined in the NER, Chapter 10.
Prescribed common transmission services | As defined in the NER, Chapter 10.
Profitability measures
Ownership Structure | For the purpose of determining the actual tax expenditure, the network service provider should identify their ownership structure as being a: (i) Private sector entity which is taxed as a company; or (ii) NTER entity; or (iii) government owned entity not reporting under the NTER; or (iv) flow-through entity. If the network service provider is a flow-through entity in which a NTER entity or a government entity not reporting under the NTER holds an interest in the network service provider’s assets, the network service provider should identify as a flow-through entity.
Flow through entity, flow through entities | Flow-through entities are those network service providers who are owned in legal structures which are treated as ‘transparent’ for income tax purposes, and include partnerships, trusts (other than Public Trading Trusts which are taxed as companies under Division 6C of the ITAA 1997) and stapled structures.
Blended tax rate | The blended applicable tax rate to be determined by network service providers who are flow-through entities having regard to the applicable tax rates for the initial recipients of the network service provider’s profits. This is determined according to the network service provider’s investor tax profile.
Tax asset base depreciation | The depreciation expenditure for tax purposes based on the regulatory rules.
Tax rate | The network service provider’s tax rate will be determined by the network service provider’s ownership structure.
Tax loss | The taxation loss of the network service provider, when the total deductions claim for the regulatory year, exceed the assessable income and net exempt income for the regulatory year.
Tax loss carried forward | The cumulative tax losses which have been carried forward from the previous regulatory year.
Taxable income adjustments | The adjustments made to network service provider’s accounting records to derive the requested information for its core regulated services.
Gifted assets | Network assets which are constructed by the customer(s) as an unrelated party and ‘gifted’ or transferred to the network service provider. This is net of the standard service charge.
Permanent differences due to disallowed interest expense | This is interest expenditure, which is non-deductible for tax purposes pursuant to the Income Tax Assessment Act 1997.
Permanent differences due to adjustments to prior year returns | This can occur when: a prior year’s income tax assessments for the network service provider are amended following dispute with the Australian Tax Office or a change in legislation (such as court judgement); the revenues or expenditure relating to the amendment is within the regulatory ring-fence; and the adjustment resulting from the amendment is permanent in nature.
Interest bearing liabilities | interest bearing liabilities are held by the network service provider at the beginning of the regulatory year to fund the operation of, and investment into, its core regulated services.
Related party | Any entity other than the network service provider that at any time during the regulatory year: (a) had, has or is expected to have control or significant influence over the network service provider; (b) was, is or is expected to be subject to control or significant influence from the network service provider; (c) was, is or is expected to be controlled by the same entity that controlled, controls or is expect to control the network service provider —referred to as a situation in which entities are subject to common control; (d) was, is or is expected to be controlled by the same entity that significantly influenced, influences or is expected to influence the network service provider; or (e) was, is or is expected to be significantly influenced by the same entity that controlled, controls or is expected to control the network service provider. Excludes any other entity that would otherwise be related solely due to normal dealings of: financial institutions; authorised trustee corporations as prescribed in Schedule 9 of the Corporations Act 2001 (Cth); fund managers; trade unions; statutory authorities; government departments; local governments; or where any of the entities identified above have novated or assigned a contract or arrangement to or from another entity (where that contract or arrangement relates to the provision of core regulated services by the network service provider), the entity to whom that contract or arrangement has been novated or assigned.
Interest expense | Interest and other expenditure incurred by the network service provider in relation to borrowings (for example, bonds, loans, convertible debt) or credit used to fund the network service provider’s core regulated services.
Revenue grouping by chargeable quantity
Fixed customer charges | Supply availability charges independent of usage.
Unmetered customer | A connection point whose energy use is NOT measured.
Connection charges | Charges for connection services.
Contracted Maximum Demand charges | Charges for contracted Maximum Demand that come into effect when a set level of demand is reached.
Controlled load customer charges | Charges for controlled load energy deliveries. Controlled load energy deliveries are energy deliveries where the supply of electricity is controlled by DNSP.
Energy Delivery charges where time of use is not a determinant | Supply availability charges independent of usage. See fixed customer charges.
Measured Maximum Demand charges | Charges calculated based on measured Maximum Demands, whether reset on a monthly basis or ratcheted. These do not include Contracted Maximum Demand Charges.
Metering charges | Charges for metering services.
Off–Peak Energy Delivery charges | Time of use charges for supplies at Off-peak Charging Periods.
On–Peak Energy Delivery charges | Time of use charges for supplies at On-peak Charging Periods.
Public lighting charges | Charges for public lighting services.
Shoulder period Energy Delivery Charge | Time of use charge for supplies at Shoulder Charging Periods.
Revenue grouping by customer type or class
High voltage demand tariff customer | Customers connected at high voltage on a demand tariff.
Low voltage demand tariff customer | Customer connected at low voltage on a demand tariff.
Non-residential customer not on demand tariff | A customer who is not a Residential Customers and who does not pay a demand-based tariff. These customers will typically pay a fixed charge and a charge based on energy consumption.
Other Customer (revenue grouping) | Any customer that can not be classified to one of the following categories: residential customer; Non-residential customer not on demand tariff; low voltage demand tariff customer; high voltage demand tariff customer; unmetered customer.
Residential Customer | A customer who purchases energy principally for personal, household or domestic use at premises.
Unmetered customer | A connection point whose energy use is NOT measured.
Revenue rewards and penalties - incentive schemes
Demand Management Incentive Scheme (DMIS) | The AER’s Demand Management Incentive Scheme encourages electricity network service providers (NSPs) to find lower-cost alternatives to investing in network capital expenditure. The DMIS will incentivise NSPs to undertake efficient expenditure on non-network options focusing on demand management.
F-Factor | An incentive scheme that provides incentives for DNSPs to reduce the risk of fire starts and reduce the risk of loss or damage caused by fire starts as set out by the Victorian Order in Council.
S-Factor True up | STPIS rewards or penalties adjustments to 'true-up' deferral of payments in prior years.
Capital expenditure sharing scheme (CESS) | A capex efficiency scheme applied by the AER which provides financial rewards for network service providers whose capex becomes more efficient and financial penalties for those that become less efficient. Consumers benefit from improved efficiency through lower regulated prices.
Customer service incentive scheme (CSIS) | A customer services incentive scheme applied by the AER. The scheme rewards Electricity Distribution Network Service Providers (DNSPs) for improving their customer service, or penalises them if service deteriorates.
Efficiency benefit sharing scheme (EBSS) | The AER's Efficiency benefit sharing scheme incentivises electricity network service providers to pursue efficiency improvements in operating expenditure and to share efficiency gains between NSPs and network users.
Service target performance incentive scheme (STPIS) | The AER's Service target performance incentive scheme provides networks with incentives for maintaining and improving network performance, to the extent that consumers are willing to pay for such improvements. The STPIS is intended to ensure that service levels do not reduce as result of efforts to achieve efficiency gains.
Other incentive schemes | Any other incentive scheme.
Public lighting revenue by tariff
Business defined tariff category | Tariff category used to charge for public lighting services.
Overheads expenditure
Network overheads | The provision of network, control and management services that cannot be directly identified with specific operational activity (such as routine maintenance, vegetation management, etc.). Network Overheads may include the following: (a) management (not directly related to any of the functions listed below) (b) network planning (i.e. system planning) (c) network control and operational switching personnel (d) quality and standards functions including standards & manuals, asset strategy (other than network planning), compliance, quality of supply, reliability, and network records (e.g. geographical information systems (GIS)) (e) project governance and related functions including supervision, procurement, works management, logistics and stores (f) training, OH&S functions, training, network billing and customer service & call centre (g) advertising/marketing (h) demand side management expenditure/ non-network alternatives (i) levies.
Corporate overheads | The provision of corporate support and management services by the corporate office that cannot be directly identified with specific operational activity. Corporate overhead costs typically include those for executive management, legal and secretariat, human resources, finance, and other corporate head office activities or departments.
Input expenditure categories
Direct material expenditure | Materials are the raw materials, standard parts, specialised parts and sub-assemblies required to assemble or manufacture a network/non-network asset or to provide a network/non-network service. Direct materials expenditures are attributable to a specific asset or service, cost centre, or work order, and exclude materials provided under external-party contracts. Includes: (a) the cost of scrap (b) normally anticipated defective units that occur in the ordinary course of the production process (c) routine quality assurance samples that are tested to destruction (d) the net invoice price paid to vendors to deliver the material quantity to the production facility or to a point of free delivery.
Direct labour expenditure | Labour expenditure attributable to a specific asset or service, cost centre, work activity, project or work order.
Contract expenditure | Expenditure relating to a legally binding contract.
Other expenditure (input expenditure categories) | Expenditure not classified as direct material expenditure, direct labour expenditure, or contract expenditure.
Related party contract expenditure | Expenditure relating to a contract between NSP and a Related Party for the provision of goods and/or services.
Related party contract margin expenditure | Expenditure relating to profit a Related Party gains above its total actual costs under a Related Party Contract with NSP. This profit may include margins, management fees or incentive payments.
Vegetation maintenance / Vegetation management | Activities that: are primarily directed at removing, altering, or managing vegetation to maintain safe or regulated clearances from distribution or transmission assets; and are not emergency or fault related activities; and are not initiated by a request from a distribution or transmission customer, excluding customers that are network service providers; and are not activities for which expenditure could be attributed to the AER expenditure category 'Augmentation, replacement, or non-routine maintenance activities triggered by a changed regulatory obligation or requirement'; and are not activities for which expenditure could be attributed to the AER expenditure category 'Augmentation, replacement, or non-routine maintenance activities triggered by a changed internal standard'. Includes tree cutting, undergrowth control, root management, waste disposal, use of herbicide and growth retardants, and encouragement of low-growth vegetation to prevent the establishment of high-growth vegetation. Includes: pre-cutting/trimming inspections; and inspections of vegetation to ensure that activities have been undertaken appropriately; and liaison with affected residents and landowners including the issue of trim/cut notices, and follow up calls on notices; and operational support such as any temporary generation used during the activity; and does not include: such items as "beautification" works, lawnmowing e.g. from natures strips, or office gardens, interior plant and aesthetic vegetation works; and any work done in proximity to non-network assets.
Routine maintenance | Recurrent/programmed activities undertaken to maintain assets, performed regardless of the condition of the asset. Costs of activities predominantly directed at discovering information on asset condition, and often undertaken at intervals that can be predicted. Activities to maintain asset condition and/or to maintain the capacity of the distribution system to distribute electricity, and where the activities are: (a) routine in nature; (b) indiscriminately carried out for a pre-defined set of assets; (c) scheduled to occur at pre-defined intervals. May include activities to inspect, survey, audit, test, repair, alter, or reconfigure assets. A pre-defined interval may be based on the number of times the asset has operated, or any other measure, if the future timing of the maintenance based on the measure can be predicted with a reasonable level of certainty. Excludes activities that are designed to increase or improve the capacity of the distribution system to distribute electricity, except where the increase or improvement is incidental to the maintenance of the distribution system. Excludes asset removal, asset replacement, new asset installation, vegetation management, and emergency response. May include: (a) functional and intrusive testing of assets, including spares and equipment; (b) helicopter, vehicle, and foot patrols, including negotiation of landowner access; (c) asset surveys; (d) environmental testing; (e) painting of network assets; (f) re-conductoring lines (g) indoor and outdoor maintenance of substations including lawn mowing, weed control, fencing. Includes load monitoring and switching activities attributable to routine asset maintenance.
Non-routine maintenance | Activities predominantly directed at managing asset condition or rectifying defects (excluding emergency call-outs). The timing of these activities depends on asset condition and decisions on when to maintain or replace the asset, which may vary over time and across NSPs. Activities to maintain asset condition and/or to maintain the capacity of the distribution system to distribute electricity, and where the activities are not routine in nature. The non-routine activities may be undertaken in a discriminate manner for individual assets. Excludes routine asset maintenance activities. Excludes activities that are designed to increase or improve the capacity of the distribution system to distribute electricity, except where the increase or improvement is incidental to the maintenance of the distribution system. Excludes asset removal, asset replacement, new asset installation, vegetation management, and emergency response. May include: (a) activities to inspect, survey, audit, test, repair, alter, or reconfigure assets (b) functional and intrusive testing of assets, including spares and equipment. Includes load monitoring and switching activities attributable to non-routine asset maintenance.
Emergency response | Activities to restore a failed component to an operational state including the work incurred where supply has been interrupted or assets damaged or rendered unsafe by a breakdown, making immediate operations and/or repairs necessary. Also includes activities primarily directed at maintaining network functionality and for which immediate rectification is necessary. These activities are primarily due to network failure caused by weather events, vandalism, traffic accidents or other physical interference by non-related entities.
Non-network expenditure | Includes ICT, Property, Fleet and other expenditure not directly related to the provision of network services.
ICT expenditure | Non-network expenditure directly attributable to ICT assets including replacement, installation, operation, maintenance, licensing, and leasing costs but excluding all costs associated with SCADA and Network Control assets that exist beyond gateway devices (routers, bridges etc.) at corporate offices.
Motor vehicle | Any motor vehicle registered for use on public roads excluding motor vehicles not generally moved large distances on public roads under their own power (e.g. excluding tractors, forklifts, backhoes, bobcats and any other road registered mobile plant).
Buildings and property expenditure | Expenditure directly attributable to non-network buildings and property assets including: the replacement, installation, operation and maintenance of non-network buildings, fittings and fixtures. It includes expenditure related to real chattels (e.g. interests in land such as a lease) but excludes expenditure related personal chattels (e.g. furniture) that should be reported under 'Other non-network expenditure'.
Other non-network assets | Non-network assets are non-network assets excluding those classified to ICT, Fleet, and buildings and property. Includes: (a) non road registered motor vehicles; non road motor vehicles (e.g. forklifts, boats etc.); (b) mobile plant and equipment; tools; trailers (road registered or not); (c) elevating work platforms not permanently mounted on motor vehicles; and (d) mobile generators.
Other non-network expenditure | Expenditure directly attributable to the replacement, installation, maintenance and operation of Other non-network assets.
Export services | Export services are services provided by distribution networks to accept and distribute energy generated within its network either behind the meter or front of meter.
Replacement capex (repex) | The non-demand driven capex to replace an asset with its modern equivalent where the asset has reached the end of its economic life. Capex has a primary driver of replacement expenditure if the factor determining the expenditure is the existing asset's inability to efficiently maintain its service performance requirement.
Pole | Vertically oriented assets that provide load bearing structural support for overhead conductors or other lines assets. This also includes associated pole top structures, such as cross-arms and insulators where these are replaced in conjunction with a pole replacement project. It excludes other pole mounted assets that are included in any other asset group, notably pole mounted substations and pole mounted switchgear such as links, fuses, air break switches etc.
Pole top structure | These are horizontally oriented structures and their components that provide support for overhead conductors and related assets to be supported on a pole and provide adequate clearances. A pole top structure is independently of the pole it is located on. This includes cross-arms and insulators. It excludes any pole mounted assets that are included in any other asset group, notably pole mounted substations and pole mounted switchgear such as links, fuses, air break switches etc.
Overhead conductor | An asset with the primary function of distributing power, above ground, within the distribution network. It excludes any pole mounted assets that are included in any other asset group.
Underground asset (cable) | An asset with the primary function of distributing power, below ground. This includes cables, cable joints and other assets used to connect the underground network to the overhead system. It excludes any pole mounted assets that are included in any other asset group. This does not include underground substations and transformers.
Service lines | Includes assets that provide a physical link and associated assets between the distribution network and a customer’s premises. It excludes any pole mounted assets and meters that are included in any other asset group.
Transformer | Assets used to transform voltage levels within the network. This includes all its components such as the cooling systems and tap changing equipment (where installed). It excludes any pole mounted assets that are included in any other asset category. For the avoidance of doubt, this does not include instrument transformers as defined in the National Electricity Rules. It also does not include auxiliary transformers.
Switchgear | These are assets used to control, protect and isolate segments of the network. This includes disconnect switches, fuses, circuit breakers, links, reclosers, sectionalisers, ring main units, oil insulated fuses etc. It excludes any pole mounted assets that are included in any other asset category.
Public lighting assets | Include luminaires, brackets, lamps and dedicated public lighting poles (not poles that deliver network services).
SCADA and network control and protection systems | SCADA and network control hardware, software and associated IT systems. Includes protection and control systems and communication systems. Excludes SCADA and Network Control systems that exist within gateway devices (routers, bridges etc.) at corporate offices. Protection systems has the meaning prescribed in the National Electricity Rules.
Other replacement expenditure | Any replacement expenditure not included in poles, pole top structures, overhead conductors, underground cables, service lines, transformers, switchgear, public lighting and SCADA networks control and protection systems categories.
Connection services | Has the meaning prescribed in the National Electricity Rules. As defined in the AER's Connection charge guidelines for electricity retail customers, June 2012, a Connection Service—means either or both of the following: (a) a service relating to a new connection for premises; (b) a service relating to a connection alteration for premises.
Augmentation capex | As defined under the National Electricity Rules (NER) as works to enlarge a network or to increase the capability of a network to transmit or distribute active energy.
Subtransmission substation | A substation on a distribution network that transforms any voltage to levels above 33 kV. A subtransmission substation includes a substation or parts of the substation owned and operated by DNSP associated with a connection point(s). As a guide, assets included within a subtransmission substation include all equipment, buildings, structures, civil works and other assets that are located permanently within the substation boundary fence; but excluding the landing spans of incoming or outgoing overhead lines, and excluding incoming or outgoing cables and associated cable terminations (cables includes all power, communications and control cables).
Switching station | A station that connects to multiple circuits but does not contain a transformer.
Zone substation | A substation on a distribution network that transforms any voltage above 33 kV to levels at or below 33 kV but above 1 kV. As a guide, assets included within a zone substation include all equipment, buildings, structures, civil works and other assets that are located permanently within the substation boundary fence; but excluding the landing spans of incoming or outgoing overhead lines, and excluding incoming or outgoing cables and associated cable terminations (cables includes all power, communications and control cables).
Subtransmission line | A distribution line with a nominal voltage that is above 33 kV, and connects a subtransmission substation to a zone substation. Includes all connected lines and cables from the point of origin to the normally-open points or line/cable terminations.
Distribution substation | A substation on a distribution network that transforms voltage of levels at or below 33 kV but above 1 kV to levels below 1 kV. As a guide, assets included within a distribution substation include all equipment permanently installed within the distribution substation boundary. Where applicable (such as indoor and outdoor substations), this includes any enclosures, structures, civil works, poles and associated hardware, cabling and other assets that are located permanently within the distribution substation boundary, but excludes any incoming or outgoing lines or cables . For the avoidance of doubt this does not include any building, structure, equipment, cabling, etc. located within the substation boundary that is the property or responsibility of third parties. Where applicable (such as for pole mounted substations), this also includes any poles, pole hardware, pole structures, links, surge diverters, fuses or protective devices, cabling and other assets forming part of the substation or its supports, but excluding incoming or outgoing overhead mains, cables and associated cable terminations (cables in this context includes all power, communications and control cables).
HV feeder | A distribution line with a nominal voltage that is at or below 33 kV and above 1 kV, and connects distribution substations to a zone substation. Includes all connected lines and cables from the point of origin (typically a zone substation) to the normally-open points or line/cable terminations.
LV feeder | A distribution line that is not a subtransmission line or a high voltage feeder or an overhead service wire or an underground service cable. Includes switchgear located on the feeder rather than in a subtransmission substation, zone substation, or distribution substation. Includes all non-transforming substations used to switch two or more distribution lines that are associated with the low voltage feeder.
Other augmentation expenditure | Any augmentation expenditure not included in subtransmission substations, switching stations, zone substations, subtransmission lines, distribution substations, HV feeders and LV feeders.
Public lighting services | The installation, operation, repair, replacement and maintenance of public lighting whether owned by the NSP or by another party. This also includes alteration and relocation of existing public lighting assets. Public lighting assets include luminaires, brackets, lamps and dedicated public lighting poles (not poles that deliver network services).
Public light installation | The installation on a major or minor road for the purpose of establishing new: luminaires, including associated components such as bracket and lamp. The installation may also include: Poles dedicated to public lighting services and underground or overhead cabling dedicated to public lighting services.
Public light replacement | The replacement, on a major or minor road, of any of the following public lighting assets: Luminaires; Brackets; Lamps; Poles dedicated to public lighting services; and Underground or overhead cabling dedicated to public lighting services. Light replacement costs should be estimated as the replacement of public lighting assets with their modern equivalent, where the public lighting assets have reached the end of their economic life.
Public light maintenance | The repair and inspection of the following public lighting assets on a major or minor road: Luminaires; Brackets; Lamps; Poles dedicated to public lighting services; and Underground or overhead cabling dedicated to public lighting services.
Metering services | Metering Services include: Meter purchase; Meter testing; Meter investigation; Scheduled meter reading; Special meter reading; New meter installation; Meter replacement; Meter maintenance; Other (all activities not captured by the defined meter service categories including those activities relating to type 7 meters).
Fee based services | Fee-based services are provided for the benefit of individual customers rather than uniformly supplied to all network customers. Some services of this type are homogenous in nature and scope. This means that these services are provided on a fixed fee basis. These services may, in some jurisdictions, be classified as ancillary network services charged on a fixed fee basis.
Quoted services | Services for which costs are recovered through quoted prices as the nature and scope of these services are specific to individual customers’ needs and vary from customer to customer. These services may, in some jurisdictions, be classified as ancillary network services charged on a quoted basis.
Provisions
Opex component | Amounts allocated to operating expenditure.
Capex component | Amounts allocated to capital expenditure.
Other component (provisions) | Amounts not allocated to opex or capex.

## Validations
Data category 09: Revenue and financial statements
Data validation is a process to improve data quality by checking the accuracy and quality of source data before using, importing or otherwise processing the data. Data validation rules provide the first level of data cleansing in the data quality process. They decrease the likelihood of errors at the point of data entry. Data validation rules cannot, however, guarantee data entry is correct, only that it has passed a pre-specified set of rules.
Validation Rules
Worksheet | Tables | input cells | Rules applying
Distribution business | Income statement | Audited statutory accounts | Number
NULL invalid
|  | Regulatory adjustments | Number
NULL invalid
| Jurisdictional scheme payments | Jurisdictional scheme name | Free text - consistent with previous year reporting, where applicable
|  | Description | Free text - consistent with previous year reporting, where applicable
|  | Date DNSP became subject to Scheme | DD/MM/YYYY
|  | Description of Cost Recovery Method | Free text - consistent with previous year reporting, where applicable
|  | Audited statutory accounts | Number
NULL invalid
|  | Regulatory adjustments | Number
NULL invalid
| Cross boundary expenditures | HV crossings - business defined charges | Free text - consistent with previous year reporting, where applicable
|  | Subtransmission crossing - business defined charges | Free text - consistent with previous year reporting, where applicable
|  | TUOS adjustment - business defined charges | Free text - consistent with previous year reporting, where applicable
|  | Audited statutory accounts | Number
NULL invalid
|  | Regulatory adjustments | Number
NULL invalid
| TUOS expenditure | Distribution business | Number
≥0
NULL invalid
|  | Audited statutory accounts | Number
NULL invalid
|  | Regulatory adjustments | Number
NULL invalid
|  | Transmission connection fees - Connection/augmentation identifiers (business defined) | Free text - consistent with previous year reporting, where applicable
|  | Avoided transmission costs - embedded generator | Free text - consistent with previous year reporting, where applicable
|  | Avoided TUOS payments - embedded generator | Free text - consistent with previous year reporting, where applicable
| Demand management | Business specified projects | Free text - must align with projects submitted for approval
|  | Relevant net benefit | Number
≥0
NULL invalid
Standard control | Income statement | SCS (excluding Dual Function Assets) | Number
≥0
NULL invalid
|  | Dual function assets | Number
≥0
NULL invalid
|  | Other revenue - business revenue descriptors | Free text - consistent with previous year reporting, where applicable
|  | Other expenditure - business expenditure descriptors | Free text - consistent with previous year reporting, where applicable
| Profitability - tax data | Ownership structure | Free text, may include cross reference to other document
|  | Ownership structure - Proportions and tax rates | ≥0; ≤ 1
Number (1 = 100%)
NULL invalid
|  | Tax asset base depreciation | Number
≥0
NULL invalid
|  | Tax rate | ≥0; ≤ 1
Number (1 = 100%)
NULL invalid
|  | Taxable income adjustments (all rows) | Number
≥0
NULL invalid
|  | Interest expense - Debt and Equity (all rows) | Number
≥0
NULL invalid
| Disaggregated revenue | Revenue grouping by chargeable quantity; Revenue grouping by customer type of class | Number
≥0
NULL invalid
| Disaggregated revenue | Revenue rewards and penalties - incentive schemes | Number
NULL invalid
| Jurisdictional scheme payments | Jurisdictional scheme name | Free text - consistent with previous year reporting, where applicable
|  | Description | Free text - consistent with previous year reporting, where applicable
|  | Date DNSP became subject to Scheme | DD/MM/YYYY
|  | Description of Cost Recovery Method | Free text - consistent with previous year reporting, where applicable
|  | Standard control services | Number
≥0
NULL invalid
| Cross boundary expenditures | HV crossings - business defined charges | Free text - consistent with previous year reporting, where applicable
|  | Subtransmission crossing - business defined charges | Free text - consistent with previous year reporting, where applicable
|  | TUOS adjustment - business defined charges | Free text - consistent with previous year reporting, where applicable
|  | Standard control services | Number
≥0
NULL invalid
| TUOS expenditure | Standard control services | Number
≥0
NULL invalid
|  | Transmission connection fees - Connection/augmentation identifiers (business defined) | Free text - consistent with previous year reporting, where applicable
|  | Avoided transmission costs - embedded generator | Free text - consistent with previous year reporting, where applicable
|  | Avoided TUOS payments - embedded generator | Free text - consistent with previous year reporting, where applicable
Alternative control | Income statement | All service classifications | Number
≥0
NULL invalid
| Public lighting revenue by tariff | Business defined tariff categories | Free text - consistent with previous year reporting, where applicable. Must match tariff categories in data category 03 - Network Metrics
|  | Public Lighting total | Number
≥0
NULL invalid
| Revenue Grouping by customer type or class | Total ACS | Number
≥0
NULL valid
Other services | Income statement | All service classifications | Number
≥0
NULL invalid
| Overheads expenditure | All service classifications | Number
≥0
NULL invalid
| Unregulated revenue earned with shared assets | Unregulated services | Number
≥0
NULL invalid
|  | Business defined shared asset | Free text - consistent with previous year reporting, where applicable
|  | Type of asset | Free text - consistent with previous year reporting, where applicable
Total expenditure | Input expenditure category | Relevant service classifications | Number
≥0
NULL invalid
| Public lighting activities | Alternative control services | Number
≥0
NULL invalid
Provisions | Total Provisions | Business specific provision | Free text - consistent with previous year reporting, where applicable
|  | Standard control services | Number
≥0
NULL valid

## Checks and Totals
Data category 09: Revenue and financial statements
Totals and Data Hierarchies
Worksheet | Table | Sub table | Reference |  | Worksheet | Table | Sub table | Reference | Check
Distribution business | Total revenue |  |  | = | Standard control | Total Revenue |  |  | TRUE
ACS
Negotiated
Distribution business | Total expenditure |  |  | = | Standard control | Total expenditure |  |  | TRUE
ACS
Negotiated
Standard Control | Disaggregated Revenue | Revenue Grouping By Chargeable Quantity | Total | = | Standard Control | Income statement | Total revenue | Total | TRUE
Standard Control | Disaggregated Revenue | Revenue Grouping By Customer Type Or Class | Total | = | Standard Control | Income statement | Total revenue | Total | TRUE
Standard Control | Net Jurisdictional Scheme Payments |  | Total | = |  |  |  |  | TRUE
|  |  |  | less | Standard control | Income statement | Total revenue | Jurisdictional scheme revenue
[5 empty] | Standard control | Income statement | Total expenditure | Jurisdictional scheme payments
ACS | Disaggregated Revenue | Revenue Grouping By Chargeable Quantity | Total | = | ACS | Income statement | Total revenue | Total | TRUE
ACS | Disaggregated Revenue | Revenue Grouping By Customer Type Or Class | Total | = | ACS | Income statement | Total revenue | Total | TRUE

## Distribution Business
Data category 09: Revenue and financial statements
SERVICE CLASSIFICATIONS
Stakeholder Comments |  |  |  |  | Units | Audited Statutory Accounts | Regulatory Adjustments | Distribution Business | Current RIN reference | Assurance standard - Financial data
| Income statement | [8 empty] | Actual | Estimated
| TOTAL REVENUE |  |  |  |  | 0 | 0 | 0 | AR8.1.1.1
| Distribution revenue (excluding DFA revenues) |  |  |  | $ |  |  | 0 | AR8.1.1.1 | ASA805 | ASRE2405
| Dual function asset revenue |  |  |  | $ |  |  | 0 | AR8.1.1.1 | ASA805 | ASRE2405
| TUOS revenue |  |  |  | $ | 0 | 0 | 0 | AR8.1.1.1 | ASA805 | ASRE2405
| Cross boundary revenue |  |  |  | $ |  |  | 0 | AR8.1.1.1 | ASA805 | ASRE2405
| Other TUOS revenue |  |  |  | $ |  |  | 0 | AR8.1.1.1 | ASA805 | ASRE2405
| Jurisdictional scheme revenue |  |  |  | $ |  |  | 0 | AR8.1.1.1 | ASA805 | ASRE2405
| Other revenue |  |  |  | $ |  |  | 0 | AR8.1.1.1 | ASA805 | ASRE2405
| EXPENDITURE |  |  |  |  | 0 | 0 | 0 | AR8.1.1.2
| TUOS expenditure |  |  |  | $ | 0 | 0 | 0 | AR8.1.1.2 | ASA805 | ASRE2405
| Cross boundary expenditure |  |  |  | $ |  |  | 0 | AR8.1.1.2 | ASA805 | ASRE2405
| Other TUOS expenditure |  |  |  | $ |  |  | 0 | AR8.1.1.2 | ASA805 | ASRE2405
| Jurisdictional scheme payments |  |  |  | $ |  |  | 0 | AR8.1.1.2 | ASA805 | ASRE2405
| Maintenance expenditure |  |  |  | $ |  |  | 0 | AR8.1.1.2 | ASA805 | ASRE2405
| Operating expenditure excluding maintenance expenditure |  |  |  | $ |  |  | 0 | AR8.1.1.2 | ASA805 | ASRE2405
| Other expenditure |  |  |  | $ |  |  | 0 | AR8.1.1.2 | ASA805 | ASRE2405
Jurisdictional scheme payments
| Jurisdictional Scheme Name | Description | Date DNSP became subject to Scheme | Description of Cost Recovery Method
| <Scheme 1> | <Description 1> | DDMMYYYY | <Description recovery 1> | $ |  |  | 0 | AR7.10.1 | ASA805 | ASRE2405
| <Scheme 2> | <Description 2> | DDMMYYYY | <Description recovery 2> | $ |  |  | 0 | AR7.10.1 | ASA805 | ASRE2405
| <Scheme 3> | <Description 3> | DDMMYYYY | <Description recovery 3> | $ |  |  | 0 | AR7.10.1 | ASA805 | ASRE2405
| <Scheme 4> | <Description 4> | DDMMYYYY | <Description recovery 4> | $ |  |  | 0 | AR7.10.1 | ASA805 | ASRE2405
| <Scheme 5> | <Description 5> | DDMMYYYY | <Description recovery 5> | $ |  |  | 0 | AR7.10.1 | ASA805 | ASRE2405
Cross boundary expenditures
| CROSS BOUNDARY NETWORK CHARGES |  |  |  |  | 0 | 0 | 0
| HV CROSSINGS |  |  |  |  | 0 | 0
| <Business defined charge 1> |  |  |  | $ |  |  | 0 | AR9.5.3 | ASA805 | ASRE2405
| <Business defined charge 2> |  |  |  | $ |  |  | 0 | AR9.5.3 | ASA805 | ASRE2405
| <Business defined charge 3> |  |  |  | $ |  |  | 0 | AR9.5.3 | ASA805 | ASRE2405
<additional rows allowed>
| SUBTRANSMISSION CROSSINGS |  |  |  |  | 0 | 0
| <Business defined charge 1> |  |  |  | $ |  |  | 0 | AR9.5.3 | ASA805 | ASRE2405
| <Business defined charge 2> |  |  |  | $ |  |  | 0 | AR9.5.3 | ASA805 | ASRE2405
| <Business defined charge 3> |  |  |  | $ |  |  | 0 | AR9.5.3 | ASA805 | ASRE2405
<additional rows allowed>
| TUOS ADJUSTMENT |  |  |  |  | 0 | 0
| <Business defined charge 1> |  |  |  | $ |  |  | 0 | AR9.5.3 | ASA805 | ASRE2405
| <Business defined charge 2> |  |  |  | $ |  |  | 0 | AR9.5.3 | ASA805 | ASRE2405
| <Business defined charge 3> |  |  |  | $ |  |  | 0 | AR9.5.3 | ASA805 | ASRE2405
<additional rows allowed>
TUOS expenditure
| TUOS CHARGES | [6 empty] | 0 | AR9.5.1
| Payments to TNSP/AEMO (Prescribed TUOS Services) |  |  |  | $ |  |  |  | AR9.5.1 | ASA805 | ASRE2405
| Payments to TNSP/AEMO (Prescribed common transmission services) |  |  |  | $ |  |  |  | AR9.5.1 | ASA805 | ASRE2405
| Grid equalisation |  |  |  | $ |  |  |  | AR9.5.1 | ASA805 | ASRE2405
| Other TUOS charges |  |  |  | $ |  |  |  | AR9.5.1 | ASA805 | ASRE2405
| TRANSMISSION CONNECTION FEES |  |  |  | $ |  |  | 0 | AR9.5.2
| <TNSP 1 connection/augmentation fees> |  |  |  | $ |  |  |  | AR9.5.2 | ASA805 | ASRE2405
| <TNSP 2 connection/augmentation fees> |  |  |  | $ |  |  |  | AR9.5.2 | ASA805 | ASRE2405
| <TNSP 3 connection/augmentation fees> |  |  |  | $ |  |  |  | AR9.5.2 | ASA805 | ASRE2405
<additional rows allowed>
| PAYMENTS TO EMBEDDED GENERATORS |  |  |  | $ | 0 | 0 | 0
| Avoided transmission costs |  |  |  | $ | 0 | 0
| <Business specified avoided transmission cost 1> |  |  |  | $ |  |  |  | AR9.5.4 | ASA805 | ASRE2405
| <Business specified avoided transmission cost 2> |  |  |  | $ |  |  |  | AR9.5.4 | ASA805 | ASRE2405
| <Business specified avoided transmission cost 3> |  |  |  | $ |  |  |  | AR9.5.4 | ASA805 | ASRE2405
<additional rows allowed>
| Avoided TuOS |  |  |  | $ | 0 | 0
| <Business specified avoided TuOS 1> |  |  |  | $ |  |  |  | AR9.5.4 | ASA805 | ASRE2405
| <Business specified avoided TuOS 2> |  |  |  | $ |  |  |  | AR9.5.4 | ASA805 | ASRE2405
| <Business specified avoided TuOS 3> |  |  |  | $ |  |  |  | AR9.5.4 | ASA805 | ASRE2405
<additional rows allowed>
| Demand management | [6 empty] | Relevant net benefit
| DMIS - PROJECTS SUBMITTED FOR APPROVAL | [6 empty] | 0
| <Business specified Project 1> |  |  |  | $ |  |  |  | AR7.11.1 | ASA805 | ASRE2405
| <Business specified Project 2> |  |  |  | $ |  |  |  | AR7.11.1 | ASA805 | ASRE2405
| <Business specified Project 3> |  |  |  | $ |  |  |  | AR7.11.1 | ASA805 | ASRE2405
<additional rows allowed>

## Standard Control
Data category 09: Revenue and financial statements
SERVICE CLASSIFICATIONS
Stakeholder Comments |  |  |  |  | Units | Standard Control Services | SCS (excluding Dual Function Assets) | Dual Function Assets | Current RIN reference | Assurance standard - Financial data
| Income statement | [8 empty] | Actual | Estimated
1) In the old template, TUOS revenue and Cross boundary revenue were disclosed separtely and placed at the same level of the hierachy. Cross boundary revenue was always nil for Ausgrid historically. 2) These rows are misding in the new template: "Capital contribution", "Interest income", "Profit from sale of fixed assets", "Recoverable works" | TOTAL REVENUE |  |  |  |  | 0 | 0 | 0
| Distribution revenue (excluding DFA revenues) |  |  |  | $ | 0 |  |  | AR8.1.1 | ASA805 | ASRE2405
| Dual function asset revenue |  |  |  | $ | 0 |  |  | AR8.1.1 | ASA805 | ASRE2405
| TUOS revenue |  |  |  | $ | 0 | 0 | 0 | AR8.1.1
| Cross boundary revenue |  |  |  | $ | 0 |  |  | AR8.1.1 | ASA805 | ASRE2405
| Other TUOS revenue |  |  |  | $ | 0 |  |  | AR8.1.1 | ASA805 | ASRE2405
| Jurisdictional scheme revenue |  |  |  | $ | 0 |  |  | AR8.1.1 | ASA805 | ASRE2405
| Other revenue |  |  |  | $ | 0 | 0 | 0 | AR8.1.1
| Other revenue |  |  |  |  | 0 | 0 | 0
| <Business revenue descriptor 1> |  |  |  | $ | 0 |  |  | AR8.1.1.2 | ASA805 | ASRE2405
| <Business revenue descriptor 2> |  |  |  | $ | 0 |  |  | AR8.1.1.2 | ASA805 | ASRE2405
| <Business revenue descriptor 3> |  |  |  | $ | 0 |  |  | AR8.1.1.2 | ASA805 | ASRE2405
<additional rows allowed>
| EXPENDITURE |  |  |  |  | 0 | 0 | 0 | AR8.1.1.2
| TUOS expenditure |  |  |  | $ | 0 | 0 | 0
| Cross boundary expenditure |  |  |  | $ | 0 |  |  | AR8.1.1.2 | ASA805 | ASRE2405
| Other TUOS expenditure |  |  |  | $ | 0 |  |  | AR8.1.1.2 | ASA805 | ASRE2405
| Jurisdictional scheme payments |  |  |  | $ | 0 |  |  | AR8.1.1.2 | ASA805 | ASRE2405
| Maintenance expenditure |  |  |  | $ | 0 |  |  | AR8.1.1.2 | ASA805 | ASRE2405
| Operating expenditure excluding maintenance expenditure |  |  |  | $ | 0 |  |  | AR8.1.1.2 | ASA805 | ASRE2405
| Other expenditure |  |  |  | $ | 0 | 0 | 0 | AR8.1.1.2
| Other expenditure |  |  |  |  | 0 | 0 | 0
| <Business expenditure descriptor 1> |  |  |  | $ | 0 |  |  | AR8.1.1.2 | ASA805 | ASRE2405
| <Business expenditure descriptor 2> |  |  |  | $ | 0 |  |  | AR8.1.1.2 | ASA805 | ASRE2405
| <Business expenditure descriptor 3> |  |  |  | $ | 0 |  |  | AR8.1.1.2 | ASA805 | ASRE2405
<additional rows allowed>
Profitability - Tax data
OWNERSHIP STRUCTURE
| Ownership Structure |  |  |  | text |  |  |  | NEW IR
| Proportion of holding interest in flow-through vehicle attributable to a NTER or government owned non-NTER entity |  |  |  | % |  |  |  | NEW IR | ASA805 | ASRE2405
| Tax rate applicable to holding interest attributable to a NTER or government-owned non-NTER entity |  |  |  | % |  |  |  | NEW IR | ASA805 | ASRE2405
| Proportion of holding interest in flow-through vehicle not attributable to a NTER or government owned non-NTER entity |  |  |  | % |  |  |  | NEW IR | ASA805 | ASRE2405
| Tax rate applicable to holding interest not attributable to a NTER or government owned non-NTER entity |  |  |  | % |  |  |  | NEW IR | ASA805 | ASRE2405
| Flow-though blended tax rate |  |  |  | % | 0 |  |  | NEW IR
TAX RELATED INFORMATION
Tax rate should be a formula linking to cell K42 Confirm that we no longer need to report tax losses used during the year. We note that the AER has changed it treats tax losses in the calculation of return on regulated equity however had not had time to properly review and assess. | Tax asset base depreciation |  |  |  | $ |  |  |  | NEW IR | ASA805 | ASRE2405
| Tax rate |  |  |  | % |  |  |  | NEW IR | ASA805 | ASRE2405
Taxable income adjustments
| Tax loss carried forward |  |  |  | $ |  |  |  | NEW IR | ASA805 | ASRE2405
| Total taxable revenue and/or income for customer contributions and/or gifted assets |  |  |  | $ |  |  |  | NEW IR | ASA805 | ASRE2405
| Permanent differences due to disallowed interest expense |  |  |  | $ |  |  |  | NEW IR | ASA805 | ASRE2405
| Permanent differences due to adjustments to prior year returns |  |  |  | $ |  |  |  | NEW IR | ASA805 | ASRE2405
INTEREST EXPENSE
Debt and Equity
| Interest bearing liabilities |  |  |  | $ |  |  |  | NEW IR | ASA805 | ASRE2405
| Related party interest expense |  |  |  | $ |  |  |  | NEW IR | ASA805 | ASRE2405
| Interest expense |  |  |  | $ |  |  |  | NEW IR | ASA805 | ASRE2405
Disaggregated revenue
| REVENUE GROUPING BY CHARGEABLE QUANTITY |  |  |  |  | 0
Can the AER confirm that the revenue reported in this table for all categories except "other charges" is Ausgrid's revenue recovered through DUOS and that "other charges" line item is where we report our TUOS revenue? | Fixed Customer Charges |  |  |  | $ |  |  |  | EB3.1.1 | ASA805 | ASRE2405
| Energy Delivery charges where time of use is not a determinant |  |  |  | $ |  |  |  | EB3.1.1 | ASA805 | ASRE2405
| On–Peak Energy Delivery charges |  |  |  | $ |  |  |  | EB3.1.1 | ASA805 | ASRE2405
| Shoulder period Energy Delivery Charges |  |  |  | $ |  |  |  | EB3.1.1 | ASA805 | ASRE2405
| Off–Peak Energy Delivery charges |  |  |  | $ |  |  |  | EB3.1.1 | ASA805 | ASRE2405
| Controlled load customer charges |  |  |  | $ |  |  |  | EB3.1.1 | ASA805 | ASRE2405
| Unmetered customers |  |  |  | $ | 0 |  |  | EB3.1.1
| Contracted Maximum Demand charges |  |  |  | $ |  |  |  | EB3.1.1 | ASA805 | ASRE2405
| Measured Maximum Demand charges |  |  |  | $ |  |  |  | EB3.1.1 | ASA805 | ASRE2405
| Metering charges |  |  |  | $ |  |  |  | EB3.1.1 | ASA805 | ASRE2405
| Connection charges |  |  |  | $ |  |  |  | EB3.1.1 | ASA805 | ASRE2405
| Public lighting charges |  |  |  | $ |  |  |  | EB3.1.1 | ASA805 | ASRE2405
| Other charges |  |  |  | $ |  |  |  | EB3.1.1 | ASA805 | ASRE2405
| REVENUE GROUPING BY CUSTOMER TYPE OR CLASS |  |  |  |  | 0
| Residential Customers |  |  |  | $ |  |  |  | EB3.1.2 | ASA805 | ASRE2405
| Non residential customers not on demand tariffs |  |  |  | $ |  |  |  | EB3.1.2 | ASA805 | ASRE2405
| Low voltage demand tariff customers |  |  |  | $ |  |  |  | EB3.1.2 | ASA805 | ASRE2405
| High voltage demand tariff customers |  |  |  | $ |  |  |  | EB3.1.2 | ASA805 | ASRE2405
| Unmetered customers |  |  |  | $ |  |  |  | EB3.1.2 | ASA805 | ASRE2405
| Other Customers |  |  |  | $ |  |  |  | EB3.1.2 | ASA805 | ASRE2405
| REVENUE REWARDS AND PENALTIES - INCENTIVE SCHEMES |  |  |  |  | 0
Should DMIA and DMIS have their own rows? | EBSS |  |  |  | $ |  |  |  | EB3.1.3 | ASA805 | ASRE2405
| CESS |  |  |  | $ |  |  |  | EB3.1.3 | ASA805 | ASRE2405
| STPIS |  |  |  | $ |  |  |  | EB3.1.3 | ASA805 | ASRE2405
| CSIS |  |  |  | $ |  |  |  | EB3.1.3 | ASA805 | ASRE2405
| S-Factor True up |  |  |  | $ |  |  |  | EB3.1.3 | ASA805 | ASRE2405
| F-Factor |  |  |  | $ |  |  |  | EB3.1.3 | ASA805 | ASRE2405
| Other incentive schemes |  |  |  | $ |  |  |  | EB3.1.3 | ASA805 | ASRE2405
Jurisdictional scheme payments
| Jurisdictional Scheme Name | Description | Date DNSP became subject to Scheme | Description of Cost Recovery Method
| <Scheme 1> | <Description 1> | <Date 1> | <Description recovery 1> | $ |  |  |  | AR7.10.1 | ASA805 | ASRE2405
| <Scheme 2> | <Description 2> | <Date 2> | <Description recovery 2> | $ |  |  |  | AR7.10.1 | ASA805 | ASRE2405
| <Scheme 3> | <Description 3> | <Date 3> | <Description recovery 3> | $ |  |  |  | AR7.10.1 | ASA805 | ASRE2405
| <Scheme 4> | <Description 4> | <Date 4> | <Description recovery 4> | $ |  |  |  | AR7.10.1 | ASA805 | ASRE2405
| <Scheme 5> | <Description 5> | <Date 5> | <Description recovery 5> | $ |  |  |  | AR7.10.1 | ASA805 | ASRE2405
Cross boundary expenditures
HV CROSSINGS
| <Business defined charge 1> |  |  |  | $ |  |  |  | AR9.5.3 | ASA805 | ASRE2405
| <Business defined charge 2> |  |  |  | $ |  |  |  | AR9.5.3 | ASA805 | ASRE2405
| <Business defined charge 3> |  |  |  | $ |  |  |  | AR9.5.3 | ASA805 | ASRE2405
<additional rows allowed>
SUBTRANSMISSION CROSSINGS
| <Business defined charge 1> |  |  |  | $ |  |  |  | AR9.5.3 | ASA805 | ASRE2405
| <Business defined charge 2> |  |  |  | $ |  |  |  | AR9.5.3 | ASA805 | ASRE2405
| <Business defined charge 3> |  |  |  | $ |  |  |  | AR9.5.3 | ASA805 | ASRE2405
<additional rows allowed>
TUOS ADJUSTMENT
| <Business defined charge 1> |  |  |  | $ |  |  |  | AR9.5.3 | ASA805 | ASRE2405
| <Business defined charge 2> |  |  |  | $ |  |  |  | AR9.5.3 | ASA805 | ASRE2405
| <Business defined charge 3> |  |  |  | $ |  |  |  | AR9.5.3 | ASA805 | ASRE2405
<additional rows allowed>
TUOS expenditure
TUOS CHARGES
| Payments to TNSP/AEMO (Prescribed TUOS Services) |  |  |  | $ |  |  |  | AR9.5.1 | ASA805 | ASRE2405
| Payments to TNSP/AEMO (Prescribed common transmission services) |  |  |  | $ |  |  |  | AR9.5.1 | ASA805 | ASRE2405
| Grid equalisation |  |  |  | $ |  |  |  | AR9.5.1 | ASA805 | ASRE2405
| Other TUOS charges |  |  |  | $ |  |  |  | AR9.5.1 | ASA805 | ASRE2405
TRANSMISSION CONNECTION FEES
| <TNSP 1 Connection> |  |  |  | $ |  |  |  | AR9.5.2 | ASA805 | ASRE2405
| <TNSP 1 Augmentation> |  |  |  | $ |  |  |  | AR9.5.2 | ASA805 | ASRE2405
| <TNSP 2 Connection> |  |  |  | $ |  |  |  | AR9.5.2 | ASA805 | ASRE2405
| <TNSP 2 Augmentation> |  |  |  | $ |  |  |  | AR9.5.2 | ASA805 | ASRE2405
| <TNSP 3 Connection> |  |  |  | $ |  |  |  | AR9.5.2 | ASA805 | ASRE2405
| <TNSP 3 Augmentation> |  |  |  | $ |  |  |  | AR9.5.2 | ASA805 | ASRE2405
<additional connection and augmentation rows allowed>
PAYMENTS TO EMBEDDED GENERATORS
Avoided transmission costs
| <Embedded Generator 1> |  |  |  | $ |  |  |  | AR9.5.4.1 | ASA805 | ASRE2405
| <Embedded Generator 2> |  |  |  | $ |  |  |  | AR9.5.4.1 | ASA805 | ASRE2405
| <Embedded Generator 3> |  |  |  | $ |  |  |  | AR9.5.4.1 | ASA805 | ASRE2405
<additional rows allowed>
| Avoided TUOS payments |  |  |  |  | 0 |  |  | AR7.8.1
| <Embedded Generator 1> |  |  |  | $ |  |  |  | AR9.5.4.2 | ASA805 | ASRE2405
| <Embedded Generator 2> |  |  |  | $ |  |  |  | AR9.5.4.2 | ASA805 | ASRE2405
| <Embedded Generator 3> |  |  |  | $ |  |  |  | AR9.5.4.2 | ASA805 | ASRE2405
<additional rows allowed>
Other avoided TUOS payments
| Payments to Market networks service providers |  |  |  | $ |  |  |  | AR7.8.1 | ASA805 | ASRE2405
| Payments to other recipients |  |  |  | $ |  |  |  | AR7.8.1 | ASA805 | ASRE2405

## Alternative control
Data category 09: Revenue and financial statements
SERVICE CLASSIFICATIONS
Alternative Control Services
Stakeholder Comments |  |  | Total ACS | Public Lighting |  |  | Metering services |  |  | Connection services | Fee based services | Quoted services
|  | Units |  | Total | Energy Efficient | Non-energy efficient | Total | Smart meters | Legacy meters |  |  |  | Current RIN reference | Assurance standard - Financial data
1) The AER's definitions should define "energy efficient" and "non-energy efficient" 2) There is no definition for "smart meters". It is also difficult to see how "smart meters" would be a distribution service or ACS given that advanced metering is an unregulated metering in NSW. Please clarify that "smart meters" is limited to AMI in Victoria 3) The following rows are missing in the new template: "Capital contribution", "Interest income", "Profit from sale of fixed assets". 4) Can the AER clarify the definition of "other ACS revenue" 5) The "metering service" column should include metering related ancillary network services to reflect how we have reported the total revenue from metering services in our RIN responses to date. | Income statement | [12 empty] | Actual | Estimated
| TOTAL REVENUE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | AR8.1.1
| Distribution revenue (excluding DFA revenues) | $ | 0 | 0 |  |  | 0 | [5 empty] | AR8.1.1 | ASA805 | ASRE2405
| Other ACS revenue | $ | 0 | 0 |  |  | 0 | [5 empty] | AR8.1.1 | ASA805 | ASRE2405
| EXPENDITURE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | AR8.1.1.2
These rows are missing in the new template: "Depreciation" and "Finance charges". | Maintenance expenditure | $ | 0 | 0 |  |  | 0 | [5 empty] | AR8.1.1.2 | ASA805 | ASRE2405
| Operating expenditure excluding maintenance expenditure | $ | 0 | 0 |  |  | 0 | [5 empty] | AR8.1.1.2 | ASA805 | ASRE2405
| Other expenditure | $ | 0 | 0 |  |  | 0 | [5 empty] | AR8.1.1.2 | ASA805 | ASRE2405
Public lighting revenue by tariff
BUSINESS DEFINED TARIFF CATEGORIES
| <Business defined category 1> | $ | [10 empty] | AR4.1.4 | ASA805 | ASRE2405
| <Business defined category 2> | $ | [10 empty] | AR4.1.4 | ASA805 | ASRE2405
| <Business defined category 3> | $ | [10 empty] | AR4.1.4 | ASA805 | ASRE2405
| <Business defined category 4> | $ | [10 empty] | AR4.1.4 | ASA805 | ASRE2405
| <Business defined category 5> | $ | [10 empty] | AR4.1.4 | ASA805 | ASRE2405
<additional rows allowed>
Revenue grouping by chargeable quantity
| Revenue from metering charges |  | 0 | [9 empty] | EB3.1.1
| Revenue from connection charges |  | 0 | [9 empty] | EB3.1.1
| Revenue from public lighting charges |  | 0 | [9 empty] | EB3.1.1
| Revenue from other Sources |  | 0 | [9 empty] | EB3.1.1
Revenue grouping by customer type or class
| Revenue from residential Customers | $ | [10 empty] | EB3.1.2 | ASA805 | ASRE2405
| Revenue from non-residential customers not on demand tariffs | $ | [10 empty] | EB3.1.2 | ASA805 | ASRE2405
| Revenue from non-residential low voltage demand tariff customers | $ | [10 empty] | EB3.1.2 | ASA805 | ASRE2405
| Revenue from non-residential high voltage demand tariff customers | $ | [10 empty] | EB3.1.2 | ASA805 | ASRE2405
| Revenue from unmetered supplies | $ | [10 empty] | EB3.1.2 | ASA805 | ASRE2405
| Revenue from Other Customers | $ | [10 empty] | EB3.1.2 | ASA805 | ASRE2405

## Other Services
Data category 09: Revenue and financial statements
SERVICE CLASSIFICATIONS
Stakeholder Comments |  |  |  | Negotiated services | Unregulated services | Current RIN reference | Assurance standard - Financial data
| Income statement | [5 empty] | Actual | Estimated
| TOTAL REVENUE |  | Units | 0 | 0
Ausgrid does not provide negotiated distribution services | Distribution revenue (excluding DFA revenues) |  | $ |  |  | AR8.1.1 | ASA805 | ASRE2405
| Dual function asset revenue |  | $ |  |  | AR8.1.1 | ASA805 | ASRE2405
| TUOS revenue |  | $ |  |  | AR8.1.1 | ASA805 | ASRE2405
| Cross boundary revenue |  | $ |  |  | AR8.1.1 | ASA805 | ASRE2405
| Other TUOS revenue |  | $ |  |  | AR8.1.1 | ASA805 | ASRE2405
| Jurisdictional scheme amounts |  | $ |  |  | AR8.1.1 | ASA805 | ASRE2405
| Other revenue |  | $ |  |  | AR8.1.1 | ASA805 | ASRE2405
| EXPENDITURE |  |  | 0 | 0
Ausgrid does not provide negotiated distribution services | TUOS expenditure |  | $ |  |  | AR8.1.1.2 | ASA805 | ASRE2405
| Cross boundary expenditure |  | $ |  |  | AR8.1.1.2 | ASA805 | ASRE2405
| Other TUOS expenditure |  | $ |  |  | AR8.1.1.2 | ASA805 | ASRE2405
| Jurisdictional scheme amounts |  | $ |  |  | AR8.1.1.2 | ASA805 | ASRE2405
| Maintenance expenditure |  | $ |  |  | AR8.1.1.2 | ASA805 | ASRE2405
| Operating expenditure excluding maintenance expenditure |  | $ |  |  | AR8.1.1.2 | ASA805 | ASRE2405
| Other expenditure |  | $ |  |  | AR8.1.1.2 | ASA805 | ASRE2405
Overheads expenditure
OTHER DISTRIBUTION SERVICES
| Network overheads |  | $ |  |  | CA2.10(A) | ASA805 | ASRE2405
| Corporate overheads |  | $ |  |  | CA2.10(A) | ASA805 | ASRE2405
Unregulated revenue earned with shared assets
| <Business defined shared asset unregulated service 1> | <type of assets used to provide service> | $ |  |  | Reset 7.4.1 | ASA805 | ASRE2405
| <Business defined shared asset unregulated service 2> | <type of assets used to provide service> | $ |  |  | Reset 7.4.1 | ASA805 | ASRE2405
| <Business defined shared asset unregulated service 3> | <type of assets used to provide service> | $ |  |  | Reset 7.4.1 | ASA805 | ASRE2405

## Total expenditure
Data category 09: Revenue and financial statements
SERVICE CLASSIFICATIONS
Stakeholder Comments |  |  | Standard control services | Alternative control services | Current RIN reference | Assurance standard - Financial data
| Input expenditure category |  |  |  |  | Actual | Estimated
VEGETATION MANAGEMENT
| Direct Material Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
ROUTINE MAINTENANCE
| Direct Material Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
NON-ROUTINE MAINTENANCE
| Direct Material Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
EMERGENCY RESPONSE OPEX
| Direct Material Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
NON NETWORK EXPENDITURES
ICT
| Direct Material Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
MOTOR VEHICLES
| Direct Material Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
BUILDINGS AND PROPERTY
| Direct Material Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
OTHER NON NETWORK
| Direct Material Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
EXPORT SERVICES
| Direct Material Expenditure | $ |  |  | NEW | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | NEW | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | NEW | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | NEW | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | NEW | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | NEW | ASRE2405 | ASRE2405
OVERHEADS EXPENDITURES
NETWORK OVERHEADS
| Direct Material Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
CORPORATE OVERHEADS
| Direct Material Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
REPLACEMENT EXPENDITURE
POLES
| Direct Material Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
POLE TOP STRUCTURES
| Direct Material Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
OVERHEAD CONDUCTORS
| Direct Material Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
UNDERGROUND CABLES
| Direct Material Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
SERVICE LINES
| Direct Material Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
TRANSFORMERS
| Direct Material Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
SWITCHGEAR
| Direct Material Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
PUBLIC LIGHTING
| Direct Material Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
SCADA NETWORK CONTROL AND PROTECTION SYSTEMS
| Direct Material Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
OTHER REPLACEMENT EXPENDITURE
| Direct Material Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
CONNECTION SERVICES
| Direct Material Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
AUGMENTATION EXPENDITURE
SUBTRANSMISSION SUBSTATIONS, SWITCHING STATIONS, ZONE SUBSTATIONS
| Direct Material Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
SUBTRANSMISSION LINES
| Direct Material Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
DISTRIBUTION SUBSTATIONS
| Direct Material Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
HV FEEDERS
| Direct Material Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
LV FEEDERS
| Direct Material Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
OTHER ASSETS
| Direct Material Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
PUBLIC LIGHTING SERVICES
| Direct Material Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
METERING SERVICES
| Direct Material Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
FEE BASED SERVICES
| Direct Material Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
QUOTED SERVICES
| Direct Material Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Direct Labour Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Other Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
| Related Party Contract Margin Expenditure | $ |  |  | CA2.12 | ASRE2405 | ASRE2405
Public lighting activities
PUBLIC LIGHT INSTALLATION
| Major road light installation | $ |  |  | CA4.1.2 | ASA805 | ASRE2405
| Minor road light installation | $ |  |  | CA4.1.2 | ASA805 | ASRE2405
| Pole installation | $ |  |  | CA4.1.2 | ASA805 | ASRE2405
PUBLIC LIGHT REPLACEMENT
| Major road light replacement | $ |  |  | CA4.1.2 | ASA805 | ASRE2405
| Minor road light replacement | $ |  |  | CA4.1.2 | ASA805 | ASRE2405
| Pole replacement | $ |  |  | CA4.1.2 | ASA805 | ASRE2405
PUBLIC LIGHT MAINTENANCE
| Major road light maintenance | $ |  |  | CA4.1.2 | ASA805 | ASRE2405
| Minor road light maintenance | $ |  |  | CA4.1.2 | ASA805 | ASRE2405
| Pole maintenance | $ |  |  | CA4.1.2 | ASA805 | ASRE2405

## Provisions
Data category 09: Revenue and financial statements
Stakeholder Comments |  | Units | Standard Control Services | Current RIN reference | Assurance standard - Financial data
| Total Provisions |  |  |  | Actual | Estimated
| OPENING BALANCE (the carrying amount at the beginning of the period) | $ | =sum of individual provisions | EB3.2.3
Additional provisions made in the period, including increases to existing provisions
| Opex component | $ | =sum of individual provisions | EB3.2.3
| Capex component | $ | =sum of individual provisions | EB3.2.3
| Other component | $ | =sum of individual provisions | EB3.2.3
Amounts used (that is, incurred and charged against the provision) during the period
| Opex component | $ | =sum of individual provisions | EB3.2.3
| Capex component | $ | =sum of individual provisions | EB3.2.3
| Other component | $ | =sum of individual provisions | EB3.2.3
Unused amounts reversed during the period
| Opex component | $ | =sum of individual provisions | EB3.2.3
| Capex component | $ | =sum of individual provisions | EB3.2.3
| Other component | $ | =sum of individual provisions | EB3.2.3
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
| Opex component | $ | =sum of individual provisions | EB3.2.3
| Capex component | $ | =sum of individual provisions | EB3.2.3
| Other component | $ | =sum of individual provisions | EB3.2.3
| Closing balance (carrying amount at the end of the period) | $ | - | EB3.2.3
<Business specific provision 1, 2, …, n>
| OPENING BALANCE (the carrying amount at the beginning of the period) | $ |  | EB3.2.3 | ASA805 | ASRE2405
Additional provisions made in the period, including increases to existing provisions
| Opex component | $ |  | EB3.2.3 | ASA805 | ASRE2405
| Capex component | $ |  | EB3.2.3 | ASA805 | ASRE2405
| Other component | $ |  | EB3.2.3 | ASA805 | ASRE2405
Amounts used (that is, incurred and charged against the provision) during the period
| Opex component | $ |  | EB3.2.3 | ASA805 | ASRE2405
| Capex component | $ |  | EB3.2.3 | ASA805 | ASRE2405
| Other component | $ |  | EB3.2.3 | ASA805 | ASRE2405
Unused amounts reversed during the period
| Opex component | $ |  | EB3.2.3 | ASA805 | ASRE2405
| Capex component | $ |  | EB3.2.3 | ASA805 | ASRE2405
| Other component | $ |  | EB3.2.3 | ASA805 | ASRE2405
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
| Opex component | $ |  | EB3.2.3 | ASA805 | ASRE2405
| Capex component | $ |  | EB3.2.3 | ASA805 | ASRE2405
| Other component | $ |  | EB3.2.3 | ASA805 | ASRE2405
| Closing balance (carrying amount at the end of the period) | $ | 0 | EB3.2.3
<additional provision tables allowed>