## Contents
Network Innovation Program Cost & Benefits Summary
Benefits
Tab | Project | Benefit Cost Ratio | Budget ($m) | Net Benefit (r2019) | Capex | Opex | Other
A. | Advanced Voltage Regulation | 1.7525 | 3 | 2079112.7664 | ü |  | Hosting capacity
B. | Network Insight Program | 3.0976 | 10.5 | 20511042.7764 | ü | ü | Hosting capacity, Unserved Energy
C. | Fringe of Grid Optimisation | 3.0191 | 4.7 | 13229031.4619 | ü | ü | Bushfire & safety risk, Unserved Energy
D. | HV Microgrid Trial | 1.3698 | 17.2 | 7189495.1011 | ü | ü | Bushfire & safety risk, Unserved Energy
E. | Advanced EV Charging Platform Trial | 1.3315 | 1.2 | 339089.9857 |  | ü | Hosting capacity
F. | Grid Battery Trials | 1.5175 | 2 | 1209081.5313 | ü |  | Hosting capacity, Unserved Energy
G. | Portable All-in-One Off-Grid Supply Units | 1.1176 | 1 | 41340.0446 |  |  | Unserved Energy
H. | Self Healing Networks | 1.1935 | 0.6 | 100803.1827 |  | ü | Unserved Energy
I. | Dynamic Load Control | 1.0532 | 0.6 | 205225.8541 | ü |  | Hosting capacity
J. | Asset Condition Monitoring | 1.7238 | 0.6 | 677812.406 | ü
K. | Line Fault Indicators | 1.1066 | 0.6 | 64854.9921 |  | ü | Unserved Energy
Note: Projects have multiple drivers, RIN allocation was based on current perception of primary expenditure driver. These categories will continue to be refined over time.
| Benefit flows summary | 2020 | 2021 | 2022 | 2023 | 2024 | Total
| Net Opex Benefits | 140799.5251 | 53239.0501 | 227373.2419 | 282212.7669 | 628710.7473 | 1332335.3313
| Capex Benefits | 71595.5117 | 143191.0234 | 1367615.424 | 2568988.7135 | 3009093.629 | 7160484.3017
| Aggregate Capex Costs | 2020 | 2021 | 2022 | 2023 | 2024 | Total
| Capex Costs | 7537200.124 | 7537200.124 | 9587200.124 | 8837200.124 | 8487200.124 | 41986000.62

## Confidential Content
All tabs containing Confidential Information
have been removed.