## Instructions
Gas Distribution Pipeline Service Provider
Regulatory Reporting Statement - Historical Information
This template is to be used by Australian Gas Networks Limited (reporting data for Albury and Victoria) to fulfil its reporting obligations to the AER.
INSTRUCTIONS
GENERAL | Complete the Business & other details worksheet before entering data or values in any other worksheets. The Business & other details worksheet is linked to other worksheets within the workbook and automatically generates certain column headings and conditional formatting.
CONFIDENTIAL INFORMATION | Please use the macro at the top of each worksheet to identify confidential information in the confidential workbook.
-Do this by selecting the cell or cells that contain confidential information and then run the Mark selection as CONFIDENTIAL macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as confidential. -To reverse this, select the cell or cells and run the Return selection to NON-CONFIDENTIAL macro.
RESPONSES | Please return two (2) files to the AER: 1. A confidential version which must contain a complete set of all responses with confidential information marked using the Mark selection CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 2. A public version with confidential information either removed completely or aggregated in some form together with writtten consent to disclose the public version of the response. Use the drop down box on the Business and other details worksheet to identify the file as either confidential ('consolidated') or public.
AMENDMENTS | If an NSP wishes to correct data previously submitted to the AER it should resubmit that data using the original completed submission as the starting point. Please make any necessary changes to the data. Data that is not being amended should be left unchanged. NSPs must identify the reason for the amendments in the Amendment Reason box on the Business and other details worksheet. NSPs may provide further details regarding any amendments in the Amendments worksheet. .
NSP may use Amended Data macro to highlight cells that contain amended data. NB: if data is also CONFIDENTIAL, re-apply the Confidentiality macro after applying the Amended macro
Please resubmit two (2) files - a confidential version and a public version of the amended submission to the AER
UNITS OF MEASURE | All amounts are to be unrounded and reported on a one for one basis: that is 1000 is to be entered as '1000'. Applicable units of measure may be identified in the table column headings or row descriptors.
INPUT / NON-INPUT CELLS
Yellow = Input cell (mandatory)
Darker yellow = input cell (mandatory)
Orange = input cell (if data available)
Grey = Not applicable/No inputs required
PLEASE DO NOT ENTER TEXT into cells that are to contain numeric data.
NAVIGATION | Many tables in the worksheets have been "grouped" to allow for easy navigation. To ungroup or group data use the outline symbols in the left margin (for Row groupings) or above the columns (for column groupings).

## CONTENTS
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2011 to 2019
CONTENTS
| TEMPLATE DATE | July 2020
| SUBMISSION | Business & other details
| EXPENDITURE | E1. Expenditure Summary
E11. Labour
E21. ARS
| NETWORK | N1. Demand
N2. Network characteristcs
| SERVICE | S1.1. Customer numbers - by customer type
S1.2. Customer numbers - by tariff
S10. Supply quality
S11. Network reliability
S14. Network integrity
| FINANCIAL | F1. Income
F2. Capex
F3. Revenue
F4. Opex
F6. Related party transactions
F7. Provisions
F9. Pass throughs
F10. Assets
| ADMIN | Additional disclosures

## Business & other details
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2011 to 2019
BUSINESS & OTHER DETAILS
INSTRUCTIONS
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings and conditional formatting to distinguish business specific input and non-input cells.
SUBMISSION PARTICULARS INPUT SHEET
ENTITY DETAILS
Business Name
| Short name |  |  | AGN (Albury and Victoria)
| ACN/ABN |  |  | 19078551685
| Business Address | [10 empty] | Postal Address
| Address 1 |  |  | Level 6 | [5 empty] | Address 1 |  | Level 6
| Address 2 |  |  | 400 King William Street | [5 empty] | Address 2 |  | Halifax Street
| Suburb |  |  | ADELAIDE | [5 empty] | Suburb |  | ADELAIDE
| State |  |  | SA |  | Post code | 5000 |  |  | State |  | Vic |  | Post code | 5000
`
Contact Names
Name
Phone
Email
REGULATORY PERIODS
|  |  | Forthcoming period | 2020-21 | #N/A |  |  |  | #N/A |  | #N/A |  | #N/A
|  |  |  | #N/A | #N/A |  |  |  | #N/A |  | #N/A |  | #N/A
|  |  |  | #N/A | #N/A |  |  |  | #N/A |  | #N/A |  | #N/A
|  | RESETS | Current period | #N/A | #N/A |  |  |  | #N/A |  | #N/A |  | #N/A
|  |  |  | #N/A | #N/A |  |  |  | #N/A |  | #N/A |  | #N/A
|  |  |  | #N/A | #N/A |  |  |  | #N/A |  | #N/A |  | #N/A
|  |  | Previous period | #N/A | #N/A |  |  |  | #N/A |  | #N/A |  | #N/A
|  |  |  | #N/A | #N/A |  |  |  | #N/A |  | #N/A |  | #N/A
|  |  |  | #N/A | #N/A |  |  |  | #N/A |  | #N/A |  | #N/A
|  |  | Commencing year | 2011
ANNUAL RINS
|  |  | Final year | 2019
SUBMISSION DETAILS
|  |  | RIN type | Annual Reporting
|  |  | Source | Reporting
|  | THIS FILE | Data Quality | Consolidated
|  |  | Confidentiality Status | Public
|  |  | Amended RIN Amendment Reason | .
|  |  | Submission Date | 2021-03-31
Contents
Instructions

## E1. Expenditure Summary
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2011 to 2019
E1. EXPENDITURE SUMMARY
E1.1 - CAPEX
E1.1.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Connections | [7 empty] | 43511475 | 48317188
Mains replacement | [7 empty] | 18865518 | 30468634
Mains augmentation | [7 empty] | 1215826 | 1557257
Telemetry | [7 empty] | 288393 | 171343
Meter replacement | [7 empty] | 7339663 | 6634385
ICT | [7 empty] | 3936655 | 8094545
Capitalised network overheads | [7 empty] | 9051193 | 10534344
Capitalised corporate overheads
Other capex | [7 empty] | 9468014 | 8605318
Capital contributions included in the above | [7 empty] | 9445485 | 9050350
Total (less capital contributions) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 84231252 | 105332664
E1.1.2 - NON-REFERENCE SERVICES
Capital contributions included in the above
Total (less capital contributions) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
E1.2 - OPEX
E1.2.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
repairs and maintenance | [7 empty] | 44622827.3884 | 43373208.7037
marketing and retail incentives | [7 empty] | 4646577.7924 | 4404317.9574
debt raising | [7 empty] | 676805.3819 | 1029306.2773
equity raising
unaccounted for gas | [7 empty] | 378960.62 | 3623000
jurisdictional charges | [7 empty] | 3582124.64 | 4339236.27
GSL payments | [7 empty] | 22990 | 23560
other opex | [7 empty] | 11398981.248 | 12629430.1607
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65329267.0708 | 69422059.3691
E1.2.2 - NON-REFERENCE SERVICES
Repairs and Maintenance | [7 empty] | 1065463.9262 | 1026592.0077
Total | 0 | 0 | 0 | 0 | 0 | 0 |  | 1065463.9262 | 1026592.0077
E1.3 - CAPCONS
E1.3.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Connections | [7 empty] | 2339726 | 3606152
Mains replacement
Mains augmentation
Telemetry
Meter replacement
ICT
Capitalised network overheads | [7 empty] | 959152 | 864162
Capitalised corporate overheads
Other capex | [7 empty] | 6146607 | 4580036
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9445485 | 9050350
E1.3.2 - NON-REFERENCE SERVICES
EXPENDITURE
$0's, nominal
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
E1.4 - CAPITALISED OVERHEADS
E1.4.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Connections | [7 empty] | 4900615 | 5359182
Mains replacement | [7 empty] | 2102626 | 3301437
Mains augmentation | [7 empty] | 137572 | 183477
Telemetry | [7 empty] | 32444 | 18364
Meter replacement | [7 empty] | 819988 | 743770
ICT
Other capex | [7 empty] | 1057948 | 928114
Capital contributions included in the above | [7 empty] | 959152 | 864162
Total (less capital contributions) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8092041 | 9670182
E1.4.2 - NON-REFERENCE SERVICES
EXPENDITURE
$0's, nominal
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Capital contributions included in the above
Total (less capital contributions) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## E11. Labour
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2011 to 2019
E11. LABOUR
Tables E11.1 and E11.2 deliberately omitted.
E11.3 - LABOUR / NON-LABOUR EXPENDITURE SPLIT
EXPENDITURE
$0's, nominal
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
E11.3.1 - OPEX
In-house labour expenditure | [7 empty] | 5149447.2114 | 6752156.288
Labour expenditure outsourced to related parties | [7 empty] | 0 | 0
Labour expenditure outsourced to unrelated parties | [7 empty] | 35814226.4562 | 35618496.8548
Non-labour expenditure | [7 empty] | 25431057.3294 | 28077998.2339
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 66394730.997 | 70448651.3768
E11.3.2 - CAPEX
In-house labour expenditure | [7 empty] | 0 | 483403
Labour expenditure outsourced to related parties | [7 empty] | 0 | 0
Labour expenditure outsourced to unrelated parties | [7 empty] | 57226948 | 73489326
Non-labour expenditure | [7 empty] | 27004304 | 31359935
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 84231252 | 105332664
Reconciliation with E1.2 Opex | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reconciliation with E1.1 - Capex | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 10
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## E21. ARS
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2011 to 2019
E21. ANCILLARY REFERENCE SERVICES
E21.1 - VOLUMES
VOLUMES
0's
Description | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Disconnection | [7 empty] | 13486 | 8713
Reconnection | [7 empty] | 13408 | 9914
Special Meter Read - Metro | [7 empty] | 176670 | 157296.75
Special Meter Read - Non Metro | [7 empty] | 64799 | 58709.25
Meter Removal | [7 empty] | 1772 | 2053
Meter Reinstallation | [7 empty] | 59 | 60
Meter Gas and Installtion test | [7 empty] | 225 | 191
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 270419 | 236937
E21.2 - EXPENDITURE
EXPENDITURE
$0's, nominal
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Disconnection | [7 empty] | 957500 | 627335
Reconnection | [7 empty] | 1099156 | 832706
Special Meter Read - Metro | [7 empty] | 1592757.7 | 1450574.55
Special Meter Read - Non Metro | [7 empty] | 796988.5 | 739726.05
Meter Removal | [7 empty] | 177145 | 209284
Meter Reinstallation | [7 empty] | 5791 | 6108
Meter Gas and Installtion test | [7 empty] | 48118 | 41570
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4677456.2 | 3907303.6
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## N1. Demand
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2011 to 2019
N1. DEMAND
N1.1 - DEMAND - BY CUSTOMER TYPE
VOLUMES
GJ
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Residential | [7 empty] | 30416569.3745 | 31227538.6947
Commercial | [7 empty] | 8074736.3484 | 8239726.6166
Industrial | [7 empty] | 17460281.673 | 17085368.862
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55951587.3959 | 56552634.1733
N1.2 - DEMAND - BY TARIFF
VOLUMES
GJ
Tariff | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Tariff V- Central Zone - Residential | [7 empty] | 25576618.7134 | 26201550.4929
Tariff V - North Zone - Residential | [7 empty] | 3485373.3996 | 3618687.8756
Tariff V - Murray Valley Zone - Residential | [7 empty] | 272024.0736 | 281137.6794
Tariff V - Bairnsdale Zone - Residential | [7 empty] | 112893.8707 | 118302.2694
Tariff V - Central Zone - Non-Residential | [7 empty] | 6835252.3507 | 6980499.5064
Tariff V - North Zone - Non-Residential | [7 empty] | 823070.346 | 845706.2612
Tariff V - Murray Valley Zone - Non-Residential | [7 empty] | 66694.026 | 66583.0282
Tariff V - Bairnsdale Zone - Non-Residential | [7 empty] | 62135.5435 | 66151.2565
Tariff D - Central Zone - Industrial | [7 empty] | 11873664.957 | 11498014.097
Tariff D - Northern Zone - Industrial | [7 empty] | 4205034.924 | 4194021.79
Tariff D - Murray Valley Zone - Industrial
Tariff D - Bairnsdale Zone - Industrial
Tariff V - Albury Zone - Residential | [7 empty] | 969659.3172 | 1007860.3773
Tariff V - Albury Zone - Non-Residential | [7 empty] | 287584.0822 | 280786.5643
Tariff D - Albury Zone - Industrial | [7 empty] | 1381581.792 | 1393332.975
T16
T17
T18
T19
T20
T21
T22
T23
T24
T25
T26
T27
T28
T29
T30
T31
T32
T33
T34
T35
T36
T37
T38
T39
T40
T41
T42
T43
T44
T45
T46
T47
T48
T49
T50
T51
T52
T53
T54
T55
T56
T57
T58
T59
T60
T61
T62
T63
T64
T65
T66
T67
T68
T69
T70
T71
T72
T73
T74
T75
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## N2. Network characteristics
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2011 to 2019
N2. NETWORK CHARACTERISTICS
N2.1 - NETWORK LENGTH - BY PRESSURE AND ASSET TYPE
LENGTH
KM
|  | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
N2.1.1 - LOW PRESSURE
| Cast Iron | KM 2018: 112.801; KM 2019: 98.62
| PVC | KM 2018: 98.25; KM 2019: 83.474
Polyamide
High density polyethylene (80)
| High density polyethylene (100) | KM 2018: 0.762; KM 2019: 2.459
High density polyethylene (250)
| High density polyethylene (575) | KM 2018: 0.218; KM 2019: 0.218
| Medium density polyethylene | KM 2018: 0.814; KM 2019: 0.696
Other polyethylene
| Unprotected steel | KM 2018: 6.641; KM 2019: 6.336
| Protected steel | KM 2018: 13.968; KM 2019: 13.695
Other
N2.1.2 - MEDIUM PRESSURE
| Cast Iron | KM 2018: 26.013; KM 2019: 26.013
PVC
Polyamide
High density polyethylene (80)
| High density polyethylene (100) | KM 2018: 0.047; KM 2019: 0.052
High density polyethylene (250)
| High density polyethylene (575) | KM 2018: 4.982; KM 2019: 4.843
| Medium density polyethylene | KM 2018: 0.523; KM 2019: 0.523
Other polyethylene
| Unprotected steel | KM 2018: 0.322; KM 2019: 0.322
| Protected steel | KM 2018: 22.452; KM 2019: 20.51
Other
N2.1.3 - HIGH PRESSURE
Cast Iron
| PVC | KM 2018: 0.215; KM 2019: 0.215
Polyamide
High density polyethylene (80)
| High density polyethylene (100) | KM 2018: 1028.503; KM 2019: 1275.621
High density polyethylene (250)
| High density polyethylene (575) | KM 2018: 3001.366; KM 2019: 3001.799
| Medium density polyethylene | KM 2018: 4058.481; KM 2019: 4058.182
Other polyethylene
Unprotected steel
| Protected steel | KM 2018: 2998.679; KM 2019: 3000.344
| Other | KM 2018: 0.703; KM 2019: 0.703
N2.1.4 - TRANSMISSION
| Protected steel | KM 2018: 252; KM 2019: 251.9
Other
| TOTAL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11627.74 | 11846.525
N2.2 - CITY GATES/REGULATORS
VOLUMES
0's
|  | 2011 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| City Gate | KM 2018: 54; KM 2019: 54
| Field Regulator | KM 2018: 92; KM 2019: 87
District Regulator
| Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 146 | 141
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S1.1. Customer numbers
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2011 to 2019
S1. CUSTOMER NUMBERS
S1.1 - CUSTOMER NUMBERS - BY CUSTOMER TYPE
VOLUMES
0's
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
A. RESIDENTIAL
Customer numbers as at 1 July | [7 empty] | 653113 | 669544
Customer numbers as at 30 June | [7 empty] | 669544 | 685026
Total customer connections | [7 empty] | 18250 | 17534
Total customer disconnections | [7 empty] | 1819 | 2052
B. COMMERCIAL
Customer numbers as at 1 July | [7 empty] | 24793 | 24997
Customer numbers as at 30 June | [7 empty] | 24997 | 24878
Total customer connections | [7 empty] | 446 | 280
Total customer disconnections | [7 empty] | 242 | 399
C. INDUSTRIAL
Customer numbers as at 1 July | [7 empty] | 271 | 272
Customer numbers as at 30 June | [7 empty] | 272 | 274
Total customer connections | [7 empty] | 2 | 5
Total customer disconnections | [7 empty] | 1 | 3
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S1.2. Customer numbers
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2011 to 2019
S1. CUSTOMER NUMBERS
S1.2 - CUSTOMER NUMBERS - BY TARIFF
S1.2.1 - CUSTOMER NUMBERS AS AT 1 JULY
VOLUMES
0's
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Tariff V- Central Zone - Residential |  | 0 | 0 | 0 | 0 | 0 | 0 | 542424 | 556165
Tariff V - North Zone - Residential |  | 0 | 0 | 0 | 0 | 0 | 0 | 76564 | 78506
Tariff V - Murray Valley Zone - Residential |  | 0 | 0 | 0 | 0 | 0 | 0 | 7921 | 8102
Tariff V - Bairnsdale Zone - Residential |  | 0 | 0 | 0 | 0 | 0 | 0 | 4258 | 4454
Tariff V - Central Zone - Non-Residential |  | 0 | 0 | 0 | 0 | 0 | 0 | 20227 | 20361
Tariff V - North Zone - Non-Residential |  | 0 | 0 | 0 | 0 | 0 | 0 | 3187 | 3240
Tariff V - Murray Valley Zone - Non-Residential |  | 0 | 0 | 0 | 0 | 0 | 0 | 343 | 350
Tariff V - Bairnsdale Zone - Non-Residential |  | 0 | 0 | 0 | 0 | 0 | 0 | 110 | 115
Tariff D - Central Zone - Industrial |  | 0 | 0 | 0 | 0 | 0 | 0 | 204 | 205
Tariff D - Northern Zone - Industrial |  | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 50
Tariff D - Murray Valley Zone - Industrial |  | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 7
Tariff D - Bairnsdale Zone - Industrial |  | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3
Tariff V - Albury Zone - Residential |  | 0 | 0 | 0 | 0 | 0 | 0 | 21946 | 22317
Tariff V - Albury Zone - Non-Residential |  | 0 | 0 | 0 | 0 | 0 | 0 | 926 | 931
Tariff D - Albury Zone - Industrial |  | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 7
T16 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T17 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T18 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T19 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T20 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T21 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T22 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T23 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T24 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T25 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T26 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T27 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T28 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T29 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T31 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T32 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T33 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T34 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T35 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T36 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T37 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T38 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T39 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T40 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T41 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T42 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T43 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T44 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T45 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T46 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T47 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T48 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T49 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T50 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T51 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T52 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T53 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T54 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T55 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T56 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T57 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T58 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T59 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T60 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T61 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T62 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T63 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T64 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T65 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T66 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T67 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T68 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T69 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T70 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T71 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T72 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T73 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T74 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T75 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 678177 | 694813
S1.2.2 - CUSTOMER NUMBERS AS AT 30 JUNE
VOLUMES
0's
| 2011 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Tariff V- Central Zone - Residential | [6 empty] | 542424 | 556165 | 569054
Tariff V - North Zone - Residential | [6 empty] | 76564 | 78506 | 80388
Tariff V - Murray Valley Zone - Residential | [6 empty] | 7921 | 8102 | 8286
Tariff V - Bairnsdale Zone - Residential | [6 empty] | 4258 | 4454 | 4638
Tariff V - Central Zone - Non-Residential | [6 empty] | 20227 | 20361 | 20210
Tariff V - North Zone - Non-Residential | [6 empty] | 3187 | 3240 | 3266
Tariff V - Murray Valley Zone - Non-Residential | [6 empty] | 343 | 350 | 353
Tariff V - Bairnsdale Zone - Non-Residential | [6 empty] | 110 | 115 | 121
Tariff D - Central Zone - Industrial | [6 empty] | 204 | 205 | 206
Tariff D - Northern Zone - Industrial | [6 empty] | 50 | 50 | 51
Tariff D - Murray Valley Zone - Industrial | [6 empty] | 7 | 7 | 7
Tariff D - Bairnsdale Zone - Industrial | [6 empty] | 3 | 3 | 3
Tariff V - Albury Zone - Residential | [6 empty] | 21946 | 22317 | 22660
Tariff V - Albury Zone - Non-Residential | [6 empty] | 926 | 931 | 928
Tariff D - Albury Zone - Industrial | [6 empty] | 7 | 7 | 7
T16
T17
T18
T19
T20
T21
T22
T23
T24
T25
T26
T27
T28
T29
T30
T31
T32
T33
T34
T35
T36
T37
T38
T39
T40
T41
T42
T43
T44
T45
T46
T47
T48
T49
T50
T51
T52
T53
T54
T55
T56
T57
T58
T59
T60
T61
T62
T63
T64
T65
T66
T67
T68
T69
T70
T71
T72
T73
T74
T75
Total | 0 | 0 | 0 | 0 | 0 | 0 | 678177 | 694813 | 710178
S1.2.3 - TOTAL CUSTOMER CONNECTIONS
VOLUMES
0's
| 2011 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Tariff V- Central Zone - Residential | [7 empty] | 15414 | 14784
Tariff V - North Zone - Residential | [7 empty] | 2056 | 2005
Tariff V - Murray Valley Zone - Residential | [7 empty] | 187 | 197
Tariff V - Bairnsdale Zone - Residential | [7 empty] | 198 | 184
Tariff V - Central Zone - Non-Residential | [7 empty] | 352 | 215
Tariff V - North Zone - Non-Residential | [7 empty] | 72 | 50
Tariff V - Murray Valley Zone - Non-Residential | [7 empty] | 8 | 4
Tariff V - Bairnsdale Zone - Non-Residential | [7 empty] | 5 | 6
Tariff D - Central Zone - Industrial | [7 empty] | 2 | 4
Tariff D - Northern Zone - Industrial | [7 empty] | 0 | 1
Tariff D - Murray Valley Zone - Industrial | [7 empty] | 0 | 0
Tariff D - Bairnsdale Zone - Industrial | [7 empty] | 0 | 0
Tariff V - Albury Zone - Residential | [7 empty] | 395 | 364
Tariff V - Albury Zone - Non-Residential | [7 empty] | 9 | 5
Tariff D - Albury Zone - Industrial | [7 empty] | 0 | 0
T16
T17
T18
T19
T20
T21
T22
T23
T24
T25
T26
T27
T28
T29
T30
T31
T32
T33
T34
T35
T36
T37
T38
T39
T40
T41
T42
T43
T44
T45
T46
T47
T48
T49
T50
T51
T52
T53
T54
T55
T56
T57
T58
T59
T60
T61
T62
T63
T64
T65
T66
T67
T68
T69
T70
T71
T72
T73
T74
T75
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18698 | 17819
S1.2.4 - TOTAL CUSTOMER DISCONNECTIONS
VOLUMES
0's
| 2011 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Tariff V- Central Zone - Residential | [7 empty] | 1673 | 1895
Tariff V - North Zone - Residential | [7 empty] | 114 | 123
Tariff V - Murray Valley Zone - Residential | [7 empty] | 6 | 13
Tariff V - Bairnsdale Zone - Residential | [7 empty] | 2 | 0
Tariff V - Central Zone - Non-Residential | [7 empty] | 218 | 366
Tariff V - North Zone - Non-Residential | [7 empty] | 19 | 24
Tariff V - Murray Valley Zone - Non-Residential | [7 empty] | 1 | 1
Tariff V - Bairnsdale Zone - Non-Residential | [7 empty] | 0 | 0
Tariff D - Central Zone - Industrial | [7 empty] | 1 | 3
Tariff D - Northern Zone - Industrial | [7 empty] | 0 | 0
Tariff D - Murray Valley Zone - Industrial | [7 empty] | 0 | 0
Tariff D - Bairnsdale Zone - Industrial | [7 empty] | 0 | 0
Tariff V - Albury Zone - Residential | [7 empty] | 24 | 21
Tariff V - Albury Zone - Non-Residential | [7 empty] | 4 | 8
Tariff D - Albury Zone - Industrial | [7 empty] | 0 | 0
T16
T17
T18
T19
T20
T21
T22
T23
T24
T25
T26
T27
T28
T29
T30
T31
T32
T33
T34
T35
T36
T37
T38
T39
T40
T41
T42
T43
T44
T45
T46
T47
T48
T49
T50
T51
T52
T53
T54
T55
T56
T57
T58
T59
T60
T61
T62
T63
T64
T65
T66
T67
T68
T69
T70
T71
T72
T73
T74
T75
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2062 | 2454
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S10. Supply quality
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2011 to 2019
S10. SUPPLY QUALITY
S10.1 - PRESSURE FAULTS
VOLUMES
0's
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Poor Pressure events - mains
Poor Pressure events - services
Poor Pressure event - meters | [7 empty] | 870 | 782
Pressure events impacting 5+ customers | [7 empty] | 1 | 1
Pressure events with >12 hr resolution | [7 empty] | 269 | 171
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S11. Network reliability
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2011 to 2019
S11. NETWORK RELIABILITY
S11.1 - NETWORK OUTAGES
S11.1.1 - PLANNED
VOLUMES
0's
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Count of outage events | [7 empty] | 2962 | 1728
Outages affecting 5+ customers
Outages with >12 hr supply interruption
S11.1.2 - UNPLANNED
VOLUMES
0's
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Count of outage events | [7 empty] | 844 | 886
Outages affecting 5+ customers | [7 empty] | 15 | 6
Outages with >12 hr supply interruption | [7 empty] | 31 | 41
S11.2 - LEAKS - BY ASSET TYPE AND CAUSE OF LEAK
S11.2.1 - LOW PRESSURE
VOLUMES
Number per KM
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Cast Iron
Broken pipe - cracked | [7 empty] | 0.24822 | 0.4056
Broken pipe - full break | [7 empty] | 0.062056 | 0.16224
Corrosion | [7 empty] | 0.24822 | 0.42588
Joint leak | [7 empty] | 1.4273 | 2.2105
3rd party damage | [7 empty] | 0.0088652 | 0.06084
Identified water in main | [7 empty] | 0 | 0
Other | [7 empty] | 0.0088652 | 0.081119
PVC
Broken pipe - cracked | [7 empty] | 0.081425 | 0.28751
Broken pipe - full break | [7 empty] | 0.050891 | 0.1198
Corrosion | [7 empty] | 0.11196 | 0.10782
Joint leak | [7 empty] | 0.17303 | 0.33543
3rd party damage | [7 empty] | 0.061069 | 0.059899
Identified water in main | [7 empty] | 0 | 0
Other | [7 empty] | 0 | 0
Polyamide
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (80)
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (100)
Broken pipe - cracked | [7 empty] | 0 | 0
Broken pipe - full break | [7 empty] | 0 | 0
Corrosion | [7 empty] | 0 | 0.40667
Joint leak | [7 empty] | 1.3123 | 0.81334
3rd party damage | [7 empty] | 0 | 0
Identified water in main | [7 empty] | 0 | 0
Other | [7 empty] | 0 | 0
High density polyethylene (250)
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (575)
Broken pipe - cracked | [7 empty] | 0 | 0
Broken pipe - full break | [7 empty] | 4.5872 | 0
Corrosion | [7 empty] | 0 | 0
Joint leak | [7 empty] | 13.7615 | 0
3rd party damage | [7 empty] | 0 | 0
Identified water in main | [7 empty] | 0 | 0
Other | [7 empty] | 0 | 0
Medium density polyethylene
Broken pipe - cracked | [7 empty] | 1.2285 | 0
Broken pipe - full break | [7 empty] | 1.2285 | 0
Corrosion | [7 empty] | 0 | 1.4368
Joint leak | [7 empty] | 0 | 0
3rd party damage | [7 empty] | 1.2285 | 0
Identified water in main | [7 empty] | 0 | 0
Other | [7 empty] | 0 | 0
Other polyethylene
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
Unprotected steel
Broken pipe - cracked | [7 empty] | 0.15058 | 0
Broken pipe - full break | [7 empty] | 0.15058 | 0.15783
Corrosion | [7 empty] | 2.861 | 1.8939
Joint leak | [7 empty] | 1.9575 | 1.7361
3rd party damage | [7 empty] | 0 | 0.15783
Identified water in main | [7 empty] | 0 | 0
Other | [7 empty] | 0.15058 | 0
Protected steel
Broken pipe - cracked | [7 empty] | 0 | 0
Broken pipe - full break | [7 empty] | 0.071592 | 0.073019
Corrosion | [7 empty] | 0.50115 | 0.29208
Joint leak | [7 empty] | 1.1455 | 0.51114
3rd party damage | [7 empty] | 0 | 0
Identified water in main | [7 empty] | 0 | 0
Other | [7 empty] | 0 | 0
S11.2.2 - MEDIUM PRESSURE
VOLUMES
Number per KM
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Cast Iron
Broken pipe - cracked | [7 empty] | 0 | 0.11533
Broken pipe - full break | [7 empty] | 0.038442 | 0.038442
Corrosion | [7 empty] | 0 | 0.076885
Joint leak | [7 empty] | 0.7304 | 0.42287
3rd party damage | [7 empty] | 0 | 0
Identified water in main | [7 empty] | 0 | 0
Other | [7 empty] | 0 | 0
PVC
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
Polyamide
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (80)
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (100)
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (250)
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (575)
Broken pipe - cracked | [7 empty] | 0.20072 | 0
Broken pipe - full break | [7 empty] | 0.20072 | 0
Corrosion | [7 empty] | 0.20072 | 0.20648
Joint leak | [7 empty] | 0.40145 | 0
3rd party damage | [7 empty] | 0 | 0.20648
Identified water in main | [7 empty] | 0 | 0
Other | [7 empty] | 0 | 0
Medium density polyethylene
Broken pipe - cracked | [7 empty] | 0 | 1.912
Broken pipe - full break | [7 empty] | 0 | 0
Corrosion | [7 empty] | 0 | 0
Joint leak | [7 empty] | 0 | 0
3rd party damage | [7 empty] | 0 | 0
Identified water in main | [7 empty] | 0 | 0
Other | [7 empty] | 0 | 0
Other polyethylene
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
Unprotected steel
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
Protected steel
Broken pipe - cracked | [7 empty] | 0 | 0
Broken pipe - full break | [7 empty] | 0 | 0
Corrosion | [7 empty] | 0.13362 | 0.097513
Joint leak | [7 empty] | 0.44539 | 0.14627
3rd party damage | [7 empty] | 0 | 0
Identified water in main | [7 empty] | 0 | 0
Other | [7 empty] | 0 | 0
S11.2.3 - HIGH PRESSURE
VOLUMES
Number per KM
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Cast Iron
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
PVC
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
Polyamide
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (80)
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (100)
Broken pipe - cracked | [7 empty] | 0.025279 | 0.014895
Broken pipe - full break | [7 empty] | 0.018473 | 0.02195
Corrosion | [7 empty] | 0.017501 | 0.010191
Joint leak | [7 empty] | 0.063199 | 0.047036
3rd party damage | [7 empty] | 0.04667 | 0.076825
Identified water in main | [7 empty] | 0 | 0
Other | [7 empty] | 0.0019446 | 0.0047036
High density polyethylene (250)
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (575)
Broken pipe - cracked | [7 empty] | 0.045646 | 0.041975
Broken pipe - full break | [7 empty] | 0.046312 | 0.029316
Corrosion | [7 empty] | 0.040648 | 0.044307
Joint leak | [7 empty] | 0.057307 | 0.085948
3rd party damage | [7 empty] | 0.10362 | 0.11793
Identified water in main | [7 empty] | 0 | 0
Other | [7 empty] | 0.0039982 | 0.0076621
Medium density polyethylene
Broken pipe - cracked | [7 empty] | 0.048294 | 0.02957
Broken pipe - full break | [7 empty] | 0.057164 | 0.023163
Corrosion | [7 empty] | 0.020944 | 0.017003
Joint leak | [7 empty] | 0.067759 | 0.059633
3rd party damage | [7 empty] | 0.086978 | 0.085506
Identified water in main | [7 empty] | 0 | 0
Other | [7 empty] | 0.0046816 | 0.0051747
Other polyethylene
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
Unprotected steel
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
Protected steel
Broken pipe - cracked | [7 empty] | 0.0053357 | 0.023664
Broken pipe - full break | [7 empty] | 0.010004 | 0.008999
Corrosion | [7 empty] | 0.078368 | 0.053327
Joint leak | [7 empty] | 0.088039 | 0.074658
3rd party damage | [7 empty] | 0.044019 | 0.044328
Identified water in main | [7 empty] | 0 | 0
Other | [7 empty] | 0.0030013 | 0.0026664
S11.3 - UNACCOUNTED FOR GAS - TRANSMISSION AND DISTRIBUTION
VOLUMES
GJ
Place of loss | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
TRANSMISSION AND DISTRIBUTION | [7 empty] | 2119684.7322 | 2283578
| Total | 0 | 0 | 0 | 0 | 0 | 0 | 2119684.7322 | 2283578
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S14. Network integrity
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2011 to 2019
S14. NETWORK INTEGRITY
S14.1 - LOSS OF CONTAINMENT
VOLUMES
0's
| Units | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
S14.1.1 - MAINS
Number of Leaks - publicly reported | number | 0's 2018: 271; 0's 2019: 273
Number of Leaks - found through survey | number | 0's 2018: 107; 0's 2019: 191
Repaired Leaks | number | 0's 2018: 378; 0's 2019: 464
Length of network subject to survey | km | 0's 2018: 1725.74; 0's 2019: 3801.86
S14.1.2 - SERVICES
Number of Leaks - publicly reported | number | 0's 2018: 1561; 0's 2019: 1659
Number of Leaks - found through survey | number | 0's 2018: 62; 0's 2019: 75
Repaired Leaks | number | 0's 2018: 1623; 0's 2019: 1734
Number of services surveyed | number
S14.1.3 - METERS
Number of Leaks - publicly reported | number | 0's 2018: 14412; 0's 2019: 14363
Number of Leaks - found through survey | number | 0's 2018: 16; 0's 2019: 31
Repaired Leaks | number | 0's 2018: 14428; 0's 2019: 14394
Number of meters surveyed | number
S14.2 - INSTANCES OF DAMAGE
VOLUMES
0's
| Units | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Mains | number | 0's 2018: 60; 0's 2019: 58
Services | number | 0's 2018: 760; 0's 2019: 891
Meters | number | 0's 2018: 12; 0's 2019: 15
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F1. Income
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2011 to 2019
F1. INCOME
F1.1 - AUDITED STATUTORY ACCOUNTS
$0's, nominal
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
F1.1.1 - REVENUE
Distribution revenue | [7 empty] | 234199543.32 | 250894958.2
Capital contributions | [7 empty] | 20540570.99 | 9220932.77
Profit from sale of fixed assets | [7 empty] | 70452 | -70452
Other revenue | [7 empty] | 3389970.48 | 3510979.14
Total revenue | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 258200536.79 | 263556418.11
F1.1.2 - EXPENDITURE
Operating expenditure | [7 empty] | 44533170.99 | 44711131.78
Depreciation | [7 empty] | 39915862.18 | 39447160.3
Net finance expenses | [7 empty] | 51906343.82 | 52225483.04
Loss from sale of fixed assets | [7 empty] | 5090.65 | 0
Impairment losses | [7 empty] | 4705000 | 11301000
Jurisdictional charges | [7 empty] | 3582124.64 | 4339236.27
Other expenses | [7 empty] | 155356279.39 | 165935198.14
Total expenditure | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 300003871.67 | 317959209.53
F1.1.3 - PROFIT
Profit before tax | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -41803334.88 | -54402791.42
Income tax expenses (/ benefit) | [7 empty] | -12469001 | -16320837
Profit after tax | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -29334333.88 | -38081954.42
F1.2 - ADJUSTMENTS
$0's, nominal
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
F1.2.1 - REVENUE
Distribution revenue | [7 empty] | -332108.56 | 4668953.58
Capital contributions | [7 empty] | 20540570.99 | 9220932.77
Profit from sale of fixed assets | [7 empty] | 70452 | -70452
Other Revenue | [7 empty] | 3389970.48 | 3510979.14
Total revenue | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23668884.91 | 17330413.49
F1.2.2 - EXPENDITURE
Operating expenditure | [7 empty] | -18274344.717 | -21398283.3268
Depreciation | [7 empty] | -38026771.1332 | -40337065.8683
Net finance expenses | [7 empty] | 5926270.1278 | 3463369.9109
Loss from sale of fixed assets | [7 empty] | 0 | 0
Impairment losses | [7 empty] | 4705000 | 11301000
Jurisdictional charges | [7 empty] | 0 | 0
Other expenses | [7 empty] | 155356279.39 | 165935198.14
Total expenditure | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 109686433.6676 | 118964218.8558
F1.2.3 - PROFIT
Profit before tax | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -86017548.7576 | -101633805.3658
Income tax expenses (/ benefit) | [7 empty] | -25733265.1633 | -30490141.1837
Profit after tax | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -60284283.5943 | -71143664.1821
F1.3 - DISTRIBUTION BUSINESS
$0's, nominal
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
F1.3.1 - REVENUE
Distribution revenue | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 234531651.88 | 246226004.62
Capital contributions | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Profit from sale of fixed assets | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other Revenue | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total revenue | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 234531651.88 | 246226004.62
F1.3.2 - EXPENDITURE
Operating expenditure | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 62807515.707 | 66109415.1068
Depreciation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 77942633.3132 | 79784226.1683
Net finance expenses | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 45980073.6922 | 48762113.1291
Loss from sale of fixed assets | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5090.65 | 0
Impairment losses | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Jurisdictional charges | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3582124.64 | 4339236.27
Other expenses | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total expenditure | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 190317438.0024 | 198994990.6742
F1.3.3 - PROFIT
Profit before tax | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44214213.8776 | 47231013.9458
Income tax expenses (/ benefit) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13264264.1633 | 14169304.1837
Profit after tax | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30949949.7143 | 33061709.7621
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F2. Capex
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2011 to 2019
F2. CAPITAL EXPENDITURE
F2.4 - CAPEX BY ASSET CLASS
F2.4.2- ACTUAL - AS INCURRED
EXPENDITURE
$0's, nominal
Asset Class | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Mains & Services - Albury | [7 empty] | 1406990 | 1576178
Meters - Albury | [7 empty] | 316143 | 235767
Buildings - Albury
SCADA - Albury | [7 empty] | 664 | 1198
Computer Equipment - Albury | [7 empty] | 129164 | 263593
Other Assets - Albury | [7 empty] | 608839 | 175264
Land - Albury
Mains & Services - Victoria | [7 empty] | 69215698 | 86693880
Meters - Victoria | [7 empty] | 14482731 | 13165382
Buildings - Victoria
SCADA - Victoria | [7 empty] | 320173 | 188509
Computer Equipment - Victoria | [7 empty] | 3807491 | 7830952
Other Assets - Victoria | [7 empty] | 3388844 | 4252291
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 93676737 | 114383014
F2.4.3 - MOVEMENT IN PROVISIONS ALLOCATED TO AS-INCURRED CAPEX
EXPENDITURE
$0's, nominal
Asset Class | 2011 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Mains & Services - Albury
Meters - Albury
Buildings - Albury
SCADA - Albury
Computer Equipment - Albury
Other Assets - Albury
Land - Albury
Mains & Services - Victoria
Meters - Victoria
Buildings - Victoria
SCADA - Victoria
Computer Equipment - Victoria
Other Assets - Victoria
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
F2.5 - CAPITAL CONTRIBUTIONS BY ASSET CLASS
F2.5.1 - ACTUAL - AS INCURRED
EXPENDITURE
$0's, nominal
Asset Class | 2011 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Mains & Services - Albury
Meters - Albury | [7 empty] | -9709.1795
Buildings - Albury
SCADA - Albury
Computer Equipment - Albury
Other Assets - Albury | [7 empty] | 7320.5489 | 15335.4748
Land - Albury
Mains & Services - Victoria | [7 empty] | 8698968.1986 | 8784979.2116
Meters - Victoria | [7 empty] | 399757.6238 | 250035.5428
Buildings - Victoria
SCADA - Victoria
Computer Equipment - Victoria
Other Assets - Victoria | [7 empty] | 349147.8945
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9445485.0862 | 9050350.2292
F2.6 - DISPOSALS BY ASSET CLASS
F2.6.2 - ACTUAL
EXPENDITURE
$0's, nominal
Asset Class | 2011 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Mains & Services - Albury
Meters - Albury
Buildings - Albury
SCADA - Albury
Computer Equipment - Albury
Other Assets - Albury
Land - Albury
Mains & Services - Victoria
Meters - Victoria
Buildings - Victoria
SCADA - Victoria
Computer Equipment - Victoria
Other Assets - Victoria
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
F2.7 - IMMEDIATE EXPENSING CAPEX
F2.7.1 - ACTUAL - AS INCURRED
EXPENDITURE
$0's, nominal
Asset class | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Mains & Services - Albury | [7 empty] | 57964.87 | 261215.32
Meters - Albury
Buildings - Albury
SCADA - Albury
Computer Equipment - Albury
Other Assets - Albury
Land - Albury
Mains & Services - Victoria | [7 empty] | 21180862.93 | 33912907.43
Meters - Victoria
Buildings - Victoria
SCADA - Victoria
Computer Equipment - Victoria
Other Assets - Victoria
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21238827.8 | 34174122.75
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F3. Revenue
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2010-11 to 2017-18
F3. REVENUE
F3.1 - REFERENCE SERVICES
F3.1.1 - REVENUE - BY TARIFF
REVENUE
$0's, nominal
Tariff | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Tariff V- Central Zone - Residential | [7 empty] | 173013277.03 | 182709668.1
Tariff V - North Zone - Residential | [7 empty] | 21640284.96 | 23024309.97
Tariff V - Murray Valley Zone - Residential | [7 empty] | 1934378.95 | 2050260.69
Tariff V - Bairnsdale Zone - Residential | [7 empty] | 1594583.28 | 1726303.84
Tariff V - Central Zone - Non-Residential | [7 empty] | 16630767.25 | 17336884.22
Tariff V - North Zone - Non-Residential | [7 empty] | 1914300.67 | 2017353.09
Tariff V - Murray Valley Zone - Non-Residential | [7 empty] | 210713 | 216151.32
Tariff V - Bairnsdale Zone - Non-Residential | [7 empty] | 242032.11 | 257890.67
Tariff D - Central Zone - Industrial | [7 empty] | 3379038.8 | 3369368.2
Tariff D - Northern Zone - Industrial | [7 empty] | 1202422.65 | 1206836.68
Tariff D - Murray Valley Zone - Industrial
Tariff D - Bairnsdale Zone - Industrial
Tariff V - Albury Zone - Residential | [7 empty] | 5777855.42 | 6109272.39
Tariff V - Albury Zone - Non-Residential | [7 empty] | 558022.67 | 565336.47
Tariff D - Albury Zone - Industrial | [7 empty] | 169436.42 | 176628.89
T16
T17
T18
T19
T20
T21
T22
T23
T24
T25
T26
T27
T28
T29
T30
T31
T32
T33
T34
T35
T36
T37
T38
T39
T40
T41
T42
T43
T44
T45
T46
T47
T48
T49
T50
T51
T52
T53
T54
T55
T56
T57
T58
T59
T60
T61
T62
T63
T64
T65
T66
T67
T68
T69
T70
T71
T72
T73
T74
T75
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 228267113.21 | 240766264.53
F3.2 - ANCILLARY REFERENCE SERVICES
REVENUE
$0's, nominal
Service Name | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Disconnection | [7 empty] | 957500 | 627335
Reconnection | [7 empty] | 1099156 | 832706
Special Meter Read - Metro | [7 empty] | 1592757.7 | 1450574.55
Special Meter Read - Non Metro | [7 empty] | 796988.5 | 739726.05
Meter Removal | [7 empty] | 177145 | 209284
Meter Reinstallation | [7 empty] | 5791 | 6108
Meter Gas and Installtion test | [7 empty] | 48118 | 41570
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4677456.2 | 3907303.6
F3.3 - REBATEABLE SERVICES
REVENUE
$0's, nominal
Service Name | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
F3.4 - NON-REFERENCE SERVICES
REVENUE
$0's, nominal
Service Name | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Out of Hours Special Read | [7 empty] | 24213 | 22323
Meter Alter Position | [7 empty] | 281388.64 | 295976.44
Same Day Premium Service | [7 empty] | 304404 | 272907
Disconect Service in Street | [7 empty] | 26019 | 61256
No Access/Incomplete Meter Fix | [7 empty] | 605165 | 537010.18
Reconnect Service in Street | [7 empty] | 17995 | 23772
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1259184.64 | 1213244.62
F3.5 - TOTAL REVENUE
REVENUE
$0's, nominal
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
TOTAL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 234203754.05 | 245886812.75
F3.6 - REWARDS AND PENALTIES FROM INCENTIVE SCHEMES
VALUE
$0's, nominal
Scheme | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Efficiency Benefit Sharing Scheme - Victoria | [7 empty] | 11929892.7656 | 5371265.2538
Efficiency Benefit Sharing Scheme - Albury | [7 empty] | 1360117.9605 | -40232.8531
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13290010.726 | 5331032.4007
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F4. Opex
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2011 to 2019
F4. OPERATING EXPENDITURE
F4.1 - OPEX - BY PURPOSE
F4.1.1 - AUDITED STATUTORY ACCOUNTS
EXPENDITURE
$0's, nominal
Description | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
repairs and maintenance | [7 empty] | 40835669.09 | 38352777.1
marketing and retail incentives | [7 empty] | 1746137.93 | 1721244.05
debt raising | [7 empty] | 0 | 0
equity raising | [7 empty] | 0 | 0
unaccounted for gas | [7 empty] | 378960.62 | 3793411
jurisdictional charges | [7 empty] | 3582124.64 | 4339236.27
GSL payments | [7 empty] | 22990 | 23560
other opex | [7 empty] | 1554504 | 820139.63
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 48120386.28 | 49050368.05
F4.1.2 - ADJUSTMENTS
EXPENDITURE
$0's, nominal
Description | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
repairs and maintenance | [7 empty] | -4852622.2246 | -6047023.6114
marketing and retail incentives | [7 empty] | -2900439.8624 | -2683073.9074
debt raising | [7 empty] | -676805.3819 | -1029306.2773
equity raising | [7 empty] | 0 | 0
unaccounted for gas | [7 empty] | 0 | 170411
jurisdictional charges | [7 empty] | 0 | 0
GSL payments | [7 empty] | 0 | 0
other opex | [7 empty] | -9844477.248 | -11809290.5307
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -18274344.717 | -21398283.3268
F4.1.3 - DISTRIBUTION BUSINESS
EXPENDITURE
$0's, nominal
Description | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
repairs and maintenance | [7 empty] | 45688291.3146 | 44399800.7114
marketing and retail incentives | [7 empty] | 4646577.7924 | 4404317.9574
debt raising | [7 empty] | 676805.3819 | 1029306.2773
equity raising | [7 empty] | 0 | 0
unaccounted for gas | [7 empty] | 378960.62 | 3623000
jurisdictional charges | [7 empty] | 3582124.64 | 4339236.27
GSL payments | [7 empty] | 22990 | 23560
other opex | [7 empty] | 11398981.248 | 12629430.1607
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 66394730.997 | 70448651.3768
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F6. Related party transactions
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2011 to 2019
F6. RELATED PARTY TRANSACTIONS
F6.1 - AGN (Albury and Victoria) PAYMENTS GREATER THAN $1,000,000 MADE TO RELATED PARTY
| $0's, nominal | [8 empty] | Nature of the relationship eg. percentage ownership by/of related party of/by Gas Distributor | Services Provided | Description of how this transaction amount was determined | Description of how this amount is reflected in the Regulatory Templates, including the asset class or cost category | Where the related party expenditure has been allocated to different asset classes or cost categories, the description of the basis of allocation and the quantum of the allocator
Name of related party | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
F6.1.1 - EXPENDITURE
F6.1.2 - CORRESPONDING EXPENSES INCURRED BY RELATED PARTY
F6.2 - AGN (Albury and Victoria) PAYMENTS GREATER THAN $1,000,000 RECEIVED FROM RELATED PARTY
| $0's, nominal | [8 empty] | Nature of the relationship eg. percentage ownership by/of related party of/by Gas Distributor | Services Provided | Description of how this transaction amount was determined | Description of how this amount is reflected in the Regulatory Templates, including the asset class or cost category | Where the related party expenditure has been allocated to different asset classes or cost categories, the description of the basis of allocation and the quantum of the allocator
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
F6.2.1 - REVENUE
F6.2.2 - CORRESPONDING EXPENSES INCURRED BY AGN (Albury and Victoria)
F6.3 - RELATED PARTY MARGIN EXPENDITURE - BY CATEGORY
F6.3.1 - CAPEX
EXPENDITURE
$0's, nominal
Capex category | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Connections
Mains replacement
Mains augmentation
Telemetry
Meter replacement
ICT
Capitalised network overheads
Capitalised corporate overheads
Other capex
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
F6.3.2 - OPEX
EXPENDITURE
$0's, nominal
Opex category | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
repairs and maintenance
marketing and retail incentives
debt raising
equity raising
unaccounted for gas
jurisdictional charges
GSL payments
other opex
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
F6.4 - PER CENTAGE OF CAPEX OUTSOURCED TO RELATED PARTY
PER CENTAGE %
Capex category | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Connections
Mains replacement
Mains augmentation
Telemetry
Meter replacement
ICT
Capitalised network overheads
Capitalised corporate overheads
Other capex
F6.5 - PER CENTAGE OF OPEX OUTSOURCED TO RELATED PARTY
PER CENTAGE %
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Total
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F7. Provisions
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2011 to 2019
F7. PROVISIONS
F7 - PROVISIONS
VALUES $0's, nominal
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Provision name: Current employee entitlements and oncosts
Current provision for employee annual leave, long service leave and oncosts
Opening balance (the carrying amount at the beginning of the period) | [7 empty] | 582567.1359 | 581080.7222
Additional provisions made in the period, including increases to existing provisions
Opex component | [7 empty] | 42724.4521 | 134006.6896
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | [7 empty] | -82520.9674 | 0
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component | [7 empty] | 38310.1016 | -2138.5814
Capex component
Other component
Closing balance (carrying amount at the end of the period) | [7 empty] | 581080.7222 | 712948.8305
Provision name: Provision for Long Service Leave (Non Current)
Non Current Provision for Long Service Leave
Opening balance (the carrying amount at the beginning of the period) | [7 empty] | 129632.0685 | 188563.7936
Additional provisions made in the period, including increases to existing provisions
Opex component | [7 empty] | 50407.0119 | 2175.4551
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component | [7 empty] | 8524.7131 | -693.9811
Capex component
Other component
Closing balance (carrying amount at the end of the period) | [7 empty] | 188563.7936 | 190045.2677
Asbestos Claims Provision
Provision for potential future Asbestos claims
Opening balance (the carrying amount at the beginning of the period) | [8 empty] | 252703.5237
Additional provisions made in the period, including increases to existing provisions
Opex component | [7 empty] | 252703.5237
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | [8 empty] | -1050.6759
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component | [8 empty] | -930.0378
Capex component
Other component
Closing balance (carrying amount at the end of the period) | [7 empty] | 252703.5237 | 250722.8099
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F9. Pass throughs
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2011 to 2019
F9. PASS THROUGHS
F9.1 - PASS THROUGH EVENT EXPENDITURE
EXPENDITURE
$0's, nominal
Description | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F10. Assets
REGULATORY REPORTING STATEMENT - HISTORICAL INFORMATION
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2011 to 2019
F10. ASSETS
F10.1 - CAPITAL BASE VALUES
VALUES
0's
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
FOR TOTAL ASSET BASE
Opening value | [7 empty] | 1571951671.9337 | 1610806433.4461
Inflation addition | [7 empty] | 30396855.5346 | 33467523.0075
Straight line depreciation | [7 empty] | -77942633.3132 | -79784226.1683
Actual additions (recognised in RAB) | [7 empty] | 86400539.2909 | 108117875.8668
Disposals
Closing value | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1610806433.4461 | 1672607606.1521
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## Additional disclosures
F10. ASSETS | [9 empty] | Notes:
Please note that on 23 March 2016, the AER issued a direction to AGN to consolidate the two Access Arrangements for its Victorian and Albury gas distribution networks with effect from next access arrangement period commencing, 1 January 2018.
In response to this consolidation the Historical Performance Data for Albury gas distribution network for the period of 1 January 2011 to 31 December 2017 is contained in the Workbook 1 Historical Performance Data - AGN Albury - 2011 to 2017
F10.1 - CAPITAL BASE VALUES - Victoria (for 2011 to 2017 please refer to Workbook 1 - Historical Performance Data - AGN Victoria) | [9 empty] | In response to this consolidation the Historical Performance Data for Victoria gas distribution network for the period of 1 January 2011 to 31 December 2017 is contained in the Workbook 1 Historical Performance Data - AGN Victoria - 2011 to 2017
| VALUES | [8 empty] | As per the direction to consolidate:
| 0's | [8 empty] | 1. What is now the Albury network will be the Albury tariff zone under the combined access arrangement for the next Access Arrangement period, the revisions commencement date for which is 1 January 2018
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2. AGN must continue to maintain separate data on the capital base, including for the tax asset base, for the Albury tariff zone for the next Access Arrangement Period
FOR TOTAL ASSET BASE
Opening value | [7 empty] | 1542996958.3081 | 1580535792.0152 | Further details on the consolidation can be found:
Inflation addition | [7 empty] | 29836957.7573 | 32838593.6914 | https://www.aer.gov.au/system/files/AER%20-%20Direction%20to%20AGN%20to%20consolidate%20access%20arrangements%20for%20AGN%20s%20Victorian%20and%20Albury%20Networks%20-%2023%20March%202016.PDF
Straight line depreciation | [7 empty] | -76171012.1219 | -77975796.226
Actual additions (recognised in RAB) | [7 empty] | 83872888.0717 | 105822069.3351
Disposals
Closing value | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1580535792.0152 | 1641220658.8156
F10. ASSETS
F10.1 - CAPITAL BASE VALUES - Albury (for 2011 to 2017 please refer to Workbook 1 - Historical Performance Data - AGN Albury)
VALUES
0's
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
FOR TOTAL ASSET BASE
Opening value | [7 empty] | 37868809.6753 | 39357109.5036
Inflation addition | [7 empty] | 732269.8004 | 817717.7223
Straight line depreciation | [7 empty] | -1771621.1912 | -1808429.9423
Actual additions (recognised in RAB) | [7 empty] | 2527651.2193 | 2295806.5317
Disposals
Closing value | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 39357109.5036 | 40662203.8154