## Instructions
Gas Distribution Pipeline Service Provider
Annual Reporting Statement
This template is to be used by Australian Gas Networks Limited (reporting data for Albury and Victoria) to fulfil its reporting obligations to the AER.
INSTRUCTIONS
GENERAL | Complete the Business & other details worksheet before entering data or values in any other worksheets. The Business & other details worksheet is linked to other worksheets within the workbook and automatically generates certain column headings and conditional formatting.
CONFIDENTIAL INFORMATION | Please use the macro at the top of each worksheet to identify confidential information in the confidential workbook.
-Do this by selecting the cell or cells that contain confidential information and then run the Mark selection as CONFIDENTIAL macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as confidential. -To reverse this, select the cell or cells and run the Return selection to NON-CONFIDENTIAL macro.
RESPONSES | Please return two (2) files to the AER: 1. A confidential version which must contain a complete set of all responses with confidential information marked using the Mark selection CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 2. A public version with confidential information either removed completely or aggregated in some form together with writtten consent to disclose the public version of the response. Use the drop down box on the Business and other details worksheet to identify the file as either confidential ('consolidated') or public.
AMENDMENTS | If an NSP wishes to correct data previously submitted to the AER it should resubmit that data using the original completed submission as the starting point. Please make any necessary changes to the data. Data that is not being amended should be left unchanged. NSPs must identify the reason for the amendments in the Amendment Reason box on the Business and other details worksheet. NSPs may provide further details regarding any amendments in the Amendments worksheet. .
NSP may use Amended Data macro to highlight cells that contain amended data. NB: if data is also CONFIDENTIAL, re-apply the Confidentiality macro after applying the Amended macro
Please resubmit two (2) files - a confidential version and a public version of the amended submission to the AER
UNITS OF MEASURE | All amounts are to be unrounded and reported on a one for one basis: that is 1000 is to be entered as '1000'. Applicable units of measure may be identified in the table column headings or row descriptors.
INPUT / NON-INPUT CELLS
Yellow = Input cell (mandatory)
Darker yellow = input cell (mandatory)
Orange = input cell (if data available)
Grey = Not applicable/No inputs required
PLEASE DO NOT ENTER TEXT into cells that are to contain numeric data.
NAVIGATION | Many tables in the worksheets have been "grouped" to allow for easy navigation. To ungroup or group data use the outline symbols in the left margin (for Row groupings) or above the columns (for column groupings).

## CONTENTS
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2020
CONTENTS
| TEMPLATE DATED | September 2020
| SUBMISSION | Business & other details
| EXPENDITURE | E1. Expenditure Summary
E11. Labour
E21. ARS
| NETWORK | N1. Demand
N2. Network characteristcs
| SERVICE | S1.1. Customer numbers - by customer type
S1.2. Customer numbers - by tariff
S10. Supply quality
S11. Network reliability
S14. Network integrity
| FINANCIAL | F1. Income
F2. Capex
F3. Revenue
F4. Opex
F6. Related party transactions
F7. Provisions
F9. Pass throughs
F10. Assets
| ADMIN | Additional disclosures

## Business & other details
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2020
BUSINESS & OTHER DETAILS
INSTRUCTIONS
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings and conditional formatting to distinguish business specific input and non-input cells.
SUBMISSION PARTICULARS INPUT SHEET
ENTITY DETAILS
Business Name
| Short name |  |  | AGN (Albury and Victoria)
| ACN/ABN |  |  | 19078551685
| Business Address | [10 empty] | Postal Address
| Address 1 |  |  | Level 6 | [5 empty] | Address 1 |  | PO Box 6468
| Address 2 |  |  | 400 King William Street | [5 empty] | Address 2 |  | Halifax Street
| Suburb |  |  | ADELAIDE | [5 empty] | Suburb |  | ADELAIDE
| State |  |  | SA |  | Post code | 5000 |  |  | State |  | SA |  | Post code | 5000
`
Contact Names
Name
Phone
Email
REGULATORY CONTROL PERIODS
|  |  | Forthcoming period | 2020-21 | #N/A |  |  |  | #N/A |  | #N/A |  | #N/A
|  |  |  | #N/A | #N/A |  |  |  | #N/A |  | #N/A |  | #N/A
|  |  |  | #N/A | #N/A |  |  |  | #N/A |  | #N/A |  | #N/A
|  | RESETS | Current period | #N/A | #N/A |  |  |  | #N/A |  | #N/A |  | #N/A
|  |  |  | #N/A | #N/A |  |  |  | #N/A |  | #N/A |  | #N/A
|  |  |  | #N/A | #N/A |  |  |  | #N/A |  | #N/A |  | #N/A
|  |  | Previous period | #N/A | #N/A |  |  |  | #N/A |  | #N/A |  | #N/A
|  |  |  | #N/A | #N/A |  |  |  | #N/A |  | #N/A |  | #N/A
|  |  |  | #N/A | #N/A |  |  |  | #N/A |  | #N/A |  | #N/A
|  |  | Commencing year | 2020
ANNUAL RINS
|  |  | Final year | 2020
SUBMISSION DETAILS
|  |  | RIN type | Annual Reporting
|  |  | Source | Reporting
|  | THIS FILE | Data Quality | Consolidated
|  |  | Confidentiality Status | Public
|  |  | Amended RIN Amendment Reason | .
|  |  | Submission Date | 2021-04-30
Contents
Instructions

## E1. Expenditure Summary
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2020
E1. EXPENDITURE SUMMARY
E1.1 - CAPEX
E1.1.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2020
Connections | 46870340
Mains replacement | 53469720
Mains augmentation | 1045531
Telemetry | 485778
Meter replacement | 6162047
ICT | 7763305
Capitalised network overheads | 12434002
Capitalised corporate overheads
Other capex | 14546880
Capital contributions included in the above | 15898182
Total (less capital contributions) | 126879421
E1.1.2 - NON-REFERENCE SERVICES
Capital contributions included in the above
Total (less capital contributions) | 0
E1.2 - OPEX
E1.2.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2020
repairs and maintenance | 45465351.1281
marketing and retail incentives | 4898970.1792
debt raising | 1130728.1837
equity raising
unaccounted for gas | 1497263.66
jurisdictional charges | 4459785.04
GSL payments | 46055
other opex | 13047440.0888
Total | 70545593.2798
E1.2.2 - NON-REFERENCE SERVICES
repairs and maintenance | 609558.5354
Total | 609558.5354
E1.3 - CAPCONS
E1.3.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2020
Connections | 5021909
Mains replacement
Mains augmentation
Telemetry
Meter replacement
ICT
Capitalised network overheads | 1434038
Capitalised corporate overheads
Other capex | 9442235
Total | 15898182
E1.3.2 - NON-REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2020
Total | 0
E1.4 - CAPITALISED OVERHEADS
E1.4.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2020
Connections | 4813153
Mains replacement | 5429463
Mains augmentation | 99408
Telemetry | 45701
Meter replacement | 638085
ICT | 0
Other capex | 1408192
capital contributions included in the above | 1434038
Total (less capital contributions) | 10999964
E1.4.2 - NON-REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2020
Capital contributions included in the above
Total (less capital contributions) | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## E11. Labour
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2020
E11. LABOUR
Tables E11.1 and E11.2 omitted.
E11.3 - LABOUR / NON-LABOUR EXPENDITURE SPLIT
EXPENDITURE
$0's, nominal
2020
E11.3.1 - OPEX
In-house labour expenditure | 7844643.6718
Labour expenditure outsourced to related parties
Labour expenditure outsourced to unrelated parties | 35587187.8243
Non-labour expenditure | 27723320.319
Total | 71155151.8151
E11.3.2 - CAPEX
In-house labour expenditure | 770968
Labour expenditure outsourced to related parties
Labour expenditure outsourced to unrelated parties | 94206421
Non-labour expenditure | 31902032
Total | 126879421
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## E21. ARS
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2020
E21. ANCILLARY REFERENCE SERVICES
E21.1 - VOLUMES
VOLUMES
0's
Description | 2020
Disconnection | 1990
Reconnection | 4568
Special Meter Read - Metro | 146137.5
Special Meter Read - Non Metro | 55851.5
Meter Removal | 1639
Meter Reinstallation | 72
Meter Gas and Installtion test | 149
Total | 210407
E21.2 omitted
E21.3 - EXPENDITURE
EXPENDITURE
$0's, nominal
2020
Disconnection | 145267
Reconnection | 388254
Special Meter Read - Metro | 1359611.9
Special Meter Read - Non Metro | 714896.6
Meter Removal | 170450
Meter Reinstallation | 7494
Meter Gas and Installtion test | 32893
Total | 2818866.5
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## N1. Demand
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2020
N1. DEMAND
N1.1 - DEMAND - BY CUSTOMER TYPE
VOLUMES
GJ
2020
Residential | 33950911.0598
Commercial | 7184139.6136
Industrial | 15466681.511
Total | 56601732.1844
N1.2 - DEMAND - BY TARIFF
VOLUMES
GJ
Tariff | 2020
Tariff V - Central Zone - Residential | 28568390.8762
Tariff V - North Zone - Residential | 3885432.0122
Tariff V - Murray Valley Zone - Residential | 310829.8084
Tariff V - Bairnsdale Zone - Residential | 133714.3759
Tariff V - Central Zone - Non-Residential | 6074940.2193
Tariff V - North Zone - Non-Residential | 741616.183
Tariff V - Murray Valley Zone - Non-Residential | 60259.1043
Tariff V - Bairnsdale Zone - Non-Residential | 64676.2555
Tariff D - Central Zone - Industrial | 10859331.07
Tariff D - Northern Zone - Industrial | 4264065.047
Tariff D - Murray Valley Zone - Industrial
Tariff D - Bairnsdale Zone - Industrial
Tariff V - Albury Zone - Residential | 1052543.987
Tariff V - Albury Zone - Non-Residential | 242647.8516
Tariff D - Albury Zone - Industrial | 343285.394
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## N2. Network characteristcs
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2020
N2. NETWORK CHARACTERISTICS
N2.1 - NETWORK LENGTH - BY PRESSURE AND ASSET TYPE
VOLUMES
KM
2020
N2.1.1 - LOW PRESSURE
Cast Iron | 78.805
PVC | 66.414
Polyamide | 0
High density polyethylene (80) | 0
High density polyethylene (100) | 9.55
High density polyethylene (250) | 0
High density polyethylene (575) | 0.215
Medium density polyethylene | 0.523
Other polyethylene | 0
Unprotected steel | 4.02
Protected steel | 12.302
Other | 0
N2.1.2 - MEDIUM PRESSURE
Cast Iron | 14.928
PVC | 0
Polyamide | 0
High density polyethylene (80) | 0
High density polyethylene (100) | 0.052
High density polyethylene (250) | 0
High density polyethylene (575) | 4.807
Medium density polyethylene | 0.54
Other polyethylene | 0
Unprotected steel | 0.322
Protected steel | 19.395
Other | 0
N2.1.3 - HIGH PRESSURE
Cast Iron | 0
PVC | 0.292
Polyamide | 0
High density polyethylene (80) | 0
High density polyethylene (100) | 1454.298
High density polyethylene (250) | 0
High density polyethylene (575) | 3002.493
Medium density polyethylene | 4058.729
Other polyethylene | 0
Unprotected steel | 0
Protected steel | 3003.284
Other | 0.707
N2.1.4 - TRANSMISSION
Protected steel | 251.9
Other | 0
TOTAL | 11983.576
N2.2 - CITY GATES/REGULATORS
VOLUMES
0's
2020
City Gate | 54
Field Regulator | 87
District Regulator
Total | 141
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S1.1. Customer numbers
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2020
S1. CUSTOMER NUMBERS
S1.1 - CUSTOMER NUMBERS - BY CUSTOMER TYPE
VOLUMES
0's
2020
A. RESIDENTIAL
Customer numbers as at 1 January | 685026
Customer numbers as at 31 December | 699457
Total customer connections | 16298
Total customer disconnections | 1867
B. COMMERCIAL
Customer numbers as at 1 January | 24878
Customer numbers as at 31 December | 24890
Total customer connections | 251
Total customer disconnections | 239
C. INDUSTRIAL
Customer numbers as at 1 January | 274
Customer numbers as at 31 December | 276
Total customer connections | 4
Total customer disconnections | 2
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S1.2. Customer numbers
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2020
S1. CUSTOMER NUMBERS
S1.2 - CUSTOMER NUMBERS - BY TARIFF
S1.2.1 - CUSTOMER NUMBERS AS AT 1 JANUARY
VOLUMES
0's
2020
Tariff V - Central Zone - Residential | 569054
Tariff V - North Zone - Residential | 80388
Tariff V - Murray Valley Zone - Residential | 8286
Tariff V - Bairnsdale Zone - Residential | 4638
Tariff V - Central Zone - Non-Residential | 20210
Tariff V - North Zone - Non-Residential | 3266
Tariff V - Murray Valley Zone - Non-Residential | 353
Tariff V - Bairnsdale Zone - Non-Residential | 121
Tariff D - Central Zone - Industrial | 206
Tariff D - Northern Zone - Industrial | 51
Tariff D - Murray Valley Zone - Industrial | 7
Tariff D - Bairnsdale Zone - Industrial | 3
Tariff V - Albury Zone - Residential | 22660
Tariff V - Albury Zone - Non-Residential | 928
Tariff D - Albury Zone - Industrial | 7
Total | 710178
S1.2.2 - CUSTOMER NUMBERS AS AT 31 DECEMBER
VOLUMES
0's
2020
Tariff V - Central Zone - Residential | 580952
Tariff V - North Zone - Residential | 82144
Tariff V - Murray Valley Zone - Residential | 8471
Tariff V - Bairnsdale Zone - Residential | 4817
Tariff V - Central Zone - Non-Residential | 20192
Tariff V - North Zone - Non-Residential | 3279
Tariff V - Murray Valley Zone - Non-Residential | 364
Tariff V - Bairnsdale Zone - Non-Residential | 123
Tariff D - Central Zone - Industrial | 209
Tariff D - Northern Zone - Industrial | 50
Tariff D - Murray Valley Zone - Industrial | 7
Tariff D - Bairnsdale Zone - Industrial | 3
Tariff V - Albury Zone - Residential | 23073
Tariff V - Albury Zone - Non-Residential | 932
Tariff D - Albury Zone - Industrial | 7
Total | 724623
S1.2.3 - TOTAL CUSTOMER CONNECTIONS
VOLUMES
0's
2020
Tariff V - Central Zone - Residential | 13577
Tariff V - North Zone - Residential | 1900
Tariff V - Murray Valley Zone - Residential | 199
Tariff V - Bairnsdale Zone - Residential | 183
Tariff V - Central Zone - Non-Residential | 188
Tariff V - North Zone - Non-Residential | 38
Tariff V - Murray Valley Zone - Non-Residential | 12
Tariff V - Bairnsdale Zone - Non-Residential | 2
Tariff D - Central Zone - Industrial | 4
Tariff D - Northern Zone - Industrial | 0
Tariff D - Murray Valley Zone - Industrial | 0
Tariff D - Bairnsdale Zone - Industrial | 0
Tariff V - Albury Zone - Residential | 439
Tariff V - Albury Zone - Non-Residential | 11
Tariff D - Albury Zone - Industrial | 0
Total | 16553
S1.2.4 - TOTAL CUSTOMER DISCONNECTIONS
VOLUMES
0's
2020
Tariff V - Central Zone - Residential | 1679
Tariff V - North Zone - Residential | 144
Tariff V - Murray Valley Zone - Residential | 14
Tariff V - Bairnsdale Zone - Residential | 4
Tariff V - Central Zone - Non-Residential | 206
Tariff V - North Zone - Non-Residential | 25
Tariff V - Murray Valley Zone - Non-Residential | 1
Tariff V - Bairnsdale Zone - Non-Residential | 0
Tariff D - Central Zone - Industrial | 1
Tariff D - Northern Zone - Industrial | 1
Tariff D - Murray Valley Zone - Industrial | 0
Tariff D - Bairnsdale Zone - Industrial | 0
Tariff V - Albury Zone - Residential | 26
Tariff V - Albury Zone - Non-Residential | 7
Tariff D - Albury Zone - Industrial | 0
Total | 2108
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S10. Supply quality
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2020
S10. SUPPLY QUALITY
S10.1 - PRESSURE FAULTS
VOLUMES
0's
2020
Poor Pressure events - mains
Poor Pressure events - services
Poor Pressure event - meters | 773
Pressure events impacting 5+ customers | 1
Pressure events with >12 hr resolution | 210
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S11. Network reliability
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2020
S11. NETWORK RELIABILITY
S11.1 - NETWORK OUTAGES
S11.1.1 - PLANNED
VOLUMES
0's
2020
Count of outage events | 2530
Outages affecting 5+ customers
Outages with >12 hr supply interuption
S11.1.2 - UNPLANNED
VOLUMES
0's
2020
Count of outage events | 918
Outages affecting 5+ customers | 11
Outages with >12 hr supply interuption | 49
S11.2 - LEAKS - BY ASSET TYPE AND CAUSE OF LEAK
S11.2.1 - LOW PRESSURE
VOLUMES
Number per KM
2020
Cast Iron
Broken pipe - cracked | 0.32993
Broken pipe - full break | 0.088827
Corrosion | 0.57103
Joint leak | 3.5531
3rd party damage | 0.025379
Identified water in main | 0
Other | 0.088827
PVC
Broken pipe - cracked | 0.25597
Broken pipe - full break | 0.16563
Corrosion | 0.24091
Joint leak | 0.39148
3rd party damage | 0.090342
Identified water in main | 0
Other | 0.045171
Polyamide
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (80)
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (100)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0.20942
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (250)
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (575)
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
Medium density polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 1.912
Joint leak | 1.912
3rd party damage | 0
Identified water in main | 0
Other | 0
Other polyethylene
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
Unprotected steel
Broken pipe - cracked | 0.24876
Broken pipe - full break | 0
Corrosion | 0.49751
Joint leak | 1.2438
3rd party damage | 0.24876
Identified water in main | 0
Other | 0
Protected steel
Broken pipe - cracked | 0.081288
Broken pipe - full break | 0
Corrosion | 0.32515
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
S11.2.2 - MEDIUM PRESSURE
VOLUMES
Number per KM
2020
Cast Iron
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.13398
Joint leak | 1.2058
3rd party damage | 0
Identified water in main | 0
Other | 0.13398
PVC
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
Polyamide
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (80)
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (100)
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (250)
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (575)
Broken pipe - cracked | 0.20803
Broken pipe - full break | 0
Corrosion | 0.20803
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Medium density polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 1.8519
3rd party damage | 0
Identified water in main | 0
Other | 0
Other polyethylene
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
Unprotected steel
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
Protected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0.05156
3rd party damage | 0.05156
Identified water in main | 0
Other | 0
S11.2.3 - HIGH PRESSURE
VOLUMES
Number per KM
2020
Cast Iron
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
PVC
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
Polyamide
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (80)
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (100)
Broken pipe - cracked | 0.010314
Broken pipe - full break | 0.024067
Corrosion | 0.008939
Joint leak | 0.035756
3rd party damage | 0.061886
Identified water in main | 0
Other | 0.0034381
High density polyethylene (250)
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
High density polyethylene (575)
Broken pipe - cracked | 0.039634
Broken pipe - full break | 0.030308
Corrosion | 0.059284
Joint leak | 0.071274
3rd party damage | 0.11757
Identified water in main | 0
Other | 0.0043297
Medium density polyethylene
Broken pipe - cracked | 0.016508
Broken pipe - full break | 0.022914
Corrosion | 0.022914
Joint leak | 0.062581
3rd party damage | 0.067755
Identified water in main | 0
Other | 0.0044349
Other polyethylene
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
Unprotected steel
Broken pipe - cracked
Broken pipe - full break
Corrosion
Joint leak
3rd party damage
Identified water in main
Other
Protected steel
Broken pipe - cracked | 0.021643
Broken pipe - full break | 0.014651
Corrosion | 0.076583
Joint leak | 0.068592
3rd party damage | 0.049279
Identified water in main | 0
Other | 0.0019978
S11.3 - UNACCOUNTED FOR GAS - TRANSMISSION AND DISTRIBUTION
VOLUMES
TJ
Place of loss | 2020
Distribution and Transmission | 2270000
Total | 2270000
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S14. Network integrity
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2020
S14. NETWORK INTEGRITY
S14.1 - LOSS OF CONTAINMENT
VOLUMES
0's
| Units | 2020
S14.1.1 - MAINS
Number of Leaks - publicly reported | number | 280
Number of Leaks - found through survey | number | 240
Repaired Leaks | number | 520
Length of network subject to survey | km | 2811.37
S14.1.2 - SERVICES
Number of Leaks - publicly reported | number | 1781
Number of Leaks - found through survey | number | 103
Repaired Leaks | number | 1884
Number of services surveyed | number
S14.1.3 - METERS
Number of Leaks - publicly reported | number | 14169
Number of Leaks - found through survey | number | 25
Repaired Leaks | number | 14194
Number of meters surveyed | number
S14.2 - INSTANCES OF DAMAGE
VOLUMES
0's
| Units | 2020
Mains | number | 51
Services | number | 821
Meters | number | 5
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F1. Income
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2020
F1. INCOME
F1.1 - AUDITED STATUTORY ACCOUNTS
$0's, nominal
2020
F1.1.1 - REVENUE
Distribution revenue | 263729846.75
Capital contributions | 21838544.06
Profit from sale of fixed assets | 0
Other revenue | 3581374.18
Total revenue | 289149764.99
F1.1.2 - EXPENDITURE
Operating expenditure | 49067620.75
Depreciation | 39076124.41
Net finance expenses | 57219083.21
Loss from sale of fixed assets | 0
Impairment losses | 0
Other expenses | 211202902.11
Total expenditure | 356565730.48
F1.1.3 - PROFIT
Profit before tax | -67415965.49
Income tax expenses (/ benefit) | -20224790
Profit after tax | -47191175.49
F1.2 - ADJUSTMENTS
$0's, nominal
2020
F1.2.1 - REVENUE
Distribution revenue | 1934614.35
Capital contributions | 21838544.06
Profit from sale of fixed assets | 0
Other Revenue | 3581374.18
Total revenue | 27354532.59
F1.2.2 - EXPENDITURE
Operating expenditure | -22087531.0651
Depreciation | -41875275.3181
Net finance expenses | 5405193.1957
Loss from sale of fixed assets | 0
Impairment losses | 0
Other expenses | 211202902.11
Total expenditure | 152645288.9224
F1.2.3 - PROFIT
Profit before tax | -125290756.3324
Income tax expenses (/ benefit) | -37587227.2527
Profit after tax | -87703529.0797
F1.3 - DISTRIBUTION BUSINESS
$0's, nominal
2020
F1.3.1 - REVENUE
Distribution revenue | 261795232.4
Capital contributions | 0
Profit from sale of fixed assets | 0
Other Revenue | 0
Total revenue | 261795232.4
F1.3.2 - EXPENDITURE
Operating expenditure | 71155151.8151
Depreciation | 80951399.7281
Net finance expenses | 51813890.0143
Loss from sale of fixed assets | 0
Impairment losses | 0
Other expenses | 0
Total expenditure | 203920441.5576
F1.3.3 - PROFIT
Profit before tax | 57874790.8424
Income tax expenses (/ benefit) | 17362437.2527
Profit after tax | 40512353.5897
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F2. Capex
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2020
F2. CAPITAL EXPENDITURE
F2.4 - CAPEX BY ASSET CLASS
F2.4.2 - ACTUAL - AS INCURRED
EXPENDITURE
$0's, nominal
Asset Class | 2020
Mains & Services - Albury | 1460600
Meters - Albury | 400267
Buildings - Albury | 0
SCADA - Albury | 508
Computer Equipment - Albury | 250928
Other Assets - Albury | 134513
Land - Albury | 0
Mains & Services - Victoria | 114647925
Meters - Victoria | 12476711
Buildings - Victoria | 0
SCADA - Victoria | 530971
Computer Equipment - Victoria | 7512377
Other Assets - Victoria | 5362804
Land - Victoria | 0
Total | 142777604
F2.4.3 - MOVEMENT IN PROVISIONS ALLOCATED TO AS-INCURRED CAPEX
EXPENDITURE
$0's, nominal
Asset Class | 2020
Mains & Services - Albury
Meters - Albury
Buildings - Albury
SCADA - Albury
Computer Equipment - Albury
Other Assets - Albury
Land - Albury
Mains & Services - Victoria
Meters - Victoria
Buildings - Victoria
SCADA - Victoria
Computer Equipment - Victoria
Other Assets - Victoria
Land - Victoria
Total | 0
F2.5 - CAPITAL CONTRIBUTIONS BY ASSET CLASS
F2.5.1 - ACTUAL - AS INCURRED
EXPENDITURE
$0's, nominal
Asset Class | 2020
Mains & Services - Albury | 357132.1463
Meters - Albury
Buildings - Albury
SCADA - Albury
Computer Equipment - Albury
Other Assets - Albury
Land - Albury
Mains & Services - Victoria | 14899234
Meters - Victoria | 567892
Buildings - Victoria
SCADA - Victoria
Computer Equipment - Victoria
Other Assets - Victoria | 73924
Land - Victoria
Total | 15898182.1463
F2.6 - DISPOSALS BY ASSET CLASS
F2.6.2 - ACTUAL
EXPENDITURE
$0's, nominal
Asset Class | 2020
Mains & Services - Albury
Meters - Albury
Buildings - Albury
SCADA - Albury
Computer Equipment - Albury
Other Assets - Albury
Land - Albury
Mains & Services - Victoria
Meters - Victoria
Buildings - Victoria
SCADA - Victoria
Computer Equipment - Victoria
Other Assets - Victoria
Land - Victoria
Total | 0
F2.7 - IMMEDIATE EXPENSING CAPITAL EXPENDITURE
ACTUAL - AS INCURRED
EXPENDITURE
$0's, nominal
Asset Class | 2020
Mains & Services - Albury | 248007.79
Meters - Albury
Buildings - Albury
SCADA - Albury
Computer Equipment - Albury
Other Assets - Albury
Land - Albury
Mains & Services - Victoria | 59292847.5
Meters - Victoria
Buildings - Victoria
SCADA - Victoria
Computer Equipment - Victoria
Other Assets - Victoria
Land - Victoria
Total | 59540855.29
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F3. Revenue
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2020
F3. REVENUE
F3.1 - REFERENCE SERVICES
F3.1.1 - REVENUE - BY TARIFF
REVENUE
$0's, nominal
Tariff | 2020
Tariff V - Central Zone - Residential | 198919672.44
Tariff V - North Zone - Residential | 24796575.29
Tariff V - Murray Valley Zone - Residential | 2238322.52
Tariff V - Bairnsdale Zone - Residential | 1929587.45
Tariff V - Central Zone - Non-Residential | 16043520.44
Tariff V - North Zone - Non-Residential | 1886666.53
Tariff V - Murray Valley Zone - Non-Residential | 205694.33
Tariff V - Bairnsdale Zone - Non-Residential | 251594.44
Tariff D - Central Zone - Industrial | 3269491.53
Tariff D - Northern Zone - Industrial | 1287161.1
Tariff D - Murray Valley Zone - Industrial
Tariff D - Bairnsdale Zone - Industrial
Tariff V - Albury Zone - Residential | 6444850.99
Tariff V - Albury Zone - Non-Residential | 535349.36
Tariff D - Albury Zone - Industrial | 98958.84
Total | 257907445.26
F3.2 - ANCILLARY REFERENCE SERVICES
REVENUE
$0's, nominal
Service Name | 2020
Disconnection | 145267
Reconnection | 388254
Special Meter Read - Metro | 1359611.9
Special Meter Read - Non Metro | 714896.6
Meter Removal | 170450
Meter Reinstallation | 7494
Meter Gas and Installation test | 32893
Total | 2818866.5
F3.3 - REBATEABLE SERVICES
REVENUE
$0's, nominal
Service Name | 2020
Total | 0
F3.4 - NON-REFERENCE SERVICES
REVENUE
$0's, nominal
Service Name | 2020
Out of Hours Special Read | 26946
Meter Alter Position | 281057.36
Same Day Premium Service | 94394
Disconnect Serivce in Street | 13744
No Access/Incomplete Meter Fix | 286366
Reconnect Service in Street | 17880
Total | 720387.36
F3.5 - TOTAL REVENUE
2020
Total | 261446699.12
F3.6 - REWARDS AND PENALTIES FROM INCENTIVE SCHEMES
Scheme | 2020
Efficiency Benefit Sharing Scheme - AGN Victoria | 3384963.6497
Efficiency Benefit Sharing Scheme - AGN Albury | 18818.6604
Total | 3403782.3102
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F4. Opex
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2020
F4. OPERATING EXPENDITURE
F4.1 - OPEX - BY PURPOSE
F4.1.1 - AUDITED STATUTORY ACCOUNTS
EXPENDITURE
$0's, nominal
Description | 2020
repairs and maintenance | 41059963.97
marketing and retail incentives | 98733.26
debt raising
equity raising
unaccounted for gas | 1497263.66
jurisdictional charges | 4459785.04
GSL payments | 46055
other opex | 1905819.82
Total | 49067620.75
F4.1.2 - ADJUSTMENTS
EXPENDITURE
$0's, nominal
Description | 2020
repairs and maintenance | -5014945.6935
marketing and retail incentives | -4800236.9192
debt raising | -1130728.1837
equity raising
unaccounted for gas | 0
jurisdictional charges | 0
GSL payments | 0
other opex | -11141620.2688
Total | -22087531.0651
F4.1.3 - DISTRIBUTION BUSINESS
EXPENDITURE
$0's, nominal
Description | 2020
repairs and maintenance | 46074909.6635
marketing and retail incentives | 4898970.1792
debt raising | 1130728.1837
equity raising
unaccounted for gas | 1497263.66
jurisdictional charges | 4459785.04
GSL payments | 46055
other opex | 13047440.0888
Total | 71155151.8151
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F6. Related party transactions
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2020
F6. RELATED PARTY TRANSACTIONS
F6.1 - AGN (Albury and Victoria) PAYMENTS GREATER THAN $1,000,000 MADE TO RELATED PARTY
| $0's, nominal | Nature of the relationship eg. percentage ownership by/of related party of/by Gas Distributor | Services Provided | Description of how this transaction amount was determined | Description of how this amount is reflected in the Regulatory Templates, including the asset class or cost category | Where the related party expenditure has been allocated to different asset classes or cost categories, the description of the basis of allocation and the quantum of the allocator
Name of related party | 2020
F6.1.1 - EXPENDITURE
F6.1.2 - CORRESPONDING EXPENSES INCURRED BY RELATED PARTY
F6.2 - AGN (Albury and Victoria) PAYMENTS GREATER THAN $1,000,000 RECEIVED FROM RELATED PARTY
| $0's, nominal | Nature of the relationship eg. percentage ownership by/of related party of/by Gas Distributor | Services Provided | Description of how this transaction amount was determined | Description of how this amount is reflected in the Regulatory Templates, including the asset class or cost category | Where the related party expenditure has been allocated to different asset classes or cost categories, the description of the basis of allocation and the quantum of the allocator
2020
F6.2.1 - REVENUE
F6.2.2 - CORRESPONDING EXPENSES INCURRED BY AGN (Albury and Victoria)
F6.3 - RELATED PARTY MARGIN EXPENDITURE - BY CATEGORY
F6.3.1 - CAPEX
EXPENDITURE
$0's, nominal
Capex category | 2020
Connections
Mains replacement
Mains augmentation
Telemetry
Meter replacement
ICT
Capitalised network overheads
Capitalised corporate overheads
Other capex
Total | 0
F6.3.2 - OPEX
EXPENDITURE
$0's, nominal
Opex category | 2020
repairs and maintenance
marketing and retail incentives
debt raising
equity raising
unaccounted for gas
jurisdictional charges
GSL payments
other opex
Total | 0
F6.4 - PER CENTAGE OF CAPEX OUTSOURCED TO RELATED PARTY
PER CENTAGE %
Capex category | 2020
Connections
Mains replacement
Mains augmentation
Telemetry
Meter replacement
ICT
Capitalised network overheads
Capitalised corporate overheads
Other capex
F6.5 - PER CENTAGE OF OPEX OUTSOURCED TO RELATED PARTY
PER CENTAGE %
Capex category | 2020
Total
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F7. Provisions
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2020
F7. PROVISIONS
F7 - PROVISIONS
VALUES $0's, nominal
2020
Provision name: Current employee entitlements and oncosts
Current provision for employee annual leave, long service leave and oncosts
Opening balance (the carrying amount at the beginning of the period) | 712948.8305
Additional provisions made in the period, including increases to existing provisions
Opex component | 1157097.8436
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | -252574.7986
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component | -1267.8821
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 1616203.9933
Provision name: Provision for Long Service Leave (Non Current)
Non Current Provision for Long Service Leave
Opening balance (the carrying amount at the beginning of the period) | 190045.2677
Additional provisions made in the period, including increases to existing provisions
Opex component | -109171.9121
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component | -337.9696
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 80535.386
Asbestos Claims Provision
Provision for potential future Asbestos claims
Opening balance (the carrying amount at the beginning of the period) | 250722.8099
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component | -445.8763
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 250276.9337
Provision name
Employee Costs ( Bonus Provision) (GL 31010)
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Property Lease Break Provision (GL 32100)
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Payroll Tax on Bonus Provision (GL 30305)
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F9. Pass throughs
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2020
F9. PASS THROUGHS
F9.1 - PASS THROUGH EVENT EXPENDITURE
EXPENDITURE
$0's, nominal
Description | 2020
Total | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F10. Assets
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2020
F10. ASSETS
F10.1 - CAPITAL BASE VALUES
VALUES
0's
2020
FOR TOTAL ASSET BASE
Opening value | 1672607606.1521
Inflation addition | 26643307.0007
Straight line depreciation | -80951399.7281
Actual additions (recognised in RAB) | 129864329.9854
Disposals
Closing value | 1748163843.4101
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## Additional disclosures
F10. ASSETS
Notes:
Please note that on 23 March 2016, the AER issued a direction to AGN to consolidate the two Access Arrangements for its Victorian and Albury gas distribution networks with effect from next access arrangement period commencing, 1 January 2018.
F10.1 - CAPITAL BASE VALUES - Victoria |  | As per the direction to consolidate:
1. What is now the Albury network will be the Albury tariff zone under the combined access arrangement for the next Access Arrangement period, the revisions commencement date for which is 1 January 2018
2. AGN must continue to maintain separate data on the capital base, including for the tax asset base, for the Albury tariff zone for the next Access Arrangement Period
2020
FOR TOTAL ASSET BASE |  | Further details on the consolidation can be found:
Opening value | 1631879757.7455 | https://www.aer.gov.au/system/files/AER%20-%20Direction%20to%20AGN%20to%20consolidate%20access%20arrangements%20for%20AGN%20s%20Victorian%20and%20Albury%20Networks%20-%2023%20March%202016.PDF
Inflation addition | 25994544.8136
Straight line depreciation | -79145775.7293
Actual additions (recognised in RAB) | 127930190.2806
Disposals
Closing value | 1706658717.1103
F10. ASSETS
F10.1 - CAPITAL BASE VALUES - Albury
2020
FOR TOTAL ASSET BASE
Opening value | 40727848.4066
Inflation addition | 648762.187
Straight line depreciation | -1805623.9988
Actual additions (recognised in RAB) | 1934139.7049
Disposals
Closing value | 41505126.2997