## Formats
CP Pricing Model
Formats
| Cell Format | Purpose | Example
| Black font 10pt, yellow shading | Forecast input not linked to external file | Input
| Black font 10pt, pink shading | Input sourced from PTRM | Input
| Black font 10pt, pink shading | Input sourced from O&M model | Input
| Black font 10pt, pink shading | Input sourced from capex model | Input
| Black font 10pt, pink shading | Input sourced from other models | Input
| Tab Format | Purpose | Example
| Yellow tab, black font | Inputs and assumptions | Input
| Black tab, white font | Calculations | Calculations
| Blue tab, black font | Output | Output

## Inputs
CP Pricing Model |  |  |  | CHECK: | OK
Inputs
| Inflation | 2.5%
| Pre tax real WACC | 4.125%
| Select Year | 2016 | 1
| Select SAC | VPN | 1
|  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
| Conversion to $2015 | 1.0363 | 1 | 0.97466 | 0.94996 | 0.92589 | 0.90242 | 0.87956
MCR ($/MVA, $2015)
| LV Lines | 1240291.7295 | 1240291.7295 | 1240291.7295 | 1240291.7295 | 1240291.7295 | 1240291.7295 | 1240291.7295
| Dist S/S | 873129.5569 | 873129.5569 | 873129.5569 | 873129.5569 | 873129.5569 | 873129.5569 | 873129.5569
| HV Lines | 529474.7185 | 529474.7185 | 529474.7185 | 529474.7185 | 529474.7185 | 529474.7185 | 529474.7185
| ZSS Transformers | 275371.6295 | 275371.6295 | 275371.6295 | 275371.6295 | 275371.6295 | 275371.6295 | 275371.6295
| SubT Lines | 142163.4022 | 142163.4022 | 142163.4022 | 142163.4022 | 142163.4022 | 142163.4022 | 142163.4022
Power Factor
| Residential | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8
| Small Commercial | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8
| Large Low Voltage | 0.846 | 0.846 | 0.846 | 0.846 | 0.846 | 0.846 | 0.846
| High Voltage | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9
| Subtransmission | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95
Load Factor
| Residential | 0.35 | 0.35 | 0.35 | 0.35 | 0.35 | 0.35 | 0.35
| Small Commercial | 0.35 | 0.35 | 0.35 | 0.35 | 0.35 | 0.35 | 0.35
| Large Low Voltage | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
| High Voltage | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6
| Subtransmission | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7
Standard Asset Life (years)
| Subtransmission |  |  | 50 | 50 | 50 | 50 | 50
| Distribution system assets |  |  | 49 | 49 | 49 | 49 | 49
| Metering |  |  | 15 | 15 | 15 | 15 | 15
| Public lighting |  |  | 25 | 25 | 25 | 25 | 25
| SCADA/Network control |  |  | 13 | 13 | 13 | 13 | 13
| Non network - IT |  |  | 6 | 6 | 6 | 6 | 6
| Non network - other |  |  | 10 | 10 | 10 | 10 | 10
| VBRC |  |  | 20.8241 | 20.8241 | 20.8241 | 20.8241 | 20.8241
Remaining Asset Life (years)
| Subtransmission |  |  | 30.5319 | 30.5319 | 30.5319 | 30.5319 | 30.5319
| Distribution system assets |  |  | 20.8241 | 20.8241 | 20.8241 | 20.8241 | 20.8241
| Metering |  |  | 1.061 | 1.061 | 1.061 | 1.061 | 1.061
| Public lighting |  |  | 8.2652 | 8.2652 | 8.2652 | 8.2652 | 8.2652
| SCADA/Network control |  |  | 7.7088 | 7.7088 | 7.7088 | 7.7088 | 7.7088
| Non network - IT |  |  | 5.4554 | 5.4554 | 5.4554 | 5.4554 | 5.4554
| Non network - other |  |  | 7.4076 | 7.4076 | 7.4076 | 7.4076 | 7.4076
| VBRC |  |  | 0 | 0 | 0 | 0 | 0
Opening RAB ('000,$2015)
| Subtransmission |  |  | 398640.6187
| Distribution system assets |  |  | 1271911.6546
| Metering |  |  | 7173.8555
| Public lighting |  |  | 7143.1718
| SCADA/Network control |  |  | 13947.0481
| Non network - IT |  |  | 30720.4219
| Non network - other |  |  | 11910.9983
| VBRC |  |  | 0
| Total |  |  | 1741447.769 |  |  |  |  | 0
Other Inputs ($000,2015)
| O&M |  |  | 61094.0707 | 62755.623 | 64623.2196 | 66319.5678 | 67832.6374
| Maintenance Cost |  |  | 36137.1311 | 37550.2721 | 38894.3305 | 40100.5003 | 41213.7514
| Depreciation |  |  | 50449.4683 | 48738.1113 | 53491.2899 | 58350.8732 | 63184.1789
| Avoidable Opex (gsl, billing, customer service, advertising) |  |  | 6686.6705 | 6710.4481 | 7739.9673 | 7969.7983 | 8183.3605
| Scale Escalation |  |  | 3975.8355 | 5737.5688 | 7365.3687 | 8618.572 | 9598.6127
| Reinforcement Capex |  |  | 43039.54 | 68597.0833 | 47553.217 | 27487.0891 | 12991.204
| Energy (kWh) | Category
| Residential Single Rate | Residential | 840045505.5269 | 779205031.7057 | 779205031.7057 | 779205031.7057 | 779205031.7057 | 779205031.7057
| Residential Single Rate - Bulk | Residential | 105835125.1198 | 102507964.1144 | 102507964.1144 | 102507964.1144 | 102507964.1144 | 102507964.1144
| Residential - flexible pricing | Residential | 4784592.5855 | 10704148.3063 | 10704148.3063 | 10704148.3063 | 10704148.3063 | 10704148.3063
| Residential - flexible pricing bulk | Residential | 433279.664 | 620497.9606 | 620497.9606 | 620497.9606 | 620497.9606 | 620497.9606
| Residential Two Rate 5d | Residential | 67705708.0057 | 57856139.1584 | 57856139.1584 | 57856139.1584 | 57856139.1584 | 57856139.1584
| Residential Two Rate 5d - Bulk | Residential | 23119759.143 | 17533578.1487 | 17533578.1487 | 17533578.1487 | 17533578.1487 | 17533578.1487
| Residential Interval | Residential | 115286934.0374 | 115819513.6378 | 115819513.6378 | 115819513.6378 | 115819513.6378 | 115819513.6378
| Residential Interval - Bulk | Residential | 29613271.9795 | 31245855.7156 | 31245855.7156 | 31245855.7156 | 31245855.7156 | 31245855.7156
| Residential Two Rate 5d - Controlled Load | Residential | 20306658.0943 | 24560225.2214 | 24560225.2214 | 24560225.2214 | 24560225.2214 | 24560225.2214
| Residential Two Rate 5d - Bulk - Controlled Load | Residential | 7430539.6436 | 7910688.9977 | 7910688.9977 | 7910688.9977 | 7910688.9977 | 7910688.9977
| Dedicated Circuit | Residential | 39006627.9309 | 37779421.2664 | 37779421.2664 | 37779421.2664 | 37779421.2664 | 37779421.2664
| Dedicated Circuit - Bulk | Residential | 2567003.8431 | 2659693.3172 | 2659693.3172 | 2659693.3172 | 2659693.3172 | 2659693.3172
| Non-Residential Single Rate | Small Commercial | 318893350.6083 | 324230511.2699 | 324230511.2699 | 324230511.2699 | 324230511.2699 | 324230511.2699
| Non-Residential Single Rate - Bulk | Small Commercial | 126031588.565 | 126853171.6926 | 126853171.6926 | 126853171.6926 | 126853171.6926 | 126853171.6926
| Non-Residential Two Rate 5d | Small Commercial | 533091642.2876 | 519270311.9696 | 519270311.9696 | 519270311.9696 | 519270311.9696 | 519270311.9696
| Non-Residential Two Rate 5d - Bulk | Small Commercial | 165446734.1965 | 156751696.3212 | 156751696.3212 | 156751696.3212 | 156751696.3212 | 156751696.3212
| Non-Residential Interval | Small Commercial | 195861711.8955 | 189268379.6534 | 189268379.6534 | 189268379.6534 | 189268379.6534 | 189268379.6534
| Non-Residential Interval - Bulk | Small Commercial | 298911955.5856 | 286588472.0251 | 286588472.0251 | 286588472.0251 | 286588472.0251 | 286588472.0251
| Non-Residential | Small Commercial | 3141425.7903 | 4710511.1562 | 4710511.1562 | 4710511.1562 | 4710511.1562 | 4710511.1562
| Non-Residential - Bulk | Small Commercial | 6237460.5046 | 8611291.7455 | 8611291.7455 | 8611291.7455 | 8611291.7455 | 8611291.7455
| Non-Residential Two Rate 7d | Small Commercial | 124106191.2264 | 122052247.0947 | 122052247.0947 | 122052247.0947 | 122052247.0947 | 122052247.0947
| Non-Residential Two Rate 7d - Bulk | Small Commercial | 32065651.1818 | 30978672.3333 | 30978672.3333 | 30978672.3333 | 30978672.3333 | 30978672.3333
| Large Two Rate 7d | Small Commercial | 18441856.719 | 17751645.0436 | 17751645.0436 | 17751645.0436 | 17751645.0436 | 17751645.0436
| Unmetered Supplies / Public Lighting | Small Commercial | 36163648.1404 | 34216814.2527 | 34216814.2527 | 34216814.2527 | 34216814.2527 | 34216814.2527
| Large Low Voltage Demand | Large Low voltage | 156156940.9396 | 157795974.2894 | 157795974.2894 | 157795974.2894 | 157795974.2894 | 157795974.2894
| Large Low Voltage Demand - Bulk | Large Low voltage | 1717369591.2429 | 1720225895.2873 | 1720225895.2873 | 1720225895.2873 | 1720225895.2873 | 1720225895.2873
| Large Low Voltage Demand R | Large Low voltage | 3305633.2404 | 3927272.5745 | 3927272.5745 | 3927272.5745 | 3927272.5745 | 3927272.5745
| Large Low Voltage Demand G | Large Low voltage | -3611449.3478 | 550812 | 550812 | 550812 | 550812 | 550812
| Large Low Voltage Demand - Bulk R | Large Low voltage | 78594004.1753 | 87281098.7393 | 87281098.7393 | 87281098.7393 | 87281098.7393 | 87281098.7393
| Large Low Voltage Demand - Bulk G | Large Low voltage | 130640897.3326 | 128381374.5699 | 128381374.5699 | 128381374.5699 | 128381374.5699 | 128381374.5699
| Large Low Voltage | Large Low voltage | 0 | 162274058.864 | 162274058.864 | 162274058.864 | 162274058.864 | 162274058.864
| Large Low Voltage Bulk | Large Low voltage | 0 | 1935888368.5965 | 1935888368.5965 | 1935888368.5965 | 1935888368.5965 | 1935888368.5965
| High Voltage Demand | High Voltage | 594281189.5443 | 582602285.2386 | 582602285.2386 | 582602285.2386 | 582602285.2386 | 582602285.2386
| High Voltage Demand D1 | High Voltage | 0 | 0 | 0 | 0 | 0 | 0
| High Voltage Demand R | High Voltage | 0 | 0 | 0 | 0 | 0 | 0
| High Voltage Demand G | High Voltage | 8019917.4109 | 7838081.29 | 7838081.29 | 7838081.29 | 7838081.29 | 7838081.29
| High Voltage | High Voltage | 0 | 590440366.5286 | 590440366.5286 | 590440366.5286 | 590440366.5286 | 590440366.5286
| Subtransmission Demand | Subtransmission | 98176983.671 | 99361068.4163 | 99361068.4163 | 99361068.4163 | 99361068.4163 | 99361068.4163
| Subtransmission Demand | Subtransmission | 0 | 99361068.4163 | 99361068.4163 | 99361068.4163 | 99361068.4163 | 99361068.4163
| Total |  | 5897461930.4837 | 5797650344.5136 | 5797650344.5136 | 5797650344.5136 | 5797650344.5136 | 5797650344.5136
| check |  | 0 | 0 | 0 | 0 | 0 | 0
| Customer Number | Category
| Residential Single Rate | Residential | 198599.0833 | 198862.4943 | 198862.4943 | 198862.4943 | 198862.4943 | 198862.4943
| Residential Single Rate - Bulk | Residential | 30730.4167 | 31421.092 | 31421.092 | 31421.092 | 31421.092 | 31421.092
| Residential - flexible pricing | Residential | 646.8333 | 911.4691 | 911.4691 | 911.4691 | 911.4691 | 911.4691
| Residential - flexible pricing bulk | Residential | 86.641 | 127.1133 | 127.1133 | 127.1133 | 127.1133 | 127.1133
| Residential Two Rate 5d | Residential | 11066.2244 | 11062.7992 | 11062.7992 | 11062.7992 | 11062.7992 | 11062.7992
| Residential Two Rate 5d - Bulk | Residential | 4379.8333 | 4384.5694 | 4384.5694 | 4384.5694 | 4384.5694 | 4384.5694
| Residential Interval | Residential | 17393.0833 | 17978.4015 | 17978.4015 | 17978.4015 | 17978.4015 | 17978.4015
| Residential Interval - Bulk | Residential | 9012.1667 | 9580.2429 | 9580.2429 | 9580.2429 | 9580.2429 | 9580.2429
| Residential Two Rate 5d - Controlled Load | Residential | 9590.25 | 0 | 0 | 0 | 0 | 0
| Residential Two Rate 5d - Bulk - Controlled Load | Residential | 3695.1667 | 0 | 0 | 0 | 0 | 0
| Dedicated Circuit | Residential | 24228.0833 | 0 | 0 | 0 | 0 | 0
| Dedicated Circuit - Bulk | Residential | 1167.75 | 0 | 0 | 0 | 0 | 0
| Non-Residential Single Rate | Small Commercial | 19706.2524 | 19861.484 | 19861.484 | 19861.484 | 19861.484 | 19861.484
| Non-Residential Single Rate - Bulk | Small Commercial | 5866.0833 | 5824.0647 | 5824.0647 | 5824.0647 | 5824.0647 | 5824.0647
| Non-Residential Two Rate 5d | Small Commercial | 11619.9167 | 11440.545 | 11440.545 | 11440.545 | 11440.545 | 11440.545
| Non-Residential Two Rate 5d - Bulk | Small Commercial | 1957.6667 | 1873.9083 | 1873.9083 | 1873.9083 | 1873.9083 | 1873.9083
| Non-Residential Interval | Small Commercial | 5070.4167 | 5038.8364 | 5038.8364 | 5038.8364 | 5038.8364 | 5038.8364
| Non-Residential Interval - Bulk | Small Commercial | 3088.6667 | 3122.9586 | 3122.9586 | 3122.9586 | 3122.9586 | 3122.9586
| Non-Residential | Small Commercial | 38.1394 | 56.2787 | 56.2787 | 56.2787 | 56.2787 | 56.2787
| Non-Residential - Bulk | Small Commercial | 25.3061 | 37.704 | 37.704 | 37.704 | 37.704 | 37.704
| Non-Residential Two Rate 7d | Small Commercial | 3111.4167 | 3074.6729 | 3074.6729 | 3074.6729 | 3074.6729 | 3074.6729
| Non-Residential Two Rate 7d - Bulk | Small Commercial | 452.25 | 450.2009 | 450.2009 | 450.2009 | 450.2009 | 450.2009
| Large Two Rate 7d | Small Commercial | 43.25 | 42.3166 | 42.3166 | 42.3166 | 42.3166 | 42.3166
| Unmetered Supplies / Public Lighting | Small Commercial | 1148.5833 | 1148.3197 | 1148.3197 | 1148.3197 | 1148.3197 | 1148.3197
| Large Low Voltage Demand | Large Low voltage | 240.6969 | 246.8028 | 246.8028 | 246.8028 | 246.8028 | 246.8028
| Large Low Voltage Demand - Bulk | Large Low voltage | 1296.75 | 1318.9582 | 1318.9582 | 1318.9582 | 1318.9582 | 1318.9582
| Large Low Voltage Demand R | Large Low voltage | 4.5 | 2.5347 | 2.5347 | 2.5347 | 2.5347 | 2.5347
| Large Low Voltage Demand G | Large Low voltage | 4.3333 | 3.1582 | 3.1582 | 3.1582 | 3.1582 | 3.1582
| Large Low Voltage Demand - Bulk R | Large Low voltage | 86.6667 | 77 | 77 | 77 | 77 | 77
| Large Low Voltage Demand - Bulk G | Large Low voltage | 109.3333 | 124 | 124 | 124 | 124 | 124
| Large Low Voltage | Large Low voltage | 0 | 252.4957 | 252.4957 | 252.4957 | 252.4957 | 252.4957
| Large Low Voltage Bulk | Large Low voltage | 0 | 1519.9582 | 1519.9582 | 1519.9582 | 1519.9582 | 1519.9582
| High Voltage Demand | High Voltage | 79.8333 | 81.2758 | 81.2758 | 81.2758 | 81.2758 | 81.2758
| High Voltage Demand D1 | High Voltage | 0 | 0 | 0 | 0 | 0 | 0
| High Voltage Demand R | High Voltage | 0.16667 | 0 | 0 | 0 | 0 | 0
| High Voltage Demand G | High Voltage | 1 | 1 | 1 | 1 | 1 | 1
| High Voltage | High Voltage | 0 | 82.2758 | 82.2758 | 82.2758 | 82.2758 | 82.2758
| Subtransmission Demand | Subtransmission | 7 | 7 | 7 | 7 | 7 | 7
| Subtransmission Demand | Subtransmission | 0 | 7 | 7 | 7 | 7 | 7
| Total |  | 325872.5102 | 328161.2012 | 328161.2012 | 328161.2012 | 328161.2012 | 328161.2012
| check |  | 0 | 0 | 0 | 0 | 0 | 0
| Expected Revenue ($nom) | Category
| Residential Single Rate | Residential | 53598722.5763 | 57573045.7393 | 57573045.7393 | 57573045.7393 | 57573045.7393 | 57573045.7393
| Residential Single Rate - Bulk | Residential | 4760931.8842 | 5922912.4686 | 5922912.4686 | 5922912.4686 | 5922912.4686 | 5922912.4686
| Residential - flexible pricing | Residential | 366908.9375 | 622294.9088 | 622294.9088 | 622294.9088 | 622294.9088 | 622294.9088
| Residential - flexible pricing bulk | Residential | 32615.7767 | 38553.8828 | 38553.8828 | 38553.8828 | 38553.8828 | 38553.8828
| Residential Two Rate 5d | Residential | 5125441.1745 | 4438325.3616 | 4438325.3616 | 4438325.3616 | 4438325.3616 | 4438325.3616
| Residential Two Rate 5d - Bulk | Residential | 1935186.424 | 1214857.3896 | 1214857.3896 | 1214857.3896 | 1214857.3896 | 1214857.3896
| Residential Interval | Residential | 8367418.9361 | 7955111.5841 | 7955111.5841 | 7955111.5841 | 7955111.5841 | 7955111.5841
| Residential Interval - Bulk | Residential | 2784446.5324 | 2036934.1548 | 2036934.1548 | 2036934.1548 | 2036934.1548 | 2036934.1548
| Residential Two Rate 5d - Controlled Load | Residential | 438256.6473 | 403106.9766 | 403106.9766 | 403106.9766 | 403106.9766 | 403106.9766
| Residential Two Rate 5d - Bulk - Controlled Load | Residential | 106434.7762 | 93488.5226 | 93488.5226 | 93488.5226 | 93488.5226 | 93488.5226
| Dedicated Circuit | Residential | 710060.0077 | 620073.6412 | 620073.6412 | 620073.6412 | 620073.6412 | 620073.6412
| Dedicated Circuit - Bulk | Residential | 40960.0001 | 31432.2556 | 31432.2556 | 31432.2556 | 31432.2556 | 31432.2556
| Non-Residential Single Rate | Small Commercial | 29446738.5525 | 21605755.4707 | 21605755.4707 | 21605755.4707 | 21605755.4707 | 21605755.4707
| Non-Residential Single Rate - Bulk | Small Commercial | 9286012.5972 | 6344488.1672 | 6344488.1672 | 6344488.1672 | 6344488.1672 | 6344488.1672
| Non-Residential Two Rate 5d | Small Commercial | 32417868.9152 | 29717684.0844 | 29717684.0844 | 29717684.0844 | 29717684.0844 | 29717684.0844
| Non-Residential Two Rate 5d - Bulk | Small Commercial | 4968690.6838 | 6507094.2222 | 6507094.2222 | 6507094.2222 | 6507094.2222 | 6507094.2222
| Non-Residential Interval | Small Commercial | 12333694.6296 | 11186124.1491 | 11186124.1491 | 11186124.1491 | 11186124.1491 | 11186124.1491
| Non-Residential Interval - Bulk | Small Commercial | 8946034.7519 | 11944391.4484 | 11944391.4484 | 11944391.4484 | 11944391.4484 | 11944391.4484
| Non-Residential | Small Commercial | 85407.1712 | 313974.5921 | 313974.5921 | 313974.5921 | 313974.5921 | 313974.5921
| Non-Residential - Bulk | Small Commercial | 94440.3126 | 498340.2945 | 498340.2945 | 498340.2945 | 498340.2945 | 498340.2945
| Non-Residential Two Rate 7d | Small Commercial | 9904579.7232 | 6926003.2668 | 6926003.2668 | 6926003.2668 | 6926003.2668 | 6926003.2668
| Non-Residential Two Rate 7d - Bulk | Small Commercial | 1953230.0992 | 1437009.721 | 1437009.721 | 1437009.721 | 1437009.721 | 1437009.721
| Large Two Rate 7d | Small Commercial | 522416.1444 | 1190288.0548 | 1190288.0548 | 1190288.0548 | 1190288.0548 | 1190288.0548
| Unmetered Supplies / Public Lighting | Small Commercial | 1294329.432 | 1228836.9336 | 1228836.9336 | 1228836.9336 | 1228836.9336 | 1228836.9336
| Large Low Voltage Demand | Large Low voltage | 9770414.0273 | 3813539.5101 | 3813539.5101 | 3813539.5101 | 3813539.5101 | 3813539.5101
| Large Low Voltage Demand - Bulk | Large Low voltage | 64718603.5143 | 36353673.668 | 36353673.668 | 36353673.668 | 36353673.668 | 36353673.668
| Large Low Voltage Demand R | Large Low voltage | 224555.1184 | 86152.2135 | 86152.2135 | 86152.2135 | 86152.2135 | 86152.2135
| Large Low Voltage Demand G | Large Low voltage | -132903.846 | 49248.3605 | 49248.3605 | 49248.3605 | 49248.3605 | 49248.3605
| Large Low Voltage Demand - Bulk R | Large Low voltage | 3001633.1931 | 1262366.9894 | 1262366.9894 | 1262366.9894 | 1262366.9894 | 1262366.9894
| Large Low Voltage Demand - Bulk G | Large Low voltage | 7115985.3085 | 2871845.1647 | 2871845.1647 | 2871845.1647 | 2871845.1647 | 2871845.1647
| Large Low Voltage | Large Low voltage | 0 | 3889665.1549 | 3889665.1549 | 3889665.1549 | 3889665.1549 | 3889665.1549
| Large Low Voltage Bulk | Large Low voltage | 0 | 37434836.2052 | 37434836.2052 | 37434836.2052 | 37434836.2052 | 37434836.2052
| High Voltage Demand | High Voltage | 13641862.0677 | 6180952.6083 | 6180952.6083 | 6180952.6083 | 6180952.6083 | 6180952.6083
| High Voltage Demand D1 | High Voltage | 0 | 0 | 0 | 0 | 0 | 0
| High Voltage Demand R | High Voltage | 0 | 0 | 0 | 0 | 0 | 0
| High Voltage Demand G | High Voltage | 267164.0004 | 99624.4376 | 99624.4376 | 99624.4376 | 99624.4376 | 99624.4376
| High Voltage | High Voltage | 0 | 6428965.5749 | 6428965.5749 | 6428965.5749 | 6428965.5749 | 6428965.5749
| Subtransmission Demand | Subtransmission | 1034955.1631 | 327264.0668 | 327264.0668 | 327264.0668 | 327264.0668 | 327264.0668
| Subtransmission Demand | Subtransmission | 0 | 674613.7146 | 674613.7146 | 674613.7146 | 674613.7146 | 674613.7146
| Total |  | 289163095.2326 | 279322874.9591 | 279322874.9591 | 279322874.9591 | 279322874.9591 | 279322874.9591
| check |  | 0 | 0 | 0 | 0 | 0 | 0
Note on D176: May Liao: The 2015 expected revenue includes Distribution and Pass through Revenue. This allows a reasonable comparison to 2016 Distribution Revenue, which includes Pass Through revenue as prescribed in the Draft Determination.

## LRMC - Demand
CP Pricing Model
Load forecast in MVA
| Region | Zone Substation | Summer or Winter Peaking | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
| CitiPower | AP | Summer | 59.456 | 62.5577 | 64.4635 | 66.0989 | 67.3589 | 69.0481 | 70.4992 | 72.8371 | 75.482 | 78.222
| CitiPower | AR | Summer | 32.4369 | 33.3624 | 34.1962 | 35.2127 | 35.8972 | 36.5636 | 37.4379 | 38.7074 | 39.7028 | 40.7242
| CitiPower | B | Summer | 32.4776 | 32.9377 | 33.0632 | 33.3552 | 33.284 | 33.1818 | 33.2682 | 33.7077 | 33.8592 | 34.0114
| CitiPower | BC | Winter | 52.6698 | 54.0641 | 54.9783 | 55.5333 | 56.6348 | 57.1622 | 57.9727 | 59.2274 | 60.1704 | 61.1284
| CitiPower | BK | Winter | 14.7067 | 14.6734 | 14.5322 | 14.3457 | 14.1587 | 13.8634 | 13.6415 | 13.4417 | 13.2095 | 12.9814
| CitiPower | (N) BQ | Summer | 47.9341 | 50.6057 | 52.5454 | 53.704 | 54.3012 | 55.0326 | 55.9637 | 57.2585 | 58.5146 | 59.8023
| CitiPower | BS/BQ | Summer | 20.4702 | 20.8837 | 21.3065 | 21.7388 | 22.1807 | 22.6326 | 23.0944 | 23.5665 | 24.0491 | 24.5422
| CitiPower | C | Summer | 15.4498 | 15.9708 | 16.3535 | 16.7454 | 17.0552 | 17.3512 | 17.6854 | 17.9944 | 18.3885 | 18.7912
| CitiPower | CL | Summer | 54.8754 | 54.9553 | 54.3151 | 53.9283 | 53.0103 | 52.0627 | 51.3987 | 51.2358 | 50.67 | 50.1103
| CitiPower | CW | Summer | 28.6763 | 29.2909 | 28.948 | 28.7411 | 28.251 | 27.7466 | 27.3941 | 27.3078 | 27.0081 | 26.7124
| CitiPower | DA | Winter | 29.2072 | 29.9812 | 30.7749 | 31.5885 | 32.4227 | 33.2779 | 34.1546 | 35.0532 | 35.9744 | 36.9187
| CitiPower | E | Summer | 10.3223 | 10.35 | 10.2799 | 10.1625 | 9.9881 | 9.8714 | 9.7195 | 9.6774 | 9.6633 | 9.6493
| CitiPower | F | Winter | 16.3415 | 16.6508 | 16.8408 | 16.9778 | 17.1124 | 17.1113 | 17.1951 | 17.303 | 17.3653 | 17.4278
| CitiPower | FB | Summer | 31.5441 | 34.099 | 33.8856 | 33.503 | 32.9164 | 32.5353 | 32.0285 | 31.913 | 31.8971 | 31.8812
| CitiPower | FR | Winter | 55.8612 | 55.7566 | 55.5039 | 54.9245 | 55.1641 | 53.3684 | 52.8142 | 52.3396 | 53.2965 | 54.2695
| CitiPower | J | Summer | 16.3363 | 16.5065 | 16.5949 | 16.6838 | 16.7731 | 16.863 | 16.9533 | 17.0441 | 17.1354 | 17.2272
| CitiPower | JA | Summer | 107.4668 | 119.3448 | 126.4386 | 131.3953 | 135.0036 | 139.0465 | 143.7159 | 149.4813 | 155.2747 | 161.2913
| CitiPower | L | Summer | 43.4202 | 44.133 | 44.7986 | 44.9315 | 45.2551 | 45.453 | 45.7661 | 46.4588 | 47.1454 | 47.8442
| CitiPower | LQ | Summer | 90.103 | 94.9348 | 97.85 | 100.0378 | 101.2013 | 102.6141 | 104.398 | 106.8577 | 109.2524 | 111.7121
| CitiPower | LS | Summer | 28.6404 | 29.6714 | 30.5518 | 31.4574 | 32.389 | 33.3471 | 34.3327 | 35.3463 | 36.3888 | 37.4611
| CitiPower | MG | Summer | 37.3982 | 38.2516 | 38.2851 | 37.8347 | 37.1663 | 36.7194 | 36.1388 | 35.9781 | 35.9244 | 35.8707
| CitiPower | MP | Summer | 148.7013 | 153.3158 | 155.7636 | 157.9992 | 159.8622 | 159.66 | 162.7939 | 166.4238 | 168.9515 | 171.5172
| CitiPower | NC | Summer | 35.2989 | 36.5619 | 37.7476 | 38.6316 | 39.0998 | 39.6666 | 40.3799 | 41.359 | 42.3079 | 43.2784
| CitiPower | NR | Summer | 60.2727 | 61.3681 | 61.6603 | 62.2421 | 62.1939 | 62.0914 | 62.3172 | 63.1598 | 63.5011 | 63.8444
| CitiPower | PM | Summer | 16.2823 | 16.9209 | 17.2477 | 17.4978 | 17.6465 | 17.8984 | 18.0847 | 18.485 | 18.9522 | 19.4328
| CitiPower | PR | Winter | 5.8639 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | Q | Summer | 37.4211 | 37.7536 | 38.3062 | 38.4166 | 38.6855 | 38.8499 | 39.1103 | 39.6865 | 40.2583 | 40.8405
| CitiPower | R | Summer | 25.1232 | 26.156 | 26.3194 | 26.1954 | 25.9216 | 25.3219 | 25.1629 | 25.1309 | 25.0462 | 24.9619
| CitiPower | RD | Summer | 41.1574 | 42.1482 | 43.085 | 43.7595 | 44.6523 | 45.7261 | 46.8335 | 47.959 | 49.1112 | 50.2907
| CitiPower | RP | Summer | 9.6455 | 10.3474 | 10.3663 | 10.3196 | 10.2163 | 9.9897 | 9.9295 | 9.9174 | 9.8853 | 9.8533
| CitiPower | SB | Summer | 53.2475 | 56.1255 | 58.4984 | 60.6862 | 62.5901 | 64.9132 | 67.0706 | 70.0782 | 73.4318 | 76.9459
| CitiPower | SK | Summer | 69.1106 | 71.3924 | 72.0081 | 72.5156 | 72.8453 | 72.2469 | 73.1288 | 74.2124 | 74.7966 | 75.3853
| CitiPower | SO | Summer | 53.8785 | 54.6831 | 54.6343 | 54.3121 | 53.656 | 53.324 | 52.7818 | 52.8735 | 53.1289 | 53.3856
| CitiPower | TK | Winter | 61.4113 | 62.752 | 63.5021 | 63.8148 | 64.7693 | 65.0359 | 65.6292 | 66.7318 | 67.4597 | 68.1952
| CitiPower | TP | Summer | 5.6969 | 5.7083 | 5.7533 | 5.7289 | 5.7288 | 5.7125 | 5.7105 | 5.7551 | 5.7979 | 5.841
| CitiPower | VM | Summer | 50.9225 | 53.229 | 54.4128 | 55.1329 | 55.2398 | 55.4782 | 55.9111 | 56.698 | 57.4222 | 58.1557
| CitiPower | WA | Summer | 61.5936 | 63.8235 | 64.3174 | 65.7818 | 66.5571 | 67.4955 | 68.6758 | 70.2955 | 71.8644 | 73.4684
| CitiPower | WB | Winter | 24.7582 | 24.6563 | 24.4396 | 24.0772 | 23.7078 | 23.2676 | 22.8173 | 22.4276 | 22.4854 | 22.5434
| CitiPower | WG | Summer | 76.8023 | 82.8293 | 85.8348 | 87.3268 | 88.035 | 89.2434 | 90.1297 | 92.0472 | 94.2768 | 96.5603
|  |  |  | 1662.9818 | 1718.7528 | 1750.4029 | 1773.3383 | 1788.9312 | 1800.7736 | 1822.0387 | 1855.9777 | 1889.0495 | 1923.0787
Note on J5: Danny Jutrisa: Need to review this row to add MVA to correct year.

## LRMC - Augex
CP Pricing Model
Forecast Demand Driven Augex ($2015,mn)
| Region | Voltage | Decription of project | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | Terminal Value
| CitiPower | High Voltage | WB bus extension to increase station capacity | 0.10358 | 0.93221 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | Sub transmission | Establish BTS-W 66kV cable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | Sub transmission | BTS Connection to Metro - BTS-BQ #1 & BTS-VM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | Sub transmission | Extend FR1-MP1, FR2-MP2 into W | 3.7139 | 3.178 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | Sub transmission | Q to HB line uprate | 0 | 0.31074 | 0.31074 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | Sub transmission | L to Q line section (P9 to P18) thermal uprate to 100 deg C - 0.7 kms | 0 | 0.16573 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | CBD feeders - load growth | 3.0978 | 3.0978 | 3.0978 | 3.0978 | 3.0978 | 3.0978 | 3.0978 | 3.0978 | 3.0978 | 3.0978 | 0
| CitiPower | High Voltage | Urban feeders - load growth | 3.0978 | 3.0978 | 3.0978 | 3.0978 | 3.0978 | 3.0978 | 3.0978 | 3.0978 | 3.0978 | 3.0978 | 0
| CitiPower | High Voltage | Uprate 11kV feeder sections to 300A | 0.31074 | 0.31074 | 0.31074 | 0.31074 | 0.31074 | 0.31074 | 0.31074 | 0.31074 | 0.31074 | 0.31074 | 0
| CitiPower | High Voltage | Survey 11kV feeder section rated at 230A | 0.051789 | 0.051789 | 0.051789 | 0.051789 | 0.051789 | 0.051789 | 0.051789 | 0.051789 | 0.051789 | 0.051789 | 0
| CitiPower | Low Voltage | LV overload mitigation-feeders | 1.3362 | 1.3362 | 1.3362 | 1.3362 | 1.3362 | 1.3362 | 1.3362 | 1.3362 | 1.3362 | 1.3362 | 0
| CitiPower | Low Voltage Substations | LV overload mitigation-distribution subs | 1.7712 | 1.7712 | 1.7712 | 1.7712 | 1.7712 | 1.7712 | 1.7712 | 1.7712 | 1.7712 | 1.7712 | 0
| CitiPower | High Voltage | Redevelop WA into 2 x 55MVA Tx | 0 | 0 | 0 | 0 | 0 | 0 | 5.1789 | 5.1789 | 0 | 0 | 0
| CitiPower | High Voltage | SB 3rd 55MVA Transformer | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 2.0895 | 0 | 0 | -2.2364
| CitiPower | High Voltage | SB 11kV switchboard (completion of ring bus) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0716 | 0 | 0 | -1.7891
| CitiPower | High Voltage | SB new 12MVAr cap banks | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82863 | 0 | 0 | 0
| CitiPower | Sub transmission | Replace VM-WA 66kV cables with 2 x 66kV 130MVA cables | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.6968 | 0 | 0 | -1.8602
| CitiPower | Sub transmission | BTS-CW-B loop (Supply for BTS) | 0 | 0 | 0 | 0 | 0 | 9.3221 | 9.3221 | 9.3221 | 0 | 0 | 0
| CitiPower | Sub transmission | RTS-NR 66kV loop split | 0 | 0 | 0 | 0 | 0 | 0 | 9.3221 | 0 | 0 | 0 | -6.844
| CitiPower | Sub transmission | Establish WMTS-JA, 1 x 66kV cable | 0 | 0 | 0 | 0 | 0 | 0 | 5.4379 | 5.4379 | 5.4379 | 5.4379 | -9.756
| CitiPower | Sub transmission | FBTS-SB new 66kV cable (with SB 3rd Tx) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3767 | 0 | 0 | -1.5434
| CitiPower | Sub transmission | Uprate RTS to AR SPA tower section over Monash freeway | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | Sub transmission | Reconductor RTS-AR 66kV line Stage 2: From RTS rack to T426 (90m) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | Sub transmission | RTS-TK-PR 66kV loop formation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.5391 | 10.5391 | -7.4125
| CitiPower | Sub transmission | New WMTS-LS 66kV loop supply | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | Sub transmission | Reconductor SVTS-RD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | Sub transmission | TSTS-L line uprate (reconductor 6.3km to 37/3.75AAAC) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | Permanent transfers WA & MP to W (3 feeders) via Lees Pl Stn | 0 | 0 | 0 | 0 | 0 | 3.1074 | 0 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | Permanent transfers to BQ: Hardware St SSTN (WA & LQ) - 6 BQ Fdrs | 0 | 0 | 0 | 0 | 0 | 0 | 2.1752 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | Permanent transfers from FR to MP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6573 | 0 | 0 | 0
| CitiPower | High Voltage | Permanent transfers to BQ: Melbourne Central (JA) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5217 | 0 | 0 | 0
| CitiPower | High Voltage | Transfer capability between SB and JA via via North Warf SSN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.4181 | 0 | 0
| CitiPower | High Voltage | Transfer capability between SB and LQ or JA via Galagher Place SSTN | 0 | 0 | 0 | 0 | 0 | 0 | 3.4181 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | NR new 11kV feeder (offload B) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1074 | 0 | 0 | -1.0358
| CitiPower | High Voltage | TK offload to PR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7966 | -0.93221
| CitiPower | High Voltage | AR offload to PR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.1752 | -0.72505
| CitiPower | High Voltage | SK offload to PR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62147 | -0.20716
| CitiPower | High Voltage | Upgrade J to 66kV to 2x55MVA transformers | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | LS rebuild at 66kV 2 x 27MVA transformers | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | B 3rd 27MVA transformer | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | NR 4th transformer and 11kV switchboard | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | NC 3rd 30MVA transformer | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | NC new 9MVAr cap bank | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | Upgrade PR to 66kV to 2x27MVA transformers | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.728 | 16.728 | -16.728
| CitiPower | High Voltage | SO 9MVAr cap bank | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | Upgrade TP to 66kV to 2x55MVA transformers | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | RD 3rd 30MVA transformer | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | Q 3rd 30MVA transformer | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | L 3rd 30MVA transformer | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CitiPower | High Voltage | NR 5th transformer and 11kV switchboard | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 13.483 | 14.2522 | 9.9762 | 9.6655 | 9.6655 | 22.0949 | 45.0197 | 51.9538 | 45.7885 | 47.9637 | -51.0696
Note on J5: Danny Jutrisa: Need to review this row to split the costs accordingly.
Note on O5: Based on excess capacity

## Selection
CP Pricing Model
Selection
| Category | MCR ($/MVA)
| LV Lines | 1240291.7295
| Dist S/S | 873129.5569
| HV Lines | 529474.7185
| ZSS Transformers | 275371.6295
| SubT Lines | 142163.4022
| Tariff Class | MCR | Energy | Approximate MD | Approximate MD
|  | $/MVA | kWh | MW | MVA
| Residential | 1240291.7295 | 1188402757.5503 | 387.3416 | 484.177
| Small Commercial | 1056710.6432 | 1821283724.5579 | 593.6194 | 742.0243
| Large Low Voltage | 529474.7185 | 2098162427.4605 | 478.7046 | 565.8447
| High Voltage | 275371.6295 | 590440366.5286 | 112.2596 | 124.7328
| Subtransmission | 142163.4022 | 99361068.4163 | 16.1926 | 17.0448
| Total |  | 5797650344.5136 | 1588.1178 | 1933.8237
| check |  | 0
Energy & Revenue Summary
| Tariff Class | Energy Allocation | Customer Number Allocation
|  | % | %
| Residential | 20.5% | 83.6%
| Small Commercial | 31.41% | 15.84%
| Large Low Voltage | 36.19% | 0.5401%
| High Voltage | 10.18% | 0.02507%
| Subtransmission | 1.714% | 0.002133%
| check | 0 | 0
| Network replacement cost (000,$2015) | 3645684.4805
Network Assets
| Tariff Class | Avoided | Avoided | Stand Alone | Stand Alone
|  | 000,$2015 | % | 000,$2015 | %
| Residential | 600520.726 | 16.47% | 2525208.0232 | 69.27%
| Small Commercial | 784104.9412 | 21.51% | 2423910.7251 | 66.49%
| Large Low Voltage | 299600.4767 | 8.218% | 1121240.4511 | 30.76%
| High Voltage | 34347.8857 | 0.9422% | 461670.1557 | 12.66%
| Subtransmission | 2423.1536 | 0.06647% | 223032.6182 | 6.118%
| Total | 1720997.1832
Power & Load Factors
| Tariff Class | Power Factor | Load Factor
| Residential | 0.8 | 0.35
| Small Commercial | 0.8 | 0.35
| Large Low Voltage | 0.846 | 0.5
| High Voltage | 0.9 | 0.6
| Subtransmission | 0.95 | 0.7
| Asset Category | Standard Asset Life | Remaining Asset Life
|  | years | years
| Subtransmission | 50 | 30.5319
| Distribution system assets | 49 | 20.8241
| Metering | 15 | 1.061
| Public lighting | 25 | 8.2652
| SCADA/Network control | 13 | 7.7088
| Non network - IT | 6 | 5.4554
| Non network - other | 10 | 7.4076
| VBRC | 20.8241 | 0
| Asset Category | Opening RAB
000,$2015
| Subtransmission | 398640.6187
| Distribution system assets | 1271911.6546
| Metering | 7173.8555
| Public lighting | 7143.1718
| SCADA/Network control | 13947.0481
| Non network - IT | 30720.4219
| Non network - other | 11910.9983
| VBRC | 0
| Total | 1741447.769
| Other Inputs | 000,$2015
| O&M | 61094.0707
| Maintenance Cost | 36137.1311
| Depreciation | 50449.4683
| Avoidable Opex | 6686.6705 | (gsl, billing, customer service, advertising)
|  | Units | 2016 | 2017 | 2018 | 2019 | 2020
| Scale Escalation | 000,$2015 | 3975.8355 | 5737.5688 | 7365.3687 | 8618.572 | 9598.6127
| Reinforcement Capex | 000,$2015 | 43039.54 | 68597.0833 | 47553.217 | 27487.0891 | 12991.204
| Tariff Category | Mapping | Energy (kWh) | Customer Number | Expected Revenue ($nom)
| Residential Single Rate | Residential | 779205031.7057 | 198862.4943 | 57573045.7393
| Residential Single Rate - Bulk | Residential | 102507964.1144 | 31421.092 | 5922912.4686
| Residential - flexible pricing | Residential | 10704148.3063 | 911.4691 | 622294.9088
| Residential - flexible pricing bulk | Residential | 620497.9606 | 127.1133 | 38553.8828
| Residential Two Rate 5d | Residential | 57856139.1584 | 11062.7992 | 4438325.3616
| Residential Two Rate 5d - Bulk | Residential | 17533578.1487 | 4384.5694 | 1214857.3896
| Residential Interval | Residential | 115819513.6378 | 17978.4015 | 7955111.5841
| Residential Interval - Bulk | Residential | 31245855.7156 | 9580.2429 | 2036934.1548
| Residential Two Rate 5d - Controlled Load | Residential | 24560225.2214 | 0 | 403106.9766
| Residential Two Rate 5d - Bulk - Controlled Load | Residential | 7910688.9977 | 0 | 93488.5226
| Dedicated Circuit | Residential | 37779421.2664 | 0 | 620073.6412
| Dedicated Circuit - Bulk | Residential | 2659693.3172 | 0 | 31432.2556
| Non-Residential Single Rate | Small Commercial | 324230511.2699 | 19861.484 | 21605755.4707
| Non-Residential Single Rate - Bulk | Small Commercial | 126853171.6926 | 5824.0647 | 6344488.1672
| Non-Residential Two Rate 5d | Small Commercial | 519270311.9696 | 11440.545 | 29717684.0844
| Non-Residential Two Rate 5d - Bulk | Small Commercial | 156751696.3212 | 1873.9083 | 6507094.2222
| Non-Residential Interval | Small Commercial | 189268379.6534 | 5038.8364 | 11186124.1491
| Non-Residential Interval - Bulk | Small Commercial | 286588472.0251 | 3122.9586 | 11944391.4484
| Non-Residential | Small Commercial | 4710511.1562 | 56.2787 | 313974.5921
| Non-Residential - Bulk | Small Commercial | 8611291.7455 | 37.704 | 498340.2945
| Non-Residential Two Rate 7d | Small Commercial | 122052247.0947 | 3074.6729 | 6926003.2668
| Non-Residential Two Rate 7d - Bulk | Small Commercial | 30978672.3333 | 450.2009 | 1437009.721
| Large Two Rate 7d | Small Commercial | 17751645.0436 | 42.3166 | 1190288.0548
| Unmetered Supplies / Public Lighting | Small Commercial | 34216814.2527 | 1148.3197 | 1228836.9336
| Large Low Voltage Demand | Large Low voltage | 157795974.2894 | 246.8028 | 3813539.5101
| Large Low Voltage Demand - Bulk | Large Low voltage | 1720225895.2873 | 1318.9582 | 36353673.668
| Large Low Voltage Demand R | Large Low voltage | 3927272.5745 | 2.5347 | 86152.2135
| Large Low Voltage Demand G | Large Low voltage | 550812 | 3.1582 | 49248.3605
| Large Low Voltage Demand - Bulk R | Large Low voltage | 87281098.7393 | 77 | 1262366.9894
| Large Low Voltage Demand - Bulk G | Large Low voltage | 128381374.5699 | 124 | 2871845.1647
| Large Low Voltage | Large Low voltage | 162274058.864 | 252.4957 | 3889665.1549
| Large Low Voltage Bulk | Large Low voltage | 1935888368.5965 | 1519.9582 | 37434836.2052
| High Voltage Demand | High Voltage | 582602285.2386 | 81.2758 | 6180952.6083
| High Voltage Demand D1 | High Voltage | 0 | 0 | 0
| High Voltage Demand R | High Voltage | 0 | 0 | 0
| High Voltage Demand G | High Voltage | 7838081.29 | 1 | 99624.4376
| High Voltage | High Voltage | 590440366.5286 | 82.2758 | 6428965.5749
| Subtransmission Demand | Subtransmission | 99361068.4163 | 7 | 327264.0668
| Subtransmission Demand | Subtransmission | 99361068.4163 | 7 | 674613.7146
| Total |  | 5797650344.5136 | 328161.2012 | 279322874.9591
| check |  | 0 | 0 | 0

## Avoided cost
CP Pricing Model
Avoided Cost
| Description | Units | Residential | Small Commercial | Large Low Voltage | High Voltage | Subtransmission
| Avoided Operating Cost | 000,$2015 | 5589.7594 | 1058.9762 | 36.1158 | 1.6765 | 0.14263
| Avoided Maintenance Cost | 000,$2015 | 5952.5437 | 7772.2862 | 2969.7309 | 340.4667 | 24.019
| Avoided Depreciation | 000,$2015 | 8310.0859 | 10850.5488 | 4145.9114 | 475.3106 | 33.5319
| Avoided Return on Asset | 000,$2015 | 12384.5415 | 16170.5996 | 6178.6619 | 708.3566 | 49.9727
| Total Costs Avoided | 000,$2015 | 32236.9305 | 35852.4107 | 13330.42 | 1525.8104 | 107.6663
| Asset Allocation | % | 16.47% | 21.51% | 8.218% | 0.9422% | 0.06647%
| Undepreciated Network RAB | 000,$2015 | 3645684.4805
| Return on Asset | 000,$2015 | 75184.9667
| Depreciation | 000,$2015 | 50449.4683
| Maintenance Cost | 000,$2015 | 36137.1311
| Avoidable Opex | 000,$2015 | 6686.6705

## SAC - VPN
CP Pricing Model
Standalone Cost
| Asset Category | Units | Opening RAB | Undepreciated RAB | Depreciation | Return on Asset | Depn Plus Return
| Subtransmission | 000,$2015 | 398640.6187 | 652826.5112 | 13056.5302 | 13463.2439 | 26519.7742
| Distribution system assets | 000,$2015 | 1271911.6546 | 2992857.9692 | 61078.7341 | 61721.7227 | 122800.4568
| Metering | 000,$2015 | 7173.8555 | 101425.2356 | 6761.6824 | 2091.6931 | 8853.3754
| Public lighting | 000,$2015 | 7143.1718 | 21606.1217 | 864.2449 | 445.5831 | 1309.828
| SCADA/Network control | 000,$2015 | 13947.0481 | 23520.1243 | 1809.2403 | 485.0556 | 2294.296
| Non network - IT | 000,$2015 | 30720.4219 | 33787.284 | 5631.214 | 696.7953 | 6328.0093
| Non network - other | 000,$2015 | 11910.9983 | 16079.4357 | 1607.9436 | 331.6063 | 1939.5498
| VBRC | 000,$2015
| Total | 000,$2015 | 1741447.769 | 3842102.6818 | 90809.5894 | 79235.7001 | 170045.2895
| Total ex PL | 000,$2015 | 1734304.5971 | 3820496.5601 | 89945.3446 | 78790.117 | 168735.4615
| Total Non-network/SCADA | 000,$2015 |  |  |  |  | 10561.8551
| Total Metering | 000,$2015 |  |  |  |  | 8853.3754
| Total Network | 000,$2015 |  |  |  |  | 149320.231
Capital Cost
| Tariff Class | Units | Network Capital Cost | Metering | Non-Network/SCADA | Stand Alone Capital Cost
| Residential | 000,$2015 | 103427.6683 | 7401.0285 | 10561.8551 | 121390.5519
| Small Commercial | 000,$2015 | 99278.7256 | 1402.1199 | 10561.8551 | 111242.7006
| Large Low Voltage | 000,$2015 | 45923.8544 | 47.8186 | 10561.8551 | 56533.528
| High Voltage | 000,$2015 | 18909.1225 | 2.2197 | 10561.8551 | 29473.1973
| Subtransmission | 000,$2015 | 1622.4044 | 0.18885 | 10561.8551 | 12184.4484
Operating Cost
| Tariff Class | Units | Standalone O&M
| Residential | 000,$2015 | 48890.6569
| Small Commercial | 000,$2015 | 46179.6161
| Large Low Voltage | 000,$2015 | 40354.2005
| High Voltage | 000,$2015 | 37690.4969
| Subtransmission | 000,$2015 | 37372.5155
Standalone Cost
| Tariff Class | Units | Capital Cost Allocation | Opex Allocation | Total Stand Alone Cost
| Residential | 000,$2015 | 121390.5519 | 48890.6569 | 170281.2088
| Small Commercial | 000,$2015 | 111242.7006 | 46179.6161 | 157422.3168
| Large Low Voltage | 000,$2015 | 56533.528 | 40354.2005 | 96887.7285
| High Voltage | 000,$2015 | 29473.1973 | 37690.4969 | 67163.6942
| Subtransmission | 000,$2015 | 12184.4484 | 37372.5155 | 49556.9639

## LRMC
CP Pricing Model
LRMC Estimation
| Description |  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Demand driven augex ($2015)
| Sub transmission |  | 3713917.529 | 3654508.8669 | 310735.9321 | 0 | 0 | 9322077.9644 | 24082034.7413 | 23833445.9956 | 15977005.8445 | -11439034.4389
| Zone Substations |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| High Voltage |  | 6661701.3999 | 7490330.5522 | 6558122.7558 | 6558122.7558 | 6558122.7558 | 9665482.0773 | 17830301.7369 | 25013014.6167 | 26704169.0233 | 5225724.7437
| Low Voltage Substations |  | 1771194.8132 | 1771194.8132 | 1771194.8132 | 1771194.8132 | 1771194.8132 | 1771194.8132 | 1771194.8132 | 1771194.8132 | 1771194.8132 | 1771194.8132
| Low Voltage |  | 1336164.5082 | 1336164.5082 | 1336164.5082 | 1336164.5082 | 1336164.5082 | 1336164.5082 | 1336164.5082 | 1336164.5082 | 1336164.5082 | 1336164.5082
|  |  | 13482978.2503 | 14252198.7406 | 9976218.0094 | 9665482.0773 | 9665482.0773 | 22094919.3631 | 45019695.7996 | 51953819.9338 | 45788534.1892 | -3105950.3737
| Assumed Opex ($2015) | 0.5%
| Sub transmission |  | 18569.5876 | 36842.132 | 38395.8116 | 38395.8116 | 38395.8116 | 85006.2015 | 205416.3752 | 324583.6051 | 404468.6344 | 347273.4622
| Zone Substations |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| High Voltage |  | 33308.507 | 70760.1598 | 103550.7735 | 136341.3873 | 169132.0011 | 217459.4115 | 306610.9202 | 431675.9933 | 565196.8384 | 591325.4621
| Low Voltage Substations |  | 8855.9741 | 17711.9481 | 26567.9222 | 35423.8963 | 44279.8703 | 53135.8444 | 61991.8185 | 70847.7925 | 79703.7666 | 88559.7407
| Low Voltage |  | 6680.8225 | 13361.6451 | 20042.4676 | 26723.2902 | 33404.1127 | 40084.9352 | 46765.7578 | 53446.5803 | 60127.4029 | 66808.2254
|  |  | 67414.8913 | 138675.885 | 188556.975 | 236884.3854 | 285211.7958 | 395686.3926 | 620784.8716 | 880553.9713 | 1109496.6422 | 1093966.8903
| Demand Growth (MVA) |  | 1662.9818 | 1718.7528 | 1750.4029 | 1773.3383 | 1788.9312 | 1800.7736 | 1822.0387 | 1855.9777 | 1889.0495 | 1923.0787
| Sub transmission |  |  | 55770.9663 | 87421.0819 | 110356.4622 | 125949.4163 | 137791.7544 | 159056.8465 | 192995.8553 | 226067.6657 | 260096.8846
| Zone Substations |  |  | 55770.9663 | 87421.0819 | 110356.4622 | 125949.4163 | 137791.7544 | 159056.8465 | 192995.8553 | 226067.6657 | 260096.8846
| High Voltage |  |  | 55770.9663 | 87421.0819 | 110356.4622 | 125949.4163 | 137791.7544 | 159056.8465 | 192995.8553 | 226067.6657 | 260096.8846
| Low Voltage Substations |  |  | 55770.9663 | 87421.0819 | 110356.4622 | 125949.4163 | 137791.7544 | 159056.8465 | 192995.8553 | 226067.6657 | 260096.8846
| Low Voltage |  |  | 55770.9663 | 87421.0819 | 110356.4622 | 125949.4163 | 137791.7544 | 159056.8465 | 192995.8553 | 226067.6657 | 260096.8846
| Network |  | 2016: NPV
| Sub transmission |  | 2016: 49.6863
| Zone Substations |  | 2016: 0
| High Voltage |  | 2016: 84.8438
| Low Voltage Substations |  | 2016: 12.8275
| Low Voltage |  | 2016: 9.6769
| Customer Category | Connected to | 2016: LRMC before diversity ($/kVA); 2017: Diversity; 2018: LRMC after diversity ($/kVA); 2019: LRMC ($'000,2015)
| Residential | Low Voltage | 2016: 157.0346; 2017: 0.6; 2018: 94.2207; 2019: 45619.5181
| Small Commercial | Low Voltage | 2016: 157.0346; 2017: 0.7; 2018: 109.9242; 2019: 81566.4271
| Large Low Voltage | Low Voltage Substations | 2016: 147.3577; 2017: 0.7; 2018: 103.1504; 2019: 58367.0964
| High Voltage | High Voltage | 2016: 134.5302; 2017: 0.5; 2018: 67.2651; 2019: 8390.1649
| Sub transmission | Sub transmission | 2016: 49.6863; 2017: 0.5; 2018: 24.8432; 2019: 423.448

## Summary
CP Pricing Model
Summary
| Year Selected | 2016
| Tariff Class | Avoided Cost | Revenue | Standalone Cost
|  | 000$,2015 | 000$,2015 | 000$,2015
| Residential | 32236.9305 | 78975.7433 | 170281.2088
| Small Commercial | 35852.4107 | 96487.7955 | 157422.3168
| Large Low Voltage | 13330.42 | 83669.5876 | 96887.7285
| High Voltage | 1525.8104 | 12399.5538 | 67163.6942
| Subtransmission | 107.6663 | 977.4417 | 49556.9639
| Tariff Class | Avoided Cost | Revenue | Standalone Cost
|  | 000$,nom | 000$,nom | 000$,nom
| Residential | 33042.8538 | 80950.1369 | 174538.239
| Small Commercial | 36748.721 | 98899.9904 | 161357.8747
| Large Low Voltage | 13663.6805 | 85761.3273 | 99309.9217
| High Voltage | 1563.9556 | 12709.5426 | 68842.7865
| Subtransmission | 110.358 | 1001.8778 | 50795.888