## Cover
NPV Calculator
Go to
Go to Information
Go to 1. Projects + Results
Go to 2. Cashflows
Go to Calculations
Go to Assumptions
Sheet Title | Description
Cover | this sheet
Information | Information on this file
1. Projects + Results | project details input sheet and summary output sheet
2. Cashflows | project cashflows input sheet
Assumptions | financial assumptions underlying calculations
Calculations | calculation sheet for project financial output

## Information
NPV Calculator
Information Sheet
Cover
Model configuration:
1. Projects + Results
Calculations
2. Cashflows

## 1. Projects + Results
NPV Calculator
Project Information
| Cover | 2. Cashflows
PROJECT OUTPUTS
|  | Title |  | Nominal Cashflows (in real 2015 $) |  |  |  | Outputs
|  |  |  | Capex | Opex | Revenue | Net | NPV
| Project | Option 2: Transfer all four CitiPower zone substations and a Vic Rail substation from the WMTS 22kV Bus to the WMTS 66kV bus. |  | -74254.5233 | -7099.1 | 0 | -81353.6233 | -67289.4409
| Alt. 1 | Option 1: Rebuild the WMTS 22kV bus and replace all aging plant at BS, J, LS, TP and DA |  | -142835.81 | -9070.2 | 0 | -151906.01 | -99101.8698
PROJECT INFORMATION
Primary Project
| 1 | Project name | Option 2: Transfer all four CitiPower zone substations and a Vic Rail substation from the WMTS 22kV Bus to the WMTS 66kV bus.
| 2 | Business | CitiPower
| 3 | Is this a regulated project? | Yes
| 3.1 | WACC Rate | 5.64% | Real pre-tax WACC
| Alternative 1 |  | To be used for comparative purposes
| 1 | Alternative project name | Option 1: Rebuild the WMTS 22kV bus and replace all aging plant at BS, J, LS, TP and DA
| 2 | Business | CitiPower
| 3 | Is this a regulated project? | Yes
| 3.1 | WACC Rate | 5.64% | Real pre-tax WACC

## 2. Cashflows
NPV Calculator
Imports
| Cover | 1. Projects + Results
Legend: The colour coding below relates to the projects referenced in CP CONFIDENTIAL MOD 1.16 - CP augmentation capex.xlsx. Also refer to 'Check Sheet' tab within this model
WMTS Offloading of the 22kV system - upgrades to the 66kV network to allow transfers from WMTS22
WMTS Offloading of the 22kV system - upgrades to the 11kV network to allow transfers from WMTS22
Ausnet Cost supplied via letter: CP PUBLIC ATT 9.7 - AusNet Services, Letter to CitiPower re West Melbourne Terminal Station 22kV Asset Replacement Avoided Cost, 4 March 2015l.pdf
Primary Project |  | (figures in $'000)
1. Capital Costs (enter as positive number in Real 2015 prices)
| Item descriptions |  |  |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
| Enter line item descriptions as required |  |  |  | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year
| Upgrade DA to 66kV with 2 x 27MVA transformers |  |  |  | 2016: 0; 2017: 249; 2018: 11182.9; 2019: 7454.8; 2020: 0
| Design |  |  |  | 2017: 249
| Augmentation of 22kV Sub transmission lines |  |  |  | 2018: 1130
| Transformer Replacement (3 x 10 / 13MVA) to ( 2 x 20/27MVA) transformers |  |  |  | 2018: 7053; 2019: 5999.8
| New 11kV Control & Switch rooms |  |  |  | 2018: 2999.9
| 11kV Feeder Works |  |  |  | 2019: 1455
| Upgrade WMTS-DA to 66kV |  |  |  | 2018: 309.6354; 2019: 4644.5311
| Transfer capability from LS to BQ (30) |  |  |  | 2016: 210; 2017: 11733; 2018: 11523.0665; 2019: 0; 2020: 0
| Permanent Offload of LS to BS Zone Substation |  |  |  | 2017: 11233; 2018: 11523.0665
| Design |  |  |  | 2016: 210
| Fence |  |  |  | 2017: 300
| Facade Repair |  |  |  | 2017: 200
| BQ 3rd 55MVA Transformer (transfers BS ring Bus to BQ) and 24MVAr cap bank |  |  |  | 2016: 592; 2017: 9616; 2018: 1478.9
| Contract with RMH |  |  |  | 2016: 130; 2017: 130; 2018: 130
| Transfer of BS to BQ |  |  |  | 2016: 231; 2017: 7970; 2018: 1348.9
| Install 3rd Transformer at BQ |  |  |  | 2016: 231; 2017: 1516
| Convert J feeders to 11kV. Supply from JA |  |  |  | 2016: 0; 2017: 3624.7
Routine Maintenance (Plant & Maintenance) | bar: 2015 to 2019
| Design |  |  |  | 2017: 200
| Facade Repair |  |  |  | 2017: 658.7
| J -> JA (New JA Feeders Including 11kV Conversion |  |  |  | 2017: 2766
| New VR Nth Melbourne Transformers - 2 x 13MVA |  |  |  | 2016: 0; 2017: 538.7; 2018: 2423.8; 2019: 1346.6
| VR North Melbourne Transformers |  |  |  | 2017: 538.7; 2018: 1524; 2019: 450
| Installation of Transformers |  |  |  | 2018: 899.8; 2019: 549.6
Design | bar: 2015 to 2019
| Connection to existing VR North Melb 22kV bus |  |  |  | 2019: 347
| New 66kV cable to VR Nth Melb ZSS - 2 cables |  |  |  | 2017: 207.1573; 2018: 1294.7331
| Convert TP feeders to 11kV. Supply from SB |  |  |  | 2016: 0; 2017: 518; 2018: 3107; 2019: 0
| Design |  |  |  | 2017: 253; 2018: 0
| TP Offload Including 11kV Conversion |  |  |  | 2017: 265; 2018: 3107
| Ausnet - Cost to demolish and retire WMTS22 equipment & buildings at WMTS |  |  |  | 2019: 2200
| Total ($'000) |  | 74254.5233 |  | 0 | 802 | 26486.5573 | 31320.0349 | 15645.9311 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total 2016 - 2020 ($'000) |  | 74254.5233 |  | 2020: 74254.5233
2. Operating Costs (enter as positive number in Real 2015 prices)
| Item descriptions |  |  |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
| Enter line item descriptions as required |  |  |  | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year
Decommission J - opex
| HV Switch Removal |  |  |  | 2018: 540
| Site remediation (Indoor) |  |  |  | 2018: 300
| Transformer Removal |  |  |  | 2018: 840
Decommision LS - opex
| Building Demolition |  |  |  | 2019: 230
| HV Switchboard Removal |  |  |  | 2019: 270
| Site Remediation |  |  |  | 2019: 470
| Transformer Removal |  |  |  | 2019: 840
Decommission TP - opex
Building Demolition
| HV Switchboard Removal |  |  |  | 2019: 270
| Site Remediation |  |  |  | 2019: 300
| Transformer Removal |  |  |  | 2019: 420
Maintenance
| BS Zone Substation_Plant and Building |  |  |  |  | 64.4 | 64 | 64 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
| DA Zone Substation_Plant and Building |  |  |  |  | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7
| J Zone Substation_Plant and Building |  |  |  |  | 241 | 241 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
| LS Zone Substation_Plant and Building |  |  |  |  | 61 | 61 | 61 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
| TP Zone Substation_Plant and Building |  |  |  |  | 54 | 54 | 54 | 5.2 | 5.2 | 5.2 | 5.2 | 5.2 | 5.2 | 5.2 | 5.2 | 5.2 | 5.2 | 5.2 | 5.2 | 5.2 | 5.2 | 5.2 | 5.2
| New BQ 3rd Transformers and Cap Bank | [7 empty] | 5.2 | 5.2 | 5.2 | 5.2 | 5.2 | 5.2 | 5.2 | 5.2 | 5.2 | 5.2 | 5.2 | 5.2 | 5.2 | 5.2 | 5.2 | 5.2
| New VR Nth Melbourne Transformers | [7 empty] | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
| Total ($'000) |  | 7099.1 |  | 0 | 477.1 | 476.7 | 1919.7 | 2889.1 | 89.1 | 89.1 | 89.1 | 89.1 | 89.1 | 89.1 | 89.1 | 89.1 | 89.1 | 89.1 | 89.1 | 89.1 | 89.1 | 89.1 | 89.1
3. Revenue / Savings (enter as positive number in Real 2015 prices)
| Category / Description |  |  |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
| * Savings in Salaries are only for full FTE's |  |  |  | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year
| Revenue | <Item description>
| Savings | Salaries *
<Item description>
| Total ($'000) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Grand Total (in Real 2015 $) |  |  | -81353.6233 | 0 | 0 | -1279.1 | -26963.2573 | -33239.7349 | -18535.0311 | -89.1 | -89.1 | -89.1 | -89.1 | -89.1 | -89.1 | -89.1 | -89.1 | -89.1 | -89.1 | -89.1 | -89.1 | -89.1 | -89.1 | -89.1
Alternative 1 |  | (figures in $'000)
1. Capital Costs (enter as positive number in Real 2015 prices)
| Item descriptions |  |  |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
| Enter line item descriptions as required |  |  |  | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year
WMTS 22kV Rebuild
| WMTS 22kV Switchroom Replacement |  |  |  | 2019: 17178.133
| WMTS 220 / 22 kV Transformer Replacement |  |  |  | 2019: 0; 2025: 25955.677
DA ZONE SUBSTATION
| DA No: 1 Transformer & 22kV CB Replacement |  |  |  | 2033: 200; 2034: 1850
| DA No: 2 Transformer & T1-T2 22kV CB Replacement |  |  |  | 2024: 200; 2025: 2000
| DA No: 3 Transformer & T3-T2 22kV CB Replacement |  |  |  | 2028: 200; 2029: 2000
| DA 11kV Board Replacement |  |  |  | 2033: 200; 2034: 2000
LS ZONE SUBSTATION
| Offload of LS to BS Zone Substation |  |  |  | 2016: 10000; 2017: 7000
| LS 6.6kV Board Replacement |  |  |  | 2017: 200; 2018: 4000
| Fire System installation |  |  |  | 2016: 200; 2017: 200
| Transformer NOAC Scheme |  |  |  | 2016: 100; 2017: 150
| Facade Repair |  |  |  | 2017: 200
| Rebuild Laurens Street (LS) Zone Substation |  |  |  | 2024: 200; 2025: 12000; 2026: 18000
| Augmentation of Sub trans for LS Rebuild |  |  |  | 2024: 200; 2025: 3000
BS ZONE SUBSTATION
| Contract with RMH |  |  |  | 2016: 130; 2017: 130; 2018: 130; 2019: 130; 2020: 130; 2021: 130; 2022: 130; 2023: 130; 2024: 130; 2025: 130
| Replace BS Tx's & 22kV CB's |  |  |  | 2016: 200; 2017: 5852
| Transfer BS to BQ |  |  |  | 2023: 200; 2024: 3000; 2025: 1000
| Light and Power Refurbishment |  |  |  | 2016: 750
TP ZONE SUBSTATION
| TP 6.6kV Board Replacement |  |  |  | 2024: 200; 2025: 4000
| TP No: 1 Transformer Replacement |  |  |  | 2027: 200; 2028: 1500
| TP No: 2 Transformer Replacement |  |  |  | 2023: 200; 2024: 1500
J ZONE SUBSTATION
| Oil Containment Installation and Maintenance |  |  |  | 2016: 2500
| J 6.6kV Board Replacement |  |  |  | 2022: 200; 2023: 4000
| J 22kV Board Replacement |  |  |  | 2022: 200; 2023: 2000
| J No: 1 Transformer Replacemnet |  |  |  | 2018: 200; 2019: 1500
| J No: 4 Transformer Replacement |  |  |  | 2022: 200; 2023: 1500
| J No: 5 Transformer Replacemnet |  |  |  | 2023: 200; 2024: 1500
| J No: 6 Transformer Replacement |  |  |  | 2025: 200; 2026: 1500
| Total ($'000) |  | 142835.81 |  | 0 | 13880 | 13732 | 4330 | 18808.133 | 130 | 130 | 730 | 8230 | 6930 | 48285.677 | 19500 | 200 | 1700 | 2000 | 0 | 0 | 0 | 400 | 3850
2. Operating Costs (enter as positive number in Real 2015 prices)
| Item descriptions |  |  |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
| Enter line item descriptions as required |  |  |  | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year
Maintenance
| BS Zone Substation_Plant and Building |  |  |  |  | 64.4 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | 64
| DA Zone Substation_Plant and Building |  |  |  |  | 69.2 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7
| J Zone Substation_Plant and Building |  |  |  |  | 241 | 241 | 241 | 241 | 241 | 241 | 241 | 241 | 241 | 241 | 241 | 241 | 241 | 241 | 241 | 241 | 241 | 241 | 241
| LS Zone Substation_Plant and Building |  |  |  |  | 61 | 61 | 61 | 61 | 61 | 61 | 61 | 61 | 61 | 61 | 61 | 61 | 61 | 61 | 61 | 61 | 61 | 61 | 61
| TP Zone Substation_Plant and Building |  |  |  |  | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54
| Total ($'000) |  | 9070.2 |  | 0 | 489.6 | 476.7 | 476.7 | 476.7 | 476.7 | 476.7 | 476.7 | 476.7 | 476.7 | 476.7 | 476.7 | 476.7 | 476.7 | 476.7 | 476.7 | 476.7 | 476.7 | 476.7 | 476.7
3. Revenue / Savings (enter as positive number in Real 2015 prices)
| Category / Description |  |  |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
| * Savings in Salaries are only for full FTE's |  |  |  | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year | Full year
| Revenue | <Item description>
| Savings | Salaries *
<Item description>
| Total ($'000) |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Grand Total (in Real 2015 $) |  |  | -151906.01 |  | 0 | -14369.6 | -14208.7 | -4806.7 | -19284.833 | -606.7 | -606.7 | -1206.7 | -8706.7 | -7406.7 | -48762.377 | -19976.7 | -676.7 | -2176.7 | -2476.7 | -476.7 | -476.7 | -476.7 | -876.7 | -4326.7
Net cash flow: Preferred Option minus Alternative option |  |  |  |  | 0 | 13090.5 | -12754.5573 | -28433.0349 | 749.8019 | 517.6 | 517.6 | 1117.6 | 8617.6 | 7317.6 | 48673.277 | 19887.6 | 587.6 | 2087.6 | 2387.6 | 387.6 | 387.6 | 387.6 | 787.6 | 4237.6
| IRR = | 21.63%

## Calculations
NPV Calculator
Exports
Cover
CitiPower | 1
Inflation | 0%
Wage Inflation | 0%
Note- figures are discounted to mid year in the second half year (i.e. in year 1, as figures should be real dollars in year 1, not year 0)
Year- Discount |  |  |  | 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5
Year- Payback |  |  | 0.5 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Inflation Factor |  |  | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Wage Inflation Factor |  |  | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Project Details | (figures in $'000) |  | 2015 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Nominal WACC | 5.64%
Discount factor |  |  | 100% | 97.29% | 92.1% | 87.18% | 82.53% | 78.12% | 73.95% | 70% | 66.27% | 62.73% | 59.38% | 56.21% | 53.21% | 50.37% | 47.68% | 45.13% | 42.72% | 40.44% | 38.28% | 36.24% | 34.3%
NPV Cashflow
Discounted Cash Flows
Capex |  |  | 0 | 0 | -738.6382 | -23091.6269 | -25847.7571 | -12222.8828 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OPEX |  |  | 0 | 0 | -439.4069 | -415.5987 | -1584.2875 | -2257.0169 | -65.8903 | -62.3725 | -59.0425 | -55.8903 | -52.9064 | -50.0818 | -47.408 | -44.8769 | -42.481 | -40.213 | -38.066 | -36.0337 | -34.1099 | -32.2888 | -30.565
Revenue/Savings |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV |  | -67289.4409 | 0 | 0 | -1178.0451 | -23507.2256 | -27432.0446 | -14479.8997 | -65.8903 | -62.3725 | -59.0425 | -55.8903 | -52.9064 | -50.0818 | -47.408 | -44.8769 | -42.481 | -40.213 | -38.066 | -36.0337 | -34.1099 | -32.2888 | -30.565
Payback Periods
Forecast Cash Flows (nominal) |  | -81353.6233 | 0 | 0 | -1279.1 | -26963.2573 | -33239.7349 | -18535.0311 | -89.1 | -89.1 | -89.1 | -89.1 | -89.1 | -89.1 | -89.1 | -89.1 | -89.1 | -89.1 | -89.1 | -89.1 | -89.1 | -89.1 | -89.1
Cumulative Cash Flow |  |  | 0 | 0 | -1279.1 | -28242.3573 | -61482.0922 | -80017.1233 | -80106.2233 | -80195.3233 | -80284.4233 | -80373.5233 | -80462.6233 | -80551.7233 | -80640.8233 | -80729.9233 | -80819.0233 | -80908.1233 | -80997.2233 | -81086.3233 | -81175.4233 | -81264.5233 | -81353.6233
Cumulative Cash Flow NPV |  |  | 0 | 0 | -1178.0451 | -24685.2706 | -52117.3152 | -66597.2149 | -66663.1052 | -66725.4777 | -66784.5202 | -66840.4105 | -66893.3169 | -66943.3986 | -66990.8066 | -67035.6835 | -67078.1644 | -67118.3774 | -67156.4434 | -67192.4772 | -67226.5871 | -67258.8759 | -67289.4409
Alternative 1 | (figures in $'000) |  | 2015 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Nominal WACC | 5.64%
Discount factor |  |  | 100% | 97.29% | 92.1% | 87.18% | 82.53% | 78.12% | 73.95% | 70% | 66.27% | 62.73% | 59.38% | 56.21% | 53.21% | 50.37% | 47.68% | 45.13% | 42.72% | 40.44% | 38.28% | 36.24% | 34.3%
NPV Cashflow
Discounted Cash Flows
Capex |  |  | 0 | 0 | -12783.4147 | -11971.8926 | -3573.4567 | -14693.2518 | -96.1363 | -91.0036 | -483.7377 | -5162.4814 | -4114.94 | -27140.6474 | -10375.4776 | -100.7338 | -810.5235 | -902.6477 | 0 | 0 | 0 | -144.9555 | -1320.7088
OPEX |  |  | 0 | 0 | -450.9193 | -415.5987 | -393.4103 | -372.4066 | -352.5242 | -333.7034 | -315.8873 | -299.0225 | -283.058 | -267.9458 | -253.6405 | -240.0989 | -227.2803 | -215.1461 | -203.6597 | -192.7865 | -182.4939 | -172.7507 | -163.5278
Revenue/Savings |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV |  | -99101.8698 | 0 | 0 | -13234.334 | -12387.4913 | -3966.867 | -15065.6584 | -448.6605 | -424.707 | -799.625 | -5461.5038 | -4397.998 | -27408.5933 | -10629.1181 | -340.8327 | -1037.8039 | -1117.7938 | -203.6597 | -192.7865 | -182.4939 | -317.7062 | -1484.2366
Payback Periods
Forecast Cash Flows (nominal) |  | -151906.01 | 0 | 0 | -14369.6 | -14208.7 | -4806.7 | -19284.833 | -606.7 | -606.7 | -1206.7 | -8706.7 | -7406.7 | -48762.377 | -19976.7 | -676.7 | -2176.7 | -2476.7 | -476.7 | -476.7 | -476.7 | -876.7 | -4326.7
Cumulative Cash Flow |  |  | 0 | 0 | -14369.6 | -28578.3 | -33385 | -52669.833 | -53276.533 | -53883.233 | -55089.933 | -63796.633 | -71203.333 | -119965.71 | -139942.41 | -140619.11 | -142795.81 | -145272.51 | -145749.21 | -146225.91 | -146702.61 | -147579.31 | -151906.01
Cumulative Cash Flow NPV |  |  | 0 | 0 | -13234.334 | -25621.8253 | -29588.6923 | -44654.3507 | -45103.0112 | -45527.7183 | -46327.3433 | -51788.8471 | -56186.8451 | -83595.4384 | -94224.5565 | -94565.3892 | -95603.1931 | -96720.9869 | -96924.6466 | -97117.4331 | -97299.927 | -97617.6332 | -99101.8698
Option 1: Replace 22 kV like for like
PV capex - AusNet | -28009.1592 |  | 2019: -13419.8665; 2025: -14589.2928
PV capex - CitiPower | -65756.8499
PV all capex | -93766.0091
PV Opex | -5335.8607
PV total | -99101.8698
Option 2 (Preferred: Decommission 22 kV)
PV Capex | -61900.905
PV Opex | -5388.5359
PV Total | -67289.4409

## Check Sheet
NPV Calculator
Check sheet
CHECK AGAINST CP CONFIDENTIAL MOD 1.16 - CP augmentation capex.xlsx
Category | Expenditure 2016-2020 ($000's)
ZSS | 1035.7864
S/T | 7679.1623
HV FEEDERS | 32790.6138
LV | 15536.7966
Voltage Works | 0
Security of supply | 16014.7341
Transmission Connection Point | 2683.3102
Fault level | 5556.0182
Check
WMTS Offloading of the 22kV system - upgrades to the 66kV network to allow transfers from WMTS22 | 29651.8568 | 29652
WMTS Offloading of the 22kV system - upgrades to the 11kV network to allow transfers from WMTS22 | 42402.6665 | 42403
Non-WMTS offloading of the 22kV system Augex | 20928
Check
Total | 174278.945 | 174279