## Legend
Style legend |  |  | Menu
Style | Design | Comment
Header1 | Header1
Header 1A | Header 1A
Header2 | Header2
Header3 | Header3
Header4 | Header4
User_Input | 100 | A user driven input
User_Input_Forecast | 100 | A user driven input for forcast figures
Base_Input | 100 | A model input that should not be changed to protect the integrity of the model
Empty_Cell |  | A cell that is left intentionally blank to avoid the risk of error
InSheet_calc | 100 | A link within the worksheet or an interim calculation step
OffSheet | 100 | A link to another worksheet to minimise the number of inter-worksheet references
Line_SubTotal | 100 | The sum of elements in the table immediately above
Line_Total | 100 | The sum of elements above, including sub-totals
Unit / Info | AUD millions | Explanatory text showing helpful information or the units/dimensions of the calculations
Line_Summary | 100 | The SUM() of everything in the row
Table_Header | Qtr | Header of a table or of an off-sheet reference
Flag | 1 | Binary flag - set up as a 'Style' and updated with conditional formatting
Check_Cell | 100 | Check figures add up to the correct amount
| 100 | AER draft decision
| 100 | RRP change
| 100 | AER adjustments

## Menu
CP - Protection Replacement Capex
Menu
| Control |  | User Inputs |  | Base Inputs
| Legend |  | Project List-RRP |  | Inflation
| Menu |  | J18 bus prot - historical base |  | Historical Expenditure
Historical Volumes
| Calculations |  | Outputs/Export |  | AER Draft decision
| Forecast Expenditure | OK | Direct Capex | OK | Project List - AER DD

## Inflation
CP - Protection Replacement Capex | [5 empty] | AER draft decision | [5 empty] | Menu
Inflation | [5 empty] | RRP change
| Base Year | 2021
Inflation Rates and Conversion factor to June 2021
| Financial Year | FY11/12 | FY12/13 | FY13/14 | FY14/15 | FY15/16 | FY16/17 | FY17/18 | FY18/19 | FY19/20 | FY20/21 | FY21/22
| Calendar Year | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Inflation
| Converstion Factor to 2021 | 1.211 | 1.1698 | 1.1468 | 1.1226 | 1.0973 | 1.0809 | 1.07 | 1.0497 | 1.0389 | 1.0202 | 1
End of Sheet

## Project List - AER DD
CP - Protection Replacement Capex | [9 empty] | Menu
Project List - AER DD
| Project List |  |  |  | AER substitute estimate | 57.48%
$2019
| Function Code | Project Description | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26 | 2021/22-26 Total
| 156 | Z/S Battery & Charger Replacements | 50000 | 100000 | 57477.7685 | 57477.7685 | 57477.7685 | 57477.7685 | 57477.7685 | 287388.8427
| 156 | JA Feeder Proection Upgrade | 62500 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | AP - MG 66kV Line Protection Upgrade | 225000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | MG - AP 66kV Line Protection Upgrade | 225000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | RD - SVTS Line Protection Replacement | 400000 | 150000 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | RD - EB Y Line Protection Replacement | 62500 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | TK Bus Protection | 200000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | SO Bus Protection | 200000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | SK Bus Protection | 200000 | 200000 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | FB Bus Protection | 200000 | 200000 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | CL 11kV Feeder LLS upgrade | 125000 | 125000 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | WB-WMTS X&Y 66kV Line Prot. Upgrade | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | NC-WMTS X&Y 66kV Line Prot. Upgrade | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | NR Feeder Prot Replacement | 750000 | 750000 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | CP Secondary Defects | 50000 | 100000 | 57477.7685 | 57477.7685 | 57477.7685 | 57477.7685 | 57477.7685 | 287388.8427
| 156 | AP Bus Protection | 0 | 200000 | 114955.5371 | 0 | 0 | 0 | 0 | 114955.5371
| 156 | MG Bus Protection | 0 | 200000 | 114955.5371 | 0 | 0 | 0 | 0 | 114955.5371
| 156 | AR Bus Protection | 0 | 200000 | 114955.5371 | 0 | 0 | 0 | 0 | 114955.5371
| 156 | BC Bus Protection | 0 | 200000 | 114955.5371 | 0 | 0 | 0 | 0 | 114955.5371
| 156 | MG Feeder Prot Replacement | 0 | 150000 | 86216.6528 | 0 | 0 | 0 | 0 | 86216.6528
| 156 | B Feeder Prot Replacement | 0 | 600000 | 344866.6112 | 0 | 0 | 0 | 0 | 344866.6112
| 156 | AR Feeder Prot Replacement | 0 | 500000 | 287388.8427 | 0 | 0 | 0 | 0 | 287388.8427
| 156 | AP-FBTS Line Prot. upgrade | 0 | 150000 | 86216.6528 | 0 | 0 | 0 | 0 | 86216.6528
| 156 | MG-FBTS Line Prot. upgrade | 0 | 150000 | 86216.6528 | 0 | 0 | 0 | 0 | 86216.6528
| 156 | CW Bus Protection | 0 | 0 | 114955.5371 | 114955.5371 | 0 | 0 | 0 | 229911.0742
| 156 | L Bus Protection | 0 | 0 | 114955.5371 | 114955.5371 | 0 | 0 | 0 | 229911.0742
| 156 | Q Bus Protection | 0 | 0 | 114955.5371 | 114955.5371 | 0 | 0 | 0 | 229911.0742
| 156 | RD Bus Protection | 0 | 0 | 114955.5371 | 114955.5371 | 0 | 0 | 0 | 229911.0742
| 156 | MG Feeder Prot Replacement | 0 | 0 | 344866.6112 | 344866.6112 | 0 | 0 | 0 | 689733.2225
| 156 | BC Relay Replacement | 0 | 0 | 402344.3798 | 402344.3798 | 0 | 0 | 0 | 804688.7595
| 156 | WG-FBTS Y Line Prot. upgrade | 0 | 0 | 43108.3264 | 43108.3264 | 0 | 0 | 0 | 86216.6528
| 156 | FB-FBTS X&Y Line Prot Upgrade | 0 | 0 | 86216.6528 | 86216.6528 | 0 | 0 | 0 | 172433.3056
| 156 | LQ Bus Protection | 0 | 0 | 0 | 114955.5371 | 114955.5371 | 0 | 0 | 229911.0742
| 156 | NC Bus Protection | 0 | 0 | 0 | 114955.5371 | 114955.5371 | 0 | 0 | 229911.0742
| 156 | WB Feeder Prot Replacement | 0 | 0 | 0 | 344866.6112 | 344866.6112 | 0 | 0 | 689733.2225
| 156 | FB Feeder Prot Replacement | 0 | 0 | 0 | 431083.264 | 431083.264 | 0 | 0 | 862166.5281
| 156 | RD TX Diff Prot Repl | 0 | 0 | 0 | 71847.2107 | 71847.2107 | 0 | 0 | 143694.4213
| 156 | Q TX Diff Prot & RTU Repl | 0 | 0 | 0 | 86216.6528 | 86216.6528 | 0 | 0 | 172433.3056
| 156 | SO-FBTS X&Y Line Prot Upgrade | 0 | 0 | 0 | 86216.6528 | 86216.6528 | 0 | 0 | 172433.3056
| 156 | FB-WG Y Line Prot Upgrade (Both) | 0 | 0 | 0 | 86216.6528 | 86216.6528 | 0 | 0 | 172433.3056
| 156 | CW TX Diff Prot & RTU Repl | 0 | 0 | 0 | 0 | 57477.7685 | 57477.7685 | 0 | 114955.5371
| 156 | SO TX Diff Prot Repl | 0 | 0 | 0 | 0 | 86216.6528 | 86216.6528 | 0 | 172433.3056
| 156 | SO Feeder Prot Replacement | 0 | 0 | 0 | 0 | 431083.264 | 431083.264 | 0 | 862166.5281
| 156 | FR Feeder Prot Replacement | 0 | 0 | 0 | 0 | 287388.8427 | 287388.8427 | 0 | 574777.6854
| 156 | VM Feeder Prot Repl | 0 | 0 | 0 | 0 | 258649.9584 | 258649.9584 | 0 | 517299.9169
| 156 | AR TX Diff Prot Repl | 0 | 0 | 0 | 0 | 71847.2107 | 71847.2107 | 0 | 143694.4213
| 156 | B TX Diff Prot Repl | 0 | 0 | 0 | 0 | 71847.2107 | 71847.2107 | 0 | 143694.4213
| 156 | JA TX Diff Prot & RTU Repl | 0 | 0 | 0 | 0 | 100586.0949 | 100586.0949 | 0 | 201172.1899
| 156 | NR TX Diff Prot Repl | 0 | 0 | 0 | 0 | 0 | 86216.6528 | 86216.6528 | 172433.3056
| 156 | NC TX Diff Prot Repl | 0 | 0 | 0 | 0 | 0 | 71847.2107 | 71847.2107 | 143694.4213
| 156 | CL Feeder Prot Repl | 0 | 0 | 0 | 0 | 0 | 143694.4213 | 143694.4213 | 287388.8427
| 156 | FR Feeder Prot Replacement | 0 | 0 | 0 | 0 | 0 | 287388.8427 | 287388.8427 | 574777.6854
| 156 | VM Feeder Prot Repl | 0 | 0 | 0 | 0 | 0 | 459822.1483 | 459822.1483 | 919644.2966
| 156 | TK Feeder Prot Repl | 0 | 0 | 0 | 0 | 0 | 143694.4213 | 143694.4213 | 287388.8427
| 156 | LQ Feeder Prot Repl | 0 | 0 | 0 | 0 | 0 | 201172.1899 | 201172.1899 | 402344.3798
| 156 | FB TX Diff Prot & RTU Repl | 0 | 0 | 0 | 0 | 0 | 0 | 114955.5371 | 114955.5371
| 156 | R 22kV Bus, CB Fail & RTU Repl | 0 | 0 | 0 | 0 | 0 | 0 | 114955.5371 | 114955.5371
| 156 | MG TX Diff Prot & RTU Repl | 0 | 0 | 0 | 0 | 0 | 0 | 114955.5371 | 114955.5371
| 156 | WG TX Diff Prot & RTU Repl | 0 | 0 | 0 | 0 | 0 | 0 | 114955.5371 | 114955.5371
| 156 | MP Feeder Prot Repl | 0 | 0 | 0 | 0 | 0 | 0 | 143694.4213 | 143694.4213
| 156 | JA 11kV Bus Prot Repl | 0 | 0 | 0 | 0 | 0 | 0 | 100586.0949 | 100586.0949
| 156 | LQ Feeder Prot Repl | 0 | 0 | 0 | 0 | 0 | 0 | 660994.3382 | 660994.3382
|  | Totals | 2750000 | 3975000 | 2802041.2163 | 2787671.7742 | 2816410.6584 | 2873888.427 | 2873888.427 | 20878900.5028
End of Sheet

## J18 bus prot - historical base
CP - Protection Replacement Capex
J18 bus prot - historical base
Historical J18 bus protection projects: 2016-2019
| Zone substation | Year of works | Cost ($2019)
| B | 2018 | 374178.3874
| NR | 2018 | 252451.3874
| SO | 2019 | 421904
| TK | 2019 | 416191
1464724.7747
| J18 bus protection included in historical base |  | 1830905.9684
End of Sheet

## Project List -RRP
CP - Protection Replacement Capex |  |  | AER draft decision | [6 empty] | Menu
Project List -RRP |  |  | RRP change
Project List
$2019
| Function Code | Project Description | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26 | 2021/22-26 Total
| 156 | AER draft decision: historical costs | 2750000 | 3975000 | 2802041.2163 | 2787671.7742 | 2816410.6584 | 2873888.427 | 2873888.427 | 14153900.5028
| 156 | J18 bus protection included in historical base |  |  | -366181.1937 | -366181.1937 | -366181.1937 | -366181.1937 | -366181.1937 | -1830905.9684
| 156 | TK Bus Protection | 416191 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | SO Bus Protection | 421904 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | SK Bus Protection | 0 | 425584.4115 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | FB Bus Protection | 0 | 466556.4486 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | AP Bus Protection | 0 | 0 | 386511.5569 | 0 | 0 | 0 | 0 | 386511.5569
| 156 | MG Bus Protection | 0 | 0 | 386511.5569 | 0 | 0 | 0 | 0 | 386511.5569
| 156 | AR Bus Protection | 0 | 0 | 386511.5569 | 0 | 0 | 0 | 0 | 386511.5569
| 156 | BC Bus Protection | 0 | 0 | 386511.5569 | 0 | 0 | 0 | 0 | 386511.5569
| 156 | CW Bus Protection | 0 | 0 | 0 | 386511.5569 | 0 | 0 | 0 | 386511.5569
| 156 | L Bus Protection | 0 | 0 | 0 | 386511.5569 | 0 | 0 | 0 | 386511.5569
| 156 | Q Bus Protection | 0 | 0 | 0 | 386511.5569 | 0 | 0 | 0 | 386511.5569
| 156 | RD Bus Protection | 0 | 0 | 0 | 386511.5569 | 0 | 0 | 0 | 386511.5569
| 156 | NC Bus Protection | 0 | 0 | 0 | 0 | 386511.5569 | 0 | 0 | 386511.5569
|  | Totals | 3588095 | 4867140.8601 | 3981906.2502 | 3967536.8081 | 2836741.0217 | 2507707.2333 | 2507707.2333 | 15801598.5466
End of Sheet

## Historical Expenditure
CP - Protection Replacement Capex | [9 empty] | Menu
Historical Expenditure
Historical Expenditure by RIN Category (Repex Table 2.2)
| ASSET GROUP | ASSET CATEGORY | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
| SCADA, NETWORK CONTROL AND PROTECTION SYSTEMS BY: | Field Devices | 1422500 | 2227500 | 3002950 | 2416900.25 | 2320536.25 | 2661056.98 | 2596327.15 | 2879320.59
Local Network Wiring Assets
| Function | Communications Network Assets
Master Station Assets
Communications Site Infrastructure
Communications Linear Assets
AFLC
Other
|  | Totals | 1422500 | 2227500 | 3002950 | 2416900.25 | 2320536.25 | 2661056.98 | 2596327.15 | 2879320.59
End of Sheet

## Historical Volumes
CP - Protection Replacement Capex | [9 empty] | Menu
Historical Volumes
Historical Volumes by RIN Category (Repex Table 2.2)
| ASSET GROUP | ASSET CATEGORY | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
| SCADA, NETWORK CONTROL AND PROTECTION SYSTEMS BY: | Field Devices | 101.5 | 104 | 73 | 40.5 | 73.5 | 72 | 15.5 | 22
Local Network Wiring Assets
| Function | Communications Network Assets
Master Station Assets
Communications Site Infrastructure
Communications Linear Assets
AFLC
Other
|  | Totals | 101.5 | 104 | 73 | 40.5 | 73.5 | 72 | 15.5 | 22
End of Sheet

## Forecast Expenditure
CP - Protection Replacement Capex | [16 empty] | Menu
Forecast Expenditure | [15 empty] | Sheet Check | OK
Forecast Expenditure by Function Code
$ 2021
| Function Code | Description | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| 156 | Secondary Systems | 1722651.4168 | 2605787.3254 | 3443912.5817 | 2713171.1051 | 2546235.2432 | 2876416.9402 | 2778022.236 | 3022376.2652 | 3727837.9823 | 5056697.9312 | 4136986.719 | 4122057.6405 | 2947221.5553 | 2605373.1222 | 2605373.1222
|  | Check | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Forecast Expenditure by RIN Category (Repex Table 2.2)
$ 2021
| ASSET GROUP | ASSET CATEGORY | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| SCADA, NETWORK CONTROL AND PROTECTION SYSTEMS BY: | Field Devices | 1722651.4168 | 2605787.3254 | 3443912.5817 | 2713171.1051 | 2546235.2432 | 2876416.9402 | 2778022.236 | 3022376.2652 | 3727837.9823 | 5056697.9312 | 4136986.719 | 4122057.6405 | 2947221.5553 | 2605373.1222 | 2605373.1222
|  | Local Network Wiring Assets | $ 2021 2011/12: 0; $ 2021 2012/13: 0; $ 2021 2013/14: 0; $ 2021 2014/15: 0; $ 2021 2015/16: 0; $ 2021 2016/17: 0; $ 2021 2017/18: 0; $ 2021 2018/19: 0
|  | Communications Network Assets | $ 2021 2011/12: 0; $ 2021 2012/13: 0; $ 2021 2013/14: 0; $ 2021 2014/15: 0; $ 2021 2015/16: 0; $ 2021 2016/17: 0; $ 2021 2017/18: 0; $ 2021 2018/19: 0
|  | Master Station Assets | $ 2021 2011/12: 0; $ 2021 2012/13: 0; $ 2021 2013/14: 0; $ 2021 2014/15: 0; $ 2021 2015/16: 0; $ 2021 2016/17: 0; $ 2021 2017/18: 0; $ 2021 2018/19: 0
| Function | Communications Site Infrastructure | $ 2021 2011/12: 0; $ 2021 2012/13: 0; $ 2021 2013/14: 0; $ 2021 2014/15: 0; $ 2021 2015/16: 0; $ 2021 2016/17: 0; $ 2021 2017/18: 0; $ 2021 2018/19: 0
|  | Communications Linear Assets | $ 2021 2011/12: 0; $ 2021 2012/13: 0; $ 2021 2013/14: 0; $ 2021 2014/15: 0; $ 2021 2015/16: 0; $ 2021 2016/17: 0; $ 2021 2017/18: 0; $ 2021 2018/19: 0
|  | AFLC | $ 2021 2011/12: 0; $ 2021 2012/13: 0; $ 2021 2013/14: 0; $ 2021 2014/15: 0; $ 2021 2015/16: 0; $ 2021 2016/17: 0; $ 2021 2017/18: 0; $ 2021 2018/19: 0
|  | Other | $ 2021 2011/12: 0; $ 2021 2012/13: 0; $ 2021 2013/14: 0; $ 2021 2014/15: 0; $ 2021 2015/16: 0; $ 2021 2016/17: 0; $ 2021 2017/18: 0; $ 2021 2018/19: 0
|  | Totals | 1722651.4168 | 2605787.3254 | 3443912.5817 | 2713171.1051 | 2546235.2432 | 2876416.9402 | 2778022.236 | 3022376.2652 | 3727837.9823 | 5056697.9312 | 4136986.719 | 4122057.6405 | 2947221.5553 | 2605373.1222 | 2605373.1222
|  | Check | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
End of Sheet

## Direct Capex
CP - Protection Replacement Capex | [8 empty] | Menu
Direct Capex | [7 empty] | Sheet Check | OK
Direct Capex by Function Code
|  |  | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| Function Code | Description | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021
|  |  | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast
| 102 | Rural Projects < 50KVA
| 103 | Urban Projects < 50KVA
| 104 | Medium Density SubDivision
| 105 | Business Supply > 50KVA < 200KVA
| 106 | Business Supply > 200KVA
| 107 | HV Connections
| 108 | Business SubDivisions
| 109 | U/G Service Pits Ex O/H Supply
| 110 | Low Density SubDivisions
| 111 | High Density Residential/Business
| 112 | New Connection Meter Acc.
| 113 | New Connection Meter IMRO
| 114 | New Conn. Service/Materials
| 115 | New Conn. Servicing Labour
| 116 | Recoverable Works
| 118 | CO Generation Projects
| 119 | Energy Efficient Public Lighting - New
| 120 | Public Lighting - New
| 121 | Docklands
| 122 | Major Generation Projects
| 123 | New Conn. Meter Install Acc.
| 124 | New Conn. Meter Install MRIM
| 125 | New Conn. Meter AMI
| 126 | New Conn. Meter Install AMI
| 130 | ACS services
| 131 | Consolidated line maintenance
| 132 | Replacement accumulation meter
| 133 | Replacement MRIM meter
| 134 | Replacement AMI meter & transformers
| 135 | Rollout AMI meter
| 136 | Rollout AMI meter install
| 137 | Replacement Meter Install AMI
| 138 | Replacement Meter & Install IMRO
| 139 | Maintenance Related Fault Capital
| 140 | Public Lighting - Replacement
| 141 | Fault Related Capital
| 142 | Conductor Clearance
| 143 | HV Switch Replacement
| 144 | Transformer Replacement
| 145 | HV Fuse Unit & Surge Divert. Repl.
| 146 | Recoverable Works - Asset Damage
| 147 | Pole Life Extension - Treatment
| 148 | Pole Replacement
| 149 | Pole Life Extension - Staking
| 150 | OH/UG Line Replacement
| 151 | Replacements Meter & Install Acc
| 152 | Neutral Screen Services
| 153 | Servicing Replacement
| 154 | Bird Cover Replacement
| 155 | Cross-arm Replacement
| 156 | ZSS - Major Plant Replacement | 3727.838 | 5056.6979 | 4136.9867 | 4122.0576 | 2947.2216 | 2605.3731 | 2605.3731
| 157 | Zone SubStation Plant Replacement
| 158 | Safety Compliance
| 159 | TV Interference Replacement Capital
| 160 | Augmentation Lines
| 161 | Augmentation of Zone SubStation
| 162 | Network Development - Augment Dist.
| 163 | Environment Management'
| 164 | Bushfire Mitigation Augmentation
| 165 | LV Com. Multi Earth (CMEN)
| 166 | Reliability Improvement - Automation
| 167 | VBRC
| 168 | Zone SubStation Automation
| 169 | Augmentation Connection Assets
| 170 | Conductor Clearance
| 171 | SWER Augmentation
| 172 | Supply Reliability Improvement Scheme
| 174 | Pole Fire Mitigation
| 175 | Metering Communications
| 176 | Communications installation
| 177 | CBD Security Supply
| 200 | Computers
| 205 | IT Metering Data Services
| 210 | General Equipment
| 215 | General Equipment-AMI
| 220 | Office Furniture
| 225 | Office Furniture-AMI
| 230 | Property
| 235 | Property-AMI
| 240 | Motor Vehicles
| 245 | Motor Vehicles-AMI
| 260 | Intellectual Property
| 270 | Communications
| 273 | Testing & Laboratory
|  | Check | 0 | 0 | 0 | 0 | 0 | 0 | 0
End of Sheet