## Legend
Style legend |  |  | Menu
Style | Design | Comment
Header1 | Header1
Header 1A | Header 1A
Header2 | Header2
Header3 | Header3
Header4 | Header4
User_Input_Actual | 100 | A user driven input for actual figures
User_Input_Forecast | 100 | A user driven input for forcast figures
Base_Input | 100 | A model input that should not be changed to protect the integrity of the model
Empty_Cell |  | A cell that is left intentionally blank to avoid the risk of error
InSheet_calc | 100 | A link within the worksheet or an interim calculation step
OffSheet | 100 | A link to another worksheet to minimise the number of inter-worksheet references
Line_SubTotal | 100 | The sum of elements in the table immediately above
Line_Total | 100 | The sum of elements above, including sub-totals
Unit / Info | AUD millions | Explanatory text showing helpful information or the units/dimensions of the calculations
Line_Summary | 100 | The SUM() of everything in the row
Table_Header | Qtr | Header of a table or of an off-sheet reference
Flag | 1 | Binary flag - set up as a 'Style' and updated with conditional formatting
Check_Cell | 100 | Check figures add up to the correct amount
| 100 | AER draft decision
| 100 | RRP change
| 100 | AER adjustments

## Menu
CitiPower - Augmentation
Menu
| Control |  | User Inputs |  | Base Inputs
| Legend |  | Project List-RRP |  | Inflation
| Menu |  |  |  | Historical Expenditure | OK
| Calculations |  | Outputs/Export |  | AER Draft decision
| Forecast Expenditure | OK | Direct Capex | OK | Project List - AER DD

## Project List - AER DD
CitiPower - Augmentation | [9 empty] | Menu
Project List - AER DD
Augmentation Project List
$2019
| Function Code | Project description | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26 | 2021-26 Total
| 160 | Solar enablement | 0 | 0 | 3578.2663 | 3257.8245 | 3418.0454 | 3364.6384 | 3418.0454 | 17036.82
| 162 | Russell Place supply area: RP to WP feeder transfers and de-commissioning | 0 | 1830 | 10741 | 0 | 0 | 0 | 0 | 10741
| 161 | Docklands Area supply upgrade | 2937.2714 | 15709.5 | 0 | 0 | 0 | 0 | 0 | 0
| 162 | B new 11kV feeder | 0 | 0 | 0 | 101.93 | 2293.425 | 2191.495 | 0 | 4586.85
| 161 | SB 11kV switchboard (completion of ring bus) | 0 | 0 | 0 | 0 | 0 | 0 | 101.93 | 101.93
| 162 | Port Melbourne area strategy: E offload to WG | $2019 2019/20: 0; $2019 2020/21: 0; $2019 2021/22: 0; $2019 2025/26: 0 | 0
| 161 | WMTS 22kV retirement - VR Nth Melbourne 66kV connection | 0 | 280.5 | 280.5 | 0 | 0 | 0 | 0 | 280.5
| 162 | Brunswick area strategy: BK offload to WB | 0 | 2100 | 6800 | 4700 | 0 | 0 | 0 | 11500
| 162 | Port Melbourne area strategy: PM offload to WG | $2019 2019/20: 0; $2019 2020/21: 0; $2019 2021/22: 0; $2019 2025/26: 0 | 0
| 177 | CBD supply: delivering N-1 secure | 2891.6212 | 1019.3 | 0 | 0 | 0 | 0 | 0 | 0
| 177 | CBD supply: re-develop TP zone substation and establish new feeders | 0 | 0 | 2200 | 8220 | 9525 | 4480 | 0 | 24425
| 162 | Brunswick area strategy: F offload to CW | 0 | 1250 | 6650 | 5400 | 0 | 0 | 0 | 12050
| 162 | Brunswick supply area upgrade (RIT-D) | 4484.92 | 8075.6 | 3998.4 | 0 | 0 | 0 | 0 | 3998.4
| 160 | LV augmentation: supply quality | 1788.7704 | 1299.6075 | 1401.5375 | 1503.4675 | 1605.3975 | 1656.3625 | 1698.4225 | 7865.1875
| 162 | RD new feeder | 0 | 0 | 0 | 101.93 | 2293.425 | 2191.495 | 0 | 4586.85
| 162 | NR 11kV jumbo-feeder extension: Swan Street bridge area | 0 | 0 | 0 | 0 | 254.825 | 2038.6 | 1783.775 | 4077.2
| 161 | BQ 3rd 55MVA transformer | 0 | 0 | 0 | 101.93 | 1936.67 | 1834.74 | 0 | 3873.34
| 162 | FBTS-SB 66kV cable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 162 | WA and MP to W permanent transfers: 3 feeders via Lees Pl Stn | 1200 | 1155.5 | 0 | 0 | 0 | 0 | 0 | 0
| 162 | R 22kV re-configure cables | 0 | 151.8757 | 608.0124 | 456.1368 | 0 | 0 | 0 | 1064.1492
| 162 | Uprate 11kV feeder sections to 300A | 0 | 0 | 0 | 0 | 152.895 | 305.79 | 152.895 | 611.58
| 162 | CL034 new feeder to pole 4934 | 0 | 0 | 0 | 0 | 25.4825 | 254.825 | 229.3425 | 509.65
| 162 | L010 augmentation of U/G cable | 0 | 254.825 | 254.825 | 0 | 0 | 0 | 0 | 254.825
| 162 | Uprate WMTS-WB-NC | 0 | 0 | 254.825 | 254.825 | 0 | 0 | 0 | 509.65
| 162 | WMTS 22kV retirement: upgrade WMTS-DA sub-transmission lines to 66kV | 2191.495 | 1923.345 | 241.5 | 0 | 0 | 0 | 0 | 241.5
| 162 | Survey 11kV feeder section rated at 230A | 0 | 0 | 0 | 0 | 25.4825 | 50.965 | 25.4825 | 101.93
| 162 | CBD and urban feeders: load growth | 2657.3269 | 1528.95 | 0 | 0 | 0 | 0 | 0 | 0
| 162 | Arden precinct development upgrade | 0 | 0 | 0 | 0 | 0 | 764.475 | 1528.95 | 2293.425
| 161 | LS site evaluation and land purchase | 0 | 0 | 0 | 0 | 0 | 300 | 1550 | 1850
| 162 | JA to SB offload | 0 | 0 | 0 | 0 | 0 | 0 | 806.5 | 806.5
| 161 | NR 11kV switchboard | 0 | 0 | 0 | 0 | 0 | 0 | 1050 | 1050
| 162 | Fishermans Bend precinct redevelopment | 0 | 0 | 0 | 0 | 0 | 814.475 | 1628.95 | 2443.425
| 162 | WMTS 22kV retirement: LS to BQ offload | 6392.9301 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 161 | WP re-development | 18571.3621 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 43115.6971 | 36579.0032 | 37008.8662 | 24098.0438 | 21530.6479 | 20247.8609 | 13974.2929 | 116859.7117
End of Sheet

## Project List-RRP
CitiPower - Augmentation |  |  | AER draft decision | [5 empty] | Menu
Project List-RRP |  |  | RRP change
Augmentation Project List
$2019
| Function Code | Project description | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26 | 2021-26 Total
| 160 | Solar enablement | 0 | 3578.2663 | 3257.8245 | 3418.0454 | 3364.6384 | 3418.0454 | 17036.82
| 162 | Russell Place supply area: RP to WP feeder transfers and de-commissioning | 1830 | 10741 | 0 | 0 | 0 | 0 | 10741
| 161 | Docklands Area supply upgrade | 15709.5 | 0 | 0 | 0 | 0 | 0 | 0
| 162 | B new 11kV feeder | 0 | 0 | 101.93 | 2293.425 | 2191.495 | 0 | 4586.85
| 161 | SB 11kV switchboard (completion of ring bus) | 0 | 0 | 0 | 0 | 0 | 101.93 | 101.93
| 162 | Port Melbourne area strategy: E offload to WG | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 161 | WMTS 22kV retirement - VR Nth Melbourne 66kV connection | 280.5 | 280.5 | 0 | 0 | 0 | 0 | 280.5
| 162 | Brunswick area strategy: BK offload to WB | 2100 | 6800 | 4700 | 0 | 0 | 0 | 11500
| 162 | Port Melbourne area strategy: PM offload to WG | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 177 | CBD supply: delivering N-1 secure | 1019.3 | 0 | 0 | 0 | 0 | 0 | 0
| 177 | CBD supply: re-develop TP zone substation and establish new feeders | 0 | 2200 | 8220 | 9525 | 4480 | 0 | 24425
| 162 | Brunswick area strategy: F offload to CW | 1250 | 6650 | 5400 | 0 | 0 | 0 | 12050
| 162 | Brunswick supply area upgrade (RIT-D) | 8075.6 | 3998.4 | 0 | 0 | 0 | 0 | 3998.4
| 160 | LV augmentation: supply quality | 1299.6075 | 1401.5375 | 1503.4675 | 1605.3975 | 1656.3625 | 1698.4225 | 7865.1875
| 162 | RD new feeder | 0 | 0 | 101.93 | 2293.425 | 2191.495 | 0 | 4586.85
| 162 | NR 11kV jumbo-feeder extension: Swan Street bridge area | 0 | 0 | 0 | 254.825 | 2038.6 | 1783.775 | 4077.2
| 161 | BQ 3rd 55MVA transformer | 0 | 0 | 101.93 | 1936.67 | 1834.74 | 0 | 3873.34
| 162 | FBTS-SB 66kV cable | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 162 | WA and MP to W permanent transfers: 3 feeders via Lees Pl Stn | 1155.5 | 0 | 0 | 0 | 0 | 0 | 0
| 162 | R 22kV re-configure cables | 151.8757 | 608.0124 | 456.1368 | 0 | 0 | 0 | 1064.1492
| 162 | Uprate 11kV feeder sections to 300A | 0 | 0 | 0 | 152.895 | 305.79 | 152.895 | 611.58
| 162 | CL034 new feeder to pole 4934 | 0 | 0 | 0 | 25.4825 | 254.825 | 229.3425 | 509.65
| 162 | L010 augmentation of U/G cable | 254.825 | 254.825 | 0 | 0 | 0 | 0 | 254.825
| 162 | Uprate WMTS-WB-NC | 0 | 254.825 | 254.825 | 0 | 0 | 0 | 509.65
| 162 | WMTS 22kV retirement: upgrade WMTS-DA sub-transmission lines to 66kV | 1923.345 | 241.5 | 0 | 0 | 0 | 0 | 241.5
| 162 | Survey 11kV feeder section rated at 230A | 0 | 0 | 0 | 25.4825 | 50.965 | 25.4825 | 101.93
| 162 | CBD and urban feeders: load growth | 1528.95 | 0 | 0 | 0 | 0 | 0 | 0
| 162 | Arden precinct development upgrade | 0 | 0 | 0 | 0 | 764.475 | 1528.95 | 2293.425
| 161 | LS site evaluation and land purchase | 0 | 0 | 0 | 0 | 300 | 1550 | 1850
| 162 | JA to SB offload | 0 | 0 | 0 | 0 | 0 | 806.5 | 806.5
| 161 | NR 11kV switchboard | 0 | 0 | 0 | 0 | 0 | 1050 | 1050
| 162 | Fishermans Bend precinct redevelopment | 0 | 0 | 0 | 0 | 814.475 | 1628.95 | 2443.425
| 162 | WMTS 22kV retirement: LS to BQ offload | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 161 | WP re-development | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 36579.0032 | 37008.8662 | 24098.0438 | 21530.6479 | 20247.8609 | 13974.2929 | 116859.7117
End of Sheet

## Inflation
CitiPower - Augmentation | [6 empty] | AER draft decision |  |  |  |  | Menu
Inflation | [6 empty] | RRP change
| Base Year | 2021
Inflation rates and conversion factor to June 2021
| Financial Year | FY11/12 | FY12/13 | FY13/14 | FY14/15 | FY15/16 | FY16/17 | FY17/18 | FY18/19 | FY19/20 | FY20/21 | FY21/22
| Year | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Inflation
| Conversion Factor to 2021 | 1.211 | 1.1698 | 1.1468 | 1.1226 | 1.0973 | 1.0809 | 1.07 | 1.0497 | 1.0283 | 1.0122 | 1
End of Sheet

## Historical Expenditure
CitiPower - Augmentation | [10 empty] | Menu
Historical Expenditure | [9 empty] | Sheet Check | OK
Historical Expenditure by Function Code
$Nominal
| Function Code | Description | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20
| 160 | LV Augmentation | 634756.34 | 856202.46 | 1494898.825 | 1621843.1 | 925468.595 | 813336 | 1596644.49 | 1912180.08 | 1675161.2117
| 161 | Augmentation of Zone Substations | 13894533.0104 | 3802139.2556 | 5235159.1905 | 10060305.3445 | 8717661 | 6274524 | 5414268.315 | 5544849.65 | 6712533.535
| 162 | Augmentation of Subtransmission | 13320641.2695 | 11570818.6618 | 18766430.006 | 20209790.7277 | 9966406.5252 | 5189254.0999 | 5904273.3779 | 10611442.385 | 29149297.0431
| 177 | CBD Security | 2231469.8511 | 6087582.7376 | 7471264.6535 | 2616824.3529 | 4133684.4513 | 4663060.4001 | 8731334.9242 | 8468797.4071 | 2653041.6001
|  | Totals | 30081400.471 | 22316743.115 | 32967752.675 | 34508763.525 | 23743220.5715 | 16940174.5 | 21646521.1071 | 26537269.5221 | 40190033.39
Historical Expenditure by RIN Category Augex Table 2.3.4 - Augex Data Total Expenditure
$Nominal
| Asset Group | AUGMENTATION CAPEX (As incurred) | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20
| AUGMENTATION CAPEX | Subtransmission Substations, Switching Stations, Zone Substations | 13894533.0104 | 3802139.2556 | 5235159.1905 | 10060305.3445 | 8717661 | 6274524 | 5414268.315 | 5544849.65 | 6712533.535
| As incurred | Subtransmission Lines | 13986062.1713 | 12892683.8642 | 20370865.1308 | 19149353.7644 | 11901767.0445 | 7367645 | 8363284.2971 | 12921757.4802 | 2544187.0915
|  | HV Feeders | 1566048.9493 | 4765717.5351 | 5866829.5287 | 3677261.3161 | 2198323.932 | 2484669.5 | 6272324.005 | 6158482.3119 | 29258151.5518
|  | HV Feeders - Land Purchases and Easements | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Distribution Substations | 321577.8784 | 433766.0819 | 899848.2756 | 1139122.6249 | 671193.8241 | 464258 | 966460.42 | 1093204.2622 | 837580.6059
|  | Distribution Substations - Land Purchases And Easements | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | LV Feeders | 313178.4616 | 422436.3781 | 595050.5494 | 482720.4751 | 254274.7709 | 349078 | 630184.07 | 818975.8178 | 837580.6059
|  | LV Feeders - Land Purchases And Easements | $Nominal 2018/19: 0
|  | Other Assets | $Nominal 2018/19: 0
|  | Totals | 30081400.471 | 22316743.115 | 32967752.675 | 34508763.525 | 23743220.5715 | 16940174.5 | 21646521.1071 | 26537269.5221 | 40190033.39
|  | Checks | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
End of Sheet

## Forecast Expenditure
CitiPower - Augmentation | [16 empty] | Menu
Forecast Expenditure | [15 empty] | Sheet Check | OK
Forecast Expenditure by Function Code
$ 2021
| Function Code | Description | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| 160 | LV Augmentation | 768691.6755 | 1001607.8645 | 1714414.4497 | 1820653.4738 | 1015481.1212 | 879159.4716 | 1708380.2002 | 2007184.5104 | 1722599.4053 | 1336410.5442 | 5120824.7613 | 4896125.0623 | 5165699.6817 | 5163188.5696 | 5261359.018
| 161 | Augmentation of Zone Substations | 16826317.7341 | 4447841.2038 | 6003906.3598 | 11293527.6369 | 9565554.3739 | 6782322.6865 | 5793167.3868 | 5820339.0183 | 6902622.9802 | 16442814.1593 | 288443.3628 | 104816.5133 | 1991513.7522 | 2195192.8142 | 2778444.8319
| 162 | Augmentation of Subtransmission | 16131333.2557 | 13535844.0462 | 21522151.3546 | 22687167.2681 | 10935754.8463 | 5609221.641 | 6317463.7801 | 11138659.4863 | 29974763.862 | 18787478.9411 | 30385335.8999 | 11326745.9058 | 5188417.4071 | 8856003.0442 | 6330221.2301
| 177 | CBD Security | 2702316.134 | 7121412.3186 | 8568368.5513 | 2937602.5019 | 4535733.0807 | 5040442.9627 | 9342367.5708 | 8889559.6993 | 2728171.9817 | 1048165.1327 | 2262300.885 | 8452778.7611 | 9794734.5133 | 4606867.2566 | 0
|  | Total | 36428658.7993 | 26106705.4332 | 37808840.7154 | 38738950.8806 | 26052523.4222 | 18311146.7619 | 23161378.9378 | 27855742.7143 | 41328158.2293 | 37614868.7773 | 38056904.909 | 24780466.2424 | 22140365.3543 | 20821251.6847 | 14370025.0799
|  | Checks | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Forecast Expenditure by RIN Category Augex Table 2.3.4
$ 2021
| Asset Group | AUGMENTATION CAPEX (As incurred) | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| AUGMENTATION CAPEX | Subtransmission Substations, Switching Stations, Zone Substations | 16826317.7341 | 4447841.2038 | 6003906.3598 | 11293527.6369 | 9565554.3739 | 6782322.6865 | 5793167.3868 | 5820339.0183 | 6902622.9802 | 16442814.1593 | 288443.3628 | 104816.5133 | 1991513.7522 | 2195192.8142 | 2778444.8319
| As incurred | Subtransmission Lines | 16937159.8 | 15082196.2753 | 23362186.7574 | 21496738.773 | 13059351.5634 | 7963910.2233 | 8948560.178 | 13563759.8844 | 2616234.8675 | 1586851.5259 | 2611810.9428 | 1582361.9733 | 1198652.1536 | 1077029.6241 | 506417.6984
|  | HV Feeders | 1896489.5896 | 5575060.0895 | 6728333.1485 | 4128030.997 | 2412136.3636 | 2685754.3805 | 6711271.1729 | 6464459.3012 | 30086700.9763 | 18248792.5479 | 30035825.8421 | 18197162.6935 | 13784499.7667 | 12385840.6768 | 5823803.5317
|  | HV Feeders - Land Purchases and Easements | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Distribution Substations | 389431.6962 | 507430.8231 | 1031984.8143 | 1278759.6804 | 736475.1875 | 501830.5079 | 1034094.8509 | 1147518.8371 | 861299.7027 | 668205.2721 | 2560412.3806 | 2448062.5311 | 2582849.8409 | 2581594.2848 | 2630679.509
|  | Distribution Substations - Land Purchases And Easements | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | LV Feeders | 379259.9793 | 494177.0414 | 682429.6354 | 541893.7934 | 279005.9337 | 377328.9637 | 674285.3493 | 859665.6733 | 861299.7027 | 668205.2721 | 2560412.3806 | 2448062.5311 | 2582849.8409 | 2581594.2848 | 2630679.509
|  | LV Feeders - Land Purchases And Easements | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Other Assets | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total | 36428658.7993 | 26106705.4332 | 37808840.7154 | 38738950.8806 | 26052523.4222 | 18311146.7619 | 23161378.9378 | 27855742.7143 | 41328158.2293 | 37614868.7773 | 38056904.909 | 24780466.2424 | 22140365.3543 | 20821251.6847 | 14370025.0799
|  | Checks | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
End of Sheet

## Direct Capex
CitiPower - Augmentation | [8 empty] | Menu
Direct Capex | [7 empty] | Sheet Check | OK
Direct Capex by Function Code
|  |  | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| Function Code | Description | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021
|  |  | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast
| 102 | Rural Projects < 50KVA | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 103 | Urban Projects < 50KVA | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 104 | Medium Density SubDivision | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 105 | Business Supply > 50KVA < 200KVA | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 106 | Business Supply > 200KVA | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 107 | HV Connections | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 108 | Business SubDivisions | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 109 | U/G Service Pits Ex O/H Supply | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 110 | Low Density SubDivisions | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 111 | High Density Residential/Business | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 112 | New Connection Meter Acc. | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 113 | New Connection Meter IMRO | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 114 | New Conn. Service/Materials | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 115 | New Conn. Servicing Labour | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 116 | Recoverable Works | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 118 | CO Generation Projects | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 119 | Energy Efficient Public Lighting - New | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 120 | Public Lighting - New | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 121 | Docklands | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 122 | Major Generation Projects | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 123 | New Conn. Meter Install Acc. | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 124 | New Conn. Meter Install MRIM | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 125 | New Conn. Meter AMI | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 126 | New Conn. Meter Install AMI | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 130 | ACS services | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 131 | Consolidated line maintenance | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 132 | Replacement accumulation meter | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 133 | Replacement MRIM meter | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 134 | Replacement AMI meter & transformers | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 135 | Rollout AMI meter | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 136 | Rollout AMI meter install | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 137 | Replacement Meter Install AMI | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 138 | Replacement Meter & Install IMRO | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 139 | Maintenance Related Fault Capital | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 140 | Public Lighting - Replacement | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 141 | Fault Related Capital | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 142 | Conductor Clearance | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 143 | HV Switch Replacement | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 144 | Transformer Replacement | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 145 | HV Fuse Unit & Surge Divert. Repl. | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 146 | Recoverable Works - Asset Damage | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 147 | Pole Life Extension - Treatment | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 148 | Pole Replacement | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 149 | Pole Life Extension - Staking | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 150 | OH/UG Line Replacement | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 151 | Replacements Meter & Install Acc | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 152 | Neutral Screen Services | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 153 | Servicing Replacement | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 154 | Bird Cover Replacement | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 155 | Cross-arm Replacement | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 156 | ZSS - Major Plant Replacement | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 157 | Zone SubStation Plant Replacement | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 158 | Safety Compliance | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 159 | TV Interference Replacement Capital | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 160 | Augmentation Lines | 1722.5994 | 1336.4105 | 5120.8248 | 4896.1251 | 5165.6997 | 5163.1886 | 5261.359
| 161 | Augmentation of Zone SubStation | 6902.623 | 16442.8142 | 288.4434 | 104.8165 | 1991.5138 | 2195.1928 | 2778.4448
| 162 | Network Development - Augment Dist. | 29974.7639 | 18787.4789 | 30385.3359 | 11326.7459 | 5188.4174 | 8856.003 | 6330.2212
| 163 | Environment Management' | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 164 | Bushfire Mitigation Augmentation | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 165 | LV Com. Multi Earth (CMEN) | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 166 | Reliability Improvement - Automation | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 167 | VBRC | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 168 | Zone SubStation Automation | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 169 | Augmentation Connection Assets | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 170 | Conductor Clearance | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 171 | SWER Augmentation | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 172 | Supply Reliability Improvement Scheme | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 174 | Pole Fire Mitigation | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 175 | Metering Communications | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 176 | Communications installation | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 177 | CBD Security Supply | 2728.172 | 1048.1651 | 2262.3009 | 8452.7788 | 9794.7345 | 4606.8673 | 0
| 200 | Computers | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 205 | IT Metering Data Services | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 210 | General Equipment | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 215 | General Equipment-AMI | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 220 | Office Furniture | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 225 | Office Furniture-AMI | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 230 | Property | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 235 | Property-AMI | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 240 | Motor Vehicles | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 245 | Motor Vehicles-AMI | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 260 | Intellectual Property | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 270 | Communications | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 273 | Testing & Laboratory | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Check | 0 | 0 | 0 | 0 | 0 | 0 | 0
End of Sheet