## Legend
Style legend |  |  | Menu
Style | Design | Comment
Header1 | Header1
Header 1A | Header 1A
Header2 | Header2
Header3 | Header3
Header4 | Header4
User_Input_Actual | 100 | A user driven input for actual figures
User_Input_Forecast | 100 | A user driven input for forcast figures
Base_Input | 100 | A model input that should not be changed to protect the integrity of the model
Empty_Cell |  | A cell that is left intentionally blank to avoid the risk of error
InSheet_calc | 100 | A link within the worksheet or an interim calculation step
OffSheet | 100 | A link to another worksheet to minimise the number of inter-worksheet references
Line_SubTotal | 100 | The sum of elements in the table immediately above
Line_Total | 100 | The sum of elements above, including sub-totals
Unit / Info | AUD millions | Explanatory text showing helpful information or the units/dimensions of the calculations
Line_Summary | 100 | The SUM() of everything in the row
Table_Header | Qtr | Header of a table or of an off-sheet reference
Flag | 1 | Binary flag - set up as a 'Style' and updated with conditional formatting
Check_Cell | 100 | Check figures add up to the correct amount

## Menu
CP - Network Comms Capex
Menu
| Control |  | User Inputs |  | Base Inputs
| Legend |  | Project List |  | Inflation
| Menu |  |  |  | Historical Expenditure
| Calculations |  | Outputs/Export
| Forecast Expenditure | OK | Direct Capex | OK
|  |  | RESET RIN 2.3 Augex (b) | OK

## Project List
CP - Network Comms Capex | [9 empty] | Menu
Project List
Comms Project List
$2019
| Function Code | Project Description | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26 | Total 2021-26
| 168 | Network communications: 3G shutdown | 0 | 0 | 1830749.81 | 1830749.81 | 0 | 0 | 0 | 3661499.62
| 168 | Supervisory modernisation | 0 | 0 | 0 | 104686.5 | 704686.5 | 1200000 | 1000000 | 3009373
| 168 | Fibre upgrades | 0 | 29489.94 | 45398.91 | 60135.15 | 45817.95 | 111298.77 | 12108.51 | 274759.29
| 168 | Communications monitoring | 0 | 0 | 0 | 0 | 0 | 0 | 250000 | 250000
| 168 | Almos upgrade | 360000 | 360000 | 0 | 0 | 0 | 0 | 0 | 0
| 168 | WMTS-DA fibre build | 100000 | 100000 | 0 | 0 | 0 | 0 | 0 | 0
| 168 | WB-BTS fibre build | 200000 | 200000 | 0 | 0 | 0 | 0 | 0 | 0
| 168 | Digital network: network devices | 0 | 0 | 1046115.06 | 1046115.06 | 1046115.06 | 1046115.06 | 1046115.06 | 5230575.3
| 168 | Communication devices: 5-minute settlement | 0 | 0 | 104219.0394 | 267632.9403 | 223525.139 | 233849.3153 | 259576.7435 | 1088803.1775
| 168 | Communication devices: annual program | 0 | 0 | 290427.1007 | 297492.6103 | 303393.674 | 321364.9053 | 631023.0385 | 1843701.3286
|  | Totals | 660000 | 689489.94 | 3316909.9201 | 3606812.0706 | 2323538.3229 | 2912628.0506 | 3198823.3519 | 15358711.7161
End of Sheet

## Inflation
CP - Network Comms Capex | [11 empty] | Menu
Inflation
| Base Year | 2021
Inflation Rates and Conversion factor to June 2021
| Financial Year | FY11/12 | FY12/13 | FY13/14 | FY14/15 | FY15/16 | FY16/17 | FY17/18 | FY18/19 | FY19/20 | FY20/21 | FY21/22
| Calendar Year | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
| Inflation | 2.993% | 2.204% | 2.745% | 1.718% | 1.689% | 1.476% | 1.909% | 1.784% | 1.593% | 2% | 2.2%
| Converstion Factor to 2021 | 1.1991 | 1.1733 | 1.1419 | 1.1226 | 1.104 | 1.0879 | 1.0675 | 1.0488 | 1.0424 | 1.022 | 1
| Calendar Year | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
| Inflation | 3.549% | 1.21% | 2.39% | 3.016% | 1.511% | 1.023% | 1.934% | 2.078% | 1.593% | 2% | 2.2%
| Converstion Factor to 2021 | 1.2064 | 1.192 | 1.1641 | 1.13 | 1.1132 | 1.102 | 1.081 | 1.059 | 1.0424 | 1.022 | 1
| Financial Year | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
| Inflation | 2.993% | 2.204% | 2.745% | 1.718% | 1.689% | 1.476% | 1.909% | 1.784% | 1.615% | 2% | 2.4%
| Converstion Factor to 2021 | 1.1991 | 1.1733 | 1.1419 | 1.1226 | 1.104 | 1.0879 | 1.0675 | 1.0488 | 1.0322 | 1.0119 | 1
| Escalation Selector | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1

## Historical Expenditure
CP - Network Comms Capex | [9 empty] | Menu
Historical Expenditure
Historical Expenditure by RIN Category Augex Table 2.3.4
$ nominal
| Asset Group | AUGMENTATION CAPEX (As incurred) | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
| AUGMENTATION CAPEX | Subtransmission Substations, Switching Stations, Zone Substations
| As incurred | Subtransmission Lines
HV Feeders
HV Feeders - Land Purchases and Easements
Distribution Substations
Distribution Substations - Land Purchases And Easements
LV Feeders
LV Feeders - Land Purchases And Easements
|  | Other Assets | 1753279.125 | 2468848.565 | 2139136.71 | 1941949.5 | 1925718 | 1923840.5 | 1665410.805 | 1651938.805
|  | Totals | 1753279.125 | 2468848.565 | 2139136.71 | 1941949.5 | 1925718 | 1923840.5 | 1665410.805 | 1651938.805
End of Sheet

## Forecast Expenditure
CP - Network Comms Capex | [16 empty] | Menu
Forecast Expenditure | [15 empty] | Sheet Check | OK
Forecast Expenditure by Function Code
Source: Project List
$ 2021
| Function Code | Description | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| 168 | Network communications: 3G shutdown | $ 2021 2019/20: 0; $ 2021 2020/21: 0; $ 2021 2021/22: 1908443.1776; $ 2021 2022/23: 1908443.1776; $ 2021 2023/24: 0; $ 2021 2024/25: 0; $ 2021 2025/26: 0
| 168 | Supervisory modernisation | $ 2021 2019/20: 0; $ 2021 2020/21: 0; $ 2021 2021/22: 0; $ 2021 2022/23: 109129.1861; $ 2021 2023/24: 734591.9884; $ 2021 2024/25: 1250925.6047; $ 2021 2025/26: 1042438.0039
| 168 | Fibre upgrades | $ 2021 2019/20: 0; $ 2021 2020/21: 30741.4342; $ 2021 2021/22: 47325.5491; $ 2021 2022/23: 62687.1657; $ 2021 2023/24: 47762.3723; $ 2021 2024/25: 116022.0676; $ 2021 2025/26: 12622.371
| 168 | Communications monitoring | $ 2021 2019/20: 0; $ 2021 2020/21: 0; $ 2021 2021/22: 0; $ 2021 2022/23: 0; $ 2021 2023/24: 0; $ 2021 2024/25: 0; $ 2021 2025/26: 260609.501
| 168 | Almos upgrade | $ 2021 2019/20: 375277.6814; $ 2021 2020/21: 375277.6814; $ 2021 2021/22: 0; $ 2021 2022/23: 0; $ 2021 2023/24: 0; $ 2021 2024/25: 0; $ 2021 2025/26: 0
| 168 | WMTS-DA fibre build | $ 2021 2019/20: 104243.8004; $ 2021 2020/21: 104243.8004; $ 2021 2021/22: 0; $ 2021 2022/23: 0; $ 2021 2023/24: 0; $ 2021 2024/25: 0; $ 2021 2025/26: 0
| 168 | WB-BTS fibre build | $ 2021 2019/20: 208487.6008; $ 2021 2020/21: 208487.6008; $ 2021 2021/22: 0; $ 2021 2022/23: 0; $ 2021 2023/24: 0; $ 2021 2024/25: 0; $ 2021 2025/26: 0
| 168 | Digital network: network devices | $ 2021 2019/20: 0; $ 2021 2020/21: 0; $ 2021 2021/22: 1090510.095; $ 2021 2022/23: 1090510.095; $ 2021 2023/24: 1090510.095; $ 2021 2024/25: 1090510.095; $ 2021 2025/26: 1090510.095
| 168 | Communication devices: 5-minute settlement | $ 2021 2019/20: 0; $ 2021 2020/21: 0; $ 2021 2021/22: 108641.8874; $ 2021 2022/23: 278990.7481; $ 2021 2023/24: 233011.0997; $ 2021 2024/25: 243773.4135; $ 2021 2025/26: 270592.6623
| 168 | Communication devices: annual program | $ 2021 2019/20: 0; $ 2021 2020/21: 0; $ 2021 2021/22: 302752.2471; $ 2021 2022/23: 310117.6028; $ 2021 2023/24: 316269.0959; $ 2021 2024/25: 335002.9904; $ 2021 2025/26: 657802.3967
|  | Totals | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 688009.0826 | 718750.5168 | 3457672.9563 | 3759877.9753 | 2422144.6513 | 3036234.1712 | 3334575.0299
|  | Check | $ 2021 2019/20: 0; $ 2021 2020/21: 0; $ 2021 2021/22: 0; $ 2021 2022/23: 0; $ 2021 2023/24: 0; $ 2021 2024/25: 0; $ 2021 2025/26: 0
Forecast Expenditure by RIN Category Augex Table 2.3.4
$ 2021
| Asset Group | AUGMENTATION CAPEX | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| AUGMENTATION CAPEX | Subtransmission Substations, Switching Stations, Zone Substations | $ 2021 2011/12: 0; $ 2021 2012/13: 0; $ 2021 2013/14: 0; $ 2021 2014/15: 0; $ 2021 2015/16: 0; $ 2021 2016/17: 0; $ 2021 2017/18: 0; $ 2021 2018/19: 0
| As incurred | Subtransmission Lines | $ 2021 2011/12: 0; $ 2021 2012/13: 0; $ 2021 2013/14: 0; $ 2021 2014/15: 0; $ 2021 2015/16: 0; $ 2021 2016/17: 0; $ 2021 2017/18: 0; $ 2021 2018/19: 0
|  | HV Feeders | $ 2021 2011/12: 0; $ 2021 2012/13: 0; $ 2021 2013/14: 0; $ 2021 2014/15: 0; $ 2021 2015/16: 0; $ 2021 2016/17: 0; $ 2021 2017/18: 0; $ 2021 2018/19: 0
|  | HV Feeders - Land Purchases and Easements | $ 2021 2011/12: 0; $ 2021 2012/13: 0; $ 2021 2013/14: 0; $ 2021 2014/15: 0; $ 2021 2015/16: 0; $ 2021 2016/17: 0; $ 2021 2017/18: 0; $ 2021 2018/19: 0
|  | Distribution Substations | $ 2021 2011/12: 0; $ 2021 2012/13: 0; $ 2021 2013/14: 0; $ 2021 2014/15: 0; $ 2021 2015/16: 0; $ 2021 2016/17: 0; $ 2021 2017/18: 0; $ 2021 2018/19: 0
|  | Distribution Substations - Land Purchases And Easements | $ 2021 2011/12: 0; $ 2021 2012/13: 0; $ 2021 2013/14: 0; $ 2021 2014/15: 0; $ 2021 2015/16: 0; $ 2021 2016/17: 0; $ 2021 2017/18: 0; $ 2021 2018/19: 0
|  | LV Feeders | $ 2021 2011/12: 0; $ 2021 2012/13: 0; $ 2021 2013/14: 0; $ 2021 2014/15: 0; $ 2021 2015/16: 0; $ 2021 2016/17: 0; $ 2021 2017/18: 0; $ 2021 2018/19: 0
|  | LV Feeders - Land Purchases And Easements | $ 2021 2011/12: 0; $ 2021 2012/13: 0; $ 2021 2013/14: 0; $ 2021 2014/15: 0; $ 2021 2015/16: 0; $ 2021 2016/17: 0; $ 2021 2017/18: 0; $ 2021 2018/19: 0
|  | Other Assets | 2102386.9143 | 2896585.8455 | 2442695.7801 | 2180082.1113 | 2125962.1669 | 2092996.4994 | 1777902.2904 | 1732608.4763 | 688009.0826 | 718750.5168 | 3457672.9563 | 3759877.9753 | 2422144.6513 | 3036234.1712 | 3334575.0299
|  | Totals | 2102386.9143 | 2896585.8455 | 2442695.7801 | 2180082.1113 | 2125962.1669 | 2092996.4994 | 1777902.2904 | 1732608.4763 | 688009.0826 | 718750.5168 | 3457672.9563 | 3759877.9753 | 2422144.6513 | 3036234.1712 | 3334575.0299
|  | Check | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
End of Sheet

## Direct Capex
CP - Network Comms Capex | [8 empty] | Menu
Direct Capex | [7 empty] | Sheet Check | OK
Direct Capex by Function Code
|  |  | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| Function Code | Description | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021 | $'000 2021
|  |  | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast | Forecast
| 102 | Rural Projects < 50KVA
| 103 | Urban Projects < 50KVA
| 104 | Medium Density SubDivision
| 105 | Business Supply > 50KVA < 200KVA
| 106 | Business Supply > 200KVA
| 107 | HV Connections
| 108 | Business SubDivisions
| 109 | U/G Service Pits Ex O/H Supply
| 110 | Low Density SubDivisions
| 111 | High Density Residential/Business
| 112 | New Connection Meter Acc.
| 113 | New Connection Meter IMRO
| 114 | New Conn. Service/Materials
| 115 | New Conn. Servicing Labour
| 116 | Recoverable Works
| 118 | CO Generation Projects
| 119 | Energy Efficient Public Lighting - New
| 120 | Public Lighting - New
| 121 | Docklands
| 122 | Major Generation Projects
| 123 | New Conn. Meter Install Acc.
| 124 | New Conn. Meter Install MRIM
| 125 | New Conn. Meter AMI
| 126 | New Conn. Meter Install AMI
| 130 | ACS services
| 131 | Consolidated line maintenance
| 132 | Replacement accumulation meter
| 133 | Replacement MRIM meter
| 134 | Replacement AMI meter & transformers
| 135 | Rollout AMI meter
| 136 | Rollout AMI meter install
| 137 | Replacement Meter Install AMI
| 138 | Replacement Meter & Install IMRO
| 139 | Maintenance Related Fault Capital
| 140 | Public Lighting - Replacement
| 141 | Fault Related Capital
| 142 | Conductor Clearance
| 143 | HV Switch Replacement
| 144 | Transformer Replacement
| 145 | HV Fuse Unit & Surge Divert. Repl.
| 146 | Recoverable Works - Asset Damage
| 147 | Pole Life Extension - Treatment
| 148 | Pole Replacement
| 149 | Pole Life Extension - Staking
| 150 | OH/UG Line Replacement
| 151 | Replacements Meter & Install Acc
| 152 | Neutral Screen Services
| 153 | Servicing Replacement
| 154 | Bird Cover Replacement
| 155 | Cross-arm Replacement
| 156 | ZSS - Major Plant Replacement
| 157 | Zone SubStation Plant Replacement
| 158 | Safety Compliance
| 159 | TV Interference Replacement Capital
| 160 | Augmentation Lines
| 161 | Augmentation of Zone SubStation
| 162 | Network Development - Augment Dist.
| 163 | Environment Management'
| 164 | Bushfire Mitigation Augmentation
| 165 | LV Com. Multi Earth (CMEN)
| 166 | Reliability Improvement - Automation
| 167 | VBRC
| 168 | Zone SubStation Automation | 688.0091 | 718.7505 | 3457.673 | 3759.878 | 2422.1447 | 3036.2342 | 3334.575
| 169 | Augmentation Connection Assets
| 170 | Conductor Clearance
| 171 | SWER Augmentation
| 172 | Supply Reliability Improvement Scheme
| 174 | Pole Fire Mitigation
| 175 | Metering Communications
| 176 | Communications installation
| 177 | CBD Security Supply
| 200 | Computers
| 205 | IT Metering Data Services
| 210 | General Equipment
| 215 | General Equipment-AMI
| 220 | Office Furniture
| 225 | Office Furniture-AMI
| 230 | Property
| 235 | Property-AMI
| 240 | Motor Vehicles
| 245 | Motor Vehicles-AMI
| 260 | Intellectual Property
| 270 | Communications
| 273 | Testing & Laboratory
|  | Check | 0 | 0 | 0 | 0 | 0 | 0 | 0
End of Sheet

## RESET RIN 2.3 Augex (b)
CP - Network Comms Capex | [8 empty] | Menu
RESET RIN 2.3 Augex (b) | [7 empty] | Sheet Check | OK
2.3.3 - AUGEX DATA - HV/LV FEEDERS AND DISTRIBUTION SUBSTATIONS
NOTE: DNSP MUST PROVIDE EXPENDITURE INFORMATION ON AN AS INCURRED BASIS.
Volumes (0's)
| PROJECT TYPE | Units | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26
DESCRIPTOR METRICS - UNITS ADDED
| HV Feeder Augmentations - Overhead Lines | Circuit line length in km
| HV Feeder Augmentations - Underground Cables | Circuit line length in km
| LV Feeder Augmentations - Overhead Lines | Circuit line length in km
| LV Feeder Augmentations - Underground Cables | Circuit line length in km
| Distribution Substation Augmentations - Pole Mounted | Number
| Distribution Substation Augmentations - Ground Mounted | Number
| Distribution Substation Augmentations - Indoor | Number
DESCRIPTOR METRICS - UNITS UPGRADED
| HV Feeder Augmentations - Overhead Lines | Circuit line length in km
| HV Feeder Augmentations - Underground Cables | Circuit line length in km
| LV Feeder Augmentations - Overhead Lines | Circuit line length in km
| LV Feeder Augmentations - Underground Cables | Circuit line length in km
| Distribution Substation Augmentations - Pole Mounted | Number
| Distribution Substation Augmentations - Ground Mounted | Number
| Distribution Substation Augmentations - Indoor | Number
| COST METRICS |  | Volumes (0's) 2019-20: TOTAL DIRECT EXPENDITURE ($0's real June 2021)
| TOTAL DIRECT EXPENDITURE - Project Type |  | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26
HV Feeder Augmentations - Overhead Lines
HV Feeder Augmentations - Underground Cables
HV Feeder Non-Material Projects
LV Feeder Augmentations - Overhead Lines
LV Feeder Augmentations - Underground Cables
LV Feeder Non-Material Projects
Distribution Substation Augmentations - Pole Mounted
Distribution Substation Augmentations - Ground Mounted
Distribution Substation Augmentations - Indoor
2.3.4 - AUGEX DATA - TOTAL EXPENDITURE
TOTAL DIRECT EXPENDITURE ($0's real June 2021)
| AUGMENTATION CAPEX (As incurred) |  | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26
| Subtransmission Substations, Switching Stations, Zone Substations |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Subtransmission Lines |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| HV Feeders |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| HV Feeders - Land Purchases and Easements |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Distribution Substations |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Distribution Substations - Land Purchases And Easements |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| LV Feeders |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| LV Feeders - Land Purchases And Easements |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other Assets |  | 688009.0826 | 718750.5168 | 3457672.9563 | 3759877.9753 | 2422144.6513 | 3036234.1712 | 3334575.0299
End of Sheet