## Inputs
CitiPower - CBD Cable Pits
Inputs | [8 empty] | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
General inputs, timing and costs
General inputs
|  | Company |  | CitiPower
|  | Title |  | CBD Cable Pits
|  | Model start & timeline |  | 2019
|  | Real WACC |  | 2.75%
|  | Asset Life (years) |  | 50
Inflation
|  | Year | [6 empty] | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
|  |  | Nominal escalation index to June $2021 | [5 empty] | 125.4% | 122% | 117.9% | 115.6% | 113.1% | 110.6% | 108.9% | 107.8% | 105.8% | 103.6% | 102% | 100%
Capex
|  | Replacement capex regulator, real $2019 |  | 28400000 |  |  |  |  | 0 | 1700000 | 2400000 | 2700000 | 2700000 | 2700000 | 2700000 | 2700000 | 2700000 | 2700000 | 2700000 | 2700000
|  |  | Capex ($2021) | 29429437.1681 |  |  |  |  | 0 | 1761621.2389 | 2486994.6903 | 2797869.0265 | 2797869.0265 | 2797869.0265 | 2797869.0265 | 2797869.0265 | 2797869.0265 | 2797869.0265 | 2797869.0265 | 2797869.0265
Opex
|  |  |  | Pre-replacement | Post-replacement
|  | Annual opex, real $2019 |  | 0 | 0
|  |  | Opex ($2021) | 0 | 0
Scenario manager
Sensitivity bounds
|  | Bound |  | Lower | Central | Upper
|  |  | PoF | -10% | 0% | 10%
|  |  | Capex | -10% | 0% | 10%
|  |  | Opex | -10% | 0% | 10%
|  |  | Demand | -5% | 0% | 5%
|  |  | VCR | -10% | 0% | 10%
|  |  | Environment | -10% | 0% | 10%
Scenario selection
|  | Element |  | PoF | Capex | Opex | Demand | VCR | 2010: Environment
|  |  | Base case | Central | Central | Central | Central | Central | 2010: Central
|  |  | A | Lower | Upper | Lower | Lower | Lower | 2010: Lower
|  |  | B | Lower | Lower | Lower | Lower | Lower | 2010: Lower
|  |  | C | Upper | Upper | Upper | Upper | Upper | 2010: Upper
|  |  | D | Upper | Lower | Upper | Upper | Upper | 2010: Upper
Scenario output
|  | Element |  | PoF | Capex | Opex | Demand | VCR | 2010: Environment
|  |  | Base case | 100% | 100% | 100% | 100% | 100% | 2010: 100%
|  |  | A | 90% | 110% | 90% | 95% | 90% | 2010: 90%
|  |  | B | 90% | 90% | 90% | 95% | 90% | 2010: 90%
|  |  | C | 110% | 110% | 110% | 105% | 110% | 2010: 110%
|  |  | D | 110% | 90% | 110% | 105% | 110% | 2010: 110%
Network assumptions
Probability of failure (PoF)
|  | Failure mode |  | Failure code
|  |  | Significant | 1 |  |  |  |  | 1.1% | 1.21% | 1.33% | 1.46% | 1.61% | 1.77% | 1.95% | 2.14% | 2.36% | 2.59% | 2.85% | 3.14%
|  |  | Major | 2 |  |  |  |  | 1.06% | 1.16% | 1.28% | 1.41% | 1.55% | 1.7% | 1.87% | 2.06% | 2.26% | 2.49% | 2.74% | 3.01%
|  |  | Catastrophic | 3 |  |  |  |  | 10.07% | 11.07% | 12.18% | 13.4% | 14.74% | 16.21% | 17.83% | 19.61% | 21.58% | 23.73% | 26.11% | 28.72%
Value of customer reliability (VCR)
|  | Sector |  | MWh | Weighted VCR $/MWh ($2018) | Load Duration | Load Duration Adjusted VCR $/MWh ($2021)
|  |  | Residential |  |  |  | 0
|  |  | Agricultural |  |  |  | 0
|  |  | Commercial |  |  |  | 0
|  |  | Industrial |  |  |  | 0
|  |  | Total | 0 | 0 | 0% | 0
Asset information
|  | Assets at risk |  | 1 |  |  | Sections lost
|  | N-rating, MVA |  |  |  | Total Sections | 0
|  |  | N-1 Rating before transfers, MVA |  |  | Significant
|  |  | N-2 Rating before transfers, MVA |  |  | Major
N-3 Rating before transfers, MVA
N-4 Rating before transfers, MVA
Transfer capacity, MVA
Environmental assumptions
Environmental consequence
|  | Settings |  | Real $2019 | Real $2021
|  |  | Value Consequence Loss Oil / litre |  | 0
|  |  | Value Consequence Loss SF6/Kg |  | 0
|  |  | Value Consequence Fire |  | 0
|  |  | Value Consequence Waste / tonne |  | 0
|  |  | Value Consequence Disturbance |  | 0
|  |  | Value Fire brigade attendance |  | 0
|  | Failure Mode |  | Significant | Major
Average Consequence Loss Oil
Average Consequences Loss SF6 kgs
Average Consequence Fire
Average Consequence Waste
Average Consequence Disturbance
|  |  | Average Cost of Fault (Air Insulated) | 0 | 0
|  |  | Average Cost of Fault (SF6 Insulated) | 0 | 0
|  |  | Average Cost of Fault (Oil Insulated) | 0 | 0
Generation assumptions
Generation requirements
Generator detail
Generator capacity, MVA
Generators per site
Step-up transformer capacity
|  |  | Number of transformers required per site | 0
Generator sites connected per day
Fuel usage / MWh in Litres
Days in week
Setup, persons required
Setup, hours employed per day
Hours per day
|  | Generator detail by failure mode |  | Significant | Major
Switching time only (hours required)
Number of weeks generation required
|  |  | Max demand load net of transfers, MVA | 0 | 0
|  |  | Number of generators | 0 | 0
|  |  | Generator sites | 0 | 0
|  |  | Number of days to connect all generators | 0 | 0
|  | Generation costs |  | Real $2019 | Real $2021
|  |  | Generator hire per week |  | 0
|  |  | Fuel cost $ per litre including delivery |  | 0
|  |  | Fitter cost (blended 24hr rate) $ per hr |  | 0
|  |  | Traffic management and security per site |  | 0
|  |  | Transformer hire per week |  | 0
|  |  | Earthing and bunding per site |  | 0
|  |  | Temporary fencing per site per week |  | 0
|  |  | Miscellaneous material per site |  | 0
|  |  | Install and remove step down transformers per site |  | 0
|  |  | Council permits per site |  | 0
|  |  | Crane hire to install / remove generators per site |  | 0
|  |  | Cable hire per site |  | 0
|  | Generation costs by failure mode |  | Significant | Major
|  |  | Generator hire | 0 | 0
|  |  | Fuel cost | 0 | 0
|  |  | Fitter cost | 0 | 0
|  |  | Traffic management cost | 0 | 0
|  |  | Transformer hire | 0 | 0
|  |  | Earthing and bunding | 0 | 0
|  |  | Temporary fencing | 0 | 0
|  |  | Miscellaneous materials | 0 | 0
|  |  | Installation & removal of step-down transformers | 0 | 0
|  |  | Council permits | 0 | 0
|  |  | Crane hire | 0 | 0
|  |  | Cable hire | 0 | 0
|  |  | Total | 0 | 0
Safety assumptions
Safety consequence
|  | Value of consquence |  | Base Value ($2018) | Disproportion Factor | Reference Value ($2021)
|  |  | Minor | 127274.0425 | 1 | 134627.6539
|  |  | Serious | 672376.8885 | 2 | 1422450.662
|  |  | Fataility | 4500000 | 3 | 14280000
|  | Probability of event, by failure mode |  | Significant | Major
|  |  | Minor | 0.5% | 0.5%
|  |  | Serious | 0.19% | 0.19%
|  |  | Fataility | 1.83% | 1.83%
|  |  | Value of event | 264699.7945 | 264699.7945
|  |  | Weighted likelyhood of consequence | 1.671% | 1.671%
Base Case PoE, Load and VCR assumptions
Probability of exceedance (PoE) forecast, Mega Volt Ampere (MVA)
PoE forecast
|  |  | 10% PoE forecast, MVA | 10%
|  |  | 50% PoE forecast, MVA | 50%
|  |  | Selected | 70% |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Load at risk
Selected profile, MVA
|  |  | N | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | N-1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | N-2 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | N-3 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | N-4 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
End

## Base Case
CitiPower - CBD Cable Pits
Base Case | [7 empty] | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Scenario Base case: Consequence calculation
Consequence calculation
|  | Scenario |  |  | Base case
|  |  | PoF |  | 100%
|  |  | Capex |  | 100%
|  |  | Opex |  | 100%
|  |  | Demand |  | 100%
|  |  | VCR |  | 100%
|  |  | Environment |  | 100%
[5 empty] | Failure Mode | Risk | Description | Network Performance | Safety | OPEX | CAPEX | Environment | Likelihood of consequence | Consequence incl. network performance | Consequence ex. network performance
[5 empty] | 3 | Catastrophic | Expected average unserved energy @ VCR | 2019: 500000; 2024: 100%; 2025: 500000; 2026: 0
[5 empty] | 3 | Catastrophic | Safety consequence | 2020: 14280000; 2024: 20%; 2025: 2856000; 2026: 2856000
[5 empty] | 3 | Catastrophic | Pit repair cost | 2022: 500000; 2024: 100%; 2025: 500000; 2026: 500000
[5 empty] | 3 | Catastrophic | Electrical Asset repair | 2021: 400000; 2024: 100%; 2025: 400000; 2026: 400000
[5 empty] | 3 | Catastrophic | Damage to telecommunications | 2021: 500000; 2024: 20%; 2025: 100000; 2026: 100000
[5 empty] | 3 | Catastrophic | [Spare] | 2025: 0; 2026: 0
[5 empty] | 3 | Catastrophic | [Spare] | 2025: 0; 2026: 0
[5 empty] | 3 | Catastrophic | [Spare] | 2025: 0; 2026: 0
[5 empty] | 3 | Catastrophic | [Spare] | 2025: 0; 2026: 0
[5 empty] | 3 | Catastrophic | [Spare] | 2025: 0; 2026: 0
[5 empty] | 2 | Major | Expected average unserved energy @ VCR | 2019: 500000; 2024: 100%; 2025: 500000; 2026: 0
[5 empty] | 2 | Major | Safety consequence | 2020: 14280000; 2024: 20%; 2025: 2856000; 2026: 2856000
[5 empty] | 2 | Major | Pit repair cost | 2022: 500000; 2024: 100%; 2025: 500000; 2026: 500000
[5 empty] | 2 | Major | Electrical Asset repair | 2021: 400000; 2024: 100%; 2025: 400000; 2026: 400000
[5 empty] | 2 | Major | Damage to telecommunications | 2021: 500000; 2024: 20%; 2025: 100000; 2026: 100000
[5 empty] | 2 | Major | [Spare] | 2025: 0; 2026: 0
[5 empty] | 2 | Major | [Spare] | 2025: 0; 2026: 0
[5 empty] | 2 | Major | [Spare] | 2025: 0; 2026: 0
[5 empty] | 2 | Major | [Spare] | 2025: 0; 2026: 0
[5 empty] | 2 | Major | [Spare] | 2025: 0; 2026: 0
[5 empty] | 1 | Significant | Safety consequence - pulling eyes | 2020: 500000; 2024: 50%; 2025: 250000; 2026: 250000
[5 empty] | 1 | Significant | Pit section repair cost | 2022: 50000; 2024: 100%; 2025: 50000; 2026: 50000
[5 empty] | 1 | Significant | Safety consequence - ladder supports | 2020: 500000; 2024: 80%; 2025: 400000; 2026: 400000
[5 empty] | 1 | Significant | Pit section repair cost | 2022: 50000; 2024: 100%; 2025: 50000; 2026: 50000
[5 empty] | 1 | Significant | [Spare] | 2025: 0; 2026: 0
[5 empty] | 1 | Significant | [Spare] | 2025: 0; 2026: 0
[5 empty] | 1 | Significant | [Spare] | 2025: 0; 2026: 0
[5 empty] | 1 | Significant | [Spare] | 2025: 0; 2026: 0
[5 empty] | 1 | Significant | [Spare] | 2025: 0; 2026: 0
[5 empty] | 1 | Significant | [Spare] | 2025: 0; 2026: 0
[5 empty] | 1 | Significant |  | 0 | 1000000 | 0 | 100000 | 0 | 68.18% | 750000 | 750000
[5 empty] | 2 | Major |  | 500000 | 14280000 | 900000 | 500000 | 0 | 26.92% | 4356000 | 3856000
[5 empty] | 3 | Catastrophic |  | 500000 | 14280000 | 900000 | 500000 | 0 | 26.92% | 4356000 | 3856000
[5 empty] | Subtotal |  |  | 2025: 9462000; 2026: 8462000
Scenario Base case: PoE, Load and VCR assumptions
Asset information
|  | Assets at risk |  |  |  | 1
|  | N-rating, MVA |  |  |  | 0
|  |  | N-1 Rating before transfers, MVA |  |  | 0
|  |  | N-2 Rating before transfers, MVA |  |  | 0
|  |  | N-3 Rating before transfers, MVA |  |  | 0
|  |  | N-4 Rating before transfers, MVA |  |  | 0
|  |  | Transfer capacity, MVA |  |  | 0
Probability of exceedance (PoE) forecast, Mega Volt Ampere (MVA)
PoE forecast
|  |  | 10% PoE forecast, MVA |  |  | 10%
|  |  | 50% PoE forecast, MVA |  |  | 50%
|  |  | Selected |  |  | 70%
Load at risk
Selected profile, MVA
N
N-1
N-2
N-3
N-4
VCR at risk
Average load at risk (pu)
Days to connect generators, plus 1 day lead time
Adjustment
|  |  | N | Average load at risk (pu)
Days to connect generators, plus 1 day lead time
Adjustment
|  |  | N-1 | Average load at risk (pu)
Days to connect generators, plus 1 day lead time
Adjustment
|  |  | N-2 | Average load at risk (pu)
Days to connect generators, plus 1 day lead time
Adjustment
|  |  | N-3 | Average load at risk (pu)
Days to connect generators, plus 1 day lead time
Adjustment
|  |  | N-4 | Average load at risk (pu)
Selected profile, VCR at risk
N
|  |  | N-1 |  |  | Significant
|  |  | N-1 |  |  | Major
|  |  | N-2 |  |  | Catastrophic
|  |  | N-3 |  |  | Catastrophic
|  |  | N-4 |  |  | Catastrophic
Risk cost calculation
Risk table forecast
Failure mode
|  |  | Significant |  |  |  |  | 1.1% | 1.21% | 1.33% | 1.46% | 1.61% | 1.77% | 1.95% | 2.14% | 2.36% | 2.59% | 2.85% | 3.14%
|  |  | Major |  |  |  |  | 1.06% | 1.16% | 1.28% | 1.41% | 1.55% | 1.7% | 1.87% | 2.06% | 2.26% | 2.49% | 2.74% | 3.01%
|  |  | Catastrophic |  |  |  |  | 10.07% | 11.07% | 12.18% | 13.4% | 14.74% | 16.21% | 17.83% | 19.61% | 21.58% | 23.73% | 26.11% | 28.72%
Risk costs
|  |  | Network Performance |  |  | Significant |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Network Performance |  |  | Major |  | 5300 | 5800 | 6400 | 7050 | 7750 | 8500 | 9350 | 10300 | 11300 | 12450 | 13700 | 15050
|  |  | Network Performance |  |  | Catastrophic |  | 50350 | 55350 | 60900 | 67000 | 73700 | 81050 | 89150 | 98050 | 107900 | 118650 | 130550 | 143600
|  |  | Network Performance - Coincidental outage |  |  | Significant |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Network Performance - Coincidental outage |  |  | Major |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Other significant risks |  |  | Significant |  | 8250 | 9075 | 9975 | 10950 | 12075 | 13275 | 14625 | 16050 | 17700 | 19425 | 21375 | 23550
|  |  | Other major risks |  |  | Major |  | 40873.6 | 44729.6 | 49356.8 | 54369.6 | 59768 | 65552 | 72107.2 | 79433.6 | 87145.6 | 96014.4 | 105654.4 | 116065.6
|  |  | Other catastrophic risls |  |  | Catastrophic |  | 388299.2 | 426859.2 | 469660.8 | 516704 | 568374.4 | 625057.6 | 687524.8 | 756161.6 | 832124.8 | 915028.8 | 1006801.6 | 1107443.2
|  |  | Annual opex, pre-replacement |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Subtotal |  |  |  |  | 493072.8 | 541813.8 | 596292.6 | 656073.6 | 721667.4 | 793434.6 | 872757 | 959995.2 | 1056170.4 | 1161568.2 | 1278081 | 1405708.8
Annualised cost
Annualised cost calculation
PMT calculation
|  |  | Capex ($2021) |  |  |  |  | 0 | 1761621.2389 | 2486994.6903 | 2797869.0265 | 2797869.0265 | 2797869.0265 | 2797869.0265 | 2797869.0265 | 2797869.0265 | 2797869.0265 | 2797869.0265 | 2797869.0265
|  |  | Real WACC, reverse counter |  |  |  |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | Real WACC, reverse discount factor index |  |  |  |  | 0% | 131.2% | 127.7% | 124.2% | 120.9% | 117.7% | 114.5% | 111.5% | 108.5% | 105.6% | 102.8% | 100%
|  |  | Annualised capex |  |  | 1245366.7783
|  |  | Post-replacement opex |  |  | 0
|  |  | Total annuity |  |  | 1245366.7783
Risk cost vs annualised cost
Risks vs benefits
|  | Year | [5 empty] | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
|  |  | Risk cost |  |  |  |  | 493072.8 | 541813.8 | 596292.6 | 656073.6 | 721667.4 | 793434.6 | 872757 | 959995.2 | 1056170.4 | 1161568.2 | 1278081 | 1405708.8
|  |  | Annualised cost |  |  |  |  | 1245366.7783 | 1245366.7783 | 1245366.7783 | 1245366.7783 | 1245366.7783 | 1245366.7783 | 1245366.7783 | 1245366.7783 | 1245366.7783 | 1245366.7783 | 1245366.7783 | 1245366.7783
|  |  | Feasible ? |  |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | TRUE
End

## Scenario A
CitiPower - CBD Cable Pits
Scenario A | [7 empty] | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Scenario A: Consequence calculation
Consequence calculation
|  | Scenario |  |  | A
|  |  | PoF |  | 90%
|  |  | Capex |  | 110%
|  |  | Opex |  | 90%
|  |  | Demand |  | 95%
|  |  | VCR |  | 90%
|  |  | Environment |  | 90%
[5 empty] | Failure Mode | Risk | Description | Network Performance | Safety | OPEX | CAPEX | Environment | Likelihood of consequence | Consequence incl. network performance | Consequence ex. network performance
[5 empty] | 3 | Catastrophic | Expected average unserved energy @ VCR | 450000 | 0 | 0 | 0 | 0 | 100% | 450000 | 0
[5 empty] | 3 | Catastrophic | Safety consequence | 0 | 14280000 | 0 | 0 | 0 | 20% | 2856000 | 2856000
[5 empty] | 3 | Catastrophic | Pit repair cost | 0 | 0 | 0 | 550000 | 0 | 100% | 550000 | 550000
[5 empty] | 3 | Catastrophic | Electrical Asset repair | 0 | 0 | 360000 | 0 | 0 | 100% | 360000 | 360000
[5 empty] | 3 | Catastrophic | Damage to telecommunications | 0 | 0 | 450000 | 0 | 0 | 20% | 90000 | 90000
[5 empty] | 3 | Catastrophic | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 3 | Catastrophic | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 3 | Catastrophic | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 3 | Catastrophic | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 3 | Catastrophic | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 2 | Major | Expected average unserved energy @ VCR | 450000 | 0 | 0 | 0 | 0 | 100% | 450000 | 0
[5 empty] | 2 | Major | Safety consequence | 0 | 14280000 | 0 | 0 | 0 | 20% | 2856000 | 2856000
[5 empty] | 2 | Major | Pit repair cost | 0 | 0 | 0 | 550000 | 0 | 100% | 550000 | 550000
[5 empty] | 2 | Major | Electrical Asset repair | 0 | 0 | 360000 | 0 | 0 | 100% | 360000 | 360000
[5 empty] | 2 | Major | Damage to telecommunications | 0 | 0 | 450000 | 0 | 0 | 20% | 90000 | 90000
[5 empty] | 2 | Major | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 2 | Major | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 2 | Major | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 2 | Major | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 2 | Major | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 1 | Significant | Safety consequence - pulling eyes | 0 | 500000 | 0 | 0 | 0 | 50% | 250000 | 250000
[5 empty] | 1 | Significant | Pit section repair cost | 0 | 0 | 0 | 55000 | 0 | 100% | 55000 | 55000
[5 empty] | 1 | Significant | Safety consequence - ladder supports | 0 | 500000 | 0 | 0 | 0 | 80% | 400000 | 400000
[5 empty] | 1 | Significant | Pit section repair cost | 0 | 0 | 0 | 55000 | 0 | 100% | 55000 | 55000
[5 empty] | 1 | Significant | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 1 | Significant | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 1 | Significant | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 1 | Significant | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 1 | Significant | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 1 | Significant | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 1 | Significant |  | 0 | 1000000 | 0 | 110000 | 0 | 68.47% | 760000 | 760000
[5 empty] | 2 | Major |  | 450000 | 14280000 | 810000 | 550000 | 0 | 26.76% | 4306000 | 3856000
[5 empty] | 3 | Catastrophic |  | 450000 | 14280000 | 810000 | 550000 | 0 | 26.76% | 4306000 | 3856000
[5 empty] | Subtotal |  |  | 2025: 9372000; 2026: 8472000
Scenario A: PoE, Load and VCR assumptions
Asset information
|  | Assets at risk |  |  |  | 1
|  | N-rating, MVA |  |  |  | 0
|  |  | N-1 Rating before transfers, MVA |  |  | 0
|  |  | N-2 Rating before transfers, MVA |  |  | 0
|  |  | N-3 Rating before transfers, MVA |  |  | 0
|  |  | N-4 Rating before transfers, MVA |  |  | 0
|  |  | Transfer capacity, MVA |  |  | 0
Probability of exceedance (PoE) forecast, Mega Volt Ampere (MVA)
PoE forecast
|  |  | 10% PoE forecast, MVA |  |  | 10%
|  |  | 50% PoE forecast, MVA |  |  | 50%
|  |  | Selected |  |  | 70% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Load at risk
Selected profile, MVA
N
N-1
N-2
N-3
N-4
VCR at risk
Average load at risk (pu)
Unserved energy day 1
Unserved energy day 2
|  |  | N | Average load at risk (pu)
Unserved energy day 1
Unserved energy day 2
|  |  | N-1 | Average load at risk (pu)
Unserved energy day 1
Unserved energy day 2
|  |  | N-2 | Average load at risk (pu)
Unserved energy day 1
Unserved energy day 2
|  |  | N-3 | Average load at risk (pu)
Unserved energy day 1
Unserved energy day 2
|  |  | N-4 | Average load at risk (pu)
Selected profile, VCR at risk
N
|  |  | N-1 |  |  | Significant
|  |  | N-1 |  |  | Major
|  |  | N-2 |  |  | Catastrophic
|  |  | N-3 |  |  | Catastrophic
|  |  | N-4 |  |  | Catastrophic
Risk cost calculation
Risk table forecast
Failure mode
|  |  | Significant |  |  |  |  | 0.99% | 1.089% | 1.197% | 1.314% | 1.449% | 1.593% | 1.755% | 1.926% | 2.124% | 2.331% | 2.565% | 2.826%
|  |  | Major |  |  |  |  | 0.954% | 1.044% | 1.152% | 1.269% | 1.395% | 1.53% | 1.683% | 1.854% | 2.034% | 2.241% | 2.466% | 2.709%
|  |  | Catastrophic |  |  |  |  | 9.063% | 9.963% | 10.96% | 12.06% | 13.27% | 14.59% | 16.05% | 17.65% | 19.42% | 21.36% | 23.5% | 25.85%
Risk costs
|  |  | Network Performance |  |  | Significant |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Network Performance |  |  | Major |  | 4293 | 4698 | 5184 | 5710.5 | 6277.5 | 6885 | 7573.5 | 8343 | 9153 | 10084.5 | 11097 | 12190.5
|  |  | Network Performance |  |  | Catastrophic |  | 40783.5 | 44833.5 | 49329 | 54270 | 59697 | 65650.5 | 72211.5 | 79420.5 | 87399 | 96106.5 | 105745.5 | 116316
|  |  | Network Performance - Coincidental outage |  |  | Significant |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Network Performance - Coincidental outage |  |  | Major |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Other significant risks |  |  | Significant |  | 7524 | 8276.4 | 9097.2 | 9986.4 | 11012.4 | 12106.8 | 13338 | 14637.6 | 16142.4 | 17715.6 | 19494 | 21477.6
|  |  | Other major risks |  |  | Major |  | 36786.24 | 40256.64 | 44421.12 | 48932.64 | 53791.2 | 58996.8 | 64896.48 | 71490.24 | 78431.04 | 86412.96 | 95088.96 | 104459.04
|  |  | Other catastrophic risls |  |  | Catastrophic |  | 349469.28 | 384173.28 | 422694.72 | 465033.6 | 511536.96 | 562551.84 | 618772.32 | 680545.44 | 748912.32 | 823525.92 | 906121.44 | 996698.88
|  |  | Annual opex, pre-replacement |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Subtotal |  |  |  |  | 438856.02 | 482237.82 | 530726.04 | 583933.14 | 642315.06 | 706190.94 | 776791.8 | 854436.78 | 940037.76 | 1033845.48 | 1137546.9 | 1251142.02
Annualised cost
Annualised cost calculation
PMT calculation
|  |  | Capex ($2021) |  |  |  |  | 0 | 1937783.3628 | 2735694.1593 | 3077655.9292 | 3077655.9292 | 3077655.9292 | 3077655.9292 | 3077655.9292 | 3077655.9292 | 3077655.9292 | 3077655.9292 | 3077655.9292
|  |  | Real WACC, reverse counter |  |  |  |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | Real WACC, reverse discount factor index |  |  |  |  | 0% | 131.2% | 127.7% | 124.2% | 120.9% | 117.7% | 114.5% | 111.5% | 108.5% | 105.6% | 102.8% | 100%
|  |  | Annualised capex |  |  | 1369903.4561
|  |  | Post-replacement opex |  |  | 0
|  |  | Total annuity |  |  | 1369903.4561
Risk cost vs annualised cost
Risks vs benefits
|  | Year | [5 empty] | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
|  |  | Risk cost |  |  |  |  | 438856.02 | 482237.82 | 530726.04 | 583933.14 | 642315.06 | 706190.94 | 776791.8 | 854436.78 | 940037.76 | 1033845.48 | 1137546.9 | 1251142.02
|  |  | Annualised cost |  |  |  |  | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561
|  |  | Feasible ? |  |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
End

## Scenario B
CitiPower - CBD Cable Pits
Scenario B | [7 empty] | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Scenario B: Consequence calculation
Consequence calculation
|  | Scenario |  |  | B
|  |  | PoF |  | 90%
|  |  | Capex |  | 90%
|  |  | Opex |  | 90%
|  |  | Demand |  | 95%
|  |  | VCR |  | 90%
|  |  | Environment |  | 90%
[5 empty] | Failure Mode | Risk | Description | Network Performance | Safety | OPEX | CAPEX | Environment | Likelihood of consequence | Consequence incl. network performance | Consequence ex. network performance
[5 empty] | 3 | Catastrophic | Expected average unserved energy @ VCR | 450000 | 0 | 0 | 0 | 0 | 100% | 450000 | 0
[5 empty] | 3 | Catastrophic | Safety consequence | 0 | 14280000 | 0 | 0 | 0 | 20% | 2856000 | 2856000
[5 empty] | 3 | Catastrophic | Pit repair cost | 0 | 0 | 0 | 450000 | 0 | 100% | 450000 | 450000
[5 empty] | 3 | Catastrophic | Electrical Asset repair | 0 | 0 | 360000 | 0 | 0 | 100% | 360000 | 360000
[5 empty] | 3 | Catastrophic | Damage to telecommunications | 0 | 0 | 450000 | 0 | 0 | 20% | 90000 | 90000
[5 empty] | 3 | Catastrophic | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 3 | Catastrophic | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 3 | Catastrophic | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 3 | Catastrophic | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 3 | Catastrophic | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 2 | Major | Expected average unserved energy @ VCR | 450000 | 0 | 0 | 0 | 0 | 100% | 450000 | 0
[5 empty] | 2 | Major | Safety consequence | 0 | 14280000 | 0 | 0 | 0 | 20% | 2856000 | 2856000
[5 empty] | 2 | Major | Pit repair cost | 0 | 0 | 0 | 450000 | 0 | 100% | 450000 | 450000
[5 empty] | 2 | Major | Electrical Asset repair | 0 | 0 | 360000 | 0 | 0 | 100% | 360000 | 360000
[5 empty] | 2 | Major | Damage to telecommunications | 0 | 0 | 450000 | 0 | 0 | 20% | 90000 | 90000
[5 empty] | 2 | Major | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 2 | Major | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 2 | Major | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 2 | Major | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 2 | Major | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 1 | Significant | Safety consequence - pulling eyes | 0 | 500000 | 0 | 0 | 0 | 50% | 250000 | 250000
[5 empty] | 1 | Significant | Pit section repair cost | 0 | 0 | 0 | 45000 | 0 | 100% | 45000 | 45000
[5 empty] | 1 | Significant | Safety consequence - ladder supports | 0 | 500000 | 0 | 0 | 0 | 80% | 400000 | 400000
[5 empty] | 1 | Significant | Pit section repair cost | 0 | 0 | 0 | 45000 | 0 | 100% | 45000 | 45000
[5 empty] | 1 | Significant | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 1 | Significant | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 1 | Significant | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 1 | Significant | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 1 | Significant | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 1 | Significant | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 1 | Significant |  | 0 | 1000000 | 0 | 90000 | 0 | 67.89% | 740000 | 740000
[5 empty] | 2 | Major |  | 450000 | 14280000 | 810000 | 450000 | 0 | 26.3% | 4206000 | 3756000
[5 empty] | 3 | Catastrophic |  | 450000 | 14280000 | 810000 | 450000 | 0 | 26.3% | 4206000 | 3756000
[5 empty] | Subtotal |  |  | 2025: 9152000; 2026: 8252000
Scenario B: PoE, Load and VCR assumptions
Asset information
|  | Assets at risk |  |  |  | 1
|  | N-rating, MVA |  |  |  | 0
|  |  | N-1 Rating before transfers, MVA |  |  | 0
|  |  | N-2 Rating before transfers, MVA |  |  | 0
|  |  | N-3 Rating before transfers, MVA |  |  | 0
|  |  | N-4 Rating before transfers, MVA |  |  | 0
|  |  | Transfer capacity, MVA |  |  | 0
Probability of exceedance (PoE) forecast, Mega Volt Ampere (MVA)
PoE forecast
|  |  | 10% PoE forecast, MVA |  |  | 10%
|  |  | 50% PoE forecast, MVA |  |  | 50%
|  |  | Selected |  |  | 70% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Load at risk
Selected profile, MVA
N
N-1
N-2
N-3
N-4
VCR at risk
Average load at risk (pu)
Unserved energy day 1
Unserved energy day 2
|  |  | N | Average load at risk (pu)
Unserved energy day 1
Unserved energy day 2
|  |  | N-1 | Average load at risk (pu)
Unserved energy day 1
Unserved energy day 2
|  |  | N-2 | Average load at risk (pu)
Unserved energy day 1
Unserved energy day 2
|  |  | N-3 | Average load at risk (pu)
Unserved energy day 1
Unserved energy day 2
|  |  | N-4 | Average load at risk (pu)
Selected profile, VCR at risk
N
|  |  | N-1 |  |  | Significant
|  |  | N-1 |  |  | Major
|  |  | N-2 |  |  | Catastrophic
|  |  | N-3 |  |  | Catastrophic
|  |  | N-4 |  |  | Catastrophic
Risk cost calculation
Risk table forecast
Failure mode
|  |  | Significant |  |  |  |  | 0.99% | 1.089% | 1.197% | 1.314% | 1.449% | 1.593% | 1.755% | 1.926% | 2.124% | 2.331% | 2.565% | 2.826%
|  |  | Major |  |  |  |  | 0.954% | 1.044% | 1.152% | 1.269% | 1.395% | 1.53% | 1.683% | 1.854% | 2.034% | 2.241% | 2.466% | 2.709%
|  |  | Catastrophic |  |  |  |  | 9.063% | 9.963% | 10.96% | 12.06% | 13.27% | 14.59% | 16.05% | 17.65% | 19.42% | 21.36% | 23.5% | 25.85%
Risk costs
|  |  | Network Performance |  |  | Significant |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Network Performance |  |  | Major |  | 4293 | 4698 | 5184 | 5710.5 | 6277.5 | 6885 | 7573.5 | 8343 | 9153 | 10084.5 | 11097 | 12190.5
|  |  | Network Performance |  |  | Catastrophic |  | 40783.5 | 44833.5 | 49329 | 54270 | 59697 | 65650.5 | 72211.5 | 79420.5 | 87399 | 96106.5 | 105745.5 | 116316
|  |  | Network Performance - Coincidental outage |  |  | Significant |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Network Performance - Coincidental outage |  |  | Major |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Other significant risks |  |  | Significant |  | 7326 | 8058.6 | 8857.8 | 9723.6 | 10722.6 | 11788.2 | 12987 | 14252.4 | 15717.6 | 17249.4 | 18981 | 20912.4
|  |  | Other major risks |  |  | Major |  | 35832.24 | 39212.64 | 43269.12 | 47663.64 | 52396.2 | 57466.8 | 63213.48 | 69636.24 | 76397.04 | 84171.96 | 92622.96 | 101750.04
|  |  | Other catastrophic risls |  |  | Catastrophic |  | 340406.28 | 374210.28 | 411732.72 | 452973.6 | 498270.96 | 547962.84 | 602725.32 | 662896.44 | 729490.32 | 802168.92 | 882622.44 | 970850.88
|  |  | Annual opex, pre-replacement |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Subtotal |  |  |  |  | 428641.02 | 471013.02 | 518372.64 | 570341.34 | 627364.26 | 689753.34 | 758710.8 | 834548.58 | 918156.96 | 1009781.28 | 1111068.9 | 1222019.82
Annualised cost
Annualised cost calculation
PMT calculation
|  |  | Capex ($2021) |  |  |  |  | 0 | 1585459.115 | 2238295.2212 | 2518082.1239 | 2518082.1239 | 2518082.1239 | 2518082.1239 | 2518082.1239 | 2518082.1239 | 2518082.1239 | 2518082.1239 | 2518082.1239
|  |  | Real WACC, reverse counter |  |  |  |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | Real WACC, reverse discount factor index |  |  |  |  | 0% | 131.2% | 127.7% | 124.2% | 120.9% | 117.7% | 114.5% | 111.5% | 108.5% | 105.6% | 102.8% | 100%
|  |  | Annualised capex |  |  | 1120830.1004
|  |  | Post-replacement opex |  |  | 0
|  |  | Total annuity |  |  | 1120830.1004
Risk cost vs annualised cost
Risks vs benefits
|  | Year | [5 empty] | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
|  |  | Risk cost |  |  |  |  | 428641.02 | 471013.02 | 518372.64 | 570341.34 | 627364.26 | 689753.34 | 758710.8 | 834548.58 | 918156.96 | 1009781.28 | 1111068.9 | 1222019.82
|  |  | Annualised cost |  |  |  |  | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004
|  |  | Feasible ? |  |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE
End

## Scenario C
CitiPower - CBD Cable Pits
Scenario C | [7 empty] | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Scenario C: Consequence calculation
Consequence calculation
|  | Scenario |  |  | C
|  |  | PoF |  | 110%
|  |  | Capex |  | 110%
|  |  | Opex |  | 110%
|  |  | Demand |  | 105%
|  |  | VCR |  | 110%
|  |  | Environment |  | 110%
[5 empty] | Failure Mode | Risk | Description | Network Performance | Safety | OPEX | CAPEX | Environment | Likelihood of consequence | Consequence incl. network performance | Consequence ex. network performance
[5 empty] | 3 | Catastrophic | Expected average unserved energy @ VCR | 550000 | 0 | 0 | 0 | 0 | 100% | 550000 | 0
[5 empty] | 3 | Catastrophic | Safety consequence | 0 | 14280000 | 0 | 0 | 0 | 20% | 2856000 | 2856000
[5 empty] | 3 | Catastrophic | Pit repair cost | 0 | 0 | 0 | 550000 | 0 | 100% | 550000 | 550000
[5 empty] | 3 | Catastrophic | Electrical Asset repair | 0 | 0 | 440000 | 0 | 0 | 100% | 440000 | 440000
[5 empty] | 3 | Catastrophic | Damage to telecommunications | 0 | 0 | 550000 | 0 | 0 | 20% | 110000 | 110000
[5 empty] | 3 | Catastrophic | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 3 | Catastrophic | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 3 | Catastrophic | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 3 | Catastrophic | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 3 | Catastrophic | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 2 | Major | Expected average unserved energy @ VCR | 550000 | 0 | 0 | 0 | 0 | 100% | 550000 | 0
[5 empty] | 2 | Major | Safety consequence | 0 | 14280000 | 0 | 0 | 0 | 20% | 2856000 | 2856000
[5 empty] | 2 | Major | Pit repair cost | 0 | 0 | 0 | 550000 | 0 | 100% | 550000 | 550000
[5 empty] | 2 | Major | Electrical Asset repair | 0 | 0 | 440000 | 0 | 0 | 100% | 440000 | 440000
[5 empty] | 2 | Major | Damage to telecommunications | 0 | 0 | 550000 | 0 | 0 | 20% | 110000 | 110000
[5 empty] | 2 | Major | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 2 | Major | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 2 | Major | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 2 | Major | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 2 | Major | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 1 | Significant | Safety consequence - pulling eyes | 0 | 500000 | 0 | 0 | 0 | 50% | 250000 | 250000
[5 empty] | 1 | Significant | Pit section repair cost | 0 | 0 | 0 | 55000 | 0 | 100% | 55000 | 55000
[5 empty] | 1 | Significant | Safety consequence - ladder supports | 0 | 500000 | 0 | 0 | 0 | 80% | 400000 | 400000
[5 empty] | 1 | Significant | Pit section repair cost | 0 | 0 | 0 | 55000 | 0 | 100% | 55000 | 55000
[5 empty] | 1 | Significant | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 1 | Significant | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 1 | Significant | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 1 | Significant | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 1 | Significant | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 1 | Significant | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 1 | Significant |  | 0 | 1000000 | 0 | 110000 | 0 | 68.47% | 760000 | 760000
[5 empty] | 2 | Major |  | 550000 | 14280000 | 990000 | 550000 | 0 | 27.53% | 4506000 | 3956000
[5 empty] | 3 | Catastrophic |  | 550000 | 14280000 | 990000 | 550000 | 0 | 27.53% | 4506000 | 3956000
[5 empty] | Subtotal |  |  | 2025: 9772000; 2026: 8672000
Scenario C: PoE, Load and VCR assumptions
Asset information
|  | Assets at risk |  |  |  | 1
|  | N-rating, MVA |  |  |  | 0
|  |  | N-1 Rating before transfers, MVA |  |  | 0
|  |  | N-2 Rating before transfers, MVA |  |  | 0
|  |  | N-3 Rating before transfers, MVA |  |  | 0
|  |  | N-4 Rating before transfers, MVA |  |  | 0
|  |  | Transfer capacity, MVA |  |  | 0
Probability of exceedance (PoE) forecast, Mega Volt Ampere (MVA)
PoE forecast
|  |  | 10% PoE forecast, MVA |  |  | 10%
|  |  | 50% PoE forecast, MVA |  |  | 50%
|  |  | Selected |  |  | 70% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Load at risk
Selected profile, MVA
N
N-1
N-2
N-3
N-4
VCR at risk
Average load at risk (pu)
Unserved energy day 1
Unserved energy day 2
|  |  | N | Average load at risk (pu)
Unserved energy day 1
Unserved energy day 2
|  |  | N-1 | Average load at risk (pu)
Unserved energy day 1
Unserved energy day 2
|  |  | N-2 | Average load at risk (pu)
Unserved energy day 1
Unserved energy day 2
|  |  | N-3 | Average load at risk (pu)
Unserved energy day 1
Unserved energy day 2
|  |  | N-4 | Average load at risk (pu)
Selected profile, VCR at risk
N
|  |  | N-1 |  |  | Significant
|  |  | N-1 |  |  | Major
|  |  | N-2 |  |  | Catastrophic
|  |  | N-3 |  |  | Catastrophic
|  |  | N-4 |  |  | Catastrophic
Risk cost calculation
Risk table forecast
Failure mode
|  |  | Significant |  |  |  |  | 1.21% | 1.331% | 1.463% | 1.606% | 1.771% | 1.947% | 2.145% | 2.354% | 2.596% | 2.849% | 3.135% | 3.454%
|  |  | Major |  |  |  |  | 1.166% | 1.276% | 1.408% | 1.551% | 1.705% | 1.87% | 2.057% | 2.266% | 2.486% | 2.739% | 3.014% | 3.311%
|  |  | Catastrophic |  |  |  |  | 11.08% | 12.18% | 13.4% | 14.74% | 16.21% | 17.83% | 19.61% | 21.57% | 23.74% | 26.1% | 28.72% | 31.59%
Risk costs
|  |  | Network Performance |  |  | Significant |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Network Performance |  |  | Major |  | 6413 | 7018 | 7744 | 8530.5 | 9377.5 | 10285 | 11313.5 | 12463 | 13673 | 15064.5 | 16577 | 18210.5
|  |  | Network Performance |  |  | Catastrophic |  | 60923.5 | 66973.5 | 73689 | 81070 | 89177 | 98070.5 | 107871.5 | 118640.5 | 130559 | 143566.5 | 157965.5 | 173756
|  |  | Network Performance - Coincidental outage |  |  | Significant |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Network Performance - Coincidental outage |  |  | Major |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Other significant risks |  |  | Significant |  | 9196 | 10115.6 | 11118.8 | 12205.6 | 13459.6 | 14797.2 | 16302 | 17890.4 | 19729.6 | 21652.4 | 23826 | 26250.4
|  |  | Other major risks |  |  | Major |  | 46126.96 | 50478.56 | 55700.48 | 61357.56 | 67449.8 | 73977.2 | 81374.92 | 89642.96 | 98346.16 | 108354.84 | 119233.84 | 130983.16
|  |  | Other catastrophic risls |  |  | Catastrophic |  | 438206.12 | 481722.12 | 530024.88 | 583114.4 | 641425.84 | 705394.36 | 775890.28 | 853348.76 | 939075.28 | 1032634.68 | 1136202.76 | 1249779.52
|  |  | Annual opex, pre-replacement |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Subtotal |  |  |  |  | 560865.58 | 616307.78 | 678277.16 | 746278.06 | 820889.74 | 902524.26 | 992752.2 | 1091985.62 | 1201383.04 | 1321272.92 | 1453805.1 | 1598979.58
Annualised cost
Annualised cost calculation
PMT calculation
|  |  | Capex ($2021) |  |  |  |  | 0 | 1937783.3628 | 2735694.1593 | 3077655.9292 | 3077655.9292 | 3077655.9292 | 3077655.9292 | 3077655.9292 | 3077655.9292 | 3077655.9292 | 3077655.9292 | 3077655.9292
|  |  | Real WACC, reverse counter |  |  |  |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | Real WACC, reverse discount factor index |  |  |  |  | 0% | 131.2% | 127.7% | 124.2% | 120.9% | 117.7% | 114.5% | 111.5% | 108.5% | 105.6% | 102.8% | 100%
|  |  | Annualised capex |  |  | 1369903.4561
|  |  | Post-replacement opex |  |  | 0
|  |  | Total annuity |  |  | 1369903.4561
Risk cost vs annualised cost
Risks vs benefits
|  | Year | [5 empty] | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
|  |  | Risk cost |  |  |  |  | 560865.58 | 616307.78 | 678277.16 | 746278.06 | 820889.74 | 902524.26 | 992752.2 | 1091985.62 | 1201383.04 | 1321272.92 | 1453805.1 | 1598979.58
|  |  | Annualised cost |  |  |  |  | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561
|  |  | Feasible ? |  |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | TRUE
End

## Scenario D
CitiPower - CBD Cable Pits
Scenario D | [7 empty] | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Scenario D: Consequence calculation
Consequence calculation
|  | Scenario |  |  | D
|  |  | PoF |  | 110%
|  |  | Capex |  | 90%
|  |  | Opex |  | 110%
|  |  | Demand |  | 105%
|  |  | VCR |  | 110%
|  |  | Environment |  | 110%
[5 empty] | Failure Mode | Risk | Description | Network Performance | Safety | OPEX | CAPEX | Environment | Likelihood of consequence | Consequence incl. network performance | Consequence ex. network performance
[5 empty] | 3 | Catastrophic | Expected average unserved energy @ VCR | 550000 | 0 | 0 | 0 | 0 | 100% | 550000 | 0
[5 empty] | 3 | Catastrophic | Safety consequence | 0 | 14280000 | 0 | 0 | 0 | 20% | 2856000 | 2856000
[5 empty] | 3 | Catastrophic | Pit repair cost | 0 | 0 | 0 | 450000 | 0 | 100% | 450000 | 450000
[5 empty] | 3 | Catastrophic | Electrical Asset repair | 0 | 0 | 440000 | 0 | 0 | 100% | 440000 | 440000
[5 empty] | 3 | Catastrophic | Damage to telecommunications | 0 | 0 | 550000 | 0 | 0 | 20% | 110000 | 110000
[5 empty] | 3 | Catastrophic | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 3 | Catastrophic | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 3 | Catastrophic | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 3 | Catastrophic | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 3 | Catastrophic | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 2 | Major | Expected average unserved energy @ VCR | 550000 | 0 | 0 | 0 | 0 | 100% | 550000 | 0
[5 empty] | 2 | Major | Safety consequence | 0 | 14280000 | 0 | 0 | 0 | 20% | 2856000 | 2856000
[5 empty] | 2 | Major | Pit repair cost | 0 | 0 | 0 | 450000 | 0 | 100% | 450000 | 450000
[5 empty] | 2 | Major | Electrical Asset repair | 0 | 0 | 440000 | 0 | 0 | 100% | 440000 | 440000
[5 empty] | 2 | Major | Damage to telecommunications | 0 | 0 | 550000 | 0 | 0 | 20% | 110000 | 110000
[5 empty] | 2 | Major | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 2 | Major | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 2 | Major | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 2 | Major | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 2 | Major | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 1 | Significant | Safety consequence - pulling eyes | 0 | 500000 | 0 | 0 | 0 | 50% | 250000 | 250000
[5 empty] | 1 | Significant | Pit section repair cost | 0 | 0 | 0 | 45000 | 0 | 100% | 45000 | 45000
[5 empty] | 1 | Significant | Safety consequence - ladder supports | 0 | 500000 | 0 | 0 | 0 | 80% | 400000 | 400000
[5 empty] | 1 | Significant | Pit section repair cost | 0 | 0 | 0 | 45000 | 0 | 100% | 45000 | 45000
[5 empty] | 1 | Significant | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 1 | Significant | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 1 | Significant | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 1 | Significant | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 1 | Significant | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 1 | Significant | [Spare] | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[5 empty] | 1 | Significant |  | 0 | 1000000 | 0 | 90000 | 0 | 67.89% | 740000 | 740000
[5 empty] | 2 | Major |  | 550000 | 14280000 | 990000 | 450000 | 0 | 27.08% | 4406000 | 3856000
[5 empty] | 3 | Catastrophic |  | 550000 | 14280000 | 990000 | 450000 | 0 | 27.08% | 4406000 | 3856000
[5 empty] | Subtotal |  |  | 2025: 9552000; 2026: 8452000
Scenario D: PoE, Load and VCR assumptions
Asset information
|  | Assets at risk |  |  |  | 1
|  | N-rating, MVA |  |  |  | 0
|  |  | N-1 Rating before transfers, MVA |  |  | 0
|  |  | N-2 Rating before transfers, MVA |  |  | 0
|  |  | N-3 Rating before transfers, MVA |  |  | 0
|  |  | N-4 Rating before transfers, MVA |  |  | 0
|  |  | Transfer capacity, MVA |  |  | 0
Probability of exceedance (PoE) forecast, Mega Volt Ampere (MVA)
PoE forecast
|  |  | 10% PoE forecast, MVA |  |  | 10%
|  |  | 50% PoE forecast, MVA |  |  | 50%
|  |  | Selected |  |  | 70% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Load at risk
Selected profile, MVA
N
N-1
N-2
N-3
N-4
VCR at risk
Average load at risk (pu)
Unserved energy day 1
Unserved energy day 2
|  |  | N | Average load at risk (pu)
Unserved energy day 1
Unserved energy day 2
|  |  | N-1 | Average load at risk (pu)
Unserved energy day 1
Unserved energy day 2
|  |  | N-2 | Average load at risk (pu)
Unserved energy day 1
Unserved energy day 2
|  |  | N-3 | Average load at risk (pu)
Unserved energy day 1
Unserved energy day 2
|  |  | N-4 | Average load at risk (pu)
Selected profile, VCR at risk
N
|  |  | N-1 |  |  | Significant
|  |  | N-1 |  |  | Major
|  |  | N-2 |  |  | Catastrophic
|  |  | N-3 |  |  | Catastrophic
|  |  | N-4 |  |  | Catastrophic
Risk cost calculation
Risk table forecast
Failure mode
|  |  | Significant |  |  |  |  | 1.21% | 1.331% | 1.463% | 1.606% | 1.771% | 1.947% | 2.145% | 2.354% | 2.596% | 2.849% | 3.135% | 3.454%
|  |  | Major |  |  |  |  | 1.166% | 1.276% | 1.408% | 1.551% | 1.705% | 1.87% | 2.057% | 2.266% | 2.486% | 2.739% | 3.014% | 3.311%
|  |  | Catastrophic |  |  |  |  | 11.08% | 12.18% | 13.4% | 14.74% | 16.21% | 17.83% | 19.61% | 21.57% | 23.74% | 26.1% | 28.72% | 31.59%
Risk costs
|  |  | Network Performance |  |  | Significant |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Network Performance |  |  | Major |  | 6413 | 7018 | 7744 | 8530.5 | 9377.5 | 10285 | 11313.5 | 12463 | 13673 | 15064.5 | 16577 | 18210.5
|  |  | Network Performance |  |  | Catastrophic |  | 60923.5 | 66973.5 | 73689 | 81070 | 89177 | 98070.5 | 107871.5 | 118640.5 | 130559 | 143566.5 | 157965.5 | 173756
|  |  | Network Performance - Coincidental outage |  |  | Significant |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Network Performance - Coincidental outage |  |  | Major |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Other significant risks |  |  | Significant |  | 8954 | 9849.4 | 10826.2 | 11884.4 | 13105.4 | 14407.8 | 15873 | 17419.6 | 19210.4 | 21082.6 | 23199 | 25559.6
|  |  | Other major risks |  |  | Major |  | 44960.96 | 49202.56 | 54292.48 | 59806.56 | 65744.8 | 72107.2 | 79317.92 | 87376.96 | 95860.16 | 105615.84 | 116219.84 | 127672.16
|  |  | Other catastrophic risls |  |  | Catastrophic |  | 427129.12 | 469545.12 | 516626.88 | 568374.4 | 625211.84 | 687563.36 | 756277.28 | 831777.76 | 915337.28 | 1006531.68 | 1107481.76 | 1218187.52
|  |  | Annual opex, pre-replacement |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Subtotal |  |  |  |  | 548380.58 | 602588.58 | 663178.56 | 729665.86 | 802616.54 | 882433.86 | 970653.2 | 1067677.82 | 1174639.84 | 1291861.12 | 1421443.1 | 1563385.78
Annualised cost
Annualised cost calculation
PMT calculation
|  |  | Capex ($2021) |  |  |  |  | 0 | 1585459.115 | 2238295.2212 | 2518082.1239 | 2518082.1239 | 2518082.1239 | 2518082.1239 | 2518082.1239 | 2518082.1239 | 2518082.1239 | 2518082.1239 | 2518082.1239
|  |  | Real WACC, reverse counter |  |  |  |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | Real WACC, reverse discount factor index |  |  |  |  | 0% | 131.2% | 127.7% | 124.2% | 120.9% | 117.7% | 114.5% | 111.5% | 108.5% | 105.6% | 102.8% | 100%
|  |  | Annualised capex |  |  | 1120830.1004
|  |  | Post-replacement opex |  |  | 0
|  |  | Total annuity |  |  | 1120830.1004
Risk cost vs annualised cost
Risks vs benefits
|  | Year | [5 empty] | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
|  |  | Risk cost |  |  |  |  | 548380.58 | 602588.58 | 663178.56 | 729665.86 | 802616.54 | 882433.86 | 970653.2 | 1067677.82 | 1174639.84 | 1291861.12 | 1421443.1 | 1563385.78
|  |  | Annualised cost |  |  |  |  | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004
|  |  | Feasible ? |  |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE
End

## Summary
CitiPower - CBD Cable Pits
Summary |  |  |  |  | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Risk cost vs annualised cost
Risks vs benefits
|  | Year |  |  | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
|  |  | Risk cost | Scenario Base case | 493072.8 | 541813.8 | 596292.6 | 656073.6 | 721667.4 | 793434.6 | 872757 | 959995.2 | 1056170.4 | 1161568.2 | 1278081 | 1405708.8
|  |  | Annualised cost | Scenario Base case | 1245366.7783 | 1245366.7783 | 1245366.7783 | 1245366.7783 | 1245366.7783 | 1245366.7783 | 1245366.7783 | 1245366.7783 | 1245366.7783 | 1245366.7783 | 1245366.7783 | 1245366.7783
|  |  | Risk cost | Scenario A | 438856.02 | 482237.82 | 530726.04 | 583933.14 | 642315.06 | 706190.94 | 776791.8 | 854436.78 | 940037.76 | 1033845.48 | 1137546.9 | 1251142.02
|  |  | Annualised cost | Scenario A | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561
|  |  | Risk cost | Scenario B | 428641.02 | 471013.02 | 518372.64 | 570341.34 | 627364.26 | 689753.34 | 758710.8 | 834548.58 | 918156.96 | 1009781.28 | 1111068.9 | 1222019.82
|  |  | Annualised cost | Scenario B | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004
|  |  | Risk cost | Scenario C | 560865.58 | 616307.78 | 678277.16 | 746278.06 | 820889.74 | 902524.26 | 992752.2 | 1091985.62 | 1201383.04 | 1321272.92 | 1453805.1 | 1598979.58
|  |  | Annualised cost | Scenario C | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561 | 1369903.4561
|  |  | Risk cost | Scenario D | 548380.58 | 602588.58 | 663178.56 | 729665.86 | 802616.54 | 882433.86 | 970653.2 | 1067677.82 | 1174639.84 | 1291861.12 | 1421443.1 | 1563385.78
|  |  | Annualised cost | Scenario D | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004 | 1120830.1004
Charts
End