

Compliance with dispatch instructions, offers and bids

Compliance Bulletin No. 1

July 2016

© Commonwealth of Australia 2016

This work is copyright. In addition to any use permitted under the Copyright Act 1968, all material contained within this work is provided under a Creative Commons Attributions 3.0 Australia licence, with the exception of:

* the Commonwealth Coat of Arms
* the ACCC and AER logos
* any illustration, diagram, photograph or graphic over which the Australian Competition and Consumer Commission does not hold copyright, but which may be part of or contained within this publication. The details of the relevant licence conditions are available on the Creative Commons website, as is the full legal code for the CC BY 3.0 AU licence.

Requests and inquiries concerning reproduction and rights should be addressed to the
Director, Corporate Communications,
Australian Competition and Consumer Commission,
GPO Box 4141,
Canberra ACT 2601
or publishing.unit@accc.gov.au.

Inquiries about this publication should be addressed to:

Australian Energy Regulator
GPO Box 520
Melbourne Vic 3001

Tel: (03) 9290 1444
Fax: (03) 9290 1457

Email: AERInquiry@aer.gov.au
AER Reference: 57992;D16/69467

Amendment Record

|  |  |  |
| --- | --- | --- |
| Version | Date | Pages |
| 2.0  | July 2016 | 9 |
| 1.0 | December 2006 | 3 |

Shortened forms

|  |  |
| --- | --- |
| AEMC | Australian Energy Market Commission |
| AEMO | Australian Energy Market Operator |
| AER | Australian Energy Regulator |
| Law | National Electricity Law |
| Market participant | Registered by AEMO as a Market Generator, Market Customer, Market Small Generation Aggregator or Market Network Service Provider |
| NEM | National Electricity Market |
| Relevant participant | Scheduled Generator, Semi-Scheduled Generator and/or a Market Participant operating in the NEM |
| Rules | National Electricity Rules |
| Statement of Approach | AER Compliance and Enforcement — Statement of Approach |

# Purpose of this compliance bulletin

The Australian Energy Regulator (AER) aims to work co-operatively with National Electricity Market (NEM) participants to help them understand their obligations under the national energy framework and to help them achieve compliance with those obligations. The purpose of this compliance bulletin is to inform market participants of our broad understanding of, and enforcement approach when monitoring and enforcing compliance with, the National Electricity Rules (Rules) regarding following dispatch instructions issued by the Australian Energy Market Operator (AEMO).

This compliance bulletin is intended to replace our 2006 compliance bulletin and summarise our approach to compliance and enforcement of clause 4.9.8 of the Rules.[[1]](#footnote-1)

Our 2006 compliance bulletin was published in response to market events on 31 October 2005 and focused on the relationship between clauses 4.9.8(a) and 3.8.23 of the Rules. This compliance bulletin has a broader focus and captures our approach to the enforcement of subclauses 4.9.8(a)-(e). It also takes into account the AER’s Compliance and Enforcement — Statement of Approach (Statement of Approach)[[2]](#footnote-2) and incorporates the outcomes of a recent Federal Court decision related to this provision.[[3]](#footnote-3)

Despite the broader focus of this compliance bulletin, its publication does not represent a change in the AER’s approach to enforcement of clause 4.9.8 of the Rules. We have published this compliance bulletin because we believe there is value in clarifying our approach to monitoring compliance with, and enforcement of, these provisions to provide greater certainty and predictability for market participants and reduce compliance costs.

# Regulatory framework

This section describes the roles and functions of the AER and summarises the provisions of the Rules that are relevant to this compliance bulletin.

## Role and functions of the AER

The AER has functions and powers which include:[[4]](#footnote-4)

* Monitoring compliance with the National Electricity Law (Law) and the Rules.
* Investigating breaches or possible breaches of the Law and the Rules.
* Instituting and conducting proceedings in relation to breaches and appeals from decisions in those proceedings.

In exercising these functions and powers, we aim to ensure that:

* Our approach is consistent over time.
* Our processes are cost effective for participants and the AER.
* Our activities are transparent.

Our Statement of Approach details our approach to compliance and the enforcement options available to us and sets out the criteria we apply when exercising our discretion regarding enforcement action. Matters are assessed on a case-by-case basis with all relevant circumstances being considered, including those outlined in our Statement of Approach.

## Relevant Rules

Clause 4.9.8 of the Rules outlines the general responsibilities of all market participants:

* to follow dispatch instructions, and
* to submit offers or bids that generators, loads and scheduled network service providers are able to comply with at all times.

Dispatch instructions in this context are those set out in clauses 4.9.2, 4.9.2A, 4.9.3 and 4.9.3A, which incorporate instructions as to energy output, load reduction, ancillary services provision and certain plant settings.

All subclauses within clause 4.9.8 of the Rules are civil penalty provisions which means that we are able to issue an infringement notice carrying an infringement penalty of $20,000 for each breach by a body corporate.[[5]](#footnote-5)

The AER's enforcement tools also include the ability to accept administrative or enforceable undertakings and commence proceedings in the Federal Court in order to seek pecuniary penalties and declarations in relation to the impugned conduct. The maximum pecuniary penalty that can be awarded by a court for each breach of clause 4.9.8 of the Rules is $100,000.

### Clause 4.9.8

Clause 4.9.8 of the Rules states:

(a) A Registered Participant must comply with a dispatch instruction given to it by AEMO unless to do so would, in the Registered Participant's reasonable opinion, be a hazard to public safety or materially risk damaging equipment.

(b) A Scheduled Generator must ensure that each of its scheduled generating units is at all times able to comply with the latest generation dispatch offer under Chapter 3 in respect of that generating unit.

(b1) A Scheduled Network Service Provider must ensure that each of its scheduled network services is at all times able to comply with the latest network dispatch offer under Chapter 3 in respect of that market network service.

(c) A Registered Participant must ensure that each of its facilities is at all times able to comply with any relevant dispatch bid under Chapter 3 in respect of the facility (as adjusted by any subsequent restatement of that bid under Chapter 3).

(d) A Market Participant which has classified a generating unit or load as an ancillary service generating unit or an ancillary service load, as the case may be, must ensure that the ancillary service generating unit or ancillary service load is at all times able to comply with the latest market ancillary service offer for the relevant trading interval.

(e) A Semi-Scheduled Generator must ensure that each of its semi-scheduled generating units is at all times able to comply with its latest generation dispatch offer.

### Clause 3.8.23

Clause 3.8.23 of the Rules states:

(a) If a scheduled generating unit, scheduled network service or scheduled load fails to respond to a dispatch instruction within a tolerable time and accuracy (as determined in AEMO’s reasonable opinion), then the scheduled generating unit, scheduled network service or scheduled load (as the case may be):

(1) is to be declared and identified as non-conforming; and

(2) cannot be used as the basis for setting spot prices.

…

(e) If a generating unit, scheduled network service or scheduled load (as the case may be) continues to be non-conforming under this clause 3.8.23 after a reasonable period of time, AEMO must prepare a report setting out the details of the non-conformance and forward a copy of the report to the Scheduled Generator, Semi-Scheduled Generator, Scheduled Network Service Provider or Market Customer (as the case may be) and the AER.

## The importance of compliance

In the Snowy Hydro judgement, his Honour Justice Beach stated at paragraph 19:[[6]](#footnote-6)

“…. Cl 4.9.8(a) of the Rules required that a registered participant must comply with a dispatch instruction given to it by AEMO unless to do so would, in the registered participant’s reasonable opinion, be a hazard to public safety or materially risk damaging equipment. Compliance with dispatch instructions is necessary to ensure the power system remains secure. AEMO relies upon conformance with dispatch instructions to ensure it can effectively perform its functions as both power system operator and market operator for the NEM.”

Chapter 4 of the Rules provides the framework for achieving and maintaining a secure power system. The requirement for registered participants to comply with dispatch instructions, as specified in Chapter 4 of the Rules, is essential to the secure operation of the power system. Registered participants are obliged to follow dispatch instructions issued by AEMO unless to do so would, in the participant’s reasonable opinion, be a hazard to public safety or materially risk damaging equipment. Furthermore, the Rules require market participant offers and bids to represent the capabilities of their equipment at that time.

Under the Rules, AEMO is responsible for the operation and administration of the wholesale electricity market. AEMO coordinates a central dispatch process to manage the spot market, which involves matching generator offers and demand in real time. Every five minutes, AEMO issues dispatch instructions based on relevant participants’ bids and offers and system capabilities so that the quantity of electricity produced will meet the demand for electricity at the lowest available cost, while maintaining the technical security of the power system.

Pricing, system security and the overall market integrity of the five minute dispatch cycle relies on market participants accurately representing their capabilities and following dispatch instructions as they are issued. If widespread, failure to follow dispatch instructions can raise system security issues, requiring AEMO to intervene. AEMO must be confident that at all times relevant participants have accurately represented their capabilities and will follow dispatch instructions, other than in the limited circumstances allowed by the Rules. This enables AEMO to assess its security management options based on accurate information, including where necessary, issuing directions to participants. Furthermore, market participants then have confidence that the market price and dispatch instructions calculated by AEMO result from a process where all participants have provided accurate information to AEMO that appropriately reflects their capability.

Failure to accurately represent capability or follow dispatch instructions distorts market forecasts and outcomes and inevitably affects other market participants in the NEM. Non-compliance with dispatch instructions can increase the requirement for frequency control ancillary services at a greater market cost. These are costs that are borne by all registered participants, and therefore ultimately by consumers. Not following dispatch instructions can, over time, also result in an increase in the safety margins used by AEMO and network service providers in determining the technical envelope in which the power system can operate, reducing its utilisation and compromising its operation.

## The relationship between clauses 4.9.8(a) and 3.8.23

Chapter 4 of the Rules describes the obligations of participants that operate in the NEM. As outlined above, clause 4.9.8(a) describes the requirement for registered participants to comply with dispatch instructions, as this is fundamental to the secure operation of the power system.

Chapter 3 of the Rules describes the procedures which govern the operation of the market relating to the wholesale trading of electricity and the provision of ancillary services. Rule 3.8 covers spot market operation and clause 3.8.23 places obligations on AEMO to act to ensure it can realign pricing and dispatch outcomes within a tolerable time and accuracy. AEMO has developed and amends, from time to time, procedures for managing failure to conform to dispatch instructions under clause 3.8.23 of the Rules.

Some industry participants are under the misapprehension that they have sufficiently complied with clause 4.9.8(a) unless they are flagged as non-conforming by AEMO under clause 3.8.23. This is incorrect. The obligation placed on registered participants under clause 4.9.8(a) is a separate and distinct obligation. However, compliance with clause 4.9.8(a) means, by implication, that a registered participant cannot be non-conforming under clause 3.8.23.

# Our compliance and enforcement approach

This section sets out our approach to participants’ compliance with and enforcement of clause 4.9.8. Whilst this compliance bulletin is primarily aimed at compliance with dispatch instructions and/or offers for energy, it is equally applicable to other types of dispatch instructions.

We do not consider that there is a conflict between achieving compliance with dispatch instructions where the participant has been issued with instructions for different services, such as energy and frequency control ancillary services (FCAS).

AEMO will only acquire FCAS services from a scheduled generating unit if the scheduled generator has classified one or more of its generating units as an ancillary service generating unit and submitted a market ancillary services offer. AEMO will issue dispatch instructions based on FCAS providers’ offers. These instructions will notify a scheduled generator if the generating unit has been enabled for the provision of FCAS during the dispatch interval.

It is possible that the provision of an FCAS service will require a unit to adjust its output at the end of the five minute dispatch interval away from the target output specified in an earlier dispatch instruction. In these circumstances, the prior issued energy dispatch instruction would be qualified to the extent of any inconsistency resulting from a subsequent provision of FCAS (pursuant to the FCAS enablement dispatch instruction).

When assessing compliance with 4.9.8(a), the AER is cognisant of the different types of dispatch instructions issued to registered participants (that is, we take into consideration whether the relevant generating unit was providing FCAS when assessing deviations from energy target).

## Subclauses 4.9.8(a)-(e)

AEMO issues dispatch instructions for energy based on a registered participant's offer (including ramp rates) amongst other information. Other dispatch instructions may also be made by AEMO regarding FCAS and changes to plant configuration. The dispatch instructions issued to each generator, load or network service provider are based on their offers or bids. The subclauses of clause 4.9.8 are designed to work together: subclauses 4.9.8(b)-(e) require a market participant to provide an offer with which it can comply, thereby promoting compliance with subclause 4.9.8(a).

Subclauses 4.9.8(a)-(e) are separate and distinct obligations which are separately enforceable. For example, a scheduled generator that is at all times able to comply with its latest offer but does not follow a dispatch instruction, where there is no hazard to public safety or a material risk of equipment damage, may satisfy clause 4.9.8(b) but breach clause 4.9.8(a). Conversely, regardless of whether dispatch instructions were followed as required by clause 4.9.8(a), if a scheduled generator’s offer or rebid did not reflect the capability of that generator at any point in time, the generator may be in breach of clause 4.9.8(b).

## Complying with the current dispatch instruction

Attempts to manage a generating unit's ability to comply with an expected dispatch instruction for a future dispatch interval do not relieve a registered participant of its obligation to comply with a current dispatch instruction issued by AEMO.

In the Snowy Hydro matter, the Federal Court accepted the proposition that a generating unit’s ability to comply with an expected dispatch instruction for a future dispatch interval could not (of itself and without more) lawfully excuse a failure to comply with a dispatch instruction.[[7]](#footnote-7) For example, where a registered participant is aware that a unit is deviating from dispatch instructions, immediate steps should be taken to comply. The possibility that such steps may result in future dispatch instructions that require a rapid shut-down and start-up cycle is irrelevant.

In the AER’s view, wear and tear on a plant as a result of its operation does not amount to a material risk of damaging equipment for the purposes of clause 4.9.8(a).[[8]](#footnote-8) Registered participants have the ability to limit their exposure to rapid shut-down and start-up cycles through the structure of dispatch offers and by rebidding and should be cognisant of the application of 4.9.8(b) in this regard.

## Compliance with latest generation dispatch offer

Subclauses 4.9.8(b)-(e) of the Rules require that each generator, load and network service provider is at all times able to comply with the latest dispatch offer or bid submitted in respect of that unit, load or facility. There are no qualifications in the application of these subclauses. Given that the NEM operates on a 5-minute basis, the offer of each generator, load or network service provider must be monitored and varied as required to ensure it always complies with the capability of that unit, load or facility as conditions change, and that it rebids where necessary.

AEMO's dispatch engine issues dispatch instructions in accordance with the latest offer or bid submitted in respect of a generator, load or network service provider. An offer or bid must not be submitted in respect of a generator, load or network service provider that cannot be complied with due to the technical and physical limitations of the unit. If the physical or technical limitations of a unit, load or facility change as a result of a change in conditions, the relevant participant should rebid to avoid its latest offer resulting in a dispatch instruction that the unit, load or facility is unable to follow.

1. <http://www.aer.gov.au/node/1188> [↑](#footnote-ref-1)
2. AER, Compliance and Enforcement — Statement of Approach, April 2014: <https://www.aer.gov.au/publications/corporate-documents/aer-compliance-and-enforcement-statement-of-approach>. [↑](#footnote-ref-2)
3. Australian Energy Regulator v Snowy Hydro Ltd (No 2) [2015] FCA 58 (AER v Snowy Hydro) [↑](#footnote-ref-3)
4. The AER's functions and powers are outlined in Part 3, Section 15 of the National Electricity Law. [↑](#footnote-ref-4)
5. Section 76 of the National Electricity Law provides that an infringement penalty for a breach of a civil penalty provision by a natural person is $4000, and by a body corporate $20,000. [↑](#footnote-ref-5)
6. *Australian Energy Regulator v Snowy Hydro Limited (No.2)* [2015] FCA 58 [↑](#footnote-ref-6)
7. For example, see paragraphs 24 and 171. [↑](#footnote-ref-7)
8. The Federal Court also accepted this view on the factual basis that arose within AER v Snowy Hydro. See paragraphs 65-67, 72-74, 77-79 and 84-90. [↑](#footnote-ref-8)