## Concepts
AER Network information requirements review 2022-23
Project Overview
The network information requirements review project is being undertaken to streamline regulated electricity networks' annual reporting obligations, and facilitate improvements in the AER’s information management maturity. The project will allow for consolidation of existing information requests, ongoing integration of new information requirements, and clearer documentation of our underlying data structure. In sum, this project will help drive improve data quality and deliver efficiencies to both the AER and the regulated businesses.
Data category 03: Network metrics
Network metrics describe the physical characteristics of the network, including the volume, capacity, location and age of assets, and information about the environment in which the network operates.
Network metrics data used to assess expenditure forecasts, and inform specific analysis (such as benchmarking analysis). It also provides insights to the operating environment of the network, that may impact the operational and investment decisions of the network business.
Yes
No
not sure
other - see explanation

## Definitions
Data category 03: Network metrics
Definitions have been provided for each service classification (column) as well as each row descriptor of the data tabs in this workbook. Row descriptor definitions have been consolidated for all service classifications. This means if you are seeking to find a disaggregated definition of a data cell, you will need to consider (together) the definition of both the row descriptor and the service classification. These are provided below:
Definitions
Network Assets - Volume
Installed assets
Transmission towers | These are vertically oriented assets that provide load bearing structural support for conductors or other lines assets. This also includes associated transmission tower support structures, insulators, earthing, footings, where these are replaced in conjunction with a transmission tower replacement project. It excludes any assets that are included in any other asset group.
Transmission tower support structures | These are horizontally oriented structures and their components that provide support for conductors or other line assets to be located on a transmission tower and provide adequate clearances. This expenditure relates to that which TNSPs incur when transmission tower support structures are replaced independently of the transmission tower they are located on. This includes tower section, arms, insulators, earthing It excludes any assets that are included in any other asset group.
Conductors | These assets have the primary function of transmitting power, above ground, within the transmission network. It excludes any assets that are included in any other asset category.
Transmission cables | These assets have the primary function of transmitting power, below ground, between segments of the network. This includes the material primarily used to transmit the power and cable ends, joints, terminations and associated hardware and equipment (e.g. surge diverters, etc.), cable tunnels, ducts, pipes, pits and pillars. It excludes any assets that are included in any other asset group.
Substation switchbays | These are assets used to support the transfer of real power across the network. This includes reactors, synchronous condensers, shunt capacitors, static VAr compensators, dynamic VAr compensators. It excludes any assets that are included in any other asset group.
Substation power transformers | These are assets used to transform between voltage levels within segments of the network. This includes all its components such as the cooling systems and tap changing equipment. It excludes any assets that are included in any other asset group. For the avoidance of doubt, this does not include instrument transformers as defined in the National Electricity Rules.
Substation reactive plant | These are assets used to support the transfer of real power across the network. This includes reactors, synchronous condensers, shunt capacitors, static VAr compensators, dynamic VAr compensators. It excludes any assets that are included in any other asset group.
SCADA, network control and protection systems | SCADA and network control hardware, software and associated IT systems. Includes protection and control systems and communication systems. This excludes SCADA and Network Control systems that exist within gateway devices (routers, bridges etc.) at corporate offices. Protection systems has the meaning prescribed in the National Electricity Rules.
Non Network Assets - Volume
IT & Communications - number of devices | The number of client devices used to provide standard control services scaled for standard control services use (i.e. a device used 50% of the time for standard control services work equals 0.5 devices). Client Devices are hardware devices that accesses services made available by a server and may include desktop computers, laptops, tablets and thin client interfaces and handheld end user computing devices including smart phones, tablets and laptops.
Car | Cars are Motor Vehicles other than those that comply with the definition of Light commercial vehicle, Heavy commercial vehicle, Elevated work platform (LCV), or Elevated work platform (HCV) .
Light Commercial Vehicle | Light commercial vehicles (LCVs) are Motor Vehicles that are registered for use on public roads excluding elevated work platforms that: are rigid trucks or load carrying vans or utilities having a gross vehicle mass greater than 1.5 tonnes but not exceeding 4.5 tonnes; or have cab-chassis construction, and a gross vehicle mass greater than 1.5 tonnes but not exceeding 4.5 tonnes; or are buses with a gross vehicle mass not exceeding 4.5 tonnes.
Elevated Work Platform (LCV) | Elevated work platforms (LCV) are Motor Vehicles that have permanently attached elevating work platforms that are not Elevated work platform (HCV).
Elevated Work Platform (HCV) | Elevated work platforms (HCV) are Motor Vehicles that have permanently attached elevating work platforms that would be HCVs but for the exclusion of elevated work platforms from the definition of HCV.
Heavy Commercial Vehicle | Heavy commercial vehicles (HCVs) are Motor Vehicles that are registered for use on public roads excluding Elevated Work Platform (HCV)s that: have a gross vehicle mass greater than 4.5 tonnes; or are articulated Vehicles; or are buses with a gross vehicle mass exceeding 4.5 tonnes
Length
Overhead network length of circuit at each voltage | Circuit length is calculated from the route length (measured in kilometres) of lines in service (the total length of feeders including all spurs), where each SWER line, single-phase line, and three-phase line counts as one line. A double circuit line counts as two lines. The length does not take into account vertical components such as sag.
Underground cable circuit length at each voltage | Circuit length is calculated from the route length (measured in kilometres) of lines in service (the total length of feeders including all spurs), where each SWER line, single-phase line, and three-phase line counts as one line. A double circuit line counts as two lines. The length does not take into account vertical components such as sag.
Route Line length | The aggregate length in kilometres of lines, measured as the length of each span between poles and/or towers, and where the length of each span is considered only once irrespective of how may circuits it contains. This is the distance between line segments and does not include vertical components such as line sag.
Capacity
Estimated overhead network weighted average MVA capacity by voltage class | Estimated typical or weighted average capacities for each of the listed voltage classes under normal circumstances taking account of limits imposed by thermal or by voltage drop considerations as relevant.
Estimated underground network weighted average MVA capacity by voltage class | Estimated typical or weighted average capacities for each of the listed voltage classes under normal circumstances taking account of limits imposed by thermal or by voltage drop considerations as relevant.
Transmission System Capacities Variables | The transmission system capacity Variables are: • Transmission Substations (e.g. 500 kV to 330 kV, 330kV to 132kV and so on) • Terminal Points to DNSP Systems • Transformer Capacity for Directly Connected End–Users Owned by the TNSP • Transformer Capacity for Directly Connected End–Users Owned by the End–User • Interconnector Capacity • Other installed transformer capacity - specify voltages For the purposes of these measures the transmission system includes transformers, overhead and underground lines and cables in service that serve a transmission function. The transformer capacities Variables must be reported inclusive of Cold Spare Capacity.
Transmission substations | This is the transformer capacity at intermediate locations for transmission service function
Terminal points to DNSP systems | This is the transformer capacity at connection point to the distribution network service provider
Transformer capacity for directly connected end–users owned by the TNSP | This is the transformer capacity at connection point to directly connected end user where the capacity is owned by the TNSP.
Transformer capacity for directly connected end–users owned by the end–user | This is the transformer capacity at connection point to directly connected end users where the capacity is owned by the directly connected end user. Where this information is not known to the TNSP, it should be approximated by the summation of non-coincident individual Maximum Demands (in MVA) of directly connected end users whenever they occur (i.e. the summation of a single annual MD for each customer) as a proxy for capacity within those end users' installations.
Interconnector capacity | This is TNSP’s Network thermal capacity available for network interconnector purposes to another network – i.e. regarding other network as an export capacity required on the source network
Other | Transmission system capacity not reported in other variables
Cold spare capacity | The capacity of spare transformers owned by NSP but not currently in use. Cold Spare Capacity incorporates both spare capacity and cold capacity. Cold capacity is equipment which is already on site, with connections already in place so that the device can be brought into service merely by switching operations but which is not normally load carrying. Spare capacity also includes spare assets, on site, or in the store, where physical movement and / or making of connections would require manual intervention at the site of use.
Total MVA Replaced | Aggregate MVA of transformers that replaced existing transformers
Total MVA Disposed of | Aggregate MVA of replaced transformers
Substation reactive plant | These are assets used to support the transfer of real power across the network. This includes reactors, synchronous condensers, shunt capacitors, static VAr compensators, dynamic VAr compensators. It excludes any assets that are included in any other asset group.
Power factor | The ratio of demand in MW to demand in MVA.
Age
Economic life | An asset’s economic life is the estimated period after installation of the new asset during which the asset will be capable of delivering the same effective service as it could at its installation date. The period of effective service needs to consider the life cycle costs between keeping the asset in commission and replacing it with its modern equivalent. Life cycle costs of the asset include those associated with the design, implementation, operations, maintenance, renewal and rehabilitation, depreciation and cost of finance.
Estimated service life of new assets | The expected service life of new assets is the estimated period after installation of a new asset during which the asset will be capable of delivering the same effective service as it could at its installation date.
Estimated residual service life | The remaining time an asset class is expected to deliver the same effective service as that asset class did at its installation date.
Overhead transmission assets | Assets used to conduct electricity from one point to another above ground. These include poles, towers, insulators, pole-top structures and overhead conductors. However, it does not include overhead conductors used for communication, signal or protection purposes, or for the reticulation or control of any street lighting system. Overhead substations and their associated connection, fuses and transformers must be separately regarded as assets classified as substations and/or transformers.
Underground transmission assets | Assets used to conduct electricity from one point to another below ground. This includes cables, cable joints, cable terminations and other assets used to connect the underground network to the overhead system (which, but for the cable connection, would not have been necessary). It does not include communication, signal or protection cables, or cables which form part of any street lighting system. Ground mounted, indoor or submerged substations and their associated enclosures, switchgear and transformers must be separately regarded as assets classified as Substations, Switchyards and Transformers.
Switchyard, substation and transformer assets | Asset installations at intermediate locations for transmission service function, which incorporate transmission switchyards, substations etc (e.g. 500 kV to 330 kV, 330 kV to 132 kV and so on). This includes the following: - transformers and switchyards without transformers. - transmission assets for connection to DNSPs or direct connected end use customers. - energised transformers and Cold Spare Capacity. - capacity of tertiary windings where relevant. - relevant small equipment (e.g. circuit breakers and current transformers). Do not include step-up transformers at generation connection location.
“Other” assets with long lives | Assets that are not Overhead Transmission Assets, Underground Transmission Assets, substations, switchyards and transformers which have asset lives of 10 years or greater used for provision of Prescribed Transmission Services only. This includes secondary substation equipment (protection, telecommunication and control systems) where these assets have lives of ten years or greater.
“Other assets with short lives | Assets that are not Overhead Transmission Assets, Underground Transmission Assets, substations, switchyards and transformers which have asset lives of less than 10 years used for provision of Prescribed Transmission Services only. This includes secondary substation equipment (protection, telecommunication and control systems) where these assets have lives of less than 10 years.
Inspection cycle | The planned or actual duration between two consecutive inspections of an asset
Transmission towers | These are vertically oriented assets that provide load bearing structural support for conductors or other lines assets. This also includes associated transmission tower support structures, insulators, earthing, footings, where these are replaced in conjunction with a transmission tower replacement project. It excludes any assets that are included in any other asset group.
Transmission tower support structures | These are horizontally oriented structures and their components that provide support for conductors or other line assets to be located on a transmission tower and provide adequate clearances. This expenditure relates to that which TNSPs incur when transmission tower support structures are replaced independently of the transmission tower they are located on. This includes tower section, arms, insulators, earthing It excludes any assets that are included in any other asset group.
Conductors | These assets have the primary function of transmitting power, above ground, within the transmission network. It excludes any assets that are included in any other asset category.
Transmission cables | These assets have the primary function of transmitting power, below ground, between segments of the network. This includes the material primarily used to transmit the power and cable ends, joints, terminations and associated hardware and equipment (e.g. surge diverters, etc.), cable tunnels, ducts, pipes, pits and pillars. It excludes any assets that are included in any other asset group.
Substation switchbays (incl. Reactive plant) | These are assets used to support the transfer of real power across the network. This includes reactors, synchronous condensers, shunt capacitors, static VAr compensators, dynamic VAr compensators. It excludes any assets that are included in any other asset group.
Substation power transformers | These are assets used to transform between voltage levels within segments of the network. This includes all its components such as the cooling systems and tap changing equipment. It excludes any assets that are included in any other asset group. For the avoidance of doubt, this does not include instrument transformers as defined in the National Electricity Rules.
Substation property | These are assets used to support the transfer of real power across the network. This includes reactors, synchronous condensers, shunt capacitors, static VAr compensators, dynamic VAr compensators. It excludes any assets that are included in any other asset group.
Protection systems maintenance | SCADA and network control hardware, software and associated IT systems. Includes protection and control systems and communication systems. This excludes SCADA and Network Control systems that exist within gateway devices (routers, bridges etc.) at corporate offices. Protection systems has the meaning prescribed in the National Electricity Rules.
Other maintenance activity | Assets not included in asset classes listed in the table.
Staffing levels
Corporate overheads | Corporate Overheads refer to the provision of corporate support and management services by the corporate office that cannot be directly identified with specific operational activity. Corporate overhead costs typically include those for executive management, legal and secretariat, human resources, finance, and other corporate head office activities or departments.
Network overheads | Network Overheads refer to the provision of network, control and management services that cannot be directly identified with specific operational activity (such as routine maintenance, vegetation management, etc.). Network Overhead may include the following: • management (not directly related to any of the functions listed below) • network planning (i.e. system planning) • network control and operational switching personnel • quality and standards functions including standards & manuals, asset strategy (other than network planning), compliance, quality of supply, reliability, and network records (e.g. geographical information systems (GIS)) • project governance and related functions including supervision, procurement, works management, logistics and stores • training, OH&S functions, training, network billing and customer service & call centre • advertising/marketing • demand side management expenditure/ non-network alternatives • levies.
Total direct network labour | Only includes workers who primarily undertaking field work in their job, such as field tradespeople including workers working in filed depots (e.g. fitters and turners and mechanics working in depots); and apprentices training for work that would primarily be field work (i.e. irrespective of whether most of their current work or training is not undertaken in the field)
Executive manager | A manager responsible for managing multiple senior managers. NSPs typically may have one or more executive managers in areas such as CEO, HR, Finance & Treasury, Legal, Corporate and Network Operations.
Senior manager | A manager responsible for managing multiple managers who each manage work teams and projects within the organisation
Manager | A manager responsible for managing up to full project teams of staff
Professional | Professional workers who do not have a primary role as staff managers. These may include lawyers, accountants, economists etc
Semi professional | Workers with some specialist training supporting fully trained professionals (e.g. draftsperson, bookkeeper etc).
Support staff | Non-professional support staff not undertaking field work (e.g. clerical support, secretaries)
Intern, junior staff, apprentice | Interns, junior staff and apprentices undertaking non field work. All apprentices undertaking or training to undertake field work should be reported under Labour Classification Level - Apprentice
Skilled electrical worker | Fully qualified/trained electrical workers. This will include line workers, cable jointers, electrical technicians and electricians who have completed an apprenticeship.
Skilled non electrical worker | Skilled non electrical worker employed for their skill set. Examples are tradesmen who have completed an apprenticeship such as carpenters, mechanic, painters and arborists.
Apprentice | A field worker employed as part of a government accredited apprenticeship program. This includes all apprentices who will not primarily be working in offices once fully trained (e.g. apprentices training to become electrical workers, fitters and turners, plumbers, painters, mechanics and arborists)
Unskilled worker | Field workers with limited specialist training. This includes workers who have completed short courses with no other qualifications (e.g. labourer, arborist’s assistant, traffic controller, meter reader)
ASL (Average staffing level) | Average Staffing Level. One ASL is one full-time equivalent employees undertaking standard control services work receiving salary or wages (Paid FTE) over the entire year. For avoidance of doubt, one full time employee equating to one FTE over the course of the year( for both standard control services and other work) that spends 50% of their time on standard control services work is 0.5 ASL.
Ordinary Time | Work hours that are not paid Overtime rates
Overtime | Work hours for which overtime rates are paid
Terrain factors
Vegetation maintenance
Route line length | The aggregate length in kilometres of lines, measured as the length of each span between poles and/or towers, and where the length of each span is considered only once irrespective of how may circuits it contains. This is the distance between line segments and does not include vertical components such as line sag.
Cutting cycle | The average planned number of years (including fractions of years) between which cyclic vegetation maintenance is performed within vegetation management zones.
Vegetation maintenance spans | A span within DNSP’s network that is subject to active vegetation management practices in the relevant year. Active vegetation management practices do not include inspection of vegetation maintenance spans.
Defects | A Defect is any recorded incidence of noncompliance with a NSP’s vegetation clearance standard. This also includes vegetation outside a NSP’s standard clearance zone that is recognised as hazardous vegetation and which would normally be reported as requiring management under the NSPs Inspection practices.
Average number of trees per span | The estimated average of the number of trees within DNSP's vegetation Maintenance Spans. This includes only trees that require active vegetation management to meet its vegetation management obligations. This excludes trees that only require Inspections and no other vegetation management activities required to comply with DNSP’s vegetation obligations.
Tropical Proportion | The approximate total number of urban and rural maintenance spans in the Hot Humid Summer and Warm Humid Summer regions as defined by the Australian Bureau of Meteorology Australian Climatic Zones map (based on temperature and humidity).
Standard Vehicle Access | Distribution route Line Length that does not have Standard Vehicle Access. Areas with Standard Vehicle Access are serviced through made roads, gravel roads and open paddocks (including gated and fenced paddocks). An area with no Standard Vehicle Access would not be accessible by a two wheel drive vehicle.
Bushfire Risk | The number of Maintenance Spans in high bushfire risk areas as classified by a person or organisation with appropriate expertise on fire risk. This includes but is not limited to: - DNSP’s jurisdictional fire authority - local councils - insurance companies - DNSP’s consultants - Local fire experts
Altitude | Route Line Length 600 metres or greater above sea level.
Variability of dispatch | Proportion of energy dispatch from non-thermal generators
Concentrated load distance | Greatest distance (Route Line Length) from node having at least 30 per cent of generation capacity to node having at least 30 per cent of load, where a node is a connection point from a generation source or location to the (transmission) network at source end and a connection point to a load or distribution system at the destination end. Where there is no concentrated source or load above 30 per cent, respond relative to the largest concentrated source and load and indicate the generation and load magnitudes.
Total number of spans | The total count of spans in the network that are subject to vegetation management practices in the relevant year. If TNSP records towers rather than spans, the number of spans is the number of towers less one.

## Validations
Data category 03: Network metrics
Data validation is a process to improve data quality by checking the accuracy and quality of source data before using, importing or otherwise processing the data. Data validation rules provide the first level of data cleansing in the data quality process. They decrease the likelihood of errors at the point of data entry. Data validation rules cannot, however, guarantee data entry is correct, only that it has passed a pre-specified set of rules.
Validation Rules
Worksheet | Tables | input cells | Rules applying
Network assets - volume | Installed assets - Quantity currently in commission by year | Other - Business specified category | Free text - must match categories specified in Data category 07 - capital expenditure

## Checks and Totals
Data category 03: Network metrics
Totals and Data Hierarchies
Worksheet | Table | Sub table | Reference |  | Worksheet | Table | Sub table | Reference | Check
Length | Overhead network length of circuit at each voltage |  | Total | = | Length | Overhead conductors by material type |  | Total | TRUE

## Network Assets - Volume
Data category 03: Network metrics
Network Assets (Volume)
Stakeholder Comments | [6 empty] | Current RIN reference | Validation rules
| Asset Age Profile |  | 2020-21 | 2019-20… | … | 1911-12 |  | A | B | C
INSTALLED ASSETS - QUANTITY CURRENTLY IN COMMISSION BY YEAR
| TRANSMISSION TOWERS: Highest operating voltage; Circuit configuration | Units | 0 | 0 | … | 0
| < = 33 kV; Single Circuit | Number |  |  | … |  | CA5.2.1
| > 33 kV & < = 66 kV ; Single Circuit | Number |  |  | … |  | CA5.2.1
| > 66 kV & < = 132 kV ; Single Circuit | Number |  |  | … |  | CA5.2.1
| > 132 kV & < = 275 kV ; Single Circuit | Number |  |  | … |  | CA5.2.1
| > 275 kV & < = 330 kV ; Single Circuit | Number |  |  | … |  | CA5.2.1
| > 330 kV & < = 500 kV ; Single Circuit | Number |  |  | … |  | CA5.2.1
| > 500 kV ; Single Circuit | Number |  |  | … |  | CA5.2.1
| < = 33 kV; Multiple Circuit | Number |  |  | … |  | CA5.2.1
| > 33 kV & < = 66 kV ; Multiple Circuit | Number |  |  | … |  | CA5.2.1
| > 66 kV & < = 132 kV ; Multiple Circuit | Number |  |  | … |  | CA5.2.1
| > 132 kV & < = 275 kV ; Multiple Circuit | Number |  |  | … |  | CA5.2.1
| > 275 kV & < = 330 kV ; Multiple Circuit | Number |  |  | … |  | CA5.2.1
| > 330 kV & < = 500 kV ; Multiple Circuit | Number |  |  | … |  | CA5.2.1
| > 500 kV ; Multiple Circuit | Number |  |  | … |  | CA5.2.1
| Other | Number |  |  | … |  | CA5.2.1
| TRANSMISSION TOWER SUPPORT STRUCTURES BY: Highest operating voltage; Circuit configuration |  | 0 | 0 | … | 0 | CA5.2.1
| < = 33 kV; Single Circuit | Number |  |  | … |  | CA5.2.1
| > 33 kV & < = 66 kV ; Single Circuit | Number |  |  | … |  | CA5.2.1
| > 66 kV & < = 132 kV ; Single Circuit | Number |  |  | … |  | CA5.2.1
| > 132 kV & < = 275 kV ; Single Circuit | Number |  |  | … |  | CA5.2.1
| > 275 kV & < = 330 kV ; Single Circuit | Number |  |  | … |  | CA5.2.1
| > 330 kV & < = 500 kV ; Single Circuit | Number |  |  | … |  | CA5.2.1
| > 500 kV ; Single Circuit | Number |  |  | … |  | CA5.2.1
| < = 33 kV; Multiple Circuit | Number |  |  | … |  | CA5.2.1
| > 33 kV & < = 66 kV ; Multiple Circuit | Number |  |  | … |  | CA5.2.1
| > 66 kV & < = 132 kV ; Multiple Circuit | Number |  |  | … |  | CA5.2.1
| > 132 kV & < = 275 kV ; Multiple Circuit | Number |  |  | … |  | CA5.2.1
| > 275 kV & < = 330 kV ; Multiple Circuit | Number |  |  | … |  | CA5.2.1
| > 330 kV & < = 500 kV ; Multiple Circuit | Number |  |  | … |  | CA5.2.1
| > 500 kV ; Multiple Circuit | Number |  |  | … |  | CA5.2.1
| Other | Number |  |  | … |  | CA5.2.1
| CONDUCTORS BY: Voltage; Maximum continuous rating |  | 0 | 0 | … | 0 | CA5.2.1
| < = 33 kV ; < = 100 MVA | km |  |  | … |  | CA5.2.1
| < = 33 kV ; > 100 MVA & < = 400 MVA | km |  |  | … |  | CA5.2.1
| < = 33 kV ; > 400 MVA | km |  |  | … |  | CA5.2.1
| > 33 kV & < = 66 kV ; < = 100 MVA | km |  |  | … |  | CA5.2.1
| > 33 kV & < = 66 kV ; > 100 MVA & < = 400 MVA | km |  |  | … |  | CA5.2.1
| > 33 kV & < = 66 kV ; > 400 MVA | km |  |  | … |  | CA5.2.1
| > 66 kV & < = 132 kV ; < = 100 MVA | km |  |  | … |  | CA5.2.1
| > 66 kV & < = 132 kV ; > 100 MVA & < = 400 MVA | km |  |  | … |  | CA5.2.1
| > 66 kV & < = 132 kV ; > 400 MVA | km |  |  | … |  | CA5.2.1
| > 132 kV & < = 275 kV ; < = 200 MVA | km |  |  | … |  | CA5.2.1
| > 132 kV & < = 275 kV ; > 200 MVA & < = 600 MVA | km |  |  | … |  | CA5.2.1
| > 132 kV & < = 275 kV ; > 600 MVA | km |  |  | … |  | CA5.2.1
| > 275 kV & < = 330 kV ; < = 800 MVA | km |  |  | … |  | CA5.2.1
| > 275 kV & < = 330 kV ; > 800 MVA & < = 1200 MVA | km |  |  | … |  | CA5.2.1
| > 275 kV & < = 330 kV ; > 1200 MVA | km |  |  | … |  | CA5.2.1
| > 330 kV & < = 500 kV ; < = 1000 MVA | km |  |  | … |  | CA5.2.1
| > 330 kV & < = 500 kV ; > 1000 MVA & < = 1500 MVA | km |  |  | … |  | CA5.2.1
| > 330 kV & < = 500 kV ; > 1500 MVA | km |  |  | … |  | CA5.2.1
| > 500 kV ; < = 2000 MVA | km |  |  | … |  | CA5.2.1
| > 500 kV ; > 2000 MVA & < = 3000 MVA | km |  |  | … |  | CA5.2.1
| > 500 kV ; > 3000 MVA | km |  |  | … |  | CA5.2.1
| Other | km |  |  | … |  | CA5.2.1
| TRANSMISSION CABLES BY: Highest operating voltage; Insulation type |  | 0 | 0 | … | 0 | CA5.2.1
| < = 33 kV; Oil Filled | km |  |  | … |  | CA5.2.1
| > 33 kV & < = 66 kV ; Oil Filled | km |  |  | … |  | CA5.2.1
| > 66 kV & < = 132 kV ; Oil Filled | km |  |  | … |  | CA5.2.1
| > 132 kV & < = 275 kV ; Oil Filled | km |  |  | … |  | CA5.2.1
| > 275 kV & < = 330 kV ; Oil Filled | km |  |  | … |  | CA5.2.1
| > 330 kV & < = 500 kV ; Oil Filled | km |  |  | … |  | CA5.2.1
| > 500 kV ; Oil Filled | km |  |  | … |  | CA5.2.1
| < = 33 kV; XLPE Insulated | km |  |  | … |  | CA5.2.1
| > 33 kV & < = 66 kV ; XLPE Insulated | km |  |  | … |  | CA5.2.1
| > 66 kV & < = 132 kV ; XLPE Insulated | km |  |  | … |  | CA5.2.1
| > 132 kV & < = 275 kV ; XLPE Insulated | km |  |  | … |  | CA5.2.1
| > 275 kV & < = 330 kV ; XLPE Insulated | km |  |  | … |  | CA5.2.1
| > 330 kV & < = 500 kV ; XLPE Insulated | km |  |  | … |  | CA5.2.1
| > 500 kV ; XLPE Insulated | km |  |  | … |  | CA5.2.1
| < = 33 kV; Other Insulated | km |  |  | … |  | CA5.2.1
| > 33 kV & < = 66 kV ; Other Insulated | km |  |  | … |  | CA5.2.1
| > 66 kV & < = 132 kV ; Other Insulated | km |  |  | … |  | CA5.2.1
| > 132 kV & < = 275 kV ; Other Insulated | km |  |  | … |  | CA5.2.1
| > 275 kV & < = 330 kV ; Other Insulated | km |  |  | … |  | CA5.2.1
| > 330 kV & < = 500 kV ; Other Insulated | km |  |  | … |  | CA5.2.1
| > 500 kV ; Other Insulated | km |  |  | … |  | CA5.2.1
| Other | km |  |  | … |  | CA5.2.1
| SUBSTATION SWITCHBAYS BY: Highest operating voltage; Switch type |  | 0 | 0 | … | 0 | CA5.2.1
| < = 33 kV; Air Insulated circuit Breaker | Number |  |  | … |  | CA5.2.1
| > 33 kV & < = 66 kV ; Air Insulated circuit Breaker | Number |  |  | … |  | CA5.2.1
| > 66 kV & < = 132 kV ; Air Insulated circuit Breaker | Number |  |  | … |  | CA5.2.1
| > 132 kV & < = 275 kV ; Air Insulated circuit Breaker | Number |  |  | … |  | CA5.2.1
| > 275 kV & < = 330 kV ; Air Insulated circuit Breaker | Number |  |  | … |  | CA5.2.1
| > 330 kV & < = 500 kV ; Air Insulated circuit Breaker | Number |  |  | … |  | CA5.2.1
| > 500 kV ; Air Insulated circuit Breaker | Number |  |  | … |  | CA5.2.1
| < = 33 kV; Air Insulated Isolators / Earth Switch | Number |  |  | … |  | CA5.2.1
| > 33 kV & < = 66 kV ; Air Insulated Isolators / Earth Switch | Number |  |  | … |  | CA5.2.1
| > 66 kV & < = 132 kV ; Air Insulated Isolators / Earth Switch | Number |  |  | … |  | CA5.2.1
| > 132 kV & < = 275 kV ; Air Insulated Isolators / Earth Switch | Number |  |  | … |  | CA5.2.1
| > 275 kV & < = 330 kV ; Air Insulated Isolators / Earth Switch | Number |  |  | … |  | CA5.2.1
| > 330 kV & < = 500 kV ; Air Insulated Isolators / Earth Switch | Number |  |  | … |  | CA5.2.1
| > 500 kV ; Air Insulated Isolators / Earth Switch | Number |  |  | … |  | CA5.2.1
| < = 33 kV; VT | Number |  |  | … |  | CA5.2.1
| > 33 kV & < = 66 kV ; VT | Number |  |  | … |  | CA5.2.1
| > 66 kV & < = 132 kV ; VT | Number |  |  | … |  | CA5.2.1
| > 132 kV & < = 275 kV ; VT | Number |  |  | … |  | CA5.2.1
| > 275 kV & < = 330 kV ; VT | Number |  |  | … |  | CA5.2.1
| > 330 kV & < = 500 kV ; VT | Number |  |  | … |  | CA5.2.1
| > 500 kV ; VT | Number |  |  | … |  | CA5.2.1
| < = 33 kV; CT | Number |  |  | … |  | CA5.2.1
| > 33 kV & < = 66 kV ; CT | Number |  |  | … |  | CA5.2.1
| > 66 kV & < = 132 kV ; CT | Number |  |  | … |  | CA5.2.1
| > 132 kV & < = 275 kV ; CT | Number |  |  | … |  | CA5.2.1
| > 275 kV & < = 330 kV ; CT | Number |  |  | … |  | CA5.2.1
| > 330 kV & < = 500 kV ; CT | Number |  |  | … |  | CA5.2.1
| > 500 kV ; CT | Number |  |  | … |  | CA5.2.1
| < = 33 kV; GIS Module | Number |  |  | … |  | CA5.2.1
| > 33 kV & < = 66 kV ; GIS Module | Number |  |  | … |  | CA5.2.1
| > 66 kV & < = 132 kV ; GIS Module | Number |  |  | … |  | CA5.2.1
| > 132 kV & < = 275 kV ; GIS Module | Number |  |  | … |  | CA5.2.1
| > 275 kV & < = 330 kV ; GIS Module | Number |  |  | … |  | CA5.2.1
| > 330 kV & < = 500 kV ; GIS Module | Number |  |  | … |  | CA5.2.1
| > 500 kV ; GIS Module | Number |  |  | … |  | CA5.2.1
| Other | Number |  |  | … |  | CA5.2.1
| SUBSTATION POWER TRANSFORMERS BY: Highest operating voltage; Ampere rating |  | 0 | 0 | … | 0 | CA5.2.1
| < = 33 kV ; < = 10 MVA | MVA |  |  | … |  | CA5.2.1
| < = 33 kV ; > 10 MVA & < = 30 MVA | MVA |  |  | … |  | CA5.2.1
| < = 33 kV ; > 30 MVA | MVA |  |  | … |  | CA5.2.1
| > 33 kV & < = 66 kV ; < = 10 MVA | MVA |  |  | … |  | CA5.2.1
| > 33 kV & < = 66 kV ; > 10 MVA & < = 30 MVA | MVA |  |  | … |  | CA5.2.1
| > 33 kV & < = 66 kV ; > 30 MVA | MVA |  |  | … |  | CA5.2.1
| > 66 kV & < = 132 kV ; < = 30 MVA | MVA |  |  | … |  | CA5.2.1
| > 66 kV & < = 132 kV ; > 30 MVA & < = 60 MVA | MVA |  |  | … |  | CA5.2.1
| > 66 kV & < = 132 kV ; > 60 MVA | MVA |  |  | … |  | CA5.2.1
| > 132 kV & < = 220 kV ; < = 50 MVA | MVA |  |  | … |  | CA5.2.1
| > 132 kV & < = 220 kV ; > 50 MVA & < = 100 MVA | MVA |  |  | … |  | CA5.2.1
| > 132 kV & < = 220 kV ; > 100 MVA | MVA |  |  | … |  | CA5.2.1
| > 220 kV & < = 275 kV ; < = 50 MVA | MVA |  |  | … |  | CA5.2.1
| > 220 kV & < = 275 kV ; > 50 MVA & < = 100 MVA | MVA |  |  | … |  | CA5.2.1
| > 220 kV & < = 275 kV ; > 100 MVA | MVA |  |  | … |  | CA5.2.1
| > 275 kV & < = 330 kV ; < = 100 MVA | MVA |  |  | … |  | CA5.2.1
| > 275 kV & < = 330 kV ; > 100 MVA & < = 250 MVA | MVA |  |  | … |  | CA5.2.1
| > 275 kV & < = 330 kV ; > 250 MVA | MVA |  |  | … |  | CA5.2.1
| > 330 kV & < = 500 kV ; < = 150 MVA | MVA |  |  | … |  | CA5.2.1
| > 330 kV & < = 500 kV ; > 150 MVA & < = 300 MVA | MVA |  |  | … |  | CA5.2.1
| > 330 kV & < = 500 kV ; > 300 MVA | MVA |  |  | … |  | CA5.2.1
| > 500 kV ; < = 1000 MVA | MVA |  |  | … |  | CA5.2.1
| > 500 kV ; > 1000 MVA & < = 1500 MVA | MVA |  |  | … |  | CA5.2.1
| > 500 kV ; > 1500 MVA | MVA |  |  | … |  | CA5.2.1
| Other | MVA |  |  | … |  | CA5.2.1
| SUBSTATION REACTIVE PLANT BY: Highest operating voltage; Function |  | 0 | 0 | … | 0 | CA5.2.1
| < = 33 kV; SVCS | Number |  |  | … |  | CA5.2.1
| > 33 kV & < = 66 kV ; SVCS | Number |  |  | … |  | CA5.2.1
| > 66 kV & < = 132 kV ; SVCS | Number |  |  | … |  | CA5.2.1
| > 132 kV & < = 275 kV ; SVCS | Number |  |  | … |  | CA5.2.1
| > 275 kV & < = 330 kV ; SVCS | Number |  |  | … |  | CA5.2.1
| > 330 kV & < = 500 kV ; SVCS | Number |  |  | … |  | CA5.2.1
| > 500 kV ; SVCS | Number |  |  | … |  | CA5.2.1
| < = 33 kV; Capacitors | Number |  |  | … |  | CA5.2.1
| > 33 kV & < = 66 kV ; Capacitors | Number |  |  | … |  | CA5.2.1
| > 66 kV & < = 132 kV ; Capacitors | Number |  |  | … |  | CA5.2.1
| > 132 kV & < = 275 kV ; Capacitors | Number |  |  | … |  | CA5.2.1
| > 275 kV & < = 330 kV ; Capacitors | Number |  |  | … |  | CA5.2.1
| > 330 kV & < = 500 kV ; Capacitors | Number |  |  | … |  | CA5.2.1
| > 500 kV ; Capacitors | Number |  |  | … |  | CA5.2.1
| < = 33 kV; Oil Filled Reactors | Number |  |  | … |  | CA5.2.1
| > 33 kV & < = 66 kV ; Oil Filled Reactors | Number |  |  | … |  | CA5.2.1
| > 66 kV & < = 132 kV ; Oil Filled Reactors | Number |  |  | … |  | CA5.2.1
| > 132 kV & < = 275 kV ; Oil Filled Reactors | Number |  |  | … |  | CA5.2.1
| > 275 kV & < = 330 kV ; Oil Filled Reactors | Number |  |  | … |  | CA5.2.1
| > 330 kV & < = 500 kV ; Oil Filled Reactors | Number |  |  | … |  | CA5.2.1
| > 500 kV ; Oil Filled Reactors | Number |  |  | … |  | CA5.2.1
| Other | Number |  |  | … |  | CA5.2.1
| SCADA, NETWORK CONTROL AND PROTECTION SYSTEMS BY: Function |  | 0 | 0 | … | 0 | CA5.2.1
| Communications Network Assets | Number |  |  | … |  | CA5.2.1
| Master Station Assets | Number |  |  | … |  | CA5.2.1
| Control equipment / systems | Number |  |  | … |  | CA5.2.1
| Infrastructure: protection and control | Number |  |  | … |  | CA5.2.1
| Metering systems | Number |  |  | … |  | CA5.2.1
| OPGW | Number |  |  | … |  | CA5.2.1
| Protection schemes / systems | Number |  |  | … |  | CA5.2.1
| Site establishment | Number |  |  | … |  | CA5.2.1
| Station SCADA and control systems | Number |  |  | … |  | CA5.2.1
| Telecommunications Network / Systems | Number |  |  | … |  | CA5.2.1
| Total secondary systems | Number |  |  | … |  | CA5.2.1
| Other | Number |  |  | … |  | CA5.2.1
| OTHER BY: TNSP defined |  | 0 | 0 | … | 0 | CA5.2.1
| <Business Specified Category 1> | Number |  |  | … |  | CA5.2.1
| <Business Specified Category 2> | Number |  |  | … |  | CA5.2.1
| <Business Specified Category 3> | Number |  |  | … |  | CA5.2.1
| <Business Specified Category 4> | Number |  |  | … |  | CA5.2.1
| <Business Specified Category 5> | Number |  |  | … |  | CA5.2.1
<additional rows allowed>

## Non-Network Assets - Volume
Data category 03: Network metrics
Non-Network Assets (Volume)
Stakeholder Comments |  |  | Current RIN reference | Validation rules
| Non network assets |  |  | A | B | C | D
| IT & COMMUNICATIONS | Units
| Number of devices | Number | CA2.6.2
MOTOR VEHICLES
Number of vehicles in fleet
| Car | Number | CA2.6.3
| Light Commercial Vehicle | Number | CA2.6.3
| Elevated Work Platform (LCV) | Number | CA2.6.3
| Elevated Work Platform (HCV) | Number | CA2.6.3
| Heavy Commercial Vehicle | Number | CA2.6.3

## Length
Data category 03: Network metrics
Stakeholder Comments |  |  |  | Current RIN reference | Validation rules
| Length | Units |  |  | A | B | C
| OVERHEAD NETWORK LENGTH OF CIRCUIT AT EACH VOLTAGE | km | 0 | EB3.5.1.1
| 500 kV | km |  | EB3.5.1.1
| 330 kV | km |  | EB3.5.1.1
| 275 kV | km |  | EB3.5.1.1
| 220 kV | km |  | EB3.5.1.1
| 132 kV | km |  | EB3.5.1.1
| 110 kV | km |  | EB3.5.1.1
| 88 kV | km |  | EB3.5.1.1
| 66 kV | km |  | EB3.5.1.1
| 33 kV | km |  | EB3.5.1.1
| 22 kV | km |  | EB3.5.1.1
| 11 kV | km |  | EB3.5.1.1
| UNDERGROUND CABLE CIRCUIT LENGTH AT EACH VOLTAGE | km | 0 | EB3.5.1.2
| 500 kV | km |  | EB3.5.1.2
| 330 kV | km |  | EB3.5.1.2
| 275 kV | km |  | EB3.5.1.2
| 220 kV | km |  | EB3.5.1.2
| 132 kV | km |  | EB3.5.1.2
| 110 kV | km |  | EB3.5.1.2
| 88 kV | km |  | EB3.5.1.2
| 66 kV | km |  | EB3.5.1.2
| 33 kV | km |  | EB3.5.1.2
| 22 kV | km |  | EB3.5.1.2
| 11 kV | km |  | EB3.5.1.2
| Selected Asset Characteristics |  | Asset Volumes Currently in Commission
CONDUCTORS BY: CONDUCTOR LENGTH MATERIAL TYPE
| <TNSP conductor category 1> | km |  | CA2.2.2
| <TNSP conductor category 2> | km |  | CA2.2.2
| <TNSP conductor category 3> | km |  | CA2.2.2
| <TNSP conductor category 4> | km |  | CA2.2.2
| <TNSP conductor category 5> | km |  | CA2.2.2
<additional rows allowed>
SERVICE AREA FACTORS
| Route Line length | km |  | EB3.7.3

## Capacity
Data category 03: Network metrics
Capacity data
Stakeholder Comments |  |  | Current RIN reference | Validation rules
| Circuit Capacity | Units |  | A | B | C
ESTIMATED OVERHEAD NETWORK WEIGHTED AVERAGE MVA CAPACITY BY VOLTAGE CLASS
| 500 kV | MVA | EB3.5.1.3
| 330 kV | MVA | EB3.5.1.3
| 275 kV | MVA | EB3.5.1.3
| 220 kV | MVA | EB3.5.1.3
| 132 kV | MVA | EB3.5.1.3
| 110 kV | MVA | EB3.5.1.3
| 88 kV | MVA | EB3.5.1.3
| 66 kV | MVA | EB3.5.1.3
| 33 kV | MVA | EB3.5.1.3
| 22 kV | MVA | EB3.5.1.3
| 11 kV | MVA | EB3.5.1.3
ESTIMATED UNDERGROUND NETWORK WEIGHTED AVERAGE MVA CAPACITY BY VOLTAGE CLASS
| 500 kV | MVA | EB3.5.1.4
| 330 kV | MVA | EB3.5.1.4
| 275 kV | MVA | EB3.5.1.4
| 220 kV | MVA | EB3.5.1.4
| 132 kV | MVA | EB3.5.1.4
| 110 kV | MVA | EB3.5.1.4
| 88 kV | MVA | EB3.5.1.4
| 66 kV | MVA | EB3.5.1.4
| 33 kV | MVA | EB3.5.1.4
| 22 kV | MVA | EB3.5.1.4
| 11 kV | MVA | EB3.5.1.4
Transformer Capacities
INSTALLED TRANSMISSION SYSTEM TRANSFORMER CAPACITY
| Transmission substations (e.g. 500 kV to 330 kV) | MVA | EB3.5.2
| Terminal points to DNSP systems | MVA | EB3.5.2
| Transformer capacity for directly connected end–users owned by the TNSP | MVA | EB3.5.2
| Transformer capacity for directly connected end–users owned by the end–user | MVA | EB3.5.2
| Interconnector capacity | MVA | EB3.5.2
| Other | MVA | EB3.5.2
COLD SPARE CAPACITY
| Cold spare capacity included in 'installed transmission system transformer capacity' | MVA | EB3.5.2
Selected Asset Characteristics
ASSET VOLUMES
TRANSFORMERS BY: TOTAL MVA
| Total MVA Replaced | MVA | CA2.2.2
| Total MVA Disposed of | MVA | CA2.2.2
SUBSTATION REACTIVE PLANT BY: REACTIVE CAPACITY
| <TNSP reactive capacity category 1> | MVA | CA2.2.2
| <TNSP reactive capacity category 2> | MVA | CA2.2.2
| <TNSP reactive capacity category 3> | MVA | CA2.2.2
| <TNSP reactive capacity category 4> | MVA | CA2.2.2
| <TNSP reactive capacity category 5> | MVA | CA2.2.2
<additional rows allowed>
POWER FACTOR CONVERSION BETWEEN MVA AND MW
| Average overall network power factor conversion between MVA and MW | Factor | EB3.4.3.3
| Average power factor conversion for 500 kV lines | Factor | EB3.4.3.3
| Average power factor conversion for 330 kV lines | Factor | EB3.4.3.3
| Average power factor conversion for 275 kV lines | Factor | EB3.4.3.3
| Average power factor conversion for 220 kV lines | Factor | EB3.4.3.3
| Average power factor conversion for 132 kV lines | Factor | EB3.4.3.3
| Average power factor conversion for 110 kV lines | Factor | EB3.4.3.3
| Average power factor conversion for 88 kV lines | Factor | EB3.4.3.3
| Average power factor conversion for 66 kV lines | Factor | EB3.4.3.3
| Average power factor conversion for 33 kV lines | Factor | EB3.4.3.3
| Average power factor conversion for 22 kV lines | Factor | EB3.4.3.3
| Average power factor conversion for 11 kV lines | Factor | EB3.4.3.3
| Average power factor conversion for 6.6 kV lines | Factor | EB3.4.3.3

## Age
Data category 03: Network metrics
Asset Age
Stakeholder Comments |  |  | ECONOMIC LIFE |  | Current RIN reference | Validation rules
| Asset Age Profile | Units | Mean | Standard Deviation |  | A | B | C
TRANSMISSION TOWERS BY: Highest operating voltage; Circuit configuration
| < = 33 kV; Single Circuit | Years |  |  | CA5.2.1
| > 33 kV & < = 66 kV ; Single Circuit | Years |  |  | CA5.2.1
| > 66 kV & < = 132 kV ; Single Circuit | Years |  |  | CA5.2.1
| > 132 kV & < = 275 kV ; Single Circuit | Years |  |  | CA5.2.1
| > 275 kV & < = 330 kV ; Single Circuit | Years |  |  | CA5.2.1
| > 330 kV & < = 500 kV ; Single Circuit | Years |  |  | CA5.2.1
| > 500 kV ; Single Circuit | Years |  |  | CA5.2.1
| < = 33 kV; Multiple Circuit | Years |  |  | CA5.2.1
| > 33 kV & < = 66 kV ; Multiple Circuit | Years |  |  | CA5.2.1
| > 66 kV & < = 132 kV ; Multiple Circuit | Years |  |  | CA5.2.1
| > 132 kV & < = 275 kV ; Multiple Circuit | Years |  |  | CA5.2.1
| > 275 kV & < = 330 kV ; Multiple Circuit | Years |  |  | CA5.2.1
| > 330 kV & < = 500 kV ; Multiple Circuit | Years |  |  | CA5.2.1
| > 500 kV ; Multiple Circuit | Years |  |  | CA5.2.1
| Other | Years |  |  | CA5.2.1
TRANSMISSION TOWER SUPPORT STRUCTURES BY: Highest operating voltage; Circuit configuration
| < = 33 kV; Single Circuit | Years |  |  | CA5.2.1
| > 33 kV & < = 66 kV ; Single Circuit | Years |  |  | CA5.2.1
| > 66 kV & < = 132 kV ; Single Circuit | Years |  |  | CA5.2.1
| > 132 kV & < = 275 kV ; Single Circuit | Years |  |  | CA5.2.1
| > 275 kV & < = 330 kV ; Single Circuit | Years |  |  | CA5.2.1
| > 330 kV & < = 500 kV ; Single Circuit | Years |  |  | CA5.2.1
| > 500 kV ; Single Circuit | Years |  |  | CA5.2.1
| < = 33 kV; Multiple Circuit | Years |  |  | CA5.2.1
| > 33 kV & < = 66 kV ; Multiple Circuit | Years |  |  | CA5.2.1
| > 66 kV & < = 132 kV ; Multiple Circuit | Years |  |  | CA5.2.1
| > 132 kV & < = 275 kV ; Multiple Circuit | Years |  |  | CA5.2.1
| > 275 kV & < = 330 kV ; Multiple Circuit | Years |  |  | CA5.2.1
| > 330 kV & < = 500 kV ; Multiple Circuit | Years |  |  | CA5.2.1
| > 500 kV ; Multiple Circuit | Years |  |  | CA5.2.1
| Other | Years |  |  | CA5.2.1
CONDUCTORS BY: Voltage; Maximum continuous rating
| < = 33 kV ; < = 100 MVA | Years |  |  | CA5.2.1
| < = 33 kV ; > 100 MVA & < = 400 MVA | Years |  |  | CA5.2.1
| < = 33 kV ; > 400 MVA | Years |  |  | CA5.2.1
| > 33 kV & < = 66 kV ; < = 100 MVA | Years |  |  | CA5.2.1
| > 33 kV & < = 66 kV ; > 100 MVA & < = 400 MVA | Years |  |  | CA5.2.1
| > 33 kV & < = 66 kV ; > 400 MVA | Years |  |  | CA5.2.1
| > 66 kV & < = 132 kV ; < = 100 MVA | Years |  |  | CA5.2.1
| > 66 kV & < = 132 kV ; > 100 MVA & < = 400 MVA | Years |  |  | CA5.2.1
| > 66 kV & < = 132 kV ; > 400 MVA | Years |  |  | CA5.2.1
| > 132 kV & < = 275 kV ; < = 200 MVA | Years |  |  | CA5.2.1
| > 132 kV & < = 275 kV ; > 200 MVA & < = 600 MVA | Years |  |  | CA5.2.1
| > 132 kV & < = 275 kV ; > 600 MVA | Years |  |  | CA5.2.1
| > 275 kV & < = 330 kV ; < = 800 MVA | Years |  |  | CA5.2.1
| > 275 kV & < = 330 kV ; > 800 MVA & < = 1200 MVA | Years |  |  | CA5.2.1
| > 275 kV & < = 330 kV ; > 1200 MVA | Years |  |  | CA5.2.1
| > 330 kV & < = 500 kV ; < = 1000 MVA | Years |  |  | CA5.2.1
| > 330 kV & < = 500 kV ; > 1000 MVA & < = 1500 MVA | Years |  |  | CA5.2.1
| > 330 kV & < = 500 kV ; > 1500 MVA | Years |  |  | CA5.2.1
| > 500 kV ; < = 2000 MVA | Years |  |  | CA5.2.1
| > 500 kV ; > 2000 MVA & < = 3000 MVA | Years |  |  | CA5.2.1
| > 500 kV ; > 3000 MVA | Years |  |  | CA5.2.1
| Other | Years |  |  | CA5.2.1
TRANSMISSION CABLES BY: Highest operating voltage; Insulation type
| < = 33 kV; Oil Filled | Years |  |  | CA5.2.1
| > 33 kV & < = 66 kV ; Oil Filled | Years |  |  | CA5.2.1
| > 66 kV & < = 132 kV ; Oil Filled | Years |  |  | CA5.2.1
| > 132 kV & < = 275 kV ; Oil Filled | Years |  |  | CA5.2.1
| > 275 kV & < = 330 kV ; Oil Filled | Years |  |  | CA5.2.1
| > 330 kV & < = 500 kV ; Oil Filled | Years |  |  | CA5.2.1
| > 500 kV ; Oil Filled | Years |  |  | CA5.2.1
| < = 33 kV; XLPE Insulated | Years |  |  | CA5.2.1
| > 33 kV & < = 66 kV ; XLPE Insulated | Years |  |  | CA5.2.1
| > 66 kV & < = 132 kV ; XLPE Insulated | Years |  |  | CA5.2.1
| > 132 kV & < = 275 kV ; XLPE Insulated | Years |  |  | CA5.2.1
| > 275 kV & < = 330 kV ; XLPE Insulated | Years |  |  | CA5.2.1
| > 330 kV & < = 500 kV ; XLPE Insulated | Years |  |  | CA5.2.1
| > 500 kV ; XLPE Insulated | Years |  |  | CA5.2.1
| < = 33 kV; Other Insulated | Years |  |  | CA5.2.1
| > 33 kV & < = 66 kV ; Other Insulated | Years |  |  | CA5.2.1
| > 66 kV & < = 132 kV ; Other Insulated | Years |  |  | CA5.2.1
| > 132 kV & < = 275 kV ; Other Insulated | Years |  |  | CA5.2.1
| > 275 kV & < = 330 kV ; Other Insulated | Years |  |  | CA5.2.1
| > 330 kV & < = 500 kV ; Other Insulated | Years |  |  | CA5.2.1
| > 500 kV ; Other Insulated | Years |  |  | CA5.2.1
| Other | Years |  |  | CA5.2.1
SUBSTATION SWITCHBAYS BY: Highest operating voltage; Switch type
| < = 33 kV; Air Insulated circuit Breaker | Years |  |  | CA5.2.1
| > 33 kV & < = 66 kV ; Air Insulated circuit Breaker | Years |  |  | CA5.2.1
| > 66 kV & < = 132 kV ; Air Insulated circuit Breaker | Years |  |  | CA5.2.1
| > 132 kV & < = 275 kV ; Air Insulated circuit Breaker | Years |  |  | CA5.2.1
| > 275 kV & < = 330 kV ; Air Insulated circuit Breaker | Years |  |  | CA5.2.1
| > 330 kV & < = 500 kV ; Air Insulated circuit Breaker | Years |  |  | CA5.2.1
| > 500 kV ; Air Insulated circuit Breaker | Years |  |  | CA5.2.1
| < = 33 kV; Air Insulated Isolators / Earth Switch | Years |  |  | CA5.2.1
| > 33 kV & < = 66 kV ; Air Insulated Isolators / Earth Switch | Years |  |  | CA5.2.1
| > 66 kV & < = 132 kV ; Air Insulated Isolators / Earth Switch | Years |  |  | CA5.2.1
| > 132 kV & < = 275 kV ; Air Insulated Isolators / Earth Switch | Years |  |  | CA5.2.1
| > 275 kV & < = 330 kV ; Air Insulated Isolators / Earth Switch | Years |  |  | CA5.2.1
| > 330 kV & < = 500 kV ; Air Insulated Isolators / Earth Switch | Years |  |  | CA5.2.1
| > 500 kV ; Air Insulated Isolators / Earth Switch | Years |  |  | CA5.2.1
| < = 33 kV; VT | Years |  |  | CA5.2.1
| > 33 kV & < = 66 kV ; VT | Years |  |  | CA5.2.1
| > 66 kV & < = 132 kV ; VT | Years |  |  | CA5.2.1
| > 132 kV & < = 275 kV ; VT | Years |  |  | CA5.2.1
| > 275 kV & < = 330 kV ; VT | Years |  |  | CA5.2.1
| > 330 kV & < = 500 kV ; VT | Years |  |  | CA5.2.1
| > 500 kV ; VT | Years |  |  | CA5.2.1
| < = 33 kV; CT | Years |  |  | CA5.2.1
| > 33 kV & < = 66 kV ; CT | Years |  |  | CA5.2.1
| > 66 kV & < = 132 kV ; CT | Years |  |  | CA5.2.1
| > 132 kV & < = 275 kV ; CT | Years |  |  | CA5.2.1
| > 275 kV & < = 330 kV ; CT | Years |  |  | CA5.2.1
| > 330 kV & < = 500 kV ; CT | Years |  |  | CA5.2.1
| > 500 kV ; CT | Years |  |  | CA5.2.1
| < = 33 kV; GIS Module | Years |  |  | CA5.2.1
| > 33 kV & < = 66 kV ; GIS Module | Years |  |  | CA5.2.1
| > 66 kV & < = 132 kV ; GIS Module | Years |  |  | CA5.2.1
| > 132 kV & < = 275 kV ; GIS Module | Years |  |  | CA5.2.1
| > 275 kV & < = 330 kV ; GIS Module | Years |  |  | CA5.2.1
| > 330 kV & < = 500 kV ; GIS Module | Years |  |  | CA5.2.1
| > 500 kV ; GIS Module | Years |  |  | CA5.2.1
| Other | Years |  |  | CA5.2.1
SUBSTATION POWER TRANSFORMERS BY: Highest operating voltage; Ampere rating
| < = 33 kV ; < = 10 MVA | Years |  |  | CA5.2.1
| < = 33 kV ; > 10 MVA & < = 30 MVA | Years |  |  | CA5.2.1
| < = 33 kV ; > 30 MVA | Years |  |  | CA5.2.1
| > 33 kV & < = 66 kV ; < = 10 MVA | Years |  |  | CA5.2.1
| > 33 kV & < = 66 kV ; > 10 MVA & < = 30 MVA | Years |  |  | CA5.2.1
| > 33 kV & < = 66 kV ; > 30 MVA | Years |  |  | CA5.2.1
| > 66 kV & < = 132 kV ; < = 30 MVA | Years |  |  | CA5.2.1
| > 66 kV & < = 132 kV ; > 30 MVA & < = 60 MVA | Years |  |  | CA5.2.1
| > 66 kV & < = 132 kV ; > 60 MVA | Years |  |  | CA5.2.1
| > 132 kV & < = 220 kV ; < = 50 MVA | Years |  |  | CA5.2.1
| > 132 kV & < = 220 kV ; > 50 MVA & < = 100 MVA | Years |  |  | CA5.2.1
| > 132 kV & < = 220 kV ; > 100 MVA | Years |  |  | CA5.2.1
| > 220 kV & < = 275 kV ; < = 50 MVA | Years |  |  | CA5.2.1
| > 220 kV & < = 275 kV ; > 50 MVA & < = 100 MVA | Years |  |  | CA5.2.1
| > 220 kV & < = 275 kV ; > 100 MVA | Years |  |  | CA5.2.1
| > 275 kV & < = 330 kV ; < = 100 MVA | Years |  |  | CA5.2.1
| > 275 kV & < = 330 kV ; > 100 MVA & < = 250 MVA | Years |  |  | CA5.2.1
| > 275 kV & < = 330 kV ; > 250 MVA | Years |  |  | CA5.2.1
| > 330 kV & < = 500 kV ; < = 150 MVA | Years |  |  | CA5.2.1
| > 330 kV & < = 500 kV ; > 150 MVA & < = 300 MVA | Years |  |  | CA5.2.1
| > 330 kV & < = 500 kV ; > 300 MVA | Years |  |  | CA5.2.1
| > 500 kV ; < = 1000 MVA | Years |  |  | CA5.2.1
| > 500 kV ; > 1000 MVA & < = 1500 MVA | Years |  |  | CA5.2.1
| > 500 kV ; > 1500 MVA | Years |  |  | CA5.2.1
| Other | Years |  |  | CA5.2.1
SUBSTATION REACTIVE PLANT BY: Highest operating voltage; Function
| < = 33 kV; SVCS | Years |  |  | CA5.2.1
| > 33 kV & < = 66 kV ; SVCS | Years |  |  | CA5.2.1
| > 66 kV & < = 132 kV ; SVCS | Years |  |  | CA5.2.1
| > 132 kV & < = 275 kV ; SVCS | Years |  |  | CA5.2.1
| > 275 kV & < = 330 kV ; SVCS | Years |  |  | CA5.2.1
| > 330 kV & < = 500 kV ; SVCS | Years |  |  | CA5.2.1
| > 500 kV ; SVCS | Years |  |  | CA5.2.1
| < = 33 kV; Capacitors | Years |  |  | CA5.2.1
| > 33 kV & < = 66 kV ; Capacitors | Years |  |  | CA5.2.1
| > 66 kV & < = 132 kV ; Capacitors | Years |  |  | CA5.2.1
| > 132 kV & < = 275 kV ; Capacitors | Years |  |  | CA5.2.1
| > 275 kV & < = 330 kV ; Capacitors | Years |  |  | CA5.2.1
| > 330 kV & < = 500 kV ; Capacitors | Years |  |  | CA5.2.1
| > 500 kV ; Capacitors | Years |  |  | CA5.2.1
| < = 33 kV; Oil Filled Reactors | Years |  |  | CA5.2.1
| > 33 kV & < = 66 kV ; Oil Filled Reactors | Years |  |  | CA5.2.1
| > 66 kV & < = 132 kV ; Oil Filled Reactors | Years |  |  | CA5.2.1
| > 132 kV & < = 275 kV ; Oil Filled Reactors | Years |  |  | CA5.2.1
| > 275 kV & < = 330 kV ; Oil Filled Reactors | Years |  |  | CA5.2.1
| > 330 kV & < = 500 kV ; Oil Filled Reactors | Years |  |  | CA5.2.1
| > 500 kV ; Oil Filled Reactors | Years |  |  | CA5.2.1
| Other | Years |  |  | CA5.2.1
SCADA, NETWORK CONTROL AND PROTECTION SYSTEMS BY: Function
| Communications Network Assets | Years |  |  | CA5.2.1
| Master Station Assets | Years |  |  | CA5.2.1
| Control equipment / systems | Years |  |  | CA5.2.1
| Infrastructure: protection and control | Years |  |  | CA5.2.1
| Metering systems | Years |  |  | CA5.2.1
| OPGW | Years |  |  | CA5.2.1
| Protection schemes / systems | Years |  |  | CA5.2.1
| Site establishment | Years |  |  | CA5.2.1
| Station SCADA and control systems | Years |  |  | CA5.2.1
| Telecommunications Network / Systems | Years |  |  | CA5.2.1
| Total secondary systems | Years |  |  | CA5.2.1
| Other | Years |  |  | CA5.2.1
OTHER BY: TNSP defined
| <Business defined category 1> | Years |  |  | CA5.2.1
| <Business defined category 2> | Years |  |  | CA5.2.1
| <Business defined category 3> | Years |  |  | CA5.2.1
| <Business defined category 4> | Years |  |  | CA5.2.1
| <Business defined category 5> | Years |  |  | CA5.2.1
<additional rows allowed>
| Asset Lives |  | Asset Lives
ESTIMATED SERVICE LIFE OF NEW ASSETS
| Overhead transmission assets | Years |  |  | EB3.3.4
| Underground transmission assets | Years |  |  | EB3.3.4
| Switchyard, substation and transformer assets | Years |  |  | EB3.3.4
| “Other” assets with long lives | Years |  |  | EB3.3.4
| “Other assets with short lives | Years |  |  | EB3.3.4
ESTIMATED RESIDUAL SERVICE LIFE
| Overhead transmission assets | Years |  |  | EB3.3.4
| Underground transmission assets | Years |  |  | EB3.3.4
| Switchyard, substation and transformer assets | Years |  |  | EB3.3.4
| “Other” assets with long lives | Years |  |  | EB3.3.4
| “Other assets with short lives | Years |  |  | EB3.3.4
| Average Age of Asset Group |  | Average age | Inspection cycle
MAINTENANCE ASSET CATEGORY
Transmission lines
| Transmission towers | Years |  |  | CA 2.8.1
| Transmission tower support structures | Years |  |  | CA 2.8.1
| Conductors | Years |  |  | CA 2.8.1
| Transmission cables | Years |  |  | CA 2.8.1
Substations equipment & property
| Substation switchbays (incl. Reactive plant) | Years |  |  | CA 2.8.1
| Substation power transformers | Years |  |  | CA 2.8.1
| Substation property | Years |  |  | CA 2.8.1
| SCADA & network control | Years |  |  | CA 2.8.1
| Protection systems | Years |  |  | CA 2.8.1
Other assets maintained
| <Business defined asset 1> | Years |  |  | CA 2.8.1
| <Business defined asset 2> | Years |  |  | CA 2.8.1
| <Business defined asset 3> | Years |  |  | CA 2.8.1
| <Business defined asset 4> | Years |  |  | CA 2.8.1
| <Business defined asset 5> | Years |  |  | CA 2.8.1
<additional rows allowed>

## Staff and terrain
Data category 03: Network metrics
Stakeholder Comments
| Internal Average Staffing Levels - Cost Metrics per Annum | Units |  |  | Current RIN reference | Validation rules
| CORPORATE OVERHEADS |  |  |  |  | A | B | C | D
| Executive manager | $ |  |  | CA2.11.1
| Senior manager | $ |  |  | CA2.11.1
| Manager | $ |  |  | CA2.11.1
| Professional | $ |  |  | CA2.11.1
| Semi professional | $ |  |  | CA2.11.1
| Support staff | $ |  |  | CA2.11.1
| Intern, junior staff, apprentice | $ |  |  | CA2.11.1
NETWORK OVERHEADS
| Executive manager | $ |  |  | CA2.11.1
| Senior manager | $ |  |  | CA2.11.1
| Manager | $ |  |  | CA2.11.1
| Professional | $ |  |  | CA2.11.1
| Semi professional | $ |  |  | CA2.11.1
| Support staff | $ |  |  | CA2.11.1
| Intern, junior staff, apprentice | $ |  |  | CA2.11.1
TOTAL DIRECT NETWORK LABOUR
| Skilled electrical worker | $ |  |  | CA2.11.1
| Skilled non electrical worker | $ |  |  | CA2.11.1
| Apprentice | $ |  |  | CA2.11.1
| Unskilled worker | $ |  |  | CA2.11.1
| Average Staffing Levels - Descriptor Metrics |  | Ordinary Time per ASL | Overtime per ASL
AVERAGE PRODUCTIVE WORK HOURS PER ASL
Corporate Overheads
| Executive manager | Hours/ASL |  |  | CA2.11.2
| Senior manager | Hours/ASL |  |  | CA2.11.2
| Manager | Hours/ASL |  |  | CA2.11.2
| Professional | Hours/ASL |  |  | CA2.11.2
| Semi professional | Hours/ASL |  |  | CA2.11.2
| Support staff | Hours/ASL |  |  | CA2.11.2
| Intern, junior staff, apprentice | Hours/ASL |  |  | CA2.11.2
Network Overheads
| Executive manager | Hours/ASL |  |  | CA2.11.2
| Senior manager | Hours/ASL |  |  | CA2.11.2
| Manager | Hours/ASL |  |  | CA2.11.2
| Professional | Hours/ASL |  |  | CA2.11.2
| Semi professional | Hours/ASL |  |  | CA2.11.2
| Support staff | Hours/ASL |  |  | CA2.11.2
| Intern, junior staff, apprentice | Hours/ASL |  |  | CA2.11.2
Total Direct Network Labour
| Skilled electrical worker | Hours/ASL |  |  | CA2.11.2
| Skilled non electrical worker | Hours/ASL |  |  | CA2.11.2
| Apprentice | Hours/ASL |  |  | CA2.11.2
| Unskilled worker | Hours/ASL |  |  | CA2.11.2
Vegetation maintenance
Zone 1
| Route line length within zone | km |  |  | CA2.7.1
| Number of maintenance spans | Number |  |  | CA2.7.1
| Total length of maintenance spans | km |  |  | CA2.7.1
| Average number of trees per maintenance span | Number |  |  | CA2.7.1
| Length of vegetation corridors | km |  |  | CA2.7.1
| Average width of vegetation corridors | Metres |  |  | CA2.7.1
| Average frequency of cutting cycle | Years |  |  | CA2.7.1
Zone 2
| Route line length within zone | km |  |  | CA2.7.1
| Number of maintenance spans | Number |  |  | CA2.7.1
| Total length of maintenance spans | km |  |  | CA2.7.1
| Average number of trees per maintenance span | Number |  |  | CA2.7.1
| Length of vegetation corridors | km |  |  | CA2.7.1
| Average width of vegetation corridors | Metres |  |  | CA2.7.1
| Average frequency of cutting cycle | Years |  |  | CA2.7.1
Zone 3
| Route line length within zone | km |  |  | CA2.7.1
| Number of maintenance spans | Number |  |  | CA2.7.1
| Total length of maintenance spans | km |  |  | CA2.7.1
| Average number of trees per maintenance span | Number |  |  | CA2.7.1
| Length of vegetation corridors | km |  |  | CA2.7.1
| Average width of vegetation corridors | Metres |  |  | CA2.7.1
| Average frequency of cutting cycle | Years |  |  | CA2.7.1
Terrain Factors
All zones
| Average number of defects per vegetation maintenance span | Defects |  |  | EB3.7.1
| Tropical proportion | Number of spans |  |  | EB3.7.1
| Standard vehicle access | km |  |  | EB3.7.1
| Altitude | km |  |  | EB3.7.1
| Bushfire risk | Number of spans |  |  | EB3.7.1
Network characteristics
All zones
| Variability of dispatch | % |  |  | EB3.7.2
| Concentrated load distance | km |  |  | EB3.7.2
| Total number of spans | Number |  |  | EB3.7.2