## Contents
State of the energy market 2020
Chapter 1 The electricity market in transition
This document contains tables and figures from State of the energy market 2020, chapter 1
Table 1.1 - Grid scale battery storage projects
Figure 1.1 - Entry and exit of generation capacity in the NEM
Figure 1.2 - Australia's carbon emissions
Figure 1.3 - Wind turbine development
Figure 1.4 - Scheduled closure profile of coal fired generators
Figure 1.5 - Generation capacity, by technology
Figure 1.6 - Renewable generation in the NEM
Figure 1.7 - Changing generation profile, by time of day, 2009–19
Figure 1.8 - Hourly ramping of wind and solar generation
Figure 1.9 - Growth of solar PV installations in the NEM
Figure 1.10 - Electricity duck curves
Figure 1.11 - Coal plant outages as a share of capacity
Figure 1.12 - NEM mainland frequency excursions
Figure 1.13 - Frequency control ancillary service costs
Figure 1.14 - System security directions
Figure 1.15 - Curtailment of renewable generation
Figure 1.16 - Two year change in marginal loss factors, 2018–19 to 2020–21
Figure 1.17 - Projected assignment of cost-reflective tariffs for residential customers
Figure 1.18 - Snowy 2.0

## Table 1.1
Table 1.1 - Grid scale battery storage projects
STATE | BATTERY NAME | NAMEPLATE CAPACITY (MW) | NAMEPLATE STORAGE (MWh) | STATUS | DATE OF FIRST OUTPUT
SA | Hornsdale Power Reserve | 100 | 122 | In service | 2017-11-01
SA | Dalrymple | 30 | 8 | In service | 2018-07-01
VIC | Gannawarra Energy Storage System | 25.33 | 50 | In service | 2018-11-01
VIC | Ballarat Energy Storage System | 30 | 30 | In service | 2018-11-01
SA | Lake Bonney | 25.008 | 52 | In service | 2019-10-01
QLD | Kennedy Energy Park Phase 1 | 2 | 4 | Committed | 2020-08-01
VIC | Bulgana Green Power Hub | 20 | 20 | Committed | 2020-11-01
MW, megawatt; MWh, megawatt hour
Source: AEMO, NEM generation information, January 2020.

## Figure 1.1
Figure 1.1 - Entry and exit of generation capacity in the NEM
Note: Capacity includes scheduled and semi-scheduled generation, but not non-scheduled or rooftop PV capacity.
Source: AER; AEMO (data).
Capacity (MW)
| Black coal | Brown coal | Gas | Hydro | Wind | Solar | Battery
2012–13 | 60 |  |  |  | 588
2013–14 |  |  |  |  | 567
2014–15 | -1174 | -189 |  |  | 327 | 102
2015–16 | -190 | -920 | -18 |  |  | 109
2016–17 | -80 | -1600 |  |  | 464.2
2017–18 |  |  |  | 70 | 978 | 465 | 100
2018–19 |  |  |  |  | 1540 | 2401 | 90
2019–20 YTD |  |  | 210 |  | 154 | 620 | 25

## Figure 1.2
Figure 1.2 - Australia's carbon emissions
Mt CO2-e, million metric tonnes of carbon dioxide equivalent.
Note: Electricity sector emissions exclude stationary energy, transport and fugitive emissions. The 2030 target is based on Australia’s Paris commitment of a 26 per cent reduction on 2005 emissions levels, and assumes a proportional contribution by the electricity sector. Projected 2030 emissions are as forecast by the Department of Industry, Science, Energy and Resources in December 2019 in the absence of policy intervention.
Source: Department of Industry, Science, Energy and Resources, Quarterly update of Australia’s national greenhouse gas inventory, June 2019; Department of the Environment and Energy, Australia’s emissions projections, December 2019.
Carbon emissions (Mt CO2-e)
| Electricity sector | Other sectors
2008 | 205 | 413.4
2009 | 210.7 | 401.9
2010 | 206.7 | 383.2
2011 | 198.7 | 372.3
2012 | 200.1 | 361.4
2013 | 189.2 | 353.2
2014 | 182.8 | 352.3
2015 | 186.3 | 344.6
2016 | 194.4 | 335.5
2017 | 191.3 | 338.8
2018 | 182.7 | 348.7
2019 | 181.2 | 351.7
2030 projected | 130.5 | 380.5
2030 target | 145.78 | 295.69

## Figure 1.3
Figure 1.3 - Wind turbine development
A high resolution version of this figure is available on request. Please email: AERinquiry@aer.gov.au

## Figure 1.4
Figure 1.4 - Scheduled closure profile of coal fired generators
Source: AEMO, Draft 2020 integrated system plan, December 2019.
Generation capacity (GW)
| Remaining generation | Queensland | NSW | Victoria
2020 | 23.031
2021 | 23.031
2022 | 22.606 |  | 0.5
2023 | 21.106 |  | 1.5
2024 | 21.106
2025 | 21.106
2026 | 21.106
2027 | 21.106
2028 | 21.106
2029 | 20.406 | 0.7
2030 | 18.736 |  | 1.32 | 0.35
2031 | 18.386 |  |  | 0.35
2032 | 15.131 |  | 2.88 | 0.375
2033 | 14.756 |  |  | 0.375
2034 | 14.756
2035 | 14.756
2036 | 10.336 | 1.68 | 2.74
2037 | 9.636 | 0.7
2038 | 8.486 | 1.15
2039 | 8.486
2040 | 8.486

## Figure 1.5
Figure 1.5 - Generation capacity, by technology
Note: January (summer) capacity.
Source: AER; AEMO (data); NEMMCO 2007 Statement of opportunities.
Generation capacity (MW)
| Black coal | Brown coal | Gas | Hydro | Wind | Solar farms | Rooftop solar | Battery | Other dispatched
2007 | 20209 | 7080 | 5946 | 6825 | 668.45 |  | 5.7719 |  | 472
2014 | 19789.8 | 7369 | 11720.957 | 7986.5 | 2742.15 | 2.031 | 2169.6739 |  | 172.455
2020 | 18025 | 4649 | 9784 | 8052 | 6087 | 3187 | 8976.7644 | 209 | 1854

## Figure 1.6
Figure 1.6 - Renewable generation in the NEM
Source: AER; AEMO (data).
Per cent of total generation
Per cent | Wind | Solar farms | Rooftop solar
2006 | 0.55227 | 0 | 0.0030904
2007 | 0.69061 | 0 | 0.0040645
2008 | 1.1573 | 0 | 0.0075172
2009 | 1.8075 | 0 | 0.020469
2010 | 2.1406 | 0 | 0.074178
2011 | 2.752 | 0 | 0.33457
2012 | 3.1399 | 0 | 0.8537
2013 | 4.0287 | 0 | 1.49
2014 | 4.3106 | 0 | 2.0359
2015 | 4.9935 | 0.091722 | 2.5116
2016 | 5.5036 | 0.23709 | 3.0005
2017 | 5.61 | 0.31373 | 3.3524
2018 | 7.0216 | 0.91788 | 4.003
2019 | 8.2406 | 2.4884 | 5.1774

## Figure 1.7
Figure 1.7 - Changing generation profile, by time of day, 2009–19
Note: Comparison of average generation by time of day. The 2009 rooftop PV generation is estimated using the average 2009 daily generation, allocated to intervals using 2019 proportions.
Source: AER; AEMO (data).
Difference in average output (MW)
| Black coal | Brown coal | Gas | Hydro | Wind | Solar | Other | Rooftop solar
0:00 | -522.5917 | -2621.1538 | 311.7087 | 499.903 | 1648.6986 | 0.936 | 94.854 | 0
0:30 | -298.5111 | -2575.4332 | 227.5875 | 407.6502 | 1644.3422 | 0.93945 | 92.7596 | 0
1:00 | -109.2014 | -2526.8629 | 119.539 | 340.5239 | 1641.1865 | 0.95663 | 94.7878 | 0
1:30 | -178.3192 | -2540.7213 | -22.231 | 279.5659 | 1640.0397 | 0.95079 | 95.8988 | 0
2:00 | -17.5654 | -2504.8761 | -77.835 | 241.5092 | 1630.3312 | 0.94496 | 97.2828 | 0
2:30 | 217.549 | -2433.6138 | -117.9572 | 204.4583 | 1617.1802 | 0.91088 | 99.9207 | 0
3:00 | 374.9793 | -2364.9449 | -126.9225 | 177.6371 | 1608.963 | 0.89877 | 102.2303 | 0
3:30 | 504.1776 | -2316.6823 | -140.7965 | 163.0419 | 1610.3707 | 0.8534 | 100.3199 | 0
4:00 | 580.8887 | -2286.9767 | -151.6206 | 154.2264 | 1607.7975 | 0.78701 | 100.0337 | 0
4:30 | 645.9349 | -2279.2909 | -140.2362 | 162.5375 | 1599.8276 | 0.77107 | 99.6329 | 0
5:00 | 662.5446 | -2298.2172 | -117.7857 | 176.8946 | 1593.514 | 0.76222 | 99.3235 | 0.66373
5:30 | 577.9431 | -2364.7172 | -28.3184 | 208.4213 | 1579.4275 | 2.8169 | 98.8638 | 18.2406
6:00 | 381.7369 | -2446.1847 | 30.1448 | 275.3218 | 1554.0519 | 29.508 | 97.6566 | 84.0349
6:30 | 12.8427 | -2546.9905 | 85.8854 | 407.8433 | 1528.3125 | 129.0064 | 98.2196 | 226.4604
7:00 | -468.9588 | -2610.3955 | 14.2013 | 484.8301 | 1498.9183 | 315.1416 | 99.4413 | 479.0902
7:30 | -894.6804 | -2638.6375 | -118.836 | 467.5945 | 1446.8238 | 580.2452 | 98.3096 | 856.7914
8:00 | -1468.103 | -2659.7255 | -201.6571 | 339.5064 | 1401.7064 | 862.691 | 99.4746 | 1324.1988
8:30 | -1928.7718 | -2673.2253 | -355.5879 | 156.3568 | 1367.1633 | 1113.5953 | 97.9865 | 1834.3335
9:00 | -2249.0427 | -2688.9916 | -553.3282 | -6.8846 | 1338.3465 | 1292.6792 | 94.6535 | 2346.1024
9:30 | -2526.8311 | -2701.6234 | -736.0178 | -116.4493 | 1322.3435 | 1416.0871 | 89.8068 | 2814.104
10:00 | -2736.8589 | -2713.2458 | -876.8549 | -211.2388 | 1315.4882 | 1493.6699 | 86.8778 | 3219.8083
10:30 | -2876.9826 | -2724.1388 | -982.8728 | -254.4365 | 1321.4526 | 1535.874 | 84.9385 | 3533.8727
11:00 | -2948.6295 | -2730.7187 | -1070.3947 | -288.2622 | 1325.1962 | 1553.9081 | 81.6773 | 3763.1858
11:30 | -2974.3835 | -2741.3857 | -1121.5052 | -309.0396 | 1331.1292 | 1559.1703 | 81.0428 | 3919.7502
12:00 | -2962.4188 | -2753.267 | -1146.4089 | -318.9337 | 1342.7875 | 1556.0684 | 77.7009 | 4006.6515
12:30 | -2913.6252 | -2757.7499 | -1165.1644 | -327.7768 | 1348.7713 | 1548.0599 | 75.9399 | 4027.1126
13:00 | -2832.7416 | -2754.9326 | -1150.8456 | -338.6438 | 1364.1729 | 1539.4207 | 73.7406 | 3961.9781
13:30 | -2727.4316 | -2757.849 | -1118.4975 | -336.1303 | 1375.5437 | 1524.3046 | 71.4407 | 3827.2043
14:00 | -2592.8142 | -2761.1107 | -1069.4435 | -312.9772 | 1388.8958 | 1502.1421 | 69.408 | 3628.11
14:30 | -2427.6185 | -2762.4633 | -996.7023 | -293.9194 | 1409.8102 | 1467.6828 | 67.9187 | 3336.2633
15:00 | -2203.443 | -2764.1732 | -885.2066 | -253.9146 | 1428.0461 | 1418.7182 | 66.2008 | 2966.0545
15:30 | -1988.3287 | -2753.7028 | -733.7323 | -203.2978 | 1447.0078 | 1348.589 | 67.1387 | 2512.3697
16:00 | -1753.2921 | -2745.8741 | -533.7415 | -105.669 | 1460.0151 | 1249.852 | 69.2188 | 2017.3333
16:30 | -1491.0476 | -2740.5311 | -316.0445 | 52.6778 | 1466.2125 | 1096.2742 | 74.9991 | 1486.8993
17:00 | -1233.5744 | -2741.4677 | -35.4534 | 249.6608 | 1470.4005 | 857.1775 | 82.8559 | 984.0585
17:30 | -1103.9126 | -2744.0607 | 283.2068 | 491.15 | 1467.2197 | 556.6594 | 92.7607 | 579.0408
18:00 | -1105.9262 | -2753.7439 | 549.6755 | 699.8564 | 1473.8262 | 291.3764 | 104.4204 | 302.3299
18:30 | -1061.8967 | -2757.2993 | 727.2145 | 799.9415 | 1501.5562 | 122.267 | 109.2086 | 133.7516
19:00 | -1044.0572 | -2753.2268 | 804.8849 | 849.6664 | 1527.3161 | 36.8715 | 106.7037 | 47.8546
19:30 | -1040.6618 | -2743.8742 | 846.7081 | 790.2117 | 1551.0878 | 7.1081 | 101.4852 | 12.2586
20:00 | -1057.8563 | -2736.838 | 830.3485 | 749.6139 | 1576.9445 | 1.5659 | 98.2533 | 1.0998
20:30 | -1038.8954 | -2727.8364 | 782.0663 | 715.0213 | 1586.3823 | 1.1247 | 96.3063 | 0
21:00 | -968.5997 | -2717.2446 | 702.7227 | 651.9397 | 1598.4962 | 1.0337 | 94.3308 | 0
21:30 | -897.3857 | -2700.7975 | 590.3573 | 637.1265 | 1609.5647 | 0.99773 | 92.1848 | 0
22:00 | -704.3192 | -2673.9094 | 486.2862 | 594.1574 | 1624.1718 | 0.98666 | 91.0976 | 0
22:30 | -627.978 | -2651.034 | 446.4399 | 510.8319 | 1637.5685 | 0.97611 | 91.5324 | 0
23:00 | -528.8004 | -2621.5162 | 402.1772 | 444.1172 | 1640.1874 | 0.95778 | 94.0424 | 0
23:30 | -564.1465 | -2625.5932 | 317.2873 | 435.7148 | 1638.4472 | 1.0371 | 94.5131 | 0
0:00 | -522.5917 | -2621.1538 | 311.7087 | 499.903 | 1648.6986 | 0.936 | 94.854 | 0

## Figure 1.8
Figure 1.8 - Hourly ramping of wind and solar generation
Note: Monthly top 1 per cent of up and down 60 minute ramps in the National Electricity Market.
Source: AEMO, Renewable integration study, stage 1 report, April 2020.
| Upward |  |  | Downward
| Wind | Solar | Rooftop solar | Wind | Solar | Rooftop solar
2015-01-01 | 296.6079 | 0 | 0 | -259.7313 | 0 | 0
2015-02-01 | 322.206 | 0 | 0 | -261.5184 | 0 | 0
2015-03-01 | 298.9237 | 16.5 | 0 | -270.3718 | -14.75 | 0
2015-04-01 | 268.5215 | 28 | 0 | -263.3195 | -30.6975 | 0
2015-05-01 | 265.3081 | 39.75 | 0 | -252.1463 | -38.0425 | 0
2015-06-01 | 229.9842 | 56 | 0 | -229.5834 | -52.79 | 0
2015-07-01 | 332.3863 | 59.3475 | 0 | -275.9428 | -60.25 | 0
2015-08-01 | 299.4719 | 58.2001 | 635.6955 | -269.7658 | -61.5133 | -622.049
2015-09-01 | 274.6053 | 51.8982 | 665.0012 | -270.0951 | -61.4124 | -635.3653
2015-10-01 | 317.1109 | 55.6747 | 676.0692 | -287.8984 | -76.278 | -641.9193
2015-11-01 | 352.3942 | 48.7704 | 614.3463 | -327.2087 | -57.1451 | -589.7497
2015-12-01 | 390.7572 | 52.1407 | 642.2646 | -307.5387 | -52.7828 | -575.117
2016-01-01 | 320.6575 | 48.5062 | 618.576 | -297.1549 | -63.063 | -599.0202
2016-02-01 | 326.2338 | 48.4978 | 663.6143 | -243.9086 | -53.445 | -661.932
2016-03-01 | 263.0577 | 63.3223 | 695.9425 | -279.7027 | -69.693 | -664.765
2016-04-01 | 299.9719 | 71.0106 | 743.8232 | -284.612 | -68.8512 | -717.1048
2016-05-01 | 289.8415 | 74.201 | 712.859 | -275.6383 | -81.654 | -763.8263
2016-06-01 | 280.7818 | 89.7416 | 666.2024 | -322.8552 | -87.3106 | -707.6948
2016-07-01 | 296.6108 | 91.0827 | 669.3478 | -306.54 | -86.1887 | -669.2678
2016-08-01 | 310.1455 | 94.0178 | 740.8267 | -286.4759 | -90.5398 | -730.7123
2016-09-01 | 317.0194 | 88.4343 | 762.9517 | -297.1239 | -95.1982 | -700.3197
2016-10-01 | 334.994 | 79.9079 | 780.389 | -261.9452 | -84.9166 | -742.2179
2016-11-01 | 302.1837 | 71.9829 | 737.2902 | -266.4264 | -79.3825 | -711.5489
2016-12-01 | 317.7112 | 75.7 | 691.3139 | -307.377 | -83.6779 | -657.5574
2017-01-01 | 352.893 | 76.5669 | 717.6898 | -283.446 | -86.719 | -697.8668
2017-02-01 | 359.9899 | 82.647 | 770.5786 | -315.489 | -85.9797 | -749.247
2017-03-01 | 347.2764 | 87.8696 | 804.1399 | -286.2584 | -97.7758 | -763.0588
2017-04-01 | 274.7 | 95.9695 | 862.5998 | -261.1704 | -101.1826 | -803.2214
2017-05-01 | 306.7097 | 96.1696 | 834.2165 | -283.2824 | -97.2953 | -849.914
2017-06-01 | 223.2289 | 93.571 | 824.7926 | -227.7768 | -94.9689 | -837.4492
2017-07-01 | 346.0795 | 96.1975 | 875.2969 | -345.7846 | -94.7778 | -946.5359
2017-08-01 | 300.7223 | 96.1582 | 920.3713 | -297.1133 | -100.4028 | -917.2934
2017-09-01 | 402.0978 | 94.8386 | 919.1327 | -353.8688 | -95.2444 | -887.381
2017-10-01 | 405.1224 | 94.032 | 875.2162 | -382.779 | -96.2905 | -808.5746
2017-11-01 | 401.2476 | 84.4976 | 850.0035 | -334.3508 | -99.197 | -785.1991
2017-12-01 | 378.2304 | 83.7104 | 856.0257 | -371.2404 | -98.1802 | -804.5627
2018-01-01 | 411.2538 | 87.5256 | 922.874 | -393.4386 | -90.8365 | -876.2744
2018-02-01 | 450.7391 | 97.2214 | 948.1156 | -385.624 | -99.2941 | -920.7346
2018-03-01 | 357.066 | 100.1108 | 987.3603 | -331.6945 | -105.8588 | -994.9767
2018-04-01 | 332.198 | 124.7979 | 1036.1174 | -357.9982 | -117.8904 | -1033.0604
2018-05-01 | 349.9311 | 145.2512 | 1048.8837 | -359.7074 | -130.9244 | -1046.3107
2018-06-01 | 318.1083 | 144.4443 | 1033.9811 | -305.3739 | -136.779 | -1044.9569
2018-07-01 | 372.1087 | 174.802 | 1080.1217 | -307.1864 | -161.9927 | -1152.7321
2018-08-01 | 372.4034 | 176.2809 | 1157.8544 | -355.5479 | -163.1613 | -1162.6434
2018-09-01 | 370.7002 | 277.4083 | 1170.4958 | -386.437 | -267.5902 | -1149.3642
2018-10-01 | 410.1678 | 284.2725 | 1084.4392 | -376.1525 | -284.6931 | -1093.4842
2018-11-01 | 441.9121 | 311.4289 | 1093.4364 | -445.2685 | -305.0347 | -1051.0324
2018-12-01 | 465.7669 | 280.5904 | 1154.6724 | -400.5601 | -255.6971 | -1063.2468
2019-01-01 | 480.4401 | 367.5627 | 1158.8834 | -412.3769 | -301.7862 | -1113.0286
2019-02-01 | 417.6448 | 592.7628 | 1248.7012 | -418.9298 | -491.5034 | -1217.923
2019-03-01 | 480.7702 | 631.13 | 1229.7849 | -418.2273 | -466.0381 | -1177.2168

## Figure 1.9
Figure 1.9 - Growth of solar PV installations in the NEM
Source: Clean Energy Regulator, Postcode data for small scale installations, Small generation units—solar, February 2020
| Number of systems (LHS) | System size (RHS)
2011-01-01 | 22406 | 2.2526
2011-02-01 | 25403 | 2.268
2011-03-01 | 31168 | 2.2786
2011-04-01 | 28760 | 2.2948
2011-05-01 | 43099 | 2.3295
2011-06-01 | 59234 | 2.4013
2011-07-01 | 17941 | 2.4591
2011-08-01 | 17387 | 2.4908
2011-09-01 | 20227 | 2.5937
2011-10-01 | 14577 | 2.7014
2011-11-01 | 15922 | 2.8016
2011-12-01 | 12350 | 2.7915
2012-01-01 | 11011 | 2.904
2012-02-01 | 16331 | 2.7633
2012-03-01 | 19779 | 2.5807
2012-04-01 | 22378 | 2.6253
2012-05-01 | 36862 | 2.7923
2012-06-01 | 49952 | 2.9991
2012-07-01 | 21412 | 3.1173
2012-08-01 | 23517 | 3.1973
2012-09-01 | 23592 | 3.3968
2012-10-01 | 17696 | 3.364
2012-11-01 | 15954 | 3.4355
2012-12-01 | 41877 | 3.8393
2013-01-01 | 12804 | 3.5772
2013-02-01 | 13276 | 3.8135
2013-03-01 | 14241 | 4.0173
2013-04-01 | 14581 | 4.2522
2013-05-01 | 17880 | 4.2643
2013-06-01 | 20215 | 4.43
2013-07-01 | 14828 | 4.1476
2013-08-01 | 13467 | 4.2048
2013-09-01 | 13520 | 4.3126
2013-10-01 | 15508 | 4.2538
2013-11-01 | 15209 | 4.2642
2013-12-01 | 12254 | 4.6556
2014-01-01 | 12182 | 4.4352
2014-02-01 | 12178 | 4.2471
2014-03-01 | 12485 | 4.4527
2014-04-01 | 11755 | 4.3618
2014-05-01 | 14136 | 4.5202
2014-06-01 | 12659 | 4.4559
2014-07-01 | 14343 | 4.5635
2014-08-01 | 12612 | 4.6413
2014-09-01 | 14184 | 4.3964
2014-10-01 | 14658 | 4.4073
2014-11-01 | 12953 | 4.6452
2014-12-01 | 11472 | 4.9112
2015-01-01 | 9610 | 4.9037
2015-02-01 | 11131 | 4.8498
2015-03-01 | 11343 | 5.2524
2015-04-01 | 9404 | 4.7286
2015-05-01 | 9806 | 5.1075
2015-06-01 | 9986 | 5.4633
2015-07-01 | 11098 | 5.1218
2015-08-01 | 9789 | 5.001
2015-09-01 | 10057 | 4.9828
2015-10-01 | 9499 | 5.3814
2015-11-01 | 9255 | 5.1913
2015-12-01 | 8512 | 5.2596
2016-01-01 | 6518 | 4.9967
2016-02-01 | 8920 | 5.5226
2016-03-01 | 8601 | 5.4872
2016-04-01 | 8224 | 6.1016
2016-05-01 | 8455 | 5.2724
2016-06-01 | 7954 | 6.0332
2016-07-01 | 7997 | 5.5419
2016-08-01 | 9055 | 5.7042
2016-09-01 | 8600 | 5.8099
2016-10-01 | 8272 | 5.529
2016-11-01 | 10119 | 5.379
2016-12-01 | 13977 | 7.1588
2017-01-01 | 7889 | 5.3239
2017-02-01 | 10375 | 5.4778
2017-03-01 | 11221 | 5.8774
2017-04-01 | 9393 | 5.9001
2017-05-01 | 11826 | 6.2254
2017-06-01 | 11092 | 6.6036
2017-07-01 | 11859 | 6.4681
2017-08-01 | 12822 | 6.3252
2017-09-01 | 12063 | 6.5723
2017-10-01 | 12884 | 6.7335
2017-11-01 | 15242 | 6.9604
2017-12-01 | 14526 | 8.0895
2018-01-01 | 11498 | 6.3348
2018-02-01 | 13820 | 6.6632
2018-03-01 | 14901 | 6.846
2018-04-01 | 13337 | 6.9674
2018-05-01 | 15442 | 7.3643
2018-06-01 | 13896 | 7.7254
2018-07-01 | 15062 | 7.3105
2018-08-01 | 16398 | 7.4131
2018-09-01 | 16147 | 7.2405
2018-10-01 | 18704 | 7.2842
2018-11-01 | 21060 | 7.4555
2018-12-01 | 18861 | 8.5636
2019-01-01 | 15655 | 6.8596
2019-02-01 | 19673 | 7.1988
2019-03-01 | 20043 | 7.2995
2019-04-01 | 17861 | 7.3257
2019-05-01 | 19341 | 7.7908
2019-06-01 | 16009 | 8.1532
2019-07-01 | 18912 | 7.8927
2019-08-01 | 19105 | 7.7373
2019-09-01 | 19239 | 7.7153
2019-10-01 | 22552 | 7.6856
2019-11-01 | 23123 | 7.7956
2019-12-01 | 19017 | 8.1692

## Figure 1.10
Figure 1.10 - Electricity duck curves
Note: Average native demand by time of day for 2009, 2014 and 2019.
Source: AER; AEMO (data).
|  | Queensland |  |  |  | New South Wales |  |  |  | Victoria |  |  |  | South Australia |  |  |  | Tasmania
|  | 2009 | 2014 | 2019 |  | 2009 | 2014 | 2019 |  | 2009 | 2014 | 2019 |  | 2009 | 2014 | 2019 |  | 2009 | 2014 | 2019
| 0:00 | 5536.997 | 5538.7429 | 6058.6419 | 0:00 | 8331.1538 | 7554.2444 | 7784.6877 | 0:00 | 5498.9712 | 5469.8839 | 5014.5818 | 0:00 | 1697.73 | 1695.5515 | 1604.9177 | 0:00 | 1118.4265 | 1116.3129 | 1127.1289
| 0:30 | 5311.4759 | 5354.2985 | 5879.6308 | 0:30 | 8140.495 | 7384.3885 | 7630.6885 | 0:30 | 5312.1094 | 5215.4137 | 4820.1675 | 0:30 | 1668.0479 | 1637.2393 | 1579.7072 | 0:30 | 1098.9187 | 1098.6712 | 1110.836
| 1:00 | 5139.2165 | 5194.8181 | 5735.347 | 1:00 | 7936.4665 | 7189.2767 | 7463.0327 | 1:00 | 5156.5842 | 4995.4656 | 4663.5889 | 1:00 | 1624.755 | 1549.2119 | 1522.9284 | 1:00 | 1086.8142 | 1086.5062 | 1098.2846
| 1:30 | 4982.2882 | 5041.372 | 5633.6423 | 1:30 | 7708.7463 | 6960.9893 | 7253.8864 | 1:30 | 5418.0168 | 4816.2845 | 4540.9513 | 1:30 | 1526.6833 | 1455.6788 | 1438.849 | 1:30 | 1078.731 | 1076.5785 | 1088.3025
| 2:00 | 4854.4851 | 4930.969 | 5560.3558 | 2:00 | 7455.3667 | 6750.5111 | 7061.1858 | 2:00 | 5326.8675 | 4644.0045 | 4391.2745 | 2:00 | 1434.169 | 1377.5322 | 1374.4315 | 2:00 | 1072.9537 | 1069.4212 | 1082.7611
| 2:30 | 4773.713 | 4860.6723 | 5511.054 | 2:30 | 7189.6824 | 6533.7743 | 6874.0573 | 2:30 | 5132.104 | 4502.6673 | 4271.7464 | 2:30 | 1364.3318 | 1322.0881 | 1330.3822 | 2:30 | 1069.7486 | 1066.8611 | 1079.3571
| 3:00 | 4731.1558 | 4814.7664 | 5482.1339 | 3:00 | 6989.4123 | 6373.6327 | 6741.0091 | 3:00 | 4979.453 | 4401.7373 | 4191.019 | 3:00 | 1317.0674 | 1285.8108 | 1310.4534 | 3:00 | 1067.4028 | 1066.1227 | 1076.8196
| 3:30 | 4714.8911 | 4798.5496 | 5475.3597 | 3:30 | 6855.8006 | 6275.6747 | 6672.442 | 3:30 | 4877.7655 | 4347.7005 | 4157.3647 | 3:30 | 1285.6656 | 1261.3035 | 1282.3498 | 3:30 | 1068.5464 | 1067.0786 | 1078.3421
| 4:00 | 4706.247 | 4792.132 | 5471.9647 | 4:00 | 6803.3118 | 6242.8712 | 6649.9269 | 4:00 | 4813.5531 | 4329.0543 | 4146.6184 | 4:00 | 1266.9289 | 1247.5264 | 1261.9663 | 4:00 | 1070.2226 | 1069.581 | 1081.1918
| 4:30 | 4726.3929 | 4823.244 | 5504.4241 | 4:30 | 6850.2864 | 6296.2717 | 6726.2836 | 4:30 | 4814.7745 | 4366.3995 | 4189.8859 | 4:30 | 1257.441 | 1241.236 | 1250.7055 | 4:30 | 1076.9704 | 1077.5565 | 1090.6347
| 5:00 | 4774.9846 | 4878.5653 | 5556.529 | 5:00 | 6962.4921 | 6408.9819 | 6837.8567 | 5:00 | 4864.1311 | 4440.9705 | 4264.6381 | 5:00 | 1263.6938 | 1249.7142 | 1256.8888 | 5:00 | 1088.6917 | 1090.5344 | 1104.8236
| 5:30 | 4890.6624 | 4997.2003 | 5679.7705 | 5:30 | 7251.0551 | 6676.7961 | 7080.8588 | 5:30 | 5018.0771 | 4618.2206 | 4434.1661 | 5:30 | 1279.2435 | 1265.3723 | 1269.4025 | 5:30 | 1118.2921 | 1118.031 | 1134.9648
| 6:00 | 5045.1211 | 5136.9772 | 5803.75 | 6:00 | 7613.5693 | 6993.0504 | 7340.6711 | 6:00 | 5211.368 | 4825.3313 | 4625.4945 | 6:00 | 1319.0624 | 1304.9343 | 1307.8658 | 6:00 | 1158.0419 | 1152.9191 | 1170.8419
| 6:30 | 5335.6125 | 5378.8216 | 6018.8863 | 6:30 | 8053.7622 | 7401.4697 | 7699.9847 | 6:30 | 5532.4848 | 5138.4672 | 4909.1043 | 6:30 | 1372.1572 | 1350.3351 | 1348.6432 | 6:30 | 1217.0635 | 1204.0682 | 1219.5735
| 7:00 | 5675.6629 | 5634.8542 | 6219.5254 | 7:00 | 8567.3132 | 7819.0073 | 8061.0865 | 7:00 | 5836.4533 | 5446.1805 | 5154.2302 | 7:00 | 1459.2174 | 1429.2455 | 1412.7325 | 7:00 | 1276.2194 | 1253.5399 | 1264.8547
| 7:30 | 6042.3742 | 5883.0309 | 6391.2232 | 7:30 | 8914.7227 | 8099.2158 | 8295.5038 | 7:30 | 5982.6046 | 5562.0617 | 5264.378 | 7:30 | 1545.1775 | 1500.2646 | 1457.4381 | 7:30 | 1327.8755 | 1296.4127 | 1298.0706
| 8:00 | 6291.0467 | 6000.8621 | 6417.5599 | 8:00 | 9266.2048 | 8348.4238 | 8434.139 | 8:00 | 6154.4735 | 5707.9268 | 5359.9824 | 8:00 | 1595.8651 | 1523.3574 | 1468.4371 | 8:00 | 1360.6986 | 1320.549 | 1315.0961
| 8:30 | 6448.5771 | 6045.0161 | 6375.3511 | 8:30 | 9542.281 | 8522.1741 | 8486.0335 | 8:30 | 6307.2918 | 5826.6022 | 5413.1929 | 8:30 | 1655.6195 | 1549.433 | 1464.2315 | 8:30 | 1371.7245 | 1324.8938 | 1315.9395
| 9:00 | 6535.3782 | 6043.1073 | 6292.1091 | 9:00 | 9674.125 | 8573.4108 | 8426.7524 | 9:00 | 6377.4642 | 5858.9101 | 5371.4962 | 9:00 | 1702.839 | 1556.5592 | 1433.8384 | 9:00 | 1365.8008 | 1315.6835 | 1299.9573
| 9:30 | 6593.9739 | 6034.4434 | 6222.5042 | 9:30 | 9803.9758 | 8625.0838 | 8385.8464 | 9:30 | 6445.7562 | 5887.5823 | 5333.9998 | 9:30 | 1726.5681 | 1541.1649 | 1377.9758 | 9:30 | 1353.7267 | 1301.6788 | 1280.2623
| 10:00 | 6620.5807 | 5999.9031 | 6138.5113 | 10:00 | 9849.706 | 8625.8852 | 8320.0856 | 10:00 | 6468.8902 | 5873.3956 | 5261.1318 | 10:00 | 1748.1987 | 1520.6344 | 1323.7383 | 10:00 | 1338.377 | 1281.1924 | 1256.4148
| 10:30 | 6638.4893 | 5980.4949 | 6092.5641 | 10:30 | 9862.7925 | 8603.2669 | 8271.653 | 10:30 | 6484.8682 | 5858.7551 | 5197.2899 | 10:30 | 1757.4414 | 1496.6049 | 1268.1004 | 10:30 | 1319.1176 | 1261.682 | 1235.8908
| 11:00 | 6648.9685 | 5965.565 | 6063.3832 | 11:00 | 9852.7421 | 8573.4883 | 8219.2341 | 11:00 | 6491.5864 | 5841.3236 | 5142.1542 | 11:00 | 1765.2868 | 1475.0673 | 1223.2561 | 11:00 | 1302.8897 | 1245.5739 | 1216.6556
| 11:30 | 6652.0271 | 5950.3505 | 6047.5913 | 11:30 | 9811.3754 | 8515.9772 | 8165.3336 | 11:30 | 6494.008 | 5830.9188 | 5096.5962 | 11:30 | 1774.8174 | 1460.9284 | 1196.1422 | 11:30 | 1289.3222 | 1231.9845 | 1201.7145
| 12:00 | 6664.0755 | 5965.4253 | 6057.929 | 12:00 | 9776.5269 | 8480.4121 | 8142.2487 | 12:00 | 6493.2444 | 5824.9971 | 5071.8119 | 12:00 | 1785.8042 | 1457.8844 | 1178.9712 | 12:00 | 1277.4468 | 1220.2154 | 1188.2076
| 12:30 | 6668.1412 | 5980.3555 | 6086.8816 | 12:30 | 9761.4026 | 8464.0856 | 8142.6078 | 12:30 | 6494.2893 | 5818.7635 | 5057.2568 | 12:30 | 1795.1209 | 1452.5889 | 1170.733 | 12:30 | 1266.4089 | 1208.038 | 1176.9265
| 13:00 | 6669.8641 | 6007.1466 | 6129.8308 | 13:00 | 9728.6299 | 8448.4886 | 8162.2427 | 13:00 | 6488.3652 | 5809.9465 | 5052.716 | 13:00 | 1804.7662 | 1452.6612 | 1172.8654 | 13:00 | 1256.1756 | 1198.6241 | 1168.5196
| 13:30 | 6675.8304 | 6038.5973 | 6206.5448 | 13:30 | 9712.538 | 8435.9987 | 8194.0996 | 13:30 | 6502.9926 | 5830.4595 | 5082.4258 | 13:30 | 1807.4593 | 1457.5878 | 1176.5399 | 13:30 | 1249.3277 | 1193.7861 | 1165.4856
| 14:00 | 6681.8637 | 6084.5278 | 6298.3152 | 14:00 | 9681.3946 | 8432.2472 | 8238.0751 | 14:00 | 6494.6385 | 5847.3169 | 5118.3164 | 14:00 | 1824.1111 | 1473.2033 | 1191.6229 | 14:00 | 1244.8609 | 1191.2643 | 1165.1692
| 14:30 | 6684.0249 | 6136.4235 | 6403.8899 | 14:30 | 9656.4393 | 8430.7784 | 8289.6106 | 14:30 | 6472.8542 | 5848.7395 | 5152.9539 | 14:30 | 1817.5842 | 1482.6135 | 1210.4577 | 14:30 | 1251.5801 | 1198.7059 | 1174.2697
| 15:00 | 6664.7957 | 6180.9482 | 6519.1398 | 15:00 | 9646.1119 | 8456.1532 | 8391.6645 | 15:00 | 6459.3835 | 5858.1504 | 5217.5128 | 15:00 | 1812.3042 | 1494.9364 | 1239.9511 | 15:00 | 1253.1001 | 1202.6353 | 1180.1775
| 15:30 | 6656.9193 | 6229.6622 | 6653.4471 | 15:30 | 9651.8877 | 8490.0642 | 8509.5925 | 15:30 | 6461.0613 | 5885.8574 | 5308.4038 | 15:30 | 1805.2138 | 1511.8824 | 1284.7901 | 15:30 | 1256.9975 | 1208.7162 | 1191.4936
| 16:00 | 6668.5613 | 6323.2431 | 6844.7507 | 16:00 | 9684.0765 | 8562.9518 | 8664.9353 | 16:00 | 6470.2921 | 5938.3326 | 5429.4767 | 16:00 | 1801.4662 | 1537.7529 | 1339.0022 | 16:00 | 1266.9247 | 1222.8664 | 1210.6333
| 16:30 | 6685.0973 | 6422.3264 | 7036.4934 | 16:30 | 9703.6843 | 8634.5681 | 8824.6641 | 16:30 | 6478.2544 | 5993.1825 | 5566.1715 | 16:30 | 1805.4702 | 1575.4652 | 1411.8773 | 16:30 | 1285.4388 | 1245.3212 | 1236.8973
| 17:00 | 6726.1644 | 6546.0725 | 7252.5265 | 17:00 | 9784.5492 | 8762.2753 | 9031.9524 | 17:00 | 6504.4651 | 6067.8356 | 5721.611 | 17:00 | 1809.0402 | 1618.3441 | 1495.2241 | 17:00 | 1309.7434 | 1273.7399 | 1273.1768
| 17:30 | 6760.2804 | 6638.539 | 7407.0179 | 17:30 | 9879.456 | 8889.5155 | 9212.1189 | 17:30 | 6533.8976 | 6130.3718 | 5848.0423 | 17:30 | 1820.4506 | 1666.4085 | 1589.7298 | 17:30 | 1337.5946 | 1306.2158 | 1310.1726
| 18:00 | 6826.2168 | 6722.7092 | 7516.8094 | 18:00 | 10081.0501 | 9100.237 | 9442.5415 | 18:00 | 6602.1752 | 6224.1271 | 5986.5645 | 18:00 | 1842.7041 | 1720.4962 | 1681.587 | 18:00 | 1364.7935 | 1334.732 | 1342.2262
| 18:30 | 6814.0494 | 6735.2094 | 7563.7531 | 18:30 | 10109.7986 | 9134.6032 | 9492.4945 | 18:30 | 6599.1034 | 6234.3617 | 6030.889 | 18:30 | 1876.025 | 1778.3938 | 1765.9839 | 18:30 | 1373.0261 | 1343.8255 | 1353.1564
| 19:00 | 6825.7253 | 6772.8285 | 7615.0658 | 19:00 | 10050.5942 | 9081.3875 | 9433.0024 | 19:00 | 6551.0299 | 6198.5062 | 6003.2441 | 19:00 | 1889.8181 | 1807.815 | 1808.3615 | 19:00 | 1372.5974 | 1342.9956 | 1352.9172
| 19:30 | 6758.8381 | 6706.6228 | 7537.3766 | 19:30 | 9918.2192 | 8943.7725 | 9292.2256 | 19:30 | 6464.7912 | 6108.4311 | 5913.2483 | 19:30 | 1880.8222 | 1808.9912 | 1812.1626 | 19:30 | 1368.1362 | 1333.9888 | 1343.1449
| 20:00 | 6678.5494 | 6626.4108 | 7434.5775 | 20:00 | 9768.8666 | 8792.6042 | 9134.4842 | 20:00 | 6391.8705 | 6027.3074 | 5824.8336 | 20:00 | 1859.2009 | 1791.5373 | 1790.7745 | 20:00 | 1359.0335 | 1322.7793 | 1330.5149
| 20:30 | 6604.6979 | 6561.4859 | 7328.0285 | 20:30 | 9572.0066 | 8613.3294 | 8957.9012 | 20:30 | 6293.4285 | 5913.6112 | 5700.0184 | 20:30 | 1836.5532 | 1769.9481 | 1763.6211 | 20:30 | 1353.5838 | 1314.3456 | 1318.9669
| 21:00 | 6471.5612 | 6436.2499 | 7137.1485 | 21:00 | 9332.0999 | 8408.5173 | 8751.4515 | 21:00 | 6163.5956 | 5773.675 | 5549.3325 | 21:00 | 1806.8773 | 1738.2579 | 1726.5057 | 21:00 | 1331.7428 | 1292.2144 | 1296.3035
| 21:30 | 6358.6879 | 6307.0342 | 6961.1117 | 21:30 | 9144.2137 | 8255.7581 | 8571.5051 | 21:30 | 5970.8862 | 5578.2102 | 5382.5962 | 21:30 | 1765.6119 | 1694.8328 | 1679.5674 | 21:30 | 1303.4476 | 1264.9353 | 1269.2542
| 22:00 | 6158.5791 | 6154.6496 | 6779.8062 | 22:00 | 8904.7434 | 8060.7129 | 8366.2964 | 22:00 | 5765.0699 | 5376.409 | 5205.4255 | 22:00 | 1714.9381 | 1645.538 | 1626.8413 | 22:00 | 1266.9777 | 1231.8758 | 1237.1043
| 22:30 | 5961.2881 | 5959.7323 | 6625.381 | 22:30 | 8832.8049 | 7984.0219 | 8246.9868 | 22:30 | 5580.9547 | 5231.0228 | 5017.251 | 22:30 | 1655.4073 | 1587.8872 | 1564.7727 | 22:30 | 1224.3519 | 1198.154 | 1203.7636
| 23:00 | 5810.8521 | 5805.9736 | 6504.074 | 23:00 | 8680.7469 | 7828.8867 | 8065.2102 | 23:00 | 5431.7273 | 5170.681 | 4900.2153 | 23:00 | 1617.1724 | 1544.0431 | 1513.6892 | 23:00 | 1182.0007 | 1165.9134 | 1171.0967
| 23:30 | 5693.1028 | 5679.5871 | 6285.0172 | 23:30 | 8499.882 | 7672.6626 | 7902.2509 | 23:30 | 5591.0018 | 5383.7071 | 4993.7455 | 23:30 | 1572.0907 | 1495.8022 | 1469.5014 | 23:30 | 1145.0578 | 1137.2828 | 1146.2579
| 0:00 | 5536.997 | 5538.7429 | 6058.6419 | 0:00 | 8331.1538 | 7554.2444 | 7784.6877 | 0:00 | 5498.9712 | 5469.8839 | 5014.5818 | 0:00 | 1697.73 | 1695.5515 | 1604.9177 | 0:00 | 1118.4265 | 1116.3129 | 1127.1289

## Figure 1.11
Figure 1.11 - Coal plant outages as a share of capacity
A high resolution version of this figure is available on request. Please email: AERinquiry@aer.gov.au

## Figure 1.12
Figure 1.12 - NEM mainland frequency excursions
Source: AEMC Reliability Panel, 2019 annual market performance review, Final report, March 2020.
| Minutes outside +-0.15 Hz | Minutes outside +-0.25 Hz
2011-01-01 | 10.6667 | 1.1333
2011-02-01 | 9.3333 | 2.9333
2011-03-01 | 2.7333 | 2.4
2011-04-01 | 9.8 | 3.3333
2011-05-01 | 10.4 | 7.6
2011-06-01 | 4.8 | 2.6
2011-07-01 | 9.1333 | 8.8667
2011-08-01 | 5.3333 | 5.2
2011-09-01 | 8.0667 | 3.9333
2011-10-01 | 8.4 | 3.3333
2011-11-01 | 27.8 | 3.5333
2012-01-01 | 5.6667 | 2.4
2012-02-01 | 0.4 | 3.2
2012-03-01 | 1.6 | 5.4667
2012-04-01 | 1.6 | 2.8667
2012-05-01 | 2.7333 | 11.2667
2012-06-01 | 5.4667 | 5.8
2012-07-01 | 15.8667 | 3.2
2012-08-01 | 2.3333 | 2.4667
2012-09-01 | 15.4667 | 2.7333
2012-10-01 | 15.8667 | 5.1333
2012-11-01 | 16.2 | 2.4667
2012-12-01 | 4.4667 | 3.4667
2013-01-01 | 3.4667 | 2.3333
2013-02-01 | 4.2667 | 3.1333
2013-03-01 | 1.2 | 2.3333
2013-04-01 | 7.2667 | 4.0667
2013-05-01 | 0.8 | 3
2013-06-01 | 0.26667 | 2.4
2013-07-01 | 5.3333 | 2.5333
2013-08-01 | 0.33333 | 3
2013-09-01 | 1.2667 | 2.4667
2013-10-01 | 0.66667 | 4.8
2013-11-01 | 4 | 2.6
2013-12-01 | 14.2 | 2.5333
2014-01-01 | 2.0667 | 2.3333
2014-02-01 | 1.8667 | 3.2667
2014-03-01 | 2.5333 | 4.4667
2014-04-01 | 10.4 | 3.4667
2014-05-01 | 9.0667 | 3.2667
2014-06-01 | 5.1333 | 2.4
2014-07-01 | 7.1333 | 3.4
2014-08-01 | 6.2 | 2.9333
2014-09-01 | 20.6667 | 3.8667
2014-10-01 | 7.6667 | 3.8
2014-11-01 | 23 | 5.2
2014-12-01 | 11.2 | 2.5333
2015-01-01 | 5.2667 | 3.8
2015-02-01 | 11.2667 | 5
2015-03-01 | 15.9333 | 4.4
2015-04-01 | 23.8 | 5.2
2015-05-01 | 14.6 | 7.9333
2015-06-01 | 9.6667 | 56.2
2015-07-01 | 14.1333 | 4.6667
2015-08-01 | 13.8 | 5.9333
2015-09-01 | 28.2667 | 4.1333
2015-10-01 | 34 | 4.7333
2015-11-01 | 50.9333 | 11.2667
2015-12-01 | 24.4667 | 7.1333
2016-01-01 | 16.7333 | 3.6
2016-02-01 | 16.1333 | 6.4667
2016-03-01 | 28.4 | 4
2016-04-01 | 15.4 | 10.7333
2016-05-01 | 41.7333 | 3.4667
2016-06-01 | 97 | 6.2
2016-07-01 | 88.8 | 2.8
2016-08-01 | 26.2 | 5.8
2016-09-01 | 61 | 3.7333
2016-10-01 | 72.2 | 4.9333
2016-11-01 | 95.2 | 4.1333
2016-12-01 | 169.8 | 6.7333
2017-01-01 | 166.0667 | 1.6667
2017-02-01 | 166.9333 | 2.8667
2017-03-01 | 243.4667 | 3.8
2017-04-01 | 230.2667 | 1.6
2017-05-01 | 97.4667 | 12.2667
2017-06-01 | 73.2 | 3.5333
2017-07-01 | 265.8667 | 3.7333
2017-08-01 | 180.9333 | 3
2017-09-01 | 322.6 | 2.6667
2017-10-01 | 427.6667 | 2.8667
2017-11-01 | 276.4 | 3.8667
2017-12-01 | 186.3333 | 3.2667
2018-01-01 | 180.4 | 2.5333
2018-02-01 | 174 | 2.2
2018-03-01 | 265.7333 | 6.0667
2018-04-01 | 275.5333 | 5.4
2018-05-01 | 234.4667 | 3.4
2018-06-01 | 202.8 | 4.3333
2018-07-01 | 276.6 | 2.4667
2018-08-01 | 268.2667 | 5.1333
2018-09-01 | 350.0667 | 3.2
2018-10-01 | 363.4 | 0.8
2018-11-01 | 481.8 | 1.2667
2018-12-01 | 316.2 | 1.6667
2019-01-01 | 519.1333 | 0.6
2019-02-01 | 605.4 | 2.5333
2019-03-01 | 599.8667 | 1.6667
2019-04-01 | 295.4 | NA
2019-05-01 | 216.8667 | 0.26667
2019-06-01 | 166.7333 | 0.4

## Figure 1.13
Figure 1.13 - Frequency control ancillary service costs
Note: South Australia’s local frequency control ancillary service (FCAS) costs rose from late 2015 through to 2017 as a result of stricter requirements for localised sourcing of those services in that period, and fewer participants offering FCAS.
Source: AER.
FCAS costs (dollars)
| Rasie 6 sec | Raise 60 sec | Raise 5 min | Raise regulation | Lower 6 sec | Lower 60 sec | Lower 5 min | Lower regulation
2001-01-01 | 43433219.69 | 3522897.97 | 5264532.48 | 2485501.96 | 104423.16 | 303707.65 | 17167455.15 | 2168797.38
2002-01-01 | 13969536.28 | 7710385.09 | 7832925.94 | 6889446.98 | 3419527.04 | 5134082.62 | 9640246.68 | 5642522.85
2003-01-01 | 8847073.63 | 3953354.61 | 3330373.16 | 4567018.66 | 447248.03 | 772416.92 | 1395925.59 | 4965918.96
2004-01-01 | 8117052.28 | 4157856.08 | 5713326.93 | 2124803.66 | 786625.96 | 1275208.58 | 3484061.05 | 2022961.51
2005-01-01 | 9080151.36 | 3006563.63 | 4345907.82 | 2067879.11 | 2352314.67 | 2275118.27 | 5811485.92 | 2418912.19
2006-01-01 | 3508690.8 | 976323.93 | 4231129.97 | 2543037.3 | 4409130.74 | 559685.27 | 1800733.88 | 1444484.63
2007-01-01 | 17244528.37 | 7009055.1 | 17546221.14 | 6778951.94 | 6724849.05 | 4157051.71 | 8094964.06 | 2199152.32
2008-01-01 | 35411312.25 | 43314928.3 | 56007628.56 | 1562295.57 | 3274515.98 | 1217417.26 | 3137192.38 | 1761411.57
2009-01-01 | 4424237.93 | 891035.54 | 2227600.83 | 1067656.95 | 1101589.29 | 849207.5 | 679435.22 | 1212519.17
2010-01-01 | 8568336.98 | 1885639.55 | 3881029.13 | 2070845.64 | 4316449.83 | 6093208.89 | 1050315.22 | 1587920.06
2011-01-01 | 5803914.91 | 4023334.12 | 8291092.97 | 3895866.89 | 4338419.02 | 5661339.18 | 1691375.32 | 3680424.44
2012-01-01 | 5754824.81 | 3674461 | 6325782.4 | 3169880.48 | 799269.57 | 1868328.05 | 1335092.59 | 1728585.79
2013-01-01 | 4367759.7 | 2482947.92 | 4406086.69 | 2096459.77 | 3380579.03 | 2803367.01 | 774533.62 | 2500314.62
2014-01-01 | 7514551.32 | 3423639.18 | 6679235.16 | 3280429.74 | 4561985.74 | 774453.39 | 1913317.5 | 2978492.19
2015-01-01 | 8535424.25 | 4331372.04 | 7047808.4 | 17375484.78 | 5688792.5 | 2164320.98 | 2579166.38 | 15120284.21
2016-01-01 | 23955824 | 11596741.73 | 12627528.32 | 39208360.47 | 2406411.83 | 437816.44 | 1425959.27 | 28860129.8
2017-01-01 | 53263111.41 | 20587285.83 | 35290158.16 | 57652306.88 | 406824.38 | 315886.01 | 658072.16 | 45880939.53
2018-01-01 | 49866536.48 | 31142908.43 | 65690796.84 | 45396552.03 | 3237720.94 | 3540446.52 | 1676363.1 | 16190997.35
2019-01-01 | 42734554.07 | 26508509.43 | 10918570.85 | 93644904.94 | 8647355.64 | 6310215.77 | 989917.63 | 33117016.38

## Figure 1.14
Figure 1.14 - System security directions
Source: AEMO.
Per cent of time directed
|  | South Australia | Victoria
2017 | Q3 | 4 | 0
| Q4 | 12.5 | 0
2018 | Q1 | 17.5 | 0
| Q2 | 44.9 | 0
| Q3 | 28.7 | 0
| Q4 | 13.2 | 1.9
2019 | Q1 | 5.4 | 0
| Q2 | 13.3 | 0
| Q3 | 17.5951 | 0
| Q4 | 28.8308 | 0

## Figure 1.15
Figure 1.15 - Curtailment of renewable generation
MW, megawatt; VRE, variable renewable energy.
Source: AEMO, Quarterly energy dynamics Q4 2019, February 2020.
|  | SA wind constraint | Negative prices | VIC/NSW solar constraint | Other (network and constraints) | Per cent curtailed (RHS)
2018 | Q3 | 49.3 | 8.9 |  | 7.6 | 2.9
| Q4 | 14.5 | 1.5 |  | 4.1 | 1
2019 | Q1 | 3.9 | 0.5 |  | 16 | 1
| Q2 | 12.7 | 3.8 |  | 28.3 | 1.9
| Q3 | 30.4 | 26.9 | 14.1543 | 58 | 4.4
| Q4 | 30.9 | 21.1 | 74.5372 | 54.8 | 5.9

## Figure 1.16
Figure 1.16 - Two year change in marginal loss factors, 2018–19 to 2020–21
A high resolution version of this figure is available on request. Please email: AERinquiry@aer.gov.au

## Figure 1.17
Figure 1.17 - Projected assignment of cost-reflective tariffs for residential customers
Source: AER estimates based on distribution network business data.
Per cent of customers facing cost reflective network customers
| 2017–18 | 2018–19 | 2019–20 | 2020–21 | 2021–22 | 2022–23 | 2023–24 | 2024–25
Ausgrid (NSW) | 21.6574 | 21.4826 | 25.1345 | 31.3655 | 37.4566 | 43.6044 | 49.6376
Endeavour Energy (NSW) | 0.0078608 | 0.016241 | 4.4305 | 12.1656 | 22.3292 | 34.5821 | 48.8052
Essential Energy (NSW) | 2.9655 | 3.1209 | 8.6628 | 16.2021 | 20.6779 | 25.0885 | 29.4164
Evoenergy (ACT) | 21.0797 | 24.7827 | 28.1927 | 31.3678 | 34.392 | 37.2758 | 40.0287
SA Power Networks (SA) | 0 | 0 | 0 | 27.2341 | 33.1702 | 38.8462 | 44.4264 | 49.9124
TasNetworks (Tas) | 1.5671 | 2.2399 | 9.4137 | 16.9692 | 24.6197 | 32.0858 | 39.511
Power & Water (NT) | 0 | 0 | 15.8595 | 20.7607 | 25.7157 | 30.4763 | 34.9461
Energex (Qld) | 0 | 0 | 0 | 23 | 29 | 34 | 41 | 48
Ergon Energy (Qld) | 4 | 3 | 3 | 5 | 14 | 19 | 23 | 27

## Figure 1.18
Figure 1.18 - Snowy 2.0
A high resolution version of this figure is available on request. Please email: AERinquiry@aer.gov.au