## Contents
State of the energy market 2021
Chapter 1 The electricity market in transition
This document contains the figures from State of the energy market 2021, chapter 1
Figure 1.1 Australia's carbon emissions
Figure 1.2 Entry and exit of generation capacity in the National Electricity Market
Figure 1.3 Forecast changes in generation capital costs
Figure 1.4 Coal plant outages as a share of capacity
Figure 1.5 Scheduled closure profile of coal fired generators
Figure 1.6 Generation capacity, by technology
Figure 1.7 Renewable generation in the National Electricity Market
Figure 1.8 Changing generation profile, by time of day, 2010–2020
Figure 1.9 Hourly ramping of wind and solar generation
Figure 1.10 Growth of solar photovoltaic installations in the National Electricity Market
Figure 1.11 Electricity duck curves
Figure 1.12 System security directions
Figure 1.13 Curtailment of renewable generation
Figure 1.14 Proportion of time National Electricity Market mainland frequency is within normal operating band
Figure 1.15 Frequency control ancillary service costs
Figure 1.16 Renewable energy zones

## Figure 1.1
Figure 1.1 Australia's carbon emissions
Mt CO2-e: million metric tonnes of carbon dioxide equivalent.
Note: Electricity sector emissions exclude stationary energy, transport and fugitive emissions. The 2030 target is based on Australia’s Paris commitment of a 26% reduction on 2005 emissions levels and assumes a proportional contribution by the electricity sector. Projected 2030 emissions are as forecast by the Department of Industry, Science, Energy and Resources in December 2020 in the absence of policy intervention.
Source: Department of Industry, Science, Energy and Resources, Quarterly update of Australia’s national greenhouse gas inventory, June 2020; Department of the Environment and Energy, Australia’s emissions projections, December 2020.
| Electricity sector | Other sectors
2008–09 | 211.7 | 402.5
2009–10 | 205.1 | 386.2
2010–11 | 198.5 | 371.9
2011–12 | 199.1 | 354.2
2012–13 | 187.1 | 352
2013–14 | 180.7 | 357.4
2014–15 | 189 | 347.9
2015–16 | 194.7 | 328.8
2016–17 | 189.8 | 336
2017–18 | 183.1 | 349.5
2018–19 | 179.3 | 350.2
2019–20 | 171.7 | 341.8
2030 projected | 111 | 367
2030 target | 146.15 | 306.878
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
| 176 | 180 | 183 | 185 | 187 | 181 | 173 | 174 | 161 | 155 | 161 | 166 | 161 | 154 | 150 | 142 | 131 | 120 | 111 | 106 | 106 | 103 | 101 | 98 | 93 | 88
| 11 | 12 | 11 | 10 | 12 | 12 | 13 | 13 | 13 | 13 | 13 | 13 | 12 | 12 | 11 | 12 | 10 | 9 | 9 | 9 | 8 | 8 | 8 | 8 | 7 | 7
[13 empty] | 13 | 14 | 15 | 14 | 14 | 15 | 15 | 14 | 14 | 15 | 15 | 15 | 14 | 14
[13 empty] | 4 | 4 | 4 | 4 | 3 | 3 | 3 | 3 | 2 | 2 | 2 | 2 | 2 | 2
| 10 | 9 | 10 | 11 | 12 | 11 | 12 | 12 | 13 | 13 | 15 | 16

## Figure 1.2
Figure 1.2 Entry and exit of generation capacity in the National Electricity Market
Note: Capacity includes scheduled and semi-scheduled generation, but not non-scheduled or rooftop PV capacity. 2020–21 data are at 31 March 2021. Investment and closures expected between 1 April and 30 June 2021 are shown as shaded components.
Source: AER; AEMO (data).
Megawatts
| Black coal | Brown coal | Gas | Hydro | Wind | Solar | Battery | Other | Committed solar | Committed wind | Committed battery | Expected closure gas
2013–14 | -500 | -240 |  |  | 566
2014–15 | -500 | -90 |  |  | 325 | 102
2015–16 | -336 | -530 |  |  | 102 | 110 |  | 129
2016–17 |  | -1640 |  |  | 343
2017–18 |  |  |  | 70 | 978 | 465 | 100 | 123
2018–19 |  |  |  |  | 1626 | 2401 | 90
2019–20 |  |  | 211 |  | 1026 | 757 | 25
2020–21 |  |  | -240 |  | 1018 | 1881 | 50 |  | 156 | 617 | 30 | -30

## Figure 1.3
Figure 1.3 Forecast changes in generation capital costs
CCS: carbon capture and storage; CCGT: combined cycle gas turbine; OCGT: open cycle gas turbine; PV: photovoltaic.
Source: CSIRO, GenCost 2020–21, consultation draft, December 2020.
| 2020–21 | 2030–31 | 2040–41
Black Coal | 4.45 | 4.362 | 4.275
Black Coal with CCS | 9.311 | 9.171 | 9.034
OCGT (small) | 1.55 | 1.519 | 1.489
OCGT (large) | 0.961 | 0.942 | 0.923
CCGT | 1.801 | 1.765 | 1.73
CCGT with CCS | 4.461 | 4.417 | 4.374
Biomass | 8.619 | 8.606 | 8.606
Solar PV | 1.408 | 0.874 | 0.727
Solar thermal (8 hours) | 7.411 | 6.732 | 6.224
Battery storage (1 hour) | 0.827 | 0.63 | 0.563
Battery storage (8 hours) | 3.368 | 2.008 | 1.688
Wind | 1.7187 | 1.5942 | 1.447
Wind – offshore | 5.5231 | 4.6161 | 4.0755

## Figure 1.4
Figure 1.4 Coal plant outages as a share of capacity
Source: AEMO, 2020 electricity statement of opportunities, August 2020.
| 2010–11 | 2011–12 | 2012–13 | 2013–14 | 2014–15 | 2015–16 | 2016–17 | 2017–18 | 2018–19 | 2019–20
Queensland (Black coal) | 5.344% | 6.25% | 5.711% | 4.707% | 8.988% | 3.933% | 5.114% | 5.64% | 4.686% | 7.46%
NSW (Black coal) | 6.669% | 11.16% | 11.23% | 13.49% | 12.64% | 11.42% | 10.29% | 11.37% | 11.12% | 16.5%
Victoria (Brown coal) | 2.848% | 4.922% | 5.616% | 4.852% | 5.019% | 7.224% | 7.197% | 8.071% | 7.736% | 15.09%

## Figure 1.5
Figure 1.5 Scheduled closure profile of coal fired generators
Source: AEMO, 2020 Integrated System Plan, July 2020. Data updated for recent market announcements.
Retiring capacity
| 2021–22 | 2022–23 | 2023–24 | 2024–25 | 2025–26 | 2026–27 | 2027–28 | 2028–29 | 2029–30 | 2030–31 | 2031–32 | 2032–33 | 2033–34 | 2034–35 | 2035–36 | 2036–37 | 2037–38 | 2038–39 | 2039–40 | 2040–41 | 2041–42
Queensland | [7 empty] | 700 | [6 empty] | 1680 | 700 | 1150
NSW | 500 | 1500 | [6 empty] | 1320 | 720 | 720 | 1440 |  |  | 2740
Victoria | [7 empty] | 1450
Remaining | 22500 | 21000 | 21000 | 21000 | 21000 | 21000 | 21000 | 18850 | 17530 | 16810 | 16090 | 14650 | 14650 | 14650 | 10230 | 9530 | 8380 | 8380 | 8380 | 8380 | 8380

## Figure 1.6
Figure 1.6 Generation capacity, by technology
Note: January (summer) capacity.
Source: AER; AEMO (data).
| Black coal | Brown coal | Gas | Hydro | Wind | Solar farms | Battery | Other dispatched | Rooftop solar | Total
2010 | 20470 | 7305 | 9592 | 7634.1 | 480.3 | 0 | 0 | 679 | 106.7457 | 46160.4
2015 | 19759.8 | 7235 | 10038.7 | 7568.4 | 2457.7 | 157 | 0 | 926 | 3586.3147 | 48142.6
2021 | 18389 | 4690 | 10436 | 7609 | 7389 | 5549 | 265 | 887 | 11410.7548 | 55214

## Figure 1.7
Figure 1.7 Renewable generation in the National Electricity Market
Source: AER; AEMO (data).
| Wind | Solar farms | Battery | Rooftop solar
2006 | 0.5521% | 0% | 0% | 0.003092%
2007 | 0.6906% | 0% | 0% | 0.004048%
2008 | 1.105% | 0% | 0% | 0.007552%
2009 | 1.674% | 0% | 0% | 0.02099%
2010 | 2.14% | 0% | 0% | 0.07417%
2011 | 2.749% | 0% | 0% | 0.3346%
2012 | 3.139% | 0% | 0% | 0.856%
2013 | 4.023% | 0% | 0% | 1.489%
2014 | 4.309% | 0% | 0% | 2.036%
2015 | 4.993% | 0.09172% | 0% | 2.512%
2016 | 5.502% | 0.2371% | 0% | 3.009%
2017 | 5.608% | 0.3137% | 0.009986% | 3.352%
2018 | 7.02% | 0.9177% | 0.02036% | 4.003%
2019 | 8.24% | 2.488% | 0.03278% | 5.178%
2020 | 9.687% | 3.299% | 0.04203% | 6.438%

## Figure 1.8
Figure 1.8 Changing generation profile, by time of day, 2010–2020
Note: Comparison of average generation by time of day in 2010 and 2020. The 2010 rooftop PV generation is estimated using the average 2010 daily generation, allocated to intervals using 2020 proportions.
Source: AER; AEMO (data).
Difference – 2020 compared to 2010
| Black coal | Brown coal | Gas | Hydro | Wind | Solar farms | Battery | Other | Rooftop solar
0:00 | -293.9513 | -2468.2542 | -537.547 | 361.0291 | 1989.559 |  | 6.4397 | 79.4573
0:30 | -213.3019 | -2423.9277 | -577.5919 | 370.0031 | 1986.3569 |  | 6.7369 | 79.8457
1:00 | -84.8224 | -2373.9128 | -635.7126 | 312.7455 | 1985.2357 |  | 5.6274 | 80.3945
1:30 | -91.6336 | -2392.2428 | -748.1729 | 190.6845 | 1976.6324 |  | 4.2254 | 80.447
2:00 | 26.853 | -2363.0059 | -764.9786 | 131.2606 | 1963.8253 |  | 3.5046 | 80.4739
2:30 | 167.5198 | -2298.5195 | -765.1705 | 122.8743 | 1946.2416 |  | 3.2035 | 80.3394
3:00 | 288.1164 | -2251.3122 | -753.3683 | 107.4366 | 1925.6965 |  | 2.6133 | 79.6569
3:30 | 391.7595 | -2225.3373 | -751.5917 | 89.4914 | 1917.2452 |  | 2.4299 | 79.6457
4:00 | 463.6123 | -2210.4899 | -758.3145 | 82.8708 | 1901.7931 |  | 2.7117 | 79.769
4:30 | 491.35 | -2209.3169 | -743.0413 | 94.041 | 1891.9188 |  | 3.4788 | 79.8867
5:00 | 461.5187 | -2221.4706 | -728.2755 | 117.9096 | 1891.1541 |  | 3.9789 | 79.9667 | 0.98023
5:30 | 352.7459 | -2267.1128 | -685.0208 | 155.6065 | 1880.1072 | 3.6004 | 6.9739 | 79.9176 | 22.5517
6:00 | 134.1566 | -2321.7216 | -694.0631 | 202.8921 | 1871.6851 | 45.8187 | 8.9626 | 79.5567 | 101.4774
6:30 | -194.6161 | -2393.7413 | -769.0122 | 247.2565 | 1842.7071 | 182.3892 | 11.6168 | 78.7538 | 275.4612
7:00 | -609.72 | -2463.8228 | -943.9001 | 223.4189 | 1799.6407 | 432.1062 | 12.1798 | 76.9414 | 581.0782
7:30 | -932.9918 | -2495.1294 | -1135.3474 | 27.6093 | 1744.047 | 790.0372 | 9.6091 | 76.4928 | 1037.1136
8:00 | -1419.3947 | -2520.1423 | -1260.6322 | -193.4368 | 1687.6894 | 1171.5705 | 10.2645 | 75.3348 | 1606.0054
8:30 | -1862.7198 | -2548.1257 | -1409.8607 | -396.5751 | 1633.7745 | 1487.6854 | 12.3758 | 74.8279 | 2239.2876
9:00 | -2208.341 | -2570.612 | -1576.733 | -564.1505 | 1579.806 | 1698.0677 | 11.1298 | 73.8432 | 2862.5663
9:30 | -2544.6026 | -2580.4769 | -1732.306 | -714.4494 | 1538.9831 | 1853.9934 | 8.9945 | 72.9328 | 3430.2879
10:00 | -2787.245 | -2602.6048 | -1847.8768 | -844.5965 | 1510.6631 | 1941.1737 | 6.6986 | 70.7167 | 3901.146
10:30 | -2948.8814 | -2621.4891 | -1939.4853 | -936.5257 | 1488.748 | 1987.5256 | 7.0632 | 69.2369 | 4278.9121
11:00 | -3074.2997 | -2627.4191 | -1997.7432 | -1012.2545 | 1476.9083 | 2011.7886 | 7.5148 | 68.4579 | 4547.7898
11:30 | -3130.6665 | -2633.3314 | -2033.8333 | -1059.0255 | 1461.1177 | 2013.1084 | 6.944 | 67.2372 | 4734.9458
12:00 | -3122.247 | -2640.3172 | -2046.8704 | -1077.7516 | 1450.2665 | 2005.2102 | 7.4867 | 66.2645 | 4824.5832
12:30 | -3073.9617 | -2643.9794 | -2052.9552 | -1082.2448 | 1444.1147 | 1995.3905 | 6.7135 | 65.2971 | 4839.0193
13:00 | -2995.6904 | -2647.3414 | -2041.9088 | -1094.5404 | 1442.6776 | 1983.8447 | 7.5922 | 63.7871 | 4761.3058
13:30 | -2915.7036 | -2638.6926 | -2011.2905 | -1095.6042 | 1447.3653 | 1962.1964 | 7.339 | 63.4867 | 4615.9509
14:00 | -2790.7667 | -2626.0425 | -1974.6803 | -1061.7318 | 1448.9568 | 1941.0727 | 7.4761 | 62.771 | 4365.8168
14:30 | -2600.9688 | -2615.2545 | -1919.2287 | -1004.5913 | 1463.7258 | 1904.1308 | 8.3497 | 62.408 | 4018.9473
15:00 | -2324.0229 | -2600.9783 | -1841.8918 | -920.3269 | 1481.2758 | 1843.8513 | 9.351 | 61.9837 | 3571.8818
15:30 | -2024.9482 | -2594.0091 | -1711.1359 | -812.3508 | 1504.6371 | 1758.3089 | 10.1614 | 62.5366 | 3045.1146
16:00 | -1698.5624 | -2576.7197 | -1526.2678 | -675.1226 | 1527.4072 | 1642.1996 | 12.0648 | 62.694 | 2444.8208
16:30 | -1313.0622 | -2566.5136 | -1317.1237 | -494.8496 | 1552.3946 | 1439.1233 | 18.4315 | 64.9935 | 1807.5276
17:00 | -884.6563 | -2559.8499 | -1055.1199 | -235.6754 | 1572.0049 | 1137.3708 | 21.2395 | 67.8183 | 1200.4879
17:30 | -556.5577 | -2538.5983 | -745.7795 | 63.0938 | 1591.2747 | 751.9105 | 21.0827 | 72.632 | 704.5807
18:00 | -410.9764 | -2507.6341 | -461.8034 | 323.4882 | 1614.7705 | 404.2976 | 22.044 | 76.1967 | 364.7607
18:30 | -367.1982 | -2497.8729 | -254.7967 | 481.8501 | 1659.5854 | 174.0781 | 19.6115 | 78.6698 | 162.4265
19:00 | -372.4364 | -2501.5014 | -157.2818 | 536.5222 | 1710.6462 | 55.6 | 18.9788 | 80.1943 | 59.1421
19:30 | -425.524 | -2506.8812 | -167.2635 | 510.4032 | 1768.8918 | 10.1732 | 17.5164 | 80.3292 | 15.5298
20:00 | -499.1262 | -2524.2682 | -176.0547 | 420.8148 | 1828.6754 | 0.56117 | 15.2463 | 78.7487 | 1.6212
20:30 | -504.4595 | -2535.816 | -198.7505 | 316.2437 | 1881.8491 |  | 13.9461 | 77.0007
21:00 | -445.2316 | -2532.8353 | -316.8751 | 239.9166 | 1916.2102 |  | 12.0684 | 76.0229
21:30 | -397.1423 | -2519.0408 | -435.8753 | 216.4879 | 1947.1523 |  | 11.4031 | 75.7757
22:00 | -292.8212 | -2495.7157 | -549.0209 | 249.7892 | 1967.2206 |  | 9.3752 | 75.7882
22:30 | -328.6298 | -2491.9794 | -543.3737 | 305.4934 | 1976.0465 |  | 9.8122 | 76.6467
23:00 | -355.9453 | -2473.4639 | -512.382 | 347.0292 | 1981.2176 |  | 5.7221 | 78.839
23:30 | -386.623 | -2477.2853 | -528.8691 | 313.808 | 1986.2093 |  | 8.5267 | 78.6947
0:00 | -293.9513 | -2468.2542 | -537.547 | 361.0291 | 1989.559 |  | 6.4397 | 79.4573

## Figure 1.9
Figure 1.9 Hourly ramping of wind and solar generation
Note: Monthly top 1% of up and down 60 minute ramps in the National Electricity Market.
Source: AEMO, unpublished data.
| Upward ramping |  |  | Downward ramping
| Wind | Solar | Rooftop solar | Wind | Solar | Rooftop solar | Ramping requirement
2018-01-01 | 391.0848 | 65.7801 | 895.2951 | -378.2176 | -71.687 | -906.621 | -949.6301 | 984.4575
2018-02-01 | 445.2438 | 85.5155 | 869.4485 | -362.8978 | -83.7426 | -915.6743 | -1015.3335 | 966.1124
2018-03-01 | 329.618 | 95.0795 | 827.4868 | -323.3558 | -92.1141 | -883.0714 | -1016.4962 | 911.2203
2018-04-01 | 315.5459 | 129.9004 | 823.5487 | -341.4583 | -118.7267 | -853.5509 | -1059.2432 | 919.0126
2018-05-01 | 337.9605 | 122.1588 | 801.973 | -334.2998 | -115.2684 | -791.1014 | -975.064 | 810.4088
2018-06-01 | 323.2674 | 120.5296 | 802.2271 | -293.313 | -114.2531 | -798.0905 | -956.916 | 833.4385
2018-07-01 | 329.3305 | 165.9182 | 902.3176 | -283.4635 | -157.7782 | -949.1652 | -1122.8803 | 997.0208
2018-08-01 | 331.7441 | 208.4586 | 1020.15 | -340.1117 | -201.7249 | -1006.0092 | -1213.2092 | 1142.8599
2018-09-01 | 349.4577 | 274.1242 | 1074.498 | -351.0857 | -281.7317 | -1126.7952 | -1390.3125 | 1277.5789
2018-10-01 | 382.9137 | 289.7087 | 983.4229 | -356.6665 | -299.7216 | -1095.9057 | -1340.5919 | 1162.7243
2018-11-01 | 461.7933 | 455.8075 | 1009.4376 | -449.3311 | -410.5761 | -1072.6582 | -1379.4088 | 1331.963
2018-12-01 | 451.033 | 489.9933 | 1059.5792 | -391.595 | -416.0597 | -1080.1086 | -1322.1801 | 1433.7561
2019-01-01 | 475.0548 | 492.8604 | 1054.8803 | -416.6679 | -384.0631 | -1086.6901 | -1315.3007 | 1369.3535
2019-02-01 | 400.4665 | 515.4084 | 1038.5494 | -444.4886 | -530.722 | -1099.2161 | -1387.8134 | 1429.0468
2019-03-01 | 440.8595 | 531.1332 | 1052.7293 | -418.4702 | -482.899 | -1071.714 | -1524.3389 | 1445.4462
2019-04-01 | 504.4286 | 627.457 | 1117.9681 | -392.0623 | -559.153 | -1109.9295 | -1481.6924 | 1574.9211
2019-05-01 | 360.2699 | 607.8737 | 1013.9618 | -368.3468 | -561.6789 | -1056.2374 | -1520.3686 | 1492.9552
2019-06-01 | 373.4958 | 536.6647 | 978.6994 | -350.155 | -621.5007 | -943.4508 | -1508.5548 | 1313.1862
2019-07-01 | 411.6735 | 537.9585 | 1099.2781 | -400.7662 | -621.2434 | -1137.1495 | -1633.6206 | 1416.8369
2019-08-01 | 384.0501 | 830.1013 | 1279.2105 | -355.1183 | -819.1282 | -1273.5422 | -1937.8133 | 1887.6411
2019-09-01 | 454.5565 | 691.46 | 1327.334 | -354.6937 | -522.4148 | -1368.0322 | -1808.8585 | 1795.0407
2019-10-01 | 403.038 | 790.3561 | 1329.6499 | -382.8034 | -680.7543 | -1401.1934 | -1842.1933 | 1925.455
2019-11-01 | 471.9634 | 850.7639 | 1374.0804 | -407.4579 | -811.6566 | -1360.4943 | -1943.6011 | 1998.1744
2019-12-01 | 543.507 | 831.1426 | 1372.2791 | -418.4069 | -748.5468 | -1394.4929 | -1898.3812 | 1993.7048
2020-01-01 | 461.8049 | 795.7677 | 1306.2286 | -395.9728 | -628.2657 | -1354.8935 | -1631.1686 | 1813.4986
2020-02-01 | 397.7383 | 870.0171 | 1358.8439 | -308.3227 | -730.3223 | -1335.4607 | -1800.4726 | 1947.6207
2020-03-01 | 416.9742 | 903.0484 | 1559.4744 | -368.6728 | -865.3085 | -1490.0085 | -2082.086 | 2210.8481
2020-04-01 | 443.9805 | 978.4297 | 1460.3998 | -422.0158 | -952.7259 | -1492.186 | -2212.8098 | 2161.7714
2020-05-01 | 474.3901 | 1001.3643 | 1439.0332 | -423.9511 | -941.8513 | -1364.1684 | -2116.1405 | 2153.9803
2020-06-01 | 515.156 | 844.1719 | 1304.5387 | -390.6572 | -832.0636 | -1280.6986 | -1861.5751 | 1912.5218
2020-07-01 | 414.2397 | 938.829 | 1336.0685 | -379.3076 | -1010.5383 | -1356.5735 | -2173.2994 | 2003.9929
2020-08-01 | 428.7509 | 1036.5086 | 1611.0642 | -358.6444 | -1008.1598 | -1621.4997 | -2451.6371 | 2330.253
2020-09-01 | 500.3917 | 1115.5762 | 1673.6673 | -395.4711 | -1042.6638 | -1664.4712 | -2441.5463 | 2471.9828
2020-10-01 | 478.6667 | 1049.2011 | 1666.4908 | -412.8509 | -996.6711 | -1666.5814 | -2525.018 | 2456.1435
2020-11-01 | 622.4836 | 1110.667 | 1757.2978 | -462.2636 | -1086.0598 | -1808.8216 | -2465.9382 | 2465.9465
2020-12-01 | 460.1475 | 916.9283 | 1637.697 | -448.1135 | -841.8758 | -1725.4055 | -2056.8641 | 2208.7735
2021-01-01 | 478.9984 | 926.9212 | 1740.5644 | -463.848 | -820.4439 | -1745.8793 | -2180.5573 | 2288.8936

## Figure 1.10
Figure 1.10 Growth of solar photovoltaic installations in the National Electricity Market
Source: Clean Energy Regulator, Postcode data for small scale installations, Small generation units—solar, February 2021.
| Average size (RHS) | Number of systems installed (LHS)
2011-01-01 | 2.2911 | 22406
2011-02-01 | 2.2494 | 25403
2011-03-01 | 2.263 | 31168
2011-04-01 | 2.2912 | 28760
2011-05-01 | 2.2927 | 43099
2011-06-01 | 2.391 | 59234
2011-07-01 | 2.4462 | 17941
2011-08-01 | 2.5449 | 17387
2011-09-01 | 2.7116 | 20231
2011-10-01 | 2.7188 | 14585
2011-11-01 | 2.7638 | 15977
2011-12-01 | 2.8252 | 12486
2012-01-01 | 2.7661 | 11043
2012-02-01 | 2.7259 | 16438
2012-03-01 | 2.7344 | 20023
2012-04-01 | 2.7713 | 22740
2012-05-01 | 2.886 | 37754
2012-06-01 | 3.0956 | 52123
2012-07-01 | 3.1462 | 22366
2012-08-01 | 3.2416 | 25025
2012-09-01 | 3.449 | 26044
2012-10-01 | 3.3361 | 19924
2012-11-01 | 3.3653 | 19836
2012-12-01 | 3.5747 | 26838
2013-01-01 | 3.5416 | 12804
2013-02-01 | 3.6932 | 13276
2013-03-01 | 3.8067 | 14241
2013-04-01 | 3.8664 | 14581
2013-05-01 | 4.0337 | 17880
2013-06-01 | 4.1853 | 20215
2013-07-01 | 3.8886 | 14828
2013-08-01 | 4.0321 | 13467
2013-09-01 | 4.2277 | 13518
2013-10-01 | 4.254 | 15508
2013-11-01 | 4.2668 | 15209
2013-12-01 | 4.5622 | 12256
2014-01-01 | 4.5203 | 12182
2014-02-01 | 4.1735 | 12178
2014-03-01 | 4.3833 | 12485
2014-04-01 | 4.3092 | 11755
2014-05-01 | 4.5167 | 14136
2014-06-01 | 4.4663 | 12659
2014-07-01 | 4.4685 | 14343
2014-08-01 | 4.5582 | 12612
2014-09-01 | 4.4068 | 14185
2014-10-01 | 4.5256 | 14659
2014-11-01 | 4.693 | 12955
2014-12-01 | 4.8797 | 11468
2015-01-01 | 4.7406 | 9610
2015-02-01 | 4.8341 | 11131
2015-03-01 | 4.8334 | 11343
2015-04-01 | 4.7582 | 9405
2015-05-01 | 4.9453 | 9806
2015-06-01 | 5.1587 | 9986
2015-07-01 | 5.0626 | 11098
2015-08-01 | 5.0779 | 9789
2015-09-01 | 5.0234 | 10057
2015-10-01 | 5.2819 | 9501
2015-11-01 | 5.2329 | 9256
2015-12-01 | 5.5274 | 8515
2016-01-01 | 5.1444 | 6524
2016-02-01 | 5.2673 | 8938
2016-03-01 | 5.2474 | 8637
2016-04-01 | 5.4669 | 8281
2016-05-01 | 5.5599 | 8538
2016-06-01 | 5.6439 | 8067
2016-07-01 | 5.684 | 8125
2016-08-01 | 5.5715 | 9272
2016-09-01 | 5.8791 | 8922
2016-10-01 | 5.82 | 8836
2016-11-01 | 5.6364 | 10871
2016-12-01 | 6.8097 | 11735
2017-01-01 | 5.3239 | 7889
2017-02-01 | 5.4867 | 10376
2017-03-01 | 5.8772 | 11231
2017-04-01 | 5.9003 | 9402
2017-05-01 | 6.2306 | 11846
2017-06-01 | 6.5961 | 11123
2017-07-01 | 6.4605 | 11895
2017-08-01 | 6.3247 | 12828
2017-09-01 | 6.5866 | 12074
2017-10-01 | 6.7371 | 12902
2017-11-01 | 6.9451 | 15329
2017-12-01 | 8.0732 | 14690
2018-01-01 | 6.3348 | 11498
2018-02-01 | 6.6632 | 13820
2018-03-01 | 6.846 | 14901
2018-04-01 | 6.9674 | 13337
2018-05-01 | 7.3641 | 15443
2018-06-01 | 7.7254 | 13896
2018-07-01 | 7.3104 | 15063
2018-08-01 | 7.4115 | 16404
2018-09-01 | 7.2386 | 16158
2018-10-01 | 7.2806 | 18737
2018-11-01 | 7.464 | 21126
2018-12-01 | 8.6068 | 18977
2019-01-01 | 6.8653 | 15662
2019-02-01 | 7.1995 | 19731
2019-03-01 | 7.2984 | 20184
2019-04-01 | 7.3263 | 18034
2019-05-01 | 7.8031 | 19613
2019-06-01 | 8.1764 | 16334
2019-07-01 | 7.9057 | 19292
2019-08-01 | 7.7521 | 19694
2019-09-01 | 7.7185 | 20100
2019-10-01 | 7.7572 | 24036
2019-11-01 | 7.9049 | 25938
2019-12-01 | 8.8054 | 25175
2020-01-01 | 7.2806 | 19983
2020-02-01 | 7.5459 | 24311
2020-03-01 | 7.7655 | 26866
2020-04-01 | 7.9193 | 22747
2020-05-01 | 7.9877 | 24085
2020-06-01 | 8.416 | 25968
2020-07-01 | 8.023 | 29009
2020-08-01 | 8.1253 | 23729
2020-09-01 | 8.2827 | 26025
2020-10-01 | 8.199 | 26667
2020-11-01 | 8.1705 | 31264
2020-12-01 | 8.7043 | 25825

## Figure 1.11
Figure 1.11 Electricity duck curves
Note: Average native demand by time of day for 2015 and 2020.
Source: AER; AEMO (data).
Queensland | 2015 grid demand | 2015 consumption | 2020 grid demand | 2020 consumption | NSW | 2015 grid demand | 2015 consumption | 2020 grid demand | 2020 consumption | Victoria | 2015 grid demand | 2015 consumption | 2020 grid demand | 2020 consumption | South Australia | 2015 grid demand | 2015 consumption | 2020 grid demand | 2020 consumption | Tasmania | 2015 grid demand | 2015 consumption | 2020 grid demand | 2020 consumption
0:00 | 5892.1639 | 5892.1639 | 6000.4437 | 6000.4437 | 0:00 | 7622.9864 | 7622.9864 | 7620.8922 | 7620.8922 | 0:00 | 5331.6285 | 5331.6285 | 4974.4062 | 4974.4062 | 0:00 | 1696.2885 | 1696.2885 | 1585.0196 | 1585.0196 | 0:00 | 1147.1087 | 1147.1087 | 1125.2091 | 1125.2091
0:30 | 5682.5974 | 5682.5974 | 5819.7042 | 5819.7042 | 0:30 | 7450.1638 | 7450.1638 | 7456.2506 | 7456.2506 | 0:30 | 5094.8877 | 5094.8877 | 4801.1219 | 4801.1219 | 0:30 | 1631.6794 | 1631.6794 | 1580.8752 | 1580.8752 | 0:30 | 1128.0901 | 1128.0901 | 1110.8695 | 1110.8695
1:00 | 5523.4724 | 5523.4724 | 5677.4345 | 5677.4345 | 1:00 | 7254.7527 | 7254.7527 | 7276.0195 | 7276.0195 | 1:00 | 4896.088 | 4896.088 | 4652.1871 | 4652.1871 | 1:00 | 1541.0766 | 1541.0766 | 1536.3102 | 1536.3102 | 1:00 | 1114.5717 | 1114.5717 | 1098.5696 | 1098.5696
1:30 | 5370.9751 | 5370.9751 | 5579.7499 | 5579.7499 | 1:30 | 7027.2636 | 7027.2636 | 7053.7568 | 7053.7568 | 1:30 | 4729.4895 | 4729.4895 | 4530.1105 | 4530.1105 | 1:30 | 1448.5618 | 1448.5618 | 1450.2479 | 1450.2479 | 1:30 | 1103.3054 | 1103.3054 | 1089.3901 | 1089.3901
2:00 | 5255.5483 | 5255.5483 | 5506.6303 | 5506.6303 | 2:00 | 6811.0318 | 6811.0318 | 6847.1993 | 6847.1993 | 2:00 | 4559.9304 | 4559.9304 | 4375.9054 | 4375.9054 | 2:00 | 1372.801 | 1372.801 | 1383.2149 | 1383.2149 | 2:00 | 1096.7509 | 1096.7509 | 1083.0601 | 1083.0601
2:30 | 5184.1959 | 5184.1959 | 5456.4327 | 5456.4327 | 2:30 | 6590.0359 | 6590.0359 | 6646.124 | 6646.124 | 2:30 | 4427.5435 | 4427.5435 | 4250.7015 | 4250.7015 | 2:30 | 1316.581 | 1316.581 | 1338.0246 | 1338.0246 | 2:30 | 1093.0873 | 1093.0873 | 1078.3211 | 1078.3211
3:00 | 5145.7605 | 5145.7605 | 5418.4527 | 5418.4527 | 3:00 | 6429.404 | 6429.404 | 6495.3885 | 6495.3885 | 3:00 | 4332.0586 | 4332.0586 | 4164.8075 | 4164.8075 | 3:00 | 1281.1221 | 1281.1221 | 1315.309 | 1315.309 | 3:00 | 1091.4858 | 1091.4858 | 1075.4434 | 1075.4434
3:30 | 5133.824 | 5133.824 | 5404.2948 | 5404.2948 | 3:30 | 6327.0245 | 6327.0245 | 6409.7164 | 6409.7164 | 3:30 | 4283.2 | 4283.2 | 4123.4366 | 4123.4366 | 3:30 | 1254.7104 | 1254.7104 | 1288.3753 | 1288.3753 | 3:30 | 1093.8938 | 1093.8938 | 1075.9773 | 1075.9773
4:00 | 5130.8772 | 5130.8772 | 5402.2253 | 5402.2253 | 4:00 | 6291.5267 | 6291.5267 | 6380.1244 | 6380.1244 | 4:00 | 4261.8142 | 4261.8142 | 4108.4945 | 4108.4945 | 4:00 | 1242.4598 | 1242.4598 | 1268.0375 | 1268.0375 | 4:00 | 1097.0326 | 1097.0326 | 1078.662 | 1078.662
4:30 | 5163.7655 | 5163.7655 | 5440.9592 | 5440.9592 | 4:30 | 6351.5358 | 6351.5358 | 6440.879 | 6440.879 | 4:30 | 4297.5387 | 4297.5387 | 4143.02 | 4143.02 | 4:30 | 1237.4824 | 1237.4824 | 1255.7346 | 1255.7346 | 4:30 | 1106.2212 | 1106.2212 | 1088.0871 | 1088.0871
5:00 | 5218.4655 | 5218.5672 | 5498.2423 | 5498.4861 | 5:00 | 6461.7908 | 6461.983 | 6541.0265 | 6541.6199 | 5:00 | 4369.4706 | 4369.4881 | 4206.8101 | 4206.8583 | 5:00 | 1246.1402 | 1246.1402 | 1259.8325 | 1259.8325 | 5:00 | 1118.8984 | 1118.9566 | 1103.9812 | 1104.088
5:30 | 5327.8579 | 5331.4805 | 5614.106 | 5622.7939 | 5:30 | 6737.1501 | 6740.4496 | 6780.9697 | 6791.1531 | 5:30 | 4538.3313 | 4539.4884 | 4357.6873 | 4360.8841 | 5:30 | 1262.047 | 1262.0499 | 1269.2998 | 1269.3059 | 5:30 | 1145.7011 | 1146.1099 | 1133.732 | 1134.4815
6:00 | 5468.1477 | 5486.0337 | 5719.2399 | 5762.1353 | 6:00 | 7057.3738 | 7070.0456 | 7039.628 | 7078.7367 | 6:00 | 4736.8754 | 4742.9356 | 4526.3981 | 4543.1403 | 6:00 | 1302.0816 | 1302.8685 | 1303.8879 | 1305.5587 | 6:00 | 1180.4769 | 1181.7224 | 1168.6519 | 1170.9353
6:30 | 5706.907 | 5757.0241 | 5917.8895 | 6038.0842 | 6:30 | 7474.2581 | 7505.7549 | 7380.1862 | 7477.394 | 6:30 | 5044.9723 | 5061.5601 | 4775.881 | 4821.7076 | 6:30 | 1347.9369 | 1352.9195 | 1340.8774 | 1351.4561 | 6:30 | 1231.4201 | 1234.1331 | 1213.6989 | 1218.6727
7:00 | 5952.5896 | 6059.7137 | 6096.7461 | 6353.6593 | 7:00 | 7896.7727 | 7960.0056 | 7710.8038 | 7905.958 | 7:00 | 5343.6161 | 5378.4545 | 4984.8512 | 5081.0982 | 7:00 | 1427.1396 | 1441.5293 | 1399.2351 | 1429.7863 | 7:00 | 1284.9843 | 1290.0116 | 1256.6471 | 1265.8641
7:30 | 6192.1557 | 6383.0966 | 6254.3802 | 6712.3091 | 7:30 | 8189.3775 | 8299.381 | 7943.6688 | 8283.17 | 7:30 | 5467.9807 | 5530.1415 | 5073.8045 | 5245.5341 | 7:30 | 1501.1268 | 1531.8194 | 1440.7468 | 1505.9112 | 7:30 | 1328.6523 | 1336.9926 | 1289.3031 | 1304.594
8:00 | 6294.2246 | 6582.4516 | 6267.7256 | 6958.9734 | 8:00 | 8432.8109 | 8601.1126 | 8098.2732 | 8617.6988 | 8:00 | 5610.1695 | 5708.9792 | 5166.5241 | 5439.5024 | 8:00 | 1527.3184 | 1583.2119 | 1444.6712 | 1563.3402 | 8:00 | 1353.8825 | 1366.4515 | 1310.2844 | 1333.3279
8:30 | 6332.0171 | 6718.8857 | 6212.3973 | 7140.215 | 8:30 | 8594.3582 | 8826.816 | 8166.0447 | 8883.4738 | 8:30 | 5721.9949 | 5865.3995 | 5239.6727 | 5635.8516 | 8:30 | 1552.6749 | 1643.303 | 1435.3925 | 1627.8075 | 8:30 | 1358.8799 | 1376.5737 | 1314.2555 | 1346.6947
9:00 | 6322.3617 | 6799.0384 | 6117.3997 | 7260.6021 | 9:00 | 8635.0811 | 8927.4207 | 8106.5967 | 9008.8375 | 9:00 | 5747.313 | 5939.4255 | 5215.1355 | 5745.878 | 9:00 | 1559.5644 | 1690.7985 | 1396.9935 | 1675.6201 | 9:00 | 1347.503 | 1370.5532 | 1305.1422 | 1347.4016
9:30 | 6308.9381 | 6861.6566 | 6039.2885 | 7364.86 | 9:30 | 8668.3584 | 9014.5426 | 8041.585 | 9110.0055 | 9:30 | 5769.4327 | 6007.6285 | 5156.5572 | 5814.6127 | 9:30 | 1540.7168 | 1714.0406 | 1330.6723 | 1698.6609 | 9:30 | 1330.9428 | 1359.0881 | 1288.4425 | 1340.0431
10:00 | 6270.8667 | 6882.5285 | 5948.5767 | 7415.5108 | 10:00 | 8651.2347 | 9040.3537 | 7938.9835 | 9139.9128 | 10:00 | 5747.9207 | 6026.59 | 5056.1087 | 5825.9791 | 10:00 | 1518.0985 | 1730.591 | 1260.3136 | 1711.4622 | 10:00 | 1308.1338 | 1340.4723 | 1267.4048 | 1326.693
10:30 | 6244.8215 | 6901.2311 | 5896.6635 | 7470.9151 | 10:30 | 8619.014 | 9041.6927 | 7855.0278 | 9159.5315 | 10:30 | 5719.1722 | 6031.7621 | 4959.8844 | 5823.466 | 10:30 | 1487.9677 | 1733.788 | 1187.614 | 1709.5217 | 10:30 | 1286.4453 | 1322.5788 | 1245.25 | 1311.4956
11:00 | 6230.228 | 6916.3713 | 5861.6922 | 7507.2532 | 11:00 | 8578.1938 | 9023.5194 | 7772.1112 | 9146.5094 | 11:00 | 5698.5379 | 6035.9418 | 4881.1872 | 5813.3214 | 11:00 | 1463.9419 | 1736.7851 | 1126.393 | 1705.6737 | 11:00 | 1266.0389 | 1304.8936 | 1224.9702 | 1296.2049
11:30 | 6213.7385 | 6919.0916 | 5835.5485 | 7527.1798 | 11:30 | 8505.2219 | 8965.3605 | 7700.3994 | 9120.5149 | 11:30 | 5674.3636 | 6028.7604 | 4813.1113 | 5792.1913 | 11:30 | 1445.0969 | 1740.1921 | 1077.4423 | 1703.9668 | 11:30 | 1250.7034 | 1291.4316 | 1207.384 | 1282.0536
12:00 | 6229.6155 | 6941.4126 | 5850.4149 | 7557.5009 | 12:00 | 8465.5908 | 8930.7757 | 7662.5119 | 9098.2013 | 12:00 | 5662.6902 | 6025.7657 | 4778.303 | 5781.3592 | 12:00 | 1438.485 | 1749.4744 | 1047.1688 | 1707.4388 | 12:00 | 1238.6706 | 1280.4721 | 1190.4817 | 1267.119
12:30 | 6247.8466 | 6956.8162 | 5884.1407 | 7584.4456 | 12:30 | 8448.086 | 8910.7263 | 7649.8634 | 9077.6996 | 12:30 | 5656.7753 | 6022.7794 | 4763.6105 | 5774.7576 | 12:30 | 1432.1099 | 1753.2666 | 1031.0927 | 1712.9491 | 12:30 | 1227.8527 | 1269.418 | 1179.7949 | 1255.9993
13:00 | 6269.9958 | 6962.8339 | 5925.0985 | 7586.7158 | 13:00 | 8433.9797 | 8885.1769 | 7655.7823 | 9048.3019 | 13:00 | 5651.1296 | 6013.1641 | 4749.9066 | 5750.0872 | 13:00 | 1432.4772 | 1757.1417 | 1023.1575 | 1712.4614 | 13:00 | 1218.6772 | 1259.6278 | 1170.6353 | 1245.7127
13:30 | 6310.0871 | 6977.9482 | 5982.9751 | 7584.6904 | 13:30 | 8423.6626 | 8856.0176 | 7679.0929 | 9013.4605 | 13:30 | 5675.5613 | 6028.7147 | 4760.5617 | 5736.2065 | 13:30 | 1437.6151 | 1761.1297 | 1021.2787 | 1708.1412 | 13:30 | 1212.6127 | 1252.4312 | 1164.1811 | 1237.1827
14:00 | 6361.1066 | 6987.8808 | 6066.3734 | 7569.5508 | 14:00 | 8420.1145 | 8823.9012 | 7719.3614 | 8965.5591 | 14:00 | 5696.1862 | 6033.0135 | 4774.7131 | 5705.2547 | 14:00 | 1453.725 | 1769.0299 | 1034.0884 | 1703.5207 | 14:00 | 1209.7052 | 1247.3919 | 1163.0747 | 1232.1681
14:30 | 6417.8234 | 6988.3592 | 6175.7434 | 7544.0459 | 14:30 | 8426.3661 | 8791.9783 | 7789.4605 | 8917.8411 | 14:30 | 5702.6418 | 6016.3704 | 4804.659 | 5671.3866 | 14:30 | 1462.1784 | 1763.7833 | 1052.8854 | 1693.2308 | 14:30 | 1218.0217 | 1252.7315 | 1168.9711 | 1232.6067
15:00 | 6468.8075 | 6967.1104 | 6311.2825 | 7506.3504 | 15:00 | 8470.7387 | 8789.0978 | 7910.8108 | 8893.355 | 15:00 | 5721.9492 | 6004.8591 | 4864.6669 | 5646.2525 | 15:00 | 1475.6589 | 1757.66 | 1082.89 | 1681.614 | 15:00 | 1223.2261 | 1254.325 | 1176.4871 | 1233.5027
15:30 | 6533.8139 | 6946.8887 | 6473.2644 | 7463.9317 | 15:30 | 8521.8453 | 8787.0934 | 8056.558 | 8875.1871 | 15:30 | 5761.2858 | 6007.9096 | 4965.7463 | 5647.0854 | 15:30 | 1495.7114 | 1751.3323 | 1130.1797 | 1672.8952 | 15:30 | 1231.8143 | 1258.2518 | 1189.1153 | 1237.5847
16:00 | 6640.4157 | 6958.8845 | 6690.7228 | 7454.499 | 16:00 | 8616.4793 | 8822.8957 | 8262.8184 | 8899.8766 | 16:00 | 5826.1263 | 6029.9605 | 5107.9763 | 5671.102 | 16:00 | 1526.8194 | 1748.8399 | 1194.2085 | 1665.5863 | 16:00 | 1248.9303 | 1270.1769 | 1212.7301 | 1251.6829
16:30 | 6753.405 | 6972.1589 | 6905.8428 | 7430.4751 | 16:30 | 8713.8318 | 8859.4884 | 8488.5278 | 8938.0643 | 16:30 | 5895.0731 | 6053.011 | 5273.3718 | 5709.7014 | 16:30 | 1569.5327 | 1753.0611 | 1281.1161 | 1670.7701 | 16:30 | 1272.9866 | 1288.8935 | 1241.3181 | 1270.4813
17:00 | 6888.8585 | 7017.126 | 7154.1162 | 7461.7369 | 17:00 | 8871.9981 | 8961.937 | 8782.2646 | 9059.8413 | 17:00 | 5981.1615 | 6093.0106 | 5488.2983 | 5797.3 | 17:00 | 1616.619 | 1758.2155 | 1378.6289 | 1679.2561 | 17:00 | 1304.3392 | 1315.3203 | 1281.6542 | 1301.7865
17:30 | 6971.6975 | 7033.2609 | 7339.9302 | 7487.5763 | 17:30 | 9028.5183 | 9076.6756 | 9038.1698 | 9186.7965 | 17:30 | 6045.0622 | 6116.0185 | 5692.5578 | 5888.5863 | 17:30 | 1675.0333 | 1773.0491 | 1498.8049 | 1706.9049 | 17:30 | 1338.5578 | 1345.4699 | 1324.1167 | 1336.7891
18:00 | 7027.4638 | 7050.1076 | 7489.9217 | 7544.2276 | 18:00 | 9249.7915 | 9271.8722 | 9323.0247 | 9391.172 | 18:00 | 6141.2355 | 6181.4751 | 5892.5249 | 6003.6935 | 18:00 | 1736.3147 | 1796.8077 | 1614.0192 | 1742.4534 | 18:00 | 1368.851 | 1372.7245 | 1359.9508 | 1367.0523
18:30 | 7047.2598 | 7052.2814 | 7552.3534 | 7564.3966 | 18:30 | 9298.4375 | 9306.6016 | 9393.8525 | 9419.0493 | 18:30 | 6147.3032 | 6166.6993 | 5965.7197 | 6019.3047 | 18:30 | 1801.0048 | 1833.9766 | 1718.7546 | 1788.7579 | 18:30 | 1378.9185 | 1380.8583 | 1370.5105 | 1374.0666
19:00 | 7110.0362 | 7110.2827 | 7599.4211 | 7600.0122 | 19:00 | 9248.3748 | 9250.2057 | 9319.9953 | 9325.6458 | 19:00 | 6110.365 | 6117.8498 | 5944.543 | 5965.2209 | 19:00 | 1833.3373 | 1848.1709 | 1772.3077 | 1803.8013 | 19:00 | 1379.7116 | 1380.4979 | 1368.4037 | 1369.8453
19:30 | 7057.3193 | 7057.3193 | 7500.8661 | 7500.8661 | 19:30 | 9115.6558 | 9115.7479 | 9153.8218 | 9154.1063 | 19:30 | 6022.47 | 6024.1381 | 5847.3686 | 5851.9771 | 19:30 | 1835.7018 | 1840.631 | 1781.6236 | 1792.089 | 19:30 | 1369.463 | 1369.6587 | 1356.5196 | 1356.8783
20:00 | 6997.1467 | 6997.1467 | 7382.8177 | 7382.8177 | 20:00 | 8960.9964 | 8960.9964 | 8968.1804 | 8968.1804 | 20:00 | 5939.0552 | 5939.106 | 5743.466 | 5743.6065 | 20:00 | 1817.0384 | 1817.7327 | 1761.8557 | 1763.3299 | 20:00 | 1357.6593 | 1357.6735 | 1341.4528 | 1341.4789
20:30 | 6944.3769 | 6944.3769 | 7266.5287 | 7266.5287 | 20:30 | 8782.3099 | 8782.3099 | 8775.9272 | 8775.9272 | 20:30 | 5825.5923 | 5825.5923 | 5608.0618 | 5608.0618 | 20:30 | 1793.9122 | 1793.9122 | 1734.978 | 1734.978 | 20:30 | 1349.6353 | 1349.6353 | 1326.2251 | 1326.2251
21:00 | 6787.7794 | 6787.7794 | 7072.0083 | 7072.0083 | 21:00 | 8564.385 | 8564.385 | 8556.9883 | 8556.9883 | 21:00 | 5682.498 | 5682.498 | 5449.3939 | 5449.3939 | 21:00 | 1759.9932 | 1759.9932 | 1698.3372 | 1698.3372 | 21:00 | 1327.0349 | 1327.0349 | 1300.912 | 1300.912
21:30 | 6629.1571 | 6629.1571 | 6885.2905 | 6885.2905 | 21:30 | 8395.1838 | 8395.1838 | 8374.0623 | 8374.0623 | 21:30 | 5490.2365 | 5490.2365 | 5289.5684 | 5289.5684 | 21:30 | 1715.4644 | 1715.4644 | 1655.5277 | 1655.5277 | 21:30 | 1299.5748 | 1299.5748 | 1271.3762 | 1271.3762
22:00 | 6489.9772 | 6489.9772 | 6701.9948 | 6701.9948 | 22:00 | 8186.6041 | 8186.6041 | 8174.6458 | 8174.6458 | 22:00 | 5285.1557 | 5285.1557 | 5127.4688 | 5127.4688 | 22:00 | 1663.1021 | 1663.1021 | 1603.2965 | 1603.2965 | 22:00 | 1266.016 | 1266.016 | 1238.4713 | 1238.4713
22:30 | 6324.5647 | 6324.5647 | 6550.8397 | 6550.8397 | 22:30 | 8088.3252 | 8088.3252 | 8069.4938 | 8069.4938 | 22:30 | 5133.8004 | 5133.8004 | 4952.8727 | 4952.8727 | 22:30 | 1600.0887 | 1600.0887 | 1544.0117 | 1544.0117 | 22:30 | 1231.6039 | 1231.6039 | 1204.8317 | 1204.8317
23:00 | 6196.096 | 6196.096 | 6422.1273 | 6422.1273 | 23:00 | 7916.3282 | 7916.3282 | 7902.4451 | 7902.4451 | 23:00 | 5060.9323 | 5060.9323 | 4848.1989 | 4848.1989 | 23:00 | 1551.775 | 1551.775 | 1496.4426 | 1496.4426 | 23:00 | 1196.9473 | 1196.9473 | 1171.6839 | 1171.6839
23:30 | 6054.8732 | 6054.8732 | 6212.9775 | 6212.9775 | 23:30 | 7748.8902 | 7748.8902 | 7734.6926 | 7734.6926 | 23:30 | 5256.4694 | 5256.4694 | 4942.7536 | 4942.7536 | 23:30 | 1498.7274 | 1498.7274 | 1448.2052 | 1448.2052 | 23:30 | 1167.3462 | 1167.3462 | 1145.3625 | 1145.3625
0:00 | 5892.1639 | 5892.1639 | 6000.4437 | 6000.4437 | 0:00 | 7622.9864 | 7622.9864 | 7620.8922 | 7620.8922 | 0:00 | 5331.6285 | 5331.6285 | 4974.4062 | 4974.4062 | 0:00 | 1696.2885 | 1696.2885 | 1585.0196 | 1585.0196 | 0:00 | 1147.1087 | 1147.1087 | 1125.2091 | 1125.2091

## Figure 1.12
Figure 1.12 System security directions
Source: AEMO, Quarterly energy dynamics Q4 2020, February 2021.
|  | Direction cost (RHS) | Direction time
2019 | Q1 | 1.2908 | 5.394%
| Q2 | 3.9023 | 13.34%
| Q3 | 7.8927 | 17.6%
| Q4 | 12.7741 | 28.83%
2020 | Q1 | 31.8607 | 34.25%
| Q2 | 10.5538 | 27.24%
| Q3 | 7.2937 | 20.71%
| Q4 | 15.8151 | 63.74%

## Figure 1.13
Figure 1.13 Curtailment of renewable generation
MW: megawatt.
Source: AEMO, Quarterly energy dynamics Q4 2020, February 2021.
Megawatts curtailed
|  | System strength | Economic | Other | Solar | Separation
2019 | Q1 | 3 | 0 | 15 | 0 | 0
| Q2 | 16 | 3 | 23 | 0 | 0
| Q3 | 37 | 23 | 42 | 14 | 0
| Q4 | 33 | 19 | 43 | 75 | 0
2020 | Q1 | 9 | 15 | 38 | 55 | 87
| Q2 | 50 | 14 | 26 | 10 | 0
| Q3 | 84 | 42 | 61 | 0 | 0
| Q4 | 50 | 61 | 80 | 0 | 0

## Figure 1.14
Figure 1.14 Proportion of time National Electricity Market mainland frequency is within normal operating band
Note: AEMO calculates daily the percentage of time that frequency remained inside the normal operating frequency band in the preceding 30-day window. Data represents the minimum daily estimate from each month.
Source: AEMO, Frequency and time error monitoring – quarter 4 2020, February 2021.
| Mainland - including contingencies and load events | Mainland - excluding contingencies and load events | 99% Standard
2015-01-01 | 99.99% | 99.99% | 99%
2015-02-01 | 99.99% | 99.99% | 99%
2015-03-01 | 99.98% | 99.99% | 99%
2015-04-01 | 99.94% | 99.96% | 99%
2015-05-01 | 99.92% | 99.97% | 99%
2015-06-01 | 99.97% | 99.98% | 99%
2015-07-01 | 99.96% | 99.96% | 99%
2015-08-01 | 99.95% | 99.95% | 99%
2015-09-01 | 99.93% | 99.93% | 99%
2015-10-01 | 99.91% | 99.91% | 99%
2015-11-01 | 99.92% | 99.92% | 99%
2015-12-01 | 99.9% | 99.9% | 99%
2016-01-01 | 99.94% | 99.95% | 99%
2016-02-01 | 99.95% | 99.99% | 99%
2016-03-01 | 99.92% | 99.99% | 99%
2016-04-01 | 99.94% | 99.97% | 99%
2016-05-01 | 99.89% | 99.89% | 99%
2016-06-01 | 99.77% | 99.77% | 99%
2016-07-01 | 99.72% | 99.72% | 99%
2016-08-01 | 99.83% | 99.84% | 99%
2016-09-01 | 99.84% | 99.9% | 99%
2016-10-01 | 99.79% | 99.86% | 99%
2016-11-01 | 99.75% | 99.83% | 99%
2016-12-01 | 99.68% | 99.76% | 99%
2017-01-01 | 99.59% | 99.68% | 99%
2017-02-01 | 99.51% | 99.6% | 99%
2017-03-01 | 99.41% | 99.53% | 99%
2017-04-01 | 99.16% | 99.31% | 99%
2017-05-01 | 99.44% | 99.56% | 99%
2017-06-01 | 99.76% | 99.84% | 99%
2017-07-01 | 99.35% | 99.44% | 99%
2017-08-01 | 99.26% | 99.35% | 99%
2017-09-01 | 99.17% | 99.4% | 99%
2017-10-01 | 98.91% | 99.22% | 99%
2017-11-01 | 98.98% | 99.32% | 99%
2017-12-01 | 99.3% | 99.48% | 99%
2018-01-01 | 99.5% | 99.59% | 99%
2018-02-01 | 99.51% | 99.63% | 99%
2018-03-01 | 99.33% | 99.45% | 99%
2018-04-01 | 99.19% | 99.3% | 99%
2018-05-01 | 99.27% | 99.38% | 99%
2018-06-01 | 99.43% | 99.57% | 99%
2018-07-01 | 99.37% | 99.43% | 99%
2018-08-01 | 99.18% | 99.3% | 99%
2018-09-01 | 99.12% | 99.29% | 99%
2018-10-01 | 99.16% | 99.18% | 99%
2018-11-01 | 98.78% | 99.03% | 99%
2018-12-01 | 98.94% | 99.14% | 99%
2019-01-01 | 98.81% | 98.96% | 99%
2019-02-01 | 98.46% | 98.71% | 99%
2019-03-01 | 98.5% | 98.72% | 99%
2019-04-01 | 98.65% | 98.9% | 99%
2019-05-01 | 99.21% | 99.32% | 99%
2019-06-01 | 99.54% | 99.63% | 99%
2019-07-01 | 99.57% | 99.68% | 99%
2019-08-01 | 99.35% | 99.46% | 99%
2019-09-01 | 99.23% | 99.38% | 99%
2019-10-01 | 99.14% | 99.33% | 99%
2019-11-01 | 98.84% | 99.08% | 99%
2019-12-01 | 99.24% | 99.41% | 99%
Jan-20 | 99.3% | 99.59% | 99%
Feb-20 | 99.27% | 99.55% | 99%
Mar-20 | 99.51% | 99.64% | 99%
Apr-20 | 99.33% | 99.48% | 99%
May-20 | 99.46% | 99.54% | 99%
Jun-20 | 99.61% | 99.7% | 99%
Jul-20 | 99.73% | 99.78% | 99%
Aug-20 | 99.65% | 99.71% | 99%
Sep-20 | 99.45% | 99.57% | 99%
Oct-20 | 99.47% | 99.59% | 99%
Nov-20 | 99.89% | 99.93% | 99%
Dec-20 | 99.97% | 99.99% | 99%
Jan-21 | 99.98% | 99.99% | 99%
Feb-21 | 99.98% | 99.99% | 99%
Mar-21 | 100% | 100% | 99%

## Figure 1.15
Figure 1.15 Frequency control ancillary service costs
Source: AER.
$
| Raise regulation | Raise 6 seconds | Raise 60 seconds | Raise 5 minutes | Lower regulation | Lower 6 seconds | Lower 60 seconds | Lower 5 minutes | Total
2001 | 2485501.96 | 43433219.69 | 3522897.97 | 5264532.48 | 2168797.38 | 104423.16 | 303707.65 | 17167455.15 | 74450535.44
2002 | 6889446.98 | 13969536.28 | 7710385.09 | 7832925.94 | 5642522.85 | 3419527.04 | 5134082.62 | 9640246.68 | 60238673.48
2003 | 4567018.66 | 8847073.63 | 3953354.61 | 3330373.16 | 4965918.96 | 447248.03 | 772416.92 | 1395925.59 | 28279329.56
2004 | 2124803.66 | 8117052.28 | 4157856.08 | 5713326.93 | 2022961.51 | 786625.96 | 1275208.58 | 3484061.05 | 27681896.05
2005 | 2067879.11 | 9080151.36 | 3006563.63 | 4345907.82 | 2418912.19 | 2352314.67 | 2275118.27 | 5811485.92 | 31358332.97
2006 | 2543037.3 | 3508690.8 | 976323.93 | 4231129.97 | 1444484.63 | 4409130.74 | 559685.27 | 1800733.88 | 19473216.52
2007 | 6778951.94 | 17244528.37 | 7009055.1 | 17546221.14 | 2199152.32 | 6724849.05 | 4157051.71 | 8094964.06 | 69754773.69
2008 | 1562295.57 | 35411312.25 | 43314928.3 | 56007628.56 | 1761411.57 | 3274515.98 | 1217417.26 | 3137192.38 | 145686701.87
2009 | 1067656.95 | 4424237.93 | 891035.54 | 2227600.83 | 1212519.17 | 1101589.29 | 849207.5 | 679435.22 | 12453282.43
2010 | 2070845.64 | 8568336.98 | 1885639.55 | 3881029.13 | 1587920.06 | 4316449.83 | 6093208.89 | 1050315.22 | 29453745.3
2011 | 3895866.89 | 5803914.91 | 4023334.12 | 8291092.97 | 3680424.44 | 4338419.02 | 5661339.18 | 1691375.32 | 37385766.85
2012 | 3169880.48 | 5754824.81 | 3674461 | 6325782.4 | 1728585.79 | 799269.57 | 1868328.05 | 1335092.59 | 24656224.69
2013 | 2096459.77 | 4367759.7 | 2482947.92 | 4406086.69 | 2500314.62 | 3380579.03 | 2803367.01 | 774533.62 | 22812048.36
2014 | 3280429.74 | 7514551.32 | 3423639.18 | 6679235.16 | 2978492.19 | 4561985.74 | 774453.39 | 1913317.5 | 31126104.22
2015 | 17375484.78 | 8535424.25 | 4331372.04 | 7047808.4 | 15120284.21 | 5688792.5 | 2164320.98 | 2579166.38 | 62842653.54
2016 | 39208360.47 | 23955824 | 11596741.73 | 12627528.32 | 28860129.8 | 2406411.83 | 437816.44 | 1425959.27 | 120518771.86
2017 | 57652306.88 | 53263111.41 | 20587285.83 | 35290158.16 | 45880939.53 | 406824.38 | 315886.01 | 658072.16 | 214054584.36
2018 | 45396552.03 | 49866536.48 | 31142908.43 | 65690796.84 | 16190997.35 | 3237720.94 | 3540446.52 | 1676363.1 | 216742321.69
2019 | 93644904.94 | 42734554.07 | 26508509.43 | 10918570.85 | 33117016.38 | 8647355.64 | 6310215.77 | 989917.63 | 222871044.71
2020 | 58432800.72 | 126238772.77 | 59430879.63 | 25901234.38 | 28929515.68 | 17604479.72 | 23205780.11 | 16384388.85 | 356127851.86

## Figure 1.16
Figure 1.16 Renewable energy zones
A high resolution version of this figure is available on request. Please email: AERinquiry@aer.gov.au