## Slide 1: TNSP Operating Environment Factors for Use in Economic Benchmarking
AER Economic Benchmarking Workshop #2
14 March 2013
Denis Lawrence and John Kain

## Slide 2: Background
Operating environment conditions can have a significant impact on network costs and measured efficiency and in many cases are beyond the control of managers
Need to ensure reasonably like–with–like comparisons
Adjust for at least the most important operating environment differences
In practice, the number and type of operating environment factors that can be included is often limited by data availability, correlation with other included variables and degrees of freedom considerations

## Slide 3: Operating environment factor selection criteria
  the variable must have a material impact
  the variable must be exogenous to the TNSP’s control, and
  the variable must be a primary driver of TNSP costs

## Slide 4: The short list
Climatic effects
Terrain, and
Length and capacity measure(s)

## Slide 5: Candidates (1)
  Climate
    Tropical versus temperate climate impacts on costs
    Incidence of severe storm events and bushfires
    Snow loading (and difficulty of access), conductor derating in elevated temperatures and variability of vegetation aggression
    Measurement of climate effects and aggregation into summary measure
  Terrain
    Impact of hilly terrain and forested areas on costs
    Are good indicators available and how can they be aggregated into a summary measure?
  Peak demand
    Important cost driver
    Incentive effects?

## Slide 6: Candidates (2)
  Length and capacity
    Distance covered and capacity to service end-load are important cost drivers
    Largely beyond TNSP control
    Should length and capacity be included as operating environment factors? If so, how?
  Other factors
    Jurisdictional standards, regulations and environmental considerations
    TNSPs may be forced to adopt higher cost line routes or to underground for aesthetic reasons
    Difficult to quantify these effects

## Slide 7: The short list
Climatic effects
Terrain, and
Length and capacity measure(s)