## Ch MTFP - Out3&In1
Index

## Ch Opex MPFP - Out3
Index

## Ch Capital MPFP - Out3&In1
Index

## Ch MTFP - Output
Index

## TNSP Output Indexes
2016 AER ELECTRICITY TRANSMISSION MULTILATERAL OUTPUT INDEXES
Audited Data
OUTPUT SPECIFICATION #3: ENERGY, RATCHETED MAXIMUM DEMAND, WEIGHTED CONNECTION POINTS, CIRCUIT LENGTH, ENERGY NOT SERVED
TNSP | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
ENT | 1 | 0.985 | 0.9896 | 1.0044 | 0.988 | 0.9839 | 1.0045 | 1.0005 | 1.0087 | 1.0507
PLK | 2.4646 | 2.2768 | 2.5736 | 2.5117 | 2.7981 | 2.7808 | 2.8413 | 2.9389 | 2.8876 | 2.9662
ANT | 1.579 | 1.7103 | 1.5505 | 0.8376 | 1.8583 | 1.908 | 1.7873 | 1.8933 | 1.9287 | 1.7018
TNT | 0.6859 | 0.7543 | 0.7731 | 0.7399 | 0.7408 | 0.7217 | 0.7361 | 0.7037 | 0.7671 | 0.7716
TRG | 3.2726 | 3.2448 | 3.3464 | 3.3234 | 3.3065 | 3.4297 | 3.4116 | 3.3719 | 3.3792 | 3.3024

## TNSP Input Indexes
2016 AER ELECTRICITY TRANSMISSION MULTILATERAL INPUT INDEXES
Audited Data
INPUT SPECIFICATION #1: OPEX, O/H MVAkms, U/G MVAkms, Transformers & Other MVA
TNSP | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
ENT | 1 | 1.0047 | 0.9953 | 1.0189 | 1.0326 | 1.0771 | 1.1592 | 1.1962 | 1.2199 | 1.2251
PLK | 2.8815 | 2.979 | 3.1393 | 3.365 | 3.5277 | 3.5445 | 3.6656 | 3.8604 | 3.9783 | 4.185
ANT | 2.4131 | 2.3674 | 2.3733 | 2.5099 | 2.5638 | 2.5029 | 2.4831 | 2.4927 | 2.5014 | 2.5129
TNT | 0.6058 | 0.6226 | 0.6609 | 0.6709 | 0.6713 | 0.6983 | 0.6819 | 0.6947 | 0.6992 | 0.646
TRG | 3.6418 | 3.7663 | 3.6605 | 4.0568 | 4.3064 | 4.3649 | 4.6362 | 4.4147 | 4.6337 | 4.7707

## TNSP MTFP Indexes
2016 AER ELECTRICITY TRANSMISSION MTFP RESULTS
Audited Data
MTFP with OUTPUT Specification #3 (ENERGY, RATCHETED MAXIMUM DEMAND, Weighted Connection Points, CIRCUIT KMS, Energy Not Served) & INPUT SPECIFICATION #1 (OPEX, O/H MVAkms, U/G MVAkms, Transformers & Other MVA)
TNSP | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | Growth Rate
ENT | 1 | 0.9805 | 0.9943 | 0.9857 | 0.9568 | 0.9135 | 0.8666 | 0.8364 | 0.8269 | 0.8576 | -1.707%
PLK | 0.8553 | 0.7643 | 0.8198 | 0.7464 | 0.7932 | 0.7845 | 0.7751 | 0.7613 | 0.7258 | 0.7088 | -2.088%
ANT | 0.6543 | 0.7224 | 0.6533 | 0.3337 | 0.7248 | 0.7623 | 0.7198 | 0.7595 | 0.771 | 0.6772 | 0.3822%
TNT | 1.1321 | 1.2115 | 1.1698 | 1.1028 | 1.1035 | 1.0335 | 1.0793 | 1.013 | 1.0971 | 1.1945 | 0.5961%
TRG | 0.8986 | 0.8615 | 0.9142 | 0.8192 | 0.7678 | 0.7857 | 0.7359 | 0.7638 | 0.7293 | 0.6922 | -2.9%
Opex MPFP with OUTPUT Specification #3 (ENERGY, RATCHETED MAXIMUM DEMAND, Weighted Connection Points, CIRCUIT KMS, Energy Not Served)
TNSP | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | Growth Rate
ENT | 1 | 0.9423 | 1.0539 | 1.0039 | 0.9638 | 0.8905 | 0.8326 | 0.8817 | 0.8689 | 0.8623 | -1.646%
PLK | 1.0049 | 0.8988 | 0.9404 | 0.9644 | 1.0345 | 1.0727 | 1.0658 | 1.0913 | 1.019 | 0.9174 | -1.012%
ANT | 1.2202 | 1.3879 | 1.388 | 0.5873 | 1.2923 | 1.4671 | 1.4676 | 1.5336 | 1.4799 | 1.3069 | 0.7627%
TNT | 0.9377 | 1.0142 | 0.8786 | 0.8698 | 0.8707 | 0.9031 | 0.9437 | 0.9725 | 1.0747 | 1.4527 | 4.864%
TRG | 1.3128 | 1.3348 | 1.472 | 1.4679 | 1.2964 | 1.4503 | 1.3494 | 1.4651 | 1.229 | 1.2826 | -0.2586%
Capital MPFP with OUTPUT Specification #3 (ENERGY, RATCHETED MAXIMUM DEMAND, Weighted Connection Points, CIRCUIT KMS, Energy Not Served) & INPUT SPECIFICATION #1 (O/H MVAkms, U/G MVAkms, Transformers & Other MVA)
TNSP | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | Growth Rate
ENT | 1 | 0.9948 | 0.9721 | 0.9659 | 0.9463 | 0.919 | 0.8718 | 0.812 | 0.8096 | 0.845 | -1.871%
PLK | 0.7946 | 0.7095 | 0.7724 | 0.6675 | 0.7069 | 0.6883 | 0.6802 | 0.6561 | 0.6279 | 0.6334 | -2.519%
ANT | 0.5132 | 0.5582 | 0.4953 | 0.2663 | 0.5807 | 0.5974 | 0.5548 | 0.5867 | 0.594 | 0.5275 | 0.3054%
TNT | 1.2282 | 1.3256 | 1.3467 | 1.2476 | 1.2201 | 1.0835 | 1.1099 | 1.0152 | 1.097 | 1.0902 | -1.324%
TRG | 0.7621 | 0.7153 | 0.7435 | 0.6528 | 0.6212 | 0.6189 | 0.5853 | 0.594 | 0.5845 | 0.5455 | -3.715%

## TNSP MTFP Indexes Sorted
2016 AER ELECTRICITY TRANSMISSION MTFP RESULTS
Audited Data
MTFP with OUTPUT Specification #3 (ENERGY, RATCHETED MAXIMUM DEMAND, Weighted Connection Points, CIRCUIT KMS, Energy Not Served) & INPUT SPECIFICATION #1 (OPEX, O/H MVAkms, U/G MVAkms, Transformers & Other MVA)
TNSP | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | Annual Growth | Average
TNT | 1.1321 | 1.2115 | 1.1698 | 1.1028 | 1.1035 | 1.0335 | 1.0793 | 1.013 | 1.0971 | 1.1945 | 0.5961% | 1.1137
ENT | 1 | 0.9805 | 0.9943 | 0.9857 | 0.9568 | 0.9135 | 0.8666 | 0.8364 | 0.8269 | 0.8576 | -1.707% | 0.92183
TRG | 0.8986 | 0.8615 | 0.9142 | 0.8192 | 0.7678 | 0.7857 | 0.7359 | 0.7638 | 0.7293 | 0.6922 | -2.9% | 0.79682
PLK | 0.8553 | 0.7643 | 0.8198 | 0.7464 | 0.7932 | 0.7845 | 0.7751 | 0.7613 | 0.7258 | 0.7088 | -2.088% | 0.77345
ANT | 0.6543 | 0.7224 | 0.6533 | 0.3337 | 0.7248 | 0.7623 | 0.7198 | 0.7595 | 0.771 | 0.6772 | 0.3822% | 0.67783
Opex MPFP with OUTPUT Specification #3 (ENERGY, RATCHETED MAXIMUM DEMAND, Weighted Connection Points, CIRCUIT KMS, Energy Not Served)
TNSP | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | Annual Growth | Average
TRG | 1.3128 | 1.3348 | 1.472 | 1.4679 | 1.2964 | 1.4503 | 1.3494 | 1.4651 | 1.229 | 1.2826 | -0.2586% | 1.366
ANT | 1.2202 | 1.3879 | 1.388 | 0.5873 | 1.2923 | 1.4671 | 1.4676 | 1.5336 | 1.4799 | 1.3069 | 0.7627% | 1.3131
PLK | 1.0049 | 0.8988 | 0.9404 | 0.9644 | 1.0345 | 1.0727 | 1.0658 | 1.0913 | 1.019 | 0.9174 | -1.012% | 1.0009
TNT | 0.9377 | 1.0142 | 0.8786 | 0.8698 | 0.8707 | 0.9031 | 0.9437 | 0.9725 | 1.0747 | 1.4527 | 4.864% | 0.99177
ENT | 1 | 0.9423 | 1.0539 | 1.0039 | 0.9638 | 0.8905 | 0.8326 | 0.8817 | 0.8689 | 0.8623 | -1.646% | 0.92999
Capital MPFP with OUTPUT Specification #3 (ENERGY, RATCHETED MAXIMUM DEMAND, Weighted Connection Points, CIRCUIT KMS, Energy Not Served) & INPUT SPECIFICATION #1 (O/H MVAkms, U/G MVAkms, Transformers & Other MVA)
TNSP | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | Annual Growth | Average
TNT | 1.2282 | 1.3256 | 1.3467 | 1.2476 | 1.2201 | 1.0835 | 1.1099 | 1.0152 | 1.097 | 1.0902 | -1.324% | 1.1764
ENT | 1 | 0.9948 | 0.9721 | 0.9659 | 0.9463 | 0.919 | 0.8718 | 0.812 | 0.8096 | 0.845 | -1.871% | 0.91365
PLK | 0.7946 | 0.7095 | 0.7724 | 0.6675 | 0.7069 | 0.6883 | 0.6802 | 0.6561 | 0.6279 | 0.6334 | -2.519% | 0.69368
TRG | 0.7621 | 0.7153 | 0.7435 | 0.6528 | 0.6212 | 0.6189 | 0.5853 | 0.594 | 0.5845 | 0.5455 | -3.715% | 0.64231
ANT | 0.5132 | 0.5582 | 0.4953 | 0.2663 | 0.5807 | 0.5974 | 0.5548 | 0.5867 | 0.594 | 0.5275 | 0.3054% | 0.52741