## Ch MTFP - Out3&In1
Index

## Ch Opex MPFP - Out3
Index

## Ch Capital MPFP - Out3&In1
Index

## Ch MTFP - Output
Index

## TNSP Output Indexes
2016 AER ELECTRICITY TRANSMISSION MULTILATERAL OUTPUT INDEXES - Reliability Option 1
Audited Data
OUTPUT SPECIFICATION #3: ENERGY, RATCHETED MAXIMUM DEMAND, WEIGHTED CONNECTION POINTS, CIRCUIT LENGTH, ENERGY NOT SERVED
TNSP | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
ENT | 1 | 0.9867 | 0.9921 | 1.0135 | 1.0039 | 1.0016 | 1.0217 | 1.0183 | 1.0263 | 1.0646
PLK | 2.4645 | 2.3593 | 2.5759 | 2.5319 | 2.7918 | 2.7873 | 2.8367 | 2.9251 | 2.9017 | 2.9759
ANT | 1.5861 | 1.7119 | 1.6004 | 1.5677 | 1.8619 | 1.8965 | 1.8172 | 1.9252 | 1.9517 | 1.7444
TNT | 0.7032 | 0.7674 | 0.7841 | 0.7554 | 0.7554 | 0.738 | 0.7518 | 0.7229 | 0.7807 | 0.7842
TRG | 3.2791 | 3.2644 | 3.3546 | 3.353 | 3.3488 | 3.4621 | 3.4485 | 3.4151 | 3.4167 | 3.364

## TNSP Input Indexes
2016 AER ELECTRICITY TRANSMISSION MULTILATERAL INPUT INDEXES
Audited Data
INPUT SPECIFICATION #1: OPEX, O/H MVAkms, U/G MVAkms, Transformers & Other MVA
TNSP | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
ENT | 1 | 1.0047 | 0.9953 | 1.0189 | 1.0326 | 1.0771 | 1.1592 | 1.1962 | 1.2199 | 1.2251
PLK | 2.8815 | 2.979 | 3.1393 | 3.365 | 3.5277 | 3.5445 | 3.6656 | 3.8604 | 3.9783 | 4.185
ANT | 2.4131 | 2.3674 | 2.3733 | 2.5099 | 2.5638 | 2.5029 | 2.4831 | 2.4927 | 2.5014 | 2.5129
TNT | 0.6058 | 0.6226 | 0.6609 | 0.6709 | 0.6713 | 0.6983 | 0.6819 | 0.6947 | 0.6992 | 0.646
TRG | 3.6418 | 3.7663 | 3.6605 | 4.0568 | 4.3064 | 4.3649 | 4.6362 | 4.4147 | 4.6337 | 4.7707

## TNSP MTFP Indexes
2016 AER ELECTRICITY TRANSMISSION MTFP RESULTS - Reliability Option 1
Audited Data
MTFP with OUTPUT Specification #3 (ENERGY, RATCHETED MAXIMUM DEMAND, Weighted Connection Points, CIRCUIT KMS, Energy Not Served) & INPUT SPECIFICATION #1 (OPEX, O/H MVAkms, U/G MVAkms, Transformers & Other MVA)
TNSP | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | Growth Rate
ENT | 1 | 0.9822 | 0.9968 | 0.9947 | 0.9722 | 0.93 | 0.8814 | 0.8513 | 0.8412 | 0.869 | -1.56%
PLK | 0.8553 | 0.792 | 0.8206 | 0.7524 | 0.7914 | 0.7864 | 0.7739 | 0.7577 | 0.7294 | 0.7111 | -2.052%
ANT | 0.6573 | 0.7231 | 0.6743 | 0.6246 | 0.7262 | 0.7577 | 0.7319 | 0.7723 | 0.7802 | 0.6942 | 0.6069%
TNT | 1.1607 | 1.2325 | 1.1864 | 1.1259 | 1.1254 | 1.0568 | 1.1024 | 1.0406 | 1.1164 | 1.214 | 0.4989%
TRG | 0.9004 | 0.8667 | 0.9164 | 0.8265 | 0.7776 | 0.7932 | 0.7438 | 0.7736 | 0.7373 | 0.7051 | -2.717%
Opex MPFP with OUTPUT Specification #3 (ENERGY, RATCHETED MAXIMUM DEMAND, Weighted Connection Points, CIRCUIT KMS, Energy Not Served)
TNSP | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | Growth Rate
ENT | 1 | 0.9439 | 1.0566 | 1.0131 | 0.9793 | 0.9065 | 0.8469 | 0.8974 | 0.884 | 0.8737 | -1.5%
PLK | 1.0049 | 0.9314 | 0.9412 | 0.9722 | 1.0322 | 1.0752 | 1.0641 | 1.0862 | 1.024 | 0.9203 | -0.9772%
ANT | 1.2257 | 1.3892 | 1.4326 | 1.0993 | 1.2948 | 1.4583 | 1.4922 | 1.5595 | 1.4976 | 1.3396 | 0.9873%
TNT | 0.9613 | 1.0318 | 0.8911 | 0.888 | 0.8879 | 0.9235 | 0.9639 | 0.999 | 1.0937 | 1.4763 | 4.767%
TRG | 1.3154 | 1.3428 | 1.4756 | 1.4809 | 1.3129 | 1.464 | 1.3639 | 1.4838 | 1.2426 | 1.3065 | -0.07543%
Capital MPFP with OUTPUT Specification #3 (ENERGY, RATCHETED MAXIMUM DEMAND, Weighted Connection Points, CIRCUIT KMS, Energy Not Served) & INPUT SPECIFICATION #1 (O/H MVAkms, U/G MVAkms, Transformers & Other MVA)
TNSP | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | Growth Rate
ENT | 1 | 0.9965 | 0.9746 | 0.9747 | 0.9615 | 0.9356 | 0.8867 | 0.8264 | 0.8236 | 0.8562 | -1.725%
PLK | 0.7946 | 0.7352 | 0.7731 | 0.6729 | 0.7053 | 0.6899 | 0.6791 | 0.653 | 0.631 | 0.6355 | -2.483%
ANT | 0.5155 | 0.5587 | 0.5112 | 0.4984 | 0.5818 | 0.5938 | 0.5641 | 0.5966 | 0.6011 | 0.5407 | 0.5303%
TNT | 1.2592 | 1.3486 | 1.3659 | 1.2736 | 1.2443 | 1.1079 | 1.1337 | 1.0428 | 1.1163 | 1.108 | -1.421%
TRG | 0.7636 | 0.7196 | 0.7453 | 0.6587 | 0.6292 | 0.6248 | 0.5916 | 0.6016 | 0.591 | 0.5557 | -3.531%

## TNSP MTFP Indexes Sorted
2016 AER ELECTRICITY TRANSMISSION MTFP RESULTS - Reliability Option 1
Audited Data
MTFP with OUTPUT Specification #3 (ENERGY, RATCHETED MAXIMUM DEMAND, Weighted Connection Points, CIRCUIT KMS, Energy Not Served) & INPUT SPECIFICATION #1 (OPEX, O/H MVAkms, U/G MVAkms, Transformers & Other MVA)
TNSP | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | Annual Growth | Average
TNT | 1.1607 | 1.2325 | 1.1864 | 1.1259 | 1.1254 | 1.0568 | 1.1024 | 1.0406 | 1.1164 | 1.214 | 0.4989% | 1.1361
ENT | 1 | 0.9822 | 0.9968 | 0.9947 | 0.9722 | 0.93 | 0.8814 | 0.8513 | 0.8412 | 0.869 | -1.56% | 0.93188
TRG | 0.9004 | 0.8667 | 0.9164 | 0.8265 | 0.7776 | 0.7932 | 0.7438 | 0.7736 | 0.7373 | 0.7051 | -2.717% | 0.80406
PLK R1 | 0.8553 | 0.792 | 0.8206 | 0.7524 | 0.7914 | 0.7864 | 0.7739 | 0.7577 | 0.7294 | 0.7111 | -2.052% | 0.77702
ANT R1 | 0.6573 | 0.7231 | 0.6743 | 0.6246 | 0.7262 | 0.7577 | 0.7319 | 0.7723 | 0.7802 | 0.6942 | 0.6069% | 0.71418
Opex MPFP with OUTPUT Specification #3 (ENERGY, RATCHETED MAXIMUM DEMAND, Weighted Connection Points, CIRCUIT KMS, Energy Not Served)
TNSP | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | Annual Growth | Average
ANT R1 | 1.2257 | 1.3892 | 1.4326 | 1.0993 | 1.2948 | 1.4583 | 1.4922 | 1.5595 | 1.4976 | 1.3396 | 0.9873% | 1.3789
TRG | 1.3154 | 1.3428 | 1.4756 | 1.4809 | 1.3129 | 1.464 | 1.3639 | 1.4838 | 1.2426 | 1.3065 | -0.07543% | 1.3788
TNT | 0.9613 | 1.0318 | 0.8911 | 0.888 | 0.8879 | 0.9235 | 0.9639 | 0.999 | 1.0937 | 1.4763 | 4.767% | 1.0116
PLK R1 | 1.0049 | 0.9314 | 0.9412 | 0.9722 | 1.0322 | 1.0752 | 1.0641 | 1.0862 | 1.024 | 0.9203 | -0.9772% | 1.0052
ENT | 1 | 0.9439 | 1.0566 | 1.0131 | 0.9793 | 0.9065 | 0.8469 | 0.8974 | 0.884 | 0.8737 | -1.5% | 0.94014
Capital MPFP with OUTPUT Specification #3 (ENERGY, RATCHETED MAXIMUM DEMAND, Weighted Connection Points, CIRCUIT KMS, Energy Not Served) & INPUT SPECIFICATION #1 (O/H MVAkms, U/G MVAkms, Transformers & Other MVA)
TNSP | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | Annual Growth | Average
TNT | 1.2592 | 1.3486 | 1.3659 | 1.2736 | 1.2443 | 1.1079 | 1.1337 | 1.0428 | 1.1163 | 1.108 | -1.421% | 1.2
ENT | 1 | 0.9965 | 0.9746 | 0.9747 | 0.9615 | 0.9356 | 0.8867 | 0.8264 | 0.8236 | 0.8562 | -1.725% | 0.92358
PLK | 0.7946 | 0.7352 | 0.7731 | 0.6729 | 0.7053 | 0.6899 | 0.6791 | 0.653 | 0.631 | 0.6355 | -2.483% | 0.69696
TRG | 0.7636 | 0.7196 | 0.7453 | 0.6587 | 0.6292 | 0.6248 | 0.5916 | 0.6016 | 0.591 | 0.5557 | -3.531% | 0.64811
ANT | 0.5155 | 0.5587 | 0.5112 | 0.4984 | 0.5818 | 0.5938 | 0.5641 | 0.5966 | 0.6011 | 0.5407 | 0.5303% | 0.55619
Original MTFP Sorted
TNSP | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | Annual Growth | Average
TNT | 1.152 | 1.228 | 1.1845 | 1.1191 | 1.12 | 1.049 | 1.0966 | 1.0295 | 1.1141 | 1.2126 | 0.5696% | 1.1305
ENT | 1 | 0.983 | 0.9994 | 0.9939 | 0.9667 | 0.9239 | 0.8765 | 0.8458 | 0.8368 | 0.8697 | -1.551% | 0.92957
TRG | 0.9029 | 0.8658 | 0.9203 | 0.8266 | 0.7755 | 0.7951 | 0.7456 | 0.7748 | 0.7405 | 0.7018 | -2.8% | 0.80489
PLK | 0.8543 | 0.7639 | 0.8193 | 0.7466 | 0.7939 | 0.7853 | 0.7769 | 0.7636 | 0.7288 | 0.7106 | -2.046% | 0.77432
ANT | 0.6534 | 0.7237 | 0.656 | 0.3364 | 0.7306 | 0.7687 | 0.7283 | 0.7713 | 0.7835 | 0.6857 | 0.5361% | 0.68376
MTFP Sorted Reliability Option 2
TNSP | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | Annual Growth | Average
TNT | 1.1597 | 1.2321 | 1.1864 | 1.1251 | 1.125 | 1.056 | 1.1021 | 1.0407 | 1.1164 | 1.2141 | 0.5094% | 1.1358
ENT | 1 | 0.9822 | 0.997 | 0.9947 | 0.9715 | 0.9292 | 0.8809 | 0.8507 | 0.8408 | 0.8691 | -1.559% | 0.93161
TRG | 0.9005 | 0.8666 | 0.9166 | 0.8265 | 0.7774 | 0.7933 | 0.7439 | 0.7737 | 0.7375 | 0.7048 | -2.723% | 0.80408
PLK R2 | 0.8552 | 0.8045 | 0.8205 | 0.7521 | 0.7915 | 0.7864 | 0.774 | 0.7579 | 0.7294 | 0.7111 | -2.05% | 0.77826
ANT R2 | 0.6569 | 0.7232 | 0.6815 | 0.6672 | 0.7264 | 0.758 | 0.7316 | 0.7724 | 0.7804 | 0.6954 | 0.6328% | 0.7193
Original Opex MPFP Sorted
TNSP | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | Annual Growth | Average
TRG | 1.3191 | 1.3413 | 1.4818 | 1.4811 | 1.3093 | 1.4676 | 1.3672 | 1.4862 | 1.248 | 1.3004 | -0.1586% | 1.3802
ANT | 1.2185 | 1.3903 | 1.3937 | 0.592 | 1.3026 | 1.4794 | 1.4849 | 1.5574 | 1.5038 | 1.3233 | 0.9168% | 1.3246
TNT | 0.9541 | 1.028 | 0.8896 | 0.8826 | 0.8837 | 0.9166 | 0.9588 | 0.9884 | 1.0914 | 1.4746 | 4.837% | 1.0068
PLK | 1.0037 | 0.8983 | 0.9398 | 0.9646 | 1.0354 | 1.0737 | 1.0683 | 1.0946 | 1.0232 | 0.9198 | -0.9699% | 1.0021
ENT | 1 | 0.9447 | 1.0593 | 1.0123 | 0.9738 | 0.9006 | 0.8421 | 0.8917 | 0.8793 | 0.8745 | -1.49% | 0.93783
Opex MPFP Sorted Reliability Option 2
TNSP | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | Annual Growth | Average
ANT R2 | 1.225 | 1.3894 | 1.4479 | 1.1743 | 1.2951 | 1.4587 | 1.4916 | 1.5595 | 1.498 | 1.3419 | 1.013% | 1.3881
TRG | 1.3156 | 1.3426 | 1.4759 | 1.4809 | 1.3126 | 1.4643 | 1.3642 | 1.484 | 1.2429 | 1.3058 | -0.08308% | 1.3789
TNT | 0.9605 | 1.0315 | 0.8911 | 0.8873 | 0.8876 | 0.9227 | 0.9636 | 0.9991 | 1.0937 | 1.4764 | 4.777% | 1.0113
PLK R2 | 1.0048 | 0.9461 | 0.9411 | 0.9717 | 1.0324 | 1.0752 | 1.0643 | 1.0865 | 1.024 | 0.9204 | -0.9748% | 1.0067
ENT | 1 | 0.944 | 1.0568 | 1.0131 | 0.9787 | 0.9058 | 0.8464 | 0.8968 | 0.8835 | 0.8738 | -1.499% | 0.93989