## Ch MTFP - Out3&In1
Index

## Ch Opex MPFP - Out3
Index

## Ch Capital MPFP - Out3&In1
Index

## TNSP Output Indexes
2016 AER ELECTRICITY TRANSMISSION MULTILATERAL OUTPUT INDEXES
Audited Data
OUTPUT SPECIFICATION #3: ENERGY, RATCHETED MAXIMUM DEMAND, WEIGHTED CONNECTION POINTS, CIRCUIT LENGTH, ENERGY NOT SERVED
TNSP | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
ENT | 1 | 0.9877 | 0.9953 | 1.0126 | 0.9978 | 0.9947 | 1.0154 | 1.0113 | 1.0203 | 1.0657
PLK | 2.4613 | 2.2709 | 2.5715 | 2.5081 | 2.803 | 2.7828 | 2.8508 | 2.9533 | 2.8993 | 2.974
ANT | 1.5713 | 1.7726 | 1.6054 | 0.8177 | 1.9532 | 2.01 | 1.877 | 1.9634 | 2.0035 | 1.7702
TNT | 0.688 | 0.7625 | 0.7827 | 0.7447 | 0.7487 | 0.7242 | 0.7444 | 0.7016 | 0.7786 | 0.7834
TRG | 3.273 | 3.2588 | 3.3692 | 3.3513 | 3.3399 | 3.4702 | 3.4566 | 3.4198 | 3.4328 | 3.3547

## TNSP Input Indexes
2016 AER ELECTRICITY TRANSMISSION MULTILATERAL INPUT INDEXES
Audited Data
INPUT SPECIFICATION #1: OPEX, O/H MVAkms, U/G MVAkms, Transformers & Other MVA
TNSP | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
ENT | 1 | 1.0048 | 0.9952 | 1.0188 | 1.0323 | 1.0767 | 1.1591 | 1.1952 | 1.2185 | 1.224
PLK | 2.8852 | 2.9823 | 3.1381 | 3.3667 | 3.5295 | 3.546 | 3.6683 | 3.8633 | 3.9801 | 4.188
ANT | 2.3054 | 2.2644 | 2.2681 | 2.4042 | 2.4528 | 2.3948 | 2.3766 | 2.3858 | 2.5 | 2.5106
TNT | 0.6057 | 0.6221 | 0.6609 | 0.6704 | 0.671 | 0.6978 | 0.6821 | 0.6945 | 0.6988 | 0.6456
TRG | 3.641 | 3.7647 | 3.6586 | 4.0541 | 4.3028 | 4.3617 | 4.6321 | 4.4103 | 4.6284 | 4.7649

## TNSP MTFP Indexes
2016 AER ELECTRICITY TRANSMISSION MTFP RESULTS
Audited Data
MTFP with OUTPUT Specification #3 (ENERGY, RATCHETED MAXIMUM DEMAND, Weighted Connection Points, CIRCUIT KMS, Energy Not Served) & INPUT SPECIFICATION #1 (OPEX, O/H MVAkms, U/G MVAkms, Transformers & Other MVA)
TNSP | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | Growth Rate
ENT | 1 | 0.983 | 1 | 0.9939 | 0.9665 | 0.9239 | 0.876 | 0.8462 | 0.8373 | 0.8707 | -1.538%
PLK | 0.8531 | 0.7615 | 0.8194 | 0.745 | 0.7942 | 0.7848 | 0.7771 | 0.7644 | 0.7284 | 0.7101 | -2.039%
ANT | 0.6816 | 0.7828 | 0.7078 | 0.3401 | 0.7963 | 0.8393 | 0.7898 | 0.823 | 0.8014 | 0.7051 | 0.3766%
TNT | 1.136 | 1.2257 | 1.1843 | 1.1109 | 1.1159 | 1.0379 | 1.0913 | 1.0102 | 1.1143 | 1.2134 | 0.7324%
TRG | 0.8989 | 0.8656 | 0.9209 | 0.8266 | 0.7762 | 0.7956 | 0.7462 | 0.7754 | 0.7417 | 0.704 | -2.715%
Opex MPFP with OUTPUT Specification #3 (ENERGY, RATCHETED MAXIMUM DEMAND, Weighted Connection Points, CIRCUIT KMS, Energy Not Served)
TNSP | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | Growth Rate
ENT | 1 | 0.9449 | 1.0599 | 1.0121 | 0.9734 | 0.9003 | 0.8416 | 0.8912 | 0.8789 | 0.8747 | -1.487%
PLK | 1.0035 | 0.8965 | 0.9396 | 0.9631 | 1.0363 | 1.0734 | 1.0694 | 1.0967 | 1.0231 | 0.9198 | -0.9677%
ANT | 1.2143 | 1.4385 | 1.4371 | 0.5734 | 1.3583 | 1.5455 | 1.5412 | 1.5904 | 1.5373 | 1.3594 | 1.254%
TNT | 0.9406 | 1.0252 | 0.8895 | 0.8754 | 0.8801 | 0.9063 | 0.9544 | 0.9695 | 1.0908 | 1.4748 | 4.997%
TRG | 1.313 | 1.3405 | 1.482 | 1.4802 | 1.3095 | 1.4674 | 1.3671 | 1.4859 | 1.2485 | 1.3029 | -0.0858%
Capital MPFP with OUTPUT Specification #3 (ENERGY, RATCHETED MAXIMUM DEMAND, Weighted Connection Points, CIRCUIT KMS, Energy Not Served) & INPUT SPECIFICATION #1 (O/H MVAkms, U/G MVAkms, Transformers & Other MVA)
TNSP | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | Growth Rate
ENT | 1 | 0.9975 | 0.9774 | 0.9743 | 0.9561 | 0.9296 | 0.8818 | 0.8218 | 0.82 | 0.8586 | -1.694%
PLK | 0.792 | 0.7065 | 0.7719 | 0.6662 | 0.7077 | 0.6885 | 0.682 | 0.6586 | 0.63 | 0.6345 | -2.464%
ANT | 0.5431 | 0.6145 | 0.5445 | 0.2756 | 0.6474 | 0.6672 | 0.6173 | 0.6447 | 0.6172 | 0.5491 | 0.1221%
TNT | 1.2333 | 1.342 | 1.3644 | 1.257 | 1.2346 | 1.0887 | 1.1232 | 1.0128 | 1.1146 | 1.108 | -1.19%
TRG | 0.762 | 0.7183 | 0.7488 | 0.6586 | 0.628 | 0.6267 | 0.5935 | 0.603 | 0.5945 | 0.5547 | -3.528%

## TNSP MTFP Indexes Sorted
2016 AER ELECTRICITY TRANSMISSION MTFP RESULTS
Audited Data
MTFP with OUTPUT Specification #3 (ENERGY, RATCHETED MAXIMUM DEMAND, Weighted Connection Points, CIRCUIT KMS, Energy Not Served) & INPUT SPECIFICATION #1 (OPEX, O/H MVAkms, U/G MVAkms, Transformers & Other MVA)
TNSP | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | Annual Growth | Average
TNT | 1.136 | 1.2257 | 1.1843 | 1.1109 | 1.1159 | 1.0379 | 1.0913 | 1.0102 | 1.1143 | 1.2134 | 0.7324% | 1.124
ENT | 1 | 0.983 | 1 | 0.9939 | 0.9665 | 0.9239 | 0.876 | 0.8462 | 0.8373 | 0.8707 | -1.538% | 0.92975
TRG | 0.8989 | 0.8656 | 0.9209 | 0.8266 | 0.7762 | 0.7956 | 0.7462 | 0.7754 | 0.7417 | 0.704 | -2.715% | 0.80511
PLK | 0.8531 | 0.7615 | 0.8194 | 0.745 | 0.7942 | 0.7848 | 0.7771 | 0.7644 | 0.7284 | 0.7101 | -2.039% | 0.7738
ANT | 0.6816 | 0.7828 | 0.7078 | 0.3401 | 0.7963 | 0.8393 | 0.7898 | 0.823 | 0.8014 | 0.7051 | 0.3766% | 0.72672
Opex MPFP with OUTPUT Specification #3 (ENERGY, RATCHETED MAXIMUM DEMAND, Weighted Connection Points, CIRCUIT KMS, Energy Not Served)
TNSP | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | Annual Growth | Average
TRG | 1.313 | 1.3405 | 1.482 | 1.4802 | 1.3095 | 1.4674 | 1.3671 | 1.4859 | 1.2485 | 1.3029 | -0.0858% | 1.3797
ANT | 1.2143 | 1.4385 | 1.4371 | 0.5734 | 1.3583 | 1.5455 | 1.5412 | 1.5904 | 1.5373 | 1.3594 | 1.254% | 1.3595
PLK | 1.0035 | 0.8965 | 0.9396 | 0.9631 | 1.0363 | 1.0734 | 1.0694 | 1.0967 | 1.0231 | 0.9198 | -0.9677% | 1.0021
TNT | 0.9406 | 1.0252 | 0.8895 | 0.8754 | 0.8801 | 0.9063 | 0.9544 | 0.9695 | 1.0908 | 1.4748 | 4.997% | 1.0007
ENT | 1 | 0.9449 | 1.0599 | 1.0121 | 0.9734 | 0.9003 | 0.8416 | 0.8912 | 0.8789 | 0.8747 | -1.487% | 0.9377
Capital MPFP with OUTPUT Specification #3 (ENERGY, RATCHETED MAXIMUM DEMAND, Weighted Connection Points, CIRCUIT KMS, Energy Not Served) & INPUT SPECIFICATION #1 (O/H MVAkms, U/G MVAkms, Transformers & Other MVA)
TNSP | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | Annual Growth | Average
TNT | 1.2333 | 1.342 | 1.3644 | 1.257 | 1.2346 | 1.0887 | 1.1232 | 1.0128 | 1.1146 | 1.108 | -1.19% | 1.1879
ENT | 1 | 0.9975 | 0.9774 | 0.9743 | 0.9561 | 0.9296 | 0.8818 | 0.8218 | 0.82 | 0.8586 | -1.694% | 0.92171
PLK | 0.792 | 0.7065 | 0.7719 | 0.6662 | 0.7077 | 0.6885 | 0.682 | 0.6586 | 0.63 | 0.6345 | -2.464% | 0.69379
TRG | 0.762 | 0.7183 | 0.7488 | 0.6586 | 0.628 | 0.6267 | 0.5935 | 0.603 | 0.5945 | 0.5547 | -3.528% | 0.64881
ANT | 0.5431 | 0.6145 | 0.5445 | 0.2756 | 0.6474 | 0.6672 | 0.6173 | 0.6447 | 0.6172 | 0.5491 | 0.1221% | 0.57206