## TNSP connection voltages
Option 1 (Grid Exit points counted at substation LV base on TNI) |  |  |  | Option 2 (Grid Exit points counted at substation HV)
Business name | AusNet Services |  |  | Business name | AusNet Services
Business code | 23SPT |  |  | Business code | 23SPT
| Regulatory year | 2014-15 | 2015-16 |  | Regulatory year | 2014-15 | 2015-16
Variable_Code | Variable |  |  | Variable_Code | Variable
| Table 5.2 Connection point numbers |  |  |  | Table 5.2 Connection point numbers
| Number of entry points at each transmission voltage level |  |  |  | Number of entry points at each transmission voltage level
| 500kV | 4 | 4 |  | 500kV | 4 | 4
| 330kV | 1 | 1 |  | 330kV | 0 | 0
| 220 kV | 12 | 13 |  | 220 kV | 12 | 13
| 132 kV | 1 | 1 |  | 132 kV | 1 | 1
| 66kV | 2 | 2 |  | 66kV | 2 | 2
| 22kV | 0 | 0 |  | 22kV | 0 | 0
| 11KV | 1 | 1 |  | 11KV | 1 | 1
| Total | 21 | 22 |  | Total | 20 | 21
| Number of exit points at each transmission voltage level |  |  |  | Number of exit points at each transmission voltage level
| 500kV | 1 | 1 |  | 500kV | 1 | 1
| 330kV | 1 | 1 |  | 330kV | 2 | 2
| 220 kV | 4 | 3 |  | 220 kV | 31 | 31
| 132 kV | 0 | 0 |  | 132 kV | 0 | 0
| 66kV | 32 | 32 |  | 66kV | 1 | 1
| 22kV | 11 | 11 |  | 22kV | 1 | 1
| 11KV | 1 | 1 |  | 11KV | 0 | 0
| Total | 50 | 49 |  | Total | 36 | 36
| Entry points |  |  |  | Entry points
| 500 | 2000 | 2000 |  | 500 | 2000 | 2000
| 330 | 330 | 330 |  | 330 | 0 | 0
| 220 | 2640 | 2860 |  | 220 | 2640 | 2860
| 132 | 132 | 132 |  | 132 | 132 | 132
| 66 | 132 | 132 |  | 66 | 132 | 132
| 22 | 0 | 0 |  | 22 | 0 | 0
| 11 | 11 | 11 |  | 11 | 11 | 11
| Exit points |  |  |  | Exit points
| 500 | 500 | 500 |  | 500 | 500 | 500
| 330 | 330 | 330 |  | 330 | 660 | 660
| 220 | 880 | 660 |  | 220 | 6820 | 6820
| 132 | 0 | 0 |  | 132 | 0 | 0
| 66 | 2112 | 2112 |  | 66 | 66 | 66
| 22 | 242 | 242 |  | 22 | 22 | 22
| 11 | 11 | 11 |  | 11 | 0 | 0
|  | 2014-15 | 2015-16 |  |  | 2014-15 | 2015-16
|  | 9320 | 9320 |  |  | 12983 | 13203

## PivotSPATNI_1
Generator/load | load |  | Generator/load | gen
Count of connection | Column Labels |  | Count of TNI | Column Labels
Row Labels | 2014-15 | 2015-16 | Row Labels | 2014-15 | 2015-16
11 | 1 | 1 | 11 | 2 | 2
VYP1 | 1 | 1 | VMWP | 2 | 2
22 | 11 | 11 | 66 | 2 | 2
VBE2 | 1 | 1 | VMWG | 1 | 1
VBL2 | 1 | 1 | VMWT | 1 | 1
VBT2 | 1 | 1 | 132 | 1 | 1
VHY2 | 1 | 1 | NGJP | 1 | 1
VKG2 | 1 | 1 | 220 | 32 | 34
VMT2 | 1 | 1 | VAT2 | 1 | 2
VRC2 | 1 | 1 | VDPS | 2 | 2
VRT2 | 1 | 1 | VEPS | 2 | 2
VRW3 | 1 | 1 | VHWP | 9 | 9
VWM2 | 1 | 1 | VJLG | 7 | 7
VWO2 | 1 | 1 | VNPS | 1 | 1
66 | 32 | 32 | VPTH |  | 1
VATS | 1 | 1 | VT14 | 1 | 1
VBAT | 1 | 1 | VWBT | 1 | 1
VBE6 | 1 | 1 | VWKP | 2 | 2
VBL6 | 1 | 1 | VYP2 | 4 | 4
VBL7 | 1 | 1 | VYP3 | 1 | 1
VCBT | 1 | 1 | VELT | 1 | 1
VER2 | 1 | 1 | 330 | 1 | 1
VFBT | 1 | 1 | NMUR | 1 | 1
VGNT | 1 | 1 | 500 | 12 | 17
VGT6 | 1 | 1 | VLYP | 8 | 13
VHOT | 1 | 1 | VM0P | 2 | 2
VHTS | 1 | 1 | VTBL | 1 | 1
VKG6 | 1 | 1 | VTRT | 1 | 1
VKT2 | 1 | 1
VLY6 | 1 | 1
VMBT | 1 | 1
VMT6 | 1 | 1
VMWT | 1 | 1
VRC6 | 1 | 1 |  | 2014-15 | 2015-16
VRCA | 1 | 1 | 500 | 4 | 4
VRT7 | 1 | 1 | 330 | 1 | 1
VRW7 | 1 | 1 | 220 | 12 | 13
VSHT | 1 | 1 | 132 | 1 | 1
VSM6 | 1 | 1 | 66 | 2 | 2
VSVT | 1 | 1 | 22 | 0 | 0
VTBT | 1 | 1 | 11 | 1 | 1
VTGT | 1 | 1
VTS2 | 1 | 1
VTTS | 1 | 1
VWET | 1 | 1
VWM7 | 1 | 1
VWO6 | 1 | 1
220 | 4 | 3
VCB2 | 1 | 1
VFVT | 1 | 1
VJLA | 1 | 1
VPTH | 1
330 | 1 | 1
NKHN | 1 | 1
500 | 1 | 1
VAPD | 1 | 1
| 2014-15 | 2015-16
500 | 1 | 1
330 | 1 | 1
220 | 4 | 3
132 | 0 | 0
66 | 32 | 32
22 | 11 | 11
11 | 1 | 1

## SPATNI_1
connection | voltage | TNI | year | Generator/load
Altona | 0 | VAT2 | 2014-15 | load
Altona | 66 | VATS | 2014-15 | load
Ballarat | 66 | VBAT | 2014-15 | load
Bendigo | 22 | VBE2 | 2014-15 | load
Bendigo | 66 | VBE6 | 2014-15 | load
BHP Western Port | 220 | VJLA | 2014-15 | load
Brooklyn (Jemena) | 22 | VBL2 | 2014-15 | load
Brooklyn (Jemena) | 66 | VBL6 | 2014-15 | load
Brooklyn (POWERCOR) | 0 | VBL3 | 2014-15 | load
Brooklyn (POWERCOR) | 66 | VBL7 | 2014-15 | load
Brunswick (CITIPOWER) | 22 | VBT2 | 2014-15 | load
Brunswick (Jemena) | 0 | VBTS | 2014-15 | load
Cranbourne | 220 | VCB2 | 2014-15 | load
Cranbourne (SPI Electricity) | 66 | VCBT | 2014-15 | load
Cranbourne (UE) | 0 | VCB5 | 2014-15 | load
East Rowville (SPI Electricity) | 66 | VER2 | 2014-15 | load
East Rowville (UE) | 0 | VERT | 2014-15 | load
Fishermens Bend (CITIPOWER) | 66 | VFBT | 2014-15 | load
Fishermens Bend (POWERCOR) | 0 | VFB2 | 2014-15 | load
Fosterville | 220 | VFVT | 2014-15 | load
Geelong | 66 | VGT6 | 2014-15 | load
Glenrowan | 66 | VGNT | 2014-15 | load
Heatherton | 66 | VHTS | 2014-15 | load
Heywood | 22 | VHY2 | 2014-15 | load
Horsham | 66 | VHOT | 2014-15 | load
Keilor (Jemena) | 66 | VKT2 | 2014-15 | load
Keilor (POWERCOR) | 0 | VKTS | 2014-15 | load
Kerang | 22 | VKG2 | 2014-15 | load
Kerang | 66 | VKG6 | 2014-15 | load
Khancoban | 330 | NKHN | 2014-15 | load
Loy Yang Substation | 66 | VLY6 | 2014-15 | load
Malvern | 22 | VMT2 | 2014-15 | load
Malvern | 66 | VMT6 | 2014-15 | load
Morwell TS | 66 | VMWT | 2014-15 | load
Mt Beauty | 66 | VMBT | 2014-15 | load
Portland | 500 | VAPD | 2014-15 | load
Pt Henry | 220 | VPTH | 2014-15 | load
Red Cliffs | 22 | VRC2 | 2014-15 | load
Red Cliffs | 66 | VRC6 | 2014-15 | load
Red Cliffs (Essential Energy) | 66 | VRCA | 2014-15 | load
Richmond | 22 | VRT2 | 2014-15 | load
Richmond (CITIPOWER) | 66 | VRT7 | 2014-15 | load
Richmond (UE) | 0 | VRT6 | 2014-15 | load
Ringwood (SPI Electricity) | 22 | VRW3 | 2014-15 | load
Ringwood (SPI Electricity) | 66 | VRW7 | 2014-15 | load
Ringwood (UE) | 0 | VRW2 | 2014-15 | load
Ringwood (UE) | 0 | VRW6 | 2014-15 | load
Shepparton | 66 | VSHT | 2014-15 | load
South Morang | 66 | VSM6 | 2014-15 | load
South Morang | 0 | VSMT | 2014-15 | load
Springvale (CITIPOWER) | 66 | VSVT | 2014-15 | load
Springvale (UE) | 0 | VSV2 | 2014-15 | load
Templestowe (CITIPOWER) | 66 | VTS2 | 2014-15 | load
Templestowe (Jemena) | 0 | VTST | 2014-15 | load
Templestowe (SPI Electricity) | 0 | VTS3 | 2014-15 | load
Templestowe (UE) | 0 | VTS4 | 2014-15 | load
Terang | 66 | VTGT | 2014-15 | load
Thomastown (Jemena) | 66 | VTTS | 2014-15 | load
Thomastown (SPI Electricity) | 0 | VTT2 | 2014-15 | load
Tyabb | 66 | VTBT | 2014-15 | load
Wemen TS | 66 | VWET | 2014-15 | load
West Melbourne | 22 | VWM2 | 2014-15 | load
West Melbourne (CITIPOWER) | 66 | VWM7 | 2014-15 | load
West Melbourne (Jemena) | 0 | VWM6 | 2014-15 | load
Wodonga | 22 | VWO2 | 2014-15 | load
Wodonga | 66 | VWO6 | 2014-15 | load
Yallourn | 11 | VYP1 | 2014-15 | load
Banimboola | 220 | VDPS | 2014-15 | gen
Basslink (Loy Yang Power Station Switchyard) | 500 | VTBL | 2014-15 | gen
Dartmouth PS | 220 | VDPS | 2014-15 | gen
Eildon PS Unit 1 | 220 | VEPS | 2014-15 | gen
Eildon PS Unit 2 | 220 | VEPS | 2014-15 | gen
Hazelwood PS Load | 220 | VHWP | 2014-15 | gen
Hazelwood PS Unit 1 | 220 | VHWP | 2014-15 | gen
Hazelwood PS Unit 2 | 220 | VHWP | 2014-15 | gen
Hazelwood PS Unit 3 | 220 | VHWP | 2014-15 | gen
Hazelwood PS Unit 4 | 220 | VHWP | 2014-15 | gen
Hazelwood PS Unit 5 | 220 | VHWP | 2014-15 | gen
Hazelwood PS Unit 6 | 220 | VHWP | 2014-15 | gen
Hazelwood PS Unit 7 | 220 | VHWP | 2014-15 | gen
Hazelwood PS Unit 8 | 220 | VHWP | 2014-15 | gen
Jeeralang A PS Unit 1 | 220 | VJLG | 2014-15 | gen
Jeeralang A PS Unit 2 | 220 | VJLG | 2014-15 | gen
Jeeralang A PS Unit 3 | 220 | VJLG | 2014-15 | gen
Jeeralang A PS Unit 4 | 220 | VJLG | 2014-15 | gen
Jeeralang B PS Unit 1 | 220 | VJLG | 2014-15 | gen
Jeeralang B PS Unit 2 | 220 | VJLG | 2014-15 | gen
Jeeralang B PS Unit 3 | 220 | VJLG | 2014-15 | gen
Jindabyne pump at Guthega | 132 | NGJP | 2014-15 | gen
Laverton | 220 | VAT2 | 2014-15 | gen
Loy Yang A PS Load | 500 | VLYP | 2014-15 | gen
Loy Yang A PS Unit 1 | 500 | VLYP | 2014-15 | gen
Loy Yang A PS Unit 2 | 500 | VLYP | 2014-15 | gen
Loy Yang A PS Unit 3 | 500 | VLYP | 2014-15 | gen
Loy Yang A PS Unit 4 | 500 | VLYP | 2014-15 | gen
Loy Yang B PS Unit 1 | 500 | VLYP | 2014-15 | gen
Loy Yang B PS Unit 2 | 500 | VLYP | 2014-15 | gen
MacArthur Wind Farm | 500 | VTRT | 2014-15 | gen
McKay Creek / Bogong PS | 220 | VT14 | 2014-15 | gen
Mortlake Unit 1 | 500 | VM0P | 2014-15 | gen
Mortlake Unit 2 | 500 | VM0P | 2014-15 | gen
Morwell PS G1, 2 and 3 | 66 | VMWG | 2014-15 | gen
Morwell PS G4 | 11 | VMWP | 2014-15 | gen
Morwell PS G5 | 11 | VMWP | 2014-15 | gen
Morwell PS Load | 66 | VMWT | 2014-15 | gen
Mt Mercer Windfarm | 220 | VELT | 2014-15 | gen
Murray | 330 | NMUR | 2014-15 | gen
Newport PS | 220 | VNPS | 2014-15 | gen
Valley Power PS | 500 | VLYP | 2014-15 | gen
Waubra Wind Farm | 220 | VWBT | 2014-15 | gen
West Kiewa PS Unit 1 | 220 | VWKP | 2014-15 | gen
West Kiewa PS Unit 2 | 220 | VWKP | 2014-15 | gen
Yallourn W PS 220 Load | 220 | VYP2 | 2014-15 | gen
Yallourn W PS 220 Unit 1 | 220 | VYP3 | 2014-15 | gen
Yallourn W PS 220 Unit 2 | 220 | VYP2 | 2014-15 | gen
Yallourn W PS 220 Unit 3 | 220 | VYP2 | 2014-15 | gen
Yallourn W PS 220 Unit 4 | 220 | VYP2 | 2014-15 | gen
Altona | 66 | VATS | 2015-16 | load
Altona | 0 | VAT2 | 2015-16 | load
Ballarat | 66 | VBAT | 2015-16 | load
Bendigo | 66 | VBE6 | 2015-16 | load
Bendigo | 22 | VBE2 | 2015-16 | load
BHP Western Port | 220 | VJLA | 2015-16 | load
Brooklyn (Jemena) | 22 | VBL2 | 2015-16 | load
Brooklyn (Jemena) | 66 | VBL6 | 2015-16 | load
Brooklyn (Powercor) | 0 | VBL3 | 2015-16 | load
Brooklyn (Powercor) | 66 | VBL7 | 2015-16 | load
Brunswick (CitiPower) | 22 | VBT2 | 2015-16 | load
Brunswick (Jemena) | 0 | VBTS | 2015-16 | load
Cranbourne | 220 | VCB2 | 2015-16 | load
Cranbourne (AusNet Services) | 66 | VCBT | 2015-16 | load
Cranbourne (United Energy) | 0 | VCB5 | 2015-16 | load
East Rowville (AusNet Services) | 66 | VER2 | 2015-16 | load
East Rowville (United Energy) | 0 | VERT | 2015-16 | load
Fishermens Bend (CitiPower) | 66 | VFBT | 2015-16 | load
Fishermens Bend (Powercor) | 0 | VFB2 | 2015-16 | load
Fosterville | 220 | VFVT | 2015-16 | load
Geelong | 66 | VGT6 | 2015-16 | load
Glenrowan | 66 | VGNT | 2015-16 | load
Heatherton | 66 | VHTS | 2015-16 | load
Heywood | 22 | VHY2 | 2015-16 | load
Horsham | 66 | VHOT | 2015-16 | load
Keilor (Jemena) | 66 | VKT2 | 2015-16 | load
Keilor (Powercor) | 0 | VKTS | 2015-16 | load
Kerang | 22 | VKG2 | 2015-16 | load
Kerang | 66 | VKG6 | 2015-16 | load
Khancoban | 330 | NKHN | 2015-16 | load
Loy Yang Substation | 66 | VLY6 | 2015-16 | load
Malvern | 22 | VMT2 | 2015-16 | load
Malvern | 66 | VMT6 | 2015-16 | load
Morwell TS | 66 | VMWT | 2015-16 | load
Mt Beauty | 66 | VMBT | 2015-16 | load
Portland | 500 | VAPD | 2015-16 | load
Red Cliffs | 22 | VRC2 | 2015-16 | load
Red Cliffs | 66 | VRC6 | 2015-16 | load
Red Cliffs (Essential Energy) | 66 | VRCA | 2015-16 | load
Richmond | 22 | VRT2 | 2015-16 | load
Richmond (CitiPower) | 66 | VRT7 | 2015-16 | load
Richmond (United Energy) | 0 | VRT6 | 2015-16 | load
Ringwood (AusNet Services) | 22 | VRW3 | 2015-16 | load
Ringwood (AusNet Services) | 66 | VRW7 | 2015-16 | load
Ringwood (United Energy) | 0 | VRW2 | 2015-16 | load
Ringwood (United Energy) | 0 | VRW6 | 2015-16 | load
Shepparton | 66 | VSHT | 2015-16 | load
South Morang (Jemena) | 66 | VSM6 | 2015-16 | load
South Morang (AusNet Services) | 0 | VSMT | 2015-16 | load
Springvale (CitiPower) | 66 | VSVT | 2015-16 | load
Springvale (United Energy) | 0 | VSV2 | 2015-16 | load
Templestowe (CitiPower) | 66 | VTS2 | 2015-16 | load
Templestowe (Jemena) | 0 | VTST | 2015-16 | load
Templestowe (AusNet Services) | 0 | VTS3 | 2015-16 | load
Templestowe (United Energy) | 0 | VTS4 | 2015-16 | load
Terang | 66 | VTGT | 2015-16 | load
Thomastown (Jemena) | 66 | VTTS | 2015-16 | load
Thomastown (AusNet Services) | 0 | VTT2 | 2015-16 | load
Tyabb | 66 | VTBT | 2015-16 | load
Wemen TS | 66 | VWET | 2015-16 | load
West Melbourne | 22 | VWM2 | 2015-16 | load
West Melbourne (CitiPower) | 66 | VWM7 | 2015-16 | load
West Melbourne (Jemena) | 0 | VWM6 | 2015-16 | load
Wodonga | 22 | VWO2 | 2015-16 | load
Wodonga | 66 | VWO6 | 2015-16 | load
Yallourn | 11 | VYP1 | 2015-16 | load
Anglesea PS | 220 | VPTH | 2015-16 | gen
Banimboola | 220 | VDPS | 2015-16 | gen
Basslink (Loy Yang PS Switchyard) Tasmania to Victoria | 500 | VTBL | 2015-16 | gen
Dartmouth PS | 220 | VDPS | 2015-16 | gen
Eildon PS Unit 1 | 220 | VEPS | 2015-16 | gen
Eildon PS Unit 2 | 220 | VEPS | 2015-16 | gen
Hazelwood PS Load | 220 | VHWP | 2015-16 | gen
Hazelwood PS Unit 1 | 220 | VHWP | 2015-16 | gen
Hazelwood PS Unit 2 | 220 | VHWP | 2015-16 | gen
Hazelwood PS Unit 3 | 220 | VHWP | 2015-16 | gen
Hazelwood PS Unit 4 | 220 | VHWP | 2015-16 | gen
Hazelwood PS Unit 5 | 220 | VHWP | 2015-16 | gen
Hazelwood PS Unit 6 | 220 | VHWP | 2015-16 | gen
Hazelwood PS Unit 7 | 220 | VHWP | 2015-16 | gen
Hazelwood PS Unit 8 | 220 | VHWP | 2015-16 | gen
Jeeralang A PS Unit 1 | 220 | VJLG | 2015-16 | gen
Jeeralang A PS Unit 2 | 220 | VJLG | 2015-16 | gen
Jeeralang A PS Unit 3 | 220 | VJLG | 2015-16 | gen
Jeeralang A PS Unit 4 | 220 | VJLG | 2015-16 | gen
Jeeralang B PS Unit 1 | 220 | VJLG | 2015-16 | gen
Jeeralang B PS Unit 2 | 220 | VJLG | 2015-16 | gen
Jeeralang B PS Unit 3 | 220 | VJLG | 2015-16 | gen
Jindabyne pump at Guthega | 132 | NGJP | 2015-16 | gen
Laverton PS (LNGS1) | 220 | VAT2 | 2015-16 | gen
Laverton PS (LNGS2) | 220 | VAT2 | 2015-16 | gen
Loy Yang A PS Load | 500 | VLYP | 2015-16 | gen
Loy Yang A PS Unit 1 | 500 | VLYP | 2015-16 | gen
Loy Yang A PS Unit 2 | 500 | VLYP | 2015-16 | gen
Loy Yang A PS Unit 3 | 500 | VLYP | 2015-16 | gen
Loy Yang A PS Unit 4 | 500 | VLYP | 2015-16 | gen
Loy Yang B PS Unit 1 | 500 | VLYP | 2015-16 | gen
Loy Yang B PS Unit 2 | 500 | VLYP | 2015-16 | gen
MacArthur Wind Farm | 500 | VTRT | 2015-16 | gen
McKay Creek / Bogong PS | 220 | VT14 | 2015-16 | gen
Mortlake Unit 1 | 500 | VM0P | 2015-16 | gen
Mortlake Unit 2 | 500 | VM0P | 2015-16 | gen
Morwell PS G1, 2 and 3 | 66 | VMWG | 2015-16 | gen
Morwell PS G4 | 11 | VMWP | 2015-16 | gen
Morwell PS G5 | 11 | VMWP | 2015-16 | gen
Morwell PS Load | 66 | VMWT | 2015-16 | gen
Mt Mercer Windfarm | 220 | VELT | 2015-16 | gen
Murray | 330 | NMUR | 2015-16 | gen
Newport PS | 220 | VNPS | 2015-16 | gen
Valley Power Unit 1 | 500 | VLYP | 2015-16 | gen
Valley Power Unit 2 | 500 | VLYP | 2015-16 | gen
Valley Power Unit 3 | 500 | VLYP | 2015-16 | gen
Valley Power Unit 4 | 500 | VLYP | 2015-16 | gen
Valley Power Unit 5 | 500 | VLYP | 2015-16 | gen
Valley Power Unit 6 | 500 | VLYP | 2015-16 | gen
Waubra Wind Farm | 220 | VWBT | 2015-16 | gen
West Kiewa PS Unit 1 | 220 | VWKP | 2015-16 | gen
West Kiewa PS Unit 2 | 220 | VWKP | 2015-16 | gen
Yallourn W PS 220 Load | 220 | VYP2 | 2015-16 | gen
Yallourn W PS 220 Unit 1 | 220 | VYP3 | 2015-16 | gen
Yallourn W PS 220 Unit 2 | 220 | VYP2 | 2015-16 | gen
Yallourn W PS 220 Unit 3 | 220 | VYP2 | 2015-16 | gen
Yallourn W PS 220 Unit 4 | 220 | VYP2 | 2015-16 | gen

## Vic2014-15
Table 1 Victorian Loads | [5 empty] | Source : AEMO Marginal Loss Factors for Victoria (2014-15)
Location | Voltage (kV) | TNI | Year | Generator/load | DNSP gen/multimple DNSP |  | Location | Voltage (kV) | TNI
Altona |  | VAT2 | 2014-15 | load | 220 |  | Altona | 220 | VAT2
Altona | 66 | VATS | 2014-15 | load | no |  | Altona | 66 | VATS
Ballarat | 66 | VBAT | 2014-15 | load | no |  | Ballarat | 66 | VBAT
Bendigo | 22 | VBE2 | 2014-15 | load | no |  | Bendigo | 22 | VBE2
Bendigo | 66 | VBE6 | 2014-15 | load | no |  | Bendigo | 66 | VBE6
BHP Western Port | 220 | VJLA | 2014-15 | load | no |  | BHP Western Port | 220 | VJLA
Brooklyn (Jemena) | 22 | VBL2 | 2014-15 | load | no |  | Brooklyn (Jemena) | 22 | VBL2
Brooklyn (Jemena) | 66 | VBL6 | 2014-15 | load | no |  | Brooklyn (Jemena) | 66 | VBL6
Brooklyn (POWERCOR) |  | VBL3 | 2014-15 | load | 22 |  | Brooklyn (POWERCOR) | 22 | VBL3
Brooklyn (POWERCOR) | 66 | VBL7 | 2014-15 | load | no |  | Brooklyn (POWERCOR) | 66 | VBL7
Brunswick (CITIPOWER) | 22 | VBT2 | 2014-15 | load | no |  | Brunswick (CITIPOWER) | 22 | VBT2
Brunswick (Jemena) |  | VBTS | 2014-15 | load | 22 |  | Brunswick (Jemena) | 22 | VBTS
Cranbourne | 220 | VCB2 | 2014-15 | load | no |  | Cranbourne | 220 | VCB2
Cranbourne (SPI Electricity) | 66 | VCBT | 2014-15 | load | no |  | Cranbourne (SPI Electricity) | 66 | VCBT
Cranbourne (UE) |  | VCB5 | 2014-15 | load | 66 |  | Cranbourne (UE) | 66 | VCB5
East Rowville (SPI Electricity) | 66 | VER2 | 2014-15 | load | no |  | East Rowville (SPI Electricity) | 66 | VER2
East Rowville (UE) |  | VERT | 2014-15 | load | 66 |  | East Rowville (UE) | 66 | VERT
Fishermens Bend (CITIPOWER) | 66 | VFBT | 2014-15 | load | no |  | Fishermens Bend (CITIPOWER) | 66 | VFBT
Fishermens Bend (POWERCOR) |  | VFB2 | 2014-15 | load | 66 |  | Fishermens Bend (POWERCOR) | 66 | VFB2
Fosterville | 220 | VFVT | 2014-15 | load | no |  | Fosterville | 220 | VFVT
Geelong | 66 | VGT6 | 2014-15 | load | no |  | Geelong | 66 | VGT6
Glenrowan | 66 | VGNT | 2014-15 | load | no |  | Glenrowan | 66 | VGNT
Heatherton | 66 | VHTS | 2014-15 | load | no |  | Heatherton | 66 | VHTS
Heywood | 22 | VHY2 | 2014-15 | load | no |  | Heywood | 22 | VHY2
Horsham | 66 | VHOT | 2014-15 | load | no |  | Horsham | 66 | VHOT
Keilor (Jemena) | 66 | VKT2 | 2014-15 | load | no |  | Keilor (Jemena) | 66 | VKT2
Keilor (POWERCOR) |  | VKTS | 2014-15 | load | 66 |  | Keilor (POWERCOR) | 66 | VKTS
Kerang | 22 | VKG2 | 2014-15 | load | no |  | Kerang | 22 | VKG2
Kerang | 66 | VKG6 | 2014-15 | load | no |  | Kerang | 66 | VKG6
Khancoban | 330 | NKHN | 2014-15 | load | no |  | Khancoban | 330 | NKHN
Loy Yang Substation | 66 | VLY6 | 2014-15 | load | Included |  | Loy Yang Substation | 66 | VLY6
Malvern | 22 | VMT2 | 2014-15 | load | no |  | Malvern | 22 | VMT2
Malvern | 66 | VMT6 | 2014-15 | load | no |  | Malvern | 66 | VMT6
Morwell TS | 66 | VMWT | 2014-15 | load | no |  | Morwell TS | 66 | VMWT
Mt Beauty | 66 | VMBT | 2014-15 | load | no |  | Mt Beauty | 66 | VMBT
Portland | 500 | VAPD | 2014-15 | load | no |  | Portland | 500 | VAPD
Pt Henry | 220 | VPTH | 2014-15 | load | no |  | Pt Henry | 220 | VPTH
Red Cliffs | 22 | VRC2 | 2014-15 | load | no |  | Red Cliffs | 22 | VRC2
Red Cliffs | 66 | VRC6 | 2014-15 | load | no |  | Red Cliffs | 66 | VRC6
Red Cliffs (Essential Energy) | 66 | VRCA | 2014-15 | load | no |  | Red Cliffs (Essential Energy) | 66 | VRCA
Richmond | 22 | VRT2 | 2014-15 | load | no |  | Richmond | 22 | VRT2
Richmond (CITIPOWER) | 66 | VRT7 | 2014-15 | load | no |  | Richmond (CITIPOWER) | 66 | VRT7
Richmond (UE) |  | VRT6 | 2014-15 | load | 66 |  | Richmond (UE) | 66 | VRT6
Ringwood (SPI Electricity) | 22 | VRW3 | 2014-15 | load | no |  | Ringwood (SPI Electricity) | 22 | VRW3
Ringwood (SPI Electricity) | 66 | VRW7 | 2014-15 | load | no |  | Ringwood (SPI Electricity) | 66 | VRW7
Ringwood (UE) |  | VRW2 | 2014-15 | load | 22 |  | Ringwood (UE) | 22 | VRW2
Ringwood (UE) |  | VRW6 | 2014-15 | load | 66 |  | Ringwood (UE) | 66 | VRW6
Shepparton | 66 | VSHT | 2014-15 | load | no |  | Shepparton | 66 | VSHT
South Morang | 66 | VSM6 | 2014-15 | load | no |  | South Morang | 66 | VSM6
South Morang |  | VSMT | 2014-15 | load | 66 |  | South Morang | 66 | VSMT
Springvale (CITIPOWER) | 66 | VSVT | 2014-15 | load | no |  | Springvale (CITIPOWER) | 66 | VSVT
Springvale (UE) |  | VSV2 | 2014-15 | load | 66 |  | Springvale (UE) | 66 | VSV2
Templestowe (CITIPOWER) | 66 | VTS2 | 2014-15 | load | no |  | Templestowe (CITIPOWER) | 66 | VTS2
Templestowe (Jemena) |  | VTST | 2014-15 | load | 66 |  | Templestowe (Jemena) | 66 | VTST
Templestowe (SPI Electricity) |  | VTS3 | 2014-15 | load | 66 |  | Templestowe (SPI Electricity) | 66 | VTS3
Templestowe (UE) |  | VTS4 | 2014-15 | load | 66 |  | Templestowe (UE) | 66 | VTS4
Terang | 66 | VTGT | 2014-15 | load | no |  | Terang | 66 | VTGT
Thomastown (Jemena) | 66 | VTTS | 2014-15 | load | no |  | Thomastown (Jemena) | 66 | VTTS
Thomastown (SPI Electricity) |  | VTT2 | 2014-15 | load | 66 |  | Thomastown (SPI Electricity) | 66 | VTT2
Tyabb | 66 | VTBT | 2014-15 | load | no |  | Tyabb | 66 | VTBT
Wemen TS | 66 | VWET | 2014-15 | load | no |  | Wemen TS | 66 | VWET
West Melbourne | 22 | VWM2 | 2014-15 | load | no |  | West Melbourne | 22 | VWM2
West Melbourne (CITIPOWER) | 66 | VWM7 | 2014-15 | load | no |  | West Melbourne (CITIPOWER) | 66 | VWM7
West Melbourne (Jemena) |  | VWM6 | 2014-15 | load | 66 |  | West Melbourne (Jemena) | 66 | VWM6
Wodonga | 22 | VWO2 | 2014-15 | load | no |  | Wodonga | 22 | VWO2
Wodonga | 66 | VWO6 | 2014-15 | load | no |  | Wodonga | 66 | VWO6
Yallourn | 11 | VYP1 | 2014-15 | load | Included |  | Yallourn | 11 | VYP1
Table 2 Victoria Generation
Location | Voltage [kV] | TNI
Banimboola | 220 | VDPS | 2014-15 | gen
Basslink (Loy Yang Power Station Switchyard) | 500 | VTBL | 2014-15 | gen
Dartmouth PS | 220 | VDPS | 2014-15 | gen
Eildon PS Unit 1 | 220 | VEPS | 2014-15 | gen
Eildon PS Unit 2 | 220 | VEPS | 2014-15 | gen
Hazelwood PS Load | 220 | VHWP | 2014-15 | gen
Hazelwood PS Unit 1 | 220 | VHWP | 2014-15 | gen
Hazelwood PS Unit 2 | 220 | VHWP | 2014-15 | gen
Hazelwood PS Unit 3 | 220 | VHWP | 2014-15 | gen
Hazelwood PS Unit 4 | 220 | VHWP | 2014-15 | gen
Hazelwood PS Unit 5 | 220 | VHWP | 2014-15 | gen
Hazelwood PS Unit 6 | 220 | VHWP | 2014-15 | gen
Hazelwood PS Unit 7 | 220 | VHWP | 2014-15 | gen
Hazelwood PS Unit 8 | 220 | VHWP | 2014-15 | gen
Jeeralang A PS Unit 1 | 220 | VJLG | 2014-15 | gen
Jeeralang A PS Unit 2 | 220 | VJLG | 2014-15 | gen
Jeeralang A PS Unit 3 | 220 | VJLG | 2014-15 | gen
Jeeralang A PS Unit 4 | 220 | VJLG | 2014-15 | gen
Jeeralang B PS Unit 1 | 220 | VJLG | 2014-15 | gen
Jeeralang B PS Unit 2 | 220 | VJLG | 2014-15 | gen
Jeeralang B PS Unit 3 | 220 | VJLG | 2014-15 | gen
Jindabyne pump at Guthega | 132 | NGJP | 2014-15 | gen
Laverton | 220 | VAT2 | 2014-15 | gen
Loy Yang A PS Load | 500 | VLYP | 2014-15 | gen
Loy Yang A PS Unit 1 | 500 | VLYP | 2014-15 | gen
Loy Yang A PS Unit 2 | 500 | VLYP | 2014-15 | gen
Loy Yang A PS Unit 3 | 500 | VLYP | 2014-15 | gen
Loy Yang A PS Unit 4 | 500 | VLYP | 2014-15 | gen
Loy Yang B PS Unit 1 | 500 | VLYP | 2014-15 | gen
Loy Yang B PS Unit 2 | 500 | VLYP | 2014-15 | gen
MacArthur Wind Farm | 500 | VTRT | 2014-15 | gen
McKay Creek / Bogong PS | 220 | VT14 | 2014-15 | gen
Mortlake Unit 1 | 500 | VM0P | 2014-15 | gen
Mortlake Unit 2 | 500 | VM0P | 2014-15 | gen
Morwell PS G1, 2 and 3 | 66 | VMWG | 2014-15 | gen
Morwell PS G4 | 11 | VMWP | 2014-15 | gen
Morwell PS G5 | 11 | VMWP | 2014-15 | gen
Morwell PS Load | 66 | VMWT | 2014-15 | gen
Mt Mercer Windfarm | 220 | VELT | 2014-15 | gen
Murray | 330 | NMUR | 2014-15 | gen | removed from VIC
Newport PS | 220 | VNPS | 2014-15 | gen
Valley Power PS | 500 | VLYP | 2014-15 | gen
Waubra Wind Farm | 220 | VWBT | 2014-15 | gen
West Kiewa PS Unit 1 | 220 | VWKP | 2014-15 | gen
West Kiewa PS Unit 2 | 220 | VWKP | 2014-15 | gen
Yallourn W PS 220 Load | 220 | VYP2 | 2014-15 | gen
Yallourn W PS 220 Unit 1 | 220 | VYP3 | 2014-15 | gen
Yallourn W PS 220 Unit 2 | 220 | VYP2 | 2014-15 | gen
Yallourn W PS 220 Unit 3 | 220 | VYP2 | 2014-15 | gen
Yallourn W PS 220 Unit 4 | 220 | VYP2 | 2014-15 | gen
Table 3 Victoria Embedded Generation
Location | Voltage [kV] | TNI | Year | Gen/Load
Anglesea PS | 220 | VAPS | 2014-15 | Emb. gen
Bairnsdale Power Station | 66 | VBDL | 2014-15 | Emb. gen
Bairnsdale Power Station Generator Unit 2 | 66 | VBDL | 2014-15 | Emb. gen
Ballarat Health Services | 66 | VBAT | 2014-15 | Emb. gen
Brooklyn Landfill & Recycling Facility | 66 | VBL6 | 2014-15 | Emb. gen
Clayton Landfill Gas Power Station | 22 | VSV2 | 2014-15 | Emb. gen
Codrington Wind Farm | 66 | VTGT | 2014-15 | Emb. gen
Corio LFG PS | 22 | VGT6 | 2014-15 | Emb. gen
Glenmaggie Hydro PS | 66 | VMWT | 2014-15 | Emb. gen
Hallam Mini Hydro | 66 | VER2 | 2014-15 | Emb. gen
Hallam Road Renewable Energy Facility | 66 | VER2 | 2014-15 | Emb. gen
Hepburn Community WF | 66 | VBAT | 2014-15 | Emb. gen
Hume (Victorian Share) | 66 | VHUM | 2014-15 | Emb. gen
Longford | 66 | VMWT | 2014-15 | Emb. gen
Mornington Landfill Site Generator | 66 | VTBT | 2014-15 | Emb. gen
Mortons Lane Wind Farm | 66 | VTGT | 2014-15 | Emb. gen
Oaklands Hill Wind Farm | 66 | VTGT | 2014-15 | Emb. gen
Shepparton Waste Gas | 66 | VSHT | 2014-15 | Emb. gen
Somerton Power Station | 66 | VSOM | 2014-15 | Emb. gen
Springvale Power Plant | 22 | VSV2 | 2014-15 | Emb. gen
Tatura | 66 | VSHT | 2014-15 | Emb. gen
Toora Wind Farm | 66 | VMWT | 2014-15 | Emb. gen
Traralgon NSS | 22 | VMWT | 2014-15 | Emb. gen
William Horvell Hydro PS | 66 | VWO6 | 2014-15 | Emb. gen
Wollert Renewable Energy Facility | 66 | VSMT | 2014-15 | Emb. gen
Wonthaggi Wind Farm | 66 | VMWT | 2014-15 | Emb. gen
Wyndham Landfill Site Generator | 66 | VATS | 2014-15 | Emb. gen
Yambuk Wind Farm | 66 | VTGT | 2014-15 | Emb. gen
Yarawonga Hydro PS | 66 | VSHT | 2014-15 | Emb. gen

## Vic2015-16
Table 1 Victorian Loads | [5 empty] | Source : AEMO Marginal Loss Factors for Victoria (2015-16)
Location | Voltage (kV) | TNI | Year | Generator/load | DNSP gen/multimple DNSP |  | Location | Voltage (kV) | TNI
Altona | 66 | VATS | 2015-16 | load | no |  | Altona | 66 | VATS
Altona |  | VAT2 | 2015-16 | load | 220 |  | Altona | 220 | VAT2
Ballarat | 66 | VBAT | 2015-16 | load | no |  | Ballarat | 66 | VBAT
Bendigo | 66 | VBE6 | 2015-16 | load | no |  | Bendigo | 66 | VBE6
Bendigo | 22 | VBE2 | 2015-16 | load | no |  | Bendigo | 22 | VBE2
BHP Western Port | 220 | VJLA | 2015-16 | load | no |  | BHP Western Port | 220 | VJLA
Brooklyn (Jemena) | 22 | VBL2 | 2015-16 | load | no |  | Brooklyn (Jemena) | 22 | VBL2
Brooklyn (Jemena) | 66 | VBL6 | 2015-16 | load | no |  | Brooklyn (Jemena) | 66 | VBL6
Brooklyn (Powercor) |  | VBL3 | 2015-16 | load | 22 |  | Brooklyn (Powercor) | 22 | VBL3
Brooklyn (Powercor) | 66 | VBL7 | 2015-16 | load | no |  | Brooklyn (Powercor) | 66 | VBL7
Brunswick (CitiPower) | 22 | VBT2 | 2015-16 | load | no |  | Brunswick (CitiPower) | 22 | VBT2
Brunswick (Jemena) |  | VBTS | 2015-16 | load | 22 |  | Brunswick (Jemena) | 22 | VBTS
Cranbourne | 220 | VCB2 | 2015-16 | load | no |  | Cranbourne | 220 | VCB2
Cranbourne (AusNet Services) | 66 | VCBT | 2015-16 | load | no |  | Cranbourne (AusNet Services) | 66 | VCBT
Cranbourne (United Energy) |  | VCB5 | 2015-16 | load | 66 |  | Cranbourne (United Energy) | 66 | VCB5
East Rowville (AusNet Services) | 66 | VER2 | 2015-16 | load | no |  | East Rowville (AusNet Services) | 66 | VER2
East Rowville (United Energy) |  | VERT | 2015-16 | load | 66 |  | East Rowville (United Energy) | 66 | VERT
Fishermens Bend (CitiPower) | 66 | VFBT | 2015-16 | load | no |  | Fishermens Bend (CitiPower) | 66 | VFBT
Fishermens Bend (Powercor) |  | VFB2 | 2015-16 | load | 66 |  | Fishermens Bend (Powercor) | 66 | VFB2
Fosterville | 220 | VFVT | 2015-16 | load | no |  | Fosterville | 220 | VFVT
Geelong | 66 | VGT6 | 2015-16 | load | no |  | Geelong | 66 | VGT6
Glenrowan | 66 | VGNT | 2015-16 | load | no |  | Glenrowan | 66 | VGNT
Heatherton | 66 | VHTS | 2015-16 | load | no |  | Heatherton | 66 | VHTS
Heywood | 22 | VHY2 | 2015-16 | load | no |  | Heywood | 22 | VHY2
Horsham | 66 | VHOT | 2015-16 | load | no |  | Horsham | 66 | VHOT
Keilor (Jemena) | 66 | VKT2 | 2015-16 | load | no |  | Keilor (Jemena) | 66 | VKT2
Keilor (Powercor) |  | VKTS | 2015-16 | load | 66 |  | Keilor (Powercor) | 66 | VKTS
Kerang | 22 | VKG2 | 2015-16 | load | no |  | Kerang | 22 | VKG2
Kerang | 66 | VKG6 | 2015-16 | load | no |  | Kerang | 66 | VKG6
Khancoban | 330 | NKHN | 2015-16 | load | no |  | Khancoban | 330 | NKHN
Loy Yang Substation | 66 | VLY6 | 2015-16 | load | Included |  | Loy Yang Substation | 66 | VLY6
Malvern | 22 | VMT2 | 2015-16 | load | no |  | Malvern | 22 | VMT2
Malvern | 66 | VMT6 | 2015-16 | load | no |  | Malvern | 66 | VMT6
Morwell TS | 66 | VMWT | 2015-16 | load | no |  | Morwell TS | 66 | VMWT
Mt Beauty | 66 | VMBT | 2015-16 | load | no |  | Mt Beauty | 66 | VMBT
Portland | 500 | VAPD | 2015-16 | load | no |  | Portland | 500 | VAPD
Red Cliffs | 22 | VRC2 | 2015-16 | load | no |  | Red Cliffs | 22 | VRC2
Red Cliffs | 66 | VRC6 | 2015-16 | load | no |  | Red Cliffs | 66 | VRC6
Red Cliffs (Essential Energy) | 66 | VRCA | 2015-16 | load | no |  | Red Cliffs (Essential Energy) | 66 | VRCA
Richmond | 22 | VRT2 | 2015-16 | load | no |  | Richmond | 22 | VRT2
Richmond (CitiPower) | 66 | VRT7 | 2015-16 | load | no |  | Richmond (CitiPower) | 66 | VRT7
Richmond (United Energy) |  | VRT6 | 2015-16 | load | 66 |  | Richmond (United Energy) | 66 | VRT6
Ringwood (AusNet Services) | 22 | VRW3 | 2015-16 | load | no |  | Ringwood (AusNet Services) | 22 | VRW3
Ringwood (AusNet Services) | 66 | VRW7 | 2015-16 | load | no |  | Ringwood (AusNet Services) | 66 | VRW7
Ringwood (United Energy) |  | VRW2 | 2015-16 | load | 22 |  | Ringwood (United Energy) | 22 | VRW2
Ringwood (United Energy) |  | VRW6 | 2015-16 | load | 66 |  | Ringwood (United Energy) | 66 | VRW6
Shepparton | 66 | VSHT | 2015-16 | load | no |  | Shepparton | 66 | VSHT
South Morang (Jemena) | 66 | VSM6 | 2015-16 | load | no |  | South Morang (Jemena) | 66 | VSM6
South Morang (AusNet Services) |  | VSMT | 2015-16 | load | 66 |  | South Morang (AusNet Services) | 66 | VSMT
Springvale (CitiPower) | 66 | VSVT | 2015-16 | load | no |  | Springvale (CitiPower) | 66 | VSVT
Springvale (United Energy) |  | VSV2 | 2015-16 | load | 66 |  | Springvale (United Energy) | 66 | VSV2
Templestowe (CitiPower) | 66 | VTS2 | 2015-16 | load | no |  | Templestowe (CitiPower) | 66 | VTS2
Templestowe (Jemena) |  | VTST | 2015-16 | load | 66 |  | Templestowe (Jemena) | 66 | VTST
Templestowe (AusNet Services) |  | VTS3 | 2015-16 | load | 66 |  | Templestowe (AusNet Services) | 66 | VTS3
Templestowe (United Energy) |  | VTS4 | 2015-16 | load | 66 |  | Templestowe (United Energy) | 66 | VTS4
Terang | 66 | VTGT | 2015-16 | load | no |  | Terang | 66 | VTGT
Thomastown (Jemena) | 66 | VTTS | 2015-16 | load | no |  | Thomastown (Jemena) | 66 | VTTS
Thomastown (AusNet Services) |  | VTT2 | 2015-16 | load | 66 |  | Thomastown (AusNet Services) | 66 | VTT2
Tyabb | 66 | VTBT | 2015-16 | load | no |  | Tyabb | 66 | VTBT
Wemen TS | 66 | VWET | 2015-16 | load | no |  | Wemen TS | 66 | VWET
West Melbourne | 22 | VWM2 | 2015-16 | load | no |  | West Melbourne | 22 | VWM2
West Melbourne (CitiPower) | 66 | VWM7 | 2015-16 | load | no |  | West Melbourne (CitiPower) | 66 | VWM7
West Melbourne (Jemena) |  | VWM6 | 2015-16 | load | 66 |  | West Melbourne (Jemena) | 66 | VWM6
Wodonga | 22 | VWO2 | 2015-16 | load | no |  | Wodonga | 22 | VWO2
Wodonga | 66 | VWO6 | 2015-16 | load | no |  | Wodonga | 66 | VWO6
Yallourn | 11 | VYP1 | 2015-16 | load | Included |  | Yallourn | 11 | VYP1
Table 2 Victoria Generation
Location | Voltage (kV) | TNI | Year | Gen/load
Anglesea PS | 220 | VPTH | 2015-16 | gen
Banimboola | 220 | VDPS | 2015-16 | gen
Basslink (Loy Yang PS Switchyard) Tasmania to Victoria | 500 | VTBL | 2015-16 | gen
Dartmouth PS | 220 | VDPS | 2015-16 | gen
Eildon PS Unit 1 | 220 | VEPS | 2015-16 | gen
Eildon PS Unit 2 | 220 | VEPS | 2015-16 | gen
Hazelwood PS Load | 220 | VHWP | 2015-16 | gen
Hazelwood PS Unit 1 | 220 | VHWP | 2015-16 | gen
Hazelwood PS Unit 2 | 220 | VHWP | 2015-16 | gen
Hazelwood PS Unit 3 | 220 | VHWP | 2015-16 | gen
Hazelwood PS Unit 4 | 220 | VHWP | 2015-16 | gen
Hazelwood PS Unit 5 | 220 | VHWP | 2015-16 | gen
Hazelwood PS Unit 6 | 220 | VHWP | 2015-16 | gen
Hazelwood PS Unit 7 | 220 | VHWP | 2015-16 | gen
Hazelwood PS Unit 8 | 220 | VHWP | 2015-16 | gen
Jeeralang A PS Unit 1 | 220 | VJLG | 2015-16 | gen
Jeeralang A PS Unit 2 | 220 | VJLG | 2015-16 | gen
Jeeralang A PS Unit 3 | 220 | VJLG | 2015-16 | gen
Jeeralang A PS Unit 4 | 220 | VJLG | 2015-16 | gen
Jeeralang B PS Unit 1 | 220 | VJLG | 2015-16 | gen
Jeeralang B PS Unit 2 | 220 | VJLG | 2015-16 | gen
Jeeralang B PS Unit 3 | 220 | VJLG | 2015-16 | gen
Jindabyne pump at Guthega | 132 | NGJP | 2015-16 | gen
Laverton PS (LNGS1) | 220 | VAT2 | 2015-16 | gen
Laverton PS (LNGS2) | 220 | VAT2 | 2015-16 | gen
Loy Yang A PS Load | 500 | VLYP | 2015-16 | gen
Loy Yang A PS Unit 1 | 500 | VLYP | 2015-16 | gen
Loy Yang A PS Unit 2 | 500 | VLYP | 2015-16 | gen
Loy Yang A PS Unit 3 | 500 | VLYP | 2015-16 | gen
Loy Yang A PS Unit 4 | 500 | VLYP | 2015-16 | gen
Loy Yang B PS Unit 1 | 500 | VLYP | 2015-16 | gen
Loy Yang B PS Unit 2 | 500 | VLYP | 2015-16 | gen
MacArthur Wind Farm | 500 | VTRT | 2015-16 | gen
McKay Creek / Bogong PS | 220 | VT14 | 2015-16 | gen
Mortlake Unit 1 | 500 | VM0P | 2015-16 | gen
Mortlake Unit 2 | 500 | VM0P | 2015-16 | gen
Morwell PS G1, 2 and 3 | 66 | VMWG | 2015-16 | gen
Morwell PS G4 | 11 | VMWP | 2015-16 | gen
Morwell PS G5 | 11 | VMWP | 2015-16 | gen
Morwell PS Load | 66 | VMWT | 2015-16 | gen
Mt Mercer Windfarm | 220 | VELT | 2015-16 | gen
Murray | 330 | NMUR | 2015-16 | gen | removed from VIC
Newport PS | 220 | VNPS | 2015-16 | gen
Valley Power Unit 1 | 500 | VLYP | 2015-16 | gen
Valley Power Unit 2 | 500 | VLYP | 2015-16 | gen
Valley Power Unit 3 | 500 | VLYP | 2015-16 | gen
Valley Power Unit 4 | 500 | VLYP | 2015-16 | gen
Valley Power Unit 5 | 500 | VLYP | 2015-16 | gen
Valley Power Unit 6 | 500 | VLYP | 2015-16 | gen
Waubra Wind Farm | 220 | VWBT | 2015-16 | gen
West Kiewa PS Unit 1 | 220 | VWKP | 2015-16 | gen
West Kiewa PS Unit 2 | 220 | VWKP | 2015-16 | gen
Yallourn W PS 220 Load | 220 | VYP2 | 2015-16 | gen
Yallourn W PS 220 Unit 1 | 220 | VYP3 | 2015-16 | gen
Yallourn W PS 220 Unit 2 | 220 | VYP2 | 2015-16 | gen
Yallourn W PS 220 Unit 3 | 220 | VYP2 | 2015-16 | gen
Yallourn W PS 220 Unit 4 | 220 | VYP2 | 2015-16 | gen
Table 3 Victoria Embedded Generation
Location | Voltage (kV) | TNI | Year | Gen/load
Bairnsdale PS | 66 | VBDL | 2015-16 | Emb. Gen
Bairnsdale PS Generator Unit 2 | 66 | VBDL | 2015-16 | Emb. Gen
Balds Hill WF (NEW) | 66 | VMWT | 2015-16 | Emb. Gen
Ballarat Health Services | 66 | VBAT | 2015-16 | Emb. Gen
Brooklyn Landfill & Recycling Facility | 66 | VBL6 | 2015-16 | Emb. Gen
Clayton Landfill Gas PS | 66 | VSV2 | 2015-16 | Emb. Gen
Codrington Wind Farm | 66 | VTGT | 2015-16 | Emb. Gen
Corio LFG PS | 66 | VGT6 | 2015-16 | Emb. Gen
Glenmaggie Hydro PS | 66 | VMWT | 2015-16 | Emb. Gen
Hallam Mini Hydro | 66 | VER2 | 2015-16 | Emb. Gen
Hallam Road Renewable Energy Facility | 66 | VER2 | 2015-16 | Emb. Gen
Hepburn Community WF | 66 | VBAT | 2015-16 | Emb. Gen
Hume (Victorian Share) | 66 | VHUM | 2015-16 | Emb. Gen
Longford | 66 | VMWT | 2015-16 | Emb. Gen
Mornington Landfill Site Generator | 66 | VTBT | 2015-16 | Emb. Gen
Mortons Lane Wind Farm | 66 | VTGT | 2015-16 | Emb. Gen
Oaklands Hill Wind Farm | 66 | VTGT | 2015-16 | Emb. Gen
Shepparton Waste Gas | 66 | VSHT | 2015-16 | Emb. Gen
Somerton PS | 66 | VSOM | 2015-16 | Emb. Gen
Springvale Power Plant | 66 | VSV2 | 2015-16 | Emb. Gen
Tatura | 66 | VSHT | 2015-16 | Emb. Gen
Toora Wind Farm | 66 | VMWT | 2015-16 | Emb. Gen
Traralgon NSS | 66 | VMWT | 2015-16 | Emb. Gen
William Horvell Hydro PS | 66 | VWO6 | 2015-16 | Emb. Gen
Wollert Renewable Energy Facility | 66 | VSMT | 2015-16 | Emb. Gen
Wonthaggi Wind Farm | 66 | VMWT | 2015-16 | Emb. Gen
Wyndham Landfill Site Generator | 66 | VATS | 2015-16 | Emb. Gen
Yambuk Wind Farm | 66 | VTGT | 2015-16 | Emb. Gen
Yarawonga Hydro PS | 66 | VSHT | 2015-16 | Emb. Gen

## PivotSPATNI_HVGridExit
Generator/load | load |  | Generator/load | gen
Count of connection | Column Labels |  | Count of TNI | Column Labels
Row Labels | 2014-15 | 2015-16 | Row Labels | 2014-15 | 2015-16
66 | 1 | 1 | 11 | 2 | 2
VMWT | 1 | 1 | VMWP | 2 | 2
220 | 31 | 31 | 66 | 2 | 2
ATS | 1 | 1 | VMWG | 1 | 1
BATS | 1 | 1 | VMWT | 1 | 1
BETS | 1 | 1 | 132 | 1 | 1
JLA | 1 | 1 | NGJP | 1 | 1
BLTS | 1 | 1 | 220 | 32 | 34
BTS | 1 | 1 | VAT2 | 1 | 2
CBTS | 1 | 1 | VDPS | 2 | 2
ERTS | 1 | 1 | VEPS | 2 | 2
FBTS | 1 | 1 | VHWP | 9 | 9
FVTS | 1 | 1 | VJLG | 7 | 7
GTS | 1 | 1 | VNPS | 1 | 1
GNTS | 1 | 1 | VPTH |  | 1
HTS | 1 | 1 | VT14 | 1 | 1
HOTS | 1 | 1 | VWBT | 1 | 1
KTS | 1 | 1 | VWKP | 2 | 2
KGTS | 1 | 1 | VYP2 | 4 | 4
MTS | 1 | 1 | VYP3 | 1 | 1
MBTS | 1 | 1 | VELT | 1 | 1
PTH | 1 | 1 | 500 | 12 | 17
RCTS | 1 | 1 | VLYP | 8 | 13
RTS | 1 | 1 | VM0P | 2 | 2
RWTS | 1 | 1 | VTBL | 1 | 1
SHTS | 1 | 1 | VTRT | 1 | 1
SMTS | 1 | 1
SVTS | 1 | 1
TSTS | 1 | 1
TGTS | 1 | 1
TTS | 1 | 1
TBTS | 1 | 1
WETS | 1 | 1
WMTS | 1 | 1 |  | 2014-15 | 2015-16
330 | 2 | 2 | 500 | 4 | 4
NKHN | 1 | 1 | 330 | 0 | 0
WOTS | 1 | 1 | 220 | 12 | 13
500 | 1 | 1 | 132 | 1 | 1
APD | 1 | 1 | 66 | 2 | 2
22 | 1 | 1 | 22 | 0 | 0
HYTS | 1 | 1 | 11 | 1 | 1
| 2014-15 | 2015-16
500 | 1 | 1
330 | 2 | 2
220 | 31 | 31
132 | 0 | 0
66 | 1 | 1
22 | 1 | 1
11 | 0 | 0

## SPATNI_HVGridExit
connection | voltage | TNI | year | Generator/load
Altona | 220 | ATS | 2014-15 | load
Ballarat | 220 | BATS | 2014-15 | load
Bendigo | 220 | BETS | 2014-15 | load
BHP Western Port | 220 | JLA | 2014-15 | load
Brooklyn | 220 | BLTS | 2014-15 | load
Brunswick | 220 | BTS | 2014-15 | load
Cranbourne | 220 | CBTS | 2014-15 | load
East Rowville | 220 | ERTS | 2014-15 | load
Fishermens Bend | 220 | FBTS | 2014-15 | load
Fosterville | 220 | FVTS | 2014-15 | load
Geelong | 220 | GTS | 2014-15 | load
Glenrowan | 220 | GNTS | 2014-15 | load
Heatherton | 220 | HTS | 2014-15 | load
Heywood | 22 | HYTS | 2014-15 | load
Horsham | 220 | HOTS | 2014-15 | load
Keilor | 220 | KTS | 2014-15 | load
Kerang | 220 | KGTS | 2014-15 | load
Khancoban | 330 | NKHN | 2014-15 | load
Malvern | 220 | MTS | 2014-15 | load
Morwell TS | 66 | VMWT | 2014-15 | load
Mt Beauty | 220 | MBTS | 2014-15 | load
Portland | 500 | APD | 2014-15 | load
Pt Henry | 220 | PTH | 2014-15 | load
Red Cliffs | 220 | RCTS | 2014-15 | load
Richmond | 220 | RTS | 2014-15 | load
Ringwood | 220 | RWTS | 2014-15 | load
Shepparton | 220 | SHTS | 2014-15 | load
South Morang | 220 | SMTS | 2014-15 | load
Springvale | 220 | SVTS | 2014-15 | load
Templestowe | 220 | TSTS | 2014-15 | load
Terang | 220 | TGTS | 2014-15 | load
Thomastown | 220 | TTS | 2014-15 | load
Tyabb | 220 | TBTS | 2014-15 | load
Wemen TS | 220 | WETS | 2014-15 | load
West Melbourne | 220 | WMTS | 2014-15 | load
Wodonga | 330 | WOTS | 2014-15 | load
Banimboola | 220 | VDPS | 2014-15 | gen
Basslink (Loy Yang Power Station Switchyard) | 500 | VTBL | 2014-15 | gen
Dartmouth PS | 220 | VDPS | 2014-15 | gen
Eildon PS Unit 1 | 220 | VEPS | 2014-15 | gen
Eildon PS Unit 2 | 220 | VEPS | 2014-15 | gen
Hazelwood PS Load | 220 | VHWP | 2014-15 | gen
Hazelwood PS Unit 1 | 220 | VHWP | 2014-15 | gen
Hazelwood PS Unit 2 | 220 | VHWP | 2014-15 | gen
Hazelwood PS Unit 3 | 220 | VHWP | 2014-15 | gen
Hazelwood PS Unit 4 | 220 | VHWP | 2014-15 | gen
Hazelwood PS Unit 5 | 220 | VHWP | 2014-15 | gen
Hazelwood PS Unit 6 | 220 | VHWP | 2014-15 | gen
Hazelwood PS Unit 7 | 220 | VHWP | 2014-15 | gen
Hazelwood PS Unit 8 | 220 | VHWP | 2014-15 | gen
Jeeralang A PS Unit 1 | 220 | VJLG | 2014-15 | gen
Jeeralang A PS Unit 2 | 220 | VJLG | 2014-15 | gen
Jeeralang A PS Unit 3 | 220 | VJLG | 2014-15 | gen
Jeeralang A PS Unit 4 | 220 | VJLG | 2014-15 | gen
Jeeralang B PS Unit 1 | 220 | VJLG | 2014-15 | gen
Jeeralang B PS Unit 2 | 220 | VJLG | 2014-15 | gen
Jeeralang B PS Unit 3 | 220 | VJLG | 2014-15 | gen
Jindabyne pump at Guthega | 132 | NGJP | 2014-15 | gen
Laverton | 220 | VAT2 | 2014-15 | gen
Loy Yang A PS Load | 500 | VLYP | 2014-15 | gen
Loy Yang A PS Unit 1 | 500 | VLYP | 2014-15 | gen
Loy Yang A PS Unit 2 | 500 | VLYP | 2014-15 | gen
Loy Yang A PS Unit 3 | 500 | VLYP | 2014-15 | gen
Loy Yang A PS Unit 4 | 500 | VLYP | 2014-15 | gen
Loy Yang B PS Unit 1 | 500 | VLYP | 2014-15 | gen
Loy Yang B PS Unit 2 | 500 | VLYP | 2014-15 | gen
MacArthur Wind Farm | 500 | VTRT | 2014-15 | gen
McKay Creek / Bogong PS | 220 | VT14 | 2014-15 | gen
Mortlake Unit 1 | 500 | VM0P | 2014-15 | gen
Mortlake Unit 2 | 500 | VM0P | 2014-15 | gen
Morwell PS G1, 2 and 3 | 66 | VMWG | 2014-15 | gen
Morwell PS G4 | 11 | VMWP | 2014-15 | gen
Morwell PS G5 | 11 | VMWP | 2014-15 | gen
Morwell PS Load | 66 | VMWT | 2014-15 | gen
Mt Mercer Windfarm | 220 | VELT | 2014-15 | gen
Newport PS | 220 | VNPS | 2014-15 | gen
Valley Power PS | 500 | VLYP | 2014-15 | gen
Waubra Wind Farm | 220 | VWBT | 2014-15 | gen
West Kiewa PS Unit 1 | 220 | VWKP | 2014-15 | gen
West Kiewa PS Unit 2 | 220 | VWKP | 2014-15 | gen
Yallourn W PS 220 Load | 220 | VYP2 | 2014-15 | gen
Yallourn W PS 220 Unit 1 | 220 | VYP3 | 2014-15 | gen
Yallourn W PS 220 Unit 2 | 220 | VYP2 | 2014-15 | gen
Yallourn W PS 220 Unit 3 | 220 | VYP2 | 2014-15 | gen
Yallourn W PS 220 Unit 4 | 220 | VYP2 | 2014-15 | gen
Altona | 220 | ATS | 2015-16 | load
Ballarat | 220 | BATS | 2015-16 | load
Bendigo | 220 | BETS | 2015-16 | load
BHP Western Port | 220 | JLA | 2015-16 | load
Brooklyn | 220 | BLTS | 2015-16 | load
Brunswick | 220 | BTS | 2015-16 | load
Cranbourne | 220 | CBTS | 2015-16 | load
East Rowville | 220 | ERTS | 2015-16 | load
Fishermens Bend | 220 | FBTS | 2015-16 | load
Fosterville | 220 | FVTS | 2015-16 | load
Geelong | 220 | GTS | 2015-16 | load
Glenrowan | 220 | GNTS | 2015-16 | load
Heatherton | 220 | HTS | 2015-16 | load
Heywood | 22 | HYTS | 2015-16 | load
Horsham | 220 | HOTS | 2015-16 | load
Keilor | 220 | KTS | 2015-16 | load
Kerang | 220 | KGTS | 2015-16 | load
Khancoban | 330 | NKHN | 2015-16 | load
Malvern | 220 | MTS | 2015-16 | load
Morwell TS | 66 | VMWT | 2015-16 | load
Mt Beauty | 220 | MBTS | 2015-16 | load
Portland | 500 | APD | 2015-16 | load
Pt Henry | 220 | PTH | 2015-16 | load
Red Cliffs | 220 | RCTS | 2015-16 | load
Richmond | 220 | RTS | 2015-16 | load
Ringwood | 220 | RWTS | 2015-16 | load
Shepparton | 220 | SHTS | 2015-16 | load
South Morang | 220 | SMTS | 2015-16 | load
Springvale | 220 | SVTS | 2015-16 | load
Templestowe | 220 | TSTS | 2015-16 | load
Terang | 220 | TGTS | 2015-16 | load
Thomastown | 220 | TTS | 2015-16 | load
Tyabb | 220 | TBTS | 2015-16 | load
Wemen TS | 220 | WETS | 2015-16 | load
West Melbourne | 220 | WMTS | 2015-16 | load
Wodonga | 330 | WOTS | 2015-16 | load
Anglesea PS | 220 | VPTH | 2015-16 | gen
Banimboola | 220 | VDPS | 2015-16 | gen
Basslink (Loy Yang PS Switchyard) Tasmania to Victoria | 500 | VTBL | 2015-16 | gen
Dartmouth PS | 220 | VDPS | 2015-16 | gen
Eildon PS Unit 1 | 220 | VEPS | 2015-16 | gen
Eildon PS Unit 2 | 220 | VEPS | 2015-16 | gen
Hazelwood PS Load | 220 | VHWP | 2015-16 | gen
Hazelwood PS Unit 1 | 220 | VHWP | 2015-16 | gen
Hazelwood PS Unit 2 | 220 | VHWP | 2015-16 | gen
Hazelwood PS Unit 3 | 220 | VHWP | 2015-16 | gen
Hazelwood PS Unit 4 | 220 | VHWP | 2015-16 | gen
Hazelwood PS Unit 5 | 220 | VHWP | 2015-16 | gen
Hazelwood PS Unit 6 | 220 | VHWP | 2015-16 | gen
Hazelwood PS Unit 7 | 220 | VHWP | 2015-16 | gen
Hazelwood PS Unit 8 | 220 | VHWP | 2015-16 | gen
Jeeralang A PS Unit 1 | 220 | VJLG | 2015-16 | gen
Jeeralang A PS Unit 2 | 220 | VJLG | 2015-16 | gen
Jeeralang A PS Unit 3 | 220 | VJLG | 2015-16 | gen
Jeeralang A PS Unit 4 | 220 | VJLG | 2015-16 | gen
Jeeralang B PS Unit 1 | 220 | VJLG | 2015-16 | gen
Jeeralang B PS Unit 2 | 220 | VJLG | 2015-16 | gen
Jeeralang B PS Unit 3 | 220 | VJLG | 2015-16 | gen
Jindabyne pump at Guthega | 132 | NGJP | 2015-16 | gen
Laverton PS (LNGS1) | 220 | VAT2 | 2015-16 | gen
Laverton PS (LNGS2) | 220 | VAT2 | 2015-16 | gen
Loy Yang A PS Load | 500 | VLYP | 2015-16 | gen
Loy Yang A PS Unit 1 | 500 | VLYP | 2015-16 | gen
Loy Yang A PS Unit 2 | 500 | VLYP | 2015-16 | gen
Loy Yang A PS Unit 3 | 500 | VLYP | 2015-16 | gen
Loy Yang A PS Unit 4 | 500 | VLYP | 2015-16 | gen
Loy Yang B PS Unit 1 | 500 | VLYP | 2015-16 | gen
Loy Yang B PS Unit 2 | 500 | VLYP | 2015-16 | gen
MacArthur Wind Farm | 500 | VTRT | 2015-16 | gen
McKay Creek / Bogong PS | 220 | VT14 | 2015-16 | gen
Mortlake Unit 1 | 500 | VM0P | 2015-16 | gen
Mortlake Unit 2 | 500 | VM0P | 2015-16 | gen
Morwell PS G1, 2 and 3 | 66 | VMWG | 2015-16 | gen
Morwell PS G4 | 11 | VMWP | 2015-16 | gen
Morwell PS G5 | 11 | VMWP | 2015-16 | gen
Morwell PS Load | 66 | VMWT | 2015-16 | gen
Mt Mercer Windfarm | 220 | VELT | 2015-16 | gen
Newport PS | 220 | VNPS | 2015-16 | gen
Valley Power Unit 1 | 500 | VLYP | 2015-16 | gen
Valley Power Unit 2 | 500 | VLYP | 2015-16 | gen
Valley Power Unit 3 | 500 | VLYP | 2015-16 | gen
Valley Power Unit 4 | 500 | VLYP | 2015-16 | gen
Valley Power Unit 5 | 500 | VLYP | 2015-16 | gen
Valley Power Unit 6 | 500 | VLYP | 2015-16 | gen
Waubra Wind Farm | 220 | VWBT | 2015-16 | gen
West Kiewa PS Unit 1 | 220 | VWKP | 2015-16 | gen
West Kiewa PS Unit 2 | 220 | VWKP | 2015-16 | gen
Yallourn W PS 220 Load | 220 | VYP2 | 2015-16 | gen
Yallourn W PS 220 Unit 1 | 220 | VYP3 | 2015-16 | gen
Yallourn W PS 220 Unit 2 | 220 | VYP2 | 2015-16 | gen
Yallourn W PS 220 Unit 3 | 220 | VYP2 | 2015-16 | gen
Yallourn W PS 220 Unit 4 | 220 | VYP2 | 2015-16 | gen

## Vic2014-15_HVGridExit
Table 1 Victorian Loads | [5 empty] | Source : AEMO Marginal Loss Factors for Victoria (2014-15)
Location | Voltage (kV) | Sub | Year | Generator/load |  |  | Location | Voltage (kV) | TNI
Altona | 220 | ATS | 2014-15 | load |  |  | Altona | 220 | VAT2
Ballarat | 220 | BATS | 2014-15 | load |  |  | Altona | 66 | VATS
Bendigo | 220 | BETS | 2014-15 | load |  |  | Ballarat | 66 | VBAT
BHP Western Port | 220 | JLA | 2014-15 | load |  |  | Bendigo | 22 | VBE2
Brooklyn | 220 | BLTS | 2014-15 | load |  |  | Bendigo | 66 | VBE6
Brunswick | 220 | BTS | 2014-15 | load |  |  | BHP Western Port | 220 | VJLA
Cranbourne | 220 | CBTS | 2014-15 | load |  |  | Brooklyn (Jemena) | 22 | VBL2
East Rowville | 220 | ERTS | 2014-15 | load |  |  | Brooklyn (Jemena) | 66 | VBL6
Fishermens Bend | 220 | FBTS | 2014-15 | load |  |  | Brooklyn (POWERCOR) | 22 | VBL3
Fosterville | 220 | FVTS | 2014-15 | load |  |  | Brooklyn (POWERCOR) | 66 | VBL7
Geelong | 220 | GTS | 2014-15 | load |  |  | Brunswick (CITIPOWER) | 22 | VBT2
Glenrowan | 220 | GNTS | 2014-15 | load |  |  | Brunswick (Jemena) | 22 | VBTS
Heatherton | 220 | HTS | 2014-15 | load |  |  | Cranbourne | 220 | VCB2
Heywood | 22 | HYTS | 2014-15 | load |  |  | Cranbourne (SPI Electricity) | 66 | VCBT
Horsham | 220 | HOTS | 2014-15 | load |  |  | Cranbourne (UE) | 66 | VCB5
Keilor | 220 | KTS | 2014-15 | load |  |  | East Rowville (SPI Electricity) | 66 | VER2
Kerang | 220 | KGTS | 2014-15 | load |  |  | East Rowville (UE) | 66 | VERT
Khancoban | 330 | NKHN | 2014-15 | load |  |  | Fishermens Bend (CITIPOWER) | 66 | VFBT
Malvern | 220 | MTS | 2014-15 | load |  |  | Fishermens Bend (POWERCOR) | 66 | VFB2
Morwell TS | 66 | VMWT | 2014-15 | load |  |  | Fosterville | 220 | VFVT
Mt Beauty | 220 | MBTS | 2014-15 | load |  |  | Geelong | 66 | VGT6
Portland | 500 | APD | 2014-15 | load |  |  | Glenrowan | 66 | VGNT
Pt Henry | 220 | PTH | 2014-15 | load |  |  | Heatherton | 66 | VHTS
Red Cliffs | 220 | RCTS | 2014-15 | load |  |  | Heywood | 22 | VHY2
Richmond | 220 | RTS | 2014-15 | load |  |  | Horsham | 66 | VHOT
Ringwood | 220 | RWTS | 2014-15 | load |  |  | Keilor (Jemena) | 66 | VKT2
Shepparton | 220 | SHTS | 2014-15 | load |  |  | Keilor (POWERCOR) | 66 | VKTS
South Morang | 220 | SMTS | 2014-15 | load |  |  | Kerang | 22 | VKG2
Springvale | 220 | SVTS | 2014-15 | load |  |  | Kerang | 66 | VKG6
Templestowe | 220 | TSTS | 2014-15 | load |  |  | Khancoban | 330 | NKHN
Terang | 220 | TGTS | 2014-15 | load |  |  | Loy Yang Substation | 66 | VLY6
Thomastown | 220 | TTS | 2014-15 | load |  |  | Malvern | 22 | VMT2
Tyabb | 220 | TBTS | 2014-15 | load |  |  | Malvern | 66 | VMT6
Wemen TS | 220 | WETS | 2014-15 | load |  |  | Morwell TS | 66 | VMWT
West Melbourne | 220 | WMTS | 2014-15 | load |  |  | Mt Beauty | 66 | VMBT
Wodonga | 330 | WOTS | 2014-15 | load |  |  | Portland | 500 | VAPD
[7 empty] | Pt Henry | 220 | VPTH
Table 2 Victoria Generation | [6 empty] | Red Cliffs | 22 | VRC2
[7 empty] | Red Cliffs | 66 | VRC6
[7 empty] | Red Cliffs (Essential Energy) | 66 | VRCA
Location | Voltage [kV] | TNI |  |  |  |  | Richmond | 22 | VRT2
Banimboola | 220 | VDPS | 2014-15 | gen |  |  | Richmond (CITIPOWER) | 66 | VRT7
Basslink (Loy Yang Power Station Switchyard) | 500 | VTBL | 2014-15 | gen |  |  | Richmond (UE) | 66 | VRT6
Dartmouth PS | 220 | VDPS | 2014-15 | gen |  |  | Ringwood (SPI Electricity) | 22 | VRW3
Eildon PS Unit 1 | 220 | VEPS | 2014-15 | gen |  |  | Ringwood (SPI Electricity) | 66 | VRW7
Eildon PS Unit 2 | 220 | VEPS | 2014-15 | gen |  |  | Ringwood (UE) | 22 | VRW2
Hazelwood PS Load | 220 | VHWP | 2014-15 | gen |  |  | Ringwood (UE) | 66 | VRW6
Hazelwood PS Unit 1 | 220 | VHWP | 2014-15 | gen |  |  | Shepparton | 66 | VSHT
Hazelwood PS Unit 2 | 220 | VHWP | 2014-15 | gen |  |  | South Morang | 66 | VSM6
Hazelwood PS Unit 3 | 220 | VHWP | 2014-15 | gen |  |  | South Morang | 66 | VSMT
Hazelwood PS Unit 4 | 220 | VHWP | 2014-15 | gen |  |  | Springvale (CITIPOWER) | 66 | VSVT
Hazelwood PS Unit 5 | 220 | VHWP | 2014-15 | gen |  |  | Springvale (UE) | 66 | VSV2
Hazelwood PS Unit 6 | 220 | VHWP | 2014-15 | gen |  |  | Templestowe (CITIPOWER) | 66 | VTS2
Hazelwood PS Unit 7 | 220 | VHWP | 2014-15 | gen |  |  | Templestowe (Jemena) | 66 | VTST
Hazelwood PS Unit 8 | 220 | VHWP | 2014-15 | gen |  |  | Templestowe (SPI Electricity) | 66 | VTS3
Jeeralang A PS Unit 1 | 220 | VJLG | 2014-15 | gen |  |  | Templestowe (UE) | 66 | VTS4
Jeeralang A PS Unit 2 | 220 | VJLG | 2014-15 | gen |  |  | Terang | 66 | VTGT
Jeeralang A PS Unit 3 | 220 | VJLG | 2014-15 | gen |  |  | Thomastown (Jemena) | 66 | VTTS
Jeeralang A PS Unit 4 | 220 | VJLG | 2014-15 | gen |  |  | Thomastown (SPI Electricity) | 66 | VTT2
Jeeralang B PS Unit 1 | 220 | VJLG | 2014-15 | gen |  |  | Tyabb | 66 | VTBT
Jeeralang B PS Unit 2 | 220 | VJLG | 2014-15 | gen |  |  | Wemen TS | 66 | VWET
Jeeralang B PS Unit 3 | 220 | VJLG | 2014-15 | gen |  |  | West Melbourne | 22 | VWM2
Jindabyne pump at Guthega | 132 | NGJP | 2014-15 | gen |  |  | West Melbourne (CITIPOWER) | 66 | VWM7
Laverton | 220 | VAT2 | 2014-15 | gen |  |  | West Melbourne (Jemena) | 66 | VWM6
Loy Yang A PS Load | 500 | VLYP | 2014-15 | gen |  |  | Wodonga | 22 | VWO2
Loy Yang A PS Unit 1 | 500 | VLYP | 2014-15 | gen |  |  | Wodonga | 66 | VWO6
Loy Yang A PS Unit 2 | 500 | VLYP | 2014-15 | gen |  |  | Yallourn | 11 | VYP1
Loy Yang A PS Unit 3 | 500 | VLYP | 2014-15 | gen
Loy Yang A PS Unit 4 | 500 | VLYP | 2014-15 | gen
Loy Yang B PS Unit 1 | 500 | VLYP | 2014-15 | gen
Loy Yang B PS Unit 2 | 500 | VLYP | 2014-15 | gen
MacArthur Wind Farm | 500 | VTRT | 2014-15 | gen
McKay Creek / Bogong PS | 220 | VT14 | 2014-15 | gen
Mortlake Unit 1 | 500 | VM0P | 2014-15 | gen
Mortlake Unit 2 | 500 | VM0P | 2014-15 | gen
Morwell PS G1, 2 and 3 | 66 | VMWG | 2014-15 | gen
Morwell PS G4 | 11 | VMWP | 2014-15 | gen
Morwell PS G5 | 11 | VMWP | 2014-15 | gen
Morwell PS Load | 66 | VMWT | 2014-15 | gen
Mt Mercer Windfarm | 220 | VELT | 2014-15 | gen
Murray | 330 | NMUR | 2014-15 | gen | Removed from VIC
Newport PS | 220 | VNPS | 2014-15 | gen
Valley Power PS | 500 | VLYP | 2014-15 | gen
Waubra Wind Farm | 220 | VWBT | 2014-15 | gen
West Kiewa PS Unit 1 | 220 | VWKP | 2014-15 | gen
West Kiewa PS Unit 2 | 220 | VWKP | 2014-15 | gen
Yallourn W PS 220 Load | 220 | VYP2 | 2014-15 | gen
Yallourn W PS 220 Unit 1 | 220 | VYP3 | 2014-15 | gen
Yallourn W PS 220 Unit 2 | 220 | VYP2 | 2014-15 | gen
Yallourn W PS 220 Unit 3 | 220 | VYP2 | 2014-15 | gen
Yallourn W PS 220 Unit 4 | 220 | VYP2 | 2014-15 | gen
Table 3 Victoria Embedded Generation
Location | Voltage [kV] | TNI | Year | Gen/Load
Anglesea PS | 220 | VAPS | 2014-15 | Emb. gen
Bairnsdale Power Station | 66 | VBDL | 2014-15 | Emb. gen
Bairnsdale Power Station Generator Unit 2 | 66 | VBDL | 2014-15 | Emb. gen
Ballarat Health Services | 66 | VBAT | 2014-15 | Emb. gen
Brooklyn Landfill & Recycling Facility | 66 | VBL6 | 2014-15 | Emb. gen
Clayton Landfill Gas Power Station | 22 | VSV2 | 2014-15 | Emb. gen
Codrington Wind Farm | 66 | VTGT | 2014-15 | Emb. gen
Corio LFG PS | 22 | VGT6 | 2014-15 | Emb. gen
Glenmaggie Hydro PS | 66 | VMWT | 2014-15 | Emb. gen
Hallam Mini Hydro | 66 | VER2 | 2014-15 | Emb. gen
Hallam Road Renewable Energy Facility | 66 | VER2 | 2014-15 | Emb. gen
Hepburn Community WF | 66 | VBAT | 2014-15 | Emb. gen
Hume (Victorian Share) | 66 | VHUM | 2014-15 | Emb. gen
Longford | 66 | VMWT | 2014-15 | Emb. gen
Mornington Landfill Site Generator | 66 | VTBT | 2014-15 | Emb. gen
Mortons Lane Wind Farm | 66 | VTGT | 2014-15 | Emb. gen
Oaklands Hill Wind Farm | 66 | VTGT | 2014-15 | Emb. gen
Shepparton Waste Gas | 66 | VSHT | 2014-15 | Emb. gen
Somerton Power Station | 66 | VSOM | 2014-15 | Emb. gen
Springvale Power Plant | 22 | VSV2 | 2014-15 | Emb. gen
Tatura | 66 | VSHT | 2014-15 | Emb. gen
Toora Wind Farm | 66 | VMWT | 2014-15 | Emb. gen
Traralgon NSS | 22 | VMWT | 2014-15 | Emb. gen
William Horvell Hydro PS | 66 | VWO6 | 2014-15 | Emb. gen
Wollert Renewable Energy Facility | 66 | VSMT | 2014-15 | Emb. gen
Wonthaggi Wind Farm | 66 | VMWT | 2014-15 | Emb. gen
Wyndham Landfill Site Generator | 66 | VATS | 2014-15 | Emb. gen
Yambuk Wind Farm | 66 | VTGT | 2014-15 | Emb. gen
Yarawonga Hydro PS | 66 | VSHT | 2014-15 | Emb. gen

## Vic2015-16_HVGridExit
Table 1 Victorian Loads | [5 empty] | Source : AEMO Marginal Loss Factors for Victoria (2015-16)
Location | Voltage (kV) | Sub | Year | Generator/load |  |  | Location | Voltage (kV) | TNI
Altona | 220 | ATS | 2015-16 | load |  |  | Altona | 66 | VATS
Ballarat | 220 | BATS | 2015-16 | load |  |  | Altona | 220 | VAT2
Bendigo | 220 | BETS | 2015-16 | load |  |  | Ballarat | 66 | VBAT
BHP Western Port | 220 | JLA | 2015-16 | load |  |  | Bendigo | 66 | VBE6
Brooklyn | 220 | BLTS | 2015-16 | load |  |  | Bendigo | 22 | VBE2
Brunswick | 220 | BTS | 2015-16 | load |  |  | BHP Western Port | 220 | VJLA
Cranbourne | 220 | CBTS | 2015-16 | load |  |  | Brooklyn (Jemena) | 22 | VBL2
East Rowville | 220 | ERTS | 2015-16 | load |  |  | Brooklyn (Jemena) | 66 | VBL6
Fishermens Bend | 220 | FBTS | 2015-16 | load |  |  | Brooklyn (Powercor) | 22 | VBL3
Fosterville | 220 | FVTS | 2015-16 | load |  |  | Brooklyn (Powercor) | 66 | VBL7
Geelong | 220 | GTS | 2015-16 | load |  |  | Brunswick (CitiPower) | 22 | VBT2
Glenrowan | 220 | GNTS | 2015-16 | load |  |  | Brunswick (Jemena) | 22 | VBTS
Heatherton | 220 | HTS | 2015-16 | load |  |  | Cranbourne | 220 | VCB2
Heywood | 22 | HYTS | 2015-16 | load |  |  | Cranbourne (AusNet Services) | 66 | VCBT
Horsham | 220 | HOTS | 2015-16 | load |  |  | Cranbourne (United Energy) | 66 | VCB5
Keilor | 220 | KTS | 2015-16 | load |  |  | East Rowville (AusNet Services) | 66 | VER2
Kerang | 220 | KGTS | 2015-16 | load |  |  | East Rowville (United Energy) | 66 | VERT
Khancoban | 330 | NKHN | 2015-16 | load |  |  | Fishermens Bend (CitiPower) | 66 | VFBT
Malvern | 220 | MTS | 2015-16 | load |  |  | Fishermens Bend (Powercor) | 66 | VFB2
Morwell TS | 66 | VMWT | 2015-16 | load |  |  | Fosterville | 220 | VFVT
Mt Beauty | 220 | MBTS | 2015-16 | load |  |  | Geelong | 66 | VGT6
Portland | 500 | APD | 2015-16 | load |  |  | Glenrowan | 66 | VGNT
Pt Henry | 220 | PTH | 2015-16 | load |  |  | Heatherton | 66 | VHTS
Red Cliffs | 220 | RCTS | 2015-16 | load |  |  | Heywood | 22 | VHY2
Richmond | 220 | RTS | 2015-16 | load |  |  | Horsham | 66 | VHOT
Ringwood | 220 | RWTS | 2015-16 | load |  |  | Keilor (Jemena) | 66 | VKT2
Shepparton | 220 | SHTS | 2015-16 | load |  |  | Keilor (Powercor) | 66 | VKTS
South Morang | 220 | SMTS | 2015-16 | load |  |  | Kerang | 22 | VKG2
Springvale | 220 | SVTS | 2015-16 | load |  |  | Kerang | 66 | VKG6
Templestowe | 220 | TSTS | 2015-16 | load |  |  | Khancoban | 330 | NKHN
Terang | 220 | TGTS | 2015-16 | load |  |  | Loy Yang Substation | 66 | VLY6
Thomastown | 220 | TTS | 2015-16 | load |  |  | Malvern | 22 | VMT2
Tyabb | 220 | TBTS | 2015-16 | load |  |  | Malvern | 66 | VMT6
Wemen TS | 220 | WETS | 2015-16 | load |  |  | Morwell TS | 66 | VMWT
West Melbourne | 220 | WMTS | 2015-16 | load |  |  | Mt Beauty | 66 | VMBT
Wodonga | 330 | WOTS | 2015-16 | load |  |  | Portland | 500 | VAPD
[7 empty] | Red Cliffs | 22 | VRC2
[7 empty] | Red Cliffs | 66 | VRC6
Table 2 Victoria Generation | [6 empty] | Red Cliffs (Essential Energy) | 66 | VRCA
[7 empty] | Richmond | 22 | VRT2
[7 empty] | Richmond (CitiPower) | 66 | VRT7
Location | Voltage (kV) | TNI | Year | Gen/load |  |  | Richmond (United Energy) | 66 | VRT6
Anglesea PS | 220 | VPTH | 2015-16 | gen |  |  | Ringwood (AusNet Services) | 22 | VRW3
Banimboola | 220 | VDPS | 2015-16 | gen |  |  | Ringwood (AusNet Services) | 66 | VRW7
Basslink (Loy Yang PS Switchyard) Tasmania to Victoria | 500 | VTBL | 2015-16 | gen |  |  | Ringwood (United Energy) | 22 | VRW2
Dartmouth PS | 220 | VDPS | 2015-16 | gen |  |  | Ringwood (United Energy) | 66 | VRW6
Eildon PS Unit 1 | 220 | VEPS | 2015-16 | gen |  |  | Shepparton | 66 | VSHT
Eildon PS Unit 2 | 220 | VEPS | 2015-16 | gen |  |  | South Morang (Jemena) | 66 | VSM6
Hazelwood PS Load | 220 | VHWP | 2015-16 | gen |  |  | South Morang (AusNet Services) | 66 | VSMT
Hazelwood PS Unit 1 | 220 | VHWP | 2015-16 | gen |  |  | Springvale (CitiPower) | 66 | VSVT
Hazelwood PS Unit 2 | 220 | VHWP | 2015-16 | gen |  |  | Springvale (United Energy) | 66 | VSV2
Hazelwood PS Unit 3 | 220 | VHWP | 2015-16 | gen |  |  | Templestowe (CitiPower) | 66 | VTS2
Hazelwood PS Unit 4 | 220 | VHWP | 2015-16 | gen |  |  | Templestowe (Jemena) | 66 | VTST
Hazelwood PS Unit 5 | 220 | VHWP | 2015-16 | gen |  |  | Templestowe (AusNet Services) | 66 | VTS3
Hazelwood PS Unit 6 | 220 | VHWP | 2015-16 | gen |  |  | Templestowe (United Energy) | 66 | VTS4
Hazelwood PS Unit 7 | 220 | VHWP | 2015-16 | gen |  |  | Terang | 66 | VTGT
Hazelwood PS Unit 8 | 220 | VHWP | 2015-16 | gen |  |  | Thomastown (Jemena) | 66 | VTTS
Jeeralang A PS Unit 1 | 220 | VJLG | 2015-16 | gen |  |  | Thomastown (AusNet Services) | 66 | VTT2
Jeeralang A PS Unit 2 | 220 | VJLG | 2015-16 | gen |  |  | Tyabb | 66 | VTBT
Jeeralang A PS Unit 3 | 220 | VJLG | 2015-16 | gen |  |  | Wemen TS | 66 | VWET
Jeeralang A PS Unit 4 | 220 | VJLG | 2015-16 | gen |  |  | West Melbourne | 22 | VWM2
Jeeralang B PS Unit 1 | 220 | VJLG | 2015-16 | gen |  |  | West Melbourne (CitiPower) | 66 | VWM7
Jeeralang B PS Unit 2 | 220 | VJLG | 2015-16 | gen |  |  | West Melbourne (Jemena) | 66 | VWM6
Jeeralang B PS Unit 3 | 220 | VJLG | 2015-16 | gen |  |  | Wodonga | 22 | VWO2
Jindabyne pump at Guthega | 132 | NGJP | 2015-16 | gen |  |  | Wodonga | 66 | VWO6
Laverton PS (LNGS1) | 220 | VAT2 | 2015-16 | gen |  |  | Yallourn | 11 | VYP1
Laverton PS (LNGS2) | 220 | VAT2 | 2015-16 | gen
Loy Yang A PS Load | 500 | VLYP | 2015-16 | gen
Loy Yang A PS Unit 1 | 500 | VLYP | 2015-16 | gen
Loy Yang A PS Unit 2 | 500 | VLYP | 2015-16 | gen
Loy Yang A PS Unit 3 | 500 | VLYP | 2015-16 | gen
Loy Yang A PS Unit 4 | 500 | VLYP | 2015-16 | gen
Loy Yang B PS Unit 1 | 500 | VLYP | 2015-16 | gen
Loy Yang B PS Unit 2 | 500 | VLYP | 2015-16 | gen
MacArthur Wind Farm | 500 | VTRT | 2015-16 | gen
McKay Creek / Bogong PS | 220 | VT14 | 2015-16 | gen
Mortlake Unit 1 | 500 | VM0P | 2015-16 | gen
Mortlake Unit 2 | 500 | VM0P | 2015-16 | gen
Morwell PS G1, 2 and 3 | 66 | VMWG | 2015-16 | gen
Morwell PS G4 | 11 | VMWP | 2015-16 | gen
Morwell PS G5 | 11 | VMWP | 2015-16 | gen
Morwell PS Load | 66 | VMWT | 2015-16 | gen
Mt Mercer Windfarm | 220 | VELT | 2015-16 | gen
Murray | 330 | NMUR | 2015-16 | gen | Removed from VIC
Newport PS | 220 | VNPS | 2015-16 | gen
Valley Power Unit 1 | 500 | VLYP | 2015-16 | gen
Valley Power Unit 2 | 500 | VLYP | 2015-16 | gen
Valley Power Unit 3 | 500 | VLYP | 2015-16 | gen
Valley Power Unit 4 | 500 | VLYP | 2015-16 | gen
Valley Power Unit 5 | 500 | VLYP | 2015-16 | gen
Valley Power Unit 6 | 500 | VLYP | 2015-16 | gen
Waubra Wind Farm | 220 | VWBT | 2015-16 | gen
West Kiewa PS Unit 1 | 220 | VWKP | 2015-16 | gen
West Kiewa PS Unit 2 | 220 | VWKP | 2015-16 | gen
Yallourn W PS 220 Load | 220 | VYP2 | 2015-16 | gen
Yallourn W PS 220 Unit 1 | 220 | VYP3 | 2015-16 | gen
Yallourn W PS 220 Unit 2 | 220 | VYP2 | 2015-16 | gen
Yallourn W PS 220 Unit 3 | 220 | VYP2 | 2015-16 | gen
Yallourn W PS 220 Unit 4 | 220 | VYP2 | 2015-16 | gen
Table 3 Victoria Embedded Generation
Location | Voltage (kV) | TNI | Year | Gen/load
Bairnsdale PS | 66 | VBDL | 2015-16 | Emb. Gen
Bairnsdale PS Generator Unit 2 | 66 | VBDL | 2015-16 | Emb. Gen
Balds Hill WF (NEW) | 66 | VMWT | 2015-16 | Emb. Gen
Ballarat Health Services | 66 | VBAT | 2015-16 | Emb. Gen
Brooklyn Landfill & Recycling Facility | 66 | VBL6 | 2015-16 | Emb. Gen
Clayton Landfill Gas PS | 66 | VSV2 | 2015-16 | Emb. Gen
Codrington Wind Farm | 66 | VTGT | 2015-16 | Emb. Gen
Corio LFG PS | 66 | VGT6 | 2015-16 | Emb. Gen
Glenmaggie Hydro PS | 66 | VMWT | 2015-16 | Emb. Gen
Hallam Mini Hydro | 66 | VER2 | 2015-16 | Emb. Gen
Hallam Road Renewable Energy Facility | 66 | VER2 | 2015-16 | Emb. Gen
Hepburn Community WF | 66 | VBAT | 2015-16 | Emb. Gen
Hume (Victorian Share) | 66 | VHUM | 2015-16 | Emb. Gen
Longford | 66 | VMWT | 2015-16 | Emb. Gen
Mornington Landfill Site Generator | 66 | VTBT | 2015-16 | Emb. Gen
Mortons Lane Wind Farm | 66 | VTGT | 2015-16 | Emb. Gen
Oaklands Hill Wind Farm | 66 | VTGT | 2015-16 | Emb. Gen
Shepparton Waste Gas | 66 | VSHT | 2015-16 | Emb. Gen
Somerton PS | 66 | VSOM | 2015-16 | Emb. Gen
Springvale Power Plant | 66 | VSV2 | 2015-16 | Emb. Gen
Tatura | 66 | VSHT | 2015-16 | Emb. Gen
Toora Wind Farm | 66 | VMWT | 2015-16 | Emb. Gen
Traralgon NSS | 66 | VMWT | 2015-16 | Emb. Gen
William Horvell Hydro PS | 66 | VWO6 | 2015-16 | Emb. Gen
Wollert Renewable Energy Facility | 66 | VSMT | 2015-16 | Emb. Gen
Wonthaggi Wind Farm | 66 | VMWT | 2015-16 | Emb. Gen
Wyndham Landfill Site Generator | 66 | VATS | 2015-16 | Emb. Gen
Yambuk Wind Farm | 66 | VTGT | 2015-16 | Emb. Gen
Yarawonga Hydro PS | 66 | VSHT | 2015-16 | Emb. Gen