## Reverse Reimbursement Policy
The following table details the amount the EE funded connection capex would reduce by if reimbursement arrangements were reversed
FY19 real $
|  | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | RCP total
| amount transferred back to cap cons | 44225206.3426 | 41662947.4878 | 41466450.6496 | 41584326.4219 | 42561621.668 | 211500552.5699

## Connections Capex
Connections Capex forecast model (Endeavour Funded)
FY17 decline affected by ADMD reduction
FY18 onwards affected by capital contribution funding arrangement change
| Actual |  |  |  | Forecast
| 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26 | 2026/27 | 2027/28
Base Capex
AR (Asset Relocation) | 1372612 | 2476817 | 1549055 | 1518425 | 1526017.125 | 1526017.125 | 1540791.2673 | 1548542.8408 | 1556289.435 | 1564087.2184 | 1571899.7438 | 1526017.125 | 1526017.125 | 1526017.125 | 1526017.125 | source: Network Connections SAMP Forecast from 2001 HP V14 Jul 2017
IC (Industrial & Commercial) | 5605914 | 5231966 | 4695953 | 3865150 | 3945320.4088 | 3945320.4088 | 3966209.0476 | 3987737.6647 | 4007806.3418 | 4028414.5194 | 4048270.2162 | 3945320.4088 | 3945320.4088 | 3945320.4088 | 3945320.4088 | source: Network Connections SAMP Forecast from 2001 HP V14 Jul 2017
NU (Non Urban) | 1056156 | 833787 | 629075 | 642907 | 555477.4316 | 555477.4316 | 558828.9399 | 561824.7509 | 564649.1344 | 567539.4964 | 570343.1713 | 555477.4316 | 555477.4316 | 555477.4316 | 555477.4316 | source: Network Connections SAMP Forecast from 2001 HP V14 Jul 2017
UR (URD) | 6508828 | 7082082 | 9523550 | 9019851 | 11016083.975 | 11016083.975 | 11064300.4027 | 11125282.2557 | 11181341.4392 | 11239145.3439 | 11294387.2007 | 11016083.975 | 11016083.975 | 11016083.975 | 11016083.975 | source: Network Connections SAMP Forecast from 2001 HP V14 Jul 2017
Proportion of year affected by connections funding changes % |  |  | 0% | 0% | 50.57% | 65.94% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Uplift from connections funding arrangement changes
AR (Asset Relocation) |  |  |  |  | 140159.4632 | 184256.7496 | 276967.7327 | 260921.1592 | 259690.565 | 260428.7816 | 266549.2562 | 269337.6267 | 269337.6267 | 269337.6267 | 269337.6267
IC (Industrial & Commercial) |  |  |  |  | 4994861.7078 | 6566356.3637 | 9870296.9524 | 9298445.3353 | 9254590.6582 | 9280898.4806 | 9499013.7838 | 9598382.9225 | 9598382.9225 | 9598382.9225 | 9598382.9225
NU (Non Urban) |  |  |  |  | 593440.5717 | 780150.1828 | 1172692.0601 | 1104750.2491 | 1099539.8656 | 1102665.5036 | 1128579.8287 | 1140385.897 | 1140385.897 | 1140385.897 | 1140385.897
UR (URD) |  |  |  |  | 16651694.6746 | 21890688.4093 | 32905249.5973 | 30998830.7443 | 30852629.5608 | 30940333.6561 | 31667478.7993 | 31998752.1466 | 31998752.1466 | 31998752.1466 | 31998752.1466
| Actual |  |  |  | Forecast
| 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26 | 2026/27 | 2027/28
Final Capex forecast
AR (Asset Relocation) | 1372612 | 2476817 | 1549055 | 1518425 | 1666176.5882 | 1710273.8746 | 1817759 | 1809464 | 1815980 | 1824516 | 1838449 | 1795354.7517 | 1795354.7517 | 1795354.7517 | 1795354.7517
IC (Industrial & Commercial) | 5605914 | 5231966 | 4695953 | 3865150 | 8940182.1166 | 10511676.7725 | 13836506 | 13286183 | 13262397 | 13309313 | 13547284 | 13543703.3312 | 13543703.3312 | 13543703.3312 | 13543703.3312
NU (Non Urban) | 1056156 | 833787 | 629075 | 642907 | 1148918.0033 | 1335627.6145 | 1731521 | 1666575 | 1664189 | 1670205 | 1698923 | 1695863.3286 | 1695863.3286 | 1695863.3286 | 1695863.3286
UR (URD) | 6508828 | 7082082 | 9523550 | 9019851 | 27667778.6497 | 32906772.3844 | 43969550 | 42124113 | 42033971 | 42179479 | 42961866 | 43014836.1216 | 43014836.1216 | 43014836.1216 | 43014836.1216
DU (Duct installation) | [5 empty] | 1955226 | 2152731 | 2206549 | 2261713 | 2318255 | 2376212 | 2435617 | 2496508 | 2558920 | 2558920
Total Connections | 14543510 | 15624652 | 16397633 | 15046333 | 39423055.3578 | 48419576.646 | 63508067 | 61092884 | 61038250 | 61301768 | 62422734 | 60049757.5332 | 60049757.5332 | 60049757.5332 | 60049757.5332
Final Capex $ million |  |  |  |  | Forecast | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25
AR (Asset Relocation) | 1.3726 | 2.4768 | 1.5491 | 1.5184 | 1.6662 | 1.7103 | 1.8178 | 1.8095 | 1.816 | 1.8245 | 1.8384 | 1.7954 | 1.7954 | 1.7954 | 1.7954
IC (Industrial & Commercial) | 5.6059 | 5.232 | 4.696 | 3.8651 | 8.9402 | 10.5117 | 13.8365 | 13.2862 | 13.2624 | 13.3093 | 13.5473 | 13.5437 | 13.5437 | 13.5437 | 13.5437
NU (Non Urban) | 1.0562 | 0.83379 | 0.62908 | 0.64291 | 1.1489 | 1.3356 | 1.7315 | 1.6666 | 1.6642 | 1.6702 | 1.6989 | 1.6959 | 1.6959 | 1.6959 | 1.6959
UR (URD) | 6.5088 | 7.0821 | 9.5236 | 9.0199 | 27.6678 | 32.9068 | 43.9695 | 42.1241 | 42.034 | 42.1795 | 42.9619 | 43.0148 | 43.0148 | 43.0148 | 43.0148
[6 empty] | 1.9552 | 2.1527 | 2.2065 | 2.2617 | 2.3183 | 2.3762
Total Connections | 14.5435 | 15.6247 | 16.3976 | 15.0463 | 39.4231 | 48.4196 | 63.5081 | 61.0929 | 61.0383 | 61.3018 | 62.4227 | 60.0498 | 60.0498 | 60.0498 | 60.0498
check against PIP
[6 empty] | AR | 1817759 | 1809464 | 1815980 | 1824516 | 1838449
[6 empty] | IC | 13836506 | 13286183 | 13262397 | 13309313 | 13547284
[6 empty] | NU | 1731521 | 1666575 | 1664189 | 1670205 | 1698923
[6 empty] | UR | 43969550 | 42124113 | 42033971 | 42179479 | 42961866
[6 empty] | DU | 2152731 | 2206549 | 2261713 | 2318255 | 2376212
Error
[6 empty] | AR | 0 | 0 | 0 | 0 | 0
[6 empty] | IC | 0 | 0 | 0 | 0 | 0
[6 empty] | NU | 0 | 0 | 0 | 0 | 0
[6 empty] | UR | 0 | 0 | 0 | 0 | 0
[6 empty] | DU | 0 | 0 | 0 | 0 | 0

## Captial Contributions
Capital Contributions Adjustment
% of non cash cap cons
URD 11kV underground cable | 12%
Ground Sub ex Transformer | 12%
Non Cash contributions Forecast | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26 | 2026/27 | 2027/28
customer growth | 22450 | 23041.879 | 23414.7326 | 23010.4342 | 20376.6104 | 20174.6253 | 20295.7934 | 21300.3849 | 21758.0575 | 21758.0575 | 21758.0575 | 21758.0575
| 182000000 | 184399153.1323 | 185910497.5831 | 184271693.0941 | 173595614.5326 | 172776877.7068 | 173268026.758 | 177340090.2833 | 179195244.1363 | 179195244.1363 | 179195244.1363 | 179195244.1363
calibrated | 182000000 | 184399153.1323 | 185910497.5831 | 184271693.0941 | 173595614.5326 | 172776877.7068 | 173268026.758 | 177340090.2833 | 179195244.1363 | 179195244.1363 | 179195244.1363 | 179195244.1363
capex (if full financial year)
URD 11kV underground cable |  | 22127898.3759 | 22309259.71 | 22112603.1713 | 20831473.7439 | 20733225.3248 | 20792163.211 | 21280810.834 | 21503429.2964 | 21503429.2964 | 21503429.2964 | 21503429.2964
Ground Sub ex Transformer |  | 22127898.3759 | 22309259.71 | 22112603.1713 | 20831473.7439 | 20733225.3248 | 20792163.211 | 21280810.834 | 21503429.2964 | 21503429.2964 | 21503429.2964 | 21503429.2964
Total amount transferred to reimbursement |  | 44255796.7518 | 44618519.42 | 44225206.3426 | 41662947.4878 | 41466450.6496 | 41584326.4219 | 42561621.668 | 43006858.5927 | 43006858.5927 | 43006858.5927 | 43006858.5927
grosss residual cap cons |  | 140143356.3806 | 141291978.1632 | 140046486.7515 | 131932667.0448 | 131310427.0571 | 131683700.336 | 134778468.6153 | 136188385.5436 | 136188385.5436 | 136188385.5436 | 136188385.5436
AR (Asset Relocation) |  | 277159.3103 | 279430.9215 | 276967.7327 | 260921.1592 | 259690.565 | 260428.7816 | 266549.2562 | 269337.6267 | 269337.6267 | 269337.6267 | 269337.6267
IC (Industrial & Commercial) |  | 9877124.1998 | 9958077.5913 | 9870296.9524 | 9298445.3353 | 9254590.6582 | 9280898.4806 | 9499013.7838 | 9598382.9225 | 9598382.9225 | 9598382.9225 | 9598382.9225
NU (Non Urban) |  | 1173503.2068 | 1183121.2963 | 1172692.0601 | 1104750.2491 | 1099539.8656 | 1102665.5036 | 1128579.8287 | 1140385.897 | 1140385.897 | 1140385.897 | 1140385.897
UR (URD) |  | 32928010.0349 | 33197889.6108 | 32905249.5973 | 30998830.7443 | 30852629.5608 | 30940333.6561 | 31667478.7993 | 31998752.1466 | 31998752.1466 | 31998752.1466 | 31998752.1466
Residual cap cons
adjustment to remove alternate control cap cons (SL) | 12% 2017/18: 18439915.3132; 12% 2018/19: 18591049.7583; 12% 2019/20: 18427169.3094; 12% 2020/21: 17359561.4533; 12% 2021/22: 17277687.7707; 12% 2022/23: 17326802.6758; 12% 2023/24: 17734009.0283
adjustment for capex efficiency per customer (lower ADMD, higher densities, delivery efficiency, change in standards) | 12% 2017/18: 2450813.5182; 12% 2018/19: 4901627.0363; 12% 2019/20: 9803254.0726; 12% 2020/21: 9235286.6931; 12% 2021/22: 9191729.894; 12% 2022/23: 9217859.0235; 12% 2023/24: 9434492.8031
| 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24
Total net SCS capital contributions |  | 141380525.925 | 117799301.3686 | 111816063.3695 | 105337818.8984 | 104841009.3925 | 105139038.6367 | 107609966.7839
RCP total residual cap cons | 2016/17: 534743897.081
| FY17 actual | Amt affected by funding arrangements
AR (Asset Relocation) | 2016/17: 1518425; 2017/18: 75921.25; 2018/19: 0.6263%
IC (Industrial & Commercial) | 2016/17: 3865150; 2017/18: 2705605; 2018/19: 22.32%
NU (Non Urban) | 2016/17: 642907; 2017/18: 321453.5; 2018/19: 2.652%
UR (URD) | 2016/17: 9019851; 2017/18: 9019851; 2018/19: 74.4%
| 15046333 | 12122830.75

## Customer Forecast
Forecast Customer Numbers - 000's (received 16/3/18) |  |  |  |  | source: Pricing team in reg branch
| FY10 Actual | FY11 Actual | FY12 Actual | FY13 Actual | FY14 Actual | FY15 Actual | FY16 Actual | FY17 Actual | FY18 Forecast | FY19 Forecast | FY20 Forecast | FY21 Forecast | FY22 Forecast | FY23 Forecast | FY24 Forecast
Residential | 786.94 | 796.894 | 803.173 | 823.721 | 837.594 | 850.139 | 868.75 | 889.963 | 912.8926 | 936.413 | 957.5743 | 976.9179 | 996.2113 | 1014.9543 | 1034.1139 | 97.701
Commercial | 75.116 | 76.114 | 76.421 | 79.746 | 80.033 | 78.588 | 77.867 | 79.005 | 78.5917 | 78.2733 | 79.9906 | 80.9499 | 81.7683 | 83.2104 | 85.1985 | 6.9252
Industrial | 4.245 | 4.371 | 4.488 | 4.529 | 4.578 | 4.83 | 5.184 | 5.283 | 5.8086 | 6.0213 | 6.1532 | 6.2268 | 6.2896 | 6.4004 | 6.553 | 0.53165
Total | 866.301 | 877.379 | 884.082 | 907.996 | 922.205 | 933.557 | 951.801 | 974.251 | 997.2929 | 1020.7076 | 1043.718 | 1064.0947 | 1084.2693 | 1104.5651 | 1125.8655
|  | 11.078 | 6.703 | 23.914 | 14.209 | 11.352 | 18.244 | 22.45 | 23.0419 | 23.4147 | 23.0104 | 20.3766 | 20.1746 | 20.2958 | 21.3004
[10 empty] | 144.1509 | 21.1613 | 19.3436 | 19.2934 | 18.7429 | 19.1596
20.593
Commercial/Industrial
| 79.361 | 80.485 | 80.909 | 84.275 | 84.611 | 83.418 | 83.051 | 84.288 | 84.4003 | 84.2946 | 86.1437 | 87.1767 | 88.0579 | 89.6108 | 91.7515
Increase |  | 1.124 | 0.424 | 3.366 | 0.336 | -1.193 | -0.367 | 1.237 | 0.11228 | -0.10564 | 1.8491 | 1.033 | 0.88121 | 1.5528 | 2.1407
[9 empty] | 912.8926 | 936.413 | 957.5743 | 976.9179 | 996.2113 | 1014.9543 | 1034.1139
[9 empty] | 78.5917 | 78.2733 | 79.9906 | 80.9499 | 81.7683 | 83.2104 | 85.1985
[9 empty] | 5.8086 | 6.0213 | 6.1532 | 6.2268 | 6.2896 | 6.4004 | 6.553
|  |  |  | Customer Numbers 30 June | ACTUAL | ST Method | ST Method | Hybrid | Hybrid | Hybrid | Hybrid | Hybrid | Hybrid | Hybrid | Hybrid | Hybrid
[8 empty] | LT Method | LT Method | LT Method | LT Method | LT Method | LT Method | LT Method | LT Method | LT Method
[5 empty] | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
Dom & CLd
|  |  |  | Domestic | 850139 | 865644.6326 | 882077.6865 | 898259.6631 | 914804.3459 | 930796.8841 | 946434.5296 | 961177.7383 | 974413.9423 | 988878.51 | 1005330.3804 | 1021810.1933
|  |  |  | Controlled Load | 340665 | 337283.88 | 334862.3212 | 331178.8357 | 327204.6896 | 322951.0287 | 318429.7143 | 313653.2686 | 308634.8163 | 303388.0244 | 297927.0399 | 291968.4991
|  |  |  | Commercial | 78588 | 78424.2416 | 78614.6074 | 80352.5191 | 81995.36 | 83578.3428 | 85749.221 | 87506.711 | 89125.2522 | 90729.1827 | 92401.2458 | 94091.8592
|  |  |  | General Supply Non TOU | 75880 | 75790.6524 | 75840.6508 | 77517.6234 | 79102.8588 | 80630.335 | 82725.0922 | 84420.9566 | 85982.7443 | 87530.4337 | 89143.8666 | 90775.1993
|  |  |  | General Supply TOU | 2691 | 2615.5892 | 2755.9566 | 2816.8957 | 2874.5013 | 2930.0079 | 3006.1288 | 3067.7544 | 3124.5079 | 3180.749 | 3239.3792 | 3298.6598
|  |  |  | Unmetered | 17 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18
|  |  |  | Industrial | 4830 | 5176.1193 | 5270.924 | 5387.363 | 5497.4324 | 5603.4912 | 5748.9387 | 5866.6895 | 5975.1307 | 6082.5931 | 6194.6203 | 6307.8903
|  |  |  | Low Voltage TOU Demand | 4477 | 4826.3693 | 4921.174 | 5029.99 | 5132.8533 | 5231.9687 | 5367.894 | 5477.9358 | 5579.2777 | 5679.7047 | 5784.3976 | 5890.2521
|  |  |  | High Voltage TOU Demand | 277 | 272.75 | 272.75 | 278.781 | 284.4821 | 289.9754 | 297.5089 | 303.6078 | 309.2246 | 314.7906 | 320.5931 | 326.46
|  |  |  | Sub Transmission TOU Demand | 71 | 72 | 72 | 73.592 | 75.097 | 76.5471 | 78.5358 | 80.1458 | 81.6285 | 83.0978 | 84.6295 | 86.1782
|  |  |  | Bulk & Inter-distributor Transfer | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
|  |  |  | Total | 933557 | 949244.9935 | 965963.2179 | 983999.5452 | 1002297.1382 | 1019978.7182 | 1037932.6893 | 1054551.1388 | 1069514.3252 | 1085690.2858 | 1103926.2465 | 1122209.9428
[6 empty] | 15687.9935 | 16718.2244 | 18036.3273 | 18297.5931 | 17681.5799 | 17953.9711 | 16618.4494 | 14963.1864 | 16175.9606 | 18235.9607 | 18283.6963
[7 empty] | 1.761% | 1.867% | 1.86% | 1.764% | 1.76% | 1.601% | 1.419% | 1.512% | 1.68% | 1.656%
Commercial Industrial
[5 empty] | 83418 | 83600.3609 | 83885.5314 | 85739.8821 | 87492.7924 | 89181.8341 | 91498.1597 | 93373.4005 | 95100.3829 | 96811.7758 | 98595.8661 | 100399.7495
|  |  |  | Increase |  | 182.3609 | 285.1705 | 1854.3507 | 1752.9102 | 1689.0417 | 2316.3257 | 1875.2408 | 1726.9824 | 1711.3929 | 1784.0902 | 1803.8834
Nadeems Historical Connections
VOLUMES (0's)
[7 empty] | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
|  |  |  | RESIDENTIAL | Simple connection LV |  | 1884 | 1861 | 3056 | 1928 | 2434 | 4188 | 3080 | 5937 | 9122
Complex connection LV
Complex connection HV
|  |  |  | COMMERCIAL/INDUSTRIAL | Simple connection LV
[5 empty] | Complex connection HV (customer connected at LV, minor HV works) |  | 267 | 951 | 685 | 420 | 2144 | 950 | 418 | 354 | 1237
Complex connection HV (customer connected at LV, upstream asset works)
Complex connection HV (customer connected at HV)
Complex connection sub-transmission
|  |  |  | SUBDIVISION | Complex connection LV
Complex connection HV (no upstream asset works)
[5 empty] | Complex connection HV (with upstream asset works) |  | 4252 | 4200 | 6898 | 4351 | 5493 | 9451 | 9464 | 12673 | 12091
|  |  |  | EMBEDDED GENERATION | Simple connection LV |  | 294 | 5404 | 31214 | 14861 | 8750 | 1487 | 5075 | 3124 | 1885
Complex connection HV (small capacity)
Complex connection HV (large capacity)