## Instructions
Distribution Network Service Provider
Annual Reporting RIN Template
This template is to be used by Endeavour Energy to fulfil its reporting obligations to the AER.
INSTRUCTIONS
Complete the Business & other details worksheet before entering data or values in any other worksheets. The Business & other details worksheet is linked to other worksheets within the workbook and automatically generates certain column headings and conditional formatting.
Identifying CONFIDENTIAL INFORMATION: Please use the macro at the top of each worksheet to identify confidential information.
-Do this by selecting the cell or cells that contain confidential information and then run the Mark selected cells as CONFIDENTIAL macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as confidential. -To reverse this, select the cell or cells and run the Return cells to NON-CONFIDENTIAL macro
UNITS OF MEASURE All amounts are to be unrounded and reported in nominal terms on a one for one basis: that is 1000 is to be entered as '1000'. Applicable units of measure may be identified in the table column headings or row descriptors.
COLOUR CODING OF INPUT / NON-INPUT CELLS:
Yellow = Input cell (mandatory)
Darker yellow = input cell (mandatory)
Orange = input cell (if data available)
Grey = Not applicable/No inputs required
PLEASE DO NOT ENTER TEXT into cells that are to contain numeric data.
WORKSHEET NAVIGATION Many tables in the worksheets have been "grouped" to allow for easy navigation. To ungroup or group data use the outline symbols in the left margin of excel (for Row groupings) or above the columns (for column groupings).
RETURNING COMPLETED RESPONSES Please return four (4) files to the AER: 1. A confidential version which must contain a complete set of all responses with confidential information marked using the Mark selected cells CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 2. An actual and an estimate version with confidential information marked using the Mark selected cells CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 3. A public version with confidential information either removed completely or aggregated in some form together with writtten consent to disclose the public version of the response. Use the drop down box on the Business and other details worksheet to identify the file as either confidential ('consolidated') or public.
SUBMITTING AMENDED DATA TO THE AER If an NSP wishes to correct data previously submitted to the AER it should resubmit that data using the original completed submission as the starting point. Please make any necessary changes to the data. Data that is not being amended should be left unchanged. NSPs must identify the reason for the amendments in the Amendment Reason box on the Business and other details worksheet. NSPs may provide further details regarding any amendments in the Amendments worksheet. .
NSP may use Amended Data macro to highlight cells that contain amended data. NB: if data is also CONFIDENTIAL, re-apply the Confidentiality macro after applying the Amended macro
Please resubmit two (2) files - a confidential version and a public version of the amended submission to the AER
Contents
Instructions

## Contents
REGULATORY REPORTING STATEMENT
Endeavour Energy
Benchmarking RIN response 2015-16
CONTENTS
3. ECONOMIC BENCHMARKING
3.2 Operating expenditure
3.4 Operational data
3.1 Revenue
3.3 Assets (RAB)
3.6 Quality of service
3.5 Physical assets
3.7 Operating environment factors
1.0 Business & other details
3.2.3 Provisions

## Business & other details
REGULATORY REPORTING STATEMENT
Endeavour Energy
Benchmarking RIN response 2015-16
BUSINESS & OTHER DETAILS
Instructions
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings.
SUBMISSION PARTICULARS INPUT SHEETS
ENTITY DETAILS
Short name | Endeavour Energy
ACN / ABN | 59253130878
Business address | Address 1 |  | 51 Huntingwood Drive
Address 2
| Suburb |  | HUNTINGWOOD
|  | State | NSW | p/code | 2148
Postal address | Address 1 |  | PO Box 811
Address 2
| Suburb |  | SEVEN HILLS
|  | State | NSW | p/code | 1730
Contact name/s
Contact phone/s
Contact email address/s
REGULATORY CONTROL PERIODS
Current regulatory year | 2015-16 | CRY
Source | Reporting |  | Please select the correct submission type from the dropdown list.
Data quality (actual, estimate, public, consolidated) | Consolidated
Amended RIN submission - amendment reason | 20211105 - #13031491 - 3.5 physical assets amended 3.3 RAB updated - see D18/97260 20220222 - 3.5 from 2019 - #13,581,931 25022022 3.5 #13,571,283
Submission Date | 2021-11-05 | dms_SubmissionDate | Please enter date this file submitted to AER (dd/mm/yyyy)
EBSS - First application of scheme in forthcoming period? | No
Contents
Instructions

## 3.1 Revenue
REGULATORY REPORTING STATEMENT
Endeavour Energy
Benchmarking RIN response 2015-16
3.1 REVENUE
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.1.1 - REVENUE GROUPING BY CHARGEABLE QUANTITY
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2015-16 | 2015-16
DREV0101 | Revenue from Fixed Customer Charges | 163872760.6141 | 0
DREV0102 | Revenue from Energy Delivery charges where time of use is not a determinant | 486349945.4155 | 0
DREV0103 | Revenue from On–Peak Energy Delivery charges | 27536822.6558 | 0
DREV0104 | Revenue from Shoulder period Energy Delivery Charges | 12890776.8673 | 0
DREV0105 | Revenue from Off–Peak Energy Delivery charges | 2725885.0906 | 0
DREV0106 | Revenue from controlled load customer charges | 5530954.3294 | 0
DREV0107 | Revenue from unmetered supplies | 8167594.4746 | 0
DREV0108 | Revenue from Contracted Maximum Demand charges | 0 | 0
DREV0109 | Revenue from Measured Maximum Demand charges | 136992564.8032 | 0
DREV0110 | Revenue from metering charges | 0 | 16531292.72
DREV0111 | Revenue from connection charges | 0 | 0
DREV0112 | Revenue from public lighting charges | 0 | 19861248.11
DREV0113 | Revenue from other Sources | 0 | 30176630.18
DREV01 | Total revenue by chargeable quantity | 844067304.2505 | 66569171.01
3.1.2 - REVENUE GROUPING BY CUSTOMER TYPE OR CLASS
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2015-16 | 2015-16
DREV0201 | Revenue from residential Customers | 479315294.1577 | 0
DREV0202 | Revenue from Non residential customers not on demand tariffs | 149658504.9411 | 0
DREV0203 | Revenue from Non-residential low voltage demand tariff customers | 148952485.2754 | 0
DREV0204 | Revenue from Non-residential high voltage demand tariff customers | 57973425.4017 | 0
DREV0205 | Revenue from unmetered supplies | 8167594.4746 | 0
DREV0206 | Revenue from Other Customers | 0 | 66569171.01
DREV02 | Total revenue by customer class | 844067304.2505 | 66569171.01
3.1.3 - REVENUE (penalties) ALLOWED (deducted) THROUGH INCENTIVE SCHEMES
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2015-16 | 2015-16
DREV0301 | EBSS | 12574956.2657 | 0
DREV0302 | STPIS | 0 | 0
DREV0303 | F-Factor | 0 | 0
DREV0304 | S-Factor True up | 0 | 0
DREV0305 | Other | 7235822.3357 | 0
DREV03 | Total revenue of incentive schemes | 19810778.6014 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.2 Operating expenditure
REGULATORY REPORTING STATEMENT
Endeavour Energy
Benchmarking RIN response 2015-16
3.2 OPERATING EXPENDITURE
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
Instructions
In table 3.2.1, please list each opex category reported in response to Endeavour Energy's annual reporting RIN and report opex for each category.
3.2.1 - OPEX CATEGORIES
CURRENT OPEX CATEGORIES AND COST ALLOCATIONS
|  | Standard control services | Alternative control services
EXPENDITURE ($0's)
|  | 2015-16 | 2015-16
DOPEX0101 | Vegetation management | 50355048.15 | 0
DOPEX0102 | Maintenance | 57454880.0134 | 0
DOPEX0103 | Emergency response | 25105750.4169 | 0
DOPEX0104 | Non-network | 60393826.303 | 0
DOPEX0105 | network overheads | 62808455.9793 | 0
DOPEX0106 | corporate overheads | 116096939.2078 | 0
DOPEX0107 | Balancing Item | -60393826.303 | 0
DOPEX0108 | Metering |  | 17121241.6215
DOPEX0109 | Public Lighting |  | 10448159.2538
DOPEX0110 | Ancillary network services |  | 41167718.066
DOPEX0111 |  | 0 | 0
DOPEX0112 |  | 0 | 0
DOPEX0113 |  | 0 | 0
DOPEX0114 |  | 0 | 0
DOPEX0115 |  | 0 | 0
DOPEX0116 |  | 0 | 0
DOPEX0117 |  | 0 | 0
DOPEX0118 |  | 0 | 0
DOPEX0119 |  | 0 | 0
DOPEX0120 |  | 0 | 0
DOPEX0121 |  | 0 | 0
DOPEX0122 |  | 0 | 0
DOPEX0123 |  | 0 | 0
DOPEX0124 |  | 0 | 0
DOPEX0125 |  | 0 | 0
DOPEX0126 |  | 0 | 0
DOPEX0127 |  | 0 | 0
DOPEX0128 |  | 0 | 0
DOPEX0129 |  | 0 | 0
DOPEX0130 |  | 0 | 0
DOPEX0131 |  | 0 | 0
DOPEX0132 |  | 0 | 0
DOPEX0133 |  | 0 | 0
DOPEX0134 |  | 0 | 0
DOPEX0135 |  | 0 | 0
DOPEX0136 |  | 0 | 0
DOPEX0137 |  | 0 | 0
DOPEX0138 |  | 0 | 0
DOPEX0139 |  | 0 | 0
DOPEX0140 |  | 0 | 0
DOPEX0141 |  | 0 | 0
DOPEX0142 |  | 0 | 0
DOPEX01 | Total opex | 311821073.7674 | 68737118.9413
3.2.2 - OPEX CONSISTENCY
CURRENT COST ALLOCATION APPROACH
|  | Standard control services | Alternative control services
EXPENDITURE ($0's)
|  | 2015-16 | 2015-16
DOPEX0201 | Opex for network services | 311821073.7674 | 0
DOPEX0202 | Opex for metering | 0 | 17121241.6215
DOPEX0203 | Opex for connection services | 0 | 41167718.066
DOPEX0204 | Opex for public lighting | 0 | 10448159.2538
DOPEX0205 | Opex for amounts payable for easement levy or similar direct charges on DNSP | 0 | 0
DOPEX0206 | Opex for transmission connection point planning | 0 | 0
3.2.4 - OPEX FOR HIGH VOLTAGE CUSTOMERS
End user costs (not standard control services)
DOPEX0401 | Opex for high voltage customers | 229512.576
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.2.3 Provisions
REGULATORY REPORTING STATEMENT
Endeavour Energy
Benchmarking RIN response 2015-16
3.2 OPERATING EXPENDITURE
The is ONE table on this worksheet. Each Provision has been grouped for ease of navigation. See the Instructions sheet on how to group and ungroup tables.
Instructions
In table 3.2.3, please list each opex category reported in response to Endeavour Energy's annual reporting RIN and report opex for each category.
3.2.3 - PROVISIONS
VALUE ($0's)
2015-16
DOPEX03A | Employee Entitlements
Provisions are required to comply with Accounting Standards. A provision is recognised if, as a result of a past event, the Corporation has a present legal or constructive obligation that can be estimated reliably, and it is probable that an outflow of economic benefits will be required to settle the obligation. The Employee Benefits provision relates to amounts accruing to employees up to reporting date in respect of employee benefits including annual leave, maturing allowance, pre 93 sick leave and long service leave. Amounts provided for in relation to maturing allowance, pre 93 sick leave and long service leave have been based on an actuarial assessment and associated formulae provided for intervening periods between assessments. All other employee benefit amounts have been calculated at nominal amounts based on expected settlement rates.
DOPEX0301A | Opening balance (the carrying amount at the beginning of the period) | 172252078
Additional provisions made in the period, including increases to existing provisions
DOPEX0302A | Opex component | 40117482.6867
DOPEX0303A | Capex component | 16365941.7472
DOPEX0304A | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305A | Opex component | -62734853.4116
DOPEX0306A | Capex component | -22242193.4115
DOPEX0307A | Other component | 0
Unused amounts reversed during the period
DOPEX0308A | Opex component | -1109492.3147
DOPEX0309A | Capex component | -427454.7383
DOPEX0310A | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311A | Opex component | 8041778.1005
DOPEX0312A | Capex component | 3441554.9004
DOPEX0313A | Other component | 0
DOPEX0314A | Closing balance (carrying amount at the end of the period) | 153704841.2912
DOPEX03B | Self Insurance (WC)
Provisions are required to comply with Accounting Standards. A provision is recognised if, as a result of a past event, the Corporation has a present legal or constructive obligation that can be estimated reliably, and it is probable that an outflow of economic benefits will be required to settle the obligation. The Self Insurance provision relates to workers compensation and has been based on actuarial assessment outcomes.
DOPEX0301B | Opening balance (the carrying amount at the beginning of the period) | 7241742.6023
Additional provisions made in the period, including increases to existing provisions
DOPEX0302B | Opex component | 6399986.8828
DOPEX0303B | Capex component | 2738934.8404
DOPEX0304B | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305B | Opex component | -577709.8796
DOPEX0306B | Capex component | -247236.4
DOPEX0307B | Other component | 0
Unused amounts reversed during the period
DOPEX0308B | Opex component | 0
DOPEX0309B | Capex component | 0
DOPEX0310B | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311B | Opex component | 0
DOPEX0312B | Capex component | 0
DOPEX0313B | Other component | 0
DOPEX0314B | Closing balance (carrying amount at the end of the period) | 15555718
DOPEX03C | Defined Benefits Superannuation
Provisions are required to comply with Accounting Standards. A provision is recognised if, as a result of a past event, the Corporation has a present legal or constructive obligation that can be estimated reliably, and it is probable that an outflow of economic benefits will be required to settle the obligation. The Defined Benefits Superannuation liability provision has been based on an EISS actuarial assessment.
DOPEX0301C | Opening balance (the carrying amount at the beginning of the period) | 37235351.6942
Additional provisions made in the period, including increases to existing provisions
DOPEX0302C | Opex component | 10487703.7671
DOPEX0303C | Capex component | 4488311.8935
DOPEX0304C | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305C | Opex component | -5481306.6705
DOPEX0306C | Capex component | -2345776.9658
DOPEX0307C | Other component | 0
Unused amounts reversed during the period
DOPEX0308C | Opex component | 0
DOPEX0309C | Capex component | 0
DOPEX0310C | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311C | Opex component | 0
DOPEX0312C | Capex component | 0
DOPEX0313C | Other component | 30131704.9178
DOPEX0314C | Closing balance (carrying amount at the end of the period) | 74515988.6362
DOPEX03D | Other
Provisions are required to comply with Accounting Standards. A provision is recognised if, as a result of a past event, the Corporation has a present legal or constructive obligation that can be estimated reliably, and it is probable that an outflow of economic benefits will be required to settle the obligation. Other Provisions have not been detailed due to commercial and legal sensitivity.
DOPEX0301D | Opening balance (the carrying amount at the beginning of the period) | 5927268.5487
Additional provisions made in the period, including increases to existing provisions
DOPEX0302D | Opex component | 3966280.4104
DOPEX0303D | Capex component | 1351569.1715
DOPEX0304D | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305D | Opex component | -3678103.3248
DOPEX0306D | Capex component | -1520277.6086
DOPEX0307D | Other component | 0
Unused amounts reversed during the period
DOPEX0308D | Opex component | 0
DOPEX0309D | Capex component | 0
DOPEX0310D | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311D | Opex component | 0
DOPEX0312D | Capex component | 0
DOPEX0313D | Other component | 0
DOPEX0314D | Closing balance (carrying amount at the end of the period) | 6046737
DOPEX03E | Dividend
Provisions are required to comply with Accounting Standards. A provision is recognised if, as a result of a past event, the Corporation has a present legal or constructive obligation that can be estimated reliably, and it is probable that an outflow of economic benefits will be required to settle the obligation. The Provision for Dividend represents amounts determined by the Directors and approved by the Shareholding Ministers, in accordance with the requirements of NSW Treasury Policy TPP 14-4 Financial Distribution Policy for Government Businesses.
DOPEX0301E | Opening balance (the carrying amount at the beginning of the period) | 166533360.0045
Additional provisions made in the period, including increases to existing provisions
DOPEX0302E | Opex component | 0
DOPEX0303E | Capex component | 0
DOPEX0304E | Other component | 114356152
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305E | Opex component | 0
DOPEX0306E | Capex component | 0
DOPEX0307E | Other component | -166533360.0045
Unused amounts reversed during the period
DOPEX0308E | Opex component | 0
DOPEX0309E | Capex component | 0
DOPEX0310E | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311E | Opex component | 0
DOPEX0312E | Capex component | 0
DOPEX0313E | Other component | 0
DOPEX0314E | Closing balance (carrying amount at the end of the period) | 114356152
DOPEX03F | Provision name
DOPEX03G | Provision name
DOPEX03H | Provision name
DOPEX03I | Provision name
DOPEX03J | Provision name
DOPEX03K | Provision name
DOPEX03L | Provision name
DOPEX03M | Provision name
DOPEX03N | Provision name
DOPEX03O | Provision name
DOPEX03P | Provision name
DOPEX03Q | Provision name
DOPEX03R | Provision name
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.3 Assets (RAB)
REGULATORY REPORTING STATEMENT
Endeavour Energy
Benchmarking RIN response 2015-16
3.3 ASSETS
There are FOUR tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.3.1 - REGULATORY ASSET BASE VALUES
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2015-16 | 2015-16 | 2015-16
FOR TOTAL ASSET BASE
DRAB0101 | Opening value | 5889009278.2184 | 5889009278.2184 | 23212497.9696
DRAB0102 | Inflation addition | 89755095.9402 | 89755095.9402 | 350129.5946
DRAB0103 | Straight line depreciation | -218750646.7384 | -218750646.7384 | -855928.841
DRAB0105 | Actual additions (recognised in RAB) | 254850900.8924 | 254850900.8924 | 5447933.2094
DRAB0106 | Disposals | -35831114.1099 | -35831114.1099 | 0
DRAB0107 | Closing value | 5979033514.2026 | 5979033514.2026 | 28154631.9326
3.3.2 - ASSET VALUE ROLL FORWARD
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2015-16 | 2015-16 | 2015-16
For overhead network assets less than 33kV:
DRAB0201 | Opening value | 777636616.751 | 777636616.751 | 0
DRAB0202 | Inflation addition | 11852052.8404 | 11852052.8404 | 0
DRAB0203 | Straight line depreciation | -26061118.7166 | -26061118.7166 | 0
DRAB0205 | Actual additions (recognised in RAB) | 67000848.4273 | 67000848.4273 | 0
DRAB0206 | Disposals | -84233.194 | -84233.194 | 0
DRAB0207 | Closing value | 830344166.1081 | 830344166.1081 | 0
For underground network assets less than 33kV:
DRAB0301 | Opening value | 1469506367.5843 | 1469506367.5843 | 0
DRAB0302 | Inflation addition | 22396922.6021 | 22396922.6021 | 0
DRAB0303 | Straight line depreciation | -50816031.0636 | -50816031.0636 | 0
DRAB0305 | Actual additions (recognised in RAB) | 23891311.5814 | 23891311.5814 | 0
DRAB0306 | Disposals | -7613.5755 | -7613.5755 | 0
DRAB0307 | Closing value | 1464970957.1287 | 1464970957.1287 | 0
For distribution substations and transformers:
DRAB0401 | Opening value | 525735875.372 | 525735875.372 | 0
DRAB0402 | Inflation addition | 8012803.4622 | 8012803.4622 | 0
DRAB0403 | Straight line depreciation | -23461721.4512 | -23461721.4512 | 0
DRAB0405 | Actual additions (recognised in RAB) | 23007497.8502 | 23007497.8502 | 0
DRAB0406 | Disposals | -387161.8968 | -387161.8968 | 0
DRAB0407 | Closing value | 532907293.3364 | 532907293.3364 | 0
For overhead network assets 33kV and above:
DRAB0501 | Opening value | 286288159.6527 | 286288159.6527 | 0
DRAB0502 | Inflation addition | 4363352.1399 | 4363352.1399 | 0
DRAB0503 | Straight line depreciation | -10554975.8209 | -10554975.8209 | 0
DRAB0505 | Actual additions (recognised in RAB) | 24435163.4538 | 24435163.4538 | 0
DRAB0506 | Disposals | 0 | 0 | 0
DRAB0507 | Closing value | 304531699.4255 | 304531699.4255 | 0
For underground network assets 33kV and above:
DRAB0601 | Opening value | 111777908.5309 | 111777908.5309 | 0
DRAB0602 | Inflation addition | 1703620.4954 | 1703620.4954 | 0
DRAB0603 | Straight line depreciation | -4718391.5144 | -4718391.5144 | 0
DRAB0605 | Actual additions (recognised in RAB) | 1562514.8029 | 1562514.8029 | 0
DRAB0606 | Disposals | 0 | 0 | 0
DRAB0607 | Closing value | 110325652.3148 | 110325652.3148 | 0
Zone substations and transformers
DRAB0701 | Opening value | 2313589262.8906 | 2313589262.8906 | 0
DRAB0702 | Inflation addition | 35261691.1346 | 35261691.1346 | 0
DRAB0703 | Straight line depreciation | -74954520.4669 | -74954520.4669 | 0
DRAB0705 | Actual additions (recognised in RAB) | 89507584.3844 | 89507584.3844 | 0
DRAB0706 | Disposals | -5803042.9736 | -5803042.9736 | 0
DRAB0707 | Closing value | 2357600974.969 | 2357600974.969 | 0
For easements:
DRAB0801 | Opening value | 14983159.122 | 14983159.122 | 0
DRAB0802 | Inflation addition | 228360.1232 | 228360.1232 | 0
|  | 441054.5733 | 441054.5733 | 0
DRAB0805 | Actual additions (recognised in RAB) | 0 | 0 | 0
DRAB0806 | Disposals
DRAB0807 | Closing value | 15652573.8185 | 15652573.8185 | 0
For meters:
DRAB0901 | Opening value | 22721679.7615 | 22721679.7615 | 22634017.5504
DRAB0902 | Inflation addition | 346303.8434 | 346303.8434 | 341403.9885
DRAB0903 | Straight line depreciation | 0 | 0 | -528281.1956
DRAB0905 | Actual additions (recognised in RAB) | 562205.6414 | 562205.6414 | 5447933.2094
DRAB0906 | Disposals | 0 | 0 | 0
DRAB0907 | Closing value | 23630189.2463 | 23630189.2463 | 27895073.5527
For “other” asset items with long lives:
DRAB1001 | Opening value | 241286124.7044 | 241286124.7044 | 380563.3066
DRAB1002 | Inflation addition | 3677470.7338 | 3677470.7338 | 5740.2903
DRAB1003 | Straight line depreciation | -3761241.2026 | -3761241.2026 | -55771.6857
DRAB1005 | Actual additions (recognised in RAB) | 4652315.7067 | 4652315.7067 | 0
DRAB1006 | Disposals | -26556916.2565 | -26556916.2565 | 0
DRAB1007 | Closing value | 219297753.6858 | 219297753.6858 | 330531.9111
For “other” asset items with short lives:
DRAB1101 | Opening value | 125484123.8491 | 125484123.8491 | 197917.1125
DRAB1102 | Inflation addition | 1912518.5652 | 1912518.5652 | 2985.3159
DRAB1103 | Straight line depreciation | -24422646.5021 | -24422646.5021 | -271875.9597
DRAB1105 | Actual additions (recognised in RAB) | 19790404.471 | 19790404.471 | 0
DRAB1106 | Disposals | -2992146.2135 | -2992146.2135 | 0
DRAB1107 | Closing value | 119772254.1696 | 119772254.1696 | -70973.5313
3.3.3 - TOTAL DISAGGREGATED RAB ASSET VALUES
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2015-16 | 2015-16 | 2015-16
DRAB1201 | Overhead distribution assets (wires and poles) | 803990391.4295 | 803990391.4295 | 0
DRAB1202 | Underground distribution assets (cables, ducts etc) | 1467238662.3565 | 1467238662.3565 | 0
DRAB1203 | Distribution substations including transformers | 529321584.3542 | 529321584.3542 | 0
DRAB1204 | Overhead assets 33kV and above (wires and towers / poles etc) | 295409929.5391 | 295409929.5391 | 0
DRAB1205 | Underground assets 33kV and above (cables, ducts etc) | 111051780.4228 | 111051780.4228 | 0
DRAB1206 | Zone substations | 2335595118.9298 | 2335595118.9298 | 0
DRAB1207 | Easements | 15317866.4702 | 15317866.4702 | 0
DRAB1208 | Meters | 23175934.5039 | 23175934.5039 | 25264545.5516
DRAB1209 | Other assets with long lives (please specify) | 230291939.1951 | 230291939.1951 | 355547.6089
DRAB1210 | Other assets with short lives (please specify) | 122628189.0093 | 122628189.0093 | 63471.7906
DRAB13 | Value of Capital Contributions or Contributed Assets (included in the above) | 123765221.3476 | 123765221.3476 | 2177390.14
3.3.4 - ASSET LIVES
|  | Network services | Standard control services | Alternative control services
Service Life (Years)
|  | 2015-16 | 2015-16 | 2015-16
ESTIMATED SERVICE LIFE OF NEW ASSETS
DRAB1401 | Overhead network assets less than 33kV (wires and poles) | 53.1999 | 53.1999 | 0
DRAB1402 | Underground network assets less than 33kV (cables) | 60 | 60 | 0
DRAB1403 | Distribution substations including transformers | 41.6234 | 41.6234 | 0
DRAB1404 | Overhead network assets 33kV and above (wires and towers / poles etc) | 56.3371 | 56.3371 | 0
DRAB1405 | Underground network assets 33kV and above(cables, ducts etc) | 45 | 45 | 0
DRAB1406 | Zone substations and transformers | 45.2881 | 45.2881 | 0
DRAB1407 | Meters | 25 | 25 | 25
DRAB1408 | “Other” assets with long lives | 46.3775 | 46.3775 | 46.3775
DRAB1409 | “Other” assets with short lives | 7.2286 | 7.2286 | 7.2286
ESTIMATED RESIDUAL SERVICE LIFE
DRAB1501 | Overhead network assets less than 33kV (wires and poles) | 41.0229 | 41.0229 | 0
DRAB1502 | Underground network assets less than 33kV (cables) | 49.6287 | 49.6287 | 0
DRAB1503 | Distribution substations including transformers | 33.5172 | 33.5172 | 0
DRAB1504 | Overhead network assets 33kV and above (wires and towers / poles etc) | 46.7221 | 46.7221 | 0
DRAB1505 | Underground network assets 33kV and above (cables, ducts etc) | 34.5857 | 34.5857 | 0
DRAB1506 | Zone substations and transformers | 39.6585 | 39.6585 | 0
DRAB1507 | Meters | 16.0099 | 16.0099 | 16.0099
DRAB1508 | “Other” assets with long lives | 36.8966 | 36.8966 | 36.8966
DRAB1509 | “Other” assets with short lives | 3.8803 | 3.8803 | 3.8803
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.4 Operational data
REGULATORY REPORTING STATEMENT
Endeavour Energy
Benchmarking RIN response 2015-16
3.4 OPERATIONAL DATA
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.4.1 - ENERGY DELIVERY
Standard control services
VOLUME (0's)
|  | Units | 2015-16
DOPED01 | Total energy delivered | GWh | 16645.2969
3.4.1.1 - Energy grouping - delivery by chargeable quantity
DOPED0201 | Energy Delivery where time of use is not a determinant | GWh | 6651.9925
DOPED0202 | Energy Delivery at On-peak times | GWh | 2089.9933
DOPED0203 | Energy Delivery at Shoulder times | GWh | 2361.0982
DOPED0204 | Energy Delivery at Off-peak times | GWh | 4526.3494
DOPED0205 | Controlled load energy deliveries | GWh | 876.6706
DOPED0206 | Energy Delivery to unmetered supplies | GWh | 139.1929
3.4.1.2 - Energy - received from TNSP and other DNSPs by time of receipt
DOPED0301 | Energy into DNSP network at On-peak times | GWh | 3145.7325
DOPED0302 | Energy into DNSP network at Shoulder times | GWh | 3387.83
DOPED0303 | Energy into DNSP network at Off-peak times | GWh | 7193.3811
DOPED0304 | Energy received from TNSP and other DNSPs not included in the above categories | GWh | 0
3.4.1.3 - Energy - received into DNSP system from embedded generation by time of receipt
DOPED0401 | Energy into DNSP network at On-peak times from non-residential embedded generation | GWh | 881.2041
DOPED0402 | Energy into DNSP network at Shoulder times from non-residential embedded generation | GWh | 933.9976
DOPED0403 | Energy into DNSP network at Off-peak times from non-residential embedded generation | GWh | 1450.7975
DOPED0404 | Energy received from embedded generation not included in above categories from non-residential embedded generation | GWh | 0
DOPED0405 | Energy into DNSP network at On-peak times from residential embedded generation | GWh | 0
DOPED0406 | Energy into DNSP network at Shoulder times from residential embedded generation | GWh | 0
DOPED0407 | Energy into DNSP network at Off-peak times from residential embedded generation | GWh | 0
DOPED0408 | Energy received from embedded generation not included in above categories from residential embedded generation | GWh | 345.9081
3.4.1.4 - Energy grouping - customer type or class
DOPED0501 | Residential customers energy deliveries | GWh | 5828.4921
DOPED0502 | Non residential customers not on demand tariffs energy deliveries | GWh | 2132.5596
DOPED0503 | Non-residential low voltage demand tariff customers energy deliveries | GWh | 3745.4667
DOPED0504 | Non-residential high voltage demand tariff customers energy deliveries | GWh | 4938.7785
DOPED0505 | Other Customer Class Energy Deliveries | GWh | 0
3.4.2 - CUSTOMER NUMBERS
Standard control services
VOLUME (0's)
2015-16
3.4.2.1 - Distribution customer numbers by customer type or class
DOPCN0101 | Residential customer numbers |  | 859444.5
DOPCN0102 | Non residential customers not on demand tariff customer numbers |  | 78212
DOPCN0103 | Low voltage demand tariff customer numbers |  | 4658.5
DOPCN0104 | High voltage demand tariff customer numbers |  | 348.5
DOPCN0105 | Unmetered Customer Numbers |  | 6091.5
DOPCN0106 | Other Customer Numbers |  | 19599.5
DOPCN01 | Total customer numbers |  | 968354.5
3.4.2.2 - Distribution customer numbers by location on the network
DOPCN0201 | Customers on CBD network |  | 0
DOPCN0202 | Customers on Urban network |  | 811991.9515
DOPCN0203 | Customers on Short rural network |  | 156055.7851
DOPCN0204 | Customers on Long rural network |  | 306.7634
DOPCN02 | Total customer numbers |  | 968354.5
3.4.2.3 - Distribution customer numbers by TasNetworks (D) feeder categories (TasNetworks (D) only)
| Critical Infrastructure |  | 0
| High Density Commercial |  | 0
| Urban |  | 0
| High Density Rural |  | 0
| Low Density Rural |  | 0
| Total customer numbers |  | 0
3.4.2.4 - Unmetered Supply TasNetworks (D) only)
DOPCN0301 | Number of unmetered connections reported in customer numbers in the economic benchmarking RIN |  | 6091.5
DOPCN0302 | Unmetered connections not reported in customer numbers in the economic benchmarking RIN |  | 1300.5
DOPCN0303 | Total unmetered connections |  | 7392
3.4.3 - SYSTEM DEMAND
Standard control services
VOLUME (0's)
|  | Units | 2015-16
3.4.3.1 - Annual system maximum demand characteristics at the zone substation level – MW measure
DOPSD0101 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 4271.799
DOPSD0102 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 4330.0934
DOPSD0103 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 4063.2987
DOPSD0104 | Coincident Raw System Annual Maximum Demand | MW | 3784.5625
DOPSD0105 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 3758.3
DOPSD0106 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 3481.6
3.4.3.2 - Annual system maximum demand characteristics at the transmission connection point – MW measure
DOPSD0107 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 4096.7471
DOPSD0108 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 4195.528
DOPSD0109 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 3903.388
DOPSD0110 | Coincident Raw System Annual Maximum Demand | MW | 3854.52
DOPSD0111 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 3846.44
DOPSD0112 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 3566.96
3.4.3.3 - Annual system maximum demand characteristics at the zone substation level – MVA measure
DOPSD0201 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 4297.1005
DOPSD0202 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 4510.5268
DOPSD0203 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 4235.2903
DOPSD0204 | Coincident Raw System Annual Maximum Demand | MVA | 3806.9781
DOPSD0205 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 3780.5601
DOPSD0206 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 3502.2212
3.4.3.4 - Annual system maximum demand characteristics at the transmission connection point – MVA measure
DOPSD0207 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 4157.8383
DOPSD0208 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 4258.7287
DOPSD0209 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 3961.5958
DOPSD0210 | Coincident Raw System Annual Maximum Demand | MVA | 3877.35
DOPSD0211 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 3869.2221
DOPSD0212 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 3588.0868
3.4.3.5 - Power factor conversion between MVA and MW
DOPSD0301 | Average overall network power factor conversion between MVA and MW | Factor | 0.994
DOPSD0302 | Average power factor conversion for low voltage distribution lines | Factor | 0.932
DOPSD0303 | Average power factor conversion for 3.3 kV lines | Factor | 0
DOPSD0304 | Average power factor conversion for 6.6 kV lines | Factor | 0
DOPSD0305 | Average power factor conversion for 7.6 kV lines | Factor | 0
DOPSD0306 | Average power factor conversion for 11 kV lines | Factor | 0.932
DOPSD0307 | Average power factor conversion for SWER lines | Factor | 0.9
DOPSD0308 | Average power factor conversion for 22 kV lines | Factor | 0.929
DOPSD0309 | Average power factor conversion for 33 kV lines | Factor | 0.973
DOPSD0310 | Average power factor conversion for 44 kV lines | Factor | 0
DOPSD0311 | Average power factor conversion for 66 kV lines | Factor | 0.987
DOPSD0312 | Average power factor conversion for 110 kV lines | Factor | 0
DOPSD0313 | Average power factor conversion for 132 kV lines | Factor | 0.986
DOPSD0314 | Average power factor conversion for 220 kV lines | Factor | 0
3.4.3.6 - Demand supplied (for customers charged on this basis) – MW measure
DOPSD0401 | Summated Chargeable Contracted Maximum Demand | MW | 0
DOPSD0402 | Summated Chargeable Measured Maximum Demand | MW | 3118.6427
3.4.3.7 - Demand supplied (for customers charged on this basis) – MVA measure
DOPSD0403 | Summated Chargeable Contracted Maximum Demand | MVA | 0
DOPSD0404 | Summated Chargeable Measured Maximum Demand | MVA | 18362.2095
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.5 Physical assets
REGULATORY REPORTING STATEMENT
Endeavour Energy
Benchmarking RIN response 2015-16
3.5 PHYSICAL ASSETS
There are THREE tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.5.1 - NETWORK CAPACITIES
VOLUME in KM's (0's)
2015-16
Circuit length (kilometers)
3.5.1.1 - Overhead network length of circuit at each voltage
DPA0101 | Overhead low voltage distribution | 8728.3497
DPA0102 | Overhead 2.2 kV | 0
DPA0103 | Overhead 6.6kv | 0
DPA0104 | Overhead 7.6 kV | 0
DPA0105 | Overhead 11 kV | 10788.8825
DPA0106 | Overhead SWER | 480.1662
DPA0107 | Overhead 22 kV | 255.2331
DPA0108 | Overhead 33 kV | 1426.5299
DPA0109 | Overhead 44 kV | 0
DPA0110 | Overhead 66 kV | 510.7702
DPA0111 | Overhead 110kV | 0
DPA0112 | Overhead 132 kV | 1104.8274
DPA0113 | Overhead 220kV | 0
DPA0114 | Other | 0
DPA01 | Total overhead circuit km | 23294.759
3.5.1.2 - Underground network circuit length at each voltage
DPA0201 | Underground low voltage distribution | 8170.6753
DPA0202 | Underground 5 kV | 0
DPA0203 | Underground 6.6 Kv | 0
DPA0204 | Underground 7.6 kV | 0
DPA0205 | Underground 11 kV | 4348.7785
DPA0206 | Underground SWER | 0
DPA0207 | Underground 22 kV | 303.949
DPA0208 | Underground 33 kV | 190.0293
DPA0209 | Underground 66 kV | 31.8404
DPA0210 | Underground 110 kV | 0
DPA0211 | Underground 132 kV | 127.8295
DPA0212 | Other | 0
DPA02 | Total underground circuit km | 13173.102
VOLUME in MVA (0's)
| Circuit Capacity (MVA) | 2015-16
3.5.1.3 - Estimated overhead network weighted average MVA capacity by voltage class
DPA0301 | Overhead low voltage distribution | 0.15796
DPA0302 | Overhead 6.6 kV | -
DPA0303 | Overhead 7.6 kV | -
DPA0304 | Overhead 11 kV | 3.3919
DPA0305 | Overhead SWER | 0.78856
DPA0306 | Overhead 22 kV | 5.4273
DPA0307 | Overhead 33 kV | 30.1369
DPA0308 | Overhead 44 kV | -
DPA0309 | Overhead 66 kV | 42.1893
DPA0310 | Overhead 110 kV | -
DPA0311 | Overhead 132 kV | 208.6169
DPA0312 | Overhead 220 kV | -
DPA0313 | Other | -
3.5.1.4 - Estimated underground network weighted average MVA capacity by voltage class
DPA0401 | Underground low voltage distribution | 0.17698
DPA0402 | Underground 5 kV | -
DPA0403 | Underground 6.6 kV | -
DPA0404 | Underground 7.6 kV | -
DPA0405 | Underground 11 kV | 4.034
DPA0406 | Underground SWER | -
DPA0407 | Underground 12.7 kV | -
DPA0408 | Underground 22 kV | 8.3758
DPA0409 | Underground 33 kV | 44.2348
DPA0410 | Underground 66 kV | 79.823
DPA0411 | Underground 110 kV | -
DPA0412 | Underground 132 kV | 154.0275
DPA0413 | Other | -
3.5.2 - TRANSFORMER CAPACITIES
VOLUME in MVA (0's)
2015-16
3.5.2.1 - Distribution transformer total installed capacity
DPA0501 | Distribution transformer capacity owned by utility | 9970.356
DPA0502 | Distribution transformer capacity owned by High Voltage Customers | 905.8
DPA0503 | Cold spare capacity included in DPA0501 | 0
3.5.2.2 - Zone substation transformer capacity
DPA0601 | Total installed capacity for first step transformation where there are two steps to reach distribution voltage | 6662.1267
DPA0602 | Total installed capacity for second step transformation where there are two steps to reach distribution voltage | 6543.9899
DPA0603 | Total zone substation transformer capacity where there is only a single step transformation to reach distribution voltage | 2271.3139
DPA0604 | Total zone substation transformer capacity | 15477.4306
DPA0605 | Cold spare capacity of zone substation transformers included in DPA0604 | 0
3.5.2.3 - Distribution - other transformer capacity
| Distribution other - transformer capacity owned by utility | 0
3.5.3 - PUBLIC LIGHTING
VOLUME (0's)
2015-16
DPA0701 | Public lighting luminaires | 202841
DPA0702 | Public lighting poles | 226
DPA0703 | Public lighting columns | 98628
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.6 Quality of service
REGULATORY REPORTING STATEMENT
Endeavour Energy
Benchmarking RIN response 2015-16
3.6 QUALITY OF SERVICE DATA
3.6.1 - RELIABILITY
(0's)
|  | Units | 2015-16
INCLUSIVE OF MEDs
DQS0101 | Whole of network unplanned SAIDI | minutes/customer | 149.8
DQS0102 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 148.2933
DQS0103 | Whole of network unplanned SAIFI | interruptions/customer | 1.18
DQS0104 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 1.1492
EXCLUSIVE OF MEDs
DQS0105 | Whole of network unplanned SAIDI | minutes/customer | 88.1949
DQS0106 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 86.7111
DQS0107 | Whole of network unplanned SAIFI | interruptions/customer | 0.90514
DQS0108 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 0.87429
3.6.2 - ENERGY NOT SUPPLIED
(0's)
|  | Units | 2015-16
DQS0201 | Energy Not Supplied (planned) | GWh | 1.19
DQS0202 | Energy Not Supplied (unplanned) | GWh | 2.25
DQS02 | Total |  | 3.44
3.6.3 - SYSTEM LOSSES
(0's)
|  | Unit | 2015-16
DQS03 | System losses | % | 4%
3.6.4 - CAPACITY UTILISATION
(0's)
|  | Unit | 2015-16
DQS04 | Overall utilisation | % | 44%
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.7 Operating environment
REGULATORY REPORTING STATEMENT
Endeavour Energy
Benchmarking RIN response 2015-16
3.7 OPERATING ENVIRONMENT FACTORS
3.7.1 - DENSITY FACTORS
(0's)
|  | Units | 2015-16
DOEF0101 | Customer density | Customer / km | 34.1609
DOEF0102 | Energy density | MWh/customer | 17.2
DOEF0103 | Demand density | kVA / customer | 4.3734
3.7.2 - TERRAIN FACTORS
(0's)
2015-16
DOEF0201 | Rural proportion | % | 56%
DOEF0202 | Urban and CBD vegetation maintenance spans | Number of spans | 79366
DOEF0203 | Rural vegetation maintenance spans | Number of spans | 78651
DOEF0204 | Total vegetation maintenance spans | Number of spans | 158017
DOEF0205 | Total number of spans | Number of spans | 301973
DOEF0206 | Average urban and CBD vegetation maintenance span cycle | Years | 1
DOEF0207 | Average rural vegetation maintenance span cycle | Years | 1
DOEF0208 | Average number of trees per urban and CBD vegetation maintenance span | Trees | 3.13
DOEF0209 | Average number of trees per rural vegetation maintenance span | Trees | 1.96
DOEF0210 | Average number of defects per urban and CBD vegetation maintenance span | Defects | 1.22
DOEF0211 | Average number of defects per rural vegetation maintenance span | Defects | 0.75
DOEF0212 | Tropical proportion | Spans | 0
DOEF0213 | Standard vehicle access | km | 17199
DOEF0214 | Bushfire risk | Spans | 107620
3.7.3 - SERVICE AREA FACTORS
(0's)
2015-16
DOEF0301 | Route Line length | km | 28346.85
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## NSP amendments
Endeavour Energy data amendments
Amended Table | Comments