## Summary
EGX SCS Real $2014/15M Capex - Exc Cap Con
Document | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | Total
Energex Revised Proposal | 605.052 | 624.666 | 574.9693 | 546.4925 | 538.5258 | 2889.7055
EGX SCS Real $2014/15M Capex
Expenditure Category | EGX Revised Proposal
Augmentation | 471.0019
Connections | 330.8873
Replacement | 983.2705
Non-Network | 244.1016
Capitalised Overheads | 849.2251
Escalation Adjustment | 11.2192
Net Capex (exc Cap Cons) | 2889.7055
Cap Cons | 172.288
Gross Capex | 3061.9935

## Capex_Purpose
EGX Revised Proposal
Capex Category | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | Total
Augementation | 108468892.6842 | 116517225.8964 | 100724838.0424 | 77320726.8772 | 67970218.4326 | 471001901.9328
Connection | 64130039.728 | 63711338.7839 | 64804835.1479 | 67445143.8072 | 70795895.4484 | 330887252.9154
Replacement | 196392130.1126 | 210074778.9303 | 195874415.2312 | 193212508.6344 | 187716653.9037 | 983270486.8121
Non-Network | 54504071.17 | 55972429.04 | 44121166.98 | 43051824.74 | 46452107.97 | 244101599.9
Capitalised Overheads | 180554944.5798 | 176466659.4507 | 167119490.3016 | 162447274.3953 | 162636721.9456 | 849225090.673
Escalation | 1001884.9216 | 1923573.804 | 2324569.9656 | 3014979.8563 | 2954186.8955 | 11219195.4429
Net Capex | 605051963.1962 | 624666005.9052 | 574969315.6687 | 546492458.3104 | 538525784.5956 | 2889705527.6761
Capital Contributions | 29954850.2857 | 33211247.8394 | 34721721.7374 | 36846233.3839 | 37553938.4284 | 172287991.6749
Gross Capex | 635006813.4819 | 657877253.7446 | 609691037.4061 | 583338691.6943 | 576079723.0241 | 3061993519.3511

## EGX Revised Overheads
| 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | Total
Proposed Capitalised Overheads - EGX Proposal | 188484482.6645 | 186911085.1345 | 175460017.1273 | 173877691.8539 | 175681842.2284 | 900415119.0086
ICT Adjustment | 2608422.0493 | 5509600.27 | 4161383.8399 | 6306628.1041 | 4901293.3054 | 23487327.5687
Revised Proposed Capitalised Overheads | 185876060.6152 | 181401484.8645 | 171298633.2874 | 167571063.7498 | 170780548.9231 | 876927791.44
Revised Proposed Direct Costs attracting Overheads | 383285544.6106 | 411042384.2128 | 374984609.0854 | 347815248.4689 | 336396128.5637 | 1853523914.9415
Proposed Direct Costs attracting Overheads | 438713836.6457 | 462446815.6062 | 418517348.5212 | 401188054.2449 | 421227659.5792 | 2142093714.5972
Reduction in Direct Costs attracting Overheads | -55428292.0351 | -51404431.3934 | -43532739.4358 | -53372805.776 | -84831531.0155 | -288569799.6557
Overhead adjustment factor | 0.096 | 0.096 | 0.096 | 0.096 | 0.096
Reduction in Overheads | -5321116.0354 | -4934825.4138 | -4179142.9858 | -5123789.3545 | -8143826.9775 | -27702700.7669
Capitalised OH - EGX Revised Proposal | 180554944.5798 | 176466659.4507 | 167119490.3016 | 162447274.3953 | 162636721.9456 | 849225090.673
Reduction to Capital Overheads
Adjustment | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | Total
ICT Program Reduction | 2608422.0493 | 5509600.27 | 4161383.8399 | 6306628.1041 | 4901293.3054 | 23487327.5687
Capex Program Reduction | 5321116.0354 | 4934825.4138 | 4179142.9858 | 5123789.3545 | 8143826.9775 | 27702700.7669
Total Overhead | 7929538.0847 | 10444425.6838 | 8340526.8257 | 11430417.4586 | 13045120.2828 | 51190028.3356
Adjustment for ICT
Description | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | Total
Proposed ICT Program | 110.9 | 108.5 | 103.9 | 107.5 | 105.7 | 536.5
Revised ICT Program | 106.5 | 99.3 | 96.7 | 96.2 | 97 | 495.7
Reduction to ICT POW | 4.4 | 9.2 | 7.2 | 11.3 | 8.7 | 40.8
Capitalised ICT | 66.3 | 66 | 60.8 | 61.5 | 61.3 | 315.9
Capitalised Percentage | 59.78% | 60.83% | 58.52% | 57.21% | 57.99% | 58.88%
Original Cost Base | 727.5 | 777.7 | 755.3 | 759.7 | 806 | 3826.2
Capital Percentage adjusted for revised POW | -0.5013% | -0.9425% | -0.7208% | -1.398% | -1.658%
Adjusted Capitalised Percentage | 59.28% | 59.89% | 57.8% | 55.81% | 56.34%
Reduction to Proposed Capitalised Overheads | 2.6084 | 5.5096 | 4.1614 | 6.3066 | 4.9013 | 23.4873

## Escalation Adjustment
Energex AER Preliminary Decision capex adjusted for AER real labour and materials cost escalation
Real labour cost escalation
| 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20
Energex real labour escalators
Employee and fixed term contractor1 | 0.24% | 1.222% | 2.214% | 3.216% | 4.228% |  | Use of Cumulative Escalations on $14/15
Contractor (service provision)2 | -0.26% | -0.3697% | -0.3697% | -0.3697% | -0.3697% |  | Use of Cumulative Escalations on $14/15
Impact of real labour cost escalators on revised proposed capex ($2014-15 million)3
Labour | 0.5 | 2.2 | 3.8 | 5.4 | 7.1
Contractor | -0.6 | -0.9 | -0.8 | -0.8 | -0.9
Impact of real labour cost escalators on revised proposed capex ($2014-15) | -0.1 | 1.3 | 3 | 4.6 | 6.2
AER real labour escalators | 0.36% | 1.103% | 1.831% | 2.584% | 3.374% |  | Use of Cumulative Escalations on $14/15
Impact of AER updated real labour cost escalators on revised proposed capex ($2014-15 million)
Employee and fixed term contractor | 0.75 | 1.9846 | 3.1415 | 4.339 | 5.6666
Contractor (service provision) | 0.83077 | 2.6842 | 3.9611 | 5.5917 | 8.2135 |  | Modified formula to reflect use of cumulative escalators
Total impact of AER updated real labour cost escalators on revised proposed capex ($2014-15 million) | 1.5808 | 4.6688 | 7.1026 | 9.9307 | 13.8801
Net impact of AER real labour cost escalators ($2014-15) | 1.6808 | 3.3688 | 4.1026 | 5.3307 | 7.6801
Pro-rata AER updated real labour cost escalation capex impact for AER PD compared to Energex proposed capex ($2014-15)
AER PD capex ($2014-15) | 621.3754 | 640.1638 | 584.2519 | 555.1417 | 541.9295
Energex proposed capex ($2014-15) | 670.3 | 688.5 | 629 | 613.3 | 638.4
Ratio | 0.92701 | 0.92979 | 0.92886 | 0.90517 | 0.84889
Pro-rated AER updated real labour cost escalation capex impact for AER PD compared to Energex proposed ($2014-15 million) (ADD to AER PD Capex) | 1.5581 | 3.1323 | 3.8107 | 4.8252 | 6.5195 | 19.8458
1PwC Report, p.16.
2PwC report, p. 26.
3 Source: Energex response to AER Information Request AER EGX 004.
Real materials cost escalation
Pro-rata AER PD capex compared to Energex proposed capex
AER PD capex ($2014-15) | 621.3754 | 640.1638 | 584.2519 | 555.1 | 541.9295
Energex proposed capex ($2014-15) | 670.3 | 688.5 | 629 | 613.3 | 638.4
Ratio | 0.92701 | 0.92979 | 0.92886 | 0.9051 | 0.84889
Energex proposed material escalation ($2014-15 millions)1 | 0.6 | 1.3 | 1.6 | 2 | 4.2
Adjusted Energex proposed real materials escalation ($2014-15 million) (DEDUCT from AER DD Capex) | -0.55621 | -1.2087 | -1.4862 | -1.8102 | -3.5653 | -8.6266
1 Source: Energex response to AER Information Request AER EGX 004.
Real labour and materials cost escalation AER PD capex adjustment ($2014-15 million) | 1.0019 | 1.9236 | 2.3246 | 3.015 | 2.9542 | 11.2192

## PTRM Input
Asset Category | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | Total
Underground Distribution Cables | 70909354.3142 | 73031168.7892 | 73336616.2939 | 71193734.7808 | 72330025.7331 | 360800899.9112
Distribution Transformers | 54557556.0802 | 55379714.2267 | 57031735.1963 | 49739165.7981 | 50165436.1922 | 266873607.4935
Overhead Distributions Lines | 154010513.8379 | 160578746.679 | 164857134.0114 | 148868059.5743 | 144737810.9711 | 773052265.0738
Distribution Equipment | 45071174.9894 | 46195841.3316 | 46739113.5715 | 46912270.9235 | 46136033.9442 | 231054434.7602
Overhead Subtransmission Lines | 20718573.014 | 21354692.0399 | 18505824.5635 | 17370233.6091 | 16593700.8428 | 94543024.0693
Underground Sub-transmission Cables | 38474322.8704 | 39189526.4244 | 30479008.4957 | 29925820.4171 | 28259350.2749 | 166328028.4825
Zone Transformers | 46055514.5772 | 46911645.7642 | 36484759.5837 | 35822568.2904 | 33827727.7267 | 199102215.9422
Substation Bays | 46630834.3498 | 47497660.2213 | 36940522.6727 | 36270059.3679 | 34250299.5034 | 201589376.115
Substation Establishment | 23706165.0733 | 25560787.4822 | 21021026.5178 | 22310669.7511 | 21468388.5804 | 114067037.4048
Control Centre / SCADA | 1310073.7386 | 1334426.848 | 1037828.4952 | 1018992.1098 | 962247.8033 | 5663568.995
Communication - Pilot Wires | 6214500.028 | 6330022.0742 | 4923070.3757 | 4833717.6055 | 4564543.8301 | 26865853.9135
System Buildings | 13246202.9281 | 13492438.0975 | 10493521.4309 | 10303066.057 | 9729322.3228 | 57264550.8364
System Land | 2317548.1147 | 3776449.5922 | 3824769.6726 | 5400123.6571 | 5371284.4325 | 20690175.469
Low Voltage Services | 20327851.232 | 19592030.6339 | 19425893.6248 | 19398799.6495 | 20402117.3181 | 99146692.4583
Load Control & Network Metering Devices | 1421307.772 | 1660217.4617 | 1687440.0879 | 1708643.9223 | 1417741.2788 | 7895350.5227
IT | 1964292.431 | 2010238.3429 | 1581558.8362 | 1545875.8483 | 1646690.4898 | 8748655.9482
Office Equipment | 494050.4138 | 505606.5327 | 397786.9004 | 388812.0682 | 414168.5348 | 2200424.4498
Motor Vehicles | 26751404.279 | 27377134.7689 | 21539012.8019 | 21053051.537 | 22426031.0338 | 119146634.4206
Plant & Equipment | 6644561.0237 | 6799981.0675 | 5349898.0263 | 5229194.1094 | 5570217.1808 | 29593851.4077
Buildings | 18954170.548 | 21005879.1392 | 15302397.705 | 13301876.0639 | 13960347.0754 | 82524670.5315
Land | 5063985.0461 | 5182434.523 | 4077290.2088 | 3985298.7547 | 4245200.9104 | 22554209.443
| 604843956.6615 | 624766642.0401 | 575036209.0723 | 546580033.895 | 538478685.9794 | 2889705527.6483
Check | [5 empty] | -789174.7142
Asset Category | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | Total
Underground Distribution Cables | -19365.2498 | -19944.7145 | -20028.1318 | -19442.9137 | -19753.2333 | -98534.2431
Distribution Transformers | -14899.5956 | -15124.1259 | -15575.2906 | -13583.6996 | -13700.1135 | -72882.8252
Overhead Distributions Lines | -42060.0653 | -43853.8409 | -45022.2628 | -40655.6679 | -39527.7026 | -211119.5395
Distribution Equipment | -12308.8776 | -12616.0225 | -12764.3894 | -12811.6784 | -12599.6892 | -63100.6571
Overhead Subtransmission Lines | -5658.2146 | -5831.9378 | -5053.9159 | -4743.7876 | -4531.7175 | -25819.5734
Underground Sub-transmission Cables | -10507.2861 | -10702.6072 | -8323.7764 | -8172.7015 | -7717.5908 | -45423.9621
Zone Transformers | -12577.6994 | -12811.5077 | -9963.939 | -9783.0955 | -9238.3072 | -54374.5488
Substation Bays | -12734.8185 | -12971.5475 | -10088.4073 | -9905.3047 | -9353.711 | -55053.789
Substation Establishment | -6474.122 | -6980.6169 | -5740.8142 | -6093.0141 | -5862.9882 | -31151.5553
Control Centre / SCADA | -357.7794 | -364.4302 | -283.4296 | -278.2854 | -262.7886 | -1546.7131
Communication - Pilot Wires | -1697.1716 | -1728.7206 | -1344.4839 | -1320.0818 | -1246.5708 | -7337.0288
System Buildings | -3617.5203 | -3684.7668 | -2865.7667 | -2813.7536 | -2657.0649 | -15638.8722
System Land | -632.9193 | -1031.3433 | -1044.5395 | -1474.7665 | -1466.8906 | -5650.4592
Low Voltage Services | -5551.509 | -5350.5574 | -5305.1856 | -5297.7862 | -5571.7909 | -27076.8291
Load Control & Network Metering Devices | -388.1573 | -453.4032 | -460.8376 | -466.6284 | -387.1832 | -2156.2097
IT | -536.4456 | -548.9934 | -431.9216 | -422.1766 | -449.709 | -2389.2462
Office Equipment | -134.9245 | -138.0805 | -108.6351 | -106.1841 | -113.1089 | -600.933
Motor Vehicles | -7305.7727 | -7476.6589 | -5882.2756 | -5749.5602 | -6124.5191 | -32538.7865
Plant & Equipment | -1814.6207 | -1857.0657 | -1461.05 | -1428.0859 | -1521.2189 | -8082.0412
Buildings | -5176.3586 | -5736.6775 | -4179.0643 | -3632.7246 | -3812.5521 | -22537.3771
Land | -1382.9675 | -1415.3159 | -1113.5025 | -1088.3798 | -1159.3587 | -6159.5244
| -165182.0755 | -170622.9342 | -157041.6195 | -149270.2761 | -147057.8088 | -789174.7142