## 2.1 Expenditure summary
0 | REGULATORY REPORTING STATEMENT
Energex
2020-21 to 2024-25
2.1 EXPENDITURE SUMMARY & RECONCILIATION
2.1.1 - STANDARD CONTROL SERVICES CAPEX
Forecast ($0's, real June 2020)
|  | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
| Replacement expenditure |  |  | 143949048.4898 | 122411506.2305 | 122137910.8237 | 123858305.5773 | 118450076.4966
| Connections |  |  | 94466086.873 | 94689288.6652 | 94932830.1759 | 95152630.4148 | 95370169.9366
| Augmentation Expenditure |  |  | 54078659.9811 | 62421943.5448 | 59286852.0574 | 57687710.5594 | 64132304.8725
| Non-network |  |  | 113483889.3879 | 117423654.6411 | 125494669.1177 | 114369403.2194 | 107649246.5652
Public lighting
Metering
| Capitalised network overheads |  |  | 51590589.2024 | 50565542.7384 | 49413900.6461 | 47762352.3141 | 46752580.1877
| Capitalised corporate overheads |  |  | 13463468.0279 | 13195964.1961 | 12937457.6557 | 12685997.7328 | 12421752.239
| capcons (included in the above) |  |  | 53170359.7269 | 53172670.1465 | 53175630.4689 | 53175586.3455 | 53180429.0069
| Total | 0 | 0 | 471031741.9621 | 460707900.0161 | 464203620.4766 | 451516399.818 | 444776130.2976
Check |  |  |  | 0 | 0 | 0 | 0 | 0
2.1.2 - STANDARD CONTROL SERVICES OPEX BY CATEGORY | bar: Forecast ($0's, real June 2020) 2018-19 to Forecast ($0's, real June 2020) 2019-20
|  | Forecast ($0's, real June 2020) 2018-19: Forecast ($0's, real June 2020) | `
|  | 2018-19 | 2019-20
Vegetation management
Maintenance
Emergency response
Non-network
Metering
Network overheads
Corporate overheads
| Total Opex | Forecast ($0's, real June 2020) 2018-19: 0; Forecast ($0's, real June 2020) 2019-20: 0
2.1.3 - ALTERNATIVE CONTROL SERVICES CAPEX
Forecast ($0's, real June 2020)
|  | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
Connections | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
Metering | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
Public lighting | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
Fee and quoted | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
Network Overheads | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
Corporate Overheads | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
| Total Capex | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.1.4 - ALTERNATIVE CONTROL SERVICES OPEX
Forecast ($0's, real June 2020)
|  | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
Connections | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
Metering | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
Public lighting | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
Fee and quoted | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
Network Overheads | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
Corporate Overheads | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
| Total Opex | 0 | 0 | 0 | 0 | 0 | 0 | 0
Not Required | 2.1.5 - DUAL FUNCTION ASSETS CAPEX
Forecast ($0's, real June 2020)
|  | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
Replacement expenditure | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
Connections | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
Augmentation Expenditure | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
Non-network | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
Capitalised network overheads | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
Capitalised corporate overheads | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
capcons (included in the above) | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
| Total | 0 | 0 | 0 | 0 | 0 | 0 | 0
Not Required | 2.1.6 - DUAL FUNCTION ASSETS OPEX BY CATEGORY
Forecast ($0's, real June 2020)
|  | 2018-19 | 2019-20
Vegetation management
Maintenance
Emergency response
Non-network
Metering
Network overheads
Corporate overheads
| Total Opex | Forecast ($0's, real June 2020) 2018-19: 0; Forecast ($0's, real June 2020) 2019-20: 0
2.1.7 - STANDARD CONTROL SERVICES CAPCONS
Forecast ($0's, real June 2020)
|  | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
Replacement expenditure
| Connections |  |  | 53170359.7269 | 53172670.1465 | 53175630.4689 | 53175586.3455 | 53180429.0069
Augmentation Expenditure
Non-network
Capitalised network overheads
Capitalised corporate overheads
| Total Capcons | 0 | 0 | 53170359.7269 | 53172670.1465 | 53175630.4689 | 53175586.3455 | 53180429.0069
Check |  |  |  | 0 | 0 | 0 | 0 | 0
2.1.8 - STANDARD CONTROL SERVICES CAPITALISED OVERHEADS
Forecast ($0's, real June 2020)
|  | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
| Replacement expenditure |  |  | 39128928.659 | 34482614.3071 | 34122222.7446 | 33495560.614 | 31183601.1108
| Connections |  |  | 11225204.8789 | 11694991.654 | 11665898.4912 | 11352041.4918 | 11107025.7701
| Augmentation Expenditure |  |  | 14699923.6923 | 17583900.9734 | 16563237.0661 | 15600747.9411 | 16883705.5459
Non-network
capcons (included in the above)
| Total Capitalised Overheads | 0 | 0 | 65054057.2303 | 63761506.9345 | 62351358.3018 | 60448350.047 | 59174332.4267
|  |  |  | 0 | 0 | 0 | 0 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 2.2 Repex
0 | REGULATORY REPORTING STATEMENT
Energex
2020-21 to 2024-25
2.2 REPEX
There is ONE table on this worksheet. The table has been sub-grouped for easy navigation. See the Instructions sheet on how to group or ungroup tables.
2.2.1 - REPLACEMENT EXPENDITURE, VOLUMES AND ASSET FAILURES BY ASSET CATEGORY
EXPENDITURE
EXPENDITURE ($0's, real June 2020)
| ASSET GROUP | ASSET CATEGORY |  | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
| POLES BY: HIGHEST OPERATING VOLTAGE ; MATERIAL TYPE | Staking of a wooden pole |  |  |  | 1514838.7056 | 1514515.15 | 1534584.2287 | 1580382.7657 | 1576773.4521
|  | ˂ = 1 kV; Wood |  |  |  | 7287386.4142 | 6458406.0684 | 6350512.6745 | 6848678.7294 | 6669325.0121
|  | > 1 kV & < = 11 kV; Wood |  |  |  | 10464537.06 | 10624508.2026 | 11171047.8604 | 11515018.2939 | 11726200.024
|  | ˃ 11 kV & < = 22 kV; Wood |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 66 kV; Wood |  |  |  | 4078460.0858 | 3797066.9012 | 4202681.8245 | 5154003.1752 | 3838421.6407
|  | > 66 kV & < = 132 kV; Wood |  |  |  | 714249.2922 | 714097.7635 | 723558.3014 | 745154.5127 | 743452.7121
|  | > 132 kV; Wood |  |  |  | 0 | 0 | 0 | 0 | 0
|  | ˂ = 1 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 1 kV & < = 11 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | ˃ 11 kV & < = 22 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 66 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | ˂ = 1 kV; Steel |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 1 kV & < = 11 kV; Steel |  |  |  | 0 | 0 | 0 | 0 | 0
|  | ˃ 11 kV & < = 22 kV; Steel |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 66 kV; Steel |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV; Steel |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV; Steel |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other |  |  |  | 0 | 0 | 0 | 0 | 0
| POLE TOP STRUCTURES BY: HIGHEST OPERATING VOLTAGE | ˂ = 1 kV |  |  |  | 6945925.9082 | 6973771.7943 | 7087267.4368 | 7454187.8028 | 7414341.3275
|  | > 1 kV & < = 11 kV |  |  |  | 3887248.558 | 3934313.415 | 4095584.5257 | 4219404.454 | 4263315.2184
|  | ˃ 11 kV & < = 22 kV |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 66 kV |  |  |  | 984513.3428 | 919159.9583 | 1011732.2482 | 1233352.5327 | 928787.2515
|  | > 66 kV & < = 132 kV |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other |  |  |  | 0 | 0 | 0 | 0 | 0
| STAKING WOODEN POLES BY: HIGHEST OPERATING VOLTAGE | ˂ = 1 Kv | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
|  | > 1 kV & < = 11 kV | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
|  | ˃ 11 kV & < = 22 kV | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 66 kV | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
| OVERHEAD CONDUCTORS BY: Highest operating voltage; Number of phases (at HV) | ˂ = 1 kV | per km |  |  | 4367776.997 | 3119174.4898 | 3160507.1621 | 3254830.1725 | 3247396.7184
|  | > 1 kV & < = 11 kV | per km |  |  | 4964768.3425 | 4963707.9137 | 5029482.7889 | 5179584.0015 | 5167754.7515
|  | ˃ 11 kV & < = 22 kV ; SWER | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | ˃ 11 kV & < = 22 kV ; Single-Phase | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | ˃ 11 kV & < = 22 kV ; Multiple-Phase | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 66 kV | per km |  |  | 6144660.1662 | 1834213.5719 | 5132902.5941 | 5483903.333 | 4829814.6926
|  | > 66 kV & < = 132 kV | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | Other | per km |  |  | 0 | 0 | 0 | 0 | 0
| UNDERGROUND CABLES BY: Highest operating voltage | ˂ = 1 kV | per km |  |  | 2106066.7742 | 1052808.9831 | 1066759.9207 | 1098596.5855 | 1096087.586
|  | > 1 kV & < = 11 kV | per km |  |  | 717666.0627 | 717512.7758 | 727020.6506 | 748718.0469 | 747008.1079
|  | > 11 kV & < = 22 kV | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 33 kV | per km |  |  | 8140508.7701 | 730689.7408 | 1641092.5609 | 0 | 0
|  | > 33 kV & < = 66 kV | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV | per km |  |  | 0 | 0 | 22861.7685 | 94956.3966 | 1653819.2502
|  | > 132 kV | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | Other | per km |  |  | 0 | 0 | 0 | 0 | 0
| SERVICE LINES BY: Connection voltage; Customer type; Connection complexity | ˂ = 11 kV ; Residential ; Simple Type | per number of spans |  |  | 7308503.3158 | 7328208.3703 | 7471119.1249 | 7789503.2665 | 7772158.455
|  | ˂ = 11 kV ; Commercial & Industrial ; Simple Type | per number of spans |  |  | 635561.4204 | 637293.8875 | 649712.8718 | 677412.808 | 675901.7131
|  | ˂ = 11 kV ; Residential ; Complex Type | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | ˂ = 11 kV ; Commercial & Industrial ; Complex Type | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | ˂ = 11 kV ; Subdivision ; Complex Type | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 11 kV & < = 22 kV ; Commercial & Industrial | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 11 kV & < = 22 kV ; Subdivision | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 33 kV ; Commercial & Industrial | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 33 kV ; Subdivision | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 33 kV & < = 66 kV ; Commercial & Industrial | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 33 kV & < = 66 kV ; Subdivision | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV ; Commercial & Industrial | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV ; Subdivision | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV ; Commercial & Industrial | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV ; Subdivision | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | Other | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
| TRANSFORMERS BY: Mounting type; Highest operating voltage; Ampere rating; Number of phases (at LV) | Pole Mounted ; < = 22kV ; < = 60 kVA ; Single Phase |  |  |  | 629634.1426 | 584497.4939 | 585733.306 | 603222.6704 | 595155.5303
|  | Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Pole Mounted ; < = 22kV ; > 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Pole Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase |  |  |  | 908595.7731 | 908340.0743 | 938420.9962 | 947855.4763 | 936415.1185
|  | Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase |  |  |  | 8401063.5043 | 8268737.5386 | 8415941.6455 | 8647848.0639 | 8550675.8864
|  | Pole Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Kiosk Mounted ; < = 22kV ; > 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase |  |  |  | 4989694.1293 | 4929611.2667 | 4994921.7135 | 5144063.3747 | 5132293.8557
|  | Kiosk Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase |  |  |  | 651259.2371 | 520852.0307 | 527752.5683 | 543511.0037 | 474481.7099
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Multiple Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Multiple Phase |  |  |  | 779971.5706 | 623791.2533 | 632055.5734 | 650928.4327 | 649439.0012
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Multiple Phase |  |  |  | 547741.8045 | 486734.6789 | 493183.2055 | 507909.4071 | 506747.2266
|  | Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; < = 15 MVA |  |  |  | 3336018.7727 | 1334856.1424 | 151853.6184 | 41381.3166 | 195128.9414
|  | Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 15 MVA and < = 40 MVA |  |  |  | 10324850.3693 | 5304794.7046 | 2208958.4674 | 1211248.5869 | 615869.5985
|  | Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 40 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; < = 15 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 15 MVA and < = 40 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 40 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; < = 100 MVA |  |  |  | 546447.7261 | 2122844.4575 | 656453.6966 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; > 100 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; < = 100 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; > 100 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other |  |  |  | 0 | 0 | 0 | 0 | 0
| SWITCHGEAR BY: Highest operating voltage; Switch function | ˂ = 11 kV ; FUSE |  |  |  | 0 | 0 | 0 | 0 | 0
|  | ˂ = 11 kV ; Switch |  |  |  | 9776909.1079 | 11295891.96 | 10088275.2195 | 9957900.5804 | 9647912.0769
|  | ˂ = 11 kV ; Circuit Breaker |  |  |  | 4594116.5048 | 1693320.5973 | 71610.2697 | 0 | 89214.925
|  | > 11 kV & < = 22 kV ; Switch |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 11 kV & < = 22 kV ; Circuit Breaker |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 33 kV ; Switch |  |  |  | 399827.2054 | 975824.0185 | 1327206.9396 | 1552364.9037 | 425201.0286
|  | > 22 kV & < = 33 kV ; Circuit Breaker |  |  |  | 5180694.2478 | 1338588.1546 | 660266.4227 | 613469.8099 | 1070015.9329
|  | > 33 kV & < = 66 kV ; Switch |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 33 kV & < = 66 kV ; Circuit Breaker |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV ; Switch |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV ; Circuit Breaker |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV ; Switch |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV ; Circuit Breaker |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other |  |  |  | 0 | 0 | 0 | 0 | 0
| PUBLIC LIGHTING BY: Asset type ; Lighting obligation | Luminaires ; Major Road |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Luminaires ; Minor Road |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Brackets ; Major Road |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Brackets ; Minor Road |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Lamps ; Major Road |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Lamps ; Minor Road |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Poles / Columns ; Major Road |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Poles / Columns ; Minor Road |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other |  |  |  | 0 | 0 | 0 | 0 | 0
| SCADA, NETWORK CONTROL AND PROTECTION SYSTEMS BY: Function | Field Devices |  |  |  | 6659074.0297 | 6560159.7061 | 6172785.8696 | 5966187.4369 | 4941608.7762
|  | Local Network Wiring Assets |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Communications Network Assets |  |  |  | 4106641.8206 | 3791643.1942 | 3511077.8984 | 3553162.6163 | 3151986.9519
|  | Master Station Assets |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Communications Site Infrastructure |  |  |  | 146450.8007 | 151628.2945 | 137109.1323 | 131314.4794 | 104014.6647
|  | Communications Linear Assets |  |  |  | 1029489.1204 | 832823.8813 | 843719.0899 | 868899.2652 | 866914.8536
|  | AFLC |  |  |  | 77037.4125 | 299276.7358 | 92546.398 | 0 | 0
|  | Other |  |  |  | 3294085.6103 | 3378973.5497 | 1226703.7292 | 3976329.0205 | 2066714.1074
| OTHER BY: enter DNSP defined asset group here | 33kV Instrument Transformer |  |  |  | 156211.2388 | 301058.9285 | 376043.7897 | 211522.0348 | 417635.7417
|  | 110kV Instrument Transformer |  |  |  | 0 | 0 | 0 | 0 | 0
|  | CAPACITOR BANKS |  |  |  | 0 | 0 | 0 | 0 | 0
|  | STATIC VAR COMPENSATOR |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Replace Ageing Cable Terminations |  |  |  | 408660.6539 | 136194.8042 | 137990.217 | 142113.9063 | 141788.8402
|  | Substation Batteries |  |  |  | 550502.4892 | 419115.567 | 454776.2193 | 381312.9186 | 374138.0188
|  | Substation Battery Charger |  |  |  | 166674.2144 | 1347.1855 | 79740.0563 | 374217.5069 | 170564.7782
|  | LV Network Safety |  |  |  | 0 | 5013381.0069 | 10159628.2161 | 8719029.0365 | 8699116.3225
|  | Fire Suppression System / Water Misting |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Electric Fence |  |  |  | 246344.8572 | 40623.2978 | 261027.4202 | 30429.1431 | 261852.5019
|  | Asbestos |  |  |  | 1663958.7377 | 1663603.3314 | 1685648.0011 | 1711952.6456 | 1731990.3125
|  | Substation Miscellaneous Work |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Reactive Work |  |  |  | 4114422.193 | 4113543.3903 | 4168052.6015 | 4292445.0641 | 4282641.8819
|  | Other Non AER asset Categories (ONLY FOR HISTORICAL INFO) |  |  |  | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
ASSET REPLACEMENTS
ASSET REPLACEMENTS (0's)
| ASSET GROUP | ASSET CATEGORY |  | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
| POLES BY: HIGHEST OPERATING VOLTAGE ; MATERIAL TYPE | Staking of a wooden pole |  |  |  | 1615 | 1615 | 1615 | 1615 | 1615
|  | ˂ = 1 kV; Wood |  |  |  | 1946 | 1725 | 1674 | 1753 | 1711
|  | > 1 kV & < = 11 kV; Wood |  |  |  | 2064 | 2096 | 2175 | 2177 | 2222
|  | ˃ 11 kV & < = 22 kV; Wood |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 66 kV; Wood |  |  |  | 407 | 379 | 414 | 493 | 368
|  | > 66 kV & < = 132 kV; Wood |  |  |  | 37 | 37 | 37 | 37 | 37
|  | > 132 kV; Wood |  |  |  | 0 | 0 | 0 | 0 | 0
|  | ˂ = 1 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 1 kV & < = 11 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | ˃ 11 kV & < = 22 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 66 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | ˂ = 1 kV; Steel |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 1 kV & < = 11 kV; Steel |  |  |  | 0 | 0 | 0 | 0 | 0
|  | ˃ 11 kV & < = 22 kV; Steel |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 66 kV; Steel |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV; Steel |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV; Steel |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other |  |  |  | 0 | 0 | 0 | 0 | 0
| POLE TOP STRUCTURES BY: HIGHEST OPERATING VOLTAGE | ˂ = 1 kV |  |  |  | 4809 | 4829 | 4844 | 4947 | 4932
|  | > 1 kV & < = 11 kV |  |  |  | 3570 | 3614 | 3713 | 3715 | 3762
|  | ˃ 11 kV & < = 22 kV |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 66 kV |  |  |  | 705 | 659 | 716 | 847 | 639
|  | > 66 kV & < = 132 kV |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other |  |  |  | 0 | 0 | 0 | 0 | 0
| STAKING WOODEN POLES BY: HIGHEST OPERATING VOLTAGE | ˂ = 1 Kv | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
|  | > 1 kV & < = 11 kV | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
|  | ˃ 11 kV & < = 22 kV | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 66 kV | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
| OVERHEAD CONDUCTORS BY: Highest operating voltage; Number of phases (at HV) | ˂ = 1 kV | per km |  |  | 70 | 50 | 50 | 50 | 50
|  | > 1 kV & < = 11 kV | per km |  |  | 161 | 161 | 161 | 161 | 161
|  | ˃ 11 kV & < = 22 kV ; SWER | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | ˃ 11 kV & < = 22 kV ; Single-Phase | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | ˃ 11 kV & < = 22 kV ; Multiple-Phase | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 66 kV | per km |  |  | 36.84 | 30.99 | 35.23 | 48.5 | 28.54
|  | > 66 kV & < = 132 kV | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | Other | per km |  |  | 0 | 0 | 0 | 0 | 0
| UNDERGROUND CABLES BY: Highest operating voltage | ˂ = 1 kV | per km |  |  | 10 | 5 | 5 | 5 | 5
|  | > 1 kV & < = 11 kV | per km |  |  | 1.5 | 1.5 | 1.5 | 1.5 | 1.5
|  | > 11 kV & < = 22 kV | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 33 kV | per km |  |  | 10.09 | 0 | 10 | 0 | 0
|  | > 33 kV & < = 66 kV | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV | per km |  |  | 0 | 0 | 0 | 0 | 0.6
|  | > 132 kV | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | Other | per km |  |  | 0 | 0 | 0 | 0 | 0
| SERVICE LINES BY: Connection voltage; Customer type; Connection complexity | ˂ = 11 kV ; Residential ; Simple Type | per number of spans |  |  | 17484 | 17535 | 17643 | 17862 | 17863
|  | ˂ = 11 kV ; Commercial & Industrial ; Simple Type | per number of spans |  |  | 1520 | 1525 | 1534 | 1553 | 1553
|  | ˂ = 11 kV ; Residential ; Complex Type | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | ˂ = 11 kV ; Commercial & Industrial ; Complex Type | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | ˂ = 11 kV ; Subdivision ; Complex Type | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 11 kV & < = 22 kV ; Commercial & Industrial | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 11 kV & < = 22 kV ; Subdivision | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 33 kV ; Commercial & Industrial | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 33 kV ; Subdivision | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 33 kV & < = 66 kV ; Commercial & Industrial | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 33 kV & < = 66 kV ; Subdivision | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV ; Commercial & Industrial | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV ; Subdivision | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV ; Commercial & Industrial | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV ; Subdivision | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | Other | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
| TRANSFORMERS BY: Mounting type; Highest operating voltage; Ampere rating; Number of phases (at LV) | Pole Mounted ; < = 22kV ; < = 60 kVA ; Single Phase |  |  |  | 98 | 91 | 90 | 90 | 89
|  | Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Pole Mounted ; < = 22kV ; > 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Pole Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase |  |  |  | 102 | 102 | 104 | 102 | 101
|  | Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase |  |  |  | 452 | 445 | 447 | 446 | 442
|  | Pole Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Kiosk Mounted ; < = 22kV ; > 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase |  |  |  | 85 | 84 | 84 | 84 | 84
|  | Kiosk Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase |  |  |  | 10 | 8 | 8 | 8 | 7
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Multiple Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Multiple Phase |  |  |  | 5 | 4 | 4 | 4 | 4
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Multiple Phase |  |  |  | 9 | 8 | 8 | 8 | 8
|  | Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; < = 15 MVA |  |  |  | 3 | 1 | 1 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 15 MVA and < = 40 MVA |  |  |  | 4 | 5 | 2 | 1 | 1
|  | Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 40 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; < = 15 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 15 MVA and < = 40 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 40 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; < = 100 MVA |  |  |  | 0 | 1 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; > 100 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; < = 100 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; > 100 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other |  |  |  | 0 | 0 | 0 | 0 | 0
| SWITCHGEAR BY: Highest operating voltage; Switch function | ˂ = 11 kV ; Fuse |  |  |  | 0 | 0 | 0 | 0 | 0
|  | ˂ = 11 kV ; Switch |  |  |  | 1733 | 1741 | 1744 | 1730 | 1705
|  | ˂ = 11 kV ; Circuit Breaker |  |  |  | 19 | 24 | 0 | 0 | 0
|  | > 11 kV & < = 22 kV ; Switch |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 11 kV & < = 22 kV ; Circuit Breaker |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 33 kV ; Switch |  |  |  | 5 | 1 | 26 | 21 | 7
|  | > 22 kV & < = 33 kV ; Circuit Breaker |  |  |  | 26 | 22 | 4 | 0 | 6
|  | > 33 kV & < = 66 kV ; Switch |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 33 kV & < = 66 kV ; Circuit Breaker |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV ; Switch |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV ; Circuit Breaker |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV ; Switch |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV ; Circuit Breaker |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other |  |  |  | 0 | 0 | 0 | 0 | 0
| PUBLIC LIGHTING BY: Asset type ; Lighting obligation | Luminaires ; Major Road |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Luminaires ; Minor Road |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Brackets ; Major Road |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Brackets ; Minor Road |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Lamps ; Major Road |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Lamps ; Minor Road |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Poles / Columns ; Major Road |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Poles / Columns ; Minor Road |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other |  |  |  | 0 | 0 | 0 | 0 | 0
| SCADA, NETWORK CONTROL AND PROTECTION SYSTEMS BY: Function | Field Devices |  |  |  | 331 | 175 | 197 | 210 | 203
|  | Local Network Wiring Assets |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Communications Network Assets |  |  |  | 19 | 19 | 20 | 19 | 18
|  | Master Station Assets |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Communications Site Infrastructure |  |  |  | 4 | 4 | 5 | 4 | 4
|  | Communications Linear Assets |  |  |  | 26050 | 20000 | 20000 | 20000 | 20000
|  | AFLC |  |  |  | 0 | 1 | 0 | 0 | 0
|  | Other |  |  |  | 0 | 0 | 0 | 0 | 0
| OTHER BY: enter DNSP defined asset group here | 33kV Instrument Transformer |  |  |  | 1 | 2 | 4 | 0 | 4
|  | 110kV Instrument Transformer |  |  |  | 0 | 0 | 0 | 0 | 0
|  | CAPACITOR BANKS |  |  |  | 0 | 0 | 0 | 0 | 0
|  | STATIC VAR COMPENSATOR |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Replace Ageing Cable Terminations |  |  |  | 30 | 10 | 10 | 10 | 10
|  | Substation Batteries |  |  |  | 193 | 100 | 132 | 108 | 93
|  | Substation Battery Charger |  |  |  | 11 | 0 | 0 | 10 | 7
|  | LV Network Safety |  |  |  | 0 | 15000 | 30000 | 25000 | 25000
|  | Fire Suppression System / Water Misting |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Electric Fence |  |  |  | 1 | 0 | 1 | 0 | 1
|  | Asbestos |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Substation Miscellaneous Work |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Reactive Work |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other Non AER asset Categories (ONLY FOR HISTORICAL INFO) |  |  |  | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
ASSET FAILURES
ASSET FAILURES (0's)
| ASSET GROUP | ASSET CATEGORY |  | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
| POLES BY: HIGHEST OPERATING VOLTAGE ; MATERIAL TYPE | Staking of a wooden pole |  |  |  | 0 | 0 | 0 | 0 | 0
|  | ˂ = 1 kV; Wood |  |  |  | 2 | 2 | 2 | 2 | 2
|  | > 1 kV & < = 11 kV; Wood |  |  |  | 3 | 3 | 3 | 3 | 3
|  | ˃ 11 kV & < = 22 kV; Wood |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 66 kV; Wood |  |  |  | 0 | 1 | 0 | 0 | 1
|  | > 66 kV & < = 132 kV; Wood |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV; Wood |  |  |  | 0 | 0 | 0 | 0 | 0
|  | ˂ = 1 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 1 kV & < = 11 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | ˃ 11 kV & < = 22 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 66 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | ˂ = 1 kV; Steel |  |  |  | 2 | 2 | 2 | 2 | 2
|  | > 1 kV & < = 11 kV; Steel |  |  |  | 0 | 0 | 0 | 0 | 0
|  | ˃ 11 kV & < = 22 kV; Steel |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 66 kV; Steel |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV; Steel |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV; Steel |  |  |  | 0 | 0 | 0 | 0 | 0
Other | bar: ASSET FAILURES (0's) 2020-21 to ASSET FAILURES (0's) 2024-25
| POLE TOP STRUCTURES BY: HIGHEST OPERATING VOLTAGE | ˂ = 1 kV |  |  |  | 69 | 69 | 69 | 69 | 69
|  | > 1 kV & < = 11 kV |  |  |  | 37 | 37 | 37 | 37 | 37
|  | ˃ 11 kV & < = 22 kV |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 66 kV |  |  |  | 3 | 3 | 3 | 3 | 3
|  | > 66 kV & < = 132 kV |  |  |  | 1 | 0 | 0 | 1 | 0
|  | > 132 kV |  |  |  | 1 | 0 | 0 | 1 | 0
|  | Other |  |  |  | 0 | 0 | 0 | 0 | 0
| STAKING WOODEN POLES BY: HIGHEST OPERATING VOLTAGE | ˂ = 1 Kv | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
|  | > 1 kV & < = 11 kV | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
|  | ˃ 11 kV & < = 22 kV | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 66 kV | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
| OVERHEAD CONDUCTORS BY: Highest operating voltage; Number of phases (at HV) | ˂ = 1 kV | per km |  |  | 61 | 61 | 61 | 61 | 61
|  | > 1 kV & < = 11 kV | per km |  |  | 84 | 84 | 84 | 84 | 84
|  | ˃ 11 kV & < = 22 kV ; SWER | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | ˃ 11 kV & < = 22 kV ; Single-Phase | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | ˃ 11 kV & < = 22 kV ; Multiple-Phase | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 66 kV | per km |  |  | 5 | 5 | 5 | 5 | 5
|  | > 66 kV & < = 132 kV | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | Other | per km |  |  | 0 | 0 | 0 | 0 | 0
| UNDERGROUND CABLES BY: Highest operating voltage | ˂ = 1 kV | per km |  |  | 56 | 56 | 56 | 56 | 56
|  | > 1 kV & < = 11 kV | per km |  |  | 35 | 35 | 35 | 35 | 35
|  | > 11 kV & < = 22 kV | per km |  |  | 1 | 0 | 0 | 1 | -
|  | > 22 kV & < = 33 kV | per km |  |  | 0 | 1 | 0 | 0 | 1
|  | > 33 kV & < = 66 kV | per km |  |  | 1 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV | per km |  |  | 0 | 0 | 0 | 1 | 0
|  | > 132 kV | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | Other | per km |  |  | 0 | 0 | 0 | 0 | 0
| SERVICE LINES BY: Connection voltage; Customer type; Connection complexity | ˂ = 11 kV ; Residential ; Simple Type | per number of spans |  |  | 1603 | 1603 | 1603 | 1603 | 1603
|  | ˂ = 11 kV ; Commercial & Industrial ; Simple Type | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | ˂ = 11 kV ; Residential ; Complex Type | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | ˂ = 11 kV ; Commercial & Industrial ; Complex Type | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | ˂ = 11 kV ; Subdivision ; Complex Type | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 11 kV & < = 22 kV ; Commercial & Industrial | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 11 kV & < = 22 kV ; Subdivision | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 33 kV ; Commercial & Industrial | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 33 kV ; Subdivision | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 33 kV & < = 66 kV ; Commercial & Industrial | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 33 kV & < = 66 kV ; Subdivision | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV ; Commercial & Industrial | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV ; Subdivision | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV ; Commercial & Industrial | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV ; Subdivision | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | Other | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
| TRANSFORMERS BY: Mounting type; Highest operating voltage; Ampere rating; Number of phases (at LV) | Pole Mounted ; < = 22kV ; < = 60 kVA ; Single Phase |  |  |  | 3 | 3 | 3 | 3 | 3
|  | Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Pole Mounted ; < = 22kV ; > 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Pole Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase |  |  |  | 17 | 17 | 17 | 17 | 17
|  | Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase |  |  |  | 55 | 55 | 55 | 55 | 55
|  | Pole Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Kiosk Mounted ; < = 22kV ; > 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase |  |  |  | 7 | 7 | 7 | 7 | 7
|  | Kiosk Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase |  |  |  | 4 | 4 | 4 | 4 | 4
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Multiple Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Multiple Phase |  |  |  | 1 | 0 | 0 | 1 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Multiple Phase |  |  |  | 4 | 4 | 4 | 4 | 4
|  | Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; < = 15 MVA |  |  |  | 1 | 0 | 0 | 1 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 15 MVA and < = 40 MVA |  |  |  | 0 | 0 | 0 | 1 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 40 MVA |  |  |  | 0 | 0 | 0 | 1 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; < = 15 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 15 MVA and < = 40 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 40 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; < = 100 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; > 100 MVA |  |  |  | 0 | 0 | 1 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; < = 100 MVA |  |  |  | 0 | 1 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; > 100 MVA |  |  |  | 1 | 0 | 0 | 0 | 0
|  | Other |  |  |  | 0 | 0 | 0 | 0 | 0
| SWITCHGEAR BY: Highest operating voltage; Switch function | ˂ = 11 kV ; Fuse |  |  |  | 236 | 236 | 236 | 236 | 236
|  | ˂ = 11 kV ; Switch |  |  |  | 70 | 70 | 70 | 70 | 70
|  | ˂ = 11 kV ; Circuit Breaker |  |  |  | 6 | 6 | 6 | 6 | 6
|  | > 11 kV & < = 22 kV ; Switch |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 11 kV & < = 22 kV ; Circuit Breaker |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 33 kV ; Switch |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 33 kV ; Circuit Breaker |  |  |  | 3 | 3 | 3 | 3 | 3
|  | > 33 kV & < = 66 kV ; Switch |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 33 kV & < = 66 kV ; Circuit Breaker |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV ; Switch |  |  |  | 0 | 0 | 0 | 0 | 0
> 66 kV & < = 132 kV ; Circuit Breaker | bar: ASSET FAILURES (0's) 2020-21 to ASSET FAILURES (0's) 2024-25
|  | > 132 kV ; Switch |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV ; Circuit Breaker |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other |  |  |  | 0 | 0 | 0 | 0 | 0
| PUBLIC LIGHTING BY: Asset type ; Lighting obligation | Luminaires ; Major Road |  |  |  | 675 | 675 | 675 | 675 | 675
|  | Luminaires ; Minor Road |  |  |  | 1773 | 1773 | 1773 | 1773 | 1773
|  | Brackets ; Major Road |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Brackets ; Minor Road |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Lamps ; Major Road |  |  |  | 7523 | 7523 | 7523 | 7523 | 7523
|  | Lamps ; Minor Road |  |  |  | 15504 | 15504 | 15504 | 15504 | 15504
|  | Poles / Columns ; Major Road |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Poles / Columns ; Minor Road |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other |  |  |  | 0 | 0 | 0 | 0 | 0
| SCADA, NETWORK CONTROL AND PROTECTION SYSTEMS BY: Function | Field Devices |  |  |  | 350 | 350 | 350 | 350 | 350
|  | Local Network Wiring Assets |  |  |  | 3 | 3 | 3 | 3 | 3
|  | Communications Network Assets |  |  |  | 83 | 83 | 83 | 83 | 83
|  | Master Station Assets |  |  |  | 2 | 2 | 2 | 2 | 2
|  | Communications Site Infrastructure |  |  |  | 10 | 10 | 10 | 10 | 10
|  | Communications Linear Assets |  |  |  | 11 | 11 | 11 | 11 | 11
|  | AFLC |  |  |  | 9 | 9 | 9 | 9 | 9
|  | Other |  |  |  | 0 | 0 | 0 | 0 | 0
| OTHER BY: enter DNSP defined asset group here | 33kV Instrument Transformer |  |  |  | 0 | 0 | 0 | 0 | 0
|  | 110kV Instrument Transformer |  |  |  | 0 | 0 | 0 | 0 | 0
|  | CAPACITOR BANKS |  |  |  | 0 | 0 | 0 | 0 | 0
|  | STATIC VAR COMPENSATOR |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Replace Ageing Cable Terminations |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Substation Batteries |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Substation Battery Charger |  |  |  | 0 | 0 | 0 | 0 | 0
|  | LV Network Safety |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Fire Suppression System / Water Misting |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Electric Fence |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Asbestos |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Substation Miscellaneous Work |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Reactive Work |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other Non AER asset Categories (ONLY FOR HISTORICAL INFO) |  |  |  | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 2.6 Non-network
0 | REGULATORY REPORTING STATEMENT
Energex
2020-21 to 2024-25
2.6 NON NETWORK EXPENDITURE
There are THREE tables on this worksheet - each has been 'grouped' (and sub-grouped) for easy navigation. See the Instructions sheet on how to group or ungroup tables.
2.6.1 - NON-NETWORK EXPENDITURE
EXPENDITURE ($'0s, real June 2020)
| SERVICE SUBCATEGORY | ASSET CATEGORY |  | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
OPEX
| IT & COMMUNICATIONS | Total IT and communications
| MOTOR VEHICLES | Car
Light commercial vehicle
Elevated work platform (LCV)
Elevated work platform (HCV)
Heavy commercial vehicle
| BUILDINGS AND PROPERTY | Total buildings and property expenditure
| OTHER | Other expenditure
| OTHER - DNSP nominated | Office furniture and equipment
Plant and equipment
Non-Network Expenditure Fleet
Motor Vehicles Generators
[Spare]
[Spare]
[Spare]
[Spare]
[Spare]
[Spare]
[Spare]
CAPEX
| IT & COMMUNICATIONS | IT - In-house software |  |  |  | 23514829.6148 | 22811354.3532 | 27106431.3927 | 23100427.397 | 24223898.3447
| MOTOR VEHICLES | Car |  |  |  | 105312.0512 | 91608.4557 | 161446.9096 | 183314.7604 | 165957.1894
|  | Light commercial vehicle |  |  |  | 5262838.5643 | 7484088.3822 | 4938884.821 | 5450552.8186 | 3976694.8555
|  | Elevated work platform (LCV) |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Elevated work platform (HCV) |  |  |  | 4554429.7632 | 7511403.6675 | 8942345.6298 | 7993094.8151 | 9554161.7268
|  | Heavy commercial vehicle |  |  |  | 4884972.4326 | 3520171.2453 | 1580627.8963 | 4356538.1015 | 3842299.6778
| BUILDINGS AND PROPERTY | Total buildings and property expenditure |  |  |  | 0 | 0 | 0 | 0 | 0
| OTHER | Other expenditure |  |  |  | 0 | 0 | 0 | 0 | 0
| OTHER - DNSP nominated | Office furniture and equipment |  |  |  | 4895924.6948 | 11491878.9793 | 15542626.4321 | 9722998.6888 | 3672318.8977
|  | Plant and equipment |  |  |  | 1347596.7501 | 1982044.2622 | 1807883.9094 | 1808384.0692 | 1809485.0604
|  | Non-Network Expenditure Fleet |  |  |  | 644045.0869 | 1379333.8958 | 2207894.0593 | 1030306.5981 | 1604120.8353
|  | Motor Vehicles Generators |  |  |  | 5255064.0624 | 74156.9276 | 74176.0107 | 0 | 2262921.8454
|  | Buildings - Capital Works |  |  |  | 6849381.9971 | 5363435.6756 | 8436654.7048 | 6474489.0685 | 3559553.6098
|  | IT Systems |  |  |  | 4795824.8697 | 5361245.8113 | 5329169.1729 | 5842285.1673 | 5579126.1936
|  | IT & Communications-Capitalised Operational Exp |  |  |  | 20632532.9601 | 20222587.9433 | 19826431.1207 | 19441073.1182 | 19036121.4482
|  | Motor Vehicles-Capitalised Operational Exp |  |  |  | 9987241.3763 | 9788806.2234 | 9597045.2885 | 9410511.5558 | 9214493.4478
|  | Buildings & Property-Capitalised Operational Exp |  |  |  | 15556042.1656 | 15246961.2602 | 14948276.0601 | 14657732.7057 | 14352416.569
|  | Tools & Equipment - Capitalised Operational Expenditure |  |  |  | 5197852.999 | 5094577.5582 | 4994775.7098 | 4897694.3551 | 4795676.8638
[Spare]
[Spare]
Check | [5 empty] | 0 | 0 | 0 | 0 | 0
Check | [5 empty] | 0 | 0 | 0 | 0 | 0
2.6.2 - ANNUAL DESCRIPTOR METRICS
IT & COMMUNICATIONS
VOLUMES (0's)
|  |  |  | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
| Employee numbers |  |  |  |  | 2305.1143 | 2305.1143 | 2305.1143 | 2305.1143 | 2305.1143
| User numbers |  |  |  |  | 3977.92 | 3977.92 | 3977.92 | 3977.92 | 3977.92
| Number of devices |  |  |  |  | 4372.6667 | 4372.6667 | 4372.6667 | 4372.6667 | 4372.6667
MOTOR VEHICLES
VOLUMES (0's or %)
| ASSET CATEGORY | DESCRIPTOR METRIC | Units | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
| CAR | Average kilometres travelled | 0's |  |  | 21783 | 21783 | 21783 | 21783 | 21783
|  | Number purchased | 0's |  |  | 6 | 5 | 9 | 10 | 9
|  | Number leased | 0's |  |  | 0 | 0 | 0 | 0 | 0
|  | Number in fleet | 0's |  |  | 39 | 39 | 39 | 39 | 39
|  | Proportion of total fleet expenditure allocated as regulatory expenditure | % |  |  | 85% | 84.9% | 84.7% | 84.2% | 85%
| LIGHT COMMERCIAL VEHICLE | Average kilometres travelled | 0's |  |  | 23404 | 23404 | 23404 | 23404 | 23404
|  | Number purchased | 0's |  |  | 130 | 183 | 122 | 138 | 102
|  | Number leased | 0's |  |  | 0 | 0 | 0 | 0 | 0
|  | Number in fleet | 0's |  |  | 799 | 799 | 799 | 799 | 799
|  | Proportion of total fleet expenditure allocated as regulatory expenditure | % |  |  | 85% | 84.9% | 84.7% | 84.2% | 85%
| ELEVATED WORK PLATFORM (LCV) | Average kilometres travelled | 0's |  |  | 0 | 0 | 0 | 0 | 0
|  | Number purchased | 0's |  |  | 0 | 0 | 0 | 0 | 0
|  | Number leased | 0's |  |  | 0 | 0 | 0 | 0 | 0
|  | Number in fleet | 0's |  |  | 0 | 0 | 0 | 0 | 0
|  | Proportion of total fleet expenditure allocated as regulatory expenditure | % | bar: VOLUMES (0's or %) 2020-21 to VOLUMES (0's or %) 2024-25
| ELEVATED WORK PLATFORM (HCV) | Average kilometres travelled | 0's |  |  | 21161 | 21161 | 21161 | 21161 | 21161
|  | Number purchased | 0's |  |  | 4 | 15 | 21 | 19 | 23
|  | Number leased | 0's |  |  | 0 | 0 | 0 | 0 | 0
|  | Number in fleet | 0's |  |  | 239.5 | 239.5 | 239.5 | 239.5 | 239.5
|  | Proportion of total fleet expenditure allocated as regulatory expenditure | % |  |  | 85% | 84.9% | 84.7% | 84.2% | 85%
| HEAVY COMMERCIAL VEHICLE | Average kilometres travelled | 0's |  |  | 23791 | 23791 | 23791 | 23791 | 23791
|  | Number purchased | 0's |  |  | 27 | 24 | 9 | 29 | 25
|  | Number leased | 0's |  |  | 0 | 0 | 0 | 0 | 0
|  | Number in fleet | 0's |  |  | 259.5 | 259.5 | 259.5 | 259.5 | 259.5
|  | Proportion of total fleet expenditure allocated as regulatory expenditure | % |  |  | 85% | 84.9% | 84.7% | 84.2% | 85%
2.6.4 - INFORMATION & COMMUNICATIONS TECHNOLOGY - CAPEX BY PURPOSE
EXPENDITURE ($'0s, real June 2020)
|  |  |  | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
ICT CAPABILITY GROWTH
| Distribution Operations, Asset and Works Management |  |  |  |  | 1214455.3289 | 859616.3791 | 1144705.7267 | 1294487.62 | 941068.8074
| Customer and Market Systems |  |  |  |  | 486623.9037 | 870241.9663 | 792439.7031 | 405463.6564 | 531592.823
| Corporate Systems |  |  |  |  | 289219.052 | 50356.9038 | 261719.5451 | 112940.5752 | 371117.4846
| ICT Management Systems, Productivity and Cybersecurity |  |  |  |  | 58604.6694 | 198355.6726 | 206925.2222 | 194100.7211 | 269888.5004
| Infrastructure Program |  |  |  |  | 611144.2003 | 609621.1895 | 607572.4169 | 614072.1857 | 615296.0326
| Minor Applications Change |  |  |  |  | 302597.256 | 302682.2443 | 304801.0811 | 307504.2866 | 308638.3347
ICT ASSET EXTENSIONS
| Distribution Operations, Asset and Works Management |  |  |  |  | 313794.1726 | 16239.1426 | 229251.4774 | 14214.5313 | 106238.668
| Customer and Market Systems |  |  |  |  | 190501.0635 | 0 | 0 | 29558.6462 | 83530.7338
| Corporate Systems |  |  |  |  | 58669.7534 | 0 | 0 | 171852.594 | 344972.7419
| ICT Management Systems, Productivity and Cybersecurity |  |  |  |  | 190465.1756 | 644655.9358 | 146248.8557 | 587063.275 | 281603.043
| Infrastructure Program |  |  |  |  | 0 | 0 | 0 | 0 | 0
| Minor Applications Change |  |  |  |  | 983441.0821 | 983717.2941 | 990603.5137 | 999388.9315 | 1003074.5879
ICT ASSET REMEDITATION
| Distribution Operations, Asset and Works Management |  |  |  |  | 72414.0398 | 3747.4945 | 52904.1871 | 3280.2764 | 24516.6157
| Customer and Market Systems |  |  |  |  | 43961.7839 | 0 | 0 | 6821.226 | 19276.3232
| Corporate Systems |  |  |  |  | 13539.1739 | 0 | 0 | 39658.2909 | 79609.0943
| ICT Management Systems, Productivity and Cybersecurity |  |  |  |  | 43953.5021 | 148766.7544 | 33749.7359 | 135476.1404 | 64985.3176
| Infrastructure Program |  |  |  |  | 0 | 0 | 0 | 0 | 0
| Minor Applications Change |  |  |  |  | 226947.942 | 227011.6832 | 228600.8108 | 230628.215 | 231478.7511
ICT ASSET REPLACEMENT
| Distribution Operations, Asset and Works Management |  |  |  |  | 10543889.748 | 7716560.7752 | 10020195.8759 | 11632893.7719 | 8338863.983
| Customer and Market Systems |  |  |  |  | 4145152.286 | 7832177.6963 | 7131957.3283 | 3612793.0354 | 4681528.35
| Corporate Systems |  |  |  |  | 2530762.5406 | 453212.1341 | 2355475.9056 | 804954.2918 | 2915475.5252
| ICT Management Systems, Productivity and Cybersecurity |  |  |  |  | 293023.347 | 991778.3628 | 1682328.4086 | 1024367.0742 | 2082408.1433
| Infrastructure Program |  |  |  |  | 4184508.1833 | 4750447.3142 | 4722115.3659 | 5183671.7863 | 4964669.0039
| Minor Applications Change |  |  |  |  | 1512986.2802 | 1513411.2217 | 1524005.4056 | 1537521.4331 | 1543191.6737
Check | [5 empty] | 0 | 0 | 0 | 0 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 2.10 Overheads
0 | REGULATORY REPORTING STATEMENT
Energex
2020-21 to 2024-25
2.10 OVERHEADS
There are TWO tables on this worksheet. Each table has been 'grouped' (and sub-grouped) for easy navigation. See the Instructions sheet on how to group or ungroup data.
2.10.1 - NETWORK OVERHEADS EXPENDITURE
EXPENDITURE ($0's, real June 2020)
|  |  | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
OPEX
| Standard Control Services | Total
| Alternative Control Services | Total
CAPEX
| Standard Control Services | Total |  |  | 51590589.2024 | 50565542.7384 | 49413900.6461 | 47762352.3141 | 46752580.1877
| Alternative Control Services | Total
OTHER DISTRIBUTION SERVICES
| Negotiated Services | Total
| Unregulated Distribution Services | Total
2.10.2 - CORPORATE OVERHEADS EXPENDITURE
EXPENDITURE ($0's, real June 2020)
|  |  | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
OPEX
| Standard Control Services | Total
| Alternative Control Services | Total
CAPEX
| Standard Control Services | Total |  |  | 13463468.0279 | 13195964.1961 | 12937457.6557 | 12685997.7328 | 12421752.239
| Alternative Control Services | Total
OTHER DISTRIBUTION SERVICES
| Negotiated Services | Total
| Unregulated Distribution Services | Total
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY