## 2.1 Expenditure summary
0 | REGULATORY REPORTING STATEMENT
Ergon Energy
2020-21 to 2024-25
2.1 EXPENDITURE SUMMARY & RECONCILIATION
2.1.1 - STANDARD CONTROL SERVICES CAPEX
Forecast ($0's, real June 2020)
|  | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
| Replacement expenditure |  |  | 234792896.697 | 239966393.2164 | 264395362.7787 | 272941801.975 | 277474965.1896
| Connections |  |  | 79131635.6679 | 76804427.017 | 72971910.3583 | 73341683.8371 | 74462831.7783
| Augmentation Expenditure |  |  | 55277180.4119 | 55287465.0489 | 55097645.3455 | 41380910.0292 | 32458018.7241
| Non-network |  |  | 154607506.3354 | 166182075.5157 | 154347949.6874 | 129770743.6471 | 136062490.7729
Public lighting
Metering
| Capitalised network overheads |  |  | 60801009.1201 | 61707002.4954 | 62330717.258 | 62017437.1203 | 62712054.7137
| Capitalised corporate overheads |  |  | 9779410.5296 | 9917649.19 | 10060705.4532 | 10207420.3974 | 10341561.3881
| capcons (included in the above) |  |  | 38062621.5243 | 35286056.481 | 31836536.6662 | 31867853.6566 | 31903398.3418
| Total | 0 | 0 | 594389638.762 | 609865012.4834 | 619204290.8812 | 589659997.0062 | 593511922.5667
| Check |  |  | 0 | 0 | 0 | 0 | 0
2.1.2 - STANDARD CONTROL SERVICES OPEX BY CATEGORY | bar: Forecast ($0's, real June 2020) 2018-19 to Forecast ($0's, real June 2020) 2019-20
|  | Forecast ($0's, real June 2020) 2018-19: Forecast ($0's, real June 2020) | `
|  | 2018-19 | 2019-20
Vegetation management
Maintenance
Emergency response
Non-network
Metering
Network overheads
Corporate overheads
| Total Opex | Forecast ($0's, real June 2020) 2018-19: 0; Forecast ($0's, real June 2020) 2019-20: 0
2.1.3 - ALTERNATIVE CONTROL SERVICES CAPEX
Forecast ($0's, real June 2020)
|  | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
Connections | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
Metering | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
Public lighting | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
Fee and quoted | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
Network Overheads | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
Corporate Overheads | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
| Total Capex | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.1.4 - ALTERNATIVE CONTROL SERVICES OPEX
Forecast ($0's, real June 2020)
|  | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
Connections | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
Metering | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
Public lighting | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
Fee and quoted | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
Network Overheads | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
Corporate Overheads | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
| Total Opex | 0 | 0 | 0 | 0 | 0 | 0 | 0
Not Required | 2.1.5 - DUAL FUNCTION ASSETS CAPEX
Forecast ($0's, real June 2020)
|  | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
Replacement expenditure | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
Connections | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
Augmentation Expenditure | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
Non-network | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
Capitalised network overheads | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
Capitalised corporate overheads | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
capcons (included in the above) | bar: Forecast ($0's, real June 2020) 2020-21 to Forecast ($0's, real June 2020) 2024-25
| Total | 0 | 0 | 0 | 0 | 0 | 0 | 0
Not Required | 2.1.6 - DUAL FUNCTION ASSETS OPEX BY CATEGORY
Forecast ($0's, real June 2020)
|  | 2018-19 | 2019-20
Vegetation management
Maintenance
Emergency response
Non-network
Metering
Network overheads
Corporate overheads
| Total Opex | Forecast ($0's, real June 2020) 2018-19: 0; Forecast ($0's, real June 2020) 2019-20: 0
2.1.7 - STANDARD CONTROL SERVICES CAPCONS
Forecast ($0's, real June 2020)
|  | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
Replacement expenditure
| Connections |  |  | 38062621.5243 | 35286056.481 | 31836536.6662 | 31867853.6566 | 31903398.3418
Augmentation Expenditure
Non-network
Capitalised network overheads
Capitalised corporate overheads
| Total Capcons | 0 | 0 | 38062621.5243 | 35286056.481 | 31836536.6662 | 31867853.6566 | 31903398.3418
| Check |  |  | 0 | 0 | 0 | 0 | 0
2.1.8 - STANDARD CONTROL SERVICES CAPITALISED OVERHEADS
Forecast ($0's, real June 2020)
|  | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
| Replacement expenditure |  |  | 50044774.5899 | 51036005.5266 | 53073904.9805 | 55405773.8652 | 57506342.2277
| Connections |  |  | 8753627.492 | 8830118.9168 | 8257387.3147 | 8418972.9813 | 8820389.7694
| Augmentation Expenditure |  |  | 11782017.5678 | 11758527.242 | 11060130.416 | 8400110.6713 | 6726884.1047
Non-network
capcons (included in the above)
| Total Capitalised Overheads | 0 | 0 | 70580419.6497 | 71624651.6854 | 72391422.7112 | 72224857.5178 | 73053616.1018
| Check |  |  | 0 | 0 | 0 | 0 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 2.2 Repex
0 | REGULATORY REPORTING STATEMENT
Ergon Energy
2020-21 to 2024-25
2.2 REPEX
There is ONE table on this worksheet. The table has been sub-grouped for easy navigation. See the Instructions sheet on how to group or ungroup tables.
2.2.1 - REPLACEMENT EXPENDITURE, VOLUMES AND ASSET FAILURES BY ASSET CATEGORY
EXPENDITURE
EXPENDITURE ($0's, real June 2020)
| ASSET GROUP | ASSET CATEGORY |  | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
| POLES BY: HIGHEST OPERATING VOLTAGE ; MATERIAL TYPE | Staking of a wooden pole |  |  |  | 6807259.3446 | 6813639.2443 | 6873453.8705 | 6902846.6213 | 6879945.7418
|  | ˂ = 1 kV; Wood |  |  |  | 16028196.4122 | 16043218.3587 | 16184056.3271 | 16253263.7364 | 16199341.9191
|  | > 1 kV & < = 11 kV; Wood |  |  |  | 15934476.5719 | 15949410.6823 | 16089425.145 | 16158227.8856 | 16104621.3592
|  | ˃ 11 kV & < = 22 kV; Wood |  |  |  | 19436162.8214 | 19454378.7823 | 19625162.1702 | 19709084.6802 | 19643697.8336
|  | > 22 kV & < = 66 kV; Wood |  |  |  | 2599950.6076 | 2602387.3334 | 2625232.8085 | 2636459.0152 | 2627712.3004
|  | > 66 kV & < = 132 kV; Wood |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV; Wood |  |  |  | 0 | 0 | 0 | 0 | 0
|  | ˂ = 1 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 1 kV & < = 11 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | ˃ 11 kV & < = 22 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 66 kV; Concrete |  |  |  | 3934965.4917 | 4461408.9552 | 7556463.3229 | 9245908.8277 | 0
|  | > 66 kV & < = 132 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | ˂ = 1 kV; Steel |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 1 kV & < = 11 kV; Steel |  |  |  | 0 | 0 | 0 | 0 | 0
|  | ˃ 11 kV & < = 22 kV; Steel |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 66 kV; Steel |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV; Steel |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV; Steel |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other |  |  |  | 0 | 0 | 0 | 0 | 0
| POLE TOP STRUCTURES BY: HIGHEST OPERATING VOLTAGE | ˂ = 1 kV |  |  |  | 5019962.1172 | 5024666.9262 | 5068776.7716 | 5090452.2343 | 5073564.1532
|  | > 1 kV & < = 11 kV |  |  |  | 7641657.7967 | 7648819.7114 | 7715966.1034 | 7748961.6647 | 7723253.7145
|  | ˃ 11 kV & < = 22 kV |  |  |  | 9391293.6359 | 9400095.3443 | 9482615.5906 | 9523165.8238 | 9491571.775
|  | > 22 kV & < = 66 kV |  |  |  | 2594304.9762 | 2722576.7092 | 3482110.1232 | 3895916.4627 | 1664642.0016
|  | > 66 kV & < = 132 kV |  |  |  | 14468.2703 | 14481.8302 | 14608.9613 | 14671.4332 | 14622.7592
|  | > 132 kV |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other |  |  |  | 0 | 0 | 0 | 0 | 0
| STAKING WOODEN POLES BY: HIGHEST OPERATING VOLTAGE | ˂ = 1 Kv | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
|  | > 1 kV & < = 11 kV | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
|  | ˃ 11 kV & < = 22 kV | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 66 kV | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
| OVERHEAD CONDUCTORS BY: Highest operating voltage; Number of phases (at HV) | ˂ = 1 kV | per km |  |  | 9963646.2527 | 9972984.3814 | 10060533.8261 | 10103555.3942 | 10070035.8454
|  | > 1 kV & < = 11 kV | per km |  |  | 5546946.397 | 5552145.1062 | 5600885.5036 | 5624836.4073 | 5606175.4536
|  | ˃ 11 kV & < = 22 kV ; SWER | per km |  |  | 662848.9655 | 663470.2008 | 669294.5805 | 672156.6654 | 669926.7189
|  | ˃ 11 kV & < = 22 kV ; Single-Phase | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | ˃ 11 kV & < = 22 kV ; Multiple-Phase | per km |  |  | 2857803.8141 | 2860482.205 | 2885593.4074 | 2897932.9865 | 2888318.8059
|  | > 22 kV & < = 66 kV | per km |  |  | 732384.5811 | 830367.4481 | 1406424.9836 | 1720868.3429 | 0
|  | > 66 kV & < = 132 kV | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | Other | per km |  |  | 0 | 0 | 0 | 0 | 0
| UNDERGROUND CABLES BY: Highest operating voltage | ˂ = 1 kV | per km |  |  | 707592.1087 | 708255.2782 | 714472.8109 | 717528.0902 | 715147.6195
|  | > 1 kV & < = 11 kV | per km |  |  | 118587.3976 | 118698.54 | 119740.5542 | 120252.5973 | 119853.6473
|  | > 11 kV & < = 22 kV | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 33 kV | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | > 33 kV & < = 66 kV | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | Other | per km |  |  | 0 | 0 | 0 | 0 | 0
| SERVICE LINES BY: Connection voltage; Customer type; Connection complexity | ˂ = 11 kV ; Residential ; Simple Type | per number of spans |  |  | 5830970.7252 | 5836435.6277 | 5887671.715 | 5912848.9943 | 5893232.5303
|  | ˂ = 11 kV ; Commercial & Industrial ; Simple Type | per number of spans |  |  | 3446351.416 | 3449581.4055 | 3479864.1098 | 3494744.9514 | 3483150.7878
|  | ˂ = 11 kV ; Residential ; Complex Type | per number of spans |  |  | 57312.5698 | 57366.2843 | 57869.8834 | 58117.3507 | 57924.5406
|  | ˂ = 11 kV ; Commercial & Industrial ; Complex Type | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | ˂ = 11 kV ; Subdivision ; Complex Type | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 11 kV & < = 22 kV ; Commercial & Industrial | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 11 kV & < = 22 kV ; Subdivision | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 33 kV ; Commercial & Industrial | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 33 kV ; Subdivision | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 33 kV & < = 66 kV ; Commercial & Industrial | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 33 kV & < = 66 kV ; Subdivision | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV ; Commercial & Industrial | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV ; Subdivision | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV ; Commercial & Industrial | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV ; Subdivision | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | Other | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
| TRANSFORMERS BY: Mounting type; Highest operating voltage; Ampere rating; Number of phases (at LV) | Pole Mounted ; < = 22kV ; < = 60 kVA ; Single Phase |  |  |  | 6270366.0063 | 6276242.7188 | 6331339.7233 | 6358414.2472 | 6337319.5762
|  | Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase |  |  |  | 550076.3915 | 550591.9341 | 555425.3938 | 557800.5433 | 555949.9846
|  | Pole Mounted ; < = 22kV ; > 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Pole Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase |  |  |  | 2764447.0737 | 2767037.9689 | 2791328.856 | 2803265.3343 | 2793965.2231
|  | Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase |  |  |  | 15094156.1948 | 15108302.7401 | 15240933.4016 | 15306107.7618 | 15255328.2285
|  | Pole Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase |  |  |  | 2076931.6927 | 2078878.2347 | 2097128.001 | 2106095.8885 | 2099108.7061
|  | Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Kiosk Mounted ; < = 22kV ; > 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase |  |  |  | 3433472.2213 | 3438795.8275 | 3588228.5284 | 3566525.1012 | 3472027.9199
|  | Kiosk Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase |  |  |  | 1090457.0566 | 1091479.0548 | 1101060.779 | 1105769.2131 | 1102100.7139
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Multiple Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Multiple Phase |  |  |  | 73274.7882 | 73343.4628 | 73987.3202 | 74303.71 | 74057.2
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Multiple Phase |  |  |  | 107736.1949 | 100426.2982 | 187690.336 | 344263.9081 | 485840.6479
|  | Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; < = 15 MVA |  |  |  | 660809.5415 | 514884.9787 | 646829.6509 | 4456661.9259 | 5490126.9208
|  | Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 15 MVA and < = 40 MVA |  |  |  | 13570.8586 | 37907.2168 | 168886.6647 | 911710.0087 | 1400732.9766
|  | Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 40 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; < = 15 MVA |  |  |  | 96616.932 | 337324.0088 | 2632309.7911 | 2853595.5721 | 4270676.9413
|  | Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 15 MVA and < = 40 MVA |  |  |  | 106913.0292 | 172691.6493 | 2025703.2891 | 2513808.3596 | 3593058.662
|  | Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 40 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; < = 100 MVA |  |  |  | 100363.5064 | 704796.4707 | 1052981.1248 | 911710.0087 | 1400732.9766
|  | Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; > 100 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; < = 100 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; > 100 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other |  |  |  | 637384.0784 | 637981.4475 | 643582.0701 | 646334.2013 | 644189.9234
| SWITCHGEAR BY: Highest operating voltage; Switch function | ˂ = 11 kV ; FUSE |  |  |  | 2071596.6486 | 2073538.1905 | 2091741.0784 | 2100685.93 | 2093716.6957
|  | ˂ = 11 kV ; Switch |  |  |  | 4420363.0726 | 4729075.828 | 6349323.0944 | 7189055.2375 | 7046637.8049
|  | ˂ = 11 kV ; Circuit Breaker |  |  |  | 551458.6455 | 1292003.391 | 5930911.1698 | 7767167.9997 | 5646036.0044
|  | > 11 kV & < = 22 kV ; Switch |  |  |  | 3188829.9318 | 3194573.5662 | 3368994.758 | 3534189.8487 | 3997496.8086
|  | > 11 kV & < = 22 kV ; Circuit Breaker |  |  |  | 1487940.6527 | 759947.4924 | 764062.5647 | 767159.9717 | 764614.8423
|  | > 22 kV & < = 33 kV ; Switch |  |  |  | 213649.0533 | 192157.9202 | 969656.6185 | 1300493.2848 | 1213001.7054
|  | > 22 kV & < = 33 kV ; Circuit Breaker |  |  |  | 254853.8411 | 395568.1524 | 992995.8964 | 1523977.384 | 1593736.6268
|  | > 33 kV & < = 66 kV ; Switch |  |  |  | 7101055.9628 | 3940050.5297 | 7611768.232 | 3810051.8198 | 3021549.9547
|  | > 33 kV & < = 66 kV ; Circuit Breaker |  |  |  | 2332185.7088 | 937737.1017 | 2520326.3527 | 3130671.9784 | 5754407.1835
|  | > 66 kV & < = 132 kV ; Switch |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV ; Circuit Breaker |  |  |  | 0 | 3060.1738 | 207327.0869 | 274601.2725 | 297692.0884
|  | > 132 kV ; Switch |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV ; Circuit Breaker |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other |  |  |  | 0 | 0 | 0 | 0 | 0
| PUBLIC LIGHTING BY: Asset type ; Lighting obligation | Luminaires ; Major Road |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Luminaires ; Minor Road |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Brackets ; Major Road |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Brackets ; Minor Road |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Lamps ; Major Road |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Lamps ; Minor Road |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Poles / Columns ; Major Road |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Poles / Columns ; Minor Road |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other |  |  |  | 0 | 0 | 0 | 0 | 0
| SCADA, NETWORK CONTROL AND PROTECTION SYSTEMS BY: Function | Field Devices |  |  |  | 3794162.6807 | 4429220.7087 | 3221573.4845 | 7718815.3968 | 13325892.6463
|  | Local Network Wiring Assets |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Communications Network Assets |  |  |  | 6977695.5782 | 7223607.7016 | 4367176.8299 | 2995043.3471 | 2798600.815
|  | Master Station Assets |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Communications Site Infrastructure |  |  |  | 3666276.4158 | 1700318.4403 | 1595389.3216 | 764691.9184 | 780301.5241
|  | Communications Linear Assets |  |  |  | 579541.9936 | 580085.152 | 1340570.1939 | 1341245.3489 | 592787.2043
|  | AFLC |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other |  |  |  | 0 | 0 | 0 | 0 | 0
| OTHER BY: enter DNSP defined asset group here | CURRENT TRANSFORMERS |  |  |  | 2663375.5046 | 2417794.9135 | 3612714.8024 | 4167589.1623 | 7071794.0775
|  | VOLTAGE TRANSFORMERS |  |  |  | 1579137.2212 | 1331907.4586 | 2063376.2324 | 2336452.4324 | 3622193.9515
|  | CAPACITOR BANKS |  |  |  | 0 | 0 | 0 | 0 | 0
|  | STATIC VAR COMPENSATOR |  |  |  | 3062389.6685 | 2772735.1399 | 1014670.6301 | 121954.2 | 3935535.4205
|  | REGULATORS |  |  |  | 131603.2681 | 131726.6093 | 132882.9925 | 133451.2361 | 133008.4984
[6 empty] | 0 | 0 | 0 | 0 | 0
|  | Return to service |  |  |  | 8778937.3316 | 8784603.6144 | 8861720.6678 | 8899615.7861 | 8870090.4265
|  | Transformer Bunding |  |  |  | 3103100.2492 | 0 | 0 | 0 | 0
|  | LV Network Safety |  |  |  | 0 | 6536695.1585 | 9891117.8799 | 13244553.306 | 14300664.2832
|  | Clearance to Ground / Clearance to Structure |  |  |  | 26431025.7319 | 26455797.4183 | 26688043.8839 | 26802169.1896 | 26713250.3303
|  | Childers-Gayndah (Variation - Easement clearing and civils) |  |  |  | 0 | 6008633.9723 | 6061381.7305 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
ASSET REPLACEMENTS
ASSET REPLACEMENTS (0's)
| ASSET GROUP | ASSET CATEGORY |  | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
| POLES BY: HIGHEST OPERATING VOLTAGE ; MATERIAL TYPE | Staking of a wooden pole |  |  |  | 2972 | 2972 | 2972 | 2972 | 2972
|  | ˂ = 1 kV; Wood |  |  |  | 3845 | 3845 | 3845 | 3845 | 3845
|  | > 1 kV & < = 11 kV; Wood |  |  |  | 2618 | 2618 | 2618 | 2618 | 2618
|  | ˃ 11 kV & < = 22 kV; Wood |  |  |  | 3073 | 3073 | 3073 | 3073 | 3073
|  | > 22 kV & < = 66 kV; Wood |  |  |  | 189 | 189 | 189 | 189 | 189
|  | > 66 kV & < = 132 kV; Wood |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV; Wood |  |  |  | 0 | 0 | 0 | 0 | 0
|  | ˂ = 1 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 1 kV & < = 11 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | ˃ 11 kV & < = 22 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 66 kV; Concrete |  |  |  | 0 | 656 | 656 | 0 | 0
|  | > 66 kV & < = 132 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | ˂ = 1 kV; Steel |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 1 kV & < = 11 kV; Steel |  |  |  | 0 | 0 | 0 | 0 | 0
|  | ˃ 11 kV & < = 22 kV; Steel |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 66 kV; Steel |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV; Steel |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV; Steel |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other |  |  |  | 0 | 0 | 0 | 0 | 0
| POLE TOP STRUCTURES BY: HIGHEST OPERATING VOLTAGE | ˂ = 1 kV |  |  |  | 4494 | 4494 | 4494 | 4494 | 4494
|  | > 1 kV & < = 11 kV |  |  |  | 5341 | 5341 | 5341 | 5341 | 5341
|  | ˃ 11 kV & < = 22 kV |  |  |  | 4994 | 4994 | 4994 | 4994 | 4994
|  | > 22 kV & < = 66 kV |  |  |  | 1169 | 1439 | 1439 | 1169 | 1169
|  | > 66 kV & < = 132 kV |  |  |  | 3 | 3 | 3 | 3 | 3
|  | > 132 kV |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other |  |  |  | 0 | 0 | 0 | 0 | 0
| STAKING WOODEN POLES BY: HIGHEST OPERATING VOLTAGE | ˂ = 1 Kv | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
|  | > 1 kV & < = 11 kV | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
|  | ˃ 11 kV & < = 22 kV | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 66 kV | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
| OVERHEAD CONDUCTORS BY: Highest operating voltage; Number of phases (at HV) | ˂ = 1 kV | per km |  |  | 170 | 170 | 170 | 170 | 170
|  | > 1 kV & < = 11 kV | per km |  |  | 193 | 193 | 193 | 193 | 193
|  | ˃ 11 kV & < = 22 kV ; SWER | per km |  |  | 40 | 40 | 40 | 40 | 40
|  | ˃ 11 kV & < = 22 kV ; Single-Phase | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | ˃ 11 kV & < = 22 kV ; Multiple-Phase | per km |  |  | 96 | 96 | 96 | 96 | 96
|  | > 22 kV & < = 66 kV | per km |  |  | 0 | 45 | 45 | 0 | 0
|  | > 66 kV & < = 132 kV | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | Other | per km |  |  | 0 | 0 | 0 | 0 | 0
| UNDERGROUND CABLES BY: Highest operating voltage | ˂ = 1 kV | per km |  |  | 4 | 4 | 4 | 4 | 4
|  | > 1 kV & < = 11 kV | per km | bar: ASSET REPLACEMENTS (0's) 2020-21 to ASSET REPLACEMENTS (0's) 2024-25
|  | > 11 kV & < = 22 kV | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 33 kV | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | > 33 kV & < = 66 kV | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | Other | per km |  |  | 0 | 0 | 0 | 0 | 0
| SERVICE LINES BY: Connection voltage; Customer type; Connection complexity | ˂ = 11 kV ; Residential ; Simple Type | per number of spans |  |  | 10292 | 10292 | 10292 | 10292 | 10292
|  | ˂ = 11 kV ; Commercial & Industrial ; Simple Type | per number of spans |  |  | 3474 | 3474 | 3474 | 3474 | 3474
|  | ˂ = 11 kV ; Residential ; Complex Type | per number of spans |  |  | 43 | 43 | 43 | 43 | 43
|  | ˂ = 11 kV ; Commercial & Industrial ; Complex Type | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | ˂ = 11 kV ; Subdivision ; Complex Type | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 11 kV & < = 22 kV ; Commercial & Industrial | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 11 kV & < = 22 kV ; Subdivision | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 33 kV ; Commercial & Industrial | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 33 kV ; Subdivision | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 33 kV & < = 66 kV ; Commercial & Industrial | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 33 kV & < = 66 kV ; Subdivision | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV ; Commercial & Industrial | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV ; Subdivision | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV ; Commercial & Industrial | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV ; Subdivision | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | Other | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
| TRANSFORMERS BY: Mounting type; Highest operating voltage; Ampere rating; Number of phases (at LV) | Pole Mounted ; < = 22kV ; < = 60 kVA ; Single Phase |  |  |  | 642 | 642 | 642 | 642 | 642
|  | Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase |  |  |  | 16 | 16 | 16 | 16 | 16
|  | Pole Mounted ; < = 22kV ; > 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Pole Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase |  |  |  | 167 | 167 | 167 | 167 | 167
|  | Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase |  |  |  | 424 | 424 | 424 | 424 | 424
|  | Pole Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase |  |  |  | 42 | 42 | 42 | 42 | 42
|  | Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Kiosk Mounted ; < = 22kV ; > 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase |  |  |  | 17 | 17 | 17 | 18 | 17
|  | Kiosk Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase |  |  |  | 6 | 6 | 6 | 6 | 6
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Multiple Phase |  |  |  | 0 | 0 | 0 | 0 | 0
Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Multiple Phase | bar: ASSET REPLACEMENTS (0's) 2020-21 to ASSET REPLACEMENTS (0's) 2024-25
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Multiple Phase |  |  |  | 1 | 1 | 1 | 1 | 3
|  | Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; < = 15 MVA |  |  |  | 5 | 1 | 3 | 0 | 3
|  | Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 15 MVA and < = 40 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 40 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; < = 15 MVA |  |  |  | 1 | 0 | 3 | 6 | 4
|  | Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 15 MVA and < = 40 MVA |  |  |  | 0 | 1 | 0 | 2 | 1
|  | Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 40 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; < = 100 MVA |  |  |  | 1 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; > 100 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; < = 100 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; > 100 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other |  |  |  | 16 | 16 | 16 | 16 | 16
| SWITCHGEAR BY: Highest operating voltage; Switch function | ˂ = 11 kV ; Fuse |  |  |  | 1580 | 1580 | 1580 | 1580 | 1580
|  | ˂ = 11 kV ; Switch |  |  |  | 216 | 222 | 217 | 225 | 243
|  | ˂ = 11 kV ; Circuit Breaker |  |  |  | 14 | 2 | 0 | 6 | 23
|  | > 11 kV & < = 22 kV ; Switch |  |  |  | 606 | 606 | 606 | 606 | 615
|  | > 11 kV & < = 22 kV ; Circuit Breaker |  |  |  | 38 | 38 | 38 | 38 | 38
|  | > 22 kV & < = 33 kV ; Switch |  |  |  | 41 | 30 | 30 | 32 | 44
|  | > 22 kV & < = 33 kV ; Circuit Breaker |  |  |  | 6 | 3 | 0 | 2 | 7
|  | > 33 kV & < = 66 kV ; Switch |  |  |  | 0 | 46 | 30 | 4 | 30
|  | > 33 kV & < = 66 kV ; Circuit Breaker |  |  |  | 4 | 15 | 11 | 6 | 6
|  | > 66 kV & < = 132 kV ; Switch |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV ; Circuit Breaker |  |  |  | 0 | 0 | 0 | 3 | 0
|  | > 132 kV ; Switch |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV ; Circuit Breaker |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other |  |  |  | 0 | 0 | 0 | 0 | 0
| PUBLIC LIGHTING BY: Asset type ; Lighting obligation | Luminaires ; Major Road
Luminaires ; Minor Road
Brackets ; Major Road
Brackets ; Minor Road
Lamps ; Major Road
Lamps ; Minor Road
Poles / Columns ; Major Road
Poles / Columns ; Minor Road
Other
| SCADA, NETWORK CONTROL AND PROTECTION SYSTEMS BY: Function | Field Devices |  |  |  | 206 | 125 | 41 | 56 | 152
|  | Local Network Wiring Assets |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Communications Network Assets |  |  |  | 203 | 203 | 203 | 203 | 203
|  | Master Station Assets |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Communications Site Infrastructure |  |  |  | 48 | 48 | 48 | 48 | 48
|  | Communications Linear Assets |  |  |  | 7 | 7 | 7 | 7 | 7
|  | AFLC |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other |  |  |  | 0 | 0 | 0 | 0 | 0
| OTHER BY: enter DNSP defined asset group here | CURRENT TRANSFORMERS |  |  |  | 17 | 46 | 36 | 12 | 38
|  | VOLTAGE TRANSFORMERS |  |  |  | 19 | 28 | 31 | 16 | 21
|  | CAPACITOR BANKS |  |  |  | 0 | 0 | 0 | 0 | 0
|  | STATIC VAR COMPENSATOR |  |  |  | 0 | 1 | 0 | 1 | 0
|  | REGULATORS |  |  |  | 6 | 6 | 6 | 6 | 6
|  | Return To Service |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Transformer Bunding |  |  |  | 0 | 11 | 0 | 0 | 0
|  | LV Network Safety |  |  |  | 0 | 30000 | 45000 | 60000 | 65000
|  | Clearance to Ground / Clearance to Structure |  |  |  | 4497 | 4497 | 4497 | 4497 | 4497
Childers-Gayndah (Variation - Easement clearing and civils)
ASSET FAILURES
ASSET FAILURES (0's)
| ASSET GROUP | ASSET CATEGORY |  | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
| POLES BY: HIGHEST OPERATING VOLTAGE ; MATERIAL TYPE | Staking of a wooden pole |  |  |  | 0 | 0 | 0 | 0 | 0
|  | ˂ = 1 kV; Wood |  |  |  | 6 | 6 | 6 | 6 | 6
|  | > 1 kV & < = 11 kV; Wood |  |  |  | 15 | 15 | 15 | 15 | 15
|  | ˃ 11 kV & < = 22 kV; Wood |  |  |  | 27 | 27 | 27 | 27 | 27
|  | > 22 kV & < = 66 kV; Wood |  |  |  | 4 | 4 | 4 | 4 | 4
|  | > 66 kV & < = 132 kV; Wood |  |  |  | 0 | 1 | 0 | 1 | 0
|  | > 132 kV; Wood |  |  |  | 0 | 0 | 0 | 0 | 0
|  | ˂ = 1 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 1 kV & < = 11 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | ˃ 11 kV & < = 22 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 66 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV; Concrete |  |  |  | 0 | 0 | 0 | 0 | 0
|  | ˂ = 1 kV; Steel |  |  |  | 0 | 1 | 0 | 0 | 0
|  | > 1 kV & < = 11 kV; Steel |  |  |  | 1 | 0 | 0 | 0 | 0
|  | ˃ 11 kV & < = 22 kV; Steel |  |  |  | 0 | 0 | 1 | 0 | 0
|  | > 22 kV & < = 66 kV; Steel |  |  |  | 0 | 0 | 0 | 1 | 0
|  | > 66 kV & < = 132 kV; Steel |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV; Steel |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other |  |  |  | 0 | 0 | 0 | 0 | 0
| POLE TOP STRUCTURES BY: HIGHEST OPERATING VOLTAGE | ˂ = 1 kV |  |  |  | 42 | 42 | 42 | 42 | 42
|  | > 1 kV & < = 11 kV |  |  |  | 104 | 104 | 104 | 104 | 104
|  | ˃ 11 kV & < = 22 kV |  |  |  | 46 | 46 | 46 | 46 | 46
|  | > 22 kV & < = 66 kV |  |  |  | 21 | 21 | 21 | 21 | 21
|  | > 66 kV & < = 132 kV |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other |  |  |  | 4 | 5 | 6 | 7 | 8
| STAKING WOODEN POLES BY: HIGHEST OPERATING VOLTAGE | ˂ = 1 Kv | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
|  | > 1 kV & < = 11 kV | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
|  | ˃ 11 kV & < = 22 kV | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 66 kV | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV | for year wooden pole staked |  |  | 0 | 0 | 0 | 0 | 0
| OVERHEAD CONDUCTORS BY: Highest operating voltage; Number of phases (at HV) | ˂ = 1 kV | per km |  |  | 162 | 162 | 162 | 162 | 162
|  | > 1 kV & < = 11 kV | per km |  |  | 205 | 205 | 205 | 205 | 205
|  | ˃ 11 kV & < = 22 kV ; SWER | per km |  |  | 108 | 108 | 108 | 108 | 108
|  | ˃ 11 kV & < = 22 kV ; Single-Phase | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | ˃ 11 kV & < = 22 kV ; Multiple-Phase | per km |  |  | 96 | 96 | 96 | 96 | 96
|  | > 22 kV & < = 66 kV | per km |  |  | 10 | 10 | 10 | 10 | 10
|  | > 66 kV & < = 132 kV | per km |  |  | 0 | 0 | 0 | 1 | 0
|  | > 132 kV | per km |  |  | 0 | 0 | 1 | 0 | 0
|  | Other | per km | bar: ASSET FAILURES (0's) 2020-21 to ASSET FAILURES (0's) 2024-25
| UNDERGROUND CABLES BY: Highest operating voltage | ˂ = 1 kV | per km |  |  | 106 | 106 | 106 | 106 | 106
|  | > 1 kV & < = 11 kV | per km |  |  | 11 | 11 | 11 | 11 | 11
|  | > 11 kV & < = 22 kV | per km |  |  | 8 | 8 | 8 | 8 | 8
|  | > 22 kV & < = 33 kV | per km | bar: ASSET FAILURES (0's) 2020-21 to ASSET FAILURES (0's) 2024-25
|  | > 33 kV & < = 66 kV | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV | per km |  |  | 0 | 0 | 0 | 0 | 0
|  | Other | per km | bar: ASSET FAILURES (0's) 2020-21 to ASSET FAILURES (0's) 2024-25
| SERVICE LINES BY: Connection voltage; Customer type; Connection complexity | ˂ = 11 kV ; Residential ; Simple Type | per number of spans |  |  | 1657 | 1657 | 1657 | 1657 | 1657
|  | ˂ = 11 kV ; Commercial & Industrial ; Simple Type | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | ˂ = 11 kV ; Residential ; Complex Type | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | ˂ = 11 kV ; Commercial & Industrial ; Complex Type | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | ˂ = 11 kV ; Subdivision ; Complex Type | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 11 kV & < = 22 kV ; Commercial & Industrial | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 11 kV & < = 22 kV ; Subdivision | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 33 kV ; Commercial & Industrial | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 22 kV & < = 33 kV ; Subdivision | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 33 kV & < = 66 kV ; Commercial & Industrial | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 33 kV & < = 66 kV ; Subdivision | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV ; Commercial & Industrial | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV ; Subdivision | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV ; Commercial & Industrial | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV ; Subdivision | per number of spans |  |  | 0 | 0 | 0 | 0 | 0
|  | Other | per number of spans |  |  | 2 | 2 | 2 | 2 | 2
| TRANSFORMERS BY: Mounting type; Highest operating voltage; Ampere rating; Number of phases (at LV) | Pole Mounted ; < = 22kV ; < = 60 kVA ; Single Phase |  |  |  | 349 | 349 | 349 | 349 | 349
|  | Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase |  |  |  | 4 | 4 | 4 | 4 | 4
|  | Pole Mounted ; < = 22kV ; > 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Pole Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase |  |  |  | 153 | 153 | 153 | 153 | 153
|  | Pole Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase |  |  |  | 103 | 103 | 103 | 103 | 103
|  | Pole Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Kiosk Mounted ; < = 22kV ; > 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Kiosk Mounted ; < = 22kV ; < = 60 kVA ; Multiple Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Kiosk Mounted ; < = 22kV ; > 60 kVA and < = 600 kVA ; Multiple Phase |  |  |  | 10 | 10 | 10 | 10 | 10
|  | Kiosk Mounted ; < = 22kV ; > 600 kVA ; Multiple Phase |  |  |  | 7 | 7 | 7 | 7 | 7
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Single Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; < = 60 kVA ; Multiple Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 60 kVA and < = 600 kVA ; Multiple Phase |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; ˂ 22 kV ; > 600 kVA ; Multiple Phase |  |  |  | 2 | 2 | 2 | 2 | 2
|  | Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; < = 15 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 15 MVA and < = 40 MVA |  |  |  | 0 | 0 | 1 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > = 22 kV & < = 33 kV ; > 40 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; < = 15 MVA |  |  |  | 0 | 0 | 0 | 1 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 15 MVA and < = 40 MVA |  |  |  | 0 | 1 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 33 kV & < = 66 kV ; > 40 MVA |  |  |  | 1 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; < = 100 MVA |  |  |  | 0 | 0 | 0 | 0 | 1
|  | Ground Outdoor / Indoor Chamber Mounted; > 66 kV & < = 132 kV ; > 100 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; < = 100 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Ground Outdoor / Indoor Chamber Mounted; > 132 kV ; > 100 MVA |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other |  |  |  | 0 | 0 | 0 | 0 | 0
| SWITCHGEAR BY: Highest operating voltage; Switch function | ˂ = 11 kV ; Fuse |  |  |  | 80 | 80 | 80 | 80 | 80
|  | ˂ = 11 kV ; Switch |  |  |  | 212 | 212 | 212 | 212 | 212
|  | ˂ = 11 kV ; Circuit Breaker |  |  |  | 7 | 7 | 7 | 7 | 7
|  | > 11 kV & < = 22 kV ; Switch |  |  |  | 133 | 133 | 133 | 133 | 133
> 11 kV & < = 22 kV ; Circuit Breaker | bar: ASSET FAILURES (0's) 2020-21 to ASSET FAILURES (0's) 2024-25
|  | > 22 kV & < = 33 kV ; Switch |  |  |  | 46 | 46 | 46 | 46 | 46
|  | > 22 kV & < = 33 kV ; Circuit Breaker |  |  |  | 1 | 0 | 1 | 0 | 1
|  | > 33 kV & < = 66 kV ; Switch |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 33 kV & < = 66 kV ; Circuit Breaker |  |  |  | 1 | 0 | 1 | 0 | 1
|  | > 66 kV & < = 132 kV ; Switch |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 66 kV & < = 132 kV ; Circuit Breaker |  |  |  | 0 | 0 | 0 | 0 | 1
|  | > 132 kV ; Switch |  |  |  | 0 | 0 | 0 | 0 | 0
|  | > 132 kV ; Circuit Breaker |  |  |  | 0 | 0 | 0 | 0 | 1
|  | Other |  |  |  | 0 | 0 | 0 | 0 | 0
| PUBLIC LIGHTING BY: Asset type ; Lighting obligation | Luminaires ; Major Road |  |  |  | 8 | 8 | 8 | 8 | 8
|  | Luminaires ; Minor Road |  |  |  | 30 | 30 | 30 | 30 | 30
|  | Brackets ; Major Road |  |  |  | 2 | 2 | 2 | 2 | 2
|  | Brackets ; Minor Road |  |  |  | 5 | 5 | 5 | 5 | 5
|  | Lamps ; Major Road |  |  |  | 46 | 46 | 46 | 46 | 46
|  | Lamps ; Minor Road |  |  |  | 24 | 24 | 24 | 24 | 24
|  | Poles / Columns ; Major Road |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Poles / Columns ; Minor Road |  |  |  | 3 | 3 | 3 | 3 | 3
|  | Other |  |  |  | 0 | 0 | 0 | 0 | 0
| SCADA, NETWORK CONTROL AND PROTECTION SYSTEMS BY: Function | Field Devices |  |  |  | 116 | 116 | 116 | 116 | 116
|  | Local Network Wiring Assets |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Communications Network Assets |  |  |  | 35 | 35 | 35 | 35 | 35
|  | Master Station Assets |  |  |  | 1 | 0 | 0 | 0 | 0
|  | Communications Site Infrastructure |  |  |  | 41 | 41 | 41 | 41 | 41
|  | Communications Linear Assets |  |  |  | 4 | 4 | 4 | 4 | 4
|  | AFLC |  |  |  | 1 | 0 | 0 | 0 | 0
|  | Other |  |  |  | 0 | 0 | 0 | 0 | 0
| OTHER BY: enter DNSP defined asset group here | CURRENT TRANSFORMERS |  |  |  | 3 | 3 | 3 | 3 | 3
|  | VOLTAGE TRANSFORMERS |  |  |  | 5 | 5 | 5 | 5 | 5
|  | CAPACITOR BANKS |  |  |  | 10 | 10 | 10 | 10 | 10
|  | STATIC VAR COMPENSATOR |  |  |  | 6 | 6 | 6 | 6 | 6
|  | REGULATORS |  |  |  | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
|  | Return To Service |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Transformer Bunding |  |  |  | 0 | 0 | 0 | 0 | 0
|  | LV Network Safety |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Clearance to Ground / Clearance to Structure |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Childers-Gayndah (Variation - Easement clearing and civils) |  |  |  | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 2.6 Non-network
0 | REGULATORY REPORTING STATEMENT
Ergon Energy
2020-21 to 2024-25
2.6 NON NETWORK EXPENDITURE
There are THREE tables on this worksheet - each has been 'grouped' (and sub-grouped) for easy navigation. See the Instructions sheet on how to group or ungroup tables.
2.6.1 - NON-NETWORK EXPENDITURE
EXPENDITURE ($'0s, real June 2020)
| SERVICE SUBCATEGORY | ASSET CATEGORY |  | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
OPEX
| IT & COMMUNICATIONS | Total IT and communications
| MOTOR VEHICLES | Car
Light commercial vehicle
Elevated work platform (LCV)
Elevated work platform (HCV)
Heavy commercial vehicle
| BUILDINGS AND PROPERTY | Total buildings and property expenditure
| OTHER | Other expenditure
| OTHER - DNSP nominated | Office furniture and equipment
Plant and equipment
OTHER - Crane borer plant hcv
OTHER - Other Fleet Assets
[Spare]
[Spare]
[Spare]
[Spare]
[Spare]
[Spare]
[Spare]
CAPEX
| IT & COMMUNICATIONS | IT - In-house software |  |  |  | 28908017.6232 | 28045193.7672 | 27256351.0749 | 23100671.0029 | 27028749.2989
| MOTOR VEHICLES | Car |  |  |  | 166879.5082 | 217161.7671 | 57224.7835 | 27277.703 | 103968.3353
|  | Light commercial vehicle |  |  |  | 9453518.3858 | 9186910.975 | 10750265.5585 | 7576740.7749 | 7885322.5941
|  | Elevated work platform (LCV) |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Elevated work platform (HCV) |  |  |  | 4200431.078 | 10698056.9903 | 9439751.1521 | 4307953.37 | 7953350.8805
|  | Heavy commercial vehicle |  |  |  | 3654488.3444 | 3040220.2539 | 3618625.7796 | 2326169.1681 | 3036398.8965
| BUILDINGS AND PROPERTY | Total buildings and property expenditure |  |  |  | 14765271.7633 | 16212244.8037 | 11984821.455 | 4139673.7985 | 2863783.585
| OTHER | Other expenditure |  |  |  | 0 | 0 | 0 | 0 | 0
| OTHER - DNSP nominated | Office furniture and equipment |  |  |  | 14565083.2201 | 16575187.2093 | 10318617.9247 | 7260847.6578 | 5154669.3494
|  | Plant and equipment |  |  |  | 4379654.9871 | 4411842.5095 | 4448817.7378 | 4434539.6319 | 4444016.5341
|  | OTHER - Crane borer plant hcv |  |  |  | 2052606.3539 | 2679036.6324 | 2026117.0358 | 1346409.5892 | 1349286.9549
|  | OTHER - Other Fleet Assets |  |  |  | 4516585.7913 | 5660042.3303 | 3922350.2183 | 3395554.0729 | 3684041.2827
|  | IT Systms |  |  |  | 5294558.8359 | 5920161.4068 | 6072520.3789 | 6462511.7497 | 6307152.6484
|  | IT & Communications-Capitalised Operational Exp |  |  |  | 26898306.0489 | 27278532.0126 | 27672008.8116 | 28075548.8265 | 28444504.1341
|  | Motor Vehicles-Capitalised Operational Exp |  |  |  | 13106010.1574 | 13291272.58 | 13482991.3788 | 13679613.4086 | 13859384.2834
|  | Buildings & Property-Capitalised Operational Exp |  |  |  | 21135765.6937 | 21434534.2059 | 21743714.7697 | 22060802.6632 | 22350715.0807
|  | Tools & Equipment - Capitalised Operational Expenditure |  |  |  | 1510328.5443 | 1531678.0719 | 1553771.6283 | 1576430.23 | 1597146.9149
[Spare]
[Spare]
[Spare]
Check | [5 empty] | 0 | 0 | 0 | 0 | 0
Check | [5 empty] | 0 | 0 | 0 | 0 | 0
2.6.2 - ANNUAL DESCRIPTOR METRICS
IT & COMMUNICATIONS
VOLUMES (0's)
|  |  |  | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
| Employee numbers |  |  |  |  | 2673 | 2673 | 2673 | 2673 | 2673
| User numbers |  |  |  |  | 3564 | 3564 | 3564 | 3564 | 3564
| Number of devices |  |  |  |  | 4094 | 4094 | 4094 | 4094 | 4094
MOTOR VEHICLES
VOLUMES (0's or %)
| ASSET CATEGORY | DESCRIPTOR METRIC | Units | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
| CAR | Average kilometres travelled | 0's |  |  | 15264 | 15264 | 15264 | 15264 | 15264
|  | Number purchased | 0's |  |  | 7 | 9 | 2 | 1 | 5
|  | Number leased | 0's |  |  | 3 | 0 | 0 | 0 | 0
|  | Number in fleet | 0's |  |  | 65 | 65 | 65 | 65 | 65
|  | Proportion of total fleet expenditure allocated as regulatory expenditure | % |  |  | 79.16% | 79.74% | 80.41% | 80.15% | 80.32%
| LIGHT COMMERCIAL VEHICLE | Average kilometres travelled | 0's |  |  | 24914 | 24914 | 24914 | 24914 | 24914
|  | Number purchased | 0's |  |  | 165 | 158 | 170 | 138 | 138
|  | Number leased | 0's |  |  | 5 | 0 | 0 | 0 | 0
|  | Number in fleet | 0's |  |  | 852 | 852 | 852 | 852 | 852
|  | Proportion of total fleet expenditure allocated as regulatory expenditure | % |  |  | 79.16% | 79.74% | 80.41% | 80.15% | 80.32%
| ELEVATED WORK PLATFORM (LCV) | Average kilometres travelled | 0's |  |  | 0 | 0 | 0 | 0 | 0
|  | Number purchased | 0's |  |  | 0 | 0 | 0 | 0 | 0
|  | Number leased | 0's |  |  | 0 | 0 | 0 | 0 | 0
|  | Number in fleet | 0's |  |  | 0 | 0 | 0 | 0 | 0
|  | Proportion of total fleet expenditure allocated as regulatory expenditure | % | bar: VOLUMES (0's or %) 2020-21 to VOLUMES (0's or %) 2024-25
| ELEVATED WORK PLATFORM (HCV) | Average kilometres travelled | 0's |  |  | 15919 | 15919 | 15919 | 15919 | 15919
|  | Number purchased | 0's |  |  | 0 | 11 | 5 | 1 | 4
|  | Number leased | 0's |  |  | 0 | 0 | 0 | 0 | 0
|  | Number in fleet | 0's |  |  | 200 | 200 | 200 | 200 | 200
|  | Proportion of total fleet expenditure allocated as regulatory expenditure | % |  |  | 79.16% | 79.74% | 80.41% | 80.15% | 80.32%
| HEAVY COMMERCIAL VEHICLE | Average kilometres travelled | 0's |  |  | 14856 | 14856 | 14856 | 14856 | 14856
|  | Number purchased | 0's |  |  | 28 | 21 | 26 | 17 | 24
|  | Number leased | 0's |  |  | 0 | 0 | 0 | 0 | 0
|  | Number in fleet | 0's |  |  | 226.5 | 226.5 | 226.5 | 226.5 | 226.5
|  | Proportion of total fleet expenditure allocated as regulatory expenditure | % |  |  | 79.16% | 79.74% | 80.41% | 80.15% | 80.32%
2.6.4 - INFORMATION & COMMUNICATIONS TECHNOLOGY - CAPEX BY PURPOSE
EXPENDITURE ($'0s, real June 2020)
|  |  |  | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
ICT CAPABILITY GROWTH
| Distribution Operations, Asset and Works Management | Distribution Operations, Asset and Works Management | 0 |  |  | 1959458.5635 | 1466843.4983 | 1227772.7789 | 1246573.6122 | 1088834.3306
| Customer and Market Systems | Customer and Market Systems | Customer and Market Systems |  |  | 384531.0844 | 794115.7632 | 750431.359 | 384843.931 | 502551.5517
| Corporate Systems | Corporate Systems | Corporate Systems |  |  | 192723.1061 | 33122.5813 | 247845.4236 | 146023.5935 | 581069.9516
| ICT Management Systems, Productivity and Cybersecurity | ICT Management Systems, Productivity and Cybersecurity | ICT Management Systems, Productivity and Cybersecurity |  |  | 73625.7177 | 225997.5919 | 211071.9293 | 243111.7531 | 238768.205
| Infrastructure Program | Infrastructure Program | Infrastructure Program |  |  | 698407.6129 | 708747.4874 | 725125.8995 | 726177.9619 | 732700.6826
| Minor Applications Change | Minor Applications Change | Minor Applications Change |  |  | 280616.1582 | 284416.0239 | 288643.1468 | 289562.2815 | 291677.4822
ICT ASSET EXTENSIONS
| Distribution Operations, Asset and Works Management | Distribution Operations, Asset and Works Management | 0 |  |  | 309957.6032 | 12058.593 | 135016.2122 | 326806.5311 | 110904.0684
| Customer and Market Systems | Customer and Market Systems | Customer and Market Systems |  |  | 174742.3092 | 0 | 0 | 37707.261 | 79498.6865
| Corporate Systems | Corporate Systems | Corporate Systems |  |  | 54258.406 | 0 | 0 | 219228.2614 | 441659.3693
| ICT Management Systems, Productivity and Cybersecurity | ICT Management Systems, Productivity and Cybersecurity | ICT Management Systems, Productivity and Cybersecurity |  |  | 239283.5827 | 734492.1736 | 187623.3371 | 748902.6385 | 213188.9776
| Infrastructure Program | Infrastructure Program | Infrastructure Program |  |  | 0 | 0 | 0 | 0 | 0
| Minor Applications Change | Minor Applications Change | Minor Applications Change |  |  | 912002.5141 | 924352.0778 | 938090.2269 | 941077.4149 | 947951.8171
ICT ASSET REMEDITATION
| Distribution Operations, Asset and Works Management | Distribution Operations, Asset and Works Management | 0 |  |  | 71528.6777 | 2782.7522 | 31157.5874 | 75416.8918 | 25593.2466
| Customer and Market Systems | Customer and Market Systems | Customer and Market Systems |  |  | 40325.1483 | 0 | 0 | 8701.6756 | 18345.8507
| Corporate Systems | Corporate Systems | Corporate Systems |  |  | 12521.1706 | 0 | 0 | 50591.1373 | 101921.3929
| ICT Management Systems, Productivity and Cybersecurity | ICT Management Systems, Productivity and Cybersecurity | ICT Management Systems, Productivity and Cybersecurity |  |  | 55219.2883 | 169498.1939 | 43297.6932 | 172823.6858 | 49197.4564
| Infrastructure Program | Infrastructure Program | Infrastructure Program |  |  | 0 | 0 | 0 | 0 | 0
| Minor Applications Change | Minor Applications Change | Minor Applications Change |  |  | 210462.1186 | 213312.0179 | 216482.3601 | 217171.7111 | 218758.1116
ICT ASSET REPLACEMENT
| Distribution Operations, Asset and Works Management | Distribution Operations, Asset and Works Management | 0 |  |  | 17253640.7904 | 13186750.1398 | 10883781.2102 | 10816939.0867 | 9663011.6604
| Customer and Market Systems | Customer and Market Systems | Customer and Market Systems |  |  | 3245712.3025 | 7147041.8688 | 6753882.2308 | 3417186.442 | 4425119.4282
| Corporate Systems | Corporate Systems | Corporate Systems |  |  | 1667728.378 | 298103.2317 | 2230608.812 | 1044392.9429 | 4686048.8024
| ICT Management Systems, Productivity and Cybersecurity | ICT Management Systems, Productivity and Cybersecurity | ICT Management Systems, Productivity and Cybersecurity |  |  | 368128.5887 | 1129987.9593 | 1668726.3332 | 1266279.4531 | 1886527.4113
| Infrastructure Program | Infrastructure Program | Infrastructure Program |  |  | 4594622.5471 | 5211653.1002 | 5346099.18 | 5735853.0786 | 5574186.053
| Minor Applications Change | Minor Applications Change | Minor Applications Change |  |  | 1403080.7909 | 1422080.1197 | 1443215.7338 | 1447811.4076 | 1458387.411
Check | [5 empty] | 0 | 0 | 0 | 0 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 2.10 Overheads
0 | REGULATORY REPORTING STATEMENT
Ergon Energy
2020-21 to 2024-25
2.10 OVERHEADS
There are TWO tables on this worksheet. Each table has been 'grouped' (and sub-grouped) for easy navigation. See the Instructions sheet on how to group or ungroup data.
2.10.1 - NETWORK OVERHEADS EXPENDITURE
EXPENDITURE ($0's, real June 2020)
|  |  | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
OPEX
| Standard Control Services | Total
| Alternative Control Services | Total
CAPEX
| Standard Control Services | Total |  |  | 60801009.1201 | 61707002.4954 | 62330717.258 | 62017437.1203 | 62712054.7137
| Alternative Control Services | Total
OTHER DISTRIBUTION SERVICES
| Negotiated Services | Total
| Unregulated Distribution Services | Total
2.10.2 - CORPORATE OVERHEADS EXPENDITURE
EXPENDITURE ($0's, real June 2020)
|  |  | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
OPEX
| Standard Control Services | Total
| Alternative Control Services | Total
CAPEX
| Standard Control Services | Total |  |  | 9779410.5296 | 9917649.19 | 10060705.4532 | 10207420.3974 | 10341561.3881
| Alternative Control Services | Total
OTHER DISTRIBUTION SERVICES
| Negotiated Services | Total
| Unregulated Distribution Services | Total
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY