## Revised Regulatory Proposal
Escalation
Measure | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 | Targets |  |  | Index Numbers All groups CPI
Unplanned SAIDI - CBD | . | [7 empty] | 2014-09-01 | 106.4
Unplanned SAIDI - urban | 117.2037 | 123.5603 | 98.4796 | 117.314 | 128.6423 | 117.04 |  |  | 2018-12-01 | 116.9
Unplanned SAIDI - short rural | 291.9882 | 299.2584 | 245.4828 | 254.662 | 312.5965 | 280.7976 |  |  | CPI | 9.868%
Unplanned SAIDI - long rural | 916.8842 | 848.352 | 648.2032 | 705.1778 | 746.6467 | 773.0528 |  |  | Source: ABS
Unplanned SAIFI - CBD
Unplanned SAIFI - urban | 1.1649 | 1.298 | 0.99028 | 1.3267 | 1.1937 | 1.1947
Unplanned SAIFI - short rural | 2.784 | 2.5924 | 2.4228 | 2.288 | 2.5497 | 2.5274
Unplanned SAIFI - long rural | 5.8816 | 5.8779 | 4.854 | 4.4218 | 4.3557 | 5.0782
Telephone answering parameter (measured as a percentage in STPIS) | 80.5326 | 79.4857 | 80.2026 | 79.6442 | 79.6752 | 79.908
|  | Urban | Short rural | Long rural
Output parmaeters
ir - SAIDI |  | 0.021509 | 0.026386 | 0.0056863
ir - SAIFI |  | 1.4048 | 1.9544 | 0.57708
Input parameters
VCR |  | 39710 | 39710 | 39710
CPI |  | 9.868% | 9.868% | 9.868%
w_n |  | 1.5 | 1.5 | 1.5
C_n |  | 4943957.6287 | 6065057.8096 | 1307027.7515
R |  | 1143997575.8856 | 1143997575.8856 | 1143997575.8856
SAIDI |  | 117.04 | 280.7976 | 773.0528
SAIFI |  | 1.1947 | 2.5274 | 5.0782
Smoothed MAR | [5 empty] | 1143997575.8856
%above cap exlcuding telephone answering |  |  | 7.072% |  |  | 5 years (2014/15 to 2018/19)
SAIDI proportion |  |  | 4.243%
SAIFI proportion |  |  | 2.829%
incentive in current period final decision (2015/20 SAIDI IR) |  | 0.0159% | 0.0159% | 0.0034% |  | from final decision
Adj required to 2025-25 RCP reliability targets due to R@R cap for 2015/16 SAIDI |  | 1.917% | 1.917% | 0.4099%
incentive in current period final decision (2015/20 SAIFI IR) |  | 1.382% | 1.811% | 0.5167%
Adj required to 2025-25 RCP reliability targets due to R@R cap for 2015/16 SAIFI |  | 1.054% | 1.381% | 0.394%
Adj required to 2025-25 RCP reliability targets due to R@R |  | 24.1104 | 24.1104 | 24.1104
Adj required to 2025-25 RCP reliability targets due to R@R |  | 0.15249 | 0.15249 | 0.15249
Output tables
Table 1 incentive rates
| Urban | Short rural | Long rural
SAIDI | 0.021509 | 0.026386 | 0.0056863
SAIFI | 1.4048 | 1.9544 | 0.57708
Table 2 targets
value
Urban
SAIDI | 117.04
SAIFI | 1.1947
Short rural
SAIDI | 280.7976
SAIFI | 2.5274
Long rural
SAIDI | 773.0528
SAIFI | 5.0782
Telephone answering
Percentage of calls will be answered within 30 seconds | 79.908
Table 3
| Urban | Short rural | Long rural
VCR | 39710 | 39710 | 39710
Backcasted data Actual Data (Exclude <= 3min Momentary)
Measure | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19
Unplanned SAIDI - CBD
Unplanned SAIDI - urban | 93.0933 | 99.4499 | 74.3692 | 93.2036 | 104.5319
Unplanned SAIDI - short rural | 267.8778 | 275.1479 | 221.3724 | 230.5516 | 288.4861
Unplanned SAIDI - long rural | 892.7738 | 824.2416 | 624.0928 | 681.0674 | 722.5363
Unplanned SAIFI - CBD
Unplanned SAIFI - urban | 1.0124 | 1.1455 | 0.83779 | 1.1742 | 1.0412
Unplanned SAIFI - short rural | 2.6315 | 2.4399 | 2.2703 | 2.1355 | 2.3972
Unplanned SAIFI - long rural | 5.7291 | 5.7254 | 4.7015 | 4.2694 | 4.2032
S-Factor (DRAFT Ergon Energy - STPIS Compliance Model 201819.xlsx) | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 | Cumulative
sum of the raw s-factors for the relaibility of supply parameters | 0.578% | 1.907% | 5.218% | 4.368% | 2.78%
Reliability cap | 1.8% | 1.8% | 1.8% | 1.8% | 1.8%
performance over the cap | 0% | 0.1066% | 3.418% | 2.568% | 0.9802% | 7.072%
FORECAST ENERGY CONSUMPTION BY NETWORK TYPE
Network Type |  | Source | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 5 Year Average MWH
URBAN |  |  | 4962839.4037 | 4955549.4917 | 4938944.6567 | 4945343.0845 | 4917111.5069 | 4943957.6287
SHORT RURAL |  |  | 6088221.2478 | 6079278.263 | 6058908.0876 | 6066757.4337 | 6032124.0158 | 6065057.8096
LONG RURAL |  |  | 1312019.5022 | 1310092.2775 | 1305702.4785 | 1307394.0227 | 1299930.4766 | 1307027.7515