## Instructions
Distribution Network Service Provider
Annual Reporting RIN Template
This template is to be used by Ergon Energy to fulfil its reporting obligations to the AER.
INSTRUCTIONS
Complete the Business & other details worksheet before entering data or values in any other worksheets. The Business & other details worksheet is linked to other worksheets within the workbook and automatically generates certain column headings and conditional formatting.
Identifying CONFIDENTIAL INFORMATION: Please use the macro at the top of each worksheet to identify confidential information.
-Do this by selecting the cell or cells that contain confidential information and then run the Mark selected cells as CONFIDENTIAL macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as confidential. -To reverse this, select the cell or cells and run the Return cells to NON-CONFIDENTIAL macro
UNITS OF MEASURE All amounts are to be unrounded and reported in nominal terms on a one for one basis: that is 1000 is to be entered as '1000'. Applicable units of measure may be identified in the table column headings or row descriptors.
COLOUR CODING OF INPUT / NON-INPUT CELLS:
Yellow = Input cell (mandatory)
Darker yellow = input cell (mandatory)
Orange = input cell (if data available)
Grey = Not applicable/No inputs required
PLEASE DO NOT ENTER TEXT into cells that are to contain numeric data.
WORKSHEET NAVIGATION Many tables in the worksheets have been "grouped" to allow for easy navigation. To ungroup or group data use the outline symbols in the left margin of excel (for Row groupings) or above the columns (for column groupings).
RETURNING COMPLETED RESPONSES Please return four (4) files - using the locked template - to the AER: 1. A confidential version which must contain a complete set of all responses with confidential information marked using the Mark selected cells CONFIDENTIAL macro. 2. An actual and an estimate version with confidential information marked using the Mark selection CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 3. A public version with confidential information either removed completely or aggregated in some form together with writtten consent to disclose the public version of the response. Use the drop down box on the Business and other details worksheet to identify the file as either confidential ('consolidated') or public. If the confidential and public versions of the consolidated file are exactly the same, only the public version of the file needs to be submitted to the AER.
SUBMITTING AMENDED DATA TO THE AER If an NSP wishes to correct data previously submitted to the AER it should resubmit that data using the original completed submission as the starting point. Please make any necessary changes to the data. Data that is not being amended should be left unchanged. NSPs must identify the reason for the amendments in the Amendment Reason box on the Business and other details worksheet. NSPs may provide further details regarding any amendments in the Amendments worksheet. .
NSP may use Amended Data macro to highlight cells that contain amended data. NB: if data is also CONFIDENTIAL, re-apply the Confidentiality macro after applying the Amended macro
Please resubmit two (2) files - a confidential version and a public version of the amended submission to the AER
Contents
Instructions

## Contents
REGULATORY REPORTING STATEMENT
Ergon Energy
Benchmarking RIN response 2016-17
CONTENTS
3. ECONOMIC BENCHMARKING
3.2 Operating expenditure
3.4 Operational data
3.1 Revenue
3.3 Assets (RAB)
3.6 Quality of service
3.5 Physical assets
3.7 Operating environment factors
1.0 Business & other details
3.2.3 Provisions

## Business & other details
ECONOMIC BENCHMARKING
Ergon Energy
Benchmarking RIN response 2016-17
BUSINESS & OTHER DETAILS
Instructions
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings and conditional formatting to distinguish business specific input and non-input cells.
SUBMISSION PARTICULARS INPUT SHEETS
ENTITY DETAILS
Short name | Ergon Energy |  |  | Select business name from drop down list first
ACN / ABN | 50087646062
Business address | Address 1 |  | 420 Flinders Street
Address 2
| Suburb |  | TOWNSVILLE
|  | State | Qld | p/code | 4810
Postal address | Address 1 |  | PO Box 1090
Address 2
| Suburb |  | TOWNSVILLE
|  | State | QLD | p/code | 4810
Contact name/s
Contact phone/s
Contact email address/s
REGULATORY CONTROL PERIODS
Forthcoming regulatory control period | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27
Current regulatory control period | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22
Previous regulatory control period | 2012-13: 2007-08; 2013-14: 2008-09; 2014-15: 2009-10; 2015-16: 2010-11; 2016-17: 2011-12
Commencing regulatory year | 2012-13: 2016-17; 2013-14: CRY
Last completed regulatory year | 2012-13: 2021-22; 2013-14: dms_FinalYear
DELETE NR 'CRY' IF NOT AN ANNUAL RIN (EB, CA , ARR)
APPLY NR 'CRY' IF AN ANNUAL RIN (EB, CA , ARR) - including multi year annual RINs eg. Recast CA. EB
Source | 2012-13: Reporting; 2014-15: Please select the correct submission type from the dropdown list.
Data quality (actual, estimate, public, consolidated) | 2012-13: Consolidated
Amended RIN submission - amendment reason | 2012-13: 20201125 - #11808900 - 3.3 Assets (RAB) amended
Submission Date | 2012-13: 2020-11-25; 2013-14: dms_SubmissionDate; 2014-15: Please enter date this file submitted to AER (dd/mm/yyyy)
Contents
Instructions

## 3.1 Revenue
REGULATORY REPORTING STATEMENT
Ergon Energy
Benchmarking RIN response 2016-17
3.1 REVENUE
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.1.1 - REVENUE GROUPING BY CHARGEABLE QUANTITY
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2016-17 | 2016-17
DREV0101 | Revenue from Fixed Customer Charges | 598415096.235 | 0
DREV0102 | Revenue from Energy Delivery charges where time of use is not a determinant | 561107506.2513 | 0
DREV0103 | Revenue from On–Peak Energy Delivery charges | 176509.3387 | 0
DREV0104 | Revenue from Shoulder period Energy Delivery Charges | -1615.2228 | 0
DREV0105 | Revenue from Off–Peak Energy Delivery charges | 1421204.563 | 0
DREV0106 | Revenue from controlled load customer charges | 53107221.8844 | 0
DREV0107 | Revenue from unmetered supplies | 4874300.3892 | 0
DREV0108 | Revenue from Contracted Maximum Demand charges | 230532577.5395 | 0
DREV0109 | Revenue from Measured Maximum Demand charges | 39349888.7657 | 0
DREV0110 | Revenue from metering charges | 0 | 53842714.83
DREV0111 | Revenue from connection charges | 9320548.57 | 29126980.59
DREV0112 | Revenue from public lighting charges | 15102383.6559 | 37012002.74
DREV0113 | Revenue from other Sources | 0 | 12738717.65
DREV01 | Total revenue by chargeable quantity | 1513405621.97 | 132720415.81
3.1.2 - REVENUE GROUPING BY CUSTOMER TYPE OR CLASS
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2016-17 | 2016-17
DREV0201 | Revenue from residential Customers | 652745620.6363 | 0
DREV0202 | Revenue from Non residential customers not on demand tariffs | 248689196.7002 | 0
DREV0203 | Revenue from Non-residential low voltage demand tariff customers | 437238442.9719 | 0
DREV0204 | Revenue from Non-residential high voltage demand tariff customers | 145435129.0464 | 0
DREV0205 | Revenue from unmetered supplies | 4874300.3892 | 0
DREV0206 | Revenue from Other Customers | 24422932.2259 | 132720415.81
DREV02 | Total revenue by customer class | 1513405621.97 | 132720415.81
3.1.3 - REVENUE (penalties) ALLOWED (deducted) THROUGH INCENTIVE SCHEMES
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2016-17 | 2016-17
DREV0301 | EBSS | 48937360.0678 | 0
DREV0302 | STPIS | 20925018.2038 | 0
DREV0303 | F-Factor | 0 | 0
DREV0304 | S-Factor True up | 0 | 0
DREV0305 | Other | 0 | 0
DREV03 | Total revenue of incentive schemes | 69862378.2716 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.2 Operating expenditure
REGULATORY REPORTING STATEMENT
Ergon Energy
Benchmarking RIN response 2016-17
3.2 OPERATING EXPENDITURE
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
Instructions
In table 3.2.1, please list each opex category reported in response to Ergon Energy's annual reporting RIN and report opex for each category.
3.2.1 - OPEX CATEGORIES
CURRENT OPEX CATEGORIES AND COST ALLOCATIONS
|  | Standard control services | Alternative control services
EXPENDITURE ($0's)
|  | 2016-17 | 2016-17
DOPEX0101 | Preventative Maintenance | 86803808 | 11294873
DOPEX0102 | Corrective Maintenance | 87737452 | 6443289
DOPEX0103 | Forced Maintenance | 82075262 | 0
DOPEX0104 | Other Network Maintenance | 0 | 0
DOPEX0105 | Network Operating Costs | 41446590 | 0
DOPEX0106 | Meter Reading | 0 | 11908047
DOPEX0107 | Customer Service (incl Call Centre) | 11083667 | 51099802
DOPEX0108 | Other Operating Costs | 7830348 | 2981219
DOPEX0109 | Training | 18392830 | 0
DOPEX0110 | Feed-in-Tariff | 0 | 0
DOPEX0111 | Debt raising costs | 0 | 0
DOPEX0112 | Over absorbed overheads | 0 | 0
DOPEX0113 | Non-network Alternatives | 4869145 | 0
DOPEX0114 | Not Proceeding Cust. Initiated Capital Works | 304869 | 0
DOPEX0115 | Corporate Restructuring | 14897325 | 0
DOPEX0116 | AEMC Levy | 0 | 0
DOPEX0117
DOPEX0118
DOPEX0119
DOPEX0120
DOPEX0121
DOPEX0122
DOPEX0123
DOPEX0124
DOPEX0125
DOPEX0126
DOPEX0127
DOPEX0128
DOPEX0129
DOPEX0130
DOPEX0131
DOPEX0132
DOPEX0133
DOPEX0134
DOPEX0135
DOPEX0136
DOPEX0137
DOPEX0138
DOPEX0139
DOPEX0140
DOPEX0141
DOPEX0142
DOPEX01 | Total opex | 355441296 | 83727230
3.2.2 - OPEX CONSISTENCY
CURRENT COST ALLOCATION APPROACH
|  | Standard control services | Alternative control services
EXPENDITURE ($0's)
|  | 2016-17 | 2016-17
DOPEX0201 | Opex for network services | 349036950 | 0
DOPEX0202 | Opex for metering | 6404346 | 38216000
DOPEX0203 | Opex for connection services | 0 | 9101062
DOPEX0204 | Opex for public lighting | 0 | 12997012
DOPEX0205 | Opex for amounts payable for easement levy or similar direct charges on DNSP | 0 | 0
DOPEX0206 | Opex for transmission connection point planning | 34155 | 0
3.2.4 - OPEX FOR HIGH VOLTAGE CUSTOMERS
End user costs (not standard control services)
DOPEX0401 | Opex for high voltage customers | 180860.3409
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.2.3 Provisions
REGULATORY REPORTING STATEMENT
Ergon Energy
Benchmarking RIN response 2016-17
3.2 OPERATING EXPENDITURE
The is ONE table on this worksheet. Each Provision has been grouped for ease of navigation. See the Instructions sheet on how to group and ungroup tables.
Instructions
In table 3.2.3, please list each opex category reported in response to Ergon Energy's annual reporting RIN and report opex for each category.
3.2.3 - PROVISIONS
VALUE ($0's)
2016-17
DOPEX03A | Provision name
Provision for Restructuring
DOPEX0301A | Opening balance (the carrying amount at the beginning of the period) | 31394537.8011
Additional provisions made in the period, including increases to existing provisions
DOPEX0302A | Opex component | 2997940
DOPEX0303A | Capex component | 0
DOPEX0304A | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305A | Opex component | -30964970
DOPEX0306A | Capex component | 0
DOPEX0307A | Other component
Unused amounts reversed during the period
DOPEX0308A | Opex component | -429571
DOPEX0309A | Capex component | 0
DOPEX0310A | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311A | Opex component
DOPEX0312A | Capex component
DOPEX0313A | Other component
DOPEX0314A | Closing balance (carrying amount at the end of the period) | 2997936.8011
DOPEX03B | Provision name
Provision for Employee Benefits on-costs
DOPEX0301B | Opening balance (the carrying amount at the beginning of the period) | 7603489.3144
Additional provisions made in the period, including increases to existing provisions
DOPEX0302B | Opex component | 179200
DOPEX0303B | Capex component | 302900
DOPEX0304B | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305B | Opex component | -429420
DOPEX0306B | Capex component | -725870
DOPEX0307B | Other component
Unused amounts reversed during the period
DOPEX0308B | Opex component | -36078
DOPEX0309B | Capex component | -60985
DOPEX0310B | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311B | Opex component
DOPEX0312B | Capex component
DOPEX0313B | Other component
DOPEX0314B | Closing balance (carrying amount at the end of the period) | 6833236.3144
DOPEX03C | Provision name
Provision for Rehabilitation
DOPEX0301C | Opening balance (the carrying amount at the beginning of the period) | 1973830
Additional provisions made in the period, including increases to existing provisions
DOPEX0302C | Opex component | 0
DOPEX0303C | Capex component | 0
DOPEX0304C | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305C | Opex component | -775630
DOPEX0306C | Capex component | 0
DOPEX0307C | Other component
Unused amounts reversed during the period
DOPEX0308C | Opex component | -152718
DOPEX0309C | Capex component | 0
DOPEX0310C | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311C | Opex component
DOPEX0312C | Capex component
DOPEX0313C | Other component
DOPEX0314C | Closing balance (carrying amount at the end of the period) | 1045482
DOPEX03D | Provision name
Provision for Other
DOPEX0301D | Opening balance (the carrying amount at the beginning of the period) | 0
Additional provisions made in the period, including increases to existing provisions
DOPEX0302D | Opex component | 0
DOPEX0303D | Capex component | 0
DOPEX0304D | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305D | Opex component | 0
DOPEX0306D | Capex component | 0
DOPEX0307D | Other component
Unused amounts reversed during the period
DOPEX0308D | Opex component | 0
DOPEX0309D | Capex component | 0
DOPEX0310D | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311D | Opex component
DOPEX0312D | Capex component
DOPEX0313D | Other component
DOPEX0314D | Closing balance (carrying amount at the end of the period) | 0
DOPEX03E | Provision name
Provision for Annual Leave
DOPEX0301E | Opening balance (the carrying amount at the beginning of the period) | 33547143.1623
Additional provisions made in the period, including increases to existing provisions
DOPEX0302E | Opex component | 11449670
DOPEX0303E | Capex component | 19353860
DOPEX0304E | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305E | Opex component | -12213260
DOPEX0306E | Capex component | -20644590
DOPEX0307E | Other component
Unused amounts reversed during the period
DOPEX0308E | Opex component | -265058
DOPEX0309E | Capex component | -448042
DOPEX0310E | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311E | Opex component
DOPEX0312E | Capex component
DOPEX0313E | Other component
DOPEX0314E | Closing balance (carrying amount at the end of the period) | 30779723.1623
DOPEX03F | Provision name
Provision for Long Service Leave
DOPEX0301F | Opening balance (the carrying amount at the beginning of the period) | 95935589.2542
Additional provisions made in the period, including increases to existing provisions
DOPEX0302F | Opex component | 8196070
DOPEX0303F | Capex component | 13854160
DOPEX0304F | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305F | Opex component | -5519890
DOPEX0306F | Capex component | -9330500
DOPEX0307F | Other component
Unused amounts reversed during the period
DOPEX0308F | Opex component | -596868
DOPEX0309F | Capex component | -1008890
DOPEX0310F | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311F | Opex component | -6178360
DOPEX0312F | Capex component | -10443540
DOPEX0313F | Other component
DOPEX0314F | Closing balance (carrying amount at the end of the period) | 84907771.2542
DOPEX03G | Provision name
Provision for Vested Sick Leave
DOPEX0301G | Opening balance (the carrying amount at the beginning of the period) | 1715338.4
Additional provisions made in the period, including increases to existing provisions
DOPEX0302G | Opex component | 48460
DOPEX0303G | Capex component | 0
DOPEX0304G | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305G | Opex component | 0
DOPEX0306G | Capex component | 0
DOPEX0307G | Other component
Unused amounts reversed during the period
DOPEX0308G | Opex component | -1323
DOPEX0309G | Capex component | 0
DOPEX0310G | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311G | Opex component | -171620
DOPEX0312G | Capex component | 0
DOPEX0313G | Other component
DOPEX0314G | Closing balance (carrying amount at the end of the period) | 1590855.4
DOPEX03H | Provision name
Provision for Super on Employee Entitlements
DOPEX0301H | Opening balance (the carrying amount at the beginning of the period) | 12142702
Additional provisions made in the period, including increases to existing provisions
DOPEX0302H | Opex component | 0
DOPEX0303H | Capex component | 0
DOPEX0304H | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305H | Opex component | -327230
DOPEX0306H | Capex component | -553120
DOPEX0307H | Other component
Unused amounts reversed during the period
DOPEX0308H | Opex component | -48315
DOPEX0309H | Capex component | -81668
DOPEX0310H | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311H | Opex component | 0
DOPEX0312H | Capex component | 0
DOPEX0313H | Other component
DOPEX0314H | Closing balance (carrying amount at the end of the period) | 11132369
DOPEX03I | Provision name
Brief description of provision
DOPEX0301I | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302I | Opex component
DOPEX0303I | Capex component
DOPEX0304I | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305I | Opex component
DOPEX0306I | Capex component
DOPEX0307I | Other component
Unused amounts reversed during the period
DOPEX0308I | Opex component
DOPEX0309I | Capex component
DOPEX0310I | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311I | Opex component
DOPEX0312I | Capex component
DOPEX0313I | Other component
DOPEX0314I | Closing balance (carrying amount at the end of the period)
DOPEX03J | Provision name
Brief description of provision
DOPEX0301J | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302J | Opex component
DOPEX0303J | Capex component
DOPEX0304J | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305J | Opex component
DOPEX0306J | Capex component
DOPEX0307J | Other component
Unused amounts reversed during the period
DOPEX0308J | Opex component
DOPEX0309J | Capex component
DOPEX0310J | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311J | Opex component
DOPEX0312J | Capex component
DOPEX0313J | Other component
DOPEX0314J | Closing balance (carrying amount at the end of the period)
DOPEX03K | Provision name
Brief description of provision
DOPEX0301K | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302K | Opex component
DOPEX0303K | Capex component
DOPEX0304K | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305K | Opex component
DOPEX0306K | Capex component
DOPEX0307K | Other component
Unused amounts reversed during the period
DOPEX0308K | Opex component
DOPEX0309K | Capex component
DOPEX0310K | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311K | Opex component
DOPEX0312K | Capex component
DOPEX0313K | Other component
DOPEX0314K | Closing balance (carrying amount at the end of the period)
DOPEX03L | Provision name
Brief description of provision
DOPEX0301L | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302L | Opex component
DOPEX0303L | Capex component
DOPEX0304L | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305L | Opex component
DOPEX0306L | Capex component
DOPEX0307L | Other component
Unused amounts reversed during the period
DOPEX0308L | Opex component
DOPEX0309L | Capex component
DOPEX0310L | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311L | Opex component
DOPEX0312L | Capex component
DOPEX0313L | Other component
DOPEX0314L | Closing balance (carrying amount at the end of the period)
DOPEX03M | Provision name
Brief description of provision
DOPEX0301M | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302M | Opex component
DOPEX0303M | Capex component
DOPEX0304M | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305M | Opex component
DOPEX0306M | Capex component
DOPEX0307M | Other component
Unused amounts reversed during the period
DOPEX0308M | Opex component
DOPEX0309M | Capex component
DOPEX0310M | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311M | Opex component
DOPEX0312M | Capex component
DOPEX0313M | Other component
DOPEX0314M | Closing balance (carrying amount at the end of the period)
DOPEX03N | Provision name
Brief description of provision
DOPEX0301N | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302N | Opex component
DOPEX0303N | Capex component
DOPEX0304N | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305N | Opex component
DOPEX0306N | Capex component
DOPEX0307N | Other component
Unused amounts reversed during the period
DOPEX0308N | Opex component
DOPEX0309N | Capex component
DOPEX0310N | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311N | Opex component
DOPEX0312N | Capex component
DOPEX0313N | Other component
DOPEX0314N | Closing balance (carrying amount at the end of the period)
DOPEX03O | Provision name
Brief description of provision
DOPEX0301O | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302O | Opex component
DOPEX0303O | Capex component
DOPEX0304O | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305O | Opex component
DOPEX0306O | Capex component
DOPEX0307O | Other component
Unused amounts reversed during the period
DOPEX0308O | Opex component
DOPEX0309O | Capex component
DOPEX0310O | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311O | Opex component
DOPEX0312O | Capex component
DOPEX0313O | Other component
DOPEX0314O | Closing balance (carrying amount at the end of the period)
DOPEX03P | Provision name
Brief description of provision
DOPEX0301P | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302P | Opex component
DOPEX0303P | Capex component
DOPEX0304P | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305P | Opex component
DOPEX0306P | Capex component
DOPEX0307P | Other component
Unused amounts reversed during the period
DOPEX0308P | Opex component
DOPEX0309P | Capex component
DOPEX0310P | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311P | Opex component
DOPEX0312P | Capex component
DOPEX0313P | Other component
DOPEX0314P | Closing balance (carrying amount at the end of the period)
DOPEX03Q | Provision name
Brief description of provision
DOPEX0301Q | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302Q | Opex component
DOPEX0303Q | Capex component
DOPEX0304Q | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305Q | Opex component
DOPEX0306Q | Capex component
DOPEX0307Q | Other component
Unused amounts reversed during the period
DOPEX0308Q | Opex component
DOPEX0309Q | Capex component
DOPEX0310Q | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311Q | Opex component
DOPEX0312Q | Capex component
DOPEX0313Q | Other component
DOPEX0314Q | Closing balance (carrying amount at the end of the period)
DOPEX03R | Provision name
Brief description of provision
DOPEX0301R | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302R | Opex component
DOPEX0303R | Capex component
DOPEX0304R | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305R | Opex component
DOPEX0306R | Capex component
DOPEX0307R | Other component
Unused amounts reversed during the period
DOPEX0308R | Opex component
DOPEX0309R | Capex component
DOPEX0310R | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311R | Opex component
DOPEX0312R | Capex component
DOPEX0313R | Other component
DOPEX0314R | Closing balance (carrying amount at the end of the period)
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.3 Assets (RAB)
REGULATORY REPORTING STATEMENT
Ergon Energy
Benchmarking RIN response 2016-17
3.3 ASSETS
There are FOUR tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.3.1 - REGULATORY ASSET BASE VALUES
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2016-17 | 2016-17 | 2016-17
FOR TOTAL ASSET BASE
DRAB0101 | Opening value | 8319137603.2396 | 10171773798.4225 | 163505948
DRAB0102 | Inflation addition | 123825339.7713 | 150937610.7236 | 2419888
DRAB0103 | Straight line depreciation | -323440913.6938 | -387703487.1747 | -12538580
DRAB0105 | Actual additions (recognised in RAB) | 452980174.8834 | 520519359.4492 | 23976017
DRAB0106 | Disposals | -8763355.2536 | -8763355.2536 | -
DRAB0107 | Closing value | 8563738848.947 | 10446763926.167 | 177363273
3.3.2 - ASSET VALUE ROLL FORWARD
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2016-17 | 2016-17 | 2016-17
For overhead network assets less than 33kV:
DRAB0201 | Opening value | 2910874539.5153 | 3437076374.095 | 1
DRAB0202 | Inflation addition | 43818684.2217 | 51585500.9683 | 0
DRAB0203 | Straight line depreciation | -86867267.0969 | -103777054.3268 | 0
DRAB0205 | Actual additions (recognised in RAB) | 209363002.3971 | 230632750.4494 | 0
DRAB0206 | Disposals | 0 | 0 | 0
DRAB0207 | Closing value | 3077188959.0373 | 3615517571.1859 | 1
For underground network assets less than 33kV:
DRAB0301 | Opening value | 544176377.5922 | 917956621.5036 | 1
DRAB0302 | Inflation addition | 8332799.6617 | 13849851.2323
DRAB0303 | Straight line depreciation | -11931655.3631 | -20430199.6527
DRAB0305 | Actual additions (recognised in RAB) | 9540320.1467 | 22302168.9781
DRAB0306 | Disposals | 0 | 0
DRAB0307 | Closing value | 550117842.0375 | 933678442.0614 | 1
For distribution substations and transformers:
DRAB0401 | Opening value | 955431946.5776 | 1606832844.081 | 1
DRAB0402 | Inflation addition | 14177286.5021 | 23792059.897
DRAB0403 | Straight line depreciation | -38323368.8219 | -66544278.5496
DRAB0405 | Actual additions (recognised in RAB) | 55378115.4712 | 79483829.9305
DRAB0406 | Disposals | 0 | 0 | 0
DRAB0407 | Closing value | 986663979.729 | 1643564455.3588 | 1
For overhead network assets 33kV and above:
DRAB0501 | Opening value | 1069962305.5878 | 1150610585.8064 | 1
DRAB0502 | Inflation addition | 15823964.9251 | 17014345.4449
DRAB0503 | Straight line depreciation | -35269272.1024 | -37573657.3899
DRAB0505 | Actual additions (recognised in RAB) | 15130719.8189 | 17966686.2258
DRAB0506 | Disposals | 0 | 0
DRAB0507 | Closing value | 1065647718.2293 | 1148017960.0872 | 1
For underground network assets 33kV and above:
DRAB0601 | Opening value | 56582430.6166 | 56582430.6166 | 1
DRAB0602 | Inflation addition | 601843.2893 | 601843.2893
DRAB0603 | Straight line depreciation | -1642972.8223 | -1642972.8223
DRAB0605 | Actual additions (recognised in RAB) | 1048611.9896 | 1048611.9896
DRAB0606 | Disposals | 0 | 0
DRAB0607 | Closing value | 56589913.0731 | 56589913.0731 | 1
Zone substations and transformers
DRAB0701 | Opening value | 1710151892.6884 | 1866695832.7479 | 1
DRAB0702 | Inflation addition | 25832913.8861 | 28143525.5475
DRAB0703 | Straight line depreciation | -59300988.9566 | -65467149.937
DRAB0705 | Actual additions (recognised in RAB) | 58676985.6336 | 63639926.8458
DRAB0706 | Disposals | 0 | 0
DRAB0707 | Closing value | 1735360803.2515 | 1893012135.2043 | 1
For easements:
DRAB0801 | Opening value | 91248725.5816 | 91248725.5816
DRAB0802 | Inflation addition | 1392703.1887 | 1392703.1887
DRAB0805 | Actual additions (recognised in RAB) | 682555.7972 | 682555.7972
DRAB0806 | Disposals | 0 | 0
DRAB0807 | Closing value | 93323984.5674 | 93323984.5674 | 0
For meters:
DRAB0901 | Opening value | 0 | 64060998.9102 | 66414615
DRAB0902 | Inflation addition | 0 | 712637.059 | 982936
DRAB0903 | Straight line depreciation | 0 | -2162785.9659 | -5125314
DRAB0905 | Actual additions (recognised in RAB) | 0 | 1602965.6036 | 15865618
DRAB0906 | Disposals | 0 | 0 | -
DRAB0907 | Closing value | 0 | 64213815.607 | 78137855
For “other” asset items with long lives:
DRAB1001 | Opening value | 651120159.2872 | 651120159.2872 | 97091333
DRAB1002 | Inflation addition | 9865136.5344 | 9865136.5344 | 1436952
DRAB1003 | Straight line depreciation | -55096650.0024 | -55096650.0024 | -7413266
DRAB1005 | Actual additions (recognised in RAB) | 58727286.8872 | 58727286.8872 | 8110398
DRAB1006 | Disposals | -3523041.6461 | -3523041.6461 | -
DRAB1007 | Closing value | 661092891.0603 | 661092891.0603 | 99225417
For “other” asset items with short lives:
DRAB1101 | Opening value | 329589225.793 | 329589225.793 | 1
DRAB1102 | Inflation addition | 3980007.5622 | 3980007.5622
DRAB1103 | Straight line depreciation | -35008738.5282 | -35008738.5282
DRAB1105 | Actual additions (recognised in RAB) | 44432576.742 | 44432576.742
DRAB1106 | Disposals | -5240313.6074 | -5240313.6074
DRAB1107 | Closing value | 337752757.9615 | 337752757.9615 | 1
3.3.3 - TOTAL DISAGGREGATED RAB ASSET VALUES
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2016-17 | 2016-17 | 2016-17
DRAB1201 | Overhead distribution assets (wires and poles) | 2994031749.2763 | 3526296972.6405 | 1
DRAB1202 | Underground distribution assets (cables, ducts etc) | 547147109.8148 | 925817531.7825 | 1
DRAB1203 | Distribution substations including transformers | 971047963.1533 | 1625198649.7199 | 1
DRAB1204 | Overhead assets 33kV and above (wires and towers / poles etc) | 1067805011.9085 | 1149314272.9468 | 1
DRAB1205 | Underground assets 33kV and above (cables, ducts etc) | 56586171.8448 | 56586171.8448 | 1
DRAB1206 | Zone substations | 1722756347.9699 | 1879853983.9761 | 1
DRAB1207 | Easements | 92286355.0745 | 92286355.0745 | -
DRAB1208 | Meters | 0 | 64137407.2586 | 72276235
DRAB1209 | "Other" assets with long lives | 656106525.1738 | 656106525.1738 | 98158375
DRAB1210 | "Other" assets with short lives | 333670991.8772 | 333670991.8772 | 1
DRAB13 | Value of Capital Contributions or Contributed Assets (included in the above) | 0 | 0 | 13241544.167
3.3.4 - ASSET LIVES
|  | Network services | Standard control services | Alternative control services
Service Life (Years)
|  | 2016-17 | 2016-17 | 2016-17
ESTIMATED SERVICE LIFE OF NEW ASSETS
DRAB1401 | Overhead network assets less than 33kV (wires and poles) | 48.6 | 48.6 | 47.2
DRAB1402 | Underground network assets less than 33kV (cables) | 54 | 54 | 60
DRAB1403 | Distribution substations including transformers | 44.9 | 44.9 | 45
DRAB1404 | Overhead network assets 33kV and above (wires and towers / poles etc) | 51 | 51 | 55
DRAB1405 | Underground network assets 33kV and above(cables, ducts etc) | 45 | 45 | 0
DRAB1406 | Zone substations and transformers | 38.1 | 38.1 | 35.1
DRAB1407 | Meters | 15 | 15 | 15
DRAB1408 | "Other" assets with long lives | 15 | 31.2 | 20
DRAB1409 | "Other" assets with short lives | 6.7 | 6 | 0
ESTIMATED RESIDUAL SERVICE LIFE
DRAB1501 | Overhead network assets less than 33kV (wires and poles) | 26.6 | 26.6 | 46
DRAB1502 | Underground network assets less than 33kV (cables) | 46.5 | 46.5 | 59.2
DRAB1503 | Distribution substations including transformers | 29.8 | 29.8 | 44.2
DRAB1504 | Overhead network assets 33kV and above (wires and towers / poles etc) | 25.7 | 25.7 | 51.7
DRAB1505 | Underground network assets 33kV and above (cables, ducts etc) | 36.2 | 36.2 | 40.5
DRAB1506 | Zone substations and transformers | 25.7 | 25.7 | 40.2
DRAB1507 | Meters | 10.5 | 10.5 | 8.8
DRAB1508 | "Other" assets with long lives | 10.2 | 14.8 | 10.6
DRAB1509 | "Other" assets with short lives | 1.2 | 2.1 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.4 Operational data
REGULATORY REPORTING STATEMENT
Ergon Energy
Benchmarking RIN response 2016-17
3.4 OPERATIONAL DATA
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.4.1 - ENERGY DELIVERY
Standard control services
VOLUME (0's)
|  | Units | 2016-17
DOPED01 | Total energy delivered | GWh | 13331.9641
3.4.1.1 - Energy grouping - delivery by chargeable quantity
DOPED0201 | Energy Delivery where time of use is not a determinant | GWh | 12358.3821
DOPED0202 | Energy Delivery at On-peak times | GWh | 16.7764
DOPED0203 | Energy Delivery at Shoulder times | GWh | -0.0043438
DOPED0204 | Energy Delivery at Off-peak times | GWh | 41.4486
DOPED0205 | Controlled load energy deliveries | GWh | 799.6139
DOPED0206 | Energy Delivery to unmetered supplies | GWh | 115.7476
3.4.1.2 - Energy - received from TNSP and other DNSPs by time of receipt
DOPED0301 | Energy into DNSP network at On-peak times | GWh | 0
DOPED0302 | Energy into DNSP network at Shoulder times | GWh | 0
DOPED0303 | Energy into DNSP network at Off-peak times | GWh | 0
DOPED0304 | Energy received from TNSP and other DNSPs not included in the above categories | GWh | 12365.7015
3.4.1.3 - Energy - received into DNSP system from embedded generation by time of receipt
DOPED0401 | Energy into DNSP network at On-peak times from non-residential embedded generation | GWh | 0
DOPED0402 | Energy into DNSP network at Shoulder times from non-residential embedded generation | GWh | 0
DOPED0403 | Energy into DNSP network at Off-peak times from non-residential embedded generation | GWh | 0
DOPED0404 | Energy received from embedded generation not included in above categories from non-residential embedded generation | GWh | 1365.5595
DOPED0405 | Energy into DNSP network at On-peak times from residential embedded generation | GWh | 0
DOPED0406 | Energy into DNSP network at Shoulder times from residential embedded generation | GWh | 0
DOPED0407 | Energy into DNSP network at Off-peak times from residential embedded generation | GWh | 0
DOPED0408 | Energy received from embedded generation not included in above categories from residential embedded generation | GWh | 355.2348
3.4.1.4 - Energy grouping - customer type or class
DOPED0501 | Residential customers energy deliveries | GWh | 3903.8678
DOPED0502 | Non residential customers not on demand tariffs energy deliveries | GWh | 1388.311
DOPED0503 | Non-residential low voltage demand tariff customers energy deliveries | GWh | 3330.0727
DOPED0504 | Non-residential high voltage demand tariff customers energy deliveries | GWh | 4593.965
DOPED0505 | Other Customer Class Energy Deliveries | GWh | 115.7476
3.4.2 - CUSTOMER NUMBERS
Standard control services
VOLUME (0's)
2016-17
3.4.2.1 - Distribution customer numbers by customer type or class
DOPCN0101 | Residential customer numbers |  | 627612.5
DOPCN0102 | Non residential customers not on demand tariff customer numbers |  | 100582.5
DOPCN0103 | Low voltage demand tariff customer numbers |  | 7977.5
DOPCN0104 | High voltage demand tariff customer numbers |  | 79.5
DOPCN0105 | Unmetered Customer Numbers |  | 9246.5
DOPCN0106 | Other Customer Numbers |  | 2.5
DOPCN01 | Total customer numbers |  | 745501
3.4.2.2 - Distribution customer numbers by location on the network
DOPCN0201 | Customers on CBD network |  | 0
DOPCN0202 | Customers on Urban network |  | 242042
DOPCN0203 | Customers on Short rural network |  | 420840
DOPCN0204 | Customers on Long rural network |  | 83183.5
DOPCN02 | Total customer numbers |  | 746065.5
3.4.2.3 - Distribution customer numbers by TasNetworks (D) feeder categories (TasNetworks (D) only)
Critical Infrastructure
High Density Commercial
Urban
High Density Rural
Low Density Rural
| Total customer numbers |  | 0
3.4.2.4 - Unmetered Supply TasNetworks (D) only)
DOPCN0301 | Number of unmetered connections reported in customer numbers in the economic benchmarking RIN |  | 0
DOPCN0302 | Unmetered connections not reported in customer numbers in the economic benchmarking RIN |  | 0
DOPCN0303 | Total unmetered connections |  | 0
3.4.3 - SYSTEM DEMAND
Standard control services
VOLUME (0's)
|  | Units | 2016-17
3.4.3.1 - Annual system maximum demand characteristics at the zone substation level – MW measure
DOPSD0101 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 3158.2
DOPSD0102 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 3264.9
DOPSD0103 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 3080.1
DOPSD0104 | Coincident Raw System Annual Maximum Demand | MW | 2592
DOPSD0105 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 2693
DOPSD0106 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 2529
3.4.3.2 - Annual system maximum demand characteristics at the transmission connection point – MW measure
DOPSD0107 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 3152.9
DOPSD0108 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 3368.7
DOPSD0109 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 3124.4
DOPSD0110 | Coincident Raw System Annual Maximum Demand | MW | 2636.719
DOPSD0111 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 2819
DOPSD0112 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 2612
3.4.3.3 - Annual system maximum demand characteristics at the zone substation level – MVA measure
DOPSD0201 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 3330
DOPSD0202 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 3442.1
DOPSD0203 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 3250.6
DOPSD0204 | Coincident Raw System Annual Maximum Demand | MVA | 2711
DOPSD0205 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 2815
DOPSD0206 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 2647
3.4.3.4 - Annual system maximum demand characteristics at the transmission connection point – MVA measure
DOPSD0207 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 3235
DOPSD0208 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 3457.3
DOPSD0209 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 3206.6
DOPSD0210 | Coincident Raw System Annual Maximum Demand | MVA | 2730
DOPSD0211 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 2921
DOPSD0212 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 2706
3.4.3.5 - Power factor conversion between MVA and MW
DOPSD0301 | Average overall network power factor conversion between MVA and MW | Factor | 0.966
DOPSD0302 | Average power factor conversion for low voltage distribution lines | Factor | 0.954
DOPSD0303 | Average power factor conversion for 3.3 kV lines | Factor | 0.865
DOPSD0304 | Average power factor conversion for 6.6 kV lines | Factor | 0.932
DOPSD0305 | Average power factor conversion for 7.6 kV lines | Factor | 0
DOPSD0306 | Average power factor conversion for 11 kV lines | Factor | 0.888
DOPSD0307 | Average power factor conversion for SWER lines | Factor | 0.733
DOPSD0308 | Average power factor conversion for 22 kV lines | Factor | 0.894
DOPSD0309 | Average power factor conversion for 33 kV lines | Factor | 0.902
DOPSD0310 | Average power factor conversion for 44 kV lines | Factor | 0
DOPSD0311 | Average power factor conversion for 66 kV lines | Factor | 0.929
DOPSD0312 | Average power factor conversion for 110 kV lines | Factor | 0.923
DOPSD0313 | Average power factor conversion for 132 kV lines | Factor | 0.908
DOPSD0314 | Average power factor conversion for 220 kV lines | Factor | 0.97
3.4.3.6 - Demand supplied (for customers charged on this basis) – MW measure
DOPSD0401 | Summated Chargeable Contracted Maximum Demand | MW | 4573.1825
DOPSD0402 | Summated Chargeable Measured Maximum Demand | MW | 0
3.4.3.7 - Demand supplied (for customers charged on this basis) – MVA measure
DOPSD0403 | Summated Chargeable Contracted Maximum Demand | MVA | 20492.046
DOPSD0404 | Summated Chargeable Measured Maximum Demand | MVA | 13542.6139
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.5 Physical assets
REGULATORY REPORTING STATEMENT
Ergon Energy
Benchmarking RIN response 2016-17
3.5 PHYSICAL ASSETS
There are THREE tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.5.1 - NETWORK CAPACITIES
VOLUME in KM's (0's)
2016-17
Circuit length (kilometers)
3.5.1.1 - Overhead network length of circuit at each voltage
DPA0101 | Overhead low voltage distribution | 16552.9757
DPA0102 | Overhead 2.2 kV
DPA0103 | Overhead 6.6kv | 14.4264
DPA0104 | Overhead 7.6 kV
DPA0105 | Overhead 11 kV | 34775.697
DPA0106 | Overhead SWER | 62124.067
DPA0107 | Overhead 22 kV | 14797.0336
DPA0108 | Overhead 33 kV | 4108.744
DPA0109 | Overhead 44 kV
DPA0110 | Overhead 66 kV | 7881.38
DPA0111 | Overhead 110kV | 493.9334
DPA0112 | Overhead 132 kV | 2427.9002
DPA0113 | Overhead 220kV
DPA0114 | Other
DPA01 | Total overhead circuit km | 143176.1573
3.5.1.2 - Underground network circuit length at each voltage
DPA0201 | Underground low voltage distribution | 6750.8208
DPA0202 | Underground 5 kV
DPA0203 | Underground 6.6 Kv | 0.28233
DPA0204 | Underground 7.6 kV
DPA0205 | Underground 11 kV | 1785.6995
DPA0206 | Underground SWER | 14.5041
DPA0207 | Underground 22 kV | 671.1646
DPA0208 | Underground 33 kV | 57.8646
DPA0209 | Underground 66 kV | 19.8051
DPA0210 | Underground 110 kV | 5.9047
DPA0211 | Underground 132 kV | 9.171
DPA0212 | Other
DPA02 | Total underground circuit km | 9315.2168
VOLUME in MVA (0's)
| Circuit Capacity (MVA) | 2016-17
3.5.1.3 - Estimated overhead network weighted average MVA capacity by voltage class
DPA0301 | Overhead low voltage distribution | 0.05
DPA0302 | Overhead 6.6 kV | 1.098
DPA0303 | Overhead 7.6 kV
DPA0304 | Overhead 11 kV | 1.834
DPA0305 | Overhead SWER | 0.624
DPA0306 | Overhead 22 kV | 3.174
DPA0307 | Overhead 33 kV | 9.007
DPA0308 | Overhead 44 kV
DPA0309 | Overhead 66 kV | 24.763
DPA0310 | Overhead 110 kV | 42.05
DPA0311 | Overhead 132 kV | 61.717
DPA0312 | Overhead 220 kV
DPA0313 | Other
3.5.1.4 - Estimated underground network weighted average MVA capacity by voltage class
DPA0401 | Underground low voltage distribution | 0.14
DPA0402 | Underground 5 kV
DPA0403 | Underground 6.6 kV | 3.551
DPA0404 | Underground 7.6 kV
DPA0405 | Underground 11 kV | 4.648
DPA0406 | Underground SWER | 1.896
DPA0407 | Underground 12.7 kV
DPA0408 | Underground 22 kV | 9.248
DPA0409 | Underground 33 kV | 24.014
DPA0410 | Underground 66 kV | 57.593
DPA0411 | Underground 110 kV
DPA0412 | Underground 132 kV | 107.329
DPA0413 | Other
3.5.2 - TRANSFORMER CAPACITIES
VOLUME in MVA (0's)
2016-17
3.5.2.1 - Distribution transformer total installed capacity
DPA0501 | Distribution transformer capacity owned by utility | 9327.281
DPA0502 | Distribution transformer capacity owned by High Voltage Customers | 1900
DPA0503 | Cold spare capacity included in DPA0501 | 264.091
3.5.2.2 - Zone substation transformer capacity
DPA0601 | Total installed capacity for first step transformation where there are two steps to reach distribution voltage | 3232.75
DPA0602 | Total installed capacity for second step transformation where there are two steps to reach distribution voltage | 2052.56
DPA0603 | Total zone substation transformer capacity where there is only a single step transformation to reach distribution voltage | 3227.81
DPA0604 | Total zone substation transformer capacity | 9484.12
DPA0605 | Cold spare capacity of zone substation transformers included in DPA0604 | 970.6
3.5.2.3 - Distribution - other transformer capacity
| Distribution other - transformer capacity owned by utility | 0
3.5.3 - PUBLIC LIGHTING
VOLUME (0's)
2016-17
DPA0701 | Public lighting luminaires | 140134
DPA0702 | Public lighting poles | 72642
DPA0703 | Public lighting columns
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.6 Quality of service
REGULATORY REPORTING STATEMENT
Ergon Energy
Benchmarking RIN response 2016-17
3.6 QUALITY OF SERVICE DATA
3.6.1 - RELIABILITY
(0's)
|  | Units | 2016-17
INCLUSIVE OF MEDs
DQS0101 | Whole of network unplanned SAIDI | minutes/customer | 934.7528
DQS0102 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 921.9638
DQS0103 | Whole of network unplanned SAIFI | interruptions/customer | 2.5534
DQS0104 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 2.4445
EXCLUSIVE OF MEDs
DQS0105 | Whole of network unplanned SAIDI | minutes/customer | 230.2767
DQS0106 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 217.496
DQS0107 | Whole of network unplanned SAIFI | interruptions/customer | 2.2498
DQS0108 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 2.1409
3.6.2 - ENERGY NOT SUPPLIED
(0's)
|  | Units | 2016-17
DQS0201 | Energy Not Supplied (planned) | GWh | 1.4862
DQS0202 | Energy Not Supplied (unplanned) | GWh | 11.4185
DQS02 | Total |  | 12.9047
3.6.3 - SYSTEM LOSSES
(0's)
|  | Unit | 2016-17
DQS03 | System losses | % | 5.356%
3.6.4 - CAPACITY UTILISATION
(0's)
|  | Unit | 2016-17
DQS04 | Overall utilisation | % | 39.12%
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.7 Operating environment
REGULATORY REPORTING STATEMENT
Ergon Energy
Benchmarking RIN response 2016-17
3.7 OPERATING ENVIRONMENT FACTORS
3.7.1 - DENSITY FACTORS
(0's)
|  | Units | 2016-17
DOEF0101 | Customer density | Customer / km | 5.3035
DOEF0102 | Energy density | MWh/customer | 17.8832
DOEF0103 | Demand density | kVA / customer | 4.4668
3.7.2 - TERRAIN FACTORS
(0's)
2016-17
DOEF0201 | Rural proportion | % | 98.25%
DOEF0202 | Urban and CBD vegetation maintenance spans | Number of spans | 73488.6251
DOEF0203 | Rural vegetation maintenance spans | Number of spans | 132827.661
DOEF0204 | Total vegetation maintenance spans | Number of spans | 206316.2861
DOEF0205 | Total number of spans | Number of spans | 1029336
DOEF0206 | Average urban and CBD vegetation maintenance span cycle | Years | 1.4669
DOEF0207 | Average rural vegetation maintenance span cycle | Years | 3.1494
DOEF0208 | Average number of trees per urban and CBD vegetation maintenance span | Trees | 5.9621
DOEF0209 | Average number of trees per rural vegetation maintenance span | Trees | 2.2999
DOEF0210 | Average number of defects per urban and CBD vegetation maintenance span | Defects | 0.33251
DOEF0211 | Average number of defects per rural vegetation maintenance span | Defects | 0.22286
DOEF0212 | Tropical proportion | Spans | 535373
DOEF0213 | Standard vehicle access | km | 42880.08
DOEF0214 | Bushfire risk | Spans | 65431
3.7.3 - SERVICE AREA FACTORS
(0's)
2016-17
DOEF0301 | Route Line length | km | 140566.5
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## NSP amendments
Ergon Energy data amendments
Amended Table | Comments